## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_188_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_188_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_188_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_188_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_188_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_188_0_node_64 | 20 | n |  | TRUE
6 | bus_MV_188_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_188_0_node_6 | 20 | n |  | TRUE
8 | bus_MV_188_0_node_62 | 20 | n |  | TRUE
9 | bus_MV_188_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_188_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_188_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_188_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_188_0_node_63 | 20 | n |  | TRUE
14 | bus_MV_188_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_188_0_node_65 | 20 | n |  | TRUE
16 | bus_MV_188_0_node_46 | 20 | n |  | TRUE
17 | bus_MV_188_0_node_13 | 20 | n |  | TRUE
18 | bus_MV_188_0_node_14 | 20 | n |  | TRUE
19 | bus_MV_188_0_node_15 | 20 | n |  | TRUE
20 | bus_MV_188_0_node_12 | 20 | n |  | TRUE
21 | bus_MV_188_0_node_45 | 20 | n |  | TRUE
22 | bus_MV_188_0_node_83 | 20 | n |  | TRUE
23 | bus_MV_188_0_node_81 | 20 | n |  | TRUE
24 | bus_MV_188_0_node_40 | 20 | n |  | TRUE
25 | bus_MV_188_0_node_43 | 20 | n |  | TRUE
26 | bus_MV_188_0_node_16 | 20 | n |  | TRUE
27 | bus_MV_188_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_188_0_node_84 | 20 | n |  | TRUE
29 | bus_MV_188_0_node_19 | 20 | n |  | TRUE
30 | bus_MV_188_0_node_56 | 20 | n |  | TRUE
31 | bus_MV_188_0_node_21 | 20 | n |  | TRUE
32 | bus_MV_188_0_node_22 | 20 | n |  | TRUE
33 | bus_MV_188_0_node_20 | 20 | n |  | TRUE
34 | bus_MV_188_0_node_86 | 20 | n |  | TRUE
35 | bus_MV_188_0_node_87 | 20 | n |  | TRUE
36 | bus_MV_188_0_node_47 | 20 | n |  | TRUE
37 | bus_MV_188_0_node_50 | 20 | n |  | TRUE
38 | bus_MV_188_0_node_48 | 20 | n |  | TRUE
39 | bus_MV_188_0_node_91 | 20 | n |  | TRUE
40 | bus_MV_188_0_node_49 | 20 | n |  | TRUE
41 | bus_MV_188_0_node_58 | 20 | n |  | TRUE
42 | bus_MV_188_0_node_23 | 20 | n |  | TRUE
43 | bus_MV_188_0_node_76 | 20 | n |  | TRUE
44 | bus_MV_188_0_node_24 | 20 | n |  | TRUE
45 | bus_MV_188_0_node_77 | 20 | n |  | TRUE
46 | bus_MV_188_0_node_57 | 20 | n |  | TRUE
47 | bus_MV_188_0_node_78 | 20 | n |  | TRUE
48 | bus_MV_188_0_node_85 | 20 | n |  | TRUE
49 | bus_MV_188_0_node_53 | 20 | n |  | TRUE
50 | bus_MV_188_0_node_26 | 20 | n |  | TRUE
51 | bus_MV_188_0_node_27 | 20 | n |  | TRUE
52 | bus_MV_188_0_node_38 | 20 | n |  | TRUE
53 | bus_MV_188_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_188_0_node_28 | 20 | n |  | TRUE
55 | bus_MV_188_0_node_30 | 20 | n |  | TRUE
56 | bus_MV_188_0_node_32 | 20 | n |  | TRUE
57 | bus_MV_188_0_node_33 | 20 | n |  | TRUE
58 | bus_MV_188_0_node_31 | 20 | n |  | TRUE
59 | bus_MV_188_0_node_34 | 20 | n |  | TRUE
60 | bus_MV_188_0_node_44 | 20 | n |  | TRUE
61 | bus_MV_188_0_node_36 | 20 | n |  | TRUE
62 | bus_MV_188_0_node_35 | 20 | n |  | TRUE
63 | bus_MV_188_0_node_41 | 20 | n |  | TRUE
64 | bus_MV_188_0_node_42 | 20 | n |  | TRUE
65 | bus_MV_188_0_node_51 | 20 | n |  | TRUE
66 | bus_MV_188_0_node_52 | 20 | n |  | TRUE
67 | bus_MV_188_0_node_54 | 20 | n |  | TRUE
68 | bus_MV_188_0_node_55 | 20 | n |  | TRUE
69 | bus_MV_188_0_node_59 | 20 | n |  | TRUE
70 | bus_MV_188_0_node_89 | 20 | n |  | TRUE
71 | bus_MV_188_0_node_60 | 20 | n |  | TRUE
72 | bus_MV_188_0_node_61 | 20 | n |  | TRUE
73 | bus_MV_188_0_node_79 | 20 | n |  | TRUE
74 | bus_MV_188_0_node_80 | 20 | n |  | TRUE
75 | bus_MV_188_0_node_88 | 20 | n |  | TRUE
76 | bus_MV_188_0_node_66 | 20 | n |  | TRUE
77 | bus_MV_188_0_node_70 | 20 | n |  | TRUE
78 | bus_MV_188_0_node_67 | 20 | n |  | TRUE
79 | bus_MV_188_0_node_69 | 20 | n |  | TRUE
80 | bus_MV_188_0_node_68 | 20 | n |  | TRUE
81 | bus_MV_188_0_node_71 | 20 | n |  | TRUE
82 | bus_MV_188_0_node_72 | 20 | n |  | TRUE
83 | bus_MV_188_0_node_73 | 20 | n |  | TRUE
84 | bus_MV_188_0_node_90 | 20 | n |  | TRUE
85 | bus_MV_188_0_node_74 | 20 | n |  | TRUE
86 | bus_HV_188_0_node_40 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_188_0_load_0 | 0 | 0.1149 | 0.055648 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_188_0_load_5 | 6 | 0.14477 | 0.070114 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_188_0_load_6 | 7 | 0.089836 | 0.04351 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_188_0_load_62 | 8 | 0.12855 | 0.062261 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_188_0_load_7 | 9 | 0.086678 | 0.04198 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_188_0_load_8 | 10 | 0.063518 | 0.030763 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_188_0_load_46 | 16 | 0.15791 | 0.076479 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_188_0_load_12 | 20 | 0.082653 | 0.04003 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_188_0_load_45 | 21 | 0.12555 | 0.060805 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_188_0_load_83 | 22 | 0.11747 | 0.056894 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_188_0_load_81 | 23 | 0.14468 | 0.070074 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_188_0_load_40 | 24 | 0.10019 | 0.048525 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_188_0_load_16 | 26 | 0.15761 | 0.076332 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_188_0_load_84 | 28 | 0.078163 | 0.037856 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_188_0_load_21 | 31 | 0.13936 | 0.067493 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_188_0_load_20 | 33 | 0.092159 | 0.044634 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_188_0_load_87 | 35 | 0.08112 | 0.039288 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_188_0_load_47 | 36 | 0.087111 | 0.04219 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_188_0_load_50 | 37 | 0.06519 | 0.031573 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_188_0_load_48 | 38 | 0.082702 | 0.040054 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_188_0_load_91 | 39 | 0.15296 | 0.074084 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_188_0_load_23 | 42 | 0.12015 | 0.058193 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_188_0_load_77 | 45 | 0.30039 | 0.14549 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_188_0_load_85 | 48 | 0.15285 | 0.074026 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_188_0_load_26 | 50 | 0.15437 | 0.074764 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_188_0_load_38 | 52 | 0.13589 | 0.065816 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_188_0_load_28 | 54 | 0.15693 | 0.076005 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_188_0_load_33 | 57 | 0.15545 | 0.075287 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_188_0_load_34 | 59 | 0.1618 | 0.078366 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_188_0_load_44 | 60 | 0.07193 | 0.034837 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_188_0_load_36 | 61 | 0.10264 | 0.04971 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_188_0_load_35 | 62 | 0.14683 | 0.071114 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_188_0_load_41 | 63 | 0.10464 | 0.050678 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_188_0_load_42 | 64 | 0.063429 | 0.03072 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_188_0_load_51 | 65 | 0.12887 | 0.062416 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_188_0_load_59 | 69 | 0.12626 | 0.061151 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_188_0_load_89 | 70 | 0.15246 | 0.073842 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_188_0_load_79 | 73 | 0.1498 | 0.07255 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_188_0_load_80 | 74 | 0.19253 | 0.093246 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_188_0_load_88 | 75 | 0.14865 | 0.071995 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_188_0_load_66 | 76 | 0.095846 | 0.04642 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_188_0_load_67 | 78 | 0.087358 | 0.04231 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_188_0_load_72 | 82 | 0.11336 | 0.054904 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_188_0_load_90 | 84 | 0.083238 | 0.040314 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_188_0_load_74 | 85 | 0.052659 | 0.025504 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_188_0_line_0 |  | 0 | 1 | 0.06359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_188_0_line_1 |  | 0 | 2 | 0.12372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_188_0_line_2 |  | 1 | 3 | 0.33991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_188_0_line_3 |  | 2 | 4 | 0.28235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_188_0_line_4 |  | 2 | 5 | 1.3471 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_188_0_line_5 |  | 3 | 6 | 0.02763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_188_0_line_6 |  | 4 | 7 | 0.15717 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_188_0_line_7 |  | 5 | 8 | 0.20378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_188_0_line_8 |  | 7 | 9 | 0.11154 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_188_0_line_9 |  | 8 | 13 | 0.088504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_188_0_line_10 |  | 10 | 11 | 0.33116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_188_0_line_11 |  | 10 | 12 | 0.80693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_188_0_line_12 |  | 11 | 13 | 1.4964 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_188_0_line_13 |  | 12 | 14 | 0.86312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_188_0_line_14 |  | 13 | 15 | 0.39131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_188_0_line_15 |  | 14 | 16 | 0.018246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_188_0_line_16 |  | 15 | 76 | 0.10432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_188_0_line_17 |  | 16 | 19 | 0.71728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_188_0_line_18 |  | 17 | 18 | 0.64888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_188_0_line_19 |  | 17 | 19 | 0.75563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_188_0_line_20 |  | 17 | 20 | 0.25211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_188_0_line_21 |  | 18 | 23 | 0.056841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_188_0_line_22 |  | 19 | 21 | 0.090535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_188_0_line_23 |  | 20 | 22 | 0.21109 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_188_0_line_24 |  | 23 | 24 | 0.30016 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
25 | MV_188_0_line_25 |  | 23 | 25 | 0.31413 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_188_0_line_26 |  | 25 | 43 | 0.087811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_188_0_line_27 |  | 25 | 64 | 0.057248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_188_0_line_28 |  | 26 | 27 | 0.045654 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_188_0_line_29 |  | 26 | 28 | 0.10445 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_188_0_line_30 |  | 27 | 29 | 0.18412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_188_0_line_31 |  | 28 | 30 | 0.010361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_188_0_line_32 |  | 29 | 31 | 0.027812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_188_0_line_33 |  | 30 | 68 | 0.17436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_188_0_line_34 |  | 31 | 32 | 0.11177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_188_0_line_35 |  | 32 | 42 | 0.027122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_188_0_line_36 |  | 33 | 34 | 2.3523 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_188_0_line_37 |  | 34 | 35 | 0.11912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_188_0_line_38 |  | 34 | 36 | 0.70889 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_188_0_line_39 |  | 36 | 37 | 1.8333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_188_0_line_40 |  | 36 | 38 | 0.46414 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_188_0_line_41 |  | 38 | 40 | 0.090783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_188_0_line_42 |  | 39 | 40 | 0.95419 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_188_0_line_43 |  | 39 | 41 | 0.028404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_188_0_line_44 |  | 40 | 50 | 0.81582 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_188_0_line_45 |  | 41 | 49 | 0.64271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_188_0_line_46 |  | 42 | 43 | 0.0039062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_188_0_line_47 |  | 44 | 45 | 0.0024159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_188_0_line_48 |  | 44 | 46 | 0.21109 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_188_0_line_49 |  | 45 | 47 | 0.029454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_188_0_line_50 |  | 46 | 48 | 0.083727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_188_0_line_51 |  | 46 | 49 | 0.3477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_188_0_line_52 |  | 47 | 62 | 0.67586 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_188_0_line_53 |  | 49 | 65 | 0.11395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_188_0_line_54 |  | 50 | 51 | 0.047643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_188_0_line_55 |  | 51 | 52 | 0.97173 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_188_0_line_56 |  | 52 | 53 | 0.74945 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_188_0_line_57 |  | 53 | 58 | 0.21304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_188_0_line_58 |  | 53 | 54 | 0.13489 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_188_0_line_59 |  | 54 | 55 | 0.076567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_188_0_line_60 |  | 55 | 56 | 1.32 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_188_0_line_61 |  | 55 | 57 | 0.2999 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_188_0_line_62 |  | 56 | 61 | 0.015912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_188_0_line_63 |  | 58 | 59 | 0.18304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_188_0_line_64 |  | 58 | 60 | 0.42998 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_188_0_line_65 |  | 63 | 64 | 0.027734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_188_0_line_66 |  | 65 | 66 | 0.030985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_188_0_line_67 |  | 66 | 67 | 0.081397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_188_0_line_68 |  | 67 | 68 | 0.13289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_188_0_line_69 |  | 67 | 69 | 0.031779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_188_0_line_70 |  | 68 | 70 | 0.077 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_188_0_line_71 |  | 69 | 71 | 0.024508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_188_0_line_72 |  | 71 | 72 | 0.055358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_188_0_line_73 |  | 72 | 73 | 0.0049711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_188_0_line_74 |  | 73 | 74 | 0.0093286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_188_0_line_75 |  | 75 | 76 | 1.1187 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_188_0_line_76 |  | 75 | 77 | 0.074092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_188_0_line_77 |  | 77 | 80 | 0.4098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_188_0_line_78 |  | 78 | 79 | 0.052747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_188_0_line_79 |  | 78 | 80 | 0.15355 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_188_0_line_80 |  | 79 | 81 | 0.093226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_188_0_line_81 |  | 81 | 82 | 0.13771 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_188_0_line_82 |  | 82 | 83 | 0.037927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_188_0_line_83 |  | 83 | 84 | 1.2633 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_188_0_line_84 |  | 84 | 85 | 0.9035 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_188_0_trafo_40 | 25 MVA 110/20 kV | 86 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2702692.6193 | 1148184.2851
1 | 2702747.9171 | 1148215.1913
2 | 2702590.8431 | 1148123.6362
3 | 2703048.9504 | 1148217.6312
4 | 2702632.3805 | 1147871.6619
5 | 2701328.3902 | 1148593.746
6 | 2703032.2433 | 1148236.1129
7 | 2702595.2071 | 1147718.955
8 | 2701300.8859 | 1148777.866
9 | 2702544.6884 | 1147619.5106
10 | 2701941.0693 | 1150251.0976
11 | 2701813.4092 | 1150186.2542
12 | 2702496.4812 | 1150215.585
13 | 2701224.4475 | 1148810.6802
14 | 2703147.6755 | 1150028.8886
15 | 2700958.6023 | 1148649.8654
16 | 2703157.1549 | 1150014.753
17 | 2703368.4422 | 1149228.864
18 | 2703842.3684 | 1148924.0502
19 | 2703689.1867 | 1149533.6779
20 | 2703418.2748 | 1149038.3314
21 | 2703734.4341 | 1149469.8382
22 | 2703610.8594 | 1148951.8951
23 | 2703855.0566 | 1148871.8802
24 | 2704145.7434 | 1148797.0703
25 | 2704035.13 | 1148614.4886
26 | 2704426.8679 | 1148374.9098
27 | 2704382.9341 | 1148387.3234
28 | 2704400.747 | 1148273.7819
29 | 2704210.743 | 1148438.6546
30 | 2704410.908 | 1148271.612
31 | 2704202.3639 | 1148463.937
32 | 2704130.644 | 1148549.5965
33 | 2707760.4864 | 1145299.4175
34 | 2706897.3694 | 1147487.62
35 | 2706896.417 | 1147601.4875
36 | 2706272.3962 | 1147153.0567
37 | 2705194.143 | 1145670.4021
38 | 2705962.9508 | 1147498.9875
39 | 2705087.9567 | 1148016.1248
40 | 2705933.2046 | 1147573.368
41 | 2705065.6434 | 1147998.469
42 | 2704104.8466 | 1148556.2292
43 | 2704101.2629 | 1148557.7832
44 | 2704776.064 | 1148567.981
45 | 2704778.0135 | 1148569.4079
46 | 2704894.9312 | 1148393.5371
47 | 2704783.7551 | 1148587.6828
48 | 2704963.8003 | 1148346.1612
49 | 2704776.0613 | 1148194.9654
50 | 2706156.5005 | 1148358.0321
51 | 2706117.3116 | 1148376.8542
52 | 2705885.5291 | 1149320.5387
53 | 2705924.8254 | 1150068.9535
54 | 2706059.0699 | 1150082.1119
55 | 2706133.9333 | 1150077.0711
56 | 2706863.4608 | 1149262.4831
57 | 2706313.5357 | 1150317.2467
58 | 2705727.5936 | 1150106.9033
59 | 2705852.7337 | 1150184.1162
60 | 2705433.9935 | 1150421.0383
61 | 2706850.6389 | 1149257.9751
62 | 2704925.0762 | 1149248.6072
63 | 2703987.5865 | 1148578.5454
64 | 2704010.4774 | 1148562.797
65 | 2704693.3029 | 1148273.2903
66 | 2704670.7984 | 1148294.5892
67 | 2704600.8199 | 1148315.7213
68 | 2704553.3041 | 1148249.4659
69 | 2704613.8837 | 1148342.7764
70 | 2704551.8136 | 1148172.48
71 | 2704630.7505 | 1148360.4804
72 | 2704607.6923 | 1148407.399
73 | 2704611.8417 | 1148410.1365
74 | 2704619.6284 | 1148415.2738
75 | 2700009.8791 | 1149412.6934
76 | 2700864.9776 | 1148691.3018
77 | 2699947.2625 | 1149451.579
78 | 2699604.7647 | 1149780.303
79 | 2699580.3104 | 1149827.0614
80 | 2699678.1024 | 1149645.3981
81 | 2699492.7898 | 1149805.6137
82 | 2699459.3697 | 1149939.212
83 | 2699486.5003 | 1149964.6423
84 | 2699578.7998 | 1151224.5971
85 | 2698699.4188 | 1151017.2216
86 | 2704145.7434 | 1148797.0703

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98567 | -0.072067 | 0.1149 | 0.055648
1 | 0.98566 | -0.071992 | 0 | 0
2 | 0.98571 | -0.072369 | 0 | 0
3 | 0.9856 | -0.071488 | 0 | 0
4 | 0.98565 | -0.071822 | 0 | 0
5 | 0.98684 | -0.062652 | 0 | 0
6 | 0.98559 | -0.07144 | 0.14477 | 0.070114
7 | 0.98559 | -0.07217 | 0.089836 | 0.04351
8 | 0.98695 | -0.06343 | 0.12855 | 0.062261
9 | 0.98557 | -0.072291 | 0.086678 | 0.04198
10 | 0.99078 | -0.038107 | 0.063518 | 0.030763
11 | 0.9903 | -0.034843 | 0 | 0
12 | 0.99202 | -0.045973 | 0 | 0
13 | 0.98702 | -0.063888 | 0 | 0
14 | 0.99334 | -0.053269 | 0 | 0
15 | 0.98673 | -0.061771 | 0 | 0
16 | 0.99336 | -0.053411 | 0.15791 | 0.076479
17 | 0.99664 | -0.042491 | 0 | 0
18 | 0.99802 | -0.049845 | 0 | 0
19 | 0.99521 | -0.034617 | 0 | 0
20 | 0.99657 | -0.041936 | 0.082653 | 0.04003
21 | 0.9952 | -0.034486 | 0.12555 | 0.060805
22 | 0.99653 | -0.04224 | 0.11747 | 0.056894
23 | 0.99814 | -0.050457 | 0.14468 | 0.070074
24 | 1 | 0 | -5.4188 | -2.3642
25 | 0.99602 | -0.067093 | 0 | 0
26 | 0.99395 | -0.0552 | 0.15761 | 0.076332
27 | 0.99422 | -0.053064 | 0 | 0
28 | 0.99336 | -0.059888 | 0.078163 | 0.037856
29 | 0.99495 | -0.058726 | 0 | 0
30 | 0.99332 | -0.059597 | 0 | 0
31 | 0.99506 | -0.059576 | 0.13936 | 0.067493
32 | 0.99551 | -0.063167 | 0 | 0
33 | 0.98685 | -0.064439 | 0.092159 | 0.044634
34 | 0.98727 | -0.061469 | 0 | 0
35 | 0.98726 | -0.061361 | 0.08112 | 0.039288
36 | 0.98751 | -0.059581 | 0.087111 | 0.04219
37 | 0.98728 | -0.061232 | 0.06519 | 0.031573
38 | 0.9878 | -0.057355 | 0.082702 | 0.040054
39 | 0.99032 | -0.037012 | 0.15296 | 0.074084
40 | 0.98785 | -0.05775 | 0 | 0
41 | 0.99038 | -0.037426 | 0 | 0
42 | 0.99563 | -0.064035 | 0.12015 | 0.058193
43 | 0.99564 | -0.064165 | 0 | 0
44 | 0.99116 | -0.045282 | 0 | 0
45 | 0.99116 | -0.045269 | 0.30039 | 0.14549
46 | 0.99134 | -0.044091 | 0 | 0
47 | 0.99115 | -0.045219 | 0 | 0
48 | 0.99133 | -0.04394 | 0.15285 | 0.074026
49 | 0.99161 | -0.046454 | 0 | 0
50 | 0.98638 | -0.070555 | 0.15437 | 0.074764
51 | 0.98633 | -0.070235 | 0 | 0
52 | 0.98487 | -0.083484 | 0.13589 | 0.065816
53 | 0.98395 | -0.092391 | 0 | 0
54 | 0.98384 | -0.093482 | 0.15693 | 0.076005
55 | 0.98382 | -0.093399 | 0 | 0
56 | 0.98365 | -0.093082 | 0 | 0
57 | 0.98373 | -0.093986 | 0.15545 | 0.075287
58 | 0.98388 | -0.091876 | 0 | 0
59 | 0.98385 | -0.091536 | 0.1618 | 0.078366
60 | 0.98382 | -0.092272 | 0.07193 | 0.034837
61 | 0.98365 | -0.093062 | 0.10264 | 0.04971
62 | 0.99096 | -0.046463 | 0.14683 | 0.071114
63 | 0.996 | -0.066948 | 0.10464 | 0.050678
64 | 0.99601 | -0.066982 | 0.063429 | 0.03072
65 | 0.99191 | -0.048731 | 0.12887 | 0.062416
66 | 0.992 | -0.049395 | 0 | 0
67 | 0.99223 | -0.051131 | 0 | 0
68 | 0.99269 | -0.054674 | 0 | 0
69 | 0.99221 | -0.050956 | 0.12626 | 0.061151
70 | 0.99267 | -0.054818 | 0.15246 | 0.073842
71 | 0.9922 | -0.050857 | 0 | 0
72 | 0.99218 | -0.05063 | 0 | 0
73 | 0.99218 | -0.050609 | 0.1498 | 0.07255
74 | 0.99217 | -0.050588 | 0.19253 | 0.093246
75 | 0.9856 | -0.069774 | 0.14865 | 0.071995
76 | 0.98665 | -0.061167 | 0.095846 | 0.04642
77 | 0.98557 | -0.069552 | 0 | 0
78 | 0.98529 | -0.068908 | 0.087358 | 0.04231
79 | 0.98528 | -0.068768 | 0 | 0
80 | 0.98539 | -0.06817 | 0 | 0
81 | 0.98525 | -0.06851 | 0 | 0
82 | 0.98518 | -0.068979 | 0.11336 | 0.054904
83 | 0.98517 | -0.068923 | 0 | 0
84 | 0.98484 | -0.071258 | 0.083238 | 0.040314
85 | 0.98474 | -0.071892 | 0.052659 | 0.025504
86 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.14478 | 0.060118 | -0.14478 | -0.061592 | 1.796e-06 | -0.0014745 | 0.0045912 | 0.0046079 | 0.0046079 | 0.98567 | -0.072067 | 0.98566 | -0.071992 | 2.0945
1 | -0.25968 | -0.11577 | 0.25969 | 0.1129 | 1.1405e-05 | -0.0028666 | 0.0083267 | 0.0082929 | 0.0083267 | 0.98567 | -0.072067 | 0.98571 | -0.072369 | 3.7849
2 | 0.14478 | 0.061592 | -0.14477 | -0.069473 | 9.8301e-06 | -0.0078811 | 0.0046079 | 0.0047031 | 0.0047031 | 0.98566 | -0.071992 | 0.9856 | -0.071488 | 2.1378
3 | 0.17654 | 0.078639 | -0.17653 | -0.085185 | 1.2245e-05 | -0.0065461 | 0.0056598 | 0.0057405 | 0.0057405 | 0.98571 | -0.072369 | 0.98565 | -0.071822 | 2.6093
4 | -0.43623 | -0.19154 | 0.43669 | 0.19027 | 0.00046664 | -0.0012721 | 0.013953 | 0.013934 | 0.013953 | 0.98571 | -0.072369 | 0.98684 | -0.062652 | 6.6441
5 | 0.14477 | 0.069473 | -0.14477 | -0.070114 | 8.1731e-07 | -0.00064058 | 0.0047031 | 0.0047113 | 0.0047113 | 0.9856 | -0.071488 | 0.98559 | -0.07144 | 2.1415
6 | 0.17653 | 0.085185 | -0.17652 | -0.085361 | 9.2316e-06 | -0.00017649 | 0.0057405 | 0.0057429 | 0.0057429 | 0.98565 | -0.071822 | 0.98559 | -0.07217 | 2.7347
7 | -0.43669 | -0.19027 | 0.43675 | 0.18554 | 5.2613e-05 | -0.0047232 | 0.013934 | 0.013879 | 0.013934 | 0.98684 | -0.062652 | 0.98695 | -0.06343 | 6.3337
8 | 0.08668 | 0.041852 | -0.086678 | -0.04198 | 1.5805e-06 | -0.00012836 | 0.0028193 | 0.0028209 | 0.0028209 | 0.98559 | -0.07217 | 0.98557 | -0.072291 | 1.3433
9 | -0.5653 | -0.2478 | 0.56534 | 0.24576 | 3.8457e-05 | -0.0020471 | 0.018053 | 0.018029 | 0.018053 | 0.98695 | -0.06343 | 0.98702 | -0.063888 | 8.2061
10 | 1.1515 | 0.48941 | -1.1509 | -0.49699 | 0.00058897 | -0.0075833 | 0.036455 | 0.036544 | 0.036544 | 0.99078 | -0.038107 | 0.9903 | -0.034843 | 16.6108
11 | -1.215 | -0.52017 | 1.2166 | 0.50171 | 0.0015886 | -0.018465 | 0.038509 | 0.038295 | 0.038509 | 0.99078 | -0.038107 | 0.99202 | -0.045973 | 17.504
12 | 1.1509 | 0.49699 | -1.1473 | -0.49651 | 0.0035624 | 0.00048529 | 0.036544 | 0.036564 | 0.036564 | 0.9903 | -0.034843 | 0.98702 | -0.063888 | 17.4115
13 | -1.2166 | -0.50171 | 1.2183 | 0.4819 | 0.00168 | -0.019809 | 0.038295 | 0.038074 | 0.038295 | 0.99202 | -0.045973 | 0.99334 | -0.053269 | 17.4069
14 | 0.58201 | 0.25075 | -0.58183 | -0.2598 | 0.00018049 | -0.0090456 | 0.018535 | 0.018642 | 0.018642 | 0.98702 | -0.063888 | 0.98673 | -0.061771 | 8.4735
15 | -1.2183 | -0.4819 | 1.2183 | 0.48148 | 3.5306e-05 | -0.0004194 | 0.038074 | 0.038069 | 0.038074 | 0.99334 | -0.053269 | 0.99336 | -0.053411 | 17.3063
16 | 0.58183 | 0.2598 | -0.58178 | -0.26221 | 4.8474e-05 | -0.0024106 | 0.018642 | 0.018671 | 0.018671 | 0.98673 | -0.061771 | 0.98665 | -0.061167 | 8.4867
17 | -1.3762 | -0.55796 | 1.3786 | 0.5586 | 0.0023796 | 0.00064397 | 0.043156 | 0.043146 | 0.043156 | 0.99336 | -0.053411 | 0.99521 | -0.034617 | 20.5503
18 | -1.7065 | -0.69074 | 1.709 | 0.67606 | 0.0024556 | -0.014682 | 0.053325 | 0.05316 | 0.053325 | 0.99664 | -0.042491 | 0.99802 | -0.049845 | 24.2387
19 | 1.5064 | 0.60003 | -1.5042 | -0.61727 | 0.0022344 | -0.017232 | 0.046967 | 0.047161 | 0.047161 | 0.99664 | -0.042491 | 0.99521 | -0.034617 | 21.4368
20 | 0.20014 | 0.090703 | -0.20013 | -0.096678 | 1.3789e-05 | -0.0059744 | 0.0063647 | 0.0064381 | 0.0064381 | 0.99664 | -0.042491 | 0.99657 | -0.041936 | 2.9264
21 | -1.709 | -0.67606 | 1.7092 | 0.67477 | 0.00021438 | -0.0012883 | 0.05316 | 0.053145 | 0.05316 | 0.99802 | -0.049845 | 0.99814 | -0.050457 | 24.1634
22 | 0.12555 | 0.058665 | -0.12555 | -0.060805 | 1.9658e-06 | -0.0021404 | 0.0040197 | 0.0040463 | 0.0040463 | 0.99521 | -0.034617 | 0.9952 | -0.034486 | 1.8392
23 | 0.11748 | 0.056647 | -0.11747 | -0.056894 | 5.3724e-06 | -0.0002469 | 0.0037779 | 0.003781 | 0.003781 | 0.99657 | -0.041936 | 0.99653 | -0.04224 | 1.8005
24 | -5.3968 | -2.3449 | 5.4048 | 2.3537 | 0.0079799 | 0.0087508 | 0.17018 | 0.17018 | 0.17018 | 0.99814 | -0.050457 | 1 | 0 | 48.6227
25 | 3.5429 | 1.6001 | -3.5358 | -1.596 | 0.0070751 | 0.0040588 | 0.11243 | 0.11244 | 0.11244 | 0.99814 | -0.050457 | 0.99602 | -0.067093 | 53.5407
26 | 3.3678 | 1.5166 | -3.3664 | -1.5183 | 0.0013437 | -0.0016806 | 0.10705 | 0.10707 | 0.10707 | 0.99602 | -0.067093 | 0.99564 | -0.064165 | 48.6699
27 | 0.16807 | 0.079386 | -0.16807 | -0.080741 | 2.225e-06 | -0.0013553 | 0.0053872 | 0.0054041 | 0.0054041 | 0.99602 | -0.067093 | 0.99601 | -0.066982 | 2.4564
28 | -3.1013 | -1.3992 | 3.1021 | 1.3996 | 0.00079424 | 0.00044363 | 0.098815 | 0.098814 | 0.098815 | 0.99395 | -0.0552 | 0.99422 | -0.053064 | 47.0547
29 | 2.9437 | 1.3228 | -2.9421 | -1.3219 | 0.0016349 | 0.00090096 | 0.093731 | 0.093732 | 0.093732 | 0.99395 | -0.0552 | 0.99336 | -0.059888 | 44.6344
30 | -3.1021 | -1.3996 | 3.1045 | 1.396 | 0.0023988 | -0.003637 | 0.098814 | 0.098762 | 0.098814 | 0.99422 | -0.053064 | 0.99495 | -0.058726 | 44.9155
31 | 2.8639 | 1.2841 | -2.8638 | -1.2843 | 0.00011507 | -0.00020996 | 0.091209 | 0.091212 | 0.091212 | 0.99336 | -0.059888 | 0.99332 | -0.059597 | 41.4602
32 | -3.1045 | -1.396 | 3.1049 | 1.3954 | 0.00036213 | -0.00055 | 0.098762 | 0.098754 | 0.098762 | 0.99495 | -0.058726 | 0.99506 | -0.059576 | 44.892
33 | 2.8638 | 1.2843 | -2.8619 | -1.2878 | 0.0019376 | -0.0035302 | 0.091212 | 0.091261 | 0.091261 | 0.99332 | -0.059597 | 0.99269 | -0.054674 | 41.4824
34 | -3.2442 | -1.4629 | 3.2458 | 1.4607 | 0.00159 | -0.0021718 | 0.10324 | 0.10321 | 0.10324 | 0.99506 | -0.059576 | 0.99551 | -0.063167 | 46.9294
35 | -3.2458 | -1.4607 | 3.2462 | 1.4602 | 0.0003857 | -0.00052744 | 0.10321 | 0.10321 | 0.10321 | 0.99551 | -0.063167 | 0.99563 | -0.064035 | 46.9151
36 | -0.092159 | -0.044634 | 0.092196 | 0.041922 | 3.7172e-05 | -0.0027127 | 0.0029954 | 0.0029614 | 0.0029954 | 0.98685 | -0.064439 | 0.98727 | -0.061469 | 1.4264
37 | 0.081121 | 0.036516 | -0.08112 | -0.039288 | 1.09e-06 | -0.0027719 | 0.0026012 | 0.0026355 | 0.0026355 | 0.98727 | -0.061469 | 0.98726 | -0.061361 | 1.1979
38 | -0.17332 | -0.078438 | 0.17336 | 0.077637 | 3.9011e-05 | -0.00080064 | 0.0055625 | 0.0055526 | 0.0055625 | 0.98727 | -0.061469 | 0.98751 | -0.059581 | 2.6488
39 | 0.065204 | 0.029448 | -0.06519 | -0.031573 | 1.4466e-05 | -0.0021247 | 0.0020915 | 0.0021179 | 0.0021179 | 0.98751 | -0.059581 | 0.98728 | -0.061232 | 1.0085
40 | -0.32567 | -0.14928 | 0.32576 | 0.14879 | 9.064e-05 | -0.00048372 | 0.010473 | 0.010466 | 0.010473 | 0.98751 | -0.059581 | 0.9878 | -0.057355 | 4.987
41 | -0.40846 | -0.18885 | 0.40848 | 0.18674 | 2.0919e-05 | -0.0021089 | 0.013151 | 0.013125 | 0.013151 | 0.9878 | -0.057355 | 0.98785 | -0.05775 | 5.9777
42 | 1.3538 | 0.59747 | -1.3506 | -0.5966 | 0.0031641 | 0.00086747 | 0.043134 | 0.043147 | 0.043147 | 0.99032 | -0.037012 | 0.98785 | -0.05775 | 20.5463
43 | -1.5067 | -0.67155 | 1.5068 | 0.67091 | 8.7664e-05 | -0.00063915 | 0.048086 | 0.048078 | 0.048086 | 0.99032 | -0.037012 | 0.99038 | -0.037426 | 21.8571
44 | 0.94212 | 0.40987 | -0.94081 | -0.40999 | 0.0013107 | -0.00012799 | 0.030024 | 0.030035 | 0.030035 | 0.98785 | -0.05775 | 0.98638 | -0.070555 | 14.3023
45 | -1.5068 | -0.67091 | 1.5088 | 0.65643 | 0.001976 | -0.014484 | 0.048078 | 0.047901 | 0.048078 | 0.99038 | -0.037426 | 0.99161 | -0.046454 | 21.8535
46 | -3.3664 | -1.5184 | 3.3664 | 1.5183 | 5.9787e-05 | -7.4717e-05 | 0.10707 | 0.10707 | 0.10707 | 0.99563 | -0.064035 | 0.99564 | -0.064165 | 48.6704
47 | 0.44725 | 0.21508 | -0.44725 | -0.21513 | 6.7391e-07 | -5.6468e-05 | 0.014454 | 0.014455 | 0.014455 | 0.99116 | -0.045282 | 0.99116 | -0.045269 | 6.5704
48 | -0.44725 | -0.21508 | 0.44733 | 0.21488 | 7.8559e-05 | -0.00019841 | 0.014454 | 0.014451 | 0.014454 | 0.99116 | -0.045282 | 0.99134 | -0.044091 | 6.8829
49 | 0.14686 | 0.069648 | -0.14686 | -0.070338 | 8.8278e-07 | -0.00069059 | 0.0047339 | 0.0047426 | 0.0047426 | 0.99116 | -0.045269 | 0.99115 | -0.045219 | 2.1557
50 | 0.15285 | 0.072063 | -0.15285 | -0.074026 | 2.72e-06 | -0.0019638 | 0.0049208 | 0.0049454 | 0.0049454 | 0.99134 | -0.044091 | 0.99133 | -0.04394 | 2.2479
51 | -0.60018 | -0.28694 | 0.60035 | 0.27883 | 0.00017327 | -0.0081094 | 0.019372 | 0.01927 | 0.019372 | 0.99134 | -0.044091 | 0.99161 | -0.046454 | 8.8053
52 | 0.14686 | 0.070338 | -0.14683 | -0.071114 | 2.7142e-05 | -0.00077548 | 0.0047426 | 0.0047526 | 0.0047526 | 0.99115 | -0.045219 | 0.99096 | -0.046463 | 2.2631
53 | -2.1091 | -0.93526 | 2.1098 | 0.93279 | 0.00068595 | -0.0024725 | 0.067167 | 0.067136 | 0.067167 | 0.99161 | -0.046454 | 0.99191 | -0.048731 | 30.5305
54 | 0.78645 | 0.33523 | -0.78641 | -0.33632 | 3.9836e-05 | -0.0010949 | 0.02502 | 0.025033 | 0.025033 | 0.98638 | -0.070555 | 0.98633 | -0.070235 | 11.3785
55 | 0.78641 | 0.33632 | -0.78532 | -0.33677 | 0.0010855 | -0.00044699 | 0.025033 | 0.025046 | 0.025046 | 0.98633 | -0.070235 | 0.98487 | -0.083484 | 11.9265
56 | 0.64943 | 0.27096 | -0.64886 | -0.27147 | 0.00056832 | -0.00051104 | 0.020626 | 0.020635 | 0.020635 | 0.98487 | -0.083484 | 0.98395 | -0.092391 | 9.8264
57 | 0.23376 | 0.10356 | -0.23375 | -0.10848 | 1.6129e-05 | -0.0049194 | 0.0075011 | 0.0075608 | 0.0075608 | 0.98395 | -0.092391 | 0.98388 | -0.091876 | 3.4367
58 | 0.4151 | 0.16791 | -0.41506 | -0.16804 | 4.1481e-05 | -0.0001299 | 0.013137 | 0.013139 | 0.013139 | 0.98395 | -0.092391 | 0.98384 | -0.093482 | 6.2565
59 | 0.25813 | 0.092031 | -0.25812 | -0.093798 | 6.6232e-06 | -0.0017675 | 0.0080408 | 0.0080584 | 0.0080584 | 0.98384 | -0.093482 | 0.98382 | -0.093399 | 3.6629
60 | 0.10266 | 0.018849 | -0.10264 | -0.049342 | 1.7753e-05 | -0.030494 | 0.0030625 | 0.0033421 | 0.0033421 | 0.98382 | -0.093399 | 0.98365 | -0.093082 | 1.5192
61 | 0.15546 | 0.07495 | -0.15545 | -0.075287 | 1.3715e-05 | -0.00033791 | 0.0050641 | 0.0050685 | 0.0050685 | 0.98382 | -0.093399 | 0.98373 | -0.093986 | 2.4136
62 | 0.10264 | 0.049342 | -0.10264 | -0.04971 | 2.3762e-07 | -0.00036752 | 0.0033421 | 0.0033468 | 0.0033468 | 0.98365 | -0.093082 | 0.98365 | -0.093062 | 1.5213
63 | 0.16181 | 0.074137 | -0.1618 | -0.078366 | 6.7309e-06 | -0.0042284 | 0.0052222 | 0.0052751 | 0.0052751 | 0.98388 | -0.091876 | 0.98385 | -0.091536 | 2.3978
64 | 0.071935 | 0.034343 | -0.07193 | -0.034837 | 4.2018e-06 | -0.00049424 | 0.0023388 | 0.0023451 | 0.0023451 | 0.98388 | -0.091876 | 0.98382 | -0.092272 | 1.1167
65 | -0.10464 | -0.050678 | 0.10464 | 0.050021 | 4.1938e-07 | -0.00065677 | 0.0033697 | 0.0033614 | 0.0033697 | 0.996 | -0.066948 | 0.99601 | -0.066982 | 1.5317
66 | -2.2387 | -0.99521 | 2.2389 | 0.99454 | 0.00021027 | -0.00066559 | 0.071301 | 0.071292 | 0.071301 | 0.99191 | -0.048731 | 0.992 | -0.049395 | 32.4093
67 | -2.2389 | -0.99454 | 2.2395 | 0.99279 | 0.00055212 | -0.0017492 | 0.071292 | 0.071269 | 0.071292 | 0.992 | -0.049395 | 0.99223 | -0.051131 | 32.4054
68 | -2.7081 | -1.2168 | 2.7094 | 1.2141 | 0.001323 | -0.0027328 | 0.086375 | 0.086338 | 0.086375 | 0.99223 | -0.051131 | 0.99269 | -0.054674 | 39.2615
69 | 0.46861 | 0.22399 | -0.4686 | -0.22474 | 9.6934e-06 | -0.00074413 | 0.015111 | 0.01512 | 0.01512 | 0.99223 | -0.051131 | 0.99221 | -0.050956 | 6.8729
70 | 0.15247 | 0.073753 | -0.15246 | -0.073842 | 3.3288e-06 | -8.8497e-05 | 0.0049253 | 0.0049264 | 0.0049264 | 0.99269 | -0.054674 | 0.99267 | -0.054818 | 2.3459
71 | 0.34234 | 0.16359 | -0.34234 | -0.16416 | 3.9895e-06 | -0.00057489 | 0.011039 | 0.011046 | 0.011046 | 0.99221 | -0.050956 | 0.9922 | -0.050857 | 5.0209
72 | 0.34234 | 0.16416 | -0.34233 | -0.16546 | 9.0307e-06 | -0.0012985 | 0.011046 | 0.011062 | 0.011062 | 0.9922 | -0.050857 | 0.99218 | -0.05063 | 5.0284
73 | 0.34233 | 0.16546 | -0.34233 | -0.16558 | 8.1227e-07 | -0.0001166 | 0.011062 | 0.011064 | 0.011064 | 0.99218 | -0.05063 | 0.99218 | -0.050609 | 5.0291
74 | 0.19253 | 0.093027 | -0.19253 | -0.093246 | 4.8223e-07 | -0.00021912 | 0.0062213 | 0.0062241 | 0.0062241 | 0.99218 | -0.050609 | 0.99217 | -0.050588 | 2.8291
75 | -0.48545 | -0.21678 | 0.48594 | 0.21579 | 0.00048285 | -0.00099632 | 0.015572 | 0.015556 | 0.015572 | 0.9856 | -0.069774 | 0.98665 | -0.061167 | 7.4152
76 | 0.3368 | 0.14479 | -0.33679 | -0.1465 | 1.1425e-05 | -0.001715 | 0.010738 | 0.010758 | 0.010758 | 0.9856 | -0.069774 | 0.98557 | -0.069552 | 4.8898
77 | 0.33679 | 0.1465 | -0.33673 | -0.15599 | 6.3976e-05 | -0.0094835 | 0.010758 | 0.010872 | 0.010872 | 0.98557 | -0.069552 | 0.98539 | -0.06817 | 4.9416
78 | 0.24934 | 0.11383 | -0.24933 | -0.11506 | 4.5496e-06 | -0.0012213 | 0.0080305 | 0.0080454 | 0.0080454 | 0.98529 | -0.068908 | 0.98528 | -0.068768 | 3.657
79 | -0.3367 | -0.15614 | 0.33673 | 0.15599 | 3.2342e-05 | -0.00015772 | 0.010874 | 0.010872 | 0.010874 | 0.98529 | -0.068908 | 0.98539 | -0.06817 | 5.178
80 | 0.24933 | 0.11506 | -0.24932 | -0.11721 | 8.0827e-06 | -0.0021583 | 0.0080454 | 0.0080722 | 0.0080722 | 0.98528 | -0.068768 | 0.98525 | -0.06851 | 3.6692
81 | 0.24932 | 0.11721 | -0.24931 | -0.11736 | 1.5992e-05 | -0.00014956 | 0.0080722 | 0.0080742 | 0.0080742 | 0.98525 | -0.06851 | 0.98518 | -0.068979 | 3.8448
82 | 0.13595 | 0.06246 | -0.13595 | -0.063339 | 9.7543e-07 | -0.00087861 | 0.0043838 | 0.0043946 | 0.0043946 | 0.98518 | -0.068979 | 0.98517 | -0.068923 | 1.9975
83 | 0.13595 | 0.063339 | -0.1359 | -0.064775 | 4.365e-05 | -0.0014359 | 0.0043946 | 0.0044129 | 0.0044129 | 0.98517 | -0.068923 | 0.98484 | -0.071258 | 2.1014
84 | 0.052663 | 0.024461 | -0.052659 | -0.025504 | 4.6992e-06 | -0.0010431 | 0.001702 | 0.0017152 | 0.0017152 | 0.98484 | -0.071258 | 0.98474 | -0.071892 | 0.81676

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.519 | 2.4127

## res_load
| p_mw | q_mvar
0 | 0.1149 | 0.055648
1 | 0.14477 | 0.070114
2 | 0.089836 | 0.04351
3 | 0.12855 | 0.062261
4 | 0.086678 | 0.04198
5 | 0.063518 | 0.030763
6 | 0.15791 | 0.076479
7 | 0.082653 | 0.04003
8 | 0.12555 | 0.060805
9 | 0.11747 | 0.056894
10 | 0.14468 | 0.070074
11 | 0.10019 | 0.048525
12 | 0.15761 | 0.076332
13 | 0.078163 | 0.037856
14 | 0.13936 | 0.067493
15 | 0.092159 | 0.044634
16 | 0.08112 | 0.039288
17 | 0.087111 | 0.04219
18 | 0.06519 | 0.031573
19 | 0.082702 | 0.040054
20 | 0.15296 | 0.074084
21 | 0.12015 | 0.058193
22 | 0.30039 | 0.14549
23 | 0.15285 | 0.074026
24 | 0.15437 | 0.074764
25 | 0.13589 | 0.065816
26 | 0.15693 | 0.076005
27 | 0.15545 | 0.075287
28 | 0.1618 | 0.078366
29 | 0.07193 | 0.034837
30 | 0.10264 | 0.04971
31 | 0.14683 | 0.071114
32 | 0.10464 | 0.050678
33 | 0.063429 | 0.03072
34 | 0.12887 | 0.062416
35 | 0.12626 | 0.061151
36 | 0.15246 | 0.073842
37 | 0.1498 | 0.07255
38 | 0.19253 | 0.093246
39 | 0.14865 | 0.071995
40 | 0.095846 | 0.04642
41 | 0.087358 | 0.04231
42 | 0.11336 | 0.054904
43 | 0.083238 | 0.040314
44 | 0.052659 | 0.025504

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1