## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_190_1_node_40 | 20 | n |  | TRUE
1 | bus_MV_190_1_node_41 | 20 | n |  | TRUE
2 | bus_MV_190_1_node_42 | 20 | n |  | TRUE
3 | bus_MV_190_1_node_43 | 20 | n |  | TRUE
4 | bus_MV_190_1_node_75 | 20 | n |  | TRUE
5 | bus_MV_190_1_node_74 | 20 | n |  | TRUE
6 | bus_MV_190_1_node_44 | 20 | n |  | TRUE
7 | bus_MV_190_1_node_45 | 20 | n |  | TRUE
8 | bus_MV_190_1_node_46 | 20 | n |  | TRUE
9 | bus_MV_190_1_node_88 | 20 | n |  | TRUE
10 | bus_MV_190_1_node_47 | 20 | n |  | TRUE
11 | bus_MV_190_1_node_50 | 20 | n |  | TRUE
12 | bus_MV_190_1_node_90 | 20 | n |  | TRUE
13 | bus_MV_190_1_node_48 | 20 | n |  | TRUE
14 | bus_MV_190_1_node_49 | 20 | n |  | TRUE
15 | bus_MV_190_1_node_53 | 20 | n |  | TRUE
16 | bus_MV_190_1_node_71 | 20 | n |  | TRUE
17 | bus_MV_190_1_node_51 | 20 | n |  | TRUE
18 | bus_MV_190_1_node_52 | 20 | n |  | TRUE
19 | bus_MV_190_1_node_76 | 20 | n |  | TRUE
20 | bus_MV_190_1_node_54 | 20 | n |  | TRUE
21 | bus_MV_190_1_node_86 | 20 | n |  | TRUE
22 | bus_MV_190_1_node_57 | 20 | n |  | TRUE
23 | bus_MV_190_1_node_58 | 20 | n |  | TRUE
24 | bus_MV_190_1_node_59 | 20 | n |  | TRUE
25 | bus_MV_190_1_node_202 | 20 | n |  | TRUE
26 | bus_MV_190_1_node_68 | 20 | n |  | TRUE
27 | bus_MV_190_1_node_60 | 20 | n |  | TRUE
28 | bus_MV_190_1_node_62 | 20 | n |  | TRUE
29 | bus_MV_190_1_node_63 | 20 | n |  | TRUE
30 | bus_MV_190_1_node_61 | 20 | n |  | TRUE
31 | bus_MV_190_1_node_64 | 20 | n |  | TRUE
32 | bus_MV_190_1_node_65 | 20 | n |  | TRUE
33 | bus_MV_190_1_node_66 | 20 | n |  | TRUE
34 | bus_MV_190_1_node_67 | 20 | n |  | TRUE
35 | bus_MV_190_1_node_85 | 20 | n |  | TRUE
36 | bus_MV_190_1_node_95 | 20 | n |  | TRUE
37 | bus_MV_190_1_node_94 | 20 | n |  | TRUE
38 | bus_MV_190_1_node_250 | 20 | n |  | TRUE
39 | bus_MV_190_1_node_69 | 20 | n |  | TRUE
40 | bus_MV_190_1_node_70 | 20 | n |  | TRUE
41 | bus_MV_190_1_node_73 | 20 | n |  | TRUE
42 | bus_MV_190_1_node_72 | 20 | n |  | TRUE
43 | bus_MV_190_1_node_101 | 20 | n |  | TRUE
44 | bus_MV_190_1_node_77 | 20 | n |  | TRUE
45 | bus_MV_190_1_node_245 | 20 | n |  | TRUE
46 | bus_MV_190_1_node_78 | 20 | n |  | TRUE
47 | bus_MV_190_1_node_80 | 20 | n |  | TRUE
48 | bus_MV_190_1_node_93 | 20 | n |  | TRUE
49 | bus_MV_190_1_node_79 | 20 | n |  | TRUE
50 | bus_MV_190_1_node_84 | 20 | n |  | TRUE
51 | bus_MV_190_1_node_212 | 20 | n |  | TRUE
52 | bus_MV_190_1_node_81 | 20 | n |  | TRUE
53 | bus_MV_190_1_node_82 | 20 | n |  | TRUE
54 | bus_MV_190_1_node_83 | 20 | n |  | TRUE
55 | bus_MV_190_1_node_87 | 20 | n |  | TRUE
56 | bus_MV_190_1_node_89 | 20 | n |  | TRUE
57 | bus_MV_190_1_node_91 | 20 | n |  | TRUE
58 | bus_MV_190_1_node_92 | 20 | n |  | TRUE
59 | bus_MV_190_1_node_96 | 20 | n |  | TRUE
60 | bus_MV_190_1_node_97 | 20 | n |  | TRUE
61 | bus_MV_190_1_node_98 | 20 | n |  | TRUE
62 | bus_MV_190_1_node_99 | 20 | n |  | TRUE
63 | bus_MV_190_1_node_100 | 20 | n |  | TRUE
64 | bus_MV_190_1_node_247 | 20 | n |  | TRUE
65 | bus_MV_190_1_node_198 | 20 | n |  | TRUE
66 | bus_MV_190_1_node_201 | 20 | n |  | TRUE
67 | bus_MV_190_1_node_200 | 20 | n |  | TRUE
68 | bus_MV_190_1_node_203 | 20 | n |  | TRUE
69 | bus_MV_190_1_node_204 | 20 | n |  | TRUE
70 | bus_MV_190_1_node_246 | 20 | n |  | TRUE
71 | bus_MV_190_1_node_205 | 20 | n |  | TRUE
72 | bus_MV_190_1_node_213 | 20 | n |  | TRUE
73 | bus_MV_190_1_node_214 | 20 | n |  | TRUE
74 | bus_MV_190_1_node_215 | 20 | n |  | TRUE
75 | bus_MV_190_1_node_216 | 20 | n |  | TRUE
76 | bus_HV_190_1_node_53 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_190_1_load_40 | 0 | 0.10454 | 0.050633 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_190_1_load_42 | 2 | 0.16053 | 0.077748 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_190_1_load_74 | 5 | 0.10089 | 0.048862 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_190_1_load_44 | 6 | 0.093826 | 0.045442 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_190_1_load_45 | 7 | 0.069908 | 0.033858 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_190_1_load_46 | 8 | 0.22601 | 0.10946 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_190_1_load_50 | 11 | 0.14526 | 0.070353 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_190_1_load_48 | 13 | 0.11403 | 0.055225 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_190_1_load_49 | 14 | 0.15895 | 0.076981 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_190_1_load_53 | 15 | 0.14498 | 0.070217 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_190_1_load_76 | 19 | 0.13134 | 0.063613 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_190_1_load_86 | 21 | 0.1044 | 0.050563 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_190_1_load_57 | 22 | 0.14687 | 0.071132 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_190_1_load_68 | 26 | 0.15629 | 0.075697 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_190_1_load_60 | 27 | 0.086822 | 0.04205 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_190_1_load_85 | 35 | 0.14885 | 0.072092 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_190_1_load_95 | 36 | 0.14123 | 0.068399 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_190_1_load_94 | 37 | 0.07493 | 0.03629 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_190_1_load_250 | 38 | 0.15113 | 0.073198 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_190_1_load_73 | 41 | 0.094479 | 0.045758 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_190_1_load_101 | 43 | 0.11201 | 0.054247 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_190_1_load_245 | 45 | 0.06879 | 0.033316 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_190_1_load_84 | 50 | 0.22733 | 0.1101 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_190_1_load_212 | 51 | 0.16911 | 0.081902 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_190_1_load_81 | 52 | 0.087523 | 0.04239 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_190_1_load_87 | 55 | 0.1113 | 0.053907 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_190_1_load_89 | 56 | 0.13917 | 0.067401 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_190_1_load_92 | 58 | 0.12358 | 0.059854 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_190_1_load_96 | 59 | 0.1176 | 0.056957 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_190_1_load_97 | 60 | 0.12433 | 0.060216 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_190_1_load_247 | 64 | 0.05526 | 0.026763 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_190_1_load_198 | 65 | 0.085385 | 0.041354 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_190_1_load_200 | 67 | 0.10558 | 0.051137 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_190_1_load_246 | 70 | 0.13159 | 0.063731 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_190_1_load_205 | 71 | 0.06339 | 0.030701 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_190_1_load_213 | 72 | 0.19668 | 0.095255 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_190_1_load_215 | 74 | 0.16205 | 0.078486 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_190_1_line_0 |  | 0 | 1 | 0.032946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_190_1_line_1 |  | 0 | 2 | 0.11206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_190_1_line_2 |  | 1 | 3 | 0.10712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_190_1_line_3 |  | 3 | 4 | 0.053812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_190_1_line_4 |  | 3 | 5 | 0.0345 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_190_1_line_5 |  | 4 | 43 | 0.03243 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_190_1_line_6 |  | 5 | 34 | 0.025542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_190_1_line_7 |  | 6 | 7 | 0.016135 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_190_1_line_8 |  | 6 | 8 | 0.044739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_190_1_line_9 |  | 6 | 9 | 0.25237 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_190_1_line_10 |  | 7 | 10 | 0.0060992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_190_1_line_11 |  | 8 | 11 | 0.07108 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_190_1_line_12 |  | 9 | 55 | 0.06783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_190_1_line_13 |  | 10 | 12 | 0.040193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_190_1_line_14 |  | 11 | 17 | 0.10116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_190_1_line_15 |  | 12 | 58 | 0.019797 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_190_1_line_16 |  | 13 | 14 | 0.090338 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_190_1_line_17 |  | 13 | 15 | 0.31565 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_190_1_line_18 |  | 14 | 16 | 0.004645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_190_1_line_19 |  | 15 | 20 | 0.034057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_190_1_line_20 |  | 16 | 42 | 0.25434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_190_1_line_21 |  | 17 | 18 | 0.011065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_190_1_line_22 |  | 18 | 19 | 0.16347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_190_1_line_23 |  | 19 | 44 | 0.17989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_190_1_line_24 |  | 20 | 21 | 0.16579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_190_1_line_25 |  | 21 | 51 | 0.050271 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_190_1_line_26 |  | 22 | 23 | 0.077205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_190_1_line_27 |  | 23 | 24 | 0.33342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_190_1_line_28 |  | 23 | 25 | 2.099 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_190_1_line_29 |  | 24 | 26 | 0.036829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_190_1_line_30 |  | 25 | 67 | 0.09175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_190_1_line_31 |  | 26 | 39 | 0.082053 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_190_1_line_32 |  | 27 | 28 | 0.009454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_190_1_line_33 |  | 27 | 29 | 0.084049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_190_1_line_34 |  | 27 | 30 | 0.035845 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_190_1_line_35 |  | 27 | 31 | 0.13688 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_190_1_line_36 |  | 28 | 33 | 0.22749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_190_1_line_37 |  | 29 | 34 | 0.048072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_190_1_line_38 |  | 30 | 32 | 0.2049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_190_1_line_39 |  | 31 | 35 | 0.11894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_190_1_line_40 |  | 32 | 36 | 0.072787 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_190_1_line_41 |  | 32 | 37 | 0.15692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_190_1_line_42 |  | 33 | 38 | 0.038443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_190_1_line_43 |  | 37 | 57 | 0.015071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_190_1_line_44 |  | 39 | 40 | 0.25859 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_190_1_line_45 |  | 40 | 41 | 0.11442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_190_1_line_46 |  | 41 | 42 | 0.073626 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_190_1_line_47 |  | 43 | 62 | 0.016433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_190_1_line_48 |  | 44 | 45 | 2.5351 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_190_1_line_49 |  | 46 | 47 | 0.15832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_190_1_line_50 |  | 46 | 48 | 0.057756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_190_1_line_51 |  | 47 | 51 | 0.062812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_190_1_line_52 |  | 47 | 49 | 0.15381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_190_1_line_53 |  | 48 | 59 | 0.067696 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_190_1_line_54 |  | 48 | 57 | 0.18871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_190_1_line_55 |  | 49 | 50 | 0.095785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_190_1_line_56 |  | 50 | 54 | 0.018802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_190_1_line_57 |  | 52 | 53 | 0.065464 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_190_1_line_58 |  | 53 | 54 | 0.036644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_190_1_line_59 |  | 56 | 57 | 0.040085 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_190_1_line_60 |  | 56 | 58 | 0.043894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_190_1_line_61 |  | 60 | 61 | 0.014424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_190_1_line_62 |  | 61 | 62 | 0.28223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_190_1_line_63 |  | 62 | 63 | 0.12896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_190_1_line_64 |  | 63 | 64 | 0.017513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_190_1_line_65 |  | 64 | 75 | 0.032445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_190_1_line_66 |  | 65 | 66 | 1.6476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_190_1_line_67 |  | 66 | 68 | 0.32443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_190_1_line_68 |  | 66 | 67 | 0.03584 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_190_1_line_69 |  | 68 | 69 | 0.13638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_190_1_line_70 |  | 68 | 70 | 0.036813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_190_1_line_71 |  | 69 | 71 | 0.042843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_190_1_line_72 |  | 72 | 73 | 0.074766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_190_1_line_73 |  | 73 | 74 | 0.007793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_190_1_line_74 |  | 74 | 75 | 0.03671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_190_1_trafo_53 | 25 MVA 110/20 kV | 76 | 15 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2567432.362 | 1132471.347
1 | 2567399.8464 | 1132467.9767
2 | 2567522.7165 | 1132535.5247
3 | 2567316.2595 | 1132401.4295
4 | 2567281.2356 | 1132442.3512
5 | 2567289.2502 | 1132379.9653
6 | 2566721.503 | 1132320.709
7 | 2566736.8544 | 1132325.6757
8 | 2566707.7313 | 1132363.2752
9 | 2566735.5845 | 1132068.7292
10 | 2566742.6574 | 1132327.5532
11 | 2566720.644 | 1132433.1722
12 | 2566780.3016 | 1132337.873
13 | 2567557.7407 | 1132884.5886
14 | 2567596.4334 | 1132966.2212
15 | 2567243.944 | 1132850.4248
16 | 2567599.0484 | 1132970.0646
17 | 2566776.4607 | 1132513.9046
18 | 2566781.3427 | 1132523.8382
19 | 2566636.4428 | 1132479.4352
20 | 2567213.0282 | 1132837.9201
21 | 2567087.6352 | 1132729.4605
22 | 2568093.1128 | 1133777.6839
23 | 2568157.2872 | 1133807.6626
24 | 2567966.2898 | 1133534.5943
25 | 2570191.4344 | 1134325.4994
26 | 2567946.9865 | 1133503.2035
27 | 2567181.6469 | 1132304.8906
28 | 2567190.9647 | 1132306.6407
29 | 2567217.1538 | 1132378.134
30 | 2567149.0596 | 1132289.9607
31 | 2567081.7852 | 1132211.2773
32 | 2566961.9385 | 1132231.0208
33 | 2567377.5673 | 1132212.4249
34 | 2567263.7166 | 1132377.9029
35 | 2567012.2441 | 1132115.4985
36 | 2566945.5733 | 1132160.0973
37 | 2566875.819 | 1132362.2028
38 | 2567401.689 | 1132182.5349
39 | 2567894.721 | 1133439.9501
40 | 2567764.123 | 1133315.1073
41 | 2567732.4806 | 1133205.155
42 | 2567701.9143 | 1133138.1742
43 | 2567257.8218 | 1132464.7896
44 | 2566650.2232 | 1132579.5349
45 | 2564206.8306 | 1133255.3372
46 | 2566994.9681 | 1132542.8628
47 | 2567017.6357 | 1132659.9306
48 | 2566969.0677 | 1132496.2813
49 | 2566924.6137 | 1132682.663
50 | 2567001.9286 | 1132735.4878
51 | 2567076.9382 | 1132680.3403
52 | 2567051.5067 | 1132838.0345
53 | 2567023.5834 | 1132778.8243
54 | 2566999.27 | 1132751.8773
55 | 2566682.3485 | 1132026.6355
56 | 2566825.8311 | 1132338.7004
57 | 2566862.424 | 1132355.2962
58 | 2566786.7374 | 1132319.1512
59 | 2566912.0796 | 1132459.7424
60 | 2567069.6922 | 1132391.9894
61 | 2567059.4929 | 1132402.217
62 | 2567255.0066 | 1132480.8463
63 | 2567223.2355 | 1132557.6908
64 | 2567226.5344 | 1132573.9477
65 | 2571518.6569 | 1133341.2312
66 | 2570251.8172 | 1134394.702
67 | 2570220.6883 | 1134412.4647
68 | 2570196.5663 | 1134516.3358
69 | 2570258.7999 | 1134610.0526
70 | 2570182.145 | 1134482.4903
71 | 2570244.868 | 1134648.6184
72 | 2567084.5139 | 1132531.5338
73 | 2567152.3106 | 1132552.8858
74 | 2567159.8513 | 1132554.9346
75 | 2567195.2592 | 1132564.9912
76 | 2567243.944 | 1132850.4248

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99548 | 0.005437 | 0.10454 | 0.050633
1 | 0.99549 | 0.005338 | 0 | 0
2 | 0.99546 | 0.0056447 | 0.16053 | 0.077748
3 | 0.99553 | 0.0050276 | 0 | 0
4 | 0.99548 | 0.0053977 | 0 | 0
5 | 0.99559 | 0.0054772 | 0.10089 | 0.048862
6 | 0.99654 | 0.006028 | 0.093826 | 0.045442
7 | 0.99656 | 0.0058947 | 0.069908 | 0.033858
8 | 0.99651 | 0.0062946 | 0.22601 | 0.10946
9 | 0.99649 | 0.0056481 | 0 | 0
10 | 0.99656 | 0.0058392 | 0 | 0
11 | 0.99646 | 0.0059115 | 0.14526 | 0.070353
12 | 0.99661 | 0.0054755 | 0 | 0
13 | 0.99937 | -0.005265 | 0.11403 | 0.055225
14 | 0.99921 | -0.0066465 | 0.15895 | 0.076981
15 | 1 | 0 | -4.5195 | -2.0659
16 | 0.9992 | -0.0066162 | 0 | 0
17 | 0.99644 | 0.0060736 | 0 | 0
18 | 0.99643 | 0.0060923 | 0 | 0
19 | 0.99639 | 0.00639 | 0.13134 | 0.063613
20 | 0.99985 | 0.0012297 | 0 | 0
21 | 0.99876 | -0.0068137 | 0.1044 | 0.050563
22 | 0.99815 | -0.002594 | 0.14687 | 0.071132
23 | 0.99816 | -0.0027256 | 0 | 0
24 | 0.99839 | -0.0043234 | 0 | 0
25 | 0.99662 | -0.015841 | 0 | 0
26 | 0.99841 | -0.0044894 | 0.15629 | 0.075697
27 | 0.99579 | 0.003783 | 0.086822 | 0.04205
28 | 0.99579 | 0.0037964 | 0 | 0
29 | 0.99568 | 0.0046814 | 0 | 0
30 | 0.99589 | 0.0045039 | 0 | 0
31 | 0.99575 | 0.0035007 | 0 | 0
32 | 0.99625 | 0.0015296 | 0 | 0
33 | 0.99575 | 0.0041585 | 0 | 0
34 | 0.99562 | 0.0052001 | 0 | 0
35 | 0.99573 | 0.0037035 | 0.14885 | 0.072092
36 | 0.99623 | 0.0014042 | 0.14123 | 0.068399
37 | 0.99672 | 0.0050215 | 0.07493 | 0.03629
38 | 0.99574 | 0.0042275 | 0.15113 | 0.073198
39 | 0.99852 | -0.0035924 | 0 | 0
40 | 0.99874 | -0.0051833 | 0 | 0
41 | 0.99884 | -0.0058545 | 0.094479 | 0.045758
42 | 0.99895 | -0.0049093 | 0 | 0
43 | 0.99544 | 0.0051002 | 0.11201 | 0.054247
44 | 0.99638 | 0.0064799 | 0 | 0
45 | 0.99604 | 0.0040303 | 0.06879 | 0.033316
46 | 0.99761 | -0.0024027 | 0 | 0
47 | 0.99818 | -0.0071233 | 0 | 0
48 | 0.9974 | -0.00066977 | 0 | 0
49 | 0.99812 | -0.0065959 | 0 | 0
50 | 0.99808 | -0.0062493 | 0.22733 | 0.1101
51 | 0.99844 | -0.0091919 | 0.16911 | 0.081902
52 | 0.99807 | -0.0062633 | 0.087523 | 0.04239
53 | 0.99808 | -0.0061936 | 0 | 0
54 | 0.99808 | -0.0062309 | 0 | 0
55 | 0.99648 | 0.0057356 | 0.1113 | 0.053907
56 | 0.99669 | 0.0052508 | 0.13917 | 0.067401
57 | 0.99675 | 0.0047664 | 0 | 0
58 | 0.99664 | 0.0057105 | 0.12358 | 0.059854
59 | 0.99739 | -0.00076671 | 0.1176 | 0.056957
60 | 0.99539 | 0.0055703 | 0.12433 | 0.060216
61 | 0.99539 | 0.0055488 | 0 | 0
62 | 0.99543 | 0.0051919 | 0 | 0
63 | 0.99536 | 0.0057907 | 0 | 0
64 | 0.99535 | 0.005874 | 0.05526 | 0.026763
65 | 0.99629 | -0.017525 | 0.085385 | 0.041354
66 | 0.99656 | -0.015675 | 0 | 0
67 | 0.99658 | -0.015508 | 0.10558 | 0.051137
68 | 0.99648 | -0.0151 | 0 | 0
69 | 0.99647 | -0.015019 | 0 | 0
70 | 0.99647 | -0.015043 | 0.13159 | 0.063731
71 | 0.99647 | -0.014987 | 0.06339 | 0.030701
72 | 0.9953 | 0.0063522 | 0.19668 | 0.095255
73 | 0.99532 | 0.0061788 | 0 | 0
74 | 0.99532 | 0.0061613 | 0.16205 | 0.078486
75 | 0.99534 | 0.0060079 | 0 | 0
76 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26508 | -0.12573 | 0.26508 | 0.12495 | 3.1799e-06 | -0.00077859 | 0.0085077 | 0.0084981 | 0.0085077 | 0.99548 | 0.005437 | 0.99549 | 0.005338 | 3.8672
1 | 0.16053 | 0.075098 | -0.16053 | -0.077748 | 3.9768e-06 | -0.0026502 | 0.0051395 | 0.0051725 | 0.0051725 | 0.99548 | 0.005437 | 0.99546 | 0.0056447 | 2.3511
2 | -0.26508 | -0.12495 | 0.26509 | 0.12242 | 1.0289e-05 | -0.0025316 | 0.0084981 | 0.008467 | 0.0084981 | 0.99549 | 0.005338 | 0.99553 | 0.0050276 | 3.8628
3 | 0.65045 | 0.29924 | -0.65042 | -0.3005 | 3.0988e-05 | -0.0012641 | 0.020761 | 0.020777 | 0.020777 | 0.99553 | 0.0050276 | 0.99548 | 0.0053977 | 9.444
4 | -0.91554 | -0.42166 | 0.91559 | 0.42165 | 5.2511e-05 | -7.9296e-06 | 0.029228 | 0.029228 | 0.029228 | 0.99553 | 0.0050276 | 0.99559 | 0.0054772 | 13.9183
5 | 0.65042 | 0.3005 | -0.65039 | -0.30053 | 2.4943e-05 | -2.2741e-05 | 0.020777 | 0.020777 | 0.020777 | 0.99548 | 0.0053977 | 0.99544 | 0.0051002 | 9.8939
6 | -1.0165 | -0.47051 | 1.0165 | 0.46992 | 3.5959e-05 | -0.00059383 | 0.032478 | 0.03247 | 0.032478 | 0.99559 | 0.0054772 | 0.99562 | 0.0052001 | 14.7625
7 | -0.77661 | -0.35927 | 0.77662 | 0.35889 | 1.3232e-05 | -0.00037866 | 0.024787 | 0.024783 | 0.024787 | 0.99654 | 0.006028 | 0.99656 | 0.0058947 | 11.2669
8 | 0.57147 | 0.26183 | -0.57145 | -0.26288 | 1.9817e-05 | -0.0010549 | 0.018209 | 0.018222 | 0.018222 | 0.99654 | 0.006028 | 0.99651 | 0.0062946 | 8.2826
9 | 0.11131 | 0.052004 | -0.11131 | -0.052299 | 5.7013e-06 | -0.00029562 | 0.003559 | 0.0035626 | 0.0035626 | 0.99654 | 0.006028 | 0.99649 | 0.0056481 | 1.6965
10 | -0.84653 | -0.39275 | 0.84654 | 0.39261 | 5.9497e-06 | -0.00014286 | 0.027032 | 0.027031 | 0.027032 | 0.99656 | 0.0058947 | 0.99656 | 0.0058392 | 12.2874
11 | 0.34545 | 0.15342 | -0.34543 | -0.1535 | 1.5185e-05 | -7.4748e-05 | 0.01095 | 0.010951 | 0.010951 | 0.99651 | 0.0062946 | 0.99646 | 0.0059115 | 5.2146
12 | 0.11131 | 0.052299 | -0.1113 | -0.053907 | 1.1558e-06 | -0.0016078 | 0.0035626 | 0.0035827 | 0.0035827 | 0.99649 | 0.0056481 | 0.99648 | 0.0057356 | 1.6285
13 | -0.84654 | -0.39261 | 0.84658 | 0.39167 | 3.9188e-05 | -0.00094148 | 0.027031 | 0.027019 | 0.027031 | 0.99656 | 0.0058392 | 0.99661 | 0.0054755 | 12.2866
14 | 0.20017 | 0.083145 | -0.20017 | -0.085541 | 5.3476e-06 | -0.0023966 | 0.0062793 | 0.0063063 | 0.0063063 | 0.99646 | 0.0059115 | 0.99644 | 0.0060736 | 2.8665
15 | -0.84658 | -0.39167 | 0.8466 | 0.39166 | 2.5749e-05 | -7.3459e-06 | 0.027019 | 0.027019 | 0.027019 | 0.99661 | 0.0054755 | 0.99664 | 0.0057105 | 12.8662
16 | 0.94404 | 0.41175 | -0.94389 | -0.41177 | 0.00014246 | -1.8458e-05 | 0.02975 | 0.029751 | 0.029751 | 0.99937 | -0.005265 | 0.99921 | -0.0066465 | 14.1673
17 | -1.0581 | -0.46698 | 1.0587 | 0.46699 | 0.00062758 | 1.6507e-05 | 0.033407 | 0.033403 | 0.033407 | 0.99937 | -0.005265 | 1 | 0 | 15.9082
18 | 0.78495 | 0.33479 | -0.78494 | -0.3349 | 3.7693e-06 | -0.00010961 | 0.024654 | 0.024655 | 0.024655 | 0.99921 | -0.0066465 | 0.9992 | -0.0066162 | 11.2069
19 | 3.4468 | 1.5884 | -3.4463 | -1.589 | 0.00054577 | -0.00065114 | 0.10956 | 0.10957 | 0.10957 | 1 | 0 | 0.99985 | 0.0012297 | 49.8033
20 | 0.78494 | 0.3349 | -0.78474 | -0.3409 | 0.00020698 | -0.0060001 | 0.024655 | 0.024725 | 0.024725 | 0.9992 | -0.0066162 | 0.99895 | -0.0049093 | 11.2384
21 | 0.20017 | 0.085541 | -0.20017 | -0.085803 | 5.8774e-07 | -0.00026213 | 0.0063063 | 0.0063093 | 0.0063093 | 0.99644 | 0.0060736 | 0.99643 | 0.0060923 | 2.8679
22 | 0.20017 | 0.085803 | -0.20016 | -0.089676 | 8.7485e-06 | -0.0038724 | 0.0063093 | 0.0063544 | 0.0063544 | 0.99643 | 0.0060923 | 0.99639 | 0.00639 | 2.8883
23 | 0.068812 | 0.026063 | -0.068811 | -0.030326 | 1.1147e-06 | -0.0042637 | 0.0021318 | 0.0021787 | 0.0021787 | 0.99639 | 0.00639 | 0.99638 | 0.0064799 | 0.9903
24 | 3.4463 | 1.589 | -3.4427 | -1.587 | 0.0035462 | 0.0020236 | 0.10957 | 0.10957 | 0.10957 | 0.99985 | 0.0012297 | 0.99876 | -0.0068137 | 52.176
25 | 3.3383 | 1.5364 | -3.3373 | -1.5359 | 0.0010105 | 0.00057312 | 0.10622 | 0.10622 | 0.10622 | 0.99876 | -0.0068137 | 0.99844 | -0.0091919 | 50.5801
26 | -0.14687 | -0.071132 | 0.14687 | 0.069296 | 2.2846e-06 | -0.0018359 | 0.0047196 | 0.0046967 | 0.0047196 | 0.99815 | -0.002594 | 0.99816 | -0.0027256 | 2.1453
27 | -0.53344 | -0.23712 | 0.53356 | 0.22922 | 0.00012618 | -0.0078959 | 0.016883 | 0.016791 | 0.016883 | 0.99816 | -0.0027256 | 0.99839 | -0.0043234 | 7.674
28 | 0.38657 | 0.16782 | -0.38601 | -0.16997 | 0.00055685 | -0.002144 | 0.012188 | 0.012217 | 0.012217 | 0.99816 | -0.0027256 | 0.99662 | -0.015841 | 5.8175
29 | -0.53356 | -0.22922 | 0.53358 | 0.22835 | 1.3854e-05 | -0.00087241 | 0.016791 | 0.016781 | 0.016791 | 0.99839 | -0.0043234 | 0.99841 | -0.0044894 | 7.6323
30 | 0.38601 | 0.16997 | -0.38599 | -0.17214 | 1.8319e-05 | -0.0021703 | 0.012217 | 0.012242 | 0.012242 | 0.99662 | -0.015841 | 0.99658 | -0.015508 | 5.5647
31 | -0.68987 | -0.30405 | 0.68994 | 0.30399 | 6.946e-05 | -5.4147e-05 | 0.021798 | 0.021797 | 0.021798 | 0.99841 | -0.0044894 | 0.99852 | -0.0035924 | 10.38
32 | 0.15114 | 0.066681 | -0.15114 | -0.066904 | 2.8961e-07 | -0.00022374 | 0.004789 | 0.0047916 | 0.0047916 | 0.99579 | 0.003783 | 0.99579 | 0.0037964 | 2.178
33 | 1.0167 | 0.46685 | -1.0166 | -0.4688 | 0.00011811 | -0.0019547 | 0.032432 | 0.032456 | 0.032456 | 0.99579 | 0.003783 | 0.99568 | 0.0046814 | 14.7529
34 | -1.4035 | -0.6447 | 1.4037 | 0.64474 | 0.00012803 | 3.7759e-05 | 0.044775 | 0.044774 | 0.044775 | 0.99579 | 0.003783 | 0.99589 | 0.0045039 | 21.3213
35 | 0.14886 | 0.069119 | -0.14886 | -0.069278 | 5.5231e-06 | -0.00015857 | 0.0047579 | 0.0047599 | 0.0047599 | 0.99579 | 0.003783 | 0.99575 | 0.0035007 | 2.2666
36 | 0.15114 | 0.066904 | -0.15114 | -0.072288 | 7.0668e-06 | -0.0053837 | 0.0047916 | 0.0048569 | 0.0048569 | 0.99579 | 0.0037964 | 0.99575 | 0.0041585 | 2.2077
37 | 1.0166 | 0.4688 | -1.0165 | -0.46992 | 6.7633e-05 | -0.0011178 | 0.032456 | 0.03247 | 0.03247 | 0.99568 | 0.0046814 | 0.99562 | 0.0052001 | 14.7592
38 | -1.4037 | -0.64474 | 1.4042 | 0.64004 | 0.00054766 | -0.0046914 | 0.044774 | 0.044716 | 0.044774 | 0.99589 | 0.0045039 | 0.99625 | 0.0015296 | 20.3519
39 | 0.14886 | 0.069278 | -0.14885 | -0.072092 | 3.6238e-06 | -0.0028146 | 0.0047599 | 0.0047949 | 0.0047949 | 0.99575 | 0.0035007 | 0.99573 | 0.0037035 | 2.1795
40 | 0.14123 | 0.068314 | -0.14123 | -0.068399 | 2.6805e-06 | -8.4563e-05 | 0.0045458 | 0.0045469 | 0.0045469 | 0.99625 | 0.0015296 | 0.99623 | 0.0014042 | 2.1652
41 | -1.5454 | -0.70836 | 1.5461 | 0.7086 | 0.00067842 | 0.00023892 | 0.04926 | 0.049258 | 0.04926 | 0.99625 | 0.0015296 | 0.99672 | 0.0050215 | 23.4573
42 | 0.15114 | 0.072288 | -0.15113 | -0.073198 | 1.2135e-06 | -0.00090971 | 0.0048569 | 0.0048684 | 0.0048684 | 0.99575 | 0.0041585 | 0.99574 | 0.0042275 | 2.2129
43 | -1.621 | -0.74489 | 1.6211 | 0.74455 | 5.3708e-05 | -0.00034155 | 0.051669 | 0.051665 | 0.051669 | 0.99672 | 0.0050215 | 0.99675 | 0.0047664 | 23.4859
44 | -0.68994 | -0.30399 | 0.69011 | 0.29788 | 0.00016347 | -0.0061087 | 0.021797 | 0.021726 | 0.021797 | 0.99852 | -0.0035924 | 0.99874 | -0.0051833 | 9.9076
45 | -0.69011 | -0.29788 | 0.69018 | 0.29518 | 7.1995e-05 | -0.0027039 | 0.021726 | 0.021695 | 0.021726 | 0.99874 | -0.0051833 | 0.99884 | -0.0058545 | 9.8753
46 | -0.78466 | -0.34094 | 0.78474 | 0.3409 | 8.0193e-05 | -3.747e-05 | 0.024726 | 0.024725 | 0.024726 | 0.99884 | -0.0058545 | 0.99895 | -0.0049093 | 11.7741
47 | 0.53838 | 0.24628 | -0.53838 | -0.24667 | 6.4685e-06 | -0.00038687 | 0.017169 | 0.017174 | 0.017174 | 0.99544 | 0.0051002 | 0.99543 | 0.0051919 | 7.8062
48 | 0.068811 | 0.030326 | -0.06879 | -0.033316 | 2.1793e-05 | -0.0029899 | 0.0021787 | 0.0022152 | 0.0022152 | 0.99638 | 0.0064799 | 0.99604 | 0.0040303 | 1.0549
49 | -2.8507 | -1.3133 | 2.8525 | 1.31 | 0.0017426 | -0.0032474 | 0.090823 | 0.090777 | 0.090823 | 0.99761 | -0.0024027 | 0.99818 | -0.0071233 | 41.283
50 | 2.8507 | 1.3133 | -2.8501 | -1.3145 | 0.00063613 | -0.0011834 | 0.090823 | 0.090839 | 0.090839 | 0.99761 | -0.0024027 | 0.9974 | -0.00066977 | 41.2906
51 | -3.1673 | -1.4552 | 3.1682 | 1.454 | 0.00085194 | -0.0012419 | 0.1008 | 0.10079 | 0.1008 | 0.99818 | -0.0071233 | 0.99844 | -0.0091919 | 45.8204
52 | 0.31489 | 0.14517 | -0.31487 | -0.14882 | 2.0739e-05 | -0.0036527 | 0.010028 | 0.010072 | 0.010072 | 0.99818 | -0.0071233 | 0.99812 | -0.0065959 | 4.5784
53 | 0.1176 | 0.056877 | -0.1176 | -0.056957 | 1.7247e-06 | -7.9315e-05 | 0.0037809 | 0.0037819 | 0.0037819 | 0.9974 | -0.00066977 | 0.99739 | -0.00076671 | 1.8009
54 | 2.7325 | 1.2576 | -2.7306 | -1.2615 | 0.0019106 | -0.0039126 | 0.087059 | 0.087113 | 0.087113 | 0.9974 | -0.00066977 | 0.99675 | 0.0047664 | 39.597
55 | 0.31487 | 0.14882 | -0.31485 | -0.15109 | 1.301e-05 | -0.0022745 | 0.010072 | 0.010101 | 0.010101 | 0.99812 | -0.0065959 | 0.99808 | -0.0062493 | 4.5913
56 | 0.087525 | 0.040994 | -0.087525 | -0.041441 | 1.9652e-07 | -0.00044715 | 0.0027954 | 0.0028009 | 0.0028009 | 0.99808 | -0.0062493 | 0.99808 | -0.0062309 | 1.2731
57 | -0.087523 | -0.04239 | 0.087524 | 0.042312 | 9.2246e-07 | -7.7273e-05 | 0.0028127 | 0.0028118 | 0.0028127 | 0.99807 | -0.0062633 | 0.99808 | -0.0061936 | 1.3394
58 | -0.087524 | -0.042312 | 0.087525 | 0.041441 | 3.8526e-07 | -0.00087145 | 0.0028118 | 0.0028009 | 0.0028118 | 0.99808 | -0.0061936 | 0.99808 | -0.0062309 | 1.2781
59 | -1.1094 | -0.51789 | 1.1095 | 0.51696 | 6.7269e-05 | -0.00093086 | 0.035461 | 0.035449 | 0.035461 | 0.99669 | 0.0052508 | 0.99675 | 0.0047664 | 16.1185
60 | 0.97024 | 0.45049 | -0.97018 | -0.45151 | 5.6274e-05 | -0.0010244 | 0.030983 | 0.030995 | 0.030995 | 0.99669 | 0.0052508 | 0.99664 | 0.0057105 | 14.0888
61 | -0.12433 | -0.060216 | 0.12433 | 0.059874 | 3.0874e-07 | -0.00034113 | 0.0040064 | 0.0040021 | 0.0040064 | 0.99539 | 0.0055703 | 0.99539 | 0.0055488 | 1.8211
62 | -0.12433 | -0.059874 | 0.12434 | 0.053199 | 5.9116e-06 | -0.0066752 | 0.0040021 | 0.0039219 | 0.0040021 | 0.99539 | 0.0055488 | 0.99543 | 0.0051919 | 1.8191
63 | 0.41404 | 0.19347 | -0.41401 | -0.19651 | 3.0327e-05 | -0.0030418 | 0.013253 | 0.013291 | 0.013291 | 0.99543 | 0.0051919 | 0.99536 | 0.0057907 | 6.0414
64 | 0.41401 | 0.19651 | -0.41401 | -0.19692 | 4.1317e-06 | -0.00041304 | 0.013291 | 0.013296 | 0.013296 | 0.99536 | 0.0057907 | 0.99535 | 0.005874 | 6.0437
65 | 0.35875 | 0.17016 | -0.35874 | -0.17092 | 5.7485e-06 | -0.00076576 | 0.011516 | 0.011525 | 0.011525 | 0.99535 | 0.005874 | 0.99534 | 0.0060079 | 5.2387
66 | -0.085385 | -0.041354 | 0.085407 | 0.039415 | 2.1987e-05 | -0.0019391 | 0.0027489 | 0.0027248 | 0.0027489 | 0.99629 | -0.017525 | 0.99656 | -0.015675 | 1.309
67 | 0.195 | 0.081623 | -0.19498 | -0.089311 | 1.6474e-05 | -0.0076875 | 0.0061234 | 0.0062128 | 0.0062128 | 0.99656 | -0.015675 | 0.99648 | -0.0151 | 2.824
68 | -0.2804 | -0.12104 | 0.28041 | 0.121 | 4.9976e-06 | -3.9363e-05 | 0.0088469 | 0.0088464 | 0.0088469 | 0.99656 | -0.015675 | 0.99658 | -0.015508 | 4.2128
69 | 0.063391 | 0.026452 | -0.06339 | -0.029686 | 7.3439e-07 | -0.0032331 | 0.0019899 | 0.0020278 | 0.0020278 | 0.99648 | -0.0151 | 0.99647 | -0.015019 | 0.92172
70 | 0.13159 | 0.062858 | -0.13159 | -0.063731 | 8.794e-07 | -0.00087251 | 0.0042247 | 0.0042356 | 0.0042356 | 0.99648 | -0.0151 | 0.99647 | -0.015043 | 1.9253
71 | 0.06339 | 0.029686 | -0.06339 | -0.030701 | 2.3664e-07 | -0.0010156 | 0.0020278 | 0.0020404 | 0.0020404 | 0.99647 | -0.015019 | 0.99647 | -0.014987 | 0.92748
72 | -0.19668 | -0.095255 | 0.19668 | 0.093488 | 3.9957e-06 | -0.0017672 | 0.0063382 | 0.006316 | 0.0063382 | 0.9953 | 0.0063522 | 0.99532 | 0.0061788 | 2.881
73 | -0.19668 | -0.093488 | 0.19668 | 0.093304 | 4.1486e-07 | -0.00018421 | 0.006316 | 0.0063137 | 0.006316 | 0.99532 | 0.0061788 | 0.99532 | 0.0061613 | 2.8709
74 | -0.35874 | -0.17179 | 0.35874 | 0.17092 | 6.5157e-06 | -0.00086639 | 0.011536 | 0.011525 | 0.011536 | 0.99532 | 0.0061613 | 0.99534 | 0.0060079 | 5.2436

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.6645 | 2.1361

## res_load
| p_mw | q_mvar
0 | 0.10454 | 0.050633
1 | 0.16053 | 0.077748
2 | 0.10089 | 0.048862
3 | 0.093826 | 0.045442
4 | 0.069908 | 0.033858
5 | 0.22601 | 0.10946
6 | 0.14526 | 0.070353
7 | 0.11403 | 0.055225
8 | 0.15895 | 0.076981
9 | 0.14498 | 0.070217
10 | 0.13134 | 0.063613
11 | 0.1044 | 0.050563
12 | 0.14687 | 0.071132
13 | 0.15629 | 0.075697
14 | 0.086822 | 0.04205
15 | 0.14885 | 0.072092
16 | 0.14123 | 0.068399
17 | 0.07493 | 0.03629
18 | 0.15113 | 0.073198
19 | 0.094479 | 0.045758
20 | 0.11201 | 0.054247
21 | 0.06879 | 0.033316
22 | 0.22733 | 0.1101
23 | 0.16911 | 0.081902
24 | 0.087523 | 0.04239
25 | 0.1113 | 0.053907
26 | 0.13917 | 0.067401
27 | 0.12358 | 0.059854
28 | 0.1176 | 0.056957
29 | 0.12433 | 0.060216
30 | 0.05526 | 0.026763
31 | 0.085385 | 0.041354
32 | 0.10558 | 0.051137
33 | 0.13159 | 0.063731
34 | 0.06339 | 0.030701
35 | 0.19668 | 0.095255
36 | 0.16205 | 0.078486

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1