## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_194_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_194_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_194_0_node_23 | 20 | n |  | TRUE
3 | bus_MV_194_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_194_0_node_5 | 20 | n |  | TRUE
5 | bus_MV_194_0_node_100 | 20 | n |  | TRUE
6 | bus_MV_194_0_node_96 | 20 | n |  | TRUE
7 | bus_MV_194_0_node_108 | 20 | n |  | TRUE
8 | bus_MV_194_0_node_18 | 20 | n |  | TRUE
9 | bus_MV_194_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_194_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_194_0_node_20 | 20 | n |  | TRUE
12 | bus_MV_194_0_node_57 | 20 | n |  | TRUE
13 | bus_MV_194_0_node_55 | 20 | n |  | TRUE
14 | bus_MV_194_0_node_107 | 20 | n |  | TRUE
15 | bus_MV_194_0_node_48 | 20 | n |  | TRUE
16 | bus_MV_194_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_194_0_node_21 | 20 | n |  | TRUE
18 | bus_MV_194_0_node_58 | 20 | n |  | TRUE
19 | bus_MV_194_0_node_6 | 20 | n |  | TRUE
20 | bus_MV_194_0_node_8 | 20 | n |  | TRUE
21 | bus_MV_194_0_node_36 | 20 | n |  | TRUE
22 | bus_MV_194_0_node_99 | 20 | n |  | TRUE
23 | bus_MV_194_0_node_35 | 20 | n |  | TRUE
24 | bus_MV_194_0_node_9 | 20 | n |  | TRUE
25 | bus_MV_194_0_node_10 | 20 | n |  | TRUE
26 | bus_MV_194_0_node_19 | 20 | n |  | TRUE
27 | bus_MV_194_0_node_11 | 20 | n |  | TRUE
28 | bus_MV_194_0_node_65 | 20 | n |  | TRUE
29 | bus_MV_194_0_node_38 | 20 | n |  | TRUE
30 | bus_MV_194_0_node_59 | 20 | n |  | TRUE
31 | bus_MV_194_0_node_39 | 20 | n |  | TRUE
32 | bus_MV_194_0_node_52 | 20 | n |  | TRUE
33 | bus_MV_194_0_node_116 | 20 | n |  | TRUE
34 | bus_MV_194_0_node_12 | 20 | n |  | TRUE
35 | bus_MV_194_0_node_13 | 20 | n |  | TRUE
36 | bus_MV_194_0_node_16 | 20 | n |  | TRUE
37 | bus_MV_194_0_node_17 | 20 | n |  | TRUE
38 | bus_MV_194_0_node_15 | 20 | n |  | TRUE
39 | bus_MV_194_0_node_42 | 20 | n |  | TRUE
40 | bus_MV_194_0_node_41 | 20 | n |  | TRUE
41 | bus_MV_194_0_node_64 | 20 | n |  | TRUE
42 | bus_MV_194_0_node_106 | 20 | n |  | TRUE
43 | bus_MV_194_0_node_112 | 20 | n |  | TRUE
44 | bus_MV_194_0_node_105 | 20 | n |  | TRUE
45 | bus_MV_194_0_node_53 | 20 | n |  | TRUE
46 | bus_MV_194_0_node_54 | 20 | n |  | TRUE
47 | bus_MV_194_0_node_22 | 20 | n |  | TRUE
48 | bus_MV_194_0_node_24 | 20 | n |  | TRUE
49 | bus_MV_194_0_node_25 | 20 | n |  | TRUE
50 | bus_MV_194_0_node_60 | 20 | n |  | TRUE
51 | bus_MV_194_0_node_49 | 20 | n |  | TRUE
52 | bus_MV_194_0_node_26 | 20 | n |  | TRUE
53 | bus_MV_194_0_node_63 | 20 | n |  | TRUE
54 | bus_MV_194_0_node_30 | 20 | n |  | TRUE
55 | bus_MV_194_0_node_27 | 20 | n |  | TRUE
56 | bus_MV_194_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_194_0_node_61 | 20 | n |  | TRUE
58 | bus_MV_194_0_node_28 | 20 | n |  | TRUE
59 | bus_MV_194_0_node_32 | 20 | n |  | TRUE
60 | bus_MV_194_0_node_40 | 20 | n |  | TRUE
61 | bus_MV_194_0_node_33 | 20 | n |  | TRUE
62 | bus_MV_194_0_node_31 | 20 | n |  | TRUE
63 | bus_MV_194_0_node_117 | 20 | n |  | TRUE
64 | bus_MV_194_0_node_34 | 20 | n |  | TRUE
65 | bus_MV_194_0_node_47 | 20 | n |  | TRUE
66 | bus_MV_194_0_node_45 | 20 | n |  | TRUE
67 | bus_MV_194_0_node_43 | 20 | n |  | TRUE
68 | bus_MV_194_0_node_44 | 20 | n |  | TRUE
69 | bus_MV_194_0_node_46 | 20 | n |  | TRUE
70 | bus_MV_194_0_node_104 | 20 | n |  | TRUE
71 | bus_MV_194_0_node_98 | 20 | n |  | TRUE
72 | bus_MV_194_0_node_97 | 20 | n |  | TRUE
73 | bus_MV_194_0_node_50 | 20 | n |  | TRUE
74 | bus_MV_194_0_node_66 | 20 | n |  | TRUE
75 | bus_MV_194_0_node_51 | 20 | n |  | TRUE
76 | bus_MV_194_0_node_101 | 20 | n |  | TRUE
77 | bus_MV_194_0_node_67 | 20 | n |  | TRUE
78 | bus_MV_194_0_node_68 | 20 | n |  | TRUE
79 | bus_MV_194_0_node_69 | 20 | n |  | TRUE
80 | bus_MV_194_0_node_70 | 20 | n |  | TRUE
81 | bus_MV_194_0_node_71 | 20 | n |  | TRUE
82 | bus_MV_194_0_node_111 | 20 | n |  | TRUE
83 | bus_MV_194_0_node_86 | 20 | n |  | TRUE
84 | bus_MV_194_0_node_94 | 20 | n |  | TRUE
85 | bus_MV_194_0_node_72 | 20 | n |  | TRUE
86 | bus_MV_194_0_node_73 | 20 | n |  | TRUE
87 | bus_MV_194_0_node_74 | 20 | n |  | TRUE
88 | bus_MV_194_0_node_114 | 20 | n |  | TRUE
89 | bus_MV_194_0_node_75 | 20 | n |  | TRUE
90 | bus_MV_194_0_node_76 | 20 | n |  | TRUE
91 | bus_MV_194_0_node_78 | 20 | n |  | TRUE
92 | bus_MV_194_0_node_77 | 20 | n |  | TRUE
93 | bus_MV_194_0_node_89 | 20 | n |  | TRUE
94 | bus_MV_194_0_node_118 | 20 | n |  | TRUE
95 | bus_MV_194_0_node_90 | 20 | n |  | TRUE
96 | bus_MV_194_0_node_79 | 20 | n |  | TRUE
97 | bus_MV_194_0_node_80 | 20 | n |  | TRUE
98 | bus_MV_194_0_node_81 | 20 | n |  | TRUE
99 | bus_MV_194_0_node_82 | 20 | n |  | TRUE
100 | bus_MV_194_0_node_84 | 20 | n |  | TRUE
101 | bus_MV_194_0_node_83 | 20 | n |  | TRUE
102 | bus_MV_194_0_node_85 | 20 | n |  | TRUE
103 | bus_MV_194_0_node_87 | 20 | n |  | TRUE
104 | bus_MV_194_0_node_110 | 20 | n |  | TRUE
105 | bus_MV_194_0_node_95 | 20 | n |  | TRUE
106 | bus_MV_194_0_node_88 | 20 | n |  | TRUE
107 | bus_MV_194_0_node_91 | 20 | n |  | TRUE
108 | bus_MV_194_0_node_92 | 20 | n |  | TRUE
109 | bus_MV_194_0_node_93 | 20 | n |  | TRUE
110 | bus_MV_194_0_node_109 | 20 | n |  | TRUE
111 | bus_MV_194_0_node_102 | 20 | n |  | TRUE
112 | bus_MV_194_0_node_103 | 20 | n |  | TRUE
113 | bus_MV_194_0_node_115 | 20 | n |  | TRUE
114 | bus_MV_194_0_node_113 | 20 | n |  | TRUE
115 | bus_HV_194_0_node_61 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_194_0_load_0 | 0 | 0.052452 | 0.025404 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_194_0_load_100 | 5 | 0.34756 | 0.16833 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_194_0_load_96 | 6 | 0.15354 | 0.074361 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_194_0_load_108 | 7 | 0.10544 | 0.051065 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_194_0_load_20 | 11 | 0.067828 | 0.032851 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_194_0_load_57 | 12 | 0.11517 | 0.055781 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_194_0_load_107 | 14 | 0.078334 | 0.037939 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_194_0_load_48 | 15 | 0.074666 | 0.036162 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_194_0_load_58 | 18 | 0.10352 | 0.050139 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_194_0_load_6 | 19 | 0.15387 | 0.074522 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_194_0_load_8 | 20 | 0.15376 | 0.074467 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_194_0_load_35 | 23 | 0.13369 | 0.064747 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_194_0_load_19 | 26 | 0.082609 | 0.040009 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_194_0_load_65 | 28 | 0.12271 | 0.059429 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_194_0_load_38 | 29 | 0.11346 | 0.054951 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_194_0_load_59 | 30 | 0.092261 | 0.044684 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_194_0_load_116 | 33 | 0.10231 | 0.049552 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_194_0_load_12 | 34 | 0.13174 | 0.063805 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_194_0_load_41 | 40 | 0.14087 | 0.068226 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_194_0_load_64 | 41 | 0.16306 | 0.078976 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_194_0_load_106 | 42 | 0.10673 | 0.051694 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_194_0_load_112 | 43 | 0.13618 | 0.065953 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_194_0_load_105 | 44 | 0.14222 | 0.068879 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_194_0_load_53 | 45 | 0.13645 | 0.066086 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_194_0_load_60 | 50 | 0.066126 | 0.032026 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_194_0_load_49 | 51 | 0.15481 | 0.07498 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_194_0_load_63 | 53 | 0.1475 | 0.071436 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_194_0_load_27 | 55 | 0.075352 | 0.036495 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_194_0_load_37 | 56 | 0.11857 | 0.057427 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_194_0_load_40 | 60 | 0.16436 | 0.079604 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_194_0_load_33 | 61 | 0.082069 | 0.039748 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_194_0_load_117 | 63 | 0.13044 | 0.063173 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_194_0_load_34 | 64 | 0.14519 | 0.07032 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_194_0_load_43 | 67 | 0.082815 | 0.040109 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_194_0_load_44 | 68 | 0.15041 | 0.072847 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_194_0_load_104 | 70 | 0.15061 | 0.072942 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_194_0_load_97 | 72 | 0.12664 | 0.061336 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_194_0_load_50 | 73 | 0.15825 | 0.076645 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_194_0_load_66 | 74 | 0.055772 | 0.027012 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_194_0_load_101 | 76 | 0.07124 | 0.034503 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_194_0_load_67 | 77 | 0.13571 | 0.065726 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_194_0_load_111 | 82 | 0.1632 | 0.079041 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_194_0_load_94 | 84 | 0.0624 | 0.030222 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_194_0_load_72 | 85 | 0.10816 | 0.052382 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_194_0_load_114 | 88 | 0.094647 | 0.04584 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_194_0_load_75 | 89 | 0.13692 | 0.066313 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_194_0_load_118 | 94 | 0.1135 | 0.054972 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_194_0_load_90 | 95 | 0.1123 | 0.054388 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_194_0_load_79 | 96 | 0.14532 | 0.070381 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_194_0_load_82 | 99 | 0.13685 | 0.066278 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_194_0_load_83 | 101 | 0.073411 | 0.035555 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_194_0_load_110 | 104 | 0.13326 | 0.064542 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_194_0_load_95 | 105 | 0.10509 | 0.050897 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_194_0_load_88 | 106 | 0.13695 | 0.066329 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_194_0_load_109 | 110 | 0.1089 | 0.052744 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_194_0_load_103 | 112 | 0.085217 | 0.041273 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_194_0_line_0 |  | 0 | 1 | 0.071133 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_194_0_line_1 |  | 0 | 2 | 0.29078 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_194_0_line_2 |  | 1 | 3 | 0.39424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_194_0_line_3 |  | 1 | 4 | 0.23353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_194_0_line_4 |  | 2 | 5 | 0.04236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_194_0_line_5 |  | 2 | 6 | 0.090659 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_194_0_line_6 |  | 3 | 7 | 0.077828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_194_0_line_7 |  | 3 | 8 | 0.26887 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_194_0_line_8 |  | 4 | 12 | 0.009191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_194_0_line_9 |  | 6 | 10 | 0.010505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_194_0_line_10 |  | 7 | 13 | 0.014374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_194_0_line_11 |  | 8 | 14 | 0.30705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_194_0_line_12 |  | 8 | 15 | 1.211 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_194_0_line_13 |  | 8 | 16 | 0.33551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_194_0_line_14 |  | 9 | 10 | 0.43485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_194_0_line_15 |  | 9 | 11 | 0.086853 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_194_0_line_16 |  | 11 | 17 | 0.079059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_194_0_line_17 |  | 11 | 18 | 0.49333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_194_0_line_18 |  | 13 | 46 | 0.30958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_194_0_line_19 |  | 16 | 34 | 0.088549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_194_0_line_20 |  | 17 | 47 | 0.84951 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
21 | MV_194_0_line_21 |  | 17 | 48 | 0.2148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_194_0_line_22 |  | 17 | 49 | 0.3814 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_194_0_line_23 |  | 19 | 20 | 0.009631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_194_0_line_24 |  | 20 | 21 | 0.05532 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_194_0_line_25 |  | 21 | 22 | 0.075907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_194_0_line_26 |  | 21 | 23 | 0.049854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_194_0_line_27 |  | 22 | 65 | 0.009201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_194_0_line_28 |  | 23 | 64 | 0.052991 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_194_0_line_29 |  | 24 | 25 | 0.19287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_194_0_line_30 |  | 24 | 26 | 0.085943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_194_0_line_31 |  | 25 | 27 | 0.69365 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
32 | MV_194_0_line_32 |  | 25 | 28 | 0.061951 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_194_0_line_33 |  | 25 | 29 | 0.19148 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
34 | MV_194_0_line_34 |  | 27 | 30 | 0.005731 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_194_0_line_35 |  | 29 | 31 | 0.092016 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_194_0_line_36 |  | 30 | 32 | 0.086354 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
37 | MV_194_0_line_37 |  | 31 | 60 | 0.017602 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
38 | MV_194_0_line_38 |  | 32 | 33 | 0.40413 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_194_0_line_39 |  | 32 | 75 | 0.52553 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_194_0_line_40 |  | 34 | 35 | 0.05666 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_194_0_line_41 |  | 35 | 36 | 0.13216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_194_0_line_42 |  | 35 | 37 | 0.15669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_194_0_line_43 |  | 36 | 41 | 0.067516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_194_0_line_44 |  | 37 | 42 | 0.049224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_194_0_line_45 |  | 37 | 38 | 0.089335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_194_0_line_46 |  | 38 | 39 | 0.28957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_194_0_line_47 |  | 38 | 40 | 0.005459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_194_0_line_48 |  | 39 | 43 | 0.070007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_194_0_line_49 |  | 39 | 44 | 0.11997 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_194_0_line_50 |  | 44 | 66 | 0.073217 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_194_0_line_51 |  | 45 | 46 | 0.012821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_194_0_line_52 |  | 47 | 50 | 0.11864 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_194_0_line_53 |  | 48 | 51 | 0.13491 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_194_0_line_54 |  | 49 | 52 | 0.31469 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_194_0_line_55 |  | 49 | 53 | 0.0241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_194_0_line_56 |  | 50 | 57 | 0.10809 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
57 | MV_194_0_line_57 |  | 52 | 54 | 0.19799 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_194_0_line_58 |  | 52 | 55 | 0.039823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_194_0_line_59 |  | 52 | 56 | 0.050636 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_194_0_line_60 |  | 54 | 61 | 0.05352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_194_0_line_61 |  | 54 | 58 | 0.34758 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_194_0_line_62 |  | 58 | 59 | 0.35948 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_194_0_line_63 |  | 58 | 60 | 0.030238 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_194_0_line_64 |  | 59 | 62 | 0.1684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_194_0_line_65 |  | 62 | 63 | 0.027994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_194_0_line_66 |  | 65 | 71 | 0.011644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_194_0_line_67 |  | 65 | 68 | 0.043125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_194_0_line_68 |  | 66 | 67 | 0.038074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_194_0_line_69 |  | 67 | 68 | 0.067478 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_194_0_line_70 |  | 68 | 69 | 0.031031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_194_0_line_71 |  | 69 | 70 | 0.042839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_194_0_line_72 |  | 71 | 72 | 0.015486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_194_0_line_73 |  | 73 | 74 | 2.9283 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
74 | MV_194_0_line_74 |  | 73 | 75 | 0.10013 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
75 | MV_194_0_line_75 |  | 74 | 76 | 5.3828 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
76 | MV_194_0_line_76 |  | 76 | 111 | 0.14894 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_194_0_line_77 |  | 77 | 78 | 0.025424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_194_0_line_78 |  | 77 | 79 | 0.030816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_194_0_line_79 |  | 78 | 80 | 0.58289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_194_0_line_80 |  | 79 | 81 | 0.9481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_194_0_line_81 |  | 80 | 82 | 0.048746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_194_0_line_82 |  | 80 | 83 | 0.39872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_194_0_line_83 |  | 81 | 84 | 0.19251 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_194_0_line_84 |  | 83 | 102 | 0.067947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_194_0_line_85 |  | 85 | 86 | 0.007573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_194_0_line_86 |  | 86 | 87 | 0.27982 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
87 | MV_194_0_line_87 |  | 86 | 88 | 2.2728 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
88 | MV_194_0_line_88 |  | 87 | 89 | 0.05637 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
89 | MV_194_0_line_89 |  | 88 | 114 | 0.016011 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
90 | MV_194_0_line_90 |  | 89 | 90 | 0.10486 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
91 | MV_194_0_line_91 |  | 90 | 91 | 0.092769 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
92 | MV_194_0_line_92 |  | 91 | 95 | 0.049304 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
93 | MV_194_0_line_93 |  | 91 | 92 | 0.23807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_194_0_line_94 |  | 92 | 93 | 0.49109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_194_0_line_95 |  | 92 | 94 | 0.046513 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_194_0_line_96 |  | 93 | 106 | 0.0318 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_194_0_line_97 |  | 95 | 107 | 0.027464 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
98 | MV_194_0_line_98 |  | 96 | 97 | 0.037583 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_194_0_line_99 |  | 97 | 98 | 0.10754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_194_0_line_100 |  | 98 | 99 | 0.057166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_194_0_line_101 |  | 99 | 100 | 0.038634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_194_0_line_102 |  | 99 | 101 | 0.032276 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_194_0_line_103 |  | 100 | 103 | 0.080002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_194_0_line_104 |  | 101 | 102 | 0.044398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_194_0_line_105 |  | 102 | 104 | 0.095901 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
106 | MV_194_0_line_106 |  | 103 | 105 | 0.062226 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
107 | MV_194_0_line_107 |  | 105 | 108 | 0.041356 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
108 | MV_194_0_line_108 |  | 107 | 108 | 0.080362 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
109 | MV_194_0_line_109 |  | 107 | 109 | 0.58455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_194_0_line_110 |  | 109 | 110 | 0.010212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_194_0_line_111 |  | 111 | 112 | 0.069504 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
112 | MV_194_0_line_112 |  | 112 | 113 | 0.11456 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
113 | MV_194_0_line_113 |  | 113 | 114 | 0.31639 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_194_0_trafo_61 | 25 MVA 110/20 kV | 115 | 57 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2609528.2623 | 1148375.5664
1 | 2609496.6115 | 1148311.8634
2 | 2609302.2963 | 1148558.572
3 | 2609143.6671 | 1148220.3211
4 | 2609451.9307 | 1148089.7295
5 | 2609261.6994 | 1148546.9536
6 | 2609362.1457 | 1148490.4752
7 | 2609166.4081 | 1148146.1525
8 | 2608926.2436 | 1148378.486
9 | 2609662.7045 | 1148573.1423
10 | 2609368.0407 | 1148481.78
11 | 2609697.1059 | 1148652.8917
12 | 2609450.7009 | 1148080.6231
13 | 2609167.0978 | 1148131.8576
14 | 2609203.965 | 1148505.4517
15 | 2607827.4754 | 1147869.2665
16 | 2608968.602 | 1148510.8131
17 | 2609755.6596 | 1148705.1223
18 | 2609889.9374 | 1148198.8142
19 | 2609304.5002 | 1149124.052
20 | 2609301.5047 | 1149114.8985
21 | 2609246.7595 | 1149122.8521
22 | 2609260.2266 | 1149067.0342
23 | 2609200.8488 | 1149142.592
24 | 2609568.4531 | 1149454.791
25 | 2609543.2086 | 1149329.3899
26 | 2609571.5125 | 1149539.8931
27 | 2609831.3528 | 1149612.3885
28 | 2609591.2754 | 1149368.4737
29 | 2609470.081 | 1149152.428
30 | 2609834.9152 | 1149616.8854
31 | 2609392.3925 | 1149104.0777
32 | 2609878.491 | 1149691.1815
33 | 2610229.405 | 1149490.7317
34 | 2609006.4298 | 1148590.497
35 | 2609023.4648 | 1148644.1152
36 | 2608960.533 | 1148754.5982
37 | 2609068.9756 | 1148781.0611
38 | 2609040.3798 | 1148824.373
39 | 2608996.1443 | 1148987.0757
40 | 2609044.1899 | 1148828.2917
41 | 2608912.5619 | 1148706.9599
42 | 2609106.1488 | 1148793.5451
43 | 2609018.7871 | 1149053.3195
44 | 2609106.0151 | 1148938.8938
45 | 2609221.4231 | 1147840.075
46 | 2609210.4395 | 1147846.7394
47 | 2610450.7837 | 1149039.0658
48 | 2609886.7924 | 1148837.2437
49 | 2609799.1921 | 1149005.6617
50 | 2610448.2175 | 1149013.4488
51 | 2609962.2588 | 1148949.0774
52 | 2609565.8657 | 1148890.3218
53 | 2609818.6704 | 1149019.8446
54 | 2609560.3273 | 1149038.141
55 | 2609599.2751 | 1148910.6184
56 | 2609548.6119 | 1148842.7158
57 | 2610483.7322 | 1148930.3139
58 | 2609438.6906 | 1149092.555
59 | 2609214.6709 | 1148867.9008
60 | 2609409.7944 | 1149101.1476
61 | 2609569.9034 | 1149085.457
62 | 2609329.3018 | 1148857.3485
63 | 2609349.2868 | 1148837.6919
64 | 2609230.5937 | 1149186.4475
65 | 2609253.9182 | 1149060.3213
66 | 2609150.1969 | 1148997.2776
67 | 2609181.4683 | 1148976.8482
68 | 2609223.6924 | 1149029.4824
69 | 2609199.6239 | 1149049.1333
70 | 2609166.1552 | 1149075.8735
71 | 2609263.0503 | 1149053.065
72 | 2609275.1724 | 1149043.4274
73 | 2610211.2941 | 1150133.6716
74 | 2612637.311 | 1151773.6175
75 | 2610163.3193 | 1150045.7813
76 | 2617973.6029 | 1152479.3606
77 | 2617601.8263 | 1148417.719
78 | 2617620.0338 | 1148435.5141
79 | 2617577.5873 | 1148398.6058
80 | 2617863.1567 | 1148926.269
81 | 2617349.7392 | 1147744.704
82 | 2617815.0711 | 1148918.301
83 | 2618082.3174 | 1149229.8588
84 | 2617344.501 | 1147552.261
85 | 2618520.0242 | 1150110.9626
86 | 2618513.1898 | 1150114.2655
87 | 2618309.5181 | 1149923.1398
88 | 2618237.431 | 1152370.2403
89 | 2618262.6635 | 1149891.6715
90 | 2618183.1101 | 1149825.6769
91 | 2618144.7806 | 1149741.298
92 | 2618346.6828 | 1149699.798
93 | 2618721.6518 | 1149585.1578
94 | 2618352.2046 | 1149653.6142
95 | 2618124.8872 | 1149696.1716
96 | 2618271.5321 | 1149296.8607
97 | 2618258.0832 | 1149331.8484
98 | 2618157.7887 | 1149369.6428
99 | 2618100.7056 | 1149370.5721
100 | 2618096.0995 | 1149408.9216
101 | 2618103.7549 | 1149338.4401
102 | 2618103.0761 | 1149294.2527
103 | 2618090.0268 | 1149488.4426
104 | 2618180.1441 | 1149237.178
105 | 2618097.0427 | 1149550.2719
106 | 2618739.9421 | 1149611.1717
107 | 2618116.0831 | 1149670.1546
108 | 2618101.9328 | 1149591.329
109 | 2617901.2517 | 1149344.3431
110 | 2617891.159 | 1149345.9585
111 | 2618109.9372 | 1152539.1514
112 | 2618167.3222 | 1152578.3653
113 | 2618252.0815 | 1152653.9914
114 | 2618242.9104 | 1152385.2865
115 | 2610483.7322 | 1148930.3139

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99409 | -0.034168 | 0.052452 | 0.025404
1 | 0.99375 | -0.036728 | 0 | 0
2 | 0.99548 | -0.023531 | 0 | 0
3 | 0.99259 | -0.027182 | 0 | 0
4 | 0.99372 | -0.036447 | 0 | 0
5 | 0.99546 | -0.023354 | 0.34756 | 0.16833
6 | 0.99597 | -0.019827 | 0.15354 | 0.074361
7 | 0.99257 | -0.026998 | 0.10544 | 0.051065
8 | 0.99151 | -0.035113 | 0 | 0
9 | 0.99767 | -0.033677 | 0 | 0
10 | 0.99601 | -0.020157 | 0 | 0
11 | 0.99817 | -0.02989 | 0.067828 | 0.032851
12 | 0.99372 | -0.036434 | 0.11517 | 0.055781
13 | 0.99256 | -0.026981 | 0 | 0
14 | 0.99148 | -0.034892 | 0.078334 | 0.037939
15 | 0.99134 | -0.036299 | 0.074666 | 0.036162
16 | 0.99069 | -0.02799 | 0 | 0
17 | 0.99848 | -0.032472 | 0 | 0
18 | 0.99807 | -0.030522 | 0.10352 | 0.050139
19 | 0.98856 | -0.018359 | 0.15387 | 0.074522
20 | 0.98856 | -0.018377 | 0.15376 | 0.074467
21 | 0.98859 | -0.018166 | 0 | 0
22 | 0.98865 | -0.018699 | 0 | 0
23 | 0.98857 | -0.017998 | 0.13369 | 0.064747
24 | 0.99735 | -0.061905 | 0 | 0
25 | 0.99737 | -0.062043 | 0 | 0
26 | 0.99734 | -0.061825 | 0.082609 | 0.040009
27 | 0.99704 | -0.069742 | 0 | 0
28 | 0.99736 | -0.062135 | 0.12271 | 0.059429
29 | 0.9976 | -0.053076 | 0.11346 | 0.054951
30 | 0.99703 | -0.069804 | 0.092261 | 0.044684
31 | 0.99765 | -0.051914 | 0 | 0
32 | 0.99699 | -0.07071 | 0 | 0
33 | 0.99691 | -0.071221 | 0.10231 | 0.049552
34 | 0.99047 | -0.026079 | 0.13174 | 0.063805
35 | 0.99034 | -0.024941 | 0 | 0
36 | 0.99031 | -0.024705 | 0 | 0
37 | 0.99002 | -0.022031 | 0 | 0
38 | 0.98984 | -0.020464 | 0 | 0
39 | 0.98933 | -0.015794 | 0 | 0
40 | 0.98984 | -0.020455 | 0.14087 | 0.068226
41 | 0.9903 | -0.024574 | 0.16306 | 0.078976
42 | 0.99001 | -0.021969 | 0.10673 | 0.051694
43 | 0.98931 | -0.015912 | 0.13618 | 0.065953
44 | 0.98904 | -0.017704 | 0.14222 | 0.068879
45 | 0.99251 | -0.026526 | 0.13645 | 0.066086
46 | 0.99251 | -0.026547 | 0 | 0
47 | 0.99968 | -0.0069183 | 0 | 0
48 | 0.99844 | -0.03211 | 0 | 0
49 | 0.99822 | -0.038667 | 0 | 0
50 | 0.99985 | -0.0033161 | 0.066126 | 0.032026
51 | 0.9984 | -0.032364 | 0.15481 | 0.07498
52 | 0.99801 | -0.04353 | 0 | 0
53 | 0.99821 | -0.038625 | 0.1475 | 0.071436
54 | 0.99789 | -0.046409 | 0 | 0
55 | 0.99801 | -0.043495 | 0.075352 | 0.036495
56 | 0.998 | -0.043603 | 0.11857 | 0.057427
57 | 1 | 0 | -6.8073 | -2.7323
58 | 0.99767 | -0.051289 | 0 | 0
59 | 0.99761 | -0.050931 | 0 | 0
60 | 0.99766 | -0.051691 | 0.16436 | 0.079604
61 | 0.99788 | -0.046358 | 0.082069 | 0.039748
62 | 0.99759 | -0.050696 | 0 | 0
63 | 0.99758 | -0.050652 | 0.13044 | 0.063173
64 | 0.98856 | -0.018093 | 0.14519 | 0.07032
65 | 0.98866 | -0.018763 | 0 | 0
66 | 0.98888 | -0.01874 | 0 | 0
67 | 0.98883 | -0.018245 | 0.082815 | 0.040109
68 | 0.9887 | -0.019126 | 0.15041 | 0.072847
69 | 0.98869 | -0.01907 | 0 | 0
70 | 0.98868 | -0.01915 | 0.15061 | 0.072942
71 | 0.98865 | -0.018745 | 0 | 0
72 | 0.98865 | -0.018721 | 0.12664 | 0.061336
73 | 0.99665 | -0.079759 | 0.15825 | 0.076645
74 | 0.99391 | -0.18483 | 0.055772 | 0.027012
75 | 0.99676 | -0.075908 | 0 | 0
76 | 0.989 | -0.37347 | 0.07124 | 0.034503
77 | 0.98573 | -0.45676 | 0.13571 | 0.065726
78 | 0.98573 | -0.45678 | 0 | 0
79 | 0.98573 | -0.45678 | 0 | 0
80 | 0.98588 | -0.45705 | 0 | 0
81 | 0.98565 | -0.45675 | 0 | 0
82 | 0.98587 | -0.45695 | 0.1632 | 0.079041
83 | 0.98606 | -0.4577 | 0 | 0
84 | 0.98563 | -0.4569 | 0.0624 | 0.030222
85 | 0.98688 | -0.44917 | 0.10816 | 0.052382
86 | 0.98688 | -0.44918 | 0 | 0
87 | 0.98664 | -0.45241 | 0 | 0
88 | 0.98871 | -0.38069 | 0.094647 | 0.04584
89 | 0.9866 | -0.45305 | 0.13692 | 0.066313
90 | 0.98652 | -0.45416 | 0 | 0
91 | 0.98645 | -0.45513 | 0 | 0
92 | 0.98637 | -0.45462 | 0 | 0
93 | 0.98629 | -0.45398 | 0 | 0
94 | 0.98636 | -0.45469 | 0.1135 | 0.054972
95 | 0.98642 | -0.45555 | 0.1123 | 0.054388
96 | 0.98611 | -0.45721 | 0.14532 | 0.070381
97 | 0.98612 | -0.45728 | 0 | 0
98 | 0.98614 | -0.45746 | 0 | 0
99 | 0.98615 | -0.45754 | 0.13685 | 0.066278
100 | 0.98619 | -0.45781 | 0 | 0
101 | 0.98612 | -0.45791 | 0.073411 | 0.035555
102 | 0.98609 | -0.45779 | 0 | 0
103 | 0.98628 | -0.45835 | 0 | 0
104 | 0.98606 | -0.45795 | 0.13326 | 0.064542
105 | 0.98634 | -0.45661 | 0.10509 | 0.050897
106 | 0.98628 | -0.45403 | 0.13695 | 0.066329
107 | 0.9864 | -0.45577 | 0 | 0
108 | 0.98636 | -0.45633 | 0 | 0
109 | 0.98632 | -0.45526 | 0 | 0
110 | 0.98632 | -0.45525 | 0.1089 | 0.052744
111 | 0.98894 | -0.37475 | 0 | 0
112 | 0.98888 | -0.37709 | 0.085217 | 0.041273
113 | 0.98883 | -0.37802 | 0 | 0
114 | 0.98872 | -0.38056 | 0 | 0
115 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 2.4385 | 1.1095 | -2.4377 | -1.1091 | 0.00076706 | 0.00039658 | 0.077797 | 0.077798 | 0.077798 | 0.99409 | -0.034168 | 0.99375 | -0.036728 | 37.0466
1 | -2.491 | -1.1349 | 2.4942 | 1.1366 | 0.0032733 | 0.0017068 | 0.079489 | 0.079485 | 0.079489 | 0.99409 | -0.034168 | 0.99548 | -0.023531 | 37.8518
2 | 2.3226 | 1.059 | -2.3197 | -1.0674 | 0.0028981 | -0.0084251 | 0.07415 | 0.074263 | 0.074263 | 0.99375 | -0.036728 | 0.99259 | -0.027182 | 33.7557
3 | 0.11518 | 0.050059 | -0.11517 | -0.055564 | 4.2236e-06 | -0.0055048 | 0.0036481 | 0.0037148 | 0.0037148 | 0.99375 | -0.036728 | 0.99372 | -0.036447 | 1.6885
4 | 0.34757 | 0.16733 | -0.34756 | -0.16833 | 7.0843e-06 | -0.0010001 | 0.011186 | 0.011199 | 0.011199 | 0.99548 | -0.023531 | 0.99546 | -0.023354 | 5.0904
5 | -2.8418 | -1.3039 | 2.8431 | 1.3046 | 0.0013279 | 0.00072443 | 0.090669 | 0.090667 | 0.090669 | 0.99548 | -0.023531 | 0.99597 | -0.019827 | 43.1755
6 | 0.2419 | 0.1074 | -0.24189 | -0.10923 | 6.1735e-06 | -0.0018289 | 0.0076974 | 0.0077192 | 0.0077192 | 0.99259 | -0.027182 | 0.99257 | -0.026998 | 3.5087
7 | 2.0778 | 0.96003 | -2.0756 | -0.95901 | 0.0021228 | 0.0010137 | 0.066566 | 0.06657 | 0.06657 | 0.99259 | -0.027182 | 0.99151 | -0.035113 | 31.6999
8 | 0.11517 | 0.055564 | -0.11517 | -0.055781 | 1.6945e-07 | -0.00021665 | 0.0037148 | 0.0037175 | 0.0037175 | 0.99372 | -0.036447 | 0.99372 | -0.036434 | 1.6898
9 | -2.9967 | -1.379 | 2.9968 | 1.3788 | 0.0001282 | -0.00021079 | 0.095611 | 0.095608 | 0.095611 | 0.99597 | -0.019827 | 0.99601 | -0.020157 | 43.4595
10 | 0.13646 | 0.058167 | -0.13646 | -0.058505 | 3.5748e-07 | -0.000338 | 0.0043142 | 0.0043181 | 0.0043181 | 0.99257 | -0.026998 | 0.99256 | -0.026981 | 1.9628
11 | 0.078336 | 0.030732 | -0.078334 | -0.037939 | 2.5419e-06 | -0.0072063 | 0.00245 | 0.0025341 | 0.0025341 | 0.99151 | -0.035113 | 0.99148 | -0.034892 | 1.1519
12 | 0.074679 | 0.034749 | -0.074666 | -0.036162 | 1.25e-05 | -0.0014132 | 0.0023981 | 0.0024158 | 0.0024158 | 0.99151 | -0.035113 | 0.99134 | -0.036299 | 1.1504
13 | 1.9226 | 0.89353 | -1.9209 | -0.90089 | 0.0017093 | -0.0073618 | 0.061726 | 0.061823 | 0.061823 | 0.99151 | -0.035113 | 0.99069 | -0.02799 | 28.1014
14 | 3.0021 | 1.37 | -2.9968 | -1.3788 | 0.0052995 | -0.0087449 | 0.095483 | 0.095608 | 0.095608 | 0.99767 | -0.033677 | 0.99601 | -0.020157 | 43.4581
15 | -3.0021 | -1.37 | 3.0035 | 1.3708 | 0.0014108 | 0.00078043 | 0.095483 | 0.095482 | 0.095483 | 0.99767 | -0.033677 | 0.99817 | -0.02989 | 45.4683
16 | -3.1749 | -1.4532 | 3.1759 | 1.4517 | 0.001076 | -0.0015621 | 0.10098 | 0.10096 | 0.10098 | 0.99817 | -0.02989 | 0.99848 | -0.032472 | 45.9001
17 | 0.10353 | 0.049558 | -0.10352 | -0.050139 | 9.7074e-06 | -0.00058064 | 0.0033196 | 0.003327 | 0.003327 | 0.99817 | -0.02989 | 0.99807 | -0.030522 | 1.5843
18 | 0.13646 | 0.058505 | -0.13645 | -0.065784 | 7.8598e-06 | -0.0072793 | 0.0043181 | 0.0044059 | 0.0044059 | 0.99256 | -0.026981 | 0.99251 | -0.026547 | 2.0027
19 | 1.9209 | 0.90089 | -1.9205 | -0.90283 | 0.00045201 | -0.0019405 | 0.061823 | 0.061849 | 0.061849 | 0.99069 | -0.02799 | 0.99047 | -0.026079 | 28.1131
20 | -6.7185 | -2.7639 | 6.7253 | 2.7054 | 0.006835 | -0.058512 | 0.21004 | 0.20933 | 0.21004 | 0.99848 | -0.032472 | 0.99968 | -0.0069183 | 24.9448
21 | 0.15483 | 0.069712 | -0.15482 | -0.074823 | 6.9977e-06 | -0.0051108 | 0.0049091 | 0.0049716 | 0.0049716 | 0.99848 | -0.032472 | 0.99844 | -0.03211 | 2.2598
22 | 3.3877 | 1.2425 | -3.387 | -1.2709 | 0.00076174 | -0.028345 | 0.10432 | 0.10462 | 0.10462 | 0.99848 | -0.032472 | 0.99822 | -0.038667 | 12.4247
23 | -0.15387 | -0.074522 | 0.15387 | 0.074298 | 3.2029e-07 | -0.00022462 | 0.0049925 | 0.0049896 | 0.0049925 | 0.98856 | -0.018359 | 0.98856 | -0.018377 | 2.2693
24 | -0.30763 | -0.14876 | 0.30763 | 0.14871 | 9.813e-06 | -5.8394e-05 | 0.0099784 | 0.0099776 | 0.0099784 | 0.98856 | -0.018377 | 0.98859 | -0.018166 | 4.7516
25 | -0.58652 | -0.28255 | 0.58656 | 0.28079 | 3.6579e-05 | -0.0017605 | 0.01901 | 0.018988 | 0.01901 | 0.98859 | -0.018166 | 0.98865 | -0.018699 | 8.6411
26 | 0.27888 | 0.13384 | -0.27888 | -0.13501 | 5.4393e-06 | -0.0011617 | 0.0090329 | 0.0090477 | 0.0090477 | 0.98859 | -0.018166 | 0.98857 | -0.017998 | 4.1126
27 | -0.58656 | -0.28079 | 0.58656 | 0.28058 | 4.4281e-06 | -0.00021341 | 0.018988 | 0.018985 | 0.018988 | 0.98865 | -0.018699 | 0.98866 | -0.018763 | 8.6309
28 | 0.14519 | 0.070259 | -0.14519 | -0.07032 | 2.095e-06 | -6.0511e-05 | 0.0047101 | 0.0047109 | 0.0047109 | 0.98857 | -0.017998 | 0.98856 | -0.018093 | 2.2433
29 | -0.082609 | -0.037968 | 0.082611 | 0.033388 | 1.7467e-06 | -0.0045802 | 0.0026315 | 0.002579 | 0.0026315 | 0.99735 | -0.061905 | 0.99737 | -0.062043 | 1.1961
30 | 0.082609 | 0.037968 | -0.082609 | -0.040009 | 8.0207e-07 | -0.0020409 | 0.0026315 | 0.0026567 | 0.0026567 | 0.99735 | -0.061905 | 0.99734 | -0.061825 | 1.2076
31 | 2.3478 | 0.86585 | -2.3472 | -0.91793 | 0.00067084 | -0.052085 | 0.072429 | 0.072971 | 0.072971 | 0.99737 | -0.062043 | 0.99704 | -0.069742 | 8.6664
32 | 0.12271 | 0.059357 | -0.12271 | -0.059429 | 1.7185e-06 | -7.2492e-05 | 0.0039453 | 0.0039462 | 0.0039462 | 0.99737 | -0.062043 | 0.99736 | -0.062135 | 1.8792
33 | -2.5532 | -0.95859 | 2.5536 | 0.95871 | 0.00042517 | 0.00012239 | 0.078935 | 0.07893 | 0.078935 | 0.99737 | -0.062043 | 0.9976 | -0.053076 | 9.6262
34 | 2.3472 | 0.91793 | -2.3472 | -0.91836 | 5.5848e-06 | -0.00043015 | 0.072971 | 0.072975 | 0.072975 | 0.99704 | -0.069742 | 0.99703 | -0.069804 | 8.6669
35 | -2.6671 | -1.0137 | 2.6672 | 1.0068 | 0.00011469 | -0.0068917 | 0.082563 | 0.082491 | 0.082563 | 0.9976 | -0.053076 | 0.99765 | -0.051914 | 9.8056
36 | 2.2549 | 0.87368 | -2.2548 | -0.88016 | 7.7546e-05 | -0.0064872 | 0.070017 | 0.070085 | 0.070085 | 0.99703 | -0.069804 | 0.99699 | -0.07071 | 8.3237
37 | -2.6672 | -1.0068 | 2.6672 | 1.0055 | 2.1916e-05 | -0.0013184 | 0.082491 | 0.082478 | 0.082491 | 0.99765 | -0.051914 | 0.99766 | -0.051691 | 9.7971
38 | 0.10232 | 0.049078 | -0.10231 | -0.049552 | 7.7882e-06 | -0.00047464 | 0.0032858 | 0.0032918 | 0.0032918 | 0.99699 | -0.07071 | 0.99691 | -0.071221 | 1.5675
39 | 2.1525 | 0.83109 | -2.1521 | -0.87059 | 0.00043197 | -0.039505 | 0.066809 | 0.067234 | 0.067234 | 0.99699 | -0.07071 | 0.99676 | -0.075908 | 7.985
40 | 1.7887 | 0.83903 | -1.7885 | -0.84028 | 0.00025088 | -0.0012526 | 0.057583 | 0.057599 | 0.057599 | 0.99047 | -0.026079 | 0.99034 | -0.024941 | 26.1815
41 | 0.16307 | 0.074302 | -0.16307 | -0.077395 | 4.8491e-06 | -0.0030934 | 0.0052235 | 0.0052616 | 0.0052616 | 0.99034 | -0.024941 | 0.99031 | -0.024705 | 2.3916
42 | 1.6254 | 0.76598 | -1.6248 | -0.76948 | 0.00057433 | -0.0034976 | 0.052376 | 0.052422 | 0.052422 | 0.99034 | -0.024941 | 0.99002 | -0.022031 | 23.8281
43 | 0.16307 | 0.077395 | -0.16306 | -0.078976 | 2.5047e-06 | -0.0015802 | 0.0052616 | 0.0052815 | 0.0052815 | 0.99031 | -0.024705 | 0.9903 | -0.024574 | 2.4007
44 | 0.10674 | 0.050542 | -0.10673 | -0.051694 | 7.8251e-07 | -0.0011517 | 0.0034436 | 0.0034581 | 0.0034581 | 0.99002 | -0.022031 | 0.99001 | -0.021969 | 1.5718
45 | 1.5181 | 0.71893 | -1.5178 | -0.72094 | 0.00028625 | -0.0020053 | 0.048978 | 0.049004 | 0.049004 | 0.99002 | -0.022031 | 0.98984 | -0.020464 | 22.2747
46 | 1.3769 | 0.65284 | -1.3762 | -0.65938 | 0.00076497 | -0.0065437 | 0.044441 | 0.044526 | 0.044526 | 0.98984 | -0.020464 | 0.98933 | -0.015794 | 20.2393
47 | 0.14087 | 0.068099 | -0.14087 | -0.068226 | 1.518e-07 | -0.00012766 | 0.0045632 | 0.0045648 | 0.0045648 | 0.98984 | -0.020464 | 0.98984 | -0.020455 | 2.0749
48 | 0.13618 | 0.065872 | -0.13618 | -0.065953 | 2.4307e-06 | -8.0276e-05 | 0.004414 | 0.004415 | 0.004415 | 0.98933 | -0.015794 | 0.98931 | -0.015912 | 2.1024
49 | 1.24 | 0.59351 | -1.2396 | -0.59344 | 0.00034394 | 7.5295e-05 | 0.040112 | 0.040114 | 0.040114 | 0.98933 | -0.015794 | 0.98904 | -0.017704 | 19.102
50 | 1.0974 | 0.52456 | -1.0973 | -0.52454 | 0.00016442 | 1.7502e-05 | 0.035502 | 0.035503 | 0.035503 | 0.98904 | -0.017704 | 0.98888 | -0.01874 | 16.9062
51 | -0.13645 | -0.066086 | 0.13645 | 0.065784 | 3.3254e-07 | -0.00030145 | 0.0044097 | 0.0044059 | 0.0044097 | 0.99251 | -0.026526 | 0.99251 | -0.026547 | 2.0044
52 | -6.7253 | -2.7054 | 6.7263 | 2.6972 | 0.00095094 | -0.0081875 | 0.20933 | 0.20923 | 0.20933 | 0.99968 | -0.0069183 | 0.99985 | -0.0033161 | 24.861
53 | 0.15482 | 0.074823 | -0.15481 | -0.07498 | 5.9438e-06 | -0.00015683 | 0.0049716 | 0.0049736 | 0.0049736 | 0.99844 | -0.03211 | 0.9984 | -0.032364 | 2.3684
54 | 3.2395 | 1.2 | -3.2389 | -1.2234 | 0.00057616 | -0.023424 | 0.099903 | 0.10015 | 0.10015 | 0.99822 | -0.038667 | 0.99801 | -0.04353 | 11.8938
55 | 0.1475 | 0.070863 | -0.1475 | -0.071436 | 7.2159e-07 | -0.00057315 | 0.0047322 | 0.0047394 | 0.0047394 | 0.99822 | -0.038667 | 0.99821 | -0.038625 | 2.1543
56 | -6.7924 | -2.7292 | 6.7933 | 2.7218 | 0.0008832 | -0.0074465 | 0.21135 | 0.21126 | 0.21135 | 0.99985 | -0.0033161 | 1 | 0 | 25.1008
57 | 3.045 | 1.1305 | -3.0446 | -1.1453 | 0.00032033 | -0.014771 | 0.09395 | 0.094103 | 0.094103 | 0.99801 | -0.04353 | 0.99789 | -0.046409 | 11.1761
58 | 0.075353 | 0.035548 | -0.075352 | -0.036495 | 3.1027e-07 | -0.00094693 | 0.0024099 | 0.0024218 | 0.0024218 | 0.99801 | -0.04353 | 0.99801 | -0.043495 | 1.1008
59 | 0.11857 | 0.057368 | -0.11857 | -0.057427 | 1.3099e-06 | -5.9388e-05 | 0.0038101 | 0.0038108 | 0.0038108 | 0.99801 | -0.04353 | 0.998 | -0.043603 | 1.8147
60 | 0.082069 | 0.038475 | -0.082069 | -0.039748 | 4.942e-07 | -0.0012723 | 0.0026221 | 0.002638 | 0.002638 | 0.99789 | -0.046409 | 0.99788 | -0.046358 | 1.1991
61 | 2.9626 | 1.1068 | -2.962 | -1.1328 | 0.00053398 | -0.025948 | 0.091489 | 0.09176 | 0.09176 | 0.99789 | -0.046409 | 0.99767 | -0.051289 | 10.8978
62 | 0.13045 | 0.049968 | -0.13044 | -0.058508 | 8.0192e-06 | -0.0085402 | 0.0040419 | 0.0041368 | 0.0041368 | 0.99767 | -0.051289 | 0.99761 | -0.050931 | 1.8804
63 | 2.8316 | 1.0828 | -2.8316 | -1.0851 | 4.2589e-05 | -0.0022604 | 0.087718 | 0.087742 | 0.087742 | 0.99767 | -0.051289 | 0.99766 | -0.051691 | 10.4206
64 | 0.13044 | 0.058508 | -0.13044 | -0.062508 | 3.892e-06 | -0.0040002 | 0.0041368 | 0.0041855 | 0.0041855 | 0.99761 | -0.050931 | 0.99759 | -0.050696 | 1.9025
65 | 0.13044 | 0.062508 | -0.13044 | -0.063173 | 6.5601e-07 | -0.00066497 | 0.0041855 | 0.0041939 | 0.0041939 | 0.99759 | -0.050696 | 0.99758 | -0.050652 | 1.9063
66 | 0.12664 | 0.060703 | -0.12664 | -0.060974 | 2.6159e-07 | -0.00027166 | 0.0041006 | 0.0041041 | 0.0041041 | 0.98866 | -0.018763 | 0.98865 | -0.018745 | 1.8655
67 | -0.7132 | -0.34128 | 0.71323 | 0.34028 | 3.0667e-05 | -0.00099737 | 0.023086 | 0.023073 | 0.023086 | 0.98866 | -0.018763 | 0.9887 | -0.019126 | 10.4936
68 | 1.0973 | 0.52454 | -1.0972 | -0.52541 | 6.4088e-05 | -0.0008699 | 0.035503 | 0.035514 | 0.035514 | 0.98888 | -0.01874 | 0.98883 | -0.018245 | 16.1429
69 | 1.0144 | 0.4853 | -1.0143 | -0.4853 | 0.00012957 | 2.4023e-06 | 0.032828 | 0.032829 | 0.032829 | 0.98883 | -0.018245 | 0.9887 | -0.019126 | 15.6329
70 | 0.15061 | 0.072169 | -0.15061 | -0.072893 | 9.8686e-07 | -0.00072395 | 0.0048762 | 0.0048854 | 0.0048854 | 0.9887 | -0.019126 | 0.98869 | -0.01907 | 2.2206
71 | 0.15061 | 0.072893 | -0.15061 | -0.072942 | 1.8219e-06 | -4.8849e-05 | 0.0048854 | 0.004886 | 0.004886 | 0.98869 | -0.01907 | 0.98868 | -0.01915 | 2.3267
72 | 0.12664 | 0.060974 | -0.12664 | -0.061336 | 3.4862e-07 | -0.00036131 | 0.0041041 | 0.0041087 | 0.0041087 | 0.98865 | -0.018745 | 0.98865 | -0.018721 | 1.8676
73 | 1.9937 | 0.79397 | -1.9896 | -0.79564 | 0.0040373 | -0.0016639 | 0.062156 | 0.062237 | 0.062237 | 0.99665 | -0.079759 | 0.99391 | -0.18483 | 7.5899
74 | -2.1519 | -0.87062 | 2.1521 | 0.87059 | 0.00016133 | -2.3932e-05 | 0.067237 | 0.067234 | 0.067237 | 0.99665 | -0.079759 | 0.99676 | -0.075908 | 8.1996
75 | 1.9339 | 0.76862 | -1.9268 | -0.77215 | 0.0070255 | -0.0035254 | 0.060442 | 0.060589 | 0.060589 | 0.99391 | -0.18483 | 0.989 | -0.37347 | 7.389
76 | 1.8556 | 0.73765 | -1.8555 | -0.74869 | 9.2781e-05 | -0.011044 | 0.058285 | 0.058406 | 0.058406 | 0.989 | -0.37347 | 0.98894 | -0.37475 | 6.9365
77 | -0.19811 | -0.073018 | 0.19812 | 0.072429 | 1.2965e-06 | -0.00058944 | 0.0061834 | 0.0061774 | 0.0061834 | 0.98573 | -0.45676 | 0.98573 | -0.45678 | 2.8106
78 | 0.062406 | 0.0072921 | -0.062406 | -0.008007 | 1.3947e-07 | -0.00071487 | 0.00184 | 0.0018426 | 0.0018426 | 0.98573 | -0.45676 | 0.98573 | -0.45678 | 0.83754
79 | -0.19812 | -0.072429 | 0.19814 | 0.058913 | 2.9072e-05 | -0.013516 | 0.0061774 | 0.0060529 | 0.0061774 | 0.98573 | -0.45678 | 0.98588 | -0.45705 | 2.8079
80 | 0.062406 | 0.008007 | -0.062402 | -0.029999 | 4.6197e-06 | -0.021992 | 0.0018426 | 0.0020278 | 0.0020278 | 0.98573 | -0.45678 | 0.98565 | -0.45675 | 0.92174
81 | 0.1632 | 0.07791 | -0.1632 | -0.079041 | 1.8297e-06 | -0.0011307 | 0.0052953 | 0.0053097 | 0.0053097 | 0.98588 | -0.45705 | 0.98587 | -0.45695 | 2.4135
82 | -0.36135 | -0.13682 | 0.36141 | 0.12759 | 6.7564e-05 | -0.0092345 | 0.011314 | 0.011221 | 0.011314 | 0.98588 | -0.45705 | 0.98606 | -0.4577 | 5.1426
83 | 0.062402 | 0.029999 | -0.0624 | -0.030222 | 1.4124e-06 | -0.00022239 | 0.0020278 | 0.0020307 | 0.0020307 | 0.98565 | -0.45675 | 0.98563 | -0.4569 | 0.96698
84 | -0.36141 | -0.12759 | 0.36142 | 0.12601 | 1.1405e-05 | -0.001574 | 0.011221 | 0.011205 | 0.011221 | 0.98606 | -0.4577 | 0.98609 | -0.45779 | 5.1003
85 | -0.10816 | -0.052382 | 0.10816 | 0.052206 | 1.2486e-07 | -0.00017606 | 0.0035152 | 0.003513 | 0.0035152 | 0.98688 | -0.44917 | 0.98688 | -0.44918 | 1.5978
86 | 1.5649 | 0.64503 | -1.5645 | -0.65413 | 0.00033201 | -0.0091059 | 0.049511 | 0.049615 | 0.049615 | 0.98688 | -0.44918 | 0.98664 | -0.45241 | 13.7059
87 | -1.673 | -0.69723 | 1.6753 | 0.69479 | 0.0022741 | -0.0024482 | 0.053018 | 0.052954 | 0.053018 | 0.98688 | -0.44918 | 0.98871 | -0.38069 | 6.4656
88 | 1.5645 | 0.65413 | -1.5645 | -0.65597 | 6.7052e-05 | -0.0018337 | 0.049615 | 0.049637 | 0.049637 | 0.98664 | -0.45241 | 0.9866 | -0.45305 | 13.7118
89 | -1.7699 | -0.74062 | 1.7699 | 0.73944 | 9.1926e-06 | -0.0011874 | 0.056019 | 0.056006 | 0.056019 | 0.98871 | -0.38069 | 0.98872 | -0.38056 | 6.6531
90 | 1.4275 | 0.58965 | -1.4274 | -0.59308 | 0.00010353 | -0.0034262 | 0.045192 | 0.045232 | 0.045232 | 0.9866 | -0.45305 | 0.98652 | -0.45416 | 12.4949
91 | 1.4274 | 0.59308 | -1.4274 | -0.59611 | 9.1743e-05 | -0.0030304 | 0.045232 | 0.045267 | 0.045267 | 0.98652 | -0.45416 | 0.98645 | -0.45513 | 12.5046
92 | 1.1769 | 0.49183 | -1.1768 | -0.49345 | 3.3195e-05 | -0.0016217 | 0.037326 | 0.037345 | 0.037345 | 0.98645 | -0.45513 | 0.98642 | -0.45555 | 10.3163
93 | 0.25049 | 0.10428 | -0.25047 | -0.10981 | 2.0197e-05 | -0.0055247 | 0.0079402 | 0.0080038 | 0.0080038 | 0.98645 | -0.45513 | 0.98637 | -0.45462 | 3.6381
94 | 0.13697 | 0.054889 | -0.13695 | -0.066292 | 1.2596e-05 | -0.011403 | 0.0043184 | 0.0044534 | 0.0044534 | 0.98637 | -0.45462 | 0.98629 | -0.45398 | 2.0243
95 | 0.1135 | 0.054919 | -0.1135 | -0.054972 | 1.1288e-06 | -5.3316e-05 | 0.0036902 | 0.0036909 | 0.0036909 | 0.98637 | -0.45462 | 0.98636 | -0.45469 | 1.7576
96 | 0.13695 | 0.066292 | -0.13695 | -0.066329 | 1.1238e-06 | -3.6225e-05 | 0.0044534 | 0.0044538 | 0.0044538 | 0.98629 | -0.45398 | 0.98628 | -0.45403 | 2.1209
97 | 1.0645 | 0.43906 | -1.0645 | -0.43997 | 1.5069e-05 | -0.0009058 | 0.033699 | 0.03371 | 0.03371 | 0.98642 | -0.45555 | 0.9864 | -0.45577 | 9.312
98 | -0.14532 | -0.070381 | 0.14532 | 0.069508 | 1.1183e-06 | -0.00087226 | 0.0047267 | 0.0047156 | 0.0047267 | 0.98611 | -0.45721 | 0.98612 | -0.45728 | 2.1485
99 | -0.14532 | -0.069508 | 0.14532 | 0.067012 | 3.1714e-06 | -0.002496 | 0.0047156 | 0.0046846 | 0.0047156 | 0.98612 | -0.45728 | 0.98614 | -0.45746 | 2.1435
100 | -0.14532 | -0.067012 | 0.14532 | 0.065685 | 1.669e-06 | -0.0013268 | 0.0046846 | 0.0046684 | 0.0046846 | 0.98614 | -0.45746 | 0.98615 | -0.45754 | 2.1293
101 | -0.8503 | -0.35691 | 0.85034 | 0.35603 | 3.757e-05 | -0.00088595 | 0.026995 | 0.026985 | 0.026995 | 0.98615 | -0.45754 | 0.98619 | -0.45781 | 12.2703
102 | 0.56813 | 0.22495 | -0.56812 | -0.22498 | 1.84e-05 | -2.5946e-05 | 0.017887 | 0.017888 | 0.017888 | 0.98615 | -0.45754 | 0.98612 | -0.45791 | 8.5179
103 | -0.85034 | -0.35603 | 0.85042 | 0.35419 | 7.771e-05 | -0.0018349 | 0.026985 | 0.026964 | 0.026985 | 0.98619 | -0.45781 | 0.98628 | -0.45835 | 12.2657
104 | 0.4947 | 0.18942 | -0.49469 | -0.19045 | 1.4263e-05 | -0.0010266 | 0.015507 | 0.015518 | 0.015518 | 0.98612 | -0.45791 | 0.98609 | -0.45779 | 7.0537
105 | 0.13327 | 0.064432 | -0.13326 | -0.064542 | 3.2096e-06 | -0.00010931 | 0.0043334 | 0.0043348 | 0.0043348 | 0.98609 | -0.45779 | 0.98606 | -0.45795 | 2.0642
106 | -0.85042 | -0.35419 | 0.85046 | 0.35416 | 4.1529e-05 | -2.8568e-05 | 0.026964 | 0.026963 | 0.026964 | 0.98628 | -0.45835 | 0.98634 | -0.45661 | 7.7039
107 | -0.95555 | -0.40506 | 0.95557 | 0.40369 | 1.842e-05 | -0.0013669 | 0.030375 | 0.03036 | 0.030375 | 0.98634 | -0.45661 | 0.98636 | -0.45633 | 8.391
108 | 0.9556 | 0.40104 | -0.95557 | -0.40369 | 3.574e-05 | -0.0026563 | 0.030329 | 0.03036 | 0.03036 | 0.9864 | -0.45577 | 0.98636 | -0.45633 | 8.3866
109 | 0.10891 | 0.038931 | -0.1089 | -0.052507 | 9.3253e-06 | -0.013576 | 0.0033849 | 0.0035385 | 0.0035385 | 0.9864 | -0.45577 | 0.98632 | -0.45526 | 1.6084
110 | 0.1089 | 0.052507 | -0.1089 | -0.052744 | 1.7085e-07 | -0.00023715 | 0.0035385 | 0.0035415 | 0.0035415 | 0.98632 | -0.45526 | 0.98632 | -0.45525 | 1.6098
111 | 1.8555 | 0.74869 | -1.8554 | -0.74874 | 8.4503e-05 | -5.3609e-05 | 0.058406 | 0.058408 | 0.058408 | 0.98894 | -0.37475 | 0.98888 | -0.37709 | 7.1229
112 | 1.7702 | 0.70747 | -1.7701 | -0.71597 | 6.5035e-05 | -0.0084992 | 0.05565 | 0.055743 | 0.055743 | 0.98888 | -0.37709 | 0.98883 | -0.37802 | 6.6203
113 | 1.7701 | 0.71597 | -1.7699 | -0.73944 | 0.00018075 | -0.023468 | 0.055743 | 0.056006 | 0.056006 | 0.98883 | -0.37802 | 0.98872 | -0.38056 | 6.6515

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.8073 | 2.7323

## res_load
| p_mw | q_mvar
0 | 0.052452 | 0.025404
1 | 0.34756 | 0.16833
2 | 0.15354 | 0.074361
3 | 0.10544 | 0.051065
4 | 0.067828 | 0.032851
5 | 0.11517 | 0.055781
6 | 0.078334 | 0.037939
7 | 0.074666 | 0.036162
8 | 0.10352 | 0.050139
9 | 0.15387 | 0.074522
10 | 0.15376 | 0.074467
11 | 0.13369 | 0.064747
12 | 0.082609 | 0.040009
13 | 0.12271 | 0.059429
14 | 0.11346 | 0.054951
15 | 0.092261 | 0.044684
16 | 0.10231 | 0.049552
17 | 0.13174 | 0.063805
18 | 0.14087 | 0.068226
19 | 0.16306 | 0.078976
20 | 0.10673 | 0.051694
21 | 0.13618 | 0.065953
22 | 0.14222 | 0.068879
23 | 0.13645 | 0.066086
24 | 0.066126 | 0.032026
25 | 0.15481 | 0.07498
26 | 0.1475 | 0.071436
27 | 0.075352 | 0.036495
28 | 0.11857 | 0.057427
29 | 0.16436 | 0.079604
30 | 0.082069 | 0.039748
31 | 0.13044 | 0.063173
32 | 0.14519 | 0.07032
33 | 0.082815 | 0.040109
34 | 0.15041 | 0.072847
35 | 0.15061 | 0.072942
36 | 0.12664 | 0.061336
37 | 0.15825 | 0.076645
38 | 0.055772 | 0.027012
39 | 0.07124 | 0.034503
40 | 0.13571 | 0.065726
41 | 0.1632 | 0.079041
42 | 0.0624 | 0.030222
43 | 0.10816 | 0.052382
44 | 0.094647 | 0.04584
45 | 0.13692 | 0.066313
46 | 0.1135 | 0.054972
47 | 0.1123 | 0.054388
48 | 0.14532 | 0.070381
49 | 0.13685 | 0.066278
50 | 0.073411 | 0.035555
51 | 0.13326 | 0.064542
52 | 0.10509 | 0.050897
53 | 0.13695 | 0.066329
54 | 0.1089 | 0.052744
55 | 0.085217 | 0.041273

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1