## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_198_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_198_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_198_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_198_0_node_46 | 20 | n |  | TRUE
4 | bus_MV_198_0_node_48 | 20 | n |  | TRUE
5 | bus_MV_198_0_node_80 | 20 | n |  | TRUE
6 | bus_MV_198_0_node_43 | 20 | n |  | TRUE
7 | bus_MV_198_0_node_47 | 20 | n |  | TRUE
8 | bus_MV_198_0_node_3 | 20 | n |  | TRUE
9 | bus_MV_198_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_198_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_198_0_node_95 | 20 | n |  | TRUE
12 | bus_MV_198_0_node_57 | 20 | n |  | TRUE
13 | bus_MV_198_0_node_58 | 20 | n |  | TRUE
14 | bus_MV_198_0_node_98 | 20 | n |  | TRUE
15 | bus_MV_198_0_node_26 | 20 | n |  | TRUE
16 | bus_MV_198_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_198_0_node_7 | 20 | n |  | TRUE
18 | bus_MV_198_0_node_8 | 20 | n |  | TRUE
19 | bus_MV_198_0_node_9 | 20 | n |  | TRUE
20 | bus_MV_198_0_node_92 | 20 | n |  | TRUE
21 | bus_MV_198_0_node_93 | 20 | n |  | TRUE
22 | bus_MV_198_0_node_90 | 20 | n |  | TRUE
23 | bus_MV_198_0_node_74 | 20 | n |  | TRUE
24 | bus_MV_198_0_node_10 | 20 | n |  | TRUE
25 | bus_MV_198_0_node_11 | 20 | n |  | TRUE
26 | bus_MV_198_0_node_12 | 20 | n |  | TRUE
27 | bus_MV_198_0_node_13 | 20 | n |  | TRUE
28 | bus_MV_198_0_node_16 | 20 | n |  | TRUE
29 | bus_MV_198_0_node_14 | 20 | n |  | TRUE
30 | bus_MV_198_0_node_15 | 20 | n |  | TRUE
31 | bus_MV_198_0_node_85 | 20 | n |  | TRUE
32 | bus_MV_198_0_node_89 | 20 | n |  | TRUE
33 | bus_MV_198_0_node_96 | 20 | n |  | TRUE
34 | bus_MV_198_0_node_94 | 20 | n |  | TRUE
35 | bus_MV_198_0_node_32 | 20 | n |  | TRUE
36 | bus_MV_198_0_node_17 | 20 | n |  | TRUE
37 | bus_MV_198_0_node_18 | 20 | n |  | TRUE
38 | bus_MV_198_0_node_19 | 20 | n |  | TRUE
39 | bus_MV_198_0_node_20 | 20 | n |  | TRUE
40 | bus_MV_198_0_node_21 | 20 | n |  | TRUE
41 | bus_MV_198_0_node_45 | 20 | n |  | TRUE
42 | bus_MV_198_0_node_25 | 20 | n |  | TRUE
43 | bus_MV_198_0_node_83 | 20 | n |  | TRUE
44 | bus_MV_198_0_node_27 | 20 | n |  | TRUE
45 | bus_MV_198_0_node_67 | 20 | n |  | TRUE
46 | bus_MV_198_0_node_28 | 20 | n |  | TRUE
47 | bus_MV_198_0_node_97 | 20 | n |  | TRUE
48 | bus_MV_198_0_node_33 | 20 | n |  | TRUE
49 | bus_MV_198_0_node_31 | 20 | n |  | TRUE
50 | bus_MV_198_0_node_84 | 20 | n |  | TRUE
51 | bus_MV_198_0_node_23 | 20 | n |  | TRUE
52 | bus_MV_198_0_node_30 | 20 | n |  | TRUE
53 | bus_MV_198_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_198_0_node_100 | 20 | n |  | TRUE
55 | bus_MV_198_0_node_51 | 20 | n |  | TRUE
56 | bus_MV_198_0_node_34 | 20 | n |  | TRUE
57 | bus_MV_198_0_node_65 | 20 | n |  | TRUE
58 | bus_MV_198_0_node_71 | 20 | n |  | TRUE
59 | bus_MV_198_0_node_77 | 20 | n |  | TRUE
60 | bus_MV_198_0_node_59 | 20 | n |  | TRUE
61 | bus_MV_198_0_node_82 | 20 | n |  | TRUE
62 | bus_MV_198_0_node_49 | 20 | n |  | TRUE
63 | bus_MV_198_0_node_22 | 20 | n |  | TRUE
64 | bus_MV_198_0_node_24 | 20 | n |  | TRUE
65 | bus_MV_198_0_node_76 | 20 | n |  | TRUE
66 | bus_MV_198_0_node_78 | 20 | n |  | TRUE
67 | bus_MV_198_0_node_68 | 20 | n |  | TRUE
68 | bus_MV_198_0_node_66 | 20 | n |  | TRUE
69 | bus_MV_198_0_node_69 | 20 | n |  | TRUE
70 | bus_MV_198_0_node_91 | 20 | n |  | TRUE
71 | bus_MV_198_0_node_75 | 20 | n |  | TRUE
72 | bus_MV_198_0_node_88 | 20 | n |  | TRUE
73 | bus_MV_198_0_node_56 | 20 | n |  | TRUE
74 | bus_MV_198_0_node_53 | 20 | n |  | TRUE
75 | bus_MV_198_0_node_50 | 20 | n |  | TRUE
76 | bus_MV_198_0_node_60 | 20 | n |  | TRUE
77 | bus_MV_198_0_node_61 | 20 | n |  | TRUE
78 | bus_MV_198_0_node_62 | 20 | n |  | TRUE
79 | bus_MV_198_0_node_63 | 20 | n |  | TRUE
80 | bus_MV_198_0_node_64 | 20 | n |  | TRUE
81 | bus_MV_198_0_node_99 | 20 | n |  | TRUE
82 | bus_MV_198_0_node_35 | 20 | n |  | TRUE
83 | bus_MV_198_0_node_36 | 20 | n |  | TRUE
84 | bus_MV_198_0_node_37 | 20 | n |  | TRUE
85 | bus_MV_198_0_node_38 | 20 | n |  | TRUE
86 | bus_MV_198_0_node_39 | 20 | n |  | TRUE
87 | bus_MV_198_0_node_40 | 20 | n |  | TRUE
88 | bus_MV_198_0_node_41 | 20 | n |  | TRUE
89 | bus_MV_198_0_node_73 | 20 | n |  | TRUE
90 | bus_MV_198_0_node_72 | 20 | n |  | TRUE
91 | bus_MV_198_0_node_79 | 20 | n |  | TRUE
92 | bus_MV_198_0_node_42 | 20 | n |  | TRUE
93 | bus_MV_198_0_node_44 | 20 | n |  | TRUE
94 | bus_MV_198_0_node_81 | 20 | n |  | TRUE
95 | bus_MV_198_0_node_52 | 20 | n |  | TRUE
96 | bus_MV_198_0_node_54 | 20 | n |  | TRUE
97 | bus_MV_198_0_node_55 | 20 | n |  | TRUE
98 | bus_MV_198_0_node_86 | 20 | n |  | TRUE
99 | bus_MV_198_0_node_87 | 20 | n |  | TRUE
100 | bus_HV_198_0_node_26 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_198_0_load_0 | 0 | 0.1412 | 0.068387 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_198_0_load_46 | 3 | 0.24822 | 0.12022 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_198_0_load_80 | 5 | 0.097554 | 0.047247 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_198_0_load_3 | 8 | 0.14726 | 0.071321 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_198_0_load_95 | 11 | 0.11545 | 0.055914 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_198_0_load_57 | 12 | 0.32033 | 0.15514 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_198_0_load_98 | 14 | 0.13037 | 0.063141 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_198_0_load_6 | 16 | 0.15926 | 0.077134 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_198_0_load_92 | 20 | 2.1122 | 1.023 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_198_0_load_93 | 21 | 0.15609 | 0.075597 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_198_0_load_90 | 22 | 0.33573 | 0.1626 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_198_0_load_10 | 24 | 0.33744 | 0.16343 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_198_0_load_11 | 25 | 0.11472 | 0.055563 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_198_0_load_85 | 31 | 0.070677 | 0.03423 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_198_0_load_89 | 32 | 0.077179 | 0.03738 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_198_0_load_96 | 33 | 0.10256 | 0.049671 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_198_0_load_94 | 34 | 0.31035 | 0.15031 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_198_0_load_17 | 36 | 0.38546 | 0.18668 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_198_0_load_45 | 41 | 0.32723 | 0.15848 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_198_0_load_83 | 43 | 0.10035 | 0.048604 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_198_0_load_97 | 47 | 0.30051 | 0.14554 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_198_0_load_84 | 50 | 0.33634 | 0.1629 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_198_0_load_100 | 54 | 0.3834 | 0.18569 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_198_0_load_65 | 57 | 0.2228 | 0.10791 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_198_0_load_77 | 59 | 0.083864 | 0.040617 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_198_0_load_59 | 60 | 1.5218 | 0.73704 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_198_0_load_82 | 61 | 0.24263 | 0.11751 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_198_0_load_49 | 62 | 0.10742 | 0.052024 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_198_0_load_22 | 63 | 0.30299 | 0.14674 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_198_0_load_24 | 64 | 0.06848 | 0.033166 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_198_0_load_76 | 65 | 0.086214 | 0.041755 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_198_0_load_78 | 66 | 0.10786 | 0.052238 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_198_0_load_66 | 68 | 0.12982 | 0.062877 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_198_0_load_91 | 70 | 0.99639 | 0.48257 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_198_0_load_75 | 71 | 0.087073 | 0.042172 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_198_0_load_53 | 74 | 0.13209 | 0.063973 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_198_0_load_50 | 75 | 0.14013 | 0.067869 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_198_0_load_60 | 76 | 0.11478 | 0.05559 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_198_0_load_99 | 81 | 0.35792 | 0.17335 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_198_0_load_35 | 82 | 0.33605 | 0.16276 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_198_0_load_36 | 83 | 0.36083 | 0.17476 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_198_0_load_41 | 88 | 0.34317 | 0.1662 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_198_0_load_72 | 90 | 0.17797 | 0.086194 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_198_0_load_79 | 91 | 0.13969 | 0.067654 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_198_0_load_81 | 94 | 0.087659 | 0.042455 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_198_0_load_52 | 95 | 0.11296 | 0.054709 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_198_0_load_54 | 96 | 0.13921 | 0.067424 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_198_0_load_86 | 98 | 0.11016 | 0.053355 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_198_0_line_0 |  | 0 | 1 | 0.034336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_198_0_line_1 |  | 1 | 2 | 0.16495 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
2 | MV_198_0_line_2 |  | 1 | 3 | 1.3094 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_198_0_line_3 |  | 2 | 8 | 0.026071 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_198_0_line_4 |  | 3 | 4 | 0.12028 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
5 | MV_198_0_line_5 |  | 4 | 90 | 0.027004 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_198_0_line_6 |  | 4 | 7 | 0.17679 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_198_0_line_7 |  | 5 | 6 | 0.03345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_198_0_line_8 |  | 5 | 7 | 0.25333 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
9 | MV_198_0_line_9 |  | 6 | 86 | 0.004427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_198_0_line_10 |  | 8 | 9 | 0.19727 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
11 | MV_198_0_line_11 |  | 9 | 10 | 0.35599 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_198_0_line_12 |  | 10 | 11 | 0.048854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_198_0_line_13 |  | 12 | 13 | 0.10184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_198_0_line_14 |  | 13 | 19 | 0.005316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_198_0_line_15 |  | 14 | 15 | 0.061733 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_198_0_line_16 |  | 15 | 44 | 0.27178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_198_0_line_17 |  | 15 | 45 | 0.21745 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
18 | MV_198_0_line_18 |  | 16 | 17 | 0.005929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_198_0_line_19 |  | 17 | 18 | 0.062185 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_198_0_line_20 |  | 17 | 19 | 0.014545 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_198_0_line_21 |  | 18 | 20 | 0.005074 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_198_0_line_22 |  | 19 | 21 | 0.10756 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_198_0_line_23 |  | 20 | 22 | 0.049096 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_198_0_line_24 |  | 21 | 23 | 0.089831 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_198_0_line_25 |  | 22 | 70 | 0.022174 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_198_0_line_26 |  | 23 | 89 | 0.11212 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_198_0_line_27 |  | 24 | 25 | 0.034755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_198_0_line_28 |  | 24 | 26 | 0.035703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_198_0_line_29 |  | 25 | 27 | 0.030208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_198_0_line_30 |  | 26 | 28 | 0.013094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_198_0_line_31 |  | 27 | 29 | 0.10323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_198_0_line_32 |  | 27 | 30 | 0.13309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_198_0_line_33 |  | 28 | 31 | 0.025182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_198_0_line_34 |  | 29 | 32 | 0.0074012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_198_0_line_35 |  | 30 | 33 | 0.053854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_198_0_line_36 |  | 30 | 34 | 0.44147 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_198_0_line_37 |  | 32 | 35 | 0.038501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_198_0_line_38 |  | 35 | 48 | 0.34317 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
39 | MV_198_0_line_39 |  | 35 | 55 | 0.0329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_198_0_line_40 |  | 36 | 37 | 0.006424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_198_0_line_41 |  | 36 | 38 | 0.018947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_198_0_line_42 |  | 37 | 39 | 0.090223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_198_0_line_43 |  | 38 | 40 | 0.004722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_198_0_line_44 |  | 39 | 41 | 0.095274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_198_0_line_45 |  | 40 | 42 | 0.092647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_198_0_line_46 |  | 40 | 43 | 0.054904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_198_0_line_47 |  | 42 | 59 | 0.036814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_198_0_line_48 |  | 42 | 51 | 0.11192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_198_0_line_49 |  | 44 | 60 | 0.01634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_198_0_line_50 |  | 45 | 67 | 0.16052 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
51 | MV_198_0_line_51 |  | 45 | 68 | 0.069182 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_198_0_line_52 |  | 46 | 47 | 0.009431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_198_0_line_53 |  | 46 | 48 | 0.5985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_198_0_line_54 |  | 47 | 72 | 0.052267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_198_0_line_55 |  | 48 | 62 | 0.0090349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_198_0_line_56 |  | 48 | 56 | 0.41636 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_198_0_line_57 |  | 49 | 50 | 0.0054182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_198_0_line_58 |  | 49 | 51 | 0.48457 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_198_0_line_59 |  | 49 | 52 | 0.1114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_198_0_line_60 |  | 52 | 61 | 0.041755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_198_0_line_61 |  | 52 | 53 | 0.4234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_198_0_line_62 |  | 53 | 54 | 0.002768 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_198_0_line_63 |  | 54 | 73 | 0.016672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_198_0_line_64 |  | 55 | 74 | 0.0762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_198_0_line_65 |  | 55 | 75 | 0.01447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_198_0_line_66 |  | 56 | 57 | 0.05806 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
67 | MV_198_0_line_67 |  | 56 | 58 | 0.42643 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_198_0_line_68 |  | 57 | 80 | 0.049295 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
69 | MV_198_0_line_69 |  | 58 | 81 | 0.003803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_198_0_line_70 |  | 59 | 65 | 0.070023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_198_0_line_71 |  | 63 | 64 | 0.028156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_198_0_line_72 |  | 64 | 65 | 0.057892 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_198_0_line_73 |  | 65 | 66 | 0.072129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_198_0_line_74 |  | 66 | 87 | 0.045123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_198_0_line_75 |  | 67 | 69 | 0.062118 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_198_0_line_76 |  | 67 | 70 | 0.07045 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
77 | MV_198_0_line_77 |  | 68 | 79 | 0.07303 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
78 | MV_198_0_line_78 |  | 69 | 71 | 0.032648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_198_0_line_79 |  | 72 | 99 | 0.24745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_198_0_line_80 |  | 73 | 97 | 0.79922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_198_0_line_81 |  | 75 | 95 | 0.074049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_198_0_line_82 |  | 76 | 77 | 0.0035198 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
83 | MV_198_0_line_83 |  | 76 | 78 | 0.025006 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
84 | MV_198_0_line_84 |  | 77 | 79 | 0.13532 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
85 | MV_198_0_line_85 |  | 78 | 80 | 0.008409 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
86 | MV_198_0_line_86 |  | 82 | 83 | 0.020971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_198_0_line_87 |  | 82 | 84 | 0.022213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_198_0_line_88 |  | 83 | 85 | 0.011725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_198_0_line_89 |  | 84 | 86 | 0.15589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_198_0_line_90 |  | 85 | 87 | 0.1014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_198_0_line_91 |  | 86 | 88 | 0.009929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_198_0_line_92 |  | 87 | 91 | 0.040862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_198_0_line_93 |  | 88 | 92 | 0.029063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_198_0_line_94 |  | 89 | 90 | 0.041066 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
95 | MV_198_0_line_95 |  | 92 | 93 | 0.13121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_198_0_line_96 |  | 93 | 94 | 0.11925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_198_0_line_97 |  | 96 | 97 | 0.012713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_198_0_line_98 |  | 98 | 99 | 0.10471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_198_0_trafo_26 | 25 MVA 110/20 kV | 100 | 15 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2573430.316 | 1104304.3289
1 | 2573450.094 | 1104330.7778
2 | 2573595.0458 | 1104279.9065
3 | 2572739.6865 | 1105430.6954
4 | 2572642.7926 | 1105501.9578
5 | 2572423.5522 | 1105646.3723
6 | 2572402.516 | 1105672.3801
7 | 2572565.0998 | 1105436.2763
8 | 2573619.4819 | 1104289.1824
9 | 2573765.559 | 1104156.6021
10 | 2573960.2243 | 1104179.6618
11 | 2574006.0886 | 1104189.5362
12 | 2572998.374 | 1105596.5638
13 | 2572944.3734 | 1105682.9822
14 | 2572823.5812 | 1105935.4628
15 | 2572863.893 | 1105982.2167
16 | 2572950.6768 | 1105700.4851
17 | 2572953.662 | 1105695.3581
18 | 2573006.3488 | 1105728.6285
19 | 2572941.4392 | 1105687.4198
20 | 2573009.0439 | 1105724.3254
21 | 2572850.4479 | 1105629.6538
22 | 2573050.5094 | 1105750.613
23 | 2572774.3156 | 1105581.6271
24 | 2573564.0238 | 1106524.9355
25 | 2573532.0629 | 1106511.2834
26 | 2573549.9251 | 1106557.747
27 | 2573504.283 | 1106499.4173
28 | 2573540.9837 | 1106548.1591
29 | 2573455.7584 | 1106582.5055
30 | 2573551.0013 | 1106383.1206
31 | 2573530.3648 | 1106570.9928
32 | 2573451.609 | 1106588.6341
33 | 2573566.3519 | 1106426.0753
34 | 2573842.6545 | 1106051.7067
35 | 2573430.0236 | 1106620.5155
36 | 2572413.3236 | 1105978.4305
37 | 2572416.7475 | 1105972.9899
38 | 2572427.7753 | 1105990.1484
39 | 2572350.9642 | 1105920.2746
40 | 2572431.7461 | 1105992.7205
41 | 2572386.6638 | 1105855.0622
42 | 2572505.9175 | 1106026.6557
43 | 2572418.869 | 1106046.049
44 | 2572777.7387 | 1106077.3854
45 | 2573075.3964 | 1105931.7126
46 | 2572825.4388 | 1106407.2269
47 | 2572820.2318 | 1106415.0988
48 | 2573161.1931 | 1106491.2703
49 | 2572645.3405 | 1106376.1341
50 | 2572650.1202 | 1106378.6857
51 | 2572586.1763 | 1106054.361
52 | 2572630.4843 | 1106442.157
53 | 2572477.6985 | 1106545.825
54 | 2572479.0703 | 1106548.2311
55 | 2573423.0966 | 1106645.3029
56 | 2573208.1991 | 1106200.6036
57 | 2573155.166 | 1106176.9712
58 | 2573509.9654 | 1105899.3108
59 | 2572530.1495 | 1105998.9415
60 | 2572791.2348 | 1106086.596
61 | 2572607.898 | 1106477.2764
62 | 2573168.6704 | 1106496.3417
63 | 2572655.0247 | 1105974.4092
64 | 2572633.1898 | 1105956.6321
65 | 2572576.2407 | 1105946.2269
66 | 2572623.7183 | 1105891.9266
67 | 2573128.9241 | 1105799.8856
68 | 2573135.2276 | 1105966.4454
69 | 2573158.2414 | 1105831.6604
70 | 2573069.198 | 1105762.5466
71 | 2573186.6704 | 1105847.6294
72 | 2572791.1304 | 1106458.5627
73 | 2572480.0177 | 1106564.435
74 | 2573485.8958 | 1106688.4625
75 | 2573415.504 | 1106657.6314
76 | 2573127.6995 | 1106126.8506
77 | 2573129.4978 | 1106123.825
78 | 2573114.9229 | 1106148.3466
79 | 2573195.7913 | 1106005.8599
80 | 2573110.6249 | 1106155.5805
81 | 2573511.8222 | 1105895.9899
82 | 2572544.5182 | 1105779.6106
83 | 2572561.5863 | 1105791.8616
84 | 2572526.4415 | 1105766.6305
85 | 2572571.1211 | 1105798.7218
86 | 2572399.7324 | 1105675.8279
87 | 2572653.4198 | 1105857.957
88 | 2572391.602 | 1105670.0954
89 | 2572685.7703 | 1105545.5969
90 | 2572651.3156 | 1105523.2516
91 | 2572687.3676 | 1105880.6997
92 | 2572367.9309 | 1105653.1393
93 | 2572269.5182 | 1105703.4485
94 | 2572354.7415 | 1105786.861
95 | 2573476.2833 | 1106699.9293
96 | 2573021.4619 | 1106916.1627
97 | 2573014.7063 | 1106926.9427
98 | 2573075.7394 | 1106658.0271
99 | 2573000.4806 | 1106587.69
100 | 2572863.893 | 1105982.2167

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99634 | -0.12796 | 0.1412 | 0.068387
1 | 0.99635 | -0.12802 | 0 | 0
2 | 0.99634 | -0.12814 | 0 | 0
3 | 0.99667 | -0.10716 | 0.24822 | 0.12022
4 | 0.99672 | -0.10412 | 0 | 0
5 | 0.99583 | -0.14326 | 0.097554 | 0.047247
6 | 0.99566 | -0.14188 | 0 | 0
7 | 0.9965 | -0.10515 | 0 | 0
8 | 0.99633 | -0.12816 | 0.14726 | 0.071321
9 | 0.99632 | -0.1291 | 0 | 0
10 | 0.99631 | -0.12921 | 0 | 0
11 | 0.9963 | -0.12915 | 0.11545 | 0.055914
12 | 0.99727 | -0.10082 | 0.32033 | 0.15514
13 | 0.99731 | -0.10121 | 0 | 0
14 | 0.99998 | -9.7447e-05 | 0.13037 | 0.063141
15 | 1 | 0 | -13.3687 | -6.2157
16 | 0.99734 | -0.10109 | 0.15926 | 0.077134
17 | 0.99734 | -0.1011 | 0 | 0
18 | 0.99745 | -0.10057 | 0 | 0
19 | 0.99731 | -0.10123 | 0 | 0
20 | 0.99746 | -0.10052 | 2.1122 | 1.023
21 | 0.99714 | -0.10208 | 0.15609 | 0.075597
22 | 0.99758 | -0.099978 | 0.33573 | 0.1626
23 | 0.997 | -0.10277 | 0 | 0
24 | 0.99717 | -0.10564 | 0.33744 | 0.16343
25 | 0.99719 | -0.1058 | 0.11472 | 0.055563
26 | 0.99717 | -0.10561 | 0 | 0
27 | 0.99721 | -0.10599 | 0 | 0
28 | 0.99717 | -0.1056 | 0 | 0
29 | 0.99733 | -0.10709 | 0 | 0
30 | 0.99714 | -0.10535 | 0 | 0
31 | 0.99716 | -0.10558 | 0.070677 | 0.03423
32 | 0.99734 | -0.10716 | 0.077179 | 0.03738
33 | 0.99713 | -0.10529 | 0.10256 | 0.049671
34 | 0.99687 | -0.10703 | 0.31035 | 0.15031
35 | 0.99739 | -0.10761 | 0 | 0
36 | 0.99364 | -0.12494 | 0.38546 | 0.18668
37 | 0.99364 | -0.12492 | 0 | 0
38 | 0.99366 | -0.1251 | 0 | 0
39 | 0.9936 | -0.12458 | 0 | 0
40 | 0.99366 | -0.12514 | 0 | 0
41 | 0.99356 | -0.12421 | 0.32723 | 0.15848
42 | 0.99376 | -0.12601 | 0 | 0
43 | 0.99366 | -0.12507 | 0.10035 | 0.048604
44 | 0.99947 | 0.0048878 | 0 | 0
45 | 0.9983 | -0.096737 | 0 | 0
46 | 0.99734 | -0.10243 | 0 | 0
47 | 0.99734 | -0.10238 | 0.30051 | 0.14554
48 | 0.99765 | -0.10473 | 0 | 0
49 | 0.99293 | -0.11959 | 0 | 0
50 | 0.99292 | -0.11957 | 0.33634 | 0.1629
51 | 0.9936 | -0.12484 | 0 | 0
52 | 0.99282 | -0.11878 | 0 | 0
53 | 0.99254 | -0.11677 | 0 | 0
54 | 0.99254 | -0.11676 | 0.3834 | 0.18569
55 | 0.99737 | -0.10746 | 0 | 0
56 | 0.99791 | -0.1034 | 0 | 0
57 | 0.998 | -0.098331 | 0.2228 | 0.10791
58 | 0.99761 | -0.10526 | 0 | 0
59 | 0.99385 | -0.12673 | 0.083864 | 0.040617
60 | 0.99944 | 0.0051854 | 1.5218 | 0.73704
61 | 0.9928 | -0.11866 | 0.24263 | 0.11751
62 | 0.99765 | -0.10472 | 0.10742 | 0.052024
63 | 0.99397 | -0.12832 | 0.30299 | 0.14674
64 | 0.99399 | -0.12843 | 0.06848 | 0.033166
65 | 0.99403 | -0.12816 | 0.086214 | 0.041755
66 | 0.99425 | -0.13003 | 0.10786 | 0.052238
67 | 0.99784 | -0.098822 | 0 | 0
68 | 0.99824 | -0.09706 | 0.12982 | 0.062877
69 | 0.99783 | -0.098763 | 0 | 0
70 | 0.99763 | -0.099721 | 0.99639 | 0.48257
71 | 0.99783 | -0.09873 | 0.087073 | 0.042172
72 | 0.99733 | -0.10235 | 0 | 0
73 | 0.99253 | -0.11675 | 0 | 0
74 | 0.99736 | -0.10735 | 0.13209 | 0.063973
75 | 0.99737 | -0.10742 | 0.14013 | 0.067869
76 | 0.99806 | -0.09799 | 0.11478 | 0.05559
77 | 0.99807 | -0.097975 | 0 | 0
78 | 0.99804 | -0.098094 | 0 | 0
79 | 0.99818 | -0.097385 | 0 | 0
80 | 0.99804 | -0.098129 | 0 | 0
81 | 0.99761 | -0.10524 | 0.35792 | 0.17335
82 | 0.99487 | -0.13517 | 0.33605 | 0.16276
83 | 0.99479 | -0.13448 | 0.36083 | 0.17476
84 | 0.99497 | -0.13599 | 0 | 0
85 | 0.99475 | -0.13414 | 0 | 0
86 | 0.99564 | -0.1417 | 0 | 0
87 | 0.9944 | -0.13125 | 0 | 0
88 | 0.99564 | -0.14165 | 0.34317 | 0.1662
89 | 0.99683 | -0.10361 | 0 | 0
90 | 0.99676 | -0.10392 | 0.17797 | 0.086194
91 | 0.99439 | -0.13118 | 0.13969 | 0.067654
92 | 0.99563 | -0.14164 | 0 | 0
93 | 0.99562 | -0.14153 | 0 | 0
94 | 0.99561 | -0.14142 | 0.087659 | 0.042455
95 | 0.99736 | -0.10732 | 0.11296 | 0.054709
96 | 0.99239 | -0.11588 | 0.13921 | 0.067424
97 | 0.99239 | -0.1159 | 0 | 0
98 | 0.99728 | -0.10197 | 0.11016 | 0.053355
99 | 0.99729 | -0.1021 | 0 | 0
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1412 | -0.068387 | 0.1412 | 0.067573 | 9.4501e-07 | -0.00081355 | 0.0045456 | 0.0045354 | 0.0045456 | 0.99634 | -0.12796 | 0.99635 | -0.12802 | 2.0662
1 | 0.26271 | 0.091694 | -0.26271 | -0.10198 | 3.3544e-06 | -0.010287 | 0.008062 | 0.0081651 | 0.0081651 | 0.99635 | -0.12802 | 0.99634 | -0.12814 | 1.2798
2 | -0.40391 | -0.15927 | 0.40399 | 0.15767 | 7.3861e-05 | -0.0015987 | 0.01258 | 0.012561 | 0.01258 | 0.99635 | -0.12802 | 0.99667 | -0.10716 | 1.9503
3 | 0.26271 | 0.10198 | -0.26271 | -0.10361 | 5.3819e-07 | -0.0016258 | 0.0081651 | 0.0081822 | 0.0081822 | 0.99634 | -0.12814 | 0.99633 | -0.12816 | 1.2825
4 | -0.65221 | -0.27788 | 0.65222 | 0.27777 | 1.8103e-05 | -0.00011648 | 0.020534 | 0.020532 | 0.020534 | 0.99667 | -0.10716 | 0.99672 | -0.10412 | 3.1835
5 | -4.5914 | -2.098 | 4.5916 | 2.0964 | 0.00017834 | -0.0015852 | 0.1462 | 0.14618 | 0.1462 | 0.99672 | -0.10412 | 0.99676 | -0.10392 | 22.916
6 | 3.9392 | 1.8202 | -3.9384 | -1.8308 | 0.00086383 | -0.010547 | 0.12568 | 0.12581 | 0.12581 | 0.99672 | -0.10412 | 0.9965 | -0.10515 | 19.7202
7 | 3.8394 | 1.78 | -3.8387 | -1.7806 | 0.00067212 | -0.00059251 | 0.12268 | 0.12269 | 0.12269 | 0.99583 | -0.14326 | 0.99566 | -0.14188 | 55.7668
8 | -3.9369 | -1.8273 | 3.9384 | 1.8308 | 0.0014316 | 0.0035023 | 0.12582 | 0.12581 | 0.12582 | 0.99583 | -0.14326 | 0.9965 | -0.10515 | 19.5068
9 | 3.8387 | 1.7806 | -3.8386 | -1.7807 | 8.896e-05 | -7.8395e-05 | 0.12269 | 0.12269 | 0.12269 | 0.99566 | -0.14188 | 0.99564 | -0.1417 | 55.7674
10 | 0.11545 | 0.032285 | -0.11545 | -0.032554 | 8.5016e-07 | -0.0002684 | 0.0034734 | 0.0034755 | 0.0034755 | 0.99633 | -0.12816 | 0.99632 | -0.1291 | 0.53884
11 | 0.11545 | 0.032554 | -0.11545 | -0.054756 | 1.4068e-06 | -0.022202 | 0.0034755 | 0.0037022 | 0.0037022 | 0.99632 | -0.1291 | 0.99631 | -0.12921 | 0.58029
12 | 0.11545 | 0.054756 | -0.11545 | -0.055914 | 8.9742e-07 | -0.0011576 | 0.0037022 | 0.0037167 | 0.0037167 | 0.99631 | -0.12921 | 0.9963 | -0.12915 | 1.6894
13 | -0.32033 | -0.15514 | 0.32034 | 0.15273 | 1.4388e-05 | -0.002414 | 0.010303 | 0.010272 | 0.010303 | 0.99727 | -0.10082 | 0.99731 | -0.10121 | 4.683
14 | -0.32034 | -0.15273 | 0.32034 | 0.1526 | 7.4873e-07 | -0.00012602 | 0.010272 | 0.010271 | 0.010272 | 0.99731 | -0.10121 | 0.99731 | -0.10123 | 4.6692
15 | -0.13037 | -0.063141 | 0.13037 | 0.063068 | 1.9229e-06 | -7.2492e-05 | 0.0041816 | 0.0041807 | 0.0041816 | 0.99998 | -9.7447e-05 | 1 | 0 | 1.9913
16 | 1.5227 | 0.73044 | -1.5218 | -0.73666 | 0.00086381 | -0.0062294 | 0.048753 | 0.048834 | 0.048834 | 1 | 0 | 0.99947 | 0.0048878 | 22.1973
17 | 11.7016 | 5.4117 | -11.6908 | -5.3831 | 0.010753 | 0.028615 | 0.37217 | 0.37217 | 0.37217 | 1 | 0 | 0.9983 | -0.096737 | 57.7015
18 | -0.15926 | -0.077134 | 0.15926 | 0.076993 | 2.0756e-07 | -0.00014075 | 0.005122 | 0.0051202 | 0.005122 | 0.99734 | -0.10109 | 0.99734 | -0.1011 | 2.3282
19 | -5.408 | -2.4665 | 5.4085 | 2.4629 | 0.00056859 | -0.0035667 | 0.17204 | 0.172 | 0.17204 | 0.99734 | -0.1011 | 0.99745 | -0.10057 | 26.966
20 | 5.2487 | 2.3895 | -5.2486 | -2.3903 | 0.00012524 | -0.00083848 | 0.16692 | 0.16693 | 0.16693 | 0.99734 | -0.1011 | 0.99731 | -0.10123 | 26.1653
21 | -5.4085 | -2.4629 | 5.4086 | 2.4626 | 4.6381e-05 | -0.00029107 | 0.172 | 0.17199 | 0.172 | 0.99745 | -0.10057 | 0.99746 | -0.10052 | 26.9586
22 | 4.9282 | 2.2377 | -4.9274 | -2.244 | 0.00081617 | -0.0062612 | 0.15667 | 0.15675 | 0.15675 | 0.99731 | -0.10123 | 0.99714 | -0.10208 | 24.5684
23 | -7.5208 | -3.4856 | 7.5217 | 3.4831 | 0.00087298 | -0.0025779 | 0.2399 | 0.23986 | 0.2399 | 0.99746 | -0.10052 | 0.99758 | -0.099978 | 37.602
24 | 4.7713 | 2.1684 | -4.7707 | -2.1737 | 0.0006393 | -0.0052512 | 0.15173 | 0.15179 | 0.15179 | 0.99714 | -0.10208 | 0.997 | -0.10277 | 23.7922
25 | -7.8574 | -3.6457 | 7.8578 | 3.6445 | 0.00043045 | -0.0011442 | 0.25066 | 0.25064 | 0.25066 | 0.99758 | -0.099978 | 0.99763 | -0.099721 | 39.2879
26 | 4.7707 | 2.1737 | -4.7699 | -2.1802 | 0.00079873 | -0.0065517 | 0.15179 | 0.15188 | 0.15188 | 0.997 | -0.10277 | 0.99683 | -0.10361 | 23.8054
27 | -0.40811 | -0.1959 | 0.40812 | 0.19508 | 7.9624e-06 | -0.00082277 | 0.013105 | 0.013095 | 0.013105 | 0.99717 | -0.10564 | 0.99719 | -0.1058 | 5.957
28 | 0.070677 | 0.032474 | -0.070677 | -0.033322 | 2.4277e-07 | -0.00084756 | 0.0022517 | 0.0022621 | 0.0022621 | 0.99717 | -0.10564 | 0.99717 | -0.10561 | 1.0282
29 | -0.52285 | -0.25064 | 0.52286 | 0.24993 | 1.1356e-05 | -0.00071385 | 0.016785 | 0.016776 | 0.016785 | 0.99719 | -0.1058 | 0.99721 | -0.10599 | 7.6296
30 | 0.070677 | 0.033322 | -0.070677 | -0.033633 | 8.9589e-08 | -0.00031084 | 0.0022621 | 0.0022659 | 0.0022659 | 0.99717 | -0.10561 | 0.99717 | -0.1056 | 1.03
31 | -0.93588 | -0.44501 | 0.936 | 0.44259 | 0.0001239 | -0.0024146 | 0.029999 | 0.029969 | 0.029999 | 0.99721 | -0.10599 | 0.99733 | -0.10709 | 13.6359
32 | 0.41302 | 0.19508 | -0.41299 | -0.19823 | 3.1157e-05 | -0.0031504 | 0.013223 | 0.013262 | 0.013262 | 0.99721 | -0.10599 | 0.99714 | -0.10535 | 6.0283
33 | 0.070677 | 0.033633 | -0.070677 | -0.03423 | 1.7317e-07 | -0.0005978 | 0.0022659 | 0.0022734 | 0.0022734 | 0.99717 | -0.1056 | 0.99716 | -0.10558 | 1.0334
34 | -0.936 | -0.44259 | 0.93601 | 0.44242 | 8.8732e-06 | -0.00017314 | 0.029969 | 0.029966 | 0.029969 | 0.99733 | -0.10709 | 0.99734 | -0.10716 | 13.622
35 | 0.10256 | 0.048393 | -0.10256 | -0.049671 | 7.7866e-07 | -0.0012782 | 0.003283 | 0.003299 | 0.003299 | 0.99714 | -0.10535 | 0.99713 | -0.10529 | 1.4995
36 | 0.31043 | 0.14984 | -0.31035 | -0.15031 | 7.8382e-05 | -0.00047478 | 0.0099792 | 0.0099858 | 0.0099858 | 0.99714 | -0.10535 | 0.99687 | -0.10703 | 4.7552
37 | -1.0132 | -0.4798 | 1.0132 | 0.4789 | 5.4099e-05 | -0.00089838 | 0.032448 | 0.032437 | 0.032448 | 0.99734 | -0.10716 | 0.99739 | -0.10761 | 14.7492
38 | -1.3984 | -0.66076 | 1.3988 | 0.64929 | 0.00033109 | -0.011474 | 0.044766 | 0.044622 | 0.044766 | 0.99739 | -0.10761 | 0.99765 | -0.10473 | 12.3662
39 | 0.38519 | 0.18186 | -0.38518 | -0.18264 | 6.6812e-06 | -0.00077944 | 0.012329 | 0.012338 | 0.012338 | 0.99739 | -0.10761 | 0.99737 | -0.10746 | 5.6083
40 | 0.32726 | 0.15397 | -0.32726 | -0.15412 | 9.4697e-07 | -0.00015115 | 0.010507 | 0.010509 | 0.010509 | 0.99364 | -0.12494 | 0.99364 | -0.12492 | 4.7769
41 | -0.71271 | -0.34065 | 0.71273 | 0.34021 | 1.3319e-05 | -0.0004427 | 0.02295 | 0.022944 | 0.02295 | 0.99364 | -0.12494 | 0.99366 | -0.1251 | 10.4316
42 | 0.32726 | 0.15412 | -0.32724 | -0.15624 | 1.3336e-05 | -0.0021228 | 0.010509 | 0.010536 | 0.010536 | 0.99364 | -0.12492 | 0.9936 | -0.12458 | 4.7889
43 | -0.71273 | -0.34021 | 0.71273 | 0.3401 | 3.3183e-06 | -0.00011033 | 0.022944 | 0.022943 | 0.022944 | 0.99366 | -0.1251 | 0.99366 | -0.12514 | 10.429
44 | 0.32724 | 0.15624 | -0.32723 | -0.15848 | 1.4156e-05 | -0.0022415 | 0.010536 | 0.010564 | 0.010564 | 0.9936 | -0.12458 | 0.99356 | -0.12421 | 4.8018
45 | -0.81308 | -0.38741 | 0.81317 | 0.38525 | 8.4591e-05 | -0.0021592 | 0.026166 | 0.026138 | 0.026166 | 0.99366 | -0.12514 | 0.99376 | -0.12601 | 11.8935
46 | 0.10035 | 0.04731 | -0.10035 | -0.048604 | 7.653e-07 | -0.0012941 | 0.0032232 | 0.0032394 | 0.0032394 | 0.99366 | -0.12514 | 0.99366 | -0.12507 | 1.4725
47 | -1.916 | -0.87185 | 1.9162 | 0.87103 | 0.00018374 | -0.00081361 | 0.061149 | 0.061138 | 0.061149 | 0.99376 | -0.12601 | 0.99385 | -0.12673 | 27.7949
48 | 1.1028 | 0.48659 | -1.1027 | -0.48918 | 0.00018336 | -0.0025841 | 0.035016 | 0.035047 | 0.035047 | 0.99376 | -0.12601 | 0.9936 | -0.12484 | 15.9304
49 | 1.5218 | 0.73666 | -1.5218 | -0.73704 | 5.2025e-05 | -0.00037427 | 0.048834 | 0.048839 | 0.048839 | 0.99947 | 0.0048878 | 0.99944 | 0.0051854 | 22.1995
50 | 8.9471 | 4.1558 | -8.943 | -4.1636 | 0.0040381 | -0.0077732 | 0.28527 | 0.28539 | 0.28539 | 0.9983 | -0.096737 | 0.99784 | -0.098822 | 44.7317
51 | 2.7438 | 1.2273 | -2.7436 | -1.2315 | 0.00016159 | -0.0042408 | 0.086916 | 0.086967 | 0.086967 | 0.9983 | -0.096737 | 0.99824 | -0.09706 | 13.6312
52 | 0.41068 | 0.18907 | -0.41068 | -0.1893 | 2.1565e-06 | -0.00022334 | 0.013086 | 0.013089 | 0.013089 | 0.99734 | -0.10243 | 0.99734 | -0.10238 | 5.9495
53 | -0.41068 | -0.18907 | 0.41082 | 0.17489 | 0.00013506 | -0.014178 | 0.013086 | 0.01292 | 0.013086 | 0.99734 | -0.10243 | 0.99765 | -0.10473 | 5.9483
54 | 0.11017 | 0.043753 | -0.11017 | -0.044994 | 8.2465e-07 | -0.001241 | 0.0034311 | 0.0034445 | 0.0034445 | 0.99734 | -0.10238 | 0.99733 | -0.10235 | 1.5657
55 | 0.10742 | 0.05181 | -0.10742 | -0.052024 | 1.4375e-07 | -0.00021466 | 0.0034508 | 0.0034535 | 0.0034535 | 0.99765 | -0.10473 | 0.99765 | -0.10472 | 1.5698
56 | -1.917 | -0.87599 | 1.9175 | 0.85021 | 0.00047607 | -0.025777 | 0.060986 | 0.060677 | 0.060986 | 0.99765 | -0.10473 | 0.99791 | -0.1034 | 9.559
57 | 0.33634 | 0.16277 | -0.33634 | -0.1629 | 8.5375e-07 | -0.00012729 | 0.010863 | 0.010865 | 0.010865 | 0.99293 | -0.11959 | 0.99292 | -0.11957 | 4.9387
58 | -1.1019 | -0.50036 | 1.1027 | 0.48918 | 0.00079765 | -0.011178 | 0.035183 | 0.035047 | 0.035183 | 0.99293 | -0.11959 | 0.9936 | -0.12484 | 15.9921
59 | 0.76551 | 0.33759 | -0.76543 | -0.34018 | 8.8101e-05 | -0.0025958 | 0.024324 | 0.024355 | 0.024355 | 0.99293 | -0.11959 | 0.99282 | -0.11878 | 11.0704
60 | 0.24263 | 0.11653 | -0.24263 | -0.11751 | 3.4198e-06 | -0.00098166 | 0.0078263 | 0.0078387 | 0.0078387 | 0.99282 | -0.11878 | 0.9928 | -0.11866 | 3.5631
61 | 0.52279 | 0.22365 | -0.52264 | -0.23357 | 0.00015559 | -0.0099156 | 0.016534 | 0.01665 | 0.01665 | 0.99282 | -0.11878 | 0.99254 | -0.11677 | 7.568
62 | 0.52264 | 0.23357 | -0.52264 | -0.23363 | 1.0244e-06 | -6.4802e-05 | 0.01665 | 0.01665 | 0.01665 | 0.99254 | -0.11677 | 0.99254 | -0.11676 | 7.5684
63 | 0.13923 | 0.047943 | -0.13923 | -0.048335 | 4.0862e-07 | -0.00039202 | 0.0042829 | 0.0042866 | 0.0042866 | 0.99254 | -0.11676 | 0.99253 | -0.11675 | 1.9485
64 | 0.13209 | 0.062164 | -0.13209 | -0.063973 | 1.8258e-06 | -0.0018093 | 0.0042253 | 0.0042479 | 0.0042479 | 0.99737 | -0.10746 | 0.99736 | -0.10735 | 1.9309
65 | 0.25309 | 0.12048 | -0.25309 | -0.12082 | 1.2722e-06 | -0.0003433 | 0.008113 | 0.0081173 | 0.0081173 | 0.99737 | -0.10746 | 0.99737 | -0.10742 | 3.6897
66 | -2.2755 | -1.023 | 2.2756 | 1.0232 | 0.00010796 | 0.0002104 | 0.072172 | 0.072171 | 0.072172 | 0.99791 | -0.1034 | 0.998 | -0.098331 | 11.1895
67 | 0.35802 | 0.17281 | -0.35792 | -0.17326 | 0.00010054 | -0.00044382 | 0.0115 | 0.011507 | 0.011507 | 0.99791 | -0.1034 | 0.99761 | -0.10526 | 5.4793
68 | -2.4984 | -1.1311 | 2.4985 | 1.1281 | 9.5813e-05 | -0.0030311 | 0.079329 | 0.079292 | 0.079329 | 0.998 | -0.098331 | 0.99804 | -0.098129 | 12.434
69 | 0.35792 | 0.17326 | -0.35792 | -0.17335 | 6.7226e-07 | -9.0168e-05 | 0.011507 | 0.011508 | 0.011508 | 0.99761 | -0.10526 | 0.99761 | -0.10524 | 5.2308
70 | -2.0001 | -0.91165 | 2.0004 | 0.91011 | 0.00038092 | -0.0015387 | 0.063844 | 0.063824 | 0.063844 | 0.99385 | -0.12673 | 0.99403 | -0.12816 | 29.0201
71 | -0.30299 | -0.14674 | 0.30299 | 0.14608 | 3.5902e-06 | -0.00066313 | 0.0097772 | 0.0097688 | 0.0097772 | 0.99397 | -0.12832 | 0.99399 | -0.12843 | 4.4442
72 | -0.37147 | -0.17925 | 0.37148 | 0.17919 | 1.4799e-05 | -5.9016e-05 | 0.011979 | 0.011978 | 0.011979 | 0.99399 | -0.12843 | 0.99403 | -0.12816 | 5.7041
73 | -2.4581 | -1.1311 | 2.4587 | 1.1295 | 0.00059445 | -0.0015257 | 0.078581 | 0.07856 | 0.078581 | 0.99403 | -0.12816 | 0.99425 | -0.13003 | 35.7186
74 | -2.5666 | -1.1818 | 2.567 | 1.1808 | 0.00040537 | -0.00094493 | 0.082039 | 0.082026 | 0.082039 | 0.99425 | -0.13003 | 0.9944 | -0.13125 | 37.2905
75 | 0.087074 | 0.039919 | -0.087074 | -0.041396 | 6.4097e-07 | -0.0014765 | 0.0027712 | 0.0027893 | 0.0027893 | 0.99784 | -0.098822 | 0.99783 | -0.098763 | 1.2678
76 | 8.8559 | 4.1237 | -8.8542 | -4.1271 | 0.0017391 | -0.0034272 | 0.28262 | 0.28267 | 0.28267 | 0.99784 | -0.098822 | 0.99763 | -0.099721 | 44.3058
77 | 2.6138 | 1.1686 | -2.6136 | -1.1731 | 0.0001548 | -0.0044851 | 0.082798 | 0.082852 | 0.082852 | 0.99824 | -0.09706 | 0.99818 | -0.097385 | 12.9862
78 | 0.087074 | 0.041396 | -0.087073 | -0.042172 | 3.4026e-07 | -0.00077601 | 0.0027893 | 0.002799 | 0.002799 | 0.99783 | -0.098763 | 0.99783 | -0.09873 | 1.2723
79 | 0.11017 | 0.044994 | -0.11017 | -0.050869 | 3.995e-06 | -0.0058752 | 0.0034445 | 0.0035124 | 0.0035124 | 0.99733 | -0.10235 | 0.99729 | -0.1021 | 1.5965
80 | 0.13923 | 0.048335 | -0.13921 | -0.067125 | 2.0506e-05 | -0.01879 | 0.0042866 | 0.0044957 | 0.0044957 | 0.99253 | -0.11675 | 0.99239 | -0.1159 | 2.0435
81 | 0.11296 | 0.05295 | -0.11296 | -0.054709 | 1.2967e-06 | -0.0017583 | 0.0036109 | 0.0036328 | 0.0036328 | 0.99737 | -0.10742 | 0.99736 | -0.10732 | 1.6513
82 | -2.6133 | -1.1816 | 2.6133 | 1.1814 | 7.4841e-06 | -0.00021608 | 0.082955 | 0.082952 | 0.082955 | 0.99806 | -0.09799 | 0.99807 | -0.097975 | 13.0023
83 | 2.4986 | 1.1261 | -2.4985 | -1.1276 | 4.8563e-05 | -0.0015377 | 0.079268 | 0.079286 | 0.079286 | 0.99806 | -0.09799 | 0.99804 | -0.098094 | 12.4273
84 | -2.6133 | -1.1814 | 2.6136 | 1.1731 | 0.00028737 | -0.0083085 | 0.082952 | 0.082852 | 0.082952 | 0.99807 | -0.097975 | 0.99818 | -0.097385 | 13.0019
85 | 2.4985 | 1.1276 | -2.4985 | -1.1281 | 1.6335e-05 | -0.00051708 | 0.079286 | 0.079292 | 0.079292 | 0.99804 | -0.098094 | 0.99804 | -0.098129 | 12.4283
86 | 3.0689 | 1.4195 | -3.0686 | -1.4199 | 0.00026951 | -0.0004156 | 0.098113 | 0.098119 | 0.098119 | 0.99487 | -0.13517 | 0.99479 | -0.13448 | 44.5996
87 | -3.405 | -1.5823 | 3.4053 | 1.5819 | 0.00035195 | -0.00042058 | 0.10895 | 0.10894 | 0.10895 | 0.99487 | -0.13517 | 0.99497 | -0.13599 | 49.5209
88 | 2.7078 | 1.2452 | -2.7077 | -1.2454 | 0.00011709 | -0.00024229 | 0.086487 | 0.08649 | 0.08649 | 0.99479 | -0.13448 | 0.99475 | -0.13414 | 39.3138
89 | -3.4053 | -1.5819 | 3.4078 | 1.5789 | 0.0024688 | -0.0029548 | 0.10894 | 0.10889 | 0.10894 | 0.99497 | -0.13599 | 0.99564 | -0.1417 | 49.5179
90 | 2.7077 | 1.2454 | -2.7067 | -1.2475 | 0.001013 | -0.0020943 | 0.08649 | 0.086519 | 0.086519 | 0.99475 | -0.13414 | 0.9944 | -0.13125 | 39.327
91 | 0.43083 | 0.20181 | -0.43083 | -0.20204 | 2.5226e-06 | -0.00023425 | 0.013794 | 0.013797 | 0.013797 | 0.99564 | -0.1417 | 0.99564 | -0.14165 | 6.2713
92 | 0.13969 | 0.06669 | -0.13969 | -0.067654 | 1.1045e-06 | -0.00096439 | 0.0044936 | 0.0045058 | 0.0045058 | 0.9944 | -0.13125 | 0.99439 | -0.13118 | 2.0481
93 | 0.087661 | 0.03584 | -0.087661 | -0.036528 | 2.9335e-07 | -0.00068778 | 0.0027459 | 0.0027535 | 0.0027535 | 0.99564 | -0.14165 | 0.99563 | -0.14164 | 1.2516
94 | 4.7699 | 2.1802 | -4.7696 | -2.1826 | 0.00029277 | -0.0023989 | 0.15188 | 0.15191 | 0.15191 | 0.99683 | -0.10361 | 0.99676 | -0.10392 | 23.8102
95 | 0.087661 | 0.036528 | -0.08766 | -0.039633 | 1.3451e-06 | -0.0031051 | 0.0027535 | 0.0027894 | 0.0027894 | 0.99563 | -0.14164 | 0.99562 | -0.14153 | 1.2679
96 | 0.08766 | 0.039633 | -0.087659 | -0.042455 | 1.2539e-06 | -0.002822 | 0.0027894 | 0.0028241 | 0.0028241 | 0.99562 | -0.14153 | 0.99561 | -0.14142 | 1.2837
97 | -0.13921 | -0.067424 | 0.13921 | 0.067125 | 3.4331e-07 | -0.00029883 | 0.0044995 | 0.0044957 | 0.0044995 | 0.99239 | -0.11588 | 0.99239 | -0.1159 | 2.0452
98 | -0.11016 | -0.053355 | 0.11017 | 0.050869 | 1.7395e-06 | -0.0024859 | 0.0035432 | 0.0035124 | 0.0035432 | 0.99728 | -0.10197 | 0.99729 | -0.1021 | 1.6105

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.3687 | 6.2157

## res_load
| p_mw | q_mvar
0 | 0.1412 | 0.068387
1 | 0.24822 | 0.12022
2 | 0.097554 | 0.047247
3 | 0.14726 | 0.071321
4 | 0.11545 | 0.055914
5 | 0.32033 | 0.15514
6 | 0.13037 | 0.063141
7 | 0.15926 | 0.077134
8 | 2.1122 | 1.023
9 | 0.15609 | 0.075597
10 | 0.33573 | 0.1626
11 | 0.33744 | 0.16343
12 | 0.11472 | 0.055563
13 | 0.070677 | 0.03423
14 | 0.077179 | 0.03738
15 | 0.10256 | 0.049671
16 | 0.31035 | 0.15031
17 | 0.38546 | 0.18668
18 | 0.32723 | 0.15848
19 | 0.10035 | 0.048604
20 | 0.30051 | 0.14554
21 | 0.33634 | 0.1629
22 | 0.3834 | 0.18569
23 | 0.2228 | 0.10791
24 | 0.083864 | 0.040617
25 | 1.5218 | 0.73704
26 | 0.24263 | 0.11751
27 | 0.10742 | 0.052024
28 | 0.30299 | 0.14674
29 | 0.06848 | 0.033166
30 | 0.086214 | 0.041755
31 | 0.10786 | 0.052238
32 | 0.12982 | 0.062877
33 | 0.99639 | 0.48257
34 | 0.087073 | 0.042172
35 | 0.13209 | 0.063973
36 | 0.14013 | 0.067869
37 | 0.11478 | 0.05559
38 | 0.35792 | 0.17335
39 | 0.33605 | 0.16276
40 | 0.36083 | 0.17476
41 | 0.34317 | 0.1662
42 | 0.17797 | 0.086194
43 | 0.13969 | 0.067654
44 | 0.087659 | 0.042455
45 | 0.11296 | 0.054709
46 | 0.13921 | 0.067424
47 | 0.11016 | 0.053355

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1