## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_200_1_node_52 | 20 | n |  | TRUE
1 | bus_MV_200_1_node_53 | 20 | n |  | TRUE
2 | bus_MV_200_1_node_54 | 20 | n |  | TRUE
3 | bus_MV_200_1_node_55 | 20 | n |  | TRUE
4 | bus_MV_200_1_node_82 | 20 | n |  | TRUE
5 | bus_MV_200_1_node_83 | 20 | n |  | TRUE
6 | bus_MV_200_1_node_56 | 20 | n |  | TRUE
7 | bus_MV_200_1_node_198 | 20 | n |  | TRUE
8 | bus_MV_200_1_node_92 | 20 | n |  | TRUE
9 | bus_MV_200_1_node_189 | 20 | n |  | TRUE
10 | bus_MV_200_1_node_190 | 20 | n |  | TRUE
11 | bus_MV_200_1_node_187 | 20 | n |  | TRUE
12 | bus_MV_200_1_node_57 | 20 | n |  | TRUE
13 | bus_MV_200_1_node_59 | 20 | n |  | TRUE
14 | bus_MV_200_1_node_182 | 20 | n |  | TRUE
15 | bus_MV_200_1_node_61 | 20 | n |  | TRUE
16 | bus_MV_200_1_node_63 | 20 | n |  | TRUE
17 | bus_MV_200_1_node_185 | 20 | n |  | TRUE
18 | bus_MV_200_1_node_62 | 20 | n |  | TRUE
19 | bus_MV_200_1_node_87 | 20 | n |  | TRUE
20 | bus_MV_200_1_node_93 | 20 | n |  | TRUE
21 | bus_MV_200_1_node_88 | 20 | n |  | TRUE
22 | bus_MV_200_1_node_89 | 20 | n |  | TRUE
23 | bus_MV_200_1_node_90 | 20 | n |  | TRUE
24 | bus_MV_200_1_node_184 | 20 | n |  | TRUE
25 | bus_MV_200_1_node_91 | 20 | n |  | TRUE
26 | bus_MV_200_1_node_64 | 20 | n |  | TRUE
27 | bus_MV_200_1_node_65 | 20 | n |  | TRUE
28 | bus_MV_200_1_node_66 | 20 | n |  | TRUE
29 | bus_MV_200_1_node_72 | 20 | n |  | TRUE
30 | bus_MV_200_1_node_71 | 20 | n |  | TRUE
31 | bus_MV_200_1_node_181 | 20 | n |  | TRUE
32 | bus_MV_200_1_node_67 | 20 | n |  | TRUE
33 | bus_MV_200_1_node_68 | 20 | n |  | TRUE
34 | bus_MV_200_1_node_70 | 20 | n |  | TRUE
35 | bus_MV_200_1_node_74 | 20 | n |  | TRUE
36 | bus_MV_200_1_node_75 | 20 | n |  | TRUE
37 | bus_MV_200_1_node_73 | 20 | n |  | TRUE
38 | bus_MV_200_1_node_183 | 20 | n |  | TRUE
39 | bus_MV_200_1_node_77 | 20 | n |  | TRUE
40 | bus_MV_200_1_node_76 | 20 | n |  | TRUE
41 | bus_MV_200_1_node_197 | 20 | n |  | TRUE
42 | bus_MV_200_1_node_102 | 20 | n |  | TRUE
43 | bus_MV_200_1_node_146 | 20 | n |  | TRUE
44 | bus_MV_200_1_node_147 | 20 | n |  | TRUE
45 | bus_MV_200_1_node_101 | 20 | n |  | TRUE
46 | bus_MV_200_1_node_199 | 20 | n |  | TRUE
47 | bus_MV_200_1_node_94 | 20 | n |  | TRUE
48 | bus_MV_200_1_node_95 | 20 | n |  | TRUE
49 | bus_MV_200_1_node_96 | 20 | n |  | TRUE
50 | bus_MV_200_1_node_97 | 20 | n |  | TRUE
51 | bus_MV_200_1_node_98 | 20 | n |  | TRUE
52 | bus_MV_200_1_node_121 | 20 | n |  | TRUE
53 | bus_MV_200_1_node_120 | 20 | n |  | TRUE
54 | bus_MV_200_1_node_114 | 20 | n |  | TRUE
55 | bus_MV_200_1_node_196 | 20 | n |  | TRUE
56 | bus_MV_200_1_node_99 | 20 | n |  | TRUE
57 | bus_MV_200_1_node_112 | 20 | n |  | TRUE
58 | bus_MV_200_1_node_100 | 20 | n |  | TRUE
59 | bus_MV_200_1_node_110 | 20 | n |  | TRUE
60 | bus_MV_200_1_node_133 | 20 | n |  | TRUE
61 | bus_MV_200_1_node_145 | 20 | n |  | TRUE
62 | bus_MV_200_1_node_148 | 20 | n |  | TRUE
63 | bus_MV_200_1_node_103 | 20 | n |  | TRUE
64 | bus_MV_200_1_node_104 | 20 | n |  | TRUE
65 | bus_MV_200_1_node_105 | 20 | n |  | TRUE
66 | bus_MV_200_1_node_106 | 20 | n |  | TRUE
67 | bus_MV_200_1_node_107 | 20 | n |  | TRUE
68 | bus_MV_200_1_node_118 | 20 | n |  | TRUE
69 | bus_MV_200_1_node_186 | 20 | n |  | TRUE
70 | bus_MV_200_1_node_117 | 20 | n |  | TRUE
71 | bus_MV_200_1_node_191 | 20 | n |  | TRUE
72 | bus_MV_200_1_node_109 | 20 | n |  | TRUE
73 | bus_MV_200_1_node_108 | 20 | n |  | TRUE
74 | bus_MV_200_1_node_119 | 20 | n |  | TRUE
75 | bus_MV_200_1_node_126 | 20 | n |  | TRUE
76 | bus_MV_200_1_node_129 | 20 | n |  | TRUE
77 | bus_MV_200_1_node_116 | 20 | n |  | TRUE
78 | bus_MV_200_1_node_200 | 20 | n |  | TRUE
79 | bus_MV_200_1_node_149 | 20 | n |  | TRUE
80 | bus_MV_200_1_node_123 | 20 | n |  | TRUE
81 | bus_MV_200_1_node_135 | 20 | n |  | TRUE
82 | bus_MV_200_1_node_111 | 20 | n |  | TRUE
83 | bus_MV_200_1_node_113 | 20 | n |  | TRUE
84 | bus_MV_200_1_node_115 | 20 | n |  | TRUE
85 | bus_MV_200_1_node_134 | 20 | n |  | TRUE
86 | bus_MV_200_1_node_136 | 20 | n |  | TRUE
87 | bus_MV_200_1_node_124 | 20 | n |  | TRUE
88 | bus_MV_200_1_node_143 | 20 | n |  | TRUE
89 | bus_MV_200_1_node_141 | 20 | n |  | TRUE
90 | bus_MV_200_1_node_142 | 20 | n |  | TRUE
91 | bus_MV_200_1_node_125 | 20 | n |  | TRUE
92 | bus_MV_200_1_node_127 | 20 | n |  | TRUE
93 | bus_MV_200_1_node_130 | 20 | n |  | TRUE
94 | bus_MV_200_1_node_132 | 20 | n |  | TRUE
95 | bus_MV_200_1_node_140 | 20 | n |  | TRUE
96 | bus_MV_200_1_node_139 | 20 | n |  | TRUE
97 | bus_MV_200_1_node_178 | 20 | n |  | TRUE
98 | bus_MV_200_1_node_138 | 20 | n |  | TRUE
99 | bus_MV_200_1_node_137 | 20 | n |  | TRUE
100 | bus_MV_200_1_node_176 | 20 | n |  | TRUE
101 | bus_MV_200_1_node_171 | 20 | n |  | TRUE
102 | bus_MV_200_1_node_161 | 20 | n |  | TRUE
103 | bus_MV_200_1_node_162 | 20 | n |  | TRUE
104 | bus_MV_200_1_node_163 | 20 | n |  | TRUE
105 | bus_MV_200_1_node_164 | 20 | n |  | TRUE
106 | bus_MV_200_1_node_165 | 20 | n |  | TRUE
107 | bus_MV_200_1_node_172 | 20 | n |  | TRUE
108 | bus_MV_200_1_node_201 | 20 | n |  | TRUE
109 | bus_MV_200_1_node_166 | 20 | n |  | TRUE
110 | bus_MV_200_1_node_170 | 20 | n |  | TRUE
111 | bus_MV_200_1_node_167 | 20 | n |  | TRUE
112 | bus_MV_200_1_node_168 | 20 | n |  | TRUE
113 | bus_MV_200_1_node_169 | 20 | n |  | TRUE
114 | bus_MV_200_1_node_175 | 20 | n |  | TRUE
115 | bus_MV_200_1_node_174 | 20 | n |  | TRUE
116 | bus_MV_200_1_node_173 | 20 | n |  | TRUE
117 | bus_HV_200_1_node_133 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_200_1_load_52 | 0 | 0.096455 | 0.046715 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_200_1_load_54 | 2 | 0.090885 | 0.044018 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_200_1_load_82 | 4 | 0.051624 | 0.025003 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_200_1_load_198 | 7 | 0.10366 | 0.050203 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_200_1_load_190 | 10 | 0.12168 | 0.058932 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_200_1_load_187 | 11 | 0.15762 | 0.076341 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_200_1_load_57 | 12 | 0.097436 | 0.047191 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_200_1_load_182 | 14 | 0.11352 | 0.054979 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_200_1_load_185 | 17 | 0.069268 | 0.033548 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_200_1_load_87 | 19 | 0.16038 | 0.077674 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_200_1_load_93 | 20 | 0.1641 | 0.079476 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_200_1_load_184 | 24 | 0.067259 | 0.032575 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_200_1_load_91 | 25 | 0.089345 | 0.043272 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_200_1_load_64 | 26 | 0.13751 | 0.0666 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_200_1_load_71 | 30 | 0.11051 | 0.053524 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_200_1_load_67 | 32 | 0.15166 | 0.073451 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_200_1_load_74 | 35 | 0.16012 | 0.07755 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_200_1_load_73 | 37 | 0.11529 | 0.05584 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_200_1_load_183 | 38 | 0.15575 | 0.075435 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_200_1_load_76 | 40 | 0.1555 | 0.075311 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_200_1_load_197 | 41 | 0.15479 | 0.074969 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_200_1_load_199 | 46 | 0.083834 | 0.040603 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_200_1_load_94 | 47 | 0.14597 | 0.070699 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_200_1_load_97 | 50 | 0.13594 | 0.065841 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_200_1_load_120 | 53 | 0.13908 | 0.067357 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_200_1_load_114 | 54 | 0.089446 | 0.043321 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_200_1_load_196 | 55 | 0.11627 | 0.056311 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_200_1_load_112 | 57 | 0.098274 | 0.047596 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_200_1_load_100 | 58 | 0.071913 | 0.034829 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_200_1_load_110 | 59 | 0.15054 | 0.072908 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_200_1_load_133 | 60 | 0.085472 | 0.041396 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_200_1_load_145 | 61 | 0.12919 | 0.062568 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_200_1_load_148 | 62 | 0.16327 | 0.079077 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_200_1_load_103 | 63 | 0.14713 | 0.07126 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_200_1_load_186 | 69 | 0.13127 | 0.063575 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_200_1_load_117 | 70 | 0.11246 | 0.054468 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_200_1_load_191 | 71 | 0.13339 | 0.064606 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_200_1_load_108 | 73 | 0.15372 | 0.074448 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_200_1_load_119 | 74 | 0.13442 | 0.065102 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_200_1_load_129 | 76 | 0.13716 | 0.066431 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_200_1_load_200 | 78 | 0.07597 | 0.036794 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_200_1_load_149 | 79 | 0.10921 | 0.052894 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_200_1_load_135 | 81 | 0.11502 | 0.055705 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_200_1_load_111 | 82 | 0.1388 | 0.067224 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_200_1_load_113 | 83 | 0.11763 | 0.056972 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_200_1_load_115 | 84 | 0.095219 | 0.046117 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_200_1_load_134 | 85 | 0.16386 | 0.079361 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_200_1_load_136 | 86 | 0.092078 | 0.044595 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_200_1_load_124 | 87 | 0.083211 | 0.040301 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_200_1_load_143 | 88 | 0.082624 | 0.040017 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_200_1_load_141 | 89 | 0.10448 | 0.050601 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_200_1_load_142 | 90 | 0.14619 | 0.070804 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_200_1_load_127 | 92 | 0.1615 | 0.07822 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_200_1_load_139 | 96 | 0.164 | 0.079429 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_200_1_load_178 | 97 | 0.12909 | 0.062522 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_200_1_load_137 | 99 | 0.16296 | 0.078926 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_200_1_load_176 | 100 | 0.10379 | 0.050268 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_200_1_load_161 | 102 | 0.060741 | 0.029418 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_200_1_load_172 | 107 | 0.10412 | 0.050429 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_200_1_load_201 | 108 | 0.13652 | 0.066119 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_200_1_load_166 | 109 | 0.077869 | 0.037714 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_200_1_load_167 | 111 | 0.1639 | 0.079382 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_200_1_load_175 | 114 | 0.16277 | 0.078831 | 0 | 0 |  | 1 | TRUE | wye
63 | MV_200_1_load_174 | 115 | 0.09087 | 0.04401 | 0 | 0 |  | 1 | TRUE | wye
64 | MV_200_1_load_173 | 116 | 0.13939 | 0.067511 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_200_1_line_0 |  | 0 | 1 | 0.089942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_200_1_line_1 |  | 1 | 2 | 2.2934 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_200_1_line_2 |  | 2 | 3 | 0.009934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_200_1_line_3 |  | 3 | 6 | 0.079986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_200_1_line_4 |  | 4 | 5 | 0.7046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_200_1_line_5 |  | 5 | 38 | 1.064 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_200_1_line_6 |  | 5 | 7 | 1.194 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_200_1_line_7 |  | 6 | 10 | 0.004181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_200_1_line_8 |  | 7 | 8 | 1.5169 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_200_1_line_9 |  | 7 | 9 | 3.3228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_200_1_line_10 |  | 8 | 25 | 0.036311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_200_1_line_11 |  | 9 | 10 | 0.015466 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_200_1_line_12 |  | 10 | 11 | 0.10437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_200_1_line_13 |  | 12 | 13 | 0.028592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_200_1_line_14 |  | 12 | 14 | 0.041319 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_200_1_line_15 |  | 13 | 15 | 0.06306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_200_1_line_16 |  | 13 | 16 | 0.42166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_200_1_line_17 |  | 15 | 17 | 0.002347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_200_1_line_18 |  | 16 | 20 | 0.017162 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_200_1_line_19 |  | 16 | 18 | 0.68274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_200_1_line_20 |  | 18 | 19 | 0.049796 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_200_1_line_21 |  | 19 | 21 | 0.037026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_200_1_line_22 |  | 20 | 25 | 0.053543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_200_1_line_23 |  | 21 | 22 | 1.4865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_200_1_line_24 |  | 21 | 23 | 0.25189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_200_1_line_25 |  | 22 | 41 | 0.037872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_200_1_line_26 |  | 23 | 24 | 0.009856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_200_1_line_27 |  | 25 | 46 | 0.051171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_200_1_line_28 |  | 26 | 27 | 0.02404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_200_1_line_29 |  | 27 | 28 | 0.044754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_200_1_line_30 |  | 28 | 29 | 0.01299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_200_1_line_31 |  | 28 | 30 | 0.033631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_200_1_line_32 |  | 29 | 31 | 0.12685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_200_1_line_33 |  | 30 | 32 | 0.052619 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_200_1_line_34 |  | 31 | 38 | 0.034607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_200_1_line_35 |  | 32 | 33 | 0.040123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_200_1_line_36 |  | 33 | 34 | 0.28101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_200_1_line_37 |  | 34 | 35 | 0.092319 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_200_1_line_38 |  | 35 | 36 | 0.043138 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_200_1_line_39 |  | 35 | 37 | 0.047037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_200_1_line_40 |  | 36 | 39 | 0.683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_200_1_line_41 |  | 39 | 40 | 0.1177 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_200_1_line_42 |  | 41 | 42 | 0.082994 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_200_1_line_43 |  | 42 | 43 | 0.16409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_200_1_line_44 |  | 42 | 44 | 0.22757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_200_1_line_45 |  | 42 | 45 | 0.1586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_200_1_line_46 |  | 43 | 61 | 0.097686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_200_1_line_47 |  | 44 | 62 | 0.12641 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_200_1_line_48 |  | 45 | 55 | 0.029089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_200_1_line_49 |  | 45 | 56 | 0.17706 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
50 | MV_200_1_line_50 |  | 45 | 49 | 0.085821 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
51 | MV_200_1_line_51 |  | 47 | 48 | 0.02702 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_200_1_line_52 |  | 47 | 49 | 0.072009 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
53 | MV_200_1_line_53 |  | 48 | 50 | 0.11798 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_200_1_line_54 |  | 48 | 51 | 0.024469 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_200_1_line_55 |  | 51 | 54 | 0.067892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_200_1_line_56 |  | 51 | 52 | 0.092251 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_200_1_line_57 |  | 52 | 53 | 0.011268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_200_1_line_58 |  | 53 | 77 | 0.075098 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_200_1_line_59 |  | 54 | 57 | 0.021577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_200_1_line_60 |  | 56 | 58 | 0.067892 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
61 | MV_200_1_line_61 |  | 57 | 82 | 0.02106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_200_1_line_62 |  | 58 | 59 | 0.060065 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
63 | MV_200_1_line_63 |  | 59 | 60 | 0.10341 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
64 | MV_200_1_line_64 |  | 60 | 81 | 0.12588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_200_1_line_65 |  | 63 | 64 | 0.040809 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_200_1_line_66 |  | 64 | 65 | 0.10573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_200_1_line_67 |  | 64 | 66 | 0.086635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_200_1_line_68 |  | 64 | 67 | 0.26177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_200_1_line_69 |  | 65 | 69 | 0.019053 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_200_1_line_70 |  | 66 | 71 | 0.032645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_200_1_line_71 |  | 67 | 72 | 0.46067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_200_1_line_72 |  | 67 | 73 | 0.037919 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_200_1_line_73 |  | 68 | 69 | 0.10092 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_200_1_line_74 |  | 68 | 70 | 0.048635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_200_1_line_75 |  | 70 | 77 | 0.005494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_200_1_line_76 |  | 72 | 78 | 0.011904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_200_1_line_77 |  | 73 | 79 | 0.49403 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_200_1_line_78 |  | 74 | 75 | 0.040893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_200_1_line_79 |  | 74 | 76 | 0.088908 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_200_1_line_80 |  | 74 | 77 | 0.06353 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_200_1_line_81 |  | 75 | 87 | 0.010218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_200_1_line_82 |  | 79 | 80 | 0.037479 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_200_1_line_83 |  | 80 | 88 | 2.2797 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_200_1_line_84 |  | 82 | 83 | 0.024581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_200_1_line_85 |  | 83 | 84 | 0.018452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_200_1_line_86 |  | 84 | 85 | 0.025708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_200_1_line_87 |  | 85 | 86 | 0.017777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_200_1_line_88 |  | 87 | 91 | 0.072966 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_200_1_line_89 |  | 88 | 89 | 0.004389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_200_1_line_90 |  | 89 | 90 | 0.14223 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_200_1_line_91 |  | 90 | 100 | 2.2723 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_200_1_line_92 |  | 91 | 92 | 0.11365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_200_1_line_93 |  | 92 | 93 | 0.032873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_200_1_line_94 |  | 93 | 94 | 0.046689 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_200_1_line_95 |  | 94 | 95 | 0.045746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_200_1_line_96 |  | 94 | 96 | 0.070723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_200_1_line_97 |  | 95 | 97 | 0.071141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_200_1_line_98 |  | 96 | 98 | 0.090554 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
99 | MV_200_1_line_99 |  | 98 | 99 | 0.023502 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_200_1_line_100 |  | 100 | 101 | 0.051728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_200_1_line_101 |  | 101 | 113 | 0.83283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_200_1_line_102 |  | 102 | 103 | 0.093325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_200_1_line_103 |  | 103 | 104 | 0.046233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_200_1_line_104 |  | 103 | 105 | 0.52356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_200_1_line_105 |  | 103 | 106 | 1.2196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_200_1_line_106 |  | 104 | 107 | 0.068491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_200_1_line_107 |  | 105 | 108 | 0.041033 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
108 | MV_200_1_line_108 |  | 106 | 109 | 0.19976 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
109 | MV_200_1_line_109 |  | 107 | 110 | 0.011773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_200_1_line_110 |  | 110 | 112 | 0.19182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_200_1_line_111 |  | 111 | 112 | 0.029897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_200_1_line_112 |  | 112 | 113 | 0.14474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_200_1_line_113 |  | 113 | 114 | 0.026346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_200_1_line_114 |  | 114 | 115 | 0.15254 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
115 | MV_200_1_line_115 |  | 115 | 116 | 0.11833 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_200_1_trafo_133 | 25 MVA 110/20 kV | 117 | 60 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2659613.3087 | 1135634.3636
1 | 2659586.6812 | 1135565.064
2 | 2657361.1442 | 1135011.3586
3 | 2657354.9689 | 1135018.9707
4 | 2655669.5676 | 1138484.353
5 | 2655199.6107 | 1138079.8159
6 | 2657305.6788 | 1135020.1816
7 | 2654639.7903 | 1137025.227
8 | 2654061.7806 | 1138427.7095
9 | 2657286.422 | 1135016.2303
10 | 2657301.5854 | 1135019.2757
11 | 2657268.5608 | 1134920.2657
12 | 2654305.5768 | 1138818.4855
13 | 2654290.5337 | 1138795.4544
14 | 2654343.3169 | 1138801.6656
15 | 2654252.1371 | 1138787.0939
16 | 2654042.1195 | 1138521.4829
17 | 2654250.0658 | 1138788.2092
18 | 2653683.9358 | 1138240.3527
19 | 2653641.5623 | 1138214.1959
20 | 2654053.1098 | 1138510.4309
21 | 2653615.9009 | 1138187.4429
22 | 2653223.6198 | 1138901.4932
23 | 2653442.5176 | 1138006.3339
24 | 2653432.6329 | 1138006.3464
25 | 2654050.6564 | 1138457.1365
26 | 2654352.7576 | 1138881.5815
27 | 2654366.0123 | 1138861.6347
28 | 2654398.4724 | 1138831.3888
29 | 2654388.1141 | 1138823.5136
30 | 2654430.8414 | 1138839.4513
31 | 2654332.7846 | 1138712.2572
32 | 2654447.277 | 1138889.4371
33 | 2654482.9699 | 1138871.2825
34 | 2654604.799 | 1139110.1527
35 | 2654660.166 | 1139184.0258
36 | 2654653.0513 | 1139226.5727
37 | 2654704.4472 | 1139168.1627
38 | 2654320.8862 | 1138679.7553
39 | 2655052.1911 | 1139755.543
40 | 2655080.3629 | 1139869.8267
41 | 2653200.8401 | 1138909.1854
42 | 2653176.1843 | 1138988.4321
43 | 2653069.3046 | 1138892.8087
44 | 2653119.0407 | 1139141.3429
45 | 2653276.4678 | 1139034.5844
46 | 2654099.034 | 1138473.8117
47 | 2653342.3104 | 1139172.9492
48 | 2653345.6266 | 1139199.7592
49 | 2653319.7826 | 1139108.6721
50 | 2653286.3287 | 1139278.4327
51 | 2653365.1232 | 1139208.3915
52 | 2653414.5391 | 1139286.2914
53 | 2653425.8319 | 1139285.9578
54 | 2653411.3139 | 1139165.2069
55 | 2653252.6069 | 1139049.8042
56 | 2653357.7531 | 1138935.4165
57 | 2653431.0827 | 1139156.7031
58 | 2653402.5608 | 1138959.8253
59 | 2653459.7226 | 1138941.3768
60 | 2653541.3419 | 1138877.8774
61 | 2652993.1222 | 1138831.6634
62 | 2653131.8466 | 1139267.0992
63 | 2653477.1706 | 1139654.5055
64 | 2653503.5623 | 1139623.3785
65 | 2653460.1574 | 1139527.1436
66 | 2653580.5867 | 1139600.0713
67 | 2653578.2065 | 1139871.7039
68 | 2653426.2926 | 1139412.0502
69 | 2653454.3581 | 1139508.9939
70 | 2653436.7678 | 1139365.0516
71 | 2653604.948 | 1139621.8766
72 | 2653457.7086 | 1140152.7392
73 | 2653548.2405 | 1139894.9392
74 | 2653497.4056 | 1139384.3763
75 | 2653511.8765 | 1139346.4957
76 | 2653576.4959 | 1139424.9875
77 | 2653438.7665 | 1139359.9332
78 | 2653468.1615 | 1140158.4903
79 | 2653200.6227 | 1139543.9053
80 | 2653186.5092 | 1139509.185
81 | 2653601.4178 | 1138965.0934
82 | 2653424.8695 | 1139136.6042
83 | 2653447.7663 | 1139127.7209
84 | 2653464.9913 | 1139121.1037
85 | 2653489.7919 | 1139114.9087
86 | 2653491.505 | 1139132.6027
87 | 2653521.5491 | 1139344.1357
88 | 2651058.7344 | 1140327.573
89 | 2651054.9401 | 1140329.7976
90 | 2650940.7241 | 1140245.0446
91 | 2653535.4736 | 1139272.5104
92 | 2653640.1945 | 1139289.2593
93 | 2653670.0423 | 1139275.3727
94 | 2653713.913 | 1139259.4543
95 | 2653745.7547 | 1139269.5651
96 | 2653665.5115 | 1139208.0082
97 | 2653806.3245 | 1139306.8795
98 | 2653738.4969 | 1139154.4067
99 | 2653725.876 | 1139134.5618
100 | 2652129.77 | 1138308.7224
101 | 2652117.8229 | 1138259.8938
102 | 2651974.7772 | 1137522.465
103 | 2652057.0864 | 1137564.9069
104 | 2652102.5012 | 1137574.2365
105 | 2651851.9382 | 1137610.211
106 | 2651667.7666 | 1137808.8926
107 | 2652169.7303 | 1137588.2684
108 | 2651858.1287 | 1137650.7742
109 | 2651596.6522 | 1137622.2208
110 | 2652181.239 | 1137590.9025
111 | 2652182.0247 | 1137708.6176
112 | 2652211.0941 | 1137715.5367
113 | 2652259.4926 | 1137834.1616
114 | 2652285.3623 | 1137831.4951
115 | 2652432.0891 | 1137789.7782
116 | 2652437.1234 | 1137671.56
117 | 2653541.3419 | 1138877.8774

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98187 | -0.076043 | 0.096455 | 0.046715
1 | 0.98188 | -0.076145 | 0 | 0
2 | 0.98231 | -0.072688 | 0.090885 | 0.044018
3 | 0.98231 | -0.072708 | 0 | 0
4 | 0.98294 | -0.071235 | 0.051624 | 0.025003
5 | 0.98298 | -0.071308 | 0 | 0
6 | 0.98233 | -0.072863 | 0 | 0
7 | 0.98538 | -0.050806 | 0.10366 | 0.050203
8 | 0.9901 | -0.012586 | 0 | 0
9 | 0.98235 | -0.07277 | 0 | 0
10 | 0.98233 | -0.07287 | 0.12168 | 0.058932
11 | 0.9823 | -0.073077 | 0.15762 | 0.076341
12 | 0.99018 | -0.013146 | 0.097436 | 0.047191
13 | 0.99019 | -0.013219 | 0 | 0
14 | 0.99017 | -0.013204 | 0.11352 | 0.054979
15 | 0.99018 | -0.013169 | 0 | 0
16 | 0.99034 | -0.014464 | 0 | 0
17 | 0.99018 | -0.013167 | 0.069268 | 0.033548
18 | 0.99229 | -0.029436 | 0 | 0
19 | 0.9925 | -0.027673 | 0.16038 | 0.077674
20 | 0.9903 | -0.014123 | 0.1641 | 0.079476
21 | 0.99261 | -0.028535 | 0 | 0
22 | 0.99727 | -0.06188 | 0 | 0
23 | 0.99259 | -0.028381 | 0 | 0
24 | 0.99259 | -0.028373 | 0.067259 | 0.032575
25 | 0.99017 | -0.013163 | 0.089345 | 0.043272
26 | 0.98074 | -0.085729 | 0.13751 | 0.0666
27 | 0.98075 | -0.08577 | 0 | 0
28 | 0.98076 | -0.085844 | 0 | 0
29 | 0.98077 | -0.085955 | 0 | 0
30 | 0.98073 | -0.085607 | 0.11051 | 0.053524
31 | 0.98091 | -0.087034 | 0 | 0
32 | 0.98067 | -0.086101 | 0.15166 | 0.073451
33 | 0.98065 | -0.085947 | 0 | 0
34 | 0.98049 | -0.084798 | 0 | 0
35 | 0.98041 | -0.085429 | 0.16012 | 0.07755
36 | 0.9804 | -0.085574 | 0 | 0
37 | 0.9804 | -0.085497 | 0.11529 | 0.05584
38 | 0.98094 | -0.087324 | 0.15575 | 0.075435
39 | 0.98026 | -0.084613 | 0 | 0
40 | 0.98023 | -0.084843 | 0.1555 | 0.075311
41 | 0.99738 | -0.062682 | 0.15479 | 0.074969
42 | 0.9978 | -0.059052 | 0 | 0
43 | 0.99777 | -0.058818 | 0 | 0
44 | 0.99775 | -0.058647 | 0 | 0
45 | 0.99838 | -0.063137 | 0 | 0
46 | 0.99017 | -0.013216 | 0.083834 | 0.040603
47 | 0.99787 | -0.078665 | 0.14597 | 0.070699
48 | 0.99781 | -0.079395 | 0 | 0
49 | 0.99801 | -0.07607 | 0 | 0
50 | 0.99779 | -0.079212 | 0.13594 | 0.065841
51 | 0.99775 | -0.080034 | 0 | 0
52 | 0.99716 | -0.084709 | 0 | 0
53 | 0.99711 | -0.084335 | 0.13908 | 0.067357
54 | 0.99768 | -0.079402 | 0.089446 | 0.043321
55 | 0.99838 | -0.063097 | 0.11627 | 0.056311
56 | 0.99896 | -0.052177 | 0 | 0
57 | 0.99766 | -0.079223 | 0.098274 | 0.047596
58 | 0.99918 | -0.047973 | 0.071913 | 0.034829
59 | 0.99948 | -0.030553 | 0.15054 | 0.072908
60 | 1 | 0 | -7.8617 | -3.533
61 | 0.99775 | -0.058972 | 0.12919 | 0.062568
62 | 0.99771 | -0.058898 | 0.16327 | 0.079077
63 | 0.99576 | -0.088356 | 0.14713 | 0.07126
64 | 0.99577 | -0.088282 | 0 | 0
65 | 0.99604 | -0.090158 | 0 | 0
66 | 0.99576 | -0.088153 | 0 | 0
67 | 0.9952 | -0.084399 | 0 | 0
68 | 0.9965 | -0.086971 | 0 | 0
69 | 0.99609 | -0.090494 | 0.13127 | 0.063575
70 | 0.99663 | -0.087903 | 0.11246 | 0.054468
71 | 0.99575 | -0.088101 | 0.13339 | 0.064606
72 | 0.99516 | -0.084146 | 0 | 0
73 | 0.99508 | -0.085423 | 0.15372 | 0.074448
74 | 0.99653 | -0.088819 | 0.13442 | 0.065102
75 | 0.99649 | -0.088497 | 0 | 0
76 | 0.9965 | -0.088968 | 0.13716 | 0.066431
77 | 0.99665 | -0.088015 | 0 | 0
78 | 0.99516 | -0.084136 | 0.07597 | 0.036794
79 | 0.99368 | -0.097835 | 0.10921 | 0.052894
80 | 0.99358 | -0.098727 | 0 | 0
81 | 0.99998 | 0.00016116 | 0.11502 | 0.055705
82 | 0.99765 | -0.079072 | 0.1388 | 0.067224
83 | 0.99763 | -0.078937 | 0.11763 | 0.056972
84 | 0.99762 | -0.07886 | 0.095219 | 0.046117
85 | 0.99762 | -0.078782 | 0.16386 | 0.079361
86 | 0.99761 | -0.078763 | 0.092078 | 0.044595
87 | 0.99648 | -0.088416 | 0.083211 | 0.040301
88 | 0.98759 | -0.15305 | 0.082624 | 0.040017
89 | 0.98758 | -0.153 | 0.10448 | 0.050601
90 | 0.98726 | -0.15606 | 0.14619 | 0.070804
91 | 0.9964 | -0.089016 | 0 | 0
92 | 0.99631 | -0.088219 | 0.1615 | 0.07822
93 | 0.99629 | -0.088049 | 0 | 0
94 | 0.99626 | -0.087804 | 0 | 0
95 | 0.99625 | -0.087735 | 0 | 0
96 | 0.99623 | -0.087533 | 0.164 | 0.079429
97 | 0.99623 | -0.087847 | 0.12909 | 0.062522
98 | 0.9962 | -0.087717 | 0 | 0
99 | 0.9962 | -0.087671 | 0.16296 | 0.078926
100 | 0.98277 | -0.2008 | 0.10379 | 0.050268
101 | 0.98271 | -0.20045 | 0 | 0
102 | 0.98147 | -0.19341 | 0.060741 | 0.029418
103 | 0.98148 | -0.19347 | 0 | 0
104 | 0.98149 | -0.1935 | 0 | 0
105 | 0.98139 | -0.19279 | 0 | 0
106 | 0.98136 | -0.19344 | 0 | 0
107 | 0.98152 | -0.19353 | 0.10412 | 0.050429
108 | 0.98138 | -0.19286 | 0.13652 | 0.066119
109 | 0.98133 | -0.19364 | 0.077869 | 0.037714
110 | 0.98152 | -0.19355 | 0 | 0
111 | 0.98161 | -0.19379 | 0.1639 | 0.079382
112 | 0.98161 | -0.19385 | 0 | 0
113 | 0.98171 | -0.19433 | 0 | 0
114 | 0.9817 | -0.1942 | 0.16277 | 0.078831
115 | 0.98163 | -0.19464 | 0.09087 | 0.04401
116 | 0.9816 | -0.19485 | 0.13939 | 0.067511
117 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.096455 | -0.046715 | 0.096457 | 0.044645 | 1.1822e-06 | -0.00207 | 0.0031509 | 0.0031249 | 0.0031509 | 0.98187 | -0.076043 | 0.98188 | -0.076145 | 1.4322
1 | -0.096457 | -0.044645 | 0.096496 | 0.04203 | 3.949e-05 | -0.002616 | 0.0031249 | 0.0030931 | 0.0031249 | 0.98188 | -0.076145 | 0.98231 | -0.072688 | 1.488
2 | -0.18738 | -0.086047 | 0.18738 | 0.085818 | 4.8672e-07 | -0.00022872 | 0.0060595 | 0.0060567 | 0.0060595 | 0.98231 | -0.072688 | 0.98231 | -0.072708 | 2.7543
3 | -0.18738 | -0.085818 | 0.18739 | 0.083977 | 3.9026e-06 | -0.0018417 | 0.0060567 | 0.0060343 | 0.0060567 | 0.98231 | -0.072708 | 0.98233 | -0.072863 | 2.753
4 | -0.051624 | -0.025003 | 0.051627 | 0.008749 | 2.3933e-06 | -0.016254 | 0.0016846 | 0.0015378 | 0.0016846 | 0.98294 | -0.071235 | 0.98298 | -0.071308 | 0.76573
5 | 0.98865 | 0.44802 | -0.98672 | -0.44804 | 0.0019271 | -1.7734e-05 | 0.031876 | 0.031891 | 0.031891 | 0.98298 | -0.071308 | 0.98094 | -0.087324 | 15.1861
6 | -1.0403 | -0.45677 | 1.0426 | 0.45687 | 0.002367 | 0.000102 | 0.033365 | 0.033349 | 0.033365 | 0.98298 | -0.071308 | 0.98538 | -0.050806 | 15.8882
7 | -0.18739 | -0.083977 | 0.18739 | 0.08388 | 2.032e-07 | -9.627e-05 | 0.0060343 | 0.0060332 | 0.0060343 | 0.98233 | -0.072863 | 0.98233 | -0.07287 | 2.7429
8 | -1.6144 | -0.7231 | 1.6216 | 0.72588 | 0.0072551 | 0.0027776 | 0.051822 | 0.051801 | 0.051822 | 0.98538 | -0.050806 | 0.9901 | -0.012586 | 24.677
9 | 0.46806 | 0.21603 | -0.4667 | -0.21902 | 0.0013545 | -0.0029913 | 0.015102 | 0.01515 | 0.01515 | 0.98538 | -0.050806 | 0.98235 | -0.07277 | 7.2142
10 | -1.6216 | -0.72588 | 1.6217 | 0.72507 | 0.00013005 | -0.00081137 | 0.051801 | 0.05179 | 0.051801 | 0.9901 | -0.012586 | 0.99017 | -0.013163 | 23.5457
11 | 0.4667 | 0.21902 | -0.4667 | -0.21904 | 6.3246e-06 | -1.3856e-05 | 0.01515 | 0.01515 | 0.01515 | 0.98235 | -0.07277 | 0.98233 | -0.07287 | 7.2143
12 | 0.15763 | 0.076224 | -0.15762 | -0.076341 | 4.9247e-06 | -0.00011715 | 0.0051454 | 0.0051469 | 0.0051469 | 0.98233 | -0.07287 | 0.9823 | -0.073077 | 2.4509
13 | -0.21095 | -0.10212 | 0.21096 | 0.10145 | 1.7799e-06 | -0.00066881 | 0.0068329 | 0.0068244 | 0.0068329 | 0.99018 | -0.013146 | 0.99019 | -0.013219 | 3.1058
14 | 0.11352 | 0.054931 | -0.11352 | -0.054979 | 9.9527e-07 | -4.7739e-05 | 0.0036766 | 0.0036772 | 0.0036772 | 0.99018 | -0.013146 | 0.99017 | -0.013204 | 1.751
15 | 0.069268 | 0.032017 | -0.069268 | -0.033493 | 4.2008e-07 | -0.0014761 | 0.0022247 | 0.0022431 | 0.0022431 | 0.99019 | -0.013219 | 0.99018 | -0.013169 | 1.0196
16 | -0.28022 | -0.13347 | 0.28027 | 0.12361 | 4.5474e-05 | -0.0098591 | 0.0090489 | 0.0089289 | 0.0090489 | 0.99019 | -0.013219 | 0.99034 | -0.014464 | 4.1131
17 | 0.069268 | 0.033493 | -0.069268 | -0.033548 | 1.5765e-08 | -5.4938e-05 | 0.0022431 | 0.0022438 | 0.0022438 | 0.99018 | -0.013169 | 0.99018 | -0.013167 | 1.0199
18 | 1.9593 | 0.8868 | -1.9593 | -0.88718 | 9.005e-05 | -0.00037515 | 0.06269 | 0.062695 | 0.062695 | 0.99034 | -0.014464 | 0.9903 | -0.014123 | 28.4979
19 | -2.2396 | -1.0104 | 2.2443 | 0.99578 | 0.0046627 | -0.014636 | 0.071619 | 0.071428 | 0.071619 | 0.99034 | -0.014464 | 0.99229 | -0.029436 | 32.5541
20 | -2.2443 | -0.99578 | 2.2447 | 0.996 | 0.00045266 | 0.00022499 | 0.071428 | 0.071428 | 0.071428 | 0.99229 | -0.029436 | 0.9925 | -0.027673 | 34.0136
21 | -2.4051 | -1.0737 | 2.4054 | 1.0729 | 0.00029005 | -0.00078488 | 0.076608 | 0.076598 | 0.076608 | 0.9925 | -0.027673 | 0.99261 | -0.028535 | 34.8219
22 | 1.7952 | 0.8077 | -1.7949 | -0.80888 | 0.00023542 | -0.0011837 | 0.057382 | 0.057397 | 0.057397 | 0.9903 | -0.014123 | 0.99017 | -0.013163 | 26.0897
23 | -2.4727 | -1.0993 | 2.4849 | 1.0678 | 0.012227 | -0.031508 | 0.078697 | 0.078289 | 0.078697 | 0.99261 | -0.028535 | 0.99727 | -0.06188 | 35.7715
24 | 0.06726 | 0.026418 | -0.067259 | -0.032343 | 1.5322e-06 | -0.0059251 | 0.0021016 | 0.0021705 | 0.0021705 | 0.99261 | -0.028535 | 0.99259 | -0.028381 | 0.98659
25 | -2.4849 | -1.0678 | 2.4852 | 1.067 | 0.00030984 | -0.0008075 | 0.078289 | 0.078279 | 0.078289 | 0.99727 | -0.06188 | 0.99738 | -0.062682 | 35.5859
26 | 0.067259 | 0.032343 | -0.067259 | -0.032575 | 6.2088e-08 | -0.00023183 | 0.0021705 | 0.0021734 | 0.0021734 | 0.99259 | -0.028381 | 0.99259 | -0.028373 | 0.98792
27 | 0.083835 | 0.040543 | -0.083834 | -0.040603 | 6.722e-07 | -5.9472e-05 | 0.0027149 | 0.0027157 | 0.0027157 | 0.99017 | -0.013163 | 0.99017 | -0.013216 | 1.2932
28 | -0.13751 | -0.0666 | 0.13751 | 0.066048 | 6.4808e-07 | -0.0005519 | 0.0044973 | 0.0044902 | 0.0044973 | 0.98074 | -0.085729 | 0.98075 | -0.08577 | 2.0442
29 | -0.13751 | -0.066048 | 0.13751 | 0.065021 | 1.2011e-06 | -0.0010274 | 0.0044902 | 0.0044772 | 0.0044902 | 0.98075 | -0.08577 | 0.98076 | -0.085844 | 2.041
30 | -0.8308 | -0.37656 | 0.83081 | 0.37626 | 1.2499e-05 | -0.00029463 | 0.026848 | 0.026845 | 0.026848 | 0.98076 | -0.085844 | 0.98077 | -0.085955 | 12.2037
31 | 0.69329 | 0.31154 | -0.69326 | -0.3123 | 2.248e-05 | -0.00076568 | 0.022372 | 0.022381 | 0.022381 | 0.98076 | -0.085844 | 0.98073 | -0.085607 | 10.1732
32 | -0.83081 | -0.37626 | 0.83093 | 0.37339 | 0.00012188 | -0.0028776 | 0.026845 | 0.026809 | 0.026845 | 0.98077 | -0.085955 | 0.98091 | -0.087034 | 12.2021
33 | 0.58275 | 0.25878 | -0.58272 | -0.25882 | 3.3025e-05 | -3.9729e-05 | 0.018768 | 0.018769 | 0.018769 | 0.98073 | -0.085607 | 0.98067 | -0.086101 | 8.9376
34 | -0.83093 | -0.37339 | 0.83097 | 0.3726 | 3.3194e-05 | -0.00078521 | 0.026809 | 0.0268 | 0.026809 | 0.98091 | -0.087034 | 0.98094 | -0.087324 | 12.1861
35 | 0.43106 | 0.18537 | -0.43105 | -0.18629 | 1.0227e-05 | -0.00091824 | 0.013812 | 0.013823 | 0.013823 | 0.98067 | -0.086101 | 0.98065 | -0.085947 | 6.2832
36 | 0.43105 | 0.18629 | -0.43098 | -0.19272 | 7.2076e-05 | -0.0064297 | 0.013823 | 0.0139 | 0.0139 | 0.98065 | -0.085947 | 0.98049 | -0.084798 | 6.318
37 | 0.43098 | 0.19272 | -0.43094 | -0.1928 | 3.1781e-05 | -8.6037e-05 | 0.0139 | 0.013901 | 0.013901 | 0.98049 | -0.084798 | 0.98041 | -0.085429 | 6.6195
38 | 0.15553 | 0.059466 | -0.15553 | -0.059514 | 1.8476e-06 | -4.8342e-05 | 0.0049027 | 0.0049032 | 0.0049032 | 0.98041 | -0.085429 | 0.9804 | -0.085574 | 2.3349
39 | 0.1153 | 0.055786 | -0.11529 | -0.05584 | 1.1922e-06 | -5.3227e-05 | 0.0037713 | 0.003772 | 0.003772 | 0.98041 | -0.085429 | 0.9804 | -0.085497 | 1.7962
40 | 0.15553 | 0.059514 | -0.1555 | -0.075179 | 2.2707e-05 | -0.015666 | 0.0049032 | 0.0050865 | 0.0050865 | 0.9804 | -0.085574 | 0.98026 | -0.084613 | 2.312
41 | 0.1555 | 0.075179 | -0.1555 | -0.075311 | 5.4276e-06 | -0.00013162 | 0.0050865 | 0.0050882 | 0.0050882 | 0.98026 | -0.084613 | 0.98023 | -0.084843 | 2.423
42 | -2.64 | -1.142 | 2.641 | 1.1425 | 0.0010249 | 0.00054333 | 0.083252 | 0.083251 | 0.083252 | 0.99738 | -0.062682 | 0.9978 | -0.059052 | 39.6437
43 | 0.12919 | 0.058555 | -0.12919 | -0.062454 | 3.7316e-06 | -0.0038993 | 0.0041037 | 0.0041516 | 0.0041516 | 0.9978 | -0.059052 | 0.99777 | -0.058818 | 1.8871
44 | 0.16329 | 0.073524 | -0.16328 | -0.078931 | 8.2578e-06 | -0.0054069 | 0.0051809 | 0.0052471 | 0.0052471 | 0.9978 | -0.059052 | 0.99775 | -0.058647 | 2.3851
45 | -2.9335 | -1.2746 | 2.9353 | 1.2714 | 0.0018121 | -0.0032348 | 0.092534 | 0.092491 | 0.092534 | 0.9978 | -0.059052 | 0.99838 | -0.063137 | 42.061
46 | 0.12919 | 0.062454 | -0.12919 | -0.062568 | 3.0009e-06 | -0.00011422 | 0.0041516 | 0.004153 | 0.004153 | 0.99777 | -0.058818 | 0.99775 | -0.058972 | 1.9776
47 | 0.16328 | 0.078931 | -0.16327 | -0.079077 | 6.2031e-06 | -0.00014634 | 0.0052471 | 0.005249 | 0.005249 | 0.99775 | -0.058647 | 0.99771 | -0.058898 | 2.4995
48 | 0.11627 | 0.055619 | -0.11627 | -0.056311 | 5.4059e-07 | -0.00069213 | 0.0037267 | 0.0037354 | 0.0037354 | 0.99838 | -0.063137 | 0.99838 | -0.063097 | 1.6979
49 | -7.5017 | -3.3577 | 7.5053 | 3.3543 | 0.0036585 | -0.0033875 | 0.23764 | 0.23756 | 0.23764 | 0.99838 | -0.063137 | 0.99896 | -0.052177 | 56.4469
50 | 4.4501 | 2.0307 | -4.4489 | -2.0291 | 0.0012237 | 0.001661 | 0.14144 | 0.14144 | 0.14144 | 0.99838 | -0.063137 | 0.99801 | -0.07607 | 34.4968
51 | 4.3024 | 1.9606 | -4.3021 | -1.9614 | 0.00024418 | -0.0007455 | 0.13678 | 0.13679 | 0.13679 | 0.99787 | -0.078665 | 0.99781 | -0.079395 | 37.7873
52 | -4.4484 | -2.0313 | 4.4489 | 2.0291 | 0.00052734 | -0.0022554 | 0.14147 | 0.14144 | 0.14147 | 0.99787 | -0.078665 | 0.99801 | -0.07607 | 33.6033
53 | 0.13595 | 0.063037 | -0.13594 | -0.065841 | 2.9838e-06 | -0.0028036 | 0.0043353 | 0.0043701 | 0.0043701 | 0.99781 | -0.079395 | 0.99779 | -0.079212 | 1.9864
54 | 4.1662 | 1.8983 | -4.166 | -1.899 | 0.00020737 | -0.00068503 | 0.13245 | 0.13246 | 0.13246 | 0.99781 | -0.079395 | 0.99775 | -0.080034 | 36.5925
55 | 0.79541 | 0.38053 | -0.79535 | -0.38213 | 5.9034e-05 | -0.0015961 | 0.025511 | 0.025531 | 0.025531 | 0.99775 | -0.080034 | 0.99768 | -0.079402 | 11.6052
56 | 3.3706 | 1.5185 | -3.3687 | -1.5174 | 0.0018804 | 0.0010682 | 0.10696 | 0.10696 | 0.10696 | 0.99775 | -0.080034 | 0.99716 | -0.084709 | 50.9335
57 | 3.3687 | 1.5174 | -3.3685 | -1.5176 | 0.0001721 | -0.00021645 | 0.10696 | 0.10696 | 0.10696 | 0.99716 | -0.084709 | 0.99711 | -0.084335 | 48.6198
58 | 3.2295 | 1.4503 | -3.228 | -1.4495 | 0.0014055 | 0.00079129 | 0.10249 | 0.10249 | 0.10249 | 0.99711 | -0.084335 | 0.99665 | -0.088015 | 48.806
59 | 0.7059 | 0.33881 | -0.70589 | -0.33932 | 1.479e-05 | -0.0005084 | 0.022656 | 0.022662 | 0.022662 | 0.99768 | -0.079402 | 0.99766 | -0.079223 | 10.301
60 | -7.5053 | -3.3543 | 7.5067 | 3.353 | 0.0014022 | -0.0013015 | 0.23756 | 0.23753 | 0.23756 | 0.99896 | -0.052177 | 0.99918 | -0.047973 | 56.428
61 | 0.60761 | 0.29172 | -0.6076 | -0.29222 | 1.0697e-05 | -0.0004973 | 0.019503 | 0.019509 | 0.019509 | 0.99766 | -0.079223 | 0.99765 | -0.079072 | 8.8677
62 | -7.5787 | -3.3878 | 7.5799 | 3.3911 | 0.0012335 | 0.003234 | 0.23984 | 0.23984 | 0.23984 | 0.99918 | -0.047973 | 0.99948 | -0.030553 | 37.1843
63 | -7.7304 | -3.464 | 7.7326 | 3.4698 | 0.0022099 | 0.0057998 | 0.24467 | 0.24466 | 0.24467 | 0.99948 | -0.030553 | 1 | 0 | 37.9328
64 | 0.11502 | 0.0527 | -0.11502 | -0.055705 | 2.264e-06 | -0.0030048 | 0.0036522 | 0.0036892 | 0.0036892 | 1 | 0 | 0.99998 | 0.00016116 | 1.6769
65 | -0.14713 | -0.07126 | 0.14714 | 0.071213 | 1.633e-06 | -4.7284e-05 | 0.0047394 | 0.0047388 | 0.0047394 | 0.99576 | -0.088356 | 0.99577 | -0.088282 | 2.2569
66 | -2.0098 | -0.87348 | 2.0104 | 0.87114 | 0.00056942 | -0.0023349 | 0.06353 | 0.063501 | 0.06353 | 0.99577 | -0.088282 | 0.99604 | -0.090158 | 28.8773
67 | 0.1334 | 0.061783 | -0.1334 | -0.063833 | 2.1132e-06 | -0.0020504 | 0.0042618 | 0.0042872 | 0.0042872 | 0.99577 | -0.088282 | 0.99576 | -0.088153 | 1.9487
68 | 1.7293 | 0.74048 | -1.7283 | -0.74637 | 0.0010407 | -0.005885 | 0.054535 | 0.054606 | 0.054606 | 0.99577 | -0.088282 | 0.9952 | -0.084399 | 24.821
69 | -2.0104 | -0.87114 | 2.0105 | 0.87072 | 0.00010256 | -0.00042092 | 0.063501 | 0.063496 | 0.063501 | 0.99604 | -0.090158 | 0.99609 | -0.090494 | 28.8641
70 | 0.1334 | 0.063833 | -0.13339 | -0.064606 | 8.0282e-07 | -0.0007726 | 0.0042872 | 0.0042969 | 0.0042969 | 0.99576 | -0.088153 | 0.99575 | -0.088101 | 1.9531
71 | 0.075974 | 0.02562 | -0.07597 | -0.036512 | 3.4861e-06 | -0.010892 | 0.0023257 | 0.002445 | 0.002445 | 0.9952 | -0.084399 | 0.99516 | -0.084146 | 1.1114
72 | 1.6523 | 0.72075 | -1.6521 | -0.72068 | 0.00018472 | 7.0873e-05 | 0.052289 | 0.052289 | 0.052289 | 0.9952 | -0.084399 | 0.99508 | -0.085423 | 24.8997
73 | 2.1426 | 0.93469 | -2.1418 | -0.9343 | 0.00082461 | 0.00039691 | 0.067718 | 0.067719 | 0.067719 | 0.9965 | -0.086971 | 0.99609 | -0.090494 | 32.2473
74 | -2.1426 | -0.93469 | 2.1429 | 0.93363 | 0.00029768 | -0.001065 | 0.067718 | 0.067705 | 0.067718 | 0.9965 | -0.086971 | 0.99663 | -0.087903 | 30.7808
75 | -2.2554 | -0.9881 | 2.2554 | 0.98798 | 3.7308e-05 | -0.00011923 | 0.071321 | 0.07132 | 0.071321 | 0.99663 | -0.087903 | 0.99665 | -0.088015 | 32.4187
76 | 0.07597 | 0.036512 | -0.07597 | -0.036794 | 9.5144e-08 | -0.00028145 | 0.002445 | 0.0024486 | 0.0024486 | 0.99516 | -0.084146 | 0.99516 | -0.084136 | 1.113
77 | 1.4984 | 0.64623 | -1.4964 | -0.64558 | 0.0019728 | 0.00065253 | 0.047339 | 0.047346 | 0.047346 | 0.99508 | -0.085423 | 0.99368 | -0.097835 | 22.5455
78 | 0.70095 | 0.33009 | -0.70093 | -0.33105 | 2.7515e-05 | -0.0009614 | 0.022444 | 0.022456 | 0.022456 | 0.99653 | -0.088819 | 0.99649 | -0.088497 | 10.2073
79 | 0.13717 | 0.066328 | -0.13716 | -0.066431 | 3.0867e-06 | -0.00010347 | 0.0044136 | 0.0044149 | 0.0044149 | 0.99653 | -0.088819 | 0.9965 | -0.088968 | 2.1024
80 | -0.97254 | -0.46151 | 0.97265 | 0.46151 | 0.00011007 | -6.383e-06 | 0.031184 | 0.031183 | 0.031184 | 0.99653 | -0.088819 | 0.99665 | -0.088015 | 14.8494
81 | 0.70093 | 0.33105 | -0.70092 | -0.33129 | 6.8797e-06 | -0.00024021 | 0.022456 | 0.022459 | 0.022459 | 0.99649 | -0.088497 | 0.99648 | -0.088416 | 10.2087
82 | 1.3872 | 0.59268 | -1.3871 | -0.59265 | 0.00012825 | 3.6156e-05 | 0.043824 | 0.043824 | 0.043824 | 0.99368 | -0.097835 | 0.99358 | -0.098727 | 20.8688
83 | 1.3871 | 0.59265 | -1.3793 | -0.59043 | 0.0078065 | 0.0022192 | 0.043824 | 0.043855 | 0.043855 | 0.99358 | -0.098727 | 0.98759 | -0.15305 | 20.8834
84 | 0.4688 | 0.22499 | -0.46879 | -0.22557 | 7.433e-06 | -0.00058194 | 0.015046 | 0.015054 | 0.015054 | 0.99765 | -0.079072 | 0.99763 | -0.078937 | 6.8426
85 | 0.35116 | 0.1686 | -0.35116 | -0.16904 | 3.1313e-06 | -0.00043756 | 0.011272 | 0.011277 | 0.011277 | 0.99763 | -0.078937 | 0.99762 | -0.07886 | 5.126
86 | 0.25594 | 0.12292 | -0.25594 | -0.12353 | 2.3187e-06 | -0.00061019 | 0.0082158 | 0.0082235 | 0.0082235 | 0.99762 | -0.07886 | 0.99762 | -0.078782 | 3.738
87 | 0.092078 | 0.044173 | -0.092078 | -0.044595 | 2.0763e-07 | -0.00042236 | 0.0029552 | 0.0029605 | 0.0029605 | 0.99762 | -0.078782 | 0.99761 | -0.078763 | 1.3457
88 | 0.61771 | 0.29099 | -0.61766 | -0.29104 | 5.0871e-05 | -5.4625e-05 | 0.019781 | 0.019782 | 0.019782 | 0.99648 | -0.088416 | 0.9964 | -0.089016 | 9.4199
89 | 1.2966 | 0.55041 | -1.2966 | -0.55051 | 9.9339e-06 | -9.926e-05 | 0.041175 | 0.041176 | 0.041176 | 0.98759 | -0.15305 | 0.98758 | -0.153 | 18.7163
90 | 1.1922 | 0.49991 | -1.1918 | -0.49985 | 0.00036185 | 6.1102e-05 | 0.037787 | 0.037789 | 0.037789 | 0.98758 | -0.153 | 0.98726 | -0.15606 | 17.9948
91 | 1.0456 | 0.42904 | -1.0412 | -0.4289 | 0.0044254 | 0.00013996 | 0.033047 | 0.033077 | 0.033077 | 0.98726 | -0.15606 | 0.98277 | -0.2008 | 15.7508
92 | 0.61766 | 0.29104 | -0.6176 | -0.29372 | 5.9474e-05 | -0.0026762 | 0.019782 | 0.019815 | 0.019815 | 0.9964 | -0.089016 | 0.99631 | -0.088219 | 9.0069
93 | 0.4561 | 0.2155 | -0.45609 | -0.21627 | 9.3813e-06 | -0.00077629 | 0.014616 | 0.014626 | 0.014626 | 0.99631 | -0.088219 | 0.99629 | -0.088049 | 6.648
94 | 0.45609 | 0.21627 | -0.45607 | -0.21738 | 1.3345e-05 | -0.0011025 | 0.014626 | 0.014639 | 0.014639 | 0.99629 | -0.088049 | 0.99626 | -0.087804 | 6.6543
95 | 0.12909 | 0.061355 | -0.12909 | -0.062439 | 1.051e-06 | -0.0010838 | 0.0041416 | 0.0041552 | 0.0041552 | 0.99626 | -0.087804 | 0.99625 | -0.087735 | 1.8887
96 | 0.32698 | 0.15602 | -0.32697 | -0.15769 | 1.0426e-05 | -0.0016728 | 0.010498 | 0.010519 | 0.010519 | 0.99626 | -0.087804 | 0.99623 | -0.087533 | 4.7813
97 | 0.12909 | 0.062439 | -0.12909 | -0.062522 | 2.189e-06 | -8.2921e-05 | 0.0041552 | 0.0041563 | 0.0041563 | 0.99625 | -0.087735 | 0.99623 | -0.087847 | 1.9792
98 | 0.16297 | 0.078265 | -0.16296 | -0.078369 | 4.4288e-06 | -0.00010451 | 0.0052386 | 0.0052399 | 0.0052399 | 0.99623 | -0.087533 | 0.9962 | -0.087717 | 2.4952
99 | 0.16296 | 0.078369 | -0.16296 | -0.078926 | 8.6263e-07 | -0.00055662 | 0.0052399 | 0.005247 | 0.005247 | 0.9962 | -0.087717 | 0.9962 | -0.087671 | 2.385
100 | 0.93739 | 0.37864 | -0.93733 | -0.37981 | 6.0925e-05 | -0.0011747 | 0.029696 | 0.029709 | 0.029709 | 0.98277 | -0.2008 | 0.98271 | -0.20045 | 13.5042
101 | 0.93733 | 0.37981 | -0.93634 | -0.3987 | 0.00098843 | -0.01889 | 0.029709 | 0.029925 | 0.029925 | 0.98271 | -0.20045 | 0.98171 | -0.19433 | 13.6025
102 | -0.060741 | -0.029418 | 0.060742 | 0.027272 | 4.8426e-07 | -0.0021463 | 0.0019851 | 0.0019584 | 0.0019851 | 0.98147 | -0.19341 | 0.98148 | -0.19347 | 0.9023
103 | -0.27516 | -0.09075 | 0.27516 | 0.089688 | 4.477e-06 | -0.001062 | 0.0085217 | 0.008512 | 0.0085217 | 0.98148 | -0.19347 | 0.98149 | -0.1935 | 3.8735
104 | 0.13653 | 0.054036 | -0.13652 | -0.066072 | 1.3452e-05 | -0.012037 | 0.0043188 | 0.0044613 | 0.0044613 | 0.98148 | -0.19347 | 0.98139 | -0.19279 | 2.0279
105 | 0.07788 | 0.0094417 | -0.077871 | -0.037485 | 9.3184e-06 | -0.028044 | 0.0023074 | 0.0025422 | 0.0025422 | 0.98148 | -0.19347 | 0.98136 | -0.19344 | 1.1556
106 | -0.27516 | -0.089688 | 0.27517 | 0.088114 | 6.6137e-06 | -0.0015734 | 0.008512 | 0.0084977 | 0.008512 | 0.98149 | -0.1935 | 0.98152 | -0.19353 | 3.8691
107 | 0.13652 | 0.066072 | -0.13652 | -0.066119 | 1.4553e-06 | -4.6267e-05 | 0.0044613 | 0.0044619 | 0.0044619 | 0.98139 | -0.19279 | 0.98138 | -0.19286 | 2.1247
108 | 0.077871 | 0.037485 | -0.077869 | -0.037714 | 2.3029e-06 | -0.00022822 | 0.0025422 | 0.0025452 | 0.0025452 | 0.98136 | -0.19344 | 0.98133 | -0.19364 | 1.212
109 | -0.37929 | -0.13854 | 0.37929 | 0.13827 | 2.2163e-06 | -0.00027014 | 0.011876 | 0.011873 | 0.011876 | 0.98152 | -0.19353 | 0.98152 | -0.19355 | 5.3983
110 | -0.37929 | -0.13827 | 0.37933 | 0.13387 | 3.5968e-05 | -0.004402 | 0.011873 | 0.01183 | 0.011873 | 0.98152 | -0.19355 | 0.98161 | -0.19385 | 5.397
111 | -0.1639 | -0.079382 | 0.1639 | 0.078694 | 1.143e-06 | -0.00068748 | 0.0053557 | 0.0053469 | 0.0053557 | 0.98161 | -0.19379 | 0.98161 | -0.19385 | 2.4344
112 | -0.54323 | -0.21256 | 0.54329 | 0.20925 | 5.6748e-05 | -0.0033134 | 0.017155 | 0.017119 | 0.017155 | 0.98161 | -0.19385 | 0.98171 | -0.19433 | 7.7977
113 | 0.39305 | 0.18945 | -0.39305 | -0.19005 | 5.7934e-06 | -0.00060452 | 0.01283 | 0.012838 | 0.012838 | 0.98171 | -0.19433 | 0.9817 | -0.1942 | 5.8355
114 | 0.23028 | 0.11122 | -0.23027 | -0.11139 | 1.5374e-05 | -0.00016586 | 0.00752 | 0.0075223 | 0.0075223 | 0.9817 | -0.1942 | 0.98163 | -0.19464 | 3.582
115 | 0.1394 | 0.067377 | -0.13939 | -0.067511 | 4.3721e-06 | -0.00013337 | 0.0045531 | 0.0045548 | 0.0045548 | 0.98163 | -0.19464 | 0.9816 | -0.19485 | 2.169

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.9471 | 3.5744

## res_load
| p_mw | q_mvar
0 | 0.096455 | 0.046715
1 | 0.090885 | 0.044018
2 | 0.051624 | 0.025003
3 | 0.10366 | 0.050203
4 | 0.12168 | 0.058932
5 | 0.15762 | 0.076341
6 | 0.097436 | 0.047191
7 | 0.11352 | 0.054979
8 | 0.069268 | 0.033548
9 | 0.16038 | 0.077674
10 | 0.1641 | 0.079476
11 | 0.067259 | 0.032575
12 | 0.089345 | 0.043272
13 | 0.13751 | 0.0666
14 | 0.11051 | 0.053524
15 | 0.15166 | 0.073451
16 | 0.16012 | 0.07755
17 | 0.11529 | 0.05584
18 | 0.15575 | 0.075435
19 | 0.1555 | 0.075311
20 | 0.15479 | 0.074969
21 | 0.083834 | 0.040603
22 | 0.14597 | 0.070699
23 | 0.13594 | 0.065841
24 | 0.13908 | 0.067357
25 | 0.089446 | 0.043321
26 | 0.11627 | 0.056311
27 | 0.098274 | 0.047596
28 | 0.071913 | 0.034829
29 | 0.15054 | 0.072908
30 | 0.085472 | 0.041396
31 | 0.12919 | 0.062568
32 | 0.16327 | 0.079077
33 | 0.14713 | 0.07126
34 | 0.13127 | 0.063575
35 | 0.11246 | 0.054468
36 | 0.13339 | 0.064606
37 | 0.15372 | 0.074448
38 | 0.13442 | 0.065102
39 | 0.13716 | 0.066431
40 | 0.07597 | 0.036794
41 | 0.10921 | 0.052894
42 | 0.11502 | 0.055705
43 | 0.1388 | 0.067224
44 | 0.11763 | 0.056972
45 | 0.095219 | 0.046117
46 | 0.16386 | 0.079361
47 | 0.092078 | 0.044595
48 | 0.083211 | 0.040301
49 | 0.082624 | 0.040017
50 | 0.10448 | 0.050601
51 | 0.14619 | 0.070804
52 | 0.1615 | 0.07822
53 | 0.164 | 0.079429
54 | 0.12909 | 0.062522
55 | 0.16296 | 0.078926
56 | 0.10379 | 0.050268
57 | 0.060741 | 0.029418
58 | 0.10412 | 0.050429
59 | 0.13652 | 0.066119
60 | 0.077869 | 0.037714
61 | 0.1639 | 0.079382
62 | 0.16277 | 0.078831
63 | 0.09087 | 0.04401
64 | 0.13939 | 0.067511

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1