## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_204_1_node_146 | 20 | n |  | TRUE
1 | bus_MV_204_1_node_147 | 20 | n |  | TRUE
2 | bus_MV_204_1_node_148 | 20 | n |  | TRUE
3 | bus_MV_204_1_node_210 | 20 | n |  | TRUE
4 | bus_MV_204_1_node_149 | 20 | n |  | TRUE
5 | bus_MV_204_1_node_151 | 20 | n |  | TRUE
6 | bus_MV_204_1_node_150 | 20 | n |  | TRUE
7 | bus_MV_204_1_node_209 | 20 | n |  | TRUE
8 | bus_MV_204_1_node_152 | 20 | n |  | TRUE
9 | bus_MV_204_1_node_153 | 20 | n |  | TRUE
10 | bus_MV_204_1_node_154 | 20 | n |  | TRUE
11 | bus_MV_204_1_node_217 | 20 | n |  | TRUE
12 | bus_MV_204_1_node_157 | 20 | n |  | TRUE
13 | bus_MV_204_1_node_155 | 20 | n |  | TRUE
14 | bus_MV_204_1_node_208 | 20 | n |  | TRUE
15 | bus_MV_204_1_node_214 | 20 | n |  | TRUE
16 | bus_MV_204_1_node_156 | 20 | n |  | TRUE
17 | bus_MV_204_1_node_158 | 20 | n |  | TRUE
18 | bus_MV_204_1_node_189 | 20 | n |  | TRUE
19 | bus_MV_204_1_node_159 | 20 | n |  | TRUE
20 | bus_MV_204_1_node_160 | 20 | n |  | TRUE
21 | bus_MV_204_1_node_163 | 20 | n |  | TRUE
22 | bus_MV_204_1_node_162 | 20 | n |  | TRUE
23 | bus_MV_204_1_node_161 | 20 | n |  | TRUE
24 | bus_MV_204_1_node_178 | 20 | n |  | TRUE
25 | bus_MV_204_1_node_219 | 20 | n |  | TRUE
26 | bus_MV_204_1_node_216 | 20 | n |  | TRUE
27 | bus_MV_204_1_node_164 | 20 | n |  | TRUE
28 | bus_MV_204_1_node_165 | 20 | n |  | TRUE
29 | bus_MV_204_1_node_167 | 20 | n |  | TRUE
30 | bus_MV_204_1_node_168 | 20 | n |  | TRUE
31 | bus_MV_204_1_node_169 | 20 | n |  | TRUE
32 | bus_MV_204_1_node_170 | 20 | n |  | TRUE
33 | bus_MV_204_1_node_171 | 20 | n |  | TRUE
34 | bus_MV_204_1_node_172 | 20 | n |  | TRUE
35 | bus_MV_204_1_node_173 | 20 | n |  | TRUE
36 | bus_MV_204_1_node_182 | 20 | n |  | TRUE
37 | bus_MV_204_1_node_174 | 20 | n |  | TRUE
38 | bus_MV_204_1_node_175 | 20 | n |  | TRUE
39 | bus_MV_204_1_node_218 | 20 | n |  | TRUE
40 | bus_MV_204_1_node_220 | 20 | n |  | TRUE
41 | bus_MV_204_1_node_176 | 20 | n |  | TRUE
42 | bus_MV_204_1_node_177 | 20 | n |  | TRUE
43 | bus_MV_204_1_node_179 | 20 | n |  | TRUE
44 | bus_MV_204_1_node_213 | 20 | n |  | TRUE
45 | bus_MV_204_1_node_180 | 20 | n |  | TRUE
46 | bus_MV_204_1_node_181 | 20 | n |  | TRUE
47 | bus_MV_204_1_node_187 | 20 | n |  | TRUE
48 | bus_MV_204_1_node_183 | 20 | n |  | TRUE
49 | bus_MV_204_1_node_184 | 20 | n |  | TRUE
50 | bus_MV_204_1_node_185 | 20 | n |  | TRUE
51 | bus_MV_204_1_node_186 | 20 | n |  | TRUE
52 | bus_MV_204_1_node_190 | 20 | n |  | TRUE
53 | bus_MV_204_1_node_188 | 20 | n |  | TRUE
54 | bus_HV_204_1_node_156 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_204_1_load_146 | 0 | 0.37948 | 0.18379 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_204_1_load_210 | 3 | 0.29439 | 0.14258 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_204_1_load_150 | 6 | 0.39239 | 0.19004 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_204_1_load_209 | 7 | 0.19731 | 0.09556 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_204_1_load_152 | 8 | 0.30636 | 0.14838 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_204_1_load_217 | 11 | 0.23475 | 0.1137 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_204_1_load_208 | 14 | 0.36608 | 0.1773 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_204_1_load_214 | 15 | 0.2548 | 0.12341 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_204_1_load_158 | 17 | 0.10665 | 0.051655 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_204_1_load_162 | 22 | 0.35397 | 0.17143 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_204_1_load_219 | 25 | 0.38435 | 0.18615 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_204_1_load_216 | 26 | 0.10219 | 0.049492 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_204_1_load_165 | 28 | 0.17848 | 0.086442 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_204_1_load_167 | 29 | 0.10551 | 0.0511 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_204_1_load_168 | 30 | 0.21164 | 0.1025 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_204_1_load_171 | 33 | 0.39023 | 0.189 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_204_1_load_172 | 34 | 0.24218 | 0.11729 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_204_1_load_182 | 36 | 0.13749 | 0.066591 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_204_1_load_218 | 39 | 0.35317 | 0.17105 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_204_1_load_220 | 40 | 0.22962 | 0.11121 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_204_1_load_176 | 41 | 0.14951 | 0.072413 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_204_1_load_213 | 44 | 0.33505 | 0.16227 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_204_1_load_187 | 47 | 0.18253 | 0.088403 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_204_1_load_183 | 48 | 0.18398 | 0.089107 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_204_1_load_190 | 52 | 0.35718 | 0.17299 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_204_1_load_188 | 53 | 0.30984 | 0.15006 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_204_1_line_0 |  | 0 | 1 | 0.022538 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_204_1_line_1 |  | 1 | 2 | 0.34384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_204_1_line_2 |  | 2 | 3 | 0.015435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_204_1_line_3 |  | 3 | 27 | 0.55376 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_204_1_line_4 |  | 3 | 33 | 0.62187 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_204_1_line_5 |  | 4 | 5 | 0.14624 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_204_1_line_6 |  | 4 | 6 | 0.01262 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_204_1_line_7 |  | 5 | 7 | 0.083449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_204_1_line_8 |  | 7 | 12 | 0.0208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_204_1_line_9 |  | 8 | 9 | 0.03494 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
10 | MV_204_1_line_10 |  | 8 | 10 | 0.073421 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
11 | MV_204_1_line_11 |  | 9 | 11 | 0.36915 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
12 | MV_204_1_line_12 |  | 10 | 12 | 0.39065 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
13 | MV_204_1_line_13 |  | 11 | 21 | 0.042696 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
14 | MV_204_1_line_14 |  | 12 | 18 | 0.3665 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
15 | MV_204_1_line_15 |  | 13 | 14 | 0.12346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_204_1_line_16 |  | 13 | 15 | 0.41517 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_204_1_line_17 |  | 15 | 50 | 0.12003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_204_1_line_18 |  | 16 | 17 | 0.029863 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
19 | MV_204_1_line_19 |  | 17 | 19 | 0.18077 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
20 | MV_204_1_line_20 |  | 18 | 50 | 0.16996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_204_1_line_21 |  | 18 | 53 | 0.037337 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_204_1_line_22 |  | 19 | 20 | 0.37412 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
23 | MV_204_1_line_23 |  | 20 | 21 | 0.30667 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
24 | MV_204_1_line_24 |  | 20 | 22 | 0.037419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_204_1_line_25 |  | 21 | 27 | 0.35688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_204_1_line_26 |  | 22 | 26 | 0.55074 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_204_1_line_27 |  | 23 | 24 | 0.53175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_204_1_line_28 |  | 23 | 25 | 0.078333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_204_1_line_29 |  | 24 | 44 | 0.13244 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_204_1_line_30 |  | 24 | 42 | 1.2448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_204_1_line_31 |  | 28 | 29 | 0.75417 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_204_1_line_32 |  | 29 | 30 | 0.96353 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_204_1_line_33 |  | 30 | 31 | 0.084969 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_204_1_line_34 |  | 31 | 32 | 0.29407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_204_1_line_35 |  | 32 | 33 | 0.06581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_204_1_line_36 |  | 34 | 35 | 0.041448 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_204_1_line_37 |  | 35 | 36 | 0.20187 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_204_1_line_38 |  | 36 | 40 | 0.25347 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_204_1_line_39 |  | 36 | 43 | 0.03863 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_204_1_line_40 |  | 37 | 38 | 0.52522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_204_1_line_41 |  | 37 | 39 | 0.063875 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_204_1_line_42 |  | 38 | 40 | 0.079988 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_204_1_line_43 |  | 39 | 45 | 0.086219 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_204_1_line_44 |  | 41 | 42 | 0.062624 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_204_1_line_45 |  | 42 | 43 | 0.60244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_204_1_line_46 |  | 45 | 46 | 0.56695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_204_1_line_47 |  | 46 | 47 | 0.028219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_204_1_line_48 |  | 47 | 49 | 0.27885 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_204_1_line_49 |  | 48 | 49 | 0.004489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_204_1_line_50 |  | 49 | 50 | 1.0197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_204_1_line_51 |  | 49 | 51 | 0.66786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_204_1_line_52 |  | 51 | 52 | 0.056127 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_204_1_trafo_156 | 25 MVA 110/20 kV | 54 | 16 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2562279.3169 | 1121763.2631
1 | 2562297.1473 | 1121749.4781
2 | 2562556.19 | 1121655.6185
3 | 2562548.7019 | 1121642.1136
4 | 2561816.8466 | 1121997.0222
5 | 2561787.6121 | 1121855.0127
6 | 2561829.3209 | 1121995.109
7 | 2561740.6051 | 1121787.0758
8 | 2562064.9723 | 1121515.42
9 | 2562098.7706 | 1121506.5967
10 | 2561993.5344 | 1121532.3602
11 | 2562377.6153 | 1121264.6856
12 | 2561725.1376 | 1121773.1223
13 | 2561559.3196 | 1121450.5561
14 | 2561670.1629 | 1121399.2921
15 | 2561213.3579 | 1121680.063
16 | 2561690.383 | 1121200.6183
17 | 2561719.3154 | 1121207.8162
18 | 2561378.2137 | 1121891.3138
19 | 2561900.0182 | 1121212.8426
20 | 2562234.7826 | 1121119.6479
21 | 2562379.6943 | 1121222.0398
22 | 2562219.1199 | 1121085.6953
23 | 2560808.1732 | 1120340.0407
24 | 2560454.9929 | 1119990.042
25 | 2560876.586 | 1120378.1944
26 | 2562071.3267 | 1120555.1521
27 | 2562623.3809 | 1121093.4168
28 | 2562869.929 | 1119380.3036
29 | 2563327.8938 | 1119979.4987
30 | 2562834.4961 | 1120807.1129
31 | 2562750.6299 | 1120820.7587
32 | 2562587.4137 | 1120956.7034
33 | 2562573.1855 | 1121020.7241
34 | 2560178.7837 | 1120575.2109
35 | 2560196.9957 | 1120612.4432
36 | 2560394.522 | 1120570.8012
37 | 2560595.3098 | 1120950.3703
38 | 2560320.2186 | 1120873.599
39 | 2560656.6198 | 1120968.2909
40 | 2560287.5483 | 1120800.5876
41 | 2560276.4126 | 1120368.4959
42 | 2560228.6246 | 1120328.023
43 | 2560388.8789 | 1120532.5854
44 | 2560353.8588 | 1119904.528
45 | 2560734.4256 | 1120931.1433
46 | 2560840.748 | 1121253.873
47 | 2560813.1982 | 1121258.9987
48 | 2560668.0968 | 1121500.7986
49 | 2560672.4709 | 1121499.7363
50 | 2561240.2625 | 1121795.7157
51 | 2560841.8422 | 1122035.9309
52 | 2560799.815 | 1121998.7291
53 | 2561351.8597 | 1121917.7625
54 | 2561690.383 | 1121200.6183

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99424 | -0.08226 | 0.37948 | 0.18379
1 | 0.99426 | -0.082155 | 0 | 0
2 | 0.99442 | -0.083644 | 0 | 0
3 | 0.99443 | -0.083706 | 0.29439 | 0.14258
4 | 0.99382 | -0.15394 | 0 | 0
5 | 0.9939 | -0.15462 | 0 | 0
6 | 0.99381 | -0.154 | 0.39239 | 0.19004
7 | 0.99394 | -0.15499 | 0.19731 | 0.09556
8 | 0.99494 | -0.14225 | 0.30636 | 0.14838
9 | 0.99501 | -0.14097 | 0 | 0
10 | 0.99481 | -0.14475 | 0 | 0
11 | 0.99662 | -0.085151 | 0.23475 | 0.1137
12 | 0.99395 | -0.15513 | 0 | 0
13 | 0.99138 | -0.19097 | 0 | 0
14 | 0.99132 | -0.19043 | 0.36608 | 0.1773
15 | 0.99167 | -0.18899 | 0.2548 | 0.12341
16 | 1 | 0 | -6.8109 | -3.1056
17 | 0.99991 | -0.0016409 | 0.10665 | 0.051655
18 | 0.99246 | -0.195 | 0 | 0
19 | 0.99872 | -0.042556 | 0 | 0
20 | 0.99764 | -0.062851 | 0 | 0
21 | 0.99681 | -0.078375 | 0 | 0
22 | 0.99762 | -0.062649 | 0.35397 | 0.17143
23 | 0.98149 | -0.15226 | 0 | 0
24 | 0.98176 | -0.15458 | 0 | 0
25 | 0.98143 | -0.15264 | 0.38435 | 0.18615
26 | 0.99751 | -0.063348 | 0.10219 | 0.049492
27 | 0.9961 | -0.072208 | 0 | 0
28 | 0.99226 | -0.094705 | 0.17848 | 0.086442
29 | 0.99252 | -0.093024 | 0.10551 | 0.0511
30 | 0.99305 | -0.089548 | 0.21164 | 0.1025
31 | 0.99313 | -0.089017 | 0 | 0
32 | 0.99332 | -0.09068 | 0 | 0
33 | 0.99336 | -0.091034 | 0.39023 | 0.189
34 | 0.98352 | -0.16817 | 0.24218 | 0.11729
35 | 0.98354 | -0.16805 | 0 | 0
36 | 0.98364 | -0.16744 | 0.13749 | 0.066591
37 | 0.98547 | -0.16782 | 0 | 0
38 | 0.98448 | -0.16037 | 0 | 0
39 | 0.98565 | -0.16625 | 0.35317 | 0.17105
40 | 0.98425 | -0.16224 | 0.22962 | 0.11121
41 | 0.98289 | -0.1636 | 0.14951 | 0.072413
42 | 0.98291 | -0.16348 | 0 | 0
43 | 0.98357 | -0.16804 | 0 | 0
44 | 0.98167 | -0.15514 | 0.33505 | 0.16227
45 | 0.98596 | -0.16377 | 0 | 0
46 | 0.98729 | -0.17378 | 0 | 0
47 | 0.98735 | -0.17426 | 0.18253 | 0.088403
48 | 0.98844 | -0.16525 | 0.18398 | 0.089107
49 | 0.98844 | -0.16526 | 0 | 0
50 | 0.99177 | -0.18986 | 0 | 0
51 | 0.98813 | -0.16268 | 0 | 0
52 | 0.98809 | -0.16293 | 0.35718 | 0.17299
53 | 0.99243 | -0.19514 | 0.30984 | 0.15006
54 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.37948 | -0.18379 | 0.37949 | 0.18377 | 6.0183e-06 | -2.2827e-05 | 0.012242 | 0.012242 | 0.012242 | 0.99424 | -0.08226 | 0.99426 | -0.082155 | 5.8297
1 | -0.37949 | -0.18377 | 0.37956 | 0.17567 | 6.8224e-05 | -0.0080967 | 0.012242 | 0.012141 | 0.012242 | 0.99426 | -0.082155 | 0.99442 | -0.083644 | 5.5646
2 | -0.37956 | -0.17567 | 0.37956 | 0.17531 | 3.0364e-06 | -0.00036353 | 0.012141 | 0.012137 | 0.012141 | 0.99442 | -0.083644 | 0.99443 | -0.083706 | 5.5188
3 | -1.5611 | -0.73634 | 1.5635 | 0.73724 | 0.0024765 | 0.00089638 | 0.050105 | 0.050097 | 0.050105 | 0.99443 | -0.083706 | 0.9961 | -0.072208 | 23.8594
4 | 0.88711 | 0.41845 | -0.88621 | -0.41862 | 0.00089856 | -0.00017053 | 0.028473 | 0.028482 | 0.028482 | 0.99443 | -0.083706 | 0.99336 | -0.091034 | 13.563
5 | -0.39239 | -0.19003 | 0.39242 | 0.18659 | 3.1202e-05 | -0.0034395 | 0.012664 | 0.012621 | 0.012664 | 0.99382 | -0.15394 | 0.9939 | -0.15462 | 5.7563
6 | 0.39239 | 0.19003 | -0.39239 | -0.19004 | 3.6062e-06 | -1.2621e-05 | 0.012664 | 0.012664 | 0.012664 | 0.99382 | -0.15394 | 0.99381 | -0.154 | 6.0305
7 | -0.39242 | -0.18659 | 0.39244 | 0.18463 | 1.771e-05 | -0.001963 | 0.012621 | 0.012596 | 0.012621 | 0.9939 | -0.15462 | 0.99394 | -0.15499 | 5.7366
8 | -0.58974 | -0.28019 | 0.58975 | 0.2797 | 9.9821e-06 | -0.00048767 | 0.018963 | 0.018957 | 0.018963 | 0.99394 | -0.15499 | 0.99395 | -0.15513 | 8.6196
9 | -4.4116 | -1.983 | 4.4118 | 1.982 | 0.00025182 | -0.0010902 | 0.14034 | 0.14032 | 0.14034 | 0.99494 | -0.14225 | 0.99501 | -0.14097 | 33.3338
10 | 4.1052 | 1.8347 | -4.1048 | -1.837 | 0.0004575 | -0.0023562 | 0.13046 | 0.1305 | 0.1305 | 0.99494 | -0.14225 | 0.99481 | -0.14475 | 30.9967
11 | -4.4118 | -1.982 | 4.417 | 1.989 | 0.0051808 | 0.007027 | 0.14032 | 0.14031 | 0.14032 | 0.99501 | -0.14097 | 0.99662 | -0.085151 | 34.2243
12 | 4.1048 | 1.837 | -4.1015 | -1.8479 | 0.003217 | -0.010914 | 0.1305 | 0.13065 | 0.13065 | 0.99481 | -0.14475 | 0.99395 | -0.15513 | 36.0922
13 | -4.6518 | -2.1027 | 4.6524 | 2.1036 | 0.00066542 | 0.0009085 | 0.14787 | 0.14787 | 0.14787 | 0.99662 | -0.085151 | 0.99681 | -0.078375 | 36.065
14 | 3.5118 | 1.5682 | -3.5076 | -1.5639 | 0.0041981 | 0.0043475 | 0.1117 | 0.11171 | 0.11171 | 0.99395 | -0.15513 | 0.99246 | -0.195 | 31.9161
15 | 0.36611 | 0.17441 | -0.36608 | -0.1773 | 2.3053e-05 | -0.00289 | 0.011808 | 0.011845 | 0.011845 | 0.99138 | -0.19097 | 0.99132 | -0.19043 | 5.3841
16 | -0.36611 | -0.17441 | 0.36621 | 0.17399 | 0.00010309 | -0.00042269 | 0.011808 | 0.011802 | 0.011808 | 0.99138 | -0.19097 | 0.99167 | -0.18899 | 5.6231
17 | -0.62101 | -0.2974 | 0.62108 | 0.2946 | 6.4264e-05 | -0.0027996 | 0.020044 | 0.020008 | 0.020044 | 0.99167 | -0.18899 | 0.99177 | -0.18986 | 9.1108
18 | 6.7969 | 3.0951 | -6.7964 | -3.0957 | 0.00050806 | -0.00067431 | 0.21559 | 0.21561 | 0.21561 | 1 | 0 | 0.99991 | -0.0016409 | 51.2131
19 | 6.6897 | 3.0441 | -6.6839 | -3.0359 | 0.0058015 | 0.0081659 | 0.21219 | 0.21219 | 0.21219 | 0.99991 | -0.0016409 | 0.99872 | -0.042556 | 51.7536
20 | 3.1977 | 1.4139 | -3.1954 | -1.4172 | 0.0023479 | -0.0032979 | 0.1017 | 0.10175 | 0.10175 | 0.99246 | -0.195 | 0.99177 | -0.18986 | 46.2481
21 | 0.30984 | 0.15002 | -0.30984 | -0.15006 | 6.6704e-06 | -3.9724e-05 | 0.010013 | 0.010014 | 0.010014 | 0.99246 | -0.195 | 0.99243 | -0.19514 | 4.7685
22 | 6.6839 | 3.0359 | -6.6777 | -3.0445 | 0.0061701 | -0.0085757 | 0.21219 | 0.21236 | 0.21236 | 0.99872 | -0.042556 | 0.99764 | -0.062851 | 50.4419
23 | 6.2215 | 2.8251 | -6.2172 | -2.8327 | 0.0043909 | -0.0076196 | 0.19772 | 0.19786 | 0.19786 | 0.99764 | -0.062851 | 0.99681 | -0.078375 | 46.9967
24 | 0.45618 | 0.21939 | -0.45617 | -0.22028 | 1.0725e-05 | -0.000886 | 0.014647 | 0.014658 | 0.014658 | 0.99764 | -0.062851 | 0.99762 | -0.062649 | 6.6629
25 | 1.5647 | 0.72913 | -1.5635 | -0.73724 | 0.0011932 | -0.0081067 | 0.049993 | 0.050097 | 0.050097 | 0.99681 | -0.078375 | 0.9961 | -0.072208 | 22.7712
26 | 0.1022 | 0.048845 | -0.10219 | -0.049492 | 1.0568e-05 | -0.00064766 | 0.0032777 | 0.0032859 | 0.0032859 | 0.99762 | -0.062649 | 0.99751 | -0.063348 | 1.5647
27 | -0.38437 | -0.18607 | 0.38448 | 0.17387 | 0.00011061 | -0.012201 | 0.01256 | 0.012407 | 0.01256 | 0.98149 | -0.15226 | 0.98176 | -0.15458 | 5.7091
28 | 0.38437 | 0.18607 | -0.38435 | -0.18615 | 2.2019e-05 | -7.6287e-05 | 0.01256 | 0.012561 | 0.012561 | 0.98149 | -0.15226 | 0.98143 | -0.15264 | 5.9815
29 | 0.33508 | 0.16214 | -0.33505 | -0.16227 | 2.8275e-05 | -0.00013467 | 0.010945 | 0.010947 | 0.010947 | 0.98176 | -0.15458 | 0.98167 | -0.15514 | 5.213
30 | -0.71956 | -0.33601 | 0.72045 | 0.30759 | 0.00089259 | -0.028415 | 0.023351 | 0.023007 | 0.023351 | 0.98176 | -0.15458 | 0.98291 | -0.16348 | 10.6141
31 | -0.17848 | -0.086442 | 0.17853 | 0.085584 | 4.464e-05 | -0.00085871 | 0.0057695 | 0.0057583 | 0.0057695 | 0.99226 | -0.094705 | 0.99252 | -0.093024 | 2.7474
32 | -0.28403 | -0.13668 | 0.28418 | 0.13564 | 0.00014407 | -0.0010435 | 0.009168 | 0.0091537 | 0.009168 | 0.99252 | -0.093024 | 0.99305 | -0.089548 | 4.3657
33 | -0.49582 | -0.23814 | 0.49586 | 0.23807 | 3.8702e-05 | -7.5798e-05 | 0.01599 | 0.015988 | 0.01599 | 0.99305 | -0.089548 | 0.99313 | -0.089017 | 7.6141
34 | -0.49586 | -0.23807 | 0.49596 | 0.23117 | 9.9813e-05 | -0.0068969 | 0.015988 | 0.015902 | 0.015988 | 0.99313 | -0.089017 | 0.99332 | -0.09068 | 7.2674
35 | -0.49596 | -0.23117 | 0.49598 | 0.22963 | 2.2191e-05 | -0.0015438 | 0.015902 | 0.015883 | 0.015902 | 0.99332 | -0.09068 | 0.99336 | -0.091034 | 7.2283
36 | -0.24218 | -0.11729 | 0.24218 | 0.11725 | 4.6062e-06 | -4.4979e-05 | 0.007898 | 0.0078974 | 0.007898 | 0.98352 | -0.16817 | 0.98354 | -0.16805 | 3.761
37 | -0.24218 | -0.11725 | 0.24221 | 0.11703 | 2.2424e-05 | -0.0002191 | 0.0078974 | 0.0078945 | 0.0078974 | 0.98354 | -0.16805 | 0.98364 | -0.16744 | 3.7607
38 | -1.2503 | -0.54982 | 1.2511 | 0.54998 | 0.0007256 | 0.00016154 | 0.040086 | 0.040082 | 0.040086 | 0.98364 | -0.16744 | 0.98425 | -0.16224 | 19.0884
39 | 0.87064 | 0.3662 | -0.87059 | -0.36621 | 5.2886e-05 | -1.1491e-05 | 0.027719 | 0.02772 | 0.02772 | 0.98364 | -0.16744 | 0.98357 | -0.16804 | 13.2
40 | 1.4826 | 0.64961 | -1.481 | -0.6613 | 0.0015812 | -0.011697 | 0.047416 | 0.04756 | 0.04756 | 0.98547 | -0.16782 | 0.98448 | -0.16037 | 21.6181
41 | -1.4826 | -0.64961 | 1.4828 | 0.64969 | 0.00025586 | 8.6193e-05 | 0.047416 | 0.047415 | 0.047416 | 0.98547 | -0.16782 | 0.98565 | -0.16625 | 22.5788
42 | 1.481 | 0.6613 | -1.4807 | -0.66119 | 0.00032236 | 0.00010939 | 0.04756 | 0.047561 | 0.047561 | 0.98448 | -0.16037 | 0.98425 | -0.16224 | 22.648
43 | -1.836 | -0.82074 | 1.8365 | 0.82097 | 0.00053293 | 0.00023378 | 0.058901 | 0.0589 | 0.058901 | 0.98565 | -0.16625 | 0.98596 | -0.16377 | 28.048
44 | -0.14951 | -0.072413 | 0.14952 | 0.072342 | 2.6557e-06 | -7.0562e-05 | 0.0048791 | 0.0048782 | 0.0048791 | 0.98289 | -0.1636 | 0.98291 | -0.16348 | 2.3234
45 | -0.86997 | -0.37993 | 0.87059 | 0.36621 | 0.00062155 | -0.013721 | 0.027881 | 0.02772 | 0.027881 | 0.98291 | -0.16348 | 0.98357 | -0.16804 | 12.6731
46 | -1.8365 | -0.82097 | 1.8392 | 0.80857 | 0.0026187 | -0.0124 | 0.0589 | 0.058743 | 0.0589 | 0.98596 | -0.16377 | 0.98729 | -0.17378 | 26.7725
47 | -1.8392 | -0.80857 | 1.8393 | 0.80796 | 0.00012998 | -0.00061823 | 0.058743 | 0.058736 | 0.058743 | 0.98729 | -0.17378 | 0.98735 | -0.17426 | 26.7015
48 | -2.0218 | -0.89636 | 2.0239 | 0.89733 | 0.0020772 | 0.0009762 | 0.064661 | 0.064658 | 0.064661 | 0.98735 | -0.17426 | 0.98844 | -0.16526 | 30.7912
49 | -0.18398 | -0.089107 | 0.18398 | 0.089002 | 2.1353e-07 | -0.00010465 | 0.0059703 | 0.0059689 | 0.0059703 | 0.98844 | -0.16525 | 0.98844 | -0.16526 | 2.7138
50 | -2.5652 | -1.1437 | 2.5743 | 1.1226 | 0.0091277 | -0.021159 | 0.082026 | 0.081745 | 0.082026 | 0.98844 | -0.16526 | 0.99177 | -0.18986 | 37.2846
51 | 0.35731 | 0.15739 | -0.35719 | -0.17293 | 0.00011784 | -0.01554 | 0.011403 | 0.011594 | 0.011594 | 0.98844 | -0.16526 | 0.98813 | -0.16268 | 5.2698
52 | 0.35719 | 0.17293 | -0.35718 | -0.17299 | 1.3442e-05 | -5.7001e-05 | 0.011594 | 0.011594 | 0.011594 | 0.98813 | -0.16268 | 0.98809 | -0.16293 | 5.5212

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.8109 | 3.1056

## res_load
| p_mw | q_mvar
0 | 0.37948 | 0.18379
1 | 0.29439 | 0.14258
2 | 0.39239 | 0.19004
3 | 0.19731 | 0.09556
4 | 0.30636 | 0.14838
5 | 0.23475 | 0.1137
6 | 0.36608 | 0.1773
7 | 0.2548 | 0.12341
8 | 0.10665 | 0.051655
9 | 0.35397 | 0.17143
10 | 0.38435 | 0.18615
11 | 0.10219 | 0.049492
12 | 0.17848 | 0.086442
13 | 0.10551 | 0.0511
14 | 0.21164 | 0.1025
15 | 0.39023 | 0.189
16 | 0.24218 | 0.11729
17 | 0.13749 | 0.066591
18 | 0.35317 | 0.17105
19 | 0.22962 | 0.11121
20 | 0.14951 | 0.072413
21 | 0.33505 | 0.16227
22 | 0.18253 | 0.088403
23 | 0.18398 | 0.089107
24 | 0.35718 | 0.17299
25 | 0.30984 | 0.15006

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1