## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_209_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_209_0_node_30 | 20 | n |  | TRUE
2 | bus_MV_209_0_node_32 | 20 | n |  | TRUE
3 | bus_MV_209_0_node_28 | 20 | n |  | TRUE
4 | bus_MV_209_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_209_0_node_61 | 20 | n |  | TRUE
6 | bus_MV_209_0_node_62 | 20 | n |  | TRUE
7 | bus_MV_209_0_node_45 | 20 | n |  | TRUE
8 | bus_MV_209_0_node_3 | 20 | n |  | TRUE
9 | bus_MV_209_0_node_22 | 20 | n |  | TRUE
10 | bus_MV_209_0_node_69 | 20 | n |  | TRUE
11 | bus_MV_209_0_node_47 | 20 | n |  | TRUE
12 | bus_MV_209_0_node_46 | 20 | n |  | TRUE
13 | bus_MV_209_0_node_13 | 20 | n |  | TRUE
14 | bus_MV_209_0_node_66 | 20 | n |  | TRUE
15 | bus_MV_209_0_node_20 | 20 | n |  | TRUE
16 | bus_MV_209_0_node_4 | 20 | n |  | TRUE
17 | bus_MV_209_0_node_5 | 20 | n |  | TRUE
18 | bus_MV_209_0_node_6 | 20 | n |  | TRUE
19 | bus_MV_209_0_node_7 | 20 | n |  | TRUE
20 | bus_MV_209_0_node_12 | 20 | n |  | TRUE
21 | bus_MV_209_0_node_8 | 20 | n |  | TRUE
22 | bus_MV_209_0_node_60 | 20 | n |  | TRUE
23 | bus_MV_209_0_node_19 | 20 | n |  | TRUE
24 | bus_MV_209_0_node_67 | 20 | n |  | TRUE
25 | bus_MV_209_0_node_42 | 20 | n |  | TRUE
26 | bus_MV_209_0_node_18 | 20 | n |  | TRUE
27 | bus_MV_209_0_node_31 | 20 | n |  | TRUE
28 | bus_MV_209_0_node_9 | 20 | n |  | TRUE
29 | bus_MV_209_0_node_10 | 20 | n |  | TRUE
30 | bus_MV_209_0_node_25 | 20 | n |  | TRUE
31 | bus_MV_209_0_node_24 | 20 | n |  | TRUE
32 | bus_MV_209_0_node_11 | 20 | n |  | TRUE
33 | bus_MV_209_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_209_0_node_34 | 20 | n |  | TRUE
35 | bus_MV_209_0_node_43 | 20 | n |  | TRUE
36 | bus_MV_209_0_node_44 | 20 | n |  | TRUE
37 | bus_MV_209_0_node_14 | 20 | n |  | TRUE
38 | bus_MV_209_0_node_16 | 20 | n |  | TRUE
39 | bus_MV_209_0_node_37 | 20 | n |  | TRUE
40 | bus_MV_209_0_node_58 | 20 | n |  | TRUE
41 | bus_MV_209_0_node_17 | 20 | n |  | TRUE
42 | bus_MV_209_0_node_59 | 20 | n |  | TRUE
43 | bus_MV_209_0_node_68 | 20 | n |  | TRUE
44 | bus_MV_209_0_node_21 | 20 | n |  | TRUE
45 | bus_MV_209_0_node_56 | 20 | n |  | TRUE
46 | bus_MV_209_0_node_55 | 20 | n |  | TRUE
47 | bus_MV_209_0_node_57 | 20 | n |  | TRUE
48 | bus_MV_209_0_node_23 | 20 | n |  | TRUE
49 | bus_MV_209_0_node_33 | 20 | n |  | TRUE
50 | bus_MV_209_0_node_38 | 20 | n |  | TRUE
51 | bus_MV_209_0_node_29 | 20 | n |  | TRUE
52 | bus_MV_209_0_node_39 | 20 | n |  | TRUE
53 | bus_MV_209_0_node_40 | 20 | n |  | TRUE
54 | bus_MV_209_0_node_41 | 20 | n |  | TRUE
55 | bus_MV_209_0_node_65 | 20 | n |  | TRUE
56 | bus_MV_209_0_node_53 | 20 | n |  | TRUE
57 | bus_MV_209_0_node_48 | 20 | n |  | TRUE
58 | bus_MV_209_0_node_49 | 20 | n |  | TRUE
59 | bus_MV_209_0_node_50 | 20 | n |  | TRUE
60 | bus_MV_209_0_node_51 | 20 | n |  | TRUE
61 | bus_MV_209_0_node_52 | 20 | n |  | TRUE
62 | bus_MV_209_0_node_54 | 20 | n |  | TRUE
63 | bus_MV_209_0_node_63 | 20 | n |  | TRUE
64 | bus_MV_209_0_node_70 | 20 | n |  | TRUE
65 | bus_MV_209_0_node_64 | 20 | n |  | TRUE
66 | bus_HV_209_0_node_32 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_209_0_load_0 | 0 | 0.071117 | 0.034444 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_209_0_load_28 | 3 | 0.13109 | 0.063489 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_209_0_load_61 | 5 | 0.063649 | 0.030827 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_209_0_load_45 | 7 | 0.11966 | 0.057953 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_209_0_load_3 | 8 | 0.13962 | 0.067621 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_209_0_load_69 | 10 | 0.14872 | 0.072029 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_209_0_load_47 | 11 | 0.1336 | 0.064704 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_209_0_load_13 | 13 | 0.062292 | 0.030169 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_209_0_load_66 | 14 | 0.095466 | 0.046236 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_209_0_load_4 | 16 | 0.074282 | 0.035976 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_209_0_load_6 | 18 | 0.096705 | 0.046836 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_209_0_load_12 | 20 | 0.11504 | 0.055714 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_209_0_load_60 | 22 | 0.074348 | 0.036009 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_209_0_load_67 | 24 | 0.12726 | 0.061637 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_209_0_load_42 | 25 | 0.1473 | 0.07134 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_209_0_load_18 | 26 | 0.12401 | 0.060061 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_209_0_load_9 | 28 | 0.084439 | 0.040896 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_209_0_load_10 | 29 | 0.13924 | 0.067435 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_209_0_load_11 | 32 | 0.057496 | 0.027847 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_209_0_load_34 | 34 | 0.15297 | 0.074085 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_209_0_load_37 | 39 | 0.14089 | 0.068235 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_209_0_load_58 | 40 | 0.15993 | 0.077457 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_209_0_load_68 | 43 | 0.12849 | 0.062228 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_209_0_load_55 | 46 | 0.12833 | 0.062151 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_209_0_load_57 | 47 | 0.11609 | 0.056225 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_209_0_load_23 | 48 | 0.13216 | 0.06401 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_209_0_load_33 | 49 | 0.099742 | 0.048307 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_209_0_load_38 | 50 | 0.058938 | 0.028545 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_209_0_load_39 | 52 | 0.067368 | 0.032628 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_209_0_load_65 | 55 | 0.15642 | 0.075757 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_209_0_load_48 | 57 | 0.10775 | 0.052186 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_209_0_load_51 | 60 | 0.11843 | 0.057356 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_209_0_load_70 | 64 | 0.057202 | 0.027704 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_209_0_load_64 | 65 | 0.069343 | 0.033584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_209_0_line_0 |  | 0 | 1 | 0.040669 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_209_0_line_1 |  | 1 | 2 | 0.070795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_209_0_line_2 |  | 1 | 3 | 0.025137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_209_0_line_3 |  | 2 | 8 | 0.040324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_209_0_line_4 |  | 3 | 51 | 0.002625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_209_0_line_5 |  | 4 | 5 | 0.1017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_209_0_line_6 |  | 4 | 6 | 1.2097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_209_0_line_7 |  | 4 | 7 | 1.0027 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_209_0_line_8 |  | 5 | 9 | 0.75095 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_209_0_line_9 |  | 6 | 10 | 0.004642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_209_0_line_10 |  | 6 | 11 | 1.5716 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_209_0_line_11 |  | 7 | 12 | 0.024064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_209_0_line_12 |  | 9 | 14 | 0.057415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_209_0_line_13 |  | 9 | 15 | 0.1983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_209_0_line_14 |  | 12 | 13 | 1.0795 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_209_0_line_15 |  | 13 | 37 | 0.084775 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_209_0_line_16 |  | 15 | 44 | 0.23719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_209_0_line_17 |  | 15 | 26 | 0.02728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_209_0_line_18 |  | 16 | 17 | 0.019807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_209_0_line_19 |  | 17 | 18 | 0.070468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_209_0_line_20 |  | 17 | 19 | 0.07269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_209_0_line_21 |  | 18 | 20 | 0.19745 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_209_0_line_22 |  | 19 | 21 | 0.11018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_209_0_line_23 |  | 19 | 22 | 0.031644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_209_0_line_24 |  | 20 | 25 | 0.28631 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_209_0_line_25 |  | 21 | 23 | 0.087714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_209_0_line_26 |  | 21 | 24 | 0.052544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_209_0_line_27 |  | 23 | 26 | 0.01454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_209_0_line_28 |  | 24 | 27 | 0.012181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_209_0_line_29 |  | 25 | 35 | 0.073047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_209_0_line_30 |  | 27 | 51 | 0.07766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_209_0_line_31 |  | 28 | 29 | 0.10174 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_209_0_line_32 |  | 29 | 30 | 0.011279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_209_0_line_33 |  | 30 | 31 | 0.047405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_209_0_line_34 |  | 31 | 49 | 0.23064 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_209_0_line_35 |  | 31 | 33 | 0.24108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_209_0_line_36 |  | 31 | 48 | 0.00469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_209_0_line_37 |  | 32 | 33 | 0.094996 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_209_0_line_38 |  | 33 | 34 | 0.061507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_209_0_line_39 |  | 35 | 36 | 0.43906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_209_0_line_40 |  | 36 | 55 | 0.2723 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_209_0_line_41 |  | 37 | 38 | 0.08758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_209_0_line_42 |  | 38 | 39 | 0.002528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_209_0_line_43 |  | 38 | 40 | 0.10217 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_209_0_line_44 |  | 40 | 41 | 0.06743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_209_0_line_45 |  | 41 | 42 | 0.24473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_209_0_line_46 |  | 42 | 43 | 0.045373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_209_0_line_47 |  | 43 | 50 | 0.41132 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_209_0_line_48 |  | 44 | 45 | 0.25591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_209_0_line_49 |  | 44 | 46 | 0.087472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_209_0_line_50 |  | 45 | 47 | 0.051414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_209_0_line_51 |  | 47 | 59 | 0.1139 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_209_0_line_52 |  | 49 | 50 | 0.33071 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_209_0_line_53 |  | 52 | 53 | 0.04326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_209_0_line_54 |  | 53 | 54 | 0.97826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_209_0_line_55 |  | 54 | 55 | 0.015535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_209_0_line_56 |  | 55 | 56 | 0.051548 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_209_0_line_57 |  | 56 | 62 | 0.60825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_209_0_line_58 |  | 56 | 61 | 0.35226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_209_0_line_59 |  | 57 | 58 | 0.0195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_209_0_line_60 |  | 58 | 59 | 0.20076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_209_0_line_61 |  | 60 | 61 | 0.097084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_209_0_line_62 |  | 62 | 63 | 0.44886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_209_0_line_63 |  | 63 | 64 | 0.056175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_209_0_line_64 |  | 63 | 65 | 0.24075 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_209_0_trafo_32 | 25 MVA 110/20 kV | 66 | 2 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2600334.0928 | 1145051.5836
1 | 2600293.5281 | 1145054.4945
2 | 2600308.7115 | 1144993.0985
3 | 2600288.0187 | 1145079.0174
4 | 2601021.0619 | 1144278.0093
5 | 2600943.2937 | 1144343.7963
6 | 2601421.0495 | 1143185.4649
7 | 2600394.0933 | 1143495.4845
8 | 2600316.5879 | 1144953.5574
9 | 2600550.2812 | 1144983.6972
10 | 2601417.0462 | 1143183.0962
11 | 2602401.155 | 1141956.8772
12 | 2600369.9788 | 1143494.4939
13 | 2600042.9165 | 1144523.2096
14 | 2600493.1602 | 1144977.8901
15 | 2600471.6078 | 1145127.0279
16 | 2600344.6309 | 1145276.6493
17 | 2600330.0733 | 1145264.8095
18 | 2600270.6871 | 1145300.2468
19 | 2600340.985 | 1145203.3023
20 | 2600142.0825 | 1145450.0724
21 | 2600382.542 | 1145158.0378
22 | 2600336.9278 | 1145171.9192
23 | 2600431.8281 | 1145114.197
24 | 2600358.0445 | 1145111.6251
25 | 2599887.4608 | 1145581.0053
26 | 2600445.2109 | 1145119.8561
27 | 2600354.7953 | 1145099.8859
28 | 2600159.9092 | 1145172.7376
29 | 2600196.649 | 1145077.8587
30 | 2600200.4291 | 1145067.2314
31 | 2600161.5398 | 1145046.2982
32 | 2600164.1326 | 1144804.0025
33 | 2600077.3454 | 1144842.6317
34 | 2600021.2135 | 1144817.5975
35 | 2599849.8059 | 1145643.6482
36 | 2599609.9966 | 1146010.7629
37 | 2600054.8567 | 1144607.1393
38 | 2600062.955 | 1144690.9468
39 | 2600065.4904 | 1144690.9468
40 | 2599960.9076 | 1144695.8835
41 | 2599914.4542 | 1144651.5741
42 | 2599766.3193 | 1144747.0151
43 | 2599804.1518 | 1144770.7026
44 | 2600641.126 | 1145268.7884
45 | 2600625.4266 | 1145482.58
46 | 2600725.9796 | 1145256.4354
47 | 2600593.3886 | 1145522.8189
48 | 2600162.9994 | 1145050.756
49 | 2599930.9667 | 1145040.5853
50 | 2599614.1703 | 1145135.514
51 | 2600290.5617 | 1145079.6956
52 | 2599361.0352 | 1145836.0131
53 | 2599362.6381 | 1145879.2228
54 | 2599466.3015 | 1146259.23
55 | 2599477.9374 | 1146248.9016
56 | 2599523.1509 | 1146273.1647
57 | 2600497.8831 | 1145765.7965
58 | 2600494.7503 | 1145746.5535
59 | 2600489.8155 | 1145570.2006
60 | 2599879.3106 | 1146314.8075
61 | 2599798.6262 | 1146260.751
62 | 2599882.6068 | 1146591.8425
63 | 2599851.3415 | 1146879.6616
64 | 2599889.7497 | 1146840.1966
65 | 2599615.9271 | 1146930.0772
66 | 2600308.7115 | 1144993.0985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99968 | 0.0022117 | 0.071117 | 0.034444
1 | 0.99968 | 0.0022467 | 0 | 0
2 | 1 | 0 | -3.7323 | -1.6356
3 | 0.99957 | 0.0030253 | 0.13109 | 0.063489
4 | 0.99551 | -0.0038619 | 0 | 0
5 | 0.99572 | -0.0055027 | 0.063649 | 0.030827
6 | 0.99508 | -0.0010022 | 0 | 0
7 | 0.99291 | -0.022244 | 0.11966 | 0.057953
8 | 0.99999 | 6.612e-05 | 0.13962 | 0.067621
9 | 0.99815 | 0.013545 | 0 | 0
10 | 0.99508 | -0.00099386 | 0.14872 | 0.072029
11 | 0.99467 | -0.0036909 | 0.1336 | 0.064704
12 | 0.99287 | -0.021921 | 0 | 0
13 | 0.99033 | -0.040058 | 0.062292 | 0.030169
14 | 0.99814 | 0.013478 | 0.095466 | 0.046236
15 | 0.9986 | 0.010026 | 0 | 0
16 | 0.99875 | 0.0083787 | 0.074282 | 0.035976
17 | 0.99875 | 0.0083613 | 0 | 0
18 | 0.99868 | 0.0087141 | 0.096705 | 0.046836
19 | 0.99883 | 0.0079428 | 0 | 0
20 | 0.99841 | 0.0056795 | 0.11504 | 0.055714
21 | 0.99896 | 0.007231 | 0 | 0
22 | 0.99883 | 0.0079703 | 0.074348 | 0.036009
23 | 0.99871 | 0.009148 | 0 | 0
24 | 0.99918 | 0.0057539 | 0.12726 | 0.061637
25 | 0.99809 | 0.001683 | 0.1473 | 0.07134
26 | 0.99867 | 0.009467 | 0.12401 | 0.060061
27 | 0.99923 | 0.0053936 | 0 | 0
28 | 0.98812 | -0.047087 | 0.084439 | 0.040896
29 | 0.98814 | -0.04698 | 0.13924 | 0.067435
30 | 0.98814 | -0.047011 | 0 | 0
31 | 0.98815 | -0.047138 | 0 | 0
32 | 0.98808 | -0.046653 | 0.057496 | 0.027847
33 | 0.98809 | -0.046584 | 0 | 0
34 | 0.98808 | -0.046472 | 0.15297 | 0.074085
35 | 0.99805 | 0.0017443 | 0 | 0
36 | 0.99779 | 0.002284 | 0 | 0
37 | 0.99014 | -0.041416 | 0 | 0
38 | 0.99001 | -0.040291 | 0 | 0
39 | 0.99001 | -0.040287 | 0.14089 | 0.068235
40 | 0.98981 | -0.041732 | 0.15993 | 0.077457
41 | 0.98973 | -0.041104 | 0 | 0
42 | 0.98946 | -0.038768 | 0 | 0
43 | 0.98941 | -0.038325 | 0.12849 | 0.062228
44 | 0.99849 | 0.010761 | 0 | 0
45 | 0.99842 | 0.011291 | 0 | 0
46 | 0.99848 | 0.01089 | 0.12833 | 0.062151
47 | 0.99841 | 0.011409 | 0.11609 | 0.056225
48 | 0.98815 | -0.04713 | 0.13216 | 0.06401
49 | 0.98841 | -0.045343 | 0.099742 | 0.048307
50 | 0.98883 | -0.042354 | 0.058938 | 0.028545
51 | 0.99956 | 0.0031026 | 0 | 0
52 | 0.99748 | -0.00072049 | 0.067368 | 0.032628
53 | 0.99748 | -0.00075411 | 0 | 0
54 | 0.99756 | -0.00075392 | 0 | 0
55 | 0.99756 | -0.00074217 | 0.15642 | 0.075757
56 | 0.99755 | -0.00071588 | 0 | 0
57 | 0.99835 | 0.011457 | 0.10775 | 0.052186
58 | 0.99836 | 0.011432 | 0 | 0
59 | 0.99838 | 0.011209 | 0 | 0
60 | 0.99748 | -0.00022969 | 0.11843 | 0.057356
61 | 0.99749 | -0.00036077 | 0 | 0
62 | 0.99745 | -0.00055043 | 0 | 0
63 | 0.99738 | -6.722e-05 | 0 | 0
64 | 0.99738 | -3.0975e-05 | 0.057202 | 0.027704
65 | 0.99735 | -0.00027296 | 0.069343 | 0.033584
66 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.071117 | -0.034444 | 0.071117 | 0.034395 | 3.7718e-07 | -4.8283e-05 | 0.0022818 | 0.0022812 | 0.0022818 | 0.99968 | 0.0022117 | 0.99968 | 0.0022467 | 1.0866
1 | -3.5775 | -1.5598 | 3.5787 | 1.5584 | 0.0012002 | -0.0013338 | 0.1127 | 0.11268 | 0.1127 | 0.99968 | 0.0022467 | 1 | 0 | 51.2261
2 | 3.5064 | 1.5254 | -3.5059 | -1.5258 | 0.00040917 | -0.00047835 | 0.11042 | 0.11042 | 0.11042 | 0.99968 | 0.0022467 | 0.99957 | 0.0030253 | 50.1932
3 | 0.13962 | 0.066659 | -0.13962 | -0.067621 | 1.0767e-06 | -0.00096245 | 0.0044663 | 0.0044784 | 0.0044784 | 1 | 0 | 0.99999 | 6.612e-05 | 2.0356
4 | 3.3749 | 1.4623 | -3.3748 | -1.4624 | 3.9541e-05 | -5.0891e-05 | 0.10622 | 0.10622 | 0.10622 | 0.99957 | 0.0030253 | 0.99956 | 0.0031026 | 48.2831
5 | -1.6268 | -0.73465 | 1.6272 | 0.73235 | 0.00036355 | -0.0022991 | 0.051761 | 0.051732 | 0.051761 | 0.99551 | -0.0038619 | 0.99572 | -0.0055027 | 23.5276
6 | 0.2825 | 0.10622 | -0.28237 | -0.1348 | 0.0001281 | -0.028573 | 0.0087517 | 0.0090771 | 0.0090771 | 0.99551 | -0.0038619 | 0.99508 | -0.0010022 | 4.126
7 | 1.3443 | 0.62843 | -1.341 | -0.62754 | 0.0033092 | 0.00088952 | 0.043031 | 0.043045 | 0.043045 | 0.99551 | -0.0038619 | 0.99291 | -0.022244 | 20.4978
8 | -1.6908 | -0.76318 | 1.6947 | 0.76471 | 0.0038693 | 0.0015326 | 0.053781 | 0.053771 | 0.053781 | 0.99572 | -0.0055027 | 0.99815 | 0.013545 | 25.6102
9 | 0.14872 | 0.071919 | -0.14872 | -0.072029 | 1.4237e-07 | -0.0001097 | 0.0047924 | 0.0047938 | 0.0047938 | 0.99508 | -0.0010022 | 0.99508 | -0.00099386 | 2.179
10 | 0.13365 | 0.062879 | -0.1336 | -0.064704 | 5.1688e-05 | -0.0018247 | 0.0042848 | 0.0043081 | 0.0043081 | 0.99508 | -0.0010022 | 0.99467 | -0.0036909 | 2.0515
11 | 1.2213 | 0.56959 | -1.2213 | -0.57014 | 4.9324e-05 | -0.00055179 | 0.03918 | 0.039187 | 0.039187 | 0.99291 | -0.022244 | 0.99287 | -0.021921 | 17.8124
12 | 0.095466 | 0.046168 | -0.095466 | -0.046236 | 9.6247e-07 | -6.7686e-05 | 0.0030669 | 0.0030678 | 0.0030678 | 0.99815 | 0.013545 | 0.99814 | 0.013478 | 1.4608
13 | -1.7902 | -0.81088 | 1.791 | 0.80642 | 0.00085435 | -0.0044659 | 0.056837 | 0.056781 | 0.056837 | 0.99815 | 0.013545 | 0.9986 | 0.010026 | 25.8349
14 | 1.2213 | 0.57014 | -1.2183 | -0.56955 | 0.0029546 | 0.00058358 | 0.039187 | 0.039203 | 0.039203 | 0.99287 | -0.021921 | 0.99033 | -0.040058 | 18.668
15 | 1.156 | 0.53938 | -1.1558 | -0.53935 | 0.00020886 | 3.1589e-05 | 0.037186 | 0.037187 | 0.037187 | 0.99033 | -0.040058 | 0.99014 | -0.041416 | 17.708
16 | 0.35224 | 0.15016 | -0.3522 | -0.1558 | 3.9024e-05 | -0.0056352 | 0.011069 | 0.011134 | 0.011134 | 0.9986 | 0.010026 | 0.99849 | 0.010761 | 5.061
17 | -2.1432 | -0.95658 | 2.1434 | 0.95598 | 0.00016763 | -0.00059984 | 0.067848 | 0.06784 | 0.067848 | 0.9986 | 0.010026 | 0.99867 | 0.009467 | 30.8399
18 | -0.074282 | -0.035976 | 0.074282 | 0.035505 | 1.5011e-07 | -0.00047169 | 0.0023856 | 0.0023797 | 0.0023856 | 0.99875 | 0.0083787 | 0.99875 | 0.0083613 | 1.0844
19 | 0.8285 | 0.32326 | -0.82844 | -0.32492 | 6.2202e-05 | -0.0016597 | 0.025705 | 0.025723 | 0.025723 | 0.99875 | 0.0083613 | 0.99868 | 0.0087141 | 11.6921
20 | -0.90279 | -0.35876 | 0.90286 | 0.35706 | 7.6459e-05 | -0.0017087 | 0.028079 | 0.02806 | 0.028079 | 0.99875 | 0.0083613 | 0.99883 | 0.0079428 | 12.7631
21 | 0.73174 | 0.27808 | -0.73156 | -0.2782 | 0.00018014 | -0.0001222 | 0.022627 | 0.02263 | 0.02263 | 0.99868 | 0.0087141 | 0.99841 | 0.0056795 | 10.7761
22 | -0.97721 | -0.39231 | 0.97735 | 0.38973 | 0.00013611 | -0.0025845 | 0.030434 | 0.030405 | 0.030434 | 0.99883 | 0.0079428 | 0.99896 | 0.007231 | 13.8335
23 | 0.074349 | 0.035255 | -0.074348 | -0.036009 | 2.3986e-07 | -0.0007537 | 0.0023781 | 0.0023875 | 0.0023875 | 0.99883 | 0.0079428 | 0.99883 | 0.0079703 | 1.0852
24 | 0.61652 | 0.22249 | -0.61634 | -0.22272 | 0.00018324 | -0.00022583 | 0.018951 | 0.018954 | 0.018954 | 0.99841 | 0.0056795 | 0.99809 | 0.001683 | 9.0259
25 | 2.2681 | 1.0138 | -2.2675 | -1.0157 | 0.00060375 | -0.0019103 | 0.071793 | 0.071817 | 0.071817 | 0.99896 | 0.007231 | 0.99871 | 0.009148 | 32.6442
26 | -3.2455 | -1.4035 | 3.2462 | 1.4025 | 0.00073228 | -0.001035 | 0.10218 | 0.10217 | 0.10218 | 0.99896 | 0.007231 | 0.99918 | 0.0057539 | 46.4455
27 | 2.2675 | 1.0157 | -2.2674 | -1.016 | 0.00010012 | -0.00031655 | 0.071817 | 0.071821 | 0.071821 | 0.99871 | 0.009148 | 0.99867 | 0.009467 | 32.646
28 | -3.3735 | -1.4641 | 3.3736 | 1.4639 | 0.00018356 | -0.00023592 | 0.10625 | 0.10624 | 0.10625 | 0.99918 | 0.0057539 | 0.99923 | 0.0053936 | 48.2943
29 | 0.46904 | 0.15138 | -0.46902 | -0.15311 | 1.9837e-05 | -0.0017315 | 0.014255 | 0.01427 | 0.01427 | 0.99809 | 0.001683 | 0.99805 | 0.0017443 | 6.4866
30 | -3.3736 | -1.4639 | 3.3748 | 1.4624 | 0.00117 | -0.0015049 | 0.10624 | 0.10622 | 0.10624 | 0.99923 | 0.0053936 | 0.99956 | 0.0031026 | 48.2928
31 | -0.084439 | -0.040896 | 0.08444 | 0.040778 | 1.3611e-06 | -0.00011774 | 0.002741 | 0.0027394 | 0.002741 | 0.98812 | -0.047087 | 0.98814 | -0.04698 | 1.3052
32 | -0.22368 | -0.10821 | 0.22368 | 0.10795 | 7.9307e-07 | -0.00026271 | 0.007259 | 0.0072557 | 0.007259 | 0.98814 | -0.04698 | 0.98814 | -0.047011 | 3.2996
33 | -0.22368 | -0.10795 | 0.22368 | 0.10685 | 3.3252e-06 | -0.0011042 | 0.0072557 | 0.0072417 | 0.0072557 | 0.98814 | -0.047011 | 0.98815 | -0.047138 | 3.298
34 | -0.56632 | -0.26552 | 0.56646 | 0.26534 | 0.00013718 | -0.000183 | 0.018272 | 0.018269 | 0.018272 | 0.98815 | -0.047138 | 0.98841 | -0.045343 | 8.7012
35 | 0.21048 | 0.094772 | -0.21046 | -0.10039 | 1.4784e-05 | -0.0056157 | 0.0067434 | 0.0068125 | 0.0068125 | 0.98815 | -0.047138 | 0.98809 | -0.046584 | 3.0966
36 | 0.13216 | 0.063901 | -0.13216 | -0.06401 | 1.152e-07 | -0.00010931 | 0.0042886 | 0.00429 | 0.00429 | 0.98815 | -0.047138 | 0.98815 | -0.04713 | 1.95
37 | -0.057496 | -0.027847 | 0.057497 | 0.027736 | 5.8918e-07 | -0.00011035 | 0.0018665 | 0.001865 | 0.0018665 | 0.98808 | -0.046653 | 0.98809 | -0.046584 | 0.88879
38 | 0.15297 | 0.072652 | -0.15297 | -0.074085 | 2.0172e-06 | -0.0014332 | 0.0049475 | 0.0049656 | 0.0049656 | 0.98809 | -0.046584 | 0.98808 | -0.046472 | 2.2571
39 | 0.46902 | 0.15311 | -0.4689 | -0.16351 | 0.00012016 | -0.010404 | 0.01427 | 0.014367 | 0.014367 | 0.99805 | 0.0017443 | 0.99779 | 0.002284 | 6.5305
40 | 0.4689 | 0.16351 | -0.4688 | -0.16377 | 0.00010017 | -0.00026083 | 0.014367 | 0.01437 | 0.01437 | 0.99779 | 0.002284 | 0.99756 | -0.00074217 | 6.8429
41 | 1.1558 | 0.53935 | -1.1557 | -0.54135 | 0.00016179 | -0.0020018 | 0.037187 | 0.037212 | 0.037212 | 0.99014 | -0.041416 | 0.99001 | -0.040291 | 16.9146
42 | 0.14089 | 0.068176 | -0.14089 | -0.068235 | 7.0313e-08 | -5.9138e-05 | 0.0045639 | 0.0045646 | 0.0045646 | 0.99001 | -0.040291 | 0.99001 | -0.040287 | 2.0748
43 | 1.0148 | 0.47318 | -1.0146 | -0.47318 | 0.00019404 | 2.0237e-06 | 0.032649 | 0.03265 | 0.03265 | 0.99001 | -0.040291 | 0.98981 | -0.041732 | 15.5477
44 | 0.85466 | 0.39572 | -0.85459 | -0.39728 | 6.7968e-05 | -0.001557 | 0.027468 | 0.027488 | 0.027488 | 0.98981 | -0.041732 | 0.98973 | -0.041104 | 12.4944
45 | 0.85459 | 0.39728 | -0.85435 | -0.40293 | 0.00024749 | -0.0056489 | 0.027488 | 0.027558 | 0.027558 | 0.98973 | -0.041104 | 0.98946 | -0.038768 | 12.5265
46 | 0.85435 | 0.40293 | -0.8543 | -0.40397 | 4.6025e-05 | -0.0010469 | 0.027558 | 0.027572 | 0.027572 | 0.98946 | -0.038768 | 0.98941 | -0.038325 | 12.5325
47 | 0.72581 | 0.34174 | -0.72541 | -0.34197 | 0.0004016 | -0.00022886 | 0.023407 | 0.023413 | 0.023413 | 0.98941 | -0.038325 | 0.98883 | -0.042354 | 11.1488
48 | 0.22387 | 0.095728 | -0.22385 | -0.10181 | 1.7097e-05 | -0.0060862 | 0.0070392 | 0.0071103 | 0.0071103 | 0.99849 | 0.010761 | 0.99842 | 0.011291 | 3.2319
49 | 0.12833 | 0.060069 | -0.12833 | -0.062151 | 1.9719e-06 | -0.0020816 | 0.0040964 | 0.0041223 | 0.0041223 | 0.99849 | 0.010761 | 0.99848 | 0.01089 | 1.8738
50 | 0.22385 | 0.10181 | -0.22385 | -0.10304 | 3.4772e-06 | -0.0012226 | 0.0071103 | 0.007125 | 0.007125 | 0.99842 | 0.011291 | 0.99841 | 0.011409 | 3.2386
51 | 0.10776 | 0.046812 | -0.10775 | -0.046946 | 2.3427e-06 | -0.00013407 | 0.0033969 | 0.0033985 | 0.0033985 | 0.99841 | 0.011409 | 0.99838 | 0.011209 | 1.6183
52 | -0.6662 | -0.31364 | 0.66648 | 0.31343 | 0.00027246 | -0.00021522 | 0.021506 | 0.021501 | 0.021506 | 0.98841 | -0.045343 | 0.98883 | -0.042354 | 10.2408
53 | -0.067368 | -0.032628 | 0.067368 | 0.0316 | 2.6941e-07 | -0.0010276 | 0.0021663 | 0.0021535 | 0.0021663 | 0.99748 | -0.00072049 | 0.99748 | -0.00075411 | 0.98467
54 | -0.067368 | -0.0316 | 0.067373 | 0.0083602 | 5.4009e-06 | -0.02324 | 0.0021535 | 0.0019646 | 0.0021535 | 0.99748 | -0.00075411 | 0.99756 | -0.00075392 | 0.97885
55 | -0.067373 | -0.0083602 | 0.067373 | 0.0079912 | 7.9994e-08 | -0.00036909 | 0.0019646 | 0.0019633 | 0.0019646 | 0.99756 | -0.00075392 | 0.99756 | -0.00074217 | 0.893
56 | 0.24501 | 0.080025 | -0.245 | -0.081248 | 3.834e-06 | -0.0012236 | 0.0074587 | 0.0074697 | 0.0074697 | 0.99756 | -0.00074217 | 0.99755 | -0.00071588 | 3.3953
57 | 0.12657 | 0.034565 | -0.12656 | -0.049011 | 1.2081e-05 | -0.014446 | 0.0037969 | 0.0039278 | 0.0039278 | 0.99755 | -0.00071588 | 0.99745 | -0.00055043 | 1.7854
58 | 0.11843 | 0.046684 | -0.11843 | -0.055051 | 6.543e-06 | -0.008367 | 0.003684 | 0.0037795 | 0.0037795 | 0.99755 | -0.00071588 | 0.99749 | -0.00036077 | 1.718
59 | -0.10775 | -0.052186 | 0.10775 | 0.051722 | 3.1146e-07 | -0.00046396 | 0.0034618 | 0.003456 | 0.0034618 | 0.99835 | 0.011457 | 0.99836 | 0.011432 | 1.5736
60 | -0.10775 | -0.051722 | 0.10775 | 0.046946 | 3.147e-06 | -0.0047768 | 0.003456 | 0.0033985 | 0.003456 | 0.99836 | 0.011432 | 0.99838 | 0.011209 | 1.5709
61 | -0.11843 | -0.057356 | 0.11843 | 0.055051 | 1.8653e-06 | -0.0023058 | 0.0038081 | 0.0037795 | 0.0038081 | 0.99748 | -0.00022969 | 0.99749 | -0.00036077 | 1.731
62 | 0.12656 | 0.049011 | -0.12655 | -0.05967 | 9.5211e-06 | -0.010659 | 0.0039278 | 0.0040495 | 0.0040495 | 0.99745 | -0.00055043 | 0.99738 | -6.722e-05 | 1.8407
63 | 0.057203 | 0.02637 | -0.057202 | -0.027704 | 2.5149e-07 | -0.0013341 | 0.0018231 | 0.0018396 | 0.0018396 | 0.99738 | -6.722e-05 | 0.99738 | -3.0975e-05 | 0.83618
64 | 0.069345 | 0.0333 | -0.069343 | -0.033584 | 2.1298e-06 | -0.00028456 | 0.0022265 | 0.0022301 | 0.0022301 | 0.99738 | -6.722e-05 | 0.99735 | -0.00027296 | 1.0619

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.7323 | 1.6356

## res_load
| p_mw | q_mvar
0 | 0.071117 | 0.034444
1 | 0.13109 | 0.063489
2 | 0.063649 | 0.030827
3 | 0.11966 | 0.057953
4 | 0.13962 | 0.067621
5 | 0.14872 | 0.072029
6 | 0.1336 | 0.064704
7 | 0.062292 | 0.030169
8 | 0.095466 | 0.046236
9 | 0.074282 | 0.035976
10 | 0.096705 | 0.046836
11 | 0.11504 | 0.055714
12 | 0.074348 | 0.036009
13 | 0.12726 | 0.061637
14 | 0.1473 | 0.07134
15 | 0.12401 | 0.060061
16 | 0.084439 | 0.040896
17 | 0.13924 | 0.067435
18 | 0.057496 | 0.027847
19 | 0.15297 | 0.074085
20 | 0.14089 | 0.068235
21 | 0.15993 | 0.077457
22 | 0.12849 | 0.062228
23 | 0.12833 | 0.062151
24 | 0.11609 | 0.056225
25 | 0.13216 | 0.06401
26 | 0.099742 | 0.048307
27 | 0.058938 | 0.028545
28 | 0.067368 | 0.032628
29 | 0.15642 | 0.075757
30 | 0.10775 | 0.052186
31 | 0.11843 | 0.057356
32 | 0.057202 | 0.027704
33 | 0.069343 | 0.033584

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1