## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_211_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_211_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_211_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_211_0_node_11 | 20 | n |  | TRUE
4 | bus_MV_211_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_211_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_211_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_211_0_node_30 | 20 | n |  | TRUE
8 | bus_MV_211_0_node_182 | 20 | n |  | TRUE
9 | bus_MV_211_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_211_0_node_175 | 20 | n |  | TRUE
11 | bus_MV_211_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_211_0_node_7 | 20 | n |  | TRUE
13 | bus_MV_211_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_211_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_211_0_node_167 | 20 | n |  | TRUE
16 | bus_MV_211_0_node_176 | 20 | n |  | TRUE
17 | bus_MV_211_0_node_180 | 20 | n |  | TRUE
18 | bus_MV_211_0_node_18 | 20 | n |  | TRUE
19 | bus_MV_211_0_node_202 | 20 | n |  | TRUE
20 | bus_MV_211_0_node_28 | 20 | n |  | TRUE
21 | bus_MV_211_0_node_12 | 20 | n |  | TRUE
22 | bus_MV_211_0_node_13 | 20 | n |  | TRUE
23 | bus_MV_211_0_node_14 | 20 | n |  | TRUE
24 | bus_MV_211_0_node_168 | 20 | n |  | TRUE
25 | bus_MV_211_0_node_174 | 20 | n |  | TRUE
26 | bus_MV_211_0_node_16 | 20 | n |  | TRUE
27 | bus_MV_211_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_211_0_node_20 | 20 | n |  | TRUE
29 | bus_MV_211_0_node_173 | 20 | n |  | TRUE
30 | bus_MV_211_0_node_19 | 20 | n |  | TRUE
31 | bus_MV_211_0_node_27 | 20 | n |  | TRUE
32 | bus_MV_211_0_node_26 | 20 | n |  | TRUE
33 | bus_MV_211_0_node_44 | 20 | n |  | TRUE
34 | bus_MV_211_0_node_148 | 20 | n |  | TRUE
35 | bus_MV_211_0_node_149 | 20 | n |  | TRUE
36 | bus_MV_211_0_node_150 | 20 | n |  | TRUE
37 | bus_MV_211_0_node_178 | 20 | n |  | TRUE
38 | bus_MV_211_0_node_152 | 20 | n |  | TRUE
39 | bus_MV_211_0_node_42 | 20 | n |  | TRUE
40 | bus_MV_211_0_node_45 | 20 | n |  | TRUE
41 | bus_MV_211_0_node_29 | 20 | n |  | TRUE
42 | bus_MV_211_0_node_31 | 20 | n |  | TRUE
43 | bus_MV_211_0_node_32 | 20 | n |  | TRUE
44 | bus_MV_211_0_node_33 | 20 | n |  | TRUE
45 | bus_MV_211_0_node_34 | 20 | n |  | TRUE
46 | bus_MV_211_0_node_37 | 20 | n |  | TRUE
47 | bus_MV_211_0_node_38 | 20 | n |  | TRUE
48 | bus_MV_211_0_node_35 | 20 | n |  | TRUE
49 | bus_MV_211_0_node_52 | 20 | n |  | TRUE
50 | bus_MV_211_0_node_36 | 20 | n |  | TRUE
51 | bus_MV_211_0_node_43 | 20 | n |  | TRUE
52 | bus_MV_211_0_node_41 | 20 | n |  | TRUE
53 | bus_MV_211_0_node_50 | 20 | n |  | TRUE
54 | bus_MV_211_0_node_197 | 20 | n |  | TRUE
55 | bus_MV_211_0_node_192 | 20 | n |  | TRUE
56 | bus_MV_211_0_node_40 | 20 | n |  | TRUE
57 | bus_MV_211_0_node_194 | 20 | n |  | TRUE
58 | bus_MV_211_0_node_51 | 20 | n |  | TRUE
59 | bus_MV_211_0_node_172 | 20 | n |  | TRUE
60 | bus_MV_211_0_node_47 | 20 | n |  | TRUE
61 | bus_MV_211_0_node_48 | 20 | n |  | TRUE
62 | bus_MV_211_0_node_49 | 20 | n |  | TRUE
63 | bus_MV_211_0_node_179 | 20 | n |  | TRUE
64 | bus_MV_211_0_node_181 | 20 | n |  | TRUE
65 | bus_MV_211_0_node_191 | 20 | n |  | TRUE
66 | bus_HV_211_0_node_20 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_211_0_load_0 | 0 | 0.23062 | 0.1117 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_211_0_load_11 | 3 | 0.12379 | 0.059956 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_211_0_load_3 | 4 | 0.16986 | 0.082268 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_211_0_load_182 | 8 | 0.2583 | 0.1251 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_211_0_load_175 | 10 | 0.28628 | 0.13865 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_211_0_load_167 | 15 | 0.39932 | 0.1934 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_211_0_load_176 | 16 | 0.31837 | 0.15419 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_211_0_load_202 | 19 | 0.21706 | 0.10513 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_211_0_load_28 | 20 | 0.25016 | 0.12116 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_211_0_load_168 | 24 | 0.15812 | 0.076579 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_211_0_load_174 | 25 | 0.17203 | 0.083317 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_211_0_load_16 | 26 | 0.30857 | 0.14945 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_211_0_load_173 | 29 | 0.25656 | 0.12426 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_211_0_load_26 | 32 | 0.095608 | 0.046305 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_211_0_load_44 | 33 | 0.053047 | 0.025692 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_211_0_load_148 | 34 | 0.079012 | 0.038267 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_211_0_load_149 | 35 | 0.33846 | 0.16393 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_211_0_load_152 | 38 | 0.074274 | 0.035972 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_211_0_load_45 | 40 | 0.19283 | 0.09339 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_211_0_load_31 | 42 | 0.32672 | 0.15824 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_211_0_load_38 | 47 | 0.23561 | 0.11411 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_211_0_load_52 | 49 | 0.23228 | 0.1125 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_211_0_load_41 | 52 | 0.19952 | 0.09663 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_211_0_load_50 | 53 | 0.22819 | 0.11052 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_211_0_load_197 | 54 | 0.21889 | 0.10601 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_211_0_load_194 | 57 | 0.32184 | 0.15587 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_211_0_load_51 | 58 | 0.39298 | 0.19033 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_211_0_load_172 | 59 | 0.32605 | 0.15791 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_211_0_load_49 | 62 | 0.20099 | 0.097346 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_211_0_load_179 | 63 | 0.23804 | 0.11529 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_211_0_load_181 | 64 | 0.25736 | 0.12464 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_211_0_load_191 | 65 | 0.22184 | 0.10744 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_211_0_line_0 |  | 0 | 1 | 0.014765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_211_0_line_1 |  | 1 | 2 | 0.11835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_211_0_line_2 |  | 2 | 3 | 0.066729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_211_0_line_3 |  | 3 | 21 | 0.026016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_211_0_line_4 |  | 4 | 5 | 0.003606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_211_0_line_5 |  | 5 | 6 | 0.36249 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_211_0_line_6 |  | 5 | 7 | 0.17253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_211_0_line_7 |  | 6 | 8 | 0.008496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_211_0_line_8 |  | 7 | 24 | 0.013096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_211_0_line_9 |  | 7 | 41 | 0.24932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_211_0_line_10 |  | 9 | 10 | 0.04094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_211_0_line_11 |  | 9 | 11 | 0.35556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_211_0_line_12 |  | 9 | 12 | 0.68083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_211_0_line_13 |  | 9 | 13 | 0.76885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_211_0_line_14 |  | 11 | 16 | 0.0093933 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_211_0_line_15 |  | 11 | 17 | 0.54793 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_211_0_line_16 |  | 12 | 14 | 0.44381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_211_0_line_17 |  | 12 | 15 | 0.051656 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_211_0_line_18 |  | 13 | 20 | 0.043896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_211_0_line_19 |  | 14 | 18 | 0.65691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_211_0_line_20 |  | 14 | 19 | 0.025077 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_211_0_line_21 |  | 17 | 64 | 0.004122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_211_0_line_22 |  | 17 | 36 | 0.74373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_211_0_line_23 |  | 18 | 28 | 1.1092 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_211_0_line_24 |  | 18 | 29 | 0.000612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_211_0_line_25 |  | 18 | 27 | 0.48634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_211_0_line_26 |  | 20 | 41 | 0.044401 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_211_0_line_27 |  | 21 | 22 | 0.11307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_211_0_line_28 |  | 22 | 23 | 0.40911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_211_0_line_29 |  | 22 | 24 | 0.092098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_211_0_line_30 |  | 23 | 25 | 0.028669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_211_0_line_31 |  | 26 | 27 | 0.004352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_211_0_line_32 |  | 28 | 33 | 0.070664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_211_0_line_33 |  | 28 | 30 | 0.23694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_211_0_line_34 |  | 30 | 31 | 1.1766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_211_0_line_35 |  | 30 | 32 | 0.28743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_211_0_line_36 |  | 31 | 40 | 0.011033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_211_0_line_37 |  | 34 | 35 | 0.043113 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_211_0_line_38 |  | 35 | 36 | 0.052239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_211_0_line_39 |  | 36 | 37 | 0.83669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_211_0_line_40 |  | 37 | 63 | 0.003314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_211_0_line_41 |  | 38 | 39 | 0.02124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_211_0_line_42 |  | 39 | 48 | 0.52903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_211_0_line_43 |  | 40 | 60 | 0.32357 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_211_0_line_44 |  | 42 | 43 | 0.036127 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_211_0_line_45 |  | 43 | 44 | 0.2164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_211_0_line_46 |  | 43 | 45 | 0.42142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_211_0_line_47 |  | 43 | 46 | 0.40265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_211_0_line_48 |  | 44 | 47 | 0.004731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_211_0_line_49 |  | 45 | 48 | 0.24835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_211_0_line_50 |  | 45 | 49 | 0.026364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_211_0_line_51 |  | 46 | 54 | 0.049207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_211_0_line_52 |  | 46 | 55 | 0.16413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_211_0_line_53 |  | 47 | 56 | 0.24701 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_211_0_line_54 |  | 48 | 50 | 0.1536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_211_0_line_55 |  | 48 | 51 | 0.40313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_211_0_line_56 |  | 48 | 52 | 0.036726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_211_0_line_57 |  | 50 | 53 | 0.071606 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_211_0_line_58 |  | 51 | 58 | 0.054713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_211_0_line_59 |  | 51 | 59 | 0.22863 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_211_0_line_60 |  | 53 | 61 | 0.025715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_211_0_line_61 |  | 55 | 65 | 0.017056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_211_0_line_62 |  | 56 | 57 | 0.006646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_211_0_line_63 |  | 60 | 61 | 0.53464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_211_0_line_64 |  | 60 | 62 | 0.003001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_211_0_trafo_20 | 25 MVA 110/20 kV | 66 | 28 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2670080.0449 | 1212987.6605
1 | 2670093.0746 | 1212993.4172
2 | 2670199.9387 | 1212998.9105
3 | 2670179.6069 | 1213061.6885
4 | 2670415.6534 | 1213275.1931
5 | 2670412.1625 | 1213274.2513
6 | 2670366.6478 | 1213501.6572
7 | 2670240.3849 | 1213258.1716
8 | 2670361.0396 | 1213504.4039
9 | 2670369.7531 | 1213806.808
10 | 2670328.845 | 1213810.3166
11 | 2670640.4455 | 1213754.9306
12 | 2670092.3085 | 1213813.8457
13 | 2670145.9687 | 1213499.3121
14 | 2670366.7638 | 1213973.1664
15 | 2670058.7811 | 1213853.1432
16 | 2670649.7922 | 1213753.9963
17 | 2671173.9896 | 1213879.6519
18 | 2670044.5832 | 1214195.1694
19 | 2670387.0607 | 1213987.8929
20 | 2670150.4151 | 1213459.0724
21 | 2670169.5778 | 1213085.6633
22 | 2670187.7018 | 1213167.161
23 | 2669875.0654 | 1212955.4803
24 | 2670234.254 | 1213246.5921
25 | 2669846.341 | 1212956.7558
26 | 2670188.4105 | 1214354.6496
27 | 2670191.327 | 1214357.8859
28 | 2669199.5592 | 1213956.2444
29 | 2670044.2704 | 1214194.6432
30 | 2669129.2663 | 1213850.2405
31 | 2668463.8171 | 1214042.5969
32 | 2668887.0003 | 1213698.4648
33 | 2669143.3547 | 1213999.075
34 | 2671499.0582 | 1213843.6726
35 | 2671458.473 | 1213858.2177
36 | 2671484.2805 | 1213900.965
37 | 2671535.7834 | 1214346.9645
38 | 2667966.8343 | 1214397.8486
39 | 2667982.671 | 1214412.0025
40 | 2668453.5126 | 1214045.6583
41 | 2670151.8489 | 1213414.6947
42 | 2668235.5689 | 1214490.9288
43 | 2668256.6665 | 1214520.2552
44 | 2668289.0754 | 1214691.8783
45 | 2668144.5816 | 1214365.8546
46 | 2668447.7979 | 1214370.0071
47 | 2668292.2674 | 1214688.3793
48 | 2667997.9823 | 1214209.6615
49 | 2668121.6571 | 1214377.3221
50 | 2668102.317 | 1214162.1555
51 | 2667643.272 | 1214047.8938
52 | 2667973.3428 | 1214236.9533
53 | 2668065.9553 | 1214100.4685
54 | 2668447.1931 | 1214320.8137
55 | 2668520.1994 | 1214472.7806
56 | 2668515.7597 | 1214793.5753
57 | 2668520.4093 | 1214788.8146
58 | 2667609.4656 | 1214086.568
59 | 2667468.9859 | 1213899.9163
60 | 2668195.5804 | 1213850.2926
61 | 2668085.8095 | 1214084.5629
62 | 2668196.3806 | 1213847.4
63 | 2671535.8763 | 1214343.6524
64 | 2671177.8222 | 1213881.1987
65 | 2668521.847 | 1214487.3642
66 | 2669199.5592 | 1213956.2444

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98825 | 0.039896 | 0.23062 | 0.1117
1 | 0.98825 | 0.039855 | 0 | 0
2 | 0.98829 | 0.039534 | 0 | 0
3 | 0.98831 | 0.039362 | 0.12379 | 0.059956
4 | 0.9883 | 0.037205 | 0.16986 | 0.082268
5 | 0.9883 | 0.037198 | 0 | 0
6 | 0.98818 | 0.03824 | 0 | 0
7 | 0.98844 | 0.038245 | 0 | 0
8 | 0.98818 | 0.038267 | 0.2583 | 0.1251
9 | 0.99031 | 0.024962 | 0 | 0
10 | 0.99029 | 0.025103 | 0.28628 | 0.13865
11 | 0.98975 | 0.029315 | 0 | 0
12 | 0.9928 | 0.0059647 | 0 | 0
13 | 0.98897 | 0.035494 | 0 | 0
14 | 0.99466 | -0.008131 | 0 | 0
15 | 0.99276 | 0.0057117 | 0.39932 | 0.1934
16 | 0.98974 | 0.029278 | 0.31837 | 0.15419
17 | 0.98879 | 0.021292 | 0 | 0
18 | 0.99758 | -0.030065 | 0 | 0
19 | 0.99465 | -0.0081975 | 0.21706 | 0.10513
20 | 0.98889 | 0.036123 | 0.25016 | 0.12116
21 | 0.98832 | 0.039258 | 0 | 0
22 | 0.98837 | 0.038815 | 0 | 0
23 | 0.98828 | 0.039532 | 0 | 0
24 | 0.98843 | 0.038337 | 0.15812 | 0.076579
25 | 0.98827 | 0.039592 | 0.17203 | 0.083317
26 | 0.99739 | -0.028427 | 0.30857 | 0.14945
27 | 0.99739 | -0.028443 | 0 | 0
28 | 1 | 0 | -7.4715 | -3.3008
29 | 0.99758 | -0.030063 | 0.25656 | 0.12426
30 | 0.99901 | 0.0075426 | 0 | 0
31 | 0.99425 | 0.045648 | 0 | 0
32 | 0.99898 | 0.0078091 | 0.095608 | 0.046305
33 | 0.99999 | -4.5551e-05 | 0.053047 | 0.025692
34 | 0.98813 | 0.026052 | 0.079012 | 0.038267
35 | 0.98814 | 0.026094 | 0.33846 | 0.16393
36 | 0.98817 | 0.025829 | 0 | 0
37 | 0.98791 | 0.027733 | 0 | 0
38 | 0.98945 | 0.050054 | 0.074274 | 0.035972
39 | 0.98945 | 0.050035 | 0 | 0
40 | 0.9942 | 0.046017 | 0.19283 | 0.09339
41 | 0.9888 | 0.035375 | 0 | 0
42 | 0.98827 | 0.059961 | 0.32672 | 0.15824
43 | 0.98829 | 0.060107 | 0 | 0
44 | 0.98813 | 0.061541 | 0 | 0
45 | 0.989 | 0.053968 | 0 | 0
46 | 0.98806 | 0.062016 | 0 | 0
47 | 0.98813 | 0.061573 | 0.23561 | 0.11411
48 | 0.9895 | 0.049785 | 0 | 0
49 | 0.989 | 0.054042 | 0.23228 | 0.1125
50 | 0.99 | 0.045632 | 0 | 0
51 | 0.98913 | 0.053165 | 0 | 0
52 | 0.98949 | 0.049874 | 0.19952 | 0.09663
53 | 0.99035 | 0.048294 | 0.22819 | 0.11052
54 | 0.98805 | 0.062146 | 0.21889 | 0.10601
55 | 0.98801 | 0.062438 | 0 | 0
56 | 0.98797 | 0.060583 | 0 | 0
57 | 0.98797 | 0.060609 | 0.32184 | 0.15587
58 | 0.9891 | 0.053425 | 0.39298 | 0.19033
59 | 0.98898 | 0.052241 | 0.32605 | 0.15791
60 | 0.99234 | 0.031933 | 0 | 0
61 | 0.99044 | 0.047532 | 0 | 0
62 | 0.99234 | 0.03194 | 0.20099 | 0.097346
63 | 0.98791 | 0.027743 | 0.23804 | 0.11529
64 | 0.98879 | 0.021305 | 0.25736 | 0.12464
65 | 0.98801 | 0.062484 | 0.22184 | 0.10744
66 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23062 | -0.1117 | 0.23063 | 0.11135 | 1.1037e-06 | -0.00034397 | 0.0074852 | 0.0074809 | 0.0074852 | 0.98825 | 0.039896 | 0.98825 | 0.039855 | 3.4024
1 | -0.23063 | -0.11135 | 0.23063 | 0.1086 | 8.8011e-06 | -0.0027573 | 0.0074809 | 0.0074462 | 0.0074809 | 0.98825 | 0.039855 | 0.98829 | 0.039534 | 3.4004
2 | -0.23063 | -0.1086 | 0.23064 | 0.10704 | 4.9265e-06 | -0.0015547 | 0.0074462 | 0.0074269 | 0.0074462 | 0.98829 | 0.039534 | 0.98831 | 0.039362 | 3.3846
3 | -0.35443 | -0.167 | 0.35444 | 0.16639 | 4.5458e-06 | -0.00060538 | 0.011444 | 0.011437 | 0.011444 | 0.98831 | 0.039362 | 0.98832 | 0.039258 | 5.2019
4 | -0.16986 | -0.082268 | 0.16986 | 0.082184 | 1.4626e-07 | -8.4051e-05 | 0.0055129 | 0.0055118 | 0.0055129 | 0.9883 | 0.037205 | 0.9883 | 0.037198 | 2.5058
5 | 0.25834 | 0.11646 | -0.2583 | -0.1249 | 3.3568e-05 | -0.0084425 | 0.0082771 | 0.0083816 | 0.0083816 | 0.9883 | 0.037198 | 0.98818 | 0.03824 | 3.8098
6 | -0.4282 | -0.19865 | 0.42826 | 0.19848 | 5.8425e-05 | -0.00016461 | 0.013788 | 0.013785 | 0.013788 | 0.9883 | 0.037198 | 0.98844 | 0.038245 | 6.5656
7 | 0.2583 | 0.1249 | -0.2583 | -0.1251 | 7.9706e-07 | -0.00019785 | 0.0083816 | 0.0083842 | 0.0083842 | 0.98818 | 0.03824 | 0.98818 | 0.038267 | 3.811
8 | 0.68466 | 0.31101 | -0.68465 | -0.31131 | 8.434e-06 | -0.00030299 | 0.021962 | 0.021966 | 0.021966 | 0.98844 | 0.038245 | 0.98843 | 0.038337 | 9.9844
9 | -1.1129 | -0.50949 | 1.1133 | 0.5038 | 0.00042448 | -0.0056922 | 0.035747 | 0.035677 | 0.035747 | 0.98844 | 0.038245 | 0.9888 | 0.035375 | 16.2486
10 | 0.28628 | 0.13769 | -0.28628 | -0.13865 | 4.6929e-06 | -0.00095722 | 0.0092602 | 0.0092724 | 0.0092724 | 0.99031 | 0.024962 | 0.99029 | 0.025103 | 4.2147
11 | 1.2333 | 0.54994 | -1.2326 | -0.55805 | 0.00073736 | -0.0081022 | 0.039364 | 0.039463 | 0.039463 | 0.99031 | 0.024962 | 0.98975 | 0.029315 | 17.9378
12 | -2.8853 | -1.2942 | 2.893 | 1.2805 | 0.0077072 | -0.013696 | 0.09218 | 0.09199 | 0.09218 | 0.99031 | 0.024962 | 0.9928 | 0.0059647 | 41.8999
13 | 1.3657 | 0.60658 | -1.3637 | -0.62397 | 0.0019571 | -0.017398 | 0.043559 | 0.043775 | 0.043775 | 0.99031 | 0.024962 | 0.98897 | 0.035494 | 19.8977
14 | 0.31837 | 0.15418 | -0.31837 | -0.15419 | 1.7815e-06 | -9.869e-06 | 0.010317 | 0.010317 | 0.010317 | 0.98975 | 0.029315 | 0.98974 | 0.029278 | 4.9131
15 | 0.91422 | 0.40386 | -0.91339 | -0.40398 | 0.00082977 | -0.00012041 | 0.02915 | 0.029158 | 0.029158 | 0.98975 | 0.029315 | 0.98879 | 0.021292 | 13.8847
16 | -3.2923 | -1.4739 | 3.2988 | 1.4653 | 0.0065101 | -0.008533 | 0.10488 | 0.10476 | 0.10488 | 0.9928 | 0.0059647 | 0.99466 | -0.008131 | 47.6748
17 | 0.39934 | 0.19335 | -0.39932 | -0.1934 | 1.5319e-05 | -5.1186e-05 | 0.012901 | 0.012902 | 0.012902 | 0.9928 | 0.0059647 | 0.99276 | 0.0057117 | 6.1437
18 | 1.3637 | 0.62397 | -1.3636 | -0.62497 | 0.00011233 | -0.00099167 | 0.043775 | 0.043788 | 0.043788 | 0.98897 | 0.035494 | 0.98889 | 0.036123 | 19.9034
19 | -3.5159 | -1.5704 | 3.5268 | 1.5581 | 0.010935 | -0.012319 | 0.11176 | 0.11157 | 0.11176 | 0.99466 | -0.008131 | 0.99758 | -0.030065 | 50.7984
20 | 0.21706 | 0.1051 | -0.21706 | -0.10513 | 2.1889e-06 | -2.8246e-05 | 0.0069992 | 0.0069995 | 0.0069995 | 0.99466 | -0.008131 | 0.99465 | -0.0081975 | 3.3331
21 | 0.25736 | 0.12455 | -0.25736 | -0.12464 | 3.8344e-07 | -9.6109e-05 | 0.0083472 | 0.0083484 | 0.0083484 | 0.98879 | 0.021292 | 0.98879 | 0.021305 | 3.7947
22 | 0.65603 | 0.27943 | -0.65559 | -0.29666 | 0.00043446 | -0.017222 | 0.020818 | 0.021021 | 0.021021 | 0.98879 | 0.021292 | 0.98817 | 0.025829 | 9.5552
23 | -4.092 | -1.8202 | 4.101 | 1.7887 | 0.0089675 | -0.031444 | 0.1296 | 0.12916 | 0.1296 | 0.99758 | -0.030065 | 1 | 0 | 35.8007
24 | 0.25656 | 0.12425 | -0.25656 | -0.12426 | 5.5399e-08 | -1.4525e-05 | 0.0082491 | 0.0082492 | 0.0082492 | 0.99758 | -0.030065 | 0.99758 | -0.030063 | 3.7497
25 | 0.30863 | 0.13781 | -0.30857 | -0.14934 | 6.2996e-05 | -0.011535 | 0.0097809 | 0.0099219 | 0.0099219 | 0.99758 | -0.030065 | 0.99739 | -0.028443 | 4.51
26 | 1.1134 | 0.50381 | -1.1133 | -0.5038 | 0.00010069 | 1.1239e-05 | 0.035676 | 0.035677 | 0.035677 | 0.98889 | 0.036123 | 0.9888 | 0.035375 | 16.9888
27 | -0.35444 | -0.16639 | 0.35446 | 0.16376 | 1.9687e-05 | -0.0026312 | 0.011437 | 0.011404 | 0.011437 | 0.98832 | 0.039258 | 0.98837 | 0.038815 | 5.1985
28 | 0.17205 | 0.073113 | -0.17203 | -0.082649 | 1.6617e-05 | -0.0095363 | 0.0054599 | 0.0055748 | 0.0055748 | 0.98837 | 0.038815 | 0.98828 | 0.039532 | 2.534
29 | -0.5265 | -0.23687 | 0.52654 | 0.23473 | 3.4906e-05 | -0.0021379 | 0.016862 | 0.016837 | 0.016862 | 0.98837 | 0.038815 | 0.98843 | 0.038337 | 7.6647
30 | 0.17203 | 0.082649 | -0.17203 | -0.083317 | 1.1913e-06 | -0.0006682 | 0.0055748 | 0.0055833 | 0.0055833 | 0.98828 | 0.039532 | 0.98827 | 0.039592 | 2.5379
31 | -0.30857 | -0.14945 | 0.30857 | 0.14934 | 5.7202e-07 | -0.0001032 | 0.0099232 | 0.0099219 | 0.0099232 | 0.99739 | -0.028427 | 0.99739 | -0.028443 | 4.5106
32 | 0.053048 | 0.025608 | -0.053047 | -0.025692 | 3.6427e-07 | -8.413e-05 | 0.0017004 | 0.0017015 | 0.0017015 | 1 | 0 | 0.99999 | -4.5551e-05 | 0.81024
33 | 3.3034 | 1.476 | -3.3 | -1.4806 | 0.003453 | -0.0046274 | 0.10445 | 0.10451 | 0.10451 | 1 | 0 | 0.99901 | 0.0075426 | 47.5066
34 | 3.2044 | 1.4412 | -3.1881 | -1.4642 | 0.016244 | -0.023085 | 0.10153 | 0.10186 | 0.10186 | 0.99901 | 0.0075426 | 0.99425 | 0.045648 | 46.3007
35 | 0.095612 | 0.039457 | -0.095608 | -0.046305 | 3.5182e-06 | -0.006848 | 0.0029888 | 0.0030698 | 0.0030698 | 0.99901 | 0.0075426 | 0.99898 | 0.0078091 | 1.3953
36 | 3.1881 | 1.4642 | -3.188 | -1.4645 | 0.00015283 | -0.00021506 | 0.10186 | 0.10186 | 0.10186 | 0.99425 | 0.045648 | 0.9942 | 0.046017 | 46.3021
37 | -0.079012 | -0.038267 | 0.079012 | 0.038217 | 5.0515e-07 | -4.9938e-05 | 0.0025647 | 0.0025641 | 0.0025647 | 0.98813 | 0.026052 | 0.98814 | 0.026094 | 1.2213
38 | -0.41748 | -0.20214 | 0.41749 | 0.20093 | 1.2791e-05 | -0.0012141 | 0.013551 | 0.013535 | 0.013551 | 0.98814 | 0.026094 | 0.98817 | 0.025829 | 6.1594
39 | 0.2381 | 0.095728 | -0.23804 | -0.11521 | 6.4648e-05 | -0.019483 | 0.0074969 | 0.0077275 | 0.0077275 | 0.98817 | 0.025829 | 0.98791 | 0.027733 | 3.5125
40 | 0.23804 | 0.11521 | -0.23804 | -0.11529 | 2.6423e-07 | -7.7146e-05 | 0.0077275 | 0.0077285 | 0.0077285 | 0.98791 | 0.027733 | 0.98791 | 0.027743 | 3.513
41 | -0.074274 | -0.035972 | 0.074274 | 0.035476 | 1.6395e-07 | -0.00049643 | 0.0024077 | 0.0024015 | 0.0024077 | 0.98945 | 0.050054 | 0.98945 | 0.050035 | 1.0944
42 | -0.074274 | -0.035476 | 0.074278 | 0.02311 | 3.8322e-06 | -0.012366 | 0.0024015 | 0.0022694 | 0.0024015 | 0.98945 | 0.050035 | 0.9895 | 0.049785 | 1.0916
43 | 2.9951 | 1.3711 | -2.9899 | -1.3681 | 0.0052741 | 0.0029224 | 0.095645 | 0.09565 | 0.09565 | 0.9942 | 0.046017 | 0.99234 | 0.031933 | 45.5475
44 | -0.32672 | -0.15824 | 0.32673 | 0.1582 | 7.2373e-06 | -3.759e-05 | 0.010604 | 0.010603 | 0.010604 | 0.98827 | 0.059961 | 0.98829 | 0.060107 | 5.0495
45 | 0.5576 | 0.26445 | -0.55751 | -0.26947 | 9.4206e-05 | -0.0050178 | 0.018026 | 0.01809 | 0.01809 | 0.98829 | 0.060107 | 0.98813 | 0.061541 | 8.2226
46 | -1.3252 | -0.62138 | 1.3262 | 0.61185 | 0.0010254 | -0.0095306 | 0.042752 | 0.042631 | 0.042752 | 0.98829 | 0.060107 | 0.989 | 0.053968 | 19.4327
47 | 0.44085 | 0.19873 | -0.44074 | -0.20809 | 0.00010811 | -0.0093556 | 0.014125 | 0.01424 | 0.01424 | 0.98829 | 0.060107 | 0.98806 | 0.062016 | 6.4727
48 | 0.55751 | 0.26947 | -0.5575 | -0.26958 | 2.067e-06 | -0.00010968 | 0.01809 | 0.018091 | 0.018091 | 0.98813 | 0.061541 | 0.98813 | 0.061573 | 8.2233
49 | -1.5585 | -0.72373 | 1.5593 | 0.71818 | 0.00083286 | -0.0055559 | 0.050155 | 0.050084 | 0.050155 | 0.989 | 0.053968 | 0.9895 | 0.049785 | 22.7979
50 | 0.23228 | 0.11188 | -0.23228 | -0.1125 | 1.9953e-06 | -0.00061511 | 0.0075255 | 0.0075333 | 0.0075333 | 0.989 | 0.053968 | 0.989 | 0.054042 | 3.4242
51 | 0.21889 | 0.10487 | -0.21889 | -0.10601 | 3.31e-06 | -0.001146 | 0.0070912 | 0.0071057 | 0.0071057 | 0.98806 | 0.062016 | 0.98805 | 0.062146 | 3.2299
52 | 0.22185 | 0.10322 | -0.22184 | -0.10704 | 1.1273e-05 | -0.0038223 | 0.007149 | 0.0071968 | 0.0071968 | 0.98806 | 0.062016 | 0.98801 | 0.062438 | 3.2713
53 | 0.32189 | 0.15546 | -0.32184 | -0.15572 | 4.8014e-05 | -0.00025781 | 0.010443 | 0.010447 | 0.010447 | 0.98813 | 0.061573 | 0.98797 | 0.060583 | 4.9747
54 | -2.5525 | -1.1745 | 2.5539 | 1.1713 | 0.0013771 | -0.0031841 | 0.081971 | 0.081927 | 0.081971 | 0.9895 | 0.049785 | 0.99 | 0.045632 | 37.2594
55 | 0.71938 | 0.3374 | -0.71909 | -0.34673 | 0.00029066 | -0.0093342 | 0.023181 | 0.023299 | 0.023299 | 0.9895 | 0.049785 | 0.98913 | 0.053165 | 10.5904
56 | 0.19952 | 0.095772 | -0.19952 | -0.09663 | 2.0473e-06 | -0.00085794 | 0.0064566 | 0.0064674 | 0.0064674 | 0.9895 | 0.049785 | 0.98949 | 0.049874 | 2.9397
57 | -2.5539 | -1.1713 | 2.5547 | 1.1717 | 0.00085632 | 0.00045256 | 0.081927 | 0.081926 | 0.081927 | 0.99 | 0.045632 | 0.99035 | 0.048294 | 39.0129
58 | 0.393 | 0.18906 | -0.39298 | -0.19033 | 1.1847e-05 | -0.0012745 | 0.012728 | 0.012744 | 0.012744 | 0.98913 | 0.053165 | 0.9891 | 0.053425 | 5.7927
59 | 0.3261 | 0.15768 | -0.32605 | -0.15791 | 4.5537e-05 | -0.00023848 | 0.010571 | 0.010575 | 0.010575 | 0.98913 | 0.053165 | 0.98898 | 0.052241 | 5.0355
60 | -2.7829 | -1.2822 | 2.7832 | 1.2817 | 0.00027383 | -0.00052101 | 0.089315 | 0.089308 | 0.089315 | 0.99035 | 0.048294 | 0.99044 | 0.047532 | 40.5978
61 | 0.22184 | 0.10704 | -0.22184 | -0.10744 | 1.1802e-06 | -0.00039718 | 0.0071968 | 0.0072019 | 0.0072019 | 0.98801 | 0.062438 | 0.98801 | 0.062484 | 3.2736
62 | 0.32184 | 0.15572 | -0.32184 | -0.15587 | 9.6847e-07 | -0.0001546 | 0.010447 | 0.010449 | 0.010449 | 0.98797 | 0.060583 | 0.98797 | 0.060609 | 4.7494
63 | 2.7889 | 1.2709 | -2.7832 | -1.2817 | 0.0056831 | -0.010861 | 0.089156 | 0.089308 | 0.089308 | 0.99234 | 0.031933 | 0.99044 | 0.047532 | 40.5944
64 | 0.20099 | 0.097276 | -0.20099 | -0.097346 | 1.6901e-07 | -7.0509e-05 | 0.0064958 | 0.0064967 | 0.0064967 | 0.99234 | 0.031933 | 0.99234 | 0.03194 | 2.953

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.4715 | 3.3008

## res_load
| p_mw | q_mvar
0 | 0.23062 | 0.1117
1 | 0.12379 | 0.059956
2 | 0.16986 | 0.082268
3 | 0.2583 | 0.1251
4 | 0.28628 | 0.13865
5 | 0.39932 | 0.1934
6 | 0.31837 | 0.15419
7 | 0.21706 | 0.10513
8 | 0.25016 | 0.12116
9 | 0.15812 | 0.076579
10 | 0.17203 | 0.083317
11 | 0.30857 | 0.14945
12 | 0.25656 | 0.12426
13 | 0.095608 | 0.046305
14 | 0.053047 | 0.025692
15 | 0.079012 | 0.038267
16 | 0.33846 | 0.16393
17 | 0.074274 | 0.035972
18 | 0.19283 | 0.09339
19 | 0.32672 | 0.15824
20 | 0.23561 | 0.11411
21 | 0.23228 | 0.1125
22 | 0.19952 | 0.09663
23 | 0.22819 | 0.11052
24 | 0.21889 | 0.10601
25 | 0.32184 | 0.15587
26 | 0.39298 | 0.19033
27 | 0.32605 | 0.15791
28 | 0.20099 | 0.097346
29 | 0.23804 | 0.11529
30 | 0.25736 | 0.12464
31 | 0.22184 | 0.10744

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1