## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_211_1_node_21 | 20 | n |  | TRUE
1 | bus_MV_211_1_node_22 | 20 | n |  | TRUE
2 | bus_MV_211_1_node_23 | 20 | n |  | TRUE
3 | bus_MV_211_1_node_25 | 20 | n |  | TRUE
4 | bus_MV_211_1_node_169 | 20 | n |  | TRUE
5 | bus_MV_211_1_node_63 | 20 | n |  | TRUE
6 | bus_MV_211_1_node_153 | 20 | n |  | TRUE
7 | bus_MV_211_1_node_154 | 20 | n |  | TRUE
8 | bus_MV_211_1_node_156 | 20 | n |  | TRUE
9 | bus_MV_211_1_node_157 | 20 | n |  | TRUE
10 | bus_MV_211_1_node_75 | 20 | n |  | TRUE
11 | bus_MV_211_1_node_158 | 20 | n |  | TRUE
12 | bus_MV_211_1_node_159 | 20 | n |  | TRUE
13 | bus_MV_211_1_node_160 | 20 | n |  | TRUE
14 | bus_MV_211_1_node_70 | 20 | n |  | TRUE
15 | bus_MV_211_1_node_82 | 20 | n |  | TRUE
16 | bus_MV_211_1_node_161 | 20 | n |  | TRUE
17 | bus_MV_211_1_node_162 | 20 | n |  | TRUE
18 | bus_MV_211_1_node_95 | 20 | n |  | TRUE
19 | bus_MV_211_1_node_165 | 20 | n |  | TRUE
20 | bus_MV_211_1_node_91 | 20 | n |  | TRUE
21 | bus_MV_211_1_node_190 | 20 | n |  | TRUE
22 | bus_MV_211_1_node_58 | 20 | n |  | TRUE
23 | bus_MV_211_1_node_53 | 20 | n |  | TRUE
24 | bus_MV_211_1_node_54 | 20 | n |  | TRUE
25 | bus_MV_211_1_node_55 | 20 | n |  | TRUE
26 | bus_MV_211_1_node_56 | 20 | n |  | TRUE
27 | bus_MV_211_1_node_59 | 20 | n |  | TRUE
28 | bus_MV_211_1_node_61 | 20 | n |  | TRUE
29 | bus_MV_211_1_node_201 | 20 | n |  | TRUE
30 | bus_MV_211_1_node_57 | 20 | n |  | TRUE
31 | bus_MV_211_1_node_99 | 20 | n |  | TRUE
32 | bus_MV_211_1_node_87 | 20 | n |  | TRUE
33 | bus_MV_211_1_node_60 | 20 | n |  | TRUE
34 | bus_MV_211_1_node_62 | 20 | n |  | TRUE
35 | bus_MV_211_1_node_64 | 20 | n |  | TRUE
36 | bus_MV_211_1_node_83 | 20 | n |  | TRUE
37 | bus_MV_211_1_node_193 | 20 | n |  | TRUE
38 | bus_MV_211_1_node_65 | 20 | n |  | TRUE
39 | bus_MV_211_1_node_66 | 20 | n |  | TRUE
40 | bus_MV_211_1_node_68 | 20 | n |  | TRUE
41 | bus_MV_211_1_node_71 | 20 | n |  | TRUE
42 | bus_MV_211_1_node_74 | 20 | n |  | TRUE
43 | bus_MV_211_1_node_67 | 20 | n |  | TRUE
44 | bus_MV_211_1_node_198 | 20 | n |  | TRUE
45 | bus_MV_211_1_node_72 | 20 | n |  | TRUE
46 | bus_MV_211_1_node_77 | 20 | n |  | TRUE
47 | bus_MV_211_1_node_69 | 20 | n |  | TRUE
48 | bus_MV_211_1_node_86 | 20 | n |  | TRUE
49 | bus_MV_211_1_node_76 | 20 | n |  | TRUE
50 | bus_MV_211_1_node_100 | 20 | n |  | TRUE
51 | bus_MV_211_1_node_73 | 20 | n |  | TRUE
52 | bus_MV_211_1_node_200 | 20 | n |  | TRUE
53 | bus_MV_211_1_node_196 | 20 | n |  | TRUE
54 | bus_MV_211_1_node_199 | 20 | n |  | TRUE
55 | bus_MV_211_1_node_78 | 20 | n |  | TRUE
56 | bus_MV_211_1_node_79 | 20 | n |  | TRUE
57 | bus_MV_211_1_node_80 | 20 | n |  | TRUE
58 | bus_MV_211_1_node_81 | 20 | n |  | TRUE
59 | bus_MV_211_1_node_203 | 20 | n |  | TRUE
60 | bus_MV_211_1_node_183 | 20 | n |  | TRUE
61 | bus_MV_211_1_node_84 | 20 | n |  | TRUE
62 | bus_MV_211_1_node_85 | 20 | n |  | TRUE
63 | bus_MV_211_1_node_88 | 20 | n |  | TRUE
64 | bus_MV_211_1_node_89 | 20 | n |  | TRUE
65 | bus_MV_211_1_node_90 | 20 | n |  | TRUE
66 | bus_MV_211_1_node_97 | 20 | n |  | TRUE
67 | bus_MV_211_1_node_98 | 20 | n |  | TRUE
68 | bus_MV_211_1_node_92 | 20 | n |  | TRUE
69 | bus_MV_211_1_node_93 | 20 | n |  | TRUE
70 | bus_MV_211_1_node_94 | 20 | n |  | TRUE
71 | bus_MV_211_1_node_96 | 20 | n |  | TRUE
72 | bus_HV_211_1_node_69 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_211_1_load_21 | 0 | 0.14763 | 0.071502 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_211_1_load_169 | 4 | 0.26143 | 0.12661 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_211_1_load_63 | 5 | 0.22104 | 0.10705 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_211_1_load_153 | 6 | 0.1946 | 0.094251 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_211_1_load_156 | 8 | 0.071267 | 0.034516 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_211_1_load_158 | 11 | 0.10468 | 0.050698 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_211_1_load_160 | 13 | 0.12631 | 0.061173 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_211_1_load_161 | 16 | 0.30011 | 0.14535 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_211_1_load_162 | 17 | 0.087822 | 0.042534 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_211_1_load_165 | 19 | 0.29421 | 0.14249 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_211_1_load_190 | 21 | 0.32549 | 0.15764 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_211_1_load_53 | 23 | 0.36093 | 0.17481 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_211_1_load_201 | 29 | 0.11247 | 0.054472 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_211_1_load_99 | 31 | 0.23002 | 0.11141 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_211_1_load_87 | 32 | 0.28045 | 0.13583 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_211_1_load_60 | 33 | 0.23898 | 0.11574 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_211_1_load_64 | 35 | 0.25899 | 0.12543 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_211_1_load_83 | 36 | 0.36344 | 0.17602 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_211_1_load_193 | 37 | 0.07091 | 0.034343 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_211_1_load_65 | 38 | 0.29927 | 0.14494 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_211_1_load_198 | 44 | 0.26973 | 0.13064 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_211_1_load_77 | 46 | 0.40394 | 0.19564 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_211_1_load_86 | 48 | 0.18688 | 0.09051 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_211_1_load_76 | 49 | 0.36503 | 0.17679 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_211_1_load_100 | 50 | 0.34756 | 0.16833 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_211_1_load_200 | 52 | 0.25629 | 0.12413 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_211_1_load_196 | 53 | 0.081823 | 0.039629 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_211_1_load_199 | 54 | 0.063969 | 0.030982 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_211_1_load_78 | 55 | 0.30654 | 0.14847 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_211_1_load_203 | 59 | 0.25017 | 0.12116 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_211_1_load_183 | 60 | 0.21645 | 0.10483 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_211_1_load_97 | 66 | 0.34661 | 0.16787 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_211_1_load_98 | 67 | 0.28984 | 0.14037 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_211_1_load_92 | 68 | 0.18657 | 0.090358 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_211_1_line_0 |  | 0 | 1 | 0.024667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_211_1_line_1 |  | 1 | 2 | 0.37443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_211_1_line_2 |  | 2 | 3 | 0.26104 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_211_1_line_3 |  | 2 | 4 | 0.079201 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_211_1_line_4 |  | 3 | 5 | 0.12698 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_211_1_line_5 |  | 5 | 36 | 0.15498 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_211_1_line_6 |  | 5 | 7 | 0.19319 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_211_1_line_7 |  | 6 | 7 | 0.028152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_211_1_line_8 |  | 8 | 9 | 0.041996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_211_1_line_9 |  | 9 | 10 | 0.16004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_211_1_line_10 |  | 10 | 54 | 0.021272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_211_1_line_11 |  | 10 | 12 | 0.056993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_211_1_line_12 |  | 10 | 30 | 0.52297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_211_1_line_13 |  | 10 | 39 | 0.59743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_211_1_line_14 |  | 11 | 12 | 0.017027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_211_1_line_15 |  | 13 | 14 | 0.013138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_211_1_line_16 |  | 13 | 15 | 0.056003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_211_1_line_17 |  | 14 | 16 | 0.011247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_211_1_line_18 |  | 14 | 47 | 0.10447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_211_1_line_19 |  | 15 | 56 | 0.21136 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_211_1_line_20 |  | 17 | 18 | 0.042818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_211_1_line_21 |  | 18 | 69 | 0.090197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_211_1_line_22 |  | 19 | 20 | 0.004957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_211_1_line_23 |  | 20 | 64 | 0.96068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_211_1_line_24 |  | 21 | 22 | 0.080181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_211_1_line_25 |  | 22 | 25 | 0.56089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_211_1_line_26 |  | 22 | 30 | 0.25938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_211_1_line_27 |  | 23 | 24 | 0.004592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_211_1_line_28 |  | 23 | 25 | 0.009254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_211_1_line_29 |  | 24 | 26 | 0.20751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_211_1_line_30 |  | 25 | 27 | 0.79893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_211_1_line_31 |  | 26 | 28 | 0.38375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_211_1_line_32 |  | 26 | 29 | 0.010227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_211_1_line_33 |  | 27 | 32 | 0.047717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_211_1_line_34 |  | 28 | 34 | 0.39939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_211_1_line_35 |  | 28 | 33 | 0.069215 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_211_1_line_36 |  | 30 | 31 | 0.013411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_211_1_line_37 |  | 32 | 63 | 0.057651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_211_1_line_38 |  | 34 | 35 | 0.050312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_211_1_line_39 |  | 35 | 37 | 0.12393 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_211_1_line_40 |  | 36 | 61 | 0.005698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_211_1_line_41 |  | 38 | 39 | 0.096864 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_211_1_line_42 |  | 39 | 40 | 0.62891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_211_1_line_43 |  | 39 | 41 | 0.36322 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
44 | MV_211_1_line_44 |  | 39 | 42 | 0.7578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_211_1_line_45 |  | 40 | 45 | 0.66747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_211_1_line_46 |  | 40 | 46 | 0.021696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_211_1_line_47 |  | 41 | 49 | 0.069248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_211_1_line_48 |  | 41 | 43 | 0.18241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_211_1_line_49 |  | 41 | 47 | 0.3276 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_211_1_line_50 |  | 42 | 53 | 0.023031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_211_1_line_51 |  | 42 | 51 | 0.73036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_211_1_line_52 |  | 43 | 44 | 0.008499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_211_1_line_53 |  | 45 | 50 | 0.031974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_211_1_line_54 |  | 47 | 48 | 0.017105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_211_1_line_55 |  | 51 | 52 | 0.012201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_211_1_line_56 |  | 55 | 56 | 0.021289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_211_1_line_57 |  | 56 | 57 | 0.28696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_211_1_line_58 |  | 57 | 58 | 0.53422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_211_1_line_59 |  | 58 | 59 | 0.018779 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_211_1_line_60 |  | 58 | 60 | 0.11531 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_211_1_line_61 |  | 60 | 62 | 0.029584 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_211_1_line_62 |  | 61 | 62 | 0.10441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_211_1_line_63 |  | 63 | 64 | 0.4737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_211_1_line_64 |  | 64 | 65 | 0.72029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_211_1_line_65 |  | 64 | 66 | 0.034371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_211_1_line_66 |  | 65 | 67 | 0.026907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_211_1_line_67 |  | 67 | 71 | 0.005266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_211_1_line_68 |  | 68 | 69 | 0.01288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_211_1_line_69 |  | 68 | 70 | 0.24105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_211_1_line_70 |  | 70 | 71 | 0.18354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_211_1_trafo_69 | 25 MVA 110/20 kV | 72 | 47 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2669568.4767 | 1212753.6151
1 | 2669583.6572 | 1212734.6581
2 | 2669411.6998 | 1212449.9547
3 | 2669240.5989 | 1212311.8803
4 | 2669362.4439 | 1212511.9761
5 | 2669121.3305 | 1212268.3034
6 | 2669081.3169 | 1212468.5713
7 | 2669061.572 | 1212452.015
8 | 2668205.7504 | 1211625.386
9 | 2668232.505 | 1211612.3424
10 | 2668193.5792 | 1211728.3806
11 | 2668139.8548 | 1211723.2465
12 | 2668139.6602 | 1211740.272
13 | 2668845.4709 | 1211956.2792
14 | 2668858.521 | 1211954.758
15 | 2668817.7917 | 1211987.1972
16 | 2668850.2603 | 1211947.6249
17 | 2669726.8576 | 1212102.8432
18 | 2669747.7587 | 1212134.7102
19 | 2669878.5634 | 1211508.7942
20 | 2669878.2167 | 1211513.7377
21 | 2668570.8565 | 1211597.7675
22 | 2668548.1462 | 1211520.8699
23 | 2668702.4578 | 1211200.2453
24 | 2668698.3476 | 1211198.1745
25 | 2668698.758 | 1211208.7302
26 | 2668787.5969 | 1211030.5763
27 | 2668899.1979 | 1211451.392
28 | 2669004.8429 | 1210952.6026
29 | 2668796.6612 | 1211035.3615
30 | 2668357.8378 | 1211546.1802
31 | 2668345.1925 | 1211541.6103
32 | 2668917.4385 | 1211492.5616
33 | 2669062.9784 | 1210990.1651
34 | 2669263.4213 | 1210742.512
35 | 2669292.4878 | 1210708.7729
36 | 2669213.248 | 1212143.5245
37 | 2669254.9093 | 1210590.6745
38 | 2668426.3153 | 1211971.6185
39 | 2668519.9296 | 1211996.4972
40 | 2668063.2928 | 1212238.321
41 | 2668649.9894 | 1211844.064
42 | 2668093.5386 | 1211762.059
43 | 2668721.5576 | 1211935.2334
44 | 2668730.0781 | 1211934.9981
45 | 2667785.403 | 1212388.8288
46 | 2668047.4191 | 1212223.8087
47 | 2668878.2998 | 1211906.056
48 | 2668895.3428 | 1211904.1071
49 | 2668659.2815 | 1211775.506
50 | 2667772.8129 | 1212412.9452
51 | 2668125.3302 | 1211961.0011
52 | 2668137.3965 | 1211958.9932
53 | 2668073.65 | 1211750.347
54 | 2668193.4272 | 1211749.6476
55 | 2668892.4448 | 1212152.2949
56 | 2668888.3827 | 1212131.6574
57 | 2669023.8963 | 1212060.0456
58 | 2669335.1619 | 1212303.451
59 | 2669353.4618 | 1212307.6663
60 | 2669286.351 | 1212198.9854
61 | 2669218.7662 | 1212142.0432
62 | 2669286.8846 | 1212169.4064
63 | 2668917.3493 | 1211539.0784
64 | 2669179.4297 | 1211552.008
65 | 2669531.448 | 1211762.5309
66 | 2669208.3547 | 1211566.4047
67 | 2669557.3101 | 1211770.0036
68 | 2669776.7227 | 1212055.5105
69 | 2669788.4053 | 1212061.0061
70 | 2669671.6284 | 1211870.4112
71 | 2669559.5541 | 1211765.2379
72 | 2668878.2998 | 1211906.056

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99616 | 0.021176 | 0.14763 | 0.071502
1 | 0.99616 | 0.021132 | 0 | 0
2 | 0.99623 | 0.020586 | 0 | 0
3 | 0.99637 | 0.019511 | 0 | 0
4 | 0.99619 | 0.020334 | 0.26143 | 0.12661
5 | 0.99646 | 0.020316 | 0.22104 | 0.10705
6 | 0.99638 | 0.019911 | 0.1946 | 0.094251
7 | 0.99639 | 0.019845 | 0 | 0
8 | 0.99561 | -0.0055471 | 0.071267 | 0.034516
9 | 0.99562 | -0.0055819 | 0 | 0
10 | 0.99563 | -0.0056898 | 0 | 0
11 | 0.99562 | -0.0056005 | 0.10468 | 0.050698
12 | 0.99563 | -0.0056218 | 0 | 0
13 | 0.99965 | 0.0029567 | 0.12631 | 0.061173
14 | 0.99968 | 0.002667 | 0 | 0
15 | 0.99951 | 0.0041102 | 0 | 0
16 | 0.99968 | 0.0027073 | 0.30011 | 0.14535
17 | 0.98773 | 0.051292 | 0.087822 | 0.042534
18 | 0.98773 | 0.051247 | 0 | 0
19 | 0.98807 | 0.048625 | 0.29421 | 0.14249
20 | 0.98807 | 0.048607 | 0 | 0
21 | 0.99259 | 0.015696 | 0.32549 | 0.15764
22 | 0.99264 | 0.016016 | 0 | 0
23 | 0.99083 | 0.029071 | 0.36093 | 0.17481
24 | 0.99083 | 0.029102 | 0 | 0
25 | 0.99084 | 0.028969 | 0 | 0
26 | 0.99065 | 0.030523 | 0 | 0
27 | 0.98933 | 0.039452 | 0 | 0
28 | 0.99037 | 0.032805 | 0 | 0
29 | 0.99064 | 0.030537 | 0.11247 | 0.054472
30 | 0.99358 | 0.0091817 | 0 | 0
31 | 0.99358 | 0.0092189 | 0.23002 | 0.11141
32 | 0.98924 | 0.04011 | 0.28045 | 0.13583
33 | 0.99033 | 0.032601 | 0.23898 | 0.11574
34 | 0.9902 | 0.034257 | 0 | 0
35 | 0.99018 | 0.034457 | 0.25899 | 0.12543
36 | 0.99671 | 0.022095 | 0.36344 | 0.17602
37 | 0.99016 | 0.034348 | 0.07091 | 0.034343
38 | 0.9981 | -0.023901 | 0.29927 | 0.14494
39 | 0.99815 | -0.023549 | 0 | 0
40 | 0.99755 | -0.01886 | 0 | 0
41 | 0.99907 | -0.01184 | 0 | 0
42 | 0.99783 | -0.02179 | 0 | 0
43 | 0.999 | -0.011278 | 0 | 0
44 | 0.999 | -0.011251 | 0.26973 | 0.13064
45 | 0.99726 | -0.016442 | 0 | 0
46 | 0.99754 | -0.018755 | 0.40394 | 0.19564
47 | 1 | 0 | -7.979 | -3.5511
48 | 1 | 3.8021e-05 | 0.18688 | 0.09051
49 | 0.99903 | -0.011541 | 0.36503 | 0.17679
50 | 0.99725 | -0.016309 | 0.34756 | 0.16833
51 | 0.9976 | -0.01996 | 0 | 0
52 | 0.99759 | -0.019922 | 0.25629 | 0.12413
53 | 0.99783 | -0.021768 | 0.081823 | 0.039629
54 | 0.99563 | -0.0056737 | 0.063969 | 0.030982
55 | 0.99897 | 0.0085872 | 0.30654 | 0.14847
56 | 0.99898 | 0.0085093 | 0 | 0
57 | 0.99838 | 0.013552 | 0 | 0
58 | 0.99726 | 0.023289 | 0 | 0
59 | 0.99725 | 0.023232 | 0.25017 | 0.12116
60 | 0.99694 | 0.021126 | 0.21645 | 0.10483
61 | 0.99672 | 0.02202 | 0 | 0
62 | 0.99688 | 0.020648 | 0 | 0
63 | 0.98916 | 0.040712 | 0 | 0
64 | 0.98843 | 0.045854 | 0 | 0
65 | 0.98791 | 0.049779 | 0 | 0
66 | 0.98842 | 0.045999 | 0.34661 | 0.16787
67 | 0.98789 | 0.049941 | 0.28984 | 0.14037
68 | 0.98774 | 0.051151 | 0.18657 | 0.090358
69 | 0.98774 | 0.051162 | 0 | 0
70 | 0.98783 | 0.050438 | 0 | 0
71 | 0.98789 | 0.049954 | 0 | 0
72 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14763 | -0.071502 | 0.14763 | 0.070918 | 7.4298e-07 | -0.00058421 | 0.0047536 | 0.0047463 | 0.0047536 | 0.99616 | 0.021176 | 0.99616 | 0.021132 | 2.1607
1 | -0.14763 | -0.070918 | 0.14765 | 0.062049 | 1.1005e-05 | -0.0088687 | 0.0047463 | 0.0046407 | 0.0047463 | 0.99616 | 0.021132 | 0.99623 | 0.020586 | 2.1574
2 | -0.40908 | -0.18858 | 0.40914 | 0.18241 | 5.9033e-05 | -0.0061689 | 0.013053 | 0.012979 | 0.013053 | 0.99623 | 0.020586 | 0.99637 | 0.019511 | 5.933
3 | 0.26144 | 0.12653 | -0.26143 | -0.12661 | 9.9966e-06 | -8.7574e-05 | 0.0084161 | 0.0084173 | 0.0084173 | 0.99623 | 0.020586 | 0.99619 | 0.020334 | 4.0082
4 | -0.40914 | -0.18241 | 0.40918 | 0.18228 | 3.8104e-05 | -0.00012664 | 0.012979 | 0.012977 | 0.012979 | 0.99637 | 0.019511 | 0.99646 | 0.020316 | 6.1803
5 | -0.82484 | -0.3827 | 0.82503 | 0.38263 | 0.00019159 | -6.3748e-05 | 0.026342 | 0.02634 | 0.026342 | 0.99646 | 0.020316 | 0.99671 | 0.022095 | 12.5439
6 | 0.19462 | 0.093363 | -0.1946 | -0.093584 | 1.3466e-05 | -0.00022055 | 0.0062533 | 0.0062561 | 0.0062561 | 0.99646 | 0.020316 | 0.99639 | 0.019845 | 2.9791
7 | -0.1946 | -0.094251 | 0.1946 | 0.093584 | 1.473e-06 | -0.00066688 | 0.0062646 | 0.0062561 | 0.0062646 | 0.99638 | 0.019911 | 0.99639 | 0.019845 | 2.8475
8 | -0.071267 | -0.034516 | 0.071268 | 0.033522 | 2.9394e-07 | -0.00099384 | 0.002296 | 0.0022836 | 0.002296 | 0.99561 | -0.0055471 | 0.99562 | -0.0055819 | 1.0436
9 | -0.071268 | -0.033522 | 0.071269 | 0.029735 | 1.092e-06 | -0.0037875 | 0.0022836 | 0.002239 | 0.0022836 | 0.99562 | -0.0055819 | 0.99563 | -0.0056898 | 1.038
10 | 0.063969 | 0.030478 | -0.063969 | -0.030982 | 1.2023e-07 | -0.00050343 | 0.0020545 | 0.0020608 | 0.0020608 | 0.99563 | -0.0056898 | 0.99563 | -0.0056737 | 0.93673
11 | 0.10468 | 0.048946 | -0.10468 | -0.050295 | 8.5837e-07 | -0.0013486 | 0.0033505 | 0.0033672 | 0.0033672 | 0.99563 | -0.0056898 | 0.99563 | -0.0056218 | 1.5306
12 | 3.1022 | 1.3553 | -3.0955 | -1.3657 | 0.0067364 | -0.010354 | 0.098156 | 0.0983 | 0.0983 | 0.99563 | -0.0056898 | 0.99358 | 0.0091817 | 44.6817
13 | -3.3421 | -1.4645 | 3.351 | 1.453 | 0.0089134 | -0.011532 | 0.1058 | 0.10563 | 0.1058 | 0.99563 | -0.0056898 | 0.99815 | -0.023549 | 48.0896
14 | -0.10468 | -0.050698 | 0.10468 | 0.050295 | 2.5812e-07 | -0.0004029 | 0.0033723 | 0.0033672 | 0.0033723 | 0.99562 | -0.0056005 | 0.99563 | -0.0056218 | 1.5329
15 | -2.0931 | -0.96677 | 2.0932 | 0.96648 | 7.7748e-05 | -0.00029042 | 0.06658 | 0.066577 | 0.06658 | 0.99965 | 0.0029567 | 0.99968 | 0.002667 | 30.2638
16 | 1.9668 | 0.9056 | -1.9665 | -0.90685 | 0.00029238 | -0.0012493 | 0.062528 | 0.062544 | 0.062544 | 0.99965 | 0.0029567 | 0.99951 | 0.0041102 | 28.4293
17 | 0.30011 | 0.14508 | -0.30011 | -0.14535 | 1.3917e-06 | -0.00026795 | 0.0096257 | 0.0096291 | 0.0096291 | 0.99968 | 0.002667 | 0.99968 | 0.0027073 | 4.3769
18 | -2.3933 | -1.1116 | 2.3941 | 1.1093 | 0.00080949 | -0.0022534 | 0.076201 | 0.076171 | 0.076201 | 0.99968 | 0.002667 | 1 | 0 | 34.6368
19 | 1.9665 | 0.90685 | -1.9654 | -0.91156 | 0.0011048 | -0.0047111 | 0.062544 | 0.062606 | 0.062606 | 0.99951 | 0.0041102 | 0.99898 | 0.0085093 | 28.4571
20 | -0.087822 | -0.042534 | 0.087823 | 0.041537 | 4.6287e-07 | -0.00099726 | 0.0028519 | 0.0028393 | 0.0028519 | 0.98773 | 0.051292 | 0.98773 | 0.051247 | 1.2963
21 | -0.087823 | -0.041537 | 0.087824 | 0.039436 | 9.6188e-07 | -0.0021008 | 0.0028393 | 0.0028136 | 0.0028393 | 0.98773 | 0.051247 | 0.98774 | 0.051162 | 1.2906
22 | -0.29421 | -0.14249 | 0.29421 | 0.14237 | 6.0351e-07 | -0.00011537 | 0.0095506 | 0.0095491 | 0.0095506 | 0.98807 | 0.048625 | 0.98807 | 0.048607 | 4.3412
23 | -0.29421 | -0.14237 | 0.29432 | 0.12001 | 0.00011359 | -0.022368 | 0.0095491 | 0.0092828 | 0.0095491 | 0.98807 | 0.048607 | 0.98843 | 0.045854 | 4.3405
24 | -0.32549 | -0.15764 | 0.3255 | 0.15756 | 1.5802e-05 | -8.4415e-05 | 0.010518 | 0.010517 | 0.010518 | 0.99259 | 0.015696 | 0.99264 | 0.016016 | 5.0085
25 | 2.5371 | 1.1023 | -2.5322 | -1.114 | 0.004855 | -0.011732 | 0.080445 | 0.080599 | 0.080599 | 0.99264 | 0.016016 | 0.99084 | 0.028969 | 36.6358
26 | -2.8626 | -1.2599 | 2.8654 | 1.2546 | 0.0028624 | -0.005259 | 0.090954 | 0.090883 | 0.090954 | 0.99264 | 0.016016 | 0.99358 | 0.0091817 | 41.3428
27 | 0.68173 | 0.30515 | -0.68173 | -0.30526 | 2.9032e-06 | -0.00010678 | 0.021761 | 0.021762 | 0.021762 | 0.99083 | 0.029071 | 0.99083 | 0.029102 | 9.892
28 | -1.0427 | -0.47996 | 1.0427 | 0.47975 | 1.3815e-05 | -0.00021282 | 0.033442 | 0.033439 | 0.033442 | 0.99083 | 0.029071 | 0.99084 | 0.028969 | 15.2007
29 | 0.68173 | 0.30526 | -0.6816 | -0.31008 | 0.00013155 | -0.0048242 | 0.021762 | 0.021821 | 0.021821 | 0.99083 | 0.029102 | 0.99065 | 0.030523 | 9.9185
30 | 1.4896 | 0.63429 | -1.4872 | -0.65228 | 0.0023838 | -0.017992 | 0.047168 | 0.047384 | 0.047384 | 0.99084 | 0.028969 | 0.98933 | 0.039452 | 21.5383
31 | 0.56913 | 0.25585 | -0.56895 | -0.26479 | 0.00017039 | -0.0089387 | 0.018183 | 0.018292 | 0.018292 | 0.99065 | 0.030523 | 0.99037 | 0.032805 | 8.3146
32 | 0.11247 | 0.054233 | -0.11247 | -0.054472 | 1.809e-07 | -0.00023958 | 0.0036386 | 0.0036416 | 0.0036416 | 0.99065 | 0.030523 | 0.99064 | 0.030537 | 1.6553
33 | 1.4872 | 0.65228 | -1.487 | -0.65336 | 0.00014307 | -0.0010726 | 0.047384 | 0.047397 | 0.047397 | 0.98933 | 0.039452 | 0.98924 | 0.04011 | 21.5442
34 | 0.32997 | 0.14912 | -0.32991 | -0.15846 | 6.0038e-05 | -0.0093337 | 0.010555 | 0.01067 | 0.01067 | 0.99037 | 0.032805 | 0.9902 | 0.034257 | 4.8499
35 | 0.23899 | 0.11567 | -0.23898 | -0.11574 | 7.387e-06 | -7.6415e-05 | 0.0077391 | 0.0077401 | 0.0077401 | 0.99037 | 0.032805 | 0.99033 | 0.032601 | 3.6858
36 | 0.23002 | 0.11109 | -0.23002 | -0.11141 | 9.8669e-07 | -0.00031581 | 0.0074217 | 0.0074257 | 0.0074257 | 0.99358 | 0.0091817 | 0.99358 | 0.0092189 | 3.3753
37 | 1.2066 | 0.51753 | -1.2065 | -0.51884 | 0.00011301 | -0.0013134 | 0.038312 | 0.038327 | 0.038327 | 0.98924 | 0.04011 | 0.98916 | 0.040712 | 17.4215
38 | 0.32991 | 0.15846 | -0.3299 | -0.15963 | 7.6572e-06 | -0.0011755 | 0.01067 | 0.010685 | 0.010685 | 0.9902 | 0.034257 | 0.99018 | 0.034457 | 4.8567
39 | 0.070912 | 0.034199 | -0.07091 | -0.034343 | 1.1642e-06 | -0.00014433 | 0.0022952 | 0.0022971 | 0.0022971 | 0.99018 | 0.034457 | 0.99016 | 0.034348 | 1.0938
40 | -1.1885 | -0.55866 | 1.1885 | 0.55853 | 1.1004e-05 | -0.00013189 | 0.038035 | 0.038033 | 0.038035 | 0.99671 | 0.022095 | 0.99672 | 0.02202 | 17.2885
41 | -0.29927 | -0.14494 | 0.29928 | 0.14484 | 1.596e-05 | -0.00010521 | 0.0096173 | 0.0096159 | 0.0096173 | 0.9981 | -0.023901 | 0.99815 | -0.023549 | 4.5797
42 | 0.7521 | 0.33207 | -0.75162 | -0.34688 | 0.0004782 | -0.01481 | 0.023777 | 0.023955 | 0.023955 | 0.99815 | -0.023549 | 0.99755 | -0.01886 | 10.8887
43 | -4.7407 | -2.0575 | 4.7446 | 2.0479 | 0.0039153 | -0.0095809 | 0.14946 | 0.14932 | 0.14946 | 0.99815 | -0.023549 | 0.99907 | -0.01184 | 41.2877
44 | 0.33829 | 0.12759 | -0.33818 | -0.14558 | 0.00011263 | -0.017987 | 0.010457 | 0.010652 | 0.010652 | 0.99815 | -0.023549 | 0.99783 | -0.02179 | 4.8417
45 | 0.34767 | 0.15175 | -0.34756 | -0.16757 | 0.00010923 | -0.015822 | 0.010978 | 0.011169 | 0.011169 | 0.99755 | -0.01886 | 0.99726 | -0.016442 | 5.0769
46 | 0.40395 | 0.19512 | -0.40394 | -0.19564 | 4.8838e-06 | -0.00051403 | 0.012982 | 0.012988 | 0.012988 | 0.99755 | -0.01886 | 0.99754 | -0.018755 | 5.9038
47 | 0.36504 | 0.17515 | -0.36503 | -0.17679 | 1.2675e-05 | -0.0016465 | 0.011699 | 0.01172 | 0.01172 | 0.99907 | -0.01184 | 0.99903 | -0.011541 | 5.3271
48 | 0.26975 | 0.12609 | -0.26974 | -0.13044 | 1.814e-05 | -0.0043416 | 0.0086039 | 0.0086578 | 0.0086578 | 0.99907 | -0.01184 | 0.999 | -0.011278 | 3.9354
49 | -5.3794 | -2.3491 | 5.384 | 2.3412 | 0.0045484 | -0.0079228 | 0.16961 | 0.16948 | 0.16961 | 0.99907 | -0.01184 | 1 | 0 | 46.8536
50 | 0.081823 | 0.039081 | -0.081823 | -0.039629 | 2.1215e-07 | -0.00054745 | 0.0026233 | 0.0026302 | 0.0026302 | 0.99783 | -0.02179 | 0.99783 | -0.021768 | 1.1955
51 | 0.25636 | 0.1065 | -0.25629 | -0.12384 | 6.4457e-05 | -0.017339 | 0.008031 | 0.0082367 | 0.0082367 | 0.99783 | -0.02179 | 0.9976 | -0.01996 | 3.744
52 | 0.26974 | 0.13044 | -0.26973 | -0.13064 | 8.5074e-07 | -0.00020227 | 0.0086578 | 0.0086604 | 0.0086604 | 0.999 | -0.011278 | 0.999 | -0.011251 | 3.9365
53 | 0.34756 | 0.16757 | -0.34756 | -0.16833 | 5.3296e-06 | -0.00075765 | 0.011169 | 0.011179 | 0.011179 | 0.99726 | -0.016442 | 0.99725 | -0.016309 | 5.0813
54 | 0.18688 | 0.090102 | -0.18688 | -0.09051 | 8.1977e-07 | -0.00040816 | 0.0059891 | 0.0059942 | 0.0059942 | 1 | 0 | 1 | 3.8021e-05 | 2.7246
55 | 0.25629 | 0.12384 | -0.25629 | -0.12413 | 1.1056e-06 | -0.00028958 | 0.0082367 | 0.0082404 | 0.0082404 | 0.9976 | -0.01996 | 0.99759 | -0.019922 | 3.7456
56 | -0.30654 | -0.14847 | 0.30655 | 0.14796 | 2.7514e-06 | -0.00050644 | 0.0098425 | 0.0098361 | 0.0098425 | 0.99897 | 0.0085872 | 0.99898 | 0.0085093 | 4.4738
57 | 1.6589 | 0.7636 | -1.6578 | -0.77011 | 0.0010685 | -0.0065164 | 0.052771 | 0.052854 | 0.052854 | 0.99898 | 0.0085093 | 0.99838 | 0.013552 | 24.0244
58 | 1.6578 | 0.77011 | -1.6558 | -0.78222 | 0.0019981 | -0.012107 | 0.052854 | 0.05301 | 0.05301 | 0.99838 | 0.013552 | 0.99726 | 0.023289 | 24.0953
59 | 0.25017 | 0.12114 | -0.25017 | -0.12116 | 2.1662e-06 | -2.0939e-05 | 0.0080461 | 0.0080464 | 0.0080464 | 0.99726 | 0.023289 | 0.99725 | 0.023232 | 3.8316
60 | 1.4056 | 0.66108 | -1.4052 | -0.66095 | 0.00041537 | 0.00012332 | 0.044964 | 0.044966 | 0.044966 | 0.99726 | 0.023289 | 0.99694 | 0.021126 | 21.4122
61 | 1.1888 | 0.55612 | -1.1887 | -0.55611 | 7.6122e-05 | 1.2581e-05 | 0.038002 | 0.038003 | 0.038003 | 0.99694 | 0.021126 | 0.99688 | 0.020648 | 18.0965
62 | -1.1885 | -0.55853 | 1.1887 | 0.55611 | 0.00020146 | -0.0024172 | 0.038033 | 0.038003 | 0.038033 | 0.99672 | 0.02202 | 0.99688 | 0.020648 | 17.2877
63 | 1.2065 | 0.51884 | -1.2055 | -0.52962 | 0.00093208 | -0.010782 | 0.038327 | 0.038456 | 0.038456 | 0.98916 | 0.040712 | 0.98843 | 0.045854 | 17.48
64 | 0.5646 | 0.24254 | -0.56428 | -0.25924 | 0.0003131 | -0.0167 | 0.017946 | 0.018146 | 0.018146 | 0.98843 | 0.045854 | 0.98791 | 0.049779 | 8.248
65 | 0.34661 | 0.16707 | -0.34661 | -0.16787 | 5.7998e-06 | -0.00080004 | 0.011238 | 0.011248 | 0.011248 | 0.98843 | 0.045854 | 0.98842 | 0.045999 | 5.1126
66 | 0.56428 | 0.25924 | -0.56427 | -0.25987 | 1.1832e-05 | -0.00062347 | 0.018146 | 0.018153 | 0.018153 | 0.98791 | 0.049779 | 0.98789 | 0.049941 | 8.2515
67 | 0.27443 | 0.11949 | -0.27443 | -0.11962 | 5.3792e-07 | -0.00012255 | 0.0087465 | 0.008748 | 0.008748 | 0.98789 | 0.049941 | 0.98789 | 0.049954 | 3.9764
68 | 0.087824 | 0.039136 | -0.087824 | -0.039436 | 1.3595e-07 | -0.00029999 | 0.00281 | 0.0028136 | 0.0028136 | 0.98774 | 0.051151 | 0.98774 | 0.051162 | 1.2789
69 | -0.27439 | -0.12949 | 0.27442 | 0.12389 | 2.5106e-05 | -0.0056081 | 0.0088674 | 0.0087987 | 0.0088674 | 0.98774 | 0.051151 | 0.98783 | 0.050438 | 4.0307
70 | -0.27442 | -0.12389 | 0.27443 | 0.11962 | 1.8859e-05 | -0.0042708 | 0.0087987 | 0.008748 | 0.0087987 | 0.98783 | 0.050438 | 0.98789 | 0.049954 | 3.9994

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.979 | 3.5511

## res_load
| p_mw | q_mvar
0 | 0.14763 | 0.071502
1 | 0.26143 | 0.12661
2 | 0.22104 | 0.10705
3 | 0.1946 | 0.094251
4 | 0.071267 | 0.034516
5 | 0.10468 | 0.050698
6 | 0.12631 | 0.061173
7 | 0.30011 | 0.14535
8 | 0.087822 | 0.042534
9 | 0.29421 | 0.14249
10 | 0.32549 | 0.15764
11 | 0.36093 | 0.17481
12 | 0.11247 | 0.054472
13 | 0.23002 | 0.11141
14 | 0.28045 | 0.13583
15 | 0.23898 | 0.11574
16 | 0.25899 | 0.12543
17 | 0.36344 | 0.17602
18 | 0.07091 | 0.034343
19 | 0.29927 | 0.14494
20 | 0.26973 | 0.13064
21 | 0.40394 | 0.19564
22 | 0.18688 | 0.09051
23 | 0.36503 | 0.17679
24 | 0.34756 | 0.16833
25 | 0.25629 | 0.12413
26 | 0.081823 | 0.039629
27 | 0.063969 | 0.030982
28 | 0.30654 | 0.14847
29 | 0.25017 | 0.12116
30 | 0.21645 | 0.10483
31 | 0.34661 | 0.16787
32 | 0.28984 | 0.14037
33 | 0.18657 | 0.090358

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1