## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_214_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_214_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_214_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_214_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_214_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_214_0_node_85 | 20 | n |  | TRUE
6 | bus_MV_214_0_node_84 | 20 | n |  | TRUE
7 | bus_MV_214_0_node_126 | 20 | n |  | TRUE
8 | bus_MV_214_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_214_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_214_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_214_0_node_104 | 20 | n |  | TRUE
12 | bus_MV_214_0_node_115 | 20 | n |  | TRUE
13 | bus_MV_214_0_node_95 | 20 | n |  | TRUE
14 | bus_MV_214_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_214_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_214_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_214_0_node_114 | 20 | n |  | TRUE
18 | bus_MV_214_0_node_32 | 20 | n |  | TRUE
19 | bus_MV_214_0_node_128 | 20 | n |  | TRUE
20 | bus_MV_214_0_node_72 | 20 | n |  | TRUE
21 | bus_MV_214_0_node_13 | 20 | n |  | TRUE
22 | bus_MV_214_0_node_14 | 20 | n |  | TRUE
23 | bus_MV_214_0_node_19 | 20 | n |  | TRUE
24 | bus_MV_214_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_214_0_node_16 | 20 | n |  | TRUE
26 | bus_MV_214_0_node_17 | 20 | n |  | TRUE
27 | bus_MV_214_0_node_18 | 20 | n |  | TRUE
28 | bus_MV_214_0_node_102 | 20 | n |  | TRUE
29 | bus_MV_214_0_node_103 | 20 | n |  | TRUE
30 | bus_MV_214_0_node_21 | 20 | n |  | TRUE
31 | bus_MV_214_0_node_75 | 20 | n |  | TRUE
32 | bus_MV_214_0_node_100 | 20 | n |  | TRUE
33 | bus_MV_214_0_node_101 | 20 | n |  | TRUE
34 | bus_MV_214_0_node_99 | 20 | n |  | TRUE
35 | bus_MV_214_0_node_22 | 20 | n |  | TRUE
36 | bus_MV_214_0_node_74 | 20 | n |  | TRUE
37 | bus_MV_214_0_node_24 | 20 | n |  | TRUE
38 | bus_MV_214_0_node_23 | 20 | n |  | TRUE
39 | bus_MV_214_0_node_125 | 20 | n |  | TRUE
40 | bus_MV_214_0_node_26 | 20 | n |  | TRUE
41 | bus_MV_214_0_node_25 | 20 | n |  | TRUE
42 | bus_MV_214_0_node_127 | 20 | n |  | TRUE
43 | bus_MV_214_0_node_31 | 20 | n |  | TRUE
44 | bus_MV_214_0_node_46 | 20 | n |  | TRUE
45 | bus_MV_214_0_node_45 | 20 | n |  | TRUE
46 | bus_MV_214_0_node_70 | 20 | n |  | TRUE
47 | bus_MV_214_0_node_71 | 20 | n |  | TRUE
48 | bus_MV_214_0_node_80 | 20 | n |  | TRUE
49 | bus_MV_214_0_node_76 | 20 | n |  | TRUE
50 | bus_MV_214_0_node_77 | 20 | n |  | TRUE
51 | bus_MV_214_0_node_78 | 20 | n |  | TRUE
52 | bus_MV_214_0_node_79 | 20 | n |  | TRUE
53 | bus_MV_214_0_node_81 | 20 | n |  | TRUE
54 | bus_MV_214_0_node_83 | 20 | n |  | TRUE
55 | bus_MV_214_0_node_73 | 20 | n |  | TRUE
56 | bus_MV_214_0_node_82 | 20 | n |  | TRUE
57 | bus_MV_214_0_node_98 | 20 | n |  | TRUE
58 | bus_MV_214_0_node_97 | 20 | n |  | TRUE
59 | bus_MV_214_0_node_105 | 20 | n |  | TRUE
60 | bus_MV_214_0_node_94 | 20 | n |  | TRUE
61 | bus_MV_214_0_node_90 | 20 | n |  | TRUE
62 | bus_MV_214_0_node_91 | 20 | n |  | TRUE
63 | bus_MV_214_0_node_86 | 20 | n |  | TRUE
64 | bus_MV_214_0_node_87 | 20 | n |  | TRUE
65 | bus_MV_214_0_node_88 | 20 | n |  | TRUE
66 | bus_MV_214_0_node_89 | 20 | n |  | TRUE
67 | bus_MV_214_0_node_92 | 20 | n |  | TRUE
68 | bus_MV_214_0_node_93 | 20 | n |  | TRUE
69 | bus_MV_214_0_node_96 | 20 | n |  | TRUE
70 | bus_HV_214_0_node_80 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_214_0_load_0 | 0 | 0.21093 | 0.10216 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_214_0_load_3 | 4 | 0.15064 | 0.072958 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_214_0_load_84 | 6 | 0.28269 | 0.13691 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_214_0_load_126 | 7 | 0.40539 | 0.19634 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_214_0_load_5 | 8 | 0.052459 | 0.025407 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_214_0_load_104 | 11 | 0.87568 | 0.42411 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_214_0_load_115 | 12 | 0.31611 | 0.1531 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_214_0_load_9 | 14 | 0.13452 | 0.065151 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_214_0_load_114 | 17 | 0.36231 | 0.17548 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_214_0_load_128 | 19 | 0.076449 | 0.037026 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_214_0_load_72 | 20 | 0.72538 | 0.35132 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_214_0_load_13 | 21 | 0.32179 | 0.15585 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_214_0_load_102 | 28 | 0.068817 | 0.033329 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_214_0_load_103 | 29 | 0.072848 | 0.035282 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_214_0_load_21 | 30 | 0.31404 | 0.1521 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_214_0_load_75 | 31 | 0.19006 | 0.09205 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_214_0_load_100 | 32 | 0.10522 | 0.050961 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_214_0_load_101 | 33 | 0.11219 | 0.054336 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_214_0_load_99 | 34 | 0.13803 | 0.06685 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_214_0_load_125 | 39 | 0.32274 | 0.15631 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_214_0_load_25 | 41 | 0.3092 | 0.14975 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_214_0_load_127 | 42 | 0.12088 | 0.058547 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_214_0_load_45 | 45 | 0.26892 | 0.13024 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_214_0_load_70 | 46 | 0.20136 | 0.097525 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_214_0_load_71 | 47 | 0.41948 | 0.20316 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_214_0_load_80 | 48 | 0.35218 | 0.17057 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_214_0_load_76 | 49 | 0.089437 | 0.043316 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_214_0_load_77 | 50 | 0.11191 | 0.054203 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_214_0_load_78 | 51 | 0.070823 | 0.034301 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_214_0_load_73 | 55 | 1.1236 | 0.54418 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_214_0_load_98 | 57 | 0.12592 | 0.060985 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_214_0_load_97 | 58 | 0.24984 | 0.121 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_214_0_load_105 | 59 | 0.12659 | 0.061311 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_214_0_load_86 | 63 | 0.3882 | 0.18801 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_214_0_load_88 | 65 | 1.6909 | 0.81896 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_214_0_load_89 | 66 | 0.5105 | 0.24725 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_214_0_load_93 | 68 | 0.11958 | 0.057917 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_214_0_load_96 | 69 | 0.44253 | 0.21433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_214_0_line_0 |  | 0 | 1 | 0.11742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_214_0_line_1 |  | 0 | 2 | 0.095116 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_214_0_line_2 |  | 1 | 3 | 0.38491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_214_0_line_3 |  | 2 | 4 | 0.070333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_214_0_line_4 |  | 3 | 5 | 0.30724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_214_0_line_5 |  | 3 | 6 | 0.20003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_214_0_line_6 |  | 5 | 7 | 0.004349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_214_0_line_7 |  | 7 | 23 | 0.026154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_214_0_line_8 |  | 8 | 9 | 0.081953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_214_0_line_9 |  | 9 | 10 | 0.4937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_214_0_line_10 |  | 10 | 12 | 0.039972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_214_0_line_11 |  | 11 | 12 | 1.3529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_214_0_line_12 |  | 11 | 13 | 0.065822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_214_0_line_13 |  | 13 | 67 | 0.43728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_214_0_line_14 |  | 14 | 15 | 0.053379 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_214_0_line_15 |  | 15 | 16 | 0.49702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_214_0_line_16 |  | 16 | 17 | 0.050464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_214_0_line_17 |  | 17 | 18 | 0.003358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_214_0_line_18 |  | 18 | 43 | 0.40739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_214_0_line_19 |  | 19 | 20 | 0.79119 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_214_0_line_20 |  | 20 | 55 | 0.13645 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
21 | MV_214_0_line_21 |  | 20 | 47 | 0.040485 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_214_0_line_22 |  | 21 | 22 | 0.017112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_214_0_line_23 |  | 22 | 23 | 0.9715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_214_0_line_24 |  | 22 | 24 | 0.26351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_214_0_line_25 |  | 23 | 27 | 0.38763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_214_0_line_26 |  | 24 | 31 | 0.072491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_214_0_line_27 |  | 25 | 26 | 0.23628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_214_0_line_28 |  | 25 | 27 | 0.39028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_214_0_line_29 |  | 25 | 28 | 0.057189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_214_0_line_30 |  | 26 | 29 | 0.051221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_214_0_line_31 |  | 27 | 30 | 0.044525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_214_0_line_32 |  | 29 | 34 | 0.81269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_214_0_line_33 |  | 30 | 35 | 0.011598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_214_0_line_34 |  | 31 | 36 | 0.11153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_214_0_line_35 |  | 32 | 33 | 0.12583 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_214_0_line_36 |  | 33 | 53 | 0.13472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_214_0_line_37 |  | 34 | 44 | 0.13076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_214_0_line_38 |  | 35 | 37 | 0.5958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_214_0_line_39 |  | 36 | 55 | 0.14131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_214_0_line_40 |  | 37 | 41 | 0.004274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_214_0_line_41 |  | 37 | 38 | 0.44657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_214_0_line_42 |  | 38 | 39 | 0.004353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_214_0_line_43 |  | 38 | 40 | 0.79283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_214_0_line_44 |  | 40 | 42 | 0.00589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_214_0_line_45 |  | 43 | 44 | 0.15059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_214_0_line_46 |  | 43 | 45 | 0.003566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_214_0_line_47 |  | 46 | 47 | 0.047873 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
48 | MV_214_0_line_48 |  | 46 | 48 | 0.1338 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
49 | MV_214_0_line_49 |  | 48 | 52 | 0.053815 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_214_0_line_50 |  | 49 | 50 | 0.0084061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_214_0_line_51 |  | 49 | 51 | 0.025106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_214_0_line_52 |  | 51 | 52 | 0.010599 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_214_0_line_53 |  | 52 | 53 | 0.33315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_214_0_line_54 |  | 52 | 54 | 0.39973 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_214_0_line_55 |  | 54 | 59 | 0.1109 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_214_0_line_56 |  | 56 | 57 | 0.10062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_214_0_line_57 |  | 56 | 58 | 0.074985 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_214_0_line_58 |  | 58 | 60 | 0.005414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_214_0_line_59 |  | 59 | 61 | 0.15553 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
60 | MV_214_0_line_60 |  | 60 | 62 | 0.057939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_214_0_line_61 |  | 61 | 62 | 0.056018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_214_0_line_62 |  | 61 | 65 | 0.11194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_214_0_line_63 |  | 62 | 68 | 0.032929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_214_0_line_64 |  | 62 | 69 | 0.011191 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_214_0_line_65 |  | 63 | 64 | 0.035113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_214_0_line_66 |  | 63 | 65 | 0.073551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_214_0_line_67 |  | 64 | 66 | 0.034894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_214_0_line_68 |  | 66 | 67 | 0.068071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_214_0_trafo_80 | 25 MVA 110/20 kV | 70 | 48 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2666337.4653 | 1214620.707
1 | 2666419.0275 | 1214536.1287
2 | 2666274.4331 | 1214691.9396
3 | 2666377.8167 | 1214844.4066
4 | 2666292.1219 | 1214743.7492
5 | 2666095.8829 | 1214932.6971
6 | 2666535.3988 | 1214966.3274
7 | 2666093.7683 | 1214928.8935
8 | 2666940.9933 | 1218227.0486
9 | 2666998.9254 | 1218171.4532
10 | 2667030.6826 | 1217945.5565
11 | 2666658.9436 | 1216643.3809
12 | 2667068.666 | 1217932.7757
13 | 2666721.2219 | 1216622.074
14 | 2664992.6354 | 1215906.7898
15 | 2664940.9402 | 1215920.0904
16 | 2664866.2022 | 1215585.7576
17 | 2664836.7218 | 1215544.7559
18 | 2664838.3485 | 1215541.8162
19 | 2665365.6871 | 1216141.047
20 | 2666040.5952 | 1215728.1631
21 | 2666206.8324 | 1215318.8132
22 | 2666214.0488 | 1215334.3363
23 | 2666081.0428 | 1214906.0272
24 | 2666021.29 | 1215383.7856
25 | 2665757.7242 | 1214907.1653
26 | 2665767.0716 | 1215071.0928
27 | 2665825.3845 | 1214801.1902
28 | 2665719.8362 | 1214950.0035
29 | 2665734.3754 | 1215110.5902
30 | 2665844.5117 | 1214760.9652
31 | 2666042.8885 | 1215452.8679
32 | 2666702.241 | 1215856.6375
33 | 2666631.88 | 1215960.9602
34 | 2664953.1707 | 1215334.5948
35 | 2665856.1243 | 1214761.6271
36 | 2665937.3509 | 1215489.812
37 | 2665552.2436 | 1214499.3719
38 | 2665479.959 | 1214232.7344
39 | 2665476.0712 | 1214234.7152
40 | 2664973.6397 | 1214286.8867
41 | 2665548.9162 | 1214496.6781
42 | 2664971.2569 | 1214292.2752
43 | 2664778.0817 | 1215265.456
44 | 2664878.6563 | 1215227.1477
45 | 2664775.5499 | 1215262.9381
46 | 2666124.5229 | 1215700.5384
47 | 2666079.0503 | 1215715.5056
48 | 2666194.9649 | 1215814.2911
49 | 2666218.7847 | 1215891.5296
50 | 2666221.6783 | 1215899.4219
51 | 2666210.1426 | 1215867.9584
52 | 2666217.5979 | 1215863.0617
53 | 2666502.9024 | 1215921.4734
54 | 2666458.9611 | 1216025.5709
55 | 2665980.2279 | 1215623.2017
56 | 2666373.7748 | 1216179.5741
57 | 2666309.3464 | 1216138.1986
58 | 2666403.249 | 1216248.5232
59 | 2666507.3862 | 1216125.3389
60 | 2666408.4228 | 1216246.8798
61 | 2666474.058 | 1216277.2524
62 | 2666426.4951 | 1216301.9267
63 | 2666544.9352 | 1216437.9487
64 | 2666555.3865 | 1216471.4704
65 | 2666522.4761 | 1216367.9166
66 | 2666572.6297 | 1216497.9759
67 | 2666636.4063 | 1216474.1993
68 | 2666437.0146 | 1216333.13
69 | 2666418.724 | 1216309.98
70 | 2666194.9649 | 1215814.2911

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9913 | 0.019406 | 0.21093 | 0.10216
1 | 0.99136 | 0.018913 | 0 | 0
2 | 0.99128 | 0.019216 | 0 | 0
3 | 0.99154 | 0.017445 | 0 | 0
4 | 0.99126 | 0.019341 | 0.15064 | 0.072958
5 | 0.99179 | 0.015472 | 0 | 0
6 | 0.99146 | 0.018102 | 0.28269 | 0.13691
7 | 0.99179 | 0.015445 | 0.40539 | 0.19634
8 | 0.99481 | -0.0302 | 0.052459 | 0.025407
9 | 0.99481 | -0.030247 | 0 | 0
10 | 0.99484 | -0.030313 | 0 | 0
11 | 0.9958 | -0.022437 | 0.87568 | 0.42411
12 | 0.99485 | -0.030302 | 0.31611 | 0.1531
13 | 0.9959 | -0.023354 | 0 | 0
14 | 0.98785 | 0.02304 | 0.13452 | 0.065151
15 | 0.98786 | 0.023129 | 0 | 0
16 | 0.98795 | 0.022499 | 0 | 0
17 | 0.98796 | 0.022456 | 0.36231 | 0.17548
18 | 0.98796 | 0.022439 | 0 | 0
19 | 0.99863 | -0.029269 | 0.076449 | 0.037026
20 | 0.99875 | -0.028505 | 0.72538 | 0.35132
21 | 0.99572 | -0.013333 | 0.32179 | 0.15585
22 | 0.99573 | -0.0134 | 0 | 0
23 | 0.99183 | 0.015155 | 0 | 0
24 | 0.9969 | -0.021873 | 0 | 0
25 | 0.99027 | 0.026615 | 0 | 0
26 | 0.98997 | 0.028916 | 0 | 0
27 | 0.99079 | 0.022711 | 0 | 0
28 | 0.99026 | 0.026661 | 0.068817 | 0.033329
29 | 0.98991 | 0.029426 | 0.072848 | 0.035282
30 | 0.99073 | 0.023162 | 0.31404 | 0.1521
31 | 0.99722 | -0.024182 | 0.19006 | 0.09205
32 | 0.99969 | -0.00082646 | 0.10522 | 0.050961
33 | 0.99971 | -0.00066557 | 0.11219 | 0.054336
34 | 0.98849 | 0.018262 | 0.13803 | 0.06685
35 | 0.99072 | 0.023236 | 0 | 0
36 | 0.99774 | -0.027971 | 0 | 0
37 | 0.99015 | 0.027301 | 0 | 0
38 | 0.98989 | 0.029022 | 0 | 0
39 | 0.98989 | 0.029039 | 0.32274 | 0.15631
40 | 0.98977 | 0.029707 | 0 | 0
41 | 0.99014 | 0.027317 | 0.3092 | 0.14975
42 | 0.98977 | 0.029715 | 0.12088 | 0.058547
43 | 0.98822 | 0.020428 | 0 | 0
44 | 0.98836 | 0.019253 | 0 | 0
45 | 0.98822 | 0.020439 | 0.26892 | 0.13024
46 | 0.99903 | -0.025246 | 0.20136 | 0.097525
47 | 0.99887 | -0.027064 | 0.41948 | 0.20316
48 | 1 | 0 | -11.674 | -5.4127
49 | 0.99983 | -0.0016185 | 0.089437 | 0.043316
50 | 0.99983 | -0.0016073 | 0.11191 | 0.054203
51 | 0.99984 | -0.0016782 | 0.070823 | 0.034301
52 | 0.99984 | -0.0017121 | 0 | 0
53 | 0.99975 | -0.0010011 | 0 | 0
54 | 0.99878 | -0.013163 | 0 | 0
55 | 0.9984 | -0.032739 | 1.1236 | 0.54418
56 | 0.99749 | -0.037416 | 0 | 0
57 | 0.99747 | -0.037271 | 0.12592 | 0.060985
58 | 0.99751 | -0.037286 | 0.24984 | 0.121
59 | 0.99848 | -0.016322 | 0.12659 | 0.061311
60 | 0.99751 | -0.037309 | 0 | 0
61 | 0.99761 | -0.038171 | 0 | 0
62 | 0.99754 | -0.037559 | 0 | 0
63 | 0.99686 | -0.03151 | 0.3882 | 0.18801
64 | 0.99678 | -0.030837 | 0 | 0
65 | 0.99706 | -0.033255 | 1.6909 | 0.81896
66 | 0.9967 | -0.030167 | 0.5105 | 0.24725
67 | 0.99659 | -0.029272 | 0 | 0
68 | 0.99753 | -0.037512 | 0.11958 | 0.057917
69 | 0.99753 | -0.037619 | 0.44253 | 0.21433
70 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.36158 | -0.17336 | 0.3616 | 0.17061 | 2.1311e-05 | -0.0027489 | 0.011677 | 0.011643 | 0.011677 | 0.9913 | 0.019406 | 0.99136 | 0.018913 | 5.3077
1 | 0.15064 | 0.071199 | -0.15064 | -0.071308 | 3.9911e-06 | -0.00010908 | 0.0048522 | 0.0048536 | 0.0048536 | 0.9913 | 0.019406 | 0.99128 | 0.019216 | 2.3112
2 | -0.3616 | -0.17061 | 0.36167 | 0.1616 | 6.8991e-05 | -0.0090132 | 0.011643 | 0.011533 | 0.011643 | 0.99136 | 0.018913 | 0.99154 | 0.017445 | 5.2921
3 | 0.15064 | 0.071308 | -0.15064 | -0.072958 | 2.2213e-06 | -0.0016494 | 0.0048536 | 0.0048743 | 0.0048743 | 0.99128 | 0.019216 | 0.99126 | 0.019341 | 2.2156
4 | -0.64437 | -0.29382 | 0.64455 | 0.28666 | 0.00017364 | -0.0071625 | 0.020618 | 0.020532 | 0.020618 | 0.99154 | 0.017445 | 0.99179 | 0.015472 | 9.372
5 | 0.28271 | 0.13222 | -0.28269 | -0.13691 | 2.2189e-05 | -0.0046885 | 0.0090864 | 0.0091452 | 0.0091452 | 0.99154 | 0.017445 | 0.99146 | 0.018102 | 4.1569
6 | -0.64455 | -0.28666 | 0.64455 | 0.28655 | 2.4475e-06 | -0.00010141 | 0.020532 | 0.020531 | 0.020532 | 0.99179 | 0.015472 | 0.99179 | 0.015445 | 9.3328
7 | -1.0499 | -0.48289 | 1.05 | 0.48229 | 3.9497e-05 | -0.00060255 | 0.033637 | 0.03363 | 0.033637 | 0.99179 | 0.015445 | 0.99183 | 0.015155 | 15.2896
8 | -0.052459 | -0.025407 | 0.052459 | 0.023471 | 3.0855e-07 | -0.0019364 | 0.0016914 | 0.0016677 | 0.0016914 | 0.99481 | -0.0302 | 0.99481 | -0.030247 | 0.76882
9 | -0.052459 | -0.023471 | 0.052461 | 0.011805 | 1.6999e-06 | -0.011665 | 0.0016677 | 0.0015603 | 0.0016677 | 0.99481 | -0.030247 | 0.99484 | -0.030313 | 0.75803
10 | -0.052461 | -0.011805 | 0.052461 | 0.010861 | 1.2942e-07 | -0.00094453 | 0.0015603 | 0.0015545 | 0.0015603 | 0.99484 | -0.030313 | 0.99485 | -0.030302 | 0.70924
11 | 0.3689 | 0.16256 | -0.36857 | -0.16396 | 0.00032974 | -0.0013935 | 0.011686 | 0.011705 | 0.011705 | 0.9958 | -0.022437 | 0.99485 | -0.030302 | 5.5739
12 | -1.2446 | -0.58667 | 1.2447 | 0.58516 | 0.00013974 | -0.0015171 | 0.039887 | 0.039868 | 0.039887 | 0.9958 | -0.022437 | 0.9959 | -0.023354 | 18.1304
13 | -1.2447 | -0.58516 | 1.2456 | 0.57507 | 0.0009249 | -0.010088 | 0.039868 | 0.039741 | 0.039868 | 0.9959 | -0.023354 | 0.99659 | -0.029272 | 18.1217
14 | -0.13452 | -0.065151 | 0.13452 | 0.06509 | 1.8141e-06 | -6.1049e-05 | 0.0043678 | 0.004367 | 0.0043678 | 0.98785 | 0.02304 | 0.98786 | 0.023129 | 2.0799
15 | -0.13452 | -0.06509 | 0.13453 | 0.053512 | 1.2246e-05 | -0.011578 | 0.004367 | 0.0042306 | 0.004367 | 0.98786 | 0.023129 | 0.98795 | 0.022499 | 1.985
16 | -0.13453 | -0.053512 | 0.13454 | 0.052337 | 1.2022e-06 | -0.0011757 | 0.0042306 | 0.004218 | 0.0042306 | 0.98795 | 0.022499 | 0.98796 | 0.022456 | 1.923
17 | -0.49685 | -0.22781 | 0.49685 | 0.22774 | 1.1434e-06 | -7.7918e-05 | 0.015971 | 0.01597 | 0.015971 | 0.98796 | 0.022456 | 0.98796 | 0.022439 | 7.2595
18 | -0.49685 | -0.22774 | 0.49699 | 0.21828 | 0.00013772 | -0.0094558 | 0.01597 | 0.015856 | 0.01597 | 0.98796 | 0.022439 | 0.98822 | 0.020428 | 7.2591
19 | -0.076449 | -0.037026 | 0.076458 | 0.036089 | 8.4585e-06 | -0.00093675 | 0.0024555 | 0.0024437 | 0.0024555 | 0.99863 | -0.029269 | 0.99875 | -0.028505 | 1.1693
20 | 4.8281 | 2.1646 | -4.8266 | -2.1682 | 0.001542 | -0.003547 | 0.15294 | 0.15299 | 0.15299 | 0.99875 | -0.028505 | 0.9984 | -0.032739 | 42.2625
21 | -5.63 | -2.552 | 5.6306 | 2.5511 | 0.00062413 | -0.000932 | 0.17867 | 0.17865 | 0.17867 | 0.99875 | -0.028505 | 0.99887 | -0.027064 | 49.355
22 | -0.32179 | -0.15585 | 0.32179 | 0.15545 | 2.4534e-06 | -0.00040436 | 0.010366 | 0.010361 | 0.010366 | 0.99572 | -0.013333 | 0.99573 | -0.0134 | 4.7117
23 | 3.181 | 1.3875 | -3.1679 | -1.4065 | 0.013164 | -0.019003 | 0.10061 | 0.10088 | 0.10088 | 0.99573 | -0.0134 | 0.99183 | 0.015155 | 45.855
24 | -3.5028 | -1.5429 | 3.5071 | 1.538 | 0.0043289 | -0.0049612 | 0.11097 | 0.11089 | 0.11097 | 0.99573 | -0.0134 | 0.9969 | -0.021873 | 50.4393
25 | 2.1179 | 0.92419 | -2.1155 | -0.93259 | 0.0023444 | -0.0083995 | 0.067255 | 0.067362 | 0.067362 | 0.99183 | 0.015155 | 0.99079 | 0.022711 | 30.619
26 | -3.5071 | -1.538 | 3.5083 | 1.5366 | 0.0011899 | -0.0013677 | 0.11089 | 0.11087 | 0.11089 | 0.9969 | -0.021873 | 0.99722 | -0.024182 | 50.4062
27 | 0.9786 | 0.43727 | -0.97829 | -0.44271 | 0.00030861 | -0.0054389 | 0.031246 | 0.031312 | 0.031312 | 0.99027 | 0.026615 | 0.98997 | 0.028916 | 14.2327
28 | -1.0474 | -0.46926 | 1.048 | 0.46029 | 0.00058136 | -0.0089702 | 0.033458 | 0.03335 | 0.033458 | 0.99027 | 0.026615 | 0.99079 | 0.022711 | 15.2081
29 | 0.068817 | 0.031991 | -0.068817 | -0.033329 | 3.7646e-07 | -0.0013389 | 0.0022123 | 0.002229 | 0.002229 | 0.99027 | 0.026615 | 0.99026 | 0.026661 | 1.0132
30 | 0.97829 | 0.44271 | -0.97823 | -0.44389 | 6.7073e-05 | -0.0011786 | 0.031312 | 0.031326 | 0.031326 | 0.98997 | 0.028916 | 0.98991 | 0.029426 | 14.2393
31 | 1.0675 | 0.4723 | -1.0675 | -0.47332 | 6.8787e-05 | -0.0010231 | 0.034012 | 0.034024 | 0.034024 | 0.99079 | 0.022711 | 0.99073 | 0.023162 | 15.4655
32 | 0.90538 | 0.40861 | -0.90416 | -0.4088 | 0.0012154 | -0.00018804 | 0.028967 | 0.028978 | 0.028978 | 0.98991 | 0.029426 | 0.98849 | 0.018262 | 13.7991
33 | 0.75343 | 0.32123 | -0.75342 | -0.3215 | 8.8197e-06 | -0.00026918 | 0.023865 | 0.023868 | 0.023868 | 0.99073 | 0.023162 | 0.99072 | 0.023236 | 10.8493
34 | -3.6984 | -1.6286 | 3.7004 | 1.6266 | 0.0020371 | -0.0020453 | 0.11698 | 0.11695 | 0.11698 | 0.99722 | -0.024182 | 0.99774 | -0.027971 | 53.1739
35 | -0.10522 | -0.050961 | 0.10522 | 0.050813 | 2.5539e-06 | -0.00014853 | 0.003376 | 0.0033741 | 0.003376 | 0.99969 | -0.00082646 | 0.99971 | -0.00066557 | 1.6076
36 | -0.21741 | -0.10515 | 0.21742 | 0.10194 | 8.696e-06 | -0.0032122 | 0.0069737 | 0.0069338 | 0.0069737 | 0.99971 | -0.00066557 | 0.99975 | -0.0010011 | 3.1699
37 | 0.76614 | 0.34195 | -0.76603 | -0.34496 | 0.00010495 | -0.003019 | 0.024501 | 0.024538 | 0.024538 | 0.98849 | 0.018262 | 0.98836 | 0.019253 | 11.1535
38 | 0.75342 | 0.3215 | -0.75296 | -0.33531 | 0.0004562 | -0.013819 | 0.023868 | 0.024031 | 0.024031 | 0.99072 | 0.023236 | 0.99015 | 0.027301 | 10.9231
39 | -3.7004 | -1.6266 | 3.703 | 1.624 | 0.0025794 | -0.0025957 | 0.11695 | 0.11691 | 0.11695 | 0.99774 | -0.027971 | 0.9984 | -0.032739 | 53.1599
40 | 0.3092 | 0.14965 | -0.3092 | -0.14975 | 5.7239e-07 | -9.9875e-05 | 0.010015 | 0.010016 | 0.010016 | 0.99015 | 0.027301 | 0.99014 | 0.027317 | 4.5529
41 | 0.44376 | 0.18566 | -0.44365 | -0.19608 | 0.00011826 | -0.010416 | 0.014025 | 0.014145 | 0.014145 | 0.99015 | 0.027301 | 0.98989 | 0.029022 | 6.4295
42 | 0.32275 | 0.15621 | -0.32274 | -0.15631 | 6.3547e-07 | -0.00010165 | 0.010456 | 0.010458 | 0.010458 | 0.98989 | 0.029022 | 0.98989 | 0.029039 | 4.7535
43 | 0.1209 | 0.039867 | -0.12088 | -0.058409 | 1.5331e-05 | -0.018542 | 0.0037125 | 0.0039157 | 0.0039157 | 0.98989 | 0.029022 | 0.98977 | 0.029707 | 1.7799
44 | 0.12088 | 0.058409 | -0.12088 | -0.058547 | 1.2059e-07 | -0.00013773 | 0.0039157 | 0.0039174 | 0.0039174 | 0.98977 | 0.029707 | 0.98977 | 0.029715 | 1.7807
45 | -0.76591 | -0.34844 | 0.76603 | 0.34496 | 0.00012125 | -0.0034757 | 0.02458 | 0.024538 | 0.02458 | 0.98822 | 0.020428 | 0.98836 | 0.019253 | 11.1727
46 | 0.26892 | 0.13016 | -0.26892 | -0.13024 | 3.6268e-07 | -8.304e-05 | 0.0087274 | 0.0087285 | 0.0087285 | 0.98822 | 0.020428 | 0.98822 | 0.020439 | 3.9675
47 | 6.0509 | 2.7533 | -6.0501 | -2.7543 | 0.00085332 | -0.0010188 | 0.19209 | 0.19211 | 0.19211 | 0.99903 | -0.025246 | 0.99887 | -0.027064 | 53.0703
48 | -6.2523 | -2.8508 | 6.2571 | 2.8562 | 0.0048424 | 0.0053707 | 0.19856 | 0.19856 | 0.19856 | 0.99903 | -0.025246 | 1 | 0 | 56.7309
49 | 5.4028 | 2.546 | -5.402 | -2.5473 | 0.00077279 | -0.0012843 | 0.17242 | 0.17244 | 0.17244 | 1 | 0 | 0.99984 | -0.0017121 | 47.635
50 | 0.11192 | 0.054002 | -0.11191 | -0.054203 | 1.4455e-07 | -0.00020059 | 0.0035878 | 0.0035903 | 0.0035903 | 0.99983 | -0.0016185 | 0.99983 | -0.0016073 | 1.6319
51 | -0.20135 | -0.097318 | 0.20135 | 0.09672 | 1.3957e-06 | -0.00059881 | 0.0064569 | 0.0064494 | 0.0064569 | 0.99983 | -0.0016185 | 0.99984 | -0.0016782 | 2.935
52 | -0.27218 | -0.13102 | 0.27218 | 0.13077 | 1.0759e-06 | -0.00025266 | 0.0087214 | 0.0087182 | 0.0087214 | 0.99984 | -0.0016782 | 0.99984 | -0.0017121 | 3.9643
53 | 0.21744 | 0.093992 | -0.21742 | -0.10194 | 2.1088e-05 | -0.0079449 | 0.0068395 | 0.0069338 | 0.0069338 | 0.99984 | -0.0017121 | 0.99975 | -0.0010011 | 3.1517
54 | 4.9124 | 2.3226 | -4.9077 | -2.3328 | 0.0047572 | -0.010237 | 0.15688 | 0.15705 | 0.15705 | 0.99984 | -0.0017121 | 0.99878 | -0.013163 | 43.3851
55 | 4.9077 | 2.3328 | -4.9063 | -2.3356 | 0.0013216 | -0.0028337 | 0.15705 | 0.1571 | 0.1571 | 0.99878 | -0.013163 | 0.99848 | -0.016322 | 43.3982
56 | 0.12592 | 0.058595 | -0.12592 | -0.060985 | 2.1861e-06 | -0.0023898 | 0.0040194 | 0.004049 | 0.004049 | 0.99749 | -0.037416 | 0.99747 | -0.037271 | 1.8405
57 | -0.12592 | -0.058595 | 0.12592 | 0.058507 | 2.1578e-06 | -8.7718e-05 | 0.0040194 | 0.0040183 | 0.0040194 | 0.99749 | -0.037416 | 0.99751 | -0.037286 | 1.914
58 | -0.37576 | -0.17951 | 0.37576 | 0.17938 | 1.0496e-06 | -0.00012831 | 0.012051 | 0.01205 | 0.012051 | 0.99751 | -0.037286 | 0.99751 | -0.037309 | 5.4779
59 | 4.7797 | 2.2743 | -4.7764 | -2.2707 | 0.0033438 | 0.0036299 | 0.15303 | 0.15304 | 0.15304 | 0.99848 | -0.016322 | 0.99761 | -0.038171 | 43.7249
60 | -0.37576 | -0.17938 | 0.37577 | 0.17801 | 1.1215e-05 | -0.0013732 | 0.01205 | 0.012033 | 0.01205 | 0.99751 | -0.037309 | 0.99754 | -0.037559 | 5.4772
61 | 0.93796 | 0.44815 | -0.93789 | -0.44946 | 6.7704e-05 | -0.0013109 | 0.03008 | 0.030097 | 0.030097 | 0.99761 | -0.038171 | 0.99754 | -0.037559 | 13.6804
62 | 3.8384 | 1.8225 | -3.8362 | -1.8245 | 0.0022598 | -0.001988 | 0.12296 | 0.12299 | 0.12299 | 0.99761 | -0.038171 | 0.99706 | -0.033255 | 55.9045
63 | 0.11959 | 0.057135 | -0.11958 | -0.057917 | 6.483e-07 | -0.00078215 | 0.0038353 | 0.0038452 | 0.0038452 | 0.99754 | -0.037559 | 0.99753 | -0.037512 | 1.7478
64 | 0.44253 | 0.21432 | -0.44253 | -0.21433 | 4.0372e-06 | -1.0766e-05 | 0.014229 | 0.014229 | 0.014229 | 0.99754 | -0.037559 | 0.99753 | -0.037619 | 6.7758
65 | 1.7566 | 0.81917 | -1.7564 | -0.81996 | 0.0001477 | -0.00078923 | 0.056127 | 0.056137 | 0.056137 | 0.99686 | -0.03151 | 0.99678 | -0.030837 | 25.517
66 | -2.1448 | -1.0072 | 2.1452 | 1.0056 | 0.00046216 | -0.0016083 | 0.068617 | 0.068595 | 0.068617 | 0.99686 | -0.03151 | 0.99706 | -0.033255 | 31.1895
67 | 1.7564 | 0.81996 | -1.7563 | -0.82074 | 0.00014683 | -0.00078416 | 0.056137 | 0.056148 | 0.056148 | 0.99678 | -0.030837 | 0.9967 | -0.030167 | 25.5216
68 | 1.2458 | 0.5735 | -1.2456 | -0.57507 | 0.00014345 | -0.0015718 | 0.039721 | 0.039741 | 0.039741 | 0.9967 | -0.030167 | 0.99659 | -0.029272 | 18.064

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.0261 | 5.5833

## res_load
| p_mw | q_mvar
0 | 0.21093 | 0.10216
1 | 0.15064 | 0.072958
2 | 0.28269 | 0.13691
3 | 0.40539 | 0.19634
4 | 0.052459 | 0.025407
5 | 0.87568 | 0.42411
6 | 0.31611 | 0.1531
7 | 0.13452 | 0.065151
8 | 0.36231 | 0.17548
9 | 0.076449 | 0.037026
10 | 0.72538 | 0.35132
11 | 0.32179 | 0.15585
12 | 0.068817 | 0.033329
13 | 0.072848 | 0.035282
14 | 0.31404 | 0.1521
15 | 0.19006 | 0.09205
16 | 0.10522 | 0.050961
17 | 0.11219 | 0.054336
18 | 0.13803 | 0.06685
19 | 0.32274 | 0.15631
20 | 0.3092 | 0.14975
21 | 0.12088 | 0.058547
22 | 0.26892 | 0.13024
23 | 0.20136 | 0.097525
24 | 0.41948 | 0.20316
25 | 0.35218 | 0.17057
26 | 0.089437 | 0.043316
27 | 0.11191 | 0.054203
28 | 0.070823 | 0.034301
29 | 1.1236 | 0.54418
30 | 0.12592 | 0.060985
31 | 0.24984 | 0.121
32 | 0.12659 | 0.061311
33 | 0.3882 | 0.18801
34 | 1.6909 | 0.81896
35 | 0.5105 | 0.24725
36 | 0.11958 | 0.057917
37 | 0.44253 | 0.21433

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1