## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_217_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_217_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_217_0_node_72 | 20 | n |  | TRUE
3 | bus_MV_217_0_node_73 | 20 | n |  | TRUE
4 | bus_MV_217_0_node_71 | 20 | n |  | TRUE
5 | bus_MV_217_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_217_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_217_0_node_25 | 20 | n |  | TRUE
8 | bus_MV_217_0_node_26 | 20 | n |  | TRUE
9 | bus_MV_217_0_node_38 | 20 | n |  | TRUE
10 | bus_MV_217_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_217_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_217_0_node_63 | 20 | n |  | TRUE
13 | bus_MV_217_0_node_36 | 20 | n |  | TRUE
14 | bus_MV_217_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_217_0_node_13 | 20 | n |  | TRUE
16 | bus_MV_217_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_217_0_node_59 | 20 | n |  | TRUE
18 | bus_MV_217_0_node_69 | 20 | n |  | TRUE
19 | bus_MV_217_0_node_15 | 20 | n |  | TRUE
20 | bus_MV_217_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_217_0_node_48 | 20 | n |  | TRUE
22 | bus_MV_217_0_node_62 | 20 | n |  | TRUE
23 | bus_MV_217_0_node_33 | 20 | n |  | TRUE
24 | bus_MV_217_0_node_34 | 20 | n |  | TRUE
25 | bus_MV_217_0_node_42 | 20 | n |  | TRUE
26 | bus_MV_217_0_node_60 | 20 | n |  | TRUE
27 | bus_MV_217_0_node_10 | 20 | n |  | TRUE
28 | bus_MV_217_0_node_12 | 20 | n |  | TRUE
29 | bus_MV_217_0_node_37 | 20 | n |  | TRUE
30 | bus_MV_217_0_node_16 | 20 | n |  | TRUE
31 | bus_MV_217_0_node_17 | 20 | n |  | TRUE
32 | bus_MV_217_0_node_18 | 20 | n |  | TRUE
33 | bus_MV_217_0_node_57 | 20 | n |  | TRUE
34 | bus_MV_217_0_node_58 | 20 | n |  | TRUE
35 | bus_MV_217_0_node_56 | 20 | n |  | TRUE
36 | bus_MV_217_0_node_19 | 20 | n |  | TRUE
37 | bus_MV_217_0_node_20 | 20 | n |  | TRUE
38 | bus_MV_217_0_node_21 | 20 | n |  | TRUE
39 | bus_MV_217_0_node_24 | 20 | n |  | TRUE
40 | bus_MV_217_0_node_22 | 20 | n |  | TRUE
41 | bus_MV_217_0_node_23 | 20 | n |  | TRUE
42 | bus_MV_217_0_node_43 | 20 | n |  | TRUE
43 | bus_MV_217_0_node_67 | 20 | n |  | TRUE
44 | bus_MV_217_0_node_28 | 20 | n |  | TRUE
45 | bus_MV_217_0_node_49 | 20 | n |  | TRUE
46 | bus_MV_217_0_node_44 | 20 | n |  | TRUE
47 | bus_MV_217_0_node_46 | 20 | n |  | TRUE
48 | bus_MV_217_0_node_41 | 20 | n |  | TRUE
49 | bus_MV_217_0_node_68 | 20 | n |  | TRUE
50 | bus_MV_217_0_node_29 | 20 | n |  | TRUE
51 | bus_MV_217_0_node_30 | 20 | n |  | TRUE
52 | bus_MV_217_0_node_45 | 20 | n |  | TRUE
53 | bus_MV_217_0_node_31 | 20 | n |  | TRUE
54 | bus_MV_217_0_node_32 | 20 | n |  | TRUE
55 | bus_MV_217_0_node_70 | 20 | n |  | TRUE
56 | bus_MV_217_0_node_74 | 20 | n |  | TRUE
57 | bus_MV_217_0_node_35 | 20 | n |  | TRUE
58 | bus_MV_217_0_node_47 | 20 | n |  | TRUE
59 | bus_MV_217_0_node_61 | 20 | n |  | TRUE
60 | bus_MV_217_0_node_66 | 20 | n |  | TRUE
61 | bus_MV_217_0_node_39 | 20 | n |  | TRUE
62 | bus_MV_217_0_node_40 | 20 | n |  | TRUE
63 | bus_MV_217_0_node_64 | 20 | n |  | TRUE
64 | bus_MV_217_0_node_53 | 20 | n |  | TRUE
65 | bus_MV_217_0_node_50 | 20 | n |  | TRUE
66 | bus_MV_217_0_node_51 | 20 | n |  | TRUE
67 | bus_MV_217_0_node_52 | 20 | n |  | TRUE
68 | bus_MV_217_0_node_54 | 20 | n |  | TRUE
69 | bus_MV_217_0_node_65 | 20 | n |  | TRUE
70 | bus_MV_217_0_node_55 | 20 | n |  | TRUE
71 | bus_HV_217_0_node_34 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_217_0_load_0 | 0 | 0.38451 | 0.18623 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_217_0_load_71 | 4 | 0.3215 | 0.15571 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_217_0_load_3 | 5 | 0.27455 | 0.13297 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_217_0_load_38 | 9 | 0.2816 | 0.13638 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_217_0_load_63 | 12 | 0.10222 | 0.049507 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_217_0_load_36 | 13 | 0.064821 | 0.031394 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_217_0_load_14 | 16 | 0.37785 | 0.183 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_217_0_load_59 | 17 | 0.35821 | 0.17349 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_217_0_load_69 | 18 | 0.28143 | 0.1363 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_217_0_load_48 | 21 | 0.1259 | 0.060976 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_217_0_load_62 | 22 | 0.091275 | 0.044207 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_217_0_load_42 | 25 | 0.37609 | 0.18215 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_217_0_load_60 | 26 | 0.34905 | 0.16905 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_217_0_load_10 | 27 | 0.36103 | 0.17485 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_217_0_load_37 | 29 | 0.37029 | 0.17934 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_217_0_load_17 | 31 | 1.4105 | 0.68314 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_217_0_load_58 | 34 | 1.4178 | 0.6867 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_217_0_load_56 | 35 | 0.29127 | 0.14107 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_217_0_load_19 | 36 | 0.29081 | 0.14085 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_217_0_load_22 | 40 | 0.25364 | 0.12284 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_217_0_load_43 | 42 | 0.35268 | 0.17081 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_217_0_load_67 | 43 | 0.19698 | 0.095402 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_217_0_load_49 | 45 | 0.11713 | 0.056731 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_217_0_load_44 | 46 | 0.3898 | 0.18879 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_217_0_load_68 | 49 | 0.08898 | 0.043095 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_217_0_load_29 | 50 | 0.33255 | 0.16106 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_217_0_load_70 | 55 | 0.17895 | 0.086671 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_217_0_load_74 | 56 | 0.39144 | 0.18958 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_217_0_load_47 | 58 | 0.072529 | 0.035128 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_217_0_load_61 | 59 | 1.1233 | 0.54402 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_217_0_load_39 | 61 | 0.30601 | 0.14821 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_217_0_load_64 | 63 | 0.11795 | 0.057126 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_217_0_load_50 | 65 | 0.075563 | 0.036597 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_217_0_load_51 | 66 | 0.08735 | 0.042306 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_217_0_load_65 | 69 | 0.27805 | 0.13467 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_217_0_load_55 | 70 | 0.67689 | 0.32783 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_217_0_line_0 |  | 0 | 1 | 0.14091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_217_0_line_1 |  | 1 | 2 | 0.16592 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_217_0_line_2 |  | 2 | 3 | 0.30423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_217_0_line_3 |  | 2 | 4 | 0.003918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_217_0_line_4 |  | 3 | 56 | 0.003301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_217_0_line_5 |  | 5 | 6 | 0.13336 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_217_0_line_6 |  | 6 | 7 | 0.26897 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_217_0_line_7 |  | 7 | 8 | 0.067848 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_217_0_line_8 |  | 7 | 9 | 0.054362 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_217_0_line_9 |  | 8 | 44 | 0.29682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_217_0_line_10 |  | 8 | 45 | 0.026797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_217_0_line_11 |  | 10 | 11 | 0.088274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_217_0_line_12 |  | 10 | 12 | 0.048144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_217_0_line_13 |  | 11 | 13 | 0.022483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_217_0_line_14 |  | 12 | 23 | 0.36425 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_217_0_line_15 |  | 14 | 15 | 0.32003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_217_0_line_16 |  | 14 | 16 | 0.048928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_217_0_line_17 |  | 14 | 17 | 0.11665 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_217_0_line_18 |  | 15 | 18 | 0.035558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_217_0_line_19 |  | 15 | 19 | 0.20788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_217_0_line_20 |  | 15 | 20 | 0.18907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_217_0_line_21 |  | 17 | 26 | 0.032392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_217_0_line_22 |  | 19 | 21 | 0.019585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_217_0_line_23 |  | 20 | 28 | 0.24229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_217_0_line_24 |  | 20 | 27 | 0.10375 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_217_0_line_25 |  | 22 | 23 | 0.23158 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_217_0_line_26 |  | 23 | 24 | 0.25406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_217_0_line_27 |  | 23 | 25 | 0.049265 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_217_0_line_28 |  | 24 | 57 | 0.27228 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
29 | MV_217_0_line_29 |  | 24 | 58 | 0.010018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_217_0_line_30 |  | 24 | 54 | 0.3044 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_217_0_line_31 |  | 26 | 32 | 0.019724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_217_0_line_32 |  | 28 | 29 | 0.027485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_217_0_line_33 |  | 30 | 31 | 0.018193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_217_0_line_34 |  | 30 | 32 | 0.010424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_217_0_line_35 |  | 32 | 33 | 0.003294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_217_0_line_36 |  | 33 | 34 | 0.026059 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_217_0_line_37 |  | 33 | 35 | 0.010554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_217_0_line_38 |  | 34 | 57 | 0.024989 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
39 | MV_217_0_line_39 |  | 35 | 70 | 0.048694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_217_0_line_40 |  | 36 | 37 | 0.07313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_217_0_line_41 |  | 37 | 38 | 0.21856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_217_0_line_42 |  | 38 | 39 | 0.2722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_217_0_line_43 |  | 38 | 40 | 0.11461 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_217_0_line_44 |  | 39 | 43 | 0.059056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_217_0_line_45 |  | 39 | 41 | 0.078523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_217_0_line_46 |  | 41 | 42 | 0.077905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_217_0_line_47 |  | 42 | 47 | 0.083394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_217_0_line_48 |  | 42 | 48 | 0.032883 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_217_0_line_49 |  | 43 | 49 | 0.056471 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_217_0_line_50 |  | 44 | 46 | 0.028615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_217_0_line_51 |  | 46 | 52 | 0.093561 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_217_0_line_52 |  | 47 | 65 | 0.051538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_217_0_line_53 |  | 47 | 52 | 0.10475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_217_0_line_54 |  | 48 | 62 | 0.21387 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_217_0_line_55 |  | 50 | 51 | 0.010898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_217_0_line_56 |  | 51 | 53 | 0.20208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_217_0_line_57 |  | 51 | 54 | 0.27803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_217_0_line_58 |  | 53 | 55 | 0.012906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_217_0_line_59 |  | 54 | 56 | 0.011645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_217_0_line_60 |  | 55 | 60 | 0.008069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_217_0_line_61 |  | 57 | 59 | 0.030117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_217_0_line_62 |  | 60 | 68 | 0.2021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_217_0_line_63 |  | 61 | 62 | 0.029023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_217_0_line_64 |  | 61 | 63 | 0.11482 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_217_0_line_65 |  | 63 | 64 | 0.043701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_217_0_line_66 |  | 64 | 67 | 0.12002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_217_0_line_67 |  | 66 | 67 | 0.042125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_217_0_line_68 |  | 67 | 68 | 0.19321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_217_0_line_69 |  | 68 | 69 | 0.039897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_217_0_trafo_34 | 25 MVA 110/20 kV | 71 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2665961.309 | 1212076.9345
1 | 2665828.3831 | 1212030.1718
2 | 2665682.747 | 1212109.6603
3 | 2665447.3 | 1212123.326
4 | 2665679.2099 | 1212107.9537
5 | 2664625.4348 | 1212240.4623
6 | 2664745.9788 | 1212297.5042
7 | 2664805.5014 | 1212035.2
8 | 2664849.9181 | 1212007.4433
9 | 2664758.9318 | 1212063.245
10 | 2665108.6978 | 1212644.7655
11 | 2665032.1667 | 1212655.4596
12 | 2665066.0683 | 1212622.4481
13 | 2665021.1947 | 1212675.0966
14 | 2665613.6852 | 1212493.8377
15 | 2665809.7076 | 1212638.6529
16 | 2665655.1757 | 1212473.1258
17 | 2665580.7183 | 1212381.9471
18 | 2665838.9301 | 1212659.0323
19 | 2665840.244 | 1212573.7608
20 | 2665727.1454 | 1212762.1302
21 | 2665854.4278 | 1212587.245
22 | 2665125.434 | 1212503.3396
23 | 2665248.6197 | 1212307.2413
24 | 2665295.0029 | 1212233.1252
25 | 2665206.5343 | 1212281.6321
26 | 2665553.456 | 1212364.5556
27 | 2665624.1975 | 1212775.0383
28 | 2665900.2178 | 1212800.6633
29 | 2665923.1759 | 1212815.775
30 | 2665531.1981 | 1212363.8843
31 | 2665515.347 | 1212354.9561
32 | 2665536.3124 | 1212354.8015
33 | 2665533.4432 | 1212353.169
34 | 2665510.6268 | 1212340.5796
35 | 2665538.741 | 1212344.0404
36 | 2664476.9456 | 1211907.729
37 | 2664521.763 | 1211929.9604
38 | 2664659.2845 | 1211810.0975
39 | 2664865.9974 | 1211762.8119
40 | 2664544.7148 | 1211812.9589
41 | 2664912.0981 | 1211792.0757
42 | 2664987.9008 | 1211773.2003
43 | 2664921.2272 | 1211741.5106
44 | 2664949.6517 | 1211855.3788
45 | 2664848.1977 | 1211980.7011
46 | 2664954.7703 | 1211883.5297
47 | 2665068.9763 | 1211792.7292
48 | 2664981.8932 | 1211740.8705
49 | 2664882.7232 | 1211700.2015
50 | 2665241.4737 | 1212005.5216
51 | 2665250.4019 | 1211999.2375
52 | 2665046.774 | 1211866.5325
53 | 2665417.2526 | 1211932.59
54 | 2665436.5732 | 1212117.6382
55 | 2665430.1376 | 1211931.3639
56 | 2665447.9889 | 1212120.0983
57 | 2665492.9342 | 1212325.9852
58 | 2665292.2105 | 1212242.5115
59 | 2665503.5031 | 1212297.7834
60 | 2665437.9087 | 1211933.6172
61 | 2665171.2006 | 1211621.1229
62 | 2665158.7367 | 1211641.1487
63 | 2665280.7035 | 1211655.6573
64 | 2665299.7252 | 1211695.0008
65 | 2665112.1535 | 1211764.5879
66 | 2665318.5548 | 1211613.2151
67 | 2665338.1296 | 1211650.516
68 | 2665379.4737 | 1211792.6119
69 | 2665350.4182 | 1211804.3008
70 | 2665572.6346 | 1212313.6976
71 | 2665295.0029 | 1212233.1252

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99874 | -0.0062556 | 0.38451 | 0.18623
1 | 0.99881 | -0.0068903 | 0 | 0
2 | 0.99893 | -0.0060686 | 0 | 0
3 | 0.9992 | -0.0085022 | 0 | 0
4 | 0.99893 | -0.0060535 | 0.3215 | 0.15571
5 | 0.99242 | 0.029763 | 0.27455 | 0.13297
6 | 0.99249 | 0.030213 | 0 | 0
7 | 0.99263 | 0.031126 | 0 | 0
8 | 0.99268 | 0.030674 | 0 | 0
9 | 0.9926 | 0.030938 | 0.2816 | 0.13638
10 | 0.99968 | 0.00097341 | 0 | 0
11 | 0.99967 | 0.001033 | 0 | 0
12 | 0.99968 | 0.00094593 | 0.10222 | 0.049507
13 | 0.99967 | 0.00105 | 0.064821 | 0.031394
14 | 0.99853 | -0.017887 | 0 | 0
15 | 0.99806 | -0.013944 | 0 | 0
16 | 0.9985 | -0.017667 | 0.37785 | 0.183
17 | 0.99887 | -0.015481 | 0.35821 | 0.17349
18 | 0.99805 | -0.013825 | 0.28143 | 0.1363
19 | 0.99803 | -0.013669 | 0 | 0
20 | 0.99789 | -0.012389 | 0 | 0
21 | 0.99803 | -0.013639 | 0.1259 | 0.060976
22 | 0.99975 | 0.0015476 | 0.091275 | 0.044207
23 | 0.9998 | 0.0018059 | 0 | 0
24 | 1 | 0 | -12.6156 | -5.9726
25 | 0.99976 | 0.0015817 | 0.37609 | 0.18215
26 | 0.99894 | -0.016154 | 0.34905 | 0.16905
27 | 0.99781 | -0.012844 | 0.36103 | 0.17485
28 | 0.99777 | -0.011366 | 0 | 0
29 | 0.99776 | -0.011244 | 0.37029 | 0.17934
30 | 0.99898 | -0.01647 | 0 | 0
31 | 0.99895 | -0.016163 | 1.4105 | 0.68314
32 | 0.999 | -0.016646 | 0 | 0
33 | 0.99901 | -0.016784 | 0 | 0
34 | 0.99908 | -0.016094 | 1.4178 | 0.6867
35 | 0.999 | -0.016662 | 0.29127 | 0.14107
36 | 0.99302 | 0.033439 | 0.29081 | 0.14085
37 | 0.99304 | 0.033186 | 0 | 0
38 | 0.99313 | 0.032475 | 0 | 0
39 | 0.99331 | 0.030857 | 0 | 0
40 | 0.99307 | 0.032118 | 0.25364 | 0.12284
41 | 0.9934 | 0.030147 | 0 | 0
42 | 0.99348 | 0.029451 | 0.35268 | 0.17081
43 | 0.99329 | 0.031059 | 0.19698 | 0.095402
44 | 0.99294 | 0.028368 | 0 | 0
45 | 0.99268 | 0.030711 | 0.11713 | 0.056731
46 | 0.99296 | 0.028153 | 0.3898 | 0.18879
47 | 0.9933 | 0.028185 | 0 | 0
48 | 0.99363 | 0.03048 | 0 | 0
49 | 0.99328 | 0.030997 | 0.08898 | 0.043095
50 | 0.99793 | 0.0023518 | 0.33255 | 0.16106
51 | 0.99794 | 0.0023084 | 0 | 0
52 | 0.99315 | 0.029457 | 0 | 0
53 | 0.99709 | 0.0095758 | 0 | 0
54 | 0.99922 | -0.0086727 | 0 | 0
55 | 0.99704 | 0.010042 | 0.17895 | 0.086671
56 | 0.99921 | -0.0085278 | 0.39144 | 0.18958
57 | 0.99914 | -0.014937 | 0 | 0
58 | 1 | 8.6163e-06 | 0.072529 | 0.035128
59 | 0.9991 | -0.014533 | 1.1233 | 0.54402
60 | 0.997 | 0.010317 | 0 | 0
61 | 0.99435 | 0.024207 | 0.30601 | 0.14821
62 | 0.99426 | 0.024952 | 0 | 0
63 | 0.99493 | 0.028283 | 0.11795 | 0.057126
64 | 0.99508 | 0.026942 | 0 | 0
65 | 0.99329 | 0.02823 | 0.075563 | 0.036597
66 | 0.9955 | 0.023317 | 0.08735 | 0.042306
67 | 0.9955 | 0.023274 | 0 | 0
68 | 0.9962 | 0.017232 | 0 | 0
69 | 0.99619 | 0.017364 | 0.27805 | 0.13467
70 | 0.99896 | -0.016269 | 0.67689 | 0.32783
71 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.38451 | -0.18623 | 0.38454 | 0.18288 | 2.8589e-05 | -0.0033477 | 0.012349 | 0.012307 | 0.012349 | 0.99874 | -0.0062556 | 0.99881 | -0.0068903 | 5.6131
1 | -0.38454 | -0.18288 | 0.38458 | 0.18271 | 4.4764e-05 | -0.00016959 | 0.012307 | 0.012304 | 0.012307 | 0.99881 | -0.0068903 | 0.99893 | -0.0060686 | 5.8604
2 | -0.70609 | -0.33833 | 0.70629 | 0.33114 | 0.0002071 | -0.0071889 | 0.022626 | 0.022537 | 0.022626 | 0.99893 | -0.0060686 | 0.9992 | -0.0085022 | 10.2847
3 | 0.3215 | 0.15562 | -0.3215 | -0.15571 | 5.5736e-07 | -9.3181e-05 | 0.010322 | 0.010323 | 0.010323 | 0.99893 | -0.0060686 | 0.99893 | -0.0060535 | 4.6924
4 | -0.70629 | -0.33114 | 0.7063 | 0.33106 | 2.2381e-06 | -7.8026e-05 | 0.022537 | 0.022536 | 0.022537 | 0.9992 | -0.0085022 | 0.99921 | -0.0085278 | 10.2439
5 | -0.27455 | -0.13297 | 0.27457 | 0.13283 | 1.8705e-05 | -0.00014509 | 0.0088736 | 0.0088717 | 0.0088736 | 0.99242 | 0.029763 | 0.99249 | 0.030213 | 4.2255
6 | -0.27457 | -0.13283 | 0.27461 | 0.13254 | 3.7701e-05 | -0.00029273 | 0.0088717 | 0.0088677 | 0.0088717 | 0.99249 | 0.030213 | 0.99263 | 0.031126 | 4.2246
7 | -0.55622 | -0.26886 | 0.55625 | 0.26727 | 2.9205e-05 | -0.0015876 | 0.017966 | 0.017946 | 0.017966 | 0.99263 | 0.031126 | 0.99268 | 0.030674 | 8.1666
8 | 0.28161 | 0.13633 | -0.2816 | -0.13638 | 8.0193e-06 | -5.892e-05 | 0.0090988 | 0.0090996 | 0.0090996 | 0.99263 | 0.031126 | 0.9926 | 0.030938 | 4.3331
9 | -0.67338 | -0.32337 | 0.67357 | 0.31644 | 0.00018624 | -0.00693 | 0.021723 | 0.021636 | 0.021723 | 0.99268 | 0.030674 | 0.99294 | 0.028368 | 9.8742
10 | 0.11713 | 0.0561 | -0.11713 | -0.056731 | 5.1138e-07 | -0.00063033 | 0.0037768 | 0.0037848 | 0.0037848 | 0.99268 | 0.030674 | 0.99268 | 0.030711 | 1.7204
11 | 0.064822 | 0.028752 | -0.064821 | -0.030858 | 5.0021e-07 | -0.0021061 | 0.0020477 | 0.0020731 | 0.0020731 | 0.99968 | 0.00097341 | 0.99967 | 0.001033 | 0.94233
12 | -0.064822 | -0.028752 | 0.064822 | 0.027603 | 2.6775e-07 | -0.0011487 | 0.0020477 | 0.0020345 | 0.0020477 | 0.99968 | 0.00097341 | 0.99968 | 0.00094593 | 0.93078
13 | 0.064821 | 0.030858 | -0.064821 | -0.031394 | 1.2941e-07 | -0.00053641 | 0.0020731 | 0.0020798 | 0.0020798 | 0.99967 | 0.001033 | 0.99967 | 0.00105 | 0.94538
14 | -0.16704 | -0.07711 | 0.16706 | 0.076687 | 1.83e-05 | -0.00042316 | 0.0053128 | 0.0053075 | 0.0053128 | 0.99968 | 0.00094593 | 0.9998 | 0.0018059 | 2.5299
15 | 1.1394 | 0.52681 | -1.1389 | -0.53426 | 0.00056415 | -0.0074477 | 0.036292 | 0.036385 | 0.036385 | 0.99853 | -0.017887 | 0.99806 | -0.013944 | 16.5384
16 | 0.37786 | 0.18184 | -0.37785 | -0.183 | 9.6114e-06 | -0.0011619 | 0.012123 | 0.012138 | 0.012138 | 0.99853 | -0.017887 | 0.9985 | -0.017667 | 5.5171
17 | -1.5173 | -0.70865 | 1.5178 | 0.70882 | 0.00048711 | 0.00016622 | 0.048414 | 0.048412 | 0.048414 | 0.99853 | -0.017887 | 0.99887 | -0.015481 | 23.0541
18 | 0.28144 | 0.13546 | -0.28143 | -0.1363 | 3.8787e-06 | -0.00084454 | 0.0090339 | 0.0090446 | 0.0090446 | 0.99806 | -0.013944 | 0.99805 | -0.013825 | 4.1112
19 | 0.12591 | 0.055568 | -0.1259 | -0.060511 | 4.4623e-06 | -0.0049426 | 0.0039805 | 0.0040404 | 0.0040404 | 0.99806 | -0.013944 | 0.99803 | -0.013669 | 1.8365
20 | 0.73153 | 0.34323 | -0.73139 | -0.34769 | 0.0001382 | -0.0044549 | 0.023372 | 0.023427 | 0.023427 | 0.99806 | -0.013944 | 0.99789 | -0.012389 | 10.6487
21 | -1.876 | -0.88231 | 1.8761 | 0.88158 | 0.0001552 | -0.00072566 | 0.059914 | 0.059904 | 0.059914 | 0.99887 | -0.015481 | 0.99894 | -0.016154 | 27.2335
22 | 0.1259 | 0.060511 | -0.1259 | -0.060976 | 4.2744e-07 | -0.00046563 | 0.0040404 | 0.0040462 | 0.0040462 | 0.99803 | -0.013669 | 0.99803 | -0.013639 | 1.8392
23 | 0.37034 | 0.17294 | -0.37029 | -0.17869 | 4.5492e-05 | -0.0057463 | 0.011824 | 0.011895 | 0.011895 | 0.99789 | -0.012389 | 0.99777 | -0.011366 | 5.407
24 | 0.36105 | 0.17475 | -0.36103 | -0.17485 | 2.4894e-05 | -0.00010774 | 0.011604 | 0.011605 | 0.011605 | 0.99789 | -0.012389 | 0.99781 | -0.012844 | 5.5264
25 | -0.091275 | -0.044207 | 0.091279 | 0.043932 | 3.534e-06 | -0.00027412 | 0.0029284 | 0.0029249 | 0.0029284 | 0.99975 | 0.0015476 | 0.9998 | 0.0018059 | 1.3945
26 | -0.63444 | -0.30272 | 0.63458 | 0.29669 | 0.00013921 | -0.0060233 | 0.020297 | 0.020222 | 0.020297 | 0.9998 | 0.0018059 | 1 | 0 | 9.2258
27 | 0.3761 | 0.1821 | -0.37609 | -0.18215 | 1.2778e-05 | -5.0783e-05 | 0.012065 | 0.012066 | 0.012066 | 0.9998 | 0.0018059 | 0.99976 | 0.0015817 | 5.7457
28 | 7.1512 | 3.4232 | -7.146 | -3.4288 | 0.0052231 | -0.0055979 | 0.22887 | 0.229 | 0.229 | 1 | 0 | 0.99914 | -0.014937 | 54.3942
29 | 0.072529 | 0.034888 | -0.072529 | -0.035128 | 7.2288e-08 | -0.00023916 | 0.0023234 | 0.0023264 | 0.0023264 | 1 | 0 | 1 | 8.6163e-06 | 1.0574
30 | 4.7433 | 2.2073 | -4.7399 | -2.2153 | 0.0033564 | -0.0079956 | 0.15103 | 0.15115 | 0.15115 | 1 | 0 | 0.99922 | -0.0086727 | 41.7555
31 | -2.2252 | -1.0506 | 2.2253 | 1.0502 | 0.00013314 | -0.00043047 | 0.071111 | 0.071105 | 0.071111 | 0.99894 | -0.016154 | 0.999 | -0.016646 | 32.3232
32 | 0.37029 | 0.17869 | -0.37029 | -0.17934 | 5.1956e-06 | -0.00065177 | 0.011895 | 0.011904 | 0.011904 | 0.99777 | -0.011366 | 0.99776 | -0.011244 | 5.4107
33 | 1.4106 | 0.68272 | -1.4105 | -0.68314 | 4.9811e-05 | -0.00041869 | 0.045284 | 0.04529 | 0.04529 | 0.99898 | -0.01647 | 0.99895 | -0.016163 | 20.5863
34 | -1.4106 | -0.68272 | 1.4106 | 0.68248 | 2.8534e-05 | -0.00023991 | 0.045284 | 0.045281 | 0.045284 | 0.99898 | -0.01647 | 0.999 | -0.016646 | 20.5838
35 | -3.6359 | -1.7327 | 3.636 | 1.7326 | 5.9566e-05 | -6.0823e-05 | 0.11639 | 0.11638 | 0.11639 | 0.999 | -0.016646 | 0.99901 | -0.016784 | 52.9024
36 | -4.6042 | -2.2001 | 4.6045 | 2.1994 | 0.00027364 | -0.00069343 | 0.14745 | 0.14744 | 0.14745 | 0.99901 | -0.016784 | 0.99908 | -0.016094 | 40.7326
37 | 0.96821 | 0.4675 | -0.96819 | -0.46775 | 1.3602e-05 | -0.00024747 | 0.031068 | 0.031071 | 0.031071 | 0.99901 | -0.016784 | 0.999 | -0.016662 | 14.1233
38 | -6.0223 | -2.8861 | 6.0226 | 2.8855 | 0.00034051 | -0.00064031 | 0.19296 | 0.19295 | 0.19296 | 0.99908 | -0.016094 | 0.99914 | -0.014937 | 45.8337
39 | 0.67692 | 0.32668 | -0.67689 | -0.32783 | 3.0686e-05 | -0.0011511 | 0.021719 | 0.021734 | 0.021734 | 0.999 | -0.016662 | 0.99896 | -0.016269 | 9.8791
40 | -0.29081 | -0.14085 | 0.29082 | 0.13913 | 8.5944e-06 | -0.0017193 | 0.0093934 | 0.0093717 | 0.0093934 | 0.99302 | 0.033439 | 0.99304 | 0.033186 | 4.2697
41 | -0.29082 | -0.13913 | 0.29085 | 0.13399 | 2.5451e-05 | -0.0051389 | 0.0093717 | 0.0093081 | 0.0093717 | 0.99304 | 0.033186 | 0.99313 | 0.032475 | 4.2599
42 | -0.5445 | -0.25671 | 0.54461 | 0.25033 | 0.00011076 | -0.0063783 | 0.017498 | 0.017419 | 0.017498 | 0.99313 | 0.032475 | 0.99331 | 0.030857 | 7.9536
43 | 0.25365 | 0.12272 | -0.25364 | -0.12284 | 1.3701e-05 | -0.00012635 | 0.0081905 | 0.0081922 | 0.0081922 | 0.99313 | 0.032475 | 0.99307 | 0.032118 | 3.9011
44 | 0.28597 | 0.13704 | -0.28596 | -0.13843 | 6.7086e-06 | -0.0013892 | 0.0092158 | 0.0092333 | 0.0092333 | 0.99331 | 0.030857 | 0.99329 | 0.031059 | 4.197
45 | -0.83058 | -0.38737 | 0.83065 | 0.38554 | 7.43e-05 | -0.001828 | 0.026634 | 0.026612 | 0.026634 | 0.99331 | 0.030857 | 0.9934 | 0.030147 | 12.1065
46 | -0.83065 | -0.38554 | 0.83073 | 0.38373 | 7.359e-05 | -0.0018139 | 0.026612 | 0.026589 | 0.026612 | 0.9934 | 0.030147 | 0.99348 | 0.029451 | 12.0962
47 | 1.1395 | 0.53756 | -1.1393 | -0.53754 | 0.00019915 | 2.6498e-05 | 0.03661 | 0.036611 | 0.036611 | 0.99348 | 0.029451 | 0.9933 | 0.028185 | 17.4339
48 | -2.3229 | -1.0921 | 2.3232 | 1.0923 | 0.00032591 | 0.00016539 | 0.074584 | 0.074584 | 0.074584 | 0.99348 | 0.029451 | 0.99363 | 0.03048 | 35.5163
49 | 0.088981 | 0.043029 | -0.08898 | -0.043095 | 8.3044e-07 | -6.5993e-05 | 0.0028725 | 0.0028733 | 0.0028733 | 0.99329 | 0.031059 | 0.99328 | 0.030997 | 1.3683
50 | -0.67357 | -0.31644 | 0.67359 | 0.31578 | 1.7876e-05 | -0.00066831 | 0.021636 | 0.021628 | 0.021636 | 0.99294 | 0.028368 | 0.99296 | 0.028153 | 9.8345
51 | -1.0634 | -0.50456 | 1.0636 | 0.50457 | 0.00019518 | 1.2105e-05 | 0.034218 | 0.034217 | 0.034218 | 0.99296 | 0.028153 | 0.99315 | 0.029457 | 16.2945
52 | 0.075563 | 0.035383 | -0.075563 | -0.036597 | 4.0708e-07 | -0.001214 | 0.0024249 | 0.00244 | 0.00244 | 0.9933 | 0.028185 | 0.99329 | 0.02823 | 1.1091
53 | 1.0637 | 0.50216 | -1.0636 | -0.50457 | 0.00016358 | -0.0024188 | 0.034186 | 0.034217 | 0.034217 | 0.9933 | 0.028185 | 0.99315 | 0.029457 | 15.5532
54 | -2.3232 | -1.0923 | 2.3248 | 1.0877 | 0.0015869 | -0.004574 | 0.074584 | 0.074522 | 0.074584 | 0.99363 | 0.03048 | 0.99426 | 0.024952 | 33.9017
55 | -0.33255 | -0.16106 | 0.33256 | 0.1608 | 1.6617e-06 | -0.00025864 | 0.010689 | 0.010685 | 0.010689 | 0.99793 | 0.0023518 | 0.99794 | 0.0023084 | 4.8585
56 | 3.3046 | 1.5393 | -3.3016 | -1.5432 | 0.0030017 | -0.0039104 | 0.10545 | 0.10551 | 0.10551 | 0.99794 | 0.0023084 | 0.99709 | 0.0095758 | 47.9607
57 | -3.6372 | -1.7001 | 3.6422 | 1.6949 | 0.005003 | -0.0051355 | 0.11614 | 0.11606 | 0.11614 | 0.99794 | 0.0023084 | 0.99922 | -0.0086727 | 52.7906
58 | 3.3016 | 1.5432 | -3.3014 | -1.5434 | 0.00019183 | -0.00024944 | 0.10551 | 0.10552 | 0.10552 | 0.99709 | 0.0095758 | 0.99704 | 0.010042 | 47.9625
59 | 1.0978 | 0.52037 | -1.0977 | -0.52064 | 1.9151e-05 | -0.00027192 | 0.035097 | 0.0351 | 0.0351 | 0.99922 | -0.0086727 | 0.99921 | -0.0085278 | 15.9547
60 | 3.1225 | 1.4567 | -3.1224 | -1.4569 | 0.00010721 | -0.00015971 | 0.099761 | 0.099763 | 0.099763 | 0.99704 | 0.010042 | 0.997 | 0.010317 | 45.347
61 | 1.1233 | 0.54331 | -1.1233 | -0.54402 | 5.227e-05 | -0.00070231 | 0.036052 | 0.036061 | 0.036061 | 0.99914 | -0.014937 | 0.9991 | -0.014533 | 16.3912
62 | 3.1224 | 1.4569 | -3.1197 | -1.4609 | 0.0026869 | -0.0039957 | 0.099763 | 0.099822 | 0.099822 | 0.997 | 0.010317 | 0.9962 | 0.017232 | 45.3737
63 | 2.325 | 1.0871 | -2.3248 | -1.0877 | 0.00021514 | -0.00062126 | 0.074513 | 0.074522 | 0.074522 | 0.99435 | 0.024207 | 0.99426 | 0.024952 | 33.8734
64 | -2.631 | -1.2353 | 2.6325 | 1.2361 | 0.0014566 | 0.00077679 | 0.084383 | 0.084382 | 0.084383 | 0.99435 | 0.024207 | 0.99493 | 0.028283 | 40.1825
65 | -2.7505 | -1.2932 | 2.7509 | 1.2923 | 0.00045362 | -0.00089846 | 0.088184 | 0.088171 | 0.088184 | 0.99493 | 0.028283 | 0.99508 | 0.026942 | 40.0836
66 | -2.7509 | -1.2923 | 2.7522 | 1.2898 | 0.0012452 | -0.0024695 | 0.088171 | 0.088136 | 0.088171 | 0.99508 | 0.026942 | 0.9955 | 0.023274 | 40.0778
67 | -0.08735 | -0.042306 | 0.087351 | 0.041309 | 4.4347e-07 | -0.00099663 | 0.0028144 | 0.0028019 | 0.0028144 | 0.9955 | 0.023317 | 0.9955 | 0.023274 | 1.2793
68 | -2.8395 | -1.3311 | 2.8416 | 1.3272 | 0.0021318 | -0.0039427 | 0.090938 | 0.090882 | 0.090938 | 0.9955 | 0.023274 | 0.9962 | 0.017232 | 41.3355
69 | 0.27806 | 0.13372 | -0.27805 | -0.13467 | 4.2633e-06 | -0.00094409 | 0.0089407 | 0.0089526 | 0.0089526 | 0.9962 | 0.017232 | 0.99619 | 0.017364 | 4.0694

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.6156 | 5.9726

## res_load
| p_mw | q_mvar
0 | 0.38451 | 0.18623
1 | 0.3215 | 0.15571
2 | 0.27455 | 0.13297
3 | 0.2816 | 0.13638
4 | 0.10222 | 0.049507
5 | 0.064821 | 0.031394
6 | 0.37785 | 0.183
7 | 0.35821 | 0.17349
8 | 0.28143 | 0.1363
9 | 0.1259 | 0.060976
10 | 0.091275 | 0.044207
11 | 0.37609 | 0.18215
12 | 0.34905 | 0.16905
13 | 0.36103 | 0.17485
14 | 0.37029 | 0.17934
15 | 1.4105 | 0.68314
16 | 1.4178 | 0.6867
17 | 0.29127 | 0.14107
18 | 0.29081 | 0.14085
19 | 0.25364 | 0.12284
20 | 0.35268 | 0.17081
21 | 0.19698 | 0.095402
22 | 0.11713 | 0.056731
23 | 0.3898 | 0.18879
24 | 0.08898 | 0.043095
25 | 0.33255 | 0.16106
26 | 0.17895 | 0.086671
27 | 0.39144 | 0.18958
28 | 0.072529 | 0.035128
29 | 1.1233 | 0.54402
30 | 0.30601 | 0.14821
31 | 0.11795 | 0.057126
32 | 0.075563 | 0.036597
33 | 0.08735 | 0.042306
34 | 0.27805 | 0.13467
35 | 0.67689 | 0.32783

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1