## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_21_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_21_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_21_0_node_129 | 20 | n |  | TRUE
3 | bus_MV_21_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_21_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_21_0_node_9 | 20 | n |  | TRUE
6 | bus_MV_21_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_21_0_node_14 | 20 | n |  | TRUE
8 | bus_MV_21_0_node_4 | 20 | n |  | TRUE
9 | bus_MV_21_0_node_15 | 20 | n |  | TRUE
10 | bus_MV_21_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_21_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_21_0_node_13 | 20 | n |  | TRUE
13 | bus_MV_21_0_node_105 | 20 | n |  | TRUE
14 | bus_MV_21_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_21_0_node_103 | 20 | n |  | TRUE
16 | bus_MV_21_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_21_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_21_0_node_42 | 20 | n |  | TRUE
19 | bus_MV_21_0_node_159 | 20 | n |  | TRUE
20 | bus_MV_21_0_node_44 | 20 | n |  | TRUE
21 | bus_MV_21_0_node_45 | 20 | n |  | TRUE
22 | bus_MV_21_0_node_55 | 20 | n |  | TRUE
23 | bus_MV_21_0_node_63 | 20 | n |  | TRUE
24 | bus_MV_21_0_node_130 | 20 | n |  | TRUE
25 | bus_MV_21_0_node_46 | 20 | n |  | TRUE
26 | bus_MV_21_0_node_48 | 20 | n |  | TRUE
27 | bus_MV_21_0_node_47 | 20 | n |  | TRUE
28 | bus_MV_21_0_node_49 | 20 | n |  | TRUE
29 | bus_MV_21_0_node_51 | 20 | n |  | TRUE
30 | bus_MV_21_0_node_52 | 20 | n |  | TRUE
31 | bus_MV_21_0_node_53 | 20 | n |  | TRUE
32 | bus_MV_21_0_node_54 | 20 | n |  | TRUE
33 | bus_MV_21_0_node_50 | 20 | n |  | TRUE
34 | bus_MV_21_0_node_158 | 20 | n |  | TRUE
35 | bus_MV_21_0_node_156 | 20 | n |  | TRUE
36 | bus_MV_21_0_node_67 | 20 | n |  | TRUE
37 | bus_MV_21_0_node_62 | 20 | n |  | TRUE
38 | bus_MV_21_0_node_137 | 20 | n |  | TRUE
39 | bus_MV_21_0_node_57 | 20 | n |  | TRUE
40 | bus_MV_21_0_node_58 | 20 | n |  | TRUE
41 | bus_MV_21_0_node_60 | 20 | n |  | TRUE
42 | bus_MV_21_0_node_59 | 20 | n |  | TRUE
43 | bus_MV_21_0_node_155 | 20 | n |  | TRUE
44 | bus_MV_21_0_node_65 | 20 | n |  | TRUE
45 | bus_MV_21_0_node_139 | 20 | n |  | TRUE
46 | bus_MV_21_0_node_61 | 20 | n |  | TRUE
47 | bus_MV_21_0_node_64 | 20 | n |  | TRUE
48 | bus_MV_21_0_node_68 | 20 | n |  | TRUE
49 | bus_MV_21_0_node_133 | 20 | n |  | TRUE
50 | bus_MV_21_0_node_131 | 20 | n |  | TRUE
51 | bus_MV_21_0_node_69 | 20 | n |  | TRUE
52 | bus_MV_21_0_node_70 | 20 | n |  | TRUE
53 | bus_MV_21_0_node_72 | 20 | n |  | TRUE
54 | bus_MV_21_0_node_71 | 20 | n |  | TRUE
55 | bus_MV_21_0_node_161 | 20 | n |  | TRUE
56 | bus_MV_21_0_node_73 | 20 | n |  | TRUE
57 | bus_MV_21_0_node_78 | 20 | n |  | TRUE
58 | bus_MV_21_0_node_76 | 20 | n |  | TRUE
59 | bus_MV_21_0_node_154 | 20 | n |  | TRUE
60 | bus_MV_21_0_node_75 | 20 | n |  | TRUE
61 | bus_MV_21_0_node_83 | 20 | n |  | TRUE
62 | bus_MV_21_0_node_77 | 20 | n |  | TRUE
63 | bus_MV_21_0_node_79 | 20 | n |  | TRUE
64 | bus_MV_21_0_node_80 | 20 | n |  | TRUE
65 | bus_MV_21_0_node_81 | 20 | n |  | TRUE
66 | bus_MV_21_0_node_132 | 20 | n |  | TRUE
67 | bus_MV_21_0_node_104 | 20 | n |  | TRUE
68 | bus_MV_21_0_node_106 | 20 | n |  | TRUE
69 | bus_MV_21_0_node_107 | 20 | n |  | TRUE
70 | bus_MV_21_0_node_108 | 20 | n |  | TRUE
71 | bus_MV_21_0_node_134 | 20 | n |  | TRUE
72 | bus_MV_21_0_node_136 | 20 | n |  | TRUE
73 | bus_MV_21_0_node_138 | 20 | n |  | TRUE
74 | bus_HV_21_0_node_51 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_21_0_load_0 | 0 | 0.24917 | 0.12068 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_21_0_load_129 | 2 | 0.40295 | 0.19516 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_21_0_load_9 | 5 | 0.40381 | 0.19557 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_21_0_load_14 | 7 | 0.39526 | 0.19143 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_21_0_load_15 | 9 | 0.1969 | 0.095365 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_21_0_load_13 | 12 | 0.3918 | 0.18976 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_21_0_load_105 | 13 | 0.073628 | 0.035659 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_21_0_load_103 | 15 | 0.080381 | 0.03893 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_21_0_load_11 | 16 | 0.23665 | 0.11461 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_21_0_load_12 | 17 | 0.16692 | 0.080844 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_21_0_load_42 | 18 | 0.17423 | 0.084384 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_21_0_load_159 | 19 | 0.16647 | 0.080627 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_21_0_load_55 | 22 | 0.35249 | 0.17072 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_21_0_load_130 | 24 | 0.080967 | 0.039214 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_21_0_load_46 | 25 | 0.13114 | 0.063515 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_21_0_load_52 | 30 | 0.078516 | 0.038027 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_21_0_load_158 | 34 | 0.39742 | 0.19248 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_21_0_load_156 | 35 | 0.24208 | 0.11724 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_21_0_load_137 | 38 | 0.1302 | 0.063059 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_21_0_load_57 | 39 | 0.16953 | 0.082108 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_21_0_load_155 | 43 | 0.2515 | 0.12181 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_21_0_load_65 | 44 | 0.25523 | 0.12361 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_21_0_load_61 | 46 | 0.36382 | 0.1762 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_21_0_load_64 | 47 | 0.14607 | 0.070743 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_21_0_load_131 | 50 | 2.867 | 1.3886 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_21_0_load_69 | 51 | 0.319 | 0.1545 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_21_0_load_161 | 55 | 0.17898 | 0.086685 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_21_0_load_78 | 57 | 0.35115 | 0.17007 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_21_0_load_154 | 59 | 0.32277 | 0.15632 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_21_0_load_83 | 61 | 0.22392 | 0.10845 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_21_0_load_77 | 62 | 0.39229 | 0.18999 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_21_0_load_81 | 65 | 0.076647 | 0.037122 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_21_0_load_132 | 66 | 0.1654 | 0.080109 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_21_0_load_104 | 67 | 0.07047 | 0.03413 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_21_0_load_108 | 70 | 0.16144 | 0.078189 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_21_0_load_134 | 71 | 0.49971 | 0.24202 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_21_0_load_136 | 72 | 0.099454 | 0.048168 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_21_0_load_138 | 73 | 1.5016 | 0.72727 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_21_0_line_0 |  | 0 | 1 | 0.082194 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_21_0_line_1 |  | 0 | 2 | 2.7922 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_21_0_line_2 |  | 1 | 3 | 0.60136 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_21_0_line_3 |  | 1 | 4 | 0.3429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_21_0_line_4 |  | 2 | 29 | 0.081276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_21_0_line_5 |  | 3 | 5 | 0.079246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_21_0_line_6 |  | 4 | 6 | 0.26788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_21_0_line_7 |  | 4 | 7 | 0.039128 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_21_0_line_8 |  | 6 | 13 | 0.002473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_21_0_line_9 |  | 6 | 8 | 0.52492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_21_0_line_10 |  | 6 | 10 | 0.44272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_21_0_line_11 |  | 8 | 9 | 0.014526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_21_0_line_12 |  | 10 | 11 | 0.56317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_21_0_line_13 |  | 10 | 12 | 0.009247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_21_0_line_14 |  | 11 | 14 | 0.14731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_21_0_line_15 |  | 13 | 68 | 0.088253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_21_0_line_16 |  | 14 | 15 | 0.05672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_21_0_line_17 |  | 14 | 16 | 0.23002 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_21_0_line_18 |  | 15 | 67 | 0.015191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_21_0_line_19 |  | 16 | 17 | 0.044423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_21_0_line_20 |  | 18 | 19 | 0.044313 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_21_0_line_21 |  | 19 | 31 | 0.052341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_21_0_line_22 |  | 20 | 21 | 0.20382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_21_0_line_23 |  | 20 | 22 | 0.045402 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_21_0_line_24 |  | 21 | 23 | 0.085482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_21_0_line_25 |  | 21 | 24 | 0.019215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_21_0_line_26 |  | 23 | 46 | 0.026242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_21_0_line_27 |  | 25 | 26 | 0.018209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_21_0_line_28 |  | 25 | 27 | 0.092807 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_21_0_line_29 |  | 26 | 30 | 0.0341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_21_0_line_30 |  | 26 | 31 | 0.13711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_21_0_line_31 |  | 26 | 32 | 0.10699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_21_0_line_32 |  | 27 | 28 | 0.69747 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_21_0_line_33 |  | 27 | 29 | 0.23049 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_21_0_line_34 |  | 28 | 33 | 0.1713 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_21_0_line_35 |  | 28 | 34 | 0.03486 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_21_0_line_36 |  | 32 | 37 | 0.035273 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_21_0_line_37 |  | 32 | 38 | 0.05911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_21_0_line_38 |  | 33 | 35 | 0.035176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_21_0_line_39 |  | 33 | 36 | 0.23974 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_21_0_line_40 |  | 36 | 44 | 0.01821 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_21_0_line_41 |  | 37 | 47 | 0.061413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_21_0_line_42 |  | 37 | 46 | 0.019273 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_21_0_line_43 |  | 38 | 72 | 0.0010882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_21_0_line_44 |  | 39 | 40 | 0.050709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_21_0_line_45 |  | 40 | 41 | 0.30656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_21_0_line_46 |  | 41 | 44 | 0.042867 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_21_0_line_47 |  | 41 | 45 | 0.069517 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
48 | MV_21_0_line_48 |  | 41 | 42 | 0.39966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_21_0_line_49 |  | 42 | 43 | 0.007921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_21_0_line_50 |  | 45 | 71 | 0.027178 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
51 | MV_21_0_line_51 |  | 45 | 73 | 0.064783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_21_0_line_52 |  | 48 | 49 | 0.030761 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_21_0_line_53 |  | 48 | 50 | 0.025889 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_21_0_line_54 |  | 49 | 71 | 0.010015 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_21_0_line_55 |  | 50 | 66 | 0.04828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_21_0_line_56 |  | 51 | 52 | 0.037115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_21_0_line_57 |  | 52 | 53 | 0.35316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_21_0_line_58 |  | 53 | 56 | 0.41 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_21_0_line_59 |  | 53 | 57 | 0.02338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_21_0_line_60 |  | 53 | 54 | 0.54728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_21_0_line_61 |  | 54 | 55 | 0.10192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_21_0_line_62 |  | 56 | 58 | 0.25753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_21_0_line_63 |  | 56 | 59 | 0.027575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_21_0_line_64 |  | 57 | 63 | 0.022475 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_21_0_line_65 |  | 58 | 62 | 0.05909 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_21_0_line_66 |  | 58 | 60 | 0.31653 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_21_0_line_67 |  | 60 | 61 | 0.11446 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_21_0_line_68 |  | 63 | 64 | 0.038915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_21_0_line_69 |  | 64 | 65 | 0.031374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_21_0_line_70 |  | 64 | 66 | 0.1499 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_21_0_line_71 |  | 68 | 69 | 0.014439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_21_0_line_72 |  | 69 | 70 | 0.027663 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_21_0_trafo_51 | 25 MVA 110/20 kV | 74 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2714207.0733 | 1229406.8282
1 | 2714163.3061 | 1229337.2562
2 | 2715976.4692 | 1231566.8807
3 | 2714412.3121 | 1229211.6323
4 | 2714057.1061 | 1229130.4585
5 | 2714442.2639 | 1229138.2738
6 | 2714025.4378 | 1228974.3637
7 | 2714043.3233 | 1229167.0781
8 | 2713992.2661 | 1229342.6577
9 | 2713984.042 | 1229352.6411
10 | 2713660.2873 | 1229070.227
11 | 2713860.4793 | 1228898.345
12 | 2713654.6974 | 1229077.6036
13 | 2714027.5597 | 1228973.0934
14 | 2713946.4693 | 1228909.6003
15 | 2714003.0728 | 1228913.2381
16 | 2713962.2671 | 1228680.1254
17 | 2713918.1386 | 1228675.2319
18 | 2715885.4022 | 1231822.8087
19 | 2715896.6162 | 1231779.938
20 | 2715821.0257 | 1232109.0128
21 | 2715920.6544 | 1231979.7083
22 | 2715865.7384 | 1232101.3095
23 | 2715995.034 | 1231937.6259
24 | 2715910.9675 | 1231963.1141
25 | 2715972.7718 | 1231750.5999
26 | 2715954.9115 | 1231754.399
27 | 2716064.3857 | 1231735.7649
28 | 2716337.1515 | 1231817.1601
29 | 2716057.7435 | 1231567.4249
30 | 2715948.5019 | 1231720.9067
31 | 2715885.0824 | 1231735.9118
32 | 2715975.8762 | 1231859.3127
33 | 2716434.6605 | 1231840.8877
34 | 2716357.8805 | 1231845.1879
35 | 2716442.849 | 1231874.8971
36 | 2716636.0425 | 1231760.0934
37 | 2715982.175 | 1231894.0185
38 | 2716034.1125 | 1231849.1855
39 | 2716865.1932 | 1231950.7551
40 | 2716851.7635 | 1231904.9105
41 | 2716696.8002 | 1231752.4574
42 | 2716956.6242 | 1231714.3439
43 | 2716963.1404 | 1231718.8757
44 | 2716654.0679 | 1231757.167
45 | 2716715.553 | 1231685.5171
46 | 2715987.1822 | 1231912.6308
47 | 2716013.9943 | 1231903.4578
48 | 2716723.7731 | 1231629.5566
49 | 2716720.4612 | 1231658.937
50 | 2716747.5503 | 1231619.314
51 | 2716709.431 | 1231423.7571
52 | 2716736.8706 | 1231448.7488
53 | 2716990.411 | 1231515.7518
54 | 2717149.1967 | 1231135.0775
55 | 2717077.3211 | 1231062.6046
56 | 2717216.8551 | 1231673.4587
57 | 2716979.1968 | 1231536.2807
58 | 2717409.3706 | 1231644.6901
59 | 2717214.9034 | 1231700.9642
60 | 2717345.1923 | 1231864.8752
61 | 2717433.3376 | 1231937.8845
62 | 2717386.7005 | 1231590.1215
63 | 2716961.4712 | 1231550.0984
64 | 2716924.8316 | 1231563.4661
65 | 2716949.3055 | 1231583.1852
66 | 2716784.8469 | 1231617.0905
67 | 2714018.2327 | 1228914.2124
68 | 2714106.5542 | 1228934.266
69 | 2714119.9231 | 1228928.7182
70 | 2714134.9909 | 1228951.7897
71 | 2716724.8568 | 1231667.9358
72 | 2716034.2912 | 1231850.2589
73 | 2716751.2741 | 1231694.8649
74 | 2716057.7435 | 1231567.4249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9866 | -0.099453 | 0.24917 | 0.12068
1 | 0.98625 | -0.10223 | 0 | 0
2 | 0.99971 | 0.0023917 | 0.40295 | 0.19516
3 | 0.98594 | -0.099586 | 0 | 0
4 | 0.98547 | -0.095991 | 0 | 0
5 | 0.9859 | -0.099197 | 0.40381 | 0.19557
6 | 0.985 | -0.092294 | 0 | 0
7 | 0.98544 | -0.096184 | 0.39526 | 0.19143
8 | 0.98487 | -0.091241 | 0 | 0
9 | 0.98486 | -0.091206 | 0.1969 | 0.095365
10 | 0.98446 | -0.087844 | 0 | 0
11 | 0.98406 | -0.084465 | 0 | 0
12 | 0.98446 | -0.0878 | 0.3918 | 0.18976
13 | 0.985 | -0.092287 | 0.073628 | 0.035659
14 | 0.98395 | -0.0835 | 0 | 0
15 | 0.98394 | -0.083398 | 0.080381 | 0.03893
16 | 0.98377 | -0.084683 | 0.23665 | 0.11461
17 | 0.98376 | -0.084592 | 0.16692 | 0.080844
18 | 0.99881 | -0.0043981 | 0.17423 | 0.084384
19 | 0.99883 | -0.0043045 | 0.16647 | 0.080627
20 | 0.99853 | -0.0017564 | 0 | 0
21 | 0.99862 | -0.0025727 | 0 | 0
22 | 0.99851 | -0.0015659 | 0.35249 | 0.17072
23 | 0.99867 | -0.0029767 | 0 | 0
24 | 0.99862 | -0.0025543 | 0.080967 | 0.039214
25 | 0.99894 | -0.0053732 | 0.13114 | 0.063515
26 | 0.99891 | -0.0050505 | 0 | 0
27 | 0.99925 | -0.0032646 | 0 | 0
28 | 0.99738 | -0.011242 | 0 | 0
29 | 1 | 0 | -12.8528 | -5.9708
30 | 0.9989 | -0.0050193 | 0.078516 | 0.038027
31 | 0.99885 | -0.004516 | 0 | 0
32 | 0.99875 | -0.0036448 | 0 | 0
33 | 0.99694 | -0.013057 | 0 | 0
34 | 0.99735 | -0.01141 | 0.39742 | 0.19248
35 | 0.99693 | -0.012955 | 0.24208 | 0.11724
36 | 0.99635 | -0.015483 | 0 | 0
37 | 0.99871 | -0.0032714 | 0 | 0
38 | 0.99873 | -0.0034847 | 0.1302 | 0.063059
39 | 0.99612 | -0.015447 | 0.16953 | 0.082108
40 | 0.99613 | -0.015549 | 0 | 0
41 | 0.9962 | -0.01608 | 0 | 0
42 | 0.99607 | -0.014995 | 0 | 0
43 | 0.99607 | -0.014971 | 0.2515 | 0.12181
44 | 0.9963 | -0.015665 | 0.25523 | 0.12361
45 | 0.99587 | -0.034324 | 0 | 0
46 | 0.99869 | -0.0030985 | 0.36382 | 0.1762
47 | 0.99869 | -0.0031666 | 0.14607 | 0.070743
48 | 0.99576 | -0.034785 | 0 | 0
49 | 0.99581 | -0.034584 | 0 | 0
50 | 0.99569 | -0.035531 | 2.867 | 1.3886
51 | 0.99465 | -0.036961 | 0.319 | 0.1545
52 | 0.99468 | -0.036816 | 0 | 0
53 | 0.99482 | -0.038083 | 0 | 0
54 | 0.9947 | -0.037211 | 0 | 0
55 | 0.99467 | -0.036998 | 0.17898 | 0.086685
56 | 0.99433 | -0.033918 | 0 | 0
57 | 0.99486 | -0.038417 | 0.35115 | 0.17007
58 | 0.99413 | -0.032175 | 0 | 0
59 | 0.99431 | -0.034027 | 0.32277 | 0.15632
60 | 0.99404 | -0.031396 | 0 | 0
61 | 0.99399 | -0.03171 | 0.22392 | 0.10845
62 | 0.99408 | -0.032459 | 0.39229 | 0.18999
63 | 0.99494 | -0.037834 | 0 | 0
64 | 0.99503 | -0.038554 | 0 | 0
65 | 0.99502 | -0.038526 | 0.076647 | 0.037122
66 | 0.99556 | -0.034503 | 0.1654 | 0.080109
67 | 0.98394 | -0.083385 | 0.07047 | 0.03413
68 | 0.98498 | -0.092123 | 0 | 0
69 | 0.98498 | -0.092095 | 0 | 0
70 | 0.98497 | -0.092041 | 0.16144 | 0.078189
71 | 0.99582 | -0.034519 | 0.49971 | 0.24202
72 | 0.99873 | -0.0034834 | 0.099454 | 0.048168
73 | 0.99575 | -0.033154 | 1.5016 | 0.72727
74 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 2.1813 | 0.98043 | -2.1806 | -0.98007 | 0.00071707 | 0.00035367 | 0.069975 | 0.069976 | 0.069976 | 0.9866 | -0.099453 | 0.98625 | -0.10223 | 33.3219
1 | -2.4305 | -1.1011 | 2.4608 | 1.1168 | 0.030309 | 0.015696 | 0.078073 | 0.078033 | 0.078073 | 0.9866 | -0.099453 | 0.99971 | 0.0023917 | 37.1774
2 | 0.40397 | 0.17982 | -0.40383 | -0.19374 | 0.00013624 | -0.013921 | 0.012943 | 0.013114 | 0.013114 | 0.98625 | -0.10223 | 0.98594 | -0.099586 | 5.961
3 | 1.7766 | 0.80025 | -1.7751 | -0.80777 | 0.0014916 | -0.0075149 | 0.057033 | 0.05713 | 0.05713 | 0.98625 | -0.10223 | 0.98547 | -0.095991 | 25.968
4 | -2.8637 | -1.312 | 2.8646 | 1.3103 | 0.00089746 | -0.0016738 | 0.090958 | 0.090935 | 0.090958 | 0.99971 | 0.0023917 | 1 | 0 | 41.3445
5 | 0.40383 | 0.19374 | -0.40381 | -0.19557 | 1.8227e-05 | -0.0018338 | 0.013114 | 0.013138 | 0.013138 | 0.98594 | -0.099586 | 0.9859 | -0.099197 | 5.9716
6 | 1.3799 | 0.61637 | -1.3792 | -0.62238 | 0.00070204 | -0.0060002 | 0.04427 | 0.044344 | 0.044344 | 0.98547 | -0.095991 | 0.985 | -0.092294 | 20.1564
7 | 0.39527 | 0.19139 | -0.39526 | -0.19143 | 1.1538e-05 | -3.8135e-05 | 0.012865 | 0.012865 | 0.012865 | 0.98547 | -0.095991 | 0.98544 | -0.096184 | 6.1263
8 | 0.23507 | 0.11077 | -0.23507 | -0.11083 | 1.9154e-07 | -5.7231e-05 | 0.0076159 | 0.0076166 | 0.0076166 | 0.985 | -0.092294 | 0.985 | -0.092287 | 3.4621
9 | 0.19693 | 0.082879 | -0.19691 | -0.095029 | 2.8106e-05 | -0.01215 | 0.0062618 | 0.0064085 | 0.0064085 | 0.985 | -0.092294 | 0.98487 | -0.091241 | 2.9129
10 | 0.94715 | 0.42872 | -0.9466 | -0.43881 | 0.00055096 | -0.010087 | 0.030469 | 0.030595 | 0.030595 | 0.985 | -0.092294 | 0.98446 | -0.087844 | 13.9067
11 | 0.19691 | 0.095029 | -0.1969 | -0.095365 | 7.9695e-07 | -0.00033617 | 0.0064085 | 0.0064128 | 0.0064128 | 0.98487 | -0.091241 | 0.98486 | -0.091206 | 2.9149
12 | 0.5548 | 0.24927 | -0.55456 | -0.26222 | 0.00024128 | -0.012955 | 0.017835 | 0.017995 | 0.017995 | 0.98446 | -0.087844 | 0.98406 | -0.084465 | 8.1796
13 | 0.3918 | 0.18954 | -0.3918 | -0.18976 | 2.0112e-06 | -0.00021338 | 0.012763 | 0.012765 | 0.012765 | 0.98446 | -0.087844 | 0.98446 | -0.0878 | 5.8024
14 | 0.55456 | 0.26222 | -0.55449 | -0.26561 | 6.3833e-05 | -0.0033866 | 0.017995 | 0.018038 | 0.018038 | 0.98406 | -0.084465 | 0.98395 | -0.0835 | 8.1991
15 | 0.16144 | 0.075171 | -0.16144 | -0.077214 | 3.225e-06 | -0.0020434 | 0.0052192 | 0.0052448 | 0.0052448 | 0.985 | -0.092287 | 0.98498 | -0.092123 | 2.384
16 | 0.15085 | 0.071399 | -0.15085 | -0.072709 | 1.8216e-06 | -0.0013106 | 0.0048964 | 0.004913 | 0.004913 | 0.98395 | -0.0835 | 0.98394 | -0.083398 | 2.2332
17 | 0.40364 | 0.19421 | -0.40357 | -0.19443 | 7.0795e-05 | -0.00022146 | 0.013142 | 0.013145 | 0.013145 | 0.98395 | -0.0835 | 0.98377 | -0.084683 | 6.2595
18 | 0.07047 | 0.033779 | -0.07047 | -0.03413 | 1.0681e-07 | -0.00035112 | 0.0022928 | 0.0022972 | 0.0022972 | 0.98394 | -0.083398 | 0.98394 | -0.083385 | 1.0442
19 | 0.16692 | 0.079818 | -0.16692 | -0.080844 | 1.7523e-06 | -0.001026 | 0.0054293 | 0.0054424 | 0.0054424 | 0.98377 | -0.084683 | 0.98376 | -0.084592 | 2.4738
20 | -0.17423 | -0.084384 | 0.17423 | 0.084332 | 2.4713e-06 | -5.1228e-05 | 0.0055951 | 0.0055944 | 0.0055951 | 0.99881 | -0.0043981 | 0.99883 | -0.0043045 | 2.6643
21 | -0.34071 | -0.16496 | 0.34071 | 0.16371 | 8.3515e-06 | -0.0012443 | 0.01094 | 0.010925 | 0.01094 | 0.99883 | -0.0043045 | 0.99885 | -0.004516 | 4.9729
22 | -0.3525 | -0.16964 | 0.35254 | 0.1648 | 3.4617e-05 | -0.0048424 | 0.011309 | 0.011249 | 0.011309 | 0.99853 | -0.0017564 | 0.99862 | -0.0025727 | 5.1407
23 | 0.3525 | 0.16964 | -0.35249 | -0.17072 | 7.7618e-06 | -0.0010785 | 0.011309 | 0.011323 | 0.011323 | 0.99853 | -0.0017564 | 0.99851 | -0.0015659 | 5.1469
24 | -0.4335 | -0.20356 | 0.43353 | 0.20153 | 2.1833e-05 | -0.002029 | 0.013844 | 0.013819 | 0.013844 | 0.99862 | -0.0025727 | 0.99867 | -0.0029767 | 6.2928
25 | 0.080967 | 0.038757 | -0.080967 | -0.039214 | 1.7311e-07 | -0.00045746 | 0.0025949 | 0.0026006 | 0.0026006 | 0.99862 | -0.0025727 | 0.99862 | -0.0025543 | 1.1821
26 | -0.43353 | -0.20153 | 0.43353 | 0.2009 | 6.6866e-06 | -0.00062292 | 0.013819 | 0.013812 | 0.013819 | 0.99867 | -0.0029767 | 0.99869 | -0.0030985 | 6.2815
27 | 1.5927 | 0.74967 | -1.5926 | -0.75008 | 6.2908e-05 | -0.00041517 | 0.050868 | 0.050874 | 0.050874 | 0.99894 | -0.0053732 | 0.99891 | -0.0050505 | 23.1243
28 | -1.7238 | -0.81318 | 1.7243 | 0.81339 | 0.00050162 | 0.0002036 | 0.055079 | 0.055077 | 0.055079 | 0.99894 | -0.0053732 | 0.99925 | -0.0032646 | 26.228
29 | 0.078516 | 0.037215 | -0.078516 | -0.038027 | 2.8819e-07 | -0.00081231 | 0.002511 | 0.0025212 | 0.0025212 | 0.99891 | -0.0050505 | 0.9989 | -0.0050193 | 1.146
30 | 0.34074 | 0.16045 | -0.34071 | -0.16371 | 2.1764e-05 | -0.0032598 | 0.010884 | 0.010925 | 0.010925 | 0.99891 | -0.0050505 | 0.99885 | -0.004516 | 4.9658
31 | 1.1733 | 0.55241 | -1.1731 | -0.5549 | 0.00020079 | -0.0024889 | 0.037478 | 0.03751 | 0.03751 | 0.99891 | -0.0050505 | 0.99875 | -0.0036448 | 17.0499
32 | 8.2426 | 3.847 | -8.2277 | -3.8823 | 0.014913 | -0.035279 | 0.26278 | 0.26332 | 0.26332 | 0.99925 | -0.0032646 | 0.99738 | -0.011242 | 41.2723
33 | -9.9669 | -4.6604 | 9.9741 | 4.65 | 0.0071918 | -0.010422 | 0.31786 | 0.31768 | 0.31786 | 0.99925 | -0.0032646 | 1 | 0 | 49.821
34 | 7.8303 | 3.6898 | -7.827 | -3.6987 | 0.0033242 | -0.0088301 | 0.25054 | 0.25067 | 0.25067 | 0.99738 | -0.011242 | 0.99694 | -0.013057 | 39.2899
35 | 0.39743 | 0.19244 | -0.39742 | -0.19248 | 1.0146e-05 | -3.5043e-05 | 0.01278 | 0.012781 | 0.012781 | 0.99738 | -0.011242 | 0.99735 | -0.01141 | 6.0862
36 | 0.94348 | 0.44511 | -0.94343 | -0.44594 | 4.2827e-05 | -0.00082734 | 0.030152 | 0.030163 | 0.030163 | 0.99875 | -0.0036448 | 0.99871 | -0.0032714 | 13.7103
37 | 0.22966 | 0.10979 | -0.22965 | -0.1112 | 4.282e-06 | -0.0014065 | 0.0073576 | 0.0073752 | 0.0073752 | 0.99875 | -0.0036448 | 0.99873 | -0.0034847 | 3.3524
38 | 0.24208 | 0.11641 | -0.24208 | -0.11724 | 2.8448e-06 | -0.00083388 | 0.007778 | 0.0077885 | 0.0077885 | 0.99694 | -0.013057 | 0.99693 | -0.012955 | 3.5402
39 | 7.5849 | 3.5823 | -7.5805 | -3.5948 | 0.0043737 | -0.012499 | 0.24289 | 0.24308 | 0.24308 | 0.99694 | -0.013057 | 0.99635 | -0.015483 | 38.0999
40 | 7.5805 | 3.5948 | -7.5802 | -3.5957 | 0.00033249 | -0.00094854 | 0.24308 | 0.24309 | 0.24309 | 0.99635 | -0.015483 | 0.9963 | -0.015665 | 38.1021
41 | 0.14607 | 0.069281 | -0.14607 | -0.070743 | 1.7972e-06 | -0.001462 | 0.0046729 | 0.0046912 | 0.0046912 | 0.99871 | -0.0032714 | 0.99869 | -0.0031666 | 2.1324
42 | 0.79737 | 0.37665 | -0.79735 | -0.37711 | 1.6721e-05 | -0.00045401 | 0.02549 | 0.025495 | 0.025495 | 0.99871 | -0.0032714 | 0.99869 | -0.0030985 | 11.5889
43 | 0.099454 | 0.048142 | -0.099454 | -0.048168 | 1.4755e-08 | -2.5912e-05 | 0.0031937 | 0.003194 | 0.003194 | 0.99873 | -0.0034847 | 0.99873 | -0.0034834 | 1.4518
44 | -0.16953 | -0.082108 | 0.16953 | 0.080907 | 2.0117e-06 | -0.0012008 | 0.0054589 | 0.0054438 | 0.0054589 | 0.99612 | -0.015447 | 0.99613 | -0.015549 | 2.4813
45 | -0.16953 | -0.080907 | 0.16955 | 0.073647 | 1.1931e-05 | -0.0072598 | 0.0054438 | 0.0053565 | 0.0054438 | 0.99613 | -0.015549 | 0.9962 | -0.01608 | 2.4745
46 | -7.3242 | -3.4744 | 7.325 | 3.4721 | 0.00073083 | -0.0022617 | 0.23491 | 0.23487 | 0.23491 | 0.9962 | -0.01608 | 0.9963 | -0.015665 | 36.8194
47 | 6.9032 | 3.2885 | -6.9019 | -3.2854 | 0.0012185 | 0.0031812 | 0.22158 | 0.22158 | 0.22158 | 0.9962 | -0.01608 | 0.99587 | -0.034324 | 34.3531
48 | 0.25153 | 0.11216 | -0.2515 | -0.12162 | 3.4468e-05 | -0.0094585 | 0.0079806 | 0.0080963 | 0.0080963 | 0.9962 | -0.01608 | 0.99607 | -0.014995 | 3.6801
49 | 0.2515 | 0.12162 | -0.2515 | -0.12181 | 6.9334e-07 | -0.00018743 | 0.0080963 | 0.0080986 | 0.0080986 | 0.99607 | -0.014995 | 0.99607 | -0.014971 | 3.6812
50 | 5.4001 | 2.5596 | -5.3999 | -2.5611 | 0.00025204 | -0.0015516 | 0.17323 | 0.17325 | 0.17325 | 0.99587 | -0.034324 | 0.99582 | -0.034519 | 27.1549
51 | 1.5018 | 0.7258 | -1.5016 | -0.72727 | 0.00020227 | -0.0014738 | 0.048351 | 0.04837 | 0.04837 | 0.99587 | -0.034324 | 0.99575 | -0.033154 | 21.9865
52 | -4.8998 | -2.3215 | 4.9001 | 2.3197 | 0.00023481 | -0.0017843 | 0.15719 | 0.15716 | 0.15719 | 0.99576 | -0.034785 | 0.99581 | -0.034584 | 24.6372
53 | 4.8998 | 2.3215 | -4.8995 | -2.3221 | 0.00030898 | -0.00065605 | 0.15719 | 0.1572 | 0.1572 | 0.99576 | -0.034785 | 0.99569 | -0.035531 | 43.4244
54 | -4.9001 | -2.3197 | 4.9001 | 2.3191 | 7.6433e-05 | -0.00058097 | 0.15716 | 0.15715 | 0.15716 | 0.99581 | -0.034584 | 0.99582 | -0.034519 | 24.6335
55 | 2.0325 | 0.93356 | -2.0322 | -0.93463 | 0.00027109 | -0.0010623 | 0.064846 | 0.06486 | 0.06486 | 0.99569 | -0.035531 | 0.99556 | -0.034503 | 29.4819
56 | -0.319 | -0.1545 | 0.31901 | 0.15446 | 6.9972e-06 | -3.9454e-05 | 0.010287 | 0.010286 | 0.010287 | 0.99465 | -0.036961 | 0.99468 | -0.036816 | 4.8985
57 | -0.31901 | -0.15446 | 0.31905 | 0.14613 | 4.938e-05 | -0.008329 | 0.010286 | 0.010183 | 0.010286 | 0.99468 | -0.036816 | 0.99482 | -0.038083 | 4.6756
58 | 0.93966 | 0.43151 | -0.93917 | -0.44105 | 0.00049471 | -0.0095366 | 0.030005 | 0.030123 | 0.030123 | 0.99482 | -0.038083 | 0.99433 | -0.033918 | 13.6923
59 | -1.4377 | -0.649 | 1.4378 | 0.64847 | 6.5387e-05 | -0.00053308 | 0.045773 | 0.045767 | 0.045773 | 0.99482 | -0.038083 | 0.99486 | -0.038417 | 20.8061
60 | 0.17901 | 0.071355 | -0.17899 | -0.084278 | 2.344e-05 | -0.012923 | 0.0055919 | 0.0057415 | 0.0057415 | 0.99482 | -0.038083 | 0.9947 | -0.037211 | 2.6098
61 | 0.17899 | 0.084278 | -0.17898 | -0.086685 | 4.5089e-06 | -0.0024064 | 0.0057415 | 0.0057716 | 0.0057716 | 0.9947 | -0.037211 | 0.99467 | -0.036998 | 2.6235
62 | 0.61639 | 0.28476 | -0.61626 | -0.29079 | 0.0001341 | -0.0060383 | 0.019712 | 0.019787 | 0.019787 | 0.99433 | -0.033918 | 0.99413 | -0.032175 | 8.9942
63 | 0.32278 | 0.1563 | -0.32277 | -0.15632 | 5.326e-06 | -2.921e-05 | 0.010412 | 0.010412 | 0.010412 | 0.99433 | -0.033918 | 0.99431 | -0.034027 | 4.9581
64 | -1.7889 | -0.81854 | 1.7891 | 0.81859 | 0.00013049 | 5.5176e-05 | 0.057085 | 0.057084 | 0.057085 | 0.99486 | -0.038417 | 0.99494 | -0.037834 | 27.1832
65 | 0.3923 | 0.18993 | -0.39229 | -0.18999 | 1.6866e-05 | -5.9148e-05 | 0.012657 | 0.012658 | 0.012658 | 0.99413 | -0.032175 | 0.99408 | -0.032459 | 6.0274
66 | 0.22395 | 0.10086 | -0.22393 | -0.10832 | 2.1769e-05 | -0.0074618 | 0.0071322 | 0.007224 | 0.007224 | 0.99413 | -0.032175 | 0.99404 | -0.031396 | 3.2836
67 | 0.22393 | 0.10832 | -0.22392 | -0.10845 | 1.0645e-05 | -0.00012834 | 0.007224 | 0.0072257 | 0.0072257 | 0.99404 | -0.031396 | 0.99399 | -0.03171 | 3.4408
68 | -1.7891 | -0.81859 | 1.7892 | 0.81772 | 0.00016926 | -0.00086963 | 0.057084 | 0.057073 | 0.057084 | 0.99494 | -0.037834 | 0.99503 | -0.038554 | 25.9475
69 | 0.076648 | 0.03638 | -0.076647 | -0.037122 | 2.5472e-07 | -0.00074158 | 0.0024615 | 0.0024708 | 0.0024708 | 0.99503 | -0.038554 | 0.99502 | -0.038526 | 1.1231
70 | -1.8659 | -0.8541 | 1.8668 | 0.85452 | 0.00094661 | 0.00041565 | 0.059535 | 0.059532 | 0.059535 | 0.99503 | -0.038554 | 0.99556 | -0.034503 | 28.3498
71 | 0.16144 | 0.077214 | -0.16144 | -0.077548 | 5.3067e-07 | -0.00033431 | 0.0052448 | 0.005249 | 0.005249 | 0.98498 | -0.092123 | 0.98498 | -0.092095 | 2.3859
72 | 0.16144 | 0.077548 | -0.16144 | -0.078189 | 1.0191e-06 | -0.00064048 | 0.005249 | 0.0052572 | 0.0052572 | 0.98498 | -0.092095 | 0.98497 | -0.092041 | 2.3896

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.8528 | 5.9708

## res_load
| p_mw | q_mvar
0 | 0.24917 | 0.12068
1 | 0.40295 | 0.19516
2 | 0.40381 | 0.19557
3 | 0.39526 | 0.19143
4 | 0.1969 | 0.095365
5 | 0.3918 | 0.18976
6 | 0.073628 | 0.035659
7 | 0.080381 | 0.03893
8 | 0.23665 | 0.11461
9 | 0.16692 | 0.080844
10 | 0.17423 | 0.084384
11 | 0.16647 | 0.080627
12 | 0.35249 | 0.17072
13 | 0.080967 | 0.039214
14 | 0.13114 | 0.063515
15 | 0.078516 | 0.038027
16 | 0.39742 | 0.19248
17 | 0.24208 | 0.11724
18 | 0.1302 | 0.063059
19 | 0.16953 | 0.082108
20 | 0.2515 | 0.12181
21 | 0.25523 | 0.12361
22 | 0.36382 | 0.1762
23 | 0.14607 | 0.070743
24 | 2.867 | 1.3886
25 | 0.319 | 0.1545
26 | 0.17898 | 0.086685
27 | 0.35115 | 0.17007
28 | 0.32277 | 0.15632
29 | 0.22392 | 0.10845
30 | 0.39229 | 0.18999
31 | 0.076647 | 0.037122
32 | 0.1654 | 0.080109
33 | 0.07047 | 0.03413
34 | 0.16144 | 0.078189
35 | 0.49971 | 0.24202
36 | 0.099454 | 0.048168
37 | 1.5016 | 0.72727

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1