## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_225_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_225_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_225_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_225_0_node_99 | 20 | n |  | TRUE
4 | bus_MV_225_0_node_78 | 20 | n |  | TRUE
5 | bus_MV_225_0_node_76 | 20 | n |  | TRUE
6 | bus_MV_225_0_node_3 | 20 | n |  | TRUE
7 | bus_MV_225_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_225_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_225_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_225_0_node_16 | 20 | n |  | TRUE
11 | bus_MV_225_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_225_0_node_24 | 20 | n |  | TRUE
13 | bus_MV_225_0_node_70 | 20 | n |  | TRUE
14 | bus_MV_225_0_node_69 | 20 | n |  | TRUE
15 | bus_MV_225_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_225_0_node_9 | 20 | n |  | TRUE
17 | bus_MV_225_0_node_41 | 20 | n |  | TRUE
18 | bus_MV_225_0_node_40 | 20 | n |  | TRUE
19 | bus_MV_225_0_node_101 | 20 | n |  | TRUE
20 | bus_MV_225_0_node_13 | 20 | n |  | TRUE
21 | bus_MV_225_0_node_110 | 20 | n |  | TRUE
22 | bus_MV_225_0_node_73 | 20 | n |  | TRUE
23 | bus_MV_225_0_node_42 | 20 | n |  | TRUE
24 | bus_MV_225_0_node_112 | 20 | n |  | TRUE
25 | bus_MV_225_0_node_12 | 20 | n |  | TRUE
26 | bus_MV_225_0_node_10 | 20 | n |  | TRUE
27 | bus_MV_225_0_node_11 | 20 | n |  | TRUE
28 | bus_MV_225_0_node_14 | 20 | n |  | TRUE
29 | bus_MV_225_0_node_15 | 20 | n |  | TRUE
30 | bus_MV_225_0_node_74 | 20 | n |  | TRUE
31 | bus_MV_225_0_node_60 | 20 | n |  | TRUE
32 | bus_MV_225_0_node_54 | 20 | n |  | TRUE
33 | bus_MV_225_0_node_17 | 20 | n |  | TRUE
34 | bus_MV_225_0_node_19 | 20 | n |  | TRUE
35 | bus_MV_225_0_node_20 | 20 | n |  | TRUE
36 | bus_MV_225_0_node_22 | 20 | n |  | TRUE
37 | bus_MV_225_0_node_18 | 20 | n |  | TRUE
38 | bus_MV_225_0_node_23 | 20 | n |  | TRUE
39 | bus_MV_225_0_node_21 | 20 | n |  | TRUE
40 | bus_MV_225_0_node_55 | 20 | n |  | TRUE
41 | bus_MV_225_0_node_39 | 20 | n |  | TRUE
42 | bus_MV_225_0_node_52 | 20 | n |  | TRUE
43 | bus_MV_225_0_node_98 | 20 | n |  | TRUE
44 | bus_MV_225_0_node_61 | 20 | n |  | TRUE
45 | bus_MV_225_0_node_38 | 20 | n |  | TRUE
46 | bus_MV_225_0_node_53 | 20 | n |  | TRUE
47 | bus_MV_225_0_node_56 | 20 | n |  | TRUE
48 | bus_MV_225_0_node_57 | 20 | n |  | TRUE
49 | bus_MV_225_0_node_58 | 20 | n |  | TRUE
50 | bus_MV_225_0_node_37 | 20 | n |  | TRUE
51 | bus_MV_225_0_node_25 | 20 | n |  | TRUE
52 | bus_MV_225_0_node_34 | 20 | n |  | TRUE
53 | bus_MV_225_0_node_33 | 20 | n |  | TRUE
54 | bus_MV_225_0_node_28 | 20 | n |  | TRUE
55 | bus_MV_225_0_node_30 | 20 | n |  | TRUE
56 | bus_MV_225_0_node_29 | 20 | n |  | TRUE
57 | bus_MV_225_0_node_36 | 20 | n |  | TRUE
58 | bus_MV_225_0_node_31 | 20 | n |  | TRUE
59 | bus_MV_225_0_node_32 | 20 | n |  | TRUE
60 | bus_MV_225_0_node_81 | 20 | n |  | TRUE
61 | bus_MV_225_0_node_35 | 20 | n |  | TRUE
62 | bus_MV_225_0_node_111 | 20 | n |  | TRUE
63 | bus_MV_225_0_node_106 | 20 | n |  | TRUE
64 | bus_MV_225_0_node_79 | 20 | n |  | TRUE
65 | bus_MV_225_0_node_64 | 20 | n |  | TRUE
66 | bus_MV_225_0_node_82 | 20 | n |  | TRUE
67 | bus_MV_225_0_node_62 | 20 | n |  | TRUE
68 | bus_MV_225_0_node_43 | 20 | n |  | TRUE
69 | bus_MV_225_0_node_44 | 20 | n |  | TRUE
70 | bus_MV_225_0_node_46 | 20 | n |  | TRUE
71 | bus_MV_225_0_node_45 | 20 | n |  | TRUE
72 | bus_MV_225_0_node_103 | 20 | n |  | TRUE
73 | bus_MV_225_0_node_51 | 20 | n |  | TRUE
74 | bus_MV_225_0_node_48 | 20 | n |  | TRUE
75 | bus_MV_225_0_node_50 | 20 | n |  | TRUE
76 | bus_MV_225_0_node_47 | 20 | n |  | TRUE
77 | bus_MV_225_0_node_49 | 20 | n |  | TRUE
78 | bus_MV_225_0_node_107 | 20 | n |  | TRUE
79 | bus_MV_225_0_node_108 | 20 | n |  | TRUE
80 | bus_MV_225_0_node_66 | 20 | n |  | TRUE
81 | bus_MV_225_0_node_91 | 20 | n |  | TRUE
82 | bus_MV_225_0_node_92 | 20 | n |  | TRUE
83 | bus_MV_225_0_node_67 | 20 | n |  | TRUE
84 | bus_MV_225_0_node_59 | 20 | n |  | TRUE
85 | bus_MV_225_0_node_100 | 20 | n |  | TRUE
86 | bus_MV_225_0_node_65 | 20 | n |  | TRUE
87 | bus_MV_225_0_node_68 | 20 | n |  | TRUE
88 | bus_MV_225_0_node_63 | 20 | n |  | TRUE
89 | bus_MV_225_0_node_93 | 20 | n |  | TRUE
90 | bus_MV_225_0_node_77 | 20 | n |  | TRUE
91 | bus_MV_225_0_node_75 | 20 | n |  | TRUE
92 | bus_MV_225_0_node_72 | 20 | n |  | TRUE
93 | bus_MV_225_0_node_102 | 20 | n |  | TRUE
94 | bus_MV_225_0_node_71 | 20 | n |  | TRUE
95 | bus_MV_225_0_node_109 | 20 | n |  | TRUE
96 | bus_MV_225_0_node_89 | 20 | n |  | TRUE
97 | bus_MV_225_0_node_84 | 20 | n |  | TRUE
98 | bus_MV_225_0_node_87 | 20 | n |  | TRUE
99 | bus_MV_225_0_node_83 | 20 | n |  | TRUE
100 | bus_MV_225_0_node_85 | 20 | n |  | TRUE
101 | bus_MV_225_0_node_105 | 20 | n |  | TRUE
102 | bus_MV_225_0_node_90 | 20 | n |  | TRUE
103 | bus_MV_225_0_node_95 | 20 | n |  | TRUE
104 | bus_MV_225_0_node_86 | 20 | n |  | TRUE
105 | bus_MV_225_0_node_94 | 20 | n |  | TRUE
106 | bus_MV_225_0_node_113 | 20 | n |  | TRUE
107 | bus_MV_225_0_node_96 | 20 | n |  | TRUE
108 | bus_MV_225_0_node_88 | 20 | n |  | TRUE
109 | bus_MV_225_0_node_97 | 20 | n |  | TRUE
110 | bus_HV_225_0_node_62 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_225_0_load_0 | 0 | 0.18537 | 0.089778 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_225_0_load_99 | 3 | 0.17156 | 0.083089 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_225_0_load_76 | 5 | 0.09447 | 0.045754 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_225_0_load_3 | 6 | 0.39607 | 0.19183 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_225_0_load_16 | 10 | 0.38668 | 0.18728 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_225_0_load_24 | 12 | 0.4008 | 0.19412 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_225_0_load_69 | 14 | 0.17888 | 0.086634 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_225_0_load_40 | 18 | 0.23647 | 0.11453 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_225_0_load_13 | 20 | 0.070341 | 0.034068 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_225_0_load_110 | 21 | 0.33519 | 0.16234 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_225_0_load_42 | 23 | 0.32932 | 0.1595 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_225_0_load_112 | 24 | 0.082557 | 0.039984 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_225_0_load_10 | 26 | 0.40921 | 0.19819 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_225_0_load_15 | 29 | 0.074231 | 0.035952 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_225_0_load_74 | 30 | 0.085217 | 0.041272 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_225_0_load_17 | 33 | 0.38257 | 0.18529 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_225_0_load_52 | 42 | 0.31227 | 0.15124 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_225_0_load_98 | 43 | 0.14172 | 0.068637 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_225_0_load_61 | 44 | 0.14383 | 0.069662 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_225_0_load_53 | 46 | 0.1925 | 0.093232 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_225_0_load_56 | 47 | 0.12097 | 0.058589 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_225_0_load_37 | 50 | 0.31285 | 0.15152 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_225_0_load_25 | 51 | 0.20778 | 0.10063 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_225_0_load_28 | 54 | 0.32879 | 0.15924 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_225_0_load_36 | 57 | 0.18725 | 0.09069 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_225_0_load_31 | 58 | 0.17932 | 0.08685 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_225_0_load_81 | 60 | 0.081081 | 0.039269 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_225_0_load_111 | 62 | 0.3792 | 0.18365 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_225_0_load_106 | 63 | 0.33826 | 0.16383 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_225_0_load_64 | 65 | 0.29405 | 0.14241 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_225_0_load_82 | 66 | 0.071 | 0.034387 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_225_0_load_43 | 68 | 0.39235 | 0.19002 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_225_0_load_103 | 72 | 0.3993 | 0.19339 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_225_0_load_50 | 75 | 0.2997 | 0.14515 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_225_0_load_49 | 77 | 0.27834 | 0.1348 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_225_0_load_107 | 78 | 0.38206 | 0.18504 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_225_0_load_108 | 79 | 0.083055 | 0.040225 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_225_0_load_92 | 82 | 0.10467 | 0.050695 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_225_0_load_67 | 83 | 0.22161 | 0.10733 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_225_0_load_100 | 85 | 0.37951 | 0.18381 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_225_0_load_65 | 86 | 0.10114 | 0.048986 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_225_0_load_68 | 87 | 0.07451 | 0.036087 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_225_0_load_93 | 89 | 0.10043 | 0.048641 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_225_0_load_75 | 91 | 0.097202 | 0.047077 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_225_0_load_102 | 93 | 0.24824 | 0.12023 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_225_0_load_71 | 94 | 0.24753 | 0.11989 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_225_0_load_109 | 95 | 0.068706 | 0.033276 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_225_0_load_87 | 98 | 0.16306 | 0.078974 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_225_0_load_105 | 101 | 0.31606 | 0.15308 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_225_0_load_90 | 102 | 0.26821 | 0.1299 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_225_0_load_95 | 103 | 0.07733 | 0.037453 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_225_0_load_94 | 105 | 0.10683 | 0.051742 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_225_0_load_113 | 106 | 0.23567 | 0.11414 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_225_0_load_88 | 108 | 0.23223 | 0.11248 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_225_0_load_97 | 109 | 0.35512 | 0.17199 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_225_0_line_0 |  | 0 | 1 | 0.031656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_225_0_line_1 |  | 1 | 2 | 0.938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_225_0_line_2 |  | 2 | 3 | 0.011081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_225_0_line_3 |  | 2 | 4 | 0.029802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_225_0_line_4 |  | 4 | 5 | 0.0043993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_225_0_line_5 |  | 5 | 91 | 0.031321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_225_0_line_6 |  | 6 | 7 | 0.022792 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_225_0_line_7 |  | 7 | 8 | 0.27099 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_225_0_line_8 |  | 8 | 9 | 0.4803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_225_0_line_9 |  | 8 | 10 | 0.019767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_225_0_line_10 |  | 9 | 11 | 0.49728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_225_0_line_11 |  | 9 | 12 | 0.007197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_225_0_line_12 |  | 10 | 20 | 0.096694 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_225_0_line_13 |  | 11 | 13 | 0.064072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_225_0_line_14 |  | 11 | 14 | 0.0011494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_225_0_line_15 |  | 13 | 21 | 0.020723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_225_0_line_16 |  | 13 | 22 | 0.042003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_225_0_line_17 |  | 15 | 16 | 0.12359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_225_0_line_18 |  | 15 | 17 | 0.12021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_225_0_line_19 |  | 15 | 18 | 0.01123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_225_0_line_20 |  | 16 | 19 | 0.093036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_225_0_line_21 |  | 17 | 23 | 0.030017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_225_0_line_22 |  | 19 | 24 | 0.005771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_225_0_line_23 |  | 19 | 25 | 0.073855 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_225_0_line_24 |  | 20 | 27 | 0.016657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_225_0_line_25 |  | 22 | 90 | 0.030889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_225_0_line_26 |  | 22 | 91 | 0.012441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_225_0_line_27 |  | 22 | 92 | 0.036778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_225_0_line_28 |  | 25 | 29 | 0.018142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_225_0_line_29 |  | 25 | 26 | 0.028103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_225_0_line_30 |  | 26 | 27 | 0.006997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_225_0_line_31 |  | 27 | 28 | 0.034671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_225_0_line_32 |  | 28 | 30 | 0.018132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_225_0_line_33 |  | 29 | 31 | 0.019166 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_225_0_line_34 |  | 31 | 32 | 0.15315 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_225_0_line_35 |  | 32 | 46 | 0.003688 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_225_0_line_36 |  | 33 | 34 | 0.002707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_225_0_line_37 |  | 33 | 35 | 0.045283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_225_0_line_38 |  | 34 | 36 | 0.17407 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_225_0_line_39 |  | 34 | 37 | 0.050676 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
40 | MV_225_0_line_40 |  | 35 | 38 | 0.11087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_225_0_line_41 |  | 36 | 41 | 0.1802 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_225_0_line_42 |  | 36 | 42 | 0.039674 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_225_0_line_43 |  | 37 | 39 | 0.038369 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_225_0_line_44 |  | 38 | 43 | 0.044199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_225_0_line_45 |  | 39 | 40 | 0.025367 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_225_0_line_46 |  | 40 | 47 | 0.019068 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_225_0_line_47 |  | 40 | 48 | 0.054148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_225_0_line_48 |  | 40 | 49 | 0.081345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_225_0_line_49 |  | 41 | 44 | 0.04265 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_225_0_line_50 |  | 41 | 45 | 0.31461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_225_0_line_51 |  | 44 | 67 | 0.064911 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_225_0_line_52 |  | 45 | 50 | 0.006337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_225_0_line_53 |  | 46 | 81 | 0.023131 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
54 | MV_225_0_line_54 |  | 47 | 81 | 0.0091463 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_225_0_line_55 |  | 48 | 83 | 0.028803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_225_0_line_56 |  | 49 | 84 | 0.078168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_225_0_line_57 |  | 49 | 85 | 0.015135 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_225_0_line_58 |  | 50 | 52 | 0.067257 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_225_0_line_59 |  | 51 | 52 | 0.059128 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_225_0_line_60 |  | 52 | 53 | 0.20957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_225_0_line_61 |  | 53 | 61 | 0.80506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_225_0_line_62 |  | 53 | 62 | 0.045724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_225_0_line_63 |  | 54 | 55 | 0.04564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_225_0_line_64 |  | 54 | 56 | 0.018703 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_225_0_line_65 |  | 55 | 57 | 0.035814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_225_0_line_66 |  | 56 | 59 | 0.32122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_225_0_line_67 |  | 56 | 58 | 0.060613 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_225_0_line_68 |  | 57 | 64 | 0.020805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_225_0_line_69 |  | 59 | 60 | 0.032972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_225_0_line_70 |  | 60 | 66 | 0.0099489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_225_0_line_71 |  | 61 | 63 | 0.021762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_225_0_line_72 |  | 64 | 65 | 0.23725 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_225_0_line_73 |  | 65 | 88 | 0.099599 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_225_0_line_74 |  | 66 | 99 | 0.044236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_225_0_line_75 |  | 67 | 88 | 0.004128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_225_0_line_76 |  | 68 | 69 | 0.027413 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_225_0_line_77 |  | 69 | 70 | 0.23522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_225_0_line_78 |  | 70 | 73 | 0.21211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_225_0_line_79 |  | 70 | 74 | 0.38592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_225_0_line_80 |  | 70 | 75 | 0.036978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_225_0_line_81 |  | 70 | 71 | 0.078562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_225_0_line_82 |  | 71 | 72 | 0.00385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_225_0_line_83 |  | 73 | 79 | 0.01127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_225_0_line_84 |  | 74 | 78 | 0.004452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_225_0_line_85 |  | 74 | 76 | 0.1809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_225_0_line_86 |  | 76 | 77 | 0.054589 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_225_0_line_87 |  | 78 | 80 | 0.022377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_225_0_line_88 |  | 80 | 84 | 0.044153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_225_0_line_89 |  | 81 | 82 | 0.011903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_225_0_line_90 |  | 83 | 87 | 0.025977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_225_0_line_91 |  | 84 | 86 | 0.017516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_225_0_line_92 |  | 87 | 89 | 0.007685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_225_0_line_93 |  | 90 | 93 | 0.016688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_225_0_line_94 |  | 92 | 94 | 0.026991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_225_0_line_95 |  | 95 | 96 | 0.11155 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_225_0_line_96 |  | 96 | 97 | 0.095171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_225_0_line_97 |  | 96 | 98 | 0.038526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_225_0_line_98 |  | 97 | 102 | 0.029489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_225_0_line_99 |  | 97 | 99 | 0.1197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_225_0_line_100 |  | 98 | 108 | 0.0016566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_225_0_line_101 |  | 99 | 100 | 0.14474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_225_0_line_102 |  | 99 | 101 | 0.10366 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_225_0_line_103 |  | 100 | 103 | 0.025635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_225_0_line_104 |  | 100 | 104 | 0.31622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_225_0_line_105 |  | 100 | 105 | 0.022368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_225_0_line_106 |  | 103 | 107 | 0.030254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_225_0_line_107 |  | 104 | 106 | 0.05065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_225_0_line_108 |  | 107 | 109 | 0.059454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_225_0_trafo_62 | 25 MVA 110/20 kV | 110 | 67 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2724184.7282 | 1218034.0973
1 | 2724156.4284 | 1218038.878
2 | 2723698.7698 | 1217770.4947
3 | 2723701.363 | 1217781.2681
4 | 2723727.8088 | 1217763.7923
5 | 2723732.0951 | 1217762.8017
6 | 2723641.0898 | 1217700.0093
7 | 2723641.8438 | 1217677.2294
8 | 2723480.7622 | 1217671.2181
9 | 2723600.1576 | 1217578.7655
10 | 2723497.5926 | 1217681.6639
11 | 2723721.7726 | 1217713.7056
12 | 2723599.091 | 1217585.8823
13 | 2723770.2039 | 1217715.1013
14 | 2723722.9166 | 1217713.8173
15 | 2723345.8503 | 1217585.8687
16 | 2723327.1931 | 1217706.8659
17 | 2723298.5854 | 1217476.75
18 | 2723356.987 | 1217587.3093
19 | 2723347.3862 | 1217738.9978
20 | 2723445.4969 | 1217763.1238
21 | 2723765.5361 | 1217694.9108
22 | 2723774.7325 | 1217752.9472
23 | 2723284.1946 | 1217450.3873
24 | 2723342.0729 | 1217736.7082
25 | 2723410.2364 | 1217777.7848
26 | 2723438.3189 | 1217779.8459
27 | 2723445.3364 | 1217779.7801
28 | 2723480.006 | 1217779.4536
29 | 2723408.0347 | 1217795.7923
30 | 2723480.2538 | 1217797.5835
31 | 2723405.7482 | 1217814.8208
32 | 2723306.2701 | 1217865.8125
33 | 2723297.9314 | 1217939.5864
34 | 2723295.2433 | 1217939.9644
35 | 2723342.9423 | 1217944.733
36 | 2723334.4673 | 1218084.4556
37 | 2723267.5495 | 1217897.5251
38 | 2723384.3368 | 1218021.7946
39 | 2723265.5887 | 1217859.4659
40 | 2723272.6831 | 1217835.1381
41 | 2723449.7513 | 1218122.7839
42 | 2723354.6954 | 1218050.3255
43 | 2723395.2711 | 1218064.5037
44 | 2723487.4567 | 1218104.3751
45 | 2723485.6928 | 1218373.6803
46 | 2723302.6737 | 1217864.9485
47 | 2723291.1847 | 1217839.7522
48 | 2723249.5557 | 1217804.6359
49 | 2723296.6613 | 1217757.4402
50 | 2723491.5736 | 1218371.2781
51 | 2723595.3904 | 1218365.8931
52 | 2723550.2727 | 1218404.1095
53 | 2723551.7154 | 1218564.3537
54 | 2723774.0403 | 1218251.2338
55 | 2723790.4904 | 1218208.6533
56 | 2723767.2848 | 1218268.6738
57 | 2723803.5269 | 1218175.296
58 | 2723827.2848 | 1218277.2715
59 | 2723671.2297 | 1218559.6961
60 | 2723701.6927 | 1218572.1451
61 | 2723139.2026 | 1218988.268
62 | 2723596.3774 | 1218574.7326
63 | 2723117.3768 | 1218988.2614
64 | 2723811.1001 | 1218155.9179
65 | 2723602.1345 | 1218043.5697
66 | 2723711.1184 | 1218575.3292
67 | 2723539.0617 | 1218065.8458
68 | 2722992.626 | 1217556.5232
69 | 2722977.2588 | 1217579.2238
70 | 2723046.2399 | 1217767.9836
71 | 2723022.9937 | 1217814.8291
72 | 2723020.8695 | 1217818.0433
73 | 2723197.2335 | 1217890.7768
74 | 2723243.0946 | 1217708.8498
75 | 2723082.4992 | 1217775.238
76 | 2723209.1147 | 1217571.2288
77 | 2723251.8149 | 1217605.2383
78 | 2723242.8204 | 1217713.2921
79 | 2723196.0911 | 1217879.5666
80 | 2723223.907 | 1217725.3326
81 | 2723300.0592 | 1217841.9654
82 | 2723303.507 | 1217830.5723
83 | 2723243.2509 | 1217832.7406
84 | 2723234.6244 | 1217764.0622
85 | 2723303.3882 | 1217743.9022
86 | 2723230.8767 | 1217781.1673
87 | 2723225.264 | 1217844.3201
88 | 2723542.977 | 1218064.5037
89 | 2723218.7643 | 1217848.4205
90 | 2723799.5021 | 1217742.6981
91 | 2723762.6115 | 1217755.7486
92 | 2723783.016 | 1217788.7806
93 | 2723795.5643 | 1217726.4814
94 | 2723756.5553 | 1217794.1044
95 | 2723911.6678 | 1218321.0933
96 | 2723826.0849 | 1218392.648
97 | 2723793.6119 | 1218482.1212
98 | 2723789.9392 | 1218379.3156
99 | 2723753.0318 | 1218589.4734
100 | 2723682.6687 | 1218680.784
101 | 2723856.453 | 1218582.5058
102 | 2723765.9419 | 1218471.7049
103 | 2723658.4377 | 1218672.4157
104 | 2723622.4073 | 1218956.9831
105 | 2723690.9004 | 1218659.9859
106 | 2723586.6968 | 1218934.2689
107 | 2723629.9733 | 1218669.0367
108 | 2723788.385 | 1218378.7423
109 | 2723608.0328 | 1218724.2247
110 | 2723539.0617 | 1218065.8458

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99454 | -0.0047722 | 0.18537 | 0.089778
1 | 0.99455 | -0.0048424 | 0 | 0
2 | 0.99477 | -0.0062305 | 0 | 0
3 | 0.99476 | -0.0062076 | 0.17156 | 0.083089
4 | 0.99478 | -0.0063139 | 0 | 0
5 | 0.99478 | -0.0063262 | 0.09447 | 0.045754
6 | 0.997 | -0.024819 | 0.39607 | 0.19183
7 | 0.99702 | -0.02471 | 0 | 0
8 | 0.99716 | -0.025945 | 0 | 0
9 | 0.99596 | -0.016097 | 0 | 0
10 | 0.99722 | -0.026428 | 0.38668 | 0.18728
11 | 0.99498 | -0.0079098 | 0 | 0
12 | 0.99596 | -0.016062 | 0.4008 | 0.19412
13 | 0.99486 | -0.0069647 | 0 | 0
14 | 0.99498 | -0.0079073 | 0.17888 | 0.086634
15 | 0.99768 | -0.023664 | 0 | 0
16 | 0.99777 | -0.024462 | 0 | 0
17 | 0.99763 | -0.023204 | 0 | 0
18 | 0.99768 | -0.023632 | 0.23647 | 0.11453
19 | 0.99784 | -0.025048 | 0 | 0
20 | 0.99773 | -0.022691 | 0.070341 | 0.034068
21 | 0.99485 | -0.0068811 | 0.33519 | 0.16234
22 | 0.99481 | -0.0065105 | 0 | 0
23 | 0.99762 | -0.023086 | 0.32932 | 0.1595
24 | 0.99784 | -0.025042 | 0.082557 | 0.039984
25 | 0.99793 | -0.024409 | 0 | 0
26 | 0.99781 | -0.023405 | 0.40921 | 0.19819
27 | 0.99779 | -0.023189 | 0 | 0
28 | 0.99778 | -0.023156 | 0 | 0
29 | 0.99802 | -0.025186 | 0.074231 | 0.035952
30 | 0.99778 | -0.023137 | 0.085217 | 0.041272
31 | 0.99806 | -0.024719 | 0 | 0
32 | 0.99826 | -0.023818 | 0 | 0
33 | 0.99877 | -0.0054223 | 0.38257 | 0.18529
34 | 0.99877 | -0.0054385 | 0 | 0
35 | 0.99876 | -0.0053576 | 0 | 0
36 | 0.9992 | -0.0035326 | 0 | 0
37 | 0.99852 | -0.019242 | 0 | 0
38 | 0.99874 | -0.0051859 | 0 | 0
39 | 0.99843 | -0.019634 | 0 | 0
40 | 0.99837 | -0.019892 | 0 | 0
41 | 0.99967 | -0.0014662 | 0 | 0
42 | 0.99918 | -0.0036826 | 0.31227 | 0.15124
43 | 0.99873 | -0.0051123 | 0.14172 | 0.068637
44 | 0.9998 | -0.00089028 | 0.14383 | 0.069662
45 | 0.99918 | 0.0026013 | 0 | 0
46 | 0.99827 | -0.023796 | 0.1925 | 0.093232
47 | 0.99835 | -0.020015 | 0.12097 | 0.058589
48 | 0.99835 | -0.019641 | 0 | 0
49 | 0.99814 | -0.017796 | 0 | 0
50 | 0.99917 | 0.0026848 | 0.31285 | 0.15152
51 | 0.99903 | 0.0016337 | 0.20778 | 0.10063
52 | 0.99905 | 0.0017826 | 0 | 0
53 | 0.99886 | 0.0032737 | 0 | 0
54 | 0.99806 | -0.0020714 | 0.32879 | 0.15924
55 | 0.9982 | -0.003337 | 0 | 0
56 | 0.99798 | -0.002613 | 0 | 0
57 | 0.99832 | -0.0043277 | 0.18725 | 0.09069
58 | 0.99796 | -0.002745 | 0.17932 | 0.08685
59 | 0.99717 | 0.0044331 | 0 | 0
60 | 0.99709 | 0.0051659 | 0.081081 | 0.039269
61 | 0.99852 | 0.0060206 | 0 | 0
62 | 0.99884 | 0.00348 | 0.3792 | 0.18365
63 | 0.99851 | 0.0061086 | 0.33826 | 0.16383
64 | 0.99839 | -0.004949 | 0 | 0
65 | 0.99961 | 0.0034485 | 0.29405 | 0.14241
66 | 0.99707 | 0.0053776 | 0.071 | 0.034387
67 | 1 | 0 | -12.3881 | -5.775
68 | 0.99706 | -0.0087509 | 0.39235 | 0.19002
69 | 0.99709 | -0.0086202 | 0 | 0
70 | 0.9972 | -0.0096881 | 0 | 0
71 | 0.99716 | -0.0093158 | 0 | 0
72 | 0.99716 | -0.0092973 | 0.3993 | 0.19339
73 | 0.99718 | -0.009514 | 0 | 0
74 | 0.99778 | -0.014705 | 0 | 0
75 | 0.99718 | -0.0098228 | 0.2997 | 0.14515
76 | 0.99772 | -0.014126 | 0 | 0
77 | 0.99769 | -0.01431 | 0.27834 | 0.1348
78 | 0.99779 | -0.014775 | 0.38206 | 0.18504
79 | 0.99718 | -0.0095028 | 0.083055 | 0.040225
80 | 0.99784 | -0.01523 | 0 | 0
81 | 0.99833 | -0.020073 | 0 | 0
82 | 0.99833 | -0.020058 | 0.10467 | 0.050695
83 | 0.99833 | -0.019506 | 0.22161 | 0.10733
84 | 0.99794 | -0.016126 | 0 | 0
85 | 0.99813 | -0.017727 | 0.37951 | 0.18381
86 | 0.99794 | -0.016104 | 0.10114 | 0.048986
87 | 0.99833 | -0.019453 | 0.07451 | 0.036087
88 | 0.99998 | 0.00013688 | 0 | 0
89 | 0.99833 | -0.019443 | 0.10043 | 0.048641
90 | 0.9948 | -0.0064194 | 0 | 0
91 | 0.9948 | -0.006448 | 0.097202 | 0.047077
92 | 0.9948 | -0.006403 | 0 | 0
93 | 0.99479 | -0.0063695 | 0.24824 | 0.12023
94 | 0.99479 | -0.0063228 | 0.24753 | 0.11989
95 | 0.99678 | 0.0077208 | 0.068706 | 0.033276
96 | 0.9968 | 0.0078146 | 0 | 0
97 | 0.99685 | 0.0072965 | 0 | 0
98 | 0.99678 | 0.0079968 | 0.16306 | 0.078974
99 | 0.99697 | 0.0062833 | 0 | 0
100 | 0.99682 | 0.0075066 | 0 | 0
101 | 0.9969 | 0.0058844 | 0.31606 | 0.15308
102 | 0.99684 | 0.007391 | 0.26821 | 0.1299
103 | 0.99681 | 0.007636 | 0.07733 | 0.037453
104 | 0.99673 | 0.0083035 | 0 | 0
105 | 0.99682 | 0.007535 | 0.10683 | 0.051742
106 | 0.99671 | 0.0084453 | 0.23567 | 0.11414
107 | 0.99679 | 0.007762 | 0 | 0
108 | 0.99678 | 0.0080014 | 0.23223 | 0.11248
109 | 0.99677 | 0.0080135 | 0.35512 | 0.17199
110 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18537 | -0.089778 | 0.18537 | 0.08903 | 1.508e-06 | -0.00074715 | 0.0059783 | 0.0059689 | 0.0059783 | 0.99454 | -0.0047722 | 0.99455 | -0.0048424 | 2.7174
1 | -0.18537 | -0.08903 | 0.18541 | 0.066886 | 4.2663e-05 | -0.022145 | 0.0059689 | 0.0057199 | 0.0059689 | 0.99455 | -0.0048424 | 0.99477 | -0.0062305 | 2.7131
2 | 0.17156 | 0.082828 | -0.17156 | -0.083089 | 4.5239e-07 | -0.00026167 | 0.0055284 | 0.0055317 | 0.0055317 | 0.99477 | -0.0062305 | 0.99476 | -0.0062076 | 2.5144
3 | -0.35697 | -0.14971 | 0.35698 | 0.14901 | 5.0169e-06 | -0.00070266 | 0.011233 | 0.011225 | 0.011233 | 0.99477 | -0.0062305 | 0.99478 | -0.0063139 | 5.106
4 | -0.35698 | -0.14901 | 0.35698 | 0.14891 | 7.3997e-07 | -0.00010372 | 0.011225 | 0.011224 | 0.011225 | 0.99478 | -0.0063139 | 0.99478 | -0.0063262 | 5.1024
5 | -0.45145 | -0.19466 | 0.45145 | 0.19392 | 8.5053e-06 | -0.00073753 | 0.014266 | 0.014258 | 0.014266 | 0.99478 | -0.0063262 | 0.9948 | -0.006448 | 6.4848
6 | -0.39607 | -0.19183 | 0.39608 | 0.1918 | 6.5933e-06 | -2.2917e-05 | 0.012742 | 0.012742 | 0.012742 | 0.997 | -0.024819 | 0.99702 | -0.02471 | 6.0677
7 | -0.39608 | -0.1918 | 0.39614 | 0.18539 | 5.8364e-05 | -0.0064152 | 0.012742 | 0.012662 | 0.012742 | 0.99702 | -0.02471 | 0.99716 | -0.025945 | 5.7918
8 | 1.9637 | 0.89624 | -1.9612 | -0.90688 | 0.0025094 | -0.010645 | 0.06249 | 0.062628 | 0.062628 | 0.99716 | -0.025945 | 0.99596 | -0.016097 | 28.467
9 | -2.3598 | -1.0816 | 2.36 | 1.0812 | 0.00014903 | -0.0004251 | 0.075151 | 0.075145 | 0.075151 | 0.99716 | -0.025945 | 0.99722 | -0.026428 | 34.1596
10 | 1.5604 | 0.71294 | -1.5587 | -0.72421 | 0.0016461 | -0.011277 | 0.049724 | 0.049867 | 0.049867 | 0.99596 | -0.016097 | 0.99498 | -0.0079098 | 22.6669
11 | 0.4008 | 0.19395 | -0.4008 | -0.19412 | 1.6005e-06 | -0.00016998 | 0.012906 | 0.012908 | 0.012908 | 0.99596 | -0.016097 | 0.99596 | -0.016062 | 5.8672
12 | -2.7467 | -1.2685 | 2.748 | 1.2692 | 0.0013214 | 0.00071284 | 0.08758 | 0.087579 | 0.08758 | 0.99722 | -0.026428 | 0.99773 | -0.022691 | 41.7049
13 | 1.3799 | 0.63761 | -1.3797 | -0.63907 | 0.00016644 | -0.0014649 | 0.044102 | 0.04412 | 0.04412 | 0.99498 | -0.0079098 | 0.99486 | -0.0069647 | 20.0547
14 | 0.17888 | 0.086607 | -0.17888 | -0.086634 | 5.1094e-08 | -2.7154e-05 | 0.0057661 | 0.0057665 | 0.0057665 | 0.99498 | -0.0079098 | 0.99498 | -0.0079073 | 2.6211
15 | 0.33519 | 0.16185 | -0.33519 | -0.16234 | 3.229e-06 | -0.00048875 | 0.010801 | 0.010807 | 0.010807 | 0.99486 | -0.0069647 | 0.99485 | -0.0068811 | 4.9121
16 | 1.0445 | 0.47722 | -1.0444 | -0.4782 | 6.2283e-05 | -0.00097406 | 0.033322 | 0.033334 | 0.033334 | 0.99486 | -0.0069647 | 0.99481 | -0.0065105 | 15.1516
17 | -0.56582 | -0.2702 | 0.56587 | 0.26727 | 5.4198e-05 | -0.0029213 | 0.018143 | 0.018106 | 0.018143 | 0.99768 | -0.023664 | 0.99777 | -0.024462 | 8.2466
18 | 0.32935 | 0.15594 | -0.32933 | -0.15879 | 1.79e-05 | -0.0028513 | 0.010544 | 0.010579 | 0.010579 | 0.99768 | -0.023664 | 0.99763 | -0.023204 | 4.8088
19 | 0.23647 | 0.11426 | -0.23647 | -0.11453 | 8.6606e-07 | -0.00026662 | 0.007599 | 0.0076024 | 0.0076024 | 0.99768 | -0.023664 | 0.99768 | -0.023632 | 3.4556
20 | -0.56587 | -0.26727 | 0.56591 | 0.26508 | 4.0656e-05 | -0.0021995 | 0.018106 | 0.018079 | 0.018106 | 0.99777 | -0.024462 | 0.99784 | -0.025048 | 8.23
21 | 0.32933 | 0.15879 | -0.32932 | -0.1595 | 4.4888e-06 | -0.00071196 | 0.010579 | 0.010588 | 0.010588 | 0.99763 | -0.023204 | 0.99762 | -0.023086 | 4.8129
22 | 0.082557 | 0.039847 | -0.082557 | -0.039984 | 5.4221e-08 | -0.00013718 | 0.002652 | 0.0026537 | 0.0026537 | 0.99784 | -0.025048 | 0.99784 | -0.025042 | 1.2062
23 | -0.64847 | -0.30492 | 0.64852 | 0.30487 | 5.6549e-05 | -5.2376e-05 | 0.020731 | 0.02073 | 0.020731 | 0.99784 | -0.025048 | 0.99793 | -0.024409 | 9.8718
24 | -2.8183 | -1.3033 | 2.8185 | 1.3029 | 0.00017947 | -0.00034269 | 0.08984 | 0.089835 | 0.08984 | 0.99773 | -0.022691 | 0.99779 | -0.023189 | 40.8363
25 | 0.24825 | 0.11911 | -0.24824 | -0.11984 | 2.6356e-06 | -0.00072909 | 0.0079899 | 0.0079991 | 0.0079991 | 0.99481 | -0.0065105 | 0.9948 | -0.0064194 | 3.636
26 | 0.54866 | 0.24071 | -0.54866 | -0.241 | 5.0212e-06 | -0.00029246 | 0.017386 | 0.017389 | 0.017389 | 0.99481 | -0.0065105 | 0.9948 | -0.006448 | 7.9043
27 | 0.24754 | 0.11838 | -0.24754 | -0.11925 | 3.1171e-06 | -0.00086809 | 0.0079623 | 0.0079732 | 0.0079732 | 0.99481 | -0.0065105 | 0.9948 | -0.006403 | 3.6242
28 | -3.962 | -1.8453 | 3.9623 | 1.845 | 0.00038711 | -0.00031657 | 0.12643 | 0.12643 | 0.12643 | 0.99793 | -0.024409 | 0.99802 | -0.025186 | 57.4683
29 | 3.3134 | 1.5404 | -3.313 | -1.541 | 0.0004192 | -0.00054379 | 0.1057 | 0.10571 | 0.10571 | 0.99793 | -0.024409 | 0.99781 | -0.023405 | 48.0495
30 | 2.9038 | 1.3428 | -2.9037 | -1.3429 | 8.0024e-05 | -0.00014259 | 0.092557 | 0.092559 | 0.092559 | 0.99781 | -0.023405 | 0.99779 | -0.023189 | 42.0722
31 | 0.085217 | 0.040017 | -0.085217 | -0.040841 | 3.4468e-07 | -0.00082405 | 0.0027238 | 0.002734 | 0.002734 | 0.99779 | -0.023189 | 0.99778 | -0.023156 | 1.2427
32 | 0.085217 | 0.040841 | -0.085217 | -0.041272 | 1.8129e-07 | -0.00043094 | 0.002734 | 0.0027394 | 0.0027394 | 0.99778 | -0.023156 | 0.99778 | -0.023137 | 1.2452
33 | -4.0366 | -1.8809 | 4.0367 | 1.8804 | 0.00015358 | -0.00054331 | 0.12881 | 0.1288 | 0.12881 | 0.99802 | -0.025186 | 0.99806 | -0.024719 | 35.583
34 | -4.0367 | -1.8804 | 4.0375 | 1.8712 | 0.00078437 | -0.0091455 | 0.1288 | 0.12869 | 0.1288 | 0.99806 | -0.024719 | 0.99826 | -0.023818 | 20.1885
35 | -4.0375 | -1.8712 | 4.0375 | 1.871 | 1.8871e-05 | -0.00022029 | 0.12869 | 0.12868 | 0.12869 | 0.99826 | -0.023818 | 0.99827 | -0.023796 | 20.1702
36 | -0.52429 | -0.24915 | 0.5243 | 0.24909 | 1.0173e-06 | -6.4172e-05 | 0.016778 | 0.016777 | 0.016778 | 0.99877 | -0.0054223 | 0.99877 | -0.0054385 | 7.6263
37 | 0.14172 | 0.063867 | -0.14172 | -0.064945 | 1.2238e-06 | -0.0010781 | 0.004493 | 0.0045058 | 0.0045058 | 0.99877 | -0.0054223 | 0.99876 | -0.0053576 | 2.0481
38 | -7.6965 | -3.5988 | 7.6997 | 3.5897 | 0.0032419 | -0.0090896 | 0.24557 | 0.24544 | 0.24557 | 0.99877 | -0.0054385 | 0.9992 | -0.0035326 | 38.4904
39 | 7.1722 | 3.3497 | -7.1712 | -3.3472 | 0.00094701 | 0.0024767 | 0.22879 | 0.22879 | 0.22879 | 0.99877 | -0.0054385 | 0.99852 | -0.019242 | 35.4718
40 | 0.14172 | 0.064945 | -0.14172 | -0.067584 | 3.0264e-06 | -0.0026395 | 0.0045058 | 0.0045382 | 0.0045382 | 0.99876 | -0.0053576 | 0.99874 | -0.0051859 | 2.0628
41 | -8.012 | -3.7409 | 8.0156 | 3.7316 | 0.0036318 | -0.0092646 | 0.25546 | 0.25532 | 0.25546 | 0.9992 | -0.0035326 | 0.99967 | -0.0014662 | 40.0404
42 | 0.31228 | 0.1512 | -0.31227 | -0.15124 | 7.1028e-06 | -4.2838e-05 | 0.010024 | 0.010024 | 0.010024 | 0.9992 | -0.0035326 | 0.99918 | -0.0036826 | 4.7735
43 | 7.1712 | 3.3472 | -7.1706 | -3.3493 | 0.0006207 | -0.002054 | 0.22879 | 0.22882 | 0.22882 | 0.99852 | -0.019242 | 0.99843 | -0.019634 | 35.8656
44 | 0.14172 | 0.067584 | -0.14172 | -0.068637 | 1.2187e-06 | -0.0010523 | 0.0045382 | 0.0045514 | 0.0045514 | 0.99874 | -0.0051859 | 0.99873 | -0.0051123 | 2.0688
45 | 7.1706 | 3.3493 | -7.1702 | -3.3506 | 0.00041045 | -0.0013576 | 0.22882 | 0.22884 | 0.22884 | 0.99843 | -0.019634 | 0.99837 | -0.019892 | 35.8686
46 | 4.456 | 2.072 | -4.4559 | -2.0731 | 0.00011897 | -0.0011272 | 0.14209 | 0.1421 | 0.1421 | 0.99837 | -0.019892 | 0.99835 | -0.020015 | 22.2735
47 | 0.39657 | 0.18929 | -0.39656 | -0.19058 | 1.1685e-05 | -0.0012851 | 0.012706 | 0.012722 | 0.012722 | 0.99837 | -0.019892 | 0.99835 | -0.019641 | 5.7827
48 | 2.3176 | 1.0894 | -2.317 | -1.0911 | 0.0005956 | -0.0017587 | 0.074046 | 0.07407 | 0.07407 | 0.99837 | -0.019892 | 0.99814 | -0.017796 | 33.6682
49 | -9.2547 | -4.298 | 9.2559 | 4.296 | 0.0011441 | -0.0020341 | 0.29466 | 0.29463 | 0.29466 | 0.99967 | -0.0014662 | 0.9998 | -0.00089028 | 46.1854
50 | 1.2391 | 0.56641 | -1.2385 | -0.57372 | 0.00065164 | -0.0073099 | 0.039344 | 0.039434 | 0.039434 | 0.99967 | -0.0014662 | 0.99918 | 0.0026013 | 17.9246
51 | -9.3997 | -4.3656 | 9.4015 | 4.3626 | 0.0017958 | -0.0030664 | 0.29924 | 0.29919 | 0.29924 | 0.9998 | -0.00089028 | 1 | 0 | 46.9034
52 | 1.2385 | 0.57372 | -1.2385 | -0.57386 | 1.3156e-05 | -0.00014715 | 0.039434 | 0.039436 | 0.039436 | 0.99918 | 0.0026013 | 0.99917 | 0.0026848 | 17.9255
53 | -4.23 | -1.9643 | 4.2302 | 1.9646 | 0.0001502 | 0.00037204 | 0.13487 | 0.13487 | 0.13487 | 0.99827 | -0.023796 | 0.99833 | -0.020073 | 20.9096
54 | 4.3349 | 2.0145 | -4.3348 | -2.015 | 5.3996e-05 | -0.00054237 | 0.13822 | 0.13823 | 0.13823 | 0.99835 | -0.020015 | 0.99833 | -0.020073 | 21.6655
55 | 0.39656 | 0.19058 | -0.39655 | -0.19126 | 6.2277e-06 | -0.00068358 | 0.012722 | 0.012731 | 0.012731 | 0.99835 | -0.019641 | 0.99833 | -0.019506 | 5.7867
56 | 1.9375 | 0.90767 | -1.9371 | -0.90941 | 0.00039973 | -0.0017405 | 0.06188 | 0.061903 | 0.061903 | 0.99814 | -0.017796 | 0.99794 | -0.016126 | 28.1375
57 | 0.37952 | 0.18345 | -0.37951 | -0.18381 | 3.0041e-06 | -0.00035912 | 0.012191 | 0.012196 | 0.012196 | 0.99814 | -0.017796 | 0.99813 | -0.017727 | 5.5435
58 | 0.92563 | 0.42234 | -0.92553 | -0.42236 | 0.00010355 | -1.5291e-05 | 0.029395 | 0.029396 | 0.029396 | 0.99917 | 0.0026848 | 0.99905 | 0.0017826 | 13.9981
59 | -0.20778 | -0.10063 | 0.20778 | 0.10056 | 4.6876e-06 | -6.7516e-05 | 0.006671 | 0.0066701 | 0.006671 | 0.99903 | 0.0016337 | 0.99905 | 0.0017826 | 3.1767
60 | 0.71774 | 0.32179 | -0.7176 | -0.32675 | 0.0001449 | -0.0049502 | 0.022728 | 0.022788 | 0.022788 | 0.99905 | 0.0017826 | 0.99886 | 0.0032737 | 10.358
61 | 0.33839 | 0.14418 | -0.33827 | -0.16331 | 0.00012402 | -0.019134 | 0.01063 | 0.01086 | 0.01086 | 0.99886 | 0.0032737 | 0.99852 | 0.0060206 | 4.9362
62 | 0.37921 | 0.18257 | -0.3792 | -0.18365 | 9.0409e-06 | -0.0010865 | 0.012163 | 0.012177 | 0.012177 | 0.99886 | 0.0032737 | 0.99884 | 0.00348 | 5.535
63 | -2.486 | -1.1714 | 2.4864 | 1.1704 | 0.00038491 | -0.00097146 | 0.079488 | 0.079474 | 0.079488 | 0.99806 | -0.0020714 | 0.9982 | -0.003337 | 36.1308
64 | 2.1572 | 1.0122 | -2.1571 | -1.0121 | 0.00015829 | 7.6909e-05 | 0.068922 | 0.068922 | 0.068922 | 0.99806 | -0.0020714 | 0.99798 | -0.002613 | 32.8201
65 | -2.4864 | -1.1704 | 2.4867 | 1.1697 | 0.00030195 | -0.00076256 | 0.079474 | 0.079464 | 0.079474 | 0.9982 | -0.003337 | 0.99832 | -0.0043277 | 36.1247
66 | 1.9778 | 0.92531 | -1.976 | -0.93243 | 0.0017132 | -0.0071242 | 0.06316 | 0.063254 | 0.063254 | 0.99798 | -0.002613 | 0.99717 | 0.0044331 | 28.7518
67 | 0.17933 | 0.08678 | -0.17932 | -0.08685 | 3.5868e-06 | -6.982e-05 | 0.0057626 | 0.0057635 | 0.0057635 | 0.99798 | -0.002613 | 0.99796 | -0.002745 | 2.7445
68 | -2.674 | -1.2604 | 2.6742 | 1.2599 | 0.00020293 | -0.00043492 | 0.08548 | 0.085474 | 0.08548 | 0.99832 | -0.0043277 | 0.99839 | -0.004949 | 38.8544
69 | 1.976 | 0.93243 | -1.9759 | -0.93316 | 0.00017614 | -0.00073049 | 0.063254 | 0.063264 | 0.063264 | 0.99717 | 0.0044331 | 0.99709 | 0.0051659 | 28.7562
70 | 1.8948 | 0.89389 | -1.8947 | -0.89411 | 4.8868e-05 | -0.00022166 | 0.060656 | 0.060658 | 0.060658 | 0.99709 | 0.0051659 | 0.99707 | 0.0053776 | 27.572
71 | 0.33827 | 0.16331 | -0.33826 | -0.16383 | 3.4282e-06 | -0.00051703 | 0.01086 | 0.010866 | 0.010866 | 0.99852 | 0.0060206 | 0.99851 | 0.0061086 | 4.9391
72 | -2.6742 | -1.2599 | 2.6773 | 1.2616 | 0.0030881 | 0.0016516 | 0.085474 | 0.08547 | 0.085474 | 0.99839 | -0.004949 | 0.99961 | 0.0034485 | 40.7017
73 | -2.9713 | -1.404 | 2.9725 | 1.402 | 0.0011972 | -0.0020219 | 0.094905 | 0.094876 | 0.094905 | 0.99961 | 0.0034485 | 0.99998 | 0.00013688 | 43.1386
74 | 1.8237 | 0.85973 | -1.8235 | -0.86072 | 0.00020128 | -0.00099018 | 0.058375 | 0.058388 | 0.058388 | 0.99707 | 0.0053776 | 0.99697 | 0.0062833 | 26.5398
75 | 2.9726 | 1.4019 | -2.9725 | -1.402 | 4.9605e-05 | -8.3845e-05 | 0.094874 | 0.094876 | 0.094876 | 1 | 0 | 0.99998 | 0.00013688 | 43.1253
76 | -0.39235 | -0.19002 | 0.39236 | 0.19 | 7.7804e-06 | -2.7661e-05 | 0.012622 | 0.012621 | 0.012622 | 0.99706 | -0.0087509 | 0.99709 | -0.0086202 | 6.0103
77 | -0.39236 | -0.19 | 0.39241 | 0.18443 | 4.9744e-05 | -0.0055693 | 0.012621 | 0.012552 | 0.012621 | 0.99709 | -0.0086202 | 0.9972 | -0.0096881 | 5.7369
78 | 0.083057 | 0.034922 | -0.083055 | -0.039958 | 1.9696e-06 | -0.0050354 | 0.0026083 | 0.0026681 | 0.0026681 | 0.9972 | -0.0096881 | 0.99718 | -0.009514 | 1.2128
79 | -1.1745 | -0.5559 | 1.1752 | 0.54695 | 0.0007268 | -0.0089525 | 0.037616 | 0.037503 | 0.037616 | 0.9972 | -0.0096881 | 0.99778 | -0.014705 | 17.0981
80 | 0.29971 | 0.14511 | -0.2997 | -0.14515 | 6.1224e-06 | -4.0062e-05 | 0.0096397 | 0.0096402 | 0.0096402 | 0.9972 | -0.0096881 | 0.99718 | -0.0098228 | 4.5906
81 | 0.39932 | 0.19144 | -0.3993 | -0.1933 | 1.7267e-05 | -0.0018601 | 0.012819 | 0.012843 | 0.012843 | 0.9972 | -0.0096881 | 0.99716 | -0.0093158 | 5.8376
82 | 0.3993 | 0.1933 | -0.3993 | -0.19339 | 8.4783e-07 | -9.1151e-05 | 0.012843 | 0.012844 | 0.012844 | 0.99716 | -0.0093158 | 0.99716 | -0.0092973 | 5.8382
83 | 0.083055 | 0.039958 | -0.083055 | -0.040225 | 1.0726e-07 | -0.00026754 | 0.0026681 | 0.0026715 | 0.0026715 | 0.99718 | -0.009514 | 0.99718 | -0.0095028 | 1.2143
84 | -1.4536 | -0.6774 | 1.4536 | 0.6773 | 1.2794e-05 | -0.00010203 | 0.046397 | 0.046396 | 0.046397 | 0.99778 | -0.014705 | 0.99779 | -0.014775 | 21.0895
85 | 0.27836 | 0.13045 | -0.27834 | -0.13474 | 1.9217e-05 | -0.004294 | 0.008894 | 0.0089475 | 0.0089475 | 0.99778 | -0.014705 | 0.99772 | -0.014126 | 4.067
86 | 0.27834 | 0.13474 | -0.27834 | -0.1348 | 7.7872e-06 | -5.9992e-05 | 0.0089475 | 0.0089483 | 0.0089483 | 0.99772 | -0.014126 | 0.99769 | -0.01431 | 4.2611
87 | -1.8357 | -0.86234 | 1.8358 | 0.86183 | 0.00010284 | -0.00050144 | 0.058676 | 0.05867 | 0.058676 | 0.99779 | -0.014775 | 0.99784 | -0.01523 | 26.6711
88 | -1.8358 | -0.86183 | 1.836 | 0.86085 | 0.00020285 | -0.00098959 | 0.05867 | 0.058657 | 0.05867 | 0.99784 | -0.01523 | 0.99794 | -0.016126 | 26.6681
89 | 0.10467 | 0.050411 | -0.10467 | -0.050695 | 1.7954e-07 | -0.0002832 | 0.0033594 | 0.0033629 | 0.0033629 | 0.99833 | -0.020073 | 0.99833 | -0.020058 | 1.5286
90 | 0.17494 | 0.083927 | -0.17494 | -0.084545 | 1.0932e-06 | -0.00061784 | 0.0056106 | 0.0056184 | 0.0056184 | 0.99833 | -0.019506 | 0.99833 | -0.019453 | 2.5538
91 | 0.10114 | 0.04857 | -0.10114 | -0.048986 | 2.4673e-07 | -0.00041642 | 0.0032457 | 0.0032509 | 0.0032509 | 0.99794 | -0.016126 | 0.99794 | -0.016104 | 1.4777
92 | 0.10043 | 0.048459 | -0.10043 | -0.048641 | 1.0675e-07 | -0.00018284 | 0.0032245 | 0.0032268 | 0.0032268 | 0.99833 | -0.019453 | 0.99833 | -0.019443 | 1.4667
93 | 0.24824 | 0.11984 | -0.24824 | -0.12023 | 1.4264e-06 | -0.00039388 | 0.0079991 | 0.0080041 | 0.0080041 | 0.9948 | -0.0064194 | 0.99479 | -0.0063695 | 3.6382
94 | 0.24754 | 0.11925 | -0.24753 | -0.11989 | 2.293e-06 | -0.00063706 | 0.0079732 | 0.0079813 | 0.0079813 | 0.9948 | -0.006403 | 0.99479 | -0.0063228 | 3.6279
95 | -0.068706 | -0.033276 | 0.068707 | 0.033144 | 9.7077e-07 | -0.00013171 | 0.0022109 | 0.0022092 | 0.0022109 | 0.99678 | 0.0077208 | 0.9968 | 0.0078146 | 1.0528
96 | -0.46401 | -0.22364 | 0.46404 | 0.22139 | 2.8219e-05 | -0.0022495 | 0.014917 | 0.014889 | 0.014917 | 0.9968 | 0.0078146 | 0.99685 | 0.0072965 | 6.7806
97 | 0.3953 | 0.1905 | -0.3953 | -0.19141 | 8.3137e-06 | -0.00091149 | 0.012708 | 0.01272 | 0.01272 | 0.9968 | 0.0078146 | 0.99678 | 0.0079968 | 5.7816
98 | 0.26821 | 0.1292 | -0.26821 | -0.1299 | 2.929e-06 | -0.00069878 | 0.0086212 | 0.00863 | 0.00863 | 0.99685 | 0.0072965 | 0.99684 | 0.007391 | 3.9227
99 | -0.73225 | -0.3506 | 0.73234 | 0.34778 | 8.8196e-05 | -0.0028143 | 0.02351 | 0.023475 | 0.02351 | 0.99685 | 0.0072965 | 0.99697 | 0.0062833 | 10.6865
100 | 0.23223 | 0.11244 | -0.23223 | -0.11248 | 1.2353e-07 | -3.9263e-05 | 0.0074725 | 0.007473 | 0.007473 | 0.99678 | 0.0079968 | 0.99678 | 0.0080014 | 3.3968
101 | 0.77512 | 0.35997 | -0.775 | -0.36337 | 0.00011853 | -0.0033993 | 0.024746 | 0.024788 | 0.024788 | 0.99697 | 0.0062833 | 0.99682 | 0.0075066 | 11.2674
102 | 0.31608 | 0.15296 | -0.31606 | -0.15308 | 1.9095e-05 | -0.00011103 | 0.010168 | 0.010169 | 0.010169 | 0.99697 | 0.0062833 | 0.9969 | 0.0058844 | 4.8425
103 | 0.43247 | 0.20671 | -0.43246 | -0.20732 | 6.598e-06 | -0.00060622 | 0.013881 | 0.013889 | 0.013889 | 0.99682 | 0.0075066 | 0.99681 | 0.007636 | 6.3131
104 | 0.2357 | 0.10545 | -0.23568 | -0.11294 | 2.3891e-05 | -0.0074945 | 0.0074777 | 0.007569 | 0.007569 | 0.99682 | 0.0075066 | 0.99673 | 0.0083035 | 3.4405
105 | 0.10683 | 0.051211 | -0.10683 | -0.051742 | 3.5219e-07 | -0.00053056 | 0.003431 | 0.0034376 | 0.0034376 | 0.99682 | 0.0075066 | 0.99682 | 0.007535 | 1.5626
106 | 0.35513 | 0.16987 | -0.35513 | -0.17058 | 5.2536e-06 | -0.00071617 | 0.011401 | 0.01141 | 0.01141 | 0.99681 | 0.007636 | 0.99679 | 0.007762 | 5.1861
107 | 0.23568 | 0.11294 | -0.23567 | -0.11414 | 3.8816e-06 | -0.0012003 | 0.007569 | 0.0075842 | 0.0075842 | 0.99673 | 0.0083035 | 0.99671 | 0.0084453 | 3.4473
108 | 0.35513 | 0.17058 | -0.35512 | -0.17199 | 1.0348e-05 | -0.0014073 | 0.01141 | 0.011427 | 0.011427 | 0.99679 | 0.007762 | 0.99677 | 0.0080135 | 5.1942

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.3881 | 5.775

## res_load
| p_mw | q_mvar
0 | 0.18537 | 0.089778
1 | 0.17156 | 0.083089
2 | 0.09447 | 0.045754
3 | 0.39607 | 0.19183
4 | 0.38668 | 0.18728
5 | 0.4008 | 0.19412
6 | 0.17888 | 0.086634
7 | 0.23647 | 0.11453
8 | 0.070341 | 0.034068
9 | 0.33519 | 0.16234
10 | 0.32932 | 0.1595
11 | 0.082557 | 0.039984
12 | 0.40921 | 0.19819
13 | 0.074231 | 0.035952
14 | 0.085217 | 0.041272
15 | 0.38257 | 0.18529
16 | 0.31227 | 0.15124
17 | 0.14172 | 0.068637
18 | 0.14383 | 0.069662
19 | 0.1925 | 0.093232
20 | 0.12097 | 0.058589
21 | 0.31285 | 0.15152
22 | 0.20778 | 0.10063
23 | 0.32879 | 0.15924
24 | 0.18725 | 0.09069
25 | 0.17932 | 0.08685
26 | 0.081081 | 0.039269
27 | 0.3792 | 0.18365
28 | 0.33826 | 0.16383
29 | 0.29405 | 0.14241
30 | 0.071 | 0.034387
31 | 0.39235 | 0.19002
32 | 0.3993 | 0.19339
33 | 0.2997 | 0.14515
34 | 0.27834 | 0.1348
35 | 0.38206 | 0.18504
36 | 0.083055 | 0.040225
37 | 0.10467 | 0.050695
38 | 0.22161 | 0.10733
39 | 0.37951 | 0.18381
40 | 0.10114 | 0.048986
41 | 0.07451 | 0.036087
42 | 0.10043 | 0.048641
43 | 0.097202 | 0.047077
44 | 0.24824 | 0.12023
45 | 0.24753 | 0.11989
46 | 0.068706 | 0.033276
47 | 0.16306 | 0.078974
48 | 0.31606 | 0.15308
49 | 0.26821 | 0.1299
50 | 0.07733 | 0.037453
51 | 0.10683 | 0.051742
52 | 0.23567 | 0.11414
53 | 0.23223 | 0.11248
54 | 0.35512 | 0.17199

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1