## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_22_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_22_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_22_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_22_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_22_0_node_8 | 20 | n |  | TRUE
5 | bus_MV_22_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_22_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_22_0_node_7 | 20 | n |  | TRUE
8 | bus_MV_22_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_22_0_node_214 | 20 | n |  | TRUE
10 | bus_MV_22_0_node_218 | 20 | n |  | TRUE
11 | bus_MV_22_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_22_0_node_14 | 20 | n |  | TRUE
13 | bus_MV_22_0_node_202 | 20 | n |  | TRUE
14 | bus_MV_22_0_node_16 | 20 | n |  | TRUE
15 | bus_MV_22_0_node_17 | 20 | n |  | TRUE
16 | bus_MV_22_0_node_23 | 20 | n |  | TRUE
17 | bus_MV_22_0_node_20 | 20 | n |  | TRUE
18 | bus_MV_22_0_node_18 | 20 | n |  | TRUE
19 | bus_MV_22_0_node_19 | 20 | n |  | TRUE
20 | bus_MV_22_0_node_22 | 20 | n |  | TRUE
21 | bus_MV_22_0_node_150 | 20 | n |  | TRUE
22 | bus_MV_22_0_node_44 | 20 | n |  | TRUE
23 | bus_MV_22_0_node_43 | 20 | n |  | TRUE
24 | bus_MV_22_0_node_24 | 20 | n |  | TRUE
25 | bus_MV_22_0_node_25 | 20 | n |  | TRUE
26 | bus_MV_22_0_node_26 | 20 | n |  | TRUE
27 | bus_MV_22_0_node_40 | 20 | n |  | TRUE
28 | bus_MV_22_0_node_27 | 20 | n |  | TRUE
29 | bus_MV_22_0_node_28 | 20 | n |  | TRUE
30 | bus_MV_22_0_node_29 | 20 | n |  | TRUE
31 | bus_MV_22_0_node_30 | 20 | n |  | TRUE
32 | bus_MV_22_0_node_205 | 20 | n |  | TRUE
33 | bus_MV_22_0_node_31 | 20 | n |  | TRUE
34 | bus_MV_22_0_node_46 | 20 | n |  | TRUE
35 | bus_MV_22_0_node_219 | 20 | n |  | TRUE
36 | bus_MV_22_0_node_33 | 20 | n |  | TRUE
37 | bus_MV_22_0_node_34 | 20 | n |  | TRUE
38 | bus_MV_22_0_node_35 | 20 | n |  | TRUE
39 | bus_MV_22_0_node_36 | 20 | n |  | TRUE
40 | bus_MV_22_0_node_37 | 20 | n |  | TRUE
41 | bus_MV_22_0_node_38 | 20 | n |  | TRUE
42 | bus_MV_22_0_node_52 | 20 | n |  | TRUE
43 | bus_MV_22_0_node_42 | 20 | n |  | TRUE
44 | bus_MV_22_0_node_204 | 20 | n |  | TRUE
45 | bus_MV_22_0_node_54 | 20 | n |  | TRUE
46 | bus_MV_22_0_node_55 | 20 | n |  | TRUE
47 | bus_MV_22_0_node_51 | 20 | n |  | TRUE
48 | bus_MV_22_0_node_47 | 20 | n |  | TRUE
49 | bus_MV_22_0_node_39 | 20 | n |  | TRUE
50 | bus_MV_22_0_node_41 | 20 | n |  | TRUE
51 | bus_MV_22_0_node_45 | 20 | n |  | TRUE
52 | bus_MV_22_0_node_48 | 20 | n |  | TRUE
53 | bus_MV_22_0_node_49 | 20 | n |  | TRUE
54 | bus_MV_22_0_node_141 | 20 | n |  | TRUE
55 | bus_MV_22_0_node_50 | 20 | n |  | TRUE
56 | bus_MV_22_0_node_208 | 20 | n |  | TRUE
57 | bus_MV_22_0_node_209 | 20 | n |  | TRUE
58 | bus_MV_22_0_node_53 | 20 | n |  | TRUE
59 | bus_MV_22_0_node_56 | 20 | n |  | TRUE
60 | bus_MV_22_0_node_138 | 20 | n |  | TRUE
61 | bus_MV_22_0_node_139 | 20 | n |  | TRUE
62 | bus_MV_22_0_node_140 | 20 | n |  | TRUE
63 | bus_MV_22_0_node_197 | 20 | n |  | TRUE
64 | bus_MV_22_0_node_146 | 20 | n |  | TRUE
65 | bus_MV_22_0_node_142 | 20 | n |  | TRUE
66 | bus_MV_22_0_node_143 | 20 | n |  | TRUE
67 | bus_MV_22_0_node_144 | 20 | n |  | TRUE
68 | bus_MV_22_0_node_145 | 20 | n |  | TRUE
69 | bus_MV_22_0_node_148 | 20 | n |  | TRUE
70 | bus_MV_22_0_node_147 | 20 | n |  | TRUE
71 | bus_MV_22_0_node_196 | 20 | n |  | TRUE
72 | bus_MV_22_0_node_206 | 20 | n |  | TRUE
73 | bus_MV_22_0_node_203 | 20 | n |  | TRUE
74 | bus_MV_22_0_node_213 | 20 | n |  | TRUE
75 | bus_MV_22_0_node_207 | 20 | n |  | TRUE
76 | bus_MV_22_0_node_210 | 20 | n |  | TRUE
77 | bus_MV_22_0_node_211 | 20 | n |  | TRUE
78 | bus_MV_22_0_node_212 | 20 | n |  | TRUE
79 | bus_HV_22_0_node_203 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_22_0_load_0 | 0 | 0.17183 | 0.083221 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_22_0_load_8 | 4 | 0.31115 | 0.1507 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_22_0_load_7 | 7 | 0.23955 | 0.11602 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_22_0_load_6 | 8 | 0.060249 | 0.02918 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_22_0_load_218 | 10 | 0.2102 | 0.1018 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_22_0_load_10 | 11 | 0.33267 | 0.16112 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_22_0_load_14 | 12 | 0.13886 | 0.067253 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_22_0_load_202 | 13 | 0.084531 | 0.04094 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_22_0_load_16 | 14 | 0.072659 | 0.03519 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_22_0_load_19 | 19 | 0.1348 | 0.065286 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_22_0_load_22 | 20 | 0.16007 | 0.077524 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_22_0_load_150 | 21 | 0.16015 | 0.077565 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_22_0_load_43 | 23 | 0.09662 | 0.046795 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_22_0_load_24 | 24 | 0.058486 | 0.028326 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_22_0_load_40 | 27 | 0.10295 | 0.049863 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_22_0_load_27 | 28 | 0.11999 | 0.058115 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_22_0_load_205 | 32 | 0.084527 | 0.040938 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_22_0_load_46 | 34 | 0.10382 | 0.050281 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_22_0_load_219 | 35 | 0.052304 | 0.025332 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_22_0_load_33 | 36 | 0.13048 | 0.063195 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_22_0_load_42 | 43 | 0.1188 | 0.057537 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_22_0_load_204 | 44 | 0.088533 | 0.042878 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_22_0_load_51 | 47 | 0.15327 | 0.074234 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_22_0_load_47 | 48 | 0.05718 | 0.027694 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_22_0_load_39 | 49 | 0.15956 | 0.077278 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_22_0_load_41 | 50 | 0.083785 | 0.040579 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_22_0_load_45 | 51 | 0.13964 | 0.067633 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_22_0_load_48 | 52 | 0.10702 | 0.05183 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_22_0_load_208 | 56 | 0.076456 | 0.037029 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_22_0_load_209 | 57 | 0.12183 | 0.059007 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_22_0_load_56 | 59 | 0.1177 | 0.057005 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_22_0_load_138 | 60 | 0.39628 | 0.19193 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_22_0_load_197 | 63 | 0.092383 | 0.044743 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_22_0_load_146 | 64 | 0.055822 | 0.027036 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_22_0_load_142 | 65 | 0.078777 | 0.038154 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_22_0_load_147 | 70 | 0.099881 | 0.048375 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_22_0_load_196 | 71 | 0.079324 | 0.038418 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_22_0_load_207 | 75 | 0.056449 | 0.027339 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_22_0_load_212 | 78 | 0.1574 | 0.076231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_22_0_line_0 |  | 0 | 1 | 0.071316 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_22_0_line_1 |  | 1 | 2 | 0.82643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_22_0_line_2 |  | 1 | 3 | 1.1133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_22_0_line_3 |  | 1 | 4 | 1.3712 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_22_0_line_4 |  | 2 | 5 | 1.0158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_22_0_line_5 |  | 2 | 6 | 0.72431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_22_0_line_6 |  | 2 | 7 | 0.066155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_22_0_line_7 |  | 3 | 8 | 0.030066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_22_0_line_8 |  | 5 | 9 | 1.053 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_22_0_line_9 |  | 5 | 10 | 0.036149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_22_0_line_10 |  | 6 | 11 | 0.095087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_22_0_line_11 |  | 9 | 75 | 0.041324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_22_0_line_12 |  | 12 | 13 | 4.3069 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_22_0_line_13 |  | 13 | 73 | 0.17306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_22_0_line_14 |  | 14 | 15 | 0.004662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_22_0_line_15 |  | 15 | 16 | 0.10211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_22_0_line_16 |  | 15 | 17 | 0.076155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_22_0_line_17 |  | 16 | 22 | 0.051867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_22_0_line_18 |  | 16 | 23 | 0.004168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_22_0_line_19 |  | 17 | 21 | 0.065356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_22_0_line_20 |  | 17 | 18 | 0.081691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_22_0_line_21 |  | 18 | 19 | 0.06811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_22_0_line_22 |  | 19 | 20 | 0.27516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_22_0_line_23 |  | 22 | 43 | 0.053291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_22_0_line_24 |  | 23 | 51 | 0.040787 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_22_0_line_25 |  | 24 | 25 | 0.036616 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_22_0_line_26 |  | 25 | 26 | 0.07636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_22_0_line_27 |  | 26 | 27 | 0.034817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_22_0_line_28 |  | 27 | 49 | 0.046843 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_22_0_line_29 |  | 28 | 29 | 0.004571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_22_0_line_30 |  | 28 | 30 | 0.043986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_22_0_line_31 |  | 29 | 31 | 0.17456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_22_0_line_32 |  | 30 | 32 | 0.10032 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_22_0_line_33 |  | 31 | 33 | 1.3163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_22_0_line_34 |  | 31 | 34 | 0.099334 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_22_0_line_35 |  | 32 | 45 | 0.018255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_22_0_line_36 |  | 33 | 35 | 0.042202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_22_0_line_37 |  | 36 | 37 | 0.03834 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_22_0_line_38 |  | 37 | 38 | 0.10288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_22_0_line_39 |  | 37 | 39 | 0.18815 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_22_0_line_40 |  | 37 | 40 | 0.13573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_22_0_line_41 |  | 37 | 41 | 0.52939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_22_0_line_42 |  | 37 | 42 | 0.079503 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_22_0_line_43 |  | 38 | 43 | 0.042877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_22_0_line_44 |  | 39 | 44 | 0.032583 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_22_0_line_45 |  | 40 | 45 | 0.29416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_22_0_line_46 |  | 40 | 46 | 0.34111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_22_0_line_47 |  | 40 | 47 | 0.006726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_22_0_line_48 |  | 41 | 48 | 0.20158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_22_0_line_49 |  | 42 | 58 | 0.18519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_22_0_line_50 |  | 43 | 50 | 0.024075 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_22_0_line_51 |  | 46 | 56 | 0.019535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_22_0_line_52 |  | 49 | 50 | 0.062852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_22_0_line_53 |  | 52 | 53 | 0.081136 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_22_0_line_54 |  | 52 | 54 | 2.2424 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
55 | MV_22_0_line_55 |  | 53 | 55 | 0.1369 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_22_0_line_56 |  | 53 | 56 | 0.17844 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_22_0_line_57 |  | 54 | 64 | 0.36618 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_22_0_line_58 |  | 54 | 61 | 0.6719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_22_0_line_59 |  | 55 | 57 | 0.10214 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
60 | MV_22_0_line_60 |  | 57 | 76 | 0.038922 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
61 | MV_22_0_line_61 |  | 58 | 59 | 0.043541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_22_0_line_62 |  | 60 | 61 | 0.049256 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_22_0_line_63 |  | 61 | 62 | 0.30751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_22_0_line_64 |  | 62 | 63 | 0.11693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_22_0_line_65 |  | 63 | 71 | 0.0096499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_22_0_line_66 |  | 64 | 68 | 0.042604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_22_0_line_67 |  | 65 | 66 | 0.010208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_22_0_line_68 |  | 65 | 67 | 0.37147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_22_0_line_69 |  | 66 | 68 | 0.56771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_22_0_line_70 |  | 67 | 69 | 0.96168 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_22_0_line_71 |  | 69 | 70 | 0.24398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_22_0_line_72 |  | 71 | 72 | 1.0054 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_22_0_line_73 |  | 72 | 75 | 0.033113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_22_0_line_74 |  | 73 | 74 | 0.64705 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
75 | MV_22_0_line_75 |  | 74 | 78 | 0.077686 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_22_0_line_76 |  | 76 | 77 | 0.27421 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
77 | MV_22_0_line_77 |  | 77 | 78 | 0.12322 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_22_0_trafo_203 | 25 MVA 110/20 kV | 79 | 73 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2690763.0755 | 1214611.5145
1 | 2690811.2437 | 1214664.1058
2 | 2690697.6506 | 1215133.1612
3 | 2690334.5789 | 1214292.3032
4 | 2691876.6804 | 1213801.0079
5 | 2690336.4889 | 1215314.6233
6 | 2691273.445 | 1215492.781
7 | 2690643.246 | 1215095.297
8 | 2690312.8168 | 1214312.2981
9 | 2690752.4717 | 1216216.0304
10 | 2690305.5325 | 1215331.6547
11 | 2691188.134 | 1215457.8008
12 | 2696916.5531 | 1213827.8132
13 | 2693489.6257 | 1216436.5913
14 | 2693820.1395 | 1217486.5746
15 | 2693815.7196 | 1217488.0949
16 | 2693840.035 | 1217587.0238
17 | 2693770.1247 | 1217462.304
18 | 2693788.1128 | 1217410.0955
19 | 2693776.1136 | 1217343.1781
20 | 2693722.8596 | 1217074.5155
21 | 2693776.6638 | 1217527.3319
22 | 2693853.8558 | 1217636.9204
23 | 2693844.1184 | 1217586.132
24 | 2694077.7872 | 1217586.5829
25 | 2694052.9987 | 1217613.5325
26 | 2694000.1575 | 1217611.6531
27 | 2693980.8877 | 1217640.549
28 | 2694041.9083 | 1218304.7469
29 | 2694037.8809 | 1218306.9293
30 | 2694023.2102 | 1218264.9131
31 | 2694140.5916 | 1218390.3199
32 | 2693976.8656 | 1218175.9427
33 | 2694698.2818 | 1219482.8609
34 | 2694178.8047 | 1218482.0095
35 | 2694724.4546 | 1219516.0223
36 | 2693956.4311 | 1217766.8597
37 | 2693937.3521 | 1217800.1153
38 | 2693893.2181 | 1217724.701
39 | 2693763.1449 | 1217803.8857
40 | 2693920.4194 | 1217909.1016
41 | 2694134.9625 | 1217369.5023
42 | 2693989.4404 | 1217860.1781
43 | 2693875.8358 | 1217685.489
44 | 2693768.5606 | 1217836.0153
45 | 2693969.1789 | 1218159.3767
46 | 2693664.6615 | 1217820.9711
47 | 2693927.1179 | 1217909.8966
48 | 2694312.6633 | 1217277.3146
49 | 2693958.5712 | 1217681.7346
50 | 2693898.2022 | 1217676.5811
51 | 2693883.9765 | 1217577.4759
52 | 2693476.2498 | 1217623.61
53 | 2693518.907 | 1217691.4371
54 | 2691305.54 | 1218185.9553
55 | 2693597.7425 | 1217605.8601
56 | 2693658.6679 | 1217802.3751
57 | 2693578.0977 | 1217505.6269
58 | 2694148.862 | 1217859.494
59 | 2694138.0216 | 1217821.487
60 | 2691188.3008 | 1217529.0661
61 | 2691145.7106 | 1217553.8093
62 | 2691004.7426 | 1217280.5241
63 | 2691109.6181 | 1217228.8444
64 | 2691369.3377 | 1218546.5359
65 | 2691238.6248 | 1219080.0994
66 | 2691247.6548 | 1219075.2899
67 | 2691020.9527 | 1219351.0119
68 | 2691363.9761 | 1218588.7605
69 | 2691795.3113 | 1219921.274
70 | 2692025.1096 | 1219938.7313
71 | 2691118.1877 | 1217224.4079
72 | 2690747.9326 | 1216289.6781
73 | 2693370.529 | 1216546.0888
74 | 2693617.3858 | 1217137.1565
75 | 2690745.541 | 1216256.7526
76 | 2693577.6386 | 1217466.7151
77 | 2693715.5278 | 1217310.396
78 | 2693649.9134 | 1217207.6049
79 | 2693370.529 | 1216546.0888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98144 | -0.21268 | 0.17183 | 0.083221
1 | 0.98147 | -0.21252 | 0 | 0
2 | 0.98204 | -0.21605 | 0 | 0
3 | 0.98138 | -0.21268 | 0 | 0
4 | 0.98062 | -0.21797 | 0.31115 | 0.1507
5 | 0.98348 | -0.22479 | 0 | 0
6 | 0.98173 | -0.21357 | 0 | 0
7 | 0.98202 | -0.21586 | 0.23955 | 0.11602
8 | 0.98138 | -0.21266 | 0.060249 | 0.02918
9 | 0.98525 | -0.23485 | 0 | 0
10 | 0.98347 | -0.2247 | 0.2102 | 0.1018
11 | 0.98169 | -0.21318 | 0.33267 | 0.16112
12 | 0.9988 | -0.007793 | 0.13886 | 0.067253
13 | 0.99995 | 0.00038366 | 0.084531 | 0.04094
14 | 0.99372 | -0.052871 | 0.072659 | 0.03519
15 | 0.99372 | -0.052876 | 0 | 0
16 | 0.99379 | -0.053432 | 0 | 0
17 | 0.99367 | -0.052517 | 0 | 0
18 | 0.99364 | -0.052273 | 0 | 0
19 | 0.99362 | -0.052061 | 0.1348 | 0.065286
20 | 0.99356 | -0.051585 | 0.16007 | 0.077524
21 | 0.99366 | -0.052393 | 0.16015 | 0.077565
22 | 0.99384 | -0.053856 | 0 | 0
23 | 0.99378 | -0.05342 | 0.09662 | 0.046795
24 | 0.99382 | -0.054246 | 0.058486 | 0.028326
25 | 0.99382 | -0.05422 | 0 | 0
26 | 0.99383 | -0.054269 | 0 | 0
27 | 0.99383 | -0.054289 | 0.10295 | 0.049863
28 | 0.99421 | -0.058698 | 0.11999 | 0.058115
29 | 0.99421 | -0.0587 | 0 | 0
30 | 0.99423 | -0.05874 | 0 | 0
31 | 0.99418 | -0.058755 | 0 | 0
32 | 0.99428 | -0.058078 | 0.084527 | 0.040938
33 | 0.9941 | -0.059325 | 0 | 0
34 | 0.99416 | -0.058882 | 0.10382 | 0.050281
35 | 0.99409 | -0.059299 | 0.052304 | 0.025332
36 | 0.99412 | -0.056391 | 0.13048 | 0.063195
37 | 0.99413 | -0.05633 | 0 | 0
38 | 0.99396 | -0.054892 | 0 | 0
39 | 0.99411 | -0.056156 | 0 | 0
40 | 0.99442 | -0.05861 | 0 | 0
41 | 0.99409 | -0.056339 | 0 | 0
42 | 0.99411 | -0.056482 | 0 | 0
43 | 0.99389 | -0.054288 | 0.1188 | 0.057537
44 | 0.9941 | -0.056191 | 0.088533 | 0.042878
45 | 0.99429 | -0.058113 | 0 | 0
46 | 0.99536 | -0.065339 | 0 | 0
47 | 0.99442 | -0.058598 | 0.15327 | 0.074234
48 | 0.99408 | -0.056231 | 0.05718 | 0.027694
49 | 0.99384 | -0.054185 | 0.15956 | 0.077278
50 | 0.99387 | -0.054415 | 0.083785 | 0.040579
51 | 0.99377 | -0.053489 | 0.13964 | 0.067633
52 | 0.99609 | -0.060459 | 0.10702 | 0.05183
53 | 0.99619 | -0.059072 | 0 | 0
54 | 0.99052 | -0.22258 | 0 | 0
55 | 0.99652 | -0.054614 | 0 | 0
56 | 0.99542 | -0.065719 | 0.076456 | 0.037029
57 | 0.99705 | -0.039655 | 0.12183 | 0.059007
58 | 0.99408 | -0.056256 | 0 | 0
59 | 0.99407 | -0.056196 | 0.1177 | 0.057005
60 | 0.98882 | -0.21275 | 0.39628 | 0.19193
61 | 0.98886 | -0.21251 | 0 | 0
62 | 0.98825 | -0.20915 | 0 | 0
63 | 0.98802 | -0.20783 | 0.092383 | 0.044743
64 | 0.99037 | -0.2246 | 0.055822 | 0.027036
65 | 0.99023 | -0.22417 | 0.078777 | 0.038154
66 | 0.99023 | -0.22418 | 0 | 0
67 | 0.99018 | -0.22398 | 0 | 0
68 | 0.99036 | -0.22459 | 0 | 0
69 | 0.99 | -0.22569 | 0 | 0
70 | 0.98997 | -0.22544 | 0.099881 | 0.048375
71 | 0.98801 | -0.20774 | 0.079324 | 0.038418
72 | 0.98538 | -0.23551 | 0 | 0
73 | 1 | 0 | -5.1249 | -2.1504
74 | 0.99834 | -0.022416 | 0 | 0
75 | 0.98532 | -0.23521 | 0.056449 | 0.027339
76 | 0.99715 | -0.038361 | 0 | 0
77 | 0.99783 | -0.029215 | 0 | 0
78 | 0.99814 | -0.02509 | 0.1574 | 0.076231
79 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17183 | -0.083221 | 0.17183 | 0.083142 | 4.0063e-06 | -7.95e-05 | 0.0056157 | 0.0056146 | 0.0056157 | 0.98144 | -0.21268 | 0.98147 | -0.21252 | 2.6741
1 | -0.54349 | -0.23531 | 0.54382 | 0.21639 | 0.00033059 | -0.01892 | 0.017419 | 0.017205 | 0.017419 | 0.98147 | -0.21252 | 0.98204 | -0.21605 | 7.9179
2 | 0.060254 | 0.0028861 | -0.060249 | -0.028489 | 4.9848e-06 | -0.025603 | 0.0017743 | 0.0019604 | 0.0019604 | 0.98147 | -0.21252 | 0.98138 | -0.21268 | 0.89108
3 | 0.3114 | 0.14928 | -0.31115 | -0.1507 | 0.00025254 | -0.0014173 | 0.010157 | 0.010177 | 0.010177 | 0.98147 | -0.21252 | 0.98062 | -0.21797 | 4.8463
4 | -1.1162 | -0.47318 | 1.1179 | 0.45026 | 0.0017095 | -0.022918 | 0.035637 | 0.035374 | 0.035637 | 0.98204 | -0.21605 | 0.98348 | -0.22479 | 16.1987
5 | 0.3328 | 0.1423 | -0.33268 | -0.15894 | 0.0001115 | -0.01664 | 0.010639 | 0.010842 | 0.010842 | 0.98204 | -0.21605 | 0.98173 | -0.21357 | 4.928
6 | 0.23956 | 0.1145 | -0.23955 | -0.11602 | 5.3934e-06 | -0.0015217 | 0.007805 | 0.0078244 | 0.0078244 | 0.98204 | -0.21605 | 0.98202 | -0.21586 | 3.5565
7 | 0.060249 | 0.028489 | -0.060249 | -0.02918 | 1.5494e-07 | -0.00069133 | 0.0019604 | 0.0019692 | 0.0019692 | 0.98138 | -0.21268 | 0.98138 | -0.21266 | 0.89507
8 | -1.3281 | -0.55123 | 1.3306 | 0.52761 | 0.0024882 | -0.023624 | 0.042207 | 0.041938 | 0.042207 | 0.98348 | -0.22479 | 0.98525 | -0.23485 | 19.1849
9 | 0.2102 | 0.10097 | -0.2102 | -0.1018 | 2.2644e-06 | -0.00083414 | 0.0068447 | 0.0068553 | 0.0068553 | 0.98348 | -0.22479 | 0.98347 | -0.2247 | 3.1161
10 | 0.33268 | 0.15894 | -0.33267 | -0.16112 | 1.4959e-05 | -0.0021836 | 0.010842 | 0.010869 | 0.010869 | 0.98173 | -0.21357 | 0.98169 | -0.21318 | 4.9407
11 | -1.3306 | -0.52761 | 1.3307 | 0.52668 | 9.7006e-05 | -0.00092906 | 0.041938 | 0.041928 | 0.041938 | 0.98525 | -0.23485 | 0.98532 | -0.23521 | 19.0628
12 | -0.13886 | -0.067253 | 0.13901 | 0.062212 | 0.00015042 | -0.005041 | 0.0044593 | 0.0043966 | 0.0044593 | 0.9988 | -0.007793 | 0.99995 | 0.00038366 | 2.1235
13 | -0.22354 | -0.10315 | 0.22355 | 0.099023 | 1.159e-05 | -0.0041285 | 0.0071073 | 0.0070582 | 0.0071073 | 0.99995 | 0.00038366 | 1 | 0 | 3.2306
14 | -0.072659 | -0.03519 | 0.072659 | 0.03508 | 3.4177e-08 | -0.00010991 | 0.0023453 | 0.0023439 | 0.0023453 | 0.99372 | -0.052871 | 0.99372 | -0.052876 | 1.066
15 | -0.52773 | -0.24212 | 0.52777 | 0.23972 | 3.8714e-05 | -0.0023961 | 0.016867 | 0.016838 | 0.016867 | 0.99372 | -0.052876 | 0.99379 | -0.053432 | 7.6668
16 | 0.45507 | 0.20704 | -0.45505 | -0.20883 | 2.1477e-05 | -0.001789 | 0.014524 | 0.014545 | 0.014545 | 0.99372 | -0.052876 | 0.99367 | -0.052517 | 6.6115
17 | -0.76403 | -0.354 | 0.76408 | 0.35279 | 4.1403e-05 | -0.0012108 | 0.02446 | 0.024445 | 0.02446 | 0.99379 | -0.053432 | 0.99384 | -0.053856 | 11.1183
18 | 0.23627 | 0.11428 | -0.23627 | -0.11438 | 3.2347e-07 | -9.8187e-05 | 0.0076238 | 0.007625 | 0.007625 | 0.99379 | -0.053432 | 0.99378 | -0.05342 | 3.4659
19 | 0.16016 | 0.076025 | -0.16015 | -0.077565 | 2.3231e-06 | -0.00154 | 0.0051503 | 0.0051697 | 0.0051697 | 0.99367 | -0.052517 | 0.99366 | -0.052393 | 2.3499
20 | 0.29489 | 0.1328 | -0.29488 | -0.13472 | 9.6511e-06 | -0.0019229 | 0.0093957 | 0.0094188 | 0.0094188 | 0.99367 | -0.052517 | 0.99364 | -0.052273 | 4.2813
21 | 0.29488 | 0.13472 | -0.29488 | -0.13633 | 8.0831e-06 | -0.0016032 | 0.0094188 | 0.0094383 | 0.0094383 | 0.99364 | -0.052273 | 0.99362 | -0.052061 | 4.2901
22 | 0.16008 | 0.071041 | -0.16007 | -0.077524 | 9.6561e-06 | -0.0064829 | 0.0050881 | 0.0051674 | 0.0051674 | 0.99362 | -0.052061 | 0.99356 | -0.051585 | 2.3488
23 | -0.76408 | -0.35279 | 0.76412 | 0.35155 | 4.2487e-05 | -0.0012442 | 0.024445 | 0.02443 | 0.024445 | 0.99384 | -0.053856 | 0.99389 | -0.054288 | 11.1115
24 | 0.13965 | 0.067586 | -0.13964 | -0.067633 | 1.4761e-06 | -4.7163e-05 | 0.0045065 | 0.0045071 | 0.0045071 | 0.99378 | -0.05342 | 0.99377 | -0.053489 | 2.1463
25 | -0.058486 | -0.028326 | 0.058486 | 0.028283 | 2.3238e-07 | -4.3028e-05 | 0.0018876 | 0.0018871 | 0.0018876 | 0.99382 | -0.054246 | 0.99382 | -0.05422 | 0.89886
26 | -0.058486 | -0.028283 | 0.058486 | 0.026482 | 3.587e-07 | -0.0018006 | 0.0018871 | 0.0018649 | 0.0018871 | 0.99382 | -0.05422 | 0.99383 | -0.054269 | 0.85775
27 | -0.058486 | -0.026482 | 0.058487 | 0.025661 | 1.6081e-07 | -0.00082103 | 0.0018649 | 0.0018552 | 0.0018649 | 0.99383 | -0.054269 | 0.99383 | -0.054289 | 0.84767
28 | -0.16144 | -0.075524 | 0.16144 | 0.07547 | 2.2366e-06 | -5.3833e-05 | 0.0051771 | 0.0051764 | 0.0051771 | 0.99383 | -0.054289 | 0.99384 | -0.054185 | 2.4653
29 | 0.15613 | 0.039217 | -0.15613 | -0.039325 | 1.3336e-07 | -0.00010784 | 0.0046742 | 0.004675 | 0.004675 | 0.99421 | -0.058698 | 0.99421 | -0.0587 | 2.125
30 | -0.27613 | -0.097332 | 0.27613 | 0.096295 | 4.2386e-06 | -0.0010368 | 0.008501 | 0.008491 | 0.008501 | 0.99421 | -0.058698 | 0.99423 | -0.05874 | 3.8641
31 | 0.15613 | 0.039325 | -0.15613 | -0.043443 | 5.1258e-06 | -0.004118 | 0.004675 | 0.0047056 | 0.0047056 | 0.99421 | -0.0587 | 0.99418 | -0.058755 | 2.1389
32 | -0.27613 | -0.096295 | 0.27614 | 0.096185 | 1.2885e-05 | -0.00011032 | 0.008491 | 0.0084899 | 0.008491 | 0.99423 | -0.05874 | 0.99428 | -0.058078 | 4.0433
33 | 0.052308 | -0.0067224 | -0.052304 | -0.024336 | 4.1688e-06 | -0.031059 | 0.0015314 | 0.0016752 | 0.0016752 | 0.99418 | -0.058755 | 0.9941 | -0.059325 | 0.76146
34 | 0.10382 | 0.050165 | -0.10382 | -0.050281 | 1.9847e-06 | -0.00011596 | 0.003348 | 0.0033495 | 0.0033495 | 0.99418 | -0.058755 | 0.99416 | -0.058882 | 1.595
35 | -0.36067 | -0.13712 | 0.36067 | 0.13669 | 3.0574e-06 | -0.00042998 | 0.011203 | 0.011198 | 0.011203 | 0.99428 | -0.058078 | 0.99429 | -0.058113 | 5.0922
36 | 0.052304 | 0.024336 | -0.052304 | -0.025332 | 1.5927e-07 | -0.00099571 | 0.0016752 | 0.0016876 | 0.0016876 | 0.9941 | -0.059325 | 0.99409 | -0.059299 | 0.7671
37 | -0.13048 | -0.063195 | 0.13048 | 0.06315 | 1.2105e-06 | -4.4476e-05 | 0.0042099 | 0.0042094 | 0.0042099 | 0.99412 | -0.056391 | 0.99413 | -0.05633 | 2.0047
38 | 1.288 | 0.59757 | -1.2878 | -0.59993 | 0.00023366 | -0.0023579 | 0.041232 | 0.041261 | 0.041261 | 0.99413 | -0.05633 | 0.99396 | -0.054892 | 18.7551
39 | 0.088535 | 0.038401 | -0.088533 | -0.04284 | 2.0096e-06 | -0.0044389 | 0.0028023 | 0.002856 | 0.002856 | 0.99413 | -0.05633 | 0.99411 | -0.056156 | 1.2982
40 | -1.682 | -0.76108 | 1.6825 | 0.75803 | 0.00052038 | -0.0030494 | 0.053608 | 0.05357 | 0.053608 | 0.99413 | -0.05633 | 0.99442 | -0.05861 | 24.3674
41 | 0.057183 | 0.010447 | -0.057181 | -0.022938 | 2.1147e-06 | -0.012491 | 0.001688 | 0.0017891 | 0.0017891 | 0.99413 | -0.05633 | 0.99409 | -0.056339 | 0.81323
42 | 0.11771 | 0.051517 | -0.1177 | -0.051609 | 1.9724e-06 | -9.2562e-05 | 0.003731 | 0.0037321 | 0.0037321 | 0.99413 | -0.05633 | 0.99411 | -0.056482 | 1.7772
43 | 1.2878 | 0.59993 | -1.2877 | -0.60091 | 9.7481e-05 | -0.00098242 | 0.041261 | 0.041274 | 0.041274 | 0.99396 | -0.054892 | 0.99389 | -0.054288 | 18.7608
44 | 0.088533 | 0.04284 | -0.088533 | -0.042878 | 4.7362e-07 | -3.8144e-05 | 0.002856 | 0.0028565 | 0.0028565 | 0.99411 | -0.056156 | 0.9941 | -0.056191 | 1.3603
45 | 0.36072 | 0.12976 | -0.36067 | -0.13669 | 4.8936e-05 | -0.0069297 | 0.011129 | 0.011198 | 0.011198 | 0.99442 | -0.05861 | 0.99429 | -0.058113 | 5.0902
46 | -2.1965 | -0.96187 | 2.1987 | 0.95447 | 0.0022035 | -0.0074078 | 0.069609 | 0.069515 | 0.069609 | 0.99442 | -0.05861 | 0.99536 | -0.065339 | 31.6403
47 | 0.15327 | 0.074075 | -0.15327 | -0.074234 | 2.1937e-07 | -0.00015874 | 0.0049419 | 0.0049439 | 0.0049439 | 0.99442 | -0.05861 | 0.99442 | -0.058598 | 2.2472
48 | 0.057181 | 0.022938 | -0.05718 | -0.027694 | 8.8745e-07 | -0.004756 | 0.0017891 | 0.001845 | 0.001845 | 0.99409 | -0.056339 | 0.99408 | -0.056231 | 0.83863
49 | 0.1177 | 0.051609 | -0.1177 | -0.055978 | 3.4916e-06 | -0.0043685 | 0.0037321 | 0.0037848 | 0.0037848 | 0.99411 | -0.056482 | 0.99408 | -0.056256 | 1.7204
50 | 0.4048 | 0.19182 | -0.4048 | -0.19185 | 7.2614e-06 | -2.3842e-05 | 0.013011 | 0.013011 | 0.013011 | 0.99389 | -0.054288 | 0.99387 | -0.054415 | 6.1958
51 | -2.1987 | -0.95447 | 2.1988 | 0.95404 | 0.00012601 | -0.00042475 | 0.069515 | 0.06951 | 0.069515 | 0.99536 | -0.065339 | 0.99542 | -0.065719 | 31.5978
52 | -0.321 | -0.15275 | 0.32101 | 0.15127 | 8.9303e-06 | -0.0014796 | 0.010326 | 0.010307 | 0.010326 | 0.99384 | -0.054185 | 0.99387 | -0.054415 | 4.6935
53 | -2.3149 | -0.94829 | 2.3151 | 0.94568 | 0.00020589 | -0.0026124 | 0.072498 | 0.072467 | 0.072498 | 0.99609 | -0.060459 | 0.99619 | -0.059072 | 20.027
54 | 2.2079 | 0.89646 | -2.198 | -0.88801 | 0.0098215 | 0.0084535 | 0.069059 | 0.069089 | 0.069089 | 0.99609 | -0.060459 | 0.99052 | -0.22258 | 19.7397
55 | -4.592 | -1.9376 | 4.5934 | 1.9339 | 0.0013787 | -0.0036603 | 0.14443 | 0.14437 | 0.14443 | 0.99619 | -0.059072 | 0.99652 | -0.054614 | 39.8969
56 | 2.2769 | 0.99189 | -2.2753 | -0.99107 | 0.0016468 | 0.00082024 | 0.071969 | 0.071971 | 0.071971 | 0.99619 | -0.059072 | 0.99542 | -0.065719 | 34.2721
57 | 0.23457 | 0.083117 | -0.23453 | -0.083524 | 3.4337e-05 | -0.00040733 | 0.0072526 | 0.0072568 | 0.0072568 | 0.99052 | -0.22258 | 0.99037 | -0.2246 | 3.4556
58 | 1.9635 | 0.80489 | -1.96 | -0.81958 | 0.0034404 | -0.014693 | 0.061844 | 0.062019 | 0.062019 | 0.99052 | -0.22258 | 0.98886 | -0.21251 | 28.1907
59 | -4.5934 | -1.9339 | 4.5953 | 1.936 | 0.0019544 | 0.0021079 | 0.14437 | 0.14437 | 0.14437 | 0.99652 | -0.054614 | 0.99705 | -0.039655 | 41.2498
60 | -4.7171 | -1.995 | 4.7176 | 1.994 | 0.00041334 | -0.0010272 | 0.14829 | 0.14827 | 0.14829 | 0.99705 | -0.039655 | 0.99715 | -0.038361 | 40.9633
61 | 0.1177 | 0.055978 | -0.1177 | -0.057005 | 8.355e-07 | -0.0010271 | 0.0037848 | 0.0037977 | 0.0037977 | 0.99408 | -0.056256 | 0.99407 | -0.056196 | 1.7262
62 | -0.39628 | -0.19193 | 0.39629 | 0.19188 | 1.45e-05 | -4.8415e-05 | 0.012854 | 0.012854 | 0.012854 | 0.98882 | -0.21275 | 0.98886 | -0.21251 | 6.1211
63 | 1.5637 | 0.62771 | -1.5627 | -0.63459 | 0.00099491 | -0.0068799 | 0.04919 | 0.049269 | 0.049269 | 0.98886 | -0.21251 | 0.98825 | -0.20915 | 22.3949
64 | 1.5627 | 0.63459 | -1.5624 | -0.6372 | 0.00037915 | -0.0026135 | 0.049269 | 0.049299 | 0.049299 | 0.98825 | -0.20915 | 0.98802 | -0.20783 | 22.4085
65 | 1.47 | 0.59246 | -1.47 | -0.59267 | 2.7625e-05 | -0.00021672 | 0.046306 | 0.046309 | 0.046309 | 0.98802 | -0.20783 | 0.98801 | -0.20774 | 21.0494
66 | 0.17871 | 0.056489 | -0.17871 | -0.057486 | 1.7002e-06 | -0.0009972 | 0.0054631 | 0.005472 | 0.005472 | 0.99037 | -0.2246 | 0.99036 | -0.22459 | 2.4873
67 | -0.17868 | -0.071011 | 0.17868 | 0.070772 | 4.2798e-07 | -0.00023886 | 0.0056053 | 0.0056028 | 0.0056053 | 0.99023 | -0.22417 | 0.99023 | -0.22418 | 2.5479
68 | 0.099907 | 0.032857 | -0.099902 | -0.041552 | 4.7902e-06 | -0.0086951 | 0.003066 | 0.0031544 | 0.0031544 | 0.99023 | -0.22417 | 0.99018 | -0.22398 | 1.4338
69 | -0.17868 | -0.070772 | 0.17871 | 0.057486 | 2.3213e-05 | -0.013286 | 0.0056028 | 0.005472 | 0.0056028 | 0.99023 | -0.22418 | 0.99036 | -0.22459 | 2.5467
70 | 0.099902 | 0.041552 | -0.099885 | -0.042667 | 1.7118e-05 | -0.0011147 | 0.0031544 | 0.0031671 | 0.0031671 | 0.99018 | -0.22398 | 0.99 | -0.22569 | 1.5082
71 | 0.099885 | 0.042667 | -0.099881 | -0.048375 | 3.3369e-06 | -0.0057082 | 0.0031671 | 0.0032362 | 0.0032362 | 0.99 | -0.22569 | 0.98997 | -0.22544 | 1.471
72 | 1.3906 | 0.55425 | -1.3872 | -0.55328 | 0.003428 | 0.0009787 | 0.04374 | 0.043752 | 0.043752 | 0.98801 | -0.20774 | 0.98538 | -0.23551 | 20.8344
73 | 1.3872 | 0.55328 | -1.3871 | -0.55402 | 8.4638e-05 | -0.00074251 | 0.043752 | 0.043761 | 0.043761 | 0.98538 | -0.23551 | 0.98532 | -0.23521 | 19.8912
74 | 4.8874 | 2.0409 | -4.8801 | -2.0577 | 0.0073175 | -0.016843 | 0.15289 | 0.15314 | 0.15314 | 1 | 0 | 0.99834 | -0.022416 | 42.3041
75 | 4.8801 | 2.0577 | -4.8792 | -2.0597 | 0.00088015 | -0.0020161 | 0.15314 | 0.15317 | 0.15317 | 0.99834 | -0.022416 | 0.99814 | -0.02509 | 42.3123
76 | -4.7176 | -1.994 | 4.7205 | 1.9868 | 0.0029097 | -0.0072456 | 0.14827 | 0.14817 | 0.14827 | 0.99715 | -0.038361 | 0.99783 | -0.029215 | 40.9591
77 | -4.7205 | -1.9868 | 4.7218 | 1.9835 | 0.0013061 | -0.0032609 | 0.14817 | 0.14812 | 0.14817 | 0.99783 | -0.029215 | 0.99814 | -0.02509 | 40.9301

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.1249 | 2.1504

## res_load
| p_mw | q_mvar
0 | 0.17183 | 0.083221
1 | 0.31115 | 0.1507
2 | 0.23955 | 0.11602
3 | 0.060249 | 0.02918
4 | 0.2102 | 0.1018
5 | 0.33267 | 0.16112
6 | 0.13886 | 0.067253
7 | 0.084531 | 0.04094
8 | 0.072659 | 0.03519
9 | 0.1348 | 0.065286
10 | 0.16007 | 0.077524
11 | 0.16015 | 0.077565
12 | 0.09662 | 0.046795
13 | 0.058486 | 0.028326
14 | 0.10295 | 0.049863
15 | 0.11999 | 0.058115
16 | 0.084527 | 0.040938
17 | 0.10382 | 0.050281
18 | 0.052304 | 0.025332
19 | 0.13048 | 0.063195
20 | 0.1188 | 0.057537
21 | 0.088533 | 0.042878
22 | 0.15327 | 0.074234
23 | 0.05718 | 0.027694
24 | 0.15956 | 0.077278
25 | 0.083785 | 0.040579
26 | 0.13964 | 0.067633
27 | 0.10702 | 0.05183
28 | 0.076456 | 0.037029
29 | 0.12183 | 0.059007
30 | 0.1177 | 0.057005
31 | 0.39628 | 0.19193
32 | 0.092383 | 0.044743
33 | 0.055822 | 0.027036
34 | 0.078777 | 0.038154
35 | 0.099881 | 0.048375
36 | 0.079324 | 0.038418
37 | 0.056449 | 0.027339
38 | 0.1574 | 0.076231

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1