## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_231_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_231_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_231_0_node_4 | 20 | n |  | TRUE
3 | bus_MV_231_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_231_0_node_100 | 20 | n |  | TRUE
5 | bus_MV_231_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_231_0_node_7 | 20 | n |  | TRUE
7 | bus_MV_231_0_node_8 | 20 | n |  | TRUE
8 | bus_MV_231_0_node_94 | 20 | n |  | TRUE
9 | bus_MV_231_0_node_11 | 20 | n |  | TRUE
10 | bus_MV_231_0_node_98 | 20 | n |  | TRUE
11 | bus_MV_231_0_node_99 | 20 | n |  | TRUE
12 | bus_MV_231_0_node_156 | 20 | n |  | TRUE
13 | bus_MV_231_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_231_0_node_97 | 20 | n |  | TRUE
15 | bus_MV_231_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_231_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_231_0_node_155 | 20 | n |  | TRUE
18 | bus_MV_231_0_node_13 | 20 | n |  | TRUE
19 | bus_MV_231_0_node_96 | 20 | n |  | TRUE
20 | bus_MV_231_0_node_187 | 20 | n |  | TRUE
21 | bus_MV_231_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_231_0_node_95 | 20 | n |  | TRUE
23 | bus_MV_231_0_node_15 | 20 | n |  | TRUE
24 | bus_MV_231_0_node_16 | 20 | n |  | TRUE
25 | bus_MV_231_0_node_17 | 20 | n |  | TRUE
26 | bus_MV_231_0_node_18 | 20 | n |  | TRUE
27 | bus_MV_231_0_node_181 | 20 | n |  | TRUE
28 | bus_MV_231_0_node_89 | 20 | n |  | TRUE
29 | bus_MV_231_0_node_73 | 20 | n |  | TRUE
30 | bus_MV_231_0_node_25 | 20 | n |  | TRUE
31 | bus_MV_231_0_node_24 | 20 | n |  | TRUE
32 | bus_MV_231_0_node_182 | 20 | n |  | TRUE
33 | bus_MV_231_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_231_0_node_21 | 20 | n |  | TRUE
35 | bus_MV_231_0_node_22 | 20 | n |  | TRUE
36 | bus_MV_231_0_node_20 | 20 | n |  | TRUE
37 | bus_MV_231_0_node_23 | 20 | n |  | TRUE
38 | bus_MV_231_0_node_19 | 20 | n |  | TRUE
39 | bus_MV_231_0_node_46 | 20 | n |  | TRUE
40 | bus_MV_231_0_node_47 | 20 | n |  | TRUE
41 | bus_MV_231_0_node_48 | 20 | n |  | TRUE
42 | bus_MV_231_0_node_49 | 20 | n |  | TRUE
43 | bus_MV_231_0_node_50 | 20 | n |  | TRUE
44 | bus_MV_231_0_node_55 | 20 | n |  | TRUE
45 | bus_MV_231_0_node_56 | 20 | n |  | TRUE
46 | bus_MV_231_0_node_183 | 20 | n |  | TRUE
47 | bus_MV_231_0_node_188 | 20 | n |  | TRUE
48 | bus_MV_231_0_node_51 | 20 | n |  | TRUE
49 | bus_MV_231_0_node_53 | 20 | n |  | TRUE
50 | bus_MV_231_0_node_52 | 20 | n |  | TRUE
51 | bus_MV_231_0_node_88 | 20 | n |  | TRUE
52 | bus_MV_231_0_node_54 | 20 | n |  | TRUE
53 | bus_MV_231_0_node_172 | 20 | n |  | TRUE
54 | bus_MV_231_0_node_168 | 20 | n |  | TRUE
55 | bus_MV_231_0_node_83 | 20 | n |  | TRUE
56 | bus_MV_231_0_node_90 | 20 | n |  | TRUE
57 | bus_MV_231_0_node_57 | 20 | n |  | TRUE
58 | bus_MV_231_0_node_166 | 20 | n |  | TRUE
59 | bus_MV_231_0_node_93 | 20 | n |  | TRUE
60 | bus_MV_231_0_node_85 | 20 | n |  | TRUE
61 | bus_MV_231_0_node_84 | 20 | n |  | TRUE
62 | bus_MV_231_0_node_167 | 20 | n |  | TRUE
63 | bus_MV_231_0_node_165 | 20 | n |  | TRUE
64 | bus_MV_231_0_node_86 | 20 | n |  | TRUE
65 | bus_MV_231_0_node_58 | 20 | n |  | TRUE
66 | bus_MV_231_0_node_59 | 20 | n |  | TRUE
67 | bus_MV_231_0_node_64 | 20 | n |  | TRUE
68 | bus_MV_231_0_node_61 | 20 | n |  | TRUE
69 | bus_MV_231_0_node_62 | 20 | n |  | TRUE
70 | bus_MV_231_0_node_164 | 20 | n |  | TRUE
71 | bus_MV_231_0_node_65 | 20 | n |  | TRUE
72 | bus_MV_231_0_node_171 | 20 | n |  | TRUE
73 | bus_MV_231_0_node_170 | 20 | n |  | TRUE
74 | bus_MV_231_0_node_63 | 20 | n |  | TRUE
75 | bus_MV_231_0_node_162 | 20 | n |  | TRUE
76 | bus_MV_231_0_node_163 | 20 | n |  | TRUE
77 | bus_MV_231_0_node_161 | 20 | n |  | TRUE
78 | bus_MV_231_0_node_72 | 20 | n |  | TRUE
79 | bus_MV_231_0_node_87 | 20 | n |  | TRUE
80 | bus_MV_231_0_node_66 | 20 | n |  | TRUE
81 | bus_MV_231_0_node_67 | 20 | n |  | TRUE
82 | bus_MV_231_0_node_68 | 20 | n |  | TRUE
83 | bus_MV_231_0_node_71 | 20 | n |  | TRUE
84 | bus_MV_231_0_node_82 | 20 | n |  | TRUE
85 | bus_MV_231_0_node_69 | 20 | n |  | TRUE
86 | bus_MV_231_0_node_78 | 20 | n |  | TRUE
87 | bus_MV_231_0_node_70 | 20 | n |  | TRUE
88 | bus_MV_231_0_node_79 | 20 | n |  | TRUE
89 | bus_MV_231_0_node_77 | 20 | n |  | TRUE
90 | bus_MV_231_0_node_174 | 20 | n |  | TRUE
91 | bus_MV_231_0_node_80 | 20 | n |  | TRUE
92 | bus_MV_231_0_node_173 | 20 | n |  | TRUE
93 | bus_MV_231_0_node_76 | 20 | n |  | TRUE
94 | bus_MV_231_0_node_74 | 20 | n |  | TRUE
95 | bus_MV_231_0_node_81 | 20 | n |  | TRUE
96 | bus_MV_231_0_node_144 | 20 | n |  | TRUE
97 | bus_MV_231_0_node_145 | 20 | n |  | TRUE
98 | bus_MV_231_0_node_91 | 20 | n |  | TRUE
99 | bus_MV_231_0_node_92 | 20 | n |  | TRUE
100 | bus_MV_231_0_node_146 | 20 | n |  | TRUE
101 | bus_MV_231_0_node_147 | 20 | n |  | TRUE
102 | bus_MV_231_0_node_148 | 20 | n |  | TRUE
103 | bus_MV_231_0_node_149 | 20 | n |  | TRUE
104 | bus_MV_231_0_node_157 | 20 | n |  | TRUE
105 | bus_MV_231_0_node_151 | 20 | n |  | TRUE
106 | bus_MV_231_0_node_150 | 20 | n |  | TRUE
107 | bus_MV_231_0_node_160 | 20 | n |  | TRUE
108 | bus_MV_231_0_node_152 | 20 | n |  | TRUE
109 | bus_MV_231_0_node_153 | 20 | n |  | TRUE
110 | bus_MV_231_0_node_159 | 20 | n |  | TRUE
111 | bus_MV_231_0_node_154 | 20 | n |  | TRUE
112 | bus_MV_231_0_node_158 | 20 | n |  | TRUE
113 | bus_MV_231_0_node_185 | 20 | n |  | TRUE
114 | bus_HV_231_0_node_72 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_231_0_load_0 | 0 | 0.19607 | 0.094962 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_231_0_load_100 | 4 | 0.23209 | 0.11241 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_231_0_load_94 | 8 | 0.1318 | 0.063833 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_231_0_load_98 | 10 | 0.13021 | 0.063062 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_231_0_load_99 | 11 | 0.11775 | 0.05703 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_231_0_load_156 | 12 | 0.31353 | 0.15185 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_231_0_load_97 | 14 | 0.089483 | 0.043339 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_231_0_load_10 | 16 | 0.41286 | 0.19996 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_231_0_load_155 | 17 | 0.11392 | 0.055173 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_231_0_load_187 | 20 | 0.27372 | 0.13257 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_231_0_load_14 | 21 | 0.25745 | 0.12469 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_231_0_load_95 | 22 | 0.19447 | 0.094184 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_231_0_load_15 | 23 | 0.32479 | 0.1573 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_231_0_load_89 | 28 | 0.27077 | 0.13114 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_231_0_load_24 | 31 | 0.27072 | 0.13112 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_231_0_load_182 | 32 | 0.14375 | 0.069624 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_231_0_load_26 | 33 | 0.18873 | 0.091404 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_231_0_load_21 | 34 | 0.36251 | 0.17557 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_231_0_load_19 | 38 | 0.20756 | 0.10053 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_231_0_load_46 | 39 | 0.25976 | 0.12581 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_231_0_load_183 | 46 | 0.2274 | 0.11013 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_231_0_load_188 | 47 | 0.34942 | 0.16923 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_231_0_load_88 | 51 | 0.32993 | 0.15979 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_231_0_load_172 | 53 | 0.35201 | 0.17049 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_231_0_load_168 | 54 | 0.095933 | 0.046462 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_231_0_load_83 | 55 | 0.2257 | 0.10931 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_231_0_load_90 | 56 | 0.19237 | 0.09317 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_231_0_load_57 | 57 | 0.26906 | 0.13031 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_231_0_load_165 | 63 | 0.52934 | 0.25637 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_231_0_load_58 | 65 | 0.41077 | 0.19894 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_231_0_load_59 | 66 | 0.26431 | 0.12801 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_231_0_load_64 | 67 | 0.13868 | 0.067164 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_231_0_load_61 | 68 | 0.76644 | 0.37121 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_231_0_load_164 | 70 | 0.22659 | 0.10974 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_231_0_load_170 | 73 | 0.40507 | 0.19618 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_231_0_load_63 | 74 | 0.13376 | 0.064784 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_231_0_load_66 | 80 | 0.2746 | 0.133 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_231_0_load_82 | 84 | 0.23908 | 0.11579 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_231_0_load_78 | 86 | 0.36339 | 0.176 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_231_0_load_79 | 88 | 0.393 | 0.19034 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_231_0_load_174 | 90 | 0.26908 | 0.13032 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_231_0_load_173 | 92 | 0.2145 | 0.10389 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_231_0_load_76 | 93 | 0.19584 | 0.094848 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_231_0_load_74 | 94 | 0.40064 | 0.19404 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_231_0_load_144 | 96 | 0.0787 | 0.038116 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_231_0_load_145 | 97 | 0.12745 | 0.061725 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_231_0_load_91 | 98 | 0.16569 | 0.080247 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_231_0_load_146 | 100 | 0.10455 | 0.050634 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_231_0_load_151 | 105 | 0.21607 | 0.10465 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_231_0_load_150 | 106 | 0.17062 | 0.082634 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_231_0_load_152 | 108 | 0.13429 | 0.065042 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_231_0_load_159 | 110 | 0.090836 | 0.043994 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_231_0_load_158 | 112 | 0.19151 | 0.092752 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_231_0_load_185 | 113 | 0.41542 | 0.2012 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_231_0_line_0 |  | 0 | 1 | 0.016299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_231_0_line_1 |  | 1 | 2 | 0.12768 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_231_0_line_2 |  | 2 | 3 | 0.25821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_231_0_line_3 |  | 2 | 4 | 0.17602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_231_0_line_4 |  | 3 | 6 | 0.18838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_231_0_line_5 |  | 3 | 9 | 0.31124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_231_0_line_6 |  | 3 | 10 | 0.048434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_231_0_line_7 |  | 5 | 6 | 0.10522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_231_0_line_8 |  | 5 | 7 | 0.10742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_231_0_line_9 |  | 5 | 8 | 0.001108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_231_0_line_10 |  | 6 | 11 | 0.029387 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_231_0_line_11 |  | 7 | 12 | 0.06864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_231_0_line_12 |  | 7 | 13 | 0.098886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_231_0_line_13 |  | 9 | 15 | 0.24465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_231_0_line_14 |  | 9 | 16 | 0.055373 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_231_0_line_15 |  | 12 | 17 | 0.043956 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_231_0_line_16 |  | 13 | 14 | 0.046377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_231_0_line_17 |  | 15 | 18 | 0.45716 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_231_0_line_18 |  | 15 | 19 | 0.1303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_231_0_line_19 |  | 15 | 20 | 0.069337 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_231_0_line_20 |  | 17 | 104 | 0.053951 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_231_0_line_21 |  | 18 | 21 | 0.0174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_231_0_line_22 |  | 19 | 22 | 0.1096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_231_0_line_23 |  | 23 | 24 | 0.049872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_231_0_line_24 |  | 23 | 25 | 0.07273 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_231_0_line_25 |  | 24 | 26 | 0.79816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_231_0_line_26 |  | 24 | 27 | 1.4542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_231_0_line_27 |  | 25 | 28 | 2.4135 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_231_0_line_28 |  | 26 | 30 | 0.39255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_231_0_line_29 |  | 26 | 31 | 0.054557 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_231_0_line_30 |  | 27 | 32 | 0.00943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_231_0_line_31 |  | 28 | 29 | 0.10143 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_231_0_line_32 |  | 29 | 83 | 0.36942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_231_0_line_33 |  | 30 | 33 | 0.034982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_231_0_line_34 |  | 31 | 37 | 0.016664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_231_0_line_35 |  | 34 | 35 | 0.07792 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_231_0_line_36 |  | 34 | 36 | 0.40914 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_231_0_line_37 |  | 35 | 37 | 0.084163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_231_0_line_38 |  | 36 | 38 | 0.02121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_231_0_line_39 |  | 39 | 40 | 0.02979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_231_0_line_40 |  | 39 | 41 | 0.047035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_231_0_line_41 |  | 40 | 42 | 0.17995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_231_0_line_42 |  | 40 | 43 | 0.36805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_231_0_line_43 |  | 41 | 44 | 0.11498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_231_0_line_44 |  | 41 | 45 | 0.18544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_231_0_line_45 |  | 42 | 46 | 0.060258 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_231_0_line_46 |  | 43 | 47 | 0.062989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_231_0_line_47 |  | 44 | 56 | 0.034758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_231_0_line_48 |  | 45 | 57 | 0.055661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_231_0_line_49 |  | 45 | 58 | 0.13431 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_231_0_line_50 |  | 47 | 59 | 0.023092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_231_0_line_51 |  | 48 | 49 | 0.61166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_231_0_line_52 |  | 48 | 50 | 0.3018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_231_0_line_53 |  | 48 | 51 | 0.060033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_231_0_line_54 |  | 49 | 54 | 0.14314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_231_0_line_55 |  | 50 | 52 | 0.2291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_231_0_line_56 |  | 50 | 53 | 0.019671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_231_0_line_57 |  | 52 | 55 | 0.012408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_231_0_line_58 |  | 55 | 60 | 0.044864 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_231_0_line_59 |  | 55 | 61 | 0.053749 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
60 | MV_231_0_line_60 |  | 58 | 62 | 0.11429 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_231_0_line_61 |  | 58 | 63 | 0.098109 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
62 | MV_231_0_line_62 |  | 59 | 99 | 0.19262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_231_0_line_63 |  | 60 | 79 | 0.17065 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
64 | MV_231_0_line_64 |  | 61 | 64 | 0.10975 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_231_0_line_65 |  | 62 | 113 | 0.051554 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
66 | MV_231_0_line_66 |  | 63 | 64 | 0.072716 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_231_0_line_67 |  | 65 | 66 | 0.07318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_231_0_line_68 |  | 66 | 67 | 0.0677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_231_0_line_69 |  | 67 | 70 | 0.044303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_231_0_line_70 |  | 67 | 68 | 0.09676 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_231_0_line_71 |  | 68 | 69 | 0.043816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_231_0_line_72 |  | 69 | 74 | 0.017656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_231_0_line_73 |  | 71 | 72 | 0.29974 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
74 | MV_231_0_line_74 |  | 71 | 73 | 0.063466 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
75 | MV_231_0_line_75 |  | 72 | 78 | 0.018462 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
76 | MV_231_0_line_76 |  | 73 | 79 | 0.014787 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
77 | MV_231_0_line_77 |  | 74 | 75 | 0.032946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_231_0_line_78 |  | 75 | 76 | 0.27065 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
79 | MV_231_0_line_79 |  | 75 | 77 | 0.36919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_231_0_line_80 |  | 76 | 113 | 0.072747 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
81 | MV_231_0_line_81 |  | 77 | 110 | 0.031729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_231_0_line_82 |  | 78 | 90 | 0.024373 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_231_0_line_83 |  | 78 | 82 | 0.44118 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_231_0_line_84 |  | 78 | 85 | 0.23952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_231_0_line_85 |  | 80 | 81 | 0.020089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_231_0_line_86 |  | 81 | 82 | 0.088932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_231_0_line_87 |  | 82 | 83 | 0.44953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_231_0_line_88 |  | 82 | 84 | 0.062864 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_231_0_line_89 |  | 83 | 89 | 0.21746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_231_0_line_90 |  | 83 | 87 | 0.45849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_231_0_line_91 |  | 85 | 86 | 0.011352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_231_0_line_92 |  | 87 | 88 | 0.02789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_231_0_line_93 |  | 88 | 91 | 0.003722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_231_0_line_94 |  | 89 | 92 | 0.10878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_231_0_line_95 |  | 89 | 93 | 0.080525 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_231_0_line_96 |  | 91 | 95 | 0.019252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_231_0_line_97 |  | 92 | 94 | 0.22665 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_231_0_line_98 |  | 95 | 96 | 0.090503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_231_0_line_99 |  | 96 | 97 | 0.13141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_231_0_line_100 |  | 98 | 99 | 0.037609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_231_0_line_101 |  | 100 | 101 | 0.044419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_231_0_line_102 |  | 101 | 102 | 0.011764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_231_0_line_103 |  | 101 | 103 | 0.07681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_231_0_line_104 |  | 102 | 105 | 0.028058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_231_0_line_105 |  | 103 | 106 | 0.04992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_231_0_line_106 |  | 104 | 111 | 0.092465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_231_0_line_107 |  | 105 | 107 | 0.029848 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_231_0_line_108 |  | 106 | 108 | 0.017676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_231_0_line_109 |  | 107 | 110 | 0.018955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_231_0_line_110 |  | 108 | 109 | 0.050568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_231_0_line_111 |  | 109 | 111 | 0.071092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_231_0_line_112 |  | 111 | 112 | 0.065602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_231_0_trafo_72 | 25 MVA 110/20 kV | 114 | 78 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2680132.6543 | 1226717.0562
1 | 2680118.3123 | 1226709.2356
2 | 2680085.538 | 1226820.0362
3 | 2679991.3286 | 1226666.7877
4 | 2679976.3367 | 1226894.4332
5 | 2679809.4183 | 1226683.0898
6 | 2679852.4027 | 1226715.3771
7 | 2679754.3227 | 1226684.0074
8 | 2679808.4374 | 1226682.5747
9 | 2679940.8167 | 1226449.0395
10 | 2679949.6755 | 1226642.1575
11 | 2679878.5803 | 1226728.7318
12 | 2679698.4775 | 1226721.0621
13 | 2679728.3683 | 1226621.295
14 | 2679686.9956 | 1226600.3391
15 | 2679714.5453 | 1226356.9646
16 | 2679917.2962 | 1226499.1686
17 | 2679677.701 | 1226682.3257
18 | 2679804.2701 | 1226191.1439
19 | 2679644.7934 | 1226432.6374
20 | 2679655.465 | 1226320.6713
21 | 2679812.5777 | 1226206.4434
22 | 2679744.6056 | 1226477.9094
23 | 2677843.613 | 1230371.8799
24 | 2677820.9647 | 1230416.3249
25 | 2677778.4361 | 1230341.2175
26 | 2677419.5379 | 1230686.1363
27 | 2678973.4309 | 1231303.1221
28 | 2678796.3879 | 1228152.8952
29 | 2678848.8272 | 1228066.0755
30 | 2677248.6097 | 1230888.0955
31 | 2677456.2571 | 1230726.4862
32 | 2678973.2299 | 1231312.5481
33 | 2677223.0796 | 1230891.911
34 | 2677499.1161 | 1230875.0901
35 | 2677445.9276 | 1230818.1474
36 | 2677500.0902 | 1231284.226
37 | 2677447.0396 | 1230740.3645
38 | 2677492.2741 | 1231303.9487
39 | 2679783.5936 | 1227398.3277
40 | 2679801.1667 | 1227422.2462
41 | 2679811.8608 | 1227360.6812
42 | 2679951.8056 | 1227500.1211
43 | 2679676.7035 | 1227666.1104
44 | 2679881.1104 | 1227273.2512
45 | 2679691.9245 | 1227316.3883
46 | 2680012.0515 | 1227498.8967
47 | 2679736.8857 | 1227679.1142
48 | 2679572.9798 | 1227820.8718
49 | 2679784.8728 | 1227986.4439
50 | 2679534.5898 | 1227594.6051
51 | 2679559.5787 | 1227879.3878
52 | 2679410.3023 | 1227474.5528
53 | 2679536.3752 | 1227575.0157
54 | 2679644.8036 | 1228013.184
55 | 2679414.9955 | 1227463.0632
56 | 2679909.4353 | 1227293.4452
57 | 2679656.8592 | 1227359.6071
58 | 2679618.4191 | 1227203.9727
59 | 2679759.7546 | 1227682.7677
60 | 2679372.4214 | 1227448.5409
61 | 2679435.8625 | 1227413.5304
62 | 2679535.1851 | 1227125.6622
63 | 2679550.0728 | 1227274.0873
64 | 2679495.9437 | 1227322.6267
65 | 2679041.1515 | 1227128.8154
66 | 2679114.2712 | 1227131.6233
67 | 2679181.3325 | 1227131.0345
68 | 2679193.5519 | 1227035.0496
69 | 2679235.1813 | 1227021.4008
70 | 2679225.5836 | 1227133.1878
71 | 2679218.1605 | 1227367.6972
72 | 2679245.9681 | 1227580.3892
73 | 2679279.8553 | 1227352.8088
74 | 2679252.024 | 1227016.1048
75 | 2679283.4527 | 1227006.2224
76 | 2679443.6921 | 1227137.7705
77 | 2679356.5793 | 1226724.5067
78 | 2679247.8985 | 1227598.7496
79 | 2679294.3145 | 1227349.5214
80 | 2679306.2123 | 1227951.9658
81 | 2679291.8448 | 1227938.2539
82 | 2679308.5668 | 1227866.9173
83 | 2679103.6429 | 1227976.0189
84 | 2679371.3488 | 1227870.1344
85 | 2679206.2613 | 1227749.4973
86 | 2679215.3973 | 1227755.4674
87 | 2678937.7093 | 1227786.4981
88 | 2678910.2121 | 1227781.5411
89 | 2679189.9577 | 1228079.6929
90 | 2679270.6307 | 1227589.9575
91 | 2678906.5213 | 1227780.9807
92 | 2679155.2341 | 1228182.7785
93 | 2679110.2602 | 1228068.1805
94 | 2679306.9579 | 1228351.1577
95 | 2678887.6829 | 1227776.8503
96 | 2678850.6272 | 1227857.7926
97 | 2678744.9863 | 1227888.0041
98 | 2679857.3087 | 1227740.771
99 | 2679892.6067 | 1227735.9193
100 | 2679372.085 | 1226786.8061
101 | 2679416.4863 | 1226785.5582
102 | 2679416.143 | 1226773.8012
103 | 2679460.8683 | 1226817.1497
104 | 2679639.0059 | 1226719.9207
105 | 2679388.0929 | 1226774.4612
106 | 2679459.3824 | 1226767.2517
107 | 2679358.2531 | 1226775.1633
108 | 2679477.0391 | 1226766.4314
109 | 2679475.6756 | 1226715.8902
110 | 2679357.6271 | 1226756.2188
111 | 2679546.7375 | 1226714.1495
112 | 2679558.8446 | 1226649.6746
113 | 2679498.1927 | 1227089.7548
114 | 2679247.8985 | 1227598.7496

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9906 | -0.041549 | 0.19607 | 0.094962
1 | 0.99061 | -0.041588 | 0 | 0
2 | 0.99064 | -0.041877 | 0 | 0
3 | 0.99078 | -0.043048 | 0 | 0
4 | 0.99059 | -0.041403 | 0.23209 | 0.11241
5 | 0.99143 | -0.048348 | 0 | 0
6 | 0.99119 | -0.046371 | 0 | 0
7 | 0.9917 | -0.05052 | 0 | 0
8 | 0.99143 | -0.048346 | 0.1318 | 0.063833
9 | 0.99033 | -0.039258 | 0 | 0
10 | 0.99077 | -0.042973 | 0.13021 | 0.063062
11 | 0.99118 | -0.046329 | 0.11775 | 0.05703
12 | 0.99188 | -0.051958 | 0.31353 | 0.15185
13 | 0.99169 | -0.050427 | 0 | 0
14 | 0.99168 | -0.050378 | 0.089483 | 0.043339
15 | 0.9901 | -0.037405 | 0 | 0
16 | 0.99028 | -0.03954 | 0.41286 | 0.19996
17 | 0.99207 | -0.050459 | 0.11392 | 0.055173
18 | 0.98995 | -0.036139 | 0 | 0
19 | 0.99007 | -0.03713 | 0 | 0
20 | 0.99006 | -0.037639 | 0.27372 | 0.13257
21 | 0.98994 | -0.036085 | 0.25745 | 0.12469
22 | 0.99004 | -0.036879 | 0.19447 | 0.094184
23 | 0.98777 | -0.014787 | 0.32479 | 0.1573
24 | 0.9877 | -0.014181 | 0 | 0
25 | 0.98791 | -0.015952 | 0 | 0
26 | 0.98665 | -0.0052746 | 0 | 0
27 | 0.98729 | -0.016907 | 0 | 0
28 | 0.99492 | 0.036574 | 0.27077 | 0.13114
29 | 0.99527 | 0.039113 | 0 | 0
30 | 0.98655 | -0.0045022 | 0 | 0
31 | 0.98656 | -0.0058605 | 0.27072 | 0.13112
32 | 0.98729 | -0.01689 | 0.14375 | 0.069624
33 | 0.98654 | -0.004422 | 0.18873 | 0.091404
34 | 0.9864 | -0.005727 | 0.36251 | 0.17557
35 | 0.98648 | -0.0051685 | 0 | 0
36 | 0.98623 | -0.006808 | 0 | 0
37 | 0.98654 | -0.0057472 | 0 | 0
38 | 0.98622 | -0.0067542 | 0.20756 | 0.10053
39 | 0.99626 | -0.054599 | 0.25976 | 0.12581
40 | 0.99623 | -0.054373 | 0 | 0
41 | 0.99632 | -0.055102 | 0 | 0
42 | 0.99618 | -0.053905 | 0 | 0
43 | 0.99599 | -0.052367 | 0 | 0
44 | 0.99629 | -0.054851 | 0 | 0
45 | 0.9966 | -0.057436 | 0 | 0
46 | 0.99615 | -0.054072 | 0.2274 | 0.11013
47 | 0.99595 | -0.052003 | 0.34942 | 0.16923
48 | 0.99755 | -0.032801 | 0 | 0
49 | 0.99748 | -0.032513 | 0 | 0
50 | 0.99771 | -0.033902 | 0 | 0
51 | 0.99753 | -0.032565 | 0.32993 | 0.15979
52 | 0.99794 | -0.035614 | 0 | 0
53 | 0.9977 | -0.033986 | 0.35201 | 0.17049
54 | 0.99746 | -0.032364 | 0.095933 | 0.046462
55 | 0.99795 | -0.035705 | 0.2257 | 0.10931
56 | 0.99628 | -0.054771 | 0.19237 | 0.09317
57 | 0.99658 | -0.057258 | 0.26906 | 0.13031
58 | 0.99698 | -0.054678 | 0 | 0
59 | 0.99595 | -0.051965 | 0 | 0
60 | 0.99808 | -0.03512 | 0 | 0
61 | 0.99767 | -0.051572 | 0 | 0
62 | 0.99677 | -0.055628 | 0 | 0
63 | 0.99721 | -0.053639 | 0.52934 | 0.25637
64 | 0.99739 | -0.052819 | 0 | 0
65 | 0.99514 | -0.074512 | 0.41077 | 0.19894
66 | 0.99518 | -0.074871 | 0.26431 | 0.12801
67 | 0.99524 | -0.075412 | 0.13868 | 0.067164
68 | 0.99544 | -0.074147 | 0.76644 | 0.37121
69 | 0.99554 | -0.075089 | 0 | 0
70 | 0.99523 | -0.075292 | 0.22659 | 0.10974
71 | 0.99899 | -0.010553 | 0 | 0
72 | 0.99989 | -0.0064341 | 0 | 0
73 | 0.99861 | -0.032684 | 0.40507 | 0.19618
74 | 0.99558 | -0.075467 | 0.13376 | 0.064784
75 | 0.99566 | -0.076225 | 0 | 0
76 | 0.99644 | -0.067495 | 0 | 0
77 | 0.99407 | -0.063028 | 0 | 0
78 | 1 | 0 | -13.5429 | -6.2439
79 | 0.99856 | -0.032879 | 0 | 0
80 | 0.99789 | 0.017448 | 0.2746 | 0.133
81 | 0.99789 | 0.017382 | 0 | 0
82 | 0.99792 | 0.017097 | 0 | 0
83 | 0.9961 | 0.032189 | 0 | 0
84 | 0.9979 | 0.016915 | 0.23908 | 0.11579
85 | 0.99989 | 0.00099364 | 0 | 0
86 | 0.99988 | 0.0010429 | 0.36339 | 0.176
87 | 0.99575 | 0.035153 | 0 | 0
88 | 0.99573 | 0.035343 | 0.393 | 0.19034
89 | 0.99588 | 0.034274 | 0 | 0
90 | 0.99999 | -7.9281e-05 | 0.26908 | 0.13032
91 | 0.99573 | 0.035351 | 0 | 0
92 | 0.99575 | 0.033456 | 0.2145 | 0.10389
93 | 0.99585 | 0.034082 | 0.19584 | 0.094848
94 | 0.99557 | 0.032346 | 0.40064 | 0.19404
95 | 0.99573 | 0.035392 | 0 | 0
96 | 0.9957 | 0.035593 | 0.0787 | 0.038116
97 | 0.99568 | 0.035782 | 0.12745 | 0.061725
98 | 0.9959 | -0.051545 | 0.16569 | 0.080247
99 | 0.99591 | -0.051619 | 0 | 0
100 | 0.99357 | -0.058819 | 0.10455 | 0.050634
101 | 0.99358 | -0.058874 | 0 | 0
102 | 0.99362 | -0.059257 | 0 | 0
103 | 0.99329 | -0.056458 | 0 | 0
104 | 0.99233 | -0.048544 | 0 | 0
105 | 0.99373 | -0.06017 | 0.21607 | 0.10465
106 | 0.9931 | -0.054882 | 0.17062 | 0.082634
107 | 0.99386 | -0.061218 | 0 | 0
108 | 0.99303 | -0.05436 | 0.13429 | 0.065042
109 | 0.99286 | -0.052945 | 0 | 0
110 | 0.99394 | -0.061882 | 0.090836 | 0.043994
111 | 0.99262 | -0.050948 | 0 | 0
112 | 0.99261 | -0.050799 | 0.19151 | 0.092752
113 | 0.99657 | -0.066931 | 0.41542 | 0.2012
114 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.19607 | -0.094962 | 0.19607 | 0.094581 | 8.7636e-07 | -0.00038162 | 0.0063487 | 0.0063439 | 0.0063487 | 0.9906 | -0.041549 | 0.99061 | -0.041588 | 2.8858
1 | -0.19607 | -0.094581 | 0.19608 | 0.091591 | 6.819e-06 | -0.0029895 | 0.0063439 | 0.0063065 | 0.0063439 | 0.99061 | -0.041588 | 0.99064 | -0.041877 | 2.8836
2 | -0.42819 | -0.19988 | 0.42825 | 0.19385 | 6.5012e-05 | -0.0060318 | 0.01377 | 0.013696 | 0.01377 | 0.99064 | -0.041877 | 0.99078 | -0.043048 | 6.2591
3 | 0.23211 | 0.10829 | -0.23209 | -0.11241 | 1.318e-05 | -0.0041202 | 0.0074636 | 0.0075152 | 0.0075152 | 0.99064 | -0.041877 | 0.99059 | -0.041403 | 3.416
4 | -1.6978 | -0.77754 | 1.6985 | 0.77334 | 0.00074372 | -0.0041965 | 0.054408 | 0.054354 | 0.054408 | 0.99078 | -0.043048 | 0.99119 | -0.046371 | 24.7307
5 | 1.1393 | 0.52177 | -1.1388 | -0.52889 | 0.00055523 | -0.0071268 | 0.036511 | 0.0366 | 0.0366 | 0.99078 | -0.043048 | 0.99033 | -0.039258 | 16.6362
6 | 0.13021 | 0.061927 | -0.13021 | -0.063062 | 1.145e-06 | -0.0011348 | 0.004201 | 0.0042153 | 0.0042153 | 0.99078 | -0.043048 | 0.99077 | -0.042973 | 1.916
7 | 1.8167 | 0.82736 | -1.8163 | -0.82969 | 0.00047483 | -0.0023279 | 0.058125 | 0.058155 | 0.058155 | 0.99143 | -0.048348 | 0.99119 | -0.046371 | 26.4342
8 | -1.9485 | -0.89116 | 1.9491 | 0.88881 | 0.0005579 | -0.0023562 | 0.062388 | 0.062357 | 0.062388 | 0.99143 | -0.048348 | 0.9917 | -0.05052 | 28.3582
9 | 0.1318 | 0.063807 | -0.1318 | -0.063833 | 2.6879e-08 | -2.5995e-05 | 0.0042636 | 0.004264 | 0.004264 | 0.99143 | -0.048348 | 0.99143 | -0.048346 | 1.9382
10 | 0.11775 | 0.056341 | -0.11775 | -0.05703 | 5.6835e-07 | -0.00068917 | 0.0038018 | 0.0038105 | 0.0038105 | 0.99119 | -0.046371 | 0.99118 | -0.046329 | 1.7321
11 | -2.0386 | -0.92874 | 2.039 | 0.92724 | 0.00038954 | -0.0014965 | 0.06521 | 0.06519 | 0.06521 | 0.9917 | -0.05052 | 0.99188 | -0.051958 | 29.6408
12 | 0.089485 | 0.039928 | -0.089484 | -0.04225 | 1.0846e-06 | -0.0023216 | 0.0028524 | 0.0028806 | 0.0028806 | 0.9917 | -0.05052 | 0.99169 | -0.050427 | 1.3094
13 | 0.72588 | 0.32899 | -0.7257 | -0.33466 | 0.00017679 | -0.0056751 | 0.023231 | 0.0233 | 0.0233 | 0.99033 | -0.039258 | 0.9901 | -0.037405 | 10.591
14 | 0.41288 | 0.1999 | -0.41286 | -0.19996 | 1.7641e-05 | -5.3779e-05 | 0.013372 | 0.013373 | 0.013373 | 0.99033 | -0.039258 | 0.99028 | -0.03954 | 6.3679
15 | -2.3525 | -1.0791 | 2.3529 | 1.0793 | 0.00044437 | 0.0002267 | 0.075326 | 0.075326 | 0.075326 | 0.99188 | -0.051958 | 0.99207 | -0.050459 | 35.8697
16 | 0.089484 | 0.04225 | -0.089483 | -0.043339 | 5.1617e-07 | -0.0010888 | 0.0028806 | 0.0028943 | 0.0028943 | 0.99169 | -0.050427 | 0.99168 | -0.050378 | 1.3156
17 | 0.2575 | 0.1136 | -0.25746 | -0.12428 | 4.174e-05 | -0.010686 | 0.0082058 | 0.0083366 | 0.0083366 | 0.9901 | -0.037405 | 0.98995 | -0.036139 | 3.7893
18 | 0.19448 | 0.088573 | -0.19447 | -0.09162 | 6.793e-06 | -0.0030476 | 0.0062306 | 0.006268 | 0.006268 | 0.9901 | -0.037405 | 0.99007 | -0.03713 | 2.8491
19 | 0.27373 | 0.13249 | -0.27372 | -0.13257 | 9.7132e-06 | -7.5058e-05 | 0.0088665 | 0.0088676 | 0.0088676 | 0.9901 | -0.037405 | 0.99006 | -0.037639 | 4.2226
20 | -2.4669 | -1.1345 | 2.4675 | 1.1348 | 0.00060003 | 0.00031243 | 0.079008 | 0.079007 | 0.079008 | 0.99207 | -0.050459 | 0.99233 | -0.048544 | 37.6229
21 | 0.25746 | 0.12428 | -0.25745 | -0.12469 | 1.6154e-06 | -0.00040665 | 0.0083366 | 0.0083417 | 0.0083417 | 0.98995 | -0.036139 | 0.98994 | -0.036085 | 3.7917
22 | 0.19447 | 0.09162 | -0.19447 | -0.094184 | 5.7778e-06 | -0.0025633 | 0.006268 | 0.0063002 | 0.0063002 | 0.99007 | -0.03713 | 0.99004 | -0.036879 | 2.8637
23 | 1.1748 | 0.53372 | -1.1747 | -0.53485 | 9.4717e-05 | -0.0011336 | 0.037711 | 0.037725 | 0.037725 | 0.98777 | -0.014787 | 0.9877 | -0.014181 | 17.1476
24 | -1.4996 | -0.69102 | 1.4998 | 0.6894 | 0.00022599 | -0.0016275 | 0.048255 | 0.048234 | 0.048255 | 0.98777 | -0.014787 | 0.98791 | -0.015952 | 21.934
25 | 1.0309 | 0.46711 | -1.0297 | -0.48533 | 0.0011739 | -0.018223 | 0.033079 | 0.033307 | 0.033307 | 0.9877 | -0.014181 | 0.98665 | -0.0052746 | 15.1395
26 | 0.14381 | 0.067746 | -0.14375 | -0.069404 | 5.6185e-05 | -0.0016577 | 0.0046462 | 0.0046675 | 0.0046675 | 0.9877 | -0.014181 | 0.98729 | -0.016907 | 2.2226
27 | -1.4998 | -0.6894 | 1.5098 | 0.69283 | 0.0099972 | 0.0034299 | 0.048234 | 0.0482 | 0.048234 | 0.98791 | -0.015952 | 0.99492 | 0.036574 | 22.9686
28 | 0.18875 | 0.081474 | -0.18873 | -0.090591 | 1.9303e-05 | -0.0091174 | 0.0060149 | 0.0061256 | 0.0061256 | 0.98665 | -0.0052746 | 0.98655 | -0.0045022 | 2.7844
29 | 0.84099 | 0.40386 | -0.84092 | -0.40388 | 7.2425e-05 | -1.8031e-05 | 0.027296 | 0.027297 | 0.027297 | 0.98665 | -0.0052746 | 0.98656 | -0.0058605 | 12.9984
30 | 0.14375 | 0.069404 | -0.14375 | -0.069624 | 2.7442e-07 | -0.00021938 | 0.0046675 | 0.0046703 | 0.0046703 | 0.98729 | -0.016907 | 0.98729 | -0.01689 | 2.1229
31 | -1.7806 | -0.82397 | 1.7812 | 0.82421 | 0.00058563 | 0.00024692 | 0.056927 | 0.056926 | 0.056927 | 0.99492 | 0.036574 | 0.99527 | 0.039113 | 27.1083
32 | -1.7812 | -0.82421 | 1.7828 | 0.81594 | 0.0015952 | -0.0082712 | 0.056926 | 0.05682 | 0.056926 | 0.99527 | 0.039113 | 0.9961 | 0.032189 | 25.8754
33 | 0.18873 | 0.090591 | -0.18873 | -0.091404 | 1.7553e-06 | -0.00081239 | 0.0061256 | 0.0061359 | 0.0061359 | 0.98655 | -0.0045022 | 0.98654 | -0.004422 | 2.7891
34 | 0.5702 | 0.27276 | -0.57019 | -0.27314 | 7.6119e-06 | -0.00038498 | 0.018495 | 0.0185 | 0.0185 | 0.98656 | -0.0058605 | 0.98654 | -0.0057472 | 8.4091
35 | -0.5701 | -0.27515 | 0.57015 | 0.27509 | 4.7645e-05 | -6.0672e-05 | 0.018526 | 0.018525 | 0.018526 | 0.9864 | -0.005727 | 0.98648 | -0.0051685 | 8.8219
36 | 0.2076 | 0.09958 | -0.20756 | -0.10003 | 3.3127e-05 | -0.0004544 | 0.0067383 | 0.0067443 | 0.0067443 | 0.9864 | -0.005727 | 0.98623 | -0.006808 | 3.2116
37 | -0.57015 | -0.27509 | 0.57019 | 0.27314 | 3.8506e-05 | -0.0019442 | 0.018525 | 0.0185 | 0.018525 | 0.98648 | -0.0051685 | 0.98654 | -0.0057472 | 8.4204
38 | 0.20756 | 0.10003 | -0.20756 | -0.10053 | 1.2891e-06 | -0.00049218 | 0.0067443 | 0.0067506 | 0.0067506 | 0.98623 | -0.006808 | 0.98622 | -0.0067542 | 3.0684
39 | 0.74271 | 0.33842 | -0.74269 | -0.33912 | 2.2251e-05 | -0.00069934 | 0.02365 | 0.023658 | 0.023658 | 0.99626 | -0.054599 | 0.99623 | -0.054373 | 10.7537
40 | -1.0025 | -0.46423 | 1.0025 | 0.46314 | 6.4316e-05 | -0.0010956 | 0.032011 | 0.031997 | 0.032011 | 0.99626 | -0.054599 | 0.99632 | -0.055102 | 14.5505
41 | 0.22742 | 0.10581 | -0.2274 | -0.11007 | 1.2782e-05 | -0.0042603 | 0.007268 | 0.007321 | 0.007321 | 0.99623 | -0.054373 | 0.99618 | -0.053905 | 3.3277
42 | 0.51527 | 0.23332 | -0.51514 | -0.242 | 0.00013284 | -0.0086801 | 0.01639 | 0.016496 | 0.016496 | 0.99623 | -0.054373 | 0.99599 | -0.052367 | 7.4982
43 | 0.19238 | 0.089624 | -0.19237 | -0.092347 | 5.836e-06 | -0.0027233 | 0.0061492 | 0.006183 | 0.006183 | 0.99632 | -0.055102 | 0.99629 | -0.054851 | 2.8105
44 | -1.1949 | -0.55276 | 1.1953 | 0.54847 | 0.00035974 | -0.0042896 | 0.038147 | 0.038093 | 0.038147 | 0.99632 | -0.055102 | 0.9966 | -0.057436 | 17.3394
45 | 0.2274 | 0.11007 | -0.2274 | -0.11013 | 5.755e-06 | -6.7782e-05 | 0.007321 | 0.0073219 | 0.0073219 | 0.99618 | -0.053905 | 0.99615 | -0.054072 | 3.4866
46 | 0.51514 | 0.242 | -0.51512 | -0.24348 | 2.2908e-05 | -0.001485 | 0.016496 | 0.016515 | 0.016515 | 0.99599 | -0.052367 | 0.99595 | -0.052003 | 7.5066
47 | 0.19237 | 0.092347 | -0.19237 | -0.09317 | 1.7769e-06 | -0.00082321 | 0.006183 | 0.0061934 | 0.0061934 | 0.99629 | -0.054851 | 0.99628 | -0.054771 | 2.8152
48 | 0.26907 | 0.12899 | -0.26906 | -0.13031 | 5.5616e-06 | -0.0013183 | 0.0086431 | 0.0086597 | 0.0086597 | 0.9966 | -0.057436 | 0.99658 | -0.057258 | 3.9362
49 | -1.4643 | -0.67747 | 1.4649 | 0.67763 | 0.00052268 | 0.00016807 | 0.046736 | 0.046734 | 0.046736 | 0.9966 | -0.057436 | 0.99698 | -0.054678 | 22.255
50 | 0.1657 | 0.074251 | -0.1657 | -0.074797 | 8.5493e-07 | -0.00054664 | 0.0052629 | 0.0052694 | 0.0052694 | 0.99595 | -0.052003 | 0.99595 | -0.051965 | 2.3952
51 | 0.095942 | 0.028533 | -0.095935 | -0.043062 | 7.1707e-06 | -0.014529 | 0.0028966 | 0.0030433 | 0.0030433 | 0.99755 | -0.032801 | 0.99748 | -0.032513 | 1.3833
52 | -0.42588 | -0.1869 | 0.42595 | 0.17975 | 7.2533e-05 | -0.0071501 | 0.013459 | 0.013377 | 0.013459 | 0.99755 | -0.032801 | 0.99771 | -0.033902 | 6.1177
53 | 0.32994 | 0.15837 | -0.32993 | -0.15979 | 9.0045e-06 | -0.0014236 | 0.010591 | 0.010609 | 0.010609 | 0.99755 | -0.032801 | 0.99753 | -0.032565 | 4.8221
54 | 0.095935 | 0.043062 | -0.095933 | -0.046462 | 1.7938e-06 | -0.0033999 | 0.0030433 | 0.0030849 | 0.0030849 | 0.99748 | -0.032513 | 0.99746 | -0.032364 | 1.4022
55 | -0.77797 | -0.35022 | 0.77815 | 0.34483 | 0.00018588 | -0.0053911 | 0.024685 | 0.024621 | 0.024685 | 0.99771 | -0.033902 | 0.99794 | -0.035614 | 11.2205
56 | 0.35201 | 0.17047 | -0.35201 | -0.17049 | 4.4883e-06 | -2.0564e-05 | 0.011316 | 0.011317 | 0.011317 | 0.99771 | -0.033902 | 0.9977 | -0.033986 | 5.3889
57 | -0.77815 | -0.34483 | 0.77816 | 0.34453 | 1.004e-05 | -0.00029206 | 0.024621 | 0.024617 | 0.024621 | 0.99794 | -0.035614 | 0.99795 | -0.035705 | 11.1913
58 | -8.7537 | -4.0506 | 8.7548 | 4.0484 | 0.0010791 | -0.0022001 | 0.27901 | 0.27898 | 0.27901 | 0.99795 | -0.035705 | 0.99808 | -0.03512 | 43.7323
59 | 7.7499 | 3.5967 | -7.7487 | -3.5936 | 0.001172 | 0.0030777 | 0.24715 | 0.24715 | 0.24715 | 0.99795 | -0.035705 | 0.99767 | -0.051572 | 38.3172
60 | 5.7494 | 2.6743 | -5.7482 | -2.6808 | 0.001191 | -0.0064654 | 0.1836 | 0.18369 | 0.18369 | 0.99698 | -0.054678 | 0.99677 | -0.055628 | 28.7915
61 | -7.2143 | -3.352 | 7.2159 | 3.3467 | 0.0016079 | -0.0052232 | 0.23034 | 0.23026 | 0.23034 | 0.99698 | -0.054678 | 0.99721 | -0.053639 | 36.1028
62 | 0.1657 | 0.074797 | -0.16569 | -0.079357 | 7.2149e-06 | -0.0045594 | 0.0052694 | 0.0053252 | 0.0053252 | 0.99595 | -0.051965 | 0.99591 | -0.051619 | 2.4205
63 | -8.7548 | -4.0484 | 8.7589 | 4.04 | 0.0041021 | -0.0083765 | 0.27898 | 0.27885 | 0.27898 | 0.99808 | -0.03512 | 0.99856 | -0.032879 | 43.727
64 | 7.7487 | 3.5936 | -7.7466 | -3.5993 | 0.0020722 | -0.0056952 | 0.24715 | 0.24723 | 0.24723 | 0.99767 | -0.051572 | 0.99739 | -0.052819 | 38.7508
65 | 5.7482 | 2.6808 | -5.7476 | -2.6792 | 0.00062101 | 0.0015992 | 0.18369 | 0.18369 | 0.18369 | 0.99677 | -0.055628 | 0.99657 | -0.066931 | 28.4792
66 | -7.7453 | -3.6031 | 7.7466 | 3.5993 | 0.0013737 | -0.0037707 | 0.24729 | 0.24723 | 0.24729 | 0.99721 | -0.053639 | 0.99739 | -0.052819 | 38.7594
67 | -0.41077 | -0.19894 | 0.41078 | 0.19722 | 1.7097e-05 | -0.0017253 | 0.01324 | 0.013218 | 0.01324 | 0.99514 | -0.074512 | 0.99518 | -0.074871 | 6.018
68 | -0.6751 | -0.32523 | 0.67514 | 0.32364 | 4.2663e-05 | -0.0015883 | 0.021737 | 0.021717 | 0.021737 | 0.99518 | -0.074871 | 0.99524 | -0.075412 | 9.8803
69 | 0.22659 | 0.1087 | -0.22659 | -0.10974 | 3.1485e-06 | -0.0010468 | 0.0072895 | 0.0073027 | 0.0073027 | 0.99524 | -0.075412 | 0.99523 | -0.075292 | 3.3194
70 | -1.0404 | -0.4995 | 1.0406 | 0.49951 | 0.00019318 | 6.5633e-06 | 0.033475 | 0.033474 | 0.033475 | 0.99524 | -0.075412 | 0.99544 | -0.074147 | 15.9406
71 | -1.807 | -0.87071 | 1.8072 | 0.86974 | 0.00019789 | -0.00097803 | 0.05817 | 0.058157 | 0.05817 | 0.99544 | -0.074147 | 0.99554 | -0.075089 | 26.441
72 | -1.8072 | -0.86974 | 1.8073 | 0.86934 | 7.9714e-05 | -0.00039417 | 0.058157 | 0.058152 | 0.058157 | 0.99554 | -0.075089 | 0.99558 | -0.075467 | 26.4351
73 | -9.1663 | -4.2405 | 9.1741 | 4.2262 | 0.0078826 | -0.014373 | 0.29184 | 0.29162 | 0.29184 | 0.99899 | -0.010553 | 0.99989 | -0.0064341 | 45.7437
74 | 9.1663 | 4.2405 | -9.1643 | -4.2354 | 0.0019298 | 0.0051019 | 0.29184 | 0.29185 | 0.29185 | 0.99899 | -0.010553 | 0.99861 | -0.032684 | 45.2474
75 | -9.1741 | -4.2262 | 9.1747 | 4.2276 | 0.00056048 | 0.0014817 | 0.29162 | 0.29162 | 0.29162 | 0.99989 | -0.0064341 | 1 | 0 | 45.2119
76 | 8.7593 | 4.0393 | -8.7589 | -4.04 | 0.00035527 | -0.00072641 | 0.27884 | 0.27885 | 0.27885 | 0.99861 | -0.032684 | 0.99856 | -0.032879 | 43.7066
77 | -1.9411 | -0.93413 | 1.9413 | 0.9334 | 0.00017157 | -0.00072885 | 0.062461 | 0.062452 | 0.062461 | 0.99558 | -0.075467 | 0.99566 | -0.076225 | 28.3915
78 | -5.3277 | -2.4886 | 5.3315 | 2.4822 | 0.0037972 | -0.0064524 | 0.17049 | 0.17038 | 0.17049 | 0.99566 | -0.076225 | 0.99644 | -0.067495 | 47.0967
79 | 3.3865 | 1.5552 | -3.3807 | -1.5622 | 0.0057592 | -0.0070162 | 0.10804 | 0.10815 | 0.10815 | 0.99566 | -0.076225 | 0.99407 | -0.063028 | 49.1593
80 | -5.3315 | -2.4822 | 5.3322 | 2.478 | 0.00065231 | -0.0041716 | 0.17038 | 0.17032 | 0.17038 | 0.99644 | -0.067495 | 0.99657 | -0.066931 | 26.7049
81 | 3.3807 | 1.5622 | -3.3802 | -1.5628 | 0.00049549 | -0.00060154 | 0.10815 | 0.10816 | 0.10816 | 0.99407 | -0.063028 | 0.99394 | -0.061882 | 49.1634
82 | 0.26908 | 0.13029 | -0.26908 | -0.13032 | 3.2347e-06 | -2.707e-05 | 0.0086304 | 0.0086308 | 0.0086308 | 1 | 0 | 0.99999 | -7.9281e-05 | 4.1099
83 | 3.7217 | 1.7054 | -3.7134 | -1.7135 | 0.0082345 | -0.0080693 | 0.11818 | 0.1183 | 0.1183 | 1 | 0 | 0.99792 | 0.017097 | 53.7749
84 | 0.36343 | 0.17002 | -0.36339 | -0.17573 | 4.316e-05 | -0.0057053 | 0.011583 | 0.011654 | 0.011654 | 1 | 0 | 0.99989 | 0.00099364 | 5.2971
85 | -0.2746 | -0.133 | 0.2746 | 0.13252 | 2.088e-06 | -0.00047701 | 0.0088265 | 0.0088205 | 0.0088265 | 0.99789 | 0.017448 | 0.99789 | 0.017382 | 4.0121
86 | -0.2746 | -0.13252 | 0.27461 | 0.13041 | 9.2092e-06 | -0.0021118 | 0.0088205 | 0.0087941 | 0.0088205 | 0.99789 | 0.017382 | 0.99792 | 0.017097 | 4.0093
87 | 3.1997 | 1.4673 | -3.1935 | -1.4762 | 0.0062307 | -0.0088209 | 0.10183 | 0.10196 | 0.10196 | 0.99792 | 0.017097 | 0.9961 | 0.032189 | 46.3446
88 | 0.23909 | 0.11572 | -0.23908 | -0.11579 | 6.6136e-06 | -7.0592e-05 | 0.0076837 | 0.0076847 | 0.0076847 | 0.99792 | 0.017097 | 0.9979 | 0.016915 | 3.6594
89 | 0.81132 | 0.38728 | -0.81113 | -0.39237 | 0.00019755 | -0.0050919 | 0.026054 | 0.026119 | 0.026119 | 0.9961 | 0.032189 | 0.99588 | 0.034274 | 11.8721
90 | 0.5994 | 0.27294 | -0.59917 | -0.28373 | 0.00022453 | -0.010791 | 0.019087 | 0.01922 | 0.01922 | 0.9961 | 0.032189 | 0.99575 | 0.035153 | 8.7361
91 | 0.36339 | 0.17573 | -0.36339 | -0.176 | 2.0587e-06 | -0.00027037 | 0.011654 | 0.011657 | 0.011657 | 0.99989 | 0.00099364 | 0.99988 | 0.0010429 | 5.2987
92 | 0.59917 | 0.28373 | -0.59916 | -0.28439 | 1.3759e-05 | -0.00065616 | 0.01922 | 0.019228 | 0.019228 | 0.99575 | 0.035153 | 0.99573 | 0.035343 | 8.7399
93 | 0.20616 | 0.094047 | -0.20616 | -0.094135 | 2.1449e-07 | -8.8046e-05 | 0.0065693 | 0.0065703 | 0.0065703 | 0.99573 | 0.035343 | 0.99573 | 0.035351 | 2.9865
94 | 0.61528 | 0.29762 | -0.61521 | -0.2977 | 7.608e-05 | -8.1119e-05 | 0.019812 | 0.019814 | 0.019814 | 0.99588 | 0.034274 | 0.99575 | 0.033456 | 9.4351
95 | 0.19584 | 0.094756 | -0.19584 | -0.094848 | 5.7071e-06 | -9.1762e-05 | 0.0063065 | 0.0063077 | 0.0063077 | 0.99588 | 0.034274 | 0.99585 | 0.034082 | 3.0036
96 | 0.20616 | 0.094135 | -0.20615 | -0.094591 | 1.1104e-06 | -0.00045541 | 0.0065703 | 0.0065758 | 0.0065758 | 0.99573 | 0.035351 | 0.99573 | 0.035392 | 2.989
97 | 0.40071 | 0.19381 | -0.40064 | -0.19404 | 6.7263e-05 | -0.0002261 | 0.012904 | 0.012908 | 0.012908 | 0.99575 | 0.033456 | 0.99557 | 0.032346 | 6.1465
98 | 0.20615 | 0.094591 | -0.20615 | -0.096732 | 5.2452e-06 | -0.0021408 | 0.0065758 | 0.006602 | 0.006602 | 0.99573 | 0.035392 | 0.9957 | 0.035593 | 3.0009
99 | 0.12745 | 0.058615 | -0.12745 | -0.061725 | 2.9291e-06 | -0.0031097 | 0.0040671 | 0.0041056 | 0.0041056 | 0.9957 | 0.035593 | 0.99568 | 0.035782 | 1.8662
100 | -0.16569 | -0.080247 | 0.16569 | 0.079357 | 1.4268e-06 | -0.00089019 | 0.0053364 | 0.0053252 | 0.0053364 | 0.9959 | -0.051545 | 0.99591 | -0.051619 | 2.4256
101 | -0.10455 | -0.050634 | 0.10455 | 0.049587 | 6.7282e-07 | -0.0010468 | 0.003375 | 0.0033619 | 0.003375 | 0.99357 | -0.058819 | 0.99358 | -0.058874 | 1.5341
102 | -3.0721 | -1.4159 | 3.0722 | 1.4157 | 0.00015169 | -0.0002323 | 0.098281 | 0.098278 | 0.098281 | 0.99358 | -0.058874 | 0.99362 | -0.059257 | 44.6733
103 | 2.9676 | 1.3663 | -2.9666 | -1.3679 | 0.00092408 | -0.0015358 | 0.09492 | 0.094942 | 0.094942 | 0.99358 | -0.058874 | 0.99329 | -0.056458 | 43.1553
104 | -3.0722 | -1.4157 | 3.0726 | 1.4151 | 0.00036175 | -0.00055416 | 0.098278 | 0.09827 | 0.098278 | 0.99362 | -0.059257 | 0.99373 | -0.06017 | 44.6718
105 | 2.9666 | 1.3679 | -2.966 | -1.3689 | 0.00060081 | -0.00099751 | 0.094942 | 0.094956 | 0.094956 | 0.99329 | -0.056458 | 0.9931 | -0.054882 | 43.1618
106 | -2.4675 | -1.1348 | 2.4682 | 1.1329 | 0.00077028 | -0.0019461 | 0.079007 | 0.078981 | 0.079007 | 0.99233 | -0.048544 | 0.99262 | -0.050948 | 35.9124
107 | -3.2887 | -1.5198 | 3.2891 | 1.5192 | 0.00044131 | -0.00057293 | 0.10524 | 0.10523 | 0.10524 | 0.99373 | -0.06017 | 0.99386 | -0.061218 | 47.8376
108 | 2.7954 | 1.2862 | -2.7952 | -1.2866 | 0.0001888 | -0.00036019 | 0.089446 | 0.089451 | 0.089451 | 0.9931 | -0.054882 | 0.99303 | -0.05436 | 40.6597
109 | -3.2891 | -1.5192 | 3.2894 | 1.5188 | 0.00028021 | -0.00036394 | 0.10523 | 0.10523 | 0.10523 | 0.99386 | -0.061218 | 0.99394 | -0.061882 | 47.8337
110 | 2.6609 | 1.2215 | -2.6604 | -1.2226 | 0.00048915 | -0.0010453 | 0.085115 | 0.085129 | 0.085129 | 0.99303 | -0.05436 | 0.99286 | -0.052945 | 38.695
111 | 2.6604 | 1.2226 | -2.6597 | -1.2241 | 0.00068795 | -0.0014688 | 0.085129 | 0.085149 | 0.085149 | 0.99286 | -0.052945 | 0.99262 | -0.050948 | 38.7043
112 | 0.19151 | 0.09121 | -0.19151 | -0.092752 | 3.3434e-06 | -0.0015423 | 0.006169 | 0.0061884 | 0.0061884 | 0.99262 | -0.050948 | 0.99261 | -0.050799 | 2.8129

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.5429 | 6.2439

## res_load
| p_mw | q_mvar
0 | 0.19607 | 0.094962
1 | 0.23209 | 0.11241
2 | 0.1318 | 0.063833
3 | 0.13021 | 0.063062
4 | 0.11775 | 0.05703
5 | 0.31353 | 0.15185
6 | 0.089483 | 0.043339
7 | 0.41286 | 0.19996
8 | 0.11392 | 0.055173
9 | 0.27372 | 0.13257
10 | 0.25745 | 0.12469
11 | 0.19447 | 0.094184
12 | 0.32479 | 0.1573
13 | 0.27077 | 0.13114
14 | 0.27072 | 0.13112
15 | 0.14375 | 0.069624
16 | 0.18873 | 0.091404
17 | 0.36251 | 0.17557
18 | 0.20756 | 0.10053
19 | 0.25976 | 0.12581
20 | 0.2274 | 0.11013
21 | 0.34942 | 0.16923
22 | 0.32993 | 0.15979
23 | 0.35201 | 0.17049
24 | 0.095933 | 0.046462
25 | 0.2257 | 0.10931
26 | 0.19237 | 0.09317
27 | 0.26906 | 0.13031
28 | 0.52934 | 0.25637
29 | 0.41077 | 0.19894
30 | 0.26431 | 0.12801
31 | 0.13868 | 0.067164
32 | 0.76644 | 0.37121
33 | 0.22659 | 0.10974
34 | 0.40507 | 0.19618
35 | 0.13376 | 0.064784
36 | 0.2746 | 0.133
37 | 0.23908 | 0.11579
38 | 0.36339 | 0.176
39 | 0.393 | 0.19034
40 | 0.26908 | 0.13032
41 | 0.2145 | 0.10389
42 | 0.19584 | 0.094848
43 | 0.40064 | 0.19404
44 | 0.0787 | 0.038116
45 | 0.12745 | 0.061725
46 | 0.16569 | 0.080247
47 | 0.10455 | 0.050634
48 | 0.21607 | 0.10465
49 | 0.17062 | 0.082634
50 | 0.13429 | 0.065042
51 | 0.090836 | 0.043994
52 | 0.19151 | 0.092752
53 | 0.41542 | 0.2012

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1