## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_231_1_node_128 | 20 | n |  | TRUE
1 | bus_MV_231_1_node_126 | 20 | n |  | TRUE
2 | bus_MV_231_1_node_127 | 20 | n |  | TRUE
3 | bus_MV_231_1_node_189 | 20 | n |  | TRUE
4 | bus_MV_231_1_node_129 | 20 | n |  | TRUE
5 | bus_MV_231_1_node_130 | 20 | n |  | TRUE
6 | bus_MV_231_1_node_3 | 20 | n |  | TRUE
7 | bus_MV_231_1_node_136 | 20 | n |  | TRUE
8 | bus_MV_231_1_node_133 | 20 | n |  | TRUE
9 | bus_MV_231_1_node_131 | 20 | n |  | TRUE
10 | bus_MV_231_1_node_132 | 20 | n |  | TRUE
11 | bus_MV_231_1_node_33 | 20 | n |  | TRUE
12 | bus_MV_231_1_node_134 | 20 | n |  | TRUE
13 | bus_MV_231_1_node_135 | 20 | n |  | TRUE
14 | bus_MV_231_1_node_169 | 20 | n |  | TRUE
15 | bus_MV_231_1_node_137 | 20 | n |  | TRUE
16 | bus_MV_231_1_node_45 | 20 | n |  | TRUE
17 | bus_MV_231_1_node_138 | 20 | n |  | TRUE
18 | bus_MV_231_1_node_44 | 20 | n |  | TRUE
19 | bus_MV_231_1_node_139 | 20 | n |  | TRUE
20 | bus_MV_231_1_node_140 | 20 | n |  | TRUE
21 | bus_MV_231_1_node_141 | 20 | n |  | TRUE
22 | bus_MV_231_1_node_40 | 20 | n |  | TRUE
23 | bus_MV_231_1_node_142 | 20 | n |  | TRUE
24 | bus_MV_231_1_node_143 | 20 | n |  | TRUE
25 | bus_MV_231_1_node_186 | 20 | n |  | TRUE
26 | bus_MV_231_1_node_27 | 20 | n |  | TRUE
27 | bus_MV_231_1_node_28 | 20 | n |  | TRUE
28 | bus_MV_231_1_node_31 | 20 | n |  | TRUE
29 | bus_MV_231_1_node_29 | 20 | n |  | TRUE
30 | bus_MV_231_1_node_102 | 20 | n |  | TRUE
31 | bus_MV_231_1_node_42 | 20 | n |  | TRUE
32 | bus_MV_231_1_node_30 | 20 | n |  | TRUE
33 | bus_MV_231_1_node_101 | 20 | n |  | TRUE
34 | bus_MV_231_1_node_177 | 20 | n |  | TRUE
35 | bus_MV_231_1_node_32 | 20 | n |  | TRUE
36 | bus_MV_231_1_node_175 | 20 | n |  | TRUE
37 | bus_MV_231_1_node_178 | 20 | n |  | TRUE
38 | bus_MV_231_1_node_34 | 20 | n |  | TRUE
39 | bus_MV_231_1_node_35 | 20 | n |  | TRUE
40 | bus_MV_231_1_node_36 | 20 | n |  | TRUE
41 | bus_MV_231_1_node_124 | 20 | n |  | TRUE
42 | bus_MV_231_1_node_123 | 20 | n |  | TRUE
43 | bus_MV_231_1_node_37 | 20 | n |  | TRUE
44 | bus_MV_231_1_node_39 | 20 | n |  | TRUE
45 | bus_MV_231_1_node_38 | 20 | n |  | TRUE
46 | bus_MV_231_1_node_114 | 20 | n |  | TRUE
47 | bus_MV_231_1_node_41 | 20 | n |  | TRUE
48 | bus_MV_231_1_node_119 | 20 | n |  | TRUE
49 | bus_MV_231_1_node_120 | 20 | n |  | TRUE
50 | bus_MV_231_1_node_118 | 20 | n |  | TRUE
51 | bus_MV_231_1_node_103 | 20 | n |  | TRUE
52 | bus_MV_231_1_node_117 | 20 | n |  | TRUE
53 | bus_MV_231_1_node_43 | 20 | n |  | TRUE
54 | bus_MV_231_1_node_184 | 20 | n |  | TRUE
55 | bus_MV_231_1_node_176 | 20 | n |  | TRUE
56 | bus_MV_231_1_node_180 | 20 | n |  | TRUE
57 | bus_MV_231_1_node_104 | 20 | n |  | TRUE
58 | bus_MV_231_1_node_105 | 20 | n |  | TRUE
59 | bus_MV_231_1_node_106 | 20 | n |  | TRUE
60 | bus_MV_231_1_node_108 | 20 | n |  | TRUE
61 | bus_MV_231_1_node_109 | 20 | n |  | TRUE
62 | bus_MV_231_1_node_107 | 20 | n |  | TRUE
63 | bus_MV_231_1_node_116 | 20 | n |  | TRUE
64 | bus_MV_231_1_node_113 | 20 | n |  | TRUE
65 | bus_MV_231_1_node_110 | 20 | n |  | TRUE
66 | bus_MV_231_1_node_112 | 20 | n |  | TRUE
67 | bus_MV_231_1_node_111 | 20 | n |  | TRUE
68 | bus_MV_231_1_node_115 | 20 | n |  | TRUE
69 | bus_MV_231_1_node_121 | 20 | n |  | TRUE
70 | bus_MV_231_1_node_122 | 20 | n |  | TRUE
71 | bus_MV_231_1_node_125 | 20 | n |  | TRUE
72 | bus_HV_231_1_node_122 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_231_1_load_189 | 3 | 0.15635 | 0.075724 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_231_1_load_129 | 4 | 0.34407 | 0.16664 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_231_1_load_130 | 5 | 0.23903 | 0.11577 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_231_1_load_136 | 7 | 0.13335 | 0.064584 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_231_1_load_133 | 8 | 0.19154 | 0.092767 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_231_1_load_131 | 9 | 0.098101 | 0.047513 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_231_1_load_132 | 10 | 0.24521 | 0.11876 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_231_1_load_134 | 12 | 0.07167 | 0.034711 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_231_1_load_137 | 15 | 0.12282 | 0.059487 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_231_1_load_138 | 17 | 0.086592 | 0.041938 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_231_1_load_44 | 18 | 0.11434 | 0.055379 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_231_1_load_139 | 19 | 0.094497 | 0.045767 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_231_1_load_140 | 20 | 0.087134 | 0.042201 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_231_1_load_141 | 21 | 0.15188 | 0.073558 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_231_1_load_186 | 25 | 0.22044 | 0.10676 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_231_1_load_27 | 26 | 0.26495 | 0.12832 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_231_1_load_102 | 30 | 0.096436 | 0.046706 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_231_1_load_101 | 33 | 0.095923 | 0.046458 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_231_1_load_177 | 34 | 0.30477 | 0.1476 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_231_1_load_178 | 37 | 1.2204 | 0.59105 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_231_1_load_34 | 38 | 0.31361 | 0.15189 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_231_1_load_124 | 41 | 0.089271 | 0.043236 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_231_1_load_37 | 43 | 0.23666 | 0.11462 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_231_1_load_114 | 46 | 0.15399 | 0.07458 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_231_1_load_119 | 48 | 0.35308 | 0.17101 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_231_1_load_118 | 50 | 0.83808 | 0.4059 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_231_1_load_117 | 52 | 0.15831 | 0.076672 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_231_1_load_43 | 53 | 0.39154 | 0.18963 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_231_1_load_184 | 54 | 0.33042 | 0.16003 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_231_1_load_176 | 55 | 0.27152 | 0.1315 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_231_1_load_180 | 56 | 0.18808 | 0.091092 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_231_1_load_105 | 58 | 0.22348 | 0.10824 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_231_1_load_106 | 59 | 0.10815 | 0.05238 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_231_1_load_116 | 63 | 0.075112 | 0.036379 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_231_1_load_113 | 64 | 0.0948 | 0.045914 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_231_1_load_111 | 67 | 0.096176 | 0.04658 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_231_1_load_115 | 68 | 0.075959 | 0.036789 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_231_1_load_122 | 70 | 0.10937 | 0.052969 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_231_1_load_125 | 71 | 0.37881 | 0.18346 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_231_1_line_0 |  | 0 | 1 | 0.20057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_231_1_line_1 |  | 0 | 2 | 0.34412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_231_1_line_2 |  | 0 | 3 | 0.098717 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_231_1_line_3 |  | 1 | 4 | 0.028789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_231_1_line_4 |  | 1 | 9 | 0.072715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_231_1_line_5 |  | 1 | 69 | 0.1178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_231_1_line_6 |  | 2 | 20 | 0.11751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_231_1_line_7 |  | 4 | 5 | 0.006344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_231_1_line_8 |  | 6 | 7 | 0.045482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_231_1_line_9 |  | 6 | 8 | 0.02838 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_231_1_line_10 |  | 7 | 12 | 0.021166 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_231_1_line_11 |  | 10 | 11 | 0.11892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_231_1_line_12 |  | 11 | 35 | 0.31703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_231_1_line_13 |  | 12 | 13 | 0.062661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_231_1_line_14 |  | 13 | 14 | 0.52888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_231_1_line_15 |  | 14 | 54 | 0.22734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_231_1_line_16 |  | 15 | 16 | 0.029954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_231_1_line_17 |  | 15 | 17 | 0.097045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_231_1_line_18 |  | 16 | 32 | 0.062126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_231_1_line_19 |  | 17 | 18 | 0.051345 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_231_1_line_20 |  | 17 | 19 | 0.010235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_231_1_line_21 |  | 18 | 53 | 0.026534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_231_1_line_22 |  | 21 | 22 | 0.088423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_231_1_line_23 |  | 21 | 23 | 0.11032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_231_1_line_24 |  | 22 | 45 | 0.053478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_231_1_line_25 |  | 23 | 24 | 0.79201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_231_1_line_26 |  | 24 | 25 | 0.0724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_231_1_line_27 |  | 25 | 54 | 0.20496 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_231_1_line_28 |  | 26 | 27 | 0.062688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_231_1_line_29 |  | 27 | 28 | 0.28837 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_231_1_line_30 |  | 28 | 34 | 0.027405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_231_1_line_31 |  | 28 | 35 | 0.49393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_231_1_line_32 |  | 28 | 36 | 0.098661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_231_1_line_33 |  | 28 | 32 | 0.3082 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_231_1_line_34 |  | 29 | 30 | 0.041708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_231_1_line_35 |  | 29 | 31 | 0.10157 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_231_1_line_36 |  | 29 | 32 | 0.29754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_231_1_line_37 |  | 29 | 33 | 0.040098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_231_1_line_38 |  | 30 | 57 | 0.040964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_231_1_line_39 |  | 31 | 51 | 0.10553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_231_1_line_40 |  | 31 | 52 | 0.096543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_231_1_line_41 |  | 31 | 47 | 0.17181 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_231_1_line_42 |  | 35 | 37 | 0.046095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_231_1_line_43 |  | 36 | 55 | 0.11889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_231_1_line_44 |  | 37 | 56 | 0.062803 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_231_1_line_45 |  | 38 | 39 | 0.019507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_231_1_line_46 |  | 39 | 40 | 0.020283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_231_1_line_47 |  | 40 | 41 | 0.044669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_231_1_line_48 |  | 40 | 42 | 0.050238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_231_1_line_49 |  | 42 | 70 | 0.036087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_231_1_line_50 |  | 43 | 44 | 0.010198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_231_1_line_51 |  | 44 | 47 | 0.17364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_231_1_line_52 |  | 45 | 46 | 0.25981 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_231_1_line_53 |  | 46 | 66 | 0.072727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_231_1_line_54 |  | 47 | 48 | 0.10701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_231_1_line_55 |  | 47 | 49 | 0.12098 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_231_1_line_56 |  | 47 | 50 | 0.059018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_231_1_line_57 |  | 49 | 69 | 0.088426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_231_1_line_58 |  | 49 | 70 | 0.037952 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_231_1_line_59 |  | 51 | 58 | 0.002145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_231_1_line_60 |  | 57 | 59 | 0.042474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_231_1_line_61 |  | 57 | 60 | 0.064476 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_231_1_line_62 |  | 59 | 61 | 0.037275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_231_1_line_63 |  | 60 | 64 | 0.14804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_231_1_line_64 |  | 60 | 62 | 0.020071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_231_1_line_65 |  | 61 | 65 | 0.12126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_231_1_line_66 |  | 62 | 63 | 0.033989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_231_1_line_67 |  | 63 | 68 | 0.041699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_231_1_line_68 |  | 65 | 66 | 0.088141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_231_1_line_69 |  | 65 | 67 | 0.032805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_231_1_line_70 |  | 69 | 71 | 0.020891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_231_1_trafo_122 | 25 MVA 110/20 kV | 72 | 70 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2681310.3488 | 1227281.7588
1 | 2681460.2964 | 1227266.7994
2 | 2681494.7176 | 1227361.0905
3 | 2681342.5574 | 1227375.0736
4 | 2681465.199 | 1227295.1587
5 | 2681466.1355 | 1227301.4332
6 | 2680448.1845 | 1226841.8978
7 | 2680427.968 | 1226811.7263
8 | 2680469.5568 | 1226823.2264
9 | 2681532.2494 | 1227257.3197
10 | 2681804.3323 | 1227341.9147
11 | 2681829.9852 | 1227457.6796
12 | 2680446.532 | 1226801.5592
13 | 2680438.4812 | 1226740.5535
14 | 2680751.8712 | 1226419.0129
15 | 2681694.3946 | 1227207.9129
16 | 2681709.2438 | 1227181.899
17 | 2681650.2542 | 1227260.2427
18 | 2681696.7158 | 1227282.097
19 | 2681640.0279 | 1227259.8244
20 | 2681574.6796 | 1227275.0168
21 | 2681439.9699 | 1226489.1529
22 | 2681498.2168 | 1226524.9916
23 | 2681385.4065 | 1226417.1079
24 | 2680985.702 | 1226129.4271
25 | 2680993.2469 | 1226201.0895
26 | 2682150.5247 | 1227313.3866
27 | 2682162.7114 | 1227374.8746
28 | 2682006.6274 | 1227319.8729
29 | 2681755.2647 | 1226958.679
30 | 2681752.4066 | 1226917.0687
31 | 2681654.0014 | 1226966.3495
32 | 2681761.7444 | 1227215.0872
33 | 2681757.2648 | 1226998.7269
34 | 2682022.0286 | 1227298.9709
35 | 2681817.3041 | 1227629.0889
36 | 2682033.4707 | 1227249.7061
37 | 2681774.0247 | 1227612.8829
38 | 2681605.86 | 1227206.297
39 | 2681620.616 | 1227194.2134
40 | 2681615.1567 | 1227181.6744
41 | 2681572.492 | 1227168.4471
42 | 2681612.1688 | 1227131.5326
43 | 2681531.1641 | 1226876.9155
44 | 2681529.5859 | 1226886.9896
45 | 2681510.8635 | 1226537.4955
46 | 2681741.8571 | 1226656.4147
47 | 2681547.687 | 1227038.9411
48 | 2681441.1381 | 1227048.8257
49 | 2681538.312 | 1227136.7237
50 | 2681606.465 | 1227033.6269
51 | 2681697.9746 | 1227028.4286
52 | 2681607.3376 | 1227017.0085
53 | 2681723.204 | 1227283.6475
54 | 2680788.3219 | 1226197.1127
55 | 2682018.3023 | 1227174.5902
56 | 2681713.2078 | 1227597.2145
57 | 2681749.5995 | 1226876.2006
58 | 2681698.0863 | 1227030.5707
59 | 2681746.69 | 1226833.8258
60 | 2681687.4128 | 1226878.0368
61 | 2681744.1367 | 1226796.638
62 | 2681688.8205 | 1226898.0586
63 | 2681654.9384 | 1226900.7529
64 | 2681598.2458 | 1226817.7391
65 | 2681677.8727 | 1226742.6136
66 | 2681750.8482 | 1226726.3601
67 | 2681710.6097 | 1226740.5037
68 | 2681613.3702 | 1226904.0584
69 | 2681469.236 | 1227166.9537
70 | 2681576.1709 | 1227134.0627
71 | 2681448.4763 | 1227169.2934
72 | 2681576.1709 | 1227134.0627

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99955 | 0.0023451 | 0 | 0
1 | 0.99961 | 0.0019333 | 0 | 0
2 | 0.99951 | 0.0025525 | 0 | 0
3 | 0.99952 | 0.0021579 | 0.15635 | 0.075724
4 | 0.99959 | 0.0021334 | 0.34407 | 0.16664
5 | 0.99959 | 0.0021516 | 0.23903 | 0.11577
6 | 0.99561 | 0.0066564 | 0 | 0
7 | 0.99562 | 0.0065529 | 0.13335 | 0.064584
8 | 0.9956 | 0.0065901 | 0.19154 | 0.092767
9 | 0.9996 | 0.0020147 | 0.098101 | 0.047513
10 | 0.99562 | 0.023181 | 0.24521 | 0.11876
11 | 0.99566 | 0.02284 | 0 | 0
12 | 0.99563 | 0.0066388 | 0.07167 | 0.034711
13 | 0.99566 | 0.0063464 | 0 | 0
14 | 0.99593 | 0.0041177 | 0 | 0
15 | 0.99768 | 0.0051711 | 0.12282 | 0.059487
16 | 0.99771 | 0.0048864 | 0 | 0
17 | 0.99759 | 0.0059595 | 0.086592 | 0.041938
18 | 0.99754 | 0.0056412 | 0.11434 | 0.055379
19 | 0.99759 | 0.0059711 | 0.094497 | 0.045767
20 | 0.9995 | 0.0026646 | 0.087134 | 0.042201
21 | 0.9975 | -0.0036315 | 0.15188 | 0.073558
22 | 0.99762 | -0.0045459 | 0 | 0
23 | 0.99737 | -0.0026751 | 0 | 0
24 | 0.99642 | 0.0047426 | 0 | 0
25 | 0.99633 | 0.005469 | 0.22044 | 0.10676
26 | 0.99668 | 0.013767 | 0.26495 | 0.12832
27 | 0.9967 | 0.01357 | 0 | 0
28 | 0.9968 | 0.01274 | 0 | 0
29 | 0.99902 | -0.0064814 | 0 | 0
30 | 0.99893 | -0.005756 | 0.096436 | 0.046706
31 | 0.99931 | -0.0032155 | 0 | 0
32 | 0.99777 | 0.0043004 | 0 | 0
33 | 0.99902 | -0.0064365 | 0.095923 | 0.046458
34 | 0.99679 | 0.01284 | 0.30477 | 0.1476
35 | 0.99576 | 0.022036 | 0 | 0
36 | 0.99676 | 0.013038 | 0 | 0
37 | 0.99567 | 0.022818 | 1.2204 | 0.59105
38 | 0.99994 | 0.00054744 | 0.31361 | 0.15189
39 | 0.99995 | 0.00047453 | 0 | 0
40 | 0.99996 | 0.00039934 | 0 | 0
41 | 0.99995 | 0.00044553 | 0.089271 | 0.043236
42 | 0.99998 | 0.00016555 | 0 | 0
43 | 0.99957 | -0.0012463 | 0.23666 | 0.11462
44 | 0.99957 | -0.0012751 | 0 | 0
45 | 0.9977 | -0.0050931 | 0 | 0
46 | 0.99824 | -0.00056376 | 0.15399 | 0.07458
47 | 0.99962 | -0.0017415 | 0 | 0
48 | 0.99957 | -0.0012978 | 0.35308 | 0.17101
49 | 0.9999 | -0.00047187 | 0 | 0
50 | 0.99956 | -0.0011519 | 0.83808 | 0.4059
51 | 0.99928 | -0.0029418 | 0 | 0
52 | 0.99929 | -0.0030395 | 0.15831 | 0.076672
53 | 0.99753 | 0.0057656 | 0.39154 | 0.18963
54 | 0.99604 | 0.0032909 | 0.33042 | 0.16003
55 | 0.99672 | 0.013416 | 0.27152 | 0.1315
56 | 0.99565 | 0.022673 | 0.18808 | 0.091092
57 | 0.99884 | -0.0050882 | 0 | 0
58 | 0.99928 | -0.002936 | 0.22348 | 0.10824
59 | 0.99876 | -0.0044983 | 0.10815 | 0.05238
60 | 0.99882 | -0.0049252 | 0 | 0
61 | 0.9987 | -0.0040266 | 0 | 0
62 | 0.99882 | -0.0048914 | 0 | 0
63 | 0.99881 | -0.0048329 | 0.075112 | 0.036379
64 | 0.9988 | -0.0047736 | 0.0948 | 0.045914
65 | 0.99849 | -0.0024772 | 0 | 0
66 | 0.99835 | -0.0014338 | 0 | 0
67 | 0.99849 | -0.0024401 | 0.096176 | 0.04658
68 | 0.99881 | -0.0047962 | 0.075959 | 0.036789
69 | 0.99975 | 0.00077875 | 0 | 0
70 | 1 | 0 | -8.7496 | -4.0499
71 | 0.99974 | 0.00087314 | 0.37881 | 0.18346
72 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.24349 | -0.1068 | 0.24351 | 0.10202 | 1.5676e-05 | -0.0047802 | 0.0076789 | 0.0076245 | 0.0076789 | 0.99955 | 0.0023451 | 0.99961 | 0.0019333 | 3.4904
1 | 0.087139 | 0.031191 | -0.087135 | -0.039398 | 3.3869e-06 | -0.0082076 | 0.002673 | 0.0027619 | 0.0027619 | 0.99955 | 0.0023451 | 0.99951 | 0.0025525 | 1.2554
2 | 0.15636 | 0.075609 | -0.15635 | -0.075724 | 4.4264e-06 | -0.00011497 | 0.0050159 | 0.0050174 | 0.0050174 | 0.99955 | 0.0023451 | 0.99952 | 0.0021579 | 2.3892
3 | 0.58311 | 0.28157 | -0.5831 | -0.28226 | 1.3446e-05 | -0.00068284 | 0.0187 | 0.018709 | 0.018709 | 0.99961 | 0.0019333 | 0.99959 | 0.0021334 | 8.5039
4 | 0.098102 | 0.045778 | -0.098101 | -0.047513 | 9.5529e-07 | -0.0017345 | 0.0031263 | 0.0031479 | 0.0031479 | 0.99961 | 0.0019333 | 0.9996 | 0.0020147 | 1.4308
5 | -0.92472 | -0.42937 | 0.92486 | 0.4266 | 0.00013618 | -0.0027705 | 0.029443 | 0.029409 | 0.029443 | 0.99961 | 0.0019333 | 0.99975 | 0.00077875 | 13.3832
6 | 0.087135 | 0.039398 | -0.087134 | -0.042201 | 1.2114e-06 | -0.0028026 | 0.0027619 | 0.0027962 | 0.0027962 | 0.99951 | 0.0025525 | 0.9995 | 0.0026646 | 1.271
7 | 0.23903 | 0.11561 | -0.23903 | -0.11577 | 4.9812e-07 | -0.0001512 | 0.007668 | 0.0076699 | 0.0076699 | 0.99959 | 0.0021334 | 0.99959 | 0.0021516 | 3.4863
8 | -0.19154 | -0.092735 | 0.19154 | 0.091659 | 2.3067e-06 | -0.0010757 | 0.0061704 | 0.0061569 | 0.0061704 | 0.99561 | 0.0066564 | 0.99562 | 0.0065529 | 2.8047
9 | 0.19154 | 0.092735 | -0.19154 | -0.092767 | 1.9253e-06 | -3.2376e-05 | 0.0061704 | 0.0061708 | 0.0061708 | 0.99561 | 0.0066564 | 0.9956 | 0.0065901 | 2.9385
10 | -0.32489 | -0.15624 | 0.3249 | 0.15622 | 4.1203e-06 | -2.2466e-05 | 0.010453 | 0.010453 | 0.010453 | 0.99562 | 0.0065529 | 0.99563 | 0.0066388 | 4.9775
11 | -0.24521 | -0.11876 | 0.24522 | 0.11595 | 9.8631e-06 | -0.0028117 | 0.0078997 | 0.0078645 | 0.0078997 | 0.99562 | 0.023181 | 0.99566 | 0.02284 | 3.5908
12 | -0.24522 | -0.11595 | 0.24525 | 0.10845 | 2.5872e-05 | -0.0074969 | 0.0078645 | 0.007774 | 0.0078645 | 0.99566 | 0.02284 | 0.99576 | 0.022036 | 3.5748
13 | -0.39657 | -0.19093 | 0.39658 | 0.18945 | 1.3603e-05 | -0.0014791 | 0.012761 | 0.012743 | 0.012761 | 0.99563 | 0.0066388 | 0.99566 | 0.0063464 | 5.8006
14 | -0.39658 | -0.18945 | 0.39669 | 0.17696 | 0.00011327 | -0.012488 | 0.012743 | 0.012591 | 0.012743 | 0.99566 | 0.0063464 | 0.99593 | 0.0041177 | 5.7922
15 | -0.39669 | -0.17696 | 0.39674 | 0.17159 | 4.7871e-05 | -0.0053703 | 0.012591 | 0.012528 | 0.012591 | 0.99593 | 0.0041177 | 0.99604 | 0.0032909 | 5.723
16 | -0.80989 | -0.389 | 0.80992 | 0.38829 | 2.7016e-05 | -0.00070387 | 0.025997 | 0.025988 | 0.025997 | 0.99768 | 0.0051711 | 0.99771 | 0.0048864 | 11.8168
17 | 0.68707 | 0.32951 | -0.687 | -0.3318 | 6.3062e-05 | -0.0022874 | 0.022048 | 0.022077 | 0.022077 | 0.99768 | 0.0051711 | 0.99759 | 0.0059595 | 10.035
18 | -0.80992 | -0.38829 | 0.80998 | 0.38683 | 5.5975e-05 | -0.00146 | 0.025988 | 0.02597 | 0.025988 | 0.99771 | 0.0048864 | 0.99777 | 0.0043004 | 11.8127
19 | 0.50592 | 0.24434 | -0.50589 | -0.24438 | 2.4181e-05 | -4.5852e-05 | 0.016258 | 0.016258 | 0.016258 | 0.99759 | 0.0059595 | 0.99754 | 0.0056412 | 7.7421
20 | 0.094497 | 0.045524 | -0.094497 | -0.045767 | 1.2601e-07 | -0.00024316 | 0.0030353 | 0.0030383 | 0.0030383 | 0.99759 | 0.0059595 | 0.99759 | 0.0059711 | 1.3811
21 | 0.39155 | 0.189 | -0.39154 | -0.18963 | 5.611e-06 | -0.00062874 | 0.012582 | 0.01259 | 0.01259 | 0.99754 | 0.0056412 | 0.99753 | 0.0057656 | 5.7226
22 | -1.1009 | -0.48905 | 1.101 | 0.48699 | 0.00014336 | -0.0020584 | 0.034861 | 0.034836 | 0.034861 | 0.9975 | -0.0036315 | 0.99762 | -0.0045459 | 15.8459
23 | 0.94898 | 0.41549 | -0.94885 | -0.41807 | 0.00013252 | -0.0025813 | 0.02998 | 0.030011 | 0.030011 | 0.9975 | -0.0036315 | 0.99737 | -0.0026751 | 13.6413
24 | -1.101 | -0.48699 | 1.1011 | 0.48574 | 8.6603e-05 | -0.0012452 | 0.034836 | 0.034821 | 0.034836 | 0.99762 | -0.0045459 | 0.9977 | -0.0050931 | 15.8347
25 | 0.94885 | 0.41807 | -0.94789 | -0.43658 | 0.00095933 | -0.018508 | 0.030011 | 0.030234 | 0.030234 | 0.99737 | -0.0026751 | 0.99642 | 0.0047426 | 13.7429
26 | 0.94789 | 0.43658 | -0.9478 | -0.43827 | 8.8414e-05 | -0.0016899 | 0.030234 | 0.030255 | 0.030255 | 0.99642 | 0.0047426 | 0.99633 | 0.005469 | 13.7524
27 | 0.72736 | 0.3315 | -0.72716 | -0.33162 | 0.0001959 | -0.00012012 | 0.02316 | 0.023163 | 0.023163 | 0.99633 | 0.005469 | 0.99604 | 0.0032909 | 11.03
28 | -0.26495 | -0.12832 | 0.26496 | 0.12684 | 6.0711e-06 | -0.001485 | 0.0085267 | 0.008508 | 0.0085267 | 0.99668 | 0.013767 | 0.9967 | 0.01357 | 3.8758
29 | -0.26496 | -0.12684 | 0.26499 | 0.12 | 2.7591e-05 | -0.0068323 | 0.008508 | 0.0084243 | 0.008508 | 0.9967 | 0.01357 | 0.9968 | 0.01274 | 3.8673
30 | 0.30477 | 0.14696 | -0.30477 | -0.1476 | 3.5157e-06 | -0.00064909 | 0.0097987 | 0.0098069 | 0.0098069 | 0.9968 | 0.01274 | 0.99679 | 0.01284 | 4.4577
31 | 1.6557 | 0.77831 | -1.6538 | -0.78947 | 0.0018561 | -0.011155 | 0.052983 | 0.053128 | 0.053128 | 0.9968 | 0.01274 | 0.99576 | 0.022036 | 24.1491
32 | 0.27154 | 0.12635 | -0.27153 | -0.12869 | 9.9417e-06 | -0.0023375 | 0.0086736 | 0.0087024 | 0.0087024 | 0.9968 | 0.01274 | 0.99676 | 0.013038 | 3.9556
33 | -2.497 | -1.1716 | 2.4996 | 1.1651 | 0.0026223 | -0.0065409 | 0.079878 | 0.079788 | 0.079878 | 0.9968 | 0.01274 | 0.99777 | 0.0043004 | 36.3082
34 | 1.8035 | 0.80676 | -1.8033 | -0.8077 | 0.00018151 | -0.00093996 | 0.057089 | 0.057101 | 0.057101 | 0.99902 | -0.0064814 | 0.99893 | -0.005756 | 25.9549
35 | -5.2134 | -2.3984 | 5.2148 | 2.3959 | 0.0013486 | -0.0024986 | 0.16582 | 0.16578 | 0.16582 | 0.99902 | -0.0064814 | 0.99931 | -0.0032155 | 45.8072
36 | 3.314 | 1.5462 | -3.3096 | -1.5519 | 0.0044391 | -0.0057647 | 0.10567 | 0.10576 | 0.10576 | 0.99902 | -0.0064814 | 0.99777 | 0.0043004 | 48.0713
37 | 0.095924 | 0.045502 | -0.095923 | -0.046458 | 5.0576e-07 | -0.00095536 | 0.0030678 | 0.0030798 | 0.0030798 | 0.99902 | -0.0064814 | 0.99902 | -0.0064365 | 1.3999
38 | 1.7069 | 0.761 | -1.7067 | -0.76192 | 0.00015954 | -0.00092857 | 0.054006 | 0.054017 | 0.054017 | 0.99893 | -0.005756 | 0.99884 | -0.0050882 | 24.5533
39 | 0.22349 | 0.10567 | -0.22348 | -0.10819 | 7.2164e-06 | -0.0025139 | 0.0071414 | 0.0071728 | 0.0071728 | 0.99931 | -0.0032155 | 0.99928 | -0.0029418 | 3.2603
40 | 0.15831 | 0.074371 | -0.15831 | -0.076672 | 3.3089e-06 | -0.0023009 | 0.0050527 | 0.0050813 | 0.0050813 | 0.99931 | -0.0032155 | 0.99929 | -0.0030395 | 2.3097
41 | -5.5966 | -2.576 | 5.5982 | 2.5661 | 0.0016803 | -0.0098373 | 0.17797 | 0.17784 | 0.17797 | 0.99931 | -0.0032155 | 0.99962 | -0.0017415 | 27.8956
42 | 1.4086 | 0.68102 | -1.4085 | -0.68207 | 0.00012664 | -0.0010536 | 0.045358 | 0.045372 | 0.045372 | 0.99576 | 0.022036 | 0.99567 | 0.022818 | 20.6234
43 | 0.27153 | 0.12869 | -0.27152 | -0.1315 | 1.2068e-05 | -0.0028166 | 0.0087024 | 0.0087377 | 0.0087377 | 0.99676 | 0.013038 | 0.99672 | 0.013416 | 3.9717
44 | 0.18809 | 0.09102 | -0.18808 | -0.091092 | 4.1073e-06 | -7.1752e-05 | 0.0060581 | 0.0060591 | 0.0060591 | 0.99567 | 0.022818 | 0.99565 | 0.022673 | 2.8853
45 | -0.31361 | -0.15189 | 0.31361 | 0.15142 | 2.6338e-06 | -0.00046492 | 0.01006 | 0.010054 | 0.01006 | 0.99994 | 0.00054744 | 0.99995 | 0.00047453 | 4.5725
46 | -0.31361 | -0.15142 | 0.31361 | 0.15094 | 2.7354e-06 | -0.00048343 | 0.010054 | 0.010048 | 0.010054 | 0.99995 | 0.00047453 | 0.99996 | 0.00039934 | 4.5699
47 | 0.089272 | 0.04217 | -0.089271 | -0.043236 | 4.8669e-07 | -0.0010663 | 0.0028502 | 0.0028635 | 0.0028635 | 0.99996 | 0.00039934 | 0.99995 | 0.00044553 | 1.3016
48 | -0.40289 | -0.19311 | 0.4029 | 0.19191 | 1.1144e-05 | -0.0011961 | 0.012898 | 0.012883 | 0.012898 | 0.99996 | 0.00039934 | 0.99998 | 0.00016555 | 5.8627
49 | -0.4029 | -0.19191 | 0.4029 | 0.19105 | 7.9891e-06 | -0.00085922 | 0.012883 | 0.012872 | 0.012883 | 0.99998 | 0.00016555 | 1 | 0 | 5.8559
50 | -0.23666 | -0.11462 | 0.23666 | 0.11438 | 7.8484e-07 | -0.00024305 | 0.0075942 | 0.0075911 | 0.0075942 | 0.99957 | -0.0012463 | 0.99957 | -0.0012751 | 3.4519
51 | -0.23666 | -0.11438 | 0.23667 | 0.11024 | 1.3267e-05 | -0.0041386 | 0.0075911 | 0.0075398 | 0.0075911 | 0.99957 | -0.0012751 | 0.99962 | -0.0017415 | 3.4505
52 | -1.1011 | -0.48574 | 1.1016 | 0.48579 | 0.00056122 | 4.2632e-05 | 0.034821 | 0.034818 | 0.034821 | 0.9977 | -0.0050931 | 0.99824 | -0.00056376 | 16.5816
53 | -1.2556 | -0.56037 | 1.2558 | 0.55868 | 0.00015343 | -0.001685 | 0.039763 | 0.039743 | 0.039763 | 0.99824 | -0.00056376 | 0.99835 | -0.0014338 | 18.0741
54 | 0.3531 | 0.16846 | -0.35308 | -0.17101 | 1.8286e-05 | -0.0025474 | 0.011298 | 0.01133 | 0.01133 | 0.99962 | -0.0017415 | 0.99957 | -0.0012978 | 5.15
55 | -7.0262 | -3.2493 | 7.028 | 3.2428 | 0.0018675 | -0.0065464 | 0.22355 | 0.22346 | 0.22355 | 0.99962 | -0.0017415 | 0.9999 | -0.00047187 | 35.0394
56 | 0.83814 | 0.40451 | -0.83808 | -0.4059 | 5.6946e-05 | -0.0013911 | 0.026876 | 0.026893 | 0.026893 | 0.99962 | -0.0017415 | 0.99956 | -0.0011519 | 12.2242
57 | 1.3039 | 0.60752 | -1.3037 | -0.60957 | 0.00020372 | -0.0020501 | 0.041529 | 0.041555 | 0.041555 | 0.9999 | -0.00047187 | 0.99975 | 0.00077875 | 18.8885
58 | -8.3319 | -3.8503 | 8.3327 | 3.8484 | 0.00082339 | -0.0019207 | 0.26499 | 0.26496 | 0.26499 | 0.9999 | -0.00047187 | 1 | 0 | 41.5342
59 | 0.22348 | 0.10819 | -0.22348 | -0.10824 | 1.4734e-07 | -5.1097e-05 | 0.0071728 | 0.0071734 | 0.0071734 | 0.99928 | -0.0029418 | 0.99928 | -0.002936 | 3.2606
60 | 1.4608 | 0.65018 | -1.4607 | -0.65116 | 0.00012112 | -0.00097577 | 0.046212 | 0.046224 | 0.046224 | 0.99884 | -0.0050882 | 0.99876 | -0.0044983 | 21.0108
61 | 0.24588 | 0.11174 | -0.24588 | -0.11327 | 5.2567e-06 | -0.0015343 | 0.0078056 | 0.007824 | 0.007824 | 0.99884 | -0.0050882 | 0.99882 | -0.0049252 | 3.5564
62 | 1.3525 | 0.59878 | -1.3525 | -0.59964 | 9.0977e-05 | -0.00086075 | 0.042752 | 0.042763 | 0.042763 | 0.99876 | -0.0044983 | 0.9987 | -0.0040266 | 19.4376
63 | 0.094802 | 0.042388 | -0.0948 | -0.045914 | 1.8054e-06 | -0.0035256 | 0.0030013 | 0.0030444 | 0.0030444 | 0.99882 | -0.0049252 | 0.9988 | -0.0047736 | 1.3838
64 | 0.15107 | 0.070887 | -0.15107 | -0.071365 | 6.2405e-07 | -0.00047791 | 0.004823 | 0.0048289 | 0.0048289 | 0.99882 | -0.0049252 | 0.99882 | -0.0048914 | 2.195
65 | 1.3525 | 0.59964 | -1.3522 | -0.60244 | 0.00029625 | -0.0027991 | 0.042763 | 0.042797 | 0.042797 | 0.9987 | -0.0040266 | 0.99849 | -0.0024772 | 19.4531
66 | 0.15107 | 0.071365 | -0.15107 | -0.072174 | 1.0603e-06 | -0.00080929 | 0.0048289 | 0.0048389 | 0.0048389 | 0.99882 | -0.0048914 | 0.99881 | -0.0048329 | 2.1995
67 | 0.075959 | 0.035795 | -0.075959 | -0.036789 | 3.2955e-07 | -0.00099315 | 0.0024269 | 0.0024393 | 0.0024393 | 0.99881 | -0.0048329 | 0.99881 | -0.0047962 | 1.1088
68 | 1.256 | 0.55664 | -1.2558 | -0.55868 | 0.00018574 | -0.0020427 | 0.039718 | 0.039743 | 0.039743 | 0.99849 | -0.0024772 | 0.99835 | -0.0014338 | 18.0648
69 | 0.096177 | 0.0458 | -0.096176 | -0.04658 | 4.167e-07 | -0.00078077 | 0.0030798 | 0.0030895 | 0.0030895 | 0.99849 | -0.0024772 | 0.99849 | -0.0024401 | 1.4043
70 | 0.37881 | 0.18297 | -0.37881 | -0.18346 | 4.1173e-06 | -0.00049732 | 0.012147 | 0.012153 | 0.012153 | 0.99975 | 0.00077875 | 0.99974 | 0.00087314 | 5.5243

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.859 | 4.1029

## res_load
| p_mw | q_mvar
0 | 0.15635 | 0.075724
1 | 0.34407 | 0.16664
2 | 0.23903 | 0.11577
3 | 0.13335 | 0.064584
4 | 0.19154 | 0.092767
5 | 0.098101 | 0.047513
6 | 0.24521 | 0.11876
7 | 0.07167 | 0.034711
8 | 0.12282 | 0.059487
9 | 0.086592 | 0.041938
10 | 0.11434 | 0.055379
11 | 0.094497 | 0.045767
12 | 0.087134 | 0.042201
13 | 0.15188 | 0.073558
14 | 0.22044 | 0.10676
15 | 0.26495 | 0.12832
16 | 0.096436 | 0.046706
17 | 0.095923 | 0.046458
18 | 0.30477 | 0.1476
19 | 1.2204 | 0.59105
20 | 0.31361 | 0.15189
21 | 0.089271 | 0.043236
22 | 0.23666 | 0.11462
23 | 0.15399 | 0.07458
24 | 0.35308 | 0.17101
25 | 0.83808 | 0.4059
26 | 0.15831 | 0.076672
27 | 0.39154 | 0.18963
28 | 0.33042 | 0.16003
29 | 0.27152 | 0.1315
30 | 0.18808 | 0.091092
31 | 0.22348 | 0.10824
32 | 0.10815 | 0.05238
33 | 0.075112 | 0.036379
34 | 0.0948 | 0.045914
35 | 0.096176 | 0.04658
36 | 0.075959 | 0.036789
37 | 0.10937 | 0.052969
38 | 0.37881 | 0.18346

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1