## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_237_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_237_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_237_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_237_0_node_59 | 20 | n |  | TRUE
4 | bus_MV_237_0_node_61 | 20 | n |  | TRUE
5 | bus_MV_237_0_node_122 | 20 | n |  | TRUE
6 | bus_MV_237_0_node_66 | 20 | n |  | TRUE
7 | bus_MV_237_0_node_86 | 20 | n |  | TRUE
8 | bus_MV_237_0_node_62 | 20 | n |  | TRUE
9 | bus_MV_237_0_node_77 | 20 | n |  | TRUE
10 | bus_MV_237_0_node_87 | 20 | n |  | TRUE
11 | bus_MV_237_0_node_23 | 20 | n |  | TRUE
12 | bus_MV_237_0_node_121 | 20 | n |  | TRUE
13 | bus_MV_237_0_node_3 | 20 | n |  | TRUE
14 | bus_MV_237_0_node_4 | 20 | n |  | TRUE
15 | bus_MV_237_0_node_5 | 20 | n |  | TRUE
16 | bus_MV_237_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_237_0_node_52 | 20 | n |  | TRUE
18 | bus_MV_237_0_node_123 | 20 | n |  | TRUE
19 | bus_MV_237_0_node_127 | 20 | n |  | TRUE
20 | bus_MV_237_0_node_51 | 20 | n |  | TRUE
21 | bus_MV_237_0_node_50 | 20 | n |  | TRUE
22 | bus_MV_237_0_node_88 | 20 | n |  | TRUE
23 | bus_MV_237_0_node_67 | 20 | n |  | TRUE
24 | bus_MV_237_0_node_71 | 20 | n |  | TRUE
25 | bus_MV_237_0_node_12 | 20 | n |  | TRUE
26 | bus_MV_237_0_node_13 | 20 | n |  | TRUE
27 | bus_MV_237_0_node_14 | 20 | n |  | TRUE
28 | bus_MV_237_0_node_15 | 20 | n |  | TRUE
29 | bus_MV_237_0_node_18 | 20 | n |  | TRUE
30 | bus_MV_237_0_node_19 | 20 | n |  | TRUE
31 | bus_MV_237_0_node_131 | 20 | n |  | TRUE
32 | bus_MV_237_0_node_54 | 20 | n |  | TRUE
33 | bus_MV_237_0_node_49 | 20 | n |  | TRUE
34 | bus_MV_237_0_node_58 | 20 | n |  | TRUE
35 | bus_MV_237_0_node_142 | 20 | n |  | TRUE
36 | bus_MV_237_0_node_55 | 20 | n |  | TRUE
37 | bus_MV_237_0_node_85 | 20 | n |  | TRUE
38 | bus_MV_237_0_node_56 | 20 | n |  | TRUE
39 | bus_MV_237_0_node_20 | 20 | n |  | TRUE
40 | bus_MV_237_0_node_21 | 20 | n |  | TRUE
41 | bus_MV_237_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_237_0_node_25 | 20 | n |  | TRUE
43 | bus_MV_237_0_node_44 | 20 | n |  | TRUE
44 | bus_MV_237_0_node_53 | 20 | n |  | TRUE
45 | bus_MV_237_0_node_75 | 20 | n |  | TRUE
46 | bus_MV_237_0_node_47 | 20 | n |  | TRUE
47 | bus_MV_237_0_node_141 | 20 | n |  | TRUE
48 | bus_MV_237_0_node_46 | 20 | n |  | TRUE
49 | bus_MV_237_0_node_48 | 20 | n |  | TRUE
50 | bus_MV_237_0_node_143 | 20 | n |  | TRUE
51 | bus_MV_237_0_node_42 | 20 | n |  | TRUE
52 | bus_MV_237_0_node_43 | 20 | n |  | TRUE
53 | bus_MV_237_0_node_45 | 20 | n |  | TRUE
54 | bus_MV_237_0_node_128 | 20 | n |  | TRUE
55 | bus_MV_237_0_node_129 | 20 | n |  | TRUE
56 | bus_MV_237_0_node_144 | 20 | n |  | TRUE
57 | bus_MV_237_0_node_69 | 20 | n |  | TRUE
58 | bus_MV_237_0_node_76 | 20 | n |  | TRUE
59 | bus_MV_237_0_node_68 | 20 | n |  | TRUE
60 | bus_MV_237_0_node_73 | 20 | n |  | TRUE
61 | bus_MV_237_0_node_70 | 20 | n |  | TRUE
62 | bus_MV_237_0_node_74 | 20 | n |  | TRUE
63 | bus_MV_237_0_node_137 | 20 | n |  | TRUE
64 | bus_MV_237_0_node_136 | 20 | n |  | TRUE
65 | bus_MV_237_0_node_78 | 20 | n |  | TRUE
66 | bus_MV_237_0_node_79 | 20 | n |  | TRUE
67 | bus_MV_237_0_node_130 | 20 | n |  | TRUE
68 | bus_MV_237_0_node_132 | 20 | n |  | TRUE
69 | bus_MV_237_0_node_80 | 20 | n |  | TRUE
70 | bus_MV_237_0_node_133 | 20 | n |  | TRUE
71 | bus_MV_237_0_node_81 | 20 | n |  | TRUE
72 | bus_MV_237_0_node_138 | 20 | n |  | TRUE
73 | bus_MV_237_0_node_115 | 20 | n |  | TRUE
74 | bus_MV_237_0_node_116 | 20 | n |  | TRUE
75 | bus_MV_237_0_node_117 | 20 | n |  | TRUE
76 | bus_MV_237_0_node_118 | 20 | n |  | TRUE
77 | bus_MV_237_0_node_119 | 20 | n |  | TRUE
78 | bus_MV_237_0_node_120 | 20 | n |  | TRUE
79 | bus_MV_237_0_node_134 | 20 | n |  | TRUE
80 | bus_MV_237_0_node_135 | 20 | n |  | TRUE
81 | bus_HV_237_0_node_52 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_237_0_load_0 | 0 | 0.32316 | 0.15651 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_237_0_load_122 | 5 | 0.10288 | 0.049829 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_237_0_load_66 | 6 | 0.20567 | 0.09961 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_237_0_load_86 | 7 | 0.14049 | 0.068044 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_237_0_load_77 | 9 | 0.19953 | 0.096635 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_237_0_load_87 | 10 | 0.17877 | 0.086584 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_237_0_load_3 | 13 | 0.37938 | 0.18374 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_237_0_load_123 | 18 | 0.07055 | 0.034169 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_237_0_load_127 | 19 | 0.27697 | 0.13414 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_237_0_load_50 | 21 | 0.39681 | 0.19218 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_237_0_load_88 | 22 | 0.36181 | 0.17523 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_237_0_load_67 | 23 | 0.25389 | 0.12296 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_237_0_load_12 | 25 | 0.25399 | 0.12301 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_237_0_load_131 | 31 | 0.39582 | 0.1917 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_237_0_load_54 | 32 | 0.27627 | 0.1338 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_237_0_load_49 | 33 | 0.27841 | 0.13484 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_237_0_load_142 | 35 | 0.33966 | 0.16451 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_237_0_load_55 | 36 | 0.095527 | 0.046266 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_237_0_load_85 | 37 | 0.08507 | 0.041201 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_237_0_load_56 | 38 | 0.23081 | 0.11179 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_237_0_load_20 | 39 | 0.11645 | 0.0564 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_237_0_load_53 | 44 | 0.3331 | 0.16133 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_237_0_load_75 | 45 | 0.39953 | 0.1935 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_237_0_load_141 | 47 | 0.27049 | 0.13101 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_237_0_load_143 | 50 | 0.2713 | 0.1314 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_237_0_load_42 | 51 | 0.262 | 0.12689 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_237_0_load_128 | 54 | 0.31398 | 0.15207 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_237_0_load_144 | 56 | 0.4092 | 0.19818 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_237_0_load_76 | 58 | 0.39946 | 0.19347 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_237_0_load_74 | 62 | 0.31263 | 0.15141 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_237_0_load_137 | 63 | 0.38418 | 0.18607 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_237_0_load_78 | 65 | 0.14585 | 0.070639 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_237_0_load_132 | 68 | 0.23031 | 0.11155 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_237_0_load_133 | 70 | 0.24613 | 0.1192 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_237_0_load_138 | 72 | 0.081063 | 0.039261 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_237_0_load_115 | 73 | 0.076154 | 0.036883 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_237_0_load_118 | 76 | 0.26538 | 0.12853 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_237_0_load_119 | 77 | 0.16979 | 0.082233 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_237_0_load_135 | 80 | 0.29308 | 0.14194 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_237_0_line_0 |  | 0 | 1 | 0.069486 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_237_0_line_1 |  | 1 | 2 | 0.08423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_237_0_line_2 |  | 2 | 3 | 0.41424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_237_0_line_3 |  | 2 | 4 | 0.23947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_237_0_line_4 |  | 2 | 5 | 0.033953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_237_0_line_5 |  | 3 | 6 | 0.063467 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_237_0_line_6 |  | 4 | 7 | 0.032739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_237_0_line_7 |  | 4 | 8 | 0.12797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_237_0_line_8 |  | 4 | 9 | 0.042305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_237_0_line_9 |  | 5 | 12 | 0.0080233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_237_0_line_10 |  | 8 | 10 | 0.028297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_237_0_line_11 |  | 8 | 11 | 0.027373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_237_0_line_12 |  | 9 | 58 | 0.0056824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_237_0_line_13 |  | 11 | 22 | 0.038798 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_237_0_line_14 |  | 11 | 42 | 0.076078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_237_0_line_15 |  | 12 | 78 | 0.094271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_237_0_line_16 |  | 13 | 14 | 0.022275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_237_0_line_17 |  | 14 | 15 | 0.084043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_237_0_line_18 |  | 14 | 16 | 0.29878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_237_0_line_19 |  | 15 | 17 | 0.29769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_237_0_line_20 |  | 15 | 18 | 0.034128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_237_0_line_21 |  | 16 | 19 | 0.030459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_237_0_line_22 |  | 17 | 22 | 0.041252 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
23 | MV_237_0_line_23 |  | 17 | 20 | 0.26665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_237_0_line_24 |  | 19 | 23 | 0.34312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_237_0_line_25 |  | 19 | 24 | 0.12027 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_237_0_line_26 |  | 20 | 21 | 0.037181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_237_0_line_27 |  | 21 | 56 | 0.40643 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_237_0_line_28 |  | 23 | 59 | 0.042203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_237_0_line_29 |  | 24 | 57 | 0.3205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_237_0_line_30 |  | 24 | 61 | 0.3696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_237_0_line_31 |  | 25 | 26 | 0.02309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_237_0_line_32 |  | 26 | 27 | 0.29735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_237_0_line_33 |  | 26 | 28 | 0.18261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_237_0_line_34 |  | 26 | 29 | 0.80191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_237_0_line_35 |  | 26 | 30 | 0.81406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_237_0_line_36 |  | 27 | 31 | 0.00344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_237_0_line_37 |  | 28 | 32 | 0.14753 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_237_0_line_38 |  | 29 | 33 | 0.045386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_237_0_line_39 |  | 30 | 34 | 0.30695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_237_0_line_40 |  | 30 | 35 | 0.038732 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_237_0_line_41 |  | 32 | 36 | 0.024637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_237_0_line_42 |  | 34 | 38 | 0.002805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_237_0_line_43 |  | 36 | 37 | 0.27437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_237_0_line_44 |  | 37 | 57 | 0.047933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_237_0_line_45 |  | 39 | 40 | 0.053612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_237_0_line_46 |  | 40 | 41 | 0.4733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_237_0_line_47 |  | 40 | 42 | 0.5536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_237_0_line_48 |  | 41 | 43 | 0.45497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_237_0_line_49 |  | 41 | 44 | 0.036456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_237_0_line_50 |  | 42 | 45 | 0.004062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_237_0_line_51 |  | 43 | 51 | 0.066835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_237_0_line_52 |  | 43 | 46 | 0.36209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_237_0_line_53 |  | 46 | 47 | 0.028625 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_237_0_line_54 |  | 46 | 48 | 0.53861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_237_0_line_55 |  | 48 | 49 | 0.75038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_237_0_line_56 |  | 49 | 50 | 0.031351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_237_0_line_57 |  | 51 | 52 | 0.039406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_237_0_line_58 |  | 52 | 53 | 0.3558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_237_0_line_59 |  | 53 | 54 | 0.008021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_237_0_line_60 |  | 54 | 55 | 0.015252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_237_0_line_61 |  | 55 | 67 | 0.26552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_237_0_line_62 |  | 59 | 60 | 0.26542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_237_0_line_63 |  | 60 | 63 | 0.033713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_237_0_line_64 |  | 61 | 62 | 0.016463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_237_0_line_65 |  | 63 | 64 | 0.121 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_237_0_line_66 |  | 64 | 79 | 0.1898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_237_0_line_67 |  | 65 | 66 | 0.038934 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_237_0_line_68 |  | 66 | 67 | 0.69305 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_237_0_line_69 |  | 67 | 68 | 0.11216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_237_0_line_70 |  | 68 | 71 | 0.10037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_237_0_line_71 |  | 69 | 70 | 0.057379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_237_0_line_72 |  | 69 | 71 | 0.19551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_237_0_line_73 |  | 70 | 72 | 0.16862 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_237_0_line_74 |  | 73 | 74 | 0.023928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_237_0_line_75 |  | 74 | 75 | 0.050305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_237_0_line_76 |  | 75 | 76 | 0.057596 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_237_0_line_77 |  | 75 | 77 | 0.042952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_237_0_line_78 |  | 77 | 78 | 0.027158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_237_0_line_79 |  | 79 | 80 | 0.063468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_237_0_trafo_52 | 25 MVA 110/20 kV | 81 | 17 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2754469.4578 | 1225973.027
1 | 2754404.0098 | 1225949.6849
2 | 2754324.3209 | 1225922.404
3 | 2754302.8167 | 1226239.2709
4 | 2754229.9484 | 1225891.2846
5 | 2754337.7845 | 1225891.2346
6 | 2754287.5061 | 1226300.8639
7 | 2754239.9477 | 1225860.1136
8 | 2754154.9944 | 1225866.2085
9 | 2754270.1251 | 1225904.5333
10 | 2754145.8285 | 1225892.9796
11 | 2754129.1255 | 1225857.0412
12 | 2754340.9608 | 1225883.8668
13 | 2754371.2698 | 1225614.0926
14 | 2754350.2148 | 1225607.1305
15 | 2754331.2165 | 1225674.8444
16 | 2754465.9704 | 1225334.1051
17 | 2754175.7032 | 1225797.3707
18 | 2754355.5646 | 1225670.6003
19 | 2754470.1747 | 1225303.9532
20 | 2754122.8261 | 1225607.8829
21 | 2754094.7092 | 1225583.5548
22 | 2754149.7708 | 1225826.444
23 | 2754406.5917 | 1224966.7771
24 | 2754518.9912 | 1225194.0306
25 | 2754708.0631 | 1225814.6903
26 | 2754686.7996 | 1225816.2724
27 | 2754580.1009 | 1226006.9087
28 | 2754712.2906 | 1225707.8908
29 | 2754977.1202 | 1225898.4676
30 | 2754534.7383 | 1226134.1143
31 | 2754579.1729 | 1226010.221
32 | 2754762.4702 | 1225569.1533
33 | 2755002.5394 | 1225860.8283
34 | 2754424.5353 | 1226207.1875
35 | 2754499.6729 | 1226150.5634
36 | 2754738.9531 | 1225561.8107
37 | 2754802.4521 | 1225294.8883
38 | 2754423.8428 | 1226209.9054
39 | 2753720.7411 | 1225749.4138
40 | 2753771.4643 | 1225731.9748
41 | 2753709.6647 | 1225976.6024
42 | 2754116.6461 | 1225824.3658
43 | 2753758.7401 | 1226291.7478
44 | 2753740.8294 | 1225957.5455
45 | 2754114.1118 | 1225821.1862
46 | 2754004.0761 | 1226144.312
47 | 2754015.2704 | 1226117.9664
48 | 2753893.5161 | 1226497.2091
49 | 2753403.4329 | 1226661.439
50 | 2753433.9097 | 1226669.1541
51 | 2753704.8038 | 1226252.0626
52 | 2753683.2096 | 1226285.0017
53 | 2753465.0079 | 1226240.5745
54 | 2753466.5728 | 1226248.4109
55 | 2753451.2952 | 1226247.6496
56 | 2754027.6792 | 1225182.6858
57 | 2754759.099 | 1225274.4426
58 | 2754275.5216 | 1225906.3129
59 | 2754414.9284 | 1224925.4059
60 | 2754585.5775 | 1224857.8511
61 | 2754754.5453 | 1225066.7
62 | 2754770.1873 | 1225071.0663
63 | 2754590.9336 | 1224824.5708
64 | 2754711.9271 | 1224823.569
65 | 2752615.1663 | 1226743.9567
66 | 2752643.4939 | 1226717.2478
67 | 2753195.88 | 1226298.6935
68 | 2753102.264 | 1226360.463
69 | 2752846.6057 | 1226373.2138
70 | 2752791.0176 | 1226358.3616
71 | 2753015.6096 | 1226411.4252
72 | 2752706.2953 | 1226504.1524
73 | 2754365.7148 | 1225789.2527
74 | 2754388.3937 | 1225796.8839
75 | 2754436.2167 | 1225812.9171
76 | 2754490.7426 | 1225831.9387
77 | 2754422.783 | 1225853.7141
78 | 2754414.289 | 1225879.5094
79 | 2754824.5668 | 1224740.1655
80 | 2754836.982 | 1224677.9425
81 | 2754175.7032 | 1225797.3707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99899 | 0.0037742 | 0.32316 | 0.15651
1 | 0.99903 | 0.0040464 | 0 | 0
2 | 0.99906 | 0.0037259 | 0 | 0
3 | 0.99896 | 0.0046147 | 0 | 0
4 | 0.99941 | 0.00079685 | 0 | 0
5 | 0.99904 | 0.0039593 | 0.10288 | 0.049829
6 | 0.99893 | 0.0044564 | 0.20567 | 0.09961
7 | 0.99941 | 0.00085113 | 0.14049 | 0.068044
8 | 0.99972 | -0.0018491 | 0 | 0
9 | 0.99938 | 0.0010987 | 0.19953 | 0.096635
10 | 0.99971 | -0.0017891 | 0.17877 | 0.086584
11 | 0.99979 | -0.002469 | 0 | 0
12 | 0.99903 | 0.0040048 | 0 | 0
13 | 0.99809 | 0.015452 | 0.37938 | 0.18374
14 | 0.9981 | 0.015351 | 0 | 0
15 | 0.99852 | 0.011999 | 0 | 0
16 | 0.99678 | 0.026022 | 0 | 0
17 | 1 | 0 | -9.8739 | -4.5228
18 | 0.99851 | 0.012027 | 0.07055 | 0.034169
19 | 0.99665 | 0.027119 | 0.27697 | 0.13414
20 | 0.99973 | 0.0025099 | 0 | 0
21 | 0.99967 | 0.0021459 | 0.39681 | 0.19218
22 | 0.99989 | -0.0013133 | 0.36181 | 0.17523
23 | 0.99603 | 0.022803 | 0.25389 | 0.12296
24 | 0.99613 | 0.022989 | 0 | 0
25 | 0.9934 | 0.022223 | 0.25399 | 0.12301
26 | 0.9934 | 0.022152 | 0 | 0
27 | 0.99325 | 0.02351 | 0 | 0
28 | 0.99375 | 0.019499 | 0 | 0
29 | 0.99312 | 0.024315 | 0 | 0
30 | 0.99281 | 0.026896 | 0 | 0
31 | 0.99325 | 0.023527 | 0.39582 | 0.1917
32 | 0.99417 | 0.022951 | 0.27627 | 0.1338
33 | 0.9931 | 0.024467 | 0.27841 | 0.13484
34 | 0.99272 | 0.027683 | 0 | 0
35 | 0.99279 | 0.026735 | 0.33966 | 0.16451
36 | 0.99423 | 0.022515 | 0.095527 | 0.046266
37 | 0.99521 | 0.030191 | 0.08507 | 0.041201
38 | 0.99272 | 0.027691 | 0.23081 | 0.11179
39 | 0.99793 | 0.011141 | 0.11645 | 0.0564
40 | 0.99794 | 0.011068 | 0 | 0
41 | 0.99665 | 0.020775 | 0 | 0
42 | 0.99953 | -0.00054851 | 0 | 0
43 | 0.9956 | 0.028647 | 0 | 0
44 | 0.99664 | 0.02092 | 0.3331 | 0.16133
45 | 0.99953 | -0.00052908 | 0.39953 | 0.1935
46 | 0.99536 | 0.030188 | 0 | 0
47 | 0.99534 | 0.030093 | 0.27049 | 0.13101
48 | 0.99517 | 0.031091 | 0 | 0
49 | 0.99492 | 0.033087 | 0 | 0
50 | 0.99491 | 0.033189 | 0.2713 | 0.1314
51 | 0.99549 | 0.029565 | 0.262 | 0.12689
52 | 0.99544 | 0.029985 | 0 | 0
53 | 0.99498 | 0.033887 | 0 | 0
54 | 0.99497 | 0.033978 | 0.31398 | 0.15207
55 | 0.99496 | 0.034091 | 0 | 0
56 | 0.99935 | 0.00012587 | 0.4092 | 0.19818
57 | 0.99533 | 0.029241 | 0 | 0
58 | 0.99938 | 0.0011258 | 0.39946 | 0.19347
59 | 0.996 | 0.02311 | 0 | 0
60 | 0.99577 | 0.025107 | 0 | 0
61 | 0.99598 | 0.02427 | 0 | 0
62 | 0.99597 | 0.024332 | 0.31263 | 0.15141
63 | 0.99574 | 0.025368 | 0.38418 | 0.18607
64 | 0.99567 | 0.024873 | 0 | 0
65 | 0.99451 | 0.034802 | 0.14585 | 0.070639
66 | 0.99453 | 0.034871 | 0 | 0
67 | 0.99472 | 0.036133 | 0 | 0
68 | 0.9946 | 0.035286 | 0.23031 | 0.11155
69 | 0.99448 | 0.036361 | 0 | 0
70 | 0.99445 | 0.036585 | 0.24613 | 0.1192
71 | 0.99456 | 0.035636 | 0 | 0
72 | 0.99443 | 0.036416 | 0.081063 | 0.039261
73 | 0.99893 | 0.004935 | 0.076154 | 0.036883
74 | 0.99893 | 0.0049136 | 0 | 0
75 | 0.99894 | 0.0048714 | 0 | 0
76 | 0.99892 | 0.0050522 | 0.26538 | 0.12853
77 | 0.99895 | 0.0047056 | 0.16979 | 0.082233
78 | 0.99897 | 0.0045469 | 0 | 0
79 | 0.9956 | 0.025499 | 0 | 0
80 | 0.99558 | 0.02572 | 0.29308 | 0.14194
81 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.32316 | -0.15651 | 0.32317 | 0.15644 | 1.3327e-05 | -7.444e-05 | 0.010376 | 0.010375 | 0.010376 | 0.99899 | 0.0037742 | 0.99903 | 0.0040464 | 4.9409
1 | -0.32317 | -0.15644 | 0.32319 | 0.15444 | 1.2074e-05 | -0.0020037 | 0.010375 | 0.01035 | 0.010375 | 0.99903 | 0.0040464 | 0.99906 | 0.0037259 | 4.7159
2 | 0.2057 | 0.089674 | -0.20567 | -0.099538 | 2.3668e-05 | -0.0098639 | 0.0064838 | 0.006603 | 0.006603 | 0.99906 | 0.0037259 | 0.99896 | 0.0046147 | 3.0013
3 | -1.1432 | -0.53355 | 1.1436 | 0.52796 | 0.00042398 | -0.0055832 | 0.036452 | 0.036382 | 0.036452 | 0.99906 | 0.0037259 | 0.99941 | 0.00079685 | 16.569
4 | 0.61428 | 0.28944 | -0.61426 | -0.29024 | 1.7459e-05 | -0.00080395 | 0.019621 | 0.019631 | 0.019631 | 0.99906 | 0.0037259 | 0.99904 | 0.0039593 | 8.9231
5 | 0.20567 | 0.099538 | -0.20567 | -0.09961 | 4.9309e-06 | -7.2519e-05 | 0.006603 | 0.0066039 | 0.0066039 | 0.99896 | 0.0046147 | 0.99893 | 0.0044564 | 3.1447
6 | 0.14049 | 0.067264 | -0.14049 | -0.068044 | 8.8667e-07 | -0.00078049 | 0.0044992 | 0.004509 | 0.004509 | 0.99941 | 0.00079685 | 0.99941 | 0.00085113 | 2.0496
7 | -1.8831 | -0.88419 | 1.8837 | 0.88132 | 0.00061649 | -0.0028699 | 0.06009 | 0.060052 | 0.06009 | 0.99941 | 0.00079685 | 0.99972 | -0.0018491 | 27.3135
8 | 0.59901 | 0.28897 | -0.59899 | -0.28997 | 2.0855e-05 | -0.0010027 | 0.01921 | 0.019223 | 0.019223 | 0.99941 | 0.00079685 | 0.99938 | 0.0010987 | 8.7376
9 | 0.51138 | 0.24041 | -0.51138 | -0.2406 | 2.856e-06 | -0.00019035 | 0.016328 | 0.01633 | 0.01633 | 0.99904 | 0.0039593 | 0.99903 | 0.0040048 | 7.4228
10 | 0.17877 | 0.085909 | -0.17877 | -0.086584 | 1.241e-06 | -0.00067487 | 0.0057273 | 0.0057358 | 0.0057358 | 0.99972 | -0.0018491 | 0.99971 | -0.0017891 | 2.6072
11 | -2.0625 | -0.96723 | 2.0626 | 0.96663 | 0.0001581 | -0.00060634 | 0.065779 | 0.065771 | 0.065779 | 0.99972 | -0.0018491 | 0.99979 | -0.002469 | 29.8997
12 | 0.39946 | 0.19333 | -0.39946 | -0.19347 | 1.2467e-06 | -0.00013514 | 0.012819 | 0.012821 | 0.012821 | 0.99938 | 0.0010987 | 0.99938 | 0.0011258 | 5.8276
13 | -4.7437 | -2.1568 | 4.7442 | 2.1557 | 0.00042419 | -0.0010223 | 0.15046 | 0.15045 | 0.15046 | 0.99979 | -0.002469 | 0.99989 | -0.0013133 | 41.5638
14 | 2.6811 | 1.1901 | -2.6804 | -1.1917 | 0.00072876 | -0.001599 | 0.084697 | 0.084719 | 0.084719 | 0.99979 | -0.002469 | 0.99953 | -0.00054851 | 38.5084
15 | 0.51138 | 0.2406 | -0.51134 | -0.24284 | 3.3619e-05 | -0.0022364 | 0.01633 | 0.016358 | 0.016358 | 0.99903 | 0.0040048 | 0.99897 | 0.0045469 | 7.4355
16 | -0.37938 | -0.18374 | 0.37938 | 0.18321 | 4.4178e-06 | -0.00052851 | 0.012192 | 0.012185 | 0.012192 | 0.99809 | 0.015452 | 0.9981 | 0.015351 | 5.5418
17 | -3.8685 | -1.7721 | 3.8702 | 1.7706 | 0.0016989 | -0.0014959 | 0.12307 | 0.12304 | 0.12307 | 0.9981 | 0.015351 | 0.99852 | 0.011999 | 55.9394
18 | 3.4891 | 1.5888 | -3.4842 | -1.5945 | 0.004908 | -0.0056414 | 0.11088 | 0.11097 | 0.11097 | 0.9981 | 0.015351 | 0.99678 | 0.026022 | 50.4407
19 | -3.9408 | -1.8039 | 3.947 | 1.7987 | 0.0062351 | -0.0052477 | 0.1253 | 0.12521 | 0.1253 | 0.99852 | 0.011999 | 1 | 0 | 56.9539
20 | 0.070551 | 0.033357 | -0.07055 | -0.034169 | 2.3295e-07 | -0.00081236 | 0.0022561 | 0.0022663 | 0.0022663 | 0.99852 | 0.011999 | 0.99851 | 0.012027 | 1.0301
21 | 3.4842 | 1.5945 | -3.4837 | -1.5951 | 0.00050077 | -0.00057393 | 0.11097 | 0.11098 | 0.11098 | 0.99678 | 0.026022 | 0.99665 | 0.027119 | 50.4446
22 | 5.1065 | 2.3299 | -5.106 | -2.331 | 0.00052316 | -0.0010349 | 0.16203 | 0.16205 | 0.16205 | 1 | 0 | 0.99989 | -0.0013133 | 44.7646
23 | 0.80641 | 0.38365 | -0.80617 | -0.38994 | 0.0002373 | -0.0062945 | 0.025779 | 0.025859 | 0.025859 | 1 | 0 | 0.99973 | 0.0025099 | 11.754
24 | 0.93195 | 0.43677 | -0.9314 | -0.43684 | 0.00054338 | -6.6272e-05 | 0.029811 | 0.029816 | 0.029816 | 0.99665 | 0.027119 | 0.99603 | 0.022803 | 14.198
25 | 2.2748 | 1.0242 | -2.2737 | -1.0236 | 0.0011189 | 0.0005583 | 0.072259 | 0.07226 | 0.07226 | 0.99665 | 0.027119 | 0.99613 | 0.022989 | 34.4096
26 | 0.80617 | 0.38994 | -0.80613 | -0.38996 | 4.4297e-05 | -1.6613e-05 | 0.025859 | 0.025859 | 0.025859 | 0.99973 | 0.0025099 | 0.99967 | 0.0021459 | 12.3139
27 | 0.40932 | 0.19778 | -0.4092 | -0.19818 | 0.00012485 | -0.00040652 | 0.013128 | 0.013134 | 0.013134 | 0.99967 | 0.0021459 | 0.99935 | 0.00012587 | 6.2541
28 | 0.67752 | 0.31387 | -0.67749 | -0.31486 | 2.6401e-05 | -0.00099179 | 0.021641 | 0.021653 | 0.021653 | 0.99603 | 0.022803 | 0.996 | 0.02311 | 9.8423
29 | 1.961 | 0.88131 | -1.9593 | -0.88841 | 0.0016633 | -0.0070936 | 0.062305 | 0.062395 | 0.062395 | 0.99613 | 0.022989 | 0.99533 | 0.029241 | 28.3616
30 | 0.31268 | 0.14228 | -0.31263 | -0.15102 | 4.9426e-05 | -0.0087404 | 0.0099553 | 0.010063 | 0.010063 | 0.99613 | 0.022989 | 0.99598 | 0.02427 | 4.5741
31 | -0.25399 | -0.12301 | 0.25399 | 0.12247 | 2.0714e-06 | -0.00054343 | 0.0082008 | 0.0081939 | 0.0082008 | 0.9934 | 0.022223 | 0.9934 | 0.022152 | 3.7276
32 | 0.39588 | 0.18464 | -0.39582 | -0.19162 | 6.4399e-05 | -0.006986 | 0.012694 | 0.012781 | 0.012781 | 0.9934 | 0.022152 | 0.99325 | 0.02351 | 5.8096
33 | -1.4992 | -0.67192 | 1.4998 | 0.66778 | 0.00055505 | -0.0041395 | 0.047742 | 0.047691 | 0.047742 | 0.9934 | 0.022152 | 0.99375 | 0.019499 | 21.7009
34 | 0.2785 | 0.11491 | -0.27841 | -0.13377 | 8.4094e-05 | -0.018864 | 0.0087547 | 0.0089784 | 0.0089784 | 0.9934 | 0.022152 | 0.99312 | 0.024315 | 4.0811
35 | 0.57087 | 0.24991 | -0.57051 | -0.26897 | 0.00036087 | -0.019063 | 0.018109 | 0.018339 | 0.018339 | 0.9934 | 0.022152 | 0.99281 | 0.026896 | 8.3361
36 | 0.39582 | 0.19162 | -0.39582 | -0.1917 | 7.5024e-07 | -8.0806e-05 | 0.012781 | 0.012782 | 0.012782 | 0.99325 | 0.02351 | 0.99325 | 0.023527 | 5.81
37 | -1.4998 | -0.66778 | 1.5004 | 0.66798 | 0.00059783 | 0.00020046 | 0.047691 | 0.047689 | 0.047691 | 0.99375 | 0.019499 | 0.99417 | 0.022951 | 22.71
38 | 0.27841 | 0.13377 | -0.27841 | -0.13484 | 4.8916e-06 | -0.0010673 | 0.0089784 | 0.0089919 | 0.0089919 | 0.99312 | 0.024315 | 0.9931 | 0.024467 | 4.0872
39 | 0.23084 | 0.10451 | -0.23081 | -0.11172 | 2.251e-05 | -0.0072163 | 0.0073677 | 0.0074568 | 0.0074568 | 0.99281 | 0.026896 | 0.99272 | 0.027683 | 3.3895
40 | 0.33967 | 0.16446 | -0.33966 | -0.16451 | 8.3098e-06 | -4.037e-05 | 0.010973 | 0.010974 | 0.010974 | 0.99281 | 0.026896 | 0.99279 | 0.026735 | 5.2256
41 | -1.7767 | -0.80178 | 1.7768 | 0.80123 | 0.00010535 | -0.00055018 | 0.056598 | 0.056591 | 0.056598 | 0.99417 | 0.022951 | 0.99423 | 0.022515 | 25.7265
42 | 0.23081 | 0.11172 | -0.23081 | -0.11179 | 2.0824e-07 | -6.5939e-05 | 0.0074568 | 0.0074577 | 0.0074577 | 0.99272 | 0.027683 | 0.99272 | 0.027691 | 3.3898
43 | -1.8723 | -0.8475 | 1.874 | 0.84827 | 0.0017406 | 0.00076613 | 0.059672 | 0.059668 | 0.059672 | 0.99423 | 0.022515 | 0.99521 | 0.030191 | 28.4153
44 | -1.9591 | -0.88947 | 1.9593 | 0.88841 | 0.00024918 | -0.0010597 | 0.062409 | 0.062395 | 0.062409 | 0.99521 | 0.030191 | 0.99533 | 0.029241 | 28.3677
45 | -0.11645 | -0.0564 | 0.11645 | 0.055126 | 9.9841e-07 | -0.0012745 | 0.0037429 | 0.003727 | 0.0037429 | 0.99793 | 0.011141 | 0.99794 | 0.011068 | 1.7013
46 | 2.1606 | 0.95525 | -2.1576 | -0.96562 | 0.0029562 | -0.010363 | 0.068334 | 0.068467 | 0.068467 | 0.99794 | 0.011068 | 0.99665 | 0.020775 | 31.1212
47 | -2.277 | -1.0104 | 2.2808 | 0.99833 | 0.0038295 | -0.012048 | 0.07206 | 0.071907 | 0.07206 | 0.99794 | 0.011068 | 0.99953 | -0.00054851 | 32.7547
48 | 1.8245 | 0.80515 | -1.8225 | -0.81533 | 0.002031 | -0.010177 | 0.057762 | 0.057889 | 0.057889 | 0.99665 | 0.020775 | 0.9956 | 0.028647 | 26.3133
49 | 0.3331 | 0.16046 | -0.3331 | -0.16133 | 5.5875e-06 | -0.00086294 | 0.010709 | 0.01072 | 0.01072 | 0.99665 | 0.020775 | 0.99664 | 0.02092 | 4.8728
50 | 0.39954 | 0.19341 | -0.39953 | -0.1935 | 8.9131e-07 | -9.6629e-05 | 0.01282 | 0.012821 | 0.012821 | 0.99953 | -0.00054851 | 0.99953 | -0.00052908 | 5.8278
51 | 1.2804 | 0.59266 | -1.2802 | -0.5942 | 0.00014939 | -0.0015373 | 0.040909 | 0.040928 | 0.040928 | 0.9956 | 0.028647 | 0.99549 | 0.029565 | 18.6038
52 | 0.54207 | 0.22267 | -0.54193 | -0.23119 | 0.00014034 | -0.0085256 | 0.016992 | 0.017088 | 0.017088 | 0.9956 | 0.028647 | 0.99536 | 0.030188 | 7.7671
53 | 0.2705 | 0.13097 | -0.27049 | -0.13101 | 3.8749e-06 | -3.1429e-05 | 0.0087163 | 0.0087167 | 0.0087167 | 0.99536 | 0.030188 | 0.99534 | 0.030093 | 4.1508
54 | 0.27143 | 0.10022 | -0.27138 | -0.11294 | 5.1431e-05 | -0.012723 | 0.0083916 | 0.0085266 | 0.0085266 | 0.99536 | 0.030188 | 0.99517 | 0.031091 | 3.8757
55 | 0.27138 | 0.11294 | -0.27131 | -0.13066 | 7.4586e-05 | -0.017717 | 0.0085266 | 0.0087373 | 0.0087373 | 0.99517 | 0.031091 | 0.99492 | 0.033087 | 3.9715
56 | 0.27131 | 0.13066 | -0.2713 | -0.1314 | 3.1985e-06 | -0.00073999 | 0.0087373 | 0.0087466 | 0.0087466 | 0.99492 | 0.033087 | 0.99491 | 0.033189 | 3.9757
57 | 1.0182 | 0.46731 | -1.0182 | -0.46822 | 5.5545e-05 | -0.00091588 | 0.032488 | 0.032499 | 0.032499 | 0.99549 | 0.029565 | 0.99544 | 0.029985 | 14.7725
58 | 1.0182 | 0.46822 | -1.0177 | -0.47649 | 0.00050327 | -0.0082646 | 0.032499 | 0.032602 | 0.032602 | 0.99544 | 0.029985 | 0.99498 | 0.033887 | 14.8192
59 | 1.0177 | 0.47649 | -1.0177 | -0.47668 | 1.1382e-05 | -0.00018622 | 0.032602 | 0.032605 | 0.032605 | 0.99498 | 0.033887 | 0.99497 | 0.033978 | 14.8202
60 | 0.70369 | 0.32461 | -0.70368 | -0.32497 | 1.0295e-05 | -0.00035745 | 0.022484 | 0.022488 | 0.022488 | 0.99497 | 0.033978 | 0.99496 | 0.034091 | 10.222
61 | 0.70368 | 0.32497 | -0.7035 | -0.33119 | 0.00017988 | -0.0062211 | 0.022488 | 0.022565 | 0.022565 | 0.99496 | 0.034091 | 0.99472 | 0.036133 | 10.257
62 | 0.67749 | 0.31486 | -0.67732 | -0.3211 | 0.00016672 | -0.0062356 | 0.021653 | 0.02173 | 0.02173 | 0.996 | 0.02311 | 0.99577 | 0.025107 | 9.8775
63 | 0.67732 | 0.3211 | -0.6773 | -0.32189 | 2.1263e-05 | -0.00079181 | 0.02173 | 0.02174 | 0.02174 | 0.99577 | 0.025107 | 0.99574 | 0.025368 | 9.882
64 | 0.31263 | 0.15102 | -0.31263 | -0.15141 | 2.2267e-06 | -0.00038926 | 0.010063 | 0.010068 | 0.010068 | 0.99598 | 0.02427 | 0.99597 | 0.024332 | 4.5764
65 | 0.29312 | 0.13583 | -0.29311 | -0.13596 | 1.8915e-05 | -0.00013136 | 0.009366 | 0.0093677 | 0.0093677 | 0.99574 | 0.025368 | 0.99567 | 0.024873 | 4.4608
66 | 0.29311 | 0.13596 | -0.29308 | -0.14044 | 2.2366e-05 | -0.0044856 | 0.0093677 | 0.0094233 | 0.0094233 | 0.99567 | 0.024873 | 0.9956 | 0.025499 | 4.2833
67 | -0.14585 | -0.070639 | 0.14585 | 0.070594 | 1.5347e-06 | -4.501e-05 | 0.004704 | 0.0047034 | 0.004704 | 0.99451 | 0.034802 | 0.99453 | 0.034871 | 2.24
68 | -0.14585 | -0.070594 | 0.14588 | 0.069792 | 2.7256e-05 | -0.00080142 | 0.0047034 | 0.0046931 | 0.0047034 | 0.99453 | 0.034871 | 0.99472 | 0.036133 | 2.2397
69 | 0.55762 | 0.26139 | -0.55756 | -0.26149 | 6.3836e-05 | -9.2484e-05 | 0.017872 | 0.017874 | 0.017874 | 0.99472 | 0.036133 | 0.9946 | 0.035286 | 8.5114
70 | 0.32724 | 0.14994 | -0.32723 | -0.15231 | 1.4666e-05 | -0.0023663 | 0.010448 | 0.010476 | 0.010476 | 0.9946 | 0.035286 | 0.99456 | 0.035636 | 4.762
71 | 0.3272 | 0.15692 | -0.32719 | -0.15827 | 8.5132e-06 | -0.0013523 | 0.010534 | 0.010551 | 0.010551 | 0.99448 | 0.036361 | 0.99445 | 0.036585 | 4.7958
72 | -0.3272 | -0.15692 | 0.32723 | 0.15231 | 2.8802e-05 | -0.0046083 | 0.010534 | 0.010476 | 0.010534 | 0.99448 | 0.036361 | 0.99456 | 0.035636 | 4.788
73 | 0.081065 | 0.039063 | -0.081063 | -0.039261 | 2.0519e-06 | -0.00019778 | 0.0026122 | 0.0026147 | 0.0026147 | 0.99445 | 0.036585 | 0.99443 | 0.036416 | 1.2451
74 | -0.076154 | -0.036883 | 0.076154 | 0.036313 | 1.9044e-07 | -0.00057004 | 0.0024453 | 0.0024381 | 0.0024453 | 0.99893 | 0.004935 | 0.99893 | 0.0049136 | 1.1115
75 | -0.076154 | -0.036313 | 0.076155 | 0.035115 | 3.9679e-07 | -0.0011984 | 0.0024381 | 0.0024234 | 0.0024381 | 0.99893 | 0.0049136 | 0.99894 | 0.0048714 | 1.1082
76 | 0.26538 | 0.12716 | -0.26538 | -0.12853 | 5.5718e-06 | -0.0013706 | 0.008504 | 0.0085212 | 0.0085212 | 0.99894 | 0.0048714 | 0.99892 | 0.0050522 | 3.8733
77 | -0.34154 | -0.16227 | 0.34154 | 0.16125 | 6.8387e-06 | -0.0010213 | 0.010927 | 0.010915 | 0.010927 | 0.99894 | 0.0048714 | 0.99895 | 0.0047056 | 4.9669
78 | -0.51133 | -0.24348 | 0.51134 | 0.24284 | 9.7062e-06 | -0.0006442 | 0.016366 | 0.016358 | 0.016366 | 0.99895 | 0.0047056 | 0.99897 | 0.0045469 | 7.4391
79 | 0.29308 | 0.14044 | -0.29308 | -0.14194 | 7.5389e-06 | -0.0014998 | 0.0094233 | 0.0094422 | 0.0094422 | 0.9956 | 0.025499 | 0.99558 | 0.02572 | 4.2919

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.8739 | 4.5228

## res_load
| p_mw | q_mvar
0 | 0.32316 | 0.15651
1 | 0.10288 | 0.049829
2 | 0.20567 | 0.09961
3 | 0.14049 | 0.068044
4 | 0.19953 | 0.096635
5 | 0.17877 | 0.086584
6 | 0.37938 | 0.18374
7 | 0.07055 | 0.034169
8 | 0.27697 | 0.13414
9 | 0.39681 | 0.19218
10 | 0.36181 | 0.17523
11 | 0.25389 | 0.12296
12 | 0.25399 | 0.12301
13 | 0.39582 | 0.1917
14 | 0.27627 | 0.1338
15 | 0.27841 | 0.13484
16 | 0.33966 | 0.16451
17 | 0.095527 | 0.046266
18 | 0.08507 | 0.041201
19 | 0.23081 | 0.11179
20 | 0.11645 | 0.0564
21 | 0.3331 | 0.16133
22 | 0.39953 | 0.1935
23 | 0.27049 | 0.13101
24 | 0.2713 | 0.1314
25 | 0.262 | 0.12689
26 | 0.31398 | 0.15207
27 | 0.4092 | 0.19818
28 | 0.39946 | 0.19347
29 | 0.31263 | 0.15141
30 | 0.38418 | 0.18607
31 | 0.14585 | 0.070639
32 | 0.23031 | 0.11155
33 | 0.24613 | 0.1192
34 | 0.081063 | 0.039261
35 | 0.076154 | 0.036883
36 | 0.26538 | 0.12853
37 | 0.16979 | 0.082233
38 | 0.29308 | 0.14194

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1