## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_237_1_node_7 | 20 | n |  | TRUE
1 | bus_MV_237_1_node_124 | 20 | n |  | TRUE
2 | bus_MV_237_1_node_8 | 20 | n |  | TRUE
3 | bus_MV_237_1_node_9 | 20 | n |  | TRUE
4 | bus_MV_237_1_node_10 | 20 | n |  | TRUE
5 | bus_MV_237_1_node_11 | 20 | n |  | TRUE
6 | bus_MV_237_1_node_65 | 20 | n |  | TRUE
7 | bus_MV_237_1_node_126 | 20 | n |  | TRUE
8 | bus_MV_237_1_node_139 | 20 | n |  | TRUE
9 | bus_MV_237_1_node_83 | 20 | n |  | TRUE
10 | bus_MV_237_1_node_64 | 20 | n |  | TRUE
11 | bus_MV_237_1_node_140 | 20 | n |  | TRUE
12 | bus_MV_237_1_node_60 | 20 | n |  | TRUE
13 | bus_MV_237_1_node_16 | 20 | n |  | TRUE
14 | bus_MV_237_1_node_17 | 20 | n |  | TRUE
15 | bus_MV_237_1_node_108 | 20 | n |  | TRUE
16 | bus_MV_237_1_node_37 | 20 | n |  | TRUE
17 | bus_MV_237_1_node_145 | 20 | n |  | TRUE
18 | bus_MV_237_1_node_26 | 20 | n |  | TRUE
19 | bus_MV_237_1_node_27 | 20 | n |  | TRUE
20 | bus_MV_237_1_node_33 | 20 | n |  | TRUE
21 | bus_MV_237_1_node_31 | 20 | n |  | TRUE
22 | bus_MV_237_1_node_29 | 20 | n |  | TRUE
23 | bus_MV_237_1_node_38 | 20 | n |  | TRUE
24 | bus_MV_237_1_node_110 | 20 | n |  | TRUE
25 | bus_MV_237_1_node_30 | 20 | n |  | TRUE
26 | bus_MV_237_1_node_32 | 20 | n |  | TRUE
27 | bus_MV_237_1_node_34 | 20 | n |  | TRUE
28 | bus_MV_237_1_node_35 | 20 | n |  | TRUE
29 | bus_MV_237_1_node_111 | 20 | n |  | TRUE
30 | bus_MV_237_1_node_36 | 20 | n |  | TRUE
31 | bus_MV_237_1_node_97 | 20 | n |  | TRUE
32 | bus_MV_237_1_node_91 | 20 | n |  | TRUE
33 | bus_MV_237_1_node_39 | 20 | n |  | TRUE
34 | bus_MV_237_1_node_40 | 20 | n |  | TRUE
35 | bus_MV_237_1_node_41 | 20 | n |  | TRUE
36 | bus_MV_237_1_node_104 | 20 | n |  | TRUE
37 | bus_MV_237_1_node_84 | 20 | n |  | TRUE
38 | bus_MV_237_1_node_63 | 20 | n |  | TRUE
39 | bus_MV_237_1_node_82 | 20 | n |  | TRUE
40 | bus_MV_237_1_node_102 | 20 | n |  | TRUE
41 | bus_MV_237_1_node_125 | 20 | n |  | TRUE
42 | bus_MV_237_1_node_89 | 20 | n |  | TRUE
43 | bus_MV_237_1_node_90 | 20 | n |  | TRUE
44 | bus_MV_237_1_node_92 | 20 | n |  | TRUE
45 | bus_MV_237_1_node_93 | 20 | n |  | TRUE
46 | bus_MV_237_1_node_94 | 20 | n |  | TRUE
47 | bus_MV_237_1_node_95 | 20 | n |  | TRUE
48 | bus_MV_237_1_node_96 | 20 | n |  | TRUE
49 | bus_MV_237_1_node_98 | 20 | n |  | TRUE
50 | bus_MV_237_1_node_99 | 20 | n |  | TRUE
51 | bus_MV_237_1_node_114 | 20 | n |  | TRUE
52 | bus_MV_237_1_node_100 | 20 | n |  | TRUE
53 | bus_MV_237_1_node_101 | 20 | n |  | TRUE
54 | bus_MV_237_1_node_103 | 20 | n |  | TRUE
55 | bus_MV_237_1_node_113 | 20 | n |  | TRUE
56 | bus_MV_237_1_node_112 | 20 | n |  | TRUE
57 | bus_MV_237_1_node_105 | 20 | n |  | TRUE
58 | bus_MV_237_1_node_106 | 20 | n |  | TRUE
59 | bus_MV_237_1_node_107 | 20 | n |  | TRUE
60 | bus_MV_237_1_node_109 | 20 | n |  | TRUE
61 | bus_HV_237_1_node_36 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_237_1_load_7 | 0 | 0.17098 | 0.082811 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_237_1_load_124 | 1 | 0.25654 | 0.12425 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_237_1_load_8 | 2 | 0.079224 | 0.03837 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_237_1_load_126 | 7 | 0.4572 | 0.22143 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_237_1_load_139 | 8 | 0.13062 | 0.063264 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_237_1_load_140 | 11 | 0.21627 | 0.10475 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_237_1_load_108 | 15 | 0.17507 | 0.084789 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_237_1_load_37 | 16 | 0.19318 | 0.093564 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_237_1_load_145 | 17 | 0.30139 | 0.14597 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_237_1_load_26 | 18 | 0.35041 | 0.16971 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_237_1_load_33 | 20 | 0.10752 | 0.052076 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_237_1_load_38 | 23 | 0.13977 | 0.067695 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_237_1_load_110 | 24 | 0.28201 | 0.13659 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_237_1_load_30 | 25 | 0.3354 | 0.16244 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_237_1_load_34 | 27 | 1.067 | 0.51676 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_237_1_load_111 | 29 | 0.3441 | 0.16665 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_237_1_load_97 | 31 | 0.21009 | 0.10175 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_237_1_load_91 | 32 | 0.22584 | 0.10938 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_237_1_load_39 | 33 | 0.16673 | 0.080749 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_237_1_load_104 | 36 | 0.94194 | 0.4562 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_237_1_load_63 | 38 | 0.22008 | 0.10659 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_237_1_load_82 | 39 | 0.29633 | 0.14352 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_237_1_load_125 | 41 | 0.28012 | 0.13567 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_237_1_load_89 | 42 | 0.09574 | 0.046369 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_237_1_load_90 | 43 | 0.070377 | 0.034085 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_237_1_load_92 | 44 | 0.22851 | 0.11067 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_237_1_load_93 | 45 | 0.0704 | 0.034096 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_237_1_load_94 | 46 | 0.31208 | 0.15115 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_237_1_load_95 | 47 | 0.075156 | 0.0364 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_237_1_load_96 | 48 | 0.13098 | 0.063438 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_237_1_load_99 | 50 | 0.33757 | 0.16349 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_237_1_load_114 | 51 | 1.0436 | 0.50543 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_237_1_load_100 | 52 | 0.44486 | 0.21546 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_237_1_load_101 | 53 | 0.28322 | 0.13717 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_237_1_load_113 | 55 | 0.48495 | 0.23487 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_237_1_load_105 | 57 | 0.098629 | 0.047768 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_237_1_load_106 | 58 | 0.071743 | 0.034746 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_237_1_load_107 | 59 | 1.379 | 0.66788 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_237_1_load_109 | 60 | 0.39722 | 0.19238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_237_1_line_0 |  | 0 | 1 | 0.16398 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_237_1_line_1 |  | 1 | 4 | 0.083193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_237_1_line_2 |  | 2 | 3 | 0.038253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_237_1_line_3 |  | 3 | 4 | 0.098996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_237_1_line_4 |  | 4 | 5 | 0.14818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_237_1_line_5 |  | 5 | 6 | 0.23334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_237_1_line_6 |  | 5 | 7 | 0.088661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_237_1_line_7 |  | 6 | 17 | 0.048244 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_237_1_line_8 |  | 7 | 41 | 0.18975 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_237_1_line_9 |  | 8 | 9 | 0.12115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_237_1_line_10 |  | 8 | 10 | 0.18016 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_237_1_line_11 |  | 9 | 12 | 0.10306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_237_1_line_12 |  | 9 | 39 | 0.041651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_237_1_line_13 |  | 10 | 38 | 0.023134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_237_1_line_14 |  | 11 | 12 | 0.093381 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_237_1_line_15 |  | 12 | 37 | 0.10705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_237_1_line_16 |  | 13 | 14 | 0.38368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_237_1_line_17 |  | 13 | 15 | 0.16401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_237_1_line_18 |  | 14 | 16 | 0.077372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_237_1_line_19 |  | 15 | 60 | 0.0066005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_237_1_line_20 |  | 18 | 19 | 0.09532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_237_1_line_21 |  | 18 | 20 | 0.25692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_237_1_line_22 |  | 19 | 21 | 0.086519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_237_1_line_23 |  | 20 | 25 | 0.032947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_237_1_line_24 |  | 21 | 23 | 0.14142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_237_1_line_25 |  | 22 | 23 | 0.12213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_237_1_line_26 |  | 22 | 24 | 0.24884 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_237_1_line_27 |  | 24 | 60 | 0.076031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_237_1_line_28 |  | 25 | 26 | 0.0052653 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_237_1_line_29 |  | 26 | 27 | 0.042941 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
30 | MV_237_1_line_30 |  | 26 | 28 | 0.090935 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
31 | MV_237_1_line_31 |  | 27 | 29 | 0.034638 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
32 | MV_237_1_line_32 |  | 28 | 30 | 0.028832 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
33 | MV_237_1_line_33 |  | 28 | 31 | 0.0075823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_237_1_line_34 |  | 29 | 56 | 0.0066436 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_237_1_line_35 |  | 30 | 32 | 0.014239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_237_1_line_36 |  | 31 | 47 | 0.049559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_237_1_line_37 |  | 32 | 42 | 0.025921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_237_1_line_38 |  | 33 | 34 | 0.05958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_237_1_line_39 |  | 34 | 35 | 0.14698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_237_1_line_40 |  | 35 | 36 | 0.040104 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_237_1_line_41 |  | 36 | 57 | 0.007672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_237_1_line_42 |  | 37 | 40 | 0.72622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_237_1_line_43 |  | 37 | 41 | 0.052064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_237_1_line_44 |  | 40 | 54 | 0.006012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_237_1_line_45 |  | 40 | 53 | 0.017938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_237_1_line_46 |  | 42 | 43 | 0.0053231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_237_1_line_47 |  | 43 | 44 | 0.010656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_237_1_line_48 |  | 44 | 45 | 0.00054191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_237_1_line_49 |  | 46 | 47 | 0.0024649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_237_1_line_50 |  | 46 | 48 | 0.02699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_237_1_line_51 |  | 48 | 49 | 0.01049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_237_1_line_52 |  | 49 | 50 | 0.012939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_237_1_line_53 |  | 50 | 51 | 0.016698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_237_1_line_54 |  | 52 | 53 | 0.0045634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_237_1_line_55 |  | 54 | 55 | 0.016903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_237_1_line_56 |  | 54 | 56 | 0.022505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_237_1_line_57 |  | 56 | 59 | 0.057082 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_237_1_line_58 |  | 57 | 58 | 0.038552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_237_1_line_59 |  | 58 | 59 | 0.0060045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_237_1_trafo_36 | 25 MVA 110/20 kV | 61 | 30 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2753878.1952 | 1227026.9884
1 | 2753989.9796 | 1226907.0107
2 | 2753895.6658 | 1226850.9291
3 | 2753899.4431 | 1226812.8634
4 | 2753997.7883 | 1226824.1848
5 | 2753963.7787 | 1226719.2639
6 | 2753827.326 | 1226607.043
7 | 2754049.6736 | 1226741.2392
8 | 2754164.9515 | 1226497.2015
9 | 2754226.842 | 1226601.3454
10 | 2753985.847 | 1226516.6488
11 | 2754391.513 | 1226629.7973
12 | 2754306.6216 | 1226590.8929
13 | 2754815.8432 | 1226210.5575
14 | 2754992.6319 | 1226122.1778
15 | 2754967.379 | 1226260.1425
16 | 2755034.3891 | 1226057.1277
17 | 2753796.3676 | 1226644.0434
18 | 2755017.6735 | 1226791.2585
19 | 2755041.3835 | 1226698.9354
20 | 2754766.503 | 1226845.3255
21 | 2755061.4005 | 1226614.7681
22 | 2754878.9604 | 1226504.0037
23 | 2754924.9771 | 1226577.6099
24 | 2755018.5252 | 1226297.9877
25 | 2754735.0574 | 1226835.4931
26 | 2754733.4861 | 1226840.5184
27 | 2754720.5466 | 1226881.4638
28 | 2754649.8296 | 1226823.4279
29 | 2754710.1744 | 1226914.5125
30 | 2754654.9324 | 1226802.4745
31 | 2754645.9083 | 1226829.3407
32 | 2754660.4972 | 1226789.4123
33 | 2754943.5265 | 1227066.0144
34 | 2754897.0617 | 1227036.4218
35 | 2754759.4978 | 1227013.5434
36 | 2754769.8933 | 1226974.8103
37 | 2754281.3563 | 1226693.6101
38 | 2753963.2205 | 1226511.5253
39 | 2754225.8714 | 1226637.0227
40 | 2754699.6407 | 1226948.0599
41 | 2754231.0717 | 1226685.5622
42 | 2754667.4564 | 1226764.4428
43 | 2754668.653 | 1226759.2559
44 | 2754671.0481 | 1226748.8731
45 | 2754671.17 | 1226748.3451
46 | 2754614.0161 | 1226850.4122
47 | 2754614.648 | 1226848.0297
48 | 2754614.2139 | 1226876.6211
49 | 2754613.5097 | 1226887.0872
50 | 2754625.9669 | 1226890.5867
51 | 2754642.0425 | 1226895.1027
52 | 2754677.386 | 1226944.7593
53 | 2754681.8847 | 1226945.525
54 | 2754701.4432 | 1226942.3237
55 | 2754714.9201 | 1226948.6706
56 | 2754708.205 | 1226920.8574
57 | 2754771.8906 | 1226967.4029
58 | 2754769.055 | 1226937.4861
59 | 2754763.276 | 1226935.8562
60 | 2754973.7664 | 1226261.8063
61 | 2754654.9324 | 1226802.4745

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99638 | 0.012843 | 0.17098 | 0.082811
1 | 0.99644 | 0.013186 | 0.25654 | 0.12425
2 | 0.99647 | 0.01288 | 0.079224 | 0.03837
3 | 0.99647 | 0.012845 | 0 | 0
4 | 0.99648 | 0.012764 | 0 | 0
5 | 0.99658 | 0.011927 | 0 | 0
6 | 0.99649 | 0.012732 | 0 | 0
7 | 0.99667 | 0.011153 | 0.4572 | 0.22143
8 | 0.99695 | 0.014764 | 0.13062 | 0.063264
9 | 0.99703 | 0.01529 | 0 | 0
10 | 0.99687 | 0.014272 | 0 | 0
11 | 0.99708 | 0.014262 | 0.21627 | 0.10475
12 | 0.99712 | 0.014508 | 0 | 0
13 | 0.99762 | -0.0065435 | 0 | 0
14 | 0.99753 | -0.0058096 | 0 | 0
15 | 0.99766 | -0.0067889 | 0.17507 | 0.084789
16 | 0.99751 | -0.0056345 | 0.19318 | 0.093564
17 | 0.99646 | 0.012555 | 0.30139 | 0.14597
18 | 0.99889 | -0.0094165 | 0.35041 | 0.16971
19 | 0.99875 | -0.0082202 | 0 | 0
20 | 0.99965 | -0.0040192 | 0.10752 | 0.052076
21 | 0.99862 | -0.0071222 | 0 | 0
22 | 0.99824 | -0.0039102 | 0 | 0
23 | 0.9984 | -0.0053021 | 0.13977 | 0.067695
24 | 0.99774 | -0.0074338 | 0.28201 | 0.13659
25 | 0.99972 | -0.0046095 | 0.3354 | 0.16244
26 | 0.99973 | -0.0047248 | 0 | 0
27 | 0.99966 | -0.0060003 | 1.067 | 0.51676
28 | 0.99993 | -0.0013137 | 0 | 0
29 | 0.99961 | -0.0068883 | 0.3441 | 0.16665
30 | 1 | 0 | -12.5003 | -5.9568
31 | 0.99991 | -0.0011237 | 0.21009 | 0.10175
32 | 0.99999 | 0.00011662 | 0.22584 | 0.10938
33 | 0.99926 | -0.0041654 | 0.16673 | 0.080749
34 | 0.99927 | -0.0042817 | 0 | 0
35 | 0.99931 | -0.0045455 | 0 | 0
36 | 0.99931 | -0.0046118 | 0.94194 | 0.4562
37 | 0.99723 | 0.013435 | 0 | 0
38 | 0.99687 | 0.014333 | 0.22008 | 0.10659
39 | 0.99702 | 0.015437 | 0.29633 | 0.14352
40 | 0.99946 | -0.0060072 | 0 | 0
41 | 0.99713 | 0.014345 | 0.28012 | 0.13567
42 | 0.99997 | 0.00025967 | 0.09574 | 0.046369
43 | 0.99997 | 0.00028308 | 0.070377 | 0.034085
44 | 0.99997 | 0.00032109 | 0.22851 | 0.11067
45 | 0.99997 | 0.00032155 | 0.0704 | 0.034096
46 | 0.99978 | 4.9239e-05 | 0.31208 | 0.15115
47 | 0.99979 | -4.3236e-06 | 0.075156 | 0.0364
48 | 0.99973 | 0.00053555 | 0.13098 | 0.063438
49 | 0.99971 | 0.00070842 | 0 | 0
50 | 0.99969 | 0.0009219 | 0.33757 | 0.16349
51 | 0.99966 | 0.0011303 | 1.0436 | 0.50543
52 | 0.99944 | -0.0058268 | 0.44486 | 0.21546
53 | 0.99944 | -0.0058511 | 0.28322 | 0.13717
54 | 0.99948 | -0.0062166 | 0 | 0
55 | 0.99947 | -0.0061187 | 0.48495 | 0.23487
56 | 0.99959 | -0.0071302 | 0 | 0
57 | 0.99933 | -0.0047108 | 0.098629 | 0.047768
58 | 0.99938 | -0.0052523 | 0.071743 | 0.034746
59 | 0.99939 | -0.0053416 | 1.379 | 0.66788
60 | 0.99767 | -0.0068118 | 0.39722 | 0.19238
61 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17098 | -0.082811 | 0.17099 | 0.082622 | 8.8476e-06 | -0.00018882 | 0.0055042 | 0.0055017 | 0.0055042 | 0.99638 | 0.012843 | 0.99644 | 0.013186 | 2.621
1 | -0.42753 | -0.20687 | 0.42755 | 0.2049 | 2.0989e-05 | -0.0019661 | 0.01376 | 0.013735 | 0.01376 | 0.99644 | 0.013186 | 0.99648 | 0.012764 | 6.2544
2 | -0.079224 | -0.03837 | 0.079224 | 0.037463 | 3.3061e-07 | -0.00090679 | 0.0025501 | 0.0025388 | 0.0025501 | 0.99647 | 0.01288 | 0.99647 | 0.012845 | 1.1591
3 | -0.079224 | -0.037463 | 0.079225 | 0.035116 | 8.4221e-07 | -0.0023468 | 0.0025388 | 0.0025104 | 0.0025388 | 0.99647 | 0.012845 | 0.99648 | 0.012764 | 1.154
4 | -0.50678 | -0.24002 | 0.50683 | 0.23652 | 5.206e-05 | -0.0034979 | 0.016244 | 0.016201 | 0.016244 | 0.99648 | 0.012764 | 0.99658 | 0.011927 | 7.3838
5 | 0.30143 | 0.14039 | -0.3014 | -0.14592 | 2.9105e-05 | -0.005524 | 0.009632 | 0.0097008 | 0.0097008 | 0.99658 | 0.011927 | 0.99649 | 0.012732 | 4.4094
6 | -0.80826 | -0.37692 | 0.80834 | 0.37484 | 7.8911e-05 | -0.0020792 | 0.025833 | 0.025807 | 0.025833 | 0.99658 | 0.011927 | 0.99667 | 0.011153 | 11.7423
7 | 0.3014 | 0.14592 | -0.30139 | -0.14597 | 8.0895e-06 | -5.2121e-05 | 0.0097008 | 0.0097015 | 0.0097015 | 0.99649 | 0.012732 | 0.99646 | 0.012555 | 4.6198
8 | -1.2655 | -0.59627 | 1.2661 | 0.59639 | 0.00055503 | 0.00012253 | 0.04052 | 0.040517 | 0.04052 | 0.99667 | 0.011153 | 0.99713 | 0.014345 | 19.2951
9 | -0.35072 | -0.1691 | 0.35075 | 0.16897 | 2.7431e-05 | -0.00012657 | 0.011274 | 0.011272 | 0.011274 | 0.99695 | 0.014764 | 0.99703 | 0.01529 | 5.3687
10 | 0.2201 | 0.10584 | -0.22008 | -0.10604 | 1.6058e-05 | -0.00020369 | 0.0070717 | 0.0070744 | 0.0070744 | 0.99695 | 0.014764 | 0.99687 | 0.014272 | 3.3687
11 | -0.64708 | -0.31151 | 0.64714 | 0.30908 | 5.9398e-05 | -0.0024287 | 0.020793 | 0.020762 | 0.020793 | 0.99703 | 0.01529 | 0.99712 | 0.014508 | 9.4514
12 | 0.29633 | 0.14253 | -0.29633 | -0.14352 | 5.0467e-06 | -0.00098705 | 0.0095207 | 0.0095331 | 0.0095331 | 0.99703 | 0.01529 | 0.99702 | 0.015437 | 4.3332
13 | 0.22008 | 0.10604 | -0.22008 | -0.10659 | 1.5471e-06 | -0.00054844 | 0.0070744 | 0.0070813 | 0.0070813 | 0.99687 | 0.014272 | 0.99687 | 0.014333 | 3.2188
14 | -0.21627 | -0.10475 | 0.21628 | 0.10464 | 8.0516e-06 | -0.00010579 | 0.0069573 | 0.0069559 | 0.0069573 | 0.99708 | 0.014262 | 0.99712 | 0.014508 | 3.313
15 | -0.86342 | -0.41372 | 0.86353 | 0.41121 | 0.00010968 | -0.0025091 | 0.027718 | 0.027687 | 0.027718 | 0.99712 | 0.014508 | 0.99723 | 0.013435 | 12.5992
16 | 0.19321 | 0.082616 | -0.19319 | -0.091727 | 1.9269e-05 | -0.0091108 | 0.0060804 | 0.0061889 | 0.0061889 | 0.99762 | -0.0065435 | 0.99753 | -0.0058096 | 2.8131
17 | -0.19321 | -0.082616 | 0.19322 | 0.078721 | 8.0364e-06 | -0.003895 | 0.0060804 | 0.0060369 | 0.0060804 | 0.99762 | -0.0065435 | 0.99766 | -0.0067889 | 2.7638
18 | 0.19319 | 0.091727 | -0.19318 | -0.093564 | 3.9709e-06 | -0.001837 | 0.0061889 | 0.0062119 | 0.0062119 | 0.99753 | -0.0058096 | 0.99751 | -0.0056345 | 2.8236
19 | -0.36828 | -0.16351 | 0.36828 | 0.16335 | 1.1977e-06 | -0.0001565 | 0.011659 | 0.011658 | 0.011659 | 0.99766 | -0.0067889 | 0.99767 | -0.0068118 | 5.2997
20 | 1.1886 | 0.54788 | -1.1885 | -0.55009 | 0.00018219 | -0.0022165 | 0.037825 | 0.037852 | 0.037852 | 0.99889 | -0.0094165 | 0.99875 | -0.0082202 | 17.2056
21 | -1.5391 | -0.71759 | 1.5402 | 0.71797 | 0.0011024 | 0.00038423 | 0.049075 | 0.049072 | 0.049075 | 0.99889 | -0.0094165 | 0.99965 | -0.0040192 | 23.3692
22 | 1.1885 | 0.55009 | -1.1883 | -0.5521 | 0.0001656 | -0.0020112 | 0.037852 | 0.037877 | 0.037877 | 0.99875 | -0.0082202 | 0.99862 | -0.0071222 | 17.217
23 | -1.6477 | -0.77005 | 1.6478 | 0.7693 | 0.00012131 | -0.00075017 | 0.052521 | 0.052512 | 0.052521 | 0.99965 | -0.0040192 | 0.99972 | -0.0046095 | 23.8733
24 | 1.1883 | 0.5521 | -1.188 | -0.55539 | 0.00027116 | -0.0032861 | 0.037877 | 0.037918 | 0.037918 | 0.99862 | -0.0071222 | 0.9984 | -0.0053021 | 17.2357
25 | -1.0481 | -0.49055 | 1.0483 | 0.4877 | 0.00018239 | -0.0028521 | 0.033464 | 0.033429 | 0.033464 | 0.99824 | -0.0039102 | 0.9984 | -0.0053021 | 15.211
26 | 1.0481 | 0.49055 | -1.0476 | -0.49053 | 0.00049655 | 1.5148e-05 | 0.033464 | 0.033468 | 0.033468 | 0.99824 | -0.0039102 | 0.99774 | -0.0074338 | 15.937
27 | 0.76557 | 0.35395 | -0.7655 | -0.35574 | 6.0498e-05 | -0.0017891 | 0.024403 | 0.024425 | 0.024425 | 0.99774 | -0.0074338 | 0.99767 | -0.0068118 | 11.1022
28 | -1.9832 | -0.93174 | 1.9832 | 0.93162 | 2.8139e-05 | -0.0001173 | 0.063272 | 0.06327 | 0.063272 | 0.99972 | -0.0046095 | 0.99973 | -0.0047248 | 28.7598
29 | 7.6999 | 3.6696 | -7.6994 | -3.6725 | 0.00047677 | -0.0028412 | 0.24629 | 0.24634 | 0.24634 | 0.99973 | -0.0047248 | 0.99966 | -0.0060003 | 29.256
30 | -9.6831 | -4.6013 | 9.6847 | 4.5958 | 0.0015943 | -0.0054818 | 0.30956 | 0.30948 | 0.30956 | 0.99973 | -0.0047248 | 0.99993 | -0.0013137 | 36.7653
31 | 6.6324 | 3.1557 | -6.6321 | -3.1581 | 0.00028521 | -0.0023827 | 0.2121 | 0.21213 | 0.21213 | 0.99966 | -0.0060003 | 0.99961 | -0.0068883 | 25.1941
32 | -11.7946 | -5.6146 | 11.7954 | 5.613 | 0.00075031 | -0.0015139 | 0.37712 | 0.37709 | 0.37712 | 0.99993 | -0.0013137 | 1 | 0 | 44.7884
33 | 2.1099 | 1.0188 | -2.1099 | -1.0189 | 4.6316e-05 | -0.00016727 | 0.067642 | 0.067644 | 0.067644 | 0.99993 | -0.0013137 | 0.99991 | -0.0011237 | 30.7474
34 | 6.288 | 2.9915 | -6.2879 | -2.9916 | 0.00012976 | -0.00013343 | 0.20109 | 0.2011 | 0.2011 | 0.99961 | -0.0068883 | 0.99959 | -0.0071302 | 55.5513
35 | 0.69088 | 0.33325 | -0.69087 | -0.33359 | 9.3223e-06 | -0.00033721 | 0.022143 | 0.022147 | 0.022147 | 1 | 0 | 0.99999 | 0.00011662 | 10.0669
36 | 1.8998 | 0.91719 | -1.8996 | -0.9183 | 0.00024548 | -0.0011101 | 0.060905 | 0.06092 | 0.06092 | 0.99991 | -0.0011237 | 0.99979 | -4.3236e-06 | 27.6909
37 | 0.46504 | 0.22421 | -0.46503 | -0.22483 | 7.6902e-06 | -0.00061659 | 0.014903 | 0.014911 | 0.014911 | 0.99999 | 0.00011662 | 0.99997 | 0.00025967 | 6.7778
38 | -0.16673 | -0.080749 | 0.16673 | 0.079329 | 2.2704e-06 | -0.0014198 | 0.0053517 | 0.0053339 | 0.0053517 | 0.99926 | -0.0041654 | 0.99927 | -0.0042817 | 2.4326
39 | -0.16673 | -0.079329 | 0.16673 | 0.075826 | 5.5374e-06 | -0.0035026 | 0.0053339 | 0.0052912 | 0.0053339 | 0.99927 | -0.0042817 | 0.99931 | -0.0045455 | 2.4245
40 | -0.16673 | -0.075826 | 0.16673 | 0.07487 | 1.4957e-06 | -0.00095576 | 0.0052912 | 0.0052798 | 0.0052912 | 0.99931 | -0.0045455 | 0.99931 | -0.0046118 | 2.4051
41 | -1.1087 | -0.53107 | 1.1087 | 0.53089 | 1.2915e-05 | -0.0001791 | 0.035511 | 0.035509 | 0.035511 | 0.99931 | -0.0046118 | 0.99933 | -0.0047108 | 16.1415
42 | -2.4099 | -1.1421 | 2.4157 | 1.1265 | 0.0057619 | -0.015573 | 0.077198 | 0.076986 | 0.077198 | 0.99723 | 0.013435 | 0.99946 | -0.0060072 | 35.0902
43 | 1.5464 | 0.73087 | -1.5462 | -0.73206 | 0.00017044 | -0.0011855 | 0.049512 | 0.049527 | 0.049527 | 0.99723 | 0.013435 | 0.99713 | 0.014345 | 22.5124
44 | -3.1438 | -1.4786 | 3.1439 | 1.4785 | 8.0811e-05 | -0.00011942 | 0.10034 | 0.10034 | 0.10034 | 0.99946 | -0.0060072 | 0.99948 | -0.0062166 | 45.6108
45 | 0.7281 | 0.3521 | -0.72809 | -0.35252 | 1.3071e-05 | -0.00042395 | 0.02336 | 0.023365 | 0.023365 | 0.99946 | -0.0060072 | 0.99944 | -0.0058511 | 10.6205
46 | 0.36929 | 0.17846 | -0.36929 | -0.17859 | 9.9637e-07 | -0.00012679 | 0.01184 | 0.011842 | 0.011842 | 0.99997 | 0.00025967 | 0.99997 | 0.00028308 | 5.3827
47 | 0.29891 | 0.1445 | -0.29891 | -0.14476 | 1.3072e-06 | -0.00025401 | 0.0095845 | 0.0095877 | 0.0095877 | 0.99997 | 0.00028308 | 0.99997 | 0.00032109 | 4.358
48 | 0.0704 | 0.034083 | -0.0704 | -0.034096 | 3.5286e-09 | -1.2937e-05 | 0.002258 | 0.0022582 | 0.0022582 | 0.99997 | 0.00032109 | 0.99997 | 0.00032155 | 1.0264
49 | -1.8244 | -0.88196 | 1.8244 | 0.8819 | 1.1265e-05 | -5.5485e-05 | 0.05851 | 0.058509 | 0.05851 | 0.99978 | 4.9239e-05 | 0.99979 | -4.3236e-06 | 26.5952
50 | 1.5123 | 0.73081 | -1.5122 | -0.73143 | 8.476e-05 | -0.00061895 | 0.048497 | 0.048506 | 0.048506 | 0.99978 | 4.9239e-05 | 0.99973 | 0.00053555 | 22.048
51 | 1.3812 | 0.66799 | -1.3812 | -0.66823 | 2.7488e-05 | -0.00024216 | 0.044303 | 0.044306 | 0.044306 | 0.99973 | 0.00053555 | 0.99971 | 0.00070842 | 20.1392
52 | 1.3812 | 0.66823 | -1.3812 | -0.66853 | 3.3913e-05 | -0.0002987 | 0.044306 | 0.04431 | 0.04431 | 0.99971 | 0.00070842 | 0.99969 | 0.0009219 | 20.141
53 | 1.0436 | 0.50504 | -1.0436 | -0.50543 | 2.4989e-05 | -0.00039101 | 0.033479 | 0.033484 | 0.033484 | 0.99969 | 0.0009219 | 0.99966 | 0.0011303 | 15.2201
54 | -0.44486 | -0.21546 | 0.44486 | 0.21535 | 1.2417e-06 | -0.00010847 | 0.014277 | 0.014276 | 0.014277 | 0.99944 | -0.0058268 | 0.99944 | -0.0058511 | 6.4895
55 | 0.48496 | 0.23447 | -0.48495 | -0.23487 | 5.4637e-06 | -0.00040153 | 0.015558 | 0.015563 | 0.015563 | 0.99948 | -0.0062166 | 0.99947 | -0.0061187 | 7.0741
56 | -3.6288 | -1.713 | 3.6292 | 1.7125 | 0.00040355 | -0.00041713 | 0.1159 | 0.11589 | 0.1159 | 0.99948 | -0.0062166 | 0.99959 | -0.0071302 | 52.6814
57 | 2.6587 | 1.2791 | -2.6581 | -1.2802 | 0.00055335 | -0.0011974 | 0.085205 | 0.085222 | 0.085222 | 0.99959 | -0.0071302 | 0.99939 | -0.0053416 | 38.7372
58 | -1.2073 | -0.57866 | 1.2074 | 0.57776 | 7.6958e-05 | -0.00089646 | 0.038675 | 0.038663 | 0.038675 | 0.99933 | -0.0047108 | 0.99938 | -0.0052523 | 17.5794
59 | -1.2791 | -0.61251 | 1.2791 | 0.61237 | 1.3452e-05 | -0.0001392 | 0.040966 | 0.040964 | 0.040966 | 0.99938 | -0.0052523 | 0.99939 | -0.0053416 | 18.6208

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.5003 | 5.9568

## res_load
| p_mw | q_mvar
0 | 0.17098 | 0.082811
1 | 0.25654 | 0.12425
2 | 0.079224 | 0.03837
3 | 0.4572 | 0.22143
4 | 0.13062 | 0.063264
5 | 0.21627 | 0.10475
6 | 0.17507 | 0.084789
7 | 0.19318 | 0.093564
8 | 0.30139 | 0.14597
9 | 0.35041 | 0.16971
10 | 0.10752 | 0.052076
11 | 0.13977 | 0.067695
12 | 0.28201 | 0.13659
13 | 0.3354 | 0.16244
14 | 1.067 | 0.51676
15 | 0.3441 | 0.16665
16 | 0.21009 | 0.10175
17 | 0.22584 | 0.10938
18 | 0.16673 | 0.080749
19 | 0.94194 | 0.4562
20 | 0.22008 | 0.10659
21 | 0.29633 | 0.14352
22 | 0.28012 | 0.13567
23 | 0.09574 | 0.046369
24 | 0.070377 | 0.034085
25 | 0.22851 | 0.11067
26 | 0.0704 | 0.034096
27 | 0.31208 | 0.15115
28 | 0.075156 | 0.0364
29 | 0.13098 | 0.063438
30 | 0.33757 | 0.16349
31 | 1.0436 | 0.50543
32 | 0.44486 | 0.21546
33 | 0.28322 | 0.13717
34 | 0.48495 | 0.23487
35 | 0.098629 | 0.047768
36 | 0.071743 | 0.034746
37 | 1.379 | 0.66788
38 | 0.39722 | 0.19238

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1