## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_239_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_239_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_239_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_239_0_node_26 | 20 | n |  | TRUE
4 | bus_MV_239_0_node_85 | 20 | n |  | TRUE
5 | bus_MV_239_0_node_28 | 20 | n |  | TRUE
6 | bus_MV_239_0_node_81 | 20 | n |  | TRUE
7 | bus_MV_239_0_node_3 | 20 | n |  | TRUE
8 | bus_MV_239_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_239_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_239_0_node_11 | 20 | n |  | TRUE
11 | bus_MV_239_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_239_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_239_0_node_17 | 20 | n |  | TRUE
14 | bus_MV_239_0_node_64 | 20 | n |  | TRUE
15 | bus_MV_239_0_node_9 | 20 | n |  | TRUE
16 | bus_MV_239_0_node_75 | 20 | n |  | TRUE
17 | bus_MV_239_0_node_114 | 20 | n |  | TRUE
18 | bus_MV_239_0_node_12 | 20 | n |  | TRUE
19 | bus_MV_239_0_node_129 | 20 | n |  | TRUE
20 | bus_MV_239_0_node_62 | 20 | n |  | TRUE
21 | bus_MV_239_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_239_0_node_16 | 20 | n |  | TRUE
23 | bus_MV_239_0_node_18 | 20 | n |  | TRUE
24 | bus_MV_239_0_node_125 | 20 | n |  | TRUE
25 | bus_MV_239_0_node_65 | 20 | n |  | TRUE
26 | bus_MV_239_0_node_76 | 20 | n |  | TRUE
27 | bus_MV_239_0_node_74 | 20 | n |  | TRUE
28 | bus_MV_239_0_node_91 | 20 | n |  | TRUE
29 | bus_MV_239_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_239_0_node_79 | 20 | n |  | TRUE
31 | bus_MV_239_0_node_78 | 20 | n |  | TRUE
32 | bus_MV_239_0_node_127 | 20 | n |  | TRUE
33 | bus_MV_239_0_node_83 | 20 | n |  | TRUE
34 | bus_MV_239_0_node_82 | 20 | n |  | TRUE
35 | bus_MV_239_0_node_20 | 20 | n |  | TRUE
36 | bus_MV_239_0_node_63 | 20 | n |  | TRUE
37 | bus_MV_239_0_node_124 | 20 | n |  | TRUE
38 | bus_MV_239_0_node_115 | 20 | n |  | TRUE
39 | bus_MV_239_0_node_50 | 20 | n |  | TRUE
40 | bus_MV_239_0_node_21 | 20 | n |  | TRUE
41 | bus_MV_239_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_239_0_node_23 | 20 | n |  | TRUE
43 | bus_MV_239_0_node_128 | 20 | n |  | TRUE
44 | bus_MV_239_0_node_24 | 20 | n |  | TRUE
45 | bus_MV_239_0_node_25 | 20 | n |  | TRUE
46 | bus_MV_239_0_node_54 | 20 | n |  | TRUE
47 | bus_MV_239_0_node_33 | 20 | n |  | TRUE
48 | bus_MV_239_0_node_95 | 20 | n |  | TRUE
49 | bus_MV_239_0_node_30 | 20 | n |  | TRUE
50 | bus_MV_239_0_node_32 | 20 | n |  | TRUE
51 | bus_MV_239_0_node_93 | 20 | n |  | TRUE
52 | bus_MV_239_0_node_31 | 20 | n |  | TRUE
53 | bus_MV_239_0_node_89 | 20 | n |  | TRUE
54 | bus_MV_239_0_node_27 | 20 | n |  | TRUE
55 | bus_MV_239_0_node_29 | 20 | n |  | TRUE
56 | bus_MV_239_0_node_36 | 20 | n |  | TRUE
57 | bus_MV_239_0_node_56 | 20 | n |  | TRUE
58 | bus_MV_239_0_node_53 | 20 | n |  | TRUE
59 | bus_MV_239_0_node_111 | 20 | n |  | TRUE
60 | bus_MV_239_0_node_34 | 20 | n |  | TRUE
61 | bus_MV_239_0_node_35 | 20 | n |  | TRUE
62 | bus_MV_239_0_node_123 | 20 | n |  | TRUE
63 | bus_MV_239_0_node_86 | 20 | n |  | TRUE
64 | bus_MV_239_0_node_108 | 20 | n |  | TRUE
65 | bus_MV_239_0_node_43 | 20 | n |  | TRUE
66 | bus_MV_239_0_node_70 | 20 | n |  | TRUE
67 | bus_MV_239_0_node_107 | 20 | n |  | TRUE
68 | bus_MV_239_0_node_99 | 20 | n |  | TRUE
69 | bus_MV_239_0_node_88 | 20 | n |  | TRUE
70 | bus_MV_239_0_node_40 | 20 | n |  | TRUE
71 | bus_MV_239_0_node_57 | 20 | n |  | TRUE
72 | bus_MV_239_0_node_60 | 20 | n |  | TRUE
73 | bus_MV_239_0_node_58 | 20 | n |  | TRUE
74 | bus_MV_239_0_node_41 | 20 | n |  | TRUE
75 | bus_MV_239_0_node_42 | 20 | n |  | TRUE
76 | bus_MV_239_0_node_55 | 20 | n |  | TRUE
77 | bus_MV_239_0_node_44 | 20 | n |  | TRUE
78 | bus_MV_239_0_node_52 | 20 | n |  | TRUE
79 | bus_MV_239_0_node_45 | 20 | n |  | TRUE
80 | bus_MV_239_0_node_68 | 20 | n |  | TRUE
81 | bus_MV_239_0_node_69 | 20 | n |  | TRUE
82 | bus_MV_239_0_node_67 | 20 | n |  | TRUE
83 | bus_MV_239_0_node_46 | 20 | n |  | TRUE
84 | bus_MV_239_0_node_47 | 20 | n |  | TRUE
85 | bus_MV_239_0_node_48 | 20 | n |  | TRUE
86 | bus_MV_239_0_node_49 | 20 | n |  | TRUE
87 | bus_MV_239_0_node_51 | 20 | n |  | TRUE
88 | bus_MV_239_0_node_61 | 20 | n |  | TRUE
89 | bus_MV_239_0_node_113 | 20 | n |  | TRUE
90 | bus_MV_239_0_node_71 | 20 | n |  | TRUE
91 | bus_MV_239_0_node_72 | 20 | n |  | TRUE
92 | bus_MV_239_0_node_73 | 20 | n |  | TRUE
93 | bus_MV_239_0_node_126 | 20 | n |  | TRUE
94 | bus_MV_239_0_node_116 | 20 | n |  | TRUE
95 | bus_MV_239_0_node_117 | 20 | n |  | TRUE
96 | bus_MV_239_0_node_119 | 20 | n |  | TRUE
97 | bus_MV_239_0_node_59 | 20 | n |  | TRUE
98 | bus_MV_239_0_node_66 | 20 | n |  | TRUE
99 | bus_MV_239_0_node_118 | 20 | n |  | TRUE
100 | bus_MV_239_0_node_101 | 20 | n |  | TRUE
101 | bus_MV_239_0_node_102 | 20 | n |  | TRUE
102 | bus_MV_239_0_node_77 | 20 | n |  | TRUE
103 | bus_MV_239_0_node_100 | 20 | n |  | TRUE
104 | bus_MV_239_0_node_112 | 20 | n |  | TRUE
105 | bus_MV_239_0_node_80 | 20 | n |  | TRUE
106 | bus_MV_239_0_node_84 | 20 | n |  | TRUE
107 | bus_MV_239_0_node_97 | 20 | n |  | TRUE
108 | bus_MV_239_0_node_87 | 20 | n |  | TRUE
109 | bus_MV_239_0_node_90 | 20 | n |  | TRUE
110 | bus_MV_239_0_node_98 | 20 | n |  | TRUE
111 | bus_MV_239_0_node_122 | 20 | n |  | TRUE
112 | bus_MV_239_0_node_130 | 20 | n |  | TRUE
113 | bus_MV_239_0_node_132 | 20 | n |  | TRUE
114 | bus_MV_239_0_node_92 | 20 | n |  | TRUE
115 | bus_MV_239_0_node_94 | 20 | n |  | TRUE
116 | bus_MV_239_0_node_96 | 20 | n |  | TRUE
117 | bus_MV_239_0_node_106 | 20 | n |  | TRUE
118 | bus_MV_239_0_node_121 | 20 | n |  | TRUE
119 | bus_MV_239_0_node_105 | 20 | n |  | TRUE
120 | bus_MV_239_0_node_103 | 20 | n |  | TRUE
121 | bus_MV_239_0_node_104 | 20 | n |  | TRUE
122 | bus_MV_239_0_node_120 | 20 | n |  | TRUE
123 | bus_HV_239_0_node_75 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_239_0_load_0 | 0 | 0.19062 | 0.092321 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_239_0_load_26 | 3 | 0.34621 | 0.16768 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_239_0_load_85 | 4 | 0.10397 | 0.050355 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_239_0_load_3 | 7 | 0.28873 | 0.13984 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_239_0_load_11 | 10 | 0.26632 | 0.12898 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_239_0_load_64 | 14 | 0.39018 | 0.18897 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_239_0_load_114 | 17 | 0.072119 | 0.034929 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_239_0_load_12 | 18 | 0.34861 | 0.16884 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_239_0_load_129 | 19 | 0.43967 | 0.21294 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_239_0_load_62 | 20 | 0.18466 | 0.089433 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_239_0_load_15 | 21 | 0.21572 | 0.10448 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_239_0_load_125 | 24 | 0.092306 | 0.044706 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_239_0_load_65 | 25 | 0.086985 | 0.042129 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_239_0_load_74 | 27 | 0.41079 | 0.19896 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_239_0_load_127 | 32 | 0.2596 | 0.12573 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_239_0_load_83 | 33 | 0.25822 | 0.12506 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_239_0_load_63 | 36 | 0.26706 | 0.12934 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_239_0_load_124 | 37 | 0.069141 | 0.033486 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_239_0_load_115 | 38 | 0.25469 | 0.12335 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_239_0_load_21 | 40 | 0.39287 | 0.19027 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_239_0_load_128 | 43 | 0.089712 | 0.043449 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_239_0_load_24 | 44 | 0.38811 | 0.18797 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_239_0_load_54 | 46 | 0.078745 | 0.038138 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_239_0_load_95 | 48 | 0.069182 | 0.033506 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_239_0_load_32 | 50 | 0.41298 | 0.20002 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_239_0_load_53 | 58 | 0.26333 | 0.12754 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_239_0_load_111 | 59 | 0.11533 | 0.055855 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_239_0_load_34 | 60 | 0.41483 | 0.20091 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_239_0_load_123 | 62 | 0.15518 | 0.075156 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_239_0_load_108 | 64 | 0.12226 | 0.059214 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_239_0_load_70 | 66 | 0.2896 | 0.14026 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_239_0_load_107 | 67 | 0.071786 | 0.034768 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_239_0_load_99 | 68 | 0.080946 | 0.039204 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_239_0_load_40 | 70 | 0.064425 | 0.031202 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_239_0_load_57 | 71 | 0.12715 | 0.061582 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_239_0_load_58 | 73 | 0.073805 | 0.035745 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_239_0_load_41 | 74 | 0.34012 | 0.16473 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_239_0_load_55 | 76 | 0.26452 | 0.12811 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_239_0_load_44 | 77 | 0.15368 | 0.07443 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_239_0_load_52 | 78 | 0.1249 | 0.06049 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_239_0_load_69 | 81 | 0.11987 | 0.058057 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_239_0_load_46 | 83 | 0.30338 | 0.14694 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_239_0_load_47 | 84 | 0.12094 | 0.058575 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_239_0_load_113 | 89 | 0.099585 | 0.048231 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_239_0_load_71 | 90 | 0.059407 | 0.028772 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_239_0_load_126 | 93 | 0.17183 | 0.083223 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_239_0_load_119 | 96 | 0.11719 | 0.056757 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_239_0_load_66 | 98 | 0.33636 | 0.1629 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_239_0_load_118 | 99 | 0.33288 | 0.16122 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_239_0_load_101 | 100 | 0.077801 | 0.037681 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_239_0_load_100 | 103 | 0.30703 | 0.1487 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_239_0_load_112 | 104 | 0.072712 | 0.035216 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_239_0_load_80 | 105 | 0.2805 | 0.13585 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_239_0_load_97 | 107 | 0.093164 | 0.045122 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_239_0_load_98 | 110 | 0.091037 | 0.044091 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_239_0_load_122 | 111 | 0.12234 | 0.059254 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_239_0_load_130 | 112 | 0.39908 | 0.19329 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_239_0_load_132 | 113 | 0.084841 | 0.04109 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_239_0_load_92 | 114 | 0.44963 | 0.21777 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_239_0_load_121 | 118 | 0.3739 | 0.18109 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_239_0_load_105 | 119 | 0.1394 | 0.067515 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_239_0_load_120 | 122 | 0.32369 | 0.15677 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_239_0_line_0 |  | 0 | 1 | 0.042505 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_239_0_line_1 |  | 1 | 2 | 0.037504 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
2 | MV_239_0_line_2 |  | 1 | 3 | 0.10498 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
3 | MV_239_0_line_3 |  | 2 | 4 | 0.019664 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
4 | MV_239_0_line_4 |  | 3 | 5 | 0.054674 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
5 | MV_239_0_line_5 |  | 4 | 6 | 0.027213 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
6 | MV_239_0_line_6 |  | 5 | 52 | 0.063671 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_239_0_line_7 |  | 5 | 53 | 0.13684 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
8 | MV_239_0_line_8 |  | 6 | 106 | 0.012048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_239_0_line_9 |  | 6 | 105 | 0.017026 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
10 | MV_239_0_line_10 |  | 7 | 8 | 0.008366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_239_0_line_11 |  | 7 | 9 | 0.040521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_239_0_line_12 |  | 8 | 10 | 0.14392 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_239_0_line_13 |  | 9 | 11 | 0.23565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_239_0_line_14 |  | 10 | 18 | 0.19551 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_239_0_line_15 |  | 11 | 19 | 0.046581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_239_0_line_16 |  | 11 | 20 | 0.23385 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_239_0_line_17 |  | 12 | 13 | 0.59764 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_239_0_line_18 |  | 12 | 14 | 0.061695 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_239_0_line_19 |  | 13 | 21 | 0.062084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_239_0_line_20 |  | 14 | 25 | 0.059383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_239_0_line_21 |  | 15 | 16 | 0.009779 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_239_0_line_22 |  | 15 | 17 | 0.060975 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_239_0_line_23 |  | 16 | 26 | 0.14584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_239_0_line_24 |  | 16 | 27 | 0.018584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_239_0_line_25 |  | 17 | 28 | 0.0050974 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_239_0_line_26 |  | 18 | 29 | 0.019443 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_239_0_line_27 |  | 19 | 25 | 0.07514 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_239_0_line_28 |  | 21 | 22 | 0.003102 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_239_0_line_29 |  | 22 | 23 | 0.45113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_239_0_line_30 |  | 23 | 24 | 0.16543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_239_0_line_31 |  | 24 | 38 | 0.96192 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_239_0_line_32 |  | 26 | 102 | 0.087121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_239_0_line_33 |  | 26 | 103 | 0.039675 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_239_0_line_34 |  | 28 | 109 | 0.1413 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_239_0_line_35 |  | 29 | 30 | 0.16366 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_239_0_line_36 |  | 30 | 33 | 0.048547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_239_0_line_37 |  | 30 | 34 | 0.11609 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
38 | MV_239_0_line_38 |  | 30 | 31 | 0.11908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_239_0_line_39 |  | 31 | 32 | 0.087924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_239_0_line_40 |  | 34 | 105 | 0.022303 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
41 | MV_239_0_line_41 |  | 35 | 36 | 0.013366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_239_0_line_42 |  | 35 | 37 | 0.87903 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_239_0_line_43 |  | 37 | 39 | 0.16731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_239_0_line_44 |  | 38 | 94 | 0.041366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_239_0_line_45 |  | 38 | 86 | 0.56068 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_239_0_line_46 |  | 39 | 88 | 0.53493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_239_0_line_47 |  | 39 | 85 | 0.10521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_239_0_line_48 |  | 40 | 41 | 0.07348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_239_0_line_49 |  | 41 | 42 | 0.12002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_239_0_line_50 |  | 41 | 43 | 0.19994 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_239_0_line_51 |  | 42 | 44 | 0.026673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_239_0_line_52 |  | 42 | 45 | 0.27421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_239_0_line_53 |  | 44 | 46 | 0.021905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_239_0_line_54 |  | 45 | 47 | 0.16491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_239_0_line_55 |  | 45 | 48 | 0.048675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_239_0_line_56 |  | 46 | 49 | 0.018583 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_239_0_line_57 |  | 47 | 50 | 0.10044 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_239_0_line_58 |  | 48 | 51 | 0.033119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_239_0_line_59 |  | 49 | 58 | 0.03038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_239_0_line_60 |  | 49 | 59 | 0.15494 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
61 | MV_239_0_line_61 |  | 50 | 66 | 0.24307 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_239_0_line_62 |  | 51 | 114 | 0.031201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_239_0_line_63 |  | 52 | 60 | 0.031515 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_239_0_line_64 |  | 53 | 62 | 0.030818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_239_0_line_65 |  | 53 | 63 | 0.090837 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_239_0_line_66 |  | 54 | 55 | 0.14582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_239_0_line_67 |  | 54 | 56 | 0.13472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_239_0_line_68 |  | 55 | 57 | 0.072955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_239_0_line_69 |  | 56 | 59 | 0.05348 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
70 | MV_239_0_line_70 |  | 56 | 61 | 0.047884 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
71 | MV_239_0_line_71 |  | 57 | 64 | 0.048638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_239_0_line_72 |  | 57 | 65 | 0.13998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_239_0_line_73 |  | 60 | 61 | 0.095163 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_239_0_line_74 |  | 63 | 69 | 0.10904 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_239_0_line_75 |  | 63 | 68 | 0.023705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_239_0_line_76 |  | 64 | 99 | 0.053827 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_239_0_line_77 |  | 65 | 76 | 0.031935 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_239_0_line_78 |  | 65 | 75 | 0.045211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_239_0_line_79 |  | 67 | 68 | 0.15815 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_239_0_line_80 |  | 69 | 111 | 0.015912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_239_0_line_81 |  | 69 | 108 | 0.18812 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
82 | MV_239_0_line_82 |  | 70 | 71 | 1.1099 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_239_0_line_83 |  | 70 | 72 | 0.91395 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_239_0_line_84 |  | 72 | 73 | 0.31111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_239_0_line_85 |  | 73 | 97 | 0.13433 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_239_0_line_86 |  | 74 | 75 | 0.006474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_239_0_line_87 |  | 77 | 78 | 0.67937 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_239_0_line_88 |  | 77 | 79 | 0.035029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_239_0_line_89 |  | 79 | 80 | 0.11355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_239_0_line_90 |  | 80 | 81 | 0.023131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_239_0_line_91 |  | 80 | 82 | 0.004779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_239_0_line_92 |  | 81 | 100 | 0.03512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_239_0_line_93 |  | 82 | 98 | 0.012888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_239_0_line_94 |  | 83 | 84 | 0.063265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_239_0_line_95 |  | 83 | 85 | 0.064776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_239_0_line_96 |  | 84 | 86 | 0.27604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_239_0_line_97 |  | 85 | 87 | 0.095879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_239_0_line_98 |  | 87 | 89 | 0.016987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_239_0_line_99 |  | 88 | 96 | 0.005109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_239_0_line_100 |  | 88 | 97 | 1.0571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_239_0_line_101 |  | 90 | 91 | 0.15644 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
102 | MV_239_0_line_102 |  | 91 | 92 | 1.1821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_239_0_line_103 |  | 92 | 93 | 0.025079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_239_0_line_104 |  | 93 | 95 | 0.020564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_239_0_line_105 |  | 94 | 95 | 0.25182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_239_0_line_106 |  | 100 | 101 | 0.015929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_239_0_line_107 |  | 101 | 120 | 0.23074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_239_0_line_108 |  | 102 | 104 | 0.04098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_239_0_line_109 |  | 106 | 107 | 0.050213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_239_0_line_110 |  | 108 | 109 | 0.10276 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
111 | MV_239_0_line_111 |  | 108 | 110 | 0.020614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_239_0_line_112 |  | 109 | 112 | 0.010105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_239_0_line_113 |  | 112 | 113 | 0.013996 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
114 | MV_239_0_line_114 |  | 114 | 115 | 0.047661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_239_0_line_115 |  | 115 | 116 | 0.32691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_239_0_line_116 |  | 116 | 117 | 0.14362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_239_0_line_117 |  | 116 | 118 | 0.030235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_239_0_line_118 |  | 117 | 119 | 0.071992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_239_0_line_119 |  | 118 | 120 | 0.063597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_239_0_line_120 |  | 120 | 121 | 0.22537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_239_0_line_121 |  | 121 | 122 | 0.018414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_239_0_trafo_75 | 25 MVA 110/20 kV | 123 | 16 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2781897.8195 | 1185177.2617
1 | 2781928.5428 | 1185206.6341
2 | 2781896.4104 | 1185223.8865
3 | 2782027.9223 | 1185240.4628
4 | 2781877.5775 | 1185229.5426
5 | 2782077.1488 | 1185216.4683
6 | 2781851.5144 | 1185237.3703
7 | 2781550.5715 | 1184855.8747
8 | 2781556.8584 | 1184861.415
9 | 2781520.3957 | 1184828.7343
10 | 2781473.7975 | 1184978.9464
11 | 2781378.7791 | 1184648.6384
12 | 2781458.0746 | 1184586.1005
13 | 2781236.3299 | 1184031.12
14 | 2781440.5441 | 1184526.9488
15 | 2781746.1396 | 1184883.93
16 | 2781738.7414 | 1184877.5105
17 | 2781777.4772 | 1184936.0382
18 | 2781579.0424 | 1185143.7166
19 | 2781391.4659 | 1184611.1305
20 | 2781229.2541 | 1184828.4333
21 | 2781264.6427 | 1183975.8784
22 | 2781262.5186 | 1183973.612
23 | 2781427.0579 | 1183564.4833
24 | 2781390.7949 | 1183410.6481
25 | 2781381.9502 | 1184536.5957
26 | 2781798.8863 | 1184784.8115
27 | 2781728.1773 | 1184890.5806
28 | 2781777.0096 | 1184940.9995
29 | 2781597.0437 | 1185150.3575
30 | 2781724.1748 | 1185232.3022
31 | 2781605.4412 | 1185230.5898
32 | 2781598.4597 | 1185309.3992
33 | 2781731.5867 | 1185280.2736
34 | 2781836.2628 | 1185202.0842
35 | 2780979.1886 | 1183381.3224
36 | 2780992.3631 | 1183383.7892
37 | 2780489.8858 | 1182651.066
38 | 2781522.9261 | 1182457.8453
39 | 2780470.6532 | 1182489.4761
40 | 2782358.4137 | 1185575.6101
41 | 2782303.3172 | 1185526.9919
42 | 2782189.6378 | 1185541.3371
43 | 2782341.7481 | 1185330.7811
44 | 2782171.1994 | 1185522.0133
45 | 2782356.15 | 1185720.5549
46 | 2782157.6609 | 1185504.7929
47 | 2782477.2529 | 1185820.3837
48 | 2782317.5175 | 1185750.1616
49 | 2782146.4335 | 1185489.9847
50 | 2782568.3337 | 1185778.0503
51 | 2782291.1079 | 1185770.1463
52 | 2782128.5899 | 1185217.11
53 | 2782010.7646 | 1185096.813
54 | 2782071.6172 | 1185371.718
55 | 2781948.8261 | 1185448.0403
56 | 2782196.9319 | 1185322.2567
57 | 2781879.8844 | 1185471.9038
58 | 2782120.542 | 1185505.9911
59 | 2782233.1643 | 1185361.5934
60 | 2782159.1651 | 1185209.1316
61 | 2782202.141 | 1185282.8656
62 | 2781984.7825 | 1185113.4957
63 | 2781968.0179 | 1185016.6702
64 | 2781870.761 | 1185424.2426
65 | 2781748.7196 | 1185483.3016
66 | 2782752.9535 | 1185619.936
67 | 2782028.6183 | 1184855.8986
68 | 2781955.8648 | 1184996.3172
69 | 2781936.4278 | 1185056.2606
70 | 2779356.6789 | 1180147.7205
71 | 2778626.565 | 1179311.8365
72 | 2779350.6228 | 1181061.6553
73 | 2779586.4068 | 1181238.281
74 | 2781770.0064 | 1185528.6025
75 | 2781765.4805 | 1185523.9607
76 | 2781717.2721 | 1185478.3241
77 | 2781907.2713 | 1185701.2471
78 | 2781407.5695 | 1186161.5108
79 | 2781939.6142 | 1185687.7938
80 | 2781993.9224 | 1185756.0318
81 | 2782014.5058 | 1185766.2831
82 | 2781992.9325 | 1185760.7063
83 | 2780641.116 | 1182491.3897
84 | 2780704.3779 | 1182491.5701
85 | 2780576.1726 | 1182489.7093
86 | 2780964.6009 | 1182406.5195
87 | 2780586.6443 | 1182394.5888
88 | 2780157.1705 | 1182124.3635
89 | 2780579.1614 | 1182380.279
90 | 2782407.4215 | 1181396.5879
91 | 2782306.2901 | 1181515.939
92 | 2781571.2844 | 1182312.5281
93 | 2781551.8053 | 1182328.3869
94 | 2781559.4448 | 1182441.1606
95 | 2781533.4405 | 1182337.7398
96 | 2780152.2795 | 1182125.8847
97 | 2779524.4243 | 1181357.461
98 | 2782005.0154 | 1185765.1909
99 | 2781912.373 | 1185390.0994
100 | 2782040.7246 | 1185789.0958
101 | 2782051.2027 | 1185801.0935
102 | 2781812.8198 | 1184845.4375
103 | 2781834.1214 | 1184766.5739
104 | 2781826.0408 | 1184882.9423
105 | 2781847.7788 | 1185220.7852
106 | 2781852.8311 | 1185249.3441
107 | 2781858.6851 | 1185299.2099
108 | 2781844.8553 | 1185085.1758
109 | 2781849.8836 | 1185019.4757
110 | 2781834.0374 | 1185067.6284
111 | 2781949.7924 | 1185047.569
112 | 2781858.0613 | 1185013.5514
113 | 2781870.5659 | 1185019.837
114 | 2782306.3466 | 1185796.9096
115 | 2782311.67 | 1185842.3312
116 | 2782118.9358 | 1185872.5882
117 | 2782192.0608 | 1185979.1708
118 | 2782140.1412 | 1185857.1734
119 | 2782241.5314 | 1186025.3978
120 | 2782149.4256 | 1185807.0735
121 | 2782079.8738 | 1185641.932
122 | 2782064.9054 | 1185652.6654
123 | 2781738.7414 | 1184877.5105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99705 | -0.070328 | 0.19062 | 0.092321
1 | 0.99706 | -0.07023 | 0 | 0
2 | 0.99702 | -0.071006 | 0 | 0
3 | 0.99734 | -0.060842 | 0.34621 | 0.16768
4 | 0.997 | -0.071413 | 0.10397 | 0.050355
5 | 0.9974 | -0.059598 | 0 | 0
6 | 0.99697 | -0.071964 | 0 | 0
7 | 0.99411 | -0.10346 | 0.28873 | 0.13984
8 | 0.99414 | -0.10374 | 0 | 0
9 | 0.99394 | -0.10225 | 0 | 0
10 | 0.99509 | -0.096076 | 0.26632 | 0.12898
11 | 0.993 | -0.095128 | 0 | 0
12 | 0.99204 | -0.097812 | 0 | 0
13 | 0.98971 | -0.11905 | 0 | 0
14 | 0.99228 | -0.095624 | 0.39018 | 0.18897
15 | 0.99997 | -0.00048398 | 0 | 0
16 | 1 | 0 | -13.2002 | -6.1015
17 | 0.99981 | -0.0035009 | 0.072119 | 0.034929
18 | 0.99648 | -0.08505 | 0.34861 | 0.16884
19 | 0.99283 | -0.093813 | 0.43967 | 0.21294
20 | 0.99292 | -0.09566 | 0.18466 | 0.089433
21 | 0.98955 | -0.11797 | 0.21572 | 0.10448
22 | 0.98955 | -0.11793 | 0 | 0
23 | 0.9885 | -0.11111 | 0 | 0
24 | 0.98812 | -0.10853 | 0.092306 | 0.044706
25 | 0.99246 | -0.096926 | 0.086985 | 0.042129
26 | 0.99993 | 0.0006176 | 0 | 0
27 | 0.99999 | 9.1072e-05 | 0.41079 | 0.19896
28 | 0.9998 | -0.0037516 | 0 | 0
29 | 0.99652 | -0.084546 | 0 | 0
30 | 0.99667 | -0.081809 | 0 | 0
31 | 0.99663 | -0.081463 | 0 | 0
32 | 0.9966 | -0.081194 | 0.2596 | 0.12573
33 | 0.99665 | -0.08166 | 0.25822 | 0.12506
34 | 0.99693 | -0.072722 | 0 | 0
35 | 0.98237 | -0.14743 | 0 | 0
36 | 0.98237 | -0.14739 | 0.26706 | 0.12934
37 | 0.98283 | -0.14443 | 0.069141 | 0.033486
38 | 0.98494 | -0.13784 | 0.25469 | 0.12335
39 | 0.98291 | -0.14509 | 0 | 0
40 | 0.99583 | -0.081132 | 0.39287 | 0.19027
41 | 0.99587 | -0.081476 | 0 | 0
42 | 0.99594 | -0.082149 | 0 | 0
43 | 0.99583 | -0.081697 | 0.089712 | 0.043449
44 | 0.99605 | -0.083139 | 0.38811 | 0.18797
45 | 0.99494 | -0.073405 | 0 | 0
46 | 0.99616 | -0.084054 | 0.078745 | 0.038138
47 | 0.99479 | -0.072029 | 0 | 0
48 | 0.9948 | -0.072239 | 0.069182 | 0.033506
49 | 0.99625 | -0.084847 | 0 | 0
50 | 0.99465 | -0.072894 | 0.41298 | 0.20002
51 | 0.99471 | -0.071471 | 0 | 0
52 | 0.99732 | -0.061023 | 0 | 0
53 | 0.99817 | -0.033574 | 0 | 0
54 | 0.99684 | -0.066565 | 0 | 0
55 | 0.99665 | -0.064797 | 0 | 0
56 | 0.99712 | -0.064692 | 0 | 0
57 | 0.99655 | -0.0639 | 0 | 0
58 | 0.99624 | -0.084752 | 0.26333 | 0.12754
59 | 0.997 | -0.066025 | 0.11533 | 0.055855
60 | 0.99728 | -0.061728 | 0.41483 | 0.20091
61 | 0.99717 | -0.063701 | 0 | 0
62 | 0.99817 | -0.033517 | 0.15518 | 0.075156
63 | 0.9984 | -0.029423 | 0 | 0
64 | 0.99652 | -0.063636 | 0.12226 | 0.059214
65 | 0.99644 | -0.062913 | 0 | 0
66 | 0.99451 | -0.073757 | 0.2896 | 0.14026
67 | 0.99837 | -0.029519 | 0.071786 | 0.034768
68 | 0.99839 | -0.02938 | 0.080946 | 0.039204
69 | 0.99867 | -0.024371 | 0 | 0
70 | 0.9818 | -0.14431 | 0.064425 | 0.031202
71 | 0.98153 | -0.14614 | 0.12715 | 0.061582
72 | 0.98215 | -0.14197 | 0 | 0
73 | 0.98222 | -0.14258 | 0.073805 | 0.035745
74 | 0.99642 | -0.062704 | 0.34012 | 0.16473
75 | 0.99642 | -0.06273 | 0 | 0
76 | 0.99643 | -0.062812 | 0.26452 | 0.12811
77 | 0.99332 | -0.059626 | 0.15368 | 0.07443
78 | 0.99316 | -0.060689 | 0.1249 | 0.06049
79 | 0.99334 | -0.059504 | 0 | 0
80 | 0.99338 | -0.059872 | 0 | 0
81 | 0.9934 | -0.060038 | 0.11987 | 0.058057
82 | 0.99338 | -0.059852 | 0 | 0
83 | 0.98307 | -0.14608 | 0.30338 | 0.14694
84 | 0.98316 | -0.14671 | 0.12094 | 0.058575
85 | 0.983 | -0.14566 | 0 | 0
86 | 0.9836 | -0.14981 | 0 | 0
87 | 0.98299 | -0.14556 | 0 | 0
88 | 0.98265 | -0.14398 | 0 | 0
89 | 0.98299 | -0.14554 | 0.099585 | 0.048231
90 | 0.98474 | -0.13795 | 0.059407 | 0.028772
91 | 0.98476 | -0.13784 | 0 | 0
92 | 0.98484 | -0.13763 | 0 | 0
93 | 0.98485 | -0.1376 | 0.17183 | 0.083223
94 | 0.98492 | -0.13781 | 0 | 0
95 | 0.98485 | -0.13762 | 0 | 0
96 | 0.98265 | -0.14397 | 0.11719 | 0.056757
97 | 0.98229 | -0.14202 | 0 | 0
98 | 0.99338 | -0.0598 | 0.33636 | 0.1629
99 | 0.99649 | -0.063854 | 0.33288 | 0.16122
100 | 0.99343 | -0.06034 | 0.077801 | 0.037681
101 | 0.99345 | -0.060491 | 0 | 0
102 | 0.99992 | 0.00068219 | 0 | 0
103 | 0.99991 | 0.0004703 | 0.30703 | 0.1487
104 | 0.99992 | 0.00071657 | 0.072712 | 0.035216
105 | 0.99695 | -0.072303 | 0.2805 | 0.13585
106 | 0.99697 | -0.071952 | 0 | 0
107 | 0.99696 | -0.071897 | 0.093164 | 0.045122
108 | 0.99915 | -0.015556 | 0 | 0
109 | 0.99942 | -0.010698 | 0 | 0
110 | 0.99915 | -0.015533 | 0.091037 | 0.044091
111 | 0.99867 | -0.024348 | 0.12234 | 0.059254
112 | 0.99941 | -0.010639 | 0.39908 | 0.19329
113 | 0.99941 | -0.010654 | 0.084841 | 0.04109
114 | 0.99463 | -0.070746 | 0.44963 | 0.21777
115 | 0.99453 | -0.069895 | 0 | 0
116 | 0.99384 | -0.063958 | 0 | 0
117 | 0.99382 | -0.063747 | 0 | 0
118 | 0.99378 | -0.063442 | 0.3739 | 0.18109
119 | 0.9938 | -0.063629 | 0.1394 | 0.067515
120 | 0.99369 | -0.062638 | 0 | 0
121 | 0.9936 | -0.061799 | 0 | 0
122 | 0.99359 | -0.061727 | 0.32369 | 0.15677
123 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.19062 | -0.092321 | 0.19062 | 0.092273 | 2.8475e-06 | -4.8661e-05 | 0.0061322 | 0.0061316 | 0.0061322 | 0.99705 | -0.070328 | 0.99706 | -0.07023 | 2.9201
1 | 5.0693 | 2.2976 | -5.0691 | -2.3003 | 0.00017825 | -0.0026849 | 0.16114 | 0.16117 | 0.16117 | 0.99706 | -0.07023 | 0.99702 | -0.071006 | 19.1419
2 | -5.2599 | -2.3899 | 5.261 | 2.3911 | 0.0010468 | 0.0012454 | 0.16727 | 0.16727 | 0.16727 | 0.99706 | -0.07023 | 0.99734 | -0.060842 | 20.3989
3 | 5.0691 | 2.3003 | -5.069 | -2.3017 | 9.349e-05 | -0.0014076 | 0.16117 | 0.16119 | 0.16119 | 0.99702 | -0.071006 | 0.997 | -0.071413 | 19.144
4 | -5.6072 | -2.5588 | 5.6075 | 2.555 | 0.00031834 | -0.0038631 | 0.1784 | 0.17835 | 0.1784 | 0.99734 | -0.060842 | 0.9974 | -0.059598 | 21.1875
5 | 4.9651 | 2.2514 | -4.9649 | -2.2533 | 0.0001241 | -0.0019527 | 0.15785 | 0.15787 | 0.15787 | 0.997 | -0.071413 | 0.99697 | -0.071964 | 18.7499
6 | 5.6859 | 2.6692 | -5.6855 | -2.6737 | 0.00038522 | -0.0044855 | 0.1818 | 0.18186 | 0.18186 | 0.9974 | -0.059598 | 0.99732 | -0.061023 | 21.598
7 | -11.2934 | -5.2241 | 11.2997 | 5.2329 | 0.0063252 | 0.008805 | 0.36014 | 0.36013 | 0.36014 | 0.9974 | -0.059598 | 0.99817 | -0.033574 | 43.9194
8 | 0.093165 | 0.043644 | -0.093165 | -0.04393 | 1.429e-07 | -0.00028588 | 0.0029789 | 0.0029825 | 0.0029825 | 0.99697 | -0.071964 | 0.99697 | -0.071952 | 1.3557
9 | 4.8718 | 2.2097 | -4.8717 | -2.2109 | 7.4762e-05 | -0.0012243 | 0.1549 | 0.15491 | 0.15491 | 0.99697 | -0.071964 | 0.99695 | -0.072303 | 18.3979
10 | -3.4487 | -1.5412 | 3.4488 | 1.541 | 0.00013438 | -0.00015755 | 0.10969 | 0.10969 | 0.10969 | 0.99411 | -0.10346 | 0.99414 | -0.10374 | 49.8595
11 | 3.16 | 1.4014 | -3.1594 | -1.4021 | 0.00054513 | -0.00079426 | 0.10038 | 0.10039 | 0.10039 | 0.99411 | -0.10346 | 0.99394 | -0.10225 | 45.6323
12 | -3.4488 | -1.541 | 3.4519 | 1.5428 | 0.0030851 | 0.0017624 | 0.10969 | 0.10969 | 0.10969 | 0.99414 | -0.10374 | 0.99509 | -0.096076 | 52.2327
13 | 3.1594 | 1.4021 | -3.1563 | -1.4068 | 0.0031726 | -0.0046121 | 0.10039 | 0.10046 | 0.10046 | 0.99394 | -0.10225 | 0.993 | -0.095128 | 45.6621
14 | -3.7182 | -1.6718 | 3.7231 | 1.6746 | 0.0048723 | 0.0028204 | 0.11827 | 0.11826 | 0.11827 | 0.99509 | -0.096076 | 0.99648 | -0.08505 | 56.3177
15 | 2.9716 | 1.3176 | -2.971 | -1.3185 | 0.00055538 | -0.00093172 | 0.094498 | 0.094511 | 0.094511 | 0.993 | -0.095128 | 0.99283 | -0.093813 | 42.9595
16 | 0.18467 | 0.089167 | -0.18466 | -0.089433 | 1.4817e-05 | -0.00026597 | 0.0059616 | 0.0059651 | 0.0059651 | 0.993 | -0.095128 | 0.99292 | -0.09566 | 2.8405
17 | 2.0524 | 0.87507 | -2.0479 | -0.87296 | 0.004489 | 0.0021112 | 0.064925 | 0.064933 | 0.064933 | 0.99204 | -0.097812 | 0.98971 | -0.11905 | 30.9203
18 | -2.0524 | -0.87507 | 2.0529 | 0.87529 | 0.00046334 | 0.00021772 | 0.064925 | 0.064924 | 0.064925 | 0.99204 | -0.097812 | 0.99228 | -0.095624 | 30.9165
19 | 2.0479 | 0.87296 | -2.0476 | -0.87431 | 0.00034954 | -0.0013481 | 0.064933 | 0.064949 | 0.064949 | 0.98971 | -0.11905 | 0.98955 | -0.11797 | 29.5224
20 | -2.443 | -1.0643 | 2.4435 | 1.063 | 0.00047635 | -0.001255 | 0.077524 | 0.077508 | 0.077524 | 0.99228 | -0.095624 | 0.99246 | -0.096926 | 35.2383
21 | -12.3953 | -5.7156 | 12.3956 | 5.7151 | 0.00027786 | -0.00049205 | 0.39404 | 0.39403 | 0.39404 | 0.99997 | -0.00048398 | 1 | 0 | 46.7983
22 | 12.3953 | 5.7156 | -12.3936 | -5.7187 | 0.0017328 | -0.0030669 | 0.39404 | 0.3941 | 0.3941 | 0.99997 | -0.00048398 | 0.99981 | -0.0035009 | 46.805
23 | 0.37978 | 0.17734 | -0.37975 | -0.18082 | 2.8605e-05 | -0.0034734 | 0.0121 | 0.012143 | 0.012143 | 1 | 0 | 0.99993 | 0.0006176 | 5.5194
24 | 0.4108 | 0.19851 | -0.41079 | -0.19896 | 4.3055e-06 | -0.00044243 | 0.013171 | 0.013176 | 0.013176 | 1 | 0 | 0.99999 | 9.1072e-05 | 5.9893
25 | 12.3215 | 5.6838 | -12.3213 | -5.684 | 0.00014319 | -0.00025786 | 0.39178 | 0.39179 | 0.39179 | 0.99981 | -0.0035009 | 0.9998 | -0.0037516 | 46.5308
26 | -4.0717 | -1.8434 | 4.0719 | 1.8429 | 0.00015743 | -0.00054795 | 0.12948 | 0.12947 | 0.12948 | 0.99648 | -0.08505 | 0.99652 | -0.084546 | 35.7683
27 | 2.5314 | 1.1056 | -2.5305 | -1.1051 | 0.0008636 | 0.00045254 | 0.080316 | 0.080317 | 0.080317 | 0.99283 | -0.093813 | 0.99246 | -0.096926 | 38.2462
28 | 1.8318 | 0.76983 | -1.8318 | -0.76989 | 1.3915e-05 | -6.8396e-05 | 0.057966 | 0.057967 | 0.057967 | 0.98955 | -0.11797 | 0.98955 | -0.11793 | 26.3484
29 | 1.8318 | 0.76989 | -1.8298 | -0.77983 | 0.0020279 | -0.0099346 | 0.057967 | 0.058086 | 0.058086 | 0.98955 | -0.11793 | 0.9885 | -0.11111 | 26.4029
30 | 1.8298 | 0.77983 | -1.829 | -0.78347 | 0.00074573 | -0.0036369 | 0.058086 | 0.058131 | 0.058131 | 0.9885 | -0.11111 | 0.98812 | -0.10853 | 26.4231
31 | 1.7367 | 0.73876 | -1.7315 | -0.73661 | 0.0052116 | 0.0021468 | 0.055138 | 0.055151 | 0.055151 | 0.98812 | -0.10853 | 0.98494 | -0.13784 | 26.2622
32 | 0.072713 | 0.032158 | -0.072712 | -0.034238 | 6.1935e-07 | -0.0020796 | 0.0022953 | 0.0023203 | 0.0023203 | 0.99993 | 0.0006176 | 0.99992 | 0.00068219 | 1.0547
33 | 0.30704 | 0.14866 | -0.30703 | -0.1487 | 6.8567e-06 | -4.3062e-05 | 0.0098484 | 0.009849 | 0.009849 | 0.99993 | 0.0006176 | 0.99991 | 0.0004703 | 4.69
34 | 12.3213 | 5.684 | -12.3174 | -5.6912 | 0.0039704 | -0.0071421 | 0.39179 | 0.39192 | 0.39192 | 0.9998 | -0.0037516 | 0.99942 | -0.010698 | 46.5463
35 | -4.0719 | -1.8429 | 4.0724 | 1.8309 | 0.00050149 | -0.011959 | 0.12947 | 0.12933 | 0.12947 | 0.99652 | -0.084546 | 0.99667 | -0.081809 | 15.3769
36 | 0.25823 | 0.12391 | -0.25822 | -0.12506 | 4.4681e-06 | -0.0011501 | 0.0082959 | 0.0083104 | 0.0083104 | 0.99667 | -0.081809 | 0.99665 | -0.08166 | 3.7774
37 | -4.5902 | -2.0757 | 4.5911 | 2.0767 | 0.00088086 | 0.00097672 | 0.14591 | 0.14591 | 0.14591 | 0.99667 | -0.081809 | 0.99693 | -0.072722 | 17.7942
38 | 0.25962 | 0.12083 | -0.25961 | -0.12365 | 1.0982e-05 | -0.0028209 | 0.0082941 | 0.008329 | 0.008329 | 0.99667 | -0.081809 | 0.99663 | -0.081463 | 3.7859
39 | 0.25961 | 0.12365 | -0.2596 | -0.12573 | 8.1682e-06 | -0.0020827 | 0.008329 | 0.0083551 | 0.0083551 | 0.99663 | -0.081463 | 0.9966 | -0.081194 | 3.7978
40 | -4.5911 | -2.0767 | 4.5912 | 2.075 | 8.688e-05 | -0.0016139 | 0.14591 | 0.14589 | 0.14591 | 0.99693 | -0.072722 | 0.99695 | -0.072303 | 17.3289
41 | 0.26706 | 0.12904 | -0.26706 | -0.12934 | 1.3561e-06 | -0.00030757 | 0.0087158 | 0.0087198 | 0.0087198 | 0.98237 | -0.14743 | 0.98237 | -0.14739 | 3.9635
42 | -0.26706 | -0.12904 | 0.26718 | 0.1281 | 0.0001188 | -0.00093878 | 0.0087158 | 0.0087029 | 0.0087158 | 0.98237 | -0.14743 | 0.98283 | -0.14443 | 4.1504
43 | -0.33632 | -0.16158 | 0.33635 | 0.15773 | 2.6708e-05 | -0.0038512 | 0.010959 | 0.010911 | 0.010959 | 0.98283 | -0.14443 | 0.98291 | -0.14509 | 4.9815
44 | 0.23127 | 0.076604 | -0.23127 | -0.077561 | 2.8191e-06 | -0.00095727 | 0.0071404 | 0.0071493 | 0.0071493 | 0.98494 | -0.13784 | 0.98492 | -0.13781 | 3.2497
45 | 1.2456 | 0.53666 | -1.244 | -0.53632 | 0.0015788 | 0.00034044 | 0.039751 | 0.039758 | 0.039758 | 0.98494 | -0.13784 | 0.9836 | -0.14981 | 18.9324
46 | 0.3829 | 0.13896 | -0.3828 | -0.15126 | 0.00010329 | -0.012305 | 0.011963 | 0.012092 | 0.012092 | 0.98291 | -0.14509 | 0.98265 | -0.14398 | 5.4962
47 | -0.71925 | -0.29669 | 0.71933 | 0.29429 | 7.3255e-05 | -0.0024054 | 0.022851 | 0.022824 | 0.022851 | 0.98291 | -0.14509 | 0.983 | -0.14566 | 10.3867
48 | -0.39287 | -0.19027 | 0.39288 | 0.18854 | 1.568e-05 | -0.0017352 | 0.012654 | 0.012632 | 0.012654 | 0.99583 | -0.081132 | 0.99587 | -0.081476 | 5.7518
49 | -0.4826 | -0.23175 | 0.48263 | 0.22892 | 3.8499e-05 | -0.0028308 | 0.015519 | 0.015483 | 0.015519 | 0.99587 | -0.081476 | 0.99594 | -0.082149 | 7.0539
50 | 0.089715 | 0.043215 | -0.089712 | -0.043449 | 2.9713e-06 | -0.00023485 | 0.0028866 | 0.0028896 | 0.0028896 | 0.99587 | -0.081476 | 0.99583 | -0.081697 | 1.376
51 | -3.3596 | -1.5748 | 3.36 | 1.5743 | 0.00041183 | -0.0005096 | 0.10755 | 0.10754 | 0.10755 | 0.99594 | -0.082149 | 0.99605 | -0.083139 | 48.8848
52 | 2.877 | 1.3459 | -2.8739 | -1.3514 | 0.0031054 | -0.0055664 | 0.092064 | 0.092143 | 0.092143 | 0.99594 | -0.082149 | 0.99494 | -0.073405 | 41.8834
53 | -3.7482 | -1.7622 | 3.7486 | 1.7618 | 0.00042134 | -0.00039397 | 0.12004 | 0.12003 | 0.12004 | 0.99605 | -0.083139 | 0.99616 | -0.084054 | 54.5618
54 | 0.70282 | 0.33609 | -0.70271 | -0.33995 | 0.00011272 | -0.0038636 | 0.022603 | 0.022653 | 0.022653 | 0.99494 | -0.073405 | 0.99479 | -0.072029 | 10.2966
55 | 2.1711 | 1.0153 | -2.1708 | -1.0164 | 0.0003143 | -0.001057 | 0.069541 | 0.069555 | 0.069555 | 0.99494 | -0.073405 | 0.9948 | -0.072239 | 31.6158
56 | -3.8273 | -1.8 | 3.8277 | 1.7997 | 0.00037266 | -0.00032979 | 0.12256 | 0.12256 | 0.12256 | 0.99616 | -0.084054 | 0.99625 | -0.084847 | 55.7113
57 | 0.70271 | 0.33995 | -0.70261 | -0.34001 | 9.1832e-05 | -6.112e-05 | 0.022653 | 0.022654 | 0.022654 | 0.99479 | -0.072029 | 0.99465 | -0.072894 | 10.7876
58 | 2.1016 | 0.98288 | -2.1014 | -0.98361 | 0.00020043 | -0.00072302 | 0.067324 | 0.067334 | 0.067334 | 0.9948 | -0.072239 | 0.99471 | -0.071471 | 30.6063
59 | 0.26333 | 0.12682 | -0.26333 | -0.12754 | 2.9122e-06 | -0.00071905 | 0.0084692 | 0.0084782 | 0.0084782 | 0.99625 | -0.084847 | 0.99624 | -0.084752 | 3.8537
60 | -4.091 | -1.9265 | 4.0935 | 1.9291 | 0.0024419 | 0.0025996 | 0.13103 | 0.13103 | 0.13103 | 0.99625 | -0.084847 | 0.997 | -0.066025 | 37.4366
61 | 0.28963 | 0.13999 | -0.2896 | -0.14026 | 3.7766e-05 | -0.00026339 | 0.0093364 | 0.00934 | 0.00934 | 0.99465 | -0.072894 | 0.99451 | -0.073757 | 4.4476
62 | 2.1014 | 0.98361 | -2.1012 | -0.98429 | 0.00018888 | -0.00068102 | 0.067334 | 0.067343 | 0.067343 | 0.99471 | -0.071471 | 0.99463 | -0.070746 | 30.6104
63 | 5.6855 | 2.6737 | -5.6853 | -2.6759 | 0.00019076 | -0.0022198 | 0.18186 | 0.18188 | 0.18188 | 0.99732 | -0.061023 | 0.99728 | -0.061728 | 21.6015
64 | 0.15518 | 0.074424 | -0.15518 | -0.075156 | 1.0211e-06 | -0.00073282 | 0.0049773 | 0.0049865 | 0.0049865 | 0.99817 | -0.033574 | 0.99817 | -0.033517 | 2.2666
65 | -11.4549 | -5.3074 | 11.4571 | 5.3025 | 0.0022155 | -0.0048826 | 0.36511 | 0.36503 | 0.36511 | 0.99817 | -0.033574 | 0.9984 | -0.029423 | 43.3624
66 | 1.0602 | 0.5017 | -1.06 | -0.50509 | 0.00022489 | -0.0033924 | 0.033967 | 0.03401 | 0.03401 | 0.99684 | -0.066565 | 0.99665 | -0.064797 | 15.4589
67 | -1.0602 | -0.5017 | 1.0605 | 0.50171 | 0.00027692 | 1.3592e-05 | 0.033967 | 0.033965 | 0.033967 | 0.99684 | -0.066565 | 0.99712 | -0.064692 | 16.1746
68 | 1.06 | 0.50509 | -1.0599 | -0.50679 | 0.00011272 | -0.0016966 | 0.03401 | 0.034031 | 0.034031 | 0.99665 | -0.064797 | 0.99655 | -0.0639 | 15.4688
69 | 4.2093 | 1.9834 | -4.2088 | -1.9849 | 0.00046885 | -0.0014832 | 0.13471 | 0.13474 | 0.13474 | 0.99712 | -0.064692 | 0.997 | -0.066025 | 37.2198
70 | -5.2698 | -2.4852 | 5.27 | 2.4817 | 0.00024925 | -0.0034088 | 0.16868 | 0.16863 | 0.16868 | 0.99712 | -0.064692 | 0.99717 | -0.063701 | 20.033
71 | 0.45516 | 0.21923 | -0.45515 | -0.22038 | 1.392e-05 | -0.0011491 | 0.014635 | 0.014649 | 0.014649 | 0.99655 | -0.0639 | 0.99652 | -0.063636 | 6.6587
72 | 0.60471 | 0.28756 | -0.60464 | -0.29086 | 7.0459e-05 | -0.0032979 | 0.019397 | 0.019438 | 0.019438 | 0.99655 | -0.0639 | 0.99644 | -0.062913 | 8.8356
73 | 5.2705 | 2.475 | -5.27 | -2.4817 | 0.00049497 | -0.0067762 | 0.16854 | 0.16863 | 0.16863 | 0.99728 | -0.061728 | 0.99717 | -0.063701 | 20.0277
74 | -11.6099 | -5.3757 | 11.6126 | 5.3699 | 0.0027299 | -0.0058007 | 0.36992 | 0.36982 | 0.36992 | 0.9984 | -0.029423 | 0.99867 | -0.024371 | 43.934
75 | 0.15273 | 0.07322 | -0.15273 | -0.073784 | 7.6011e-07 | -0.00056395 | 0.0048974 | 0.0049045 | 0.0049045 | 0.9984 | -0.029423 | 0.99839 | -0.02938 | 2.2293
76 | 0.33289 | 0.16116 | -0.33288 | -0.16122 | 1.1009e-05 | -5.6914e-05 | 0.010714 | 0.010715 | 0.010715 | 0.99652 | -0.063636 | 0.99649 | -0.063854 | 5.1022
77 | 0.26452 | 0.12735 | -0.26452 | -0.12811 | 3.0875e-06 | -0.00075614 | 0.0085052 | 0.0085148 | 0.0085148 | 0.99644 | -0.062913 | 0.99643 | -0.062812 | 3.8703
78 | 0.34012 | 0.1635 | -0.34012 | -0.16457 | 7.2234e-06 | -0.0010696 | 0.010933 | 0.010947 | 0.010947 | 0.99644 | -0.062913 | 0.99642 | -0.06273 | 4.9757
79 | -0.071786 | -0.034768 | 0.071788 | 0.03458 | 1.4972e-06 | -0.00018725 | 0.0023063 | 0.0023039 | 0.0023063 | 0.99837 | -0.029519 | 0.99839 | -0.02938 | 1.0982
80 | 0.12234 | 0.058875 | -0.12234 | -0.059254 | 3.276e-07 | -0.00037881 | 0.0039246 | 0.0039294 | 0.0039294 | 0.99867 | -0.024371 | 0.99867 | -0.024348 | 1.7861
81 | -11.7349 | -5.4288 | 11.7397 | 5.4188 | 0.0048067 | -0.0099293 | 0.37375 | 0.37357 | 0.37375 | 0.99867 | -0.024371 | 0.99915 | -0.015556 | 44.3881
82 | 0.12718 | 0.060326 | -0.12715 | -0.061582 | 3.4006e-05 | -0.0012555 | 0.0041389 | 0.0041551 | 0.0041551 | 0.9818 | -0.14431 | 0.98153 | -0.14614 | 1.9786
83 | -0.19161 | -0.091529 | 0.19167 | 0.090516 | 6.3343e-05 | -0.0010124 | 0.0062436 | 0.0062303 | 0.0062436 | 0.9818 | -0.14431 | 0.98215 | -0.14197 | 2.9731
84 | -0.19167 | -0.090516 | 0.19169 | 0.083355 | 1.5894e-05 | -0.0071612 | 0.0062303 | 0.0061433 | 0.0062303 | 0.98215 | -0.14197 | 0.98222 | -0.14258 | 2.8319
85 | -0.26549 | -0.1191 | 0.26551 | 0.11896 | 1.7501e-05 | -0.00014377 | 0.008552 | 0.0085501 | 0.008552 | 0.98222 | -0.14258 | 0.98229 | -0.14202 | 4.0724
86 | -0.34012 | -0.16473 | 0.34012 | 0.16457 | 1.0358e-06 | -0.00015316 | 0.010948 | 0.010947 | 0.010948 | 0.99642 | -0.062704 | 0.99642 | -0.06273 | 4.9766
87 | 0.12492 | 0.059703 | -0.1249 | -0.06049 | 1.9645e-05 | -0.00078781 | 0.0040236 | 0.0040337 | 0.0040337 | 0.99332 | -0.059626 | 0.99316 | -0.060689 | 1.9208
88 | -0.2786 | -0.13413 | 0.2786 | 0.13409 | 5.0392e-06 | -3.8106e-05 | 0.0089859 | 0.0089854 | 0.0089859 | 0.99332 | -0.059626 | 0.99334 | -0.059504 | 4.279
89 | -0.2786 | -0.13409 | 0.27861 | 0.13142 | 1.2193e-05 | -0.0026716 | 0.0089854 | 0.008952 | 0.0089854 | 0.99334 | -0.059504 | 0.99338 | -0.059872 | 4.0843
90 | -0.61497 | -0.29391 | 0.61498 | 0.29337 | 1.2111e-05 | -0.00054141 | 0.019807 | 0.0198 | 0.019807 | 0.99338 | -0.059872 | 0.9934 | -0.060038 | 9.0032
91 | 0.33636 | 0.16249 | -0.33636 | -0.1626 | 7.5189e-07 | -0.00011238 | 0.010855 | 0.010857 | 0.010857 | 0.99338 | -0.059872 | 0.99338 | -0.059852 | 4.9349
92 | -0.73486 | -0.35143 | 0.73488 | 0.35061 | 2.6258e-05 | -0.00081973 | 0.023671 | 0.02366 | 0.023671 | 0.9934 | -0.060038 | 0.99343 | -0.06034 | 10.7594
93 | 0.33636 | 0.1626 | -0.33636 | -0.1629 | 2.0287e-06 | -0.00030306 | 0.010857 | 0.010861 | 0.010861 | 0.99338 | -0.059852 | 0.99338 | -0.0598 | 4.9366
94 | -1.1224 | -0.48537 | 1.1225 | 0.48394 | 0.00010884 | -0.0014276 | 0.035907 | 0.03589 | 0.035907 | 0.98307 | -0.14608 | 0.98316 | -0.14671 | 16.3215
95 | 0.81897 | 0.33844 | -0.81891 | -0.33991 | 5.8591e-05 | -0.0014772 | 0.026021 | 0.026038 | 0.026038 | 0.98307 | -0.14608 | 0.983 | -0.14566 | 11.8355
96 | -1.2434 | -0.54252 | 1.244 | 0.53632 | 0.00058361 | -0.0062005 | 0.039833 | 0.039758 | 0.039833 | 0.98316 | -0.14671 | 0.9836 | -0.14981 | 18.1057
97 | 0.099587 | 0.045628 | -0.099585 | -0.047839 | 1.3358e-06 | -0.0022116 | 0.0032169 | 0.0032445 | 0.0032445 | 0.983 | -0.14566 | 0.98299 | -0.14556 | 1.4748
98 | 0.099585 | 0.047839 | -0.099585 | -0.048231 | 2.3909e-07 | -0.00039184 | 0.0032445 | 0.0032495 | 0.0032495 | 0.98299 | -0.14556 | 0.98299 | -0.14554 | 1.477
99 | 0.11719 | 0.056639 | -0.11719 | -0.056757 | 9.9745e-08 | -0.00011776 | 0.0038237 | 0.0038252 | 0.0038252 | 0.98265 | -0.14398 | 0.98265 | -0.14397 | 1.7387
100 | 0.26561 | 0.094624 | -0.26551 | -0.11896 | 9.9817e-05 | -0.024333 | 0.0082833 | 0.0085501 | 0.0085501 | 0.98265 | -0.14398 | 0.98229 | -0.14202 | 3.8864
101 | -0.059407 | -0.028772 | 0.059408 | 0.028592 | 1.0424e-06 | -0.00018045 | 0.001935 | 0.0019327 | 0.001935 | 0.98474 | -0.13795 | 0.98476 | -0.13784 | 0.92144
102 | -0.059408 | -0.028592 | 0.059413 | 0.0012214 | 5.0874e-06 | -0.02737 | 0.0019327 | 0.0017419 | 0.0019327 | 0.98476 | -0.13784 | 0.98484 | -0.13763 | 0.8785
103 | -0.059413 | -0.0012214 | 0.059414 | 0.00064067 | 1.0156e-07 | -0.00058075 | 0.0017419 | 0.0017416 | 0.0017419 | 0.98484 | -0.13763 | 0.98485 | -0.1376 | 0.79176
104 | -0.23125 | -0.083864 | 0.23125 | 0.083388 | 1.4263e-06 | -0.0004758 | 0.0072102 | 0.0072055 | 0.0072102 | 0.98485 | -0.1376 | 0.98485 | -0.13762 | 3.2774
105 | 0.23127 | 0.077561 | -0.23125 | -0.083388 | 1.7316e-05 | -0.005827 | 0.0071493 | 0.0072055 | 0.0072055 | 0.98492 | -0.13781 | 0.98485 | -0.13762 | 3.2752
106 | -0.81268 | -0.38829 | 0.8127 | 0.38792 | 1.4564e-05 | -0.00037103 | 0.026172 | 0.026167 | 0.026172 | 0.99343 | -0.06034 | 0.99345 | -0.060491 | 11.8964
107 | -0.8127 | -0.38792 | 0.81291 | 0.38254 | 0.00021038 | -0.0053762 | 0.026167 | 0.0261 | 0.026167 | 0.99345 | -0.060491 | 0.99369 | -0.062638 | 11.8943
108 | 0.072712 | 0.034238 | -0.072712 | -0.035216 | 2.9607e-07 | -0.0009782 | 0.0023203 | 0.0023324 | 0.0023324 | 0.99992 | 0.00068219 | 0.99992 | 0.00071657 | 1.0602
109 | 0.093165 | 0.04393 | -0.093164 | -0.045122 | 5.9924e-07 | -0.0011915 | 0.0029825 | 0.0029973 | 0.0029973 | 0.99697 | -0.071952 | 0.99696 | -0.071897 | 1.3624
110 | -11.8308 | -5.4624 | 11.8334 | 5.457 | 0.0026648 | -0.0053935 | 0.37649 | 0.37639 | 0.37649 | 0.99915 | -0.015556 | 0.99942 | -0.010698 | 44.7137
111 | 0.091038 | 0.0436 | -0.091037 | -0.044091 | 2.3455e-07 | -0.00049128 | 0.0029163 | 0.0029225 | 0.0029225 | 0.99915 | -0.015556 | 0.99915 | -0.015533 | 1.3284
112 | 0.48393 | 0.23412 | -0.48393 | -0.23436 | 3.2533e-06 | -0.00024002 | 0.015528 | 0.015531 | 0.015531 | 0.99942 | -0.010698 | 0.99941 | -0.010639 | 7.0595
113 | 0.084841 | 0.041074 | -0.084841 | -0.04109 | 1.8487e-07 | -1.6572e-05 | 0.0027227 | 0.0027229 | 0.0027229 | 0.99941 | -0.010639 | 0.99941 | -0.010654 | 1.2966
114 | 1.6516 | 0.76652 | -1.6514 | -0.76759 | 0.00017773 | -0.0010729 | 0.052845 | 0.052858 | 0.052858 | 0.99463 | -0.070746 | 0.99453 | -0.069895 | 24.0266
115 | 1.6514 | 0.76759 | -1.6502 | -0.77495 | 0.0012216 | -0.0073526 | 0.052858 | 0.052953 | 0.052953 | 0.99453 | -0.069895 | 0.99384 | -0.063958 | 24.0697
116 | 0.13941 | 0.062432 | -0.1394 | -0.065818 | 3.809e-06 | -0.0033858 | 0.0044368 | 0.0044779 | 0.0044779 | 0.99384 | -0.063958 | 0.99382 | -0.063747 | 2.0354
117 | 1.5107 | 0.71251 | -1.5107 | -0.7132 | 9.5031e-05 | -0.0006848 | 0.048517 | 0.048526 | 0.048526 | 0.99384 | -0.063958 | 0.99378 | -0.063442 | 22.0573
118 | 0.1394 | 0.065818 | -0.1394 | -0.067515 | 1.9363e-06 | -0.0016971 | 0.0044779 | 0.0044992 | 0.0044992 | 0.99382 | -0.063747 | 0.9938 | -0.063629 | 2.0451
119 | 1.1367 | 0.53211 | -1.1366 | -0.53358 | 0.00011291 | -0.001466 | 0.036459 | 0.036477 | 0.036477 | 0.99378 | -0.063442 | 0.99369 | -0.062638 | 16.5807
120 | 0.32373 | 0.15104 | -0.3237 | -0.15634 | 3.2608e-05 | -0.0053031 | 0.010378 | 0.010444 | 0.010444 | 0.99369 | -0.062638 | 0.9936 | -0.061799 | 4.7472
121 | 0.3237 | 0.15634 | -0.32369 | -0.15677 | 2.6828e-06 | -0.00043324 | 0.010444 | 0.010449 | 0.010449 | 0.9936 | -0.061799 | 0.99359 | -0.061727 | 4.7497

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.2002 | 6.1015

## res_load
| p_mw | q_mvar
0 | 0.19062 | 0.092321
1 | 0.34621 | 0.16768
2 | 0.10397 | 0.050355
3 | 0.28873 | 0.13984
4 | 0.26632 | 0.12898
5 | 0.39018 | 0.18897
6 | 0.072119 | 0.034929
7 | 0.34861 | 0.16884
8 | 0.43967 | 0.21294
9 | 0.18466 | 0.089433
10 | 0.21572 | 0.10448
11 | 0.092306 | 0.044706
12 | 0.086985 | 0.042129
13 | 0.41079 | 0.19896
14 | 0.2596 | 0.12573
15 | 0.25822 | 0.12506
16 | 0.26706 | 0.12934
17 | 0.069141 | 0.033486
18 | 0.25469 | 0.12335
19 | 0.39287 | 0.19027
20 | 0.089712 | 0.043449
21 | 0.38811 | 0.18797
22 | 0.078745 | 0.038138
23 | 0.069182 | 0.033506
24 | 0.41298 | 0.20002
25 | 0.26333 | 0.12754
26 | 0.11533 | 0.055855
27 | 0.41483 | 0.20091
28 | 0.15518 | 0.075156
29 | 0.12226 | 0.059214
30 | 0.2896 | 0.14026
31 | 0.071786 | 0.034768
32 | 0.080946 | 0.039204
33 | 0.064425 | 0.031202
34 | 0.12715 | 0.061582
35 | 0.073805 | 0.035745
36 | 0.34012 | 0.16473
37 | 0.26452 | 0.12811
38 | 0.15368 | 0.07443
39 | 0.1249 | 0.06049
40 | 0.11987 | 0.058057
41 | 0.30338 | 0.14694
42 | 0.12094 | 0.058575
43 | 0.099585 | 0.048231
44 | 0.059407 | 0.028772
45 | 0.17183 | 0.083223
46 | 0.11719 | 0.056757
47 | 0.33636 | 0.1629
48 | 0.33288 | 0.16122
49 | 0.077801 | 0.037681
50 | 0.30703 | 0.1487
51 | 0.072712 | 0.035216
52 | 0.2805 | 0.13585
53 | 0.093164 | 0.045122
54 | 0.091037 | 0.044091
55 | 0.12234 | 0.059254
56 | 0.39908 | 0.19329
57 | 0.084841 | 0.04109
58 | 0.44963 | 0.21777
59 | 0.3739 | 0.18109
60 | 0.1394 | 0.067515
61 | 0.32369 | 0.15677

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1