## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_242_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_242_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_242_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_242_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_242_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_242_0_node_113 | 20 | n |  | TRUE
6 | bus_MV_242_0_node_58 | 20 | n |  | TRUE
7 | bus_MV_242_0_node_92 | 20 | n |  | TRUE
8 | bus_MV_242_0_node_115 | 20 | n |  | TRUE
9 | bus_MV_242_0_node_55 | 20 | n |  | TRUE
10 | bus_MV_242_0_node_93 | 20 | n |  | TRUE
11 | bus_MV_242_0_node_89 | 20 | n |  | TRUE
12 | bus_MV_242_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_242_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_242_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_242_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_242_0_node_9 | 20 | n |  | TRUE
17 | bus_MV_242_0_node_46 | 20 | n |  | TRUE
18 | bus_MV_242_0_node_47 | 20 | n |  | TRUE
19 | bus_MV_242_0_node_48 | 20 | n |  | TRUE
20 | bus_MV_242_0_node_15 | 20 | n |  | TRUE
21 | bus_MV_242_0_node_112 | 20 | n |  | TRUE
22 | bus_MV_242_0_node_54 | 20 | n |  | TRUE
23 | bus_MV_242_0_node_14 | 20 | n |  | TRUE
24 | bus_MV_242_0_node_103 | 20 | n |  | TRUE
25 | bus_MV_242_0_node_52 | 20 | n |  | TRUE
26 | bus_MV_242_0_node_101 | 20 | n |  | TRUE
27 | bus_MV_242_0_node_99 | 20 | n |  | TRUE
28 | bus_MV_242_0_node_10 | 20 | n |  | TRUE
29 | bus_MV_242_0_node_11 | 20 | n |  | TRUE
30 | bus_MV_242_0_node_74 | 20 | n |  | TRUE
31 | bus_MV_242_0_node_12 | 20 | n |  | TRUE
32 | bus_MV_242_0_node_75 | 20 | n |  | TRUE
33 | bus_MV_242_0_node_76 | 20 | n |  | TRUE
34 | bus_MV_242_0_node_13 | 20 | n |  | TRUE
35 | bus_MV_242_0_node_17 | 20 | n |  | TRUE
36 | bus_MV_242_0_node_30 | 20 | n |  | TRUE
37 | bus_MV_242_0_node_29 | 20 | n |  | TRUE
38 | bus_MV_242_0_node_19 | 20 | n |  | TRUE
39 | bus_MV_242_0_node_21 | 20 | n |  | TRUE
40 | bus_MV_242_0_node_45 | 20 | n |  | TRUE
41 | bus_MV_242_0_node_23 | 20 | n |  | TRUE
42 | bus_MV_242_0_node_24 | 20 | n |  | TRUE
43 | bus_MV_242_0_node_71 | 20 | n |  | TRUE
44 | bus_MV_242_0_node_72 | 20 | n |  | TRUE
45 | bus_MV_242_0_node_25 | 20 | n |  | TRUE
46 | bus_MV_242_0_node_26 | 20 | n |  | TRUE
47 | bus_MV_242_0_node_27 | 20 | n |  | TRUE
48 | bus_MV_242_0_node_28 | 20 | n |  | TRUE
49 | bus_MV_242_0_node_32 | 20 | n |  | TRUE
50 | bus_MV_242_0_node_31 | 20 | n |  | TRUE
51 | bus_MV_242_0_node_33 | 20 | n |  | TRUE
52 | bus_MV_242_0_node_34 | 20 | n |  | TRUE
53 | bus_MV_242_0_node_108 | 20 | n |  | TRUE
54 | bus_MV_242_0_node_107 | 20 | n |  | TRUE
55 | bus_MV_242_0_node_63 | 20 | n |  | TRUE
56 | bus_MV_242_0_node_69 | 20 | n |  | TRUE
57 | bus_MV_242_0_node_35 | 20 | n |  | TRUE
58 | bus_MV_242_0_node_37 | 20 | n |  | TRUE
59 | bus_MV_242_0_node_39 | 20 | n |  | TRUE
60 | bus_MV_242_0_node_38 | 20 | n |  | TRUE
61 | bus_MV_242_0_node_87 | 20 | n |  | TRUE
62 | bus_MV_242_0_node_91 | 20 | n |  | TRUE
63 | bus_MV_242_0_node_40 | 20 | n |  | TRUE
64 | bus_MV_242_0_node_79 | 20 | n |  | TRUE
65 | bus_MV_242_0_node_119 | 20 | n |  | TRUE
66 | bus_MV_242_0_node_117 | 20 | n |  | TRUE
67 | bus_MV_242_0_node_41 | 20 | n |  | TRUE
68 | bus_MV_242_0_node_49 | 20 | n |  | TRUE
69 | bus_MV_242_0_node_96 | 20 | n |  | TRUE
70 | bus_MV_242_0_node_85 | 20 | n |  | TRUE
71 | bus_MV_242_0_node_90 | 20 | n |  | TRUE
72 | bus_MV_242_0_node_77 | 20 | n |  | TRUE
73 | bus_MV_242_0_node_95 | 20 | n |  | TRUE
74 | bus_MV_242_0_node_42 | 20 | n |  | TRUE
75 | bus_MV_242_0_node_43 | 20 | n |  | TRUE
76 | bus_MV_242_0_node_44 | 20 | n |  | TRUE
77 | bus_MV_242_0_node_121 | 20 | n |  | TRUE
78 | bus_MV_242_0_node_68 | 20 | n |  | TRUE
79 | bus_MV_242_0_node_66 | 20 | n |  | TRUE
80 | bus_MV_242_0_node_67 | 20 | n |  | TRUE
81 | bus_MV_242_0_node_116 | 20 | n |  | TRUE
82 | bus_MV_242_0_node_50 | 20 | n |  | TRUE
83 | bus_MV_242_0_node_51 | 20 | n |  | TRUE
84 | bus_MV_242_0_node_53 | 20 | n |  | TRUE
85 | bus_MV_242_0_node_84 | 20 | n |  | TRUE
86 | bus_MV_242_0_node_80 | 20 | n |  | TRUE
87 | bus_MV_242_0_node_57 | 20 | n |  | TRUE
88 | bus_MV_242_0_node_59 | 20 | n |  | TRUE
89 | bus_MV_242_0_node_60 | 20 | n |  | TRUE
90 | bus_MV_242_0_node_61 | 20 | n |  | TRUE
91 | bus_MV_242_0_node_62 | 20 | n |  | TRUE
92 | bus_MV_242_0_node_70 | 20 | n |  | TRUE
93 | bus_MV_242_0_node_73 | 20 | n |  | TRUE
94 | bus_MV_242_0_node_81 | 20 | n |  | TRUE
95 | bus_MV_242_0_node_94 | 20 | n |  | TRUE
96 | bus_MV_242_0_node_78 | 20 | n |  | TRUE
97 | bus_MV_242_0_node_82 | 20 | n |  | TRUE
98 | bus_MV_242_0_node_83 | 20 | n |  | TRUE
99 | bus_MV_242_0_node_120 | 20 | n |  | TRUE
100 | bus_MV_242_0_node_118 | 20 | n |  | TRUE
101 | bus_MV_242_0_node_110 | 20 | n |  | TRUE
102 | bus_MV_242_0_node_111 | 20 | n |  | TRUE
103 | bus_MV_242_0_node_109 | 20 | n |  | TRUE
104 | bus_MV_242_0_node_86 | 20 | n |  | TRUE
105 | bus_MV_242_0_node_88 | 20 | n |  | TRUE
106 | bus_MV_242_0_node_102 | 20 | n |  | TRUE
107 | bus_MV_242_0_node_97 | 20 | n |  | TRUE
108 | bus_MV_242_0_node_98 | 20 | n |  | TRUE
109 | bus_MV_242_0_node_100 | 20 | n |  | TRUE
110 | bus_MV_242_0_node_106 | 20 | n |  | TRUE
111 | bus_MV_242_0_node_105 | 20 | n |  | TRUE
112 | bus_MV_242_0_node_104 | 20 | n |  | TRUE
113 | bus_HV_242_0_node_15 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_242_0_load_0 | 0 | 0.20248 | 0.098066 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_242_0_load_113 | 5 | 0.37828 | 0.18321 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_242_0_load_92 | 7 | 0.35936 | 0.17405 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_242_0_load_55 | 9 | 0.22838 | 0.11061 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_242_0_load_93 | 10 | 0.072671 | 0.035196 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_242_0_load_5 | 12 | 0.17822 | 0.086316 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_242_0_load_8 | 15 | 0.071775 | 0.034762 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_242_0_load_46 | 17 | 0.14976 | 0.072534 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_242_0_load_47 | 18 | 0.22338 | 0.10819 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_242_0_load_48 | 19 | 0.36722 | 0.17785 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_242_0_load_112 | 21 | 0.25813 | 0.12502 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_242_0_load_103 | 24 | 0.20495 | 0.099263 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_242_0_load_10 | 28 | 0.30661 | 0.1485 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_242_0_load_74 | 30 | 0.3031 | 0.1468 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_242_0_load_75 | 32 | 0.28318 | 0.13715 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_242_0_load_76 | 33 | 0.073263 | 0.035483 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_242_0_load_13 | 34 | 0.29993 | 0.14526 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_242_0_load_17 | 35 | 0.18086 | 0.087593 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_242_0_load_19 | 38 | 0.27115 | 0.13133 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_242_0_load_45 | 40 | 0.2629 | 0.12733 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_242_0_load_23 | 41 | 0.37952 | 0.18381 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_242_0_load_71 | 43 | 0.29836 | 0.1445 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_242_0_load_25 | 45 | 0.35257 | 0.17076 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_242_0_load_27 | 47 | 0.24294 | 0.11766 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_242_0_load_31 | 50 | 0.19917 | 0.096464 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_242_0_load_108 | 53 | 0.11011 | 0.053327 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_242_0_load_107 | 54 | 0.13159 | 0.063732 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_242_0_load_63 | 55 | 0.29788 | 0.14427 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_242_0_load_35 | 57 | 0.15697 | 0.076026 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_242_0_load_91 | 62 | 0.069092 | 0.033463 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_242_0_load_119 | 65 | 0.22565 | 0.10929 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_242_0_load_117 | 66 | 0.29645 | 0.14358 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_242_0_load_49 | 68 | 0.15268 | 0.073948 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_242_0_load_85 | 70 | 0.37374 | 0.18101 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_242_0_load_90 | 71 | 0.37413 | 0.1812 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_242_0_load_77 | 72 | 0.27064 | 0.13108 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_242_0_load_95 | 73 | 0.22333 | 0.10816 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_242_0_load_42 | 74 | 0.21256 | 0.10295 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_242_0_load_121 | 77 | 0.062658 | 0.030347 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_242_0_load_68 | 78 | 0.15696 | 0.076019 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_242_0_load_66 | 79 | 0.36548 | 0.17701 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_242_0_load_116 | 81 | 0.348 | 0.16854 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_242_0_load_50 | 82 | 0.30263 | 0.14657 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_242_0_load_84 | 85 | 0.10319 | 0.049977 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_242_0_load_59 | 88 | 0.28506 | 0.13806 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_242_0_load_60 | 89 | 0.13091 | 0.063403 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_242_0_load_70 | 92 | 0.40278 | 0.19508 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_242_0_load_73 | 93 | 0.090931 | 0.04404 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_242_0_load_81 | 94 | 0.096245 | 0.046614 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_242_0_load_94 | 95 | 0.13867 | 0.067163 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_242_0_load_120 | 99 | 0.11032 | 0.053428 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_242_0_load_118 | 100 | 0.28019 | 0.1357 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_242_0_load_109 | 103 | 0.06865 | 0.033249 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_242_0_load_86 | 104 | 0.1746 | 0.084562 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_242_0_load_97 | 107 | 0.13538 | 0.065566 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_242_0_load_100 | 109 | 0.38546 | 0.18669 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_242_0_load_106 | 110 | 0.092379 | 0.044741 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_242_0_load_104 | 112 | 0.079104 | 0.038312 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_242_0_line_0 |  | 0 | 1 | 0.062474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_242_0_line_1 |  | 0 | 2 | 0.11536 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_242_0_line_2 |  | 1 | 3 | 0.0815 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_242_0_line_3 |  | 2 | 4 | 0.7623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_242_0_line_4 |  | 3 | 7 | 0.047543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_242_0_line_5 |  | 4 | 5 | 0.081222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_242_0_line_6 |  | 4 | 6 | 0.062083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_242_0_line_7 |  | 5 | 8 | 0.59194 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_242_0_line_8 |  | 6 | 9 | 0.079518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_242_0_line_9 |  | 7 | 10 | 0.032331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_242_0_line_10 |  | 7 | 11 | 0.084255 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_242_0_line_11 |  | 8 | 81 | 0.09854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_242_0_line_12 |  | 8 | 40 | 0.44697 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_242_0_line_13 |  | 9 | 87 | 0.058132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_242_0_line_14 |  | 11 | 105 | 0.12207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_242_0_line_15 |  | 12 | 13 | 0.040209 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_242_0_line_16 |  | 12 | 14 | 0.058289 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_242_0_line_17 |  | 13 | 15 | 0.046755 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_242_0_line_18 |  | 14 | 16 | 0.11131 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_242_0_line_19 |  | 15 | 20 | 0.035834 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_242_0_line_20 |  | 16 | 21 | 0.078211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_242_0_line_21 |  | 16 | 22 | 0.10084 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
22 | MV_242_0_line_22 |  | 17 | 18 | 0.030947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_242_0_line_23 |  | 17 | 19 | 0.064732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_242_0_line_24 |  | 19 | 20 | 0.14242 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
25 | MV_242_0_line_25 |  | 19 | 31 | 0.010107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_242_0_line_26 |  | 20 | 23 | 0.10958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_242_0_line_27 |  | 22 | 24 | 0.00157 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
28 | MV_242_0_line_28 |  | 22 | 25 | 0.064497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_242_0_line_29 |  | 23 | 34 | 0.047808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_242_0_line_30 |  | 24 | 26 | 0.058983 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_242_0_line_31 |  | 25 | 82 | 0.068181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_242_0_line_32 |  | 26 | 27 | 0.055639 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_242_0_line_33 |  | 27 | 107 | 0.012929 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_242_0_line_34 |  | 28 | 29 | 0.033077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_242_0_line_35 |  | 28 | 30 | 0.18095 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_242_0_line_36 |  | 29 | 31 | 0.20787 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_242_0_line_37 |  | 30 | 32 | 0.05479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_242_0_line_38 |  | 30 | 33 | 0.063786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_242_0_line_39 |  | 32 | 52 | 0.065351 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_242_0_line_40 |  | 35 | 36 | 0.08571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_242_0_line_41 |  | 36 | 37 | 0.086783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_242_0_line_42 |  | 37 | 47 | 0.056849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_242_0_line_43 |  | 38 | 39 | 0.10773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_242_0_line_44 |  | 38 | 40 | 0.49956 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_242_0_line_45 |  | 39 | 41 | 0.056849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_242_0_line_46 |  | 39 | 42 | 0.19349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_242_0_line_47 |  | 42 | 43 | 0.1301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_242_0_line_48 |  | 43 | 44 | 0.053966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_242_0_line_49 |  | 44 | 93 | 0.0096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_242_0_line_50 |  | 45 | 46 | 0.00266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_242_0_line_51 |  | 45 | 47 | 0.074654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_242_0_line_52 |  | 46 | 48 | 0.25536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_242_0_line_53 |  | 48 | 49 | 0.14635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_242_0_line_54 |  | 48 | 50 | 0.070237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_242_0_line_55 |  | 49 | 51 | 0.10978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_242_0_line_56 |  | 49 | 52 | 0.13438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_242_0_line_57 |  | 51 | 53 | 0.13988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_242_0_line_58 |  | 51 | 54 | 0.038416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_242_0_line_59 |  | 51 | 55 | 0.15179 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_242_0_line_60 |  | 53 | 56 | 0.10843 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_242_0_line_61 |  | 56 | 92 | 0.059358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_242_0_line_62 |  | 56 | 80 | 0.35991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_242_0_line_63 |  | 57 | 58 | 0.042937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_242_0_line_64 |  | 58 | 59 | 0.097803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_242_0_line_65 |  | 59 | 63 | 0.2884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_242_0_line_66 |  | 59 | 64 | 0.18125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_242_0_line_67 |  | 59 | 65 | 0.06335 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_242_0_line_68 |  | 60 | 61 | 0.032001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_242_0_line_69 |  | 60 | 62 | 0.036516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_242_0_line_70 |  | 61 | 70 | 0.057832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_242_0_line_71 |  | 62 | 71 | 0.029924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_242_0_line_72 |  | 63 | 66 | 0.021541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_242_0_line_73 |  | 64 | 72 | 0.011445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_242_0_line_74 |  | 65 | 69 | 0.044908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_242_0_line_75 |  | 67 | 68 | 0.1668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_242_0_line_76 |  | 67 | 69 | 0.10094 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_242_0_line_77 |  | 69 | 73 | 0.021057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_242_0_line_78 |  | 70 | 104 | 0.081057 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_242_0_line_79 |  | 71 | 103 | 0.062194 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_242_0_line_80 |  | 72 | 86 | 0.036535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_242_0_line_81 |  | 72 | 94 | 0.29374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_242_0_line_82 |  | 74 | 75 | 0.14374 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_242_0_line_83 |  | 75 | 76 | 1.4477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_242_0_line_84 |  | 75 | 77 | 0.31621 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_242_0_line_85 |  | 76 | 78 | 0.052206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_242_0_line_86 |  | 76 | 79 | 0.14238 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_242_0_line_87 |  | 79 | 80 | 0.021016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_242_0_line_88 |  | 81 | 91 | 0.014146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_242_0_line_89 |  | 82 | 83 | 0.11444 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_242_0_line_90 |  | 83 | 84 | 0.077427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_242_0_line_91 |  | 84 | 85 | 0.023838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_242_0_line_92 |  | 85 | 86 | 0.027478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_242_0_line_93 |  | 87 | 88 | 0.076794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_242_0_line_94 |  | 89 | 90 | 0.032911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_242_0_line_95 |  | 90 | 91 | 0.25099 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_242_0_line_96 |  | 94 | 95 | 0.089308 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_242_0_line_97 |  | 96 | 97 | 0.093388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_242_0_line_98 |  | 96 | 98 | 0.059448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_242_0_line_99 |  | 97 | 99 | 0.036207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_242_0_line_100 |  | 98 | 100 | 0.035073 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_242_0_line_101 |  | 100 | 102 | 0.010868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_242_0_line_102 |  | 101 | 102 | 0.041839 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_242_0_line_103 |  | 101 | 103 | 0.035569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_242_0_line_104 |  | 104 | 105 | 0.029671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_242_0_line_105 |  | 105 | 106 | 0.070778 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
106 | MV_242_0_line_106 |  | 106 | 111 | 0.07184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_242_0_line_107 |  | 106 | 109 | 0.048747 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
108 | MV_242_0_line_108 |  | 107 | 108 | 0.0039784 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_242_0_line_109 |  | 108 | 109 | 0.007208 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
110 | MV_242_0_line_110 |  | 109 | 110 | 0.065828 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_242_0_line_111 |  | 111 | 112 | 0.029641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_242_0_trafo_15 | 25 MVA 110/20 kV | 113 | 20 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2722158.704 | 1117233.9118
1 | 2722213.3803 | 1117264.4244
2 | 2722102.9274 | 1117334.8906
3 | 2722252.9397 | 1117193.1287
4 | 2722165.6686 | 1117615.416
5 | 2722108.9132 | 1117673.5898
6 | 2722211.4086 | 1117657.3897
7 | 2722277.2384 | 1117152.2352
8 | 2721645.4741 | 1118041.854
9 | 2722269.6534 | 1117711.7025
10 | 2722306.0564 | 1117166.892
11 | 2722320.6934 | 1117080.0513
12 | 2722588.3969 | 1117578.8851
13 | 2722562.647 | 1117609.8188
14 | 2722542.3349 | 1117542.995
15 | 2722588.6591 | 1117648.6698
16 | 2722527.3004 | 1117483.194
17 | 2722781.581 | 1117580.7873
18 | 2722760.1383 | 1117558.4729
19 | 2722735.9517 | 1117626.8168
20 | 2722604.1824 | 1117680.864
21 | 2722465.2823 | 1117531.0621
22 | 2722507.1171 | 1117384.3952
23 | 2722637.5237 | 1117752.7442
24 | 2722506.5617 | 1117382.9267
25 | 2722554.3811 | 1117340.3761
26 | 2722484.729 | 1117328.1369
27 | 2722464.8326 | 1117276.1654
28 | 2722896.1639 | 1117755.8764
29 | 2722922.2574 | 1117735.4583
30 | 2722990.6017 | 1117910.2333
31 | 2722744.0908 | 1117632.8415
32 | 2723038.2734 | 1117882.9935
33 | 2723020.8702 | 1117966.38
34 | 2722600.6697 | 1117783.1965
35 | 2722630.055 | 1117954.1325
36 | 2722692.7847 | 1118012.721
37 | 2722745.0602 | 1118081.5833
38 | 2722256.301 | 1118029.1859
39 | 2722339.8833 | 1118097.4427
40 | 2721917.6283 | 1118396.4141
41 | 2722383.5463 | 1118060.8993
42 | 2722451.5371 | 1118254.4739
43 | 2722519.089 | 1118365.7612
44 | 2722565.4843 | 1118337.9805
45 | 2722808.4349 | 1118196.5474
46 | 2722810.8953 | 1118195.5188
47 | 2722772.733 | 1118131.2785
48 | 2723026.6354 | 1118104.6332
49 | 2723158.5446 | 1118042.3258
50 | 2723060.8933 | 1118165.9938
51 | 2723265.1424 | 1118047.8421
52 | 2723079.4339 | 1117933.7537
53 | 2723338.4117 | 1118142.7771
54 | 2723303.0338 | 1118054.1666
55 | 2723243.6043 | 1117897.5884
56 | 2723253.9656 | 1118210.7835
57 | 2722833.127 | 1117089.0021
58 | 2722875.7485 | 1117095.1484
59 | 2722918.4682 | 1117166.4421
60 | 2722572.7974 | 1117058.8314
61 | 2722549.8698 | 1117036.441
62 | 2722599.7147 | 1117083.5064
63 | 2722847.2157 | 1116971.1727
64 | 2722817.8081 | 1117286.1505
65 | 2722978.1723 | 1117187.6239
66 | 2722839.8663 | 1116950.9207
67 | 2723088.8152 | 1117137.3357
68 | 2723113.6039 | 1117288.7112
69 | 2723014.6343 | 1117205.7878
70 | 2722507.3319 | 1117075.7413
71 | 2722621.7692 | 1117103.7312
72 | 2722808.9735 | 1117293.4543
73 | 2723015.8442 | 1117226.8048
74 | 2722905.9291 | 1119070.3749
75 | 2722808.4669 | 1118964.7249
76 | 2723296.4548 | 1118598.2506
77 | 2722560.0126 | 1118769.1238
78 | 2723247.5561 | 1118616.5362
79 | 2723429.6483 | 1118547.9282
80 | 2723423.7135 | 1118527.7821
81 | 2721555.5194 | 1118052.1666
82 | 2722602.999 | 1117292.4488
83 | 2722682.2918 | 1117374.9666
84 | 2722740.4746 | 1117335.9179
85 | 2722763.8769 | 1117332.523
86 | 2722781.2853 | 1117312.4841
87 | 2722310.1293 | 1117753.5373
88 | 2722364.7235 | 1117807.6994
89 | 2721470.3055 | 1117862.3821
90 | 2721496.0491 | 1117882.9792
91 | 2721541.9855 | 1118050.2604
92 | 2723225.1537 | 1118158.8501
93 | 2722573.7199 | 1118333.0475
94 | 2723006.5166 | 1117510.7884
95 | 2723092.7678 | 1117487.6225
96 | 2722762.9689 | 1117231.4568
97 | 2722780.9958 | 1117182.4547
98 | 2722729.1941 | 1117215.1612
99 | 2722803.2948 | 1117211.0265
100 | 2722705.0162 | 1117189.7539
101 | 2722701.3141 | 1117143.4468
102 | 2722697.603 | 1117181.7872
103 | 2722681.8366 | 1117119.8566
104 | 2722445.6134 | 1117128.2879
105 | 2722418.4729 | 1117140.2789
106 | 2722439.1953 | 1117207.9556
107 | 2722460.1045 | 1117264.1324
108 | 2722458.6496 | 1117260.4295
109 | 2722456.1612 | 1117253.6634
110 | 2722506.3549 | 1117211.0736
111 | 2722374.3867 | 1117238.6897
112 | 2722360.5411 | 1117212.7666
113 | 2722604.1824 | 1117680.864

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99618 | -0.03839 | 0.20248 | 0.098066
1 | 0.99641 | -0.04036 | 0 | 0
2 | 0.99559 | -0.042674 | 0 | 0
3 | 0.99671 | -0.042919 | 0 | 0
4 | 0.99298 | -0.019948 | 0 | 0
5 | 0.99275 | -0.017939 | 0.37828 | 0.18321
6 | 0.99294 | -0.019584 | 0 | 0
7 | 0.99689 | -0.044407 | 0.35936 | 0.17405
8 | 0.9907 | -0.03211 | 0 | 0
9 | 0.99289 | -0.01911 | 0.22838 | 0.11061
10 | 0.99688 | -0.044379 | 0.072671 | 0.035196
11 | 0.99743 | -0.040592 | 0 | 0
12 | 0.99968 | -0.0013938 | 0.17822 | 0.086316
13 | 0.99978 | -0.00093986 | 0 | 0
14 | 0.99953 | -0.0020374 | 0 | 0
15 | 0.9999 | -0.00041021 | 0.071775 | 0.034762
16 | 0.99924 | -0.0032581 | 0 | 0
17 | 0.99923 | -0.018537 | 0.14976 | 0.072534
18 | 0.99922 | -0.018455 | 0.22338 | 0.10819
19 | 0.99926 | -0.01882 | 0.36722 | 0.17785
20 | 1 | 0 | -12.9183 | -6.037
21 | 0.99921 | -0.0030209 | 0.25813 | 0.12502
22 | 0.99872 | -0.032513 | 0 | 0
23 | 0.99996 | 0.00037609 | 0 | 0
24 | 0.99872 | -0.032525 | 0.20495 | 0.099263
25 | 0.99856 | -0.031133 | 0 | 0
26 | 0.99861 | -0.032972 | 0 | 0
27 | 0.99851 | -0.033391 | 0 | 0
28 | 0.99809 | -0.0090117 | 0.30661 | 0.1485
29 | 0.99824 | -0.010311 | 0 | 0
30 | 0.99691 | -0.017659 | 0.3031 | 0.1468
31 | 0.99921 | -0.018428 | 0 | 0
32 | 0.9967 | -0.015946 | 0.28318 | 0.13715
33 | 0.99691 | -0.017606 | 0.073263 | 0.035483
34 | 0.99994 | 0.00054592 | 0.29993 | 0.14526
35 | 0.99537 | -0.010142 | 0.18086 | 0.087593
36 | 0.99539 | -0.010324 | 0 | 0
37 | 0.99541 | -0.010496 | 0 | 0
38 | 0.98856 | -0.046814 | 0.27115 | 0.13133
39 | 0.98845 | -0.045881 | 0 | 0
40 | 0.98957 | -0.039822 | 0.2629 | 0.12733
41 | 0.98842 | -0.045619 | 0.37952 | 0.18381
42 | 0.98836 | -0.045044 | 0 | 0
43 | 0.98829 | -0.044449 | 0.29836 | 0.1445
44 | 0.98828 | -0.044392 | 0 | 0
45 | 0.99546 | -0.010955 | 0.35257 | 0.17076
46 | 0.99546 | -0.010978 | 0 | 0
47 | 0.99542 | -0.010603 | 0.24294 | 0.11766
48 | 0.99572 | -0.013202 | 0 | 0
49 | 0.9959 | -0.014768 | 0 | 0
50 | 0.9957 | -0.013037 | 0.19917 | 0.096464
51 | 0.99566 | -0.012832 | 0 | 0
52 | 0.99636 | -0.018533 | 0 | 0
53 | 0.99542 | -0.011052 | 0.11011 | 0.053327
54 | 0.99565 | -0.012772 | 0.13159 | 0.063732
55 | 0.99557 | -0.013384 | 0.29788 | 0.14427
56 | 0.99518 | -0.013076 | 0 | 0
57 | 0.99739 | -0.026922 | 0.15697 | 0.076026
58 | 0.9974 | -0.027001 | 0 | 0
59 | 0.99742 | -0.027172 | 0 | 0
60 | 0.99758 | -0.044931 | 0 | 0
61 | 0.99762 | -0.045261 | 0 | 0
62 | 0.99754 | -0.044554 | 0.069092 | 0.033463
63 | 0.99731 | -0.026217 | 0 | 0
64 | 0.99767 | -0.029256 | 0 | 0
65 | 0.99735 | -0.027666 | 0.22565 | 0.10929
66 | 0.99731 | -0.02614 | 0.29645 | 0.14358
67 | 0.9973 | -0.0277 | 0 | 0
68 | 0.99727 | -0.027414 | 0.15268 | 0.073948
69 | 0.99733 | -0.027478 | 0 | 0
70 | 0.99769 | -0.045852 | 0.37374 | 0.18101
71 | 0.99751 | -0.044267 | 0.37413 | 0.1812
72 | 0.99768 | -0.029386 | 0.27064 | 0.13108
73 | 0.99732 | -0.027421 | 0.22333 | 0.10816
74 | 0.99412 | -0.0087912 | 0.21256 | 0.10295
75 | 0.99418 | -0.0084166 | 0 | 0
76 | 0.99468 | -0.011593 | 0 | 0
77 | 0.99414 | -0.0086639 | 0.062658 | 0.030347
78 | 0.99467 | -0.011496 | 0.15696 | 0.076019
79 | 0.99479 | -0.0104 | 0.36548 | 0.17701
80 | 0.99481 | -0.010553 | 0 | 0
81 | 0.99064 | -0.031587 | 0.348 | 0.16854
82 | 0.99839 | -0.029667 | 0.30263 | 0.14657
83 | 0.99802 | -0.032293 | 0 | 0
84 | 0.99786 | -0.030899 | 0 | 0
85 | 0.99781 | -0.030468 | 0.10319 | 0.049977
86 | 0.99775 | -0.030004 | 0 | 0
87 | 0.99286 | -0.018918 | 0 | 0
88 | 0.99284 | -0.018657 | 0.28506 | 0.13806
89 | 0.99059 | -0.031179 | 0.13091 | 0.063403
90 | 0.9906 | -0.031231 | 0 | 0
91 | 0.99064 | -0.031571 | 0 | 0
92 | 0.99515 | -0.012789 | 0.40278 | 0.19508
93 | 0.98828 | -0.044382 | 0.090931 | 0.04404
94 | 0.99759 | -0.028624 | 0.096245 | 0.046614
95 | 0.99757 | -0.028775 | 0.13867 | 0.067163
96 | 0.9974 | -0.044263 | 0 | 0
97 | 0.99738 | -0.044151 | 0 | 0
98 | 0.9974 | -0.044327 | 0 | 0
99 | 0.99738 | -0.044104 | 0.11032 | 0.053428
100 | 0.99741 | -0.044267 | 0.28019 | 0.1357
101 | 0.99744 | -0.044497 | 0 | 0
102 | 0.99742 | -0.044314 | 0 | 0
103 | 0.99746 | -0.04465 | 0.06865 | 0.033249
104 | 0.99789 | -0.044524 | 0.1746 | 0.084562
105 | 0.99794 | -0.04502 | 0 | 0
106 | 0.99834 | -0.034982 | 0 | 0
107 | 0.99849 | -0.033488 | 0.13538 | 0.065566
108 | 0.99848 | -0.033517 | 0 | 0
109 | 0.99847 | -0.03357 | 0.38546 | 0.18669
110 | 0.99846 | -0.033644 | 0.092379 | 0.044741
111 | 0.99833 | -0.034921 | 0 | 0
112 | 0.99833 | -0.034893 | 0.079104 | 0.038312
113 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -2.8917 | -1.3495 | 2.8924 | 1.3482 | 0.00071305 | -0.0012691 | 0.092472 | 0.092454 | 0.092472 | 0.99618 | -0.03839 | 0.99641 | -0.04036 | 42.0328
1 | 2.6892 | 1.2514 | -2.6877 | -1.2506 | 0.0015185 | 0.00081457 | 0.085953 | 0.085955 | 0.085955 | 0.99618 | -0.03839 | 0.99559 | -0.042674 | 40.931
2 | -2.8924 | -1.3482 | 2.8934 | 1.3466 | 0.00092978 | -0.0016567 | 0.092454 | 0.09243 | 0.092454 | 0.99641 | -0.04036 | 0.99671 | -0.042919 | 42.0246
3 | 2.6877 | 1.2506 | -2.6802 | -1.2664 | 0.0075382 | -0.015757 | 0.085955 | 0.086177 | 0.086177 | 0.99559 | -0.042674 | 0.99298 | -0.019948 | 39.1713
4 | -2.8934 | -1.3466 | 2.8939 | 1.3456 | 0.00054217 | -0.00096706 | 0.09243 | 0.092417 | 0.09243 | 0.99671 | -0.042919 | 0.99689 | -0.044407 | 42.0138
5 | 2.1667 | 1.0242 | -2.1661 | -1.0259 | 0.00052652 | -0.0017555 | 0.069672 | 0.069695 | 0.069695 | 0.99298 | -0.019948 | 0.99275 | -0.017939 | 31.6797
6 | 0.5135 | 0.24218 | -0.51348 | -0.24363 | 2.2604e-05 | -0.0014548 | 0.016505 | 0.016524 | 0.016524 | 0.99298 | -0.019948 | 0.99294 | -0.019584 | 7.5107
7 | 1.7879 | 0.84274 | -1.7844 | -0.84125 | 0.0034844 | 0.0014875 | 0.057474 | 0.057483 | 0.057483 | 0.99275 | -0.017939 | 0.9907 | -0.03211 | 27.3728
8 | 0.51348 | 0.24363 | -0.51345 | -0.2455 | 2.9025e-05 | -0.0018631 | 0.016524 | 0.016547 | 0.016547 | 0.99294 | -0.019584 | 0.99289 | -0.01911 | 7.5213
9 | 0.072671 | 0.034429 | -0.072671 | -0.035196 | 2.35e-07 | -0.00076707 | 0.0023286 | 0.0023382 | 0.0023382 | 0.99689 | -0.044407 | 0.99688 | -0.044379 | 1.0628
10 | -3.3259 | -1.5541 | 3.3276 | 1.555 | 0.0016965 | 0.00096259 | 0.10631 | 0.10631 | 0.10631 | 0.99689 | -0.044407 | 0.99743 | -0.040592 | 50.6221
11 | 0.47895 | 0.22266 | -0.47891 | -0.22496 | 3.1216e-05 | -0.0022998 | 0.01539 | 0.015419 | 0.015419 | 0.9907 | -0.03211 | 0.99064 | -0.031587 | 7.0085
12 | 1.3054 | 0.61859 | -1.304 | -0.61823 | 0.0014112 | 0.00036083 | 0.042093 | 0.042099 | 0.042099 | 0.9907 | -0.03211 | 0.98957 | -0.039822 | 20.0474
13 | 0.28508 | 0.13489 | -0.28507 | -0.13626 | 6.5372e-06 | -0.0013663 | 0.0091694 | 0.0091865 | 0.0091865 | 0.99289 | -0.01911 | 0.99286 | -0.018918 | 4.1757
14 | -3.3276 | -1.555 | 3.3295 | 1.5527 | 0.001841 | -0.0023549 | 0.10631 | 0.10627 | 0.10631 | 0.99743 | -0.040592 | 0.99794 | -0.04502 | 48.3205
15 | -8.092 | -3.7931 | 8.0928 | 3.791 | 0.00082737 | -0.0020591 | 0.25807 | 0.25804 | 0.25807 | 0.99968 | -0.0013938 | 0.99978 | -0.00093986 | 40.4497
16 | 7.9138 | 3.7067 | -7.9126 | -3.7098 | 0.0011472 | -0.0030135 | 0.25235 | 0.2524 | 0.2524 | 0.99968 | -0.0013938 | 0.99953 | -0.0020374 | 39.5605
17 | -8.0928 | -3.791 | 8.0938 | 3.7886 | 0.00096182 | -0.0023952 | 0.25804 | 0.258 | 0.25804 | 0.99978 | -0.00093986 | 0.9999 | -0.00041021 | 40.4448
18 | 7.9126 | 3.7098 | -7.9104 | -3.7155 | 0.0021919 | -0.0057511 | 0.2524 | 0.25248 | 0.25248 | 0.99953 | -0.0020374 | 0.99924 | -0.0032581 | 39.5739
19 | -8.1656 | -3.8234 | 8.1663 | 3.8215 | 0.00075018 | -0.0018288 | 0.2603 | 0.26028 | 0.2603 | 0.9999 | -0.00041021 | 1 | 0 | 40.8
20 | 0.25813 | 0.12315 | -0.25813 | -0.12502 | 7.1484e-06 | -0.0018624 | 0.0082626 | 0.008286 | 0.008286 | 0.99924 | -0.0032581 | 0.99921 | -0.0030209 | 3.7664
21 | 7.6523 | 3.5924 | -7.6502 | -3.5867 | 0.0021471 | 0.0056347 | 0.24422 | 0.24422 | 0.24422 | 0.99924 | -0.0032581 | 0.99872 | -0.032513 | 37.8637
22 | 0.22338 | 0.10745 | -0.22338 | -0.10819 | 2.1215e-06 | -0.00073712 | 0.0071613 | 0.0071705 | 0.0071705 | 0.99923 | -0.018537 | 0.99922 | -0.018455 | 3.2593
23 | -0.37315 | -0.17999 | 0.37316 | 0.17845 | 1.2359e-05 | -0.0015395 | 0.011969 | 0.011949 | 0.011969 | 0.99923 | -0.018537 | 0.99926 | -0.01882 | 5.4403
24 | -4.4354 | -2.0607 | 4.438 | 2.0635 | 0.0026099 | 0.0028063 | 0.14129 | 0.14129 | 0.14129 | 0.99926 | -0.01882 | 1 | 0 | 40.3679
25 | 3.695 | 1.7044 | -3.6948 | -1.7046 | 0.00018646 | -0.00018564 | 0.11755 | 0.11756 | 0.11756 | 0.99926 | -0.01882 | 0.99921 | -0.018428 | 53.4349
26 | 0.29995 | 0.14151 | -0.29993 | -0.14412 | 1.3454e-05 | -0.0026121 | 0.0095739 | 0.0096064 | 0.0096064 | 1 | 0 | 0.99996 | 0.00037609 | 4.3665
27 | 5.6814 | 2.6687 | -5.6814 | -2.6688 | 1.597e-05 | -8.9403e-05 | 0.18143 | 0.18143 | 0.18143 | 0.99872 | -0.032513 | 0.99872 | -0.032525 | 28.438
28 | 1.9688 | 0.91797 | -1.9684 | -0.91941 | 0.00033955 | -0.001435 | 0.062788 | 0.062807 | 0.062807 | 0.99872 | -0.032513 | 0.99856 | -0.031133 | 28.5484
29 | 0.29993 | 0.14412 | -0.29993 | -0.14526 | 5.8985e-06 | -0.0011396 | 0.0096064 | 0.0096207 | 0.0096207 | 0.99996 | 0.00037609 | 0.99994 | 0.00054592 | 4.373
30 | 5.4764 | 2.5696 | -5.4759 | -2.573 | 0.00055737 | -0.0033823 | 0.17485 | 0.1749 | 0.1749 | 0.99872 | -0.032525 | 0.99861 | -0.032972 | 27.4135
31 | 1.9684 | 0.91941 | -1.9681 | -0.92092 | 0.00035916 | -0.0015164 | 0.062807 | 0.062826 | 0.062826 | 0.99856 | -0.031133 | 0.99839 | -0.029667 | 28.5575
32 | 5.4759 | 2.573 | -5.4753 | -2.5761 | 0.00052603 | -0.0031896 | 0.1749 | 0.17494 | 0.17494 | 0.99861 | -0.032972 | 0.99851 | -0.033391 | 27.4202
33 | 5.4753 | 2.5761 | -5.4752 | -2.5769 | 0.00012227 | -0.00074104 | 0.17494 | 0.17495 | 0.17495 | 0.99851 | -0.033391 | 0.99849 | -0.033488 | 27.4218
34 | -3.6904 | -1.709 | 3.691 | 1.7084 | 0.00061092 | -0.00060563 | 0.11763 | 0.11762 | 0.11763 | 0.99809 | -0.0090117 | 0.99824 | -0.010311 | 53.4665
35 | 3.3838 | 1.5605 | -3.38 | -1.5583 | 0.003745 | 0.0021308 | 0.10777 | 0.10778 | 0.10778 | 0.99809 | -0.0090117 | 0.99691 | -0.017659 | 51.3225
36 | -3.691 | -1.7084 | 3.6948 | 1.7046 | 0.003837 | -0.0038123 | 0.11762 | 0.11756 | 0.11762 | 0.99824 | -0.010311 | 0.99921 | -0.018428 | 53.4622
37 | 3.0037 | 1.3776 | -3.003 | -1.3787 | 0.00066984 | -0.0011011 | 0.095689 | 0.095704 | 0.095704 | 0.99691 | -0.017659 | 0.9967 | -0.015946 | 43.502
38 | 0.073264 | 0.03397 | -0.073263 | -0.035483 | 4.6936e-07 | -0.0015134 | 0.0023384 | 0.0023572 | 0.0023572 | 0.99691 | -0.017659 | 0.99691 | -0.017606 | 1.0715
39 | 2.7198 | 1.2415 | -2.719 | -1.2411 | 0.0008731 | 0.00046941 | 0.086593 | 0.086594 | 0.086594 | 0.9967 | -0.015946 | 0.99636 | -0.018533 | 41.2354
40 | -0.18086 | -0.087593 | 0.18086 | 0.085566 | 3.8694e-06 | -0.0020264 | 0.005828 | 0.0058026 | 0.005828 | 0.99537 | -0.010142 | 0.99539 | -0.010324 | 2.6491
41 | -0.18086 | -0.085566 | 0.18086 | 0.083514 | 3.8838e-06 | -0.0020519 | 0.0058026 | 0.0057774 | 0.0058026 | 0.99539 | -0.010324 | 0.99541 | -0.010496 | 2.6375
42 | -0.18086 | -0.083514 | 0.18087 | 0.08217 | 2.526e-06 | -0.0013442 | 0.0057774 | 0.0057611 | 0.0057774 | 0.99541 | -0.010496 | 0.99542 | -0.010603 | 2.6261
43 | 0.76897 | 0.35953 | -0.76889 | -0.36202 | 8.848e-05 | -0.002487 | 0.024788 | 0.02482 | 0.02482 | 0.98856 | -0.046814 | 0.98845 | -0.045881 | 11.2816
44 | -1.0401 | -0.49086 | 1.0411 | 0.4909 | 0.0010038 | 4.5333e-05 | 0.033586 | 0.033579 | 0.033586 | 0.98856 | -0.046814 | 0.98957 | -0.039822 | 15.9932
45 | 0.37953 | 0.18249 | -0.37952 | -0.18381 | 1.1495e-05 | -0.0013227 | 0.012299 | 0.012316 | 0.012316 | 0.98845 | -0.045881 | 0.98842 | -0.045619 | 5.598
46 | 0.38936 | 0.17953 | -0.38932 | -0.18403 | 4.0681e-05 | -0.0045013 | 0.012522 | 0.012577 | 0.012577 | 0.98845 | -0.045881 | 0.98836 | -0.045044 | 5.717
47 | 0.38932 | 0.18403 | -0.38929 | -0.18706 | 2.7559e-05 | -0.003026 | 0.012577 | 0.012616 | 0.012616 | 0.98836 | -0.045044 | 0.98829 | -0.044449 | 5.7344
48 | 0.090932 | 0.042558 | -0.090931 | -0.043816 | 6.229e-07 | -0.0012583 | 0.0029326 | 0.0029484 | 0.0029484 | 0.98829 | -0.044449 | 0.98828 | -0.044392 | 1.3402
49 | 0.090931 | 0.043816 | -0.090931 | -0.04404 | 1.1151e-07 | -0.00022384 | 0.0029484 | 0.0029512 | 0.0029512 | 0.98828 | -0.044392 | 0.98828 | -0.044382 | 1.3415
50 | -0.77639 | -0.36882 | 0.77639 | 0.36876 | 2.2062e-06 | -6.2281e-05 | 0.024926 | 0.024925 | 0.024926 | 0.99546 | -0.010955 | 0.99546 | -0.010978 | 11.3299
51 | 0.42382 | 0.19807 | -0.4238 | -0.19983 | 1.8372e-05 | -0.0017608 | 0.013566 | 0.013588 | 0.013588 | 0.99546 | -0.010955 | 0.99542 | -0.010603 | 6.1764
52 | -0.77639 | -0.36876 | 0.7766 | 0.36278 | 0.00021115 | -0.0059806 | 0.024925 | 0.02485 | 0.024925 | 0.99546 | -0.010978 | 0.99572 | -0.013202 | 11.3296
53 | -0.97578 | -0.45758 | 0.97597 | 0.45418 | 0.00019049 | -0.0034086 | 0.031246 | 0.031203 | 0.031246 | 0.99572 | -0.013202 | 0.9959 | -0.014768 | 14.2025
54 | 0.19918 | 0.094803 | -0.19917 | -0.096464 | 3.8474e-06 | -0.0016615 | 0.0063952 | 0.0064161 | 0.0064161 | 0.99572 | -0.013202 | 0.9957 | -0.013037 | 2.9164
55 | 1.7416 | 0.78967 | -1.7412 | -0.79214 | 0.00045054 | -0.0024653 | 0.055431 | 0.055462 | 0.055462 | 0.9959 | -0.014768 | 0.99566 | -0.012832 | 25.21
56 | -2.7176 | -1.2438 | 2.719 | 1.2411 | 0.0013459 | -0.0027845 | 0.086633 | 0.086594 | 0.086633 | 0.9959 | -0.014768 | 0.99636 | -0.018533 | 39.3785
57 | 1.3117 | 0.58521 | -1.3114 | -0.58842 | 0.00032416 | -0.003214 | 0.041644 | 0.041683 | 0.041683 | 0.99566 | -0.012832 | 0.99542 | -0.011052 | 18.9468
58 | 0.13159 | 0.062823 | -0.13159 | -0.063732 | 9.1914e-07 | -0.00090899 | 0.0042278 | 0.0042392 | 0.0042392 | 0.99566 | -0.012832 | 0.99565 | -0.012772 | 1.9269
59 | 0.29791 | 0.14411 | -0.29788 | -0.14427 | 2.4903e-05 | -0.00016402 | 0.0095948 | 0.0095971 | 0.0095971 | 0.99566 | -0.012832 | 0.99557 | -0.013384 | 4.57
60 | 1.2013 | 0.53509 | -1.201 | -0.53505 | 0.00028098 | 4.777e-05 | 0.038137 | 0.038138 | 0.038138 | 0.99542 | -0.011052 | 0.99518 | -0.013076 | 18.1611
61 | 0.4028 | 0.19368 | -0.40278 | -0.19508 | 1.3337e-05 | -0.0013996 | 0.012965 | 0.012982 | 0.012982 | 0.99518 | -0.013076 | 0.99515 | -0.012789 | 5.901
62 | 0.79819 | 0.34137 | -0.79788 | -0.34979 | 0.00030587 | -0.0084166 | 0.025182 | 0.02528 | 0.02528 | 0.99518 | -0.013076 | 0.99481 | -0.010553 | 11.491
63 | -0.15697 | -0.076026 | 0.15698 | 0.075007 | 1.457e-06 | -0.0010194 | 0.0050481 | 0.0050353 | 0.0050481 | 0.99739 | -0.026922 | 0.9974 | -0.027001 | 2.2946
64 | -0.15698 | -0.075007 | 0.15698 | 0.072685 | 3.2916e-06 | -0.0023221 | 0.0050353 | 0.0050067 | 0.0050353 | 0.9974 | -0.027001 | 0.99742 | -0.027172 | 2.2888
65 | 0.29648 | 0.13623 | -0.29645 | -0.14306 | 3.4639e-05 | -0.0068395 | 0.0094433 | 0.0095278 | 0.0095278 | 0.99742 | -0.027172 | 0.99731 | -0.026217 | 4.3308
66 | -1.0552 | -0.49462 | 1.0555 | 0.49039 | 0.00027482 | -0.0042247 | 0.033728 | 0.033675 | 0.033728 | 0.99742 | -0.027172 | 0.99767 | -0.029256 | 15.3309
67 | 0.60172 | 0.28571 | -0.60168 | -0.28576 | 4.1952e-05 | -4.8956e-05 | 0.019279 | 0.01928 | 0.01928 | 0.99742 | -0.027172 | 0.99735 | -0.027666 | 9.1807
68 | -0.90249 | -0.4288 | 0.90253 | 0.42805 | 3.5703e-05 | -0.00074981 | 0.028914 | 0.028904 | 0.028914 | 0.99758 | -0.044931 | 0.99762 | -0.045261 | 13.1426
69 | 0.90249 | 0.4288 | -0.90245 | -0.42966 | 4.0769e-05 | -0.00085551 | 0.028914 | 0.028924 | 0.028924 | 0.99758 | -0.044931 | 0.99754 | -0.044554 | 13.1475
70 | -0.90253 | -0.42805 | 0.90259 | 0.4267 | 6.4464e-05 | -0.0013552 | 0.028904 | 0.028887 | 0.028904 | 0.99762 | -0.045261 | 0.99769 | -0.045852 | 13.1383
71 | 0.83336 | 0.39619 | -0.83333 | -0.3969 | 2.8495e-05 | -0.00070249 | 0.026703 | 0.026712 | 0.026712 | 0.99754 | -0.044554 | 0.99751 | -0.044267 | 12.1417
72 | 0.29645 | 0.14306 | -0.29645 | -0.14358 | 2.6123e-06 | -0.00051078 | 0.0095278 | 0.0095342 | 0.0095342 | 0.99731 | -0.026217 | 0.99731 | -0.02614 | 4.3337
73 | -1.0555 | -0.49039 | 1.0555 | 0.49013 | 1.7325e-05 | -0.00026685 | 0.033675 | 0.033672 | 0.033675 | 0.99767 | -0.029256 | 0.99768 | -0.029386 | 15.3069
74 | 0.37603 | 0.17647 | -0.37602 | -0.17753 | 8.6755e-06 | -0.001064 | 0.012023 | 0.012036 | 0.012036 | 0.99735 | -0.027666 | 0.99733 | -0.027478 | 5.4709
75 | 0.15269 | 0.069989 | -0.15268 | -0.073948 | 5.3161e-06 | -0.0039593 | 0.0048619 | 0.0049108 | 0.0049108 | 0.9973 | -0.0277 | 0.99727 | -0.027414 | 2.2322
76 | -0.15269 | -0.069989 | 0.15269 | 0.069872 | 4.2498e-06 | -0.00011719 | 0.0048619 | 0.0048604 | 0.0048619 | 0.9973 | -0.0277 | 0.99733 | -0.027478 | 2.3152
77 | 0.22333 | 0.10766 | -0.22333 | -0.10816 | 1.4489e-06 | -0.00049964 | 0.0071761 | 0.0071824 | 0.0071824 | 0.99733 | -0.027478 | 0.99732 | -0.027421 | 3.2647
78 | -1.2763 | -0.60771 | 1.2766 | 0.60776 | 0.00024161 | 5.4996e-05 | 0.040902 | 0.040901 | 0.040902 | 0.99769 | -0.045852 | 0.99789 | -0.044524 | 19.4773
79 | 0.4592 | 0.2157 | -0.45917 | -0.21576 | 2.3888e-05 | -5.8912e-05 | 0.014682 | 0.014683 | 0.014683 | 0.99751 | -0.044267 | 0.99746 | -0.04465 | 6.9919
80 | -1.5611 | -0.7279 | 1.5612 | 0.72707 | 0.00012112 | -0.00083241 | 0.049838 | 0.049827 | 0.049838 | 0.99768 | -0.029386 | 0.99775 | -0.030004 | 22.6535
81 | 0.23494 | 0.1067 | -0.23492 | -0.11367 | 2.2108e-05 | -0.0069736 | 0.0074662 | 0.007552 | 0.007552 | 0.99768 | -0.029386 | 0.99759 | -0.028624 | 3.4327
82 | -0.21256 | -0.10295 | 0.21257 | 0.10279 | 1.2042e-05 | -0.00016205 | 0.0068583 | 0.0068562 | 0.0068583 | 0.99412 | -0.0087912 | 0.99418 | -0.0084166 | 3.2659
83 | -0.27524 | -0.13276 | 0.27538 | 0.098623 | 0.00014525 | -0.034139 | 0.0088731 | 0.0084892 | 0.0088731 | 0.99418 | -0.0084166 | 0.99468 | -0.011593 | 4.0332
84 | 0.06266 | 0.029975 | -0.062658 | -0.030347 | 2.2972e-06 | -0.00037166 | 0.0020169 | 0.0020216 | 0.0020216 | 0.99418 | -0.0084166 | 0.99414 | -0.0086639 | 0.96267
85 | 0.15696 | 0.074786 | -0.15696 | -0.076019 | 1.78e-06 | -0.0012327 | 0.005046 | 0.0050615 | 0.0050615 | 0.99468 | -0.011593 | 0.99467 | -0.011496 | 2.3007
86 | -0.43234 | -0.17341 | 0.43239 | 0.17327 | 4.6358e-05 | -0.00013915 | 0.013519 | 0.013517 | 0.013519 | 0.99468 | -0.011593 | 0.99479 | -0.0104 | 6.4377
87 | -0.79786 | -0.35028 | 0.79788 | 0.34979 | 1.7934e-05 | -0.00049126 | 0.025286 | 0.02528 | 0.025286 | 0.99479 | -0.0104 | 0.99481 | -0.010553 | 11.4936
88 | 0.13092 | 0.056422 | -0.13092 | -0.056753 | 3.262e-07 | -0.00033136 | 0.0041542 | 0.004158 | 0.004158 | 0.99064 | -0.031587 | 0.99064 | -0.031571 | 1.89
89 | 1.6654 | 0.77435 | -1.6648 | -0.77413 | 0.00057504 | 0.00022405 | 0.053105 | 0.053106 | 0.053106 | 0.99839 | -0.029667 | 0.99802 | -0.032293 | 25.2888
90 | 1.6648 | 0.77413 | -1.6646 | -0.77588 | 0.00029164 | -0.0017545 | 0.053106 | 0.053129 | 0.053129 | 0.99802 | -0.032293 | 0.99786 | -0.030899 | 24.1495
91 | 1.6646 | 0.77588 | -1.6645 | -0.77642 | 8.984e-05 | -0.00054005 | 0.053129 | 0.053136 | 0.053136 | 0.99786 | -0.030899 | 0.99781 | -0.030468 | 24.1527
92 | 1.5613 | 0.72644 | -1.5612 | -0.72707 | 9.106e-05 | -0.00062615 | 0.049819 | 0.049827 | 0.049827 | 0.99781 | -0.030468 | 0.99775 | -0.030004 | 22.6487
93 | 0.28507 | 0.13626 | -0.28506 | -0.13806 | 8.6733e-06 | -0.0018048 | 0.0091865 | 0.0092093 | 0.0092093 | 0.99286 | -0.018918 | 0.99284 | -0.018657 | 4.186
94 | -0.13091 | -0.063403 | 0.13091 | 0.062632 | 7.8762e-07 | -0.00077084 | 0.0042389 | 0.0042291 | 0.0042389 | 0.99059 | -0.031179 | 0.9906 | -0.031231 | 1.9268
95 | -0.13091 | -0.062632 | 0.13092 | 0.056753 | 5.8904e-06 | -0.0058789 | 0.0042291 | 0.004158 | 0.0042291 | 0.9906 | -0.031231 | 0.99064 | -0.031571 | 1.9223
96 | 0.13868 | 0.067059 | -0.13867 | -0.067163 | 3.1625e-06 | -0.00010412 | 0.0044575 | 0.0044588 | 0.0044588 | 0.99759 | -0.028624 | 0.99757 | -0.028775 | 2.1232
97 | 0.11032 | 0.050351 | -0.11032 | -0.052568 | 1.5476e-06 | -0.0022177 | 0.0035097 | 0.0035369 | 0.0035369 | 0.9974 | -0.044263 | 0.99738 | -0.044151 | 1.6077
98 | -0.11032 | -0.050351 | 0.11032 | 0.048939 | 9.7292e-07 | -0.0014117 | 0.0035097 | 0.003493 | 0.0035097 | 0.9974 | -0.044263 | 0.9974 | -0.044327 | 1.5953
99 | 0.11032 | 0.052568 | -0.11032 | -0.053428 | 6.065e-07 | -0.00085978 | 0.0035369 | 0.0035477 | 0.0035477 | 0.99738 | -0.044151 | 0.99738 | -0.044104 | 1.6126
100 | -0.11032 | -0.048939 | 0.11032 | 0.048898 | 7.6232e-07 | -4.1176e-05 | 0.003493 | 0.0034925 | 0.003493 | 0.9974 | -0.044327 | 0.99741 | -0.044267 | 1.6633
101 | -0.39051 | -0.1846 | 0.39051 | 0.18434 | 2.2669e-06 | -0.00025747 | 0.012501 | 0.012498 | 0.012501 | 0.99741 | -0.044267 | 0.99742 | -0.044314 | 5.6824
102 | 0.39052 | 0.18335 | -0.39051 | -0.18434 | 8.7163e-06 | -0.00099124 | 0.012486 | 0.012498 | 0.012498 | 0.99744 | -0.044497 | 0.99742 | -0.044314 | 5.681
103 | -0.39052 | -0.18335 | 0.39052 | 0.18251 | 7.3966e-06 | -0.00084272 | 0.012486 | 0.012476 | 0.012486 | 0.99744 | -0.044497 | 0.99746 | -0.04465 | 5.6754
104 | -1.4512 | -0.69232 | 1.4513 | 0.69164 | 8.5681e-05 | -0.00068007 | 0.046513 | 0.046504 | 0.046513 | 0.99789 | -0.044524 | 0.99794 | -0.04502 | 21.1423
105 | -4.7807 | -2.2443 | 4.7822 | 2.246 | 0.0015165 | 0.0016459 | 0.15277 | 0.15277 | 0.15277 | 0.99794 | -0.04502 | 0.99834 | -0.034982 | 43.6494
106 | 0.079105 | 0.035897 | -0.079105 | -0.037607 | 6.1009e-07 | -0.0017094 | 0.0025119 | 0.0025327 | 0.0025327 | 0.99834 | -0.034982 | 0.99833 | -0.034921 | 1.1512
107 | -4.8613 | -2.2819 | 4.8619 | 2.2806 | 0.00056766 | -0.0012545 | 0.15528 | 0.15526 | 0.15528 | 0.99834 | -0.034982 | 0.99847 | -0.03357 | 42.896
108 | 5.3398 | 2.5113 | -5.3398 | -2.5116 | 3.5781e-05 | -0.00022907 | 0.1706 | 0.17061 | 0.17061 | 0.99849 | -0.033488 | 0.99848 | -0.033517 | 26.7407
109 | 5.3398 | 2.5116 | -5.3397 | -2.512 | 6.483e-05 | -0.00041501 | 0.17061 | 0.17061 | 0.17061 | 0.99848 | -0.033517 | 0.99847 | -0.03357 | 26.7415
110 | 0.09238 | 0.044664 | -0.092379 | -0.044741 | 1.0326e-06 | -7.7697e-05 | 0.0029667 | 0.0029677 | 0.0029677 | 0.99847 | -0.03357 | 0.99846 | -0.033644 | 1.4132
111 | 0.079105 | 0.037607 | -0.079104 | -0.038312 | 2.5471e-07 | -0.00070527 | 0.0025327 | 0.0025415 | 0.0025415 | 0.99833 | -0.034921 | 0.99833 | -0.034893 | 1.1552

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.9183 | 6.037

## res_load
| p_mw | q_mvar
0 | 0.20248 | 0.098066
1 | 0.37828 | 0.18321
2 | 0.35936 | 0.17405
3 | 0.22838 | 0.11061
4 | 0.072671 | 0.035196
5 | 0.17822 | 0.086316
6 | 0.071775 | 0.034762
7 | 0.14976 | 0.072534
8 | 0.22338 | 0.10819
9 | 0.36722 | 0.17785
10 | 0.25813 | 0.12502
11 | 0.20495 | 0.099263
12 | 0.30661 | 0.1485
13 | 0.3031 | 0.1468
14 | 0.28318 | 0.13715
15 | 0.073263 | 0.035483
16 | 0.29993 | 0.14526
17 | 0.18086 | 0.087593
18 | 0.27115 | 0.13133
19 | 0.2629 | 0.12733
20 | 0.37952 | 0.18381
21 | 0.29836 | 0.1445
22 | 0.35257 | 0.17076
23 | 0.24294 | 0.11766
24 | 0.19917 | 0.096464
25 | 0.11011 | 0.053327
26 | 0.13159 | 0.063732
27 | 0.29788 | 0.14427
28 | 0.15697 | 0.076026
29 | 0.069092 | 0.033463
30 | 0.22565 | 0.10929
31 | 0.29645 | 0.14358
32 | 0.15268 | 0.073948
33 | 0.37374 | 0.18101
34 | 0.37413 | 0.1812
35 | 0.27064 | 0.13108
36 | 0.22333 | 0.10816
37 | 0.21256 | 0.10295
38 | 0.062658 | 0.030347
39 | 0.15696 | 0.076019
40 | 0.36548 | 0.17701
41 | 0.348 | 0.16854
42 | 0.30263 | 0.14657
43 | 0.10319 | 0.049977
44 | 0.28506 | 0.13806
45 | 0.13091 | 0.063403
46 | 0.40278 | 0.19508
47 | 0.090931 | 0.04404
48 | 0.096245 | 0.046614
49 | 0.13867 | 0.067163
50 | 0.11032 | 0.053428
51 | 0.28019 | 0.1357
52 | 0.06865 | 0.033249
53 | 0.1746 | 0.084562
54 | 0.13538 | 0.065566
55 | 0.38546 | 0.18669
56 | 0.092379 | 0.044741
57 | 0.079104 | 0.038312

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1