## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_243_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_243_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_243_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_243_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_243_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_243_0_node_6 | 20 | n |  | TRUE
6 | bus_MV_243_0_node_94 | 20 | n |  | TRUE
7 | bus_MV_243_0_node_118 | 20 | n |  | TRUE
8 | bus_MV_243_0_node_123 | 20 | n |  | TRUE
9 | bus_MV_243_0_node_5 | 20 | n |  | TRUE
10 | bus_MV_243_0_node_112 | 20 | n |  | TRUE
11 | bus_MV_243_0_node_12 | 20 | n |  | TRUE
12 | bus_MV_243_0_node_11 | 20 | n |  | TRUE
13 | bus_MV_243_0_node_32 | 20 | n |  | TRUE
14 | bus_MV_243_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_243_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_243_0_node_27 | 20 | n |  | TRUE
17 | bus_MV_243_0_node_8 | 20 | n |  | TRUE
18 | bus_MV_243_0_node_45 | 20 | n |  | TRUE
19 | bus_MV_243_0_node_24 | 20 | n |  | TRUE
20 | bus_MV_243_0_node_113 | 20 | n |  | TRUE
21 | bus_MV_243_0_node_95 | 20 | n |  | TRUE
22 | bus_MV_243_0_node_120 | 20 | n |  | TRUE
23 | bus_MV_243_0_node_96 | 20 | n |  | TRUE
24 | bus_MV_243_0_node_93 | 20 | n |  | TRUE
25 | bus_MV_243_0_node_117 | 20 | n |  | TRUE
26 | bus_MV_243_0_node_13 | 20 | n |  | TRUE
27 | bus_MV_243_0_node_25 | 20 | n |  | TRUE
28 | bus_MV_243_0_node_14 | 20 | n |  | TRUE
29 | bus_MV_243_0_node_23 | 20 | n |  | TRUE
30 | bus_MV_243_0_node_15 | 20 | n |  | TRUE
31 | bus_MV_243_0_node_16 | 20 | n |  | TRUE
32 | bus_MV_243_0_node_17 | 20 | n |  | TRUE
33 | bus_MV_243_0_node_18 | 20 | n |  | TRUE
34 | bus_MV_243_0_node_90 | 20 | n |  | TRUE
35 | bus_MV_243_0_node_105 | 20 | n |  | TRUE
36 | bus_MV_243_0_node_88 | 20 | n |  | TRUE
37 | bus_MV_243_0_node_103 | 20 | n |  | TRUE
38 | bus_MV_243_0_node_19 | 20 | n |  | TRUE
39 | bus_MV_243_0_node_20 | 20 | n |  | TRUE
40 | bus_MV_243_0_node_21 | 20 | n |  | TRUE
41 | bus_MV_243_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_243_0_node_60 | 20 | n |  | TRUE
43 | bus_MV_243_0_node_106 | 20 | n |  | TRUE
44 | bus_MV_243_0_node_66 | 20 | n |  | TRUE
45 | bus_MV_243_0_node_104 | 20 | n |  | TRUE
46 | bus_MV_243_0_node_59 | 20 | n |  | TRUE
47 | bus_MV_243_0_node_107 | 20 | n |  | TRUE
48 | bus_MV_243_0_node_109 | 20 | n |  | TRUE
49 | bus_MV_243_0_node_65 | 20 | n |  | TRUE
50 | bus_MV_243_0_node_26 | 20 | n |  | TRUE
51 | bus_MV_243_0_node_81 | 20 | n |  | TRUE
52 | bus_MV_243_0_node_82 | 20 | n |  | TRUE
53 | bus_MV_243_0_node_28 | 20 | n |  | TRUE
54 | bus_MV_243_0_node_29 | 20 | n |  | TRUE
55 | bus_MV_243_0_node_30 | 20 | n |  | TRUE
56 | bus_MV_243_0_node_31 | 20 | n |  | TRUE
57 | bus_MV_243_0_node_85 | 20 | n |  | TRUE
58 | bus_MV_243_0_node_116 | 20 | n |  | TRUE
59 | bus_MV_243_0_node_67 | 20 | n |  | TRUE
60 | bus_MV_243_0_node_87 | 20 | n |  | TRUE
61 | bus_MV_243_0_node_84 | 20 | n |  | TRUE
62 | bus_MV_243_0_node_58 | 20 | n |  | TRUE
63 | bus_MV_243_0_node_91 | 20 | n |  | TRUE
64 | bus_MV_243_0_node_33 | 20 | n |  | TRUE
65 | bus_MV_243_0_node_34 | 20 | n |  | TRUE
66 | bus_MV_243_0_node_122 | 20 | n |  | TRUE
67 | bus_MV_243_0_node_121 | 20 | n |  | TRUE
68 | bus_MV_243_0_node_49 | 20 | n |  | TRUE
69 | bus_MV_243_0_node_38 | 20 | n |  | TRUE
70 | bus_MV_243_0_node_35 | 20 | n |  | TRUE
71 | bus_MV_243_0_node_36 | 20 | n |  | TRUE
72 | bus_MV_243_0_node_102 | 20 | n |  | TRUE
73 | bus_MV_243_0_node_101 | 20 | n |  | TRUE
74 | bus_MV_243_0_node_39 | 20 | n |  | TRUE
75 | bus_MV_243_0_node_40 | 20 | n |  | TRUE
76 | bus_MV_243_0_node_46 | 20 | n |  | TRUE
77 | bus_MV_243_0_node_78 | 20 | n |  | TRUE
78 | bus_MV_243_0_node_44 | 20 | n |  | TRUE
79 | bus_MV_243_0_node_56 | 20 | n |  | TRUE
80 | bus_MV_243_0_node_41 | 20 | n |  | TRUE
81 | bus_MV_243_0_node_42 | 20 | n |  | TRUE
82 | bus_MV_243_0_node_43 | 20 | n |  | TRUE
83 | bus_MV_243_0_node_47 | 20 | n |  | TRUE
84 | bus_MV_243_0_node_48 | 20 | n |  | TRUE
85 | bus_MV_243_0_node_83 | 20 | n |  | TRUE
86 | bus_MV_243_0_node_115 | 20 | n |  | TRUE
87 | bus_MV_243_0_node_50 | 20 | n |  | TRUE
88 | bus_MV_243_0_node_52 | 20 | n |  | TRUE
89 | bus_MV_243_0_node_54 | 20 | n |  | TRUE
90 | bus_MV_243_0_node_55 | 20 | n |  | TRUE
91 | bus_MV_243_0_node_119 | 20 | n |  | TRUE
92 | bus_MV_243_0_node_89 | 20 | n |  | TRUE
93 | bus_MV_243_0_node_57 | 20 | n |  | TRUE
94 | bus_MV_243_0_node_80 | 20 | n |  | TRUE
95 | bus_MV_243_0_node_79 | 20 | n |  | TRUE
96 | bus_MV_243_0_node_114 | 20 | n |  | TRUE
97 | bus_MV_243_0_node_61 | 20 | n |  | TRUE
98 | bus_MV_243_0_node_62 | 20 | n |  | TRUE
99 | bus_MV_243_0_node_63 | 20 | n |  | TRUE
100 | bus_MV_243_0_node_75 | 20 | n |  | TRUE
101 | bus_MV_243_0_node_72 | 20 | n |  | TRUE
102 | bus_MV_243_0_node_77 | 20 | n |  | TRUE
103 | bus_MV_243_0_node_73 | 20 | n |  | TRUE
104 | bus_MV_243_0_node_68 | 20 | n |  | TRUE
105 | bus_MV_243_0_node_92 | 20 | n |  | TRUE
106 | bus_MV_243_0_node_69 | 20 | n |  | TRUE
107 | bus_MV_243_0_node_70 | 20 | n |  | TRUE
108 | bus_MV_243_0_node_71 | 20 | n |  | TRUE
109 | bus_MV_243_0_node_74 | 20 | n |  | TRUE
110 | bus_MV_243_0_node_76 | 20 | n |  | TRUE
111 | bus_MV_243_0_node_86 | 20 | n |  | TRUE
112 | bus_MV_243_0_node_97 | 20 | n |  | TRUE
113 | bus_MV_243_0_node_98 | 20 | n |  | TRUE
114 | bus_MV_243_0_node_99 | 20 | n |  | TRUE
115 | bus_MV_243_0_node_100 | 20 | n |  | TRUE
116 | bus_MV_243_0_node_110 | 20 | n |  | TRUE
117 | bus_MV_243_0_node_111 | 20 | n |  | TRUE
118 | bus_HV_243_0_node_89 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_243_0_load_0 | 0 | 0.33359 | 0.16157 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_243_0_load_118 | 7 | 0.10442 | 0.050572 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_243_0_load_123 | 8 | 0.27365 | 0.13253 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_243_0_load_112 | 10 | 0.077694 | 0.037629 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_243_0_load_12 | 11 | 0.32036 | 0.15516 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_243_0_load_32 | 13 | 0.28873 | 0.13984 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_243_0_load_27 | 16 | 0.36465 | 0.17661 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_243_0_load_45 | 18 | 0.21817 | 0.10566 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_243_0_load_24 | 19 | 0.40815 | 0.19768 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_243_0_load_113 | 20 | 0.11105 | 0.053782 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_243_0_load_120 | 22 | 0.39663 | 0.1921 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_243_0_load_93 | 24 | 0.24757 | 0.1199 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_243_0_load_117 | 25 | 0.12349 | 0.059811 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_243_0_load_14 | 28 | 0.29286 | 0.14184 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_243_0_load_23 | 29 | 0.2987 | 0.14467 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_243_0_load_15 | 30 | 0.38452 | 0.18623 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_243_0_load_90 | 34 | 0.41446 | 0.20073 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_243_0_load_105 | 35 | 0.074901 | 0.036276 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_243_0_load_19 | 38 | 0.2849 | 0.13798 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_243_0_load_106 | 43 | 0.069284 | 0.033556 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_243_0_load_104 | 45 | 0.43723 | 0.21176 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_243_0_load_59 | 46 | 0.31485 | 0.15249 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_243_0_load_107 | 47 | 0.36893 | 0.17868 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_243_0_load_109 | 48 | 0.19205 | 0.093012 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_243_0_load_65 | 49 | 0.40786 | 0.19754 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_243_0_load_81 | 51 | 0.33634 | 0.1629 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_243_0_load_28 | 53 | 0.38642 | 0.18715 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_243_0_load_116 | 58 | 0.098105 | 0.047514 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_243_0_load_84 | 61 | 0.31806 | 0.15404 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_243_0_load_58 | 62 | 0.068468 | 0.033161 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_243_0_load_91 | 63 | 0.3349 | 0.1622 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_243_0_load_33 | 64 | 0.063892 | 0.030944 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_243_0_load_122 | 66 | 1.229 | 0.59522 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_243_0_load_121 | 67 | 0.24544 | 0.11887 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_243_0_load_38 | 69 | 0.083161 | 0.040277 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_243_0_load_35 | 70 | 0.20865 | 0.10105 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_243_0_load_101 | 73 | 0.068735 | 0.03329 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_243_0_load_46 | 76 | 0.14538 | 0.070412 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_243_0_load_78 | 77 | 0.33433 | 0.16192 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_243_0_load_41 | 80 | 0.17667 | 0.085564 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_243_0_load_47 | 83 | 0.3672 | 0.17784 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_243_0_load_115 | 86 | 0.14256 | 0.069047 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_243_0_load_50 | 87 | 0.41323 | 0.20014 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_243_0_load_119 | 91 | 0.1132 | 0.054825 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_243_0_load_89 | 92 | 0.2399 | 0.11619 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_243_0_load_79 | 95 | 0.39028 | 0.18902 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_243_0_load_114 | 96 | 0.090243 | 0.043707 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_243_0_load_61 | 97 | 0.26505 | 0.12837 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_243_0_load_72 | 101 | 0.39617 | 0.19188 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_243_0_load_77 | 102 | 0.18644 | 0.090298 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_243_0_load_68 | 104 | 0.2689 | 0.13024 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_243_0_load_92 | 105 | 0.34833 | 0.1687 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_243_0_load_70 | 107 | 0.070951 | 0.034363 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_243_0_load_71 | 108 | 0.076177 | 0.036894 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_243_0_load_76 | 110 | 0.14724 | 0.07131 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_243_0_load_97 | 112 | 0.11069 | 0.053609 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_243_0_load_110 | 116 | 0.10635 | 0.05151 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_243_0_load_111 | 117 | 0.16815 | 0.081437 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_243_0_line_0 |  | 0 | 1 | 0.032805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_243_0_line_1 |  | 1 | 2 | 0.1566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_243_0_line_2 |  | 1 | 3 | 0.54612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_243_0_line_3 |  | 1 | 4 | 0.22919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_243_0_line_4 |  | 1 | 5 | 0.64609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_243_0_line_5 |  | 2 | 6 | 0.22242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_243_0_line_6 |  | 2 | 7 | 0.025452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_243_0_line_7 |  | 3 | 8 | 0.11201 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_243_0_line_8 |  | 4 | 9 | 0.19736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_243_0_line_9 |  | 4 | 10 | 0.016761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_243_0_line_10 |  | 5 | 12 | 0.21193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_243_0_line_11 |  | 5 | 13 | 0.064501 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_243_0_line_12 |  | 6 | 23 | 0.27362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_243_0_line_13 |  | 6 | 24 | 0.11256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_243_0_line_14 |  | 6 | 21 | 0.28023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_243_0_line_15 |  | 9 | 11 | 0.056705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_243_0_line_16 |  | 11 | 26 | 0.067108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_243_0_line_17 |  | 12 | 20 | 0.050895 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_243_0_line_18 |  | 12 | 17 | 0.51836 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_243_0_line_19 |  | 14 | 15 | 0.13003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_243_0_line_20 |  | 14 | 16 | 0.069516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_243_0_line_21 |  | 15 | 19 | 0.039187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_243_0_line_22 |  | 15 | 17 | 0.52092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_243_0_line_23 |  | 17 | 18 | 0.098478 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_243_0_line_24 |  | 19 | 27 | 0.087902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_243_0_line_25 |  | 21 | 22 | 0.019456 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_243_0_line_26 |  | 23 | 25 | 0.038721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_243_0_line_27 |  | 26 | 28 | 0.009812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_243_0_line_28 |  | 27 | 50 | 0.15186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_243_0_line_29 |  | 28 | 29 | 0.24135 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_243_0_line_30 |  | 30 | 31 | 0.055373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_243_0_line_31 |  | 31 | 32 | 0.15042 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
32 | MV_243_0_line_32 |  | 31 | 33 | 0.42368 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
33 | MV_243_0_line_33 |  | 32 | 34 | 0.11565 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_243_0_line_34 |  | 33 | 35 | 0.018662 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_243_0_line_35 |  | 34 | 36 | 0.086238 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_243_0_line_36 |  | 35 | 37 | 0.065608 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
37 | MV_243_0_line_37 |  | 36 | 111 | 0.12832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_243_0_line_38 |  | 37 | 72 | 0.55016 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
39 | MV_243_0_line_39 |  | 38 | 39 | 0.17633 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_243_0_line_40 |  | 39 | 40 | 0.057358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_243_0_line_41 |  | 40 | 41 | 0.10526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_243_0_line_42 |  | 40 | 42 | 0.87361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_243_0_line_43 |  | 40 | 43 | 0.034421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_243_0_line_44 |  | 41 | 44 | 0.052352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_243_0_line_45 |  | 41 | 45 | 0.10829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_243_0_line_46 |  | 42 | 46 | 0.047455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_243_0_line_47 |  | 43 | 47 | 0.15939 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_243_0_line_48 |  | 43 | 48 | 0.1957 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_243_0_line_49 |  | 44 | 49 | 0.074335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_243_0_line_50 |  | 48 | 116 | 0.14507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_243_0_line_51 |  | 49 | 56 | 0.033937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_243_0_line_52 |  | 50 | 51 | 0.060858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_243_0_line_53 |  | 51 | 52 | 0.031051 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_243_0_line_54 |  | 52 | 85 | 0.038824 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_243_0_line_55 |  | 53 | 54 | 0.028788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_243_0_line_56 |  | 54 | 55 | 0.074698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_243_0_line_57 |  | 54 | 56 | 0.27869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_243_0_line_58 |  | 55 | 57 | 0.15443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_243_0_line_59 |  | 55 | 58 | 0.068175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_243_0_line_60 |  | 56 | 59 | 0.039261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_243_0_line_61 |  | 57 | 60 | 0.26879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_243_0_line_62 |  | 57 | 61 | 0.10575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_243_0_line_63 |  | 59 | 63 | 0.01126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_243_0_line_64 |  | 60 | 62 | 0.032486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_243_0_line_65 |  | 61 | 111 | 0.029865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_243_0_line_66 |  | 64 | 65 | 0.085845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_243_0_line_67 |  | 64 | 66 | 1.4857 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_243_0_line_68 |  | 65 | 67 | 1.5036 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_243_0_line_69 |  | 66 | 68 | 0.038482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_243_0_line_70 |  | 67 | 69 | 1.3905 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_243_0_line_71 |  | 68 | 85 | 0.10777 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
72 | MV_243_0_line_72 |  | 68 | 84 | 0.22263 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_243_0_line_73 |  | 69 | 74 | 0.48014 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_243_0_line_74 |  | 70 | 71 | 0.034597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_243_0_line_75 |  | 71 | 72 | 0.65057 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_243_0_line_76 |  | 72 | 73 | 0.023609 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_243_0_line_77 |  | 73 | 110 | 0.0010084 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
78 | MV_243_0_line_78 |  | 74 | 75 | 1.1188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_243_0_line_79 |  | 75 | 76 | 0.12367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_243_0_line_80 |  | 77 | 78 | 0.003348 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_243_0_line_81 |  | 77 | 79 | 0.025411 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
82 | MV_243_0_line_82 |  | 78 | 82 | 0.34327 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
83 | MV_243_0_line_83 |  | 79 | 93 | 0.17207 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
84 | MV_243_0_line_84 |  | 79 | 89 | 0.14312 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
85 | MV_243_0_line_85 |  | 80 | 81 | 0.079814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_243_0_line_86 |  | 81 | 82 | 0.24196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_243_0_line_87 |  | 82 | 83 | 0.10608 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
88 | MV_243_0_line_88 |  | 83 | 84 | 0.033171 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
89 | MV_243_0_line_89 |  | 85 | 86 | 0.013554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_243_0_line_90 |  | 87 | 88 | 0.056134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_243_0_line_91 |  | 88 | 89 | 0.089765 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_243_0_line_92 |  | 88 | 90 | 0.1604 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_243_0_line_93 |  | 89 | 91 | 0.020017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_243_0_line_94 |  | 90 | 92 | 0.097281 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
95 | MV_243_0_line_95 |  | 93 | 94 | 0.059544 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
96 | MV_243_0_line_96 |  | 93 | 95 | 0.039584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_243_0_line_97 |  | 94 | 96 | 0.0061965 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
98 | MV_243_0_line_98 |  | 96 | 105 | 0.073316 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
99 | MV_243_0_line_99 |  | 97 | 98 | 0.054466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_243_0_line_100 |  | 98 | 99 | 0.00593 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_243_0_line_101 |  | 99 | 100 | 0.055068 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
102 | MV_243_0_line_102 |  | 99 | 101 | 0.057915 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
103 | MV_243_0_line_103 |  | 100 | 102 | 0.028277 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
104 | MV_243_0_line_104 |  | 101 | 103 | 0.010404 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
105 | MV_243_0_line_105 |  | 102 | 108 | 0.011877 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
106 | MV_243_0_line_106 |  | 103 | 109 | 0.061555 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
107 | MV_243_0_line_107 |  | 104 | 105 | 0.058701 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
108 | MV_243_0_line_108 |  | 104 | 106 | 0.035657 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
109 | MV_243_0_line_109 |  | 106 | 107 | 0.035078 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
110 | MV_243_0_line_110 |  | 107 | 108 | 0.0067609 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
111 | MV_243_0_line_111 |  | 109 | 110 | 0.054639 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
112 | MV_243_0_line_112 |  | 112 | 113 | 0.028618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_243_0_line_113 |  | 113 | 114 | 0.12554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_243_0_line_114 |  | 113 | 115 | 0.20508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_243_0_line_115 |  | 114 | 116 | 0.0033913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_243_0_line_116 |  | 115 | 117 | 0.073463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_243_0_trafo_89 | 25 MVA 110/20 kV | 118 | 92 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2721914.2248 | 1116395.3689
1 | 2721886.3953 | 1116412.7382
2 | 2721837.2253 | 1116505.3355
3 | 2721779.3926 | 1115962.398
4 | 2721781.458 | 1116431.1077
5 | 2722020.7447 | 1116220.1422
6 | 2721745.1745 | 1116631.806
7 | 2721812.2814 | 1116500.274
8 | 2721828.1651 | 1116063.2369
9 | 2721698.1786 | 1116375.1181
10 | 2721768.9344 | 1116441.4621
11 | 2721673.809 | 1116323.8934
12 | 2722031.0583 | 1116066.6549
13 | 2721967.8057 | 1116256.9908
14 | 2722173.7217 | 1115856.4617
15 | 2722276.6177 | 1115828.0617
16 | 2722106.2509 | 1115838.9564
17 | 2722175.599 | 1116204.7739
18 | 2722240.6679 | 1116278.6929
19 | 2722315.9209 | 1115828.0438
20 | 2722001.0672 | 1116025.6825
21 | 2721565.0731 | 1116526.4397
22 | 2721584.4518 | 1116528.1741
23 | 2721745.4081 | 1116505.3456
24 | 2721746.9551 | 1116720.272
25 | 2721709.2387 | 1116519.1703
26 | 2721645.8364 | 1116262.8675
27 | 2722392.6091 | 1115853.3652
28 | 2721641.7451 | 1116253.9458
29 | 2721400.912 | 1116269.6938
30 | 2721992.9641 | 1117139.3848
31 | 2722042.036 | 1117165.3132
32 | 2722120.0675 | 1117036.7188
33 | 2722277.2384 | 1117152.2352
34 | 2722006.4172 | 1117013.5799
35 | 2722286.7309 | 1117136.1683
36 | 2721922.5314 | 1116993.5775
37 | 2722320.6934 | 1117080.0513
38 | 2721366.3649 | 1116754.9917
39 | 2721487.3801 | 1116883.2386
40 | 2721496.9305 | 1116924.4808
41 | 2721592.7287 | 1116880.8612
42 | 2720840.4073 | 1116729.0508
43 | 2721508.3819 | 1116956.9413
44 | 2721640.3881 | 1116858.9027
45 | 2721546.056 | 1116783.1401
46 | 2720867.4056 | 1116691.0076
47 | 2721646.0635 | 1117037.2397
48 | 2721435.2401 | 1117138.455
49 | 2721713.9776 | 1116848.4622
50 | 2722427.933 | 1115939.7719
51 | 2722464.4466 | 1115986.3864
52 | 2722493.1057 | 1115988.3225
53 | 2721922.092 | 1116687.1348
54 | 2721937.8488 | 1116709.9454
55 | 2722004.9275 | 1116676.6949
56 | 2721747.4146 | 1116842.2296
57 | 2722059.1419 | 1116814.6821
58 | 2722065.1283 | 1116644.7003
59 | 2721721.1164 | 1116814.0818
60 | 2722195.4774 | 1116751.9755
61 | 2721969.7738 | 1116871.2105
62 | 2722180.7078 | 1116723.041
63 | 2721710.8229 | 1116818.7116
64 | 2723566.7593 | 1114795.9442
65 | 2723611.6018 | 1114731.5025
66 | 2722637.8888 | 1115955.428
67 | 2725050.4071 | 1114294.8201
68 | 2722620.4702 | 1115989.5436
69 | 2726340.8724 | 1114812.645
70 | 2723175.547 | 1116757.1675
71 | 2723143.0388 | 1116769.2596
72 | 2722549.8698 | 1117036.441
73 | 2722533.1516 | 1117019.7706
74 | 2726757.2346 | 1114573.5243
75 | 2727332.3614 | 1114415.9779
76 | 2727211.2664 | 1114438.2067
77 | 2722385.8804 | 1116520.6359
78 | 2722388.2224 | 1116518.2371
79 | 2722367.4785 | 1116538.2098
80 | 2722332.311 | 1116128.8385
81 | 2722359.0793 | 1116203.2971
82 | 2722454.1075 | 1116284.951
83 | 2722537.1774 | 1116218.9845
84 | 2722562.9097 | 1116197.9681
85 | 2722517.0479 | 1115959.253
86 | 2722511.1686 | 1115947.0411
87 | 2722219.7127 | 1116661.1126
88 | 2722266.3617 | 1116630.8883
89 | 2722293.2182 | 1116559.4253
90 | 2722152.1132 | 1116600.2963
91 | 2722299.9083 | 1116540.5583
92 | 2722109.0454 | 1116513.0679
93 | 2722318.2105 | 1116675.0875
94 | 2722342.4315 | 1116729.5031
95 | 2722279.9005 | 1116685.4659
96 | 2722346.145 | 1116734.2934
97 | 2722345.6218 | 1116909.8257
98 | 2722386.8999 | 1116945.4617
99 | 2722391.077 | 1116949.6824
100 | 2722441.5329 | 1116927.4086
101 | 2722428.3265 | 1116993.8021
102 | 2722421.4705 | 1116907.4811
103 | 2722435.6236 | 1117001.218
104 | 2722358.5812 | 1116843.9862
105 | 2722317.6958 | 1116801.8649
106 | 2722383.3596 | 1116869.6266
107 | 2722408.2473 | 1116894.3469
108 | 2722413.0441 | 1116899.1115
109 | 2722493.7466 | 1116980.4784
110 | 2722532.4375 | 1117019.0586
111 | 2721940.0955 | 1116875.227
112 | 2721580.629 | 1117337.1797
113 | 2721555.7552 | 1117351.3327
114 | 2721487.1213 | 1117277.5052
115 | 2721607.3684 | 1117219.2106
116 | 2721485.8161 | 1117274.375
117 | 2721545.6447 | 1117198.3098
118 | 2722109.0454 | 1116513.0679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9881 | -0.016521 | 0.33359 | 0.16157
1 | 0.98812 | -0.016655 | 0 | 0
2 | 0.98794 | -0.015227 | 0 | 0
3 | 0.98793 | -0.015054 | 0 | 0
4 | 0.98782 | -0.01404 | 0 | 0
5 | 0.99016 | -0.033604 | 0 | 0
6 | 0.98772 | -0.01341 | 0 | 0
7 | 0.98794 | -0.015195 | 0.10442 | 0.050572
8 | 0.98787 | -0.015435 | 0.27365 | 0.13253
9 | 0.98759 | -0.011906 | 0 | 0
10 | 0.98782 | -0.014024 | 0.077694 | 0.037629
11 | 0.98753 | -0.011282 | 0.32036 | 0.15516
12 | 0.99091 | -0.039756 | 0 | 0
13 | 0.99012 | -0.033834 | 0.28873 | 0.13984
14 | 0.9948 | -0.070939 | 0 | 0
15 | 0.99486 | -0.071486 | 0 | 0
16 | 0.99477 | -0.070637 | 0.36465 | 0.17661
17 | 0.99281 | -0.055133 | 0 | 0
18 | 0.99277 | -0.055397 | 0.21817 | 0.10566
19 | 0.99503 | -0.072858 | 0.40815 | 0.19768
20 | 0.9909 | -0.039689 | 0.11105 | 0.053782
21 | 0.98758 | -0.012107 | 0 | 0
22 | 0.98757 | -0.012202 | 0.39663 | 0.1921
23 | 0.98768 | -0.013068 | 0 | 0
24 | 0.98769 | -0.013078 | 0.24757 | 0.1199
25 | 0.98767 | -0.013011 | 0.12349 | 0.059811
26 | 0.98748 | -0.0108 | 0 | 0
27 | 0.99547 | -0.076357 | 0 | 0
28 | 0.98747 | -0.010729 | 0.29286 | 0.14184
29 | 0.98733 | -0.011626 | 0.2987 | 0.14467
30 | 0.99573 | -0.098788 | 0.38452 | 0.18623
31 | 0.99575 | -0.099043 | 0 | 0
32 | 0.99562 | -0.10151 | 0 | 0
33 | 0.99617 | -0.091389 | 0 | 0
34 | 0.99536 | -0.10439 | 0.41446 | 0.20073
35 | 0.99618 | -0.091049 | 0.074901 | 0.036276
36 | 0.99475 | -0.10882 | 0 | 0
37 | 0.99625 | -0.089835 | 0 | 0
38 | 0.9906 | -0.085699 | 0.2849 | 0.13798
39 | 0.9907 | -0.085079 | 0 | 0
40 | 0.99072 | -0.085275 | 0 | 0
41 | 0.99094 | -0.08708 | 0 | 0
42 | 0.99037 | -0.082565 | 0 | 0
43 | 0.99068 | -0.084881 | 0.069284 | 0.033556
44 | 0.99108 | -0.088241 | 0 | 0
45 | 0.99088 | -0.086512 | 0.43723 | 0.21176
46 | 0.99035 | -0.082384 | 0.31485 | 0.15249
47 | 0.99056 | -0.085607 | 0.36893 | 0.17868
48 | 0.99046 | -0.086506 | 0.19205 | 0.093012
49 | 0.99127 | -0.089882 | 0.40786 | 0.19754
50 | 0.99622 | -0.082368 | 0 | 0
51 | 0.99651 | -0.084765 | 0.33634 | 0.1629
52 | 0.99659 | -0.083941 | 0 | 0
53 | 0.99236 | -0.099212 | 0.38642 | 0.18715
54 | 0.99237 | -0.099346 | 0 | 0
55 | 0.99268 | -0.10196 | 0 | 0
56 | 0.99138 | -0.090796 | 0 | 0
57 | 0.99333 | -0.10751 | 0 | 0
58 | 0.99267 | -0.10188 | 0.098105 | 0.047514
59 | 0.99136 | -0.090638 | 0 | 0
60 | 0.9933 | -0.10735 | 0 | 0
61 | 0.99401 | -0.10252 | 0.31806 | 0.15404
62 | 0.9933 | -0.10732 | 0.068468 | 0.033161
63 | 0.99136 | -0.090592 | 0.3349 | 0.1622
64 | 0.99526 | -0.088897 | 0.063892 | 0.030944
65 | 0.99521 | -0.088593 | 0 | 0
66 | 0.99677 | -0.074556 | 1.229 | 0.59522
67 | 0.99387 | -0.10148 | 0.24544 | 0.11887
68 | 0.99685 | -0.075283 | 0 | 0
69 | 0.99329 | -0.10905 | 0.083161 | 0.040277
70 | 0.99652 | -0.081173 | 0.20865 | 0.10105
71 | 0.99653 | -0.081259 | 0 | 0
72 | 0.99679 | -0.07954 | 0 | 0
73 | 0.99682 | -0.079075 | 0.068735 | 0.03329
74 | 0.99317 | -0.11113 | 0 | 0
75 | 0.99296 | -0.11032 | 0 | 0
76 | 0.99294 | -0.11011 | 0.14538 | 0.070412
77 | 0.99804 | -0.047806 | 0.33433 | 0.16192
78 | 0.99803 | -0.047897 | 0 | 0
79 | 0.99808 | -0.04708 | 0 | 0
80 | 0.99746 | -0.056619 | 0.17667 | 0.085564
81 | 0.99748 | -0.056783 | 0 | 0
82 | 0.99754 | -0.057223 | 0 | 0
83 | 0.99719 | -0.06892 | 0.3672 | 0.17784
84 | 0.99715 | -0.069747 | 0 | 0
85 | 0.99662 | -0.083275 | 0 | 0
86 | 0.99662 | -0.083252 | 0.14256 | 0.069047
87 | 0.99876 | -0.033392 | 0.41323 | 0.20014
88 | 0.99879 | -0.033668 | 0 | 0
89 | 0.99851 | -0.038864 | 0 | 0
90 | 0.9993 | -0.024125 | 0 | 0
91 | 0.99851 | -0.038837 | 0.1132 | 0.054825
92 | 1 | 0 | -14.669 | -6.6652
93 | 0.99781 | -0.052032 | 0 | 0
94 | 0.99773 | -0.053653 | 0 | 0
95 | 0.99779 | -0.051848 | 0.39028 | 0.18902
96 | 0.99772 | -0.053822 | 0.090243 | 0.043707
97 | 0.997 | -0.074978 | 0.26505 | 0.12837
98 | 0.99702 | -0.07515 | 0 | 0
99 | 0.99702 | -0.075168 | 0 | 0
100 | 0.99709 | -0.073891 | 0 | 0
101 | 0.99695 | -0.076451 | 0.39617 | 0.19188
102 | 0.99712 | -0.073234 | 0.18644 | 0.090298
103 | 0.99694 | -0.076665 | 0 | 0
104 | 0.9973 | -0.068288 | 0.2689 | 0.13024
105 | 0.99748 | -0.062041 | 0.34833 | 0.1687
106 | 0.99719 | -0.071925 | 0 | 0
107 | 0.99715 | -0.072786 | 0.070951 | 0.034363
108 | 0.99714 | -0.07295 | 0.076177 | 0.036894
109 | 0.99688 | -0.077932 | 0 | 0
110 | 0.99682 | -0.079055 | 0.14724 | 0.07131
111 | 0.99415 | -0.10371 | 0 | 0
112 | 0.99034 | -0.085533 | 0.11069 | 0.053609
113 | 0.99034 | -0.085571 | 0 | 0
114 | 0.99039 | -0.085927 | 0 | 0
115 | 0.9903 | -0.085205 | 0 | 0
116 | 0.99039 | -0.085936 | 0.10635 | 0.05151
117 | 0.99028 | -0.085058 | 0.16815 | 0.081437
118 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.33359 | -0.16157 | 0.3336 | 0.1608 | 5.1308e-06 | -0.00076322 | 0.010829 | 0.010819 | 0.010829 | 0.9881 | -0.016521 | 0.98812 | -0.016655 | 4.9222
1 | 0.87254 | 0.39664 | -0.87238 | -0.40024 | 0.00016418 | -0.0036013 | 0.028001 | 0.028045 | 0.028045 | 0.98812 | -0.016655 | 0.98794 | -0.015227 | 12.7479
2 | 0.27372 | 0.1197 | -0.27366 | -0.13241 | 5.651e-05 | -0.012712 | 0.0087278 | 0.0088834 | 0.0088834 | 0.98812 | -0.016655 | 0.98793 | -0.015054 | 4.0379
3 | 0.99031 | 0.46579 | -0.98999 | -0.47104 | 0.00031341 | -0.0052483 | 0.031972 | 0.032039 | 0.032039 | 0.98812 | -0.016655 | 0.98782 | -0.01404 | 14.563
4 | -2.4702 | -1.1429 | 2.4756 | 1.1295 | 0.0054409 | -0.013479 | 0.079515 | 0.079332 | 0.079515 | 0.98812 | -0.016655 | 0.99016 | -0.033604 | 36.1434
5 | 0.76796 | 0.35026 | -0.76778 | -0.35539 | 0.00018108 | -0.0051284 | 0.024663 | 0.024727 | 0.024727 | 0.98794 | -0.015227 | 0.98772 | -0.01341 | 11.2394
6 | 0.10442 | 0.049979 | -0.10442 | -0.050572 | 3.8964e-07 | -0.00059301 | 0.0033826 | 0.0033901 | 0.0033901 | 0.98794 | -0.015227 | 0.98794 | -0.015195 | 1.541
7 | 0.27366 | 0.13241 | -0.27365 | -0.13253 | 1.5752e-05 | -0.00012064 | 0.0088834 | 0.008885 | 0.008885 | 0.98793 | -0.015054 | 0.98787 | -0.015435 | 4.231
8 | 0.9123 | 0.4338 | -0.91207 | -0.43833 | 0.00023007 | -0.0045288 | 0.029521 | 0.029579 | 0.029579 | 0.98782 | -0.01404 | 0.98759 | -0.011906 | 13.4449
9 | 0.077694 | 0.037238 | -0.077694 | -0.037629 | 1.4213e-07 | -0.00039046 | 0.0025178 | 0.0025227 | 0.0025227 | 0.98782 | -0.01404 | 0.98782 | -0.014024 | 1.1467
10 | -2.7643 | -1.2692 | 2.7666 | 1.2649 | 0.0022236 | -0.0043052 | 0.088682 | 0.088622 | 0.088682 | 0.99016 | -0.033604 | 0.99091 | -0.039756 | 40.31
11 | 0.28874 | 0.13977 | -0.28873 | -0.13984 | 1.0053e-05 | -6.9193e-05 | 0.0093526 | 0.0093536 | 0.0093536 | 0.99016 | -0.033604 | 0.99012 | -0.033834 | 4.4541
12 | 0.1235 | 0.052537 | -0.12349 | -0.058909 | 5.7278e-06 | -0.0063715 | 0.0039225 | 0.0039991 | 0.0039991 | 0.98772 | -0.01341 | 0.98768 | -0.013068 | 1.8178
13 | 0.24758 | 0.11728 | -0.24757 | -0.1199 | 9.6729e-06 | -0.002619 | 0.0080067 | 0.0080398 | 0.0080398 | 0.98772 | -0.01341 | 0.98769 | -0.013078 | 3.6544
14 | 0.3967 | 0.18557 | -0.39664 | -0.19208 | 6.1682e-05 | -0.0065083 | 0.0128 | 0.012882 | 0.012882 | 0.98772 | -0.01341 | 0.98758 | -0.012107 | 5.8554
15 | 0.91207 | 0.43833 | -0.912 | -0.43963 | 6.6269e-05 | -0.0013008 | 0.029579 | 0.029596 | 0.029596 | 0.98759 | -0.011906 | 0.98753 | -0.011282 | 13.4526
16 | 0.59164 | 0.28447 | -0.59161 | -0.28602 | 3.3027e-05 | -0.0015527 | 0.01919 | 0.01921 | 0.01921 | 0.98753 | -0.011282 | 0.98748 | -0.0108 | 8.7318
17 | 0.11105 | 0.052589 | -0.11105 | -0.053782 | 8.7419e-07 | -0.0011929 | 0.0035795 | 0.0035945 | 0.0035945 | 0.99091 | -0.039756 | 0.9909 | -0.039689 | 1.6339
18 | -2.8776 | -1.3175 | 2.8835 | 1.3071 | 0.0058734 | -0.010433 | 0.092201 | 0.092054 | 0.092201 | 0.99091 | -0.039756 | 0.99281 | -0.055133 | 41.9095
19 | -0.36466 | -0.17497 | 0.36469 | 0.1719 | 2.3836e-05 | -0.0030656 | 0.011737 | 0.011699 | 0.011737 | 0.9948 | -0.070939 | 0.99486 | -0.071486 | 5.335
20 | 0.36466 | 0.17497 | -0.36465 | -0.17661 | 1.2807e-05 | -0.0016387 | 0.011737 | 0.011758 | 0.011758 | 0.9948 | -0.070939 | 0.99477 | -0.070637 | 5.3444
21 | -3.4732 | -1.5743 | 3.4738 | 1.5735 | 0.00064044 | -0.00073623 | 0.11065 | 0.11064 | 0.11065 | 0.99486 | -0.071486 | 0.99503 | -0.072858 | 50.2951
22 | 3.1085 | 1.4024 | -3.1017 | -1.4126 | 0.0068194 | -0.010262 | 0.098952 | 0.099099 | 0.099099 | 0.99486 | -0.071486 | 0.99281 | -0.055133 | 45.0451
23 | 0.21818 | 0.10555 | -0.21817 | -0.10566 | 8.7159e-06 | -0.00011041 | 0.0070473 | 0.0070488 | 0.0070488 | 0.99281 | -0.055133 | 0.99277 | -0.055397 | 3.3566
24 | -3.882 | -1.7712 | 3.8838 | 1.7697 | 0.0017979 | -0.0015456 | 0.12379 | 0.12377 | 0.12379 | 0.99503 | -0.072858 | 0.99547 | -0.076357 | 56.2686
25 | 0.39664 | 0.19208 | -0.39663 | -0.1921 | 5.7525e-06 | -1.905e-05 | 0.012882 | 0.012882 | 0.012882 | 0.98758 | -0.012107 | 0.98757 | -0.012202 | 6.1343
26 | 0.12349 | 0.058909 | -0.12349 | -0.059811 | 8.2906e-07 | -0.00090162 | 0.0039991 | 0.0040105 | 0.0040105 | 0.98768 | -0.013068 | 0.98767 | -0.013011 | 1.823
27 | 0.59161 | 0.28602 | -0.5916 | -0.28625 | 4.8346e-06 | -0.00022701 | 0.01921 | 0.019213 | 0.019213 | 0.98748 | -0.0108 | 0.98747 | -0.010729 | 8.7332
28 | -3.8838 | -1.7697 | 3.8869 | 1.767 | 0.0031043 | -0.0026748 | 0.12377 | 0.12372 | 0.12377 | 0.99547 | -0.076357 | 0.99622 | -0.082368 | 56.2573
29 | 0.29874 | 0.14441 | -0.2987 | -0.14467 | 4.0477e-05 | -0.00025555 | 0.0097003 | 0.0097038 | 0.0097038 | 0.98747 | -0.010729 | 0.98733 | -0.011626 | 4.6209
30 | -0.38452 | -0.18623 | 0.38453 | 0.18492 | 1.1326e-05 | -0.0013075 | 0.012386 | 0.01237 | 0.012386 | 0.99573 | -0.098788 | 0.99575 | -0.099043 | 5.6302
31 | 4.0976 | 1.895 | -4.0971 | -1.906 | 0.00047203 | -0.01096 | 0.13088 | 0.13102 | 0.13102 | 0.99575 | -0.099043 | 0.99562 | -0.10151 | 15.5604
32 | -4.4821 | -2.08 | 4.4837 | 2.0493 | 0.0015866 | -0.030653 | 0.14325 | 0.14286 | 0.14325 | 0.99575 | -0.099043 | 0.99617 | -0.091389 | 17.0129
33 | 4.0971 | 1.906 | -4.0961 | -1.9092 | 0.00095924 | -0.0032348 | 0.13102 | 0.13107 | 0.13107 | 0.99562 | -0.10151 | 0.99536 | -0.10439 | 36.2064
34 | -4.4837 | -2.0493 | 4.4838 | 2.048 | 6.9689e-05 | -0.0013509 | 0.14286 | 0.14284 | 0.14286 | 0.99617 | -0.091389 | 0.99618 | -0.091049 | 16.9667
35 | 3.6817 | 1.7085 | -3.6795 | -1.7073 | 0.002129 | 0.0012316 | 0.11771 | 0.11771 | 0.11771 | 0.99536 | -0.10439 | 0.99475 | -0.10882 | 56.0544
36 | -4.5587 | -2.0842 | 4.5589 | 2.0795 | 0.00025321 | -0.0047423 | 0.14525 | 0.14519 | 0.14525 | 0.99618 | -0.091049 | 0.99625 | -0.089835 | 17.251
37 | 3.6795 | 1.7073 | -3.6772 | -1.7096 | 0.0023744 | -0.0023254 | 0.11771 | 0.11775 | 0.11775 | 0.99475 | -0.10882 | 0.99415 | -0.10371 | 53.5233
38 | -4.5589 | -2.0795 | 4.561 | 2.0397 | 0.0021151 | -0.0398 | 0.14519 | 0.1447 | 0.14519 | 0.99625 | -0.089835 | 0.99679 | -0.07954 | 17.2439
39 | -0.2849 | -0.13798 | 0.28493 | 0.13779 | 2.6727e-05 | -0.00018984 | 0.0092248 | 0.0092222 | 0.0092248 | 0.9906 | -0.085699 | 0.9907 | -0.085079 | 4.3928
40 | -0.28493 | -0.13779 | 0.28493 | 0.13645 | 6.5005e-06 | -0.0013422 | 0.0092222 | 0.0092052 | 0.0092222 | 0.9907 | -0.085079 | 0.99072 | -0.085275 | 4.1919
41 | -1.6156 | -0.7445 | 1.616 | 0.74215 | 0.00037734 | -0.0023555 | 0.051833 | 0.051803 | 0.051833 | 0.99072 | -0.085275 | 0.99094 | -0.08708 | 23.5606
42 | 0.31497 | 0.13095 | -0.31485 | -0.15138 | 0.00011797 | -0.020431 | 0.0099391 | 0.010183 | 0.010183 | 0.99072 | -0.085275 | 0.99037 | -0.082565 | 4.6286
43 | 1.0157 | 0.4771 | -1.0157 | -0.4779 | 4.9146e-05 | -0.00079205 | 0.032698 | 0.032708 | 0.032708 | 0.99072 | -0.085275 | 0.99068 | -0.084881 | 14.8673
44 | -2.0533 | -0.95138 | 2.0536 | 0.95024 | 0.00030366 | -0.0011375 | 0.065923 | 0.065908 | 0.065923 | 0.99094 | -0.08708 | 0.99108 | -0.088241 | 29.9651
45 | 0.43726 | 0.20923 | -0.43723 | -0.21176 | 2.8894e-05 | -0.0025303 | 0.014121 | 0.014153 | 0.014153 | 0.99094 | -0.08708 | 0.99088 | -0.086512 | 6.4333
46 | 0.31485 | 0.15138 | -0.31485 | -0.15249 | 6.5783e-06 | -0.0011094 | 0.010183 | 0.010197 | 0.010197 | 0.99037 | -0.082565 | 0.99035 | -0.082384 | 4.635
47 | 0.36897 | 0.17852 | -0.36893 | -0.17868 | 4.0519e-05 | -0.00016134 | 0.011944 | 0.011946 | 0.011946 | 0.99068 | -0.084881 | 0.99056 | -0.085607 | 5.6886
48 | 0.57741 | 0.26582 | -0.57729 | -0.26597 | 0.00011964 | -0.0001543 | 0.018523 | 0.018525 | 0.018525 | 0.99068 | -0.084881 | 0.99046 | -0.086506 | 8.8216
49 | -2.0536 | -0.95024 | 2.054 | 0.94862 | 0.00043094 | -0.0016158 | 0.065908 | 0.065887 | 0.065908 | 0.99108 | -0.088241 | 0.99127 | -0.089882 | 29.9582
50 | 0.38524 | 0.17296 | -0.38521 | -0.17635 | 2.9434e-05 | -0.0033889 | 0.012308 | 0.012349 | 0.012349 | 0.99046 | -0.086506 | 0.99039 | -0.085936 | 5.6131
51 | -2.4619 | -1.1462 | 2.4621 | 1.1454 | 0.00028331 | -0.00071225 | 0.079082 | 0.079073 | 0.079082 | 0.99127 | -0.089882 | 0.99138 | -0.090796 | 35.9465
52 | -3.8869 | -1.767 | 3.8881 | 1.7659 | 0.0012435 | -0.0010737 | 0.12372 | 0.12371 | 0.12372 | 0.99622 | -0.082368 | 0.99651 | -0.084765 | 56.2376
53 | -4.2244 | -1.9288 | 4.2247 | 1.928 | 0.0002714 | -0.00086068 | 0.13453 | 0.13452 | 0.13453 | 0.99651 | -0.084765 | 0.99659 | -0.083941 | 37.1625
54 | -4.2247 | -1.928 | 4.2248 | 1.9251 | 0.00012852 | -0.0028282 | 0.13452 | 0.13448 | 0.13452 | 0.99659 | -0.083941 | 0.99662 | -0.083275 | 15.9757
55 | -0.38642 | -0.18715 | 0.38643 | 0.18648 | 5.9911e-06 | -0.00067512 | 0.01249 | 0.012481 | 0.01249 | 0.99236 | -0.099212 | 0.99237 | -0.099346 | 5.6772
56 | -3.1865 | -1.4873 | 3.1875 | 1.4858 | 0.0010432 | -0.0014475 | 0.10229 | 0.10227 | 0.10229 | 0.99237 | -0.099346 | 0.99268 | -0.10196 | 46.4964
57 | 2.8 | 1.3008 | -2.797 | -1.3065 | 0.0030037 | -0.0056554 | 0.089812 | 0.089892 | 0.089892 | 0.99237 | -0.099346 | 0.99138 | -0.090796 | 40.8602
58 | -3.2856 | -1.5317 | 3.2879 | 1.5288 | 0.0022902 | -0.0029563 | 0.10542 | 0.10538 | 0.10542 | 0.99268 | -0.10196 | 0.99333 | -0.10751 | 47.9183
59 | 0.098106 | 0.045911 | -0.098105 | -0.047514 | 9.0874e-07 | -0.0016037 | 0.0031499 | 0.00317 | 0.00317 | 0.99268 | -0.10196 | 0.99267 | -0.10188 | 1.4409
60 | 0.33491 | 0.16102 | -0.3349 | -0.16194 | 6.1434e-06 | -0.00091947 | 0.010821 | 0.010832 | 0.010832 | 0.99138 | -0.090796 | 0.99136 | -0.090638 | 4.9238
61 | 0.06847 | 0.026064 | -0.068468 | -0.032395 | 1.6797e-06 | -0.0063316 | 0.0021291 | 0.0022013 | 0.0022013 | 0.99333 | -0.10751 | 0.9933 | -0.10735 | 1.0006
62 | -3.3564 | -1.5549 | 3.3586 | 1.5561 | 0.0021772 | 0.0012391 | 0.1075 | 0.1075 | 0.1075 | 0.99333 | -0.10751 | 0.99401 | -0.10252 | 51.1902
63 | 0.3349 | 0.16194 | -0.3349 | -0.1622 | 1.7644e-06 | -0.0002637 | 0.010832 | 0.010836 | 0.010836 | 0.99136 | -0.090638 | 0.99136 | -0.090592 | 4.9253
64 | 0.068468 | 0.032395 | -0.068468 | -0.033161 | 2.1107e-07 | -0.00076522 | 0.0022013 | 0.0022109 | 0.0022109 | 0.9933 | -0.10735 | 0.9933 | -0.10732 | 1.005
65 | -3.6766 | -1.7101 | 3.6772 | 1.7096 | 0.00055285 | -0.00054065 | 0.11776 | 0.11775 | 0.11776 | 0.99401 | -0.10252 | 0.99415 | -0.10371 | 53.5272
66 | 0.47478 | 0.19477 | -0.47475 | -0.1968 | 2.5429e-05 | -0.0020226 | 0.014885 | 0.014907 | 0.014907 | 0.99526 | -0.088897 | 0.99521 | -0.088593 | 6.776
67 | -0.53867 | -0.22572 | 0.53943 | 0.22443 | 0.00075875 | -0.0012842 | 0.01694 | 0.016921 | 0.01694 | 0.99526 | -0.088897 | 0.99677 | -0.074556 | 8.0668
68 | 0.47475 | 0.1968 | -0.47416 | -0.1982 | 0.00059613 | -0.0014021 | 0.014907 | 0.014927 | 0.014927 | 0.99521 | -0.088593 | 0.99387 | -0.10148 | 7.1081
69 | -1.7684 | -0.81965 | 1.7686 | 0.81879 | 0.00016367 | -0.0008644 | 0.056449 | 0.056438 | 0.056449 | 0.99677 | -0.074556 | 0.99685 | -0.075283 | 25.6585
70 | 0.22872 | 0.079326 | -0.22859 | -0.080888 | 0.00012276 | -0.0015618 | 0.0070314 | 0.0070472 | 0.0070472 | 0.99387 | -0.10148 | 0.99329 | -0.10905 | 3.3558
71 | 4.3682 | 1.9946 | -4.3674 | -1.9939 | 0.00074274 | 0.00079819 | 0.13906 | 0.13906 | 0.13906 | 0.99685 | -0.075283 | 0.99662 | -0.083275 | 16.9589
72 | -6.1367 | -2.8134 | 6.1383 | 2.798 | 0.0015555 | -0.01548 | 0.1955 | 0.19529 | 0.1955 | 0.99685 | -0.075283 | 0.99715 | -0.069747 | 23.2182
73 | 0.14543 | 0.040611 | -0.14542 | -0.041166 | 1.6491e-05 | -0.00055513 | 0.0043884 | 0.0043928 | 0.0043928 | 0.99329 | -0.10905 | 0.99317 | -0.11113 | 2.0918
74 | -0.20865 | -0.10105 | 0.20865 | 0.10023 | 2.0799e-06 | -0.00081969 | 0.0067157 | 0.0067054 | 0.0067157 | 0.99652 | -0.081173 | 0.99653 | -0.081259 | 3.0526
75 | -0.20865 | -0.10023 | 0.2087 | 0.099494 | 5.2041e-05 | -0.00073887 | 0.0067054 | 0.0066957 | 0.0067054 | 0.99653 | -0.081259 | 0.99679 | -0.07954 | 3.193
76 | -4.7697 | -2.1392 | 4.7698 | 2.1375 | 9.9007e-05 | -0.0017014 | 0.15139 | 0.15137 | 0.15139 | 0.99679 | -0.07954 | 0.99682 | -0.079075 | 17.9798
77 | -4.8386 | -2.1708 | 4.8386 | 2.1707 | 4.3529e-06 | -7.2561e-05 | 0.15358 | 0.15358 | 0.15358 | 0.99682 | -0.079075 | 0.99682 | -0.079055 | 18.2398
78 | 0.14542 | 0.041166 | -0.14539 | -0.067502 | 3.0411e-05 | -0.026335 | 0.0043928 | 0.00466 | 0.00466 | 0.99317 | -0.11113 | 0.99296 | -0.11032 | 2.1182
79 | 0.14539 | 0.067502 | -0.14538 | -0.070412 | 3.6131e-06 | -0.0029103 | 0.00466 | 0.0046963 | 0.0046963 | 0.99296 | -0.11032 | 0.99294 | -0.11011 | 2.1347
80 | 6.6869 | 3.0298 | -6.6868 | -3.03 | 2.7625e-05 | -0.00022943 | 0.21234 | 0.21234 | 0.21234 | 0.99804 | -0.047806 | 0.99803 | -0.047897 | 25.2188
81 | -7.0212 | -3.1917 | 7.0214 | 3.19 | 0.00023139 | -0.0017215 | 0.22308 | 0.22306 | 0.22308 | 0.99804 | -0.047806 | 0.99808 | -0.04708 | 26.4942
82 | 6.6868 | 3.03 | -6.684 | -3.0535 | 0.0028366 | -0.023507 | 0.21234 | 0.21266 | 0.21266 | 0.99803 | -0.047897 | 0.99754 | -0.057223 | 25.256
83 | 7.0847 | 3.2172 | -7.0831 | -3.2289 | 0.0015959 | -0.011628 | 0.22505 | 0.22521 | 0.22521 | 0.99808 | -0.04708 | 0.99781 | -0.052032 | 26.7466
84 | -14.1061 | -6.4072 | 14.1114 | 6.4011 | 0.0052575 | -0.0060708 | 0.44811 | 0.44798 | 0.44811 | 0.99808 | -0.04708 | 0.99851 | -0.038864 | 53.2194
85 | -0.17667 | -0.085564 | 0.17667 | 0.083669 | 3.4244e-06 | -0.001895 | 0.005681 | 0.0056573 | 0.005681 | 0.99746 | -0.056619 | 0.99748 | -0.056783 | 2.5823
86 | -0.17667 | -0.083669 | 0.17668 | 0.077923 | 1.021e-05 | -0.0057454 | 0.0056573 | 0.0055881 | 0.0056573 | 0.99748 | -0.056783 | 0.99754 | -0.057223 | 2.5715
87 | 6.5073 | 2.9756 | -6.5057 | -2.9735 | 0.001621 | 0.0020738 | 0.20707 | 0.20707 | 0.20707 | 0.99754 | -0.057223 | 0.99719 | -0.06892 | 25.2526
88 | 6.1385 | 2.7956 | -6.1383 | -2.798 | 0.00023148 | -0.0023076 | 0.19526 | 0.19529 | 0.19529 | 0.99719 | -0.06892 | 0.99715 | -0.069747 | 23.194
89 | 0.14256 | 0.068726 | -0.14256 | -0.069047 | 3.8058e-07 | -0.00032131 | 0.0045842 | 0.0045883 | 0.0045883 | 0.99662 | -0.083275 | 0.99662 | -0.083252 | 2.0856
90 | -0.41323 | -0.20014 | 0.41324 | 0.1988 | 1.3181e-05 | -0.0013331 | 0.013271 | 0.013254 | 0.013271 | 0.99876 | -0.033392 | 0.99879 | -0.033668 | 6.0322
91 | 14.2279 | 6.4517 | -14.2246 | -6.4555 | 0.0033497 | -0.0037648 | 0.45153 | 0.45161 | 0.45161 | 0.99879 | -0.033668 | 0.99851 | -0.038864 | 53.635
92 | -14.6412 | -6.6505 | 14.6475 | 6.6441 | 0.0063387 | -0.0064124 | 0.46478 | 0.46463 | 0.46478 | 0.99879 | -0.033668 | 0.9993 | -0.024125 | 55.199
93 | 0.1132 | 0.054349 | -0.1132 | -0.054825 | 3.5277e-07 | -0.0004764 | 0.0036303 | 0.0036363 | 0.0036363 | 0.99851 | -0.038864 | 0.99851 | -0.038837 | 1.6529
94 | -14.6475 | -6.6441 | 14.655 | 6.6547 | 0.0074848 | 0.010585 | 0.46463 | 0.46463 | 0.46463 | 0.9993 | -0.024125 | 1 | 0 | 56.6622
95 | 6.6928 | 3.0408 | -6.6923 | -3.0449 | 0.00049299 | -0.0040765 | 0.21268 | 0.21273 | 0.21273 | 0.99781 | -0.052032 | 0.99773 | -0.053653 | 25.2648
96 | 0.39029 | 0.18808 | -0.39028 | -0.18902 | 8.3099e-06 | -0.0009385 | 0.012534 | 0.012546 | 0.012546 | 0.99781 | -0.052032 | 0.99779 | -0.051848 | 5.7027
97 | 6.6923 | 3.0449 | -6.6922 | -3.0453 | 5.1317e-05 | -0.00042417 | 0.21273 | 0.21274 | 0.21274 | 0.99773 | -0.053653 | 0.99772 | -0.053822 | 25.2655
98 | 6.602 | 3.0016 | -6.6009 | -3.0001 | 0.0011505 | 0.0014769 | 0.20983 | 0.20984 | 0.20984 | 0.99772 | -0.053822 | 0.99748 | -0.062041 | 25.5899
99 | -0.26505 | -0.12837 | 0.26506 | 0.12708 | 5.2769e-06 | -0.0012911 | 0.0085271 | 0.0085108 | 0.0085271 | 0.997 | -0.074978 | 0.99702 | -0.07515 | 3.8759
100 | -0.26506 | -0.12708 | 0.26506 | 0.12694 | 5.7332e-07 | -0.00014057 | 0.0085108 | 0.0085091 | 0.0085108 | 0.99702 | -0.07515 | 0.99702 | -0.075168 | 3.8686
101 | -5.6479 | -2.5476 | 5.6482 | 2.5438 | 0.00032423 | -0.003885 | 0.1794 | 0.17935 | 0.1794 | 0.99702 | -0.075168 | 0.99709 | -0.073891 | 21.3058
102 | 5.3829 | 2.4207 | -5.3826 | -2.4248 | 0.0003096 | -0.0041141 | 0.17089 | 0.17094 | 0.17094 | 0.99702 | -0.075168 | 0.99695 | -0.076451 | 20.3018
103 | -5.6482 | -2.5438 | 5.6484 | 2.5418 | 0.00016642 | -0.0019952 | 0.17935 | 0.17932 | 0.17935 | 0.99709 | -0.073891 | 0.99712 | -0.073234 | 21.2999
104 | 4.9864 | 2.2329 | -4.9863 | -2.2337 | 4.7653e-05 | -0.00074631 | 0.1582 | 0.15821 | 0.15821 | 0.99695 | -0.076451 | 0.99694 | -0.076665 | 18.7897
105 | -5.8349 | -2.6321 | 5.8349 | 2.6312 | 7.4635e-05 | -0.0008337 | 0.18532 | 0.1853 | 0.18532 | 0.99712 | -0.073234 | 0.99714 | -0.07295 | 22.0089
106 | 4.9863 | 2.2337 | -4.9861 | -2.2381 | 0.00028205 | -0.0044151 | 0.15821 | 0.15826 | 0.15826 | 0.99694 | -0.076665 | 0.99688 | -0.077932 | 18.7963
107 | -6.2517 | -2.8304 | 6.2525 | 2.8314 | 0.00082551 | 0.001044 | 0.19864 | 0.19864 | 0.19864 | 0.9973 | -0.068288 | 0.99748 | -0.062041 | 24.2246
108 | 5.9828 | 2.7001 | -5.9823 | -2.6996 | 0.00045874 | 0.00057238 | 0.19 | 0.19 | 0.19 | 0.9973 | -0.068288 | 0.99719 | -0.071925 | 23.1704
109 | 5.9823 | 2.6996 | -5.9821 | -2.702 | 0.00023177 | -0.0024522 | 0.19 | 0.19003 | 0.19003 | 0.99719 | -0.071925 | 0.99715 | -0.072786 | 22.5688
110 | 5.9112 | 2.6676 | -5.9111 | -2.6681 | 4.3613e-05 | -0.00047357 | 0.18775 | 0.18775 | 0.18775 | 0.99715 | -0.072786 | 0.99714 | -0.07295 | 22.2985
111 | 4.9861 | 2.2381 | -4.9858 | -2.242 | 0.00025053 | -0.0039183 | 0.15826 | 0.15831 | 0.15831 | 0.99688 | -0.077932 | 0.99682 | -0.079055 | 18.8021
112 | -0.11069 | -0.053609 | 0.11069 | 0.052939 | 4.8987e-07 | -0.00067001 | 0.003585 | 0.0035765 | 0.003585 | 0.99034 | -0.085533 | 0.99034 | -0.085571 | 1.6295
113 | -0.27885 | -0.12786 | 0.27886 | 0.12492 | 1.3347e-05 | -0.002936 | 0.0089418 | 0.0089064 | 0.0089418 | 0.99034 | -0.085571 | 0.99039 | -0.085927 | 4.0645
114 | 0.16816 | 0.074918 | -0.16815 | -0.079718 | 7.9684e-06 | -0.0047998 | 0.0053661 | 0.0054245 | 0.0054245 | 0.99034 | -0.085571 | 0.9903 | -0.085205 | 2.4657
115 | -0.27886 | -0.12492 | 0.27886 | 0.12484 | 3.5911e-07 | -7.9316e-05 | 0.0089064 | 0.0089055 | 0.0089064 | 0.99039 | -0.085927 | 0.99039 | -0.085936 | 4.0484
116 | 0.16815 | 0.079718 | -0.16815 | -0.081437 | 2.8974e-06 | -0.0017193 | 0.0054245 | 0.0054462 | 0.0054462 | 0.9903 | -0.085205 | 0.99028 | -0.085058 | 2.4755

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.9089 | 6.7814

## res_load
| p_mw | q_mvar
0 | 0.33359 | 0.16157
1 | 0.10442 | 0.050572
2 | 0.27365 | 0.13253
3 | 0.077694 | 0.037629
4 | 0.32036 | 0.15516
5 | 0.28873 | 0.13984
6 | 0.36465 | 0.17661
7 | 0.21817 | 0.10566
8 | 0.40815 | 0.19768
9 | 0.11105 | 0.053782
10 | 0.39663 | 0.1921
11 | 0.24757 | 0.1199
12 | 0.12349 | 0.059811
13 | 0.29286 | 0.14184
14 | 0.2987 | 0.14467
15 | 0.38452 | 0.18623
16 | 0.41446 | 0.20073
17 | 0.074901 | 0.036276
18 | 0.2849 | 0.13798
19 | 0.069284 | 0.033556
20 | 0.43723 | 0.21176
21 | 0.31485 | 0.15249
22 | 0.36893 | 0.17868
23 | 0.19205 | 0.093012
24 | 0.40786 | 0.19754
25 | 0.33634 | 0.1629
26 | 0.38642 | 0.18715
27 | 0.098105 | 0.047514
28 | 0.31806 | 0.15404
29 | 0.068468 | 0.033161
30 | 0.3349 | 0.1622
31 | 0.063892 | 0.030944
32 | 1.229 | 0.59522
33 | 0.24544 | 0.11887
34 | 0.083161 | 0.040277
35 | 0.20865 | 0.10105
36 | 0.068735 | 0.03329
37 | 0.14538 | 0.070412
38 | 0.33433 | 0.16192
39 | 0.17667 | 0.085564
40 | 0.3672 | 0.17784
41 | 0.14256 | 0.069047
42 | 0.41323 | 0.20014
43 | 0.1132 | 0.054825
44 | 0.2399 | 0.11619
45 | 0.39028 | 0.18902
46 | 0.090243 | 0.043707
47 | 0.26505 | 0.12837
48 | 0.39617 | 0.19188
49 | 0.18644 | 0.090298
50 | 0.2689 | 0.13024
51 | 0.34833 | 0.1687
52 | 0.070951 | 0.034363
53 | 0.076177 | 0.036894
54 | 0.14724 | 0.07131
55 | 0.11069 | 0.053609
56 | 0.10635 | 0.05151
57 | 0.16815 | 0.081437

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1