## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_246_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_246_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_246_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_246_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_246_0_node_78 | 20 | n |  | TRUE
5 | bus_MV_246_0_node_77 | 20 | n |  | TRUE
6 | bus_MV_246_0_node_112 | 20 | n |  | TRUE
7 | bus_MV_246_0_node_111 | 20 | n |  | TRUE
8 | bus_MV_246_0_node_80 | 20 | n |  | TRUE
9 | bus_MV_246_0_node_79 | 20 | n |  | TRUE
10 | bus_MV_246_0_node_110 | 20 | n |  | TRUE
11 | bus_MV_246_0_node_114 | 20 | n |  | TRUE
12 | bus_MV_246_0_node_4 | 20 | n |  | TRUE
13 | bus_MV_246_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_246_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_246_0_node_43 | 20 | n |  | TRUE
16 | bus_MV_246_0_node_44 | 20 | n |  | TRUE
17 | bus_MV_246_0_node_42 | 20 | n |  | TRUE
18 | bus_MV_246_0_node_47 | 20 | n |  | TRUE
19 | bus_MV_246_0_node_48 | 20 | n |  | TRUE
20 | bus_MV_246_0_node_50 | 20 | n |  | TRUE
21 | bus_MV_246_0_node_101 | 20 | n |  | TRUE
22 | bus_MV_246_0_node_31 | 20 | n |  | TRUE
23 | bus_MV_246_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_246_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_246_0_node_8 | 20 | n |  | TRUE
26 | bus_MV_246_0_node_7 | 20 | n |  | TRUE
27 | bus_MV_246_0_node_9 | 20 | n |  | TRUE
28 | bus_MV_246_0_node_10 | 20 | n |  | TRUE
29 | bus_MV_246_0_node_108 | 20 | n |  | TRUE
30 | bus_MV_246_0_node_32 | 20 | n |  | TRUE
31 | bus_MV_246_0_node_30 | 20 | n |  | TRUE
32 | bus_MV_246_0_node_13 | 20 | n |  | TRUE
33 | bus_MV_246_0_node_14 | 20 | n |  | TRUE
34 | bus_MV_246_0_node_19 | 20 | n |  | TRUE
35 | bus_MV_246_0_node_25 | 20 | n |  | TRUE
36 | bus_MV_246_0_node_15 | 20 | n |  | TRUE
37 | bus_MV_246_0_node_21 | 20 | n |  | TRUE
38 | bus_MV_246_0_node_102 | 20 | n |  | TRUE
39 | bus_MV_246_0_node_20 | 20 | n |  | TRUE
40 | bus_MV_246_0_node_34 | 20 | n |  | TRUE
41 | bus_MV_246_0_node_33 | 20 | n |  | TRUE
42 | bus_MV_246_0_node_27 | 20 | n |  | TRUE
43 | bus_MV_246_0_node_26 | 20 | n |  | TRUE
44 | bus_MV_246_0_node_86 | 20 | n |  | TRUE
45 | bus_MV_246_0_node_90 | 20 | n |  | TRUE
46 | bus_MV_246_0_node_99 | 20 | n |  | TRUE
47 | bus_MV_246_0_node_22 | 20 | n |  | TRUE
48 | bus_MV_246_0_node_72 | 20 | n |  | TRUE
49 | bus_MV_246_0_node_16 | 20 | n |  | TRUE
50 | bus_MV_246_0_node_17 | 20 | n |  | TRUE
51 | bus_MV_246_0_node_18 | 20 | n |  | TRUE
52 | bus_MV_246_0_node_73 | 20 | n |  | TRUE
53 | bus_MV_246_0_node_71 | 20 | n |  | TRUE
54 | bus_MV_246_0_node_68 | 20 | n |  | TRUE
55 | bus_MV_246_0_node_36 | 20 | n |  | TRUE
56 | bus_MV_246_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_246_0_node_38 | 20 | n |  | TRUE
58 | bus_MV_246_0_node_39 | 20 | n |  | TRUE
59 | bus_MV_246_0_node_23 | 20 | n |  | TRUE
60 | bus_MV_246_0_node_24 | 20 | n |  | TRUE
61 | bus_MV_246_0_node_89 | 20 | n |  | TRUE
62 | bus_MV_246_0_node_109 | 20 | n |  | TRUE
63 | bus_MV_246_0_node_93 | 20 | n |  | TRUE
64 | bus_MV_246_0_node_92 | 20 | n |  | TRUE
65 | bus_MV_246_0_node_98 | 20 | n |  | TRUE
66 | bus_MV_246_0_node_35 | 20 | n |  | TRUE
67 | bus_MV_246_0_node_40 | 20 | n |  | TRUE
68 | bus_MV_246_0_node_106 | 20 | n |  | TRUE
69 | bus_MV_246_0_node_51 | 20 | n |  | TRUE
70 | bus_MV_246_0_node_52 | 20 | n |  | TRUE
71 | bus_MV_246_0_node_57 | 20 | n |  | TRUE
72 | bus_MV_246_0_node_61 | 20 | n |  | TRUE
73 | bus_MV_246_0_node_49 | 20 | n |  | TRUE
74 | bus_MV_246_0_node_63 | 20 | n |  | TRUE
75 | bus_MV_246_0_node_41 | 20 | n |  | TRUE
76 | bus_MV_246_0_node_59 | 20 | n |  | TRUE
77 | bus_MV_246_0_node_56 | 20 | n |  | TRUE
78 | bus_MV_246_0_node_62 | 20 | n |  | TRUE
79 | bus_MV_246_0_node_53 | 20 | n |  | TRUE
80 | bus_MV_246_0_node_54 | 20 | n |  | TRUE
81 | bus_MV_246_0_node_55 | 20 | n |  | TRUE
82 | bus_MV_246_0_node_60 | 20 | n |  | TRUE
83 | bus_MV_246_0_node_64 | 20 | n |  | TRUE
84 | bus_MV_246_0_node_65 | 20 | n |  | TRUE
85 | bus_MV_246_0_node_67 | 20 | n |  | TRUE
86 | bus_MV_246_0_node_75 | 20 | n |  | TRUE
87 | bus_MV_246_0_node_69 | 20 | n |  | TRUE
88 | bus_MV_246_0_node_70 | 20 | n |  | TRUE
89 | bus_MV_246_0_node_74 | 20 | n |  | TRUE
90 | bus_MV_246_0_node_76 | 20 | n |  | TRUE
91 | bus_MV_246_0_node_113 | 20 | n |  | TRUE
92 | bus_MV_246_0_node_81 | 20 | n |  | TRUE
93 | bus_MV_246_0_node_82 | 20 | n |  | TRUE
94 | bus_MV_246_0_node_83 | 20 | n |  | TRUE
95 | bus_MV_246_0_node_84 | 20 | n |  | TRUE
96 | bus_MV_246_0_node_85 | 20 | n |  | TRUE
97 | bus_MV_246_0_node_115 | 20 | n |  | TRUE
98 | bus_MV_246_0_node_88 | 20 | n |  | TRUE
99 | bus_MV_246_0_node_87 | 20 | n |  | TRUE
100 | bus_MV_246_0_node_100 | 20 | n |  | TRUE
101 | bus_MV_246_0_node_97 | 20 | n |  | TRUE
102 | bus_MV_246_0_node_91 | 20 | n |  | TRUE
103 | bus_MV_246_0_node_94 | 20 | n |  | TRUE
104 | bus_MV_246_0_node_105 | 20 | n |  | TRUE
105 | bus_MV_246_0_node_103 | 20 | n |  | TRUE
106 | bus_MV_246_0_node_107 | 20 | n |  | TRUE
107 | bus_MV_246_0_node_95 | 20 | n |  | TRUE
108 | bus_MV_246_0_node_96 | 20 | n |  | TRUE
109 | bus_HV_246_0_node_94 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_246_0_load_0 | 0 | 0.41456 | 0.20078 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_246_0_load_77 | 5 | 0.32996 | 0.15981 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_246_0_load_112 | 6 | 0.18007 | 0.087212 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_246_0_load_79 | 9 | 0.31032 | 0.1503 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_246_0_load_114 | 11 | 0.26105 | 0.12643 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_246_0_load_4 | 12 | 0.31729 | 0.15367 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_246_0_load_44 | 16 | 0.25992 | 0.12589 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_246_0_load_47 | 18 | 0.16258 | 0.078739 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_246_0_load_101 | 21 | 0.30084 | 0.14571 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_246_0_load_31 | 22 | 0.20991 | 0.10167 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_246_0_load_7 | 26 | 0.28586 | 0.13845 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_246_0_load_108 | 29 | 0.41076 | 0.19894 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_246_0_load_32 | 30 | 0.21432 | 0.1038 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_246_0_load_30 | 31 | 0.29287 | 0.14184 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_246_0_load_19 | 34 | 0.34053 | 0.16493 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_246_0_load_21 | 37 | 0.237 | 0.11479 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_246_0_load_102 | 38 | 0.16864 | 0.081675 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_246_0_load_34 | 40 | 0.20717 | 0.10034 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_246_0_load_33 | 41 | 0.19146 | 0.09273 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_246_0_load_27 | 42 | 0.20045 | 0.097081 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_246_0_load_86 | 44 | 0.20636 | 0.099943 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_246_0_load_90 | 45 | 0.081296 | 0.039373 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_246_0_load_99 | 46 | 0.088692 | 0.042956 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_246_0_load_16 | 49 | 0.23379 | 0.11323 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_246_0_load_73 | 52 | 0.36136 | 0.17501 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_246_0_load_36 | 55 | 0.23297 | 0.11283 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_246_0_load_89 | 61 | 0.69002 | 0.33419 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_246_0_load_109 | 62 | 0.34376 | 0.16649 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_246_0_load_35 | 66 | 1.1247 | 0.54472 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_246_0_load_106 | 68 | 0.25323 | 0.12265 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_246_0_load_51 | 69 | 0.3217 | 0.15581 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_246_0_load_52 | 70 | 0.3714 | 0.17988 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_246_0_load_61 | 72 | 0.18876 | 0.091422 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_246_0_load_63 | 74 | 0.2047 | 0.099142 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_246_0_load_41 | 75 | 0.22873 | 0.11078 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_246_0_load_56 | 77 | 0.36517 | 0.17686 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_246_0_load_62 | 78 | 0.18557 | 0.089874 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_246_0_load_53 | 79 | 0.099613 | 0.048245 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_246_0_load_64 | 83 | 0.10022 | 0.048541 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_246_0_load_65 | 84 | 0.2536 | 0.12282 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_246_0_load_75 | 86 | 0.20676 | 0.10014 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_246_0_load_74 | 89 | 0.40731 | 0.19727 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_246_0_load_76 | 90 | 0.31399 | 0.15207 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_246_0_load_113 | 91 | 0.15695 | 0.076013 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_246_0_load_81 | 92 | 0.34043 | 0.16488 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_246_0_load_115 | 97 | 0.38334 | 0.18566 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_246_0_load_87 | 99 | 0.2064 | 0.099962 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_246_0_load_100 | 100 | 0.32034 | 0.15515 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_246_0_load_91 | 102 | 0.088757 | 0.042987 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_246_0_load_103 | 105 | 0.34942 | 0.16923 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_246_0_load_107 | 106 | 0.40468 | 0.196 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_246_0_load_95 | 107 | 0.074552 | 0.036107 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_246_0_line_0 |  | 0 | 1 | 0.055111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_246_0_line_1 |  | 1 | 2 | 0.89367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_246_0_line_2 |  | 2 | 3 | 0.59754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_246_0_line_3 |  | 2 | 4 | 1.0755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_246_0_line_4 |  | 2 | 5 | 0.032749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_246_0_line_5 |  | 3 | 6 | 0.01954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_246_0_line_6 |  | 3 | 7 | 0.30108 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_246_0_line_7 |  | 4 | 8 | 0.1917 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_246_0_line_8 |  | 4 | 9 | 0.006588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_246_0_line_9 |  | 6 | 10 | 0.18697 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_246_0_line_10 |  | 7 | 11 | 0.010071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_246_0_line_11 |  | 8 | 91 | 0.017665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_246_0_line_12 |  | 10 | 83 | 0.49686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_246_0_line_13 |  | 12 | 13 | 0.026326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_246_0_line_14 |  | 13 | 14 | 0.53434 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_246_0_line_15 |  | 13 | 15 | 0.13556 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
16 | MV_246_0_line_16 |  | 14 | 21 | 0.021172 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_246_0_line_17 |  | 14 | 22 | 0.15116 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_246_0_line_18 |  | 15 | 16 | 0.032141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_246_0_line_19 |  | 15 | 17 | 0.49436 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
20 | MV_246_0_line_20 |  | 17 | 75 | 0.075276 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
21 | MV_246_0_line_21 |  | 18 | 19 | 0.047718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_246_0_line_22 |  | 19 | 20 | 0.74546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_246_0_line_23 |  | 20 | 69 | 0.010611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_246_0_line_24 |  | 20 | 70 | 0.26553 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_246_0_line_25 |  | 21 | 23 | 0.03487 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_246_0_line_26 |  | 23 | 24 | 0.22142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_246_0_line_27 |  | 23 | 25 | 0.38326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_246_0_line_28 |  | 24 | 31 | 0.004428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_246_0_line_29 |  | 25 | 27 | 0.30744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_246_0_line_30 |  | 25 | 26 | 0.054129 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_246_0_line_31 |  | 27 | 28 | 0.51033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_246_0_line_32 |  | 27 | 29 | 0.042198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_246_0_line_33 |  | 28 | 30 | 0.041175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_246_0_line_34 |  | 30 | 40 | 0.028065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_246_0_line_35 |  | 30 | 41 | 0.05235 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_246_0_line_36 |  | 30 | 42 | 1.0784 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_246_0_line_37 |  | 32 | 33 | 0.37587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_246_0_line_38 |  | 32 | 34 | 0.10298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_246_0_line_39 |  | 33 | 35 | 0.018826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_246_0_line_40 |  | 33 | 36 | 0.50492 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
41 | MV_246_0_line_41 |  | 33 | 37 | 0.00889 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
42 | MV_246_0_line_42 |  | 35 | 45 | 0.050855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_246_0_line_43 |  | 36 | 38 | 0.15056 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
44 | MV_246_0_line_44 |  | 36 | 39 | 0.85071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_246_0_line_45 |  | 37 | 47 | 0.019636 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
46 | MV_246_0_line_46 |  | 38 | 48 | 0.19734 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
47 | MV_246_0_line_47 |  | 39 | 43 | 0.41041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_246_0_line_48 |  | 39 | 44 | 0.055906 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_246_0_line_49 |  | 41 | 66 | 0.002825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_246_0_line_50 |  | 43 | 46 | 0.011506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_246_0_line_51 |  | 46 | 65 | 0.049625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_246_0_line_52 |  | 47 | 59 | 0.1586 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_246_0_line_53 |  | 47 | 60 | 0.074431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_246_0_line_54 |  | 48 | 85 | 0.49598 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_246_0_line_55 |  | 49 | 50 | 0.090005 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_246_0_line_56 |  | 50 | 51 | 0.076524 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
57 | MV_246_0_line_57 |  | 50 | 52 | 0.30674 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
58 | MV_246_0_line_58 |  | 51 | 55 | 0.076946 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
59 | MV_246_0_line_59 |  | 51 | 56 | 0.20459 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
60 | MV_246_0_line_60 |  | 52 | 53 | 0.087404 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_246_0_line_61 |  | 53 | 54 | 0.57435 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_246_0_line_62 |  | 54 | 87 | 0.47302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_246_0_line_63 |  | 54 | 86 | 0.039835 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_246_0_line_64 |  | 55 | 57 | 0.012458 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
65 | MV_246_0_line_65 |  | 56 | 58 | 0.13286 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_246_0_line_66 |  | 57 | 67 | 0.12793 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
67 | MV_246_0_line_67 |  | 58 | 68 | 0.05094 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
68 | MV_246_0_line_68 |  | 59 | 62 | 0.06269 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_246_0_line_69 |  | 60 | 61 | 0.080213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_246_0_line_70 |  | 62 | 63 | 0.086735 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
71 | MV_246_0_line_71 |  | 63 | 64 | 0.036692 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
72 | MV_246_0_line_72 |  | 64 | 103 | 0.39565 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_246_0_line_73 |  | 64 | 102 | 0.048746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_246_0_line_74 |  | 65 | 101 | 0.25442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_246_0_line_75 |  | 65 | 108 | 0.098511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_246_0_line_76 |  | 67 | 74 | 0.058204 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
77 | MV_246_0_line_77 |  | 68 | 75 | 0.11269 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
78 | MV_246_0_line_78 |  | 70 | 79 | 0.15355 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_246_0_line_79 |  | 70 | 80 | 0.067636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_246_0_line_80 |  | 71 | 72 | 0.050336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_246_0_line_81 |  | 71 | 73 | 0.29962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_246_0_line_82 |  | 73 | 76 | 0.26948 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_246_0_line_83 |  | 73 | 77 | 0.034491 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_246_0_line_84 |  | 74 | 76 | 0.38137 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
85 | MV_246_0_line_85 |  | 76 | 78 | 0.071257 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_246_0_line_86 |  | 77 | 81 | 0.030741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_246_0_line_87 |  | 80 | 81 | 0.18747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_246_0_line_88 |  | 81 | 82 | 0.1464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_246_0_line_89 |  | 82 | 83 | 0.067384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_246_0_line_90 |  | 84 | 85 | 0.028067 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
91 | MV_246_0_line_91 |  | 84 | 86 | 0.5295 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
92 | MV_246_0_line_92 |  | 87 | 88 | 0.55348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_246_0_line_93 |  | 87 | 89 | 0.024454 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_246_0_line_94 |  | 88 | 90 | 0.016819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_246_0_line_95 |  | 92 | 93 | 0.0674 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_246_0_line_96 |  | 92 | 94 | 0.11774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_246_0_line_97 |  | 93 | 95 | 0.77445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_246_0_line_98 |  | 94 | 96 | 0.29846 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_246_0_line_99 |  | 95 | 97 | 0.053063 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
100 | MV_246_0_line_100 |  | 96 | 98 | 0.12436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_246_0_line_101 |  | 96 | 99 | 0.089107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_246_0_line_102 |  | 98 | 100 | 0.065659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_246_0_line_103 |  | 100 | 101 | 0.004992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_246_0_line_104 |  | 103 | 104 | 0.18451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_246_0_line_105 |  | 103 | 105 | 0.063776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_246_0_line_106 |  | 104 | 106 | 0.031356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_246_0_line_107 |  | 107 | 108 | 0.0010229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_246_0_trafo_94 | 25 MVA 110/20 kV | 109 | 103 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2712618.1136 | 1094463.9023
1 | 2712576.106 | 1094428.9453
2 | 2712186.9162 | 1094295.352
3 | 2711929.3116 | 1093893.512
4 | 2712153.4065 | 1094678.6817
5 | 2712196.6965 | 1094326.4312
6 | 2711945.2469 | 1093882.142
7 | 2711630.3455 | 1093857.8934
8 | 2712234.9014 | 1094792.362
9 | 2712147.421 | 1094675.8916
10 | 2712113.1572 | 1093964.3794
11 | 2711620.3596 | 1093856.3757
12 | 2711880.6409 | 1092545.2944
13 | 2711866.0674 | 1092523.3449
14 | 2711934.9467 | 1092092.587
15 | 2711734.5363 | 1092556.1386
16 | 2711715.6027 | 1092530.1289
17 | 2711668.7993 | 1092708.8014
18 | 2712681.6807 | 1092766.155
19 | 2712635.1245 | 1092776.6185
20 | 2712604.8693 | 1093150.2673
21 | 2711945.8022 | 1092074.3966
22 | 2711994.1906 | 1092231.6492
23 | 2711953.3679 | 1092040.3573
24 | 2711987.0018 | 1091909.3542
25 | 2711702.237 | 1092144.1003
26 | 2711744.9403 | 1092177.3625
27 | 2711591.4322 | 1092357.9447
28 | 2711509.7768 | 1091988.0086
29 | 2711615.4786 | 1092392.6648
30 | 2711486.8154 | 1091953.8301
31 | 2711984.1177 | 1091905.9877
32 | 2711072.6812 | 1092078.4072
33 | 2711161.9077 | 1092343.449
34 | 2710992.6697 | 1092143.5131
35 | 2711147.6577 | 1092355.797
36 | 2710859.5012 | 1092406.2509
37 | 2711167.652 | 1092350.2474
38 | 2710815.0011 | 1092415.6798
39 | 2710334.1036 | 1091987.7958
40 | 2711463.5197 | 1091969.4804
41 | 2711457.6221 | 1091910.3753
42 | 2711147.4745 | 1090930.1943
43 | 2710144.3532 | 1091722.357
44 | 2710364.7549 | 1092034.5498
45 | 2711108.5319 | 1092388.2846
46 | 2710145.8915 | 1091713.5953
47 | 2711180.3401 | 1092365.2339
48 | 2710649.3013 | 1092372.2678
49 | 2711482.8963 | 1092991.6603
50 | 2711522.7163 | 1093072.378
51 | 2711557.8312 | 1093140.3678
52 | 2711258.1062 | 1093227.5259
53 | 2711198.1871 | 1093169.5356
54 | 2710854.1929 | 1093373.6274
55 | 2711587.4172 | 1093211.3806
56 | 2711720.9974 | 1093016.9347
57 | 2711591.0431 | 1093223.2996
58 | 2711680.7676 | 1092913.9152
59 | 2711294.9074 | 1092314.7613
60 | 2711208.8577 | 1092420.1032
61 | 2711146.2808 | 1092470.2777
62 | 2711344.22 | 1092275.8819
63 | 2711394.8565 | 1092346.3008
64 | 2711416.7518 | 1092375.7884
65 | 2710106.606 | 1091684.0702
66 | 2711456.0468 | 1091908.0303
67 | 2711662.9335 | 1093312.5347
68 | 2711644.2758 | 1092878.2657
69 | 2712615.3801 | 1093148.6052
70 | 2712611.315 | 1093415.7221
71 | 2712252.6238 | 1093157.4615
72 | 2712246.9507 | 1093107.4563
73 | 2712316.8176 | 1093428.2632
74 | 2711711.9758 | 1093343.7452
75 | 2711622.0411 | 1092767.7942
76 | 2712085.6186 | 1093420.1484
77 | 2712339.3402 | 1093454.3857
78 | 2712098.6072 | 1093350.0848
79 | 2712695.8447 | 1093543.9079
80 | 2712543.5556 | 1093418.9924
81 | 2712364.9637 | 1093468.3129
82 | 2712447.4745 | 1093583.9382
83 | 2712487.7942 | 1093638.0093
84 | 2710869.361 | 1092831.3834
85 | 2710851.3199 | 1092809.8402
86 | 2710817.3052 | 1093358.3227
87 | 2710903.6317 | 1093647.1014
88 | 2710717.0787 | 1093975.5121
89 | 2710926.8938 | 1093654.6418
90 | 2710700.8424 | 1093972.0698
91 | 2712248.75 | 1094803.2472
92 | 2709857.4599 | 1092113.7215
93 | 2709799.2563 | 1092118.2294
94 | 2709972.7558 | 1092128.003
95 | 2709464.4603 | 1092789.2009
96 | 2710055.8508 | 1091945.472
97 | 2709416.6505 | 1092766.1809
98 | 2710060.5068 | 1091842.8762
99 | 2710124.9851 | 1091989.4859
100 | 2710061.075 | 1091779.366
101 | 2710056.2298 | 1091780.6236
102 | 2711378.2552 | 1092405.6912
103 | 2711458.2585 | 1092691.6397
104 | 2711336.1133 | 1092761.2721
105 | 2711416.7203 | 1092643.146
106 | 2711313.2437 | 1092739.7502
107 | 2710119.7594 | 1091619.6551
108 | 2710119.0279 | 1091618.9402
109 | 2711458.2585 | 1092691.6397

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98124 | -0.33758 | 0.41456 | 0.20078
1 | 0.98126 | -0.33786 | 0 | 0
2 | 0.98174 | -0.34178 | 0 | 0
3 | 0.98267 | -0.34843 | 0 | 0
4 | 0.9811 | -0.33677 | 0 | 0
5 | 0.98173 | -0.34165 | 0.32996 | 0.15981
6 | 0.98271 | -0.3487 | 0.18007 | 0.087212
7 | 0.98251 | -0.34942 | 0 | 0
8 | 0.98106 | -0.33643 | 0 | 0
9 | 0.98109 | -0.33675 | 0.31032 | 0.1503
10 | 0.9833 | -0.34372 | 0 | 0
11 | 0.98251 | -0.34939 | 0.26105 | 0.12643
12 | 0.98561 | -0.35209 | 0.31729 | 0.15367
13 | 0.98562 | -0.35219 | 0 | 0
14 | 0.98461 | -0.36342 | 0 | 0
15 | 0.98623 | -0.33665 | 0 | 0
16 | 0.98622 | -0.33655 | 0.25992 | 0.12589
17 | 0.98732 | -0.32445 | 0 | 0
18 | 0.98465 | -0.33243 | 0.16258 | 0.078739
19 | 0.98466 | -0.33253 | 0 | 0
20 | 0.98481 | -0.33355 | 0 | 0
21 | 0.98452 | -0.36262 | 0.30084 | 0.14571
22 | 0.98455 | -0.36381 | 0.20991 | 0.10167
23 | 0.98432 | -0.36402 | 0 | 0
24 | 0.98424 | -0.36326 | 0 | 0
25 | 0.98302 | -0.35222 | 0 | 0
26 | 0.98299 | -0.35241 | 0.28586 | 0.13845
27 | 0.98208 | -0.34366 | 0 | 0
28 | 0.9808 | -0.33167 | 0 | 0
29 | 0.98206 | -0.34344 | 0.41076 | 0.19894
30 | 0.9807 | -0.33068 | 0.21432 | 0.1038
31 | 0.98424 | -0.36324 | 0.29287 | 0.14184
32 | 0.99717 | -0.060331 | 0 | 0
33 | 0.99733 | -0.061705 | 0 | 0
34 | 0.99712 | -0.059917 | 0.34053 | 0.16493
35 | 0.99733 | -0.061688 | 0 | 0
36 | 0.99601 | -0.086749 | 0 | 0
37 | 0.99735 | -0.061248 | 0.237 | 0.11479
38 | 0.99567 | -0.093159 | 0.16864 | 0.081675
39 | 0.99427 | -0.073706 | 0 | 0
40 | 0.98069 | -0.33061 | 0.20717 | 0.10034
41 | 0.98056 | -0.33155 | 0.19146 | 0.09273
42 | 0.98027 | -0.33346 | 0.20045 | 0.097081
43 | 0.99353 | -0.068028 | 0 | 0
44 | 0.99424 | -0.073847 | 0.20636 | 0.099943
45 | 0.99732 | -0.06164 | 0.081296 | 0.039373
46 | 0.99351 | -0.067865 | 0.088692 | 0.042956
47 | 0.99748 | -0.056982 | 0 | 0
48 | 0.99523 | -0.10142 | 0 | 0
49 | 0.98867 | -0.28543 | 0.23379 | 0.11323
50 | 0.98872 | -0.28517 | 0 | 0
51 | 0.98857 | -0.28781 | 0 | 0
52 | 0.99004 | -0.23957 | 0.36136 | 0.17501
53 | 0.99022 | -0.23636 | 0 | 0
54 | 0.99135 | -0.21517 | 0 | 0
55 | 0.98844 | -0.29031 | 0.23297 | 0.11283
56 | 0.98811 | -0.30363 | 0 | 0
57 | 0.98842 | -0.29069 | 0 | 0
58 | 0.98798 | -0.30606 | 0 | 0
59 | 0.99794 | -0.048259 | 0 | 0
60 | 0.99741 | -0.056378 | 0 | 0
61 | 0.99734 | -0.055717 | 0.69002 | 0.33419
62 | 0.99812 | -0.044808 | 0.34376 | 0.16649
63 | 0.99871 | -0.024495 | 0 | 0
64 | 0.99882 | -0.02243 | 0 | 0
65 | 0.99343 | -0.067213 | 0 | 0
66 | 0.98056 | -0.33151 | 1.1247 | 0.54472
67 | 0.98822 | -0.29459 | 0 | 0
68 | 0.98793 | -0.30699 | 0.25323 | 0.12265
69 | 0.98481 | -0.3335 | 0.3217 | 0.15581
70 | 0.98506 | -0.33151 | 0.3714 | 0.17988
71 | 0.98561 | -0.33275 | 0 | 0
72 | 0.9856 | -0.33263 | 0.18876 | 0.091422
73 | 0.98568 | -0.33335 | 0 | 0
74 | 0.98812 | -0.29636 | 0.2047 | 0.099142
75 | 0.98768 | -0.3152 | 0.22873 | 0.11078
76 | 0.98681 | -0.34225 | 0 | 0
77 | 0.98548 | -0.33497 | 0.36517 | 0.17686
78 | 0.98678 | -0.34242 | 0.18557 | 0.089874
79 | 0.98503 | -0.3317 | 0.099613 | 0.048245
80 | 0.98514 | -0.33222 | 0 | 0
81 | 0.98537 | -0.33414 | 0 | 0
82 | 0.98504 | -0.33165 | 0 | 0
83 | 0.98489 | -0.33049 | 0.10022 | 0.048541
84 | 0.99407 | -0.12325 | 0.2536 | 0.12282
85 | 0.99413 | -0.12209 | 0 | 0
86 | 0.99144 | -0.21357 | 0.20676 | 0.10014
87 | 0.99092 | -0.21159 | 0 | 0
88 | 0.9907 | -0.20972 | 0 | 0
89 | 0.9909 | -0.21171 | 0.40731 | 0.19727
90 | 0.99069 | -0.20966 | 0.31399 | 0.15207
91 | 0.98105 | -0.3364 | 0.15695 | 0.076013
92 | 0.99241 | -0.059218 | 0.34043 | 0.16488
93 | 0.99237 | -0.058987 | 0 | 0
94 | 0.99251 | -0.060091 | 0 | 0
95 | 0.99199 | -0.055838 | 0 | 0
96 | 0.99279 | -0.062209 | 0 | 0
97 | 0.99195 | -0.056088 | 0.38334 | 0.18566
98 | 0.99294 | -0.063346 | 0 | 0
99 | 0.99276 | -0.061992 | 0.2064 | 0.099962
100 | 0.99301 | -0.063937 | 0.32034 | 0.15515
101 | 0.99302 | -0.064001 | 0 | 0
102 | 0.99881 | -0.02238 | 0.088757 | 0.042987
103 | 1 | 0 | -14.6446 | -6.6124
104 | 0.99991 | 0.00085869 | 0 | 0
105 | 0.99997 | 0.00026352 | 0.34942 | 0.16923
106 | 0.99989 | 0.0010098 | 0.40468 | 0.196
107 | 0.99342 | -0.067131 | 0.074552 | 0.036107
108 | 0.99342 | -0.067131 | 0 | 0
109 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.41456 | -0.20078 | 0.41457 | 0.19952 | 1.3495e-05 | -0.001263 | 0.013551 | 0.013535 | 0.013551 | 0.98124 | -0.33758 | 0.98126 | -0.33786 | 6.1597
1 | -0.41457 | -0.19952 | 0.41479 | 0.17903 | 0.00021444 | -0.020492 | 0.013535 | 0.013284 | 0.013535 | 0.98126 | -0.33786 | 0.98174 | -0.34178 | 6.1523
2 | -1.2124 | -0.53479 | 1.2136 | 0.52139 | 0.001206 | -0.013406 | 0.038963 | 0.038801 | 0.038963 | 0.98174 | -0.34178 | 0.98267 | -0.34843 | 17.7104
3 | 0.4676 | 0.19671 | -0.46728 | -0.22135 | 0.0003257 | -0.024636 | 0.014917 | 0.015214 | 0.015214 | 0.98174 | -0.34178 | 0.9811 | -0.33677 | 6.9153
4 | 0.32996 | 0.15905 | -0.32996 | -0.15981 | 5.0764e-06 | -0.00075211 | 0.010771 | 0.01078 | 0.01078 | 0.98174 | -0.34178 | 0.98173 | -0.34165 | 4.9002
5 | -1.4747 | -0.64726 | 1.4747 | 0.64683 | 5.8379e-05 | -0.00043321 | 0.04731 | 0.047304 | 0.04731 | 0.98267 | -0.34843 | 0.98271 | -0.3487 | 21.5044
6 | 0.26109 | 0.12588 | -0.26105 | -0.1262 | 3.8914e-05 | -0.00032265 | 0.0085149 | 0.0085193 | 0.0085193 | 0.98267 | -0.34843 | 0.98251 | -0.34942 | 4.0568
7 | 0.15695 | 0.071203 | -0.15695 | -0.075607 | 6.6521e-06 | -0.0044035 | 0.0050712 | 0.0051261 | 0.0051261 | 0.9811 | -0.33677 | 0.98106 | -0.33643 | 2.33
8 | 0.31032 | 0.15014 | -0.31032 | -0.1503 | 9.0507e-07 | -0.00015114 | 0.010143 | 0.010145 | 0.010145 | 0.9811 | -0.33677 | 0.98109 | -0.33675 | 4.6115
9 | -1.6548 | -0.73404 | 1.6557 | 0.73442 | 0.00094198 | 0.00037435 | 0.053178 | 0.053175 | 0.053178 | 0.98271 | -0.3487 | 0.9833 | -0.34372 | 25.3228
10 | 0.26105 | 0.1262 | -0.26105 | -0.12643 | 9.7616e-07 | -0.00023183 | 0.0085193 | 0.0085223 | 0.0085223 | 0.98251 | -0.34942 | 0.98251 | -0.34939 | 3.8738
11 | 0.15695 | 0.075607 | -0.15695 | -0.076013 | 6.2031e-07 | -0.00040576 | 0.0051261 | 0.0051313 | 0.0051313 | 0.98106 | -0.33643 | 0.98105 | -0.3364 | 2.3324
12 | -1.6557 | -0.73442 | 1.6582 | 0.73541 | 0.0025029 | 0.00099327 | 0.053175 | 0.053169 | 0.053175 | 0.9833 | -0.34372 | 0.98489 | -0.33049 | 25.3216
13 | -0.31729 | -0.15367 | 0.3173 | 0.15306 | 3.7444e-06 | -0.0006095 | 0.010326 | 0.010318 | 0.010326 | 0.98561 | -0.35209 | 0.98562 | -0.35219 | 4.6935
14 | 3.4519 | 1.6156 | -3.4487 | -1.631 | 0.0032222 | -0.015448 | 0.11163 | 0.11185 | 0.11185 | 0.98562 | -0.35219 | 0.98461 | -0.36342 | 30.8974
15 | -3.7692 | -1.7686 | 3.771 | 1.7706 | 0.0018505 | 0.0019509 | 0.12194 | 0.12194 | 0.12194 | 0.98562 | -0.35219 | 0.98623 | -0.33665 | 34.8411
16 | 3.2388 | 1.5295 | -3.2384 | -1.5299 | 0.00031171 | -0.00039756 | 0.10501 | 0.10502 | 0.10502 | 0.98461 | -0.36342 | 0.98452 | -0.36262 | 47.7357
17 | 0.20992 | 0.1015 | -0.20991 | -0.10167 | 1.2591e-05 | -0.00016704 | 0.0068364 | 0.0068386 | 0.0068386 | 0.98461 | -0.36342 | 0.98455 | -0.36381 | 3.2565
18 | 0.25993 | 0.12514 | -0.25992 | -0.12589 | 3.0629e-06 | -0.0007455 | 0.008444 | 0.0084535 | 0.0084535 | 0.98623 | -0.33665 | 0.98622 | -0.33655 | 3.8425
19 | -4.031 | -1.8957 | 4.035 | 1.8822 | 0.0040529 | -0.013569 | 0.13039 | 0.13018 | 0.13039 | 0.98623 | -0.33665 | 0.98732 | -0.32445 | 36.0181
20 | -4.035 | -1.8822 | 4.0362 | 1.8834 | 0.0011711 | 0.0012472 | 0.13018 | 0.13018 | 0.13018 | 0.98732 | -0.32445 | 0.98768 | -0.3152 | 37.1944
21 | -0.16258 | -0.078739 | 0.16258 | 0.077635 | 1.7819e-06 | -0.0011041 | 0.0052959 | 0.0052819 | 0.0052959 | 0.98465 | -0.33243 | 0.98466 | -0.33253 | 2.4072
22 | -0.16258 | -0.077635 | 0.1626 | 0.060383 | 2.6682e-05 | -0.017252 | 0.0052819 | 0.0050844 | 0.0052819 | 0.98466 | -0.33253 | 0.98481 | -0.33355 | 2.4009
23 | 0.3217 | 0.15556 | -0.3217 | -0.15581 | 1.5547e-06 | -0.00024525 | 0.010475 | 0.010478 | 0.010478 | 0.98481 | -0.33355 | 0.98481 | -0.3335 | 4.7626
24 | -0.4843 | -0.21594 | 0.48442 | 0.21571 | 0.00011428 | -0.00023594 | 0.015544 | 0.01554 | 0.015544 | 0.98481 | -0.33355 | 0.98506 | -0.33151 | 7.4017
25 | 2.9376 | 1.3842 | -2.937 | -1.3839 | 0.00056328 | 0.00031248 | 0.095218 | 0.095218 | 0.095218 | 0.98452 | -0.36262 | 0.98432 | -0.36402 | 45.342
26 | 0.2929 | 0.13663 | -0.29287 | -0.14174 | 2.6735e-05 | -0.0051137 | 0.0094784 | 0.0095429 | 0.0095429 | 0.98432 | -0.36402 | 0.98424 | -0.36326 | 4.3377
27 | 2.6441 | 1.2473 | -2.6404 | -1.255 | 0.0037662 | -0.0077372 | 0.08574 | 0.085851 | 0.085851 | 0.98432 | -0.36402 | 0.98302 | -0.35222 | 39.0232
28 | 0.29287 | 0.14174 | -0.29287 | -0.14184 | 5.3842e-07 | -0.00010226 | 0.0095429 | 0.0095442 | 0.0095442 | 0.98424 | -0.36326 | 0.98424 | -0.36324 | 4.3383
29 | 2.3545 | 1.1166 | -2.3521 | -1.123 | 0.0024063 | -0.0063728 | 0.076524 | 0.076614 | 0.076614 | 0.98302 | -0.35222 | 0.98208 | -0.34366 | 34.8245
30 | 0.28587 | 0.13839 | -0.28586 | -0.13845 | 8.3904e-06 | -5.7186e-05 | 0.0093269 | 0.0093277 | 0.0093277 | 0.98302 | -0.35222 | 0.98299 | -0.35241 | 4.4418
31 | 1.9413 | 0.92502 | -1.9386 | -0.93595 | 0.0027286 | -0.010927 | 0.06321 | 0.06336 | 0.06336 | 0.98208 | -0.34366 | 0.9808 | -0.33167 | 28.7999
32 | 0.41077 | 0.19797 | -0.41076 | -0.19894 | 1.013e-05 | -0.00096871 | 0.013403 | 0.013416 | 0.013416 | 0.98208 | -0.34366 | 0.98206 | -0.34344 | 6.0981
33 | 1.9386 | 0.93595 | -1.9384 | -0.93683 | 0.00022071 | -0.00088014 | 0.06336 | 0.063372 | 0.063372 | 0.9808 | -0.33167 | 0.9807 | -0.33068 | 28.8054
34 | 0.20717 | 0.099695 | -0.20717 | -0.10034 | 1.7181e-06 | -0.00064394 | 0.0067677 | 0.0067759 | 0.0067759 | 0.9807 | -0.33068 | 0.98069 | -0.33061 | 3.08
35 | 1.3164 | 0.63744 | -1.3162 | -0.63739 | 0.00017288 | 4.8188e-05 | 0.043052 | 0.043053 | 0.043053 | 0.9807 | -0.33068 | 0.98056 | -0.33155 | 20.5012
36 | 0.20053 | 0.095895 | -0.20045 | -0.097081 | 8.2454e-05 | -0.001186 | 0.0065429 | 0.0065587 | 0.0065587 | 0.9807 | -0.33068 | 0.98027 | -0.33346 | 3.1232
37 | -0.34055 | -0.16249 | 0.34061 | 0.15358 | 5.9273e-05 | -0.0089075 | 0.010923 | 0.010815 | 0.010923 | 0.99717 | -0.060331 | 0.99733 | -0.061705 | 4.9652
38 | 0.34055 | 0.16249 | -0.34053 | -0.16493 | 1.6451e-05 | -0.00244 | 0.010923 | 0.010954 | 0.010954 | 0.99717 | -0.060331 | 0.99712 | -0.059917 | 4.9792
39 | 0.081296 | 0.037719 | -0.081296 | -0.038166 | 1.6947e-07 | -0.00044704 | 0.002594 | 0.0025995 | 0.0025995 | 0.99733 | -0.061705 | 0.99733 | -0.061688 | 1.1816
40 | 12.065 | 5.4179 | -12.0514 | -5.4438 | 0.013557 | -0.025876 | 0.38281 | 0.38327 | 0.38327 | 0.99733 | -0.061705 | 0.99601 | -0.086749 | 45.5189
41 | -12.4869 | -5.6092 | 12.4871 | 5.6088 | 0.0002554 | -0.00044116 | 0.39622 | 0.39621 | 0.39622 | 0.99733 | -0.061705 | 0.99735 | -0.061248 | 47.0573
42 | 0.081296 | 0.038166 | -0.081296 | -0.039373 | 4.6142e-07 | -0.0012076 | 0.0025995 | 0.0026146 | 0.0026146 | 0.99733 | -0.061688 | 0.99732 | -0.06164 | 1.1884
43 | 10.4258 | 4.7335 | -10.4227 | -4.7421 | 0.0030355 | -0.0086209 | 0.33186 | 0.33199 | 0.33199 | 0.99601 | -0.086749 | 0.99567 | -0.093159 | 39.4291
44 | 1.6257 | 0.71034 | -1.6226 | -0.72956 | 0.0030163 | -0.01922 | 0.051418 | 0.051654 | 0.051654 | 0.99601 | -0.086749 | 0.99427 | -0.073706 | 23.4793
45 | -12.7242 | -5.7236 | 12.7253 | 5.7252 | 0.0011413 | 0.0016018 | 0.40383 | 0.40383 | 0.40383 | 0.99735 | -0.061248 | 0.99748 | -0.056982 | 49.2479
46 | 10.2541 | 4.6604 | -10.2503 | -4.6718 | 0.0038533 | -0.011403 | 0.32656 | 0.32674 | 0.32674 | 0.99567 | -0.093159 | 0.99523 | -0.10142 | 38.8054
47 | 1.4163 | 0.62968 | -1.4152 | -0.63903 | 0.0011124 | -0.0093499 | 0.045001 | 0.045116 | 0.045116 | 0.99427 | -0.073706 | 0.99353 | -0.068028 | 20.5073
48 | 0.20636 | 0.09988 | -0.20636 | -0.099943 | 4.4139e-06 | -6.3211e-05 | 0.0066564 | 0.0066572 | 0.0066572 | 0.99427 | -0.073706 | 0.99424 | -0.073847 | 3.1701
49 | 1.1247 | 0.54466 | -1.1247 | -0.54472 | 5.1045e-06 | -6.3338e-05 | 0.03679 | 0.03679 | 0.03679 | 0.98056 | -0.33155 | 0.98056 | -0.33151 | 16.7229
50 | 1.4152 | 0.63903 | -1.4151 | -0.63929 | 3.1267e-05 | -0.00026188 | 0.045116 | 0.045119 | 0.045119 | 0.99353 | -0.068028 | 0.99351 | -0.067865 | 20.5088
51 | 1.3264 | 0.59634 | -1.3263 | -0.59747 | 0.00011834 | -0.0011343 | 0.042257 | 0.042271 | 0.042271 | 0.99351 | -0.067865 | 0.99343 | -0.067213 | 19.2141
52 | -13.4154 | -6.0557 | 13.4207 | 6.0485 | 0.0052647 | -0.0072291 | 0.42597 | 0.42583 | 0.42597 | 0.99748 | -0.056982 | 0.99794 | -0.048259 | 50.5905
53 | 0.69012 | 0.33055 | -0.69007 | -0.3323 | 4.8779e-05 | -0.0017536 | 0.022145 | 0.022167 | 0.022167 | 0.99748 | -0.056982 | 0.99741 | -0.056378 | 10.0761
54 | 10.2503 | 4.6718 | -10.2405 | -4.7004 | 0.0097035 | -0.028585 | 0.32674 | 0.32719 | 0.32719 | 0.99523 | -0.10142 | 0.99413 | -0.12209 | 38.8591
55 | -0.23379 | -0.11323 | 0.2338 | 0.11313 | 9.2238e-06 | -9.9256e-05 | 0.0075848 | 0.0075834 | 0.0075848 | 0.98867 | -0.28543 | 0.98872 | -0.28517 | 3.6118
56 | 8.4242 | 3.8706 | -8.4232 | -3.8754 | 0.0010263 | -0.0047725 | 0.27068 | 0.27075 | 0.27075 | 0.98872 | -0.28517 | 0.98857 | -0.28781 | 32.1558
57 | -8.658 | -3.9838 | 8.6665 | 3.9953 | 0.0084646 | 0.011478 | 0.27826 | 0.27825 | 0.27826 | 0.98872 | -0.28517 | 0.99004 | -0.23957 | 33.9346
58 | 3.902 | 1.7691 | -3.9016 | -1.7716 | 0.00044091 | -0.0024675 | 0.12511 | 0.12514 | 0.12514 | 0.98857 | -0.28781 | 0.98844 | -0.29031 | 29.7248
59 | 4.5212 | 2.1063 | -4.5196 | -2.1046 | 0.0015469 | 0.0017223 | 0.14565 | 0.14565 | 0.14565 | 0.98857 | -0.28781 | 0.98811 | -0.30363 | 17.7628
60 | -9.0278 | -4.1703 | 9.0292 | 4.165 | 0.0013444 | -0.0053126 | 0.28996 | 0.28988 | 0.28996 | 0.99004 | -0.23957 | 0.99022 | -0.23636 | 34.437
61 | -9.0292 | -4.165 | 9.038 | 4.13 | 0.0088162 | -0.034984 | 0.28988 | 0.28936 | 0.28988 | 0.99022 | -0.23636 | 0.99135 | -0.21517 | 34.4275
62 | 0.72173 | 0.32498 | -0.72139 | -0.33598 | 0.00033741 | -0.010994 | 0.023048 | 0.023183 | 0.023183 | 0.99135 | -0.21517 | 0.99092 | -0.21159 | 10.5377
63 | -9.7597 | -4.455 | 9.7604 | 4.4526 | 0.00071138 | -0.0023383 | 0.3124 | 0.31237 | 0.3124 | 0.99135 | -0.21517 | 0.99144 | -0.21357 | 37.1026
64 | 3.6686 | 1.6587 | -3.6685 | -1.6591 | 6.3044e-05 | -0.00040709 | 0.11758 | 0.11759 | 0.11759 | 0.98844 | -0.29031 | 0.98842 | -0.29069 | 27.931
65 | 4.5196 | 2.1046 | -4.5191 | -2.114 | 0.00051625 | -0.0094357 | 0.14565 | 0.14578 | 0.14578 | 0.98811 | -0.30363 | 0.98798 | -0.30606 | 17.3132
66 | 3.6685 | 1.6591 | -3.6679 | -1.6633 | 0.00064773 | -0.0041789 | 0.11759 | 0.11765 | 0.11765 | 0.98842 | -0.29069 | 0.98822 | -0.29459 | 27.9447
67 | 4.5191 | 2.114 | -4.5189 | -2.1176 | 0.00019817 | -0.0036168 | 0.14578 | 0.14582 | 0.14582 | 0.98798 | -0.30606 | 0.98793 | -0.30699 | 17.3188
68 | -13.4207 | -6.0485 | 13.4228 | 6.0457 | 0.00208 | -0.0028614 | 0.42583 | 0.42577 | 0.42583 | 0.99794 | -0.048259 | 0.99812 | -0.044808 | 50.5734
69 | 0.69007 | 0.3323 | -0.69002 | -0.33419 | 5.2678e-05 | -0.0018895 | 0.022167 | 0.022191 | 0.022191 | 0.99741 | -0.056378 | 0.99734 | -0.055717 | 10.087
70 | -13.7665 | -6.2121 | 13.7724 | 6.2205 | 0.0058982 | 0.0083157 | 0.43681 | 0.43681 | 0.43681 | 0.99812 | -0.044808 | 0.99871 | -0.024495 | 53.27
71 | -13.7724 | -6.2205 | 13.7737 | 6.2188 | 0.0012811 | -0.0016204 | 0.43681 | 0.43678 | 0.43681 | 0.99871 | -0.024495 | 0.99882 | -0.02243 | 51.8779
72 | -13.8625 | -6.2607 | 13.8764 | 6.2433 | 0.013981 | -0.017358 | 0.43961 | 0.43926 | 0.43961 | 0.99882 | -0.02243 | 1 | 0 | 52.2107
73 | 0.088757 | 0.041826 | -0.088757 | -0.042987 | 5.2598e-07 | -0.0011609 | 0.0028358 | 0.0028503 | 0.0028503 | 0.99882 | -0.02243 | 0.99881 | -0.02238 | 1.2956
74 | 1.2518 | 0.56371 | -1.2512 | -0.56954 | 0.0005415 | -0.0058318 | 0.039893 | 0.039965 | 0.039965 | 0.99343 | -0.067213 | 0.99302 | -0.064001 | 18.1657
75 | 0.074553 | 0.033762 | -0.074552 | -0.036083 | 7.5265e-07 | -0.002321 | 0.0023782 | 0.0024068 | 0.0024068 | 0.99343 | -0.067213 | 0.99342 | -0.067131 | 1.094
76 | 3.6679 | 1.6633 | -3.6676 | -1.6652 | 0.00029491 | -0.0019005 | 0.11765 | 0.11767 | 0.11767 | 0.98822 | -0.29459 | 0.98812 | -0.29636 | 27.9509
77 | 4.2657 | 1.995 | -4.2649 | -1.9942 | 0.00076047 | 0.00081637 | 0.1376 | 0.13761 | 0.13761 | 0.98793 | -0.30699 | 0.98768 | -0.3152 | 16.7813
78 | 0.099616 | 0.048069 | -0.099613 | -0.048245 | 2.8764e-06 | -0.00017606 | 0.0032414 | 0.0032437 | 0.0032437 | 0.98506 | -0.33151 | 0.98503 | -0.3317 | 1.5446
79 | -0.95544 | -0.44366 | 0.95552 | 0.44211 | 8.5997e-05 | -0.0015416 | 0.030871 | 0.030852 | 0.030871 | 0.98506 | -0.33151 | 0.98514 | -0.33222 | 14.0322
80 | 0.18877 | 0.090256 | -0.18876 | -0.091422 | 2.5297e-06 | -0.0011667 | 0.0061282 | 0.0061431 | 0.0061431 | 0.98561 | -0.33275 | 0.9856 | -0.33263 | 2.7923
81 | -0.18877 | -0.090256 | 0.18878 | 0.08331 | 1.4811e-05 | -0.0069455 | 0.0061282 | 0.0060432 | 0.0061282 | 0.98561 | -0.33275 | 0.98568 | -0.33335 | 2.7856
82 | -3.27 | -1.477 | 3.274 | 1.4719 | 0.0039698 | -0.0050809 | 0.10508 | 0.10501 | 0.10508 | 0.98568 | -0.33335 | 0.98681 | -0.34225 | 47.7652
83 | 3.0812 | 1.3937 | -3.0806 | -1.3933 | 0.0006028 | 0.00033758 | 0.09904 | 0.099041 | 0.099041 | 0.98568 | -0.33335 | 0.98548 | -0.33497 | 47.1624
84 | 3.4629 | 1.5661 | -3.4595 | -1.5617 | 0.0033514 | 0.0043709 | 0.11103 | 0.11104 | 0.11104 | 0.98812 | -0.29636 | 0.98681 | -0.34225 | 27.0821
85 | 0.18557 | 0.089794 | -0.18557 | -0.089874 | 4.6182e-06 | -7.9943e-05 | 0.0060307 | 0.0060317 | 0.0060317 | 0.98681 | -0.34225 | 0.98678 | -0.34242 | 2.8723
86 | 2.7154 | 1.2165 | -2.7151 | -1.2171 | 0.0003118 | -0.00062025 | 0.08716 | 0.087169 | 0.087169 | 0.98548 | -0.33497 | 0.98537 | -0.33414 | 39.6221
87 | -0.95552 | -0.44211 | 0.95576 | 0.43784 | 0.0002378 | -0.0042745 | 0.030852 | 0.030798 | 0.030852 | 0.98514 | -0.33222 | 0.98537 | -0.33414 | 14.0234
88 | 1.7594 | 0.77927 | -1.7587 | -0.78248 | 0.00062152 | -0.0032084 | 0.056372 | 0.056412 | 0.056412 | 0.98537 | -0.33414 | 0.98504 | -0.33165 | 25.6419
89 | 1.7587 | 0.78248 | -1.7584 | -0.78395 | 0.00028637 | -0.0014759 | 0.056412 | 0.056431 | 0.056431 | 0.98504 | -0.33165 | 0.98489 | -0.33049 | 25.6504
90 | -10.24 | -4.702 | 10.2405 | 4.7004 | 0.00054991 | -0.0016143 | 0.32722 | 0.32719 | 0.32722 | 0.99407 | -0.12325 | 0.99413 | -0.12209 | 38.8622
91 | 9.9864 | 4.5792 | -9.9672 | -4.5527 | 0.01921 | 0.026461 | 0.31904 | 0.31906 | 0.31906 | 0.99407 | -0.12325 | 0.99144 | -0.21357 | 38.9092
92 | 0.31407 | 0.13873 | -0.31399 | -0.15168 | 7.508e-05 | -0.012951 | 0.010002 | 0.010161 | 0.010161 | 0.99092 | -0.21159 | 0.9907 | -0.20972 | 4.6186
93 | 0.40732 | 0.19725 | -0.40731 | -0.19727 | 7.5735e-06 | -2.3921e-05 | 0.013184 | 0.013185 | 0.013185 | 0.99092 | -0.21159 | 0.9909 | -0.21171 | 6.2784
94 | 0.31399 | 0.15168 | -0.31399 | -0.15207 | 2.3193e-06 | -0.00039344 | 0.010161 | 0.010166 | 0.010166 | 0.9907 | -0.20972 | 0.99069 | -0.20966 | 4.6209
95 | 0.38352 | 0.16587 | -0.38351 | -0.16745 | 1.3313e-05 | -0.0015809 | 0.012155 | 0.012173 | 0.012173 | 0.99241 | -0.059218 | 0.99237 | -0.058987 | 5.5332
96 | -0.72395 | -0.33075 | 0.72404 | 0.328 | 8.4131e-05 | -0.0027439 | 0.023152 | 0.023119 | 0.023152 | 0.99241 | -0.059218 | 0.99251 | -0.060091 | 10.5237
97 | 0.38351 | 0.16745 | -0.38335 | -0.18561 | 0.00015594 | -0.018157 | 0.012173 | 0.012394 | 0.012394 | 0.99237 | -0.058987 | 0.99199 | -0.055838 | 5.6338
98 | -0.72404 | -0.328 | 0.72425 | 0.32104 | 0.00021219 | -0.0069588 | 0.023119 | 0.023035 | 0.023119 | 0.99251 | -0.060091 | 0.99279 | -0.062209 | 10.5086
99 | 0.38335 | 0.18561 | -0.38334 | -0.18566 | 1.4525e-05 | -5.3237e-05 | 0.012394 | 0.012395 | 0.012395 | 0.99199 | -0.055838 | 0.99195 | -0.056088 | 5.9025
100 | -0.93065 | -0.41891 | 0.9308 | 0.41603 | 0.00014603 | -0.0028837 | 0.029676 | 0.029641 | 0.029676 | 0.99279 | -0.062209 | 0.99294 | -0.063346 | 13.489
101 | 0.2064 | 0.097867 | -0.2064 | -0.099962 | 5.2688e-06 | -0.0020953 | 0.0066421 | 0.0066684 | 0.0066684 | 0.99279 | -0.062209 | 0.99276 | -0.061992 | 3.0311
102 | -0.9308 | -0.41603 | 0.93087 | 0.4145 | 7.6965e-05 | -0.0015229 | 0.029641 | 0.029623 | 0.029641 | 0.99294 | -0.063346 | 0.99301 | -0.063937 | 13.4731
103 | -1.2512 | -0.56965 | 1.2512 | 0.56954 | 1.0644e-05 | -0.00011437 | 0.039966 | 0.039965 | 0.039966 | 0.99301 | -0.063937 | 0.99302 | -0.064001 | 18.1664
104 | 0.40473 | 0.19086 | -0.40469 | -0.19525 | 4.1275e-05 | -0.0043927 | 0.012917 | 0.012972 | 0.012972 | 1 | 0 | 0.99991 | 0.00085869 | 5.8964
105 | 0.34943 | 0.16771 | -0.34942 | -0.16923 | 1.0677e-05 | -0.0015195 | 0.011189 | 0.011208 | 0.011208 | 1 | 0 | 0.99997 | 0.00026352 | 5.0946
106 | 0.40469 | 0.19525 | -0.40468 | -0.196 | 7.0492e-06 | -0.00074641 | 0.012972 | 0.012982 | 0.012982 | 0.99991 | 0.00085869 | 0.99989 | 0.0010098 | 5.9007
107 | -0.074552 | -0.036107 | 0.074552 | 0.036083 | 7.8906e-09 | -2.4099e-05 | 0.0024071 | 0.0024068 | 0.0024071 | 0.99342 | -0.067131 | 0.99342 | -0.067131 | 1.0941

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.6446 | 6.6124

## res_load
| p_mw | q_mvar
0 | 0.41456 | 0.20078
1 | 0.32996 | 0.15981
2 | 0.18007 | 0.087212
3 | 0.31032 | 0.1503
4 | 0.26105 | 0.12643
5 | 0.31729 | 0.15367
6 | 0.25992 | 0.12589
7 | 0.16258 | 0.078739
8 | 0.30084 | 0.14571
9 | 0.20991 | 0.10167
10 | 0.28586 | 0.13845
11 | 0.41076 | 0.19894
12 | 0.21432 | 0.1038
13 | 0.29287 | 0.14184
14 | 0.34053 | 0.16493
15 | 0.237 | 0.11479
16 | 0.16864 | 0.081675
17 | 0.20717 | 0.10034
18 | 0.19146 | 0.09273
19 | 0.20045 | 0.097081
20 | 0.20636 | 0.099943
21 | 0.081296 | 0.039373
22 | 0.088692 | 0.042956
23 | 0.23379 | 0.11323
24 | 0.36136 | 0.17501
25 | 0.23297 | 0.11283
26 | 0.69002 | 0.33419
27 | 0.34376 | 0.16649
28 | 1.1247 | 0.54472
29 | 0.25323 | 0.12265
30 | 0.3217 | 0.15581
31 | 0.3714 | 0.17988
32 | 0.18876 | 0.091422
33 | 0.2047 | 0.099142
34 | 0.22873 | 0.11078
35 | 0.36517 | 0.17686
36 | 0.18557 | 0.089874
37 | 0.099613 | 0.048245
38 | 0.10022 | 0.048541
39 | 0.2536 | 0.12282
40 | 0.20676 | 0.10014
41 | 0.40731 | 0.19727
42 | 0.31399 | 0.15207
43 | 0.15695 | 0.076013
44 | 0.34043 | 0.16488
45 | 0.38334 | 0.18566
46 | 0.2064 | 0.099962
47 | 0.32034 | 0.15515
48 | 0.088757 | 0.042987
49 | 0.34942 | 0.16923
50 | 0.40468 | 0.196
51 | 0.074552 | 0.036107

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1