## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_252_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_252_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_252_0_node_84 | 20 | n |  | TRUE
3 | bus_MV_252_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_252_0_node_78 | 20 | n |  | TRUE
5 | bus_MV_252_0_node_80 | 20 | n |  | TRUE
6 | bus_MV_252_0_node_108 | 20 | n |  | TRUE
7 | bus_MV_252_0_node_24 | 20 | n |  | TRUE
8 | bus_MV_252_0_node_23 | 20 | n |  | TRUE
9 | bus_MV_252_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_252_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_252_0_node_4 | 20 | n |  | TRUE
12 | bus_MV_252_0_node_7 | 20 | n |  | TRUE
13 | bus_MV_252_0_node_105 | 20 | n |  | TRUE
14 | bus_MV_252_0_node_67 | 20 | n |  | TRUE
15 | bus_MV_252_0_node_15 | 20 | n |  | TRUE
16 | bus_MV_252_0_node_8 | 20 | n |  | TRUE
17 | bus_MV_252_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_252_0_node_106 | 20 | n |  | TRUE
19 | bus_MV_252_0_node_85 | 20 | n |  | TRUE
20 | bus_MV_252_0_node_10 | 20 | n |  | TRUE
21 | bus_MV_252_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_252_0_node_72 | 20 | n |  | TRUE
23 | bus_MV_252_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_252_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_252_0_node_28 | 20 | n |  | TRUE
26 | bus_MV_252_0_node_64 | 20 | n |  | TRUE
27 | bus_MV_252_0_node_27 | 20 | n |  | TRUE
28 | bus_MV_252_0_node_31 | 20 | n |  | TRUE
29 | bus_MV_252_0_node_65 | 20 | n |  | TRUE
30 | bus_MV_252_0_node_47 | 20 | n |  | TRUE
31 | bus_MV_252_0_node_48 | 20 | n |  | TRUE
32 | bus_MV_252_0_node_38 | 20 | n |  | TRUE
33 | bus_MV_252_0_node_14 | 20 | n |  | TRUE
34 | bus_MV_252_0_node_17 | 20 | n |  | TRUE
35 | bus_MV_252_0_node_21 | 20 | n |  | TRUE
36 | bus_MV_252_0_node_19 | 20 | n |  | TRUE
37 | bus_MV_252_0_node_25 | 20 | n |  | TRUE
38 | bus_MV_252_0_node_107 | 20 | n |  | TRUE
39 | bus_MV_252_0_node_20 | 20 | n |  | TRUE
40 | bus_MV_252_0_node_39 | 20 | n |  | TRUE
41 | bus_MV_252_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_252_0_node_42 | 20 | n |  | TRUE
43 | bus_MV_252_0_node_26 | 20 | n |  | TRUE
44 | bus_MV_252_0_node_37 | 20 | n |  | TRUE
45 | bus_MV_252_0_node_36 | 20 | n |  | TRUE
46 | bus_MV_252_0_node_34 | 20 | n |  | TRUE
47 | bus_MV_252_0_node_29 | 20 | n |  | TRUE
48 | bus_MV_252_0_node_30 | 20 | n |  | TRUE
49 | bus_MV_252_0_node_35 | 20 | n |  | TRUE
50 | bus_MV_252_0_node_33 | 20 | n |  | TRUE
51 | bus_MV_252_0_node_32 | 20 | n |  | TRUE
52 | bus_MV_252_0_node_40 | 20 | n |  | TRUE
53 | bus_MV_252_0_node_43 | 20 | n |  | TRUE
54 | bus_MV_252_0_node_45 | 20 | n |  | TRUE
55 | bus_MV_252_0_node_41 | 20 | n |  | TRUE
56 | bus_MV_252_0_node_44 | 20 | n |  | TRUE
57 | bus_MV_252_0_node_46 | 20 | n |  | TRUE
58 | bus_MV_252_0_node_56 | 20 | n |  | TRUE
59 | bus_MV_252_0_node_53 | 20 | n |  | TRUE
60 | bus_MV_252_0_node_93 | 20 | n |  | TRUE
61 | bus_MV_252_0_node_49 | 20 | n |  | TRUE
62 | bus_MV_252_0_node_50 | 20 | n |  | TRUE
63 | bus_MV_252_0_node_51 | 20 | n |  | TRUE
64 | bus_MV_252_0_node_52 | 20 | n |  | TRUE
65 | bus_MV_252_0_node_92 | 20 | n |  | TRUE
66 | bus_MV_252_0_node_90 | 20 | n |  | TRUE
67 | bus_MV_252_0_node_81 | 20 | n |  | TRUE
68 | bus_MV_252_0_node_91 | 20 | n |  | TRUE
69 | bus_MV_252_0_node_82 | 20 | n |  | TRUE
70 | bus_MV_252_0_node_83 | 20 | n |  | TRUE
71 | bus_MV_252_0_node_109 | 20 | n |  | TRUE
72 | bus_MV_252_0_node_54 | 20 | n |  | TRUE
73 | bus_MV_252_0_node_55 | 20 | n |  | TRUE
74 | bus_MV_252_0_node_57 | 20 | n |  | TRUE
75 | bus_MV_252_0_node_68 | 20 | n |  | TRUE
76 | bus_MV_252_0_node_97 | 20 | n |  | TRUE
77 | bus_MV_252_0_node_94 | 20 | n |  | TRUE
78 | bus_MV_252_0_node_66 | 20 | n |  | TRUE
79 | bus_MV_252_0_node_98 | 20 | n |  | TRUE
80 | bus_MV_252_0_node_58 | 20 | n |  | TRUE
81 | bus_MV_252_0_node_60 | 20 | n |  | TRUE
82 | bus_MV_252_0_node_61 | 20 | n |  | TRUE
83 | bus_MV_252_0_node_59 | 20 | n |  | TRUE
84 | bus_MV_252_0_node_62 | 20 | n |  | TRUE
85 | bus_MV_252_0_node_63 | 20 | n |  | TRUE
86 | bus_MV_252_0_node_104 | 20 | n |  | TRUE
87 | bus_MV_252_0_node_95 | 20 | n |  | TRUE
88 | bus_MV_252_0_node_103 | 20 | n |  | TRUE
89 | bus_MV_252_0_node_69 | 20 | n |  | TRUE
90 | bus_MV_252_0_node_71 | 20 | n |  | TRUE
91 | bus_MV_252_0_node_73 | 20 | n |  | TRUE
92 | bus_MV_252_0_node_70 | 20 | n |  | TRUE
93 | bus_MV_252_0_node_86 | 20 | n |  | TRUE
94 | bus_MV_252_0_node_96 | 20 | n |  | TRUE
95 | bus_MV_252_0_node_74 | 20 | n |  | TRUE
96 | bus_MV_252_0_node_75 | 20 | n |  | TRUE
97 | bus_MV_252_0_node_76 | 20 | n |  | TRUE
98 | bus_MV_252_0_node_77 | 20 | n |  | TRUE
99 | bus_MV_252_0_node_88 | 20 | n |  | TRUE
100 | bus_MV_252_0_node_87 | 20 | n |  | TRUE
101 | bus_MV_252_0_node_99 | 20 | n |  | TRUE
102 | bus_MV_252_0_node_101 | 20 | n |  | TRUE
103 | bus_MV_252_0_node_102 | 20 | n |  | TRUE
104 | bus_HV_252_0_node_46 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_252_0_load_0 | 0 | 0.2088 | 0.10113 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_252_0_load_1 | 1 | 0.086251 | 0.041773 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_252_0_load_84 | 2 | 0.2802 | 0.13571 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_252_0_load_78 | 4 | 0.26696 | 0.12929 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_252_0_load_108 | 6 | 0.31604 | 0.15306 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_252_0_load_3 | 9 | 0.21073 | 0.10206 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_252_0_load_5 | 10 | 0.085121 | 0.041226 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_252_0_load_105 | 13 | 0.29024 | 0.14057 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_252_0_load_67 | 14 | 0.068914 | 0.033377 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_252_0_load_106 | 18 | 0.32289 | 0.15638 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_252_0_load_85 | 19 | 0.081373 | 0.039411 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_252_0_load_10 | 20 | 0.28145 | 0.13631 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_252_0_load_11 | 23 | 0.21967 | 0.10639 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_252_0_load_28 | 25 | 0.070644 | 0.034214 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_252_0_load_64 | 26 | 0.34235 | 0.16581 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_252_0_load_27 | 27 | 0.36674 | 0.17762 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_252_0_load_65 | 29 | 0.079187 | 0.038352 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_252_0_load_47 | 30 | 0.32493 | 0.15737 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_252_0_load_14 | 33 | 0.35079 | 0.1699 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_252_0_load_17 | 34 | 0.36555 | 0.17705 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_252_0_load_21 | 35 | 0.38068 | 0.18437 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_252_0_load_107 | 38 | 0.35445 | 0.17167 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_252_0_load_39 | 40 | 0.32182 | 0.15587 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_252_0_load_22 | 41 | 0.34478 | 0.16699 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_252_0_load_42 | 42 | 0.071578 | 0.034667 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_252_0_load_26 | 43 | 0.31405 | 0.1521 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_252_0_load_36 | 45 | 0.27312 | 0.13228 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_252_0_load_29 | 47 | 0.25402 | 0.12303 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_252_0_load_35 | 49 | 0.28411 | 0.1376 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_252_0_load_33 | 50 | 0.094173 | 0.04561 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_252_0_load_32 | 51 | 0.18208 | 0.088184 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_252_0_load_40 | 52 | 0.35125 | 0.17012 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_252_0_load_45 | 54 | 0.098213 | 0.047567 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_252_0_load_44 | 56 | 0.23503 | 0.11383 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_252_0_load_56 | 58 | 0.084143 | 0.040752 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_252_0_load_53 | 59 | 0.25522 | 0.12361 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_252_0_load_49 | 61 | 0.41133 | 0.19922 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_252_0_load_92 | 65 | 0.13215 | 0.064001 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_252_0_load_90 | 66 | 0.51596 | 0.24989 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_252_0_load_81 | 67 | 0.20702 | 0.10027 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_252_0_load_91 | 68 | 1.5219 | 0.7371 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_252_0_load_109 | 71 | 0.19984 | 0.096788 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_252_0_load_54 | 72 | 0.22959 | 0.1112 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_252_0_load_55 | 73 | 0.16096 | 0.077955 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_252_0_load_68 | 75 | 0.10347 | 0.05011 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_252_0_load_97 | 76 | 0.15201 | 0.07362 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_252_0_load_94 | 77 | 0.31232 | 0.15126 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_252_0_load_58 | 80 | 0.35269 | 0.17081 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_252_0_load_60 | 81 | 0.32008 | 0.15502 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_252_0_load_63 | 85 | 0.087379 | 0.04232 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_252_0_load_104 | 86 | 0.19581 | 0.094837 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_252_0_load_95 | 87 | 0.11153 | 0.054015 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_252_0_load_69 | 89 | 0.35632 | 0.17257 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_252_0_load_70 | 92 | 0.071793 | 0.034771 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_252_0_load_96 | 94 | 0.080936 | 0.039199 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_252_0_load_74 | 95 | 0.13956 | 0.067591 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_252_0_load_76 | 97 | 0.093844 | 0.045451 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_252_0_load_88 | 99 | 0.071392 | 0.034577 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_252_0_load_87 | 100 | 0.089527 | 0.04336 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_252_0_load_99 | 101 | 0.22019 | 0.10665 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_252_0_load_101 | 102 | 0.093446 | 0.045258 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_252_0_line_0 |  | 0 | 1 | 0.018691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_252_0_line_1 |  | 0 | 2 | 0.27033 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_252_0_line_2 |  | 1 | 3 | 0.059484 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_252_0_line_3 |  | 1 | 4 | 0.11401 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_252_0_line_4 |  | 2 | 5 | 0.035386 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_252_0_line_5 |  | 3 | 7 | 0.28598 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
6 | MV_252_0_line_6 |  | 5 | 6 | 0.34648 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_252_0_line_7 |  | 6 | 70 | 0.11401 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_252_0_line_8 |  | 7 | 8 | 0.32729 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_252_0_line_9 |  | 8 | 41 | 0.032785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_252_0_line_10 |  | 8 | 39 | 0.015139 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
11 | MV_252_0_line_11 |  | 9 | 10 | 0.024076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_252_0_line_12 |  | 9 | 11 | 0.06768 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_252_0_line_13 |  | 11 | 12 | 0.07004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_252_0_line_14 |  | 11 | 13 | 0.060275 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_252_0_line_15 |  | 12 | 14 | 0.053938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_252_0_line_16 |  | 13 | 15 | 0.10986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_252_0_line_17 |  | 14 | 20 | 0.13906 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_252_0_line_18 |  | 15 | 21 | 0.053882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_252_0_line_19 |  | 15 | 33 | 0.006018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_252_0_line_20 |  | 16 | 17 | 0.26902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_252_0_line_21 |  | 16 | 18 | 0.065986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_252_0_line_22 |  | 17 | 19 | 0.04246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_252_0_line_23 |  | 18 | 21 | 0.0794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_252_0_line_24 |  | 19 | 22 | 0.055235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_252_0_line_25 |  | 20 | 23 | 0.03953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_252_0_line_26 |  | 20 | 24 | 0.06653 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_252_0_line_27 |  | 22 | 90 | 0.13465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_252_0_line_28 |  | 22 | 93 | 0.073654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_252_0_line_29 |  | 23 | 25 | 0.096985 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
30 | MV_252_0_line_30 |  | 24 | 26 | 0.13322 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_252_0_line_31 |  | 25 | 27 | 0.031753 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_252_0_line_32 |  | 26 | 29 | 0.065968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_252_0_line_33 |  | 27 | 28 | 0.14166 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
34 | MV_252_0_line_34 |  | 28 | 46 | 0.056857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_252_0_line_35 |  | 28 | 47 | 0.003456 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_252_0_line_36 |  | 29 | 78 | 0.032044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_252_0_line_37 |  | 30 | 31 | 0.066146 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
38 | MV_252_0_line_38 |  | 30 | 32 | 0.033814 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
39 | MV_252_0_line_39 |  | 31 | 54 | 0.03345 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_252_0_line_40 |  | 32 | 48 | 0.029354 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
41 | MV_252_0_line_41 |  | 34 | 35 | 0.088356 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_252_0_line_42 |  | 34 | 36 | 0.10165 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_252_0_line_43 |  | 35 | 37 | 0.018301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_252_0_line_44 |  | 36 | 38 | 0.026473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_252_0_line_45 |  | 37 | 43 | 0.062422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_252_0_line_46 |  | 39 | 40 | 0.13952 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
47 | MV_252_0_line_47 |  | 40 | 42 | 0.10586 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
48 | MV_252_0_line_48 |  | 42 | 52 | 0.015441 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
49 | MV_252_0_line_49 |  | 43 | 44 | 0.089292 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_252_0_line_50 |  | 44 | 45 | 0.024524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_252_0_line_51 |  | 45 | 49 | 0.041582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_252_0_line_52 |  | 46 | 49 | 0.029208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_252_0_line_53 |  | 46 | 50 | 0.040627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_252_0_line_54 |  | 47 | 48 | 0.002539 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_252_0_line_55 |  | 50 | 51 | 0.046271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_252_0_line_56 |  | 52 | 53 | 0.073389 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
57 | MV_252_0_line_57 |  | 53 | 54 | 0.044944 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_252_0_line_58 |  | 53 | 55 | 0.022763 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_252_0_line_59 |  | 55 | 56 | 0.067259 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_252_0_line_60 |  | 56 | 57 | 0.025473 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_252_0_line_61 |  | 57 | 58 | 0.060106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_252_0_line_62 |  | 57 | 59 | 0.080428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_252_0_line_63 |  | 58 | 60 | 0.038953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_252_0_line_64 |  | 60 | 77 | 0.078337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_252_0_line_65 |  | 61 | 62 | 0.014469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_252_0_line_66 |  | 62 | 63 | 0.016632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_252_0_line_67 |  | 62 | 64 | 1.2523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_252_0_line_68 |  | 63 | 65 | 0.063758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_252_0_line_69 |  | 63 | 66 | 0.067732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_252_0_line_70 |  | 64 | 67 | 0.082822 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_252_0_line_71 |  | 66 | 68 | 0.087208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_252_0_line_72 |  | 67 | 69 | 0.085529 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_252_0_line_73 |  | 69 | 70 | 0.12626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_252_0_line_74 |  | 69 | 71 | 0.13725 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_252_0_line_75 |  | 72 | 73 | 0.095852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_252_0_line_76 |  | 73 | 74 | 0.080496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_252_0_line_77 |  | 74 | 75 | 0.10135 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_252_0_line_78 |  | 74 | 76 | 0.0081537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_252_0_line_79 |  | 75 | 78 | 0.10633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_252_0_line_80 |  | 76 | 79 | 0.048543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_252_0_line_81 |  | 77 | 87 | 0.11356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_252_0_line_82 |  | 79 | 101 | 0.084578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_252_0_line_83 |  | 80 | 81 | 0.04754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_252_0_line_84 |  | 81 | 82 | 0.11612 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_252_0_line_85 |  | 82 | 85 | 0.049824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_252_0_line_86 |  | 82 | 83 | 0.057565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_252_0_line_87 |  | 83 | 84 | 0.25686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_252_0_line_88 |  | 84 | 86 | 0.010579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_252_0_line_89 |  | 85 | 87 | 0.14072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_252_0_line_90 |  | 86 | 88 | 0.001192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_252_0_line_91 |  | 88 | 103 | 0.16923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_252_0_line_92 |  | 89 | 90 | 0.069056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_252_0_line_93 |  | 90 | 91 | 0.29262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_252_0_line_94 |  | 91 | 95 | 0.088019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_252_0_line_95 |  | 92 | 93 | 0.077024 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_252_0_line_96 |  | 93 | 94 | 0.069058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_252_0_line_97 |  | 95 | 96 | 0.004975 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_252_0_line_98 |  | 96 | 97 | 0.022614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_252_0_line_99 |  | 96 | 98 | 0.046825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_252_0_line_100 |  | 98 | 99 | 0.014512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_252_0_line_101 |  | 98 | 100 | 0.078986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_252_0_line_102 |  | 102 | 103 | 0.0072252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_252_0_trafo_46 | 25 MVA 110/20 kV | 104 | 57 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2717126.6257 | 1097217.6619
1 | 2717124.6369 | 1097199.0775
2 | 2716975.5274 | 1097441.8176
3 | 2717133.2832 | 1097141.9715
4 | 2717013.5912 | 1097173.2656
5 | 2716941.0892 | 1097433.6827
6 | 2716802.1449 | 1097751.0847
7 | 2717308.1486 | 1097358.1701
8 | 2717253.5552 | 1097054.2075
9 | 2718053.8557 | 1097294.3943
10 | 2718077.9318 | 1097294.3943
11 | 2718053.7491 | 1097362.0744
12 | 2717984.1588 | 1097369.4728
13 | 2718069.9572 | 1097420.1293
14 | 2717930.987 | 1097378.4786
15 | 2718104.9755 | 1097524.2593
16 | 2718235.087 | 1097558.1678
17 | 2718344.4113 | 1097543.7298
18 | 2718180.288 | 1097594.9275
19 | 2718344.7287 | 1097586.1889
20 | 2717858.712 | 1097259.6773
21 | 2718158.7332 | 1097518.7336
22 | 2718345.1416 | 1097641.4227
23 | 2717849.875 | 1097221.1472
24 | 2717793.8657 | 1097274.55
25 | 2717775.9003 | 1097158.4275
26 | 2717774.6631 | 1097406.3795
27 | 2717770.9521 | 1097127.0821
28 | 2717630.8365 | 1097147.939
29 | 2717709.5936 | 1097417.1979
30 | 2717639.571 | 1097216.5331
31 | 2717575.9351 | 1097235.2259
32 | 2717635.2547 | 1097183.0042
33 | 2718105.6959 | 1097530.233
34 | 2717446.4032 | 1096918.7815
35 | 2717453.8889 | 1097006.8202
36 | 2717345.6146 | 1096905.5927
37 | 2717455.4421 | 1097025.0516
38 | 2717349.2662 | 1096879.3784
39 | 2717267.3947 | 1097060.4344
40 | 2717323.4617 | 1097188.1931
41 | 2717275.767 | 1097030.0416
42 | 2717423.6528 | 1097222.3571
43 | 2717461.1971 | 1097087.1945
44 | 2717549.7275 | 1097075.5534
45 | 2717552.6029 | 1097099.9036
46 | 2717622.9094 | 1097091.6468
47 | 2717631.3125 | 1097151.3617
48 | 2717631.6278 | 1097153.8806
49 | 2717593.901 | 1097095.0535
50 | 2717617.8965 | 1097051.3302
51 | 2717612.1841 | 1097005.4131
52 | 2717438.3269 | 1097217.5515
53 | 2717500.4973 | 1097256.5486
54 | 2717543.7464 | 1097244.3241
55 | 2717507.1643 | 1097278.3147
56 | 2717532.0529 | 1097340.8167
57 | 2717541.8853 | 1097364.323
58 | 2717485.1247 | 1097384.0949
59 | 2717570.6812 | 1097439.4317
60 | 2717456.5355 | 1097404.3897
61 | 2717414.5401 | 1097488.6809
62 | 2717400.7646 | 1097493.229
63 | 2717384.9309 | 1097498.4602
64 | 2717115.7879 | 1098004.6943
65 | 2717409.4945 | 1097540.1188
66 | 2717353.6901 | 1097442.857
67 | 2717048.806 | 1097955.9816
68 | 2717295.5752 | 1097377.8341
69 | 2716981.128 | 1097911.1812
70 | 2716884.6896 | 1097829.7255
71 | 2716873.4976 | 1097996.3469
72 | 2717613.0116 | 1097551.6057
73 | 2717707.6293 | 1097536.2695
74 | 2717787.0882 | 1097523.3904
75 | 2717724.0352 | 1097486.2908
76 | 2717795.1543 | 1097522.1989
77 | 2717496.0649 | 1097472.0781
78 | 2717677.917 | 1097422.0393
79 | 2717843.1765 | 1097515.1051
80 | 2717711.7812 | 1097841.4731
81 | 2717666.3588 | 1097855.9257
82 | 2717622.5709 | 1097748.3819
83 | 2717677.2948 | 1097730.0396
84 | 2717771.7931 | 1097580.7336
85 | 2717602.8717 | 1097702.6177
86 | 2717782.2151 | 1097578.9171
87 | 2717547.2362 | 1097573.3681
88 | 2717783.3895 | 1097578.7124
89 | 2718393.53 | 1097707.4552
90 | 2718329.626 | 1097734.0736
91 | 2718167.2034 | 1097893.6128
92 | 2718478.3263 | 1097678.5482
93 | 2718418.0019 | 1097630.6566
94 | 2718435.2351 | 1097572.352
95 | 2718144.8709 | 1097808.4754
96 | 2718143.6246 | 1097803.659
97 | 2718158.8985 | 1097788.1785
98 | 2718131.8726 | 1097758.3326
99 | 2718123.1848 | 1097747.7253
100 | 2718198.4723 | 1097725.4068
101 | 2717926.5854 | 1097501.0914
102 | 2717789.5509 | 1097645.1045
103 | 2717782.4342 | 1097646.3517
104 | 2717541.8853 | 1097364.323

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9981 | -0.042753 | 0.2088 | 0.10113
1 | 0.99819 | -0.043561 | 0.086251 | 0.041773
2 | 0.99621 | -0.055593 | 0.2802 | 0.13571
3 | 0.99832 | -0.042107 | 0 | 0
4 | 0.99813 | -0.043931 | 0.26696 | 0.12929
5 | 0.99599 | -0.057156 | 0 | 0
6 | 0.99376 | -0.072493 | 0.31604 | 0.15306
7 | 0.99859 | -0.037426 | 0 | 0
8 | 0.99888 | -0.032004 | 0 | 0
9 | 0.99683 | -0.043227 | 0.21073 | 0.10206
10 | 0.99682 | -0.043203 | 0.085121 | 0.041226
11 | 0.99686 | -0.04298 | 0 | 0
12 | 0.99706 | -0.044717 | 0 | 0
13 | 0.99664 | -0.044583 | 0.29024 | 0.14057
14 | 0.99722 | -0.046048 | 0.068914 | 0.033377
15 | 0.99629 | -0.047117 | 0 | 0
16 | 0.99594 | -0.046249 | 0 | 0
17 | 0.9956 | -0.043515 | 0 | 0
18 | 0.99607 | -0.045287 | 0.32289 | 0.15638
19 | 0.99555 | -0.043074 | 0.081373 | 0.039411
20 | 0.99784 | -0.041692 | 0.28145 | 0.13631
21 | 0.9962 | -0.046381 | 0 | 0
22 | 0.99549 | -0.042549 | 0 | 0
23 | 0.99803 | -0.043401 | 0.21967 | 0.10639
24 | 0.99773 | -0.040729 | 0 | 0
25 | 0.9985 | -0.031609 | 0.070644 | 0.034214
26 | 0.9974 | -0.042983 | 0.34235 | 0.16581
27 | 0.99858 | -0.030825 | 0.36674 | 0.17762
28 | 0.99934 | -0.011822 | 0 | 0
29 | 0.99732 | -0.042292 | 0.079187 | 0.038352
30 | 0.99944 | -0.0099353 | 0.32493 | 0.15737
31 | 0.99955 | -0.0080433 | 0 | 0
32 | 0.99939 | -0.01086 | 0 | 0
33 | 0.99628 | -0.047092 | 0.35079 | 0.1699
34 | 0.99848 | -0.0096672 | 0.36555 | 0.17705
35 | 0.99861 | -0.0088902 | 0.38068 | 0.18437
36 | 0.99842 | -0.01011 | 0 | 0
37 | 0.99863 | -0.0091306 | 0 | 0
38 | 0.9984 | -0.0099979 | 0.35445 | 0.17167
39 | 0.9989 | -0.031732 | 0 | 0
40 | 0.99921 | -0.021139 | 0.32182 | 0.15587
41 | 0.99887 | -0.031869 | 0.34478 | 0.16699
42 | 0.99947 | -0.012547 | 0.071578 | 0.034667
43 | 0.99872 | -0.0099468 | 0.31405 | 0.1521
44 | 0.99897 | -0.0083949 | 0 | 0
45 | 0.99901 | -0.0088061 | 0.27312 | 0.13228
46 | 0.99917 | -0.010319 | 0 | 0
47 | 0.99934 | -0.011731 | 0.25402 | 0.12303
48 | 0.99934 | -0.011662 | 0 | 0
49 | 0.9991 | -0.0096372 | 0.28411 | 0.1376
50 | 0.99916 | -0.010188 | 0.094173 | 0.04561
51 | 0.99915 | -0.010089 | 0.18208 | 0.088184
52 | 0.99948 | -0.012246 | 0.35125 | 0.17012
53 | 0.99968 | -0.0057811 | 0 | 0
54 | 0.9996 | -0.0070856 | 0.098213 | 0.047567
55 | 0.99974 | -0.0046466 | 0 | 0
56 | 0.99993 | -0.0012932 | 0.23503 | 0.11383
57 | 1 | 0 | -14.8192 | -6.978
58 | 0.99988 | 0.0010281 | 0.084143 | 0.040752
59 | 0.99997 | 0.00024066 | 0.25522 | 0.12361
60 | 0.99981 | 0.0016583 | 0 | 0
61 | 0.98772 | -0.035166 | 0.41133 | 0.19922
62 | 0.98773 | -0.035239 | 0 | 0
63 | 0.98768 | -0.034802 | 0 | 0
64 | 0.99189 | -0.073053 | 0 | 0
65 | 0.98767 | -0.034702 | 0.13215 | 0.064001
66 | 0.98751 | -0.033122 | 0.51596 | 0.24989
67 | 0.9923 | -0.070147 | 0.20702 | 0.10027
68 | 0.98734 | -0.031499 | 1.5219 | 0.7371
69 | 0.99261 | -0.072845 | 0 | 0
70 | 0.99309 | -0.07711 | 0 | 0
71 | 0.99256 | -0.073183 | 0.19984 | 0.096788
72 | 0.997 | -0.03946 | 0.22959 | 0.1112
73 | 0.99703 | -0.039718 | 0.16096 | 0.077955
74 | 0.99707 | -0.04008 | 0 | 0
75 | 0.99717 | -0.040953 | 0.10347 | 0.05011
76 | 0.99706 | -0.040045 | 0.15201 | 0.07362
77 | 0.99966 | 0.0029328 | 0.31232 | 0.15126
78 | 0.99728 | -0.041985 | 0 | 0
79 | 0.99705 | -0.039924 | 0 | 0
80 | 0.99907 | 0.0057694 | 0.35269 | 0.17081
81 | 0.9991 | 0.0055701 | 0.32008 | 0.15502
82 | 0.99925 | 0.0065276 | 0 | 0
83 | 0.99923 | 0.0066856 | 0 | 0
84 | 0.99913 | 0.0074522 | 0 | 0
85 | 0.99931 | 0.0059972 | 0.087379 | 0.04232
86 | 0.99913 | 0.0074859 | 0.19581 | 0.094837
87 | 0.99949 | 0.0043729 | 0.11153 | 0.054015
88 | 0.99913 | 0.0074869 | 0 | 0
89 | 0.99533 | -0.041175 | 0.35632 | 0.17257
90 | 0.99536 | -0.041469 | 0 | 0
91 | 0.99521 | -0.040254 | 0 | 0
92 | 0.99546 | -0.042493 | 0.071793 | 0.034771
93 | 0.99547 | -0.042426 | 0 | 0
94 | 0.99547 | -0.042362 | 0.080936 | 0.039199
95 | 0.99517 | -0.039864 | 0.13956 | 0.067591
96 | 0.99517 | -0.03985 | 0 | 0
97 | 0.99516 | -0.039824 | 0.093844 | 0.045451
98 | 0.99516 | -0.039767 | 0 | 0
99 | 0.99516 | -0.039754 | 0.071392 | 0.034577
100 | 0.99515 | -0.039686 | 0.089527 | 0.04336
101 | 0.99703 | -0.039705 | 0.22019 | 0.10665
102 | 0.99911 | 0.0076609 | 0.093446 | 0.045258
103 | 0.99911 | 0.0076528 | 0 | 0
104 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -3.8254 | -1.8111 | 3.8257 | 1.8107 | 0.00037388 | -0.0003337 | 0.12241 | 0.12241 | 0.12241 | 0.9981 | -0.042753 | 0.99819 | -0.043561 | 55.6418
1 | 3.6166 | 1.7099 | -3.6101 | -1.7062 | 0.006448 | 0.0037179 | 0.1157 | 0.11571 | 0.11571 | 0.9981 | -0.042753 | 0.99621 | -0.055593 | 55.0982
2 | -4.179 | -1.9817 | 4.1795 | 1.98 | 0.0005139 | -0.0016601 | 0.13375 | 0.13373 | 0.13375 | 0.99819 | -0.043561 | 0.99832 | -0.042107 | 36.9488
3 | 0.26697 | 0.12917 | -0.26696 | -0.12929 | 1.4946e-05 | -0.00012624 | 0.008577 | 0.0085787 | 0.0085787 | 0.99819 | -0.043561 | 0.99813 | -0.043931 | 4.0851
4 | 3.3299 | 1.5705 | -3.3292 | -1.5701 | 0.00071759 | 0.00040756 | 0.10668 | 0.10669 | 0.10669 | 0.99621 | -0.055593 | 0.99599 | -0.057156 | 50.8026
5 | -4.1795 | -1.98 | 4.1804 | 1.9591 | 0.00093405 | -0.020925 | 0.13373 | 0.13346 | 0.13373 | 0.99832 | -0.042107 | 0.99859 | -0.037426 | 15.8824
6 | 3.3292 | 1.5701 | -3.3222 | -1.5661 | 0.0070266 | 0.0039918 | 0.10669 | 0.10669 | 0.10669 | 0.99599 | -0.057156 | 0.99376 | -0.072493 | 50.805
7 | 3.0061 | 1.4131 | -3.0042 | -1.412 | 0.0018913 | 0.0010503 | 0.096491 | 0.096492 | 0.096492 | 0.99376 | -0.072493 | 0.99309 | -0.07711 | 45.9487
8 | -4.1804 | -1.9591 | 4.1815 | 1.9351 | 0.0010644 | -0.023965 | 0.13346 | 0.13316 | 0.13346 | 0.99859 | -0.037426 | 0.99888 | -0.032004 | 15.8505
9 | 0.34479 | 0.16621 | -0.34478 | -0.16699 | 5.3602e-06 | -0.00077943 | 0.011062 | 0.011071 | 0.011071 | 0.99888 | -0.032004 | 0.99887 | -0.031869 | 5.0325
10 | -4.5263 | -2.1013 | 4.5263 | 2.1002 | 5.7615e-05 | -0.0011012 | 0.14422 | 0.1442 | 0.14422 | 0.99888 | -0.032004 | 0.9989 | -0.031732 | 17.1279
11 | 0.085121 | 0.040655 | -0.085121 | -0.041226 | 2.4049e-07 | -0.00057113 | 0.0027318 | 0.0027389 | 0.0027389 | 0.99683 | -0.043227 | 0.99682 | -0.043203 | 1.245
12 | -0.29585 | -0.14271 | 0.29586 | 0.14264 | 1.091e-05 | -7.3454e-05 | 0.0095124 | 0.0095114 | 0.0095124 | 0.99683 | -0.043227 | 0.99686 | -0.04298 | 4.5297
13 | -2.2466 | -1.0539 | 2.2471 | 1.0524 | 0.0004827 | -0.001519 | 0.07186 | 0.07184 | 0.07186 | 0.99686 | -0.04298 | 0.99706 | -0.044717 | 32.6637
14 | 1.9507 | 0.91123 | -1.9503 | -0.91104 | 0.00041749 | 0.00019001 | 0.062349 | 0.06235 | 0.06235 | 0.99686 | -0.04298 | 0.99664 | -0.044583 | 29.6906
15 | -2.2471 | -1.0524 | 2.2475 | 1.0512 | 0.00037154 | -0.0011703 | 0.07184 | 0.071824 | 0.07184 | 0.99706 | -0.044717 | 0.99722 | -0.046048 | 32.6544
16 | 1.6601 | 0.77047 | -1.6595 | -0.77026 | 0.00055006 | 0.00021431 | 0.05301 | 0.053012 | 0.053012 | 0.99664 | -0.044583 | 0.99629 | -0.047117 | 25.2438
17 | -2.3164 | -1.0846 | 2.3177 | 1.0852 | 0.0013582 | 0.00068553 | 0.07404 | 0.074038 | 0.07404 | 0.99722 | -0.046048 | 0.99784 | -0.041692 | 35.2573
18 | 1.3087 | 0.6005 | -1.3086 | -0.60174 | 0.00012526 | -0.0012397 | 0.041722 | 0.041737 | 0.041737 | 0.99629 | -0.047117 | 0.9962 | -0.046381 | 18.9716
19 | 0.35079 | 0.16975 | -0.35079 | -0.1699 | 1.0246e-06 | -0.00014232 | 0.011292 | 0.011294 | 0.011294 | 0.99629 | -0.047117 | 0.99628 | -0.047092 | 5.1335
20 | 0.98542 | 0.44719 | -0.98506 | -0.45346 | 0.0003542 | -0.006264 | 0.031366 | 0.031443 | 0.031443 | 0.99594 | -0.046249 | 0.9956 | -0.043515 | 14.2922
21 | -0.98542 | -0.44719 | 0.98553 | 0.44719 | 0.00011566 | -5.699e-06 | 0.031366 | 0.031365 | 0.031366 | 0.99594 | -0.046249 | 0.99607 | -0.045287 | 14.9362
22 | 0.98506 | 0.45346 | -0.98501 | -0.45444 | 5.6063e-05 | -0.00098821 | 0.031443 | 0.031455 | 0.031455 | 0.9956 | -0.043515 | 0.99555 | -0.043074 | 14.2977
23 | -1.3084 | -0.60357 | 1.3086 | 0.60174 | 0.00018475 | -0.0018263 | 0.04176 | 0.041737 | 0.04176 | 0.99607 | -0.045287 | 0.9962 | -0.046381 | 18.9819
24 | 0.90363 | 0.41503 | -0.90357 | -0.41632 | 6.1339e-05 | -0.0012888 | 0.028834 | 0.02885 | 0.02885 | 0.99555 | -0.043074 | 0.99549 | -0.042549 | 13.1134
25 | -3.8878 | -1.8291 | 3.8886 | 1.8284 | 0.00081531 | -0.0006981 | 0.1243 | 0.12429 | 0.1243 | 0.99784 | -0.041692 | 0.99803 | -0.043401 | 56.5004
26 | 1.2886 | 0.60755 | -1.2885 | -0.60908 | 0.00015095 | -0.0015367 | 0.041216 | 0.041236 | 0.041236 | 0.99784 | -0.041692 | 0.99773 | -0.040729 | 18.7435
27 | 0.75084 | 0.34582 | -0.75074 | -0.34897 | 0.00010346 | -0.0031549 | 0.023971 | 0.02401 | 0.02401 | 0.99549 | -0.042549 | 0.99536 | -0.041469 | 10.9138
28 | 0.15273 | 0.070504 | -0.15273 | -0.072246 | 2.35e-06 | -0.001742 | 0.0048781 | 0.0048995 | 0.0048995 | 0.99549 | -0.042549 | 0.99547 | -0.042426 | 2.227
29 | -4.1083 | -1.9348 | 4.1098 | 1.9364 | 0.001536 | 0.0016354 | 0.13135 | 0.13135 | 0.13135 | 0.99803 | -0.043401 | 0.9985 | -0.031609 | 37.5282
30 | 1.2885 | 0.60908 | -1.2881 | -0.60899 | 0.00040362 | 9.4549e-05 | 0.041236 | 0.041238 | 0.041238 | 0.99773 | -0.040729 | 0.9974 | -0.042983 | 19.6369
31 | -4.1805 | -1.9707 | 4.1808 | 1.9698 | 0.00027379 | -0.0008872 | 0.13362 | 0.1336 | 0.13362 | 0.9985 | -0.031609 | 0.99858 | -0.030825 | 36.9106
32 | 0.94574 | 0.44318 | -0.94566 | -0.44473 | 8.0525e-05 | -0.0015429 | 0.030229 | 0.030248 | 0.030248 | 0.9974 | -0.042983 | 0.99732 | -0.042292 | 13.7491
33 | -4.5475 | -2.1474 | 4.5502 | 2.1504 | 0.0027486 | 0.0029661 | 0.14538 | 0.14538 | 0.14538 | 0.99858 | -0.030825 | 0.99934 | -0.011822 | 41.5378
34 | 2.2496 | 1.0808 | -2.2492 | -1.0821 | 0.00039461 | -0.0012384 | 0.072094 | 0.072111 | 0.072111 | 0.99934 | -0.011822 | 0.99917 | -0.010319 | 32.7779
35 | -6.7998 | -3.2312 | 6.7999 | 3.2309 | 2.9911e-05 | -0.00023624 | 0.21747 | 0.21747 | 0.21747 | 0.99934 | -0.011822 | 0.99934 | -0.011731 | 25.8282
36 | 0.86647 | 0.40637 | -0.86644 | -0.40712 | 3.2839e-05 | -0.00075123 | 0.027701 | 0.027711 | 0.027711 | 0.99732 | -0.042292 | 0.99728 | -0.041985 | 12.5958
37 | -7.3794 | -3.5069 | 7.3801 | 3.5025 | 0.00067394 | -0.00443 | 0.23599 | 0.23593 | 0.23599 | 0.99944 | -0.0099353 | 0.99955 | -0.0080433 | 28.0272
38 | 7.0545 | 3.3495 | -7.0542 | -3.3518 | 0.00031487 | -0.0022914 | 0.22556 | 0.22559 | 0.22559 | 0.99944 | -0.0099353 | 0.99939 | -0.01086 | 26.7925
39 | -7.3801 | -3.5025 | 7.3804 | 3.5002 | 0.00034067 | -0.0022408 | 0.23593 | 0.23589 | 0.23593 | 0.99955 | -0.0080433 | 0.9996 | -0.0070856 | 28.0197
40 | 7.0542 | 3.3518 | -7.0539 | -3.3538 | 0.00027342 | -0.0019889 | 0.22559 | 0.22562 | 0.22562 | 0.99939 | -0.01086 | 0.99934 | -0.011662 | 26.7958
41 | -0.72003 | -0.34798 | 0.72012 | 0.34793 | 8.4149e-05 | -5.2465e-05 | 0.023121 | 0.023119 | 0.023121 | 0.99848 | -0.0096672 | 0.99861 | -0.0088902 | 11.0099
42 | 0.35448 | 0.17093 | -0.35446 | -0.17104 | 2.3448e-05 | -0.00010628 | 0.011378 | 0.011379 | 0.011379 | 0.99848 | -0.0096672 | 0.99842 | -0.01011 | 5.4187
43 | -1.1008 | -0.5323 | 1.1008 | 0.53187 | 3.052e-05 | -0.0004267 | 0.035347 | 0.035341 | 0.035347 | 0.99861 | -0.0088902 | 0.99863 | -0.0091306 | 16.0667
44 | 0.35446 | 0.17104 | -0.35445 | -0.17167 | 4.5795e-06 | -0.0006287 | 0.011379 | 0.011387 | 0.011387 | 0.99842 | -0.01011 | 0.9984 | -0.0099979 | 5.176
45 | -1.1008 | -0.53187 | 1.1009 | 0.53042 | 0.00010403 | -0.0014556 | 0.035341 | 0.035323 | 0.035341 | 0.99863 | -0.0091306 | 0.99872 | -0.0099468 | 16.0642
46 | -4.5263 | -2.1002 | 4.5273 | 2.1014 | 0.001034 | 0.0011365 | 0.1442 | 0.1442 | 0.1442 | 0.9989 | -0.031732 | 0.99921 | -0.021139 | 17.5857
47 | -4.8492 | -2.2572 | 4.8501 | 2.2583 | 0.00090086 | 0.0010306 | 0.15453 | 0.15452 | 0.15453 | 0.99921 | -0.021139 | 0.99947 | -0.012547 | 18.8449
48 | -4.9216 | -2.2929 | 4.9217 | 2.2918 | 6.9486e-05 | -0.0011147 | 0.15682 | 0.15681 | 0.15682 | 0.99947 | -0.012547 | 0.99948 | -0.012246 | 18.6249
49 | -1.415 | -0.68252 | 1.4153 | 0.68262 | 0.00032803 | 9.9117e-05 | 0.045409 | 0.045407 | 0.045409 | 0.99872 | -0.0099468 | 0.99897 | -0.0083949 | 21.6232
50 | -1.4153 | -0.68262 | 1.4154 | 0.68205 | 6.7492e-05 | -0.00056433 | 0.045407 | 0.0454 | 0.045407 | 0.99897 | -0.0083949 | 0.99901 | -0.0088061 | 20.6397
51 | -1.6885 | -0.81433 | 1.6887 | 0.81339 | 0.00016285 | -0.00094263 | 0.054169 | 0.054157 | 0.054169 | 0.99901 | -0.0088061 | 0.9991 | -0.0096372 | 24.6223
52 | 1.9729 | 0.95034 | -1.9728 | -0.95099 | 0.00015611 | -0.00064986 | 0.063269 | 0.063278 | 0.063278 | 0.99917 | -0.010319 | 0.9991 | -0.0096372 | 28.7627
53 | 0.27626 | 0.13172 | -0.27625 | -0.13269 | 4.2464e-06 | -0.00096714 | 0.0088423 | 0.0088544 | 0.0088544 | 0.99917 | -0.010319 | 0.99916 | -0.010188 | 4.0247
54 | -7.0539 | -3.354 | 7.0539 | 3.3538 | 2.3653e-05 | -0.00017202 | 0.22562 | 0.22562 | 0.22562 | 0.99934 | -0.011731 | 0.99934 | -0.011662 | 26.7961
55 | 0.18208 | 0.087082 | -0.18208 | -0.088184 | 2.1055e-06 | -0.0011023 | 0.0058313 | 0.0058451 | 0.0058451 | 0.99916 | -0.010188 | 0.99915 | -0.010089 | 2.6569
56 | -5.273 | -2.4619 | 5.2737 | 2.4628 | 0.0007389 | 0.00087996 | 0.16808 | 0.16808 | 0.16808 | 0.99948 | -0.012246 | 0.99968 | -0.0057811 | 20.4973
57 | 7.4791 | 3.5448 | -7.4787 | -3.5478 | 0.0004699 | -0.003 | 0.239 | 0.23905 | 0.23905 | 0.99968 | -0.0057811 | 0.9996 | -0.0070856 | 28.3902
58 | -12.7528 | -6.0076 | 12.7535 | 6.0065 | 0.00069026 | -0.0011045 | 0.40708 | 0.40706 | 0.40708 | 0.99968 | -0.0057811 | 0.99974 | -0.0046466 | 48.3465
59 | -12.7535 | -6.0065 | 12.7556 | 6.0032 | 0.0020391 | -0.0032651 | 0.40706 | 0.40699 | 0.40706 | 0.99974 | -0.0046466 | 0.99993 | -0.0012932 | 48.3439
60 | -12.9906 | -6.1171 | 12.9914 | 6.1158 | 0.00080098 | -0.0012108 | 0.41453 | 0.41451 | 0.41453 | 0.99993 | -0.0012932 | 1 | 0 | 49.2318
61 | 1.5586 | 0.72992 | -1.5584 | -0.73129 | 0.00019812 | -0.0013761 | 0.049681 | 0.049699 | 0.049699 | 1 | 0 | 0.99988 | 0.0010281 | 22.5904
62 | 0.25522 | 0.12169 | -0.25522 | -0.12361 | 7.1743e-06 | -0.0019181 | 0.0081622 | 0.0081863 | 0.0081863 | 1 | 0 | 0.99997 | 0.00024066 | 3.721
63 | 1.4742 | 0.69054 | -1.4741 | -0.69144 | 0.0001149 | -0.00089568 | 0.047 | 0.047011 | 0.047011 | 0.99988 | 0.0010281 | 0.99981 | 0.0016583 | 21.3688
64 | 1.4741 | 0.69144 | -1.4739 | -0.69324 | 0.00023124 | -0.0018008 | 0.047011 | 0.047034 | 0.047034 | 0.99981 | 0.0016583 | 0.99966 | 0.0029328 | 21.3792
65 | -0.41133 | -0.19922 | 0.41133 | 0.19888 | 3.4453e-06 | -0.00033601 | 0.013357 | 0.013353 | 0.013357 | 0.98772 | -0.035166 | 0.98773 | -0.035239 | 6.0716
66 | 2.1708 | 1.0457 | -2.1707 | -1.0461 | 0.00011012 | -0.00035474 | 0.070422 | 0.070427 | 0.070427 | 0.98773 | -0.035239 | 0.98768 | -0.034802 | 32.0124
67 | -2.5822 | -1.2446 | 2.5938 | 1.2188 | 0.011682 | -0.025829 | 0.083775 | 0.083408 | 0.083775 | 0.98773 | -0.035239 | 0.99189 | -0.073053 | 38.0797
68 | 0.13215 | 0.062516 | -0.13215 | -0.064001 | 1.5607e-06 | -0.0014845 | 0.0042727 | 0.0042915 | 0.0042915 | 0.98768 | -0.034802 | 0.98767 | -0.034702 | 1.9507
69 | 2.0386 | 0.98358 | -2.0382 | -0.98504 | 0.00039585 | -0.0014599 | 0.066155 | 0.066175 | 0.066175 | 0.98768 | -0.034802 | 0.98751 | -0.033122 | 30.0794
70 | -2.5938 | -1.2188 | 2.5949 | 1.2193 | 0.0010266 | 0.0005457 | 0.083408 | 0.083407 | 0.083408 | 0.99189 | -0.073053 | 0.9923 | -0.070147 | 39.7182
71 | 1.5222 | 0.73515 | -1.5219 | -0.7371 | 0.00028445 | -0.0019458 | 0.049416 | 0.049442 | 0.049442 | 0.98751 | -0.033122 | 0.98734 | -0.031499 | 22.4735
72 | -2.8019 | -1.3196 | 2.8028 | 1.3179 | 0.00092664 | -0.0017365 | 0.090098 | 0.090073 | 0.090098 | 0.9923 | -0.070147 | 0.99261 | -0.072845 | 40.9538
73 | -3.0027 | -1.4145 | 3.0042 | 1.412 | 0.0015699 | -0.0025059 | 0.096529 | 0.096492 | 0.096529 | 0.99261 | -0.072845 | 0.99309 | -0.07711 | 43.8769
74 | 0.19985 | 0.096633 | -0.19984 | -0.096788 | 1.0195e-05 | -0.00015504 | 0.006456 | 0.006458 | 0.006458 | 0.99261 | -0.072845 | 0.99256 | -0.073183 | 3.0752
75 | -0.22959 | -0.1112 | 0.2296 | 0.10892 | 6.9544e-06 | -0.0022729 | 0.0073863 | 0.0073579 | 0.0073863 | 0.997 | -0.03946 | 0.99703 | -0.039718 | 3.3574
76 | -0.39056 | -0.18688 | 0.39057 | 0.18497 | 1.6855e-05 | -0.0019056 | 0.012536 | 0.012512 | 0.012536 | 0.99703 | -0.039718 | 0.99707 | -0.04008 | 5.6981
77 | -0.76279 | -0.36189 | 0.76287 | 0.35951 | 8.0741e-05 | -0.0023819 | 0.024444 | 0.024414 | 0.024444 | 0.99707 | -0.04008 | 0.99717 | -0.040953 | 11.1109
78 | 0.37221 | 0.17692 | -0.37221 | -0.17711 | 1.55e-06 | -0.00019308 | 0.011932 | 0.011934 | 0.011934 | 0.99707 | -0.04008 | 0.99706 | -0.040045 | 5.4246
79 | -0.86633 | -0.40962 | 0.86644 | 0.40712 | 0.00010913 | -0.0024924 | 0.027742 | 0.027711 | 0.027742 | 0.99717 | -0.040953 | 0.99728 | -0.041985 | 12.61
80 | 0.2202 | 0.10349 | -0.2202 | -0.10464 | 3.2224e-06 | -0.0011513 | 0.0070444 | 0.0070587 | 0.0070587 | 0.99706 | -0.040045 | 0.99705 | -0.039924 | 3.2085
81 | 1.1616 | 0.54198 | -1.1613 | -0.54462 | 0.0002079 | -0.0026475 | 0.037014 | 0.037047 | 0.037047 | 0.99966 | 0.0029328 | 0.99949 | 0.0043729 | 16.8397
82 | 0.2202 | 0.10464 | -0.22019 | -0.10665 | 5.6458e-06 | -0.0020058 | 0.0070587 | 0.0070838 | 0.0070838 | 0.99705 | -0.039924 | 0.99703 | -0.039705 | 3.2199
83 | -0.35269 | -0.17081 | 0.35269 | 0.16968 | 8.1266e-06 | -0.0011306 | 0.011323 | 0.011309 | 0.011323 | 0.99907 | 0.0057694 | 0.9991 | 0.0055701 | 5.1468
84 | -0.67278 | -0.32471 | 0.67287 | 0.32463 | 9.6378e-05 | -7.8023e-05 | 0.021585 | 0.021583 | 0.021585 | 0.9991 | 0.0055701 | 0.99925 | 0.0065276 | 10.2784
85 | -0.96217 | -0.45275 | 0.96223 | 0.45158 | 6.2741e-05 | -0.0011693 | 0.03072 | 0.030705 | 0.03072 | 0.99925 | 0.0065276 | 0.99931 | 0.0059972 | 13.9636
86 | 0.2893 | 0.12812 | -0.28929 | -0.1295 | 6.4321e-06 | -0.0013704 | 0.0091406 | 0.0091567 | 0.0091567 | 0.99925 | 0.0065276 | 0.99923 | 0.0066856 | 4.1621
87 | 0.28929 | 0.1295 | -0.28926 | -0.13561 | 2.8981e-05 | -0.0061141 | 0.0091567 | 0.0092304 | 0.0092304 | 0.99923 | 0.0066856 | 0.99913 | 0.0074522 | 4.1956
88 | 0.28926 | 0.13561 | -0.28926 | -0.13586 | 1.2037e-06 | -0.00025179 | 0.0092304 | 0.0092335 | 0.0092335 | 0.99913 | 0.0074522 | 0.99913 | 0.0074859 | 4.197
89 | -1.0496 | -0.4939 | 1.0498 | 0.49061 | 0.00021068 | -0.0032932 | 0.03351 | 0.033469 | 0.03351 | 0.99931 | 0.0059972 | 0.99949 | 0.0043729 | 15.2317
90 | 0.093448 | 0.041024 | -0.093448 | -0.041053 | 1.3828e-08 | -2.8407e-05 | 0.0029487 | 0.002949 | 0.002949 | 0.99913 | 0.0074859 | 0.99913 | 0.0074869 | 1.3405
91 | 0.093448 | 0.041053 | -0.093446 | -0.045086 | 1.9968e-06 | -0.0040329 | 0.002949 | 0.0029978 | 0.0029978 | 0.99913 | 0.0074869 | 0.99911 | 0.0076528 | 1.3626
92 | -0.35632 | -0.17257 | 0.35633 | 0.17094 | 1.2133e-05 | -0.0016299 | 0.011483 | 0.011462 | 0.011483 | 0.99533 | -0.041175 | 0.99536 | -0.041469 | 5.2194
93 | 0.3944 | 0.17803 | -0.39434 | -0.18493 | 6.1936e-05 | -0.0069025 | 0.01255 | 0.012634 | 0.012634 | 0.99536 | -0.041469 | 0.99521 | -0.040254 | 5.7426
94 | 0.39434 | 0.18493 | -0.39432 | -0.18701 | 1.8794e-05 | -0.0020758 | 0.012634 | 0.01266 | 0.01266 | 0.99521 | -0.040254 | 0.99517 | -0.039864 | 5.7543
95 | -0.071793 | -0.034771 | 0.071794 | 0.03468 | 7.34e-07 | -9.066e-05 | 0.0023133 | 0.0023121 | 0.0023133 | 0.99546 | -0.042493 | 0.99547 | -0.042426 | 1.1016
96 | 0.080936 | 0.037565 | -0.080936 | -0.039199 | 6.2207e-07 | -0.0016338 | 0.0025875 | 0.0026078 | 0.0026078 | 0.99547 | -0.042426 | 0.99547 | -0.042362 | 1.1854
97 | 0.25477 | 0.11942 | -0.25477 | -0.11954 | 4.4252e-07 | -0.00011751 | 0.0081618 | 0.0081632 | 0.0081632 | 0.99517 | -0.039864 | 0.99517 | -0.03985 | 3.7105
98 | 0.093845 | 0.044916 | -0.093844 | -0.045451 | 2.7559e-07 | -0.00053465 | 0.003018 | 0.0030247 | 0.0030247 | 0.99517 | -0.03985 | 0.99516 | -0.039824 | 1.3749
99 | 0.16092 | 0.074619 | -0.16092 | -0.075726 | 1.6594e-06 | -0.0011067 | 0.0051454 | 0.005159 | 0.005159 | 0.99517 | -0.03985 | 0.99516 | -0.039767 | 2.345
100 | 0.071392 | 0.034233 | -0.071392 | -0.034577 | 1.0238e-07 | -0.00034311 | 0.0022967 | 0.002301 | 0.002301 | 0.99516 | -0.039767 | 0.99516 | -0.039754 | 1.0459
101 | 0.089528 | 0.041493 | -0.089527 | -0.04336 | 8.709e-07 | -0.0018674 | 0.0028624 | 0.0028856 | 0.0028856 | 0.99516 | -0.039767 | 0.99515 | -0.039686 | 1.3116
102 | -0.093446 | -0.045258 | 0.093446 | 0.045086 | 8.6758e-08 | -0.00017218 | 0.003 | 0.0029978 | 0.003 | 0.99911 | 0.0076609 | 0.99911 | 0.0076528 | 1.3636

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.8192 | 6.978

## res_load
| p_mw | q_mvar
0 | 0.2088 | 0.10113
1 | 0.086251 | 0.041773
2 | 0.2802 | 0.13571
3 | 0.26696 | 0.12929
4 | 0.31604 | 0.15306
5 | 0.21073 | 0.10206
6 | 0.085121 | 0.041226
7 | 0.29024 | 0.14057
8 | 0.068914 | 0.033377
9 | 0.32289 | 0.15638
10 | 0.081373 | 0.039411
11 | 0.28145 | 0.13631
12 | 0.21967 | 0.10639
13 | 0.070644 | 0.034214
14 | 0.34235 | 0.16581
15 | 0.36674 | 0.17762
16 | 0.079187 | 0.038352
17 | 0.32493 | 0.15737
18 | 0.35079 | 0.1699
19 | 0.36555 | 0.17705
20 | 0.38068 | 0.18437
21 | 0.35445 | 0.17167
22 | 0.32182 | 0.15587
23 | 0.34478 | 0.16699
24 | 0.071578 | 0.034667
25 | 0.31405 | 0.1521
26 | 0.27312 | 0.13228
27 | 0.25402 | 0.12303
28 | 0.28411 | 0.1376
29 | 0.094173 | 0.04561
30 | 0.18208 | 0.088184
31 | 0.35125 | 0.17012
32 | 0.098213 | 0.047567
33 | 0.23503 | 0.11383
34 | 0.084143 | 0.040752
35 | 0.25522 | 0.12361
36 | 0.41133 | 0.19922
37 | 0.13215 | 0.064001
38 | 0.51596 | 0.24989
39 | 0.20702 | 0.10027
40 | 1.5219 | 0.7371
41 | 0.19984 | 0.096788
42 | 0.22959 | 0.1112
43 | 0.16096 | 0.077955
44 | 0.10347 | 0.05011
45 | 0.15201 | 0.07362
46 | 0.31232 | 0.15126
47 | 0.35269 | 0.17081
48 | 0.32008 | 0.15502
49 | 0.087379 | 0.04232
50 | 0.19581 | 0.094837
51 | 0.11153 | 0.054015
52 | 0.35632 | 0.17257
53 | 0.071793 | 0.034771
54 | 0.080936 | 0.039199
55 | 0.13956 | 0.067591
56 | 0.093844 | 0.045451
57 | 0.071392 | 0.034577
58 | 0.089527 | 0.04336
59 | 0.22019 | 0.10665
60 | 0.093446 | 0.045258

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1