## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_256_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_256_0_node_98 | 20 | n |  | TRUE
2 | bus_MV_256_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_256_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_256_0_node_10 | 20 | n |  | TRUE
5 | bus_MV_256_0_node_70 | 20 | n |  | TRUE
6 | bus_MV_256_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_256_0_node_103 | 20 | n |  | TRUE
8 | bus_MV_256_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_256_0_node_80 | 20 | n |  | TRUE
10 | bus_MV_256_0_node_79 | 20 | n |  | TRUE
11 | bus_MV_256_0_node_84 | 20 | n |  | TRUE
12 | bus_MV_256_0_node_90 | 20 | n |  | TRUE
13 | bus_MV_256_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_256_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_256_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_256_0_node_9 | 20 | n |  | TRUE
17 | bus_MV_256_0_node_19 | 20 | n |  | TRUE
18 | bus_MV_256_0_node_71 | 20 | n |  | TRUE
19 | bus_MV_256_0_node_11 | 20 | n |  | TRUE
20 | bus_MV_256_0_node_20 | 20 | n |  | TRUE
21 | bus_MV_256_0_node_18 | 20 | n |  | TRUE
22 | bus_MV_256_0_node_21 | 20 | n |  | TRUE
23 | bus_MV_256_0_node_28 | 20 | n |  | TRUE
24 | bus_MV_256_0_node_29 | 20 | n |  | TRUE
25 | bus_MV_256_0_node_58 | 20 | n |  | TRUE
26 | bus_MV_256_0_node_16 | 20 | n |  | TRUE
27 | bus_MV_256_0_node_22 | 20 | n |  | TRUE
28 | bus_MV_256_0_node_13 | 20 | n |  | TRUE
29 | bus_MV_256_0_node_23 | 20 | n |  | TRUE
30 | bus_MV_256_0_node_14 | 20 | n |  | TRUE
31 | bus_MV_256_0_node_15 | 20 | n |  | TRUE
32 | bus_MV_256_0_node_17 | 20 | n |  | TRUE
33 | bus_MV_256_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_256_0_node_24 | 20 | n |  | TRUE
35 | bus_MV_256_0_node_25 | 20 | n |  | TRUE
36 | bus_MV_256_0_node_27 | 20 | n |  | TRUE
37 | bus_MV_256_0_node_83 | 20 | n |  | TRUE
38 | bus_MV_256_0_node_99 | 20 | n |  | TRUE
39 | bus_MV_256_0_node_57 | 20 | n |  | TRUE
40 | bus_MV_256_0_node_96 | 20 | n |  | TRUE
41 | bus_MV_256_0_node_88 | 20 | n |  | TRUE
42 | bus_MV_256_0_node_82 | 20 | n |  | TRUE
43 | bus_MV_256_0_node_61 | 20 | n |  | TRUE
44 | bus_MV_256_0_node_62 | 20 | n |  | TRUE
45 | bus_MV_256_0_node_102 | 20 | n |  | TRUE
46 | bus_MV_256_0_node_55 | 20 | n |  | TRUE
47 | bus_MV_256_0_node_97 | 20 | n |  | TRUE
48 | bus_MV_256_0_node_30 | 20 | n |  | TRUE
49 | bus_MV_256_0_node_31 | 20 | n |  | TRUE
50 | bus_MV_256_0_node_52 | 20 | n |  | TRUE
51 | bus_MV_256_0_node_40 | 20 | n |  | TRUE
52 | bus_MV_256_0_node_59 | 20 | n |  | TRUE
53 | bus_MV_256_0_node_38 | 20 | n |  | TRUE
54 | bus_MV_256_0_node_36 | 20 | n |  | TRUE
55 | bus_MV_256_0_node_37 | 20 | n |  | TRUE
56 | bus_MV_256_0_node_33 | 20 | n |  | TRUE
57 | bus_MV_256_0_node_35 | 20 | n |  | TRUE
58 | bus_MV_256_0_node_34 | 20 | n |  | TRUE
59 | bus_MV_256_0_node_48 | 20 | n |  | TRUE
60 | bus_MV_256_0_node_45 | 20 | n |  | TRUE
61 | bus_MV_256_0_node_39 | 20 | n |  | TRUE
62 | bus_MV_256_0_node_60 | 20 | n |  | TRUE
63 | bus_MV_256_0_node_56 | 20 | n |  | TRUE
64 | bus_MV_256_0_node_49 | 20 | n |  | TRUE
65 | bus_MV_256_0_node_51 | 20 | n |  | TRUE
66 | bus_MV_256_0_node_46 | 20 | n |  | TRUE
67 | bus_MV_256_0_node_41 | 20 | n |  | TRUE
68 | bus_MV_256_0_node_42 | 20 | n |  | TRUE
69 | bus_MV_256_0_node_47 | 20 | n |  | TRUE
70 | bus_MV_256_0_node_101 | 20 | n |  | TRUE
71 | bus_MV_256_0_node_43 | 20 | n |  | TRUE
72 | bus_MV_256_0_node_44 | 20 | n |  | TRUE
73 | bus_MV_256_0_node_95 | 20 | n |  | TRUE
74 | bus_MV_256_0_node_53 | 20 | n |  | TRUE
75 | bus_MV_256_0_node_54 | 20 | n |  | TRUE
76 | bus_MV_256_0_node_63 | 20 | n |  | TRUE
77 | bus_MV_256_0_node_66 | 20 | n |  | TRUE
78 | bus_MV_256_0_node_65 | 20 | n |  | TRUE
79 | bus_MV_256_0_node_67 | 20 | n |  | TRUE
80 | bus_MV_256_0_node_64 | 20 | n |  | TRUE
81 | bus_MV_256_0_node_85 | 20 | n |  | TRUE
82 | bus_MV_256_0_node_93 | 20 | n |  | TRUE
83 | bus_MV_256_0_node_100 | 20 | n |  | TRUE
84 | bus_MV_256_0_node_68 | 20 | n |  | TRUE
85 | bus_MV_256_0_node_86 | 20 | n |  | TRUE
86 | bus_MV_256_0_node_91 | 20 | n |  | TRUE
87 | bus_MV_256_0_node_69 | 20 | n |  | TRUE
88 | bus_MV_256_0_node_72 | 20 | n |  | TRUE
89 | bus_MV_256_0_node_73 | 20 | n |  | TRUE
90 | bus_MV_256_0_node_74 | 20 | n |  | TRUE
91 | bus_MV_256_0_node_75 | 20 | n |  | TRUE
92 | bus_MV_256_0_node_76 | 20 | n |  | TRUE
93 | bus_MV_256_0_node_77 | 20 | n |  | TRUE
94 | bus_MV_256_0_node_78 | 20 | n |  | TRUE
95 | bus_MV_256_0_node_81 | 20 | n |  | TRUE
96 | bus_MV_256_0_node_89 | 20 | n |  | TRUE
97 | bus_MV_256_0_node_87 | 20 | n |  | TRUE
98 | bus_MV_256_0_node_92 | 20 | n |  | TRUE
99 | bus_MV_256_0_node_94 | 20 | n |  | TRUE
100 | bus_HV_256_0_node_5 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_256_0_load_0 | 0 | 0.36052 | 0.17461 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_256_0_load_98 | 1 | 0.36001 | 0.17436 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_256_0_load_70 | 5 | 0.14126 | 0.068417 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_256_0_load_103 | 7 | 0.18957 | 0.091812 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_256_0_load_84 | 11 | 0.11877 | 0.057522 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_256_0_load_90 | 12 | 0.36951 | 0.17896 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_256_0_load_6 | 13 | 0.20963 | 0.10153 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_256_0_load_71 | 18 | 0.096789 | 0.046877 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_256_0_load_11 | 19 | 0.085945 | 0.041625 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_256_0_load_18 | 21 | 0.31732 | 0.15368 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_256_0_load_28 | 23 | 0.16971 | 0.082193 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_256_0_load_58 | 25 | 0.32063 | 0.15529 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_256_0_load_22 | 27 | 0.37753 | 0.18285 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_256_0_load_23 | 29 | 0.24873 | 0.12046 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_256_0_load_17 | 32 | 0.34008 | 0.16471 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_256_0_load_26 | 33 | 0.29124 | 0.14106 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_256_0_load_27 | 36 | 0.26439 | 0.12805 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_256_0_load_99 | 38 | 0.35938 | 0.17405 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_256_0_load_96 | 40 | 0.32316 | 0.15651 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_256_0_load_88 | 41 | 0.11477 | 0.055585 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_256_0_load_82 | 42 | 0.14029 | 0.067947 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_256_0_load_61 | 43 | 0.076339 | 0.036973 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_256_0_load_102 | 45 | 0.2426 | 0.1175 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_256_0_load_97 | 47 | 0.3219 | 0.1559 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_256_0_load_30 | 48 | 0.21288 | 0.1031 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_256_0_load_52 | 50 | 0.17617 | 0.085322 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_256_0_load_59 | 52 | 0.24701 | 0.11963 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_256_0_load_33 | 56 | 0.25391 | 0.12298 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_256_0_load_45 | 60 | 0.22778 | 0.11032 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_256_0_load_60 | 62 | 0.33327 | 0.16141 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_256_0_load_56 | 63 | 0.39751 | 0.19252 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_256_0_load_49 | 64 | 0.17808 | 0.086247 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_256_0_load_51 | 65 | 0.10916 | 0.052867 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_256_0_load_41 | 67 | 0.15324 | 0.07422 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_256_0_load_101 | 70 | 0.40102 | 0.19422 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_256_0_load_95 | 73 | 0.35225 | 0.1706 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_256_0_load_53 | 74 | 0.3431 | 0.16617 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_256_0_load_67 | 79 | 0.069785 | 0.033798 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_256_0_load_85 | 81 | 0.09121 | 0.044175 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_256_0_load_93 | 82 | 0.25686 | 0.1244 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_256_0_load_100 | 83 | 0.091706 | 0.044415 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_256_0_load_91 | 86 | 0.20854 | 0.101 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_256_0_load_69 | 87 | 0.10855 | 0.052573 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_256_0_load_72 | 88 | 2.2654 | 1.0972 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_256_0_load_74 | 90 | 0.10351 | 0.050133 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_256_0_load_75 | 91 | 0.16462 | 0.079728 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_256_0_load_78 | 94 | 1.0249 | 0.49637 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_256_0_load_81 | 95 | 0.30898 | 0.14965 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_256_0_load_89 | 96 | 0.46719 | 0.22627 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_256_0_load_87 | 97 | 0.13803 | 0.06685 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_256_0_load_92 | 98 | 0.29904 | 0.14483 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_256_0_load_94 | 99 | 0.1214 | 0.058795 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_256_0_line_0 |  | 0 | 1 | 0.25541 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_256_0_line_1 |  | 1 | 2 | 0.17109 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_256_0_line_2 |  | 1 | 3 | 0.11503 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_256_0_line_3 |  | 1 | 4 | 0.005888 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
4 | MV_256_0_line_4 |  | 2 | 5 | 0.021426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_256_0_line_5 |  | 3 | 6 | 0.34982 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_256_0_line_6 |  | 4 | 14 | 0.47542 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
7 | MV_256_0_line_7 |  | 6 | 7 | 0.02309 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
8 | MV_256_0_line_8 |  | 7 | 9 | 0.0264 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
9 | MV_256_0_line_9 |  | 8 | 9 | 0.10627 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
10 | MV_256_0_line_10 |  | 9 | 10 | 0.11706 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
11 | MV_256_0_line_11 |  | 10 | 12 | 0.052995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_256_0_line_12 |  | 10 | 93 | 0.08272 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
13 | MV_256_0_line_13 |  | 11 | 12 | 0.052104 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_256_0_line_14 |  | 12 | 96 | 0.0070604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_256_0_line_15 |  | 13 | 14 | 0.007985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_256_0_line_16 |  | 14 | 15 | 0.28163 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_256_0_line_17 |  | 14 | 16 | 0.15433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_256_0_line_18 |  | 15 | 17 | 0.21538 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
19 | MV_256_0_line_19 |  | 15 | 18 | 0.11103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_256_0_line_20 |  | 16 | 19 | 0.050295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_256_0_line_21 |  | 17 | 20 | 0.74919 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
22 | MV_256_0_line_22 |  | 17 | 21 | 0.008813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_256_0_line_23 |  | 19 | 29 | 0.37229 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_256_0_line_24 |  | 20 | 22 | 0.30751 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
25 | MV_256_0_line_25 |  | 20 | 23 | 0.12412 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_256_0_line_26 |  | 22 | 24 | 0.82919 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_256_0_line_27 |  | 22 | 25 | 0.085081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_256_0_line_28 |  | 24 | 39 | 0.19672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_256_0_line_29 |  | 24 | 40 | 0.042369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_256_0_line_30 |  | 26 | 27 | 0.016173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_256_0_line_31 |  | 26 | 28 | 0.27394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_256_0_line_32 |  | 28 | 31 | 0.25098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_256_0_line_33 |  | 28 | 32 | 0.096107 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_256_0_line_34 |  | 29 | 30 | 0.1566 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_256_0_line_35 |  | 30 | 31 | 0.40952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_256_0_line_36 |  | 31 | 33 | 0.020026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_256_0_line_37 |  | 34 | 35 | 0.81821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_256_0_line_38 |  | 34 | 36 | 0.12212 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_256_0_line_39 |  | 34 | 37 | 0.77543 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_256_0_line_40 |  | 35 | 38 | 0.12865 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_256_0_line_41 |  | 37 | 41 | 0.053178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_256_0_line_42 |  | 37 | 42 | 0.021554 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
43 | MV_256_0_line_43 |  | 38 | 43 | 0.73513 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_256_0_line_44 |  | 39 | 45 | 0.070744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_256_0_line_45 |  | 39 | 46 | 0.44146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_256_0_line_46 |  | 40 | 47 | 0.063679 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_256_0_line_47 |  | 41 | 92 | 0.0051452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_256_0_line_48 |  | 42 | 95 | 0.012221 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
49 | MV_256_0_line_49 |  | 43 | 44 | 0.023644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_256_0_line_50 |  | 44 | 76 | 0.10234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_256_0_line_51 |  | 44 | 77 | 0.44327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_256_0_line_52 |  | 46 | 63 | 0.13594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_256_0_line_53 |  | 46 | 75 | 0.45424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_256_0_line_54 |  | 47 | 71 | 0.009376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_256_0_line_55 |  | 48 | 49 | 0.004148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_256_0_line_56 |  | 49 | 50 | 0.51001 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_256_0_line_57 |  | 50 | 51 | 0.014971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_256_0_line_58 |  | 51 | 57 | 0.21179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_256_0_line_59 |  | 52 | 53 | 0.080628 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_256_0_line_60 |  | 53 | 54 | 0.36079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_256_0_line_61 |  | 53 | 55 | 0.22913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_256_0_line_62 |  | 54 | 59 | 0.11688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_256_0_line_63 |  | 54 | 60 | 0.13324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_256_0_line_64 |  | 54 | 58 | 0.68366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_256_0_line_65 |  | 55 | 61 | 0.39734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_256_0_line_66 |  | 55 | 62 | 0.033172 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_256_0_line_67 |  | 56 | 57 | 0.017923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_256_0_line_68 |  | 56 | 58 | 0.11637 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_256_0_line_69 |  | 59 | 64 | 0.089732 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_256_0_line_70 |  | 59 | 65 | 0.3188 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_256_0_line_71 |  | 60 | 66 | 0.062317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_256_0_line_72 |  | 61 | 63 | 0.011729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_256_0_line_73 |  | 66 | 69 | 0.24817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_256_0_line_74 |  | 67 | 68 | 0.072285 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_256_0_line_75 |  | 68 | 69 | 0.50581 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_256_0_line_76 |  | 69 | 70 | 0.093521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_256_0_line_77 |  | 71 | 72 | 0.023608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_256_0_line_78 |  | 72 | 73 | 0.068782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_256_0_line_79 |  | 74 | 75 | 0.076871 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_256_0_line_80 |  | 76 | 78 | 0.073586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_256_0_line_81 |  | 76 | 79 | 0.058501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_256_0_line_82 |  | 77 | 83 | 0.015063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_256_0_line_83 |  | 78 | 82 | 0.083115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_256_0_line_84 |  | 78 | 80 | 0.066434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_256_0_line_85 |  | 79 | 84 | 0.013786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_256_0_line_86 |  | 80 | 81 | 0.060188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_256_0_line_87 |  | 81 | 85 | 0.057775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_256_0_line_88 |  | 82 | 86 | 0.051283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_256_0_line_89 |  | 84 | 87 | 0.078356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_256_0_line_90 |  | 85 | 97 | 0.023908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_256_0_line_91 |  | 86 | 98 | 0.011525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_256_0_line_92 |  | 88 | 89 | 0.1042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_256_0_line_93 |  | 89 | 90 | 0.01511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_256_0_line_94 |  | 89 | 91 | 0.092891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_256_0_line_95 |  | 91 | 92 | 0.0052225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_256_0_line_96 |  | 93 | 94 | 0.02986 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
97 | MV_256_0_line_97 |  | 94 | 95 | 0.053063 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
98 | MV_256_0_line_98 |  | 98 | 99 | 0.14441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_256_0_trafo_5 | 25 MVA 110/20 kV | 100 | 8 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2715369.1166 | 1093540.2909
1 | 2715619.9593 | 1093588.3982
2 | 2715449.4476 | 1093602.4244
3 | 2715607.4536 | 1093474.0486
4 | 2715620.4213 | 1093594.2666
5 | 2715428.9877 | 1093608.7862
6 | 2715501.5704 | 1093160.4106
7 | 2715487.1067 | 1093142.4125
8 | 2715440.1682 | 1093209.4675
9 | 2715491.4077 | 1093116.3651
10 | 2715459.798 | 1093050.9757
11 | 2715403.1967 | 1093085.7289
12 | 2715420.2645 | 1093036.5
13 | 2715909.4648 | 1093787.89
14 | 2715910.0274 | 1093779.9286
15 | 2715919.2981 | 1093839.6352
16 | 2716043.7626 | 1093716.524
17 | 2715912.1838 | 1094046.8531
18 | 2715853.4632 | 1093898.5768
19 | 2716076.9385 | 1093679.4982
20 | 2715694.7717 | 1094333.1655
21 | 2715912.3819 | 1094054.7512
22 | 2715437.0012 | 1094359.2961
23 | 2715618.694 | 1094235.0958
24 | 2715097.4027 | 1093886.4247
25 | 2715360.788 | 1094321.2461
26 | 2716355.9213 | 1093994.8684
27 | 2716370.229 | 1094001.7469
28 | 2716459.9311 | 1093741.4401
29 | 2716259.9556 | 1093355.3038
30 | 2716403.9941 | 1093416.7566
31 | 2716603.2416 | 1093654.815
32 | 2716371.4596 | 1093703.8986
33 | 2716605.8395 | 1093635.7628
34 | 2716240.9552 | 1092727.0633
35 | 2716203.8073 | 1092263.8563
36 | 2716209.6444 | 1092609.0281
37 | 2715479.4225 | 1092873.2261
38 | 2716096.1635 | 1092193.4081
39 | 2715035.9216 | 1093725.6181
40 | 2715078.0768 | 1093923.9022
41 | 2715426.926 | 1092864.7372
42 | 2715477.5719 | 1092894.7009
43 | 2715370.0165 | 1092307.9956
44 | 2715359.0795 | 1092288.6634
45 | 2714975.5176 | 1093710.9325
46 | 2714969.9627 | 1093334.6143
47 | 2715062.2517 | 1093985.583
48 | 2714400.7076 | 1092481.1976
49 | 2714400.6529 | 1092485.3439
50 | 2714022.8761 | 1092827.9742
51 | 2714010 | 1092821.3617
52 | 2714599.8398 | 1093263.9924
53 | 2714543.1199 | 1093321.2966
54 | 2714384.8798 | 1093438.4432
55 | 2714693.0775 | 1093461.4293
56 | 2714025.3074 | 1093013.6798
57 | 2714014.3886 | 1092999.4432
58 | 2714080.7659 | 1093115.9895
59 | 2714307.0621 | 1093351.2207
60 | 2714408.7693 | 1093569.3819
61 | 2714873.5987 | 1093235.6925
62 | 2714661.8241 | 1093472.5476
63 | 2714872.9202 | 1093247.3988
64 | 2714232.1433 | 1093301.8351
65 | 2714043.7414 | 1093530.9227
66 | 2714440.5222 | 1093622.2488
67 | 2714537.5149 | 1094379.5806
68 | 2714501.9185 | 1094316.6674
69 | 2714591.7804 | 1093818.9088
70 | 2714603.8173 | 1093733.4105
71 | 2715060.3572 | 1093994.7646
72 | 2715043.2319 | 1094004.4139
73 | 2714996.5513 | 1093960.9519
74 | 2714981.2884 | 1092878.8716
75 | 2715036.9046 | 1092931.9373
76 | 2715293.5914 | 1092261.7145
77 | 2715373.4209 | 1092358.172
78 | 2715261.2464 | 1092316.1168
79 | 2715340.5161 | 1092227.6779
80 | 2715252.5769 | 1092262.6491
81 | 2715228.5695 | 1092207.4561
82 | 2715284.6132 | 1092395.8792
83 | 2715358.7685 | 1092361.8411
84 | 2715348.973 | 1092217.4006
85 | 2715212.7072 | 1092152.863
86 | 2715299.0307 | 1092445.0933
87 | 2715287.1724 | 1092223.2665
88 | 2715354.1255 | 1092946.8215
89 | 2715324.9609 | 1092848.4454
90 | 2715309.8613 | 1092847.1472
91 | 2715416.6896 | 1092863.0924
92 | 2715421.8468 | 1092863.9159
93 | 2715475.2879 | 1092989.6721
94 | 2715474.3379 | 1092959.8564
95 | 2715476.5227 | 1092906.8766
96 | 2715417.7957 | 1093029.8854
97 | 2715194.942 | 1092137.8941
98 | 2715302.2709 | 1092456.1535
99 | 2715332.7782 | 1092596.9876
100 | 2715440.1682 | 1093209.4675

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99771 | -0.076613 | 0.36052 | 0.17461
1 | 0.99789 | -0.075492 | 0.36001 | 0.17436
2 | 0.99784 | -0.075794 | 0 | 0
3 | 0.99847 | -0.041902 | 0 | 0
4 | 0.99787 | -0.075819 | 0 | 0
5 | 0.99784 | -0.075758 | 0.14126 | 0.068417
6 | 0.99934 | -0.037613 | 0 | 0
7 | 0.9994 | -0.034243 | 0.18957 | 0.091812
8 | 1 | 0 | -15.0428 | -6.9923
9 | 0.99947 | -0.030296 | 0 | 0
10 | 0.9991 | -0.036818 | 0 | 0
11 | 0.99902 | -0.036289 | 0.11877 | 0.057522
12 | 0.99903 | -0.036214 | 0.36951 | 0.17896
13 | 0.99648 | -0.10213 | 0.20963 | 0.10153
14 | 0.99648 | -0.10215 | 0 | 0
15 | 0.99584 | -0.11425 | 0 | 0
16 | 0.99621 | -0.099849 | 0 | 0
17 | 0.99536 | -0.12331 | 0 | 0
18 | 0.99583 | -0.11413 | 0.096789 | 0.046877
19 | 0.99613 | -0.099091 | 0.085945 | 0.041625
20 | 0.99381 | -0.15281 | 0 | 0
21 | 0.99536 | -0.12327 | 0.31732 | 0.15368
22 | 0.99319 | -0.16444 | 0 | 0
23 | 0.99376 | -0.15307 | 0.16971 | 0.082193
24 | 0.99126 | -0.18683 | 0 | 0
25 | 0.99315 | -0.16412 | 0.32063 | 0.15529
26 | 0.99396 | -0.102 | 0 | 0
27 | 0.99395 | -0.10192 | 0.37753 | 0.18285
28 | 0.99416 | -0.10072 | 0 | 0
29 | 0.99522 | -0.10536 | 0.24873 | 0.12046
30 | 0.99492 | -0.10752 | 0 | 0
31 | 0.99439 | -0.10284 | 0 | 0
32 | 0.9941 | -0.10112 | 0.34008 | 0.16471
33 | 0.99438 | -0.10277 | 0.29124 | 0.14106
34 | 0.99547 | -0.06866 | 0 | 0
35 | 0.99357 | -0.052753 | 0 | 0
36 | 0.99541 | -0.069055 | 0.26439 | 0.12805
37 | 0.99859 | -0.045488 | 0 | 0
38 | 0.99312 | -0.055974 | 0.35938 | 0.17405
39 | 0.99044 | -0.18013 | 0 | 0
40 | 0.99121 | -0.18633 | 0.32316 | 0.15651
41 | 0.99841 | -0.043818 | 0.11477 | 0.055585
42 | 0.99864 | -0.044885 | 0.14029 | 0.067947
43 | 0.99104 | -0.071151 | 0.076339 | 0.036973
44 | 0.991 | -0.070799 | 0 | 0
45 | 0.99041 | -0.17992 | 0.2426 | 0.1175
46 | 0.98872 | -0.1661 | 0 | 0
47 | 0.99112 | -0.18687 | 0.3219 | 0.1559
48 | 0.98463 | -0.13732 | 0.21288 | 0.1031
49 | 0.98463 | -0.13733 | 0 | 0
50 | 0.98485 | -0.13596 | 0.17617 | 0.085322
51 | 0.98485 | -0.13603 | 0 | 0
52 | 0.98643 | -0.14769 | 0.24701 | 0.11963
53 | 0.98647 | -0.14744 | 0 | 0
54 | 0.98568 | -0.14085 | 0 | 0
55 | 0.98705 | -0.15221 | 0 | 0
56 | 0.98497 | -0.13708 | 0.25391 | 0.12298
57 | 0.98496 | -0.137 | 0 | 0
58 | 0.98512 | -0.13608 | 0 | 0
59 | 0.98564 | -0.14045 | 0 | 0
60 | 0.98555 | -0.13967 | 0.22778 | 0.11032
61 | 0.98822 | -0.1619 | 0 | 0
62 | 0.98703 | -0.15235 | 0.33327 | 0.16141
63 | 0.98825 | -0.16218 | 0.39751 | 0.19252
64 | 0.98561 | -0.14065 | 0.17808 | 0.086247
65 | 0.98557 | -0.14089 | 0.10916 | 0.052867
66 | 0.9855 | -0.13928 | 0 | 0
67 | 0.98515 | -0.1388 | 0.15324 | 0.07422
68 | 0.98517 | -0.13866 | 0 | 0
69 | 0.98533 | -0.13768 | 0 | 0
70 | 0.98528 | -0.13722 | 0.40102 | 0.19422
71 | 0.99112 | -0.18683 | 0 | 0
72 | 0.99111 | -0.18673 | 0 | 0
73 | 0.99108 | -0.18644 | 0.35225 | 0.1706
74 | 0.98847 | -0.16468 | 0.3431 | 0.16617
75 | 0.98852 | -0.16435 | 0 | 0
76 | 0.99083 | -0.069306 | 0 | 0
77 | 0.99094 | -0.070463 | 0 | 0
78 | 0.99072 | -0.068366 | 0 | 0
79 | 0.99081 | -0.06919 | 0.069785 | 0.033798
80 | 0.9907 | -0.068198 | 0 | 0
81 | 0.99068 | -0.06804 | 0.09121 | 0.044175
82 | 0.99063 | -0.0675 | 0.25686 | 0.1244
83 | 0.99094 | -0.070446 | 0.091706 | 0.044415
84 | 0.99081 | -0.069174 | 0 | 0
85 | 0.99067 | -0.067948 | 0 | 0
86 | 0.99059 | -0.067121 | 0.20854 | 0.101
87 | 0.9908 | -0.069075 | 0.10855 | 0.052573
88 | 0.99779 | -0.03806 | 2.2654 | 1.0972
89 | 0.99809 | -0.040888 | 0 | 0
90 | 0.99809 | -0.040869 | 0.10351 | 0.050133
91 | 0.99837 | -0.043506 | 0.16462 | 0.079728
92 | 0.99839 | -0.043663 | 0 | 0
93 | 0.99887 | -0.040821 | 0 | 0
94 | 0.99879 | -0.042265 | 1.0249 | 0.49637
95 | 0.99867 | -0.044418 | 0.30898 | 0.14965
96 | 0.99903 | -0.036174 | 0.46719 | 0.22627
97 | 0.99067 | -0.067908 | 0.13803 | 0.06685
98 | 0.99058 | -0.067065 | 0.29904 | 0.14483
99 | 0.99056 | -0.066867 | 0.1214 | 0.058795
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.36052 | -0.17461 | 0.36058 | 0.17434 | 6.111e-05 | -0.0002653 | 0.01159 | 0.011586 | 0.01159 | 0.99771 | -0.076613 | 0.99789 | -0.075492 | 5.5191
1 | 0.14127 | 0.067709 | -0.14126 | -0.067908 | 6.2641e-06 | -0.00019945 | 0.0045319 | 0.0045345 | 0.0045345 | 0.99789 | -0.075492 | 0.99784 | -0.075794 | 2.1593
2 | -7.6414 | -3.4797 | 7.6438 | 3.486 | 0.0024228 | 0.0063567 | 0.2429 | 0.24289 | 0.2429 | 0.99789 | -0.075492 | 0.99847 | -0.041902 | 37.6582
3 | 6.7796 | 3.0633 | -6.7795 | -3.0634 | 9.9815e-05 | -0.00013235 | 0.21521 | 0.21522 | 0.21522 | 0.99789 | -0.075492 | 0.99787 | -0.075819 | 51.1203
4 | 0.14126 | 0.067908 | -0.14126 | -0.068417 | 5.8897e-07 | -0.00050919 | 0.0045345 | 0.0045409 | 0.0045409 | 0.99784 | -0.075794 | 0.99784 | -0.075758 | 2.064
5 | -7.6438 | -3.486 | 7.6502 | 3.4677 | 0.0063704 | -0.018345 | 0.24289 | 0.24263 | 0.24289 | 0.99847 | -0.041902 | 0.99934 | -0.037613 | 38.0711
6 | 6.7795 | 3.0634 | -6.7714 | -3.0741 | 0.0080676 | -0.010653 | 0.21522 | 0.21543 | 0.21543 | 0.99787 | -0.075819 | 0.99648 | -0.10215 | 51.1715
7 | -7.6502 | -3.4677 | 7.6505 | 3.4683 | 0.00024263 | 0.0005887 | 0.24263 | 0.24263 | 0.24263 | 0.99934 | -0.037613 | 0.9994 | -0.034243 | 18.8086
8 | -7.84 | -3.5601 | 7.8403 | 3.5608 | 0.0002915 | 0.00071096 | 0.24871 | 0.24871 | 0.24871 | 0.9994 | -0.034243 | 0.99947 | -0.030296 | 19.2801
9 | 15.0288 | 6.9818 | -15.0245 | -6.9704 | 0.004341 | 0.01138 | 0.47837 | 0.47838 | 0.47838 | 1 | 0 | 0.99947 | -0.030296 | 37.0835
10 | 7.1842 | 3.4096 | -7.1819 | -3.412 | 0.0022607 | -0.00239 | 0.22968 | 0.22974 | 0.22974 | 0.99947 | -0.030296 | 0.9991 | -0.036818 | 54.5696
11 | 0.95554 | 0.46128 | -0.95547 | -0.46252 | 6.653e-05 | -0.0012432 | 0.030658 | 0.030673 | 0.030673 | 0.9991 | -0.036818 | 0.99903 | -0.036214 | 13.9425
12 | 6.2264 | 2.9507 | -6.2252 | -2.9527 | 0.0012002 | -0.0020519 | 0.19908 | 0.19912 | 0.19912 | 0.9991 | -0.036818 | 0.99887 | -0.040821 | 47.2969
13 | -0.11877 | -0.057522 | 0.11877 | 0.05746 | 1.3496e-06 | -6.1235e-05 | 0.0038132 | 0.0038124 | 0.0038132 | 0.99902 | -0.036289 | 0.99903 | -0.036214 | 1.8158
14 | 0.4672 | 0.22611 | -0.46719 | -0.22627 | 2.1204e-06 | -0.00016762 | 0.014998 | 0.015 | 0.015 | 0.99903 | -0.036214 | 0.99903 | -0.036174 | 6.8181
15 | -0.20963 | -0.10153 | 0.20963 | 0.10134 | 4.8517e-07 | -0.00018917 | 0.0067476 | 0.0067452 | 0.0067476 | 0.99648 | -0.10213 | 0.99648 | -0.10215 | 3.0671
16 | 5.2155 | 2.3431 | -5.2127 | -2.3512 | 0.0028302 | -0.0080781 | 0.16564 | 0.16577 | 0.16577 | 0.99648 | -0.10215 | 0.99584 | -0.11425 | 39.3742
17 | 1.3463 | 0.62963 | -1.3459 | -0.63317 | 0.00038233 | -0.0035446 | 0.043055 | 0.0431 | 0.0431 | 0.99648 | -0.10215 | 0.99621 | -0.099849 | 19.5908
18 | 5.1159 | 2.3069 | -5.1138 | -2.3132 | 0.0020874 | -0.0062393 | 0.16268 | 0.16278 | 0.16278 | 0.99584 | -0.11425 | 0.99536 | -0.12331 | 38.6645
19 | 0.09679 | 0.044248 | -0.096789 | -0.046877 | 1.4255e-06 | -0.0026286 | 0.0030851 | 0.0031175 | 0.0031175 | 0.99584 | -0.11425 | 0.99583 | -0.11413 | 1.4171
20 | 1.3459 | 0.63317 | -1.3457 | -0.63433 | 0.00012477 | -0.0011547 | 0.0431 | 0.043115 | 0.043115 | 0.99621 | -0.099849 | 0.99613 | -0.099091 | 19.5975
21 | 4.7965 | 2.1597 | -4.7901 | -2.1821 | 0.006396 | -0.02244 | 0.15256 | 0.1529 | 0.1529 | 0.99536 | -0.12331 | 0.99381 | -0.15281 | 36.3177
22 | 0.31732 | 0.15347 | -0.31732 | -0.15368 | 1.2298e-06 | -0.00020811 | 0.010223 | 0.010225 | 0.010225 | 0.99536 | -0.12331 | 0.99536 | -0.12327 | 4.6479
23 | 1.2598 | 0.5927 | -1.2587 | -0.59246 | 0.0010799 | 0.00023584 | 0.040347 | 0.040353 | 0.040353 | 0.99613 | -0.099091 | 0.99522 | -0.10536 | 19.2156
24 | 4.6204 | 2.1001 | -4.6179 | -2.1094 | 0.0024484 | -0.0093475 | 0.14742 | 0.14756 | 0.14756 | 0.99381 | -0.15281 | 0.99319 | -0.16444 | 35.0506
25 | 0.16971 | 0.08205 | -0.16971 | -0.082193 | 6.6327e-06 | -0.00014218 | 0.0054756 | 0.0054775 | 0.0054775 | 0.99381 | -0.15281 | 0.99376 | -0.15307 | 2.6083
26 | 4.2973 | 1.9561 | -4.2897 | -1.9786 | 0.0075614 | -0.022511 | 0.13723 | 0.13757 | 0.13757 | 0.99319 | -0.16444 | 0.99126 | -0.18683 | 38.0039
27 | 0.32064 | 0.15329 | -0.32063 | -0.15529 | 1.215e-05 | -0.0020001 | 0.01033 | 0.010355 | 0.010355 | 0.99319 | -0.16444 | 0.99315 | -0.16412 | 4.7069
28 | 3.2923 | 1.499 | -3.2894 | -1.5028 | 0.0029162 | -0.0037463 | 0.10535 | 0.1054 | 0.1054 | 0.99126 | -0.18683 | 0.99044 | -0.18013 | 47.9111
29 | 0.99743 | 0.47962 | -0.99738 | -0.48059 | 5.8782e-05 | -0.00097652 | 0.032231 | 0.032243 | 0.032243 | 0.99126 | -0.18683 | 0.99121 | -0.18633 | 14.6561
30 | 0.37753 | 0.18247 | -0.37753 | -0.18285 | 3.2034e-06 | -0.00038054 | 0.012178 | 0.012183 | 0.012183 | 0.99396 | -0.102 | 0.99395 | -0.10192 | 5.5377
31 | -0.37753 | -0.18247 | 0.3776 | 0.18219 | 7.2362e-05 | -0.00027783 | 0.012178 | 0.012174 | 0.012178 | 0.99396 | -0.102 | 0.99416 | -0.10072 | 5.7991
32 | -0.7177 | -0.34679 | 0.71788 | 0.34092 | 0.00017891 | -0.0058709 | 0.023145 | 0.023071 | 0.023145 | 0.99416 | -0.10072 | 0.99439 | -0.10284 | 10.5206
33 | 0.3401 | 0.16461 | -0.34008 | -0.16471 | 2.0614e-05 | -0.00010048 | 0.010971 | 0.010973 | 0.010973 | 0.99416 | -0.10072 | 0.9941 | -0.10112 | 5.2251
34 | 1.01 | 0.472 | -1.0097 | -0.472 | 0.00029178 | -2.3475e-06 | 0.032337 | 0.032339 | 0.032339 | 0.99522 | -0.10536 | 0.99492 | -0.10752 | 15.3997
35 | 1.0097 | 0.472 | -1.0091 | -0.48151 | 0.00057388 | -0.0095033 | 0.032339 | 0.032459 | 0.032459 | 0.99492 | -0.10752 | 0.99439 | -0.10284 | 14.7542
36 | 0.29125 | 0.14058 | -0.29124 | -0.14106 | 2.358e-06 | -0.00047209 | 0.0093884 | 0.0093944 | 0.0093944 | 0.99439 | -0.10284 | 0.99438 | -0.10277 | 4.2702
37 | 1.8288 | 0.83446 | -1.8251 | -0.85268 | 0.0037266 | -0.018217 | 0.058293 | 0.058528 | 0.058528 | 0.99547 | -0.06866 | 0.99357 | -0.052753 | 26.6036
38 | 0.2644 | 0.12791 | -0.26439 | -0.12805 | 1.5788e-05 | -0.00013457 | 0.0085175 | 0.0085193 | 0.0085193 | 0.99547 | -0.06866 | 0.99541 | -0.069055 | 4.0568
39 | -2.0932 | -0.96237 | 2.0994 | 0.96532 | 0.0061655 | 0.0029417 | 0.066808 | 0.066797 | 0.066808 | 0.99547 | -0.06866 | 0.99859 | -0.045488 | 31.8135
40 | 1.8251 | 0.85268 | -1.8243 | -0.85234 | 0.00078519 | 0.00034028 | 0.058528 | 0.05853 | 0.05853 | 0.99357 | -0.052753 | 0.99312 | -0.055974 | 27.8713
41 | 2.6503 | 1.2767 | -2.6498 | -1.2778 | 0.00051353 | -0.0011136 | 0.085042 | 0.085058 | 0.085058 | 0.99859 | -0.045488 | 0.99841 | -0.043818 | 38.6629
42 | -4.7497 | -2.242 | 4.7499 | 2.2414 | 0.00023999 | -0.000563 | 0.15183 | 0.15182 | 0.15183 | 0.99859 | -0.045488 | 0.99864 | -0.044885 | 41.943
43 | 1.4649 | 0.67828 | -1.462 | -0.67734 | 0.0028846 | 0.0009431 | 0.046924 | 0.046935 | 0.046935 | 0.99312 | -0.055974 | 0.99104 | -0.071151 | 22.3499
44 | 0.24261 | 0.11584 | -0.2426 | -0.1175 | 5.8143e-06 | -0.0016552 | 0.0078359 | 0.0078568 | 0.0078568 | 0.99044 | -0.18013 | 0.99041 | -0.17992 | 3.5713
45 | 3.0468 | 1.3869 | -3.0412 | -1.3956 | 0.0056177 | -0.0086554 | 0.09757 | 0.097695 | 0.097695 | 0.99044 | -0.18013 | 0.98872 | -0.1661 | 44.4068
46 | 0.67422 | 0.32408 | -0.67416 | -0.32412 | 5.3853e-05 | -4.0951e-05 | 0.021786 | 0.021787 | 0.021787 | 0.99121 | -0.18633 | 0.99112 | -0.18687 | 10.3749
47 | 2.5351 | 1.2222 | -2.535 | -1.2223 | 4.5482e-05 | -0.00010896 | 0.081371 | 0.081373 | 0.081373 | 0.99841 | -0.043818 | 0.99839 | -0.043663 | 36.9876
48 | -4.8902 | -2.3094 | 4.8903 | 2.309 | 0.00010931 | -0.00036526 | 0.15633 | 0.15632 | 0.15633 | 0.99864 | -0.044885 | 0.99867 | -0.044418 | 37.1331
49 | 1.3857 | 0.64037 | -1.3856 | -0.6409 | 6.2415e-05 | -0.00053591 | 0.044464 | 0.044471 | 0.044471 | 0.99104 | -0.071151 | 0.991 | -0.070799 | 20.2142
50 | 1.2939 | 0.60723 | -1.2937 | -0.60956 | 0.000237 | -0.0023289 | 0.041635 | 0.041665 | 0.041665 | 0.991 | -0.070799 | 0.99083 | -0.069306 | 18.9387
51 | 0.091711 | 0.03367 | -0.091706 | -0.044062 | 4.982e-06 | -0.010392 | 0.0028459 | 0.0029639 | 0.0029639 | 0.991 | -0.070799 | 0.99094 | -0.070463 | 1.3472
52 | 2.698 | 1.2401 | -2.6966 | -1.2428 | 0.0013646 | -0.0027667 | 0.086694 | 0.086733 | 0.086733 | 0.98872 | -0.1661 | 0.98825 | -0.16218 | 39.4242
53 | 0.34319 | 0.15551 | -0.34311 | -0.16609 | 7.4251e-05 | -0.010578 | 0.011001 | 0.011132 | 0.011132 | 0.98872 | -0.1661 | 0.98852 | -0.16435 | 5.06
54 | 0.35227 | 0.16822 | -0.35227 | -0.16844 | 1.6185e-06 | -0.00021943 | 0.01137 | 0.011373 | 0.011373 | 0.99112 | -0.18687 | 0.99112 | -0.18683 | 5.1694
55 | -0.21288 | -0.1031 | 0.21288 | 0.103 | 2.6622e-07 | -9.5939e-05 | 0.0069345 | 0.0069333 | 0.0069345 | 0.98463 | -0.13732 | 0.98463 | -0.13733 | 3.1521
56 | -0.21288 | -0.103 | 0.21292 | 0.10244 | 4.3634e-05 | -0.00056308 | 0.0069333 | 0.0069258 | 0.0069333 | 0.98463 | -0.13733 | 0.98485 | -0.13596 | 3.3016
57 | -0.38909 | -0.18776 | 0.38909 | 0.18742 | 3.2039e-06 | -0.00034575 | 0.012663 | 0.012659 | 0.012663 | 0.98485 | -0.13596 | 0.98485 | -0.13603 | 5.7561
58 | -0.38909 | -0.18742 | 0.38914 | 0.18253 | 4.5087e-05 | -0.0048918 | 0.012659 | 0.012597 | 0.012659 | 0.98485 | -0.13603 | 0.98496 | -0.137 | 5.7541
59 | -0.24701 | -0.11963 | 0.24702 | 0.11954 | 9.2656e-06 | -8.7861e-05 | 0.0080317 | 0.0080305 | 0.0080317 | 0.98643 | -0.14769 | 0.98647 | -0.14744 | 3.8246
60 | 1.7146 | 0.78301 | -1.7131 | -0.79095 | 0.0014682 | -0.0079405 | 0.055159 | 0.055262 | 0.055262 | 0.98647 | -0.14744 | 0.98568 | -0.14085 | 25.1189
61 | -1.9616 | -0.90255 | 1.9628 | 0.89758 | 0.0012201 | -0.004965 | 0.063188 | 0.063123 | 0.063188 | 0.98647 | -0.14744 | 0.98705 | -0.15221 | 28.7218
62 | 0.28726 | 0.13594 | -0.28725 | -0.13865 | 1.3567e-05 | -0.0027071 | 0.0093075 | 0.0093417 | 0.0093417 | 0.98568 | -0.14085 | 0.98564 | -0.14045 | 4.2462
63 | 0.78233 | 0.36573 | -0.78222 | -0.36878 | 0.00011396 | -0.0030565 | 0.025292 | 0.025331 | 0.025331 | 0.98568 | -0.14085 | 0.98555 | -0.13967 | 11.5139
64 | 0.64354 | 0.28928 | -0.64314 | -0.30501 | 0.00039335 | -0.015733 | 0.020664 | 0.020858 | 0.020858 | 0.98568 | -0.14085 | 0.98512 | -0.13608 | 9.4811
65 | -2.2961 | -1.059 | 2.299 | 1.0506 | 0.0028964 | -0.0083945 | 0.07395 | 0.073838 | 0.07395 | 0.98705 | -0.15221 | 0.98822 | -0.1619 | 33.6138
66 | 0.33328 | 0.16138 | -0.33327 | -0.16141 | 6.932e-06 | -3.4239e-05 | 0.01083 | 0.01083 | 0.01083 | 0.98705 | -0.15221 | 0.98703 | -0.15235 | 5.1572
67 | 0.38914 | 0.18211 | -0.38914 | -0.18253 | 3.7954e-06 | -0.00041403 | 0.012592 | 0.012597 | 0.012597 | 0.98497 | -0.13708 | 0.98496 | -0.137 | 5.726
68 | -0.64305 | -0.30509 | 0.64314 | 0.30501 | 9.0217e-05 | -7.8294e-05 | 0.02086 | 0.020858 | 0.02086 | 0.98497 | -0.13708 | 0.98512 | -0.13608 | 9.9334
69 | 0.17808 | 0.086147 | -0.17808 | -0.086247 | 5.3682e-06 | -0.0001007 | 0.005794 | 0.0057953 | 0.0057953 | 0.98564 | -0.14045 | 0.98561 | -0.14065 | 2.7597
70 | 0.10916 | 0.052502 | -0.10916 | -0.052867 | 7.1587e-06 | -0.00036522 | 0.0035478 | 0.0035525 | 0.0035525 | 0.98564 | -0.14045 | 0.98557 | -0.14089 | 1.6917
71 | 0.55444 | 0.25847 | -0.55442 | -0.2599 | 2.6736e-05 | -0.0014372 | 0.017918 | 0.017936 | 0.017936 | 0.98555 | -0.13967 | 0.9855 | -0.13928 | 8.1527
72 | -2.299 | -1.0506 | 2.2991 | 1.0503 | 8.5365e-05 | -0.00024817 | 0.073838 | 0.073834 | 0.073838 | 0.98822 | -0.1619 | 0.98825 | -0.16218 | 33.5625
73 | 0.55442 | 0.2599 | -0.55431 | -0.26563 | 0.00010701 | -0.0057219 | 0.017936 | 0.018008 | 0.018008 | 0.9855 | -0.13928 | 0.98533 | -0.13768 | 8.1855
74 | -0.15324 | -0.07422 | 0.15325 | 0.074138 | 3.2054e-06 | -8.1745e-05 | 0.0049894 | 0.0049883 | 0.0049894 | 0.98515 | -0.1388 | 0.98517 | -0.13866 | 2.3759
75 | -0.15325 | -0.074138 | 0.15327 | 0.073566 | 2.2391e-05 | -0.00057213 | 0.0049883 | 0.0049809 | 0.0049883 | 0.98517 | -0.13866 | 0.98533 | -0.13768 | 2.3754
76 | 0.40104 | 0.19206 | -0.40102 | -0.19422 | 2.1233e-05 | -0.0021615 | 0.013027 | 0.013055 | 0.013055 | 0.98533 | -0.13768 | 0.98528 | -0.13722 | 5.934
77 | 0.35227 | 0.16844 | -0.35226 | -0.16899 | 4.0788e-06 | -0.00055248 | 0.011373 | 0.01138 | 0.01138 | 0.99112 | -0.18683 | 0.99111 | -0.18673 | 5.1726
78 | 0.35226 | 0.16899 | -0.35225 | -0.1706 | 1.1912e-05 | -0.0016096 | 0.01138 | 0.0114 | 0.0114 | 0.99111 | -0.18673 | 0.99108 | -0.18644 | 5.1819
79 | -0.3431 | -0.16617 | 0.34311 | 0.16609 | 1.6974e-05 | -7.9037e-05 | 0.011133 | 0.011132 | 0.011133 | 0.98847 | -0.16468 | 0.98852 | -0.16435 | 5.3015
80 | 1.1153 | 0.52672 | -1.1152 | -0.52841 | 0.00012694 | -0.001687 | 0.035936 | 0.035958 | 0.035958 | 0.99083 | -0.069306 | 0.99072 | -0.068366 | 16.3444
81 | 0.17834 | 0.082841 | -0.17834 | -0.084212 | 2.5709e-06 | -0.0013705 | 0.005729 | 0.005746 | 0.005746 | 0.99083 | -0.069306 | 0.99081 | -0.06919 | 2.6118
82 | 0.091706 | 0.044062 | -0.091706 | -0.044415 | 1.7691e-07 | -0.00035311 | 0.0029639 | 0.0029683 | 0.0029683 | 0.99094 | -0.070463 | 0.99094 | -0.070446 | 1.3492
83 | 0.88595 | 0.42226 | -0.88586 | -0.42418 | 9.0818e-05 | -0.0019207 | 0.028597 | 0.028621 | 0.028621 | 0.99072 | -0.068366 | 0.99063 | -0.0675 | 13.0097
84 | 0.22925 | 0.10615 | -0.22924 | -0.1077 | 4.8183e-06 | -0.0015554 | 0.0073611 | 0.0073803 | 0.0073803 | 0.99072 | -0.068366 | 0.9907 | -0.068198 | 3.3547
85 | 0.10855 | 0.050413 | -0.10855 | -0.050736 | 2.2404e-07 | -0.00032306 | 0.0034871 | 0.003491 | 0.003491 | 0.99081 | -0.06919 | 0.99081 | -0.069174 | 1.5868
86 | 0.22924 | 0.1077 | -0.22924 | -0.10911 | 4.3871e-06 | -0.0014091 | 0.0073803 | 0.0073979 | 0.0073979 | 0.9907 | -0.068198 | 0.99068 | -0.06804 | 3.3627
87 | 0.13803 | 0.064937 | -0.13803 | -0.06629 | 1.5297e-06 | -0.0013534 | 0.0044449 | 0.0044619 | 0.0044619 | 0.99068 | -0.06804 | 0.99067 | -0.067948 | 2.0281
88 | 0.629 | 0.29978 | -0.62898 | -0.30097 | 2.8247e-05 | -0.0011932 | 0.020305 | 0.02032 | 0.02032 | 0.99063 | -0.0675 | 0.99059 | -0.067121 | 9.2363
89 | 0.10855 | 0.050736 | -0.10855 | -0.052573 | 1.2832e-06 | -0.0018362 | 0.003491 | 0.003514 | 0.003514 | 0.99081 | -0.069174 | 0.9908 | -0.069075 | 1.5973
90 | 0.13803 | 0.06629 | -0.13803 | -0.06685 | 6.3641e-07 | -0.00056003 | 0.0044619 | 0.004469 | 0.004469 | 0.99067 | -0.067948 | 0.99067 | -0.067908 | 2.0313
91 | 0.42044 | 0.19997 | -0.42044 | -0.20024 | 2.833e-06 | -0.00026917 | 0.013568 | 0.013571 | 0.013571 | 0.99059 | -0.067121 | 0.99058 | -0.067065 | 6.1687
92 | -2.2654 | -1.0972 | 2.2661 | 1.0949 | 0.00073736 | -0.0022588 | 0.072823 | 0.072791 | 0.072823 | 0.99779 | -0.03806 | 0.99809 | -0.040888 | 33.1012
93 | 0.10351 | 0.049773 | -0.10351 | -0.050133 | 2.229e-07 | -0.00035933 | 0.0033219 | 0.0033265 | 0.0033265 | 0.99809 | -0.040888 | 0.99809 | -0.040869 | 1.512
94 | -2.3696 | -1.1447 | 2.3703 | 1.1427 | 0.00071815 | -0.001997 | 0.076113 | 0.076086 | 0.076113 | 0.99809 | -0.040888 | 0.99837 | -0.043506 | 34.597
95 | -2.535 | -1.2224 | 2.535 | 1.2223 | 4.6166e-05 | -0.0001106 | 0.081374 | 0.081373 | 0.081374 | 0.99837 | -0.043506 | 0.99839 | -0.043663 | 36.9883
96 | 6.2252 | 2.9527 | -6.2247 | -2.9535 | 0.00043335 | -0.00074022 | 0.19912 | 0.19913 | 0.19913 | 0.99887 | -0.040821 | 0.99879 | -0.042265 | 47.3003
97 | 5.1999 | 2.4571 | -5.1993 | -2.4586 | 0.00053668 | -0.0015293 | 0.16622 | 0.16625 | 0.16625 | 0.99879 | -0.042265 | 0.99867 | -0.044418 | 39.4888
98 | 0.1214 | 0.055412 | -0.1214 | -0.058795 | 2.9467e-06 | -0.0033822 | 0.0038889 | 0.0039309 | 0.0039309 | 0.99058 | -0.067065 | 0.99056 | -0.066867 | 1.7868

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.0428 | 6.9923

## res_load
| p_mw | q_mvar
0 | 0.36052 | 0.17461
1 | 0.36001 | 0.17436
2 | 0.14126 | 0.068417
3 | 0.18957 | 0.091812
4 | 0.11877 | 0.057522
5 | 0.36951 | 0.17896
6 | 0.20963 | 0.10153
7 | 0.096789 | 0.046877
8 | 0.085945 | 0.041625
9 | 0.31732 | 0.15368
10 | 0.16971 | 0.082193
11 | 0.32063 | 0.15529
12 | 0.37753 | 0.18285
13 | 0.24873 | 0.12046
14 | 0.34008 | 0.16471
15 | 0.29124 | 0.14106
16 | 0.26439 | 0.12805
17 | 0.35938 | 0.17405
18 | 0.32316 | 0.15651
19 | 0.11477 | 0.055585
20 | 0.14029 | 0.067947
21 | 0.076339 | 0.036973
22 | 0.2426 | 0.1175
23 | 0.3219 | 0.1559
24 | 0.21288 | 0.1031
25 | 0.17617 | 0.085322
26 | 0.24701 | 0.11963
27 | 0.25391 | 0.12298
28 | 0.22778 | 0.11032
29 | 0.33327 | 0.16141
30 | 0.39751 | 0.19252
31 | 0.17808 | 0.086247
32 | 0.10916 | 0.052867
33 | 0.15324 | 0.07422
34 | 0.40102 | 0.19422
35 | 0.35225 | 0.1706
36 | 0.3431 | 0.16617
37 | 0.069785 | 0.033798
38 | 0.09121 | 0.044175
39 | 0.25686 | 0.1244
40 | 0.091706 | 0.044415
41 | 0.20854 | 0.101
42 | 0.10855 | 0.052573
43 | 2.2654 | 1.0972
44 | 0.10351 | 0.050133
45 | 0.16462 | 0.079728
46 | 1.0249 | 0.49637
47 | 0.30898 | 0.14965
48 | 0.46719 | 0.22627
49 | 0.13803 | 0.06685
50 | 0.29904 | 0.14483
51 | 0.1214 | 0.058795

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1