## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_257_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_257_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_257_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_257_0_node_7 | 20 | n |  | TRUE
4 | bus_MV_257_0_node_49 | 20 | n |  | TRUE
5 | bus_MV_257_0_node_8 | 20 | n |  | TRUE
6 | bus_MV_257_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_257_0_node_48 | 20 | n |  | TRUE
8 | bus_MV_257_0_node_3 | 20 | n |  | TRUE
9 | bus_MV_257_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_257_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_257_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_257_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_257_0_node_20 | 20 | n |  | TRUE
14 | bus_MV_257_0_node_21 | 20 | n |  | TRUE
15 | bus_MV_257_0_node_11 | 20 | n |  | TRUE
16 | bus_MV_257_0_node_12 | 20 | n |  | TRUE
17 | bus_MV_257_0_node_13 | 20 | n |  | TRUE
18 | bus_MV_257_0_node_15 | 20 | n |  | TRUE
19 | bus_MV_257_0_node_45 | 20 | n |  | TRUE
20 | bus_MV_257_0_node_14 | 20 | n |  | TRUE
21 | bus_MV_257_0_node_44 | 20 | n |  | TRUE
22 | bus_MV_257_0_node_43 | 20 | n |  | TRUE
23 | bus_MV_257_0_node_46 | 20 | n |  | TRUE
24 | bus_MV_257_0_node_39 | 20 | n |  | TRUE
25 | bus_MV_257_0_node_40 | 20 | n |  | TRUE
26 | bus_MV_257_0_node_41 | 20 | n |  | TRUE
27 | bus_MV_257_0_node_42 | 20 | n |  | TRUE
28 | bus_MV_257_0_node_16 | 20 | n |  | TRUE
29 | bus_MV_257_0_node_17 | 20 | n |  | TRUE
30 | bus_MV_257_0_node_18 | 20 | n |  | TRUE
31 | bus_MV_257_0_node_19 | 20 | n |  | TRUE
32 | bus_MV_257_0_node_22 | 20 | n |  | TRUE
33 | bus_MV_257_0_node_23 | 20 | n |  | TRUE
34 | bus_MV_257_0_node_24 | 20 | n |  | TRUE
35 | bus_MV_257_0_node_97 | 20 | n |  | TRUE
36 | bus_MV_257_0_node_96 | 20 | n |  | TRUE
37 | bus_MV_257_0_node_33 | 20 | n |  | TRUE
38 | bus_MV_257_0_node_25 | 20 | n |  | TRUE
39 | bus_MV_257_0_node_26 | 20 | n |  | TRUE
40 | bus_MV_257_0_node_27 | 20 | n |  | TRUE
41 | bus_MV_257_0_node_78 | 20 | n |  | TRUE
42 | bus_MV_257_0_node_79 | 20 | n |  | TRUE
43 | bus_MV_257_0_node_38 | 20 | n |  | TRUE
44 | bus_MV_257_0_node_28 | 20 | n |  | TRUE
45 | bus_MV_257_0_node_34 | 20 | n |  | TRUE
46 | bus_MV_257_0_node_35 | 20 | n |  | TRUE
47 | bus_MV_257_0_node_99 | 20 | n |  | TRUE
48 | bus_MV_257_0_node_36 | 20 | n |  | TRUE
49 | bus_MV_257_0_node_29 | 20 | n |  | TRUE
50 | bus_MV_257_0_node_30 | 20 | n |  | TRUE
51 | bus_MV_257_0_node_31 | 20 | n |  | TRUE
52 | bus_MV_257_0_node_32 | 20 | n |  | TRUE
53 | bus_MV_257_0_node_86 | 20 | n |  | TRUE
54 | bus_MV_257_0_node_94 | 20 | n |  | TRUE
55 | bus_MV_257_0_node_75 | 20 | n |  | TRUE
56 | bus_MV_257_0_node_77 | 20 | n |  | TRUE
57 | bus_MV_257_0_node_83 | 20 | n |  | TRUE
58 | bus_MV_257_0_node_70 | 20 | n |  | TRUE
59 | bus_MV_257_0_node_69 | 20 | n |  | TRUE
60 | bus_MV_257_0_node_63 | 20 | n |  | TRUE
61 | bus_MV_257_0_node_37 | 20 | n |  | TRUE
62 | bus_MV_257_0_node_47 | 20 | n |  | TRUE
63 | bus_MV_257_0_node_68 | 20 | n |  | TRUE
64 | bus_MV_257_0_node_66 | 20 | n |  | TRUE
65 | bus_MV_257_0_node_50 | 20 | n |  | TRUE
66 | bus_MV_257_0_node_51 | 20 | n |  | TRUE
67 | bus_MV_257_0_node_52 | 20 | n |  | TRUE
68 | bus_MV_257_0_node_53 | 20 | n |  | TRUE
69 | bus_MV_257_0_node_76 | 20 | n |  | TRUE
70 | bus_MV_257_0_node_57 | 20 | n |  | TRUE
71 | bus_MV_257_0_node_54 | 20 | n |  | TRUE
72 | bus_MV_257_0_node_55 | 20 | n |  | TRUE
73 | bus_MV_257_0_node_56 | 20 | n |  | TRUE
74 | bus_MV_257_0_node_62 | 20 | n |  | TRUE
75 | bus_MV_257_0_node_71 | 20 | n |  | TRUE
76 | bus_MV_257_0_node_101 | 20 | n |  | TRUE
77 | bus_MV_257_0_node_60 | 20 | n |  | TRUE
78 | bus_MV_257_0_node_72 | 20 | n |  | TRUE
79 | bus_MV_257_0_node_58 | 20 | n |  | TRUE
80 | bus_MV_257_0_node_59 | 20 | n |  | TRUE
81 | bus_MV_257_0_node_61 | 20 | n |  | TRUE
82 | bus_MV_257_0_node_102 | 20 | n |  | TRUE
83 | bus_MV_257_0_node_64 | 20 | n |  | TRUE
84 | bus_MV_257_0_node_100 | 20 | n |  | TRUE
85 | bus_MV_257_0_node_65 | 20 | n |  | TRUE
86 | bus_MV_257_0_node_67 | 20 | n |  | TRUE
87 | bus_MV_257_0_node_73 | 20 | n |  | TRUE
88 | bus_MV_257_0_node_74 | 20 | n |  | TRUE
89 | bus_MV_257_0_node_80 | 20 | n |  | TRUE
90 | bus_MV_257_0_node_91 | 20 | n |  | TRUE
91 | bus_MV_257_0_node_90 | 20 | n |  | TRUE
92 | bus_MV_257_0_node_87 | 20 | n |  | TRUE
93 | bus_MV_257_0_node_81 | 20 | n |  | TRUE
94 | bus_MV_257_0_node_82 | 20 | n |  | TRUE
95 | bus_MV_257_0_node_84 | 20 | n |  | TRUE
96 | bus_MV_257_0_node_85 | 20 | n |  | TRUE
97 | bus_MV_257_0_node_88 | 20 | n |  | TRUE
98 | bus_MV_257_0_node_89 | 20 | n |  | TRUE
99 | bus_MV_257_0_node_98 | 20 | n |  | TRUE
100 | bus_MV_257_0_node_93 | 20 | n |  | TRUE
101 | bus_MV_257_0_node_92 | 20 | n |  | TRUE
102 | bus_HV_257_0_node_29 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_257_0_load_0 | 0 | 0.27855 | 0.13491 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_257_0_load_49 | 4 | 0.075182 | 0.036413 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_257_0_load_6 | 6 | 0.22016 | 0.10663 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_257_0_load_48 | 7 | 0.1121 | 0.054295 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_257_0_load_3 | 8 | 0.22396 | 0.10847 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_257_0_load_9 | 12 | 0.2999 | 0.14525 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_257_0_load_20 | 13 | 0.15519 | 0.075162 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_257_0_load_11 | 15 | 0.33167 | 0.16063 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_257_0_load_45 | 19 | 1.0568 | 0.51185 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_257_0_load_44 | 21 | 0.11826 | 0.057275 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_257_0_load_43 | 22 | 0.16944 | 0.082066 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_257_0_load_39 | 24 | 0.21468 | 0.10397 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_257_0_load_40 | 25 | 0.24372 | 0.11804 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_257_0_load_41 | 26 | 0.26571 | 0.12869 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_257_0_load_16 | 28 | 0.236 | 0.1143 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_257_0_load_18 | 30 | 0.089712 | 0.04345 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_257_0_load_19 | 31 | 0.081888 | 0.03966 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_257_0_load_22 | 32 | 0.31994 | 0.15495 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_257_0_load_97 | 35 | 0.39535 | 0.19148 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_257_0_load_96 | 36 | 0.31536 | 0.15274 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_257_0_load_33 | 37 | 0.31939 | 0.15469 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_257_0_load_25 | 38 | 0.1772 | 0.085824 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_257_0_load_78 | 41 | 0.091758 | 0.04444 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_257_0_load_38 | 43 | 0.15195 | 0.073593 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_257_0_load_35 | 46 | 0.27241 | 0.13194 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_257_0_load_99 | 47 | 0.0867 | 0.041991 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_257_0_load_29 | 49 | 0.14797 | 0.071665 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_257_0_load_86 | 53 | 3.3965 | 1.645 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_257_0_load_94 | 54 | 0.079917 | 0.038706 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_257_0_load_77 | 56 | 0.090501 | 0.043831 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_257_0_load_69 | 59 | 0.28053 | 0.13587 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_257_0_load_63 | 60 | 0.11522 | 0.055803 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_257_0_load_68 | 63 | 0.68176 | 0.33019 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_257_0_load_50 | 65 | 0.081839 | 0.039636 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_257_0_load_51 | 66 | 0.1292 | 0.062573 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_257_0_load_76 | 69 | 0.43415 | 0.21027 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_257_0_load_54 | 71 | 0.088943 | 0.043077 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_257_0_load_62 | 74 | 0.40195 | 0.19467 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_257_0_load_71 | 75 | 0.68799 | 0.33321 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_257_0_load_101 | 76 | 0.3042 | 0.14733 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_257_0_load_72 | 78 | 0.4263 | 0.20647 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_257_0_load_58 | 79 | 0.21787 | 0.10552 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_257_0_load_59 | 80 | 0.37487 | 0.18156 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_257_0_load_102 | 82 | 0.1431 | 0.069308 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_257_0_load_100 | 84 | 0.095457 | 0.046232 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_257_0_load_65 | 85 | 0.31118 | 0.15071 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_257_0_load_73 | 87 | 0.26525 | 0.12847 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_257_0_load_74 | 88 | 0.11207 | 0.054277 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_257_0_load_91 | 90 | 0.21637 | 0.10479 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_257_0_load_87 | 92 | 0.071853 | 0.0348 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_257_0_load_81 | 93 | 0.14399 | 0.069739 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_257_0_load_82 | 94 | 0.069721 | 0.033767 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_257_0_load_85 | 96 | 0.092603 | 0.04485 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_257_0_load_98 | 99 | 0.25165 | 0.12188 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_257_0_load_93 | 100 | 0.30135 | 0.14595 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_257_0_load_92 | 101 | 0.089864 | 0.043523 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_257_0_line_0 |  | 0 | 1 | 0.070673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_257_0_line_1 |  | 1 | 2 | 0.70128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_257_0_line_2 |  | 2 | 3 | 0.073072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_257_0_line_3 |  | 2 | 4 | 0.0268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_257_0_line_4 |  | 3 | 5 | 0.16677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_257_0_line_5 |  | 3 | 6 | 0.12489 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_257_0_line_6 |  | 4 | 7 | 0.031893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_257_0_line_7 |  | 5 | 11 | 0.18036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_257_0_line_8 |  | 5 | 12 | 0.043242 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_257_0_line_9 |  | 7 | 31 | 0.025336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_257_0_line_10 |  | 8 | 9 | 0.12296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_257_0_line_11 |  | 9 | 10 | 0.065099 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_257_0_line_12 |  | 10 | 12 | 0.060421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_257_0_line_13 |  | 11 | 13 | 0.065633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_257_0_line_14 |  | 13 | 14 | 0.16273 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_257_0_line_15 |  | 14 | 17 | 0.10234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_257_0_line_16 |  | 15 | 16 | 0.10204 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_257_0_line_17 |  | 16 | 17 | 0.27802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_257_0_line_18 |  | 16 | 18 | 0.27378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_257_0_line_19 |  | 17 | 19 | 0.089069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_257_0_line_20 |  | 18 | 22 | 0.072425 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_257_0_line_21 |  | 18 | 20 | 0.25656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_257_0_line_22 |  | 19 | 23 | 0.20916 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
23 | MV_257_0_line_23 |  | 20 | 21 | 0.016688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_257_0_line_24 |  | 22 | 27 | 0.019009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_257_0_line_25 |  | 23 | 62 | 0.070838 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_257_0_line_26 |  | 24 | 25 | 0.02961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_257_0_line_27 |  | 25 | 26 | 0.082306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_257_0_line_28 |  | 26 | 27 | 0.12669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_257_0_line_29 |  | 28 | 29 | 0.058076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_257_0_line_30 |  | 28 | 30 | 0.075335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_257_0_line_31 |  | 29 | 31 | 0.11537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_257_0_line_32 |  | 32 | 33 | 0.040221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_257_0_line_33 |  | 33 | 34 | 0.34313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_257_0_line_34 |  | 34 | 36 | 0.058494 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_257_0_line_35 |  | 35 | 36 | 0.8861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_257_0_line_36 |  | 35 | 37 | 0.55307 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_257_0_line_37 |  | 37 | 45 | 0.028776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_257_0_line_38 |  | 38 | 39 | 0.043334 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_257_0_line_39 |  | 39 | 40 | 0.45541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_257_0_line_40 |  | 40 | 44 | 0.22802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_257_0_line_41 |  | 40 | 45 | 0.29086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_257_0_line_42 |  | 40 | 46 | 0.019539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_257_0_line_43 |  | 41 | 42 | 0.098181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_257_0_line_44 |  | 41 | 43 | 0.49617 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_257_0_line_45 |  | 42 | 89 | 0.32914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_257_0_line_46 |  | 43 | 61 | 0.1039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_257_0_line_47 |  | 44 | 47 | 0.044504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_257_0_line_48 |  | 46 | 48 | 0.070243 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_257_0_line_49 |  | 48 | 61 | 0.28545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_257_0_line_50 |  | 49 | 50 | 0.051509 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
51 | MV_257_0_line_51 |  | 50 | 51 | 0.19897 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_257_0_line_52 |  | 50 | 52 | 0.35062 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_257_0_line_53 |  | 51 | 53 | 0.12694 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
54 | MV_257_0_line_54 |  | 51 | 54 | 0.039702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_257_0_line_55 |  | 52 | 55 | 0.19649 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_257_0_line_56 |  | 52 | 56 | 0.13225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_257_0_line_57 |  | 53 | 57 | 0.06666 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_257_0_line_58 |  | 55 | 60 | 0.047976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_257_0_line_59 |  | 55 | 58 | 0.067328 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_257_0_line_60 |  | 57 | 96 | 0.04593 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_257_0_line_61 |  | 57 | 93 | 0.073438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_257_0_line_62 |  | 58 | 59 | 0.0031373 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_257_0_line_63 |  | 59 | 86 | 0.01218 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
64 | MV_257_0_line_64 |  | 60 | 81 | 0.097643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_257_0_line_65 |  | 62 | 63 | 0.0066403 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_257_0_line_66 |  | 63 | 64 | 0.047661 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_257_0_line_67 |  | 64 | 85 | 0.0085161 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_257_0_line_68 |  | 65 | 66 | 0.037757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_257_0_line_69 |  | 66 | 67 | 0.015453 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_257_0_line_70 |  | 67 | 68 | 0.015793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_257_0_line_71 |  | 68 | 69 | 0.037571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_257_0_line_72 |  | 69 | 70 | 0.052897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_257_0_line_73 |  | 70 | 73 | 0.15601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_257_0_line_74 |  | 71 | 72 | 0.090946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_257_0_line_75 |  | 72 | 73 | 0.40419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_257_0_line_76 |  | 73 | 74 | 0.019477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_257_0_line_77 |  | 73 | 75 | 0.03703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_257_0_line_78 |  | 74 | 76 | 0.040388 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_257_0_line_79 |  | 74 | 77 | 0.056145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_257_0_line_80 |  | 75 | 78 | 0.02949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_257_0_line_81 |  | 76 | 82 | 0.025375 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_257_0_line_82 |  | 77 | 81 | 0.013473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_257_0_line_83 |  | 77 | 79 | 0.049318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_257_0_line_84 |  | 78 | 87 | 0.0043597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_257_0_line_85 |  | 79 | 80 | 0.0034538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_257_0_line_86 |  | 81 | 83 | 0.78355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_257_0_line_87 |  | 83 | 84 | 0.053744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_257_0_line_88 |  | 85 | 86 | 0.01963 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
89 | MV_257_0_line_89 |  | 87 | 88 | 0.0022988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_257_0_line_90 |  | 89 | 90 | 0.0040019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_257_0_line_91 |  | 89 | 91 | 0.054455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_257_0_line_92 |  | 91 | 92 | 0.12113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_257_0_line_93 |  | 92 | 95 | 0.086103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_257_0_line_94 |  | 93 | 94 | 0.058927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_257_0_line_95 |  | 94 | 95 | 0.059099 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_257_0_line_96 |  | 95 | 97 | 1.0305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_257_0_line_97 |  | 96 | 98 | 0.070346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_257_0_line_98 |  | 97 | 99 | 0.18017 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
99 | MV_257_0_line_99 |  | 98 | 100 | 0.012918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_257_0_line_100 |  | 100 | 101 | 0.1067 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_257_0_trafo_29 | 25 MVA 110/20 kV | 102 | 49 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2721913.4946 | 1078426.7935
1 | 2721879.3547 | 1078488.7113
2 | 2721646.6612 | 1078402.3575
3 | 2721582.0067 | 1078368.5657
4 | 2721671.5509 | 1078395.8691
5 | 2721419.6189 | 1078333.927
6 | 2721523.7062 | 1078479.0166
7 | 2721695.6476 | 1078375.0888
8 | 2721167.213 | 1078399.6423
9 | 2721254.1801 | 1078312.7194
10 | 2721316.9933 | 1078318.1172
11 | 2721542.7603 | 1078228.1261
12 | 2721376.797 | 1078327.9145
13 | 2721581.5231 | 1078192.6288
14 | 2721730.1196 | 1078125.4004
15 | 2721952.6325 | 1077966.487
16 | 2721999.6623 | 1078057.0379
17 | 2721731.1907 | 1078025.1047
18 | 2722228.8407 | 1077977.3808
19 | 2721700.1377 | 1077942
20 | 2722280.8495 | 1077911.0087
21 | 2722267.9166 | 1077921.555
22 | 2722276.7173 | 1078031.7246
23 | 2721631.4929 | 1077744.4231
24 | 2722325.6454 | 1078119.0869
25 | 2722352.2335 | 1078106.0555
26 | 2722379.7934 | 1078049.5624
27 | 2722287.7838 | 1078047.2022
28 | 2721753.2103 | 1078257.4904
29 | 2721796.6384 | 1078277.1164
30 | 2721690.1072 | 1078291.9976
31 | 2721713.8323 | 1078357.4476
32 | 2720308.8818 | 1079233.8451
33 | 2720318.7597 | 1079195.1567
34 | 2720418.4731 | 1079036.4892
35 | 2720430.7781 | 1078102.1713
36 | 2720451.241 | 1078988.035
37 | 2719948.6647 | 1077831.1403
38 | 2719522.7854 | 1077595.7312
39 | 2719496.2953 | 1077630.0255
40 | 2719642.9901 | 1077792.0627
41 | 2720449.0683 | 1077499.1116
42 | 2720515.9559 | 1077570.9826
43 | 2719956.2294 | 1077441.7202
44 | 2719668.68 | 1077913.276
45 | 2719919.8936 | 1077828.8394
46 | 2719659.2295 | 1077781.129
47 | 2719706.537 | 1077936.8582
48 | 2719713.7916 | 1077736.8904
49 | 2721188.3808 | 1077760.7903
50 | 2721137.6987 | 1077751.5989
51 | 2721011.7664 | 1077759.1261
52 | 2721390.797 | 1077582.6097
53 | 2721014.0883 | 1077632.3809
54 | 2721014.9927 | 1077798.6971
55 | 2721565.6745 | 1077523.1837
56 | 2721453.7785 | 1077667.6512
57 | 2721012.1793 | 1077565.7502
58 | 2721576.3067 | 1077585.1072
59 | 2721577.338 | 1077588.0701
60 | 2721611.2702 | 1077508.2859
61 | 2719912.4404 | 1077535.4264
62 | 2721608.4502 | 1077677.4372
63 | 2721606.2669 | 1077671.1661
64 | 2721590.5961 | 1077626.1551
65 | 2721723.5822 | 1077711.8926
66 | 2721759.3346 | 1077699.7541
67 | 2721773.967 | 1077694.7861
68 | 2721787.5275 | 1077688.23
69 | 2721775.6083 | 1077652.6005
70 | 2721800.6374 | 1077612.4591
71 | 2722034.8878 | 1077675.7405
72 | 2721962.836 | 1077723.0478
73 | 2721740.6552 | 1077551.7507
74 | 2721726.6513 | 1077542.7535
75 | 2721752.7795 | 1077586.7395
76 | 2721710.0098 | 1077579.5541
77 | 2721708.211 | 1077489.7136
78 | 2721763.8526 | 1077613.8082
79 | 2721698.3643 | 1077525.5819
80 | 2721699.4631 | 1077528.8563
81 | 2721703.763 | 1077476.9934
82 | 2721685.588 | 1077586.4453
83 | 2722168.2202 | 1077236.3945
84 | 2722219.1108 | 1077218.6791
85 | 2721587.796 | 1077618.1125
86 | 2721581.3418 | 1077599.5736
87 | 2721765.238 | 1077617.9418
88 | 2721765.9686 | 1077620.1215
89 | 2720803.4126 | 1077432.4925
90 | 2720803.502 | 1077436.4934
91 | 2720802.8286 | 1077378.0528
92 | 2720923.8757 | 1077376.2834
93 | 2721011.4426 | 1077492.3162
94 | 2721010.6268 | 1077433.3945
95 | 2721009.8957 | 1077374.2998
96 | 2720972.1458 | 1077588.2647
97 | 2721222.2669 | 1076416.146
98 | 2720910.831 | 1077622.7477
99 | 2721299.0843 | 1076253.1773
100 | 2720913.6351 | 1077635.3568
101 | 2720808.3684 | 1077652.8053
102 | 2721188.3808 | 1077760.7903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99516 | -0.013654 | 0.27855 | 0.13491
1 | 0.99518 | -0.013888 | 0 | 0
2 | 0.99543 | -0.015798 | 0 | 0
3 | 0.99551 | -0.016442 | 0 | 0
4 | 0.99541 | -0.015619 | 0.075182 | 0.036413
5 | 0.99574 | -0.018321 | 0 | 0
6 | 0.99546 | -0.016778 | 0.22016 | 0.10663
7 | 0.99539 | -0.015433 | 0.1121 | 0.054295
8 | 0.99563 | -0.017995 | 0.22396 | 0.10847
9 | 0.99567 | -0.018316 | 0 | 0
10 | 0.99568 | -0.018476 | 0 | 0
11 | 0.99612 | -0.021376 | 0 | 0
12 | 0.9957 | -0.018619 | 0.2999 | 0.14525
13 | 0.99625 | -0.022475 | 0.15519 | 0.075162
14 | 0.99662 | -0.025474 | 0 | 0
15 | 0.99631 | -0.023654 | 0.33167 | 0.16063
16 | 0.99637 | -0.023242 | 0 | 0
17 | 0.99685 | -0.027339 | 0 | 0
18 | 0.99602 | -0.020181 | 0 | 0
19 | 0.9972 | -0.03024 | 1.0568 | 0.51185
20 | 0.99598 | -0.019872 | 0 | 0
21 | 0.99598 | -0.019848 | 0.11826 | 0.057275
22 | 0.99589 | -0.021008 | 0.16944 | 0.082066
23 | 0.99767 | -0.024931 | 0 | 0
24 | 0.9957 | -0.019254 | 0.21468 | 0.10397
25 | 0.99571 | -0.01933 | 0.24372 | 0.11804
26 | 0.99576 | -0.019776 | 0.26571 | 0.12869
27 | 0.99588 | -0.020849 | 0 | 0
28 | 0.99531 | -0.014678 | 0.236 | 0.1143
29 | 0.99533 | -0.014898 | 0 | 0
30 | 0.9953 | -0.014601 | 0.089712 | 0.04345
31 | 0.99538 | -0.015318 | 0.081888 | 0.03966
32 | 0.98985 | -0.017893 | 0.31994 | 0.15495
33 | 0.98987 | -0.018049 | 0 | 0
34 | 0.99001 | -0.019279 | 0 | 0
35 | 0.99114 | -0.011335 | 0.39535 | 0.19148
36 | 0.99005 | -0.019002 | 0.31536 | 0.15274
37 | 0.99225 | -0.0038321 | 0.31939 | 0.15469
38 | 0.99268 | -0.0080592 | 0.1772 | 0.085824
39 | 0.9927 | -0.007965 | 0 | 0
40 | 0.9928 | -0.0087853 | 0 | 0
41 | 0.99599 | -0.00085911 | 0.091758 | 0.04444
42 | 0.99625 | -0.0030974 | 0 | 0
43 | 0.99403 | -0.01518 | 0.15195 | 0.073593
44 | 0.99278 | -0.0086004 | 0 | 0
45 | 0.9923 | -0.0042846 | 0 | 0
46 | 0.99284 | -0.0091238 | 0.27241 | 0.13194
47 | 0.99277 | -0.008555 | 0.0867 | 0.041991
48 | 0.9931 | -0.0072802 | 0 | 0
49 | 1 | 0 | -16.3257 | -7.6165
50 | 0.99972 | -0.015921 | 0 | 0
51 | 0.99927 | -0.017829 | 0 | 0
52 | 0.99864 | -0.020678 | 0 | 0
53 | 0.9989 | -0.024586 | 3.3965 | 1.645
54 | 0.99927 | -0.017792 | 0.079917 | 0.038706
55 | 0.99804 | -0.023268 | 0 | 0
56 | 0.99863 | -0.020548 | 0.090501 | 0.043831
57 | 0.99861 | -0.022292 | 0 | 0
58 | 0.99792 | -0.023795 | 0 | 0
59 | 0.99792 | -0.023819 | 0.28053 | 0.13587
60 | 0.99781 | -0.021178 | 0.11522 | 0.055803
61 | 0.99378 | -0.013096 | 0 | 0
62 | 0.99777 | -0.024493 | 0 | 0
63 | 0.99778 | -0.024452 | 0.68176 | 0.33019
64 | 0.99785 | -0.024116 | 0 | 0
65 | 0.99681 | -0.01222 | 0.081839 | 0.039636
66 | 0.99681 | -0.012256 | 0.1292 | 0.062573
67 | 0.99682 | -0.012294 | 0 | 0
68 | 0.99682 | -0.012333 | 0 | 0
69 | 0.99683 | -0.012423 | 0.43415 | 0.21027
70 | 0.99687 | -0.012823 | 0 | 0
71 | 0.99695 | -0.013635 | 0.088943 | 0.043077
72 | 0.99696 | -0.013726 | 0 | 0
73 | 0.997 | -0.013978 | 0 | 0
74 | 0.99706 | -0.014474 | 0.40195 | 0.19467
75 | 0.99693 | -0.013317 | 0.68799 | 0.33321
76 | 0.99702 | -0.014693 | 0.3042 | 0.14733
77 | 0.99728 | -0.016471 | 0 | 0
78 | 0.9969 | -0.013032 | 0.4263 | 0.20647
79 | 0.99724 | -0.016122 | 0.21787 | 0.10552
80 | 0.99724 | -0.016106 | 0.37487 | 0.18156
81 | 0.99734 | -0.017045 | 0 | 0
82 | 0.99701 | -0.014738 | 0.1431 | 0.069308
83 | 0.99725 | -0.016676 | 0 | 0
84 | 0.99724 | -0.016617 | 0.095457 | 0.046232
85 | 0.99786 | -0.024056 | 0.31118 | 0.15071
86 | 0.9979 | -0.02391 | 0 | 0
87 | 0.9969 | -0.013013 | 0.26525 | 0.12847
88 | 0.9969 | -0.013009 | 0.11207 | 0.054277
89 | 0.99715 | -0.010485 | 0 | 0
90 | 0.99715 | -0.010475 | 0.21637 | 0.10479
91 | 0.99731 | -0.011832 | 0 | 0
92 | 0.99767 | -0.014809 | 0.071853 | 0.0348
93 | 0.99834 | -0.020167 | 0.14399 | 0.069739
94 | 0.99814 | -0.018557 | 0.069721 | 0.033767
95 | 0.99794 | -0.016985 | 0 | 0
96 | 0.99858 | -0.022033 | 0.092603 | 0.04485
97 | 0.99761 | -0.01469 | 0 | 0
98 | 0.99855 | -0.021709 | 0 | 0
99 | 0.99752 | -0.015242 | 0.25165 | 0.12188
100 | 0.99854 | -0.021649 | 0.30135 | 0.14595
101 | 0.99852 | -0.021765 | 0.089864 | 0.043523
102 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.27855 | -0.13491 | 0.27856 | 0.13324 | 7.5872e-06 | -0.0016689 | 0.0089781 | 0.0089571 | 0.0089781 | 0.99516 | -0.013654 | 0.99518 | -0.013888 | 4.081
1 | -0.27856 | -0.13324 | 0.27864 | 0.11668 | 7.3425e-05 | -0.016565 | 0.0089571 | 0.0087602 | 0.0089571 | 0.99518 | -0.013888 | 0.99543 | -0.015798 | 4.0714
2 | -0.87358 | -0.39694 | 0.87366 | 0.39523 | 7.5479e-05 | -0.0017065 | 0.027826 | 0.027806 | 0.027826 | 0.99543 | -0.015798 | 0.99551 | -0.016442 | 12.6484
3 | 0.59495 | 0.28026 | -0.59493 | -0.28089 | 1.3019e-05 | -0.00063018 | 0.019072 | 0.01908 | 0.01908 | 0.99543 | -0.015798 | 0.99541 | -0.015619 | 8.6726
4 | -1.0938 | -0.50172 | 1.0941 | 0.49785 | 0.00027074 | -0.0038667 | 0.034896 | 0.034848 | 0.034896 | 0.99551 | -0.016442 | 0.99574 | -0.018321 | 15.8618
5 | 0.22017 | 0.10649 | -0.22016 | -0.10663 | 1.1195e-05 | -0.00014074 | 0.007092 | 0.0070939 | 0.0070939 | 0.99551 | -0.016442 | 0.99546 | -0.016778 | 3.378
6 | 0.51975 | 0.24448 | -0.51974 | -0.24523 | 1.182e-05 | -0.00075098 | 0.016657 | 0.016667 | 0.016667 | 0.99541 | -0.015619 | 0.99539 | -0.015433 | 7.5757
7 | -1.618 | -0.74565 | 1.6186 | 0.74157 | 0.00064167 | -0.0040811 | 0.051649 | 0.051597 | 0.051649 | 0.99574 | -0.018321 | 0.99612 | -0.021376 | 23.4766
8 | 0.5239 | 0.2478 | -0.52387 | -0.24784 | 2.175e-05 | -3.7559e-05 | 0.016801 | 0.016802 | 0.016802 | 0.99574 | -0.018321 | 0.9957 | -0.018619 | 8.001
9 | 0.40763 | 0.19094 | -0.40763 | -0.19153 | 5.7674e-06 | -0.00059764 | 0.013054 | 0.013062 | 0.013062 | 0.99539 | -0.015433 | 0.99538 | -0.015318 | 5.9372
10 | -0.22396 | -0.10847 | 0.22397 | 0.10556 | 8.5016e-06 | -0.0029077 | 0.007215 | 0.0071786 | 0.007215 | 0.99563 | -0.017995 | 0.99567 | -0.018316 | 3.2795
11 | -0.22397 | -0.10556 | 0.22397 | 0.10402 | 4.4666e-06 | -0.0015396 | 0.0071786 | 0.0071596 | 0.0071786 | 0.99567 | -0.018316 | 0.99568 | -0.018476 | 3.263
12 | -0.22397 | -0.10402 | 0.22397 | 0.10259 | 4.1247e-06 | -0.001429 | 0.0071596 | 0.0071423 | 0.0071596 | 0.99568 | -0.018476 | 0.9957 | -0.018619 | 3.2544
13 | -1.6186 | -0.74157 | 1.6189 | 0.74009 | 0.00023318 | -0.001486 | 0.051597 | 0.051578 | 0.051597 | 0.99612 | -0.021376 | 0.99625 | -0.022475 | 23.4531
14 | -1.7741 | -0.81525 | 1.7748 | 0.8116 | 0.00069471 | -0.0036515 | 0.056574 | 0.056527 | 0.056574 | 0.99625 | -0.022475 | 0.99662 | -0.025474 | 25.7152
15 | -1.7748 | -0.8116 | 1.7752 | 0.8093 | 0.00043633 | -0.0022981 | 0.056527 | 0.056498 | 0.056527 | 0.99662 | -0.025474 | 0.99685 | -0.027339 | 25.6941
16 | -0.33167 | -0.16063 | 0.33169 | 0.16053 | 2.0724e-05 | -0.00010794 | 0.010678 | 0.010676 | 0.010678 | 0.99631 | -0.023654 | 0.99637 | -0.023242 | 5.0846
17 | -1.3441 | -0.63165 | 1.3448 | 0.62526 | 0.00068588 | -0.0063896 | 0.043029 | 0.042948 | 0.043029 | 0.99637 | -0.023242 | 0.99685 | -0.027339 | 19.5584
18 | 1.0124 | 0.47112 | -1.0121 | -0.47749 | 0.00038353 | -0.0063735 | 0.032353 | 0.032433 | 0.032433 | 0.99637 | -0.023242 | 0.99602 | -0.020181 | 14.7423
19 | -3.12 | -1.4346 | 3.1212 | 1.4328 | 0.0011756 | -0.0017653 | 0.099445 | 0.099419 | 0.099445 | 0.99685 | -0.027339 | 0.9972 | -0.03024 | 45.2022
20 | 0.89379 | 0.42669 | -0.89369 | -0.42671 | 0.00010633 | -1.9161e-05 | 0.028705 | 0.028706 | 0.028706 | 0.99602 | -0.020181 | 0.99589 | -0.021008 | 13.6697
21 | 0.11826 | 0.050804 | -0.11826 | -0.056879 | 4.858e-06 | -0.0060753 | 0.0037305 | 0.0038034 | 0.0038034 | 0.99602 | -0.020181 | 0.99598 | -0.019872 | 1.7288
22 | -4.178 | -1.9446 | 4.1798 | 1.9388 | 0.0017968 | -0.005833 | 0.13341 | 0.13332 | 0.13341 | 0.9972 | -0.03024 | 0.99767 | -0.024931 | 36.8528
23 | 0.11826 | 0.056879 | -0.11826 | -0.057275 | 3.227e-07 | -0.00039515 | 0.0038034 | 0.0038084 | 0.0038084 | 0.99598 | -0.019872 | 0.99598 | -0.019848 | 1.7311
24 | 0.72424 | 0.34464 | -0.72423 | -0.34509 | 1.372e-05 | -0.00044606 | 0.023249 | 0.023255 | 0.023255 | 0.99589 | -0.021008 | 0.99588 | -0.020849 | 10.5703
25 | -4.1798 | -1.9388 | 4.1802 | 1.9346 | 0.0003889 | -0.0042116 | 0.13332 | 0.13327 | 0.13332 | 0.99767 | -0.024931 | 0.99777 | -0.024493 | 20.8966
26 | -0.21468 | -0.10397 | 0.21468 | 0.10327 | 1.888e-06 | -0.00070035 | 0.0069155 | 0.0069067 | 0.0069155 | 0.9957 | -0.019254 | 0.99571 | -0.01933 | 3.1434
27 | -0.4584 | -0.22131 | 0.45842 | 0.21937 | 2.3891e-05 | -0.0019413 | 0.014758 | 0.014733 | 0.014758 | 0.99571 | -0.01933 | 0.99576 | -0.019776 | 6.708
28 | -0.72414 | -0.34806 | 0.72423 | 0.34509 | 9.1608e-05 | -0.0029724 | 0.023292 | 0.023255 | 0.023292 | 0.99576 | -0.019776 | 0.99588 | -0.020849 | 10.5874
29 | -0.32572 | -0.15597 | 0.32572 | 0.1546 | 8.4919e-06 | -0.0013712 | 0.010474 | 0.010457 | 0.010474 | 0.99531 | -0.014678 | 0.99533 | -0.014898 | 4.761
30 | 0.089713 | 0.041668 | -0.089712 | -0.04345 | 8.3415e-07 | -0.0017816 | 0.002869 | 0.0028911 | 0.0028911 | 0.99531 | -0.014678 | 0.9953 | -0.014601 | 1.3141
31 | -0.32572 | -0.1546 | 0.32574 | 0.15187 | 1.6787e-05 | -0.002724 | 0.010457 | 0.010423 | 0.010457 | 0.99533 | -0.014898 | 0.99538 | -0.015318 | 4.7532
32 | -0.31994 | -0.15495 | 0.31995 | 0.15402 | 5.7645e-06 | -0.00093924 | 0.010367 | 0.010355 | 0.010367 | 0.98985 | -0.017893 | 0.98987 | -0.018049 | 4.7124
33 | -0.31995 | -0.15402 | 0.32 | 0.146 | 4.8647e-05 | -0.0080143 | 0.010355 | 0.010256 | 0.010355 | 0.98987 | -0.018049 | 0.99001 | -0.019279 | 4.707
34 | -0.32 | -0.146 | 0.32001 | 0.14594 | 1.0961e-05 | -6.1579e-05 | 0.010256 | 0.010255 | 0.010256 | 0.99001 | -0.019279 | 0.99005 | -0.019002 | 4.8838
35 | 0.63603 | 0.29805 | -0.63537 | -0.29868 | 0.00066117 | -0.00062389 | 0.020458 | 0.020471 | 0.020471 | 0.99114 | -0.011335 | 0.99005 | -0.019002 | 9.748
36 | -1.0314 | -0.48953 | 1.0325 | 0.48956 | 0.0010893 | 3.2939e-05 | 0.033251 | 0.033243 | 0.033251 | 0.99114 | -0.011335 | 0.99225 | -0.0038321 | 15.834
37 | -1.3519 | -0.64425 | 1.3519 | 0.6436 | 7.2905e-05 | -0.00065486 | 0.043568 | 0.043559 | 0.043568 | 0.99225 | -0.0038321 | 0.9923 | -0.0042846 | 19.8035
38 | -0.1772 | -0.085824 | 0.17721 | 0.085774 | 2.5309e-06 | -4.9393e-05 | 0.0057257 | 0.0057251 | 0.0057257 | 0.99268 | -0.0080592 | 0.9927 | -0.007965 | 2.7265
39 | -0.17721 | -0.085774 | 0.17723 | 0.075064 | 1.9469e-05 | -0.01071 | 0.0057251 | 0.0055963 | 0.0057251 | 0.9927 | -0.007965 | 0.9928 | -0.0087853 | 2.6023
40 | 0.086703 | 0.035578 | -0.086701 | -0.040944 | 2.3115e-06 | -0.0053652 | 0.0027251 | 0.002788 | 0.002788 | 0.9928 | -0.0087853 | 0.99278 | -0.0086004 | 1.2673
41 | 1.3527 | 0.63697 | -1.3519 | -0.6436 | 0.00073531 | -0.0066234 | 0.043474 | 0.043559 | 0.043559 | 0.9928 | -0.0087853 | 0.9923 | -0.0042846 | 19.7996
42 | -1.6166 | -0.74762 | 1.6167 | 0.74718 | 6.9953e-05 | -0.00043909 | 0.051789 | 0.051783 | 0.051789 | 0.9928 | -0.0087853 | 0.99284 | -0.0091238 | 23.5404
43 | -2.1389 | -0.99052 | 2.1395 | 0.98837 | 0.00061152 | -0.0021446 | 0.068319 | 0.068291 | 0.068319 | 0.99599 | -0.00085911 | 0.99625 | -0.0030974 | 31.0542
44 | 2.0472 | 0.94608 | -2.0434 | -0.9443 | 0.0037774 | 0.0017796 | 0.065365 | 0.065372 | 0.065372 | 0.99599 | -0.00085911 | 0.99403 | -0.01518 | 31.1294
45 | -2.1395 | -0.98837 | 2.1416 | 0.98117 | 0.0020464 | -0.0071997 | 0.068291 | 0.068196 | 0.068291 | 0.99625 | -0.0030974 | 0.99715 | -0.010485 | 31.0413
46 | 1.8914 | 0.8707 | -1.8909 | -0.87301 | 0.00050745 | -0.0023001 | 0.06047 | 0.060499 | 0.060499 | 0.99403 | -0.01518 | 0.99378 | -0.013096 | 27.4997
47 | 0.086701 | 0.040944 | -0.0867 | -0.041991 | 4.6399e-07 | -0.0010471 | 0.002788 | 0.0028012 | 0.0028012 | 0.99278 | -0.0086004 | 0.99277 | -0.008555 | 1.2733
48 | -1.8891 | -0.87911 | 1.8895 | 0.87932 | 0.00045933 | 0.00020503 | 0.060583 | 0.060582 | 0.060583 | 0.99284 | -0.0091238 | 0.9931 | -0.0072802 | 28.8489
49 | -1.8895 | -0.87932 | 1.8909 | 0.87301 | 0.0013967 | -0.006312 | 0.060582 | 0.060499 | 0.060582 | 0.9931 | -0.0072802 | 0.99378 | -0.013096 | 27.5371
50 | 16.3117 | 7.606 | -16.3092 | -7.5994 | 0.0024819 | 0.0065316 | 0.51955 | 0.51956 | 0.51956 | 1 | 0 | 0.99972 | -0.015921 | 40.2756
51 | 6.8658 | 3.2108 | -6.8628 | -3.2216 | 0.002947 | -0.010829 | 0.21886 | 0.21901 | 0.21901 | 0.99972 | -0.015921 | 0.99927 | -0.017829 | 34.3282
52 | 9.4435 | 4.3887 | -9.4337 | -4.4052 | 0.0098048 | -0.016473 | 0.30069 | 0.30096 | 0.30096 | 0.99972 | -0.015921 | 0.99864 | -0.020678 | 47.1729
53 | 6.7829 | 3.1838 | -6.7807 | -3.1867 | 0.0021775 | -0.0028415 | 0.21646 | 0.21652 | 0.21652 | 0.99927 | -0.017829 | 0.9989 | -0.024586 | 51.4299
54 | 0.079917 | 0.037759 | -0.079917 | -0.038706 | 3.4717e-07 | -0.00094645 | 0.0025534 | 0.0025652 | 0.0025652 | 0.99927 | -0.017829 | 0.99927 | -0.017792 | 1.166
55 | 9.3432 | 4.3645 | -9.3378 | -4.3737 | 0.0053978 | -0.0092652 | 0.2981 | 0.29825 | 0.29825 | 0.99864 | -0.020678 | 0.99804 | -0.023268 | 46.747
56 | 0.090502 | 0.040683 | -0.090501 | -0.043831 | 1.4717e-06 | -0.0031485 | 0.0028683 | 0.0029068 | 0.0029068 | 0.99864 | -0.020678 | 0.99863 | -0.020548 | 1.3213
57 | 3.3842 | 1.5417 | -3.3831 | -1.5429 | 0.001028 | -0.0012827 | 0.10747 | 0.10749 | 0.10749 | 0.9989 | -0.024586 | 0.99861 | -0.022292 | 48.8589
58 | 3.8827 | 1.8319 | -3.8817 | -1.8328 | 0.00098772 | -0.00084774 | 0.12418 | 0.12419 | 0.12419 | 0.99804 | -0.023268 | 0.99781 | -0.021178 | 56.4503
59 | 5.4551 | 2.5418 | -5.4544 | -2.5457 | 0.00063056 | -0.0038582 | 0.17407 | 0.17412 | 0.17412 | 0.99804 | -0.023268 | 0.99792 | -0.023795 | 27.2918
60 | 0.48386 | 0.23113 | -0.48384 | -0.23222 | 1.4746e-05 | -0.0010892 | 0.015501 | 0.015515 | 0.015515 | 0.99861 | -0.022292 | 0.99858 | -0.022033 | 7.0521
61 | 2.8993 | 1.3118 | -2.8985 | -1.3133 | 0.00082984 | -0.0015019 | 0.091991 | 0.092012 | 0.092012 | 0.99861 | -0.022292 | 0.99834 | -0.020167 | 41.8237
62 | 5.4544 | 2.5457 | -5.4544 | -2.5459 | 2.9392e-05 | -0.00017975 | 0.17412 | 0.17412 | 0.17412 | 0.99792 | -0.023795 | 0.99792 | -0.023819 | 27.2922
63 | 5.1739 | 2.41 | -5.1738 | -2.4107 | 0.00010261 | -0.00070433 | 0.16511 | 0.16512 | 0.16512 | 0.99792 | -0.023819 | 0.9979 | -0.02391 | 25.8805
64 | 3.7665 | 1.777 | -3.7646 | -1.7787 | 0.0018928 | -0.0017586 | 0.12049 | 0.12052 | 0.12052 | 0.99781 | -0.021178 | 0.99734 | -0.017045 | 54.7799
65 | -4.1802 | -1.9346 | 4.1802 | 1.9342 | 3.6439e-05 | -0.00039485 | 0.13327 | 0.13326 | 0.13327 | 0.99777 | -0.024493 | 0.99778 | -0.024452 | 20.8881
66 | -4.862 | -2.2644 | 4.8623 | 2.2616 | 0.00035453 | -0.0027819 | 0.15517 | 0.15514 | 0.15517 | 0.99778 | -0.024452 | 0.99785 | -0.024116 | 24.322
67 | -4.8623 | -2.2616 | 4.8624 | 2.2611 | 6.3331e-05 | -0.00049713 | 0.15514 | 0.15513 | 0.15514 | 0.99785 | -0.024116 | 0.99786 | -0.024056 | 24.3163
68 | -0.081839 | -0.039636 | 0.081839 | 0.038741 | 3.4806e-07 | -0.00089564 | 0.0026334 | 0.0026222 | 0.0026334 | 0.99681 | -0.01222 | 0.99681 | -0.012256 | 1.197
69 | -0.21104 | -0.10131 | 0.21104 | 0.10095 | 9.4748e-07 | -0.00036632 | 0.0067793 | 0.0067748 | 0.0067793 | 0.99681 | -0.012256 | 0.99682 | -0.012294 | 3.0815
70 | -0.21104 | -0.10095 | 0.21104 | 0.10057 | 9.6702e-07 | -0.00037439 | 0.0067748 | 0.0067701 | 0.0067748 | 0.99682 | -0.012294 | 0.99682 | -0.012333 | 3.0794
71 | -0.21104 | -0.10057 | 0.21104 | 0.099682 | 2.2952e-06 | -0.00089068 | 0.0067701 | 0.006759 | 0.0067701 | 0.99682 | -0.012333 | 0.99683 | -0.012423 | 3.0773
72 | -0.64519 | -0.30995 | 0.64522 | 0.3087 | 3.0319e-05 | -0.001246 | 0.020728 | 0.020713 | 0.020728 | 0.99683 | -0.012423 | 0.99687 | -0.012823 | 9.422
73 | -0.64522 | -0.3087 | 0.64531 | 0.30503 | 8.9152e-05 | -0.0036756 | 0.020713 | 0.020667 | 0.020713 | 0.99687 | -0.012823 | 0.997 | -0.013978 | 9.4149
74 | -0.088943 | -0.043077 | 0.088944 | 0.040919 | 9.8486e-07 | -0.0021579 | 0.0028616 | 0.0028349 | 0.0028616 | 0.99695 | -0.013635 | 0.99696 | -0.013726 | 1.3007
75 | -0.088944 | -0.040919 | 0.088948 | 0.031328 | 4.1694e-06 | -0.009591 | 0.0028349 | 0.0027305 | 0.0028349 | 0.99696 | -0.013726 | 0.997 | -0.013978 | 1.2886
76 | -2.226 | -1.0571 | 2.2261 | 1.0567 | 0.00013236 | -0.00042301 | 0.071351 | 0.071345 | 0.071351 | 0.997 | -0.013978 | 0.99706 | -0.014474 | 32.4322
77 | 1.4918 | 0.72072 | -1.4916 | -0.72157 | 0.00011378 | -0.00084502 | 0.04797 | 0.047981 | 0.047981 | 0.997 | -0.013978 | 0.99693 | -0.013317 | 21.8094
78 | 0.44732 | 0.21657 | -0.44731 | -0.21661 | 1.49e-05 | -3.8598e-05 | 0.014389 | 0.01439 | 0.01439 | 0.99706 | -0.014474 | 0.99702 | -0.014693 | 6.8523
79 | -3.0754 | -1.4679 | 3.0761 | 1.4668 | 0.00072952 | -0.0011165 | 0.098664 | 0.098648 | 0.098664 | 0.99706 | -0.014474 | 0.99728 | -0.016471 | 44.8474
80 | 0.80365 | 0.38836 | -0.80363 | -0.38906 | 2.6308e-05 | -0.00069197 | 0.025846 | 0.025854 | 0.025854 | 0.99693 | -0.013317 | 0.9969 | -0.013032 | 11.752
81 | 0.1431 | 0.069278 | -0.1431 | -0.069308 | 9.5816e-07 | -2.9513e-05 | 0.0046034 | 0.0046038 | 0.0046038 | 0.99702 | -0.014693 | 0.99701 | -0.014738 | 2.1923
82 | -3.6689 | -1.7526 | 3.6692 | 1.7524 | 0.00024915 | -0.00024605 | 0.1177 | 0.11769 | 0.1177 | 0.99728 | -0.016471 | 0.99734 | -0.017045 | 53.4985
83 | 0.59277 | 0.28583 | -0.59275 | -0.287 | 2.391e-05 | -0.001164 | 0.019049 | 0.019064 | 0.019064 | 0.99728 | -0.016471 | 0.99724 | -0.016122 | 8.6654
84 | 0.37732 | 0.18259 | -0.37732 | -0.18269 | 8.5764e-07 | -0.00010319 | 0.012138 | 0.01214 | 0.01214 | 0.9969 | -0.013032 | 0.9969 | -0.013013 | 5.518
85 | 0.37487 | 0.18148 | -0.37487 | -0.18156 | 6.7028e-07 | -8.1811e-05 | 0.012056 | 0.012057 | 0.012057 | 0.99724 | -0.016122 | 0.99724 | -0.016106 | 5.4806
86 | 0.095467 | 0.026352 | -0.095458 | -0.044956 | 9.1013e-06 | -0.018604 | 0.0028666 | 0.0030544 | 0.0030544 | 0.99734 | -0.017045 | 0.99725 | -0.016676 | 1.3883
87 | 0.095458 | 0.044956 | -0.095457 | -0.046232 | 6.7282e-07 | -0.0012759 | 0.0030544 | 0.0030703 | 0.0030703 | 0.99725 | -0.016676 | 0.99724 | -0.016617 | 1.3956
88 | -5.1736 | -2.4118 | 5.1738 | 2.4107 | 0.00016539 | -0.0011351 | 0.16513 | 0.16512 | 0.16513 | 0.99786 | -0.024056 | 0.9979 | -0.02391 | 25.8829
89 | 0.11207 | 0.054223 | -0.11207 | -0.054277 | 3.9924e-08 | -5.4535e-05 | 0.0036051 | 0.0036058 | 0.0036058 | 0.9969 | -0.013013 | 0.9969 | -0.013009 | 1.639
90 | 0.21637 | 0.1047 | -0.21637 | -0.10479 | 2.5872e-07 | -9.4928e-05 | 0.0069586 | 0.0069598 | 0.0069598 | 0.99715 | -0.010485 | 0.99715 | -0.010475 | 3.1635
91 | -2.358 | -1.0859 | 2.3584 | 1.0847 | 0.00041051 | -0.0011712 | 0.075154 | 0.075138 | 0.075154 | 0.99715 | -0.010485 | 0.99731 | -0.011832 | 34.1607
92 | -2.3584 | -1.0847 | 2.3593 | 1.0821 | 0.00091252 | -0.0026069 | 0.075138 | 0.075103 | 0.075138 | 0.99731 | -0.011832 | 0.99767 | -0.014809 | 34.1536
93 | -2.4311 | -1.1169 | 2.4318 | 1.115 | 0.00068863 | -0.0018425 | 0.077413 | 0.077388 | 0.077413 | 0.99767 | -0.014809 | 0.99794 | -0.016985 | 35.1876
94 | 2.7545 | 1.2436 | -2.7539 | -1.2448 | 0.00060087 | -0.0012238 | 0.087388 | 0.087404 | 0.087404 | 0.99834 | -0.020167 | 0.99814 | -0.018557 | 39.7292
95 | 2.6841 | 1.211 | -2.6836 | -1.2123 | 0.00057236 | -0.0012357 | 0.085165 | 0.085181 | 0.085181 | 0.99814 | -0.018557 | 0.99794 | -0.016985 | 38.7188
96 | 0.25176 | 0.097209 | -0.25167 | -0.12168 | 8.6759e-05 | -0.02447 | 0.0078066 | 0.008089 | 0.008089 | 0.99794 | -0.016985 | 0.99761 | -0.01469 | 3.6768
97 | 0.39124 | 0.18737 | -0.39122 | -0.18904 | 1.4793e-05 | -0.0016704 | 0.01254 | 0.012561 | 0.012561 | 0.99858 | -0.022033 | 0.99855 | -0.021709 | 5.7096
98 | 0.25167 | 0.12168 | -0.25165 | -0.12188 | 2.1011e-05 | -0.00020088 | 0.008089 | 0.0080917 | 0.0080917 | 0.99761 | -0.01469 | 0.99752 | -0.015242 | 3.8532
99 | 0.39122 | 0.18904 | -0.39122 | -0.18935 | 2.7219e-06 | -0.00030673 | 0.012561 | 0.012565 | 0.012565 | 0.99855 | -0.021709 | 0.99854 | -0.021649 | 5.7114
100 | 0.089865 | 0.043397 | -0.089864 | -0.043523 | 1.5833e-06 | -0.00012602 | 0.002885 | 0.0028866 | 0.0028866 | 0.99854 | -0.021649 | 0.99852 | -0.021765 | 1.3746

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 16.4737 | 7.6881

## res_load
| p_mw | q_mvar
0 | 0.27855 | 0.13491
1 | 0.075182 | 0.036413
2 | 0.22016 | 0.10663
3 | 0.1121 | 0.054295
4 | 0.22396 | 0.10847
5 | 0.2999 | 0.14525
6 | 0.15519 | 0.075162
7 | 0.33167 | 0.16063
8 | 1.0568 | 0.51185
9 | 0.11826 | 0.057275
10 | 0.16944 | 0.082066
11 | 0.21468 | 0.10397
12 | 0.24372 | 0.11804
13 | 0.26571 | 0.12869
14 | 0.236 | 0.1143
15 | 0.089712 | 0.04345
16 | 0.081888 | 0.03966
17 | 0.31994 | 0.15495
18 | 0.39535 | 0.19148
19 | 0.31536 | 0.15274
20 | 0.31939 | 0.15469
21 | 0.1772 | 0.085824
22 | 0.091758 | 0.04444
23 | 0.15195 | 0.073593
24 | 0.27241 | 0.13194
25 | 0.0867 | 0.041991
26 | 0.14797 | 0.071665
27 | 3.3965 | 1.645
28 | 0.079917 | 0.038706
29 | 0.090501 | 0.043831
30 | 0.28053 | 0.13587
31 | 0.11522 | 0.055803
32 | 0.68176 | 0.33019
33 | 0.081839 | 0.039636
34 | 0.1292 | 0.062573
35 | 0.43415 | 0.21027
36 | 0.088943 | 0.043077
37 | 0.40195 | 0.19467
38 | 0.68799 | 0.33321
39 | 0.3042 | 0.14733
40 | 0.4263 | 0.20647
41 | 0.21787 | 0.10552
42 | 0.37487 | 0.18156
43 | 0.1431 | 0.069308
44 | 0.095457 | 0.046232
45 | 0.31118 | 0.15071
46 | 0.26525 | 0.12847
47 | 0.11207 | 0.054277
48 | 0.21637 | 0.10479
49 | 0.071853 | 0.0348
50 | 0.14399 | 0.069739
51 | 0.069721 | 0.033767
52 | 0.092603 | 0.04485
53 | 0.25165 | 0.12188
54 | 0.30135 | 0.14595
55 | 0.089864 | 0.043523

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1