## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_267_1_node_62 | 20 | n |  | TRUE
1 | bus_MV_267_1_node_63 | 20 | n |  | TRUE
2 | bus_MV_267_1_node_64 | 20 | n |  | TRUE
3 | bus_MV_267_1_node_128 | 20 | n |  | TRUE
4 | bus_MV_267_1_node_144 | 20 | n |  | TRUE
5 | bus_MV_267_1_node_65 | 20 | n |  | TRUE
6 | bus_MV_267_1_node_66 | 20 | n |  | TRUE
7 | bus_MV_267_1_node_83 | 20 | n |  | TRUE
8 | bus_MV_267_1_node_130 | 20 | n |  | TRUE
9 | bus_MV_267_1_node_131 | 20 | n |  | TRUE
10 | bus_MV_267_1_node_67 | 20 | n |  | TRUE
11 | bus_MV_267_1_node_68 | 20 | n |  | TRUE
12 | bus_MV_267_1_node_71 | 20 | n |  | TRUE
13 | bus_MV_267_1_node_69 | 20 | n |  | TRUE
14 | bus_MV_267_1_node_74 | 20 | n |  | TRUE
15 | bus_MV_267_1_node_73 | 20 | n |  | TRUE
16 | bus_MV_267_1_node_77 | 20 | n |  | TRUE
17 | bus_MV_267_1_node_153 | 20 | n |  | TRUE
18 | bus_MV_267_1_node_76 | 20 | n |  | TRUE
19 | bus_MV_267_1_node_72 | 20 | n |  | TRUE
20 | bus_MV_267_1_node_119 | 20 | n |  | TRUE
21 | bus_MV_267_1_node_132 | 20 | n |  | TRUE
22 | bus_MV_267_1_node_157 | 20 | n |  | TRUE
23 | bus_MV_267_1_node_156 | 20 | n |  | TRUE
24 | bus_MV_267_1_node_75 | 20 | n |  | TRUE
25 | bus_MV_267_1_node_78 | 20 | n |  | TRUE
26 | bus_MV_267_1_node_81 | 20 | n |  | TRUE
27 | bus_MV_267_1_node_143 | 20 | n |  | TRUE
28 | bus_MV_267_1_node_79 | 20 | n |  | TRUE
29 | bus_MV_267_1_node_82 | 20 | n |  | TRUE
30 | bus_MV_267_1_node_142 | 20 | n |  | TRUE
31 | bus_MV_267_1_node_84 | 20 | n |  | TRUE
32 | bus_MV_267_1_node_122 | 20 | n |  | TRUE
33 | bus_MV_267_1_node_85 | 20 | n |  | TRUE
34 | bus_MV_267_1_node_87 | 20 | n |  | TRUE
35 | bus_MV_267_1_node_86 | 20 | n |  | TRUE
36 | bus_MV_267_1_node_88 | 20 | n |  | TRUE
37 | bus_MV_267_1_node_89 | 20 | n |  | TRUE
38 | bus_MV_267_1_node_90 | 20 | n |  | TRUE
39 | bus_MV_267_1_node_91 | 20 | n |  | TRUE
40 | bus_MV_267_1_node_123 | 20 | n |  | TRUE
41 | bus_MV_267_1_node_114 | 20 | n |  | TRUE
42 | bus_MV_267_1_node_92 | 20 | n |  | TRUE
43 | bus_MV_267_1_node_93 | 20 | n |  | TRUE
44 | bus_MV_267_1_node_94 | 20 | n |  | TRUE
45 | bus_MV_267_1_node_95 | 20 | n |  | TRUE
46 | bus_MV_267_1_node_161 | 20 | n |  | TRUE
47 | bus_MV_267_1_node_160 | 20 | n |  | TRUE
48 | bus_MV_267_1_node_96 | 20 | n |  | TRUE
49 | bus_MV_267_1_node_99 | 20 | n |  | TRUE
50 | bus_MV_267_1_node_97 | 20 | n |  | TRUE
51 | bus_MV_267_1_node_98 | 20 | n |  | TRUE
52 | bus_MV_267_1_node_124 | 20 | n |  | TRUE
53 | bus_MV_267_1_node_101 | 20 | n |  | TRUE
54 | bus_MV_267_1_node_103 | 20 | n |  | TRUE
55 | bus_MV_267_1_node_102 | 20 | n |  | TRUE
56 | bus_MV_267_1_node_105 | 20 | n |  | TRUE
57 | bus_MV_267_1_node_110 | 20 | n |  | TRUE
58 | bus_MV_267_1_node_104 | 20 | n |  | TRUE
59 | bus_MV_267_1_node_108 | 20 | n |  | TRUE
60 | bus_MV_267_1_node_113 | 20 | n |  | TRUE
61 | bus_MV_267_1_node_112 | 20 | n |  | TRUE
62 | bus_MV_267_1_node_107 | 20 | n |  | TRUE
63 | bus_MV_267_1_node_111 | 20 | n |  | TRUE
64 | bus_MV_267_1_node_106 | 20 | n |  | TRUE
65 | bus_MV_267_1_node_146 | 20 | n |  | TRUE
66 | bus_MV_267_1_node_118 | 20 | n |  | TRUE
67 | bus_MV_267_1_node_109 | 20 | n |  | TRUE
68 | bus_MV_267_1_node_115 | 20 | n |  | TRUE
69 | bus_MV_267_1_node_167 | 20 | n |  | TRUE
70 | bus_MV_267_1_node_117 | 20 | n |  | TRUE
71 | bus_MV_267_1_node_120 | 20 | n |  | TRUE
72 | bus_MV_267_1_node_125 | 20 | n |  | TRUE
73 | bus_MV_267_1_node_126 | 20 | n |  | TRUE
74 | bus_MV_267_1_node_127 | 20 | n |  | TRUE
75 | bus_MV_267_1_node_129 | 20 | n |  | TRUE
76 | bus_MV_267_1_node_164 | 20 | n |  | TRUE
77 | bus_MV_267_1_node_145 | 20 | n |  | TRUE
78 | bus_HV_267_1_node_84 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_267_1_load_62 | 0 | 0.33978 | 0.16456 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_267_1_load_144 | 4 | 0.20218 | 0.097921 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_267_1_load_83 | 7 | 0.17934 | 0.086858 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_267_1_load_131 | 9 | 0.29145 | 0.14115 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_267_1_load_67 | 10 | 0.18329 | 0.08877 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_267_1_load_77 | 16 | 0.3683 | 0.17838 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_267_1_load_153 | 17 | 0.28827 | 0.13962 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_267_1_load_119 | 20 | 0.36934 | 0.17888 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_267_1_load_132 | 21 | 0.30321 | 0.14685 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_267_1_load_157 | 22 | 0.2806 | 0.1359 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_267_1_load_156 | 23 | 0.36626 | 0.17739 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_267_1_load_75 | 24 | 0.28323 | 0.13717 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_267_1_load_143 | 27 | 0.083207 | 0.040299 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_267_1_load_142 | 30 | 0.10788 | 0.052249 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_267_1_load_84 | 31 | 0.39907 | 0.19328 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_267_1_load_122 | 32 | 0.38672 | 0.1873 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_267_1_load_85 | 33 | 0.41432 | 0.20067 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_267_1_load_87 | 34 | 0.11775 | 0.057031 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_267_1_load_86 | 35 | 0.074126 | 0.035901 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_267_1_load_88 | 36 | 0.30543 | 0.14793 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_267_1_load_123 | 40 | 0.33711 | 0.16327 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_267_1_load_114 | 41 | 0.30176 | 0.14615 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_267_1_load_92 | 42 | 0.38831 | 0.18807 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_267_1_load_161 | 46 | 0.35655 | 0.17268 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_267_1_load_160 | 47 | 0.37773 | 0.18294 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_267_1_load_96 | 48 | 0.13396 | 0.06488 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_267_1_load_97 | 50 | 0.36123 | 0.17495 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_267_1_load_98 | 51 | 0.32199 | 0.15595 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_267_1_load_124 | 52 | 0.27189 | 0.13168 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_267_1_load_101 | 53 | 0.21802 | 0.10559 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_267_1_load_113 | 60 | 0.3266 | 0.15818 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_267_1_load_111 | 63 | 0.28994 | 0.14042 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_267_1_load_146 | 65 | 0.10762 | 0.052123 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_267_1_load_118 | 66 | 0.12827 | 0.062123 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_267_1_load_115 | 68 | 0.28007 | 0.13564 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_267_1_load_167 | 69 | 0.39966 | 0.19356 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_267_1_load_120 | 71 | 0.15851 | 0.076771 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_267_1_load_127 | 74 | 0.40866 | 0.19792 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_267_1_load_164 | 76 | 0.15621 | 0.075658 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_267_1_load_145 | 77 | 0.11399 | 0.055208 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_267_1_line_0 |  | 0 | 1 | 0.008093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_267_1_line_1 |  | 1 | 2 | 0.11991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_267_1_line_2 |  | 2 | 3 | 0.20242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_267_1_line_3 |  | 2 | 4 | 0.03343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_267_1_line_4 |  | 3 | 75 | 0.043171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_267_1_line_5 |  | 3 | 19 | 0.56059 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_267_1_line_6 |  | 4 | 77 | 0.015017 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_267_1_line_7 |  | 4 | 27 | 0.011354 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_267_1_line_8 |  | 4 | 33 | 0.064946 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_267_1_line_9 |  | 4 | 50 | 0.29419 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_267_1_line_10 |  | 5 | 6 | 0.55834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_267_1_line_11 |  | 5 | 7 | 0.031542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_267_1_line_12 |  | 5 | 8 | 0.19964 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_267_1_line_13 |  | 6 | 9 | 0.005594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_267_1_line_14 |  | 7 | 32 | 0.14054 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_267_1_line_15 |  | 8 | 76 | 0.027466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_267_1_line_16 |  | 8 | 75 | 0.20208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_267_1_line_17 |  | 9 | 73 | 0.20201 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_267_1_line_18 |  | 10 | 11 | 0.041142 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_267_1_line_19 |  | 11 | 12 | 0.55169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_267_1_line_20 |  | 12 | 17 | 0.008415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_267_1_line_21 |  | 12 | 15 | 0.20914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_267_1_line_22 |  | 12 | 18 | 0.20264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_267_1_line_23 |  | 13 | 14 | 0.40127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_267_1_line_24 |  | 13 | 15 | 0.55407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_267_1_line_25 |  | 13 | 16 | 0.028061 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_267_1_line_26 |  | 14 | 22 | 0.025273 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_267_1_line_27 |  | 14 | 23 | 0.30462 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_267_1_line_28 |  | 15 | 21 | 0.045498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_267_1_line_29 |  | 18 | 24 | 0.020284 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_267_1_line_30 |  | 19 | 20 | 0.018575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_267_1_line_31 |  | 23 | 28 | 0.1011 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
32 | MV_267_1_line_32 |  | 23 | 64 | 0.10689 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_267_1_line_33 |  | 25 | 26 | 0.028235 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_267_1_line_34 |  | 25 | 27 | 0.014897 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_267_1_line_35 |  | 26 | 29 | 0.23502 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_267_1_line_36 |  | 26 | 30 | 0.012874 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_267_1_line_37 |  | 28 | 29 | 0.051867 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_267_1_line_38 |  | 29 | 31 | 0.021879 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_267_1_line_39 |  | 33 | 34 | 0.01552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_267_1_line_40 |  | 33 | 35 | 0.028007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_267_1_line_41 |  | 36 | 37 | 0.033538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_267_1_line_42 |  | 37 | 38 | 0.004839 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_267_1_line_43 |  | 37 | 39 | 0.81994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_267_1_line_44 |  | 38 | 40 | 0.56207 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_267_1_line_45 |  | 39 | 41 | 0.026368 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_267_1_line_46 |  | 41 | 49 | 0.65052 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_267_1_line_47 |  | 42 | 43 | 0.036071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_267_1_line_48 |  | 43 | 44 | 0.18068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_267_1_line_49 |  | 43 | 45 | 0.50422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_267_1_line_50 |  | 44 | 46 | 0.058527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_267_1_line_51 |  | 45 | 47 | 0.066043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_267_1_line_52 |  | 47 | 61 | 0.028547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_267_1_line_53 |  | 48 | 49 | 0.18138 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_267_1_line_54 |  | 49 | 51 | 0.17757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_267_1_line_55 |  | 51 | 52 | 0.49082 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_267_1_line_56 |  | 52 | 72 | 0.090021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_267_1_line_57 |  | 53 | 54 | 0.037326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_267_1_line_58 |  | 53 | 55 | 0.094859 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_267_1_line_59 |  | 54 | 57 | 0.10828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_267_1_line_60 |  | 55 | 56 | 0.24456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_267_1_line_61 |  | 56 | 61 | 0.028811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_267_1_line_62 |  | 56 | 62 | 0.58849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_267_1_line_63 |  | 56 | 63 | 0.05361 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_267_1_line_64 |  | 56 | 58 | 0.21633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_267_1_line_65 |  | 57 | 65 | 0.047317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_267_1_line_66 |  | 58 | 59 | 0.31137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_267_1_line_67 |  | 58 | 60 | 0.019551 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_267_1_line_68 |  | 59 | 67 | 0.5852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_267_1_line_69 |  | 59 | 68 | 0.0505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_267_1_line_70 |  | 62 | 66 | 0.067115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_267_1_line_71 |  | 64 | 65 | 0.16985 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_267_1_line_72 |  | 67 | 69 | 0.011712 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_267_1_line_73 |  | 69 | 70 | 0.34136 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_267_1_line_74 |  | 70 | 71 | 0.067335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_267_1_line_75 |  | 72 | 73 | 0.61952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_267_1_line_76 |  | 74 | 75 | 0.003896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_267_1_trafo_84 | 25 MVA 110/20 kV | 78 | 31 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2593073.9228 | 1122204.275
1 | 2593078.0174 | 1122197.2891
2 | 2593104.2082 | 1122091.396
3 | 2593270.5533 | 1122020.7832
4 | 2593075.971 | 1122074.9427
5 | 2593320.0742 | 1122333.0693
6 | 2593807.3096 | 1122441.4314
7 | 2593315.2121 | 1122364.2345
8 | 2593444.4697 | 1122176.9221
9 | 2593810.9991 | 1122437.2589
10 | 2592541.2596 | 1121239.1092
11 | 2592561.5277 | 1121274.9126
12 | 2592784.0775 | 1121132.6264
13 | 2592858.7017 | 1121442.1217
14 | 2592879.0638 | 1121727.6816
15 | 2592953.7737 | 1121163.6617
16 | 2592867.4008 | 1121415.4427
17 | 2592789.7315 | 1121126.3832
18 | 2592629.0588 | 1121014.6018
19 | 2593267.8094 | 1121460.2011
20 | 2593269.9097 | 1121441.7452
21 | 2592945.7204 | 1121130.3105
22 | 2592902.3134 | 1121737.7478
23 | 2592732.4273 | 1121994.6883
24 | 2592608.8551 | 1121012.6702
25 | 2593053.7146 | 1122062.0511
26 | 2593031.9433 | 1122061.8096
27 | 2593067.7088 | 1122067.1555
28 | 2592827.8199 | 1122028.1675
29 | 2592874.9354 | 1122049.7552
30 | 2593026.5088 | 1122073.4801
31 | 2592893.4505 | 1122061.4945
32 | 2593187.6904 | 1122423.3071
33 | 2593056.4803 | 1122012.9906
34 | 2593062.4618 | 1121998.6694
35 | 2593030.5967 | 1122002.2934
36 | 2593208.8336 | 1123739.2817
37 | 2593241.6321 | 1123746.6815
38 | 2593246.4055 | 1123747.5543
39 | 2593225.0101 | 1123399.9309
40 | 2593729.2371 | 1124035.2914
41 | 2593239.3339 | 1123377.7928
42 | 2592648.2842 | 1122343.1503
43 | 2592683.5824 | 1122350.9998
44 | 2592792.0473 | 1122479.5423
45 | 2592288.0523 | 1122111.7344
46 | 2592843.9012 | 1122506.9046
47 | 2592234.8282 | 1122073.062
48 | 2593552.649 | 1122610.6054
49 | 2593512.8424 | 1122787.5683
50 | 2593047.0194 | 1121782.1776
51 | 2593656.8794 | 1122850.3582
52 | 2594147.6844 | 1122846.4439
53 | 2592450.7102 | 1121968.913
54 | 2592475.8267 | 1121991.9149
55 | 2592355.9091 | 1121972.2126
56 | 2592186.6363 | 1122043.8103
57 | 2592486.2531 | 1122034.656
58 | 2592028.5211 | 1121943.1248
59 | 2591768.7932 | 1122001.2152
60 | 2592048.063 | 1121942.5319
61 | 2592213.5876 | 1122053.9246
62 | 2591865.5552 | 1121715.8547
63 | 2592165.5157 | 1122093.0842
64 | 2592642.2173 | 1121936.948
65 | 2592523.2458 | 1122058.1722
66 | 2591799.1224 | 1121706.3071
67 | 2591345.5535 | 1121878.562
68 | 2591718.5602 | 1122003.8301
69 | 2591339.4058 | 1121888.5314
70 | 2591024.0703 | 1122019.2588
71 | 2590993.4981 | 1121961.7097
72 | 2594204.9902 | 1122915.064
73 | 2593995.2262 | 1122520.1337
74 | 2593309.692 | 1122041.405
75 | 2593306.8801 | 1122044.1095
76 | 2593469.1532 | 1122189.1122
77 | 2593090.9574 | 1122075.906
78 | 2592893.4505 | 1122061.4945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99915 | -0.0025673 | 0.33978 | 0.16456
1 | 0.99915 | -0.0026002 | 0 | 0
2 | 0.9992 | -0.003076 | 0 | 0
3 | 0.99831 | 0.0045118 | 0 | 0
4 | 0.99936 | -0.0044515 | 0.20218 | 0.097921
5 | 0.99638 | 0.0012671 | 0 | 0
6 | 0.99499 | 0.012744 | 0 | 0
7 | 0.99635 | 0.0010492 | 0.17934 | 0.086858
8 | 0.99736 | 0.0084205 | 0 | 0
9 | 0.99497 | 0.012862 | 0.29145 | 0.14115
10 | 0.99637 | -0.010847 | 0.18329 | 0.08877
11 | 0.99639 | -0.010755 | 0 | 0
12 | 0.99652 | -0.01174 | 0 | 0
13 | 0.99746 | -0.019303 | 0 | 0
14 | 0.99818 | -0.025086 | 0 | 0
15 | 0.99672 | -0.013358 | 0 | 0
16 | 0.99744 | -0.019429 | 0.3683 | 0.17838
17 | 0.99651 | -0.011711 | 0.28827 | 0.13962
18 | 0.99644 | -0.011086 | 0 | 0
19 | 0.99791 | 0.0019834 | 0 | 0
20 | 0.99789 | 0.0019001 | 0.36934 | 0.17888
21 | 0.9967 | -0.013194 | 0.30321 | 0.14685
22 | 0.99817 | -0.025001 | 0.2806 | 0.1359
23 | 0.99918 | -0.017517 | 0.36626 | 0.17739
24 | 0.99643 | -0.011017 | 0.28323 | 0.13717
25 | 0.99947 | -0.002278 | 0 | 0
26 | 0.99952 | -0.002076 | 0 | 0
27 | 0.99943 | -0.0027363 | 0.083207 | 0.040299
28 | 0.99978 | -0.0019734 | 0 | 0
29 | 0.99993 | -0.00033602 | 0 | 0
30 | 0.99952 | -0.0020595 | 0.10788 | 0.052249
31 | 1 | 0 | -10.4388 | -4.8392
32 | 0.99624 | 0.00038657 | 0.38672 | 0.1873
33 | 0.99929 | -0.0049303 | 0.41432 | 0.20067
34 | 0.99928 | -0.0049086 | 0.11775 | 0.057031
35 | 0.99928 | -0.0049555 | 0.074126 | 0.035901
36 | 0.98932 | 0.010241 | 0.30543 | 0.14793
37 | 0.98933 | 0.010116 | 0 | 0
38 | 0.98933 | 0.010136 | 0 | 0
39 | 0.99001 | 0.0042729 | 0 | 0
40 | 0.98896 | 0.0077798 | 0.33711 | 0.16327
41 | 0.99004 | 0.0045296 | 0.30176 | 0.14615
42 | 0.99509 | -0.0069156 | 0.38831 | 0.18807
43 | 0.99511 | -0.0070838 | 0 | 0
44 | 0.99502 | -0.0063464 | 0 | 0
45 | 0.99558 | -0.011215 | 0 | 0
46 | 0.995 | -0.0060968 | 0.35655 | 0.17268
47 | 0.99565 | -0.011727 | 0.37773 | 0.18294
48 | 0.99118 | 0.012994 | 0.13396 | 0.06488
49 | 0.99123 | 0.013294 | 0 | 0
50 | 0.99916 | -0.0057419 | 0.36123 | 0.17495
51 | 0.99147 | 0.011233 | 0.32199 | 0.15595
52 | 0.9928 | 0.020792 | 0.27189 | 0.13168
53 | 0.99706 | -0.015632 | 0.21802 | 0.10559
54 | 0.9972 | -0.016776 | 0 | 0
55 | 0.99657 | -0.019339 | 0 | 0
56 | 0.99573 | -0.012428 | 0 | 0
57 | 0.9976 | -0.020079 | 0 | 0
58 | 0.99541 | -0.0097612 | 0 | 0
59 | 0.99508 | -0.0070235 | 0 | 0
60 | 0.9954 | -0.0098391 | 0.3266 | 0.15818
61 | 0.99569 | -0.012076 | 0 | 0
62 | 0.99563 | -0.011783 | 0 | 0
63 | 0.9957 | -0.012617 | 0.28994 | 0.14042
64 | 0.99877 | -0.014148 | 0 | 0
65 | 0.99778 | -0.021516 | 0.10762 | 0.052123
66 | 0.99562 | -0.011888 | 0.12827 | 0.062123
67 | 0.99466 | -0.0034111 | 0 | 0
68 | 0.99506 | -0.0068546 | 0.28007 | 0.13564
69 | 0.99465 | -0.0034929 | 0.39966 | 0.19356
70 | 0.99454 | -0.0042065 | 0 | 0
71 | 0.99453 | -0.0040809 | 0.15851 | 0.076771
72 | 0.993 | 0.01912 | 0 | 0
73 | 0.99432 | 0.0079633 | 0 | 0
74 | 0.99805 | 0.0026689 | 0.40866 | 0.19792
75 | 0.99805 | 0.0026498 | 0 | 0
76 | 0.99735 | 0.0084715 | 0.15621 | 0.075658
77 | 0.99936 | -0.0044722 | 0.11399 | 0.055208
78 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.33978 | -0.16456 | 0.33978 | 0.16437 | 1.2852e-06 | -0.00019252 | 0.010908 | 0.010905 | 0.010908 | 0.99915 | -0.0025673 | 0.99915 | -0.0026002 | 4.958
1 | -0.33978 | -0.16437 | 0.3398 | 0.16152 | 1.8974e-05 | -0.0028526 | 0.010905 | 0.01087 | 0.010905 | 0.99915 | -0.0026002 | 0.9992 | -0.003076 | 4.9569
2 | 3.483 | 1.6174 | -3.4797 | -1.6212 | 0.003328 | -0.0038337 | 0.11095 | 0.111 | 0.111 | 0.9992 | -0.003076 | 0.99831 | 0.0045118 | 50.4565
3 | -3.8228 | -1.7789 | 3.8234 | 1.7783 | 0.00066219 | -0.00060061 | 0.12181 | 0.1218 | 0.12181 | 0.9992 | -0.003076 | 0.99936 | -0.0044515 | 55.3703
4 | 3.1102 | 1.4429 | -3.1094 | -1.4425 | 0.00075605 | 0.00042222 | 0.099143 | 0.099143 | 0.099143 | 0.99831 | 0.0045118 | 0.99805 | 0.0026498 | 47.2111
5 | 0.36948 | 0.17828 | -0.36934 | -0.17886 | 0.00014066 | -0.0005786 | 0.011863 | 0.011871 | 0.011871 | 0.99831 | 0.0045118 | 0.99791 | 0.0019834 | 5.653
6 | 0.11399 | 0.055191 | -0.11399 | -0.055208 | 3.5812e-07 | -1.7681e-05 | 0.0036584 | 0.0036586 | 0.0036586 | 0.99936 | -0.0044515 | 0.99936 | -0.0044722 | 1.7422
7 | -5.1072 | -2.3992 | 5.1074 | 2.3995 | 0.00027689 | 0.00030246 | 0.16299 | 0.16299 | 0.16299 | 0.99936 | -0.0044515 | 0.99943 | -0.0027363 | 46.5693
8 | 0.60625 | 0.29315 | -0.60621 | -0.2932 | 4.3786e-05 | -5.0002e-05 | 0.019452 | 0.019453 | 0.019453 | 0.99936 | -0.0044515 | 0.99929 | -0.0049303 | 9.2633
9 | 0.3613 | 0.17465 | -0.36123 | -0.17495 | 7.0459e-05 | -0.00030656 | 0.011592 | 0.011596 | 0.011596 | 0.99936 | -0.0044515 | 0.99916 | -0.0057419 | 5.522
10 | 1.9741 | 0.89866 | -1.9711 | -0.911 | 0.002951 | -0.012341 | 0.062841 | 0.063001 | 0.063001 | 0.99638 | 0.0012671 | 0.99499 | 0.012744 | 28.6368
11 | 0.56612 | 0.27399 | -0.5661 | -0.27402 | 1.866e-05 | -2.5694e-05 | 0.018222 | 0.018222 | 0.018222 | 0.99638 | 0.0012671 | 0.99635 | 0.0010492 | 8.6773
12 | -2.5402 | -1.1727 | 2.5425 | 1.1739 | 0.0023371 | 0.001227 | 0.081059 | 0.081056 | 0.081059 | 0.99638 | 0.0012671 | 0.99736 | 0.0084205 | 38.5995
13 | 1.9711 | 0.911 | -1.9711 | -0.91113 | 2.9642e-05 | -0.00012343 | 0.063001 | 0.063002 | 0.063002 | 0.99499 | 0.012744 | 0.99497 | 0.012862 | 28.6375
14 | 0.38676 | 0.18716 | -0.38672 | -0.1873 | 3.8812e-05 | -0.00014223 | 0.012449 | 0.012451 | 0.012451 | 0.99635 | 0.0010492 | 0.99624 | 0.00038657 | 5.929
15 | 0.15622 | 0.075006 | -0.15621 | -0.075658 | 9.2394e-07 | -0.00065204 | 0.0050157 | 0.0050239 | 0.0050239 | 0.99736 | 0.0084205 | 0.99735 | 0.0084715 | 2.2836
16 | -2.6988 | -1.2489 | 2.7008 | 1.2447 | 0.0019972 | -0.0042103 | 0.086071 | 0.086013 | 0.086071 | 0.99736 | 0.0084205 | 0.99805 | 0.0026498 | 39.1233
17 | 1.6797 | 0.76997 | -1.6786 | -0.76956 | 0.0010344 | 0.00040935 | 0.053609 | 0.053612 | 0.053612 | 0.99497 | 0.012862 | 0.99432 | 0.0079633 | 25.5294
18 | -0.18329 | -0.08877 | 0.18329 | 0.088723 | 2.5517e-06 | -4.7163e-05 | 0.0059003 | 0.0058997 | 0.0059003 | 0.99637 | -0.010847 | 0.99639 | -0.010755 | 2.8097
19 | -0.18329 | -0.088723 | 0.18331 | 0.075651 | 2.4945e-05 | -0.013072 | 0.0058997 | 0.0057448 | 0.0058997 | 0.99639 | -0.010755 | 0.99652 | -0.01174 | 2.6817
20 | 0.28828 | 0.13942 | -0.28827 | -0.13962 | 9.6693e-07 | -0.00019923 | 0.0092762 | 0.0092788 | 0.0092788 | 0.99652 | -0.01174 | 0.99651 | -0.011711 | 4.2176
21 | -0.75484 | -0.34696 | 0.755 | 0.34205 | 0.0001613 | -0.0049118 | 0.024066 | 0.024006 | 0.024066 | 0.99652 | -0.01174 | 0.99672 | -0.013358 | 10.9391
22 | 0.28325 | 0.13189 | -0.28323 | -0.13669 | 2.2308e-05 | -0.0047977 | 0.0090513 | 0.0091109 | 0.0091109 | 0.99652 | -0.01174 | 0.99644 | -0.011086 | 4.1413
23 | -1.4274 | -0.65327 | 1.4285 | 0.64406 | 0.0011029 | -0.0092119 | 0.04543 | 0.045316 | 0.04543 | 0.99746 | -0.019303 | 0.99818 | -0.025086 | 20.6502
24 | 1.0591 | 0.47492 | -1.0582 | -0.48783 | 0.00083852 | -0.012903 | 0.033591 | 0.033749 | 0.033749 | 0.99746 | -0.019303 | 0.99672 | -0.013358 | 15.3403
25 | 0.36831 | 0.17835 | -0.3683 | -0.17838 | 7.0129e-06 | -2.8936e-05 | 0.011843 | 0.011844 | 0.011844 | 0.99746 | -0.019303 | 0.99744 | -0.019429 | 5.6398
26 | 0.2806 | 0.1353 | -0.2806 | -0.1359 | 2.7407e-06 | -0.00060041 | 0.0090091 | 0.0090166 | 0.0090166 | 0.99818 | -0.025086 | 0.99817 | -0.025001 | 4.0985
27 | -1.7091 | -0.77936 | 1.7107 | 0.78 | 0.0016015 | 0.00064043 | 0.054323 | 0.054319 | 0.054323 | 0.99818 | -0.025086 | 0.99918 | -0.017517 | 25.8681
28 | 0.30322 | 0.14577 | -0.30321 | -0.14685 | 5.7751e-06 | -0.0010775 | 0.0097441 | 0.0097577 | 0.0097577 | 0.99672 | -0.013358 | 0.9967 | -0.013194 | 4.4353
29 | 0.28323 | 0.13669 | -0.28323 | -0.13717 | 2.2493e-06 | -0.00048019 | 0.0091109 | 0.009117 | 0.009117 | 0.99644 | -0.011086 | 0.99643 | -0.011017 | 4.1441
30 | 0.36934 | 0.17886 | -0.36934 | -0.17888 | 4.6641e-06 | -1.916e-05 | 0.011871 | 0.011872 | 0.011872 | 0.99791 | 0.0019834 | 0.99789 | 0.0019001 | 5.6531
31 | -5.1199 | -2.3521 | 5.1224 | 2.3548 | 0.0024592 | 0.0026859 | 0.16278 | 0.16278 | 0.16278 | 0.99918 | -0.017517 | 0.99978 | -0.0019734 | 46.5095
32 | 3.043 | 1.3947 | -3.0416 | -1.3969 | 0.0013351 | -0.0021509 | 0.09671 | 0.096741 | 0.096741 | 0.99918 | -0.017517 | 0.99877 | -0.014148 | 43.973
33 | -5.1908 | -2.4394 | 5.1911 | 2.4378 | 0.00023939 | -0.0016375 | 0.16566 | 0.16563 | 0.16566 | 0.99947 | -0.002278 | 0.99952 | -0.002076 | 25.9649
34 | 5.1908 | 2.4394 | -5.1907 | -2.4398 | 0.00019747 | -0.00036701 | 0.16566 | 0.16566 | 0.16566 | 0.99947 | -0.002278 | 0.99943 | -0.0027363 | 45.7631
35 | -5.299 | -2.4897 | 5.301 | 2.4761 | 0.0020742 | -0.013591 | 0.16909 | 0.16891 | 0.16909 | 0.99952 | -0.002076 | 0.99993 | -0.00033602 | 26.5035
36 | 0.10788 | 0.051942 | -0.10788 | -0.052249 | 2.0575e-07 | -0.00030702 | 0.0034581 | 0.0034619 | 0.0034619 | 0.99952 | -0.002076 | 0.99952 | -0.0020595 | 1.5736
37 | -5.1224 | -2.3548 | 5.123 | 2.3535 | 0.00066373 | -0.0012965 | 0.16278 | 0.16276 | 0.16278 | 0.99978 | -0.0019734 | 0.99993 | -0.00033602 | 44.9673
38 | -10.4241 | -4.8297 | 10.4248 | 4.8287 | 0.00074366 | -0.00095583 | 0.33167 | 0.33165 | 0.33167 | 0.99993 | -0.00033602 | 1 | 0 | 51.9859
39 | 0.11775 | 0.056661 | -0.11775 | -0.057031 | 2.9563e-07 | -0.00036994 | 0.003775 | 0.0037797 | 0.0037797 | 0.99929 | -0.0049303 | 0.99928 | -0.0049086 | 1.718
40 | 0.074126 | 0.035868 | -0.074126 | -0.035901 | 2.8244e-07 | -3.321e-05 | 0.0023789 | 0.0023793 | 0.0023793 | 0.99929 | -0.0049303 | 0.99928 | -0.0049555 | 1.133
41 | -0.30543 | -0.14793 | 0.30544 | 0.14715 | 4.386e-06 | -0.00078245 | 0.0099025 | 0.0098926 | 0.0099025 | 0.98932 | 0.010241 | 0.98933 | 0.010116 | 4.5011
42 | 0.33723 | 0.16257 | -0.33723 | -0.16269 | 7.7095e-07 | -0.00011286 | 0.010924 | 0.010925 | 0.010925 | 0.98933 | 0.010116 | 0.98933 | 0.010136 | 4.9659
43 | -0.64266 | -0.30972 | 0.64313 | 0.29068 | 0.00046887 | -0.019036 | 0.020816 | 0.02058 | 0.020816 | 0.98933 | 0.010116 | 0.99001 | 0.0042729 | 9.4619
44 | 0.33723 | 0.16269 | -0.33711 | -0.16327 | 0.00011962 | -0.00058158 | 0.010925 | 0.010933 | 0.010933 | 0.98933 | 0.010136 | 0.98896 | 0.0077798 | 5.2064
45 | -0.64313 | -0.29068 | 0.64315 | 0.29066 | 1.9896e-05 | -1.8391e-05 | 0.02058 | 0.020579 | 0.02058 | 0.99001 | 0.0042729 | 0.99004 | 0.0045296 | 9.7998
46 | -0.94491 | -0.43681 | 0.94598 | 0.43672 | 0.0010675 | -9.346e-05 | 0.030353 | 0.030344 | 0.030353 | 0.99004 | 0.0045296 | 0.99123 | 0.013294 | 14.4539
47 | -0.38831 | -0.18807 | 0.38832 | 0.18722 | 7.5376e-06 | -0.00085057 | 0.012517 | 0.012506 | 0.012517 | 0.99509 | -0.0069156 | 0.99511 | -0.0070838 | 5.6893
48 | 0.35659 | 0.16704 | -0.35656 | -0.1713 | 3.1621e-05 | -0.004262 | 0.011423 | 0.011476 | 0.011476 | 0.99511 | -0.0070838 | 0.99502 | -0.0063464 | 5.2165
49 | -0.74491 | -0.35426 | 0.74529 | 0.34245 | 0.00038305 | -0.011813 | 0.023929 | 0.023782 | 0.023929 | 0.99511 | -0.0070838 | 0.99558 | -0.011215 | 10.8767
50 | 0.35656 | 0.1713 | -0.35655 | -0.17268 | 1.0306e-05 | -0.0013804 | 0.011476 | 0.011494 | 0.011494 | 0.99502 | -0.0063464 | 0.995 | -0.0060968 | 5.2245
51 | -0.74529 | -0.34245 | 0.74534 | 0.3409 | 4.9827e-05 | -0.0015483 | 0.023782 | 0.023763 | 0.023782 | 0.99558 | -0.011215 | 0.99565 | -0.011727 | 10.8101
52 | -1.1231 | -0.52384 | 1.1231 | 0.52318 | 4.9187e-05 | -0.00066111 | 0.03593 | 0.035922 | 0.03593 | 0.99565 | -0.011727 | 0.99569 | -0.012076 | 16.3318
53 | -0.13396 | -0.06488 | 0.13397 | 0.064671 | 6.0695e-06 | -0.00020894 | 0.004335 | 0.0043323 | 0.004335 | 0.99118 | 0.012994 | 0.99123 | 0.013294 | 2.0643
54 | -1.0799 | -0.50139 | 1.0802 | 0.49731 | 0.00028461 | -0.0040821 | 0.034676 | 0.034625 | 0.034676 | 0.99123 | 0.013294 | 0.99147 | 0.011233 | 15.7617
55 | -1.4022 | -0.65326 | 1.404 | 0.65379 | 0.0017737 | 0.00053424 | 0.04504 | 0.045033 | 0.04504 | 0.99147 | 0.011233 | 0.9928 | 0.020792 | 21.4476
56 | -1.6759 | -0.78548 | 1.6762 | 0.78346 | 0.00034789 | -0.0020158 | 0.053816 | 0.05379 | 0.053816 | 0.9928 | 0.020792 | 0.993 | 0.01912 | 24.4619
57 | -2.9289 | -1.3471 | 2.9294 | 1.3464 | 0.00043408 | -0.00075733 | 0.093339 | 0.093329 | 0.093339 | 0.99706 | -0.015632 | 0.9972 | -0.016776 | 42.427
58 | 2.7109 | 1.2415 | -2.7097 | -1.2408 | 0.0012595 | 0.00067642 | 0.086327 | 0.086329 | 0.086329 | 0.99706 | -0.015632 | 0.99657 | -0.019339 | 41.1089
59 | -2.9294 | -1.3464 | 2.9306 | 1.3442 | 0.0012587 | -0.0021986 | 0.093329 | 0.093298 | 0.093329 | 0.9972 | -0.016776 | 0.9976 | -0.020079 | 42.4221
60 | 2.7097 | 1.2408 | -2.7072 | -1.2459 | 0.0024351 | -0.0050719 | 0.086329 | 0.086399 | 0.086399 | 0.99657 | -0.019339 | 0.99573 | -0.012428 | 39.2721
61 | 1.1232 | 0.52251 | -1.1231 | -0.52318 | 4.962e-05 | -0.00066729 | 0.035913 | 0.035922 | 0.035922 | 0.99573 | -0.012428 | 0.99569 | -0.012076 | 16.328
62 | 0.12828 | 0.048119 | -0.12827 | -0.062045 | 1.287e-05 | -0.013926 | 0.0039722 | 0.0041313 | 0.0041313 | 0.99573 | -0.012428 | 0.99563 | -0.011783 | 1.8779
63 | 0.28995 | 0.14037 | -0.28994 | -0.14042 | 8.3316e-06 | -5.8233e-05 | 0.0093391 | 0.0093399 | 0.0093399 | 0.99573 | -0.012428 | 0.9957 | -0.012617 | 4.4476
64 | 1.1658 | 0.53492 | -1.1654 | -0.53992 | 0.00040002 | -0.0050007 | 0.037187 | 0.037249 | 0.037249 | 0.99573 | -0.012428 | 0.99541 | -0.0097612 | 16.9313
65 | -2.9306 | -1.3442 | 2.9312 | 1.3432 | 0.00054976 | -0.00096145 | 0.093298 | 0.093284 | 0.093298 | 0.9976 | -0.020079 | 0.99778 | -0.021516 | 42.408
66 | 0.83882 | 0.38176 | -0.83852 | -0.38904 | 0.00029793 | -0.0072755 | 0.026727 | 0.026816 | 0.026816 | 0.99541 | -0.0097612 | 0.99508 | -0.0070235 | 12.1893
67 | 0.3266 | 0.15816 | -0.3266 | -0.15818 | 3.8579e-06 | -2.0709e-05 | 0.010524 | 0.010524 | 0.010524 | 0.99541 | -0.0097612 | 0.9954 | -0.0098391 | 5.0114
68 | 0.55845 | 0.25459 | -0.5582 | -0.26834 | 0.00025001 | -0.013755 | 0.017805 | 0.017975 | 0.017975 | 0.99508 | -0.0070235 | 0.99466 | -0.0034111 | 8.1705
69 | 0.28007 | 0.13445 | -0.28007 | -0.13564 | 5.4855e-06 | -0.0011923 | 0.0090128 | 0.0090278 | 0.0090278 | 0.99508 | -0.0070235 | 0.99506 | -0.0068546 | 4.1036
70 | 0.12827 | 0.062045 | -0.12827 | -0.062123 | 2.0415e-06 | -7.8144e-05 | 0.0041313 | 0.0041323 | 0.0041323 | 0.99563 | -0.011783 | 0.99562 | -0.011888 | 1.9678
71 | 3.0416 | 1.3969 | -3.0388 | -1.3953 | 0.0028323 | 0.001572 | 0.096741 | 0.096743 | 0.096743 | 0.99877 | -0.014148 | 0.99778 | -0.021516 | 46.0681
72 | 0.5582 | 0.26834 | -0.55819 | -0.26835 | 6.7426e-06 | -9.6099e-06 | 0.017975 | 0.017975 | 0.017975 | 0.99466 | -0.0034111 | 0.99465 | -0.0034929 | 8.5596
73 | 0.15853 | 0.074789 | -0.15852 | -0.075182 | 1.5756e-05 | -0.00039325 | 0.0050873 | 0.0050923 | 0.0050923 | 0.99465 | -0.0034929 | 0.99454 | -0.0042065 | 2.4249
74 | 0.15852 | 0.075182 | -0.15851 | -0.076771 | 2.3402e-06 | -0.0015895 | 0.0050923 | 0.0051123 | 0.0051123 | 0.99454 | -0.0042065 | 0.99453 | -0.0040809 | 2.3238
75 | -1.6762 | -0.78346 | 1.6786 | 0.76956 | 0.002385 | -0.013897 | 0.05379 | 0.053612 | 0.05379 | 0.993 | 0.01912 | 0.99432 | 0.0079633 | 24.45
76 | -0.40866 | -0.19792 | 0.40866 | 0.19783 | 8.9706e-07 | -9.2393e-05 | 0.013133 | 0.013132 | 0.013133 | 0.99805 | 0.0026689 | 0.99805 | 0.0026498 | 5.9698

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.8379 | 5.0325

## res_load
| p_mw | q_mvar
0 | 0.33978 | 0.16456
1 | 0.20218 | 0.097921
2 | 0.17934 | 0.086858
3 | 0.29145 | 0.14115
4 | 0.18329 | 0.08877
5 | 0.3683 | 0.17838
6 | 0.28827 | 0.13962
7 | 0.36934 | 0.17888
8 | 0.30321 | 0.14685
9 | 0.2806 | 0.1359
10 | 0.36626 | 0.17739
11 | 0.28323 | 0.13717
12 | 0.083207 | 0.040299
13 | 0.10788 | 0.052249
14 | 0.39907 | 0.19328
15 | 0.38672 | 0.1873
16 | 0.41432 | 0.20067
17 | 0.11775 | 0.057031
18 | 0.074126 | 0.035901
19 | 0.30543 | 0.14793
20 | 0.33711 | 0.16327
21 | 0.30176 | 0.14615
22 | 0.38831 | 0.18807
23 | 0.35655 | 0.17268
24 | 0.37773 | 0.18294
25 | 0.13396 | 0.06488
26 | 0.36123 | 0.17495
27 | 0.32199 | 0.15595
28 | 0.27189 | 0.13168
29 | 0.21802 | 0.10559
30 | 0.3266 | 0.15818
31 | 0.28994 | 0.14042
32 | 0.10762 | 0.052123
33 | 0.12827 | 0.062123
34 | 0.28007 | 0.13564
35 | 0.39966 | 0.19356
36 | 0.15851 | 0.076771
37 | 0.40866 | 0.19792
38 | 0.15621 | 0.075658
39 | 0.11399 | 0.055208

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1