## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_27_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_27_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_27_0_node_5 | 20 | n |  | TRUE
3 | bus_MV_27_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_27_0_node_202 | 20 | n |  | TRUE
5 | bus_MV_27_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_27_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_27_0_node_165 | 20 | n |  | TRUE
8 | bus_MV_27_0_node_200 | 20 | n |  | TRUE
9 | bus_MV_27_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_27_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_27_0_node_18 | 20 | n |  | TRUE
12 | bus_MV_27_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_27_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_27_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_27_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_27_0_node_13 | 20 | n |  | TRUE
17 | bus_MV_27_0_node_163 | 20 | n |  | TRUE
18 | bus_MV_27_0_node_161 | 20 | n |  | TRUE
19 | bus_MV_27_0_node_194 | 20 | n |  | TRUE
20 | bus_MV_27_0_node_14 | 20 | n |  | TRUE
21 | bus_MV_27_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_27_0_node_16 | 20 | n |  | TRUE
23 | bus_MV_27_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_27_0_node_227 | 20 | n |  | TRUE
25 | bus_MV_27_0_node_162 | 20 | n |  | TRUE
26 | bus_MV_27_0_node_160 | 20 | n |  | TRUE
27 | bus_MV_27_0_node_164 | 20 | n |  | TRUE
28 | bus_MV_27_0_node_39 | 20 | n |  | TRUE
29 | bus_MV_27_0_node_40 | 20 | n |  | TRUE
30 | bus_MV_27_0_node_41 | 20 | n |  | TRUE
31 | bus_MV_27_0_node_169 | 20 | n |  | TRUE
32 | bus_MV_27_0_node_42 | 20 | n |  | TRUE
33 | bus_MV_27_0_node_43 | 20 | n |  | TRUE
34 | bus_MV_27_0_node_44 | 20 | n |  | TRUE
35 | bus_MV_27_0_node_45 | 20 | n |  | TRUE
36 | bus_MV_27_0_node_170 | 20 | n |  | TRUE
37 | bus_MV_27_0_node_49 | 20 | n |  | TRUE
38 | bus_MV_27_0_node_46 | 20 | n |  | TRUE
39 | bus_MV_27_0_node_47 | 20 | n |  | TRUE
40 | bus_MV_27_0_node_171 | 20 | n |  | TRUE
41 | bus_MV_27_0_node_199 | 20 | n |  | TRUE
42 | bus_MV_27_0_node_231 | 20 | n |  | TRUE
43 | bus_MV_27_0_node_218 | 20 | n |  | TRUE
44 | bus_MV_27_0_node_219 | 20 | n |  | TRUE
45 | bus_MV_27_0_node_220 | 20 | n |  | TRUE
46 | bus_HV_27_0_node_199 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_27_0_load_0 | 0 | 0.11376 | 0.055094 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_27_0_load_5 | 2 | 0.27719 | 0.13425 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_27_0_load_202 | 4 | 0.31295 | 0.15157 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_27_0_load_4 | 5 | 0.11908 | 0.057672 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_27_0_load_6 | 6 | 0.12787 | 0.061932 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_27_0_load_165 | 7 | 0.071805 | 0.034777 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_27_0_load_200 | 8 | 0.23294 | 0.11282 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_27_0_load_7 | 9 | 0.10489 | 0.0508 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_27_0_load_9 | 12 | 0.25219 | 0.12214 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_27_0_load_161 | 18 | 0.069805 | 0.033808 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_27_0_load_194 | 19 | 0.10621 | 0.051441 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_27_0_load_14 | 20 | 0.20969 | 0.10156 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_27_0_load_227 | 24 | 0.15463 | 0.074889 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_27_0_load_162 | 25 | 0.19847 | 0.096125 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_27_0_load_160 | 26 | 0.069358 | 0.033592 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_27_0_load_164 | 27 | 0.090349 | 0.043758 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_27_0_load_39 | 28 | 0.19169 | 0.092841 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_27_0_load_169 | 31 | 0.071933 | 0.034839 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_27_0_load_42 | 32 | 0.29395 | 0.14237 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_27_0_load_170 | 36 | 0.34301 | 0.16613 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_27_0_load_49 | 37 | 0.21253 | 0.10293 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_27_0_load_46 | 38 | 0.050207 | 0.024317 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_27_0_load_171 | 40 | 0.19885 | 0.096306 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_27_0_load_231 | 42 | 0.22807 | 0.11046 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_27_0_load_219 | 44 | 0.36824 | 0.17835 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_27_0_line_0 |  | 0 | 1 | 0.04002 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_27_0_line_1 |  | 0 | 2 | 1.9738 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_27_0_line_2 |  | 1 | 3 | 1.4912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_27_0_line_3 |  | 2 | 5 | 0.79333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_27_0_line_4 |  | 3 | 4 | 0.14813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_27_0_line_5 |  | 4 | 42 | 1.2381 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_27_0_line_6 |  | 5 | 6 | 1.5502 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_27_0_line_7 |  | 6 | 7 | 0.97523 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_27_0_line_8 |  | 6 | 8 | 1.1528 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
9 | MV_27_0_line_9 |  | 7 | 22 | 0.025348 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_27_0_line_10 |  | 8 | 41 | 0.018569 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_27_0_line_11 |  | 9 | 10 | 0.10338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_27_0_line_12 |  | 10 | 11 | 1.6895 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_27_0_line_13 |  | 11 | 25 | 0.020195 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_27_0_line_14 |  | 11 | 23 | 0.19651 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_27_0_line_15 |  | 12 | 13 | 0.041429 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
16 | MV_27_0_line_16 |  | 12 | 14 | 0.13617 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
17 | MV_27_0_line_17 |  | 13 | 15 | 0.24611 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
18 | MV_27_0_line_18 |  | 14 | 16 | 0.58766 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_27_0_line_19 |  | 15 | 17 | 0.042306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_27_0_line_20 |  | 15 | 18 | 0.040702 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
21 | MV_27_0_line_21 |  | 16 | 19 | 0.017537 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_27_0_line_22 |  | 17 | 27 | 0.094915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_27_0_line_23 |  | 18 | 26 | 0.047862 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_27_0_line_24 |  | 19 | 29 | 2.4256 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
25 | MV_27_0_line_25 |  | 20 | 21 | 0.03229 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_27_0_line_26 |  | 21 | 22 | 0.11872 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_27_0_line_27 |  | 21 | 23 | 1.0706 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
28 | MV_27_0_line_28 |  | 23 | 24 | 0.11343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_27_0_line_29 |  | 25 | 26 | 0.13265 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
30 | MV_27_0_line_30 |  | 28 | 29 | 0.089714 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_27_0_line_31 |  | 29 | 30 | 0.78188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_27_0_line_32 |  | 30 | 31 | 0.0022158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_27_0_line_33 |  | 31 | 34 | 0.045726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_27_0_line_34 |  | 32 | 33 | 0.055433 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_27_0_line_35 |  | 33 | 34 | 0.12779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_27_0_line_36 |  | 33 | 35 | 0.70888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_27_0_line_37 |  | 34 | 36 | 0.050017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_27_0_line_38 |  | 35 | 37 | 0.021961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_27_0_line_39 |  | 36 | 40 | 0.056263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_27_0_line_40 |  | 38 | 39 | 0.02121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_27_0_line_41 |  | 39 | 40 | 0.42573 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_27_0_line_42 |  | 42 | 45 | 0.40459 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_27_0_line_43 |  | 43 | 44 | 0.040222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_27_0_line_44 |  | 43 | 45 | 0.78743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_27_0_trafo_199 | 25 MVA 110/20 kV | 46 | 41 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2572878.2912 | 1169120.4239
1 | 2572838.416 | 1169123.8286
2 | 2574833.262 | 1168848.6916
3 | 2572133.0943 | 1169605.027
4 | 2572111.1014 | 1169748.9808
5 | 2575067.6633 | 1169606.607
6 | 2575335.7263 | 1171133.4735
7 | 2576305.8026 | 1171033.3128
8 | 2574946.1678 | 1172218.4126
9 | 2578066.5533 | 1170450.9795
10 | 2578134.4362 | 1170518.1873
11 | 2577016.1332 | 1171784.6683
12 | 2577436.3086 | 1172076.9394
13 | 2577409.626 | 1172045.2128
14 | 2577536.2214 | 1172169.2769
15 | 2577191.0429 | 1171948.8712
16 | 2577848.6014 | 1172630.6354
17 | 2577179.3275 | 1171989.4699
18 | 2577156.6132 | 1171927.6608
19 | 2577853.3137 | 1172647.5266
20 | 2576423.9328 | 1171078.6804
21 | 2576413.9895 | 1171047.9595
22 | 2576330.2177 | 1171026.5573
23 | 2576894.6667 | 1171692.3226
24 | 2576787.3531 | 1171717.74
25 | 2577028.0285 | 1171801.0087
26 | 2577121.5834 | 1171895.0467
27 | 2577086.4894 | 1171973.8241
28 | 2577370.4547 | 1175068.9381
29 | 2577455.4836 | 1175040.3244
30 | 2577003.752 | 1175036.2987
31 | 2577002.0251 | 1175037.6869
32 | 2577047.1173 | 1175135.216
33 | 2576996.0361 | 1175156.7456
34 | 2576966.3866 | 1175066.3357
35 | 2576531.8705 | 1175571.8628
36 | 2576932.8323 | 1175029.2474
37 | 2576530.7079 | 1175550.2896
38 | 2576452.741 | 1175057.8326
39 | 2576473.4838 | 1175062.5311
40 | 2576892.979 | 1174989.9354
41 | 2574951.3744 | 1172236.2332
42 | 2573208.0443 | 1170323.1191
43 | 2572939.6829 | 1170801.4708
44 | 2572951.7062 | 1170839.8361
45 | 2573511.5273 | 1170590.6826
46 | 2574951.3744 | 1172236.2332

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98417 | -0.2418 | 0.11376 | 0.055094
1 | 0.9841 | -0.24246 | 0 | 0
2 | 0.98804 | -0.20625 | 0.27719 | 0.13425
3 | 0.98237 | -0.22973 | 0 | 0
4 | 0.98219 | -0.22828 | 0.31295 | 0.15157
5 | 0.99003 | -0.18922 | 0.11908 | 0.057672
6 | 0.99427 | -0.15369 | 0.12787 | 0.061932
7 | 0.99122 | -0.23695 | 0.071805 | 0.034777
8 | 0.99996 | -0.00054895 | 0.23294 | 0.11282
9 | 0.98904 | -0.26274 | 0.10489 | 0.0508
10 | 0.98906 | -0.26287 | 0 | 0
11 | 0.9894 | -0.26018 | 0 | 0
12 | 0.98872 | -0.27307 | 0.25219 | 0.12214
13 | 0.98875 | -0.2726 | 0 | 0
14 | 0.98861 | -0.27443 | 0 | 0
15 | 0.98898 | -0.26974 | 0 | 0
16 | 0.98814 | -0.28013 | 0 | 0
17 | 0.98898 | -0.2697 | 0 | 0
18 | 0.98902 | -0.26924 | 0.069805 | 0.033808
19 | 0.98813 | -0.2803 | 0.10621 | 0.051441
20 | 0.99101 | -0.23965 | 0.20969 | 0.10156
21 | 0.99102 | -0.23957 | 0 | 0
22 | 0.99119 | -0.23742 | 0 | 0
23 | 0.98964 | -0.25722 | 0 | 0
24 | 0.98961 | -0.25701 | 0.15463 | 0.074889
25 | 0.98937 | -0.26047 | 0.19847 | 0.096125
26 | 0.98907 | -0.26863 | 0.069358 | 0.033592
27 | 0.98897 | -0.2696 | 0.090349 | 0.043758
28 | 0.98419 | -0.38369 | 0.19169 | 0.092841
29 | 0.98422 | -0.38348 | 0 | 0
30 | 0.98305 | -0.37388 | 0 | 0
31 | 0.98304 | -0.37385 | 0.071933 | 0.034839
32 | 0.98287 | -0.37286 | 0.29395 | 0.14237
33 | 0.9829 | -0.37266 | 0 | 0
34 | 0.98298 | -0.3733 | 0 | 0
35 | 0.9827 | -0.3712 | 0 | 0
36 | 0.98294 | -0.37294 | 0.34301 | 0.16613
37 | 0.9827 | -0.37114 | 0.21253 | 0.10293
38 | 0.98288 | -0.37306 | 0.050207 | 0.024317
39 | 0.98288 | -0.37307 | 0 | 0
40 | 0.98292 | -0.37278 | 0.19885 | 0.096306
41 | 1 | 0 | -4.5368 | -2.0151
42 | 0.98076 | -0.23975 | 0.22807 | 0.11046
43 | 0.9801 | -0.23922 | 0 | 0
44 | 0.98008 | -0.23904 | 0.36824 | 0.17835
45 | 0.98047 | -0.24231 | 0 | 0
46 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.91227 | 0.38283 | -0.91221 | -0.38284 | 6.0046e-05 | -8.6617e-06 | 0.029019 | 0.029019 | 0.029019 | 0.98417 | -0.2418 | 0.9841 | -0.24246 | 13.8188
1 | -1.026 | -0.43793 | 1.0298 | 0.43799 | 0.0037623 | 6.5283e-05 | 0.032722 | 0.032695 | 0.032722 | 0.98417 | -0.2418 | 0.98804 | -0.20625 | 15.5817
2 | 0.91221 | 0.38284 | -0.91051 | -0.41676 | 0.0016996 | -0.033917 | 0.029019 | 0.029425 | 0.029425 | 0.9841 | -0.24246 | 0.98237 | -0.22973 | 13.3752
3 | -1.307 | -0.57224 | 1.3094 | 0.57285 | 0.0024555 | 0.00061164 | 0.041686 | 0.041675 | 0.041686 | 0.98804 | -0.20625 | 0.99003 | -0.18922 | 19.8502
4 | 0.91051 | 0.41676 | -0.91033 | -0.42012 | 0.00017147 | -0.0033616 | 0.029425 | 0.029467 | 0.029467 | 0.98237 | -0.22973 | 0.98219 | -0.22828 | 13.3942
5 | 0.59739 | 0.26855 | -0.59657 | -0.26946 | 0.00081819 | -0.00091132 | 0.01925 | 0.019267 | 0.019267 | 0.98219 | -0.22828 | 0.98076 | -0.23975 | 9.175
6 | -1.4285 | -0.63053 | 1.4342 | 0.63229 | 0.0057229 | 0.0017629 | 0.04553 | 0.045509 | 0.04553 | 0.99003 | -0.18922 | 0.99427 | -0.15369 | 21.6809
7 | 2.7081 | 1.1773 | -2.7016 | -1.171 | 0.0065819 | 0.0063205 | 0.085736 | 0.08575 | 0.08575 | 0.99427 | -0.15369 | 0.99122 | -0.23695 | 24.5001
8 | -4.2702 | -1.8715 | 4.2896 | 1.8923 | 0.019389 | 0.020736 | 0.13537 | 0.13535 | 0.13537 | 0.99427 | -0.15369 | 0.99996 | -0.00054895 | 38.6762
9 | 2.6297 | 1.1362 | -2.6297 | -1.137 | 8.5226e-05 | -0.00079243 | 0.083429 | 0.083439 | 0.083439 | 0.99122 | -0.23695 | 0.99119 | -0.23742 | 23.0494
10 | -4.5226 | -2.0051 | 4.5228 | 2.0046 | 0.00018293 | -0.00050407 | 0.14282 | 0.14281 | 0.14282 | 0.99996 | -0.00054895 | 1 | 0 | 39.4523
11 | -0.10489 | -0.0508 | 0.10489 | 0.048385 | 1.5826e-06 | -0.002414 | 0.0034016 | 0.0033714 | 0.0034016 | 0.98904 | -0.26274 | 0.98906 | -0.26287 | 1.5462
12 | -0.10489 | -0.048385 | 0.10492 | 0.046433 | 3.3974e-05 | -0.0019525 | 0.0033714 | 0.0033477 | 0.0033714 | 0.98906 | -0.26287 | 0.9894 | -0.26018 | 1.6054
13 | 2.1565 | 0.96054 | -2.1564 | -0.96119 | 4.6281e-05 | -0.00064455 | 0.068878 | 0.068886 | 0.068886 | 0.9894 | -0.26018 | 0.98937 | -0.26047 | 19.0293
14 | -2.2614 | -1.007 | 2.2619 | 1.0007 | 0.00049459 | -0.0062415 | 0.072226 | 0.072148 | 0.072226 | 0.9894 | -0.26018 | 0.98964 | -0.25722 | 19.9519
15 | -1.7274 | -0.76893 | 1.7274 | 0.76759 | 6.0965e-05 | -0.0013451 | 0.055205 | 0.055189 | 0.055205 | 0.98872 | -0.27307 | 0.98875 | -0.2726 | 15.2501
16 | 1.4752 | 0.64679 | -1.475 | -0.65125 | 0.00014563 | -0.0044602 | 0.047029 | 0.047083 | 0.047083 | 0.98872 | -0.27307 | 0.98861 | -0.27443 | 13.0063
17 | -1.7274 | -0.76759 | 1.7278 | 0.75959 | 0.00036141 | -0.0079934 | 0.055189 | 0.055091 | 0.055189 | 0.98875 | -0.2726 | 0.98898 | -0.26974 | 15.2455
18 | 1.475 | 0.65125 | -1.4744 | -0.67049 | 0.00063234 | -0.019235 | 0.047083 | 0.047318 | 0.047318 | 0.98861 | -0.27443 | 0.98814 | -0.28013 | 13.0713
19 | 0.090351 | 0.040554 | -0.090351 | -0.041542 | 4.739e-07 | -0.00098782 | 0.0028907 | 0.0029027 | 0.0029027 | 0.98898 | -0.26974 | 0.98898 | -0.2697 | 1.3194
20 | -1.8181 | -0.80015 | 1.8182 | 0.79883 | 6.6074e-05 | -0.0013178 | 0.057982 | 0.057966 | 0.057982 | 0.98898 | -0.26974 | 0.98902 | -0.26924 | 16.0171
21 | 1.4744 | 0.67049 | -1.4744 | -0.67106 | 1.8968e-05 | -0.00057365 | 0.047318 | 0.047325 | 0.047325 | 0.98814 | -0.28013 | 0.98813 | -0.2803 | 13.0732
22 | 0.090351 | 0.041542 | -0.090349 | -0.043758 | 1.0777e-06 | -0.0022162 | 0.0029027 | 0.0029303 | 0.0029303 | 0.98898 | -0.2697 | 0.98897 | -0.2696 | 1.3319
23 | -1.888 | -0.83264 | 1.8881 | 0.83109 | 8.3831e-05 | -0.0015453 | 0.060228 | 0.060209 | 0.060228 | 0.98902 | -0.26924 | 0.98907 | -0.26863 | 16.6377
24 | 1.3682 | 0.61962 | -1.3639 | -0.61768 | 0.0042907 | 0.0019432 | 0.043878 | 0.043914 | 0.043914 | 0.98813 | -0.2803 | 0.98422 | -0.38348 | 12.5469
25 | -0.20969 | -0.10156 | 0.2097 | 0.10152 | 2.6499e-06 | -3.6199e-05 | 0.006787 | 0.0067865 | 0.006787 | 0.99101 | -0.23965 | 0.99102 | -0.23957 | 3.2319
26 | -2.6293 | -1.1407 | 2.6297 | 1.137 | 0.00039944 | -0.0037105 | 0.083485 | 0.083439 | 0.083485 | 0.99102 | -0.23957 | 0.99119 | -0.23742 | 23.0622
27 | 2.4196 | 1.0392 | -2.4165 | -1.073 | 0.003059 | -0.033798 | 0.076705 | 0.077125 | 0.077125 | 0.99102 | -0.23957 | 0.98964 | -0.25722 | 21.3053
28 | 0.15463 | 0.072238 | -0.15463 | -0.074889 | 3.7781e-06 | -0.0026513 | 0.0049785 | 0.0050117 | 0.0050117 | 0.98964 | -0.25722 | 0.98961 | -0.25701 | 2.278
29 | 1.9579 | 0.86506 | -1.9575 | -0.86468 | 0.00047501 | 0.00038019 | 0.062455 | 0.062457 | 0.062457 | 0.98937 | -0.26047 | 0.98907 | -0.26863 | 17.8449
30 | -0.19169 | -0.092841 | 0.1917 | 0.092742 | 6.2373e-06 | -9.9838e-05 | 0.0062473 | 0.006246 | 0.0062473 | 0.98419 | -0.38369 | 0.98422 | -0.38348 | 2.9749
31 | 1.1722 | 0.52493 | -1.1707 | -0.54256 | 0.0014898 | -0.01762 | 0.037671 | 0.03789 | 0.03789 | 0.98422 | -0.38348 | 0.98305 | -0.37388 | 17.2229
32 | 1.1707 | 0.54256 | -1.1707 | -0.5426 | 4.2469e-06 | -4.9865e-05 | 0.03789 | 0.037891 | 0.037891 | 0.98305 | -0.37388 | 0.98304 | -0.37385 | 17.2232
33 | 1.0988 | 0.50777 | -1.0987 | -0.5088 | 7.7151e-05 | -0.0010321 | 0.035544 | 0.035557 | 0.035557 | 0.98304 | -0.37385 | 0.98298 | -0.3733 | 16.1624
34 | -0.29395 | -0.14237 | 0.29396 | 0.14231 | 9.0879e-06 | -5.8237e-05 | 0.0095929 | 0.0095921 | 0.0095929 | 0.98287 | -0.37286 | 0.9829 | -0.37266 | 4.568
35 | -0.50654 | -0.2284 | 0.50658 | 0.22547 | 4.5338e-05 | -0.0029346 | 0.016319 | 0.016284 | 0.016319 | 0.9829 | -0.37266 | 0.98298 | -0.3733 | 7.4179
36 | 0.21258 | 0.086094 | -0.21253 | -0.10243 | 4.4143e-05 | -0.016335 | 0.006736 | 0.0069306 | 0.0069306 | 0.9829 | -0.37266 | 0.9827 | -0.3712 | 3.1503
37 | 0.5921 | 0.28333 | -0.59208 | -0.28448 | 2.4831e-05 | -0.0011465 | 0.019277 | 0.019291 | 0.019291 | 0.98298 | -0.3733 | 0.98294 | -0.37294 | 8.7688
38 | 0.21253 | 0.10243 | -0.21253 | -0.10293 | 1.4095e-06 | -0.00050594 | 0.0069306 | 0.006937 | 0.006937 | 0.9827 | -0.3712 | 0.9827 | -0.37114 | 3.1532
39 | 0.24906 | 0.11835 | -0.24906 | -0.11964 | 4.936e-06 | -0.0012964 | 0.0080984 | 0.0081148 | 0.0081148 | 0.98294 | -0.37294 | 0.98292 | -0.37278 | 3.6885
40 | -0.050207 | -0.024317 | 0.050207 | 0.023827 | 7.5717e-08 | -0.0004892 | 0.0016385 | 0.0016322 | 0.0016385 | 0.98288 | -0.37306 | 0.98288 | -0.37307 | 0.74475
41 | -0.050207 | -0.023827 | 0.050209 | 0.023338 | 2.0132e-06 | -0.00048975 | 0.0016322 | 0.0016261 | 0.0016322 | 0.98288 | -0.37307 | 0.98292 | -0.37278 | 0.77726
42 | 0.3685 | 0.159 | -0.3684 | -0.1594 | 0.00010064 | -0.00040142 | 0.011813 | 0.011818 | 0.011818 | 0.98076 | -0.23975 | 0.98047 | -0.24231 | 5.6278
43 | 0.36825 | 0.17743 | -0.36824 | -0.17835 | 7.791e-06 | -0.00092017 | 0.01204 | 0.012051 | 0.012051 | 0.9801 | -0.23922 | 0.98008 | -0.23904 | 5.4779
44 | -0.36825 | -0.17743 | 0.3684 | 0.1594 | 0.00014953 | -0.018022 | 0.01204 | 0.011818 | 0.01204 | 0.9801 | -0.23922 | 0.98047 | -0.24231 | 5.4725

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.5368 | 2.0151

## res_load
| p_mw | q_mvar
0 | 0.11376 | 0.055094
1 | 0.27719 | 0.13425
2 | 0.31295 | 0.15157
3 | 0.11908 | 0.057672
4 | 0.12787 | 0.061932
5 | 0.071805 | 0.034777
6 | 0.23294 | 0.11282
7 | 0.10489 | 0.0508
8 | 0.25219 | 0.12214
9 | 0.069805 | 0.033808
10 | 0.10621 | 0.051441
11 | 0.20969 | 0.10156
12 | 0.15463 | 0.074889
13 | 0.19847 | 0.096125
14 | 0.069358 | 0.033592
15 | 0.090349 | 0.043758
16 | 0.19169 | 0.092841
17 | 0.071933 | 0.034839
18 | 0.29395 | 0.14237
19 | 0.34301 | 0.16613
20 | 0.21253 | 0.10293
21 | 0.050207 | 0.024317
22 | 0.19885 | 0.096306
23 | 0.22807 | 0.11046
24 | 0.36824 | 0.17835

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1