## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_286_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_286_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_286_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_286_0_node_9 | 20 | n |  | TRUE
4 | bus_MV_286_0_node_44 | 20 | n |  | TRUE
5 | bus_MV_286_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_286_0_node_8 | 20 | n |  | TRUE
7 | bus_MV_286_0_node_34 | 20 | n |  | TRUE
8 | bus_MV_286_0_node_36 | 20 | n |  | TRUE
9 | bus_MV_286_0_node_51 | 20 | n |  | TRUE
10 | bus_MV_286_0_node_27 | 20 | n |  | TRUE
11 | bus_MV_286_0_node_28 | 20 | n |  | TRUE
12 | bus_MV_286_0_node_49 | 20 | n |  | TRUE
13 | bus_MV_286_0_node_4 | 20 | n |  | TRUE
14 | bus_MV_286_0_node_5 | 20 | n |  | TRUE
15 | bus_MV_286_0_node_7 | 20 | n |  | TRUE
16 | bus_MV_286_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_286_0_node_10 | 20 | n |  | TRUE
18 | bus_MV_286_0_node_11 | 20 | n |  | TRUE
19 | bus_MV_286_0_node_13 | 20 | n |  | TRUE
20 | bus_MV_286_0_node_23 | 20 | n |  | TRUE
21 | bus_MV_286_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_286_0_node_82 | 20 | n |  | TRUE
23 | bus_MV_286_0_node_40 | 20 | n |  | TRUE
24 | bus_MV_286_0_node_38 | 20 | n |  | TRUE
25 | bus_MV_286_0_node_91 | 20 | n |  | TRUE
26 | bus_MV_286_0_node_21 | 20 | n |  | TRUE
27 | bus_MV_286_0_node_37 | 20 | n |  | TRUE
28 | bus_MV_286_0_node_15 | 20 | n |  | TRUE
29 | bus_MV_286_0_node_17 | 20 | n |  | TRUE
30 | bus_MV_286_0_node_18 | 20 | n |  | TRUE
31 | bus_MV_286_0_node_19 | 20 | n |  | TRUE
32 | bus_MV_286_0_node_24 | 20 | n |  | TRUE
33 | bus_MV_286_0_node_20 | 20 | n |  | TRUE
34 | bus_MV_286_0_node_93 | 20 | n |  | TRUE
35 | bus_MV_286_0_node_84 | 20 | n |  | TRUE
36 | bus_MV_286_0_node_22 | 20 | n |  | TRUE
37 | bus_MV_286_0_node_80 | 20 | n |  | TRUE
38 | bus_MV_286_0_node_90 | 20 | n |  | TRUE
39 | bus_MV_286_0_node_63 | 20 | n |  | TRUE
40 | bus_MV_286_0_node_65 | 20 | n |  | TRUE
41 | bus_MV_286_0_node_64 | 20 | n |  | TRUE
42 | bus_MV_286_0_node_66 | 20 | n |  | TRUE
43 | bus_MV_286_0_node_79 | 20 | n |  | TRUE
44 | bus_MV_286_0_node_47 | 20 | n |  | TRUE
45 | bus_MV_286_0_node_81 | 20 | n |  | TRUE
46 | bus_MV_286_0_node_46 | 20 | n |  | TRUE
47 | bus_MV_286_0_node_55 | 20 | n |  | TRUE
48 | bus_MV_286_0_node_67 | 20 | n |  | TRUE
49 | bus_MV_286_0_node_68 | 20 | n |  | TRUE
50 | bus_MV_286_0_node_83 | 20 | n |  | TRUE
51 | bus_MV_286_0_node_86 | 20 | n |  | TRUE
52 | bus_MV_286_0_node_87 | 20 | n |  | TRUE
53 | bus_MV_286_0_node_88 | 20 | n |  | TRUE
54 | bus_MV_286_0_node_76 | 20 | n |  | TRUE
55 | bus_MV_286_0_node_25 | 20 | n |  | TRUE
56 | bus_MV_286_0_node_26 | 20 | n |  | TRUE
57 | bus_MV_286_0_node_30 | 20 | n |  | TRUE
58 | bus_MV_286_0_node_29 | 20 | n |  | TRUE
59 | bus_MV_286_0_node_89 | 20 | n |  | TRUE
60 | bus_MV_286_0_node_92 | 20 | n |  | TRUE
61 | bus_MV_286_0_node_43 | 20 | n |  | TRUE
62 | bus_MV_286_0_node_50 | 20 | n |  | TRUE
63 | bus_MV_286_0_node_42 | 20 | n |  | TRUE
64 | bus_MV_286_0_node_52 | 20 | n |  | TRUE
65 | bus_MV_286_0_node_41 | 20 | n |  | TRUE
66 | bus_MV_286_0_node_48 | 20 | n |  | TRUE
67 | bus_MV_286_0_node_31 | 20 | n |  | TRUE
68 | bus_MV_286_0_node_32 | 20 | n |  | TRUE
69 | bus_MV_286_0_node_33 | 20 | n |  | TRUE
70 | bus_MV_286_0_node_35 | 20 | n |  | TRUE
71 | bus_MV_286_0_node_72 | 20 | n |  | TRUE
72 | bus_MV_286_0_node_73 | 20 | n |  | TRUE
73 | bus_MV_286_0_node_45 | 20 | n |  | TRUE
74 | bus_MV_286_0_node_53 | 20 | n |  | TRUE
75 | bus_MV_286_0_node_54 | 20 | n |  | TRUE
76 | bus_MV_286_0_node_94 | 20 | n |  | TRUE
77 | bus_MV_286_0_node_77 | 20 | n |  | TRUE
78 | bus_MV_286_0_node_74 | 20 | n |  | TRUE
79 | bus_MV_286_0_node_56 | 20 | n |  | TRUE
80 | bus_MV_286_0_node_57 | 20 | n |  | TRUE
81 | bus_MV_286_0_node_58 | 20 | n |  | TRUE
82 | bus_MV_286_0_node_59 | 20 | n |  | TRUE
83 | bus_MV_286_0_node_71 | 20 | n |  | TRUE
84 | bus_MV_286_0_node_75 | 20 | n |  | TRUE
85 | bus_MV_286_0_node_70 | 20 | n |  | TRUE
86 | bus_MV_286_0_node_60 | 20 | n |  | TRUE
87 | bus_MV_286_0_node_61 | 20 | n |  | TRUE
88 | bus_MV_286_0_node_62 | 20 | n |  | TRUE
89 | bus_MV_286_0_node_69 | 20 | n |  | TRUE
90 | bus_MV_286_0_node_78 | 20 | n |  | TRUE
91 | bus_HV_286_0_node_46 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_286_0_load_0 | 0 | 0.3959 | 0.19174 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_286_0_load_44 | 4 | 0.27938 | 0.13531 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_286_0_load_3 | 5 | 0.37756 | 0.18286 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_286_0_load_8 | 6 | 0.28266 | 0.1369 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_286_0_load_51 | 9 | 0.20751 | 0.1005 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_286_0_load_49 | 12 | 0.33154 | 0.16057 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_286_0_load_4 | 13 | 0.16272 | 0.078809 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_286_0_load_10 | 17 | 0.19508 | 0.094483 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_286_0_load_11 | 18 | 0.19222 | 0.093099 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_286_0_load_82 | 22 | 0.27644 | 0.13389 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_286_0_load_40 | 23 | 0.28731 | 0.13915 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_286_0_load_91 | 25 | 0.38413 | 0.18604 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_286_0_load_37 | 27 | 0.24261 | 0.1175 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_286_0_load_15 | 28 | 0.34942 | 0.16923 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_286_0_load_17 | 29 | 0.74572 | 0.36117 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_286_0_load_18 | 30 | 0.26037 | 0.1261 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_286_0_load_19 | 31 | 0.44111 | 0.21364 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_286_0_load_24 | 32 | 0.18118 | 0.087748 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_286_0_load_93 | 34 | 0.30551 | 0.14796 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_286_0_load_80 | 37 | 0.179 | 0.086691 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_286_0_load_90 | 38 | 0.22411 | 0.10854 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_286_0_load_63 | 39 | 0.33427 | 0.1619 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_286_0_load_65 | 40 | 1.1813 | 0.57215 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_286_0_load_64 | 41 | 0.48371 | 0.23427 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_286_0_load_79 | 43 | 0.1581 | 0.076572 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_286_0_load_81 | 45 | 1.4494 | 0.70198 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_286_0_load_68 | 49 | 0.084805 | 0.041073 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_286_0_load_83 | 50 | 0.21285 | 0.10309 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_286_0_load_86 | 51 | 0.17881 | 0.086603 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_286_0_load_87 | 52 | 3.507 | 1.6985 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_286_0_load_88 | 53 | 0.70976 | 0.34375 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_286_0_load_76 | 54 | 0.14017 | 0.067889 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_286_0_load_25 | 55 | 0.24417 | 0.11825 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_286_0_load_89 | 59 | 0.34237 | 0.16582 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_286_0_load_92 | 60 | 0.37642 | 0.18231 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_286_0_load_50 | 62 | 0.41034 | 0.19874 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_286_0_load_52 | 64 | 0.17503 | 0.084771 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_286_0_load_41 | 65 | 0.33669 | 0.16307 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_286_0_load_31 | 67 | 0.3301 | 0.15987 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_286_0_load_72 | 71 | 0.25121 | 0.12167 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_286_0_load_73 | 72 | 0.30122 | 0.14589 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_286_0_load_45 | 73 | 0.14471 | 0.070086 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_286_0_load_94 | 76 | 0.12809 | 0.062039 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_286_0_load_77 | 77 | 0.19973 | 0.096735 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_286_0_load_74 | 78 | 0.40525 | 0.19627 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_286_0_load_56 | 79 | 0.33402 | 0.16177 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_286_0_load_57 | 80 | 0.089873 | 0.043527 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_286_0_load_59 | 82 | 0.083787 | 0.04058 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_286_0_load_60 | 86 | 0.24172 | 0.11707 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_286_0_load_69 | 89 | 0.33149 | 0.16055 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_286_0_load_78 | 90 | 0.11398 | 0.055205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_286_0_line_0 |  | 0 | 1 | 0.034088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_286_0_line_1 |  | 1 | 2 | 0.25145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_286_0_line_2 |  | 2 | 5 | 0.060489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_286_0_line_3 |  | 3 | 4 | 2.5745 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_286_0_line_4 |  | 3 | 5 | 1.9904 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_286_0_line_5 |  | 3 | 6 | 0.12324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_286_0_line_6 |  | 4 | 11 | 0.081011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_286_0_line_7 |  | 6 | 16 | 0.071233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_286_0_line_8 |  | 7 | 8 | 0.8408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_286_0_line_9 |  | 7 | 9 | 0.038481 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_286_0_line_10 |  | 8 | 27 | 0.036512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_286_0_line_11 |  | 8 | 68 | 0.49118 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_286_0_line_12 |  | 10 | 11 | 0.67283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_286_0_line_13 |  | 10 | 12 | 0.07011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_286_0_line_14 |  | 11 | 57 | 0.43965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_286_0_line_15 |  | 13 | 14 | 0.009056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_286_0_line_16 |  | 14 | 15 | 1.0133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_286_0_line_17 |  | 15 | 17 | 0.054957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_286_0_line_18 |  | 15 | 16 | 0.44785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_286_0_line_19 |  | 18 | 19 | 0.12461 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_286_0_line_20 |  | 19 | 20 | 0.37845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_286_0_line_21 |  | 19 | 21 | 0.23879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_286_0_line_22 |  | 19 | 22 | 0.019347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_286_0_line_23 |  | 20 | 24 | 0.44819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_286_0_line_24 |  | 20 | 25 | 0.046157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_286_0_line_25 |  | 20 | 26 | 0.63359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_286_0_line_26 |  | 21 | 23 | 0.10717 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_286_0_line_27 |  | 24 | 27 | 0.006967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_286_0_line_28 |  | 26 | 36 | 0.1906 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_286_0_line_29 |  | 26 | 37 | 0.10497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_286_0_line_30 |  | 26 | 33 | 0.53402 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_286_0_line_31 |  | 28 | 29 | 0.012647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_286_0_line_32 |  | 28 | 30 | 0.024791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_286_0_line_33 |  | 28 | 31 | 0.12122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_286_0_line_34 |  | 29 | 32 | 0.015949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_286_0_line_35 |  | 32 | 43 | 0.012501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_286_0_line_36 |  | 33 | 34 | 0.050804 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_286_0_line_37 |  | 33 | 35 | 0.17811 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
38 | MV_286_0_line_38 |  | 35 | 50 | 0.05441 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_286_0_line_39 |  | 36 | 38 | 0.016378 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_286_0_line_40 |  | 38 | 46 | 0.11333 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
41 | MV_286_0_line_41 |  | 39 | 40 | 0.065358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_286_0_line_42 |  | 39 | 41 | 0.099052 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_286_0_line_43 |  | 41 | 42 | 0.075149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_286_0_line_44 |  | 42 | 48 | 0.040635 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
45 | MV_286_0_line_45 |  | 42 | 49 | 0.039154 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_286_0_line_46 |  | 43 | 54 | 0.019714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_286_0_line_47 |  | 44 | 45 | 0.03252 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_286_0_line_48 |  | 44 | 46 | 0.52296 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_286_0_line_49 |  | 45 | 47 | 0.062377 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_286_0_line_50 |  | 46 | 66 | 0.42901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_286_0_line_51 |  | 46 | 73 | 0.043339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_286_0_line_52 |  | 47 | 77 | 0.13071 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
53 | MV_286_0_line_53 |  | 47 | 74 | 0.3976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_286_0_line_54 |  | 48 | 50 | 0.020129 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_286_0_line_55 |  | 49 | 51 | 0.013019 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_286_0_line_56 |  | 51 | 52 | 0.0067141 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
57 | MV_286_0_line_57 |  | 52 | 53 | 0.015512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_286_0_line_58 |  | 54 | 78 | 0.0051709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_286_0_line_59 |  | 55 | 56 | 0.09032 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_286_0_line_60 |  | 56 | 57 | 0.54946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_286_0_line_61 |  | 57 | 60 | 0.068923 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_286_0_line_62 |  | 57 | 58 | 0.050315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_286_0_line_63 |  | 58 | 59 | 0.018759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_286_0_line_64 |  | 59 | 66 | 0.14099 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_286_0_line_65 |  | 61 | 62 | 0.062688 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_286_0_line_66 |  | 61 | 63 | 0.41409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_286_0_line_67 |  | 63 | 64 | 0.20345 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_286_0_line_68 |  | 63 | 65 | 0.0641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_286_0_line_69 |  | 64 | 74 | 0.020037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_286_0_line_70 |  | 67 | 68 | 0.045451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_286_0_line_71 |  | 68 | 69 | 0.29462 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_286_0_line_72 |  | 69 | 70 | 0.65721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_286_0_line_73 |  | 69 | 71 | 0.10313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_286_0_line_74 |  | 70 | 72 | 0.050088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_286_0_line_75 |  | 74 | 75 | 0.17225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_286_0_line_76 |  | 75 | 76 | 0.054564 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_286_0_line_77 |  | 77 | 78 | 0.097731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_286_0_line_78 |  | 78 | 84 | 0.0018409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_286_0_line_79 |  | 79 | 80 | 0.027888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_286_0_line_80 |  | 79 | 81 | 0.046897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_286_0_line_81 |  | 81 | 82 | 0.089303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_286_0_line_82 |  | 82 | 83 | 0.098201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_286_0_line_83 |  | 83 | 84 | 0.16841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_286_0_line_84 |  | 83 | 85 | 0.59943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_286_0_line_85 |  | 84 | 90 | 0.014509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_286_0_line_86 |  | 85 | 89 | 0.035199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_286_0_line_87 |  | 86 | 87 | 0.08026 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_286_0_line_88 |  | 87 | 88 | 0.27688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_286_0_line_89 |  | 88 | 89 | 0.010109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_286_0_trafo_46 | 25 MVA 110/20 kV | 91 | 46 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2616841.2259 | 1258391.333
1 | 2616807.3472 | 1258386.745
2 | 2616692.9611 | 1258239.8902
3 | 2615482.3718 | 1256589.5275
4 | 2613746.0048 | 1258490.3222
5 | 2616645.2208 | 1258204.8771
6 | 2615449.1249 | 1256471.0507
7 | 2613994.8275 | 1259146.3673
8 | 2613545.3689 | 1259321.7446
9 | 2613997.5032 | 1259184.7551
10 | 2613932.3037 | 1258893.6388
11 | 2613667.0992 | 1258505.6062
12 | 2613871.0738 | 1258859.239
13 | 2615510.6187 | 1255997.4171
14 | 2615516.7897 | 1255990.7732
15 | 2615162.7999 | 1256163.8418
16 | 2615380.3087 | 1256462.4887
17 | 2615111.6288 | 1256183.8834
18 | 2613308.2037 | 1259620.9001
19 | 2613189.2608 | 1259583.7543
20 | 2613115.1136 | 1259406.9597
21 | 2613109.6001 | 1259596.698
22 | 2613184.4389 | 1259569.434
23 | 2613091.6487 | 1259702.3522
24 | 2613514.1578 | 1259305.3736
25 | 2613136.3663 | 1259366.6572
26 | 2612922.1601 | 1259005.9888
27 | 2613516.7879 | 1259298.9197
28 | 2612641.7037 | 1258604.7269
29 | 2612644.5601 | 1258592.4119
30 | 2612664.7276 | 1258613.9178
31 | 2612755.1846 | 1258647.3469
32 | 2612648.4365 | 1258576.941
33 | 2612657.2744 | 1259267.8069
34 | 2612643.2345 | 1259316.6323
35 | 2612583.4531 | 1259105.7187
36 | 2613032.9258 | 1259024.7432
37 | 2612962.7632 | 1258914.0315
38 | 2613048.7264 | 1259020.2637
39 | 2612461.7938 | 1258891.8523
40 | 2612525.1556 | 1258875.8213
41 | 2612489.7315 | 1258986.8831
42 | 2612514.7995 | 1259057.697
43 | 2612651.4771 | 1258564.8151
44 | 2612911.201 | 1258658.9089
45 | 2612901.6229 | 1258627.831
46 | 2613138.9795 | 1258951.7162
47 | 2612883.2514 | 1258568.2206
48 | 2612531.1599 | 1259094.9121
49 | 2612552.7098 | 1259047.907
50 | 2612550.2726 | 1259088.5979
51 | 2612565.3153 | 1259044.6517
52 | 2612571.8161 | 1259042.9729
53 | 2612586.8356 | 1259039.0942
54 | 2612655.4986 | 1258545.5196
55 | 2613496.7197 | 1259088.621
56 | 2613526.5353 | 1259003.3646
57 | 2613432.426 | 1258715.5572
58 | 2613440.7245 | 1258672.4914
59 | 2613439.8472 | 1258653.7657
60 | 2613486.5406 | 1258758.2418
61 | 2613363.2204 | 1258444.7634
62 | 2613352.5043 | 1258382.9978
63 | 2613102.2016 | 1258467.4867
64 | 2612949.7665 | 1258332.7511
65 | 2613094.6288 | 1258531.1351
66 | 2613298.8715 | 1258651.8919
67 | 2613532.476 | 1259628.1891
68 | 2613574.8019 | 1259611.4965
69 | 2613691.5484 | 1259665.1227
70 | 2614134.8656 | 1259638.5425
71 | 2613604.3318 | 1259716.1682
72 | 2614090.9376 | 1259662.8435
73 | 2613150.2308 | 1258993.5693
74 | 2612931.9891 | 1258323.4062
75 | 2612931.122 | 1258202.2562
76 | 2612881.2052 | 1258180.2219
77 | 2612753.6011 | 1258551.61
78 | 2612656.5093 | 1258540.4484
79 | 2612507.8045 | 1258343.123
80 | 2612513.7908 | 1258370.3612
81 | 2612462.0002 | 1258353.1896
82 | 2612479.6689 | 1258440.7258
83 | 2612500.0288 | 1258536.7929
84 | 2612654.8375 | 1258539.6777
85 | 2612195.2155 | 1258566.469
86 | 2612165.149 | 1258804.7568
87 | 2612162.7805 | 1258724.5312
88 | 2612182.8092 | 1258610.0396
89 | 2612185.151 | 1258600.2044
90 | 2612656.2068 | 1258525.2338
91 | 2613138.9795 | 1258951.7162

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98583 | -0.057179 | 0.3959 | 0.19174
1 | 0.98585 | -0.057344 | 0 | 0
2 | 0.98598 | -0.058509 | 0 | 0
3 | 0.98901 | -0.038099 | 0 | 0
4 | 0.99602 | 0.018132 | 0.27938 | 0.13531
5 | 0.98601 | -0.058774 | 0.37756 | 0.18286
6 | 0.98891 | -0.037444 | 0.28266 | 0.1369
7 | 0.99557 | -0.022992 | 0 | 0
8 | 0.99579 | -0.024557 | 0 | 0
9 | 0.99556 | -0.023089 | 0.20751 | 0.1005
10 | 0.99591 | 0.019015 | 0 | 0
11 | 0.9962 | 0.016741 | 0 | 0
12 | 0.99589 | 0.019291 | 0.33154 | 0.16057
13 | 0.98847 | -0.034986 | 0.16272 | 0.078809
14 | 0.98847 | -0.035004 | 0 | 0
15 | 0.98868 | -0.036227 | 0 | 0
16 | 0.98888 | -0.037301 | 0 | 0
17 | 0.98866 | -0.036098 | 0.19508 | 0.094483
18 | 0.9962 | -0.027419 | 0.19222 | 0.093099
19 | 0.99625 | -0.027126 | 0 | 0
20 | 0.99661 | -0.03031 | 0 | 0
21 | 0.99616 | -0.026344 | 0 | 0
22 | 0.99624 | -0.027062 | 0.27644 | 0.13389
23 | 0.9961 | -0.02672 | 0.28731 | 0.13915
24 | 0.99586 | -0.024984 | 0 | 0
25 | 0.99659 | -0.030098 | 0.38413 | 0.18604
26 | 0.99859 | -0.045314 | 0 | 0
27 | 0.99584 | -0.024898 | 0.24261 | 0.1175
28 | 0.99737 | -0.016793 | 0.34942 | 0.16923
29 | 0.99738 | -0.01695 | 0.74572 | 0.36117
30 | 0.99736 | -0.016716 | 0.26037 | 0.1261
31 | 0.9973 | -0.016161 | 0.44111 | 0.21364
32 | 0.99742 | -0.017291 | 0.18118 | 0.087748
33 | 0.99737 | -0.049876 | 0 | 0
34 | 0.99734 | -0.050064 | 0.30551 | 0.14796
35 | 0.99655 | -0.09501 | 0 | 0
36 | 0.99919 | -0.042736 | 0 | 0
37 | 0.99857 | -0.045097 | 0.179 | 0.086691
38 | 0.99924 | -0.042513 | 0.22411 | 0.10854
39 | 0.99581 | -0.095959 | 0.33427 | 0.1619
40 | 0.99572 | -0.095031 | 1.1813 | 0.57215
41 | 0.99611 | -0.094116 | 0.48371 | 0.23427
42 | 0.9963 | -0.095916 | 0 | 0
43 | 0.99745 | -0.017585 | 0.1581 | 0.076572
44 | 0.99888 | -0.0046667 | 0 | 0
45 | 0.99881 | -0.0049489 | 1.4494 | 0.70198
46 | 1 | 0 | -19.6652 | -9.1666
47 | 0.99863 | -0.0068385 | 0 | 0
48 | 0.99639 | -0.095602 | 0 | 0
49 | 0.99624 | -0.096123 | 0.084805 | 0.041073
50 | 0.99643 | -0.095447 | 0.21285 | 0.10309
51 | 0.99622 | -0.09619 | 0.17881 | 0.086603
52 | 0.99621 | -0.09635 | 3.507 | 1.6985
53 | 0.99619 | -0.096217 | 0.70976 | 0.34375
54 | 0.99751 | -0.018085 | 0.14017 | 0.067889
55 | 0.99712 | 0.0092318 | 0.24417 | 0.11825
56 | 0.99716 | 0.0095003 | 0 | 0
57 | 0.99733 | 0.0081197 | 0 | 0
58 | 0.9975 | 0.0068202 | 0 | 0
59 | 0.99756 | 0.0063368 | 0.34237 | 0.16582
60 | 0.99728 | 0.0078042 | 0.37642 | 0.18231
61 | 0.99757 | -0.0022888 | 0 | 0
62 | 0.99752 | -0.0026014 | 0.41034 | 0.19874
63 | 0.99779 | -0.0041989 | 0 | 0
64 | 0.99808 | -0.0021533 | 0.17503 | 0.084771
65 | 0.99776 | -0.0039427 | 0.33669 | 0.16307
66 | 0.99837 | 0.012648 | 0 | 0
67 | 0.99523 | -0.020187 | 0.3301 | 0.15987
68 | 0.99525 | -0.020367 | 0 | 0
69 | 0.99504 | -0.01883 | 0 | 0
70 | 0.99479 | -0.016816 | 0 | 0
71 | 0.99501 | -0.018525 | 0.25121 | 0.12167
72 | 0.99477 | -0.016635 | 0.30122 | 0.14589
73 | 0.99999 | 7.3603e-05 | 0.14471 | 0.070086
74 | 0.9981 | -0.00236 | 0 | 0
75 | 0.99808 | -0.0021183 | 0 | 0
76 | 0.99806 | -0.0022032 | 0.12809 | 0.062039
77 | 0.998 | -0.022535 | 0.19973 | 0.096735
78 | 0.99752 | -0.018225 | 0.40525 | 0.19627
79 | 0.99715 | -0.015096 | 0.33402 | 0.16177
80 | 0.99715 | -0.015067 | 0.089873 | 0.043527
81 | 0.99718 | -0.015332 | 0 | 0
82 | 0.99722 | -0.015771 | 0.083787 | 0.04058
83 | 0.99729 | -0.016339 | 0 | 0
84 | 0.99752 | -0.018202 | 0 | 0
85 | 0.99685 | -0.012775 | 0 | 0
86 | 0.9967 | -0.012014 | 0.24172 | 0.11707
87 | 0.99674 | -0.011777 | 0 | 0
88 | 0.99682 | -0.012523 | 0 | 0
89 | 0.99683 | -0.012548 | 0.33149 | 0.16055
90 | 0.99752 | -0.018183 | 0.11398 | 0.055205
91 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.3959 | -0.19174 | 0.39591 | 0.19096 | 7.5448e-06 | -0.00078876 | 0.012881 | 0.012871 | 0.012881 | 0.98583 | -0.057179 | 0.98585 | -0.057344 | 5.8551
1 | -0.39591 | -0.19096 | 0.39597 | 0.18514 | 5.5293e-05 | -0.0058193 | 0.012871 | 0.012798 | 0.012871 | 0.98585 | -0.057344 | 0.98598 | -0.058509 | 5.8505
2 | -0.39597 | -0.18514 | 0.39598 | 0.18374 | 1.3208e-05 | -0.0014001 | 0.012798 | 0.01278 | 0.012798 | 0.98598 | -0.058509 | 0.98601 | -0.058774 | 5.8172
3 | -1.4164 | -0.63579 | 1.4258 | 0.63865 | 0.0094123 | 0.0028679 | 0.045317 | 0.045281 | 0.045317 | 0.98901 | -0.038099 | 0.99602 | 0.018132 | 21.5794
4 | 0.77576 | 0.36567 | -0.77354 | -0.3666 | 0.0022248 | -0.00092362 | 0.025033 | 0.025062 | 0.025062 | 0.98901 | -0.038099 | 0.98601 | -0.058774 | 11.9341
5 | 0.64065 | 0.27011 | -0.64059 | -0.27297 | 6.7865e-05 | -0.0028577 | 0.020294 | 0.020326 | 0.020326 | 0.98901 | -0.038099 | 0.98891 | -0.037444 | 9.2393
6 | -1.7052 | -0.77397 | 1.7055 | 0.77214 | 0.00031844 | -0.0018247 | 0.054274 | 0.054251 | 0.054274 | 0.99602 | 0.018132 | 0.9962 | 0.016741 | 24.6701
7 | 0.35793 | 0.13608 | -0.35792 | -0.13773 | 1.19e-05 | -0.0016597 | 0.011178 | 0.011195 | 0.011195 | 0.98891 | -0.037444 | 0.98888 | -0.037301 | 5.0888
8 | -0.20751 | -0.10046 | 0.20756 | 0.080569 | 4.8368e-05 | -0.019888 | 0.0066849 | 0.0064544 | 0.0066849 | 0.99557 | -0.022992 | 0.99579 | -0.024557 | 3.0386
9 | 0.20751 | 0.10046 | -0.20751 | -0.1005 | 3.0641e-06 | -4.3613e-05 | 0.0066849 | 0.0066855 | 0.0066855 | 0.99557 | -0.022992 | 0.99556 | -0.023089 | 3.1836
10 | -1.0908 | -0.4694 | 1.0909 | 0.46855 | 5.7752e-05 | -0.00084736 | 0.034426 | 0.034416 | 0.034426 | 0.99579 | -0.024557 | 0.99584 | -0.024898 | 15.6482
11 | 0.88327 | 0.38883 | -0.88276 | -0.4003 | 0.00051575 | -0.01147 | 0.027977 | 0.028114 | 0.028114 | 0.99579 | -0.024557 | 0.99525 | -0.020367 | 12.7792
12 | -0.33155 | -0.15892 | 0.33165 | 0.14301 | 0.00010015 | -0.015908 | 0.010657 | 0.010466 | 0.010657 | 0.99591 | 0.019015 | 0.9962 | 0.016741 | 4.8442
13 | 0.33155 | 0.15892 | -0.33154 | -0.16057 | 1.0651e-05 | -0.0016571 | 0.010657 | 0.010678 | 0.010678 | 0.99591 | 0.019015 | 0.99589 | 0.019291 | 4.8537
14 | -2.0372 | -0.91515 | 2.0396 | 0.90545 | 0.0024535 | -0.0097016 | 0.064716 | 0.064593 | 0.064716 | 0.9962 | 0.016741 | 0.99733 | 0.0081197 | 29.4162
15 | -0.16272 | -0.078809 | 0.16272 | 0.078597 | 3.3691e-07 | -0.00021116 | 0.0052801 | 0.0052774 | 0.0052801 | 0.98847 | -0.034986 | 0.98847 | -0.035004 | 2.4001
16 | -0.16272 | -0.078597 | 0.16276 | 0.054965 | 3.5692e-05 | -0.023632 | 0.0052774 | 0.0050158 | 0.0052774 | 0.98847 | -0.035004 | 0.98868 | -0.036227 | 2.3988
17 | 0.19509 | 0.093202 | -0.19508 | -0.094483 | 2.9313e-06 | -0.0012817 | 0.0063128 | 0.0063291 | 0.0063291 | 0.98868 | -0.036227 | 0.98866 | -0.036098 | 2.8768
18 | -0.35784 | -0.14817 | 0.35792 | 0.13773 | 7.5684e-05 | -0.010432 | 0.011309 | 0.011195 | 0.011309 | 0.98868 | -0.036227 | 0.98888 | -0.037301 | 5.1402
19 | -0.19222 | -0.093099 | 0.19223 | 0.092956 | 8.5018e-06 | -0.00014231 | 0.0061891 | 0.0061873 | 0.0061891 | 0.9962 | -0.027419 | 0.99625 | -0.027126 | 2.9472
20 | -0.75603 | -0.35977 | 0.75633 | 0.35089 | 0.00029602 | -0.0088838 | 0.024261 | 0.02415 | 0.024261 | 0.99625 | -0.027126 | 0.99661 | -0.03031 | 11.0277
21 | 0.28736 | 0.13339 | -0.28733 | -0.13904 | 2.7068e-05 | -0.0056502 | 0.0091798 | 0.0092501 | 0.0092501 | 0.99625 | -0.027126 | 0.99616 | -0.026344 | 4.2046
22 | 0.27644 | 0.13343 | -0.27644 | -0.13389 | 2.0447e-06 | -0.00045786 | 0.0088945 | 0.0089003 | 0.0089003 | 0.99625 | -0.027126 | 0.99624 | -0.027062 | 4.0456
23 | 1.3346 | 0.57559 | -1.3335 | -0.5859 | 0.0010635 | -0.010305 | 0.042099 | 0.042222 | 0.042222 | 0.99661 | -0.03031 | 0.99586 | -0.024984 | 19.1918
24 | 0.38414 | 0.18495 | -0.38413 | -0.18604 | 9.4079e-06 | -0.0010918 | 0.012349 | 0.012363 | 0.012363 | 0.99661 | -0.03031 | 0.99659 | -0.030098 | 5.6196
25 | -2.475 | -1.1114 | 2.4803 | 1.0979 | 0.0052122 | -0.013509 | 0.078588 | 0.078411 | 0.078588 | 0.99661 | -0.03031 | 0.99859 | -0.045314 | 35.7218
26 | 0.28733 | 0.13904 | -0.28731 | -0.13915 | 1.6341e-05 | -0.00011671 | 0.0092501 | 0.0092517 | 0.0092517 | 0.99616 | -0.026344 | 0.9961 | -0.02672 | 4.4056
27 | 1.3335 | 0.5859 | -1.3335 | -0.58606 | 1.6581e-05 | -0.00016005 | 0.042222 | 0.042224 | 0.042224 | 0.99586 | -0.024984 | 0.99584 | -0.024898 | 19.1927
28 | -9.6715 | -4.5374 | 9.6772 | 4.5286 | 0.0056143 | -0.0087876 | 0.30883 | 0.30868 | 0.30883 | 0.99859 | -0.045314 | 0.99919 | -0.042736 | 48.4054
29 | 0.179 | 0.084194 | -0.179 | -0.086691 | 4.6073e-06 | -0.0024979 | 0.0057184 | 0.0057495 | 0.0057495 | 0.99859 | -0.045314 | 0.99857 | -0.045097 | 2.6134
30 | 7.0123 | 3.3553 | -7.0039 | -3.384 | 0.0083487 | -0.028717 | 0.22472 | 0.22514 | 0.22514 | 0.99859 | -0.045314 | 0.99737 | -0.049876 | 35.2887
31 | -1.0509 | -0.50552 | 1.051 | 0.50522 | 1.9234e-05 | -0.00029467 | 0.033754 | 0.03375 | 0.033754 | 0.99737 | -0.016793 | 0.99738 | -0.01695 | 15.3428
32 | 0.26038 | 0.12552 | -0.26037 | -0.1261 | 2.3185e-06 | -0.0005881 | 0.0083662 | 0.0083736 | 0.0083736 | 0.99737 | -0.016793 | 0.99736 | -0.016716 | 3.8062
33 | 0.44114 | 0.21077 | -0.44111 | -0.21364 | 3.2488e-05 | -0.0028692 | 0.014151 | 0.014187 | 0.014187 | 0.99737 | -0.016793 | 0.9973 | -0.016161 | 6.4486
34 | -1.7967 | -0.86639 | 1.7968 | 0.86604 | 7.0961e-05 | -0.00035778 | 0.057732 | 0.057727 | 0.057732 | 0.99738 | -0.01695 | 0.99742 | -0.017291 | 26.2418
35 | -1.9779 | -0.95378 | 1.978 | 0.95351 | 6.7405e-05 | -0.00027696 | 0.063554 | 0.06355 | 0.063554 | 0.99742 | -0.017291 | 0.99745 | -0.017585 | 28.888
36 | 0.30552 | 0.14791 | -0.30551 | -0.14796 | 8.7377e-06 | -5.4856e-05 | 0.0098246 | 0.0098254 | 0.0098254 | 0.99737 | -0.049876 | 0.99734 | -0.050064 | 4.6788
37 | 6.6984 | 3.2361 | -6.6955 | -3.2284 | 0.0029479 | 0.0076824 | 0.21532 | 0.21532 | 0.21532 | 0.99737 | -0.049876 | 0.99655 | -0.09501 | 33.383
38 | 6.6955 | 3.2284 | -6.6947 | -3.2314 | 0.00077964 | -0.0029557 | 0.21532 | 0.21536 | 0.21536 | 0.99655 | -0.09501 | 0.99643 | -0.095447 | 33.7559
39 | -9.6772 | -4.5286 | 9.6776 | 4.5278 | 0.00048219 | -0.00075593 | 0.30868 | 0.30867 | 0.30868 | 0.99919 | -0.042736 | 0.99924 | -0.042513 | 48.3824
40 | -9.9017 | -4.6364 | 9.9058 | 4.6471 | 0.0040366 | 0.010698 | 0.31586 | 0.31586 | 0.31586 | 0.99924 | -0.042513 | 1 | 0 | 48.9706
41 | 1.1815 | 0.57064 | -1.1813 | -0.57215 | 0.00012629 | -0.0015099 | 0.038035 | 0.038055 | 0.038055 | 0.99581 | -0.095959 | 0.99572 | -0.095031 | 17.2975
42 | -1.5157 | -0.73254 | 1.5162 | 0.73268 | 0.0004203 | 0.00014597 | 0.048802 | 0.0488 | 0.048802 | 0.99581 | -0.095959 | 0.99611 | -0.094116 | 23.239
43 | -1.9999 | -0.96695 | 2.0003 | 0.96529 | 0.00041562 | -0.0016574 | 0.064376 | 0.064354 | 0.064376 | 0.99611 | -0.094116 | 0.9963 | -0.095916 | 29.2618
44 | -6.481 | -3.1316 | 6.4816 | 3.1294 | 0.00054607 | -0.002227 | 0.20856 | 0.20853 | 0.20856 | 0.9963 | -0.095916 | 0.99639 | -0.095602 | 32.6895
45 | 4.4807 | 2.1663 | -4.4805 | -2.1686 | 0.00025165 | -0.0023001 | 0.14421 | 0.14424 | 0.14424 | 0.9963 | -0.095916 | 0.99624 | -0.096123 | 22.6076
46 | -2.1361 | -1.0301 | 2.1362 | 1.0296 | 0.00012396 | -0.00043154 | 0.068634 | 0.068628 | 0.068634 | 0.99745 | -0.017585 | 0.99751 | -0.018085 | 31.1972
47 | 6.5828 | 3.119 | -6.5823 | -3.1208 | 0.00044539 | -0.0017878 | 0.21052 | 0.21054 | 0.21054 | 0.99888 | -0.0046667 | 0.99881 | -0.0049489 | 33.0003
48 | -6.5828 | -3.119 | 6.5899 | 3.0902 | 0.0071477 | -0.028797 | 0.21052 | 0.21011 | 0.21052 | 0.99888 | -0.0046667 | 1 | 0 | 32.9963
49 | 5.1329 | 2.4188 | -5.1321 | -2.4204 | 0.00081044 | -0.0015455 | 0.164 | 0.16403 | 0.16403 | 0.99881 | -0.0049489 | 0.99863 | -0.0068385 | 45.3108
50 | 3.0108 | 1.3498 | -3.0056 | -1.3584 | 0.0052025 | -0.0086831 | 0.095249 | 0.09537 | 0.09537 | 1 | 0 | 0.99837 | 0.012648 | 43.35
51 | 0.14471 | 0.069051 | -0.14471 | -0.070086 | 1.243e-06 | -0.0010344 | 0.0046286 | 0.0046416 | 0.0046416 | 1 | 0 | 0.99999 | 7.3603e-05 | 2.1098
52 | 4.081 | 1.9372 | -4.079 | -1.935 | 0.0020462 | 0.0021767 | 0.13059 | 0.13059 | 0.13059 | 0.99863 | -0.0068385 | 0.998 | -0.022535 | 37.3108
53 | 1.0511 | 0.48319 | -1.0505 | -0.49248 | 0.00059564 | -0.0092856 | 0.033441 | 0.033556 | 0.033556 | 0.99863 | -0.0068385 | 0.9981 | -0.00236 | 15.2529
54 | -6.4816 | -3.1294 | 6.4818 | 3.1283 | 0.00027044 | -0.0011034 | 0.20853 | 0.20851 | 0.20853 | 0.99639 | -0.095602 | 0.99643 | -0.095447 | 32.6845
55 | 4.3957 | 2.1275 | -4.3956 | -2.1283 | 8.056e-05 | -0.00076649 | 0.14151 | 0.14152 | 0.14152 | 0.99624 | -0.096123 | 0.99622 | -0.09619 | 22.1812
56 | 4.2168 | 2.0417 | -4.2167 | -2.0419 | 5.9769e-05 | -0.00018516 | 0.13576 | 0.13576 | 0.13576 | 0.99622 | -0.09619 | 0.99621 | -0.09635 | 37.5033
57 | 0.70977 | 0.34339 | -0.70976 | -0.34375 | 1.0813e-05 | -0.00036435 | 0.022848 | 0.022852 | 0.022852 | 0.99621 | -0.09635 | 0.99619 | -0.096217 | 10.3875
58 | -2.2764 | -1.0975 | 2.2764 | 1.0974 | 3.6923e-05 | -0.0001119 | 0.073135 | 0.073134 | 0.073135 | 0.99751 | -0.018085 | 0.99752 | -0.018225 | 33.2433
59 | -0.24417 | -0.11825 | 0.24418 | 0.11815 | 9.9255e-06 | -0.00010099 | 0.0078543 | 0.0078529 | 0.0078543 | 0.99712 | 0.0092318 | 0.99716 | 0.0095003 | 3.7401
60 | -0.24418 | -0.11815 | 0.24422 | 0.10512 | 4.4314e-05 | -0.013034 | 0.0078529 | 0.0076959 | 0.0078529 | 0.99716 | 0.0095003 | 0.99733 | 0.0081197 | 3.5695
61 | 0.37643 | 0.18224 | -0.37642 | -0.18231 | 1.7997e-05 | -7.0565e-05 | 0.012105 | 0.012106 | 0.012106 | 0.99733 | 0.0081197 | 0.99728 | 0.0078042 | 5.765
62 | -2.6603 | -1.1928 | 2.6608 | 1.1917 | 0.00047826 | -0.0010533 | 0.084387 | 0.084373 | 0.084387 | 0.99733 | 0.0081197 | 0.9975 | 0.0068202 | 38.3579
63 | -2.6608 | -1.1917 | 2.6609 | 1.1914 | 0.00017827 | -0.0003928 | 0.084373 | 0.084368 | 0.084373 | 0.9975 | 0.0068202 | 0.99756 | 0.0063368 | 38.3515
64 | -3.0033 | -1.3572 | 3.0056 | 1.3584 | 0.0022848 | 0.0012635 | 0.095372 | 0.09537 | 0.095372 | 0.99756 | 0.0063368 | 0.99837 | 0.012648 | 45.4152
65 | 0.41036 | 0.19868 | -0.41034 | -0.19874 | 1.9443e-05 | -6.2292e-05 | 0.013193 | 0.013194 | 0.013194 | 0.99757 | -0.0022888 | 0.99752 | -0.0026014 | 6.2831
66 | -0.41036 | -0.19868 | 0.41046 | 0.18886 | 9.5333e-05 | -0.0098128 | 0.013193 | 0.013072 | 0.013193 | 0.99757 | -0.0022888 | 0.99779 | -0.0041989 | 5.997
67 | -0.74716 | -0.35041 | 0.74737 | 0.3503 | 0.0002066 | -0.00011246 | 0.023876 | 0.023873 | 0.023876 | 0.99779 | -0.0041989 | 0.99808 | -0.0021533 | 11.3694
68 | 0.3367 | 0.16155 | -0.33669 | -0.16307 | 1.0007e-05 | -0.0015207 | 0.010805 | 0.010824 | 0.010824 | 0.99779 | -0.0041989 | 0.99776 | -0.0039427 | 4.9199
69 | -0.9224 | -0.43507 | 0.92242 | 0.4346 | 2.327e-05 | -0.00046968 | 0.029497 | 0.029491 | 0.029497 | 0.99808 | -0.0021533 | 0.9981 | -0.00236 | 13.4078
70 | -0.3301 | -0.15987 | 0.3301 | 0.1588 | 6.8587e-06 | -0.0010728 | 0.010639 | 0.010625 | 0.010639 | 0.99523 | -0.020187 | 0.99525 | -0.020367 | 4.8357
71 | 0.55265 | 0.2415 | -0.55253 | -0.24843 | 0.00012093 | -0.0069304 | 0.017494 | 0.017576 | 0.017576 | 0.99525 | -0.020367 | 0.99504 | -0.01883 | 7.9889
72 | 0.30131 | 0.1292 | -0.30123 | -0.14471 | 8.0895e-05 | -0.015508 | 0.0095111 | 0.0096976 | 0.0096976 | 0.99504 | -0.01883 | 0.99479 | -0.016816 | 4.408
73 | 0.25122 | 0.11923 | -0.25121 | -0.12167 | 8.9945e-06 | -0.0024352 | 0.0080676 | 0.0080982 | 0.0080982 | 0.99504 | -0.01883 | 0.99501 | -0.018525 | 3.681
74 | 0.30123 | 0.14471 | -0.30122 | -0.14589 | 6.2981e-06 | -0.0011816 | 0.0096976 | 0.0097125 | 0.0097125 | 0.99479 | -0.016816 | 0.99477 | -0.016635 | 4.4148
75 | 0.1281 | 0.05788 | -0.1281 | -0.061975 | 3.8473e-06 | -0.0040958 | 0.0040656 | 0.0041158 | 0.0041158 | 0.9981 | -0.00236 | 0.99808 | -0.0021183 | 1.8708
76 | 0.1281 | 0.061975 | -0.12809 | -0.062039 | 1.6472e-06 | -6.3855e-05 | 0.0041158 | 0.0041166 | 0.0041166 | 0.99808 | -0.0021183 | 0.99806 | -0.0022032 | 1.9603
77 | 3.8792 | 1.8383 | -3.8772 | -1.84 | 0.0020121 | -0.0017262 | 0.12417 | 0.1242 | 0.1242 | 0.998 | -0.022535 | 0.99752 | -0.018225 | 56.4534
78 | 1.1955 | 0.54632 | -1.1955 | -0.54636 | 3.5561e-06 | -4.2681e-05 | 0.038039 | 0.038039 | 0.038039 | 0.99752 | -0.018225 | 0.99752 | -0.018202 | 17.2907
79 | 0.089873 | 0.042865 | -0.089873 | -0.043527 | 3.1026e-07 | -0.00066198 | 0.0028826 | 0.0028909 | 0.0028909 | 0.99715 | -0.015096 | 0.99715 | -0.015067 | 1.3141
80 | -0.42389 | -0.20464 | 0.4239 | 0.20353 | 1.1614e-05 | -0.0011099 | 0.013627 | 0.013613 | 0.013627 | 0.99715 | -0.015096 | 0.99718 | -0.015332 | 6.194
81 | -0.4239 | -0.20353 | 0.42393 | 0.20142 | 2.205e-05 | -0.0021137 | 0.013613 | 0.013586 | 0.013613 | 0.99718 | -0.015332 | 0.99722 | -0.015771 | 6.1877
82 | -0.50771 | -0.242 | 0.50775 | 0.23967 | 3.469e-05 | -0.0023215 | 0.016281 | 0.016252 | 0.016281 | 0.99722 | -0.015771 | 0.99729 | -0.016339 | 7.4006
83 | -1.0813 | -0.49542 | 1.0815 | 0.4915 | 0.00026611 | -0.0039213 | 0.034427 | 0.034379 | 0.034427 | 0.99729 | -0.016339 | 0.99752 | -0.018202 | 15.6489
84 | 0.57353 | 0.25575 | -0.57326 | -0.2699 | 0.00026688 | -0.014149 | 0.018177 | 0.018349 | 0.018349 | 0.99729 | -0.016339 | 0.99685 | -0.012775 | 8.3403
85 | 0.11398 | 0.05486 | -0.11398 | -0.055205 | 2.5988e-07 | -0.00034462 | 0.0036608 | 0.0036651 | 0.0036651 | 0.99752 | -0.018202 | 0.99752 | -0.018183 | 1.666
86 | 0.57326 | 0.2699 | -0.57324 | -0.27073 | 1.5829e-05 | -0.00083042 | 0.018349 | 0.018359 | 0.018359 | 0.99685 | -0.012775 | 0.99683 | -0.012548 | 8.345
87 | -0.24172 | -0.11707 | 0.24173 | 0.11698 | 8.6515e-06 | -8.9769e-05 | 0.0077788 | 0.0077776 | 0.0077788 | 0.9967 | -0.012014 | 0.99674 | -0.011777 | 3.7042
88 | -0.24173 | -0.11698 | 0.24175 | 0.11042 | 2.2124e-05 | -0.0065617 | 0.0077776 | 0.0076966 | 0.0077776 | 0.99674 | -0.011777 | 0.99682 | -0.012523 | 3.5353
89 | -0.24175 | -0.11042 | 0.24175 | 0.11018 | 7.9914e-07 | -0.0002396 | 0.0076966 | 0.0076938 | 0.0076966 | 0.99682 | -0.012523 | 0.99683 | -0.012548 | 3.4985

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 19.6652 | 9.1666

## res_load
| p_mw | q_mvar
0 | 0.3959 | 0.19174
1 | 0.27938 | 0.13531
2 | 0.37756 | 0.18286
3 | 0.28266 | 0.1369
4 | 0.20751 | 0.1005
5 | 0.33154 | 0.16057
6 | 0.16272 | 0.078809
7 | 0.19508 | 0.094483
8 | 0.19222 | 0.093099
9 | 0.27644 | 0.13389
10 | 0.28731 | 0.13915
11 | 0.38413 | 0.18604
12 | 0.24261 | 0.1175
13 | 0.34942 | 0.16923
14 | 0.74572 | 0.36117
15 | 0.26037 | 0.1261
16 | 0.44111 | 0.21364
17 | 0.18118 | 0.087748
18 | 0.30551 | 0.14796
19 | 0.179 | 0.086691
20 | 0.22411 | 0.10854
21 | 0.33427 | 0.1619
22 | 1.1813 | 0.57215
23 | 0.48371 | 0.23427
24 | 0.1581 | 0.076572
25 | 1.4494 | 0.70198
26 | 0.084805 | 0.041073
27 | 0.21285 | 0.10309
28 | 0.17881 | 0.086603
29 | 3.507 | 1.6985
30 | 0.70976 | 0.34375
31 | 0.14017 | 0.067889
32 | 0.24417 | 0.11825
33 | 0.34237 | 0.16582
34 | 0.37642 | 0.18231
35 | 0.41034 | 0.19874
36 | 0.17503 | 0.084771
37 | 0.33669 | 0.16307
38 | 0.3301 | 0.15987
39 | 0.25121 | 0.12167
40 | 0.30122 | 0.14589
41 | 0.14471 | 0.070086
42 | 0.12809 | 0.062039
43 | 0.19973 | 0.096735
44 | 0.40525 | 0.19627
45 | 0.33402 | 0.16177
46 | 0.089873 | 0.043527
47 | 0.083787 | 0.04058
48 | 0.24172 | 0.11707
49 | 0.33149 | 0.16055
50 | 0.11398 | 0.055205

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1