## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_288_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_288_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_288_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_288_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_288_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_288_0_node_132 | 20 | n |  | TRUE
6 | bus_MV_288_0_node_8 | 20 | n |  | TRUE
7 | bus_MV_288_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_288_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_288_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_288_0_node_169 | 20 | n |  | TRUE
11 | bus_MV_288_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_288_0_node_13 | 20 | n |  | TRUE
13 | bus_MV_288_0_node_12 | 20 | n |  | TRUE
14 | bus_MV_288_0_node_14 | 20 | n |  | TRUE
15 | bus_MV_288_0_node_131 | 20 | n |  | TRUE
16 | bus_MV_288_0_node_15 | 20 | n |  | TRUE
17 | bus_MV_288_0_node_16 | 20 | n |  | TRUE
18 | bus_MV_288_0_node_18 | 20 | n |  | TRUE
19 | bus_MV_288_0_node_17 | 20 | n |  | TRUE
20 | bus_MV_288_0_node_161 | 20 | n |  | TRUE
21 | bus_MV_288_0_node_160 | 20 | n |  | TRUE
22 | bus_MV_288_0_node_113 | 20 | n |  | TRUE
23 | bus_MV_288_0_node_19 | 20 | n |  | TRUE
24 | bus_MV_288_0_node_21 | 20 | n |  | TRUE
25 | bus_MV_288_0_node_22 | 20 | n |  | TRUE
26 | bus_MV_288_0_node_23 | 20 | n |  | TRUE
27 | bus_MV_288_0_node_25 | 20 | n |  | TRUE
28 | bus_MV_288_0_node_27 | 20 | n |  | TRUE
29 | bus_MV_288_0_node_24 | 20 | n |  | TRUE
30 | bus_MV_288_0_node_26 | 20 | n |  | TRUE
31 | bus_MV_288_0_node_28 | 20 | n |  | TRUE
32 | bus_MV_288_0_node_29 | 20 | n |  | TRUE
33 | bus_MV_288_0_node_30 | 20 | n |  | TRUE
34 | bus_MV_288_0_node_33 | 20 | n |  | TRUE
35 | bus_MV_288_0_node_31 | 20 | n |  | TRUE
36 | bus_MV_288_0_node_32 | 20 | n |  | TRUE
37 | bus_MV_288_0_node_128 | 20 | n |  | TRUE
38 | bus_MV_288_0_node_126 | 20 | n |  | TRUE
39 | bus_MV_288_0_node_159 | 20 | n |  | TRUE
40 | bus_MV_288_0_node_162 | 20 | n |  | TRUE
41 | bus_MV_288_0_node_164 | 20 | n |  | TRUE
42 | bus_MV_288_0_node_163 | 20 | n |  | TRUE
43 | bus_MV_288_0_node_120 | 20 | n |  | TRUE
44 | bus_MV_288_0_node_129 | 20 | n |  | TRUE
45 | bus_MV_288_0_node_118 | 20 | n |  | TRUE
46 | bus_MV_288_0_node_130 | 20 | n |  | TRUE
47 | bus_MV_288_0_node_127 | 20 | n |  | TRUE
48 | bus_MV_288_0_node_124 | 20 | n |  | TRUE
49 | bus_MV_288_0_node_119 | 20 | n |  | TRUE
50 | bus_MV_288_0_node_114 | 20 | n |  | TRUE
51 | bus_MV_288_0_node_116 | 20 | n |  | TRUE
52 | bus_MV_288_0_node_117 | 20 | n |  | TRUE
53 | bus_MV_288_0_node_115 | 20 | n |  | TRUE
54 | bus_MV_288_0_node_121 | 20 | n |  | TRUE
55 | bus_MV_288_0_node_122 | 20 | n |  | TRUE
56 | bus_MV_288_0_node_123 | 20 | n |  | TRUE
57 | bus_MV_288_0_node_125 | 20 | n |  | TRUE
58 | bus_HV_288_0_node_0 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_288_0_load_0 | 0 | 0.4107 | 0.19891 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_288_0_load_132 | 5 | 0.20628 | 0.099904 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_288_0_load_8 | 6 | 0.18732 | 0.090723 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_288_0_load_5 | 7 | 0.22063 | 0.10686 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_288_0_load_169 | 10 | 0.37732 | 0.18274 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_288_0_load_10 | 11 | 0.30381 | 0.14714 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_288_0_load_12 | 13 | 0.3723 | 0.18032 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_288_0_load_131 | 15 | 0.3232 | 0.15653 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_288_0_load_15 | 16 | 0.25482 | 0.12342 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_288_0_load_161 | 20 | 0.18601 | 0.090089 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_288_0_load_160 | 21 | 0.082269 | 0.039845 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_288_0_load_113 | 22 | 0.32327 | 0.15656 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_288_0_load_19 | 23 | 0.19633 | 0.095086 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_288_0_load_23 | 26 | 0.27997 | 0.13559 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_288_0_load_24 | 29 | 0.19686 | 0.095341 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_288_0_load_26 | 30 | 0.13973 | 0.067673 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_288_0_load_33 | 34 | 0.2997 | 0.14515 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_288_0_load_31 | 35 | 0.19542 | 0.094648 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_288_0_load_32 | 36 | 0.28552 | 0.13828 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_288_0_load_128 | 37 | 0.31902 | 0.15451 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_288_0_load_126 | 38 | 0.31142 | 0.15083 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_288_0_load_159 | 39 | 0.22781 | 0.11033 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_288_0_load_163 | 42 | 0.29127 | 0.14107 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_288_0_load_129 | 44 | 0.12774 | 0.061869 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_288_0_load_130 | 46 | 0.18126 | 0.087788 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_288_0_load_114 | 50 | 0.23702 | 0.1148 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_288_0_load_121 | 54 | 0.27654 | 0.13393 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_288_0_load_125 | 57 | 0.25415 | 0.12309 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_288_0_line_0 |  | 0 | 1 | 0.12467 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
1 | MV_288_0_line_1 |  | 0 | 2 | 0.1404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_288_0_line_2 |  | 1 | 3 | 0.017903 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_288_0_line_3 |  | 2 | 4 | 0.35086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_288_0_line_4 |  | 3 | 5 | 0.077088 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_288_0_line_5 |  | 4 | 6 | 0.16636 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_288_0_line_6 |  | 5 | 7 | 0.97152 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
7 | MV_288_0_line_7 |  | 5 | 27 | 0.84731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_288_0_line_8 |  | 7 | 8 | 0.087465 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
9 | MV_288_0_line_9 |  | 8 | 9 | 0.0691 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_288_0_line_10 |  | 9 | 10 | 0.070789 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_288_0_line_11 |  | 10 | 14 | 0.084781 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
12 | MV_288_0_line_12 |  | 11 | 12 | 0.43834 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_288_0_line_13 |  | 12 | 14 | 0.48237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_288_0_line_14 |  | 12 | 13 | 0.026205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_288_0_line_15 |  | 14 | 15 | 1.1031 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_288_0_line_16 |  | 15 | 48 | 0.031821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_288_0_line_17 |  | 15 | 49 | 0.10505 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_288_0_line_18 |  | 16 | 17 | 0.031985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_288_0_line_19 |  | 17 | 18 | 0.4521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_288_0_line_20 |  | 18 | 22 | 0.067988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_288_0_line_21 |  | 18 | 19 | 0.97272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_288_0_line_22 |  | 19 | 20 | 0.080797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_288_0_line_23 |  | 19 | 21 | 0.020594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_288_0_line_24 |  | 20 | 40 | 0.003445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_288_0_line_25 |  | 21 | 39 | 0.077323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_288_0_line_26 |  | 23 | 24 | 0.031469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_288_0_line_27 |  | 24 | 25 | 0.75573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_288_0_line_28 |  | 25 | 26 | 0.059567 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_288_0_line_29 |  | 25 | 27 | 1.9821 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_288_0_line_30 |  | 26 | 28 | 1.7005 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_288_0_line_31 |  | 27 | 29 | 0.12046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_288_0_line_32 |  | 28 | 31 | 0.87516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_288_0_line_33 |  | 28 | 30 | 0.01642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_288_0_line_34 |  | 31 | 32 | 0.34439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_288_0_line_35 |  | 31 | 33 | 0.56989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_288_0_line_36 |  | 31 | 34 | 0.11061 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_288_0_line_37 |  | 32 | 35 | 0.039276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_288_0_line_38 |  | 33 | 36 | 0.065144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_288_0_line_39 |  | 37 | 38 | 0.046471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_288_0_line_40 |  | 38 | 47 | 0.030383 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_288_0_line_41 |  | 38 | 44 | 0.055383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_288_0_line_42 |  | 40 | 41 | 0.1267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_288_0_line_43 |  | 41 | 42 | 0.086442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_288_0_line_44 |  | 42 | 43 | 0.10239 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_288_0_line_45 |  | 43 | 52 | 0.20745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_288_0_line_46 |  | 44 | 45 | 0.084553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_288_0_line_47 |  | 45 | 53 | 0.69025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_288_0_line_48 |  | 46 | 47 | 0.041774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_288_0_line_49 |  | 48 | 55 | 0.29739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_288_0_line_50 |  | 48 | 56 | 0.58918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_288_0_line_51 |  | 49 | 51 | 0.82031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_288_0_line_52 |  | 50 | 51 | 0.056822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_288_0_line_53 |  | 50 | 52 | 0.065667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_288_0_line_54 |  | 50 | 53 | 0.19142 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_288_0_line_55 |  | 54 | 55 | 0.074779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_288_0_line_56 |  | 56 | 57 | 0.050441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_288_0_trafo_0 | 25 MVA 110/20 kV | 58 | 0 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2604561.3783 | 1259127.4248
1 | 2604585.1906 | 1259006.039
2 | 2604532.7693 | 1259264.4509
3 | 2604583.4103 | 1258988.2257
4 | 2604477.4587 | 1259593.3087
5 | 2604569.3164 | 1258912.443
6 | 2604436.6994 | 1259432.0142
7 | 2605491.2744 | 1258606.1089
8 | 2605576.4866 | 1258585.3181
9 | 2605576.3307 | 1258517.9061
10 | 2605636.6615 | 1258481.1601
11 | 2606229.1383 | 1258303.6281
12 | 2605790.8809 | 1258295.0713
13 | 2605764.8794 | 1258298.3336
14 | 2605718.0645 | 1258457.4658
15 | 2606243.8028 | 1259427.1986
16 | 2604483.778 | 1259760.1037
17 | 2604490.1308 | 1259790.8625
18 | 2604864.367 | 1259841.4992
19 | 2605121.9795 | 1259912.0946
20 | 2605200.2927 | 1259932.7315
21 | 2605102.2212 | 1259906.2865
22 | 2604865.6436 | 1259905.5653
23 | 2601983.5025 | 1256960.4131
24 | 2601952.0467 | 1256957.8235
25 | 2602314.1573 | 1257204.325
26 | 2602254.7059 | 1257208.0275
27 | 2603880.443 | 1258419.0936
28 | 2601227.0536 | 1258562.9104
29 | 2603815.5122 | 1258510.7136
30 | 2601233.0281 | 1258578.2107
31 | 2601486.397 | 1258775.5983
32 | 2601356.2006 | 1259013.4061
33 | 2601766.3365 | 1259172.0604
34 | 2601416.1355 | 1258690.169
35 | 2601323.7025 | 1259035.603
36 | 2601721.0741 | 1259125.0827
37 | 2606227.3736 | 1260212.1093
38 | 2606226.1702 | 1260258.5646
39 | 2605028.0366 | 1259884.4811
40 | 2605203.7061 | 1259933.2681
41 | 2605330.3872 | 1259935.2808
42 | 2605416.3103 | 1259931.5664
43 | 2605518.5788 | 1259936.652
44 | 2606170.8037 | 1260257.3055
45 | 2606167.3034 | 1260173.2005
46 | 2606298.3174 | 1260259.3282
47 | 2606256.5433 | 1260259.3515
48 | 2606273.6002 | 1259415.7998
49 | 2606215.299 | 1259528.3037
50 | 2605688.597 | 1259926.0706
51 | 2605684.3698 | 1259869.962
52 | 2605668.123 | 1259987.9263
53 | 2605879.1072 | 1259907.3976
54 | 2606388.4024 | 1259689.606
55 | 2606371.1008 | 1259616.8495
56 | 2606651.8026 | 1259404.9012
57 | 2606700.3476 | 1259391.2017
58 | 2604561.3783 | 1259127.4248

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -6.7504 | -3.0633
1 | 0.99956 | -0.0051286 | 0 | 0
2 | 0.99997 | 0.00022295 | 0 | 0
3 | 0.9995 | -0.0058645 | 0 | 0
4 | 0.99988 | 0.00091134 | 0 | 0
5 | 0.99923 | -0.0090312 | 0.20628 | 0.099904
6 | 0.99982 | 0.00053326 | 0.18732 | 0.090723
7 | 0.99387 | -0.14798 | 0.22063 | 0.10686
8 | 0.99366 | -0.15048 | 0 | 0
9 | 0.99349 | -0.15244 | 0 | 0
10 | 0.99332 | -0.15445 | 0.37732 | 0.18274
11 | 0.99223 | -0.16304 | 0.30381 | 0.14714
12 | 0.99249 | -0.1614 | 0 | 0
13 | 0.99248 | -0.16128 | 0.3723 | 0.18032
14 | 0.99291 | -0.16514 | 0 | 0
15 | 0.98565 | -0.22285 | 0.3232 | 0.15653
16 | 0.98024 | -0.1928 | 0.25482 | 0.12342
17 | 0.98025 | -0.1929 | 0 | 0
18 | 0.9804 | -0.19416 | 0 | 0
19 | 0.98112 | -0.19962 | 0 | 0
20 | 0.98122 | -0.2003 | 0.18601 | 0.090089
21 | 0.98112 | -0.19954 | 0.082269 | 0.039845
22 | 0.98037 | -0.19389 | 0.32327 | 0.15656
23 | 0.99115 | -0.074372 | 0.19633 | 0.095086
24 | 0.99116 | -0.074447 | 0 | 0
25 | 0.99135 | -0.075783 | 0 | 0
26 | 0.99121 | -0.076904 | 0.27997 | 0.13559
27 | 0.99665 | -0.030562 | 0 | 0
28 | 0.98822 | -0.10299 | 0 | 0
29 | 0.99662 | -0.030287 | 0.19686 | 0.095341
30 | 0.98821 | -0.10296 | 0.13973 | 0.067673
31 | 0.98735 | -0.096553 | 0 | 0
32 | 0.98726 | -0.095838 | 0 | 0
33 | 0.98714 | -0.094859 | 0 | 0
34 | 0.98728 | -0.096965 | 0.2997 | 0.14515
35 | 0.98725 | -0.095745 | 0.19542 | 0.094648
36 | 0.98712 | -0.094634 | 0.28552 | 0.13828
37 | 0.9809 | -0.19769 | 0.31902 | 0.15451
38 | 0.98092 | -0.19787 | 0.31142 | 0.15083
39 | 0.98109 | -0.19933 | 0.22781 | 0.11033
40 | 0.98122 | -0.20034 | 0 | 0
41 | 0.9814 | -0.20169 | 0 | 0
42 | 0.98152 | -0.2026 | 0.29127 | 0.14107
43 | 0.98179 | -0.20044 | 0 | 0
44 | 0.98097 | -0.19842 | 0.12774 | 0.061869
45 | 0.98108 | -0.19938 | 0 | 0
46 | 0.9809 | -0.19785 | 0.18126 | 0.087788
47 | 0.98091 | -0.19794 | 0 | 0
48 | 0.98563 | -0.22269 | 0 | 0
49 | 0.98513 | -0.22706 | 0 | 0
50 | 0.98227 | -0.20422 | 0.23702 | 0.1148
51 | 0.98245 | -0.20574 | 0 | 0
52 | 0.98215 | -0.20332 | 0 | 0
53 | 0.98192 | -0.20683 | 0 | 0
54 | 0.9855 | -0.22153 | 0.27654 | 0.13393
55 | 0.98552 | -0.22178 | 0 | 0
56 | 0.98544 | -0.22112 | 0 | 0
57 | 0.98541 | -0.22128 | 0.25415 | 0.12309
58 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 6.5491 | 2.974 | -6.5465 | -2.9764 | 0.0025966 | -0.002388 | 0.20764 | 0.20769 | 0.20769 | 1 | 0 | 0.99956 | -0.0051286 | 57.372
1 | 0.18735 | 0.07881 | -0.18735 | -0.08216 | 6.4946e-06 | -0.0033502 | 0.0058674 | 0.0059056 | 0.0059056 | 1 | 0 | 0.99997 | 0.00022295 | 2.6844
2 | 6.5465 | 2.9764 | -6.5461 | -2.9768 | 0.000373 | -0.00034255 | 0.20769 | 0.20769 | 0.20769 | 0.99956 | -0.0051286 | 0.9995 | -0.0058645 | 57.374
3 | 0.18735 | 0.08216 | -0.18733 | -0.090531 | 1.6612e-05 | -0.0083711 | 0.0059056 | 0.0060068 | 0.0060068 | 0.99997 | 0.00022295 | 0.99988 | 0.00091134 | 2.7304
4 | 6.5461 | 2.9768 | -6.5445 | -2.9782 | 0.0016064 | -0.0014739 | 0.20769 | 0.20773 | 0.20773 | 0.9995 | -0.0058645 | 0.99923 | -0.0090312 | 57.3827
5 | 0.18733 | 0.090531 | -0.18732 | -0.090723 | 1.07e-05 | -0.00019185 | 0.0060068 | 0.0060093 | 0.0060093 | 0.99988 | 0.00091134 | 0.99982 | 0.00053326 | 2.8616
6 | 4.7302 | 2.1691 | -4.71 | -2.1472 | 0.020159 | 0.021845 | 0.15034 | 0.15035 | 0.15035 | 0.99923 | -0.0090312 | 0.99387 | -0.14798 | 42.9572
7 | 1.6081 | 0.70926 | -1.6042 | -0.70783 | 0.0038929 | 0.001431 | 0.050774 | 0.050786 | 0.050786 | 0.99923 | -0.0090312 | 0.99665 | -0.030562 | 24.1839
8 | 4.4894 | 2.0404 | -4.4885 | -2.0427 | 0.0008669 | -0.0023333 | 0.14323 | 0.14327 | 0.14327 | 0.99387 | -0.14798 | 0.99366 | -0.15048 | 39.5767
9 | 4.4885 | 2.0427 | -4.4878 | -2.0445 | 0.00068518 | -0.0018423 | 0.14327 | 0.1433 | 0.1433 | 0.99366 | -0.15048 | 0.99349 | -0.15244 | 39.5845
10 | 4.4878 | 2.0445 | -4.4871 | -2.0464 | 0.00070221 | -0.0018863 | 0.1433 | 0.14332 | 0.14332 | 0.99349 | -0.15244 | 0.99332 | -0.15445 | 39.5924
11 | 4.1098 | 1.8637 | -4.1085 | -1.8623 | 0.0013386 | 0.001426 | 0.13114 | 0.13115 | 0.13115 | 0.99332 | -0.15445 | 0.99291 | -0.16514 | 37.4702
12 | -0.30381 | -0.14714 | 0.30388 | 0.14667 | 7.5278e-05 | -0.00046818 | 0.009821 | 0.0098144 | 0.009821 | 0.99223 | -0.16304 | 0.99249 | -0.1614 | 4.6767
13 | -0.67619 | -0.32637 | 0.6765 | 0.31512 | 0.00030513 | -0.011259 | 0.021839 | 0.021697 | 0.021839 | 0.99249 | -0.1614 | 0.99291 | -0.16514 | 9.9267
14 | 0.37231 | 0.1797 | -0.3723 | -0.18032 | 5.0614e-06 | -0.00061481 | 0.012024 | 0.012032 | 0.012032 | 0.99249 | -0.1614 | 0.99248 | -0.16128 | 5.4692
15 | 3.432 | 1.5471 | -3.4084 | -1.5337 | 0.023547 | 0.01346 | 0.10945 | 0.10946 | 0.10946 | 0.99291 | -0.16514 | 0.98565 | -0.22285 | 52.1262
16 | 0.5308 | 0.23397 | -0.53079 | -0.2347 | 1.2268e-05 | -0.00073446 | 0.016989 | 0.016998 | 0.016998 | 0.98565 | -0.22285 | 0.98563 | -0.22269 | 7.7263
17 | 2.5544 | 1.1432 | -2.5532 | -1.1425 | 0.0012574 | 0.0006658 | 0.081963 | 0.081965 | 0.081965 | 0.98565 | -0.22285 | 0.98513 | -0.22706 | 39.0308
18 | -0.25482 | -0.12342 | 0.25482 | 0.12268 | 2.9654e-06 | -0.00073293 | 0.0083381 | 0.0083287 | 0.0083381 | 0.98024 | -0.1928 | 0.98025 | -0.1929 | 3.7901
19 | -0.25482 | -0.12268 | 0.25487 | 0.11232 | 4.1215e-05 | -0.010362 | 0.0083287 | 0.0082009 | 0.0083287 | 0.98025 | -0.1929 | 0.9804 | -0.19416 | 3.7858
20 | 0.32328 | 0.15501 | -0.32327 | -0.15656 | 1.0133e-05 | -0.0015572 | 0.010556 | 0.010576 | 0.010576 | 0.9804 | -0.19416 | 0.98037 | -0.19389 | 4.8074
21 | -0.57814 | -0.26733 | 0.57859 | 0.24512 | 0.00045019 | -0.022206 | 0.018755 | 0.018489 | 0.018755 | 0.9804 | -0.19416 | 0.98112 | -0.19962 | 8.5249
22 | -0.88868 | -0.39305 | 0.88877 | 0.39122 | 8.8104e-05 | -0.001831 | 0.028591 | 0.028569 | 0.028591 | 0.98112 | -0.19962 | 0.98122 | -0.2003 | 12.9958
23 | 0.31009 | 0.14793 | -0.31008 | -0.1484 | 2.8111e-06 | -0.00047249 | 0.010109 | 0.010115 | 0.010115 | 0.98112 | -0.19962 | 0.98112 | -0.19954 | 4.5976
24 | -1.0748 | -0.48131 | 1.0748 | 0.48123 | 5.5203e-06 | -7.7555e-05 | 0.034646 | 0.034645 | 0.034646 | 0.98122 | -0.2003 | 0.98122 | -0.20034 | 15.7482
25 | 0.22782 | 0.10856 | -0.22781 | -0.11033 | 5.7085e-06 | -0.0017754 | 0.0074252 | 0.0074478 | 0.0074478 | 0.98112 | -0.19954 | 0.98109 | -0.19933 | 3.3854
26 | -0.19633 | -0.095086 | 0.19633 | 0.094349 | 1.6933e-06 | -0.00073763 | 0.0063534 | 0.0063441 | 0.0063534 | 0.99115 | -0.074372 | 0.99116 | -0.074447 | 2.8879
27 | -0.19633 | -0.094349 | 0.19637 | 0.076631 | 3.9241e-05 | -0.017718 | 0.0063441 | 0.0061381 | 0.0063441 | 0.99116 | -0.074447 | 0.99135 | -0.075783 | 2.8837
28 | 1.2039 | 0.53667 | -1.2038 | -0.53664 | 0.00015636 | 2.8064e-05 | 0.038383 | 0.038384 | 0.038384 | 0.99135 | -0.075783 | 0.99121 | -0.076904 | 18.2781
29 | -1.4003 | -0.6133 | 1.4073 | 0.61534 | 0.006994 | 0.0020428 | 0.044515 | 0.044488 | 0.044515 | 0.99135 | -0.075783 | 0.99665 | -0.030562 | 21.1978
30 | 0.92381 | 0.40105 | -0.9212 | -0.4014 | 0.0026085 | -0.00035465 | 0.02933 | 0.029354 | 0.029354 | 0.99121 | -0.076904 | 0.98822 | -0.10299 | 13.9779
31 | 0.19686 | 0.092486 | -0.19686 | -0.095341 | 6.4185e-06 | -0.0028548 | 0.0062999 | 0.0063356 | 0.0063356 | 0.99665 | -0.030562 | 0.99662 | -0.030287 | 2.8798
32 | 0.78147 | 0.33411 | -0.78075 | -0.35428 | 0.00072705 | -0.020172 | 0.024827 | 0.025067 | 0.025067 | 0.98822 | -0.10299 | 0.98735 | -0.096553 | 11.3942
33 | 0.13973 | 0.067291 | -0.13973 | -0.067673 | 4.504e-07 | -0.00038273 | 0.0045304 | 0.0045352 | 0.0045352 | 0.98822 | -0.10299 | 0.98821 | -0.10296 | 2.0615
34 | 0.19544 | 0.085725 | -0.19543 | -0.093735 | 1.8177e-05 | -0.0080098 | 0.0062398 | 0.0063376 | 0.0063376 | 0.98735 | -0.096553 | 0.98726 | -0.095838 | 2.8807
35 | 0.28559 | 0.12353 | -0.28552 | -0.13677 | 6.4061e-05 | -0.013243 | 0.0090975 | 0.0092583 | 0.0092583 | 0.98735 | -0.096553 | 0.98714 | -0.094859 | 4.2083
36 | 0.29972 | 0.14503 | -0.2997 | -0.14515 | 1.868e-05 | -0.00011702 | 0.009735 | 0.0097366 | 0.0097366 | 0.98735 | -0.096553 | 0.98728 | -0.096965 | 4.6365
37 | 0.19543 | 0.093735 | -0.19542 | -0.094648 | 2.1098e-06 | -0.00091338 | 0.0063376 | 0.0063492 | 0.0063492 | 0.98726 | -0.095838 | 0.98725 | -0.095745 | 2.886
38 | 0.28552 | 0.13677 | -0.28552 | -0.13828 | 7.4699e-06 | -0.0015134 | 0.0092583 | 0.0092775 | 0.0092775 | 0.98714 | -0.094859 | 0.98712 | -0.094634 | 4.217
39 | -0.31902 | -0.15451 | 0.31903 | 0.15344 | 6.7424e-06 | -0.0010656 | 0.010432 | 0.010418 | 0.010432 | 0.9809 | -0.19769 | 0.98092 | -0.19787 | 4.7417
40 | 0.18126 | 0.086796 | -0.18126 | -0.086829 | 1.8938e-06 | -3.3714e-05 | 0.0059145 | 0.0059149 | 0.0059149 | 0.98092 | -0.19787 | 0.98091 | -0.19794 | 2.8166
41 | -0.81171 | -0.39106 | 0.81176 | 0.38981 | 5.1951e-05 | -0.001257 | 0.026516 | 0.026499 | 0.026516 | 0.98092 | -0.19787 | 0.98097 | -0.19842 | 12.0526
42 | -1.0748 | -0.48123 | 1.075 | 0.47838 | 0.00020281 | -0.0028528 | 0.034645 | 0.03461 | 0.034645 | 0.98122 | -0.20034 | 0.9814 | -0.20169 | 15.7477
43 | -1.075 | -0.47838 | 1.0751 | 0.47643 | 0.00013814 | -0.0019471 | 0.03461 | 0.034586 | 0.03461 | 0.9814 | -0.20169 | 0.98152 | -0.2026 | 15.7318
44 | -1.3664 | -0.6175 | 1.3667 | 0.6176 | 0.0003548 | 0.00010444 | 0.0441 | 0.044099 | 0.0441 | 0.98152 | -0.2026 | 0.98179 | -0.20044 | 21.0002
45 | -1.3667 | -0.6176 | 1.3673 | 0.61299 | 0.00053788 | -0.0046166 | 0.044099 | 0.044041 | 0.044099 | 0.98179 | -0.20044 | 0.98215 | -0.20332 | 20.045
46 | -0.9395 | -0.45168 | 0.93961 | 0.44977 | 0.00010614 | -0.0019114 | 0.030676 | 0.030652 | 0.030676 | 0.98097 | -0.19842 | 0.98108 | -0.19938 | 13.9438
47 | -0.93961 | -0.44977 | 0.94047 | 0.43414 | 0.0008601 | -0.015621 | 0.030652 | 0.030453 | 0.030652 | 0.98108 | -0.19938 | 0.98192 | -0.20683 | 13.9325
48 | -0.18126 | -0.087788 | 0.18126 | 0.086829 | 1.9552e-06 | -0.00095909 | 0.0059272 | 0.0059149 | 0.0059272 | 0.9809 | -0.19785 | 0.98091 | -0.19794 | 2.6942
49 | 0.27658 | 0.12531 | -0.27655 | -0.1322 | 3.1699e-05 | -0.0068878 | 0.0088933 | 0.0089785 | 0.0089785 | 0.98563 | -0.22269 | 0.98552 | -0.22178 | 4.0811
50 | 0.25421 | 0.10939 | -0.25416 | -0.12304 | 5.2715e-05 | -0.013648 | 0.0081055 | 0.0082718 | 0.0082718 | 0.98563 | -0.22269 | 0.98544 | -0.22112 | 3.7599
51 | 2.5532 | 1.1425 | -2.5458 | -1.1593 | 0.0073777 | -0.016768 | 0.081965 | 0.082194 | 0.082194 | 0.98513 | -0.22706 | 0.98245 | -0.20574 | 37.3607
52 | -2.5453 | -1.1604 | 2.5458 | 1.1593 | 0.00051257 | -0.0011572 | 0.082209 | 0.082194 | 0.082209 | 0.98227 | -0.20422 | 0.98245 | -0.20574 | 37.3679
53 | 1.3675 | 0.61152 | -1.3673 | -0.61299 | 0.00016997 | -0.0014622 | 0.044023 | 0.044041 | 0.044041 | 0.98227 | -0.20422 | 0.98215 | -0.20332 | 20.0188
54 | 0.94079 | 0.43412 | -0.94047 | -0.43414 | 0.00031626 | -2.2314e-05 | 0.03045 | 0.030453 | 0.030453 | 0.98227 | -0.20422 | 0.98192 | -0.20683 | 14.5014
55 | -0.27654 | -0.13393 | 0.27655 | 0.1322 | 8.0674e-06 | -0.0017317 | 0.0090005 | 0.0089785 | 0.0090005 | 0.9855 | -0.22153 | 0.98552 | -0.22178 | 4.0912
56 | 0.25416 | 0.12304 | -0.25415 | -0.12309 | 6.1498e-06 | -5.4622e-05 | 0.0082718 | 0.0082726 | 0.0082726 | 0.98544 | -0.22112 | 0.98541 | -0.22128 | 3.9393

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.1611 | 3.2622

## res_load
| p_mw | q_mvar
0 | 0.4107 | 0.19891
1 | 0.20628 | 0.099904
2 | 0.18732 | 0.090723
3 | 0.22063 | 0.10686
4 | 0.37732 | 0.18274
5 | 0.30381 | 0.14714
6 | 0.3723 | 0.18032
7 | 0.3232 | 0.15653
8 | 0.25482 | 0.12342
9 | 0.18601 | 0.090089
10 | 0.082269 | 0.039845
11 | 0.32327 | 0.15656
12 | 0.19633 | 0.095086
13 | 0.27997 | 0.13559
14 | 0.19686 | 0.095341
15 | 0.13973 | 0.067673
16 | 0.2997 | 0.14515
17 | 0.19542 | 0.094648
18 | 0.28552 | 0.13828
19 | 0.31902 | 0.15451
20 | 0.31142 | 0.15083
21 | 0.22781 | 0.11033
22 | 0.29127 | 0.14107
23 | 0.12774 | 0.061869
24 | 0.18126 | 0.087788
25 | 0.23702 | 0.1148
26 | 0.27654 | 0.13393
27 | 0.25415 | 0.12309

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1