## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_293_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_293_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_293_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_293_0_node_7 | 20 | n |  | TRUE
4 | bus_MV_293_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_293_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_293_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_293_0_node_73 | 20 | n |  | TRUE
8 | bus_MV_293_0_node_8 | 20 | n |  | TRUE
9 | bus_MV_293_0_node_9 | 20 | n |  | TRUE
10 | bus_MV_293_0_node_11 | 20 | n |  | TRUE
11 | bus_MV_293_0_node_13 | 20 | n |  | TRUE
12 | bus_MV_293_0_node_15 | 20 | n |  | TRUE
13 | bus_MV_293_0_node_12 | 20 | n |  | TRUE
14 | bus_MV_293_0_node_129 | 20 | n |  | TRUE
15 | bus_MV_293_0_node_16 | 20 | n |  | TRUE
16 | bus_MV_293_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_293_0_node_94 | 20 | n |  | TRUE
18 | bus_MV_293_0_node_131 | 20 | n |  | TRUE
19 | bus_MV_293_0_node_17 | 20 | n |  | TRUE
20 | bus_MV_293_0_node_95 | 20 | n |  | TRUE
21 | bus_MV_293_0_node_130 | 20 | n |  | TRUE
22 | bus_MV_293_0_node_132 | 20 | n |  | TRUE
23 | bus_MV_293_0_node_78 | 20 | n |  | TRUE
24 | bus_MV_293_0_node_135 | 20 | n |  | TRUE
25 | bus_MV_293_0_node_85 | 20 | n |  | TRUE
26 | bus_MV_293_0_node_72 | 20 | n |  | TRUE
27 | bus_MV_293_0_node_74 | 20 | n |  | TRUE
28 | bus_MV_293_0_node_109 | 20 | n |  | TRUE
29 | bus_MV_293_0_node_75 | 20 | n |  | TRUE
30 | bus_MV_293_0_node_77 | 20 | n |  | TRUE
31 | bus_MV_293_0_node_79 | 20 | n |  | TRUE
32 | bus_MV_293_0_node_76 | 20 | n |  | TRUE
33 | bus_MV_293_0_node_80 | 20 | n |  | TRUE
34 | bus_MV_293_0_node_81 | 20 | n |  | TRUE
35 | bus_MV_293_0_node_83 | 20 | n |  | TRUE
36 | bus_MV_293_0_node_82 | 20 | n |  | TRUE
37 | bus_MV_293_0_node_84 | 20 | n |  | TRUE
38 | bus_MV_293_0_node_86 | 20 | n |  | TRUE
39 | bus_MV_293_0_node_87 | 20 | n |  | TRUE
40 | bus_MV_293_0_node_120 | 20 | n |  | TRUE
41 | bus_MV_293_0_node_118 | 20 | n |  | TRUE
42 | bus_MV_293_0_node_110 | 20 | n |  | TRUE
43 | bus_MV_293_0_node_111 | 20 | n |  | TRUE
44 | bus_MV_293_0_node_112 | 20 | n |  | TRUE
45 | bus_MV_293_0_node_113 | 20 | n |  | TRUE
46 | bus_MV_293_0_node_114 | 20 | n |  | TRUE
47 | bus_MV_293_0_node_115 | 20 | n |  | TRUE
48 | bus_MV_293_0_node_116 | 20 | n |  | TRUE
49 | bus_MV_293_0_node_117 | 20 | n |  | TRUE
50 | bus_MV_293_0_node_119 | 20 | n |  | TRUE
51 | bus_MV_293_0_node_121 | 20 | n |  | TRUE
52 | bus_MV_293_0_node_122 | 20 | n |  | TRUE
53 | bus_MV_293_0_node_123 | 20 | n |  | TRUE
54 | bus_MV_293_0_node_124 | 20 | n |  | TRUE
55 | bus_MV_293_0_node_125 | 20 | n |  | TRUE
56 | bus_HV_293_0_node_79 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_293_0_load_0 | 0 | 0.26751 | 0.12956 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_293_0_load_7 | 3 | 0.10517 | 0.050939 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_293_0_load_3 | 4 | 0.071695 | 0.034724 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_293_0_load_8 | 8 | 0.23991 | 0.11619 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_293_0_load_129 | 14 | 0.20106 | 0.097376 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_293_0_load_16 | 15 | 0.22454 | 0.10875 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_293_0_load_14 | 16 | 0.13875 | 0.067201 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_293_0_load_94 | 17 | 0.14193 | 0.06874 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_293_0_load_17 | 19 | 0.14363 | 0.069561 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_293_0_load_130 | 21 | 0.10265 | 0.049715 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_293_0_load_132 | 22 | 0.090733 | 0.043944 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_293_0_load_135 | 24 | 0.10802 | 0.052319 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_293_0_load_72 | 26 | 0.062196 | 0.030123 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_293_0_load_109 | 28 | 1.4405 | 0.69769 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_293_0_load_79 | 31 | 0.088587 | 0.042904 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_293_0_load_80 | 33 | 0.10026 | 0.048558 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_293_0_load_81 | 34 | 0.13512 | 0.065441 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_293_0_load_82 | 36 | 0.1493 | 0.072308 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_293_0_load_84 | 37 | 0.094086 | 0.045568 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_293_0_load_120 | 40 | 0.43502 | 0.21069 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_293_0_load_113 | 45 | 0.12699 | 0.061506 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_293_0_load_114 | 46 | 0.11141 | 0.053958 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_293_0_load_115 | 47 | 0.079109 | 0.038314 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_293_0_load_116 | 48 | 2.6345 | 1.276 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_293_0_load_117 | 49 | 0.18014 | 0.087246 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_293_0_load_119 | 50 | 0.12832 | 0.062149 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_293_0_load_121 | 51 | 0.2423 | 0.11735 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_293_0_load_123 | 53 | 0.71922 | 0.34833 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_293_0_load_124 | 54 | 0.12693 | 0.061475 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_293_0_load_125 | 55 | 0.34038 | 0.16485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_293_0_line_0 |  | 0 | 1 | 0.00174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_293_0_line_1 |  | 1 | 2 | 1.3411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_293_0_line_2 |  | 2 | 3 | 0.089724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_293_0_line_3 |  | 3 | 6 | 0.00544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_293_0_line_4 |  | 4 | 5 | 0.038196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_293_0_line_5 |  | 5 | 6 | 0.70878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_293_0_line_6 |  | 5 | 7 | 2.5548 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_293_0_line_7 |  | 7 | 26 | 0.046068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_293_0_line_8 |  | 8 | 9 | 0.030603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_293_0_line_9 |  | 8 | 10 | 0.095553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_293_0_line_10 |  | 9 | 11 | 0.359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_293_0_line_11 |  | 10 | 12 | 1.1965 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_293_0_line_12 |  | 11 | 15 | 0.14692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_293_0_line_13 |  | 11 | 13 | 0.36809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_293_0_line_14 |  | 12 | 18 | 1.8433 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_293_0_line_15 |  | 12 | 16 | 0.046913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_293_0_line_16 |  | 13 | 14 | 0.070573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_293_0_line_17 |  | 14 | 21 | 0.16275 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_293_0_line_18 |  | 16 | 17 | 0.87113 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_293_0_line_19 |  | 17 | 20 | 0.033986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_293_0_line_20 |  | 18 | 22 | 0.016715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_293_0_line_21 |  | 19 | 20 | 3.1567 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_293_0_line_22 |  | 22 | 23 | 0.066076 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_293_0_line_23 |  | 23 | 29 | 0.12957 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_293_0_line_24 |  | 23 | 32 | 0.20897 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_293_0_line_25 |  | 24 | 25 | 0.031311 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_293_0_line_26 |  | 25 | 35 | 0.40149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_293_0_line_27 |  | 26 | 27 | 0.047646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_293_0_line_28 |  | 27 | 28 | 0.72932 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_293_0_line_29 |  | 28 | 42 | 0.076045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_293_0_line_30 |  | 29 | 30 | 0.32489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_293_0_line_31 |  | 29 | 31 | 0.010109 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_293_0_line_32 |  | 30 | 34 | 0.013769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_293_0_line_33 |  | 32 | 33 | 0.2091 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
34 | MV_293_0_line_34 |  | 33 | 35 | 0.60893 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
35 | MV_293_0_line_35 |  | 35 | 36 | 0.025461 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_293_0_line_36 |  | 36 | 37 | 0.033273 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_293_0_line_37 |  | 37 | 38 | 0.078666 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
38 | MV_293_0_line_38 |  | 38 | 39 | 0.08874 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_293_0_line_39 |  | 39 | 40 | 0.020022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_293_0_line_40 |  | 39 | 41 | 0.008454 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_293_0_line_41 |  | 40 | 51 | 0.032662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_293_0_line_42 |  | 41 | 46 | 0.029826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_293_0_line_43 |  | 41 | 48 | 0.066166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_293_0_line_44 |  | 42 | 43 | 0.01193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_293_0_line_45 |  | 42 | 44 | 0.09602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_293_0_line_46 |  | 43 | 45 | 0.078915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_293_0_line_47 |  | 44 | 46 | 0.085108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_293_0_line_48 |  | 45 | 47 | 0.046533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_293_0_line_49 |  | 48 | 49 | 0.0075095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_293_0_line_50 |  | 49 | 50 | 0.089021 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_293_0_line_51 |  | 51 | 52 | 0.0017591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_293_0_line_52 |  | 52 | 53 | 0.013964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_293_0_line_53 |  | 52 | 54 | 0.027155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_293_0_line_54 |  | 54 | 55 | 0.02616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_293_0_trafo_79 | 25 MVA 110/20 kV | 56 | 31 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2602538.4375 | 1247919.7379
1 | 2602537.727 | 1247921.3275
2 | 2602535.3975 | 1248928.506
3 | 2602579.2009 | 1249006.4967
4 | 2602573.7407 | 1249527.6291
5 | 2602539.5017 | 1249515.6968
6 | 2602582.0529 | 1249011.1343
7 | 2600000.8468 | 1249802.1795
8 | 2598484.9709 | 1252731.7501
9 | 2598455.6774 | 1252722.7744
10 | 2598511.1214 | 1252639.9498
11 | 2598156.9308 | 1252898.3895
12 | 2599640.5645 | 1252244.9795
13 | 2598191.8397 | 1252605.8648
14 | 2598222.2432 | 1252542.1692
15 | 2598018.5511 | 1252849.0258
16 | 2599654.8443 | 1252286.0053
17 | 2599783.721 | 1253147.5523
18 | 2599370.3988 | 1250421.6098
19 | 2600009.0248 | 1256305.6251
20 | 2599816.9228 | 1253154.7638
21 | 2598383.6447 | 1252521.2368
22 | 2599379.3269 | 1250408.845
23 | 2599385.7203 | 1250343.0795
24 | 2598643.6205 | 1249487.6042
25 | 2598646.761 | 1249518.7569
26 | 2599957.2112 | 1249815.8943
27 | 2599921.1433 | 1249787.1602
28 | 2599272.5734 | 1249453.6023
29 | 2599350.0557 | 1250232.4122
30 | 2599609.0565 | 1250273.3238
31 | 2599340.763 | 1250228.7887
32 | 2599185.4731 | 1250319.5353
33 | 2598977.7288 | 1250295.7325
34 | 2599620.5987 | 1250280.8833
35 | 2598987.3697 | 1249686.8819
36 | 2599012.7198 | 1249684.5071
37 | 2599045.3983 | 1249679.1434
38 | 2599100.7203 | 1249634.9954
39 | 2599098.6145 | 1249546.283
40 | 2599118.6348 | 1249546.517
41 | 2599090.4155 | 1249544.1274
42 | 2599197.5792 | 1249441.2555
43 | 2599198.9289 | 1249429.4032
44 | 2599101.9022 | 1249430.3633
45 | 2599192.1875 | 1249350.7763
46 | 2599089.4483 | 1249514.4929
47 | 2599188.2125 | 1249304.4131
48 | 2599026.4223 | 1249527.3107
49 | 2599019.1594 | 1249525.4021
50 | 2598962.0396 | 1249593.6821
51 | 2599151.2945 | 1249546.8986
52 | 2599153.0534 | 1249546.9192
53 | 2599167.0576 | 1249547.0838
54 | 2599153.2463 | 1249574.07
55 | 2599127.88 | 1249580.4645
56 | 2599340.763 | 1250228.7887

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98997 | -0.261 | 0.26751 | 0.12956
1 | 0.98997 | -0.261 | 0 | 0
2 | 0.99042 | -0.26401 | 0 | 0
3 | 0.99045 | -0.26411 | 0.10517 | 0.050939
4 | 0.99078 | -0.26538 | 0.071695 | 0.034724
5 | 0.99078 | -0.26541 | 0 | 0
6 | 0.99046 | -0.26413 | 0 | 0
7 | 0.99288 | -0.23981 | 0 | 0
8 | 0.99332 | -0.047155 | 0.23991 | 0.11619
9 | 0.9933 | -0.046998 | 0 | 0
10 | 0.99342 | -0.047916 | 0 | 0
11 | 0.99306 | -0.045044 | 0 | 0
12 | 0.99518 | -0.034322 | 0 | 0
13 | 0.99292 | -0.043834 | 0 | 0
14 | 0.99289 | -0.043579 | 0.20106 | 0.097376
15 | 0.993 | -0.045449 | 0.22454 | 0.10875
16 | 0.99516 | -0.0341 | 0.13875 | 0.067201
17 | 0.99468 | -0.037514 | 0.14193 | 0.06874
18 | 0.99941 | -0.0026691 | 0 | 0
19 | 0.99379 | -0.043512 | 0.14363 | 0.069561
20 | 0.99467 | -0.037464 | 0 | 0
21 | 0.99286 | -0.043785 | 0.10265 | 0.049715
22 | 0.99943 | -0.0028753 | 0.090733 | 0.043944
23 | 0.9996 | -0.0016644 | 0 | 0
24 | 0.99488 | -0.23531 | 0.10802 | 0.052319
25 | 0.99488 | -0.23527 | 0 | 0
26 | 0.9929 | -0.2399 | 0.062196 | 0.030123
27 | 0.99293 | -0.24002 | 0 | 0
28 | 0.99362 | -0.23192 | 1.4405 | 0.69769
29 | 0.99997 | -0.00012362 | 0 | 0
30 | 0.99992 | 0.00031452 | 0 | 0
31 | 1 | 0 | -8.9943 | -4.2382
32 | 0.99908 | -0.0037063 | 0 | 0
33 | 0.99801 | -0.063408 | 0.10026 | 0.048558
34 | 0.99991 | 0.00033663 | 0.13512 | 0.065441
35 | 0.99494 | -0.23567 | 0 | 0
36 | 0.99488 | -0.23592 | 0.1493 | 0.072308
37 | 0.9948 | -0.23624 | 0.094086 | 0.045568
38 | 0.99462 | -0.23699 | 0 | 0
39 | 0.99441 | -0.23783 | 0 | 0
40 | 0.99436 | -0.23738 | 0.43502 | 0.21069
41 | 0.99439 | -0.23809 | 0 | 0
42 | 0.9938 | -0.23343 | 0 | 0
43 | 0.9938 | -0.2334 | 0 | 0
44 | 0.99407 | -0.23554 | 0 | 0
45 | 0.99378 | -0.23322 | 0.12699 | 0.061506
46 | 0.9943 | -0.2374 | 0.11141 | 0.053958
47 | 0.99378 | -0.23317 | 0.079109 | 0.038314
48 | 0.99414 | -0.23574 | 2.6345 | 1.276
49 | 0.99413 | -0.23571 | 0.18014 | 0.087246
50 | 0.99411 | -0.23585 | 0.12832 | 0.062149
51 | 0.9943 | -0.23682 | 0.2423 | 0.11735
52 | 0.9943 | -0.2368 | 0 | 0
53 | 0.99429 | -0.23668 | 0.71922 | 0.34833
54 | 0.99428 | -0.23665 | 0.12693 | 0.061475
55 | 0.99427 | -0.23654 | 0.34038 | 0.16485
56 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26751 | -0.12956 | 0.26751 | 0.12952 | 1.7445e-07 | -4.0663e-05 | 0.0086673 | 0.0086668 | 0.0086673 | 0.98997 | -0.261 | 0.98997 | -0.261 | 3.9397
1 | -0.26751 | -0.12952 | 0.26764 | 0.098163 | 0.00012867 | -0.031358 | 0.0086668 | 0.0083089 | 0.0086668 | 0.98997 | -0.261 | 0.99042 | -0.26401 | 3.9395
2 | -0.26764 | -0.098163 | 0.26765 | 0.096064 | 8.2486e-06 | -0.002099 | 0.0083089 | 0.008288 | 0.0083089 | 0.99042 | -0.26401 | 0.99045 | -0.26411 | 3.7768
3 | -0.37282 | -0.147 | 0.37282 | 0.14688 | 9.9069e-07 | -0.00012712 | 0.01168 | 0.011679 | 0.01168 | 0.99045 | -0.26411 | 0.99046 | -0.26413 | 5.3093
4 | -0.071695 | -0.034724 | 0.071696 | 0.033829 | 2.7336e-07 | -0.00089516 | 0.002321 | 0.0023098 | 0.002321 | 0.99078 | -0.26538 | 0.99078 | -0.26541 | 1.055
5 | 0.37295 | 0.13031 | -0.37282 | -0.14688 | 0.00012716 | -0.016569 | 0.01151 | 0.011679 | 0.011679 | 0.99078 | -0.26541 | 0.99046 | -0.26413 | 5.3086
6 | -0.44465 | -0.16413 | 0.44551 | 0.16168 | 0.00086617 | -0.0024577 | 0.01381 | 0.01378 | 0.01381 | 0.99078 | -0.26541 | 0.99288 | -0.23981 | 6.576
7 | -0.44551 | -0.16168 | 0.44552 | 0.1606 | 1.1669e-05 | -0.0010809 | 0.01378 | 0.013769 | 0.01378 | 0.99288 | -0.23981 | 0.9929 | -0.2399 | 6.2635
8 | 0.52847 | 0.23605 | -0.52846 | -0.23676 | 1.1565e-05 | -0.00071751 | 0.016821 | 0.016829 | 0.016829 | 0.99332 | -0.047155 | 0.9933 | -0.046998 | 7.6496
9 | -0.76838 | -0.35224 | 0.76845 | 0.35001 | 7.689e-05 | -0.0022285 | 0.024565 | 0.024538 | 0.024565 | 0.99332 | -0.047155 | 0.99342 | -0.047916 | 11.1658
10 | 0.52846 | 0.23676 | -0.52832 | -0.24518 | 0.00013656 | -0.0084146 | 0.016829 | 0.016931 | 0.016931 | 0.9933 | -0.046998 | 0.99306 | -0.045044 | 7.6959
11 | -0.76845 | -0.35001 | 0.76974 | 0.3494 | 0.0012827 | -0.00060874 | 0.024538 | 0.024521 | 0.024538 | 0.99342 | -0.047916 | 0.99518 | -0.034322 | 11.6845
12 | 0.22456 | 0.10859 | -0.22454 | -0.10875 | 1.3766e-05 | -0.00016433 | 0.0072508 | 0.007253 | 0.007253 | 0.99306 | -0.045044 | 0.993 | -0.045449 | 3.4538
13 | 0.30376 | 0.13659 | -0.30372 | -0.14524 | 4.6562e-05 | -0.008652 | 0.0096818 | 0.0097879 | 0.0097879 | 0.99306 | -0.045044 | 0.99292 | -0.043834 | 4.449
14 | -1.1943 | -0.5484 | 1.1991 | 0.54919 | 0.0047693 | 0.00079872 | 0.038121 | 0.038095 | 0.038121 | 0.99518 | -0.034322 | 0.99941 | -0.0026691 | 18.1529
15 | 0.42457 | 0.199 | -0.42456 | -0.2001 | 1.1598e-05 | -0.0011059 | 0.013601 | 0.013615 | 0.013615 | 0.99518 | -0.034322 | 0.99516 | -0.0341 | 6.1886
16 | 0.30372 | 0.14524 | -0.30371 | -0.1469 | 9.0453e-06 | -0.0016585 | 0.0097879 | 0.0098088 | 0.0098088 | 0.99292 | -0.043834 | 0.99289 | -0.043579 | 4.4585
17 | 0.10265 | 0.049526 | -0.10265 | -0.049715 | 3.1865e-06 | -0.00018954 | 0.0033137 | 0.0033161 | 0.0033161 | 0.99289 | -0.043579 | 0.99286 | -0.043785 | 1.5791
18 | 0.28581 | 0.1329 | -0.28568 | -0.13385 | 0.00012993 | -0.00094803 | 0.0091432 | 0.0091558 | 0.0091558 | 0.99516 | -0.0341 | 0.99468 | -0.037514 | 4.3599
19 | 0.14375 | 0.065108 | -0.14375 | -0.065911 | 9.5365e-07 | -0.00080255 | 0.0045798 | 0.0045895 | 0.0045895 | 0.99468 | -0.037514 | 0.99467 | -0.037464 | 2.0861
20 | -1.1991 | -0.54919 | 1.1991 | 0.54881 | 3.2379e-05 | -0.00038902 | 0.038095 | 0.03809 | 0.038095 | 0.99941 | -0.0026691 | 0.99943 | -0.0028753 | 17.3158
21 | -0.14363 | -0.069561 | 0.14375 | 0.065911 | 0.00011965 | -0.0036502 | 0.0046356 | 0.0045895 | 0.0046356 | 0.99379 | -0.043512 | 0.99467 | -0.037464 | 2.2074
22 | -1.2898 | -0.59275 | 1.29 | 0.59279 | 0.00019791 | 4.5157e-05 | 0.041001 | 0.041 | 0.041001 | 0.99943 | -0.0028753 | 0.9996 | -0.0016644 | 19.5244
23 | -8.8417 | -4.1772 | 8.8449 | 4.1709 | 0.0031918 | -0.0063401 | 0.2824 | 0.2823 | 0.2824 | 0.9996 | -0.0016644 | 0.99997 | -0.00012362 | 44.2637
24 | 7.5516 | 3.5844 | -7.5479 | -3.5954 | 0.0037656 | -0.010992 | 0.24141 | 0.24157 | 0.24157 | 0.9996 | -0.0016644 | 0.99908 | -0.0037063 | 37.8633
25 | -0.10802 | -0.052319 | 0.10803 | 0.052282 | 6.7656e-07 | -3.6573e-05 | 0.0034827 | 0.0034823 | 0.0034827 | 0.99488 | -0.23531 | 0.99488 | -0.23527 | 1.6584
26 | -0.10803 | -0.052282 | 0.10803 | 0.042795 | 6.2858e-06 | -0.0094868 | 0.0034823 | 0.0033714 | 0.0034823 | 0.99488 | -0.23527 | 0.99494 | -0.23567 | 1.5828
27 | -0.50772 | -0.19072 | 0.50774 | 0.1896 | 1.5804e-05 | -0.0011168 | 0.015768 | 0.015757 | 0.015768 | 0.9929 | -0.2399 | 0.99293 | -0.24002 | 7.1675
28 | -0.50774 | -0.1896 | 0.50806 | 0.18894 | 0.00032245 | -0.00065702 | 0.015757 | 0.015748 | 0.015757 | 0.99293 | -0.24002 | 0.99362 | -0.23192 | 7.5033
29 | -1.9486 | -0.88663 | 1.949 | 0.88496 | 0.0003926 | -0.0016764 | 0.062198 | 0.062176 | 0.062198 | 0.99362 | -0.23192 | 0.9938 | -0.23343 | 28.2717
30 | 0.13513 | 0.057359 | -0.13512 | -0.065112 | 7.9554e-06 | -0.0077538 | 0.0042378 | 0.0043302 | 0.0043302 | 0.99997 | -0.00012362 | 0.99992 | 0.00031452 | 1.9683
31 | -8.98 | -4.2282 | 8.9803 | 4.2277 | 0.00025646 | -0.00049074 | 0.28654 | 0.28653 | 0.28654 | 0.99997 | -0.00012362 | 1 | 0 | 44.9117
32 | 0.13512 | 0.065112 | -0.13512 | -0.065441 | 3.4499e-07 | -0.00032859 | 0.0043302 | 0.0043343 | 0.0043343 | 0.99992 | 0.00031452 | 0.99991 | 0.00033663 | 1.9701
33 | 7.5479 | 3.5954 | -7.5435 | -3.584 | 0.0043563 | 0.011426 | 0.24157 | 0.24157 | 0.24157 | 0.99908 | -0.0037063 | 0.99801 | -0.063408 | 37.4529
34 | 7.4433 | 3.5354 | -7.4309 | -3.503 | 0.01235 | 0.032375 | 0.23835 | 0.23836 | 0.23836 | 0.99801 | -0.063408 | 0.99494 | -0.23567 | 36.955
35 | 7.3229 | 3.4602 | -7.3224 | -3.4616 | 0.0004345 | -0.0013388 | 0.23499 | 0.23501 | 0.23501 | 0.99494 | -0.23567 | 0.99488 | -0.23592 | 36.8361
36 | 7.1732 | 3.3893 | -7.1726 | -3.391 | 0.0005449 | -0.0017623 | 0.2302 | 0.23023 | 0.23023 | 0.99488 | -0.23592 | 0.9948 | -0.23624 | 36.0857
37 | 7.0785 | 3.3455 | -7.0773 | -3.3497 | 0.001255 | -0.0041838 | 0.22719 | 0.22725 | 0.22725 | 0.9948 | -0.23624 | 0.99462 | -0.23699 | 35.6198
38 | 7.0773 | 3.3497 | -7.0758 | -3.3544 | 0.0014166 | -0.004717 | 0.22725 | 0.22732 | 0.22732 | 0.99462 | -0.23699 | 0.99441 | -0.23783 | 35.6305
39 | 1.8641 | 0.8999 | -1.864 | -0.90034 | 9.652e-05 | -0.00044406 | 0.060089 | 0.060095 | 0.060095 | 0.99441 | -0.23783 | 0.99436 | -0.23738 | 27.316
40 | 5.2118 | 2.4545 | -5.2117 | -2.4547 | 0.0001142 | -0.00020379 | 0.16724 | 0.16724 | 0.16724 | 0.99441 | -0.23783 | 0.99439 | -0.23809 | 46.1987
41 | 1.4289 | 0.68965 | -1.4289 | -0.69039 | 9.2537e-05 | -0.00074357 | 0.046063 | 0.046072 | 0.046072 | 0.99436 | -0.23738 | 0.9943 | -0.23682 | 20.942
42 | 2.2679 | 1.0309 | -2.2677 | -1.0316 | 0.00020828 | -0.00064232 | 0.07232 | 0.072329 | 0.072329 | 0.99439 | -0.23809 | 0.9943 | -0.2374 | 32.8768
43 | 2.9438 | 1.4238 | -2.943 | -1.4251 | 0.00079619 | -0.0013255 | 0.09493 | 0.09495 | 0.09495 | 0.99439 | -0.23809 | 0.99414 | -0.23574 | 43.1591
44 | 0.20611 | 0.096582 | -0.20611 | -0.096864 | 6.9659e-07 | -0.00028112 | 0.0066117 | 0.0066151 | 0.0066151 | 0.9938 | -0.23343 | 0.9938 | -0.2334 | 3.0069
45 | -2.1551 | -0.98154 | 2.1557 | 0.97945 | 0.0006063 | -0.002085 | 0.068787 | 0.06876 | 0.068787 | 0.9938 | -0.23343 | 0.99407 | -0.23554 | 31.267
46 | 0.20611 | 0.096864 | -0.2061 | -0.098723 | 4.6263e-06 | -0.0018595 | 0.0066151 | 0.0066383 | 0.0066383 | 0.9938 | -0.2334 | 0.99378 | -0.23322 | 3.0174
47 | -2.1557 | -0.97945 | 2.1562 | 0.97761 | 0.000537 | -0.0018492 | 0.06876 | 0.068736 | 0.06876 | 0.99407 | -0.23554 | 0.9943 | -0.2374 | 31.2546
48 | 0.07911 | 0.037217 | -0.079109 | -0.038314 | 4.0282e-07 | -0.0010971 | 0.0025396 | 0.0025533 | 0.0025533 | 0.99378 | -0.23322 | 0.99378 | -0.23317 | 1.1606
49 | 0.30847 | 0.14912 | -0.30847 | -0.14929 | 9.9252e-07 | -0.00017691 | 0.0099489 | 0.0099511 | 0.0099511 | 0.99414 | -0.23574 | 0.99413 | -0.23571 | 4.5232
50 | 0.12833 | 0.062046 | -0.12832 | -0.062149 | 2.7181e-06 | -0.00010333 | 0.004139 | 0.0041403 | 0.0041403 | 0.99413 | -0.23571 | 0.99411 | -0.23585 | 1.9716
51 | 1.1865 | 0.57304 | -1.1865 | -0.57308 | 3.4369e-06 | -4.0502e-05 | 0.038256 | 0.038257 | 0.038257 | 0.9943 | -0.23682 | 0.9943 | -0.2368 | 17.3893
52 | 0.71923 | 0.34801 | -0.71922 | -0.34833 | 1.0033e-05 | -0.00032664 | 0.023197 | 0.023201 | 0.023201 | 0.9943 | -0.2368 | 0.99429 | -0.23668 | 10.5461
53 | 0.46732 | 0.22507 | -0.46731 | -0.22571 | 8.2257e-06 | -0.00063853 | 0.015059 | 0.015067 | 0.015067 | 0.9943 | -0.2368 | 0.99428 | -0.23665 | 6.8488
54 | 0.34038 | 0.16424 | -0.34038 | -0.16485 | 4.2078e-06 | -0.00061622 | 0.010973 | 0.01098 | 0.01098 | 0.99428 | -0.23665 | 0.99427 | -0.23654 | 4.9911

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.0828 | 4.2811

## res_load
| p_mw | q_mvar
0 | 0.26751 | 0.12956
1 | 0.10517 | 0.050939
2 | 0.071695 | 0.034724
3 | 0.23991 | 0.11619
4 | 0.20106 | 0.097376
5 | 0.22454 | 0.10875
6 | 0.13875 | 0.067201
7 | 0.14193 | 0.06874
8 | 0.14363 | 0.069561
9 | 0.10265 | 0.049715
10 | 0.090733 | 0.043944
11 | 0.10802 | 0.052319
12 | 0.062196 | 0.030123
13 | 1.4405 | 0.69769
14 | 0.088587 | 0.042904
15 | 0.10026 | 0.048558
16 | 0.13512 | 0.065441
17 | 0.1493 | 0.072308
18 | 0.094086 | 0.045568
19 | 0.43502 | 0.21069
20 | 0.12699 | 0.061506
21 | 0.11141 | 0.053958
22 | 0.079109 | 0.038314
23 | 2.6345 | 1.276
24 | 0.18014 | 0.087246
25 | 0.12832 | 0.062149
26 | 0.2423 | 0.11735
27 | 0.71922 | 0.34833
28 | 0.12693 | 0.061475
29 | 0.34038 | 0.16485

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1