## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_293_1_node_128 | 20 | n |  | TRUE
1 | bus_MV_293_1_node_127 | 20 | n |  | TRUE
2 | bus_MV_293_1_node_134 | 20 | n |  | TRUE
3 | bus_MV_293_1_node_133 | 20 | n |  | TRUE
4 | bus_MV_293_1_node_25 | 20 | n |  | TRUE
5 | bus_MV_293_1_node_18 | 20 | n |  | TRUE
6 | bus_MV_293_1_node_29 | 20 | n |  | TRUE
7 | bus_MV_293_1_node_22 | 20 | n |  | TRUE
8 | bus_MV_293_1_node_23 | 20 | n |  | TRUE
9 | bus_MV_293_1_node_26 | 20 | n |  | TRUE
10 | bus_MV_293_1_node_24 | 20 | n |  | TRUE
11 | bus_MV_293_1_node_42 | 20 | n |  | TRUE
12 | bus_MV_293_1_node_91 | 20 | n |  | TRUE
13 | bus_MV_293_1_node_44 | 20 | n |  | TRUE
14 | bus_MV_293_1_node_27 | 20 | n |  | TRUE
15 | bus_MV_293_1_node_28 | 20 | n |  | TRUE
16 | bus_MV_293_1_node_30 | 20 | n |  | TRUE
17 | bus_MV_293_1_node_43 | 20 | n |  | TRUE
18 | bus_MV_293_1_node_33 | 20 | n |  | TRUE
19 | bus_MV_293_1_node_34 | 20 | n |  | TRUE
20 | bus_MV_293_1_node_39 | 20 | n |  | TRUE
21 | bus_MV_293_1_node_35 | 20 | n |  | TRUE
22 | bus_MV_293_1_node_36 | 20 | n |  | TRUE
23 | bus_MV_293_1_node_37 | 20 | n |  | TRUE
24 | bus_MV_293_1_node_38 | 20 | n |  | TRUE
25 | bus_MV_293_1_node_98 | 20 | n |  | TRUE
26 | bus_MV_293_1_node_106 | 20 | n |  | TRUE
27 | bus_MV_293_1_node_104 | 20 | n |  | TRUE
28 | bus_MV_293_1_node_97 | 20 | n |  | TRUE
29 | bus_MV_293_1_node_40 | 20 | n |  | TRUE
30 | bus_MV_293_1_node_41 | 20 | n |  | TRUE
31 | bus_MV_293_1_node_45 | 20 | n |  | TRUE
32 | bus_MV_293_1_node_99 | 20 | n |  | TRUE
33 | bus_MV_293_1_node_46 | 20 | n |  | TRUE
34 | bus_MV_293_1_node_47 | 20 | n |  | TRUE
35 | bus_MV_293_1_node_48 | 20 | n |  | TRUE
36 | bus_MV_293_1_node_105 | 20 | n |  | TRUE
37 | bus_MV_293_1_node_56 | 20 | n |  | TRUE
38 | bus_MV_293_1_node_57 | 20 | n |  | TRUE
39 | bus_MV_293_1_node_58 | 20 | n |  | TRUE
40 | bus_MV_293_1_node_59 | 20 | n |  | TRUE
41 | bus_MV_293_1_node_60 | 20 | n |  | TRUE
42 | bus_MV_293_1_node_71 | 20 | n |  | TRUE
43 | bus_MV_293_1_node_61 | 20 | n |  | TRUE
44 | bus_MV_293_1_node_62 | 20 | n |  | TRUE
45 | bus_MV_293_1_node_108 | 20 | n |  | TRUE
46 | bus_MV_293_1_node_63 | 20 | n |  | TRUE
47 | bus_MV_293_1_node_64 | 20 | n |  | TRUE
48 | bus_MV_293_1_node_92 | 20 | n |  | TRUE
49 | bus_MV_293_1_node_65 | 20 | n |  | TRUE
50 | bus_MV_293_1_node_66 | 20 | n |  | TRUE
51 | bus_MV_293_1_node_67 | 20 | n |  | TRUE
52 | bus_MV_293_1_node_68 | 20 | n |  | TRUE
53 | bus_MV_293_1_node_69 | 20 | n |  | TRUE
54 | bus_MV_293_1_node_70 | 20 | n |  | TRUE
55 | bus_MV_293_1_node_107 | 20 | n |  | TRUE
56 | bus_MV_293_1_node_88 | 20 | n |  | TRUE
57 | bus_MV_293_1_node_89 | 20 | n |  | TRUE
58 | bus_MV_293_1_node_90 | 20 | n |  | TRUE
59 | bus_MV_293_1_node_93 | 20 | n |  | TRUE
60 | bus_MV_293_1_node_100 | 20 | n |  | TRUE
61 | bus_MV_293_1_node_101 | 20 | n |  | TRUE
62 | bus_MV_293_1_node_102 | 20 | n |  | TRUE
63 | bus_MV_293_1_node_103 | 20 | n |  | TRUE
64 | bus_MV_293_1_node_126 | 20 | n |  | TRUE
65 | bus_HV_293_1_node_40 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_293_1_load_134 | 2 | 0.30044 | 0.14551 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_293_1_load_133 | 3 | 0.28495 | 0.13801 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_293_1_load_18 | 5 | 0.28767 | 0.13932 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_293_1_load_22 | 7 | 0.37824 | 0.18319 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_293_1_load_42 | 11 | 0.38892 | 0.18836 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_293_1_load_44 | 13 | 0.24322 | 0.1178 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_293_1_load_27 | 14 | 0.32539 | 0.1576 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_293_1_load_43 | 17 | 0.21335 | 0.10333 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_293_1_load_33 | 18 | 0.22755 | 0.11021 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_293_1_load_34 | 19 | 0.080459 | 0.038968 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_293_1_load_35 | 21 | 2.36 | 1.143 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_293_1_load_38 | 24 | 1.0023 | 0.48543 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_293_1_load_98 | 25 | 0.096309 | 0.046645 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_293_1_load_97 | 28 | 0.10057 | 0.048706 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_293_1_load_40 | 29 | 0.15335 | 0.074273 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_293_1_load_45 | 31 | 0.31181 | 0.15101 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_293_1_load_46 | 33 | 0.29286 | 0.14184 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_293_1_load_105 | 36 | 0.074773 | 0.036214 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_293_1_load_56 | 37 | 0.1992 | 0.096475 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_293_1_load_60 | 41 | 0.29949 | 0.14505 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_293_1_load_71 | 42 | 0.1584 | 0.076719 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_293_1_load_108 | 45 | 0.15484 | 0.07499 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_293_1_load_63 | 46 | 0.18904 | 0.091554 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_293_1_load_92 | 48 | 0.22841 | 0.11063 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_293_1_load_66 | 50 | 0.15915 | 0.077081 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_293_1_load_107 | 55 | 0.069316 | 0.033571 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_293_1_load_88 | 56 | 0.20082 | 0.09726 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_293_1_load_93 | 59 | 0.31969 | 0.15483 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_293_1_load_100 | 60 | 0.21851 | 0.10583 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_293_1_load_101 | 61 | 0.27908 | 0.13516 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_293_1_load_102 | 62 | 0.12254 | 0.05935 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_293_1_load_103 | 63 | 0.35898 | 0.17386 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_293_1_load_126 | 64 | 0.23305 | 0.11287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_293_1_line_0 |  | 0 | 1 | 0.48423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_293_1_line_1 |  | 0 | 2 | 0.11692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_293_1_line_2 |  | 1 | 55 | 0.28013 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_293_1_line_3 |  | 1 | 64 | 0.11924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_293_1_line_4 |  | 3 | 4 | 0.017841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_293_1_line_5 |  | 4 | 9 | 0.41935 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_293_1_line_6 |  | 4 | 12 | 1.5866 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
7 | MV_293_1_line_7 |  | 5 | 6 | 2.0197 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_293_1_line_8 |  | 6 | 14 | 0.036963 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_293_1_line_9 |  | 7 | 8 | 0.045519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_293_1_line_10 |  | 8 | 9 | 0.84789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_293_1_line_11 |  | 9 | 13 | 0.071289 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_293_1_line_12 |  | 9 | 10 | 0.2144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_293_1_line_13 |  | 10 | 11 | 0.034174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_293_1_line_14 |  | 12 | 59 | 0.066797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_293_1_line_15 |  | 12 | 58 | 0.83504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_293_1_line_16 |  | 13 | 31 | 0.46605 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
17 | MV_293_1_line_17 |  | 13 | 15 | 0.56107 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_293_1_line_18 |  | 13 | 16 | 0.18225 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_293_1_line_19 |  | 13 | 30 | 0.33902 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_293_1_line_20 |  | 14 | 15 | 0.12402 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_293_1_line_21 |  | 16 | 17 | 0.023652 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_293_1_line_22 |  | 18 | 19 | 0.025538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_293_1_line_23 |  | 19 | 20 | 0.02884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_293_1_line_24 |  | 20 | 28 | 0.025576 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_293_1_line_25 |  | 20 | 25 | 0.061387 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_293_1_line_26 |  | 21 | 22 | 0.0019433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_293_1_line_27 |  | 22 | 23 | 0.068434 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
28 | MV_293_1_line_28 |  | 22 | 24 | 0.023666 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_293_1_line_29 |  | 23 | 25 | 0.04607 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_293_1_line_30 |  | 23 | 26 | 2.4121 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_293_1_line_31 |  | 24 | 27 | 0.010155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_293_1_line_32 |  | 26 | 36 | 0.10237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_293_1_line_33 |  | 27 | 62 | 0.026713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_293_1_line_34 |  | 28 | 32 | 0.1031 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_293_1_line_35 |  | 29 | 30 | 0.12512 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
36 | MV_293_1_line_36 |  | 31 | 32 | 1.5203 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_293_1_line_37 |  | 33 | 34 | 0.05734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_293_1_line_38 |  | 34 | 35 | 0.022926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_293_1_line_39 |  | 35 | 36 | 0.072272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_293_1_line_40 |  | 37 | 38 | 0.060721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_293_1_line_41 |  | 38 | 39 | 0.30001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_293_1_line_42 |  | 38 | 40 | 0.3543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_293_1_line_43 |  | 39 | 41 | 0.033603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_293_1_line_44 |  | 40 | 42 | 0.026148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_293_1_line_45 |  | 41 | 43 | 0.084204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_293_1_line_46 |  | 42 | 54 | 0.24752 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_293_1_line_47 |  | 43 | 44 | 0.28681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_293_1_line_48 |  | 44 | 45 | 0.10072 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_293_1_line_49 |  | 45 | 49 | 0.077846 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_293_1_line_50 |  | 46 | 47 | 0.10437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_293_1_line_51 |  | 46 | 48 | 1.4177 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_293_1_line_52 |  | 47 | 49 | 0.013526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_293_1_line_53 |  | 48 | 58 | 0.12036 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_293_1_line_54 |  | 50 | 51 | 0.026607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_293_1_line_55 |  | 50 | 52 | 0.069275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_293_1_line_56 |  | 51 | 53 | 0.24677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_293_1_line_57 |  | 52 | 54 | 0.23127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_293_1_line_58 |  | 53 | 55 | 0.03049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_293_1_line_59 |  | 56 | 57 | 0.070611 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_293_1_line_60 |  | 57 | 58 | 1.3466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_293_1_line_61 |  | 60 | 61 | 0.0035271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_293_1_line_62 |  | 60 | 62 | 0.068886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_293_1_line_63 |  | 61 | 63 | 0.038592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_293_1_trafo_40 | 25 MVA 110/20 kV | 65 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2598826.2079 | 1244444.8704
1 | 2598415.5625 | 1244267.2034
2 | 2598914.5744 | 1244368.3153
3 | 2595317.9199 | 1243424.8042
4 | 2595314.9489 | 1243442.3954
5 | 2592867.6624 | 1241980.0701
6 | 2594734.7039 | 1242750.3774
7 | 2594695.4886 | 1243553.7282
8 | 2594731.2664 | 1243581.8691
9 | 2595136.4378 | 1243275.9145
10 | 2595093.1037 | 1243482.7585
11 | 2595059.9055 | 1243474.2589
12 | 2595618.9366 | 1244999.6297
13 | 2595146.5136 | 1243205.3618
14 | 2594721.1531 | 1242784.7778
15 | 2594675.7135 | 1242900.1691
16 | 2594988.9821 | 1243113.7151
17 | 2594968.3926 | 1243101.9699
18 | 2595577.2135 | 1241160.297
19 | 2595600.736 | 1241170.2418
20 | 2595627.2999 | 1241181.4724
21 | 2595609.7872 | 1241075.3153
22 | 2595610.3369 | 1241073.4513
23 | 2595674.7901 | 1241096.9733
24 | 2595614.9093 | 1241050.3079
25 | 2595659.5504 | 1241140.4253
26 | 2598026.5546 | 1241632.9072
27 | 2595616.3753 | 1241040.2594
28 | 2595614.4796 | 1241203.6028
29 | 2595425.8689 | 1242896.9762
30 | 2595300.9196 | 1242903.5462
31 | 2595116.9225 | 1242740.2504
32 | 2595550.2722 | 1241283.0383
33 | 2598184.1936 | 1241587.7601
34 | 2598180.6458 | 1241532.9937
35 | 2598160.322 | 1241522.2713
36 | 2598108.3496 | 1241571.3602
37 | 2597917.2739 | 1244186.6018
38 | 2597856.5992 | 1244191.7496
39 | 2597573.6456 | 1244148.9352
40 | 2597899.5433 | 1244423.7911
41 | 2597542.3874 | 1244136.3739
42 | 2597924.443 | 1244431.7204
43 | 2597464.0071 | 1244105.0214
44 | 2597455.5622 | 1244351.4471
45 | 2597412.1058 | 1244442.3153
46 | 2597303.7729 | 1244391.8304
47 | 2597339.0063 | 1244489.787
48 | 2595964.2914 | 1244856.234
49 | 2597351.1717 | 1244490.7598
50 | 2598171.2932 | 1244613.9176
51 | 2598161.9312 | 1244589.0049
52 | 2598115.9086 | 1244655.5842
53 | 2598222.4865 | 1244480.0392
54 | 2597970.5902 | 1244674.9017
55 | 2598249.8374 | 1244493.0497
56 | 2596512.2366 | 1245745.5871
57 | 2596453.3953 | 1245706.5535
58 | 2595971.25 | 1244976.3941
59 | 2595584.7701 | 1245057.0807
60 | 2595603.1297 | 1240945.8543
61 | 2595602.9111 | 1240942.334
62 | 2595615.3533 | 1241013.5993
63 | 2595602.3917 | 1240903.8073
64 | 2598311.0668 | 1244210.0531
65 | 2595425.8689 | 1242896.9762

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98242 | -0.35008 | 0 | 0
1 | 0.98261 | -0.3517 | 0 | 0
2 | 0.98235 | -0.35052 | 0.30044 | 0.14551
3 | 0.99632 | -0.18307 | 0.28495 | 0.13801
4 | 0.99632 | -0.18313 | 0 | 0
5 | 0.99483 | -0.19301 | 0.28767 | 0.13932
6 | 0.99596 | -0.18572 | 0 | 0
7 | 0.99627 | -0.17788 | 0.37824 | 0.18319
8 | 0.9963 | -0.17767 | 0 | 0
9 | 0.99671 | -0.18099 | 0 | 0
10 | 0.9966 | -0.18003 | 0 | 0
11 | 0.99658 | -0.17987 | 0.38892 | 0.18836
12 | 0.9937 | -0.33869 | 0 | 0
13 | 0.99679 | -0.18051 | 0.24322 | 0.1178
14 | 0.99597 | -0.18584 | 0.32539 | 0.1576
15 | 0.99612 | -0.18488 | 0 | 0
16 | 0.99671 | -0.181 | 0 | 0
17 | 0.99671 | -0.18094 | 0.21335 | 0.10333
18 | 0.98373 | -0.49614 | 0.22755 | 0.11021
19 | 0.98374 | -0.49621 | 0.080459 | 0.038968
20 | 0.98375 | -0.49632 | 0 | 0
21 | 0.9833 | -0.50099 | 2.36 | 1.143
22 | 0.98331 | -0.50105 | 0 | 0
23 | 0.98347 | -0.49932 | 0 | 0
24 | 0.98324 | -0.50047 | 1.0023 | 0.48543
25 | 0.98359 | -0.49805 | 0.096309 | 0.046645
26 | 0.98174 | -0.51197 | 0 | 0
27 | 0.98323 | -0.50035 | 0 | 0
28 | 0.98382 | -0.49555 | 0.10057 | 0.048706
29 | 1 | 0 | -10.2743 | -4.8579
30 | 0.99913 | -0.048548 | 0 | 0
31 | 0.99368 | -0.25625 | 0.31181 | 0.15101
32 | 0.98412 | -0.4924 | 0 | 0
33 | 0.98163 | -0.51099 | 0.29286 | 0.14184
34 | 0.98165 | -0.5112 | 0 | 0
35 | 0.98166 | -0.51128 | 0 | 0
36 | 0.98169 | -0.51153 | 0.074773 | 0.036214
37 | 0.98423 | -0.35411 | 0.1992 | 0.096475
38 | 0.98424 | -0.35425 | 0 | 0
39 | 0.98467 | -0.35757 | 0 | 0
40 | 0.98383 | -0.351 | 0 | 0
41 | 0.98472 | -0.35793 | 0.29949 | 0.14505
42 | 0.98379 | -0.35075 | 0.1584 | 0.076719
43 | 0.98488 | -0.35914 | 0 | 0
44 | 0.9854 | -0.36319 | 0 | 0
45 | 0.98567 | -0.36091 | 0.15484 | 0.07499
46 | 0.98607 | -0.36397 | 0.18904 | 0.091554
47 | 0.98586 | -0.36235 | 0 | 0
48 | 0.9909 | -0.32545 | 0.22841 | 0.11063
49 | 0.98583 | -0.36214 | 0 | 0
50 | 0.98314 | -0.35139 | 0.15915 | 0.077081
51 | 0.98312 | -0.35122 | 0 | 0
52 | 0.9832 | -0.35194 | 0 | 0
53 | 0.98292 | -0.34967 | 0 | 0
54 | 0.98343 | -0.35373 | 0 | 0
55 | 0.9829 | -0.34947 | 0.069316 | 0.033571
56 | 0.991 | -0.32012 | 0.20082 | 0.09726
57 | 0.99103 | -0.31995 | 0 | 0
58 | 0.99137 | -0.32185 | 0 | 0
59 | 0.99367 | -0.33844 | 0.31969 | 0.15483
60 | 0.98312 | -0.49931 | 0.21851 | 0.10583
61 | 0.98312 | -0.49929 | 0.27908 | 0.13516
62 | 0.9832 | -0.50004 | 0.12254 | 0.05935
63 | 0.9831 | -0.49911 | 0.35898 | 0.17386
64 | 0.98257 | -0.35136 | 0.23305 | 0.11287
65 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.30046 | -0.14539 | 0.30052 | 0.13424 | 6.1296e-05 | -0.011143 | 0.0098078 | 0.0096695 | 0.0098078 | 0.98242 | -0.35008 | 0.98261 | -0.3517 | 4.4581
1 | 0.30046 | 0.14539 | -0.30044 | -0.14551 | 2.0042e-05 | -0.00012215 | 0.0098078 | 0.0098096 | 0.0098096 | 0.98242 | -0.35008 | 0.98235 | -0.35052 | 4.6712
2 | -0.53357 | -0.24437 | 0.53372 | 0.24414 | 0.00014833 | -0.00023007 | 0.017241 | 0.017237 | 0.017241 | 0.98261 | -0.3517 | 0.9829 | -0.34947 | 8.2101
3 | 0.23306 | 0.11012 | -0.23305 | -0.11287 | 9.1705e-06 | -0.002746 | 0.0075727 | 0.0076076 | 0.0076076 | 0.98261 | -0.3517 | 0.98257 | -0.35136 | 3.458
4 | -0.28495 | -0.13801 | 0.28495 | 0.13758 | 2.0031e-06 | -0.00042225 | 0.0091734 | 0.0091681 | 0.0091734 | 0.99632 | -0.18307 | 0.99632 | -0.18313 | 4.1697
5 | -2.819 | -1.2561 | 2.82 | 1.2305 | 0.0010325 | -0.025584 | 0.089419 | 0.089113 | 0.089419 | 0.99632 | -0.18313 | 0.99671 | -0.18099 | 14.0155
6 | 2.5341 | 1.1185 | -2.5304 | -1.1108 | 0.0036495 | 0.0076423 | 0.080255 | 0.080281 | 0.080281 | 0.99632 | -0.18313 | 0.9937 | -0.33869 | 12.4466
7 | -0.28767 | -0.13932 | 0.28797 | 0.13713 | 0.00030855 | -0.0021957 | 0.0092748 | 0.0092448 | 0.0092748 | 0.99483 | -0.19301 | 0.99596 | -0.18572 | 4.4166
8 | -0.28797 | -0.13713 | 0.28798 | 0.13625 | 4.2124e-06 | -0.00087418 | 0.0092448 | 0.0092339 | 0.0092448 | 0.99596 | -0.18572 | 0.99597 | -0.18584 | 4.2022
9 | -0.37824 | -0.18319 | 0.37825 | 0.18314 | 1.2026e-05 | -4.6405e-05 | 0.012177 | 0.012177 | 0.012177 | 0.99627 | -0.17788 | 0.9963 | -0.17767 | 5.7988
10 | -0.37825 | -0.18314 | 0.37841 | 0.16309 | 0.00016443 | -0.020054 | 0.012177 | 0.011934 | 0.012177 | 0.9963 | -0.17767 | 0.99671 | -0.18099 | 5.5349
11 | -3.5874 | -1.576 | 3.5877 | 1.5717 | 0.00028358 | -0.0042904 | 0.11349 | 0.11344 | 0.11349 | 0.99671 | -0.18099 | 0.99679 | -0.18051 | 17.7879
12 | 0.38898 | 0.18248 | -0.38893 | -0.18756 | 4.4547e-05 | -0.0050716 | 0.012444 | 0.012507 | 0.012507 | 0.99671 | -0.18099 | 0.9966 | -0.18003 | 5.6851
13 | 0.38893 | 0.18756 | -0.38892 | -0.18836 | 7.1427e-06 | -0.00080827 | 0.012507 | 0.012518 | 0.012518 | 0.9966 | -0.18003 | 0.99658 | -0.17987 | 5.6898
14 | 0.3197 | 0.15326 | -0.31969 | -0.15483 | 9.4778e-06 | -0.001572 | 0.0103 | 0.010319 | 0.010319 | 0.9937 | -0.33869 | 0.99367 | -0.33844 | 4.6906
15 | 2.2107 | 0.95756 | -2.2052 | -0.97558 | 0.0054783 | -0.018016 | 0.069988 | 0.070217 | 0.070217 | 0.9937 | -0.33869 | 0.99137 | -0.32185 | 31.9167
16 | 5.5844 | 2.7148 | -5.5706 | -2.6995 | 0.013836 | 0.015245 | 0.17983 | 0.17983 | 0.17983 | 0.99679 | -0.18051 | 0.99368 | -0.25625 | 51.3808
17 | 0.61385 | 0.29333 | -0.61346 | -0.29376 | 0.00038823 | -0.00042189 | 0.019703 | 0.019711 | 0.019711 | 0.99679 | -0.18051 | 0.99612 | -0.18488 | 9.3862
18 | 0.21336 | 0.10256 | -0.21335 | -0.10277 | 1.5269e-05 | -0.0002066 | 0.0068559 | 0.0068586 | 0.0068586 | 0.99679 | -0.18051 | 0.99671 | -0.181 | 3.266
19 | -10.2426 | -4.8002 | 10.2555 | 4.8347 | 0.012988 | 0.034459 | 0.32759 | 0.32758 | 0.32759 | 0.99679 | -0.18051 | 0.99913 | -0.048548 | 50.7891
20 | -0.61337 | -0.29385 | 0.61346 | 0.29376 | 8.5857e-05 | -9.3105e-05 | 0.019713 | 0.019711 | 0.019713 | 0.99597 | -0.18584 | 0.99612 | -0.18488 | 9.3871
21 | 0.21335 | 0.10277 | -0.21335 | -0.10333 | 1.4869e-06 | -0.00056057 | 0.0068586 | 0.0068657 | 0.0068657 | 0.99671 | -0.181 | 0.99671 | -0.18094 | 3.1208
22 | -0.22755 | -0.11021 | 0.22755 | 0.10962 | 1.8749e-06 | -0.00058953 | 0.0074194 | 0.0074119 | 0.0074194 | 0.98373 | -0.49614 | 0.98374 | -0.49621 | 3.3724
23 | -0.30801 | -0.14859 | 0.30802 | 0.14792 | 3.8741e-06 | -0.00066524 | 0.010035 | 0.010027 | 0.010035 | 0.98374 | -0.49621 | 0.98375 | -0.49632 | 4.5615
24 | -5.1162 | -2.4586 | 5.1166 | 2.458 | 0.00034271 | -0.00060014 | 0.16657 | 0.16656 | 0.16657 | 0.98375 | -0.49632 | 0.98382 | -0.49555 | 46.0131
25 | 4.8082 | 2.3107 | -4.8075 | -2.3122 | 0.00072669 | -0.0015097 | 0.15654 | 0.15657 | 0.15657 | 0.98375 | -0.49632 | 0.98359 | -0.49805 | 43.2504
26 | -2.36 | -1.143 | 2.36 | 1.143 | 1.5375e-05 | -4.0302e-05 | 0.076983 | 0.076983 | 0.076983 | 0.9833 | -0.50099 | 0.98331 | -0.50105 | 34.9924
27 | -4.3417 | -2.0987 | 4.3424 | 2.0969 | 0.00066235 | -0.001789 | 0.14157 | 0.14154 | 0.14157 | 0.98331 | -0.50105 | 0.98347 | -0.49932 | 39.1084
28 | 1.9817 | 0.95575 | -1.9815 | -0.95626 | 0.00013182 | -0.00050721 | 0.06459 | 0.064597 | 0.064597 | 0.98331 | -0.50105 | 0.98324 | -0.50047 | 29.3621
29 | -4.7106 | -2.2667 | 4.7112 | 2.2656 | 0.00052386 | -0.0011482 | 0.15345 | 0.15343 | 0.15345 | 0.98347 | -0.49932 | 0.98359 | -0.49805 | 42.3882
30 | 0.36828 | 0.1698 | -0.36767 | -0.1722 | 0.00061072 | -0.0023977 | 0.011904 | 0.011938 | 0.011938 | 0.98347 | -0.49932 | 0.98174 | -0.51197 | 5.6848
31 | 0.97924 | 0.47083 | -0.97922 | -0.47106 | 1.3797e-05 | -0.00023031 | 0.0319 | 0.031903 | 0.031903 | 0.98324 | -0.50047 | 0.98323 | -0.50035 | 14.5016
32 | 0.36767 | 0.1722 | -0.36765 | -0.17455 | 1.9525e-05 | -0.0023497 | 0.011938 | 0.011968 | 0.011968 | 0.98174 | -0.51197 | 0.98169 | -0.51153 | 5.4399
33 | 0.97922 | 0.47106 | -0.97919 | -0.47167 | 3.6306e-05 | -0.0006058 | 0.031903 | 0.031911 | 0.031911 | 0.98323 | -0.50035 | 0.9832 | -0.50004 | 14.5051
34 | -5.2171 | -2.5067 | 5.2186 | 2.5044 | 0.001436 | -0.002381 | 0.16984 | 0.16979 | 0.16984 | 0.98382 | -0.49555 | 0.98412 | -0.4924 | 46.9158
35 | 10.2603 | 4.8474 | -10.2555 | -4.8347 | 0.0047934 | 0.012717 | 0.32758 | 0.32758 | 0.32758 | 1 | 0 | 0.99913 | -0.048548 | 50.7882
36 | 5.2588 | 2.5485 | -5.2186 | -2.5044 | 0.040229 | 0.044145 | 0.16977 | 0.16979 | 0.16979 | 0.99368 | -0.25625 | 0.98412 | -0.4924 | 48.512
37 | -0.29286 | -0.14184 | 0.29287 | 0.14052 | 6.9973e-06 | -0.0013172 | 0.0095693 | 0.0095524 | 0.0095693 | 0.98163 | -0.51099 | 0.98165 | -0.5112 | 4.3497
38 | -0.29287 | -0.14052 | 0.29287 | 0.13999 | 2.7908e-06 | -0.00052666 | 0.0095524 | 0.0095457 | 0.0095524 | 0.98165 | -0.5112 | 0.98166 | -0.51128 | 4.342
39 | -0.29287 | -0.13999 | 0.29288 | 0.13833 | 8.7722e-06 | -0.0016603 | 0.0095457 | 0.0095247 | 0.0095457 | 0.98166 | -0.51128 | 0.98169 | -0.51153 | 4.339
40 | -0.1992 | -0.096475 | 0.1992 | 0.095071 | 3.4066e-06 | -0.0014034 | 0.0064916 | 0.0064737 | 0.0064916 | 0.98423 | -0.35411 | 0.98424 | -0.35425 | 2.9507
41 | -1.1209 | -0.50396 | 1.1214 | 0.49718 | 0.00051917 | -0.0067881 | 0.036046 | 0.035963 | 0.036046 | 0.98424 | -0.35425 | 0.98467 | -0.35757 | 16.3844
42 | 0.9217 | 0.40889 | -0.92129 | -0.41696 | 0.00041506 | -0.0080682 | 0.029574 | 0.029672 | 0.029672 | 0.98424 | -0.35425 | 0.98383 | -0.351 | 13.4874
43 | -1.1214 | -0.49718 | 1.1215 | 0.49642 | 5.8003e-05 | -0.00076074 | 0.035963 | 0.035953 | 0.035963 | 0.98467 | -0.35757 | 0.98472 | -0.35793 | 16.3466
44 | 0.92129 | 0.41696 | -0.92126 | -0.41756 | 3.0742e-05 | -0.00059514 | 0.029672 | 0.02968 | 0.02968 | 0.98383 | -0.351 | 0.98379 | -0.35075 | 13.4907
45 | -1.421 | -0.64146 | 1.4212 | 0.63958 | 0.00023469 | -0.0018802 | 0.045704 | 0.04568 | 0.045704 | 0.98472 | -0.35793 | 0.98488 | -0.35914 | 20.7745
46 | 0.76285 | 0.34084 | -0.76259 | -0.34096 | 0.00026512 | -0.00011982 | 0.024517 | 0.02452 | 0.02452 | 0.98379 | -0.35075 | 0.98343 | -0.35373 | 11.6764
47 | -1.4212 | -0.63958 | 1.422 | 0.63317 | 0.00079758 | -0.0064092 | 0.04568 | 0.045601 | 0.04568 | 0.98488 | -0.35914 | 0.9854 | -0.36319 | 20.7638
48 | -1.422 | -0.63317 | 1.4224 | 0.63329 | 0.00037317 | 0.00011695 | 0.045601 | 0.045599 | 0.045601 | 0.9854 | -0.36319 | 0.98567 | -0.36091 | 21.7147
49 | -1.5772 | -0.70828 | 1.5775 | 0.70655 | 0.00026634 | -0.0017271 | 0.050636 | 0.050614 | 0.050636 | 0.98567 | -0.36091 | 0.98583 | -0.36214 | 23.0162
50 | 1.5779 | 0.70394 | -1.5775 | -0.70625 | 0.00035668 | -0.0023166 | 0.050581 | 0.05061 | 0.05061 | 0.98607 | -0.36397 | 0.98586 | -0.36235 | 23.0047
51 | -1.7669 | -0.79549 | 1.775 | 0.79893 | 0.0081256 | 0.0034359 | 0.056728 | 0.056708 | 0.056728 | 0.98607 | -0.36397 | 0.9909 | -0.32545 | 27.0132
52 | 1.5775 | 0.70625 | -1.5775 | -0.70655 | 4.6255e-05 | -0.00030015 | 0.05061 | 0.050614 | 0.050614 | 0.98586 | -0.36235 | 0.98583 | -0.36214 | 23.0064
53 | -2.0034 | -0.90955 | 2.0043 | 0.90996 | 0.00088107 | 0.00041072 | 0.064099 | 0.064097 | 0.064099 | 0.9909 | -0.32545 | 0.99137 | -0.32185 | 30.5233
54 | 0.60319 | 0.27074 | -0.60318 | -0.27135 | 1.3392e-05 | -0.00061004 | 0.019414 | 0.019421 | 0.019421 | 0.98314 | -0.35139 | 0.98312 | -0.35122 | 8.8277
55 | -0.76234 | -0.34782 | 0.7624 | 0.34624 | 5.5942e-05 | -0.0015822 | 0.024604 | 0.024585 | 0.024604 | 0.98314 | -0.35139 | 0.9832 | -0.35194 | 11.1838
56 | 0.60318 | 0.27135 | -0.60305 | -0.27701 | 0.0001247 | -0.0056565 | 0.019421 | 0.01949 | 0.01949 | 0.98312 | -0.35122 | 0.98292 | -0.34967 | 8.8592
57 | -0.7624 | -0.34624 | 0.76259 | 0.34096 | 0.00018612 | -0.0052839 | 0.024585 | 0.02452 | 0.024585 | 0.9832 | -0.35194 | 0.98343 | -0.35373 | 11.1749
58 | 0.60305 | 0.27701 | -0.60304 | -0.27771 | 1.5469e-05 | -0.00069872 | 0.01949 | 0.019499 | 0.019499 | 0.98292 | -0.34967 | 0.9829 | -0.34947 | 8.8631
59 | -0.20082 | -0.09726 | 0.20082 | 0.09718 | 5.314e-06 | -7.9459e-05 | 0.0064997 | 0.0064986 | 0.0064997 | 0.991 | -0.32012 | 0.99103 | -0.31995 | 3.0951
60 | -0.20082 | -0.09718 | 0.20089 | 0.065615 | 7.1619e-05 | -0.031566 | 0.0064986 | 0.0061539 | 0.0064986 | 0.99103 | -0.31995 | 0.99137 | -0.32185 | 2.9539
61 | 0.63807 | 0.30806 | -0.63807 | -0.30814 | 2.0382e-06 | -8.079e-05 | 0.020805 | 0.020806 | 0.020806 | 0.98312 | -0.49931 | 0.98312 | -0.49929 | 9.4573
62 | -0.85657 | -0.41388 | 0.85665 | 0.41232 | 7.1706e-05 | -0.0015685 | 0.027934 | 0.027914 | 0.027934 | 0.98312 | -0.49931 | 0.9832 | -0.50004 | 12.6972
63 | 0.35899 | 0.17297 | -0.35898 | -0.17386 | 7.0605e-06 | -0.00088846 | 0.011701 | 0.011712 | 0.011712 | 0.98312 | -0.49929 | 0.9831 | -0.49911 | 5.3238

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.4277 | 4.9322

## res_load
| p_mw | q_mvar
0 | 0.30044 | 0.14551
1 | 0.28495 | 0.13801
2 | 0.28767 | 0.13932
3 | 0.37824 | 0.18319
4 | 0.38892 | 0.18836
5 | 0.24322 | 0.1178
6 | 0.32539 | 0.1576
7 | 0.21335 | 0.10333
8 | 0.22755 | 0.11021
9 | 0.080459 | 0.038968
10 | 2.36 | 1.143
11 | 1.0023 | 0.48543
12 | 0.096309 | 0.046645
13 | 0.10057 | 0.048706
14 | 0.15335 | 0.074273
15 | 0.31181 | 0.15101
16 | 0.29286 | 0.14184
17 | 0.074773 | 0.036214
18 | 0.1992 | 0.096475
19 | 0.29949 | 0.14505
20 | 0.1584 | 0.076719
21 | 0.15484 | 0.07499
22 | 0.18904 | 0.091554
23 | 0.22841 | 0.11063
24 | 0.15915 | 0.077081
25 | 0.069316 | 0.033571
26 | 0.20082 | 0.09726
27 | 0.31969 | 0.15483
28 | 0.21851 | 0.10583
29 | 0.27908 | 0.13516
30 | 0.12254 | 0.05935
31 | 0.35898 | 0.17386
32 | 0.23305 | 0.11287

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1