## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_298_1_node_35 | 20 | n |  | TRUE
1 | bus_MV_298_1_node_31 | 20 | n |  | TRUE
2 | bus_MV_298_1_node_34 | 20 | n |  | TRUE
3 | bus_MV_298_1_node_124 | 20 | n |  | TRUE
4 | bus_MV_298_1_node_5 | 20 | n |  | TRUE
5 | bus_MV_298_1_node_6 | 20 | n |  | TRUE
6 | bus_MV_298_1_node_7 | 20 | n |  | TRUE
7 | bus_MV_298_1_node_13 | 20 | n |  | TRUE
8 | bus_MV_298_1_node_11 | 20 | n |  | TRUE
9 | bus_MV_298_1_node_135 | 20 | n |  | TRUE
10 | bus_MV_298_1_node_136 | 20 | n |  | TRUE
11 | bus_MV_298_1_node_8 | 20 | n |  | TRUE
12 | bus_MV_298_1_node_9 | 20 | n |  | TRUE
13 | bus_MV_298_1_node_10 | 20 | n |  | TRUE
14 | bus_MV_298_1_node_52 | 20 | n |  | TRUE
15 | bus_MV_298_1_node_12 | 20 | n |  | TRUE
16 | bus_MV_298_1_node_20 | 20 | n |  | TRUE
17 | bus_MV_298_1_node_115 | 20 | n |  | TRUE
18 | bus_MV_298_1_node_14 | 20 | n |  | TRUE
19 | bus_MV_298_1_node_18 | 20 | n |  | TRUE
20 | bus_MV_298_1_node_116 | 20 | n |  | TRUE
21 | bus_MV_298_1_node_15 | 20 | n |  | TRUE
22 | bus_MV_298_1_node_16 | 20 | n |  | TRUE
23 | bus_MV_298_1_node_17 | 20 | n |  | TRUE
24 | bus_MV_298_1_node_139 | 20 | n |  | TRUE
25 | bus_MV_298_1_node_140 | 20 | n |  | TRUE
26 | bus_MV_298_1_node_30 | 20 | n |  | TRUE
27 | bus_MV_298_1_node_19 | 20 | n |  | TRUE
28 | bus_MV_298_1_node_21 | 20 | n |  | TRUE
29 | bus_MV_298_1_node_22 | 20 | n |  | TRUE
30 | bus_MV_298_1_node_141 | 20 | n |  | TRUE
31 | bus_MV_298_1_node_23 | 20 | n |  | TRUE
32 | bus_MV_298_1_node_138 | 20 | n |  | TRUE
33 | bus_MV_298_1_node_25 | 20 | n |  | TRUE
34 | bus_MV_298_1_node_26 | 20 | n |  | TRUE
35 | bus_MV_298_1_node_27 | 20 | n |  | TRUE
36 | bus_MV_298_1_node_28 | 20 | n |  | TRUE
37 | bus_MV_298_1_node_29 | 20 | n |  | TRUE
38 | bus_MV_298_1_node_33 | 20 | n |  | TRUE
39 | bus_MV_298_1_node_32 | 20 | n |  | TRUE
40 | bus_MV_298_1_node_125 | 20 | n |  | TRUE
41 | bus_MV_298_1_node_36 | 20 | n |  | TRUE
42 | bus_MV_298_1_node_133 | 20 | n |  | TRUE
43 | bus_MV_298_1_node_39 | 20 | n |  | TRUE
44 | bus_MV_298_1_node_40 | 20 | n |  | TRUE
45 | bus_MV_298_1_node_42 | 20 | n |  | TRUE
46 | bus_MV_298_1_node_97 | 20 | n |  | TRUE
47 | bus_MV_298_1_node_98 | 20 | n |  | TRUE
48 | bus_MV_298_1_node_41 | 20 | n |  | TRUE
49 | bus_MV_298_1_node_109 | 20 | n |  | TRUE
50 | bus_MV_298_1_node_110 | 20 | n |  | TRUE
51 | bus_MV_298_1_node_111 | 20 | n |  | TRUE
52 | bus_MV_298_1_node_43 | 20 | n |  | TRUE
53 | bus_MV_298_1_node_45 | 20 | n |  | TRUE
54 | bus_MV_298_1_node_44 | 20 | n |  | TRUE
55 | bus_MV_298_1_node_46 | 20 | n |  | TRUE
56 | bus_MV_298_1_node_51 | 20 | n |  | TRUE
57 | bus_MV_298_1_node_114 | 20 | n |  | TRUE
58 | bus_MV_298_1_node_103 | 20 | n |  | TRUE
59 | bus_MV_298_1_node_50 | 20 | n |  | TRUE
60 | bus_MV_298_1_node_47 | 20 | n |  | TRUE
61 | bus_MV_298_1_node_49 | 20 | n |  | TRUE
62 | bus_MV_298_1_node_48 | 20 | n |  | TRUE
63 | bus_MV_298_1_node_104 | 20 | n |  | TRUE
64 | bus_MV_298_1_node_53 | 20 | n |  | TRUE
65 | bus_MV_298_1_node_55 | 20 | n |  | TRUE
66 | bus_MV_298_1_node_54 | 20 | n |  | TRUE
67 | bus_MV_298_1_node_58 | 20 | n |  | TRUE
68 | bus_MV_298_1_node_59 | 20 | n |  | TRUE
69 | bus_MV_298_1_node_134 | 20 | n |  | TRUE
70 | bus_MV_298_1_node_62 | 20 | n |  | TRUE
71 | bus_MV_298_1_node_60 | 20 | n |  | TRUE
72 | bus_MV_298_1_node_61 | 20 | n |  | TRUE
73 | bus_MV_298_1_node_137 | 20 | n |  | TRUE
74 | bus_MV_298_1_node_102 | 20 | n |  | TRUE
75 | bus_MV_298_1_node_101 | 20 | n |  | TRUE
76 | bus_MV_298_1_node_113 | 20 | n |  | TRUE
77 | bus_MV_298_1_node_100 | 20 | n |  | TRUE
78 | bus_MV_298_1_node_120 | 20 | n |  | TRUE
79 | bus_MV_298_1_node_108 | 20 | n |  | TRUE
80 | bus_MV_298_1_node_63 | 20 | n |  | TRUE
81 | bus_MV_298_1_node_91 | 20 | n |  | TRUE
82 | bus_MV_298_1_node_87 | 20 | n |  | TRUE
83 | bus_MV_298_1_node_89 | 20 | n |  | TRUE
84 | bus_MV_298_1_node_121 | 20 | n |  | TRUE
85 | bus_MV_298_1_node_99 | 20 | n |  | TRUE
86 | bus_MV_298_1_node_117 | 20 | n |  | TRUE
87 | bus_MV_298_1_node_118 | 20 | n |  | TRUE
88 | bus_MV_298_1_node_105 | 20 | n |  | TRUE
89 | bus_MV_298_1_node_106 | 20 | n |  | TRUE
90 | bus_MV_298_1_node_107 | 20 | n |  | TRUE
91 | bus_MV_298_1_node_119 | 20 | n |  | TRUE
92 | bus_MV_298_1_node_112 | 20 | n |  | TRUE
93 | bus_HV_298_1_node_54 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_298_1_load_34 | 2 | 0.36699 | 0.17774 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_298_1_load_124 | 3 | 0.40436 | 0.19584 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_298_1_load_5 | 4 | 0.10416 | 0.050447 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_298_1_load_13 | 7 | 0.20098 | 0.097341 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_298_1_load_135 | 9 | 0.31634 | 0.15321 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_298_1_load_8 | 11 | 0.26816 | 0.12988 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_298_1_load_52 | 14 | 0.26256 | 0.12717 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_298_1_load_115 | 17 | 0.093564 | 0.045315 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_298_1_load_14 | 18 | 0.26887 | 0.13022 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_298_1_load_18 | 19 | 0.36984 | 0.17912 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_298_1_load_116 | 20 | 0.092948 | 0.045017 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_298_1_load_139 | 24 | 0.21015 | 0.10178 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_298_1_load_140 | 25 | 0.31004 | 0.15016 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_298_1_load_141 | 30 | 0.27953 | 0.13538 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_298_1_load_138 | 32 | 0.38677 | 0.18732 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_298_1_load_25 | 33 | 0.12663 | 0.061329 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_298_1_load_26 | 34 | 0.08426 | 0.040809 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_298_1_load_32 | 39 | 0.2815 | 0.13634 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_298_1_load_125 | 40 | 0.35545 | 0.17215 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_298_1_load_36 | 41 | 0.291 | 0.14094 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_298_1_load_133 | 42 | 0.39229 | 0.19 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_298_1_load_97 | 46 | 0.072092 | 0.034916 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_298_1_load_98 | 47 | 0.072161 | 0.034949 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_298_1_load_41 | 48 | 0.10388 | 0.050311 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_298_1_load_109 | 49 | 0.06824 | 0.03305 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_298_1_load_110 | 50 | 0.23948 | 0.11599 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_298_1_load_43 | 52 | 0.19414 | 0.094026 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_298_1_load_44 | 54 | 0.16205 | 0.078485 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_298_1_load_114 | 57 | 0.25926 | 0.12556 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_298_1_load_103 | 58 | 0.54627 | 0.26457 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_298_1_load_50 | 59 | 1.7718 | 0.85813 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_298_1_load_47 | 60 | 0.2002 | 0.096961 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_298_1_load_49 | 61 | 0.37042 | 0.1794 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_298_1_load_53 | 64 | 0.38164 | 0.18484 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_298_1_load_134 | 69 | 0.25591 | 0.12394 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_298_1_load_61 | 72 | 0.20944 | 0.10144 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_298_1_load_137 | 73 | 0.17594 | 0.085214 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_298_1_load_113 | 76 | 0.63601 | 0.30803 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_298_1_load_120 | 78 | 0.9028 | 0.43725 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_298_1_load_108 | 79 | 0.34609 | 0.16762 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_298_1_load_63 | 80 | 0.17109 | 0.082861 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_298_1_load_91 | 81 | 0.071512 | 0.034635 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_298_1_load_87 | 82 | 0.20299 | 0.098314 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_298_1_load_121 | 84 | 0.13459 | 0.065184 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_298_1_load_99 | 85 | 0.24726 | 0.11975 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_298_1_load_117 | 86 | 0.3156 | 0.15285 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_298_1_load_106 | 89 | 0.10478 | 0.050747 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_298_1_load_107 | 90 | 0.23157 | 0.11216 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_298_1_load_119 | 91 | 0.22699 | 0.10993 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_298_1_load_112 | 92 | 0.11675 | 0.056544 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_298_1_line_0 |  | 0 | 1 | 0.79504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_298_1_line_1 |  | 0 | 2 | 0.035894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_298_1_line_2 |  | 1 | 3 | 0.006898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_298_1_line_3 |  | 1 | 36 | 1.2782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_298_1_line_4 |  | 4 | 5 | 0.037555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_298_1_line_5 |  | 5 | 6 | 0.37045 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
6 | MV_298_1_line_6 |  | 5 | 7 | 0.20855 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
7 | MV_298_1_line_7 |  | 6 | 9 | 0.040369 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_298_1_line_8 |  | 7 | 8 | 0.022738 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
9 | MV_298_1_line_9 |  | 8 | 15 | 0.26243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_298_1_line_10 |  | 8 | 12 | 0.45073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_298_1_line_11 |  | 9 | 10 | 0.067454 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_298_1_line_12 |  | 10 | 68 | 0.002946 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
13 | MV_298_1_line_13 |  | 11 | 12 | 0.050289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_298_1_line_14 |  | 12 | 13 | 0.097243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_298_1_line_15 |  | 13 | 14 | 0.047306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_298_1_line_16 |  | 15 | 16 | 0.22407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_298_1_line_17 |  | 15 | 17 | 0.030007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_298_1_line_18 |  | 15 | 18 | 0.2682 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_298_1_line_19 |  | 16 | 19 | 0.031973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_298_1_line_20 |  | 17 | 20 | 0.0015298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_298_1_line_21 |  | 18 | 21 | 0.082865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_298_1_line_22 |  | 19 | 27 | 0.019399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_298_1_line_23 |  | 21 | 22 | 0.183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_298_1_line_24 |  | 21 | 23 | 0.31887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_298_1_line_25 |  | 22 | 24 | 0.077694 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_298_1_line_26 |  | 23 | 25 | 0.03412 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_298_1_line_27 |  | 24 | 26 | 0.01807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_298_1_line_28 |  | 26 | 35 | 0.20123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_298_1_line_29 |  | 26 | 37 | 0.34609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_298_1_line_30 |  | 27 | 28 | 0.1694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_298_1_line_31 |  | 27 | 29 | 0.63996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_298_1_line_32 |  | 28 | 30 | 0.024633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_298_1_line_33 |  | 29 | 31 | 0.55683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_298_1_line_34 |  | 29 | 32 | 0.046903 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_298_1_line_35 |  | 31 | 33 | 0.042958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_298_1_line_36 |  | 34 | 35 | 0.00993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_298_1_line_37 |  | 34 | 36 | 0.077418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_298_1_line_38 |  | 37 | 38 | 0.12069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_298_1_line_39 |  | 37 | 39 | 0.06922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_298_1_line_40 |  | 38 | 40 | 0.083703 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_298_1_line_41 |  | 41 | 42 | 0.40868 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_298_1_line_42 |  | 42 | 71 | 0.025845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_298_1_line_43 |  | 43 | 44 | 0.082581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_298_1_line_44 |  | 43 | 45 | 0.20694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_298_1_line_45 |  | 43 | 46 | 0.010942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_298_1_line_46 |  | 44 | 47 | 0.049546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_298_1_line_47 |  | 45 | 48 | 0.11232 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_298_1_line_48 |  | 48 | 49 | 0.24471 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_298_1_line_49 |  | 49 | 50 | 0.039813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_298_1_line_50 |  | 50 | 51 | 0.048682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_298_1_line_51 |  | 51 | 92 | 0.044979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_298_1_line_52 |  | 51 | 76 | 0.12525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_298_1_line_53 |  | 52 | 53 | 0.065621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_298_1_line_54 |  | 52 | 54 | 0.19698 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_298_1_line_55 |  | 53 | 55 | 0.056074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_298_1_line_56 |  | 55 | 56 | 0.262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_298_1_line_57 |  | 55 | 57 | 0.19098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_298_1_line_58 |  | 56 | 58 | 0.14824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_298_1_line_59 |  | 56 | 59 | 0.083393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_298_1_line_60 |  | 58 | 63 | 0.029206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_298_1_line_61 |  | 59 | 62 | 0.1492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_298_1_line_62 |  | 60 | 61 | 0.052671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_298_1_line_63 |  | 60 | 62 | 0.081226 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_298_1_line_64 |  | 63 | 88 | 0.006113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_298_1_line_65 |  | 63 | 89 | 0.030622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_298_1_line_66 |  | 64 | 65 | 0.025372 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_298_1_line_67 |  | 64 | 66 | 0.07996 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
68 | MV_298_1_line_68 |  | 65 | 67 | 0.32439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_298_1_line_69 |  | 65 | 68 | 0.3357 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
70 | MV_298_1_line_70 |  | 65 | 69 | 0.33285 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
71 | MV_298_1_line_71 |  | 67 | 70 | 0.19205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_298_1_line_72 |  | 67 | 71 | 0.36382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_298_1_line_73 |  | 67 | 72 | 0.019532 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_298_1_line_74 |  | 68 | 73 | 0.035314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_298_1_line_75 |  | 69 | 74 | 0.076052 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
76 | MV_298_1_line_76 |  | 70 | 80 | 0.034315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_298_1_line_77 |  | 74 | 77 | 0.1543 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
78 | MV_298_1_line_78 |  | 75 | 76 | 0.11173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_298_1_line_79 |  | 75 | 77 | 0.19795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_298_1_line_80 |  | 77 | 86 | 0.1402 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
81 | MV_298_1_line_81 |  | 78 | 79 | 0.032977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_298_1_line_82 |  | 79 | 88 | 0.054686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_298_1_line_83 |  | 80 | 81 | 0.86554 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_298_1_line_84 |  | 81 | 84 | 0.32788 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_298_1_line_85 |  | 81 | 83 | 0.12688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_298_1_line_86 |  | 82 | 83 | 0.21607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_298_1_line_87 |  | 85 | 86 | 0.088803 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_298_1_line_88 |  | 86 | 87 | 0.048863 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
89 | MV_298_1_line_89 |  | 87 | 91 | 0.006793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_298_1_line_90 |  | 87 | 90 | 0.025947 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
91 | MV_298_1_line_91 |  | 88 | 90 | 0.0558 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_298_1_trafo_54 | 25 MVA 110/20 kV | 93 | 66 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2630598.7985 | 1266910.0985
1 | 2631121.1508 | 1266901.6602
2 | 2630621.2254 | 1266937.2115
3 | 2631127.1681 | 1266898.256
4 | 2630559.7365 | 1268161.8656
5 | 2630526.716 | 1268143.7934
6 | 2630293.1155 | 1268182.91
7 | 2630435.9439 | 1267956.0293
8 | 2630447.2496 | 1267936.3027
9 | 2630275.297 | 1268219.1335
10 | 2630246.1169 | 1268279.9833
11 | 2630677.2527 | 1267890.5467
12 | 2630722.823 | 1267868.9899
13 | 2630808.9027 | 1267823.794
14 | 2630850.5063 | 1267801.05
15 | 2630369.3882 | 1267727.376
16 | 2630219.3739 | 1267769.6717
17 | 2630350.7393 | 1267750.7382
18 | 2630596.7445 | 1267585.1012
19 | 2630200.8238 | 1267795.7511
20 | 2630349.5392 | 1267751.6869
21 | 2630650.8314 | 1267522.4809
22 | 2630646.8737 | 1267394.4025
23 | 2630440.9393 | 1267388.5691
24 | 2630643.0004 | 1267316.8051
25 | 2630430.0772 | 1267420.914
26 | 2630656.8277 | 1267305.1239
27 | 2630189.4549 | 1267811.3042
28 | 2630188.9095 | 1267980.0884
29 | 2629890.3906 | 1267830.5112
30 | 2630188.4 | 1268004.7145
31 | 2629852.2909 | 1267496.7925
32 | 2629887.8058 | 1267877.3426
33 | 2629880.5298 | 1267464.4211
34 | 2630822.0788 | 1267328.8545
35 | 2630812.6492 | 1267325.6587
36 | 2630895.2742 | 1267305.1081
37 | 2630836.6454 | 1267135.0037
38 | 2630937.0601 | 1267068.3803
39 | 2630876.3422 | 1267191.5174
40 | 2631012.8799 | 1267032.9185
41 | 2630124.0647 | 1269287.4614
42 | 2630025.5678 | 1268890.8303
43 | 2630350.7986 | 1269549.8398
44 | 2630294.1587 | 1269567.1842
45 | 2630482.4241 | 1269468.2689
46 | 2630360.0545 | 1269555.6756
47 | 2630335.9421 | 1269593.8112
48 | 2630538.1854 | 1269370.7642
49 | 2630758.6858 | 1269264.6452
50 | 2630769.7929 | 1269226.4133
51 | 2630783.3745 | 1269179.6642
52 | 2631302.4402 | 1269097.5173
53 | 2631255.5639 | 1269051.5031
54 | 2631318.3883 | 1269293.8512
55 | 2631226.6369 | 1269003.4159
56 | 2630997.0502 | 1268888.1595
57 | 2631131.786 | 1268837.6514
58 | 2630866.591 | 1268817.7636
59 | 2631037.9657 | 1268815.4937
60 | 2630938.19 | 1268665.581
61 | 2630916.503 | 1268713.5799
62 | 2631012.2115 | 1268699.0257
63 | 2630840.8881 | 1268803.8943
64 | 2630358.5188 | 1268522.2875
65 | 2630345.0657 | 1268543.8228
66 | 2630438.1592 | 1268515.147
67 | 2630145.0127 | 1268571.6092
68 | 2630244.8766 | 1268282.6567
69 | 2630442.0616 | 1268862.2265
70 | 2630011.9883 | 1268479.5006
71 | 2630032.4893 | 1268865.9254
72 | 2630126.502 | 1268565.3771
73 | 2630212.6047 | 1268268.2482
74 | 2630516.0773 | 1268879.7092
75 | 2630570.2531 | 1269078.3978
76 | 2630667.269 | 1269133.4399
77 | 2630622.9734 | 1268887.6004
78 | 2630758.0547 | 1268759.9361
79 | 2630787.2538 | 1268775.2616
80 | 2630007.2521 | 1268512.6558
81 | 2629145.0824 | 1268588.9574
82 | 2628922.654 | 1268701.947
83 | 2629138.942 | 1268715.6732
84 | 2628908.15 | 1268362.3115
85 | 2630762.5782 | 1268969.7961
86 | 2630763.0158 | 1268880.9937
87 | 2630796.0895 | 1268872.1988
88 | 2630835.675 | 1268800.676
89 | 2630825.6241 | 1268830.4411
90 | 2630808.6541 | 1268849.4972
91 | 2630792.876 | 1268878.1836
92 | 2630824.6929 | 1269197.4374
93 | 2630438.1592 | 1268515.147

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99151 | -0.056813 | 0 | 0
1 | 0.99188 | -0.059838 | 0 | 0
2 | 0.9915 | -0.056654 | 0.36699 | 0.17774
3 | 0.99188 | -0.059804 | 0.40436 | 0.19584
4 | 0.99782 | -0.04491 | 0.10416 | 0.050447
5 | 0.99782 | -0.044956 | 0 | 0
6 | 0.99871 | -0.034326 | 0 | 0
7 | 0.99676 | -0.072836 | 0.20098 | 0.097341
8 | 0.99671 | -0.073448 | 0 | 0
9 | 0.99892 | -0.028797 | 0.31634 | 0.15321
10 | 0.99899 | -0.027471 | 0 | 0
11 | 0.99639 | -0.070694 | 0.26816 | 0.12988
12 | 0.99641 | -0.070855 | 0 | 0
13 | 0.99637 | -0.070561 | 0 | 0
14 | 0.99636 | -0.070413 | 0.26256 | 0.12717
15 | 0.9955 | -0.064104 | 0 | 0
16 | 0.99517 | -0.061503 | 0 | 0
17 | 0.9955 | -0.064037 | 0.093564 | 0.045315
18 | 0.99433 | -0.073528 | 0.26887 | 0.13022
19 | 0.99512 | -0.061125 | 0.36984 | 0.17912
20 | 0.99549 | -0.064036 | 0.092948 | 0.045017
21 | 0.99412 | -0.07195 | 0 | 0
22 | 0.99372 | -0.069024 | 0 | 0
23 | 0.99399 | -0.070831 | 0 | 0
24 | 0.99347 | -0.071114 | 0.21015 | 0.10178
25 | 0.99397 | -0.07096 | 0.31004 | 0.15016
26 | 0.99344 | -0.070868 | 0 | 0
27 | 0.99511 | -0.060982 | 0 | 0
28 | 0.99504 | -0.060438 | 0 | 0
29 | 0.99469 | -0.057908 | 0 | 0
30 | 0.99504 | -0.060355 | 0.27953 | 0.13538
31 | 0.9946 | -0.057328 | 0 | 0
32 | 0.99465 | -0.05813 | 0.38677 | 0.18732
33 | 0.99459 | -0.057263 | 0.12663 | 0.061329
34 | 0.99321 | -0.069415 | 0.08426 | 0.040809
35 | 0.99322 | -0.069484 | 0 | 0
36 | 0.99313 | -0.068944 | 0 | 0
37 | 0.99316 | -0.068388 | 0 | 0
38 | 0.9931 | -0.067879 | 0 | 0
39 | 0.99313 | -0.068155 | 0.2815 | 0.13634
40 | 0.99304 | -0.068244 | 0.35545 | 0.17215
41 | 0.99818 | -0.013793 | 0.291 | 0.14094
42 | 0.99841 | -0.012343 | 0.39229 | 0.19
43 | 0.99673 | -0.0702 | 0 | 0
44 | 0.99673 | -0.07014 | 0 | 0
45 | 0.99677 | -0.070482 | 0 | 0
46 | 0.99673 | -0.070191 | 0.072092 | 0.034916
47 | 0.99672 | -0.070099 | 0.072161 | 0.034949
48 | 0.9968 | -0.070204 | 0.10388 | 0.050311
49 | 0.99692 | -0.069286 | 0.06824 | 0.03305
50 | 0.99693 | -0.069414 | 0.23948 | 0.11599
51 | 0.99697 | -0.069708 | 0 | 0
52 | 0.99596 | -0.083099 | 0.19414 | 0.094026
53 | 0.99599 | -0.083377 | 0 | 0
54 | 0.9959 | -0.08349 | 0.16205 | 0.078485
55 | 0.99602 | -0.083609 | 0 | 0
56 | 0.99622 | -0.085373 | 0 | 0
57 | 0.99595 | -0.08304 | 0.25926 | 0.12556
58 | 0.99678 | -0.090442 | 0.54627 | 0.26457
59 | 0.99597 | -0.083049 | 1.7718 | 0.85813
60 | 0.99577 | -0.082625 | 0.2002 | 0.096961
61 | 0.99575 | -0.082392 | 0.37042 | 0.1794
62 | 0.99586 | -0.082051 | 0 | 0
63 | 0.99691 | -0.091628 | 0 | 0
64 | 0.99943 | -0.019144 | 0.38164 | 0.18484
65 | 0.99935 | -0.020547 | 0 | 0
66 | 1 | 0 | -14.3184 | -6.6588
67 | 0.99875 | -0.01541 | 0 | 0
68 | 0.99899 | -0.027413 | 0 | 0
69 | 0.99811 | -0.061711 | 0.25591 | 0.12394
70 | 0.99861 | -0.014228 | 0 | 0
71 | 0.99843 | -0.012553 | 0 | 0
72 | 0.99874 | -0.01546 | 0.20944 | 0.10144
73 | 0.99899 | -0.02734 | 0.17594 | 0.085214
74 | 0.99783 | -0.070809 | 0 | 0
75 | 0.99726 | -0.072258 | 0 | 0
76 | 0.99707 | -0.070615 | 0.63601 | 0.30803
77 | 0.99759 | -0.075121 | 0 | 0
78 | 0.99681 | -0.090709 | 0.9028 | 0.43725
79 | 0.99685 | -0.091066 | 0.34609 | 0.16762
80 | 0.99858 | -0.014011 | 0.17109 | 0.082861
81 | 0.9979 | -0.018974 | 0.071512 | 0.034635
82 | 0.99781 | -0.018227 | 0.20299 | 0.098314
83 | 0.99787 | -0.018719 | 0 | 0
84 | 0.99782 | -0.019515 | 0.13459 | 0.065184
85 | 0.99713 | -0.089071 | 0.24726 | 0.11975
86 | 0.99717 | -0.088804 | 0.3156 | 0.15285
87 | 0.99712 | -0.089809 | 0 | 0
88 | 0.99694 | -0.091884 | 0 | 0
89 | 0.99691 | -0.09159 | 0.10478 | 0.050747
90 | 0.99709 | -0.09032 | 0.23157 | 0.11216
91 | 0.99711 | -0.089791 | 0.22699 | 0.10993
92 | 0.99696 | -0.069646 | 0.11675 | 0.056544
93 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.36699 | -0.1769 | 0.36714 | 0.15827 | 0.00014644 | -0.018625 | 0.011861 | 0.011636 | 0.011861 | 0.99151 | -0.056813 | 0.99188 | -0.059838 | 5.3915
1 | 0.36699 | 0.1769 | -0.36699 | -0.17774 | 6.7479e-06 | -0.00084051 | 0.011861 | 0.011872 | 0.011872 | 0.99151 | -0.056813 | 0.9915 | -0.056654 | 5.3964
2 | 0.40437 | 0.19568 | -0.40436 | -0.19584 | 1.5743e-06 | -0.00016157 | 0.013074 | 0.013076 | 0.013076 | 0.99188 | -0.059838 | 0.99188 | -0.059804 | 5.9437
3 | -0.77151 | -0.35396 | 0.77253 | 0.3242 | 0.0010263 | -0.029757 | 0.024704 | 0.024352 | 0.024704 | 0.99188 | -0.059838 | 0.99313 | -0.068944 | 11.2291
4 | -0.10416 | -0.050447 | 0.10416 | 0.049555 | 5.6019e-07 | -0.0008926 | 0.0033483 | 0.0033371 | 0.0033483 | 0.99782 | -0.04491 | 0.99782 | -0.044956 | 1.5219
5 | -4.4822 | -2.0236 | 4.4858 | 2.0135 | 0.003618 | -0.010035 | 0.14227 | 0.14212 | 0.14227 | 0.99782 | -0.044956 | 0.99871 | -0.034326 | 39.3024
6 | 4.378 | 1.974 | -4.3743 | -1.97 | 0.0036959 | 0.0039666 | 0.13894 | 0.13894 | 0.13894 | 0.99782 | -0.044956 | 0.99676 | -0.072836 | 39.6975
7 | -4.4858 | -2.0135 | 4.4866 | 2.0143 | 0.00074855 | 0.00080558 | 0.14212 | 0.14212 | 0.14212 | 0.99871 | -0.034326 | 0.99892 | -0.028797 | 40.6069
8 | 4.1734 | 1.8727 | -4.1732 | -1.8733 | 0.00019276 | -0.0006349 | 0.13248 | 0.13249 | 0.13249 | 0.99676 | -0.072836 | 0.99671 | -0.073448 | 36.5982
9 | 3.6422 | 1.6315 | -3.6376 | -1.6364 | 0.0046839 | -0.0048278 | 0.11559 | 0.11566 | 0.11566 | 0.99671 | -0.073448 | 0.9955 | -0.064104 | 52.5742
10 | 0.53092 | 0.24179 | -0.53074 | -0.25243 | 0.00017311 | -0.010636 | 0.016896 | 0.017027 | 0.017027 | 0.99671 | -0.073448 | 0.99641 | -0.070855 | 7.7396
11 | -4.8029 | -2.1675 | 4.8032 | 2.1627 | 0.00028612 | -0.0048803 | 0.15228 | 0.15222 | 0.15228 | 0.99892 | -0.028797 | 0.99899 | -0.027471 | 18.0852
12 | -4.8032 | -2.1627 | 4.8032 | 2.1624 | 1.2491e-05 | -0.00021316 | 0.15222 | 0.15221 | 0.15222 | 0.99899 | -0.027471 | 0.99899 | -0.027413 | 18.0779
13 | -0.26816 | -0.12988 | 0.26817 | 0.12869 | 4.9942e-06 | -0.0011906 | 0.0086325 | 0.0086175 | 0.0086325 | 0.99639 | -0.070694 | 0.99641 | -0.070855 | 3.9239
14 | 0.26258 | 0.12374 | -0.26257 | -0.12605 | 9.2125e-06 | -0.0023023 | 0.0084097 | 0.0084384 | 0.0084384 | 0.99641 | -0.070855 | 0.99637 | -0.070561 | 3.8356
15 | 0.26257 | 0.12605 | -0.26256 | -0.12717 | 4.5045e-06 | -0.00112 | 0.0084384 | 0.0084525 | 0.0084525 | 0.99637 | -0.070561 | 0.99636 | -0.070413 | 3.842
16 | 1.1635 | 0.52294 | -1.1631 | -0.52812 | 0.00041002 | -0.0051786 | 0.036991 | 0.037054 | 0.037054 | 0.9955 | -0.064104 | 0.99517 | -0.061503 | 16.8429
17 | 0.18651 | 0.089586 | -0.18651 | -0.090296 | 1.4443e-06 | -0.00070958 | 0.006 | 0.006009 | 0.006009 | 0.9955 | -0.064104 | 0.9955 | -0.064037 | 2.7314
18 | 2.2875 | 1.0238 | -2.285 | -1.0226 | 0.002524 | 0.001264 | 0.072674 | 0.072678 | 0.072678 | 0.9955 | -0.064104 | 0.99433 | -0.073528 | 34.6085
19 | 1.1631 | 0.52812 | -1.1631 | -0.52885 | 5.862e-05 | -0.00073861 | 0.037054 | 0.037063 | 0.037063 | 0.99517 | -0.061503 | 0.99512 | -0.061125 | 16.847
20 | 0.092948 | 0.044981 | -0.092948 | -0.045017 | 1.8188e-08 | -3.6192e-05 | 0.0029943 | 0.0029948 | 0.0029948 | 0.9955 | -0.064037 | 0.99549 | -0.064036 | 1.3613
21 | 2.0161 | 0.89235 | -2.0157 | -0.89417 | 0.00045341 | -0.0018212 | 0.064009 | 0.064032 | 0.064032 | 0.99433 | -0.073528 | 0.99412 | -0.07195 | 29.1056
22 | 0.79322 | 0.34973 | -0.79321 | -0.35019 | 1.6382e-05 | -0.0004538 | 0.025148 | 0.025153 | 0.025153 | 0.99512 | -0.061125 | 0.99511 | -0.060982 | 11.4333
23 | 1.7056 | 0.75156 | -1.7049 | -0.75567 | 0.00071629 | -0.0041039 | 0.054122 | 0.054173 | 0.054173 | 0.99412 | -0.07195 | 0.99372 | -0.069024 | 24.6241
24 | 0.31009 | 0.14261 | -0.31004 | -0.15012 | 4.2205e-05 | -0.0075107 | 0.009911 | 0.010004 | 0.010004 | 0.99412 | -0.07195 | 0.99399 | -0.070831 | 4.5474
25 | 1.7049 | 0.75567 | -1.7045 | -0.7555 | 0.00040625 | 0.0001629 | 0.054173 | 0.054174 | 0.054174 | 0.99372 | -0.069024 | 0.99347 | -0.071114 | 25.7972
26 | 0.31004 | 0.15012 | -0.31004 | -0.15016 | 6.0846e-06 | -3.6433e-05 | 0.010004 | 0.010005 | 0.010005 | 0.99399 | -0.070831 | 0.99397 | -0.07096 | 4.7642
27 | 1.4943 | 0.65372 | -1.4943 | -0.65413 | 5.4191e-05 | -0.00040974 | 0.047394 | 0.047399 | 0.047399 | 0.99347 | -0.071114 | 0.99344 | -0.070868 | 21.5448
28 | 0.85706 | 0.35829 | -0.85686 | -0.36297 | 0.00019612 | -0.0046824 | 0.026993 | 0.027047 | 0.027047 | 0.99344 | -0.070868 | 0.99322 | -0.069484 | 12.2939
29 | 0.63719 | 0.29584 | -0.637 | -0.30394 | 0.00019349 | -0.0080954 | 0.020414 | 0.020515 | 0.020515 | 0.99344 | -0.070868 | 0.99316 | -0.068388 | 9.325
30 | 0.27955 | 0.1308 | -0.27953 | -0.1348 | 1.8229e-05 | -0.0039994 | 0.0089534 | 0.0090032 | 0.0090032 | 0.99511 | -0.060982 | 0.99504 | -0.060438 | 4.0924
31 | 0.51366 | 0.21938 | -0.51343 | -0.23444 | 0.00022673 | -0.015057 | 0.016203 | 0.01638 | 0.01638 | 0.99511 | -0.060982 | 0.99469 | -0.057908 | 7.4457
32 | 0.27953 | 0.1348 | -0.27953 | -0.13538 | 2.6678e-06 | -0.00058153 | 0.0090032 | 0.0090106 | 0.0090106 | 0.99504 | -0.060438 | 0.99504 | -0.060355 | 4.0957
33 | 0.12664 | 0.047166 | -0.12663 | -0.060315 | 1.185e-05 | -0.013149 | 0.003922 | 0.004071 | 0.004071 | 0.99469 | -0.057908 | 0.9946 | -0.057328 | 1.8504
34 | 0.38679 | 0.18728 | -0.38677 | -0.18732 | 1.2999e-05 | -4.7255e-05 | 0.012472 | 0.012472 | 0.012472 | 0.99469 | -0.057908 | 0.99465 | -0.05813 | 5.9393
35 | 0.12663 | 0.060315 | -0.12663 | -0.061329 | 9.534e-07 | -0.0010143 | 0.004071 | 0.0040837 | 0.0040837 | 0.9946 | -0.057328 | 0.99459 | -0.057263 | 1.8562
36 | -0.85685 | -0.3632 | 0.85686 | 0.36297 | 9.6984e-06 | -0.00023101 | 0.027049 | 0.027047 | 0.027049 | 0.99321 | -0.069415 | 0.99322 | -0.069484 | 12.2951
37 | 0.77259 | 0.32239 | -0.77253 | -0.3242 | 6.1241e-05 | -0.0018051 | 0.024332 | 0.024352 | 0.024352 | 0.99321 | -0.069415 | 0.99313 | -0.068944 | 11.0693
38 | 0.35549 | 0.16923 | -0.35547 | -0.17206 | 2.1167e-05 | -0.002836 | 0.011444 | 0.01148 | 0.01148 | 0.99316 | -0.068388 | 0.9931 | -0.067879 | 5.218
39 | 0.28151 | 0.13471 | -0.2815 | -0.13634 | 7.6211e-06 | -0.0016279 | 0.0090712 | 0.0090917 | 0.0090917 | 0.99316 | -0.068388 | 0.99313 | -0.068155 | 4.1326
40 | 0.35547 | 0.17206 | -0.35545 | -0.17215 | 1.9655e-05 | -8.6234e-05 | 0.01148 | 0.011481 | 0.011481 | 0.9931 | -0.067879 | 0.99304 | -0.068244 | 5.4671
41 | -0.291 | -0.14094 | 0.29107 | 0.14049 | 6.3628e-05 | -0.00044637 | 0.009351 | 0.0093449 | 0.009351 | 0.99818 | -0.013793 | 0.99841 | -0.012343 | 4.4528
42 | -0.68336 | -0.33049 | 0.68338 | 0.32988 | 1.6614e-05 | -0.0006102 | 0.021948 | 0.02194 | 0.021948 | 0.99841 | -0.012343 | 0.99843 | -0.012553 | 9.9762
43 | 0.072162 | 0.031815 | -0.072161 | -0.033774 | 5.81e-07 | -0.0019587 | 0.0022841 | 0.0023075 | 0.0023075 | 0.99673 | -0.0702 | 0.99673 | -0.07014 | 1.0489
44 | -0.14425 | -0.066472 | 0.14426 | 0.061564 | 5.7719e-06 | -0.0049072 | 0.0046001 | 0.0045425 | 0.0046001 | 0.99673 | -0.0702 | 0.99677 | -0.070482 | 2.091
45 | 0.072092 | 0.034656 | -0.072092 | -0.034916 | 7.8503e-08 | -0.00025953 | 0.0023167 | 0.0023199 | 0.0023199 | 0.99673 | -0.0702 | 0.99673 | -0.070191 | 1.0545
46 | 0.072161 | 0.033774 | -0.072161 | -0.034949 | 3.5443e-07 | -0.0011751 | 0.0023075 | 0.0023222 | 0.0023222 | 0.99673 | -0.07014 | 0.99672 | -0.070099 | 1.0555
47 | -0.14426 | -0.061564 | 0.14426 | 0.061434 | 4.128e-06 | -0.00013065 | 0.0045425 | 0.0045409 | 0.0045425 | 0.99677 | -0.070482 | 0.9968 | -0.070204 | 2.1631
48 | -0.24814 | -0.11174 | 0.24817 | 0.11147 | 2.707e-05 | -0.00027334 | 0.0078813 | 0.0078779 | 0.0078813 | 0.9968 | -0.070204 | 0.99692 | -0.069286 | 3.753
49 | -0.31641 | -0.14452 | 0.31642 | 0.14358 | 5.3865e-06 | -0.00094313 | 0.010073 | 0.010061 | 0.010073 | 0.99692 | -0.069286 | 0.99693 | -0.069414 | 4.5785
50 | -0.5559 | -0.25957 | 0.55592 | 0.25842 | 2.0495e-05 | -0.0011492 | 0.017765 | 0.017751 | 0.017765 | 0.99693 | -0.069414 | 0.99697 | -0.069708 | 8.0751
51 | 0.11675 | 0.055477 | -0.11675 | -0.056544 | 8.4416e-07 | -0.0010672 | 0.0037428 | 0.0037562 | 0.0037562 | 0.99697 | -0.069708 | 0.99696 | -0.069646 | 1.7073
52 | -0.67267 | -0.31389 | 0.67275 | 0.31094 | 7.7116e-05 | -0.0029498 | 0.021494 | 0.021457 | 0.021494 | 0.99697 | -0.069708 | 0.99707 | -0.070615 | 9.7698
53 | -0.3562 | -0.17228 | 0.35621 | 0.17073 | 1.1503e-05 | -0.0015508 | 0.011469 | 0.011449 | 0.011469 | 0.99596 | -0.083099 | 0.99599 | -0.083377 | 5.213
54 | 0.16206 | 0.078258 | -0.16205 | -0.078485 | 9.5548e-06 | -0.00022726 | 0.0052163 | 0.0052192 | 0.0052192 | 0.99596 | -0.083099 | 0.9959 | -0.08349 | 2.4853
55 | -0.35621 | -0.17073 | 0.35622 | 0.16941 | 9.7982e-06 | -0.0013252 | 0.011449 | 0.011432 | 0.011449 | 0.99599 | -0.083377 | 0.99602 | -0.083609 | 5.2041
56 | -0.6155 | -0.29045 | 0.61563 | 0.28429 | 0.00013557 | -0.006167 | 0.019725 | 0.019649 | 0.019725 | 0.99602 | -0.083609 | 0.99622 | -0.085373 | 8.9661
57 | 0.25928 | 0.12105 | -0.25926 | -0.12556 | 1.7654e-05 | -0.0045182 | 0.0082932 | 0.0083495 | 0.0083495 | 0.99602 | -0.083609 | 0.99595 | -0.08304 | 3.7952
58 | -2.9588 | -1.4122 | 2.9606 | 1.4092 | 0.0017853 | -0.0029851 | 0.095002 | 0.094958 | 0.095002 | 0.99622 | -0.085373 | 0.99678 | -0.090442 | 43.1828
59 | 2.3432 | 1.1279 | -2.3426 | -1.1297 | 0.00063238 | -0.001788 | 0.075355 | 0.07538 | 0.07538 | 0.99622 | -0.085373 | 0.99597 | -0.083049 | 34.2635
60 | -3.5069 | -1.6738 | 3.5074 | 1.6732 | 0.00049375 | -0.00054648 | 0.11254 | 0.11253 | 0.11254 | 0.99678 | -0.090442 | 0.99691 | -0.091628 | 51.1529
61 | 0.57074 | 0.27154 | -0.57068 | -0.27505 | 6.7007e-05 | -0.0035135 | 0.018319 | 0.018364 | 0.018364 | 0.99597 | -0.083049 | 0.99586 | -0.082051 | 8.3471
62 | 0.37043 | 0.17816 | -0.37042 | -0.1794 | 9.9976e-06 | -0.001244 | 0.011916 | 0.011932 | 0.011932 | 0.99577 | -0.082625 | 0.99575 | -0.082392 | 5.4236
63 | -0.57063 | -0.27512 | 0.57068 | 0.27505 | 4.8806e-05 | -6.5589e-05 | 0.018365 | 0.018364 | 0.018365 | 0.99577 | -0.082625 | 0.99586 | -0.082051 | 8.7451
64 | -3.6122 | -1.7232 | 3.6123 | 1.7231 | 0.0001096 | -0.00011255 | 0.11589 | 0.11589 | 0.11589 | 0.99691 | -0.091628 | 0.99694 | -0.091884 | 52.6772
65 | 0.10478 | 0.050021 | -0.10478 | -0.050747 | 4.6336e-07 | -0.00072649 | 0.0033621 | 0.0033712 | 0.0033712 | 0.99691 | -0.091628 | 0.99691 | -0.09159 | 1.5324
66 | 13.9168 | 6.4551 | -13.9159 | -6.4562 | 0.00091169 | -0.0010992 | 0.44311 | 0.44313 | 0.44313 | 0.99943 | -0.019144 | 0.99935 | -0.020547 | 52.6285
67 | -14.2985 | -6.6399 | 14.3044 | 6.6483 | 0.0059089 | 0.0083481 | 0.45535 | 0.45535 | 0.45535 | 0.99943 | -0.019144 | 1 | 0 | 55.531
68 | 1.4746 | 0.68149 | -1.4736 | -0.68894 | 0.00095544 | -0.007447 | 0.046924 | 0.047018 | 0.047018 | 0.99935 | -0.020547 | 0.99875 | -0.01541 | 21.3718
69 | 4.9807 | 2.2226 | -4.9791 | -2.2468 | 0.0015278 | -0.024204 | 0.15755 | 0.15785 | 0.15785 | 0.99935 | -0.020547 | 0.99899 | -0.027413 | 18.7471
70 | 7.4607 | 3.5521 | -7.4539 | -3.5432 | 0.0067588 | 0.008926 | 0.23869 | 0.2387 | 0.2387 | 0.99935 | -0.020547 | 0.99811 | -0.061711 | 29.1097
71 | 0.58057 | 0.26624 | -0.58049 | -0.27079 | 8.7643e-05 | -0.0045474 | 0.018461 | 0.018517 | 0.018517 | 0.99875 | -0.01541 | 0.99861 | -0.014228 | 8.4166
72 | 0.68361 | 0.32129 | -0.68338 | -0.32988 | 0.00023265 | -0.0085932 | 0.021832 | 0.02194 | 0.02194 | 0.99875 | -0.01541 | 0.99843 | -0.012553 | 9.9727
73 | 0.20944 | 0.10141 | -0.20944 | -0.10144 | 1.5743e-06 | -2.2272e-05 | 0.0067259 | 0.0067262 | 0.0067262 | 0.99875 | -0.01541 | 0.99874 | -0.01546 | 3.203
74 | 0.17595 | 0.084373 | -0.17594 | -0.085214 | 1.5017e-06 | -0.00084101 | 0.0056386 | 0.0056492 | 0.0056492 | 0.99899 | -0.027413 | 0.99899 | -0.02734 | 2.5678
75 | 7.198 | 3.4192 | -7.1965 | -3.4173 | 0.0014398 | 0.0018885 | 0.23048 | 0.23048 | 0.23048 | 0.99811 | -0.061711 | 0.99783 | -0.070809 | 28.1071
76 | 0.58049 | 0.27079 | -0.58047 | -0.2716 | 1.5715e-05 | -0.00081235 | 0.018517 | 0.018527 | 0.018527 | 0.99861 | -0.014228 | 0.99858 | -0.014011 | 8.4212
77 | 7.1965 | 3.4173 | -7.195 | -3.4277 | 0.0015009 | -0.010358 | 0.23048 | 0.23062 | 0.23062 | 0.99783 | -0.070809 | 0.99759 | -0.075121 | 27.3901
78 | 1.309 | 0.6164 | -1.3088 | -0.61898 | 0.00026185 | -0.0025748 | 0.041883 | 0.041916 | 0.041916 | 0.99726 | -0.072258 | 0.99707 | -0.070615 | 19.0525
79 | -1.309 | -0.6164 | 1.3095 | 0.61184 | 0.00046292 | -0.0045646 | 0.041883 | 0.041825 | 0.041883 | 0.99726 | -0.072258 | 0.99759 | -0.075121 | 19.0376
80 | 5.8856 | 2.8158 | -5.8838 | -2.8136 | 0.0017811 | 0.0022177 | 0.1888 | 0.18881 | 0.18881 | 0.99759 | -0.075121 | 0.99717 | -0.088804 | 23.025
81 | -0.9028 | -0.43725 | 0.90284 | 0.43648 | 3.7139e-05 | -0.00077136 | 0.02905 | 0.02904 | 0.02905 | 0.99681 | -0.090709 | 0.99685 | -0.091066 | 13.2045
82 | -1.2489 | -0.6041 | 1.2491 | 0.60283 | 0.00011779 | -0.0012626 | 0.040176 | 0.04016 | 0.040176 | 0.99685 | -0.091066 | 0.99694 | -0.091884 | 18.2618
83 | 0.40939 | 0.18874 | -0.40912 | -0.1896 | 0.00026215 | -0.00086545 | 0.013032 | 0.013044 | 0.013044 | 0.99858 | -0.014011 | 0.9979 | -0.018974 | 6.2116
84 | 0.1346 | 0.064801 | -0.13459 | -0.065184 | 1.0922e-05 | -0.00038291 | 0.0043215 | 0.0043264 | 0.0043264 | 0.9979 | -0.018974 | 0.99782 | -0.019515 | 2.0602
85 | 0.20301 | 0.090166 | -0.20301 | -0.093181 | 7.0335e-06 | -0.0030146 | 0.006426 | 0.0064619 | 0.0064619 | 0.9979 | -0.018974 | 0.99787 | -0.018719 | 2.9372
86 | -0.20299 | -0.098314 | 0.20301 | 0.093181 | 1.2162e-05 | -0.0051332 | 0.0065253 | 0.0064619 | 0.0065253 | 0.99781 | -0.018227 | 0.99787 | -0.018719 | 2.966
87 | -0.24726 | -0.11975 | 0.24727 | 0.11965 | 1.0007e-05 | -9.9143e-05 | 0.0079536 | 0.0079523 | 0.0079536 | 0.99713 | -0.089071 | 0.99717 | -0.088804 | 3.7874
88 | 5.3209 | 2.5411 | -5.3207 | -2.5446 | 0.00026063 | -0.0034727 | 0.1707 | 0.17075 | 0.17075 | 0.99717 | -0.088804 | 0.99712 | -0.089809 | 20.2788
89 | 0.22699 | 0.10977 | -0.22699 | -0.10993 | 4.8335e-07 | -0.00016111 | 0.0072996 | 0.0073016 | 0.0073016 | 0.99712 | -0.089809 | 0.99711 | -0.089791 | 3.3189
90 | 5.0937 | 2.4348 | -5.0935 | -2.4367 | 0.00012687 | -0.0018545 | 0.16345 | 0.16347 | 0.16347 | 0.99712 | -0.089809 | 0.99709 | -0.09032 | 19.4148
91 | -4.8613 | -2.3259 | 4.862 | 2.3245 | 0.00065619 | -0.001426 | 0.15605 | 0.15602 | 0.15605 | 0.99694 | -0.091884 | 0.99709 | -0.09032 | 43.107

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.3184 | 6.6588

## res_load
| p_mw | q_mvar
0 | 0.36699 | 0.17774
1 | 0.40436 | 0.19584
2 | 0.10416 | 0.050447
3 | 0.20098 | 0.097341
4 | 0.31634 | 0.15321
5 | 0.26816 | 0.12988
6 | 0.26256 | 0.12717
7 | 0.093564 | 0.045315
8 | 0.26887 | 0.13022
9 | 0.36984 | 0.17912
10 | 0.092948 | 0.045017
11 | 0.21015 | 0.10178
12 | 0.31004 | 0.15016
13 | 0.27953 | 0.13538
14 | 0.38677 | 0.18732
15 | 0.12663 | 0.061329
16 | 0.08426 | 0.040809
17 | 0.2815 | 0.13634
18 | 0.35545 | 0.17215
19 | 0.291 | 0.14094
20 | 0.39229 | 0.19
21 | 0.072092 | 0.034916
22 | 0.072161 | 0.034949
23 | 0.10388 | 0.050311
24 | 0.06824 | 0.03305
25 | 0.23948 | 0.11599
26 | 0.19414 | 0.094026
27 | 0.16205 | 0.078485
28 | 0.25926 | 0.12556
29 | 0.54627 | 0.26457
30 | 1.7718 | 0.85813
31 | 0.2002 | 0.096961
32 | 0.37042 | 0.1794
33 | 0.38164 | 0.18484
34 | 0.25591 | 0.12394
35 | 0.20944 | 0.10144
36 | 0.17594 | 0.085214
37 | 0.63601 | 0.30803
38 | 0.9028 | 0.43725
39 | 0.34609 | 0.16762
40 | 0.17109 | 0.082861
41 | 0.071512 | 0.034635
42 | 0.20299 | 0.098314
43 | 0.13459 | 0.065184
44 | 0.24726 | 0.11975
45 | 0.3156 | 0.15285
46 | 0.10478 | 0.050747
47 | 0.23157 | 0.11216
48 | 0.22699 | 0.10993
49 | 0.11675 | 0.056544

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1