## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_299_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_299_0_node_61 | 20 | n |  | TRUE
2 | bus_MV_299_0_node_29 | 20 | n |  | TRUE
3 | bus_MV_299_0_node_62 | 20 | n |  | TRUE
4 | bus_MV_299_0_node_60 | 20 | n |  | TRUE
5 | bus_MV_299_0_node_31 | 20 | n |  | TRUE
6 | bus_MV_299_0_node_28 | 20 | n |  | TRUE
7 | bus_MV_299_0_node_1 | 20 | n |  | TRUE
8 | bus_MV_299_0_node_2 | 20 | n |  | TRUE
9 | bus_MV_299_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_299_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_299_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_299_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_299_0_node_49 | 20 | n |  | TRUE
14 | bus_MV_299_0_node_48 | 20 | n |  | TRUE
15 | bus_MV_299_0_node_4 | 20 | n |  | TRUE
16 | bus_MV_299_0_node_94 | 20 | n |  | TRUE
17 | bus_MV_299_0_node_5 | 20 | n |  | TRUE
18 | bus_MV_299_0_node_105 | 20 | n |  | TRUE
19 | bus_MV_299_0_node_104 | 20 | n |  | TRUE
20 | bus_MV_299_0_node_118 | 20 | n |  | TRUE
21 | bus_MV_299_0_node_95 | 20 | n |  | TRUE
22 | bus_MV_299_0_node_119 | 20 | n |  | TRUE
23 | bus_MV_299_0_node_123 | 20 | n |  | TRUE
24 | bus_MV_299_0_node_14 | 20 | n |  | TRUE
25 | bus_MV_299_0_node_27 | 20 | n |  | TRUE
26 | bus_MV_299_0_node_46 | 20 | n |  | TRUE
27 | bus_MV_299_0_node_120 | 20 | n |  | TRUE
28 | bus_MV_299_0_node_30 | 20 | n |  | TRUE
29 | bus_MV_299_0_node_10 | 20 | n |  | TRUE
30 | bus_MV_299_0_node_11 | 20 | n |  | TRUE
31 | bus_MV_299_0_node_83 | 20 | n |  | TRUE
32 | bus_MV_299_0_node_12 | 20 | n |  | TRUE
33 | bus_MV_299_0_node_13 | 20 | n |  | TRUE
34 | bus_MV_299_0_node_76 | 20 | n |  | TRUE
35 | bus_MV_299_0_node_77 | 20 | n |  | TRUE
36 | bus_MV_299_0_node_80 | 20 | n |  | TRUE
37 | bus_MV_299_0_node_78 | 20 | n |  | TRUE
38 | bus_MV_299_0_node_79 | 20 | n |  | TRUE
39 | bus_MV_299_0_node_85 | 20 | n |  | TRUE
40 | bus_MV_299_0_node_81 | 20 | n |  | TRUE
41 | bus_MV_299_0_node_89 | 20 | n |  | TRUE
42 | bus_MV_299_0_node_84 | 20 | n |  | TRUE
43 | bus_MV_299_0_node_82 | 20 | n |  | TRUE
44 | bus_MV_299_0_node_86 | 20 | n |  | TRUE
45 | bus_MV_299_0_node_88 | 20 | n |  | TRUE
46 | bus_MV_299_0_node_113 | 20 | n |  | TRUE
47 | bus_MV_299_0_node_87 | 20 | n |  | TRUE
48 | bus_MV_299_0_node_90 | 20 | n |  | TRUE
49 | bus_MV_299_0_node_91 | 20 | n |  | TRUE
50 | bus_MV_299_0_node_106 | 20 | n |  | TRUE
51 | bus_MV_299_0_node_96 | 20 | n |  | TRUE
52 | bus_MV_299_0_node_15 | 20 | n |  | TRUE
53 | bus_MV_299_0_node_16 | 20 | n |  | TRUE
54 | bus_MV_299_0_node_17 | 20 | n |  | TRUE
55 | bus_MV_299_0_node_18 | 20 | n |  | TRUE
56 | bus_MV_299_0_node_43 | 20 | n |  | TRUE
57 | bus_MV_299_0_node_44 | 20 | n |  | TRUE
58 | bus_MV_299_0_node_97 | 20 | n |  | TRUE
59 | bus_MV_299_0_node_45 | 20 | n |  | TRUE
60 | bus_MV_299_0_node_92 | 20 | n |  | TRUE
61 | bus_MV_299_0_node_100 | 20 | n |  | TRUE
62 | bus_MV_299_0_node_101 | 20 | n |  | TRUE
63 | bus_MV_299_0_node_19 | 20 | n |  | TRUE
64 | bus_MV_299_0_node_20 | 20 | n |  | TRUE
65 | bus_MV_299_0_node_23 | 20 | n |  | TRUE
66 | bus_MV_299_0_node_21 | 20 | n |  | TRUE
67 | bus_MV_299_0_node_102 | 20 | n |  | TRUE
68 | bus_MV_299_0_node_103 | 20 | n |  | TRUE
69 | bus_MV_299_0_node_22 | 20 | n |  | TRUE
70 | bus_MV_299_0_node_109 | 20 | n |  | TRUE
71 | bus_MV_299_0_node_41 | 20 | n |  | TRUE
72 | bus_MV_299_0_node_108 | 20 | n |  | TRUE
73 | bus_MV_299_0_node_24 | 20 | n |  | TRUE
74 | bus_MV_299_0_node_25 | 20 | n |  | TRUE
75 | bus_MV_299_0_node_59 | 20 | n |  | TRUE
76 | bus_MV_299_0_node_32 | 20 | n |  | TRUE
77 | bus_MV_299_0_node_33 | 20 | n |  | TRUE
78 | bus_MV_299_0_node_34 | 20 | n |  | TRUE
79 | bus_MV_299_0_node_35 | 20 | n |  | TRUE
80 | bus_MV_299_0_node_37 | 20 | n |  | TRUE
81 | bus_MV_299_0_node_39 | 20 | n |  | TRUE
82 | bus_MV_299_0_node_40 | 20 | n |  | TRUE
83 | bus_MV_299_0_node_124 | 20 | n |  | TRUE
84 | bus_MV_299_0_node_38 | 20 | n |  | TRUE
85 | bus_MV_299_0_node_42 | 20 | n |  | TRUE
86 | bus_MV_299_0_node_99 | 20 | n |  | TRUE
87 | bus_MV_299_0_node_115 | 20 | n |  | TRUE
88 | bus_MV_299_0_node_116 | 20 | n |  | TRUE
89 | bus_MV_299_0_node_98 | 20 | n |  | TRUE
90 | bus_MV_299_0_node_71 | 20 | n |  | TRUE
91 | bus_MV_299_0_node_93 | 20 | n |  | TRUE
92 | bus_MV_299_0_node_50 | 20 | n |  | TRUE
93 | bus_MV_299_0_node_52 | 20 | n |  | TRUE
94 | bus_MV_299_0_node_122 | 20 | n |  | TRUE
95 | bus_MV_299_0_node_54 | 20 | n |  | TRUE
96 | bus_MV_299_0_node_53 | 20 | n |  | TRUE
97 | bus_MV_299_0_node_72 | 20 | n |  | TRUE
98 | bus_MV_299_0_node_73 | 20 | n |  | TRUE
99 | bus_MV_299_0_node_111 | 20 | n |  | TRUE
100 | bus_MV_299_0_node_110 | 20 | n |  | TRUE
101 | bus_MV_299_0_node_55 | 20 | n |  | TRUE
102 | bus_MV_299_0_node_56 | 20 | n |  | TRUE
103 | bus_MV_299_0_node_57 | 20 | n |  | TRUE
104 | bus_MV_299_0_node_107 | 20 | n |  | TRUE
105 | bus_MV_299_0_node_114 | 20 | n |  | TRUE
106 | bus_MV_299_0_node_58 | 20 | n |  | TRUE
107 | bus_MV_299_0_node_112 | 20 | n |  | TRUE
108 | bus_MV_299_0_node_63 | 20 | n |  | TRUE
109 | bus_MV_299_0_node_65 | 20 | n |  | TRUE
110 | bus_MV_299_0_node_64 | 20 | n |  | TRUE
111 | bus_MV_299_0_node_68 | 20 | n |  | TRUE
112 | bus_MV_299_0_node_66 | 20 | n |  | TRUE
113 | bus_MV_299_0_node_67 | 20 | n |  | TRUE
114 | bus_MV_299_0_node_75 | 20 | n |  | TRUE
115 | bus_MV_299_0_node_117 | 20 | n |  | TRUE
116 | bus_MV_299_0_node_69 | 20 | n |  | TRUE
117 | bus_MV_299_0_node_74 | 20 | n |  | TRUE
118 | bus_MV_299_0_node_70 | 20 | n |  | TRUE
119 | bus_HV_299_0_node_32 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_299_0_load_0 | 0 | 0.18329 | 0.088772 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_299_0_load_62 | 3 | 0.15131 | 0.073285 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_299_0_load_28 | 6 | 0.089109 | 0.043158 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_299_0_load_1 | 7 | 0.35057 | 0.16979 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_299_0_load_48 | 14 | 0.33571 | 0.16259 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_299_0_load_94 | 16 | 0.10357 | 0.050163 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_299_0_load_105 | 18 | 0.1873 | 0.090715 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_299_0_load_104 | 19 | 0.1312 | 0.063542 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_299_0_load_118 | 20 | 0.39478 | 0.1912 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_299_0_load_95 | 21 | 0.39032 | 0.18904 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_299_0_load_119 | 22 | 0.12172 | 0.058952 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_299_0_load_123 | 23 | 0.40762 | 0.19742 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_299_0_load_46 | 26 | 0.39203 | 0.18987 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_299_0_load_120 | 27 | 0.16276 | 0.078828 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_299_0_load_10 | 29 | 0.29584 | 0.14328 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_299_0_load_76 | 34 | 0.27159 | 0.13154 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_299_0_load_85 | 39 | 0.13718 | 0.06644 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_299_0_load_81 | 40 | 0.39173 | 0.18972 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_299_0_load_89 | 41 | 0.14324 | 0.069374 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_299_0_load_86 | 44 | 0.18789 | 0.091 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_299_0_load_113 | 46 | 0.15217 | 0.073701 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_299_0_load_87 | 47 | 0.26789 | 0.12975 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_299_0_load_90 | 48 | 0.20707 | 0.10029 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_299_0_load_91 | 49 | 0.13145 | 0.063663 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_299_0_load_106 | 50 | 0.70641 | 0.34213 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_299_0_load_96 | 51 | 0.097173 | 0.047063 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_299_0_load_15 | 52 | 0.1779 | 0.086159 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_299_0_load_16 | 53 | 0.30831 | 0.14932 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_299_0_load_17 | 54 | 0.14211 | 0.068829 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_299_0_load_18 | 55 | 0.12452 | 0.060307 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_299_0_load_97 | 58 | 0.16131 | 0.078124 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_299_0_load_45 | 59 | 0.069254 | 0.033541 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_299_0_load_92 | 60 | 0.29727 | 0.14398 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_299_0_load_101 | 62 | 0.074429 | 0.036048 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_299_0_load_19 | 63 | 0.24624 | 0.11926 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_299_0_load_103 | 68 | 0.082925 | 0.040163 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_299_0_load_109 | 70 | 0.35457 | 0.17173 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_299_0_load_41 | 71 | 0.36193 | 0.17529 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_299_0_load_24 | 73 | 0.40048 | 0.19396 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_299_0_load_59 | 75 | 0.092867 | 0.044977 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_299_0_load_32 | 76 | 0.38689 | 0.18738 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_299_0_load_124 | 83 | 0.14174 | 0.06865 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_299_0_load_42 | 85 | 0.40288 | 0.19512 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_299_0_load_99 | 86 | 0.10068 | 0.048764 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_299_0_load_115 | 87 | 0.35273 | 0.17083 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_299_0_load_116 | 88 | 0.24457 | 0.11845 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_299_0_load_93 | 91 | 0.077522 | 0.037546 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_299_0_load_50 | 92 | 0.16952 | 0.082104 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_299_0_load_122 | 94 | 0.30188 | 0.14621 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_299_0_load_72 | 97 | 0.16335 | 0.079113 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_299_0_load_111 | 99 | 0.12394 | 0.060025 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_299_0_load_110 | 100 | 0.16257 | 0.078735 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_299_0_load_55 | 101 | 0.35085 | 0.16993 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_299_0_load_107 | 104 | 0.083756 | 0.040565 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_299_0_load_114 | 105 | 0.37263 | 0.18047 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_299_0_load_112 | 107 | 0.088904 | 0.043058 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_299_0_load_63 | 108 | 0.32966 | 0.15966 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_299_0_load_75 | 114 | 0.33789 | 0.16365 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_299_0_load_117 | 115 | 0.38201 | 0.18502 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_299_0_load_69 | 116 | 0.19825 | 0.096018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_299_0_line_0 |  | 0 | 1 | 1.4126 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_299_0_line_1 |  | 0 | 2 | 2.3294 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_299_0_line_2 |  | 1 | 3 | 0.076856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_299_0_line_3 |  | 1 | 4 | 0.47289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_299_0_line_4 |  | 2 | 5 | 0.25087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_299_0_line_5 |  | 2 | 6 | 0.13476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_299_0_line_6 |  | 4 | 75 | 0.099468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_299_0_line_7 |  | 5 | 26 | 0.025455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_299_0_line_8 |  | 6 | 28 | 0.039067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_299_0_line_9 |  | 7 | 8 | 0.091772 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_299_0_line_10 |  | 8 | 9 | 0.23947 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_299_0_line_11 |  | 8 | 10 | 0.37519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_299_0_line_12 |  | 8 | 11 | 0.42578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_299_0_line_13 |  | 8 | 12 | 0.53889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_299_0_line_14 |  | 9 | 13 | 0.040753 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
15 | MV_299_0_line_15 |  | 9 | 14 | 0.027548 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_299_0_line_16 |  | 10 | 20 | 0.11286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_299_0_line_17 |  | 10 | 15 | 0.16433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_299_0_line_18 |  | 11 | 21 | 0.089509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_299_0_line_19 |  | 12 | 22 | 0.036656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_299_0_line_20 |  | 12 | 17 | 0.055791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_299_0_line_21 |  | 13 | 23 | 0.031767 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_299_0_line_22 |  | 15 | 16 | 0.02449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_299_0_line_23 |  | 16 | 24 | 0.057077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_299_0_line_24 |  | 17 | 18 | 0.027796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_299_0_line_25 |  | 17 | 19 | 0.035779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_299_0_line_26 |  | 19 | 25 | 0.057173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_299_0_line_27 |  | 22 | 26 | 0.13767 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_299_0_line_28 |  | 23 | 67 | 0.025406 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_299_0_line_29 |  | 24 | 33 | 0.19941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_299_0_line_30 |  | 25 | 74 | 0.31242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_299_0_line_31 |  | 27 | 28 | 0.18475 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_299_0_line_32 |  | 29 | 30 | 0.02549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_299_0_line_33 |  | 29 | 31 | 0.74813 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_299_0_line_34 |  | 30 | 32 | 0.1104 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_299_0_line_35 |  | 30 | 33 | 0.31161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_299_0_line_36 |  | 31 | 44 | 0.078925 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_299_0_line_37 |  | 31 | 38 | 0.54766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_299_0_line_38 |  | 32 | 50 | 0.46662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_299_0_line_39 |  | 33 | 51 | 0.015918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_299_0_line_40 |  | 34 | 35 | 0.073031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_299_0_line_41 |  | 35 | 36 | 0.92073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_299_0_line_42 |  | 36 | 41 | 0.12943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_299_0_line_43 |  | 36 | 42 | 0.17892 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_299_0_line_44 |  | 37 | 38 | 0.43502 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_299_0_line_45 |  | 37 | 39 | 0.055284 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_299_0_line_46 |  | 38 | 40 | 0.073228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_299_0_line_47 |  | 40 | 43 | 0.056449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_299_0_line_48 |  | 41 | 48 | 0.055279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_299_0_line_49 |  | 42 | 45 | 0.030585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_299_0_line_50 |  | 42 | 46 | 0.074362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_299_0_line_51 |  | 42 | 43 | 0.448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_299_0_line_52 |  | 45 | 47 | 0.031756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_299_0_line_53 |  | 48 | 49 | 0.02423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_299_0_line_54 |  | 52 | 53 | 0.008302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_299_0_line_55 |  | 52 | 54 | 0.021937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_299_0_line_56 |  | 53 | 55 | 0.044843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_299_0_line_57 |  | 55 | 59 | 0.041291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_299_0_line_58 |  | 56 | 57 | 0.061258 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_299_0_line_59 |  | 56 | 58 | 0.050725 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
60 | MV_299_0_line_60 |  | 57 | 91 | 3.1676e-05 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_299_0_line_61 |  | 58 | 89 | 0.11596 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_299_0_line_62 |  | 59 | 60 | 0.016235 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_299_0_line_63 |  | 60 | 61 | 0.032631 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_299_0_line_64 |  | 60 | 62 | 0.030315 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_299_0_line_65 |  | 61 | 66 | 0.21037 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_299_0_line_66 |  | 62 | 91 | 0.066545 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
67 | MV_299_0_line_67 |  | 63 | 64 | 0.16253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_299_0_line_68 |  | 64 | 65 | 0.38401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_299_0_line_69 |  | 65 | 71 | 0.052298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_299_0_line_70 |  | 65 | 66 | 0.47269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_299_0_line_71 |  | 65 | 69 | 0.77305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_299_0_line_72 |  | 66 | 67 | 0.23211 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_299_0_line_73 |  | 66 | 68 | 0.076832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_299_0_line_74 |  | 69 | 70 | 0.075069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_299_0_line_75 |  | 70 | 72 | 0.003577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_299_0_line_76 |  | 72 | 104 | 0.021217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_299_0_line_77 |  | 72 | 102 | 0.55357 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_299_0_line_78 |  | 73 | 74 | 0.071504 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_299_0_line_79 |  | 76 | 77 | 0.025485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_299_0_line_80 |  | 76 | 78 | 0.092941 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_299_0_line_81 |  | 77 | 79 | 0.64804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_299_0_line_82 |  | 78 | 80 | 0.3973 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
83 | MV_299_0_line_83 |  | 78 | 81 | 0.38826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_299_0_line_84 |  | 78 | 82 | 0.30301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_299_0_line_85 |  | 79 | 83 | 0.071079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_299_0_line_86 |  | 80 | 84 | 0.24185 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
87 | MV_299_0_line_87 |  | 80 | 85 | 0.019141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_299_0_line_88 |  | 81 | 87 | 0.085351 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_299_0_line_89 |  | 82 | 88 | 0.020866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_299_0_line_90 |  | 84 | 86 | 0.022157 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
91 | MV_299_0_line_91 |  | 86 | 89 | 0.047155 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_299_0_line_92 |  | 88 | 90 | 0.014886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_299_0_line_93 |  | 90 | 118 | 0.35689 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_299_0_line_94 |  | 92 | 93 | 0.036269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_299_0_line_95 |  | 92 | 94 | 0.33756 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_299_0_line_96 |  | 93 | 95 | 0.14153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_299_0_line_97 |  | 94 | 96 | 0.055345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_299_0_line_98 |  | 95 | 99 | 0.012123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_299_0_line_99 |  | 95 | 100 | 0.056916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_299_0_line_100 |  | 96 | 97 | 1.1592 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_299_0_line_101 |  | 97 | 98 | 0.073424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_299_0_line_102 |  | 98 | 117 | 0.041248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_299_0_line_103 |  | 101 | 102 | 0.025229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_299_0_line_104 |  | 102 | 103 | 0.77159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_299_0_line_105 |  | 103 | 105 | 0.028827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_299_0_line_106 |  | 103 | 106 | 0.71113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_299_0_line_107 |  | 106 | 107 | 0.068981 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_299_0_line_108 |  | 108 | 109 | 0.036238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_299_0_line_109 |  | 108 | 110 | 0.068473 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
110 | MV_299_0_line_110 |  | 109 | 111 | 0.35328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_299_0_line_111 |  | 110 | 112 | 0.62086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_299_0_line_112 |  | 111 | 116 | 0.049805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_299_0_line_113 |  | 112 | 113 | 0.11943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_299_0_line_114 |  | 112 | 114 | 0.0613 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
115 | MV_299_0_line_115 |  | 113 | 115 | 0.10666 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_299_0_line_116 |  | 114 | 117 | 0.071619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_299_0_line_117 |  | 116 | 118 | 0.11892 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_299_0_trafo_32 | 25 MVA 110/20 kV | 119 | 76 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2627629.0748 | 1260218.7318
1 | 2629015.4973 | 1260489.1869
2 | 2628022.8491 | 1257922.8226
3 | 2629060.4159 | 1260428.0093
4 | 2628935.1461 | 1260882.2537
5 | 2627917.5845 | 1257765.8194
6 | 2628151.7175 | 1257883.4285
7 | 2627894.9785 | 1257180.3715
8 | 2627947.1223 | 1257255.8903
9 | 2628154.2475 | 1257181.0638
10 | 2627763.6201 | 1257424.8986
11 | 2627713.3567 | 1257184.1003
12 | 2627790.9515 | 1257648.2337
13 | 2628183.0719 | 1257206.5179
14 | 2628140.3062 | 1257157.2815
15 | 2627662.9318 | 1257379.2527
16 | 2627639.7084 | 1257387.0262
17 | 2627741.9343 | 1257655.6648
18 | 2627715.1163 | 1257662.9747
19 | 2627733.9616 | 1257685.2116
20 | 2627746.1859 | 1257506.0276
21 | 2627736.3701 | 1257270.6005
22 | 2627786.4902 | 1257679.9899
23 | 2628168.0707 | 1257229.6735
24 | 2627585.5834 | 1257405.1433
25 | 2627682.8932 | 1257710.8597
26 | 2627892.2498 | 1257768.124
27 | 2628192.3504 | 1257679.4385
28 | 2628185.6293 | 1257864.0653
29 | 2627241.1905 | 1257517.0606
30 | 2627266.0156 | 1257510.9705
31 | 2626524.4606 | 1257302.5888
32 | 2627301.9284 | 1257600.4186
33 | 2627419.5449 | 1257423.6525
34 | 2626108.0779 | 1257962.6998
35 | 2626133.4759 | 1258031.1581
36 | 2625822.6793 | 1257675.8559
37 | 2626353.7217 | 1257511.8917
38 | 2626156.4908 | 1257291.5918
39 | 2626407.682 | 1257499.868
40 | 2626083.9382 | 1257301.5123
41 | 2625696.5221 | 1257706.3731
42 | 2625763.152 | 1257507.1272
43 | 2626080.8025 | 1257357.87
44 | 2626514.2778 | 1257224.3237
45 | 2625756.8811 | 1257477.1909
46 | 2625690.6961 | 1257523.8541
47 | 2625749.0004 | 1257446.4247
48 | 2625642.7928 | 1257719.3711
49 | 2625619.242 | 1257725.0684
50 | 2627762.8628 | 1257555.4449
51 | 2627406.7454 | 1257416.8295
52 | 2628420.1314 | 1256965.8417
53 | 2628412.0015 | 1256966.203
54 | 2628428.1663 | 1256986.2329
55 | 2628371.5207 | 1256984.6205
56 | 2628384.404 | 1256889.1965
57 | 2628328.4807 | 1256913.9236
58 | 2628362.5656 | 1256843.4131
59 | 2628333.092 | 1256999.7255
60 | 2628317.9486 | 1257005.5772
61 | 2628287.3029 | 1257016.7856
62 | 2628307.5356 | 1256977.1062
63 | 2628366.495 | 1257442.319
64 | 2628486.2979 | 1257332.4855
65 | 2628556.9466 | 1257191.2072
66 | 2628242.1223 | 1257102.3727
67 | 2628179.0074 | 1257252.6187
68 | 2628285.808 | 1257142.0189
69 | 2628882.3734 | 1256948.263
70 | 2628896.456 | 1256874.5261
71 | 2628600.5015 | 1257162.0751
72 | 2628897.0839 | 1256871.0045
73 | 2627463.0976 | 1257821.2905
74 | 2627475.2706 | 1257891.7503
75 | 2628974.0264 | 1260973.3065
76 | 2627791.9905 | 1256859.8251
77 | 2627766.7121 | 1256863.0659
78 | 2627884.1769 | 1256848.0068
79 | 2627622.8897 | 1257173.6823
80 | 2628127.9973 | 1256938.8529
81 | 2628066.2866 | 1256643.1383
82 | 2627806.2028 | 1256587.6869
83 | 2627551.7842 | 1257177.9655
84 | 2628234.5426 | 1256814.753
85 | 2628134.2149 | 1256956.9613
86 | 2628239.3818 | 1256836.3747
87 | 2628150.8592 | 1256654.6358
88 | 2627801.7665 | 1256567.2968
89 | 2628253.4412 | 1256880.6431
90 | 2627816.6639 | 1256566.3104
91 | 2628328.4506 | 1256913.9336
92 | 2628112.1037 | 1253881.7441
93 | 2628085.6203 | 1253857.0689
94 | 2628190.9929 | 1254209.96
95 | 2628012.0456 | 1253784.6283
96 | 2628136.7587 | 1254221.7327
97 | 2627841.0662 | 1255342.567
98 | 2627864.1682 | 1255411.5107
99 | 2628011.044 | 1253772.5472
100 | 2628016.5644 | 1253841.3587
101 | 2629249.8791 | 1256439.6754
102 | 2629266.4804 | 1256458.7147
103 | 2629500.6423 | 1255984.8657
104 | 2628876.1668 | 1256867.4614
105 | 2629513.606 | 1255959.1016
106 | 2629629.0768 | 1255805.8739
107 | 2629665.3545 | 1255747.2256
108 | 2627647.2102 | 1256003.8609
109 | 2627647.9387 | 1256040.0887
110 | 2627715.1635 | 1256012.2837
111 | 2627603.0933 | 1256240.3371
112 | 2627779.212 | 1255521.4084
113 | 2627732.5954 | 1255616.4987
114 | 2627840.5111 | 1255521.8071
115 | 2627626.0289 | 1255608.5072
116 | 2627653.0199 | 1256239.2689
117 | 2627855.9385 | 1255451.9103
118 | 2627656.6581 | 1256358.1327
119 | 2627791.9905 | 1256859.8251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99151 | -0.09699 | 0.18329 | 0.088772
1 | 0.99086 | -0.10319 | 0 | 0
2 | 0.99342 | -0.081103 | 0 | 0
3 | 0.99084 | -0.10306 | 0.15131 | 0.073285
4 | 0.9908 | -0.1029 | 0 | 0
5 | 0.99363 | -0.082787 | 0 | 0
6 | 0.99335 | -0.081533 | 0.089109 | 0.043158
7 | 0.99524 | -0.092541 | 0.35057 | 0.16979
8 | 0.99531 | -0.092148 | 0 | 0
9 | 0.9961 | -0.082797 | 0 | 0
10 | 0.99363 | -0.078845 | 0 | 0
11 | 0.99509 | -0.090337 | 0 | 0
12 | 0.99399 | -0.081285 | 0 | 0
13 | 0.99616 | -0.081716 | 0 | 0
14 | 0.99609 | -0.082686 | 0.33571 | 0.16259
15 | 0.99299 | -0.073695 | 0 | 0
16 | 0.99289 | -0.072923 | 0.10357 | 0.050163
17 | 0.99394 | -0.080839 | 0 | 0
18 | 0.99394 | -0.080777 | 0.1873 | 0.090715
19 | 0.99392 | -0.08063 | 0.1312 | 0.063542
20 | 0.99358 | -0.078315 | 0.39478 | 0.1912
21 | 0.99505 | -0.089921 | 0.39032 | 0.18904
22 | 0.99394 | -0.080821 | 0.12172 | 0.058952
23 | 0.9962 | -0.080873 | 0.40762 | 0.19742
24 | 0.99267 | -0.071193 | 0 | 0
25 | 0.99389 | -0.080383 | 0 | 0
26 | 0.99365 | -0.082952 | 0.39203 | 0.18987
27 | 0.99328 | -0.081827 | 0.16276 | 0.078828
28 | 0.99334 | -0.081457 | 0 | 0
29 | 0.99069 | -0.055235 | 0.29584 | 0.14328
30 | 0.99076 | -0.055806 | 0 | 0
31 | 0.98796 | -0.07709 | 0 | 0
32 | 0.99066 | -0.054942 | 0 | 0
33 | 0.99191 | -0.065102 | 0 | 0
34 | 0.98518 | -0.062961 | 0.27159 | 0.13154
35 | 0.98521 | -0.063202 | 0 | 0
36 | 0.98552 | -0.065536 | 0 | 0
37 | 0.98669 | -0.067189 | 0 | 0
38 | 0.98676 | -0.067777 | 0 | 0
39 | 0.98667 | -0.067283 | 0.13718 | 0.06644
40 | 0.98654 | -0.069477 | 0.39173 | 0.18972
41 | 0.98544 | -0.064796 | 0.14324 | 0.069374
42 | 0.98578 | -0.06342 | 0 | 0
43 | 0.98646 | -0.068819 | 0 | 0
44 | 0.98793 | -0.077274 | 0.18789 | 0.091
45 | 0.98577 | -0.063321 | 0 | 0
46 | 0.98577 | -0.063285 | 0.15217 | 0.073701
47 | 0.98576 | -0.063217 | 0.26789 | 0.12975
48 | 0.98542 | -0.06457 | 0.20707 | 0.10029
49 | 0.98542 | -0.064531 | 0.13145 | 0.063663
50 | 0.99023 | -0.051088 | 0.70641 | 0.34213
51 | 0.99191 | -0.065083 | 0.097173 | 0.047063
52 | 0.99695 | -0.06418 | 0.1779 | 0.086159
53 | 0.99695 | -0.064211 | 0.30831 | 0.14932
54 | 0.99695 | -0.064143 | 0.14211 | 0.068829
55 | 0.99699 | -0.064547 | 0.12452 | 0.060307
56 | 0.99759 | -0.049571 | 0 | 0
57 | 0.99745 | -0.052108 | 0 | 0
58 | 0.99784 | -0.040818 | 0.16131 | 0.078124
59 | 0.99703 | -0.064915 | 0.069254 | 0.033541
60 | 0.99706 | -0.064749 | 0.29727 | 0.14398
61 | 0.99699 | -0.065941 | 0 | 0
62 | 0.99712 | -0.063511 | 0.074429 | 0.036048
63 | 0.99528 | -0.06476 | 0.24624 | 0.11926
64 | 0.99536 | -0.06427 | 0 | 0
65 | 0.99548 | -0.065295 | 0 | 0
66 | 0.99659 | -0.073615 | 0 | 0
67 | 0.99624 | -0.080159 | 0 | 0
68 | 0.99658 | -0.073543 | 0.082925 | 0.040163
69 | 0.99425 | -0.056083 | 0 | 0
70 | 0.99413 | -0.055139 | 0.35457 | 0.17173
71 | 0.99545 | -0.065069 | 0.36193 | 0.17529
72 | 0.99413 | -0.055109 | 0 | 0
73 | 0.99367 | -0.079293 | 0.40048 | 0.19396
74 | 0.99373 | -0.078943 | 0 | 0
75 | 0.99079 | -0.1028 | 0.092867 | 0.044977
76 | 1 | 0 | -13.7688 | -6.2054
77 | 1 | 1.4836e-05 | 0 | 0
78 | 0.99973 | -0.0051578 | 0 | 0
79 | 0.99988 | 0.0007243 | 0 | 0
80 | 0.9988 | -0.022729 | 0 | 0
81 | 0.99955 | -0.0036352 | 0 | 0
82 | 0.9988 | 0.002522 | 0 | 0
83 | 0.99987 | 0.00084102 | 0.14174 | 0.06865
84 | 0.99825 | -0.033018 | 0 | 0
85 | 0.99879 | -0.022637 | 0.40288 | 0.19512
86 | 0.9982 | -0.033959 | 0.10068 | 0.048764
87 | 0.9995 | -0.0039997 | 0.35273 | 0.17083
88 | 0.99873 | 0.0030565 | 0.24457 | 0.11845
89 | 0.9981 | -0.035943 | 0 | 0
90 | 0.99869 | 0.0033946 | 0 | 0
91 | 0.99745 | -0.052109 | 0.077522 | 0.037546
92 | 0.99217 | 0.014866 | 0.16952 | 0.082104
93 | 0.99215 | 0.01498 | 0 | 0
94 | 0.99246 | 0.016931 | 0.30188 | 0.14621
95 | 0.9921 | 0.015443 | 0 | 0
96 | 0.99252 | 0.016446 | 0 | 0
97 | 0.99422 | 0.028024 | 0.16335 | 0.079113
98 | 0.99431 | 0.027249 | 0 | 0
99 | 0.9921 | 0.015461 | 0.12394 | 0.060025
100 | 0.99209 | 0.015553 | 0.16257 | 0.078735
101 | 0.99326 | -0.062327 | 0.35085 | 0.16993
102 | 0.99327 | -0.062434 | 0 | 0
103 | 0.99282 | -0.059516 | 0 | 0
104 | 0.99413 | -0.055088 | 0.083756 | 0.040565
105 | 0.99281 | -0.059386 | 0.37263 | 0.18047
106 | 0.99274 | -0.059208 | 0 | 0
107 | 0.99274 | -0.059137 | 0.088904 | 0.043058
108 | 0.99611 | 0.01737 | 0.32966 | 0.15966
109 | 0.9962 | 0.016586 | 0 | 0
110 | 0.99589 | 0.0158 | 0 | 0
111 | 0.99708 | 0.0090587 | 0 | 0
112 | 0.99459 | 0.027088 | 0 | 0
113 | 0.99453 | 0.02761 | 0 | 0
114 | 0.99444 | 0.026075 | 0.33789 | 0.16365
115 | 0.99448 | 0.028094 | 0.38201 | 0.18502
116 | 0.99721 | 0.0080138 | 0.19825 | 0.096018
117 | 0.99436 | 0.026818 | 0 | 0
118 | 0.99771 | 0.01161 | 0 | 0
119 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.24434 | 0.10148 | -0.24419 | -0.10305 | 0.0001497 | -0.001563 | 0.0077031 | 0.0077217 | 0.0077217 | 0.99151 | -0.09699 | 0.99086 | -0.10319 | 3.677
1 | -0.42763 | -0.19026 | 0.4284 | 0.188 | 0.00076887 | -0.0022575 | 0.013627 | 0.013595 | 0.013627 | 0.99151 | -0.09699 | 0.99342 | -0.081103 | 6.489
2 | 0.15132 | 0.071484 | -0.15131 | -0.073285 | 2.4503e-06 | -0.0018009 | 0.0048756 | 0.0048983 | 0.0048983 | 0.99086 | -0.10319 | 0.99084 | -0.10306 | 2.2265
3 | 0.092873 | 0.031563 | -0.092868 | -0.042646 | 5.3596e-06 | -0.011083 | 0.0028577 | 0.0029774 | 0.0029774 | 0.99086 | -0.10319 | 0.9908 | -0.1029 | 1.3534
4 | -0.6803 | -0.3087 | 0.68045 | 0.30284 | 0.00015732 | -0.0058658 | 0.021709 | 0.021638 | 0.021709 | 0.99342 | -0.081103 | 0.99363 | -0.082787 | 9.8676
5 | 0.2519 | 0.1207 | -0.25188 | -0.12085 | 1.5822e-05 | -0.00014884 | 0.0081168 | 0.0081188 | 0.0081188 | 0.99342 | -0.081103 | 0.99335 | -0.081533 | 3.8661
6 | 0.092868 | 0.042646 | -0.092867 | -0.044977 | 1.1885e-06 | -0.002331 | 0.0029774 | 0.0030064 | 0.0030064 | 0.9908 | -0.1029 | 0.99079 | -0.1028 | 1.3665
7 | -0.68045 | -0.30284 | 0.68047 | 0.30224 | 1.5906e-05 | -0.00059535 | 0.021638 | 0.021631 | 0.021638 | 0.99363 | -0.082787 | 0.99365 | -0.082952 | 9.8356
8 | 0.16277 | 0.077696 | -0.16277 | -0.078616 | 1.436e-06 | -0.00091997 | 0.0052415 | 0.0052531 | 0.0052531 | 0.99335 | -0.081533 | 0.99334 | -0.081457 | 2.3878
9 | -0.35057 | -0.16979 | 0.3506 | 0.1697 | 2.087e-05 | -9.5452e-05 | 0.011298 | 0.011297 | 0.011298 | 0.99524 | -0.092541 | 0.99531 | -0.092148 | 5.3802
10 | -6.1703 | -2.8093 | 6.1747 | 2.8044 | 0.0044699 | -0.0048964 | 0.19664 | 0.19654 | 0.19664 | 0.99531 | -0.092148 | 0.9961 | -0.082797 | 54.3192
11 | 3.5128 | 1.5877 | -3.5066 | -1.5947 | 0.0062674 | -0.0070002 | 0.11181 | 0.11191 | 0.11191 | 0.99531 | -0.092148 | 0.99363 | -0.078845 | 50.8701
12 | 0.39043 | 0.17689 | -0.39034 | -0.18693 | 8.8715e-05 | -0.010042 | 0.012432 | 0.012555 | 0.012555 | 0.99531 | -0.092148 | 0.99509 | -0.090337 | 5.7069
13 | 1.9164 | 0.87496 | -1.9137 | -0.8869 | 0.0026927 | -0.011931 | 0.061102 | 0.061256 | 0.061256 | 0.99531 | -0.092148 | 0.99399 | -0.081285 | 27.8438
14 | -6.5104 | -2.9663 | 6.5108 | 2.9635 | 0.00032054 | -0.0027953 | 0.20734 | 0.2073 | 0.20734 | 0.9961 | -0.082797 | 0.99616 | -0.081716 | 24.6243
15 | 0.33571 | 0.16194 | -0.33571 | -0.16259 | 4.2943e-06 | -0.00065134 | 0.010802 | 0.01081 | 0.01081 | 0.9961 | -0.082797 | 0.99609 | -0.082686 | 4.9137
16 | 0.3948 | 0.18855 | -0.39478 | -0.1912 | 2.4407e-05 | -0.0026531 | 0.012711 | 0.012744 | 0.012744 | 0.99363 | -0.078845 | 0.99358 | -0.078315 | 5.7929
17 | 3.1118 | 1.4062 | -3.1096 | -1.4094 | 0.0021602 | -0.0032306 | 0.099206 | 0.099252 | 0.099252 | 0.99363 | -0.078845 | 0.99299 | -0.073695 | 45.1147
18 | 0.39034 | 0.18693 | -0.39032 | -0.18904 | 1.8876e-05 | -0.0021105 | 0.012555 | 0.012582 | 0.012582 | 0.99509 | -0.090337 | 0.99505 | -0.089921 | 5.719
19 | 1.1946 | 0.55024 | -1.1945 | -0.55108 | 7.1415e-05 | -0.00084349 | 0.038196 | 0.038207 | 0.038207 | 0.99399 | -0.081285 | 0.99394 | -0.080821 | 17.3668
20 | 0.71913 | 0.33665 | -0.71909 | -0.33796 | 3.9635e-05 | -0.0013043 | 0.02306 | 0.023077 | 0.023077 | 0.99399 | -0.081285 | 0.99394 | -0.080839 | 10.4893
21 | -6.5108 | -2.9635 | 6.511 | 2.9613 | 0.00024978 | -0.0021793 | 0.2073 | 0.20727 | 0.2073 | 0.99616 | -0.081716 | 0.9962 | -0.080873 | 24.6199
22 | 3.1096 | 1.4094 | -3.1093 | -1.4099 | 0.00032209 | -0.00048095 | 0.099252 | 0.099259 | 0.099259 | 0.99299 | -0.073695 | 0.99289 | -0.072923 | 45.1178
23 | 3.0057 | 1.3597 | -3.005 | -1.3609 | 0.0007011 | -0.0011352 | 0.095914 | 0.095931 | 0.095931 | 0.99289 | -0.072923 | 0.99267 | -0.071193 | 43.6048
24 | 0.1873 | 0.09006 | -0.1873 | -0.090715 | 1.3539e-06 | -0.00065525 | 0.0060361 | 0.0060444 | 0.0060444 | 0.99394 | -0.080839 | 0.99394 | -0.080777 | 2.7474
25 | 0.53179 | 0.2479 | -0.53178 | -0.24874 | 1.3879e-05 | -0.00083981 | 0.017041 | 0.017051 | 0.017051 | 0.99394 | -0.080839 | 0.99392 | -0.08063 | 7.7505
26 | 0.40058 | 0.1852 | -0.40057 | -0.18654 | 1.2556e-05 | -0.0013447 | 0.012818 | 0.012834 | 0.012834 | 0.99392 | -0.08063 | 0.99389 | -0.080383 | 5.8337
27 | 1.0728 | 0.49213 | -1.0725 | -0.49211 | 0.00028825 | 1.8234e-05 | 0.03428 | 0.034282 | 0.034282 | 0.99394 | -0.080821 | 0.99365 | -0.082952 | 16.3246
28 | -6.9186 | -3.1588 | 6.9189 | 3.157 | 0.0002258 | -0.0017192 | 0.22039 | 0.22037 | 0.22039 | 0.9962 | -0.080873 | 0.99624 | -0.080159 | 26.1748
29 | 3.005 | 1.3609 | -3.0025 | -1.3648 | 0.0024513 | -0.0039608 | 0.095931 | 0.095987 | 0.095987 | 0.99267 | -0.071193 | 0.99191 | -0.065102 | 43.6304
30 | 0.40057 | 0.18654 | -0.4005 | -0.19389 | 6.9188e-05 | -0.0073467 | 0.012834 | 0.012926 | 0.012926 | 0.99389 | -0.080383 | 0.99373 | -0.078943 | 5.8755
31 | -0.16276 | -0.078828 | 0.16277 | 0.078616 | 9.088e-06 | -0.00021192 | 0.0052558 | 0.0052531 | 0.0052558 | 0.99328 | -0.081827 | 0.99334 | -0.081457 | 2.5028
32 | -2.1948 | -0.99619 | 2.195 | 0.99564 | 0.00016784 | -0.00054757 | 0.070234 | 0.070226 | 0.070234 | 0.99069 | -0.055235 | 0.99076 | -0.055806 | 31.9244
33 | 1.899 | 0.85291 | -1.8941 | -0.85071 | 0.0049054 | 0.0021984 | 0.060659 | 0.060669 | 0.060669 | 0.99069 | -0.055235 | 0.98796 | -0.07709 | 28.8901
34 | 0.70681 | 0.32873 | -0.70673 | -0.3313 | 7.6139e-05 | -0.0025647 | 0.022713 | 0.022744 | 0.022744 | 0.99076 | -0.055806 | 0.99066 | -0.054942 | 10.3384
35 | -2.9018 | -1.3244 | 2.9054 | 1.3181 | 0.0035898 | -0.0062468 | 0.092938 | 0.09285 | 0.092938 | 0.99076 | -0.055806 | 0.99191 | -0.065102 | 42.2447
36 | 0.1879 | 0.090911 | -0.18789 | -0.091 | 5.2319e-06 | -8.8685e-05 | 0.0060991 | 0.0061003 | 0.0061003 | 0.98796 | -0.07709 | 0.98793 | -0.077274 | 2.9049
37 | 1.7062 | 0.7598 | -1.704 | -0.7719 | 0.0021835 | -0.0121 | 0.054573 | 0.054726 | 0.054726 | 0.98796 | -0.07709 | 0.98676 | -0.067777 | 24.8753
38 | 0.70673 | 0.3313 | -0.70641 | -0.34213 | 0.00032419 | -0.010833 | 0.022744 | 0.022882 | 0.022882 | 0.99066 | -0.054942 | 0.99023 | -0.051088 | 10.4007
39 | 0.097173 | 0.046689 | -0.097173 | -0.047063 | 2.095e-07 | -0.00037386 | 0.0031375 | 0.0031423 | 0.0031423 | 0.99191 | -0.065102 | 0.99191 | -0.065083 | 1.4283
40 | -0.27159 | -0.13154 | 0.2716 | 0.12985 | 7.6045e-06 | -0.0016902 | 0.0088424 | 0.0088209 | 0.0088424 | 0.98518 | -0.062961 | 0.98521 | -0.063202 | 4.0193
41 | -0.2716 | -0.12985 | 0.27169 | 0.10853 | 9.2836e-05 | -0.021317 | 0.0088209 | 0.0085698 | 0.0088209 | 0.98521 | -0.063202 | 0.98552 | -0.065536 | 4.0095
42 | 0.48181 | 0.2285 | -0.48177 | -0.23149 | 4.2258e-05 | -0.0029887 | 0.01562 | 0.015658 | 0.015658 | 0.98552 | -0.065536 | 0.98544 | -0.064796 | 7.1171
43 | -0.75351 | -0.33703 | 0.75369 | 0.33694 | 0.00018634 | -9.0794e-05 | 0.024179 | 0.024176 | 0.024179 | 0.98552 | -0.065536 | 0.98578 | -0.06342 | 11.5136
44 | -0.13718 | -0.066377 | 0.13719 | 0.056267 | 1.1224e-05 | -0.010109 | 0.0044587 | 0.004338 | 0.0044587 | 0.98669 | -0.067189 | 0.98676 | -0.067777 | 2.0267
45 | 0.13718 | 0.066377 | -0.13718 | -0.06644 | 1.9585e-06 | -6.3025e-05 | 0.0044587 | 0.0044595 | 0.0044595 | 0.98669 | -0.067189 | 0.98667 | -0.067283 | 2.1236
46 | 1.5668 | 0.71563 | -1.5665 | -0.71551 | 0.0003313 | 0.00012241 | 0.050391 | 0.050392 | 0.050392 | 0.98676 | -0.067777 | 0.98654 | -0.069477 | 23.9961
47 | 1.1747 | 0.52579 | -1.1746 | -0.52707 | 0.00010692 | -0.0012799 | 0.03766 | 0.037676 | 0.037676 | 0.98654 | -0.069477 | 0.98646 | -0.068819 | 17.1253
48 | 0.33853 | 0.16211 | -0.33852 | -0.16339 | 8.935e-06 | -0.001279 | 0.010995 | 0.011012 | 0.011012 | 0.98544 | -0.064796 | 0.98542 | -0.06457 | 5.0052
49 | 0.2679 | 0.1283 | -0.26789 | -0.12901 | 3.0925e-06 | -0.00070871 | 0.0086983 | 0.0087073 | 0.0087073 | 0.98578 | -0.06342 | 0.98577 | -0.063321 | 3.9579
50 | 0.15218 | 0.071976 | -0.15217 | -0.073701 | 2.4231e-06 | -0.0017246 | 0.0049296 | 0.0049514 | 0.0049514 | 0.98578 | -0.06342 | 0.98577 | -0.063285 | 2.2506
51 | -1.1738 | -0.53722 | 1.1746 | 0.52707 | 0.00085178 | -0.010149 | 0.037801 | 0.037676 | 0.037801 | 0.98578 | -0.06342 | 0.98646 | -0.068819 | 17.1824
52 | 0.26789 | 0.12901 | -0.26789 | -0.12975 | 3.2177e-06 | -0.00073583 | 0.0087073 | 0.0087167 | 0.0087167 | 0.98577 | -0.063321 | 0.98576 | -0.063217 | 3.9621
53 | 0.13145 | 0.063101 | -0.13145 | -0.063663 | 5.9116e-07 | -0.0005616 | 0.0042714 | 0.0042786 | 0.0042786 | 0.98542 | -0.06457 | 0.98542 | -0.064531 | 1.9448
54 | -0.32001 | -0.15447 | 0.32001 | 0.15427 | 1.173e-06 | -0.00019667 | 0.010289 | 0.010287 | 0.010289 | 0.99695 | -0.06418 | 0.99695 | -0.064211 | 4.6769
55 | 0.14211 | 0.068309 | -0.14211 | -0.068829 | 6.1138e-07 | -0.00052041 | 0.0045657 | 0.0045723 | 0.0045723 | 0.99695 | -0.06418 | 0.99695 | -0.064143 | 2.0783
56 | -0.62833 | -0.30359 | 0.62835 | 0.30254 | 2.4426e-05 | -0.001057 | 0.020206 | 0.020193 | 0.020206 | 0.99695 | -0.064211 | 0.99699 | -0.064547 | 9.1846
57 | -0.75287 | -0.36284 | 0.7529 | 0.36187 | 3.2262e-05 | -0.00097041 | 0.024199 | 0.024186 | 0.024199 | 0.99699 | -0.064547 | 0.99703 | -0.064915 | 10.9994
58 | 10.1468 | 4.5966 | -10.1456 | -4.6002 | 0.001165 | -0.0035876 | 0.32234 | 0.3224 | 0.3224 | 0.99759 | -0.049571 | 0.99745 | -0.052108 | 38.2897
59 | -10.1468 | -4.5966 | 10.1486 | 4.5992 | 0.0018784 | 0.0025889 | 0.32234 | 0.32234 | 0.32234 | 0.99759 | -0.049571 | 0.99784 | -0.040818 | 39.3102
60 | 10.1456 | 4.6002 | -10.1456 | -4.6002 | 6.0032e-07 | -1.8547e-06 | 0.3224 | 0.3224 | 0.3224 | 0.99745 | -0.052108 | 0.99745 | -0.052109 | 38.2897
61 | -10.3099 | -4.6773 | 10.3122 | 4.6706 | 0.0022756 | -0.0067345 | 0.32753 | 0.32742 | 0.32753 | 0.99784 | -0.040818 | 0.9981 | -0.035943 | 38.8985
62 | -0.82215 | -0.39541 | 0.82217 | 0.39541 | 2.0181e-05 | -6.6256e-06 | 0.026414 | 0.026414 | 0.026414 | 0.99703 | -0.064915 | 0.99706 | -0.064749 | 12.5782
63 | 8.8712 | 3.9857 | -8.8707 | -3.9877 | 0.0004735 | -0.0020436 | 0.28158 | 0.28161 | 0.28161 | 0.99706 | -0.064749 | 0.99699 | -0.065941 | 33.445
64 | -9.9907 | -4.525 | 9.9912 | 4.5233 | 0.00055935 | -0.0017892 | 0.31754 | 0.31752 | 0.31754 | 0.99706 | -0.064749 | 0.99712 | -0.063511 | 37.713
65 | 8.8707 | 3.9877 | -8.8677 | -4.0009 | 0.003055 | -0.013165 | 0.28161 | 0.2818 | 0.2818 | 0.99699 | -0.065941 | 0.99659 | -0.073615 | 33.4676
66 | -10.0656 | -4.5593 | 10.0681 | 4.5626 | 0.0024272 | 0.0033428 | 0.31991 | 0.31991 | 0.31991 | 0.99712 | -0.063511 | 0.99745 | -0.052109 | 39.0133
67 | -0.24624 | -0.11926 | 0.24626 | 0.11908 | 1.823e-05 | -0.0001808 | 0.0079356 | 0.0079332 | 0.0079356 | 0.99528 | -0.06476 | 0.99536 | -0.06427 | 3.7789
68 | -0.24626 | -0.11908 | 0.24629 | 0.11 | 3.1807e-05 | -0.0090754 | 0.0079332 | 0.0078221 | 0.0079332 | 0.99536 | -0.06427 | 0.99548 | -0.065295 | 3.606
69 | 0.36194 | 0.17406 | -0.36193 | -0.17529 | 9.4827e-06 | -0.0012346 | 0.011646 | 0.011662 | 0.011662 | 0.99548 | -0.065295 | 0.99545 | -0.065069 | 5.3009
70 | -1.8616 | -0.83175 | 1.8638 | 0.82121 | 0.0022013 | -0.010544 | 0.059128 | 0.058997 | 0.059128 | 0.99548 | -0.065295 | 0.99659 | -0.073615 | 26.8765
71 | 1.2534 | 0.54769 | -1.2518 | -0.56547 | 0.0016325 | -0.017784 | 0.039666 | 0.039881 | 0.039881 | 0.99548 | -0.065295 | 0.99425 | -0.056083 | 18.1277
72 | 6.9209 | 3.1413 | -6.9189 | -3.157 | 0.0020608 | -0.015715 | 0.22016 | 0.22037 | 0.22037 | 0.99659 | -0.073615 | 0.99624 | -0.080159 | 26.172
73 | 0.082926 | 0.038341 | -0.082925 | -0.040163 | 7.2441e-07 | -0.0018217 | 0.0026464 | 0.002669 | 0.002669 | 0.99659 | -0.073615 | 0.99658 | -0.073543 | 1.2132
74 | 1.2518 | 0.56547 | -1.2516 | -0.5672 | 0.00015948 | -0.0017243 | 0.039881 | 0.039902 | 0.039902 | 0.99425 | -0.056083 | 0.99413 | -0.055139 | 18.1373
75 | 0.89704 | 0.39547 | -0.89704 | -0.39555 | 3.8699e-06 | -8.3257e-05 | 0.028467 | 0.028468 | 0.028468 | 0.99413 | -0.055139 | 0.99413 | -0.055109 | 12.9401
76 | 0.083756 | 0.040064 | -0.083756 | -0.040565 | 2.0637e-07 | -0.00050059 | 0.002696 | 0.0027023 | 0.0027023 | 0.99413 | -0.055109 | 0.99413 | -0.055088 | 1.2283
77 | 0.81328 | 0.35549 | -0.81263 | -0.35573 | 0.00065536 | -0.00024205 | 0.025774 | 0.025781 | 0.025781 | 0.99413 | -0.055109 | 0.99327 | -0.062434 | 12.2768
78 | -0.40048 | -0.19396 | 0.4005 | 0.19389 | 2.1288e-05 | -7.0956e-05 | 0.012927 | 0.012926 | 0.012927 | 0.99367 | -0.079293 | 0.99373 | -0.078943 | 6.1557
79 | 0.14176 | 0.05088 | -0.14176 | -0.051488 | 6.4408e-07 | -0.0006083 | 0.004348 | 0.0043539 | 0.0043539 | 1 | 0 | 1 | 1.4836e-05 | 1.9791
80 | 13.613 | 6.144 | -13.6098 | -6.1482 | 0.0031622 | -0.0041961 | 0.43114 | 0.43123 | 0.43123 | 1 | 0 | 0.99973 | -0.0051578 | 51.2149
81 | 0.14176 | 0.051488 | -0.14175 | -0.066954 | 1.7017e-05 | -0.015466 | 0.0043539 | 0.0045259 | 0.0045259 | 1 | 1.4836e-05 | 0.99988 | 0.0007243 | 2.0572
82 | 10.8306 | 4.8736 | -10.822 | -4.896 | 0.0085598 | -0.022452 | 0.34294 | 0.3433 | 0.3433 | 0.99973 | -0.0051578 | 0.9988 | -0.022729 | 40.772
83 | 0.35281 | 0.1615 | -0.35275 | -0.17074 | 6.5725e-05 | -0.0092441 | 0.011204 | 0.011318 | 0.011318 | 0.99973 | -0.0051578 | 0.99955 | -0.0036352 | 5.1447
84 | 2.4265 | 1.1132 | -2.4241 | -1.1197 | 0.0024065 | -0.0065103 | 0.077087 | 0.077174 | 0.077174 | 0.99973 | -0.0051578 | 0.9988 | 0.002522 | 35.0791
85 | 0.14175 | 0.066954 | -0.14174 | -0.06865 | 1.9528e-06 | -0.0016961 | 0.0045259 | 0.004547 | 0.004547 | 0.99988 | 0.0007243 | 0.99987 | 0.00084102 | 2.0668
86 | 10.4191 | 4.7013 | -10.4143 | -4.7153 | 0.0048338 | -0.013986 | 0.33037 | 0.33059 | 0.33059 | 0.9988 | -0.022729 | 0.99825 | -0.033018 | 39.2626
87 | 0.40288 | 0.19467 | -0.40288 | -0.19512 | 4.2755e-06 | -0.00045464 | 0.012932 | 0.012938 | 0.012938 | 0.9988 | -0.022729 | 0.99879 | -0.022637 | 5.8809
88 | 0.35275 | 0.17074 | -0.35273 | -0.17083 | 1.9483e-05 | -8.9592e-05 | 0.011318 | 0.01132 | 0.01132 | 0.99955 | -0.0036352 | 0.9995 | -0.0039997 | 5.3902
89 | 2.4241 | 1.1197 | -2.4239 | -1.1201 | 0.00016592 | -0.00044775 | 0.077174 | 0.07718 | 0.07718 | 0.9988 | 0.002522 | 0.99873 | 0.0030565 | 35.0818
90 | 10.4143 | 4.7153 | -10.4138 | -4.7166 | 0.00044316 | -0.00128 | 0.33059 | 0.33061 | 0.33061 | 0.99825 | -0.033018 | 0.9982 | -0.033959 | 39.265
91 | 10.3131 | 4.6678 | -10.3122 | -4.6706 | 0.00092499 | -0.0027404 | 0.32738 | 0.32742 | 0.32742 | 0.9982 | -0.033959 | 0.9981 | -0.035943 | 38.886
92 | 2.1793 | 1.0017 | -2.1792 | -1.002 | 9.5519e-05 | -0.00032617 | 0.069327 | 0.069331 | 0.069331 | 0.99873 | 0.0030565 | 0.99869 | 0.0033946 | 31.5141
93 | 2.1792 | 1.002 | -2.1769 | -1.0098 | 0.0022936 | -0.0078101 | 0.069331 | 0.069434 | 0.069434 | 0.99869 | 0.0033946 | 0.99771 | 0.01161 | 31.5609
94 | 0.28653 | 0.13297 | -0.28652 | -0.13382 | 4.0944e-06 | -0.00085122 | 0.0091905 | 0.009201 | 0.009201 | 0.99217 | 0.014866 | 0.99215 | 0.01498 | 4.1823
95 | -0.45605 | -0.21507 | 0.45618 | 0.21475 | 0.0001294 | -0.00031576 | 0.014671 | 0.014666 | 0.014671 | 0.99217 | 0.014866 | 0.99246 | 0.016931 | 6.986
96 | 0.28652 | 0.13382 | -0.28651 | -0.13714 | 1.6067e-05 | -0.0033214 | 0.009201 | 0.0092424 | 0.0092424 | 0.99215 | 0.01498 | 0.9921 | 0.015443 | 4.2011
97 | -0.75806 | -0.36096 | 0.75811 | 0.35968 | 4.4037e-05 | -0.0012886 | 0.024422 | 0.024405 | 0.024422 | 0.99246 | 0.016931 | 0.99252 | 0.016446 | 11.1008
98 | 0.12394 | 0.05974 | -0.12394 | -0.060025 | 2.5961e-07 | -0.00028481 | 0.0040033 | 0.0040069 | 0.0040069 | 0.9921 | 0.015443 | 0.9921 | 0.015461 | 1.8213
99 | 0.16257 | 0.077398 | -0.16257 | -0.078735 | 2.0923e-06 | -0.0013369 | 0.0052391 | 0.005256 | 0.005256 | 0.9921 | 0.015443 | 0.99209 | 0.015553 | 2.3891
100 | -0.75811 | -0.35968 | 0.75934 | 0.35908 | 0.0012293 | -0.00059555 | 0.024405 | 0.024388 | 0.024405 | 0.99252 | 0.016446 | 0.99422 | 0.028024 | 11.6216
101 | -0.92269 | -0.43819 | 0.92277 | 0.43649 | 8.6157e-05 | -0.0017075 | 0.029658 | 0.029637 | 0.029658 | 0.99422 | 0.028024 | 0.99431 | 0.027249 | 13.481
102 | -0.92277 | -0.43649 | 0.92282 | 0.43553 | 4.8346e-05 | -0.00095937 | 0.029637 | 0.029625 | 0.029637 | 0.99431 | 0.027249 | 0.99436 | 0.026818 | 13.4712
103 | -0.35085 | -0.16993 | 0.35086 | 0.16933 | 4.3206e-06 | -0.000593 | 0.01133 | 0.011322 | 0.01133 | 0.99326 | -0.062327 | 0.99327 | -0.062434 | 5.15
104 | 0.46177 | 0.1864 | -0.46155 | -0.2045 | 0.00021878 | -0.018102 | 0.014473 | 0.014678 | 0.014678 | 0.99327 | -0.062434 | 0.99282 | -0.059516 | 6.672
105 | 0.37264 | 0.1798 | -0.37263 | -0.18047 | 5.5736e-06 | -0.00067677 | 0.01203 | 0.012039 | 0.012039 | 0.99282 | -0.059516 | 0.99281 | -0.059386 | 5.4722
106 | 0.088912 | 0.024703 | -0.088905 | -0.041435 | 7.2228e-06 | -0.016733 | 0.0026832 | 0.0028522 | 0.0028522 | 0.99282 | -0.059516 | 0.99274 | -0.059208 | 1.2965
107 | 0.088905 | 0.041435 | -0.088904 | -0.043058 | 7.5445e-07 | -0.0016229 | 0.0028522 | 0.0028725 | 0.0028725 | 0.99274 | -0.059208 | 0.99274 | -0.059137 | 1.3057
108 | -1.9753 | -0.92303 | 1.9755 | 0.92223 | 0.00019312 | -0.00080129 | 0.063187 | 0.063177 | 0.063187 | 0.99611 | 0.01737 | 0.9962 | 0.016586 | 28.7214
109 | 1.6457 | 0.76337 | -1.6453 | -0.76324 | 0.0003372 | 0.00013012 | 0.052573 | 0.052574 | 0.052574 | 0.99611 | 0.01737 | 0.99589 | 0.0158 | 25.0353
110 | -1.9755 | -0.92223 | 1.9774 | 0.91441 | 0.0018793 | -0.0078209 | 0.063177 | 0.063074 | 0.063177 | 0.9962 | 0.016586 | 0.99708 | 0.0090587 | 28.7166
111 | 1.6453 | 0.76324 | -1.643 | -0.77724 | 0.0022988 | -0.014001 | 0.052574 | 0.052755 | 0.052755 | 0.99589 | 0.0158 | 0.99459 | 0.027088 | 23.9794
112 | -1.9774 | -0.91441 | 1.9777 | 0.9133 | 0.00026446 | -0.0011039 | 0.063074 | 0.06306 | 0.063074 | 0.99708 | 0.0090587 | 0.99721 | 0.0080138 | 28.6701
113 | 0.38206 | 0.17969 | -0.38204 | -0.18251 | 2.4012e-05 | -0.0028135 | 0.012254 | 0.012289 | 0.012289 | 0.99459 | 0.027088 | 0.99453 | 0.02761 | 5.5861
114 | 1.261 | 0.59755 | -1.2608 | -0.59751 | 0.00017915 | 3.9836e-05 | 0.0405 | 0.040501 | 0.040501 | 0.99459 | 0.027088 | 0.99444 | 0.026075 | 19.2864
115 | 0.38204 | 0.18251 | -0.38201 | -0.18502 | 2.156e-05 | -0.0025123 | 0.012289 | 0.012321 | 0.012321 | 0.99453 | 0.02761 | 0.99448 | 0.028094 | 5.6005
116 | 0.9229 | 0.43386 | -0.92282 | -0.43553 | 8.385e-05 | -0.001666 | 0.029604 | 0.029625 | 0.029625 | 0.99444 | 0.026075 | 0.99436 | 0.026818 | 13.4657
117 | -2.1759 | -1.0093 | 2.1769 | 1.0098 | 0.0010215 | 0.0004986 | 0.069436 | 0.069434 | 0.069436 | 0.99721 | 0.0080138 | 0.99771 | 0.01161 | 33.0646

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.1557 | 6.3928

## res_load
| p_mw | q_mvar
0 | 0.18329 | 0.088772
1 | 0.15131 | 0.073285
2 | 0.089109 | 0.043158
3 | 0.35057 | 0.16979
4 | 0.33571 | 0.16259
5 | 0.10357 | 0.050163
6 | 0.1873 | 0.090715
7 | 0.1312 | 0.063542
8 | 0.39478 | 0.1912
9 | 0.39032 | 0.18904
10 | 0.12172 | 0.058952
11 | 0.40762 | 0.19742
12 | 0.39203 | 0.18987
13 | 0.16276 | 0.078828
14 | 0.29584 | 0.14328
15 | 0.27159 | 0.13154
16 | 0.13718 | 0.06644
17 | 0.39173 | 0.18972
18 | 0.14324 | 0.069374
19 | 0.18789 | 0.091
20 | 0.15217 | 0.073701
21 | 0.26789 | 0.12975
22 | 0.20707 | 0.10029
23 | 0.13145 | 0.063663
24 | 0.70641 | 0.34213
25 | 0.097173 | 0.047063
26 | 0.1779 | 0.086159
27 | 0.30831 | 0.14932
28 | 0.14211 | 0.068829
29 | 0.12452 | 0.060307
30 | 0.16131 | 0.078124
31 | 0.069254 | 0.033541
32 | 0.29727 | 0.14398
33 | 0.074429 | 0.036048
34 | 0.24624 | 0.11926
35 | 0.082925 | 0.040163
36 | 0.35457 | 0.17173
37 | 0.36193 | 0.17529
38 | 0.40048 | 0.19396
39 | 0.092867 | 0.044977
40 | 0.38689 | 0.18738
41 | 0.14174 | 0.06865
42 | 0.40288 | 0.19512
43 | 0.10068 | 0.048764
44 | 0.35273 | 0.17083
45 | 0.24457 | 0.11845
46 | 0.077522 | 0.037546
47 | 0.16952 | 0.082104
48 | 0.30188 | 0.14621
49 | 0.16335 | 0.079113
50 | 0.12394 | 0.060025
51 | 0.16257 | 0.078735
52 | 0.35085 | 0.16993
53 | 0.083756 | 0.040565
54 | 0.37263 | 0.18047
55 | 0.088904 | 0.043058
56 | 0.32966 | 0.15966
57 | 0.33789 | 0.16365
58 | 0.38201 | 0.18502
59 | 0.19825 | 0.096018

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1