## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_302_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_302_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_302_0_node_167 | 20 | n |  | TRUE
3 | bus_MV_302_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_302_0_node_5 | 20 | n |  | TRUE
5 | bus_MV_302_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_302_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_302_0_node_102 | 20 | n |  | TRUE
8 | bus_MV_302_0_node_32 | 20 | n |  | TRUE
9 | bus_MV_302_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_302_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_302_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_302_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_302_0_node_27 | 20 | n |  | TRUE
14 | bus_MV_302_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_302_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_302_0_node_22 | 20 | n |  | TRUE
17 | bus_MV_302_0_node_13 | 20 | n |  | TRUE
18 | bus_MV_302_0_node_168 | 20 | n |  | TRUE
19 | bus_MV_302_0_node_14 | 20 | n |  | TRUE
20 | bus_MV_302_0_node_15 | 20 | n |  | TRUE
21 | bus_MV_302_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_302_0_node_175 | 20 | n |  | TRUE
23 | bus_MV_302_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_302_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_302_0_node_25 | 20 | n |  | TRUE
26 | bus_MV_302_0_node_24 | 20 | n |  | TRUE
27 | bus_MV_302_0_node_21 | 20 | n |  | TRUE
28 | bus_MV_302_0_node_29 | 20 | n |  | TRUE
29 | bus_MV_302_0_node_173 | 20 | n |  | TRUE
30 | bus_MV_302_0_node_23 | 20 | n |  | TRUE
31 | bus_MV_302_0_node_171 | 20 | n |  | TRUE
32 | bus_MV_302_0_node_26 | 20 | n |  | TRUE
33 | bus_MV_302_0_node_28 | 20 | n |  | TRUE
34 | bus_MV_302_0_node_30 | 20 | n |  | TRUE
35 | bus_MV_302_0_node_31 | 20 | n |  | TRUE
36 | bus_MV_302_0_node_103 | 20 | n |  | TRUE
37 | bus_MV_302_0_node_104 | 20 | n |  | TRUE
38 | bus_MV_302_0_node_184 | 20 | n |  | TRUE
39 | bus_MV_302_0_node_105 | 20 | n |  | TRUE
40 | bus_MV_302_0_node_185 | 20 | n |  | TRUE
41 | bus_MV_302_0_node_107 | 20 | n |  | TRUE
42 | bus_MV_302_0_node_106 | 20 | n |  | TRUE
43 | bus_MV_302_0_node_109 | 20 | n |  | TRUE
44 | bus_MV_302_0_node_108 | 20 | n |  | TRUE
45 | bus_MV_302_0_node_111 | 20 | n |  | TRUE
46 | bus_MV_302_0_node_110 | 20 | n |  | TRUE
47 | bus_MV_302_0_node_112 | 20 | n |  | TRUE
48 | bus_MV_302_0_node_117 | 20 | n |  | TRUE
49 | bus_MV_302_0_node_113 | 20 | n |  | TRUE
50 | bus_MV_302_0_node_114 | 20 | n |  | TRUE
51 | bus_MV_302_0_node_125 | 20 | n |  | TRUE
52 | bus_MV_302_0_node_115 | 20 | n |  | TRUE
53 | bus_MV_302_0_node_119 | 20 | n |  | TRUE
54 | bus_MV_302_0_node_118 | 20 | n |  | TRUE
55 | bus_MV_302_0_node_120 | 20 | n |  | TRUE
56 | bus_MV_302_0_node_122 | 20 | n |  | TRUE
57 | bus_MV_302_0_node_126 | 20 | n |  | TRUE
58 | bus_MV_302_0_node_121 | 20 | n |  | TRUE
59 | bus_MV_302_0_node_166 | 20 | n |  | TRUE
60 | bus_MV_302_0_node_123 | 20 | n |  | TRUE
61 | bus_MV_302_0_node_127 | 20 | n |  | TRUE
62 | bus_MV_302_0_node_128 | 20 | n |  | TRUE
63 | bus_MV_302_0_node_162 | 20 | n |  | TRUE
64 | bus_MV_302_0_node_163 | 20 | n |  | TRUE
65 | bus_MV_302_0_node_164 | 20 | n |  | TRUE
66 | bus_MV_302_0_node_190 | 20 | n |  | TRUE
67 | bus_MV_302_0_node_165 | 20 | n |  | TRUE
68 | bus_MV_302_0_node_189 | 20 | n |  | TRUE
69 | bus_MV_302_0_node_169 | 20 | n |  | TRUE
70 | bus_MV_302_0_node_170 | 20 | n |  | TRUE
71 | bus_MV_302_0_node_172 | 20 | n |  | TRUE
72 | bus_MV_302_0_node_174 | 20 | n |  | TRUE
73 | bus_MV_302_0_node_188 | 20 | n |  | TRUE
74 | bus_HV_302_0_node_21 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_302_0_load_0 | 0 | 0.18898 | 0.091525 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_302_0_load_167 | 2 | 0.19569 | 0.094777 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_302_0_load_3 | 3 | 0.35708 | 0.17294 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_302_0_load_102 | 7 | 0.15003 | 0.072664 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_302_0_load_7 | 9 | 0.13019 | 0.063052 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_302_0_load_9 | 10 | 0.29968 | 0.14514 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_302_0_load_12 | 15 | 0.12247 | 0.059315 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_302_0_load_22 | 16 | 0.057001 | 0.027607 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_302_0_load_14 | 19 | 0.05798 | 0.028081 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_302_0_load_175 | 22 | 0.11926 | 0.05776 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_302_0_load_17 | 23 | 0.099833 | 0.048351 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_302_0_load_25 | 25 | 0.2984 | 0.14452 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_302_0_load_21 | 27 | 0.10526 | 0.050981 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_302_0_load_29 | 28 | 0.1612 | 0.078075 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_302_0_load_173 | 29 | 0.069969 | 0.033887 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_302_0_load_23 | 30 | 0.10483 | 0.050771 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_302_0_load_26 | 32 | 0.093439 | 0.045255 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_302_0_load_30 | 34 | 0.13679 | 0.066251 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_302_0_load_103 | 36 | 0.12677 | 0.061397 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_302_0_load_185 | 40 | 0.14436 | 0.069917 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_302_0_load_109 | 43 | 0.091369 | 0.044252 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_302_0_load_108 | 44 | 0.074152 | 0.035913 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_302_0_load_111 | 45 | 0.078915 | 0.03822 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_302_0_load_110 | 46 | 0.080504 | 0.03899 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_302_0_load_117 | 48 | 0.079727 | 0.038614 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_302_0_load_113 | 49 | 0.14619 | 0.070805 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_302_0_load_125 | 51 | 0.064735 | 0.031353 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_302_0_load_118 | 54 | 0.14813 | 0.071744 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_302_0_load_126 | 57 | 0.14021 | 0.067906 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_302_0_load_166 | 59 | 0.15476 | 0.074953 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_302_0_load_123 | 60 | 0.091586 | 0.044357 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_302_0_load_127 | 61 | 0.086043 | 0.041673 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_302_0_load_128 | 62 | 0.12953 | 0.062734 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_302_0_load_162 | 63 | 0.14614 | 0.070777 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_302_0_load_190 | 66 | 0.28769 | 0.13933 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_302_0_load_169 | 69 | 0.12193 | 0.059051 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_302_0_load_170 | 70 | 0.099885 | 0.048376 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_302_0_load_188 | 73 | 0.10415 | 0.050442 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_302_0_line_0 |  | 0 | 1 | 0.036187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_302_0_line_1 |  | 1 | 2 | 2.253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_302_0_line_2 |  | 2 | 6 | 0.13586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_302_0_line_3 |  | 3 | 4 | 0.009093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_302_0_line_4 |  | 3 | 5 | 0.048829 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_302_0_line_5 |  | 4 | 8 | 1.1396 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_302_0_line_6 |  | 5 | 6 | 0.63111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_302_0_line_7 |  | 5 | 7 | 2.7274 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_302_0_line_8 |  | 7 | 31 | 1.6271 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_302_0_line_9 |  | 8 | 34 | 0.014194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_302_0_line_10 |  | 9 | 10 | 0.071912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_302_0_line_11 |  | 9 | 11 | 0.11606 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_302_0_line_12 |  | 10 | 13 | 1.0839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_302_0_line_13 |  | 11 | 12 | 0.51326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_302_0_line_14 |  | 12 | 14 | 0.74752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_302_0_line_15 |  | 12 | 15 | 0.10844 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_302_0_line_16 |  | 13 | 33 | 0.25303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_302_0_line_17 |  | 13 | 32 | 0.058121 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_302_0_line_18 |  | 14 | 16 | 0.15289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_302_0_line_19 |  | 15 | 17 | 0.049319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_302_0_line_20 |  | 17 | 18 | 1.7595 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_302_0_line_21 |  | 18 | 69 | 0.048505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_302_0_line_22 |  | 19 | 20 | 0.087752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_302_0_line_23 |  | 20 | 21 | 0.29931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_302_0_line_24 |  | 20 | 22 | 1.0089 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_302_0_line_25 |  | 21 | 23 | 0.08244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_302_0_line_26 |  | 22 | 72 | 0.03591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_302_0_line_27 |  | 24 | 25 | 0.07885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_302_0_line_28 |  | 24 | 26 | 0.28149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_302_0_line_29 |  | 26 | 30 | 0.090534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_302_0_line_30 |  | 27 | 28 | 0.46461 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_302_0_line_31 |  | 27 | 29 | 1.4068 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
32 | MV_302_0_line_32 |  | 28 | 33 | 0.040866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_302_0_line_33 |  | 29 | 38 | 0.072327 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
34 | MV_302_0_line_34 |  | 29 | 35 | 1.1665 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
35 | MV_302_0_line_35 |  | 29 | 71 | 0.052825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_302_0_line_36 |  | 30 | 31 | 2.2158 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_302_0_line_37 |  | 31 | 70 | 0.081284 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_302_0_line_38 |  | 34 | 35 | 0.012321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_302_0_line_39 |  | 36 | 37 | 0.10516 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
40 | MV_302_0_line_40 |  | 36 | 38 | 2.2054 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
41 | MV_302_0_line_41 |  | 37 | 39 | 0.51859 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
42 | MV_302_0_line_42 |  | 39 | 40 | 0.019395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_302_0_line_43 |  | 39 | 41 | 0.35708 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
44 | MV_302_0_line_44 |  | 41 | 44 | 0.031588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_302_0_line_45 |  | 41 | 42 | 0.24172 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
46 | MV_302_0_line_46 |  | 42 | 43 | 0.12364 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
47 | MV_302_0_line_47 |  | 43 | 45 | 0.22715 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
48 | MV_302_0_line_48 |  | 45 | 46 | 0.023299 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
49 | MV_302_0_line_49 |  | 46 | 47 | 0.17205 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
50 | MV_302_0_line_50 |  | 47 | 48 | 1.0431 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
51 | MV_302_0_line_51 |  | 48 | 53 | 0.45129 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_302_0_line_52 |  | 48 | 52 | 0.19165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_302_0_line_53 |  | 49 | 50 | 0.053054 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_302_0_line_54 |  | 49 | 51 | 0.26779 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_302_0_line_55 |  | 50 | 52 | 0.077302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_302_0_line_56 |  | 51 | 56 | 0.099678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_302_0_line_57 |  | 51 | 60 | 0.12227 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_302_0_line_58 |  | 53 | 54 | 0.014226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_302_0_line_59 |  | 55 | 56 | 0.25129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_302_0_line_60 |  | 55 | 57 | 0.099498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_302_0_line_61 |  | 56 | 58 | 0.21665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_302_0_line_62 |  | 57 | 61 | 0.028299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_302_0_line_63 |  | 58 | 59 | 0.053278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_302_0_line_64 |  | 59 | 67 | 0.06396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_302_0_line_65 |  | 61 | 62 | 0.063421 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_302_0_line_66 |  | 63 | 64 | 0.034321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_302_0_line_67 |  | 64 | 65 | 0.19786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_302_0_line_68 |  | 65 | 66 | 0.02392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_302_0_line_69 |  | 65 | 67 | 1.1803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_302_0_line_70 |  | 65 | 68 | 0.1627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_302_0_line_71 |  | 68 | 73 | 0.02479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_302_0_line_72 |  | 71 | 72 | 0.26087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_302_0_trafo_21 | 25 MVA 110/20 kV | 74 | 27 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2653078.1031 | 1263281.7805
1 | 2653093.3478 | 1263314.6189
2 | 2652589.9252 | 1265510.6773
3 | 2652409.795 | 1266160.9657
4 | 2652412.7906 | 1266169.5541
5 | 2652382.2506 | 1266120.6477
6 | 2652545.9388 | 1265639.2248
7 | 2649658.7424 | 1265975.5831
8 | 2652121.7661 | 1267271.4028
9 | 2654246.7374 | 1266834.3914
10 | 2654210.1407 | 1266895.1068
11 | 2654362.8008 | 1266834.7241
12 | 2654400.9753 | 1266560.7619
13 | 2653980.8535 | 1267954.4645
14 | 2653774.1757 | 1266807.0998
15 | 2654499.2072 | 1266514.8213
16 | 2653676.8641 | 1266887.1637
17 | 2654533.1479 | 1266481.0871
18 | 2656291.578 | 1266542.075
19 | 2650833.0317 | 1269078.3391
20 | 2650874.9484 | 1269001.187
21 | 2650665.2007 | 1269037.0902
22 | 2651695.5182 | 1268414.1707
23 | 2650601.9562 | 1269073.531
24 | 2650256.2857 | 1269471.566
25 | 2650279.7162 | 1269546.8544
26 | 2650182.1116 | 1269356.9733
27 | 2653355.7377 | 1268205.9879
28 | 2653767.0181 | 1267989.8645
29 | 2651970.3964 | 1268450.7853
30 | 2650244.2621 | 1269311.3563
31 | 2649013.0109 | 1267469.0767
32 | 2654001.8993 | 1268008.6413
33 | 2653800.7578 | 1267966.8989
34 | 2652111.6016 | 1267281.087
35 | 2652114.0544 | 1267293.1619
36 | 2652765.3583 | 1270568.9591
37 | 2652868.9645 | 1270586.9651
38 | 2651979.7041 | 1268508.2986
39 | 2653107.8426 | 1270841.8644
40 | 2653090.5216 | 1270833.0355
41 | 2653272.5237 | 1271031.3442
42 | 2653419.7107 | 1270988.9855
43 | 2653531.5321 | 1271042.4375
44 | 2653297.3217 | 1271050.9603
45 | 2653725.6637 | 1271160.3834
46 | 2653716.3294 | 1271181.7308
47 | 2653835.7332 | 1271119.7923
48 | 2654800.7425 | 1271515.7872
49 | 2655022.2199 | 1271409.2164
50 | 2654997.4803 | 1271362.284
51 | 2655289.9287 | 1271402.5546
52 | 2654920.7521 | 1271372.1445
53 | 2655212.8072 | 1271699.8135
54 | 2655211.802 | 1271714.0037
55 | 2655430.5238 | 1271187.2316
56 | 2655387.986 | 1271422.0098
57 | 2655433.8253 | 1271088.7661
58 | 2655488.292 | 1271408.6297
59 | 2655539.6295 | 1271422.3668
60 | 2655251.7951 | 1271286.3881
61 | 2655443.4559 | 1271062.1474
62 | 2655455.4976 | 1270999.8802
63 | 2655887.4892 | 1272388.0501
64 | 2655920.7344 | 1272396.5768
65 | 2655936.1632 | 1272222.3907
66 | 2655917.1963 | 1272208.7341
67 | 2655573.7527 | 1271461.2503
68 | 2655872.084 | 1272326.3854
69 | 2656306.5757 | 1266496.1394
70 | 2648935.5293 | 1267455.2026
71 | 2651922.7943 | 1268473.1614
72 | 2651724.0153 | 1268392.2259
73 | 2655896.2637 | 1272331.9851
74 | 2653355.7377 | 1268205.9879

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98782 | -0.27937 | 0.18898 | 0.091525
1 | 0.98783 | -0.27945 | 0 | 0
2 | 0.98866 | -0.27376 | 0.19569 | 0.094777
3 | 0.98913 | -0.27595 | 0.35708 | 0.17294
4 | 0.98915 | -0.27608 | 0 | 0
5 | 0.98903 | -0.27675 | 0 | 0
6 | 0.98872 | -0.27435 | 0 | 0
7 | 0.98557 | -0.30319 | 0.15003 | 0.072664
8 | 0.99222 | -0.25233 | 0 | 0
9 | 0.99729 | -0.018574 | 0.13019 | 0.063052
10 | 0.99733 | -0.018768 | 0.29968 | 0.14514
11 | 0.99723 | -0.019378 | 0 | 0
12 | 0.99704 | -0.018569 | 0 | 0
13 | 0.99883 | -0.0053943 | 0 | 0
14 | 0.99698 | -0.018655 | 0 | 0
15 | 0.99698 | -0.018933 | 0.12247 | 0.059315
16 | 0.99697 | -0.018568 | 0.057001 | 0.027607
17 | 0.99698 | -0.018873 | 0 | 0
18 | 0.99656 | -0.021812 | 0 | 0
19 | 0.99395 | -0.19998 | 0.05798 | 0.028081
20 | 0.99396 | -0.20003 | 0 | 0
21 | 0.99392 | -0.19978 | 0 | 0
22 | 0.99426 | -0.19707 | 0.11926 | 0.05776
23 | 0.99391 | -0.19968 | 0.099833 | 0.048351
24 | 0.98211 | -0.32786 | 0 | 0
25 | 0.98208 | -0.32758 | 0.2984 | 0.14452
26 | 0.98222 | -0.32881 | 0 | 0
27 | 1 | 0 | -5.0984 | -2.2605
28 | 0.99913 | -0.007466 | 0.1612 | 0.078075
29 | 0.99438 | -0.19787 | 0.069969 | 0.033887
30 | 0.98225 | -0.32909 | 0.10483 | 0.050771
31 | 0.98399 | -0.31564 | 0 | 0
32 | 0.99882 | -0.0054603 | 0.093439 | 0.045255
33 | 0.99909 | -0.0071859 | 0 | 0
34 | 0.99225 | -0.25254 | 0.13679 | 0.066251
35 | 0.99227 | -0.25273 | 0 | 0
36 | 0.98962 | -0.36866 | 0.12677 | 0.061397
37 | 0.98941 | -0.37632 | 0 | 0
38 | 0.99431 | -0.19923 | 0 | 0
39 | 0.98895 | -0.38558 | 0 | 0
40 | 0.98895 | -0.38554 | 0.14436 | 0.069917
41 | 0.98866 | -0.39145 | 0 | 0
42 | 0.98847 | -0.39523 | 0 | 0
43 | 0.98837 | -0.39715 | 0.091369 | 0.044252
44 | 0.98865 | -0.39142 | 0.074152 | 0.035913
45 | 0.98798 | -0.41101 | 0.078915 | 0.03822
46 | 0.98796 | -0.41134 | 0.080504 | 0.03899
47 | 0.98784 | -0.41366 | 0 | 0
48 | 0.98621 | -0.47155 | 0.079727 | 0.038614
49 | 0.98561 | -0.46929 | 0.14619 | 0.070805
50 | 0.98575 | -0.46813 | 0 | 0
51 | 0.98499 | -0.47464 | 0.064735 | 0.031353
52 | 0.98588 | -0.46912 | 0 | 0
53 | 0.98608 | -0.4724 | 0 | 0
54 | 0.98608 | -0.47237 | 0.14813 | 0.071744
55 | 0.98474 | -0.47271 | 0 | 0
56 | 0.98485 | -0.47371 | 0 | 0
57 | 0.98469 | -0.47228 | 0.14021 | 0.067906
58 | 0.98466 | -0.47247 | 0 | 0
59 | 0.98462 | -0.47215 | 0.15476 | 0.074953
60 | 0.98497 | -0.47478 | 0.091586 | 0.044357
61 | 0.98469 | -0.47221 | 0.086043 | 0.041673
62 | 0.98467 | -0.47231 | 0.12953 | 0.062734
63 | 0.98372 | -0.46552 | 0.14614 | 0.070777
64 | 0.98372 | -0.46559 | 0 | 0
65 | 0.98376 | -0.4659 | 0 | 0
66 | 0.98375 | -0.46582 | 0.28769 | 0.13933
67 | 0.98457 | -0.47189 | 0 | 0
68 | 0.98374 | -0.46572 | 0 | 0
69 | 0.99656 | -0.021743 | 0.12193 | 0.059051
70 | 0.98398 | -0.31555 | 0.099885 | 0.048376
71 | 0.99436 | -0.19776 | 0 | 0
72 | 0.99427 | -0.19716 | 0 | 0
73 | 0.98374 | -0.46569 | 0.10415 | 0.050442
74 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18898 | -0.091525 | 0.18898 | 0.090682 | 1.8158e-06 | -0.00084255 | 0.0061361 | 0.0061254 | 0.0061361 | 0.98782 | -0.27937 | 0.98783 | -0.27945 | 2.7891
1 | -0.18898 | -0.090682 | 0.18913 | 0.088149 | 0.00014981 | -0.002533 | 0.0061254 | 0.0060926 | 0.0061254 | 0.98783 | -0.27945 | 0.98866 | -0.27376 | 2.9169
2 | -0.38482 | -0.18293 | 0.38484 | 0.17976 | 2.7984e-05 | -0.0031626 | 0.012441 | 0.012402 | 0.012441 | 0.98866 | -0.27376 | 0.98872 | -0.27435 | 5.655
3 | -1.3989 | -0.63673 | 1.399 | 0.63653 | 2.4425e-05 | -0.00020517 | 0.044858 | 0.044855 | 0.044858 | 0.98913 | -0.27595 | 0.98915 | -0.27608 | 20.39
4 | 1.0419 | 0.46379 | -1.0418 | -0.46379 | 9.6375e-05 | 3.3401e-06 | 0.033283 | 0.033284 | 0.033284 | 0.98913 | -0.27595 | 0.98903 | -0.27675 | 15.8494
5 | -1.399 | -0.63653 | 1.4031 | 0.63775 | 0.0040839 | 0.0012227 | 0.044855 | 0.044839 | 0.044855 | 0.98915 | -0.27608 | 0.99222 | -0.25233 | 21.3597
6 | 0.38497 | 0.16507 | -0.38484 | -0.17976 | 0.00012772 | -0.014697 | 0.012226 | 0.012402 | 0.012402 | 0.98903 | -0.27675 | 0.98872 | -0.27435 | 5.6371
7 | 0.65679 | 0.29872 | -0.65463 | -0.30054 | 0.0021591 | -0.0018214 | 0.02106 | 0.021098 | 0.021098 | 0.98903 | -0.27675 | 0.98557 | -0.30319 | 10.0468
8 | 0.5046 | 0.22788 | -0.50384 | -0.22928 | 0.00076349 | -0.0014056 | 0.016217 | 0.01624 | 0.01624 | 0.98557 | -0.30319 | 0.98399 | -0.31564 | 7.7332
9 | -1.4031 | -0.63775 | 1.4031 | 0.63743 | 3.8095e-05 | -0.00032235 | 0.044839 | 0.044835 | 0.044839 | 0.99222 | -0.25233 | 0.99225 | -0.25254 | 20.3815
10 | -0.43172 | -0.17086 | 0.43174 | 0.16916 | 1.7317e-05 | -0.0017026 | 0.01344 | 0.013422 | 0.01344 | 0.99729 | -0.018574 | 0.99733 | -0.018768 | 6.109
11 | 0.30154 | 0.10781 | -0.30152 | -0.10794 | 1.7771e-05 | -0.00012667 | 0.0092694 | 0.0092708 | 0.0092708 | 0.99729 | -0.018574 | 0.99723 | -0.019378 | 4.4147
12 | -0.73143 | -0.3143 | 0.73245 | 0.31366 | 0.0010247 | -0.00064712 | 0.023043 | 0.023028 | 0.023043 | 0.99733 | -0.018768 | 0.99883 | -0.0053943 | 10.9728
13 | 0.30152 | 0.10794 | -0.30146 | -0.12011 | 5.9668e-05 | -0.012167 | 0.0092708 | 0.0093955 | 0.0093955 | 0.99723 | -0.019378 | 0.99704 | -0.018569 | 4.2707
14 | 0.057004 | 0.0062381 | -0.057001 | -0.023978 | 2.9094e-06 | -0.01774 | 0.0016603 | 0.0017906 | 0.0017906 | 0.99704 | -0.018569 | 0.99698 | -0.018655 | 0.81389
15 | 0.24446 | 0.11387 | -0.24444 | -0.11399 | 1.1782e-05 | -0.00012131 | 0.007808 | 0.0078096 | 0.0078096 | 0.99704 | -0.018569 | 0.99698 | -0.018933 | 3.7188
16 | -0.82589 | -0.35884 | 0.82612 | 0.35288 | 0.00022819 | -0.0059612 | 0.026025 | 0.025956 | 0.026025 | 0.99883 | -0.0053943 | 0.99909 | -0.0071859 | 11.8296
17 | 0.09344 | 0.045186 | -0.093439 | -0.045255 | 9.321e-07 | -6.8638e-05 | 0.0029997 | 0.0030006 | 0.0030006 | 0.99883 | -0.0053943 | 0.99882 | -0.0054603 | 1.4289
18 | 0.057001 | 0.023978 | -0.057001 | -0.027607 | 6.6985e-07 | -0.0036283 | 0.0017906 | 0.0018339 | 0.0018339 | 0.99698 | -0.018655 | 0.99697 | -0.018568 | 0.83357
19 | 0.12198 | 0.054674 | -0.12197 | -0.055844 | 9.8982e-07 | -0.0011702 | 0.0038704 | 0.0038843 | 0.0038843 | 0.99698 | -0.018933 | 0.99698 | -0.018873 | 1.7656
20 | 0.12197 | 0.055844 | -0.12193 | -0.057902 | 4.7609e-05 | -0.0020571 | 0.0038843 | 0.0039099 | 0.0039099 | 0.99698 | -0.018873 | 0.99656 | -0.021812 | 1.8618
21 | 0.12193 | 0.057902 | -0.12193 | -0.059051 | 9.9354e-07 | -0.0011499 | 0.0039099 | 0.0039243 | 0.0039243 | 0.99656 | -0.021812 | 0.99656 | -0.021743 | 1.7838
22 | -0.05798 | -0.028081 | 0.057981 | 0.026011 | 4.0448e-07 | -0.0020698 | 0.001871 | 0.0018456 | 0.001871 | 0.99395 | -0.19998 | 0.99396 | -0.20003 | 0.85047
23 | 0.099838 | 0.039348 | -0.099834 | -0.046407 | 3.9792e-06 | -0.0070588 | 0.0031167 | 0.0031975 | 0.0031975 | 0.99396 | -0.20003 | 0.99392 | -0.19978 | 1.4534
24 | -0.15782 | -0.06536 | 0.15786 | 0.064197 | 4.4125e-05 | -0.0011627 | 0.0049611 | 0.0049479 | 0.0049611 | 0.99396 | -0.20003 | 0.99426 | -0.19707 | 2.3624
25 | 0.099834 | 0.046407 | -0.099833 | -0.048351 | 1.1337e-06 | -0.0019441 | 0.0031975 | 0.0032218 | 0.0032218 | 0.99392 | -0.19978 | 0.99391 | -0.19968 | 1.4644
26 | -0.27712 | -0.12196 | 0.27713 | 0.12111 | 3.7005e-06 | -0.00084649 | 0.0087907 | 0.0087808 | 0.0087907 | 0.99426 | -0.19707 | 0.99427 | -0.19716 | 3.9958
27 | 0.29841 | 0.14271 | -0.2984 | -0.14452 | 9.9743e-06 | -0.0018128 | 0.0097226 | 0.0097458 | 0.0097458 | 0.98211 | -0.32786 | 0.98208 | -0.32758 | 4.4299
28 | -0.29841 | -0.14271 | 0.29844 | 0.13623 | 3.5226e-05 | -0.0064728 | 0.0097226 | 0.009642 | 0.0097226 | 0.98211 | -0.32786 | 0.98222 | -0.32881 | 4.4194
29 | -0.29844 | -0.13623 | 0.29845 | 0.13415 | 1.1207e-05 | -0.0020821 | 0.009642 | 0.0096167 | 0.009642 | 0.98222 | -0.32881 | 0.98225 | -0.32909 | 4.3827
30 | 0.98816 | 0.42994 | -0.98736 | -0.42999 | 0.00080127 | -5.2282e-05 | 0.031109 | 0.031115 | 0.031115 | 1 | 0 | 0.99913 | -0.007466 | 14.8168
31 | 4.0962 | 1.8201 | -4.0794 | -1.7976 | 0.016792 | 0.022501 | 0.12939 | 0.12942 | 0.12942 | 1 | 0 | 0.99438 | -0.19787 | 31.5649
32 | 0.82616 | 0.35192 | -0.82612 | -0.35288 | 3.674e-05 | -0.00096309 | 0.025945 | 0.025956 | 0.025956 | 0.99913 | -0.007466 | 0.99909 | -0.0071859 | 11.7983
33 | 2.1898 | 0.94503 | -2.1897 | -0.94765 | 0.00012696 | -0.0026153 | 0.069238 | 0.06927 | 0.06927 | 0.99438 | -0.19787 | 0.99431 | -0.19923 | 16.4536
34 | 1.5425 | 0.70493 | -1.5399 | -0.7034 | 0.0025967 | 0.0015238 | 0.049235 | 0.049252 | 0.049252 | 0.99438 | -0.19787 | 0.99227 | -0.25273 | 14.0721
35 | 0.27716 | 0.11371 | -0.27715 | -0.11496 | 5.3425e-06 | -0.0012455 | 0.008697 | 0.0087108 | 0.0087108 | 0.99438 | -0.19787 | 0.99436 | -0.19776 | 3.9594
36 | -0.40328 | -0.18492 | 0.40395 | 0.18279 | 0.00066959 | -0.0021373 | 0.013039 | 0.013008 | 0.013039 | 0.98225 | -0.32909 | 0.98399 | -0.31564 | 6.2089
37 | 0.099886 | 0.046498 | -0.099885 | -0.048376 | 1.142e-06 | -0.0018787 | 0.0032323 | 0.003256 | 0.003256 | 0.98399 | -0.31564 | 0.98398 | -0.31555 | 1.48
38 | -1.5399 | -0.70368 | 1.5399 | 0.7034 | 3.9904e-05 | -0.0002778 | 0.049256 | 0.049252 | 0.049256 | 0.99225 | -0.25254 | 0.99227 | -0.25273 | 22.389
39 | 2.0553 | 0.87813 | -2.055 | -0.8778 | 0.00031863 | 0.00032804 | 0.065198 | 0.065199 | 0.065199 | 0.98962 | -0.36866 | 0.98941 | -0.37632 | 15.9022
40 | -2.1821 | -0.93953 | 2.1897 | 0.94765 | 0.0075463 | 0.0081168 | 0.069302 | 0.06927 | 0.069302 | 0.98962 | -0.36866 | 0.99431 | -0.19923 | 16.9029
41 | 2.055 | 0.8778 | -2.0542 | -0.89645 | 0.00080961 | -0.018642 | 0.065199 | 0.065423 | 0.065423 | 0.98941 | -0.37632 | 0.98895 | -0.38558 | 15.54
42 | 0.14436 | 0.069464 | -0.14436 | -0.069917 | 5.6692e-07 | -0.00045273 | 0.0046764 | 0.0046821 | 0.0046821 | 0.98895 | -0.38558 | 0.98895 | -0.38554 | 2.1282
43 | 1.9098 | 0.82698 | -1.9094 | -0.83988 | 0.00048357 | -0.012894 | 0.06075 | 0.060906 | 0.060906 | 0.98895 | -0.38558 | 0.98866 | -0.39145 | 14.467
44 | 0.074152 | 0.035176 | -0.074152 | -0.035913 | 2.4311e-07 | -0.00073711 | 0.0023964 | 0.0024057 | 0.0024057 | 0.98866 | -0.39145 | 0.98865 | -0.39142 | 1.0935
45 | 1.8352 | 0.8047 | -1.8349 | -0.81344 | 0.00030342 | -0.0087455 | 0.058511 | 0.058617 | 0.058617 | 0.98866 | -0.39145 | 0.98847 | -0.39523 | 13.9233
46 | 1.8349 | 0.81344 | -1.8348 | -0.81792 | 0.00015563 | -0.0044715 | 0.058617 | 0.058672 | 0.058672 | 0.98847 | -0.39523 | 0.98837 | -0.39715 | 13.9363
47 | 1.7434 | 0.77366 | -1.7429 | -0.77322 | 0.00050252 | 0.00044045 | 0.055708 | 0.055712 | 0.055712 | 0.98837 | -0.39715 | 0.98798 | -0.41101 | 13.5882
48 | 1.664 | 0.735 | -1.6639 | -0.73585 | 2.4095e-05 | -0.00084665 | 0.053151 | 0.053161 | 0.053161 | 0.98798 | -0.41101 | 0.98796 | -0.41134 | 12.6274
49 | 1.5834 | 0.69686 | -1.5833 | -0.70313 | 0.00016114 | -0.0062666 | 0.050549 | 0.050625 | 0.050625 | 0.98796 | -0.41134 | 0.98784 | -0.41366 | 12.025
50 | 1.5833 | 0.70313 | -1.5814 | -0.70168 | 0.0019062 | 0.0014445 | 0.050625 | 0.050641 | 0.050641 | 0.98784 | -0.41366 | 0.98621 | -0.47155 | 12.3514
51 | 0.14815 | 0.070902 | -0.14813 | -0.071414 | 1.861e-05 | -0.00051227 | 0.0048076 | 0.0048143 | 0.0048143 | 0.98621 | -0.47155 | 0.98608 | -0.4724 | 2.2925
52 | 1.3535 | 0.59217 | -1.353 | -0.59647 | 0.00047903 | -0.0043069 | 0.043244 | 0.043297 | 0.043297 | 0.98621 | -0.47155 | 0.98588 | -0.46912 | 19.6802
53 | -1.3526 | -0.59816 | 1.3528 | 0.59821 | 0.00017737 | 4.9567e-05 | 0.043318 | 0.043318 | 0.043318 | 0.98561 | -0.46929 | 0.98575 | -0.46813 | 20.6278
54 | 1.2064 | 0.52735 | -1.2057 | -0.52722 | 0.00070964 | 0.00013413 | 0.038564 | 0.038568 | 0.038568 | 0.98561 | -0.46929 | 0.98499 | -0.47464 | 18.3655
55 | -1.3528 | -0.59821 | 1.353 | 0.59647 | 0.00019355 | -0.0017363 | 0.043318 | 0.043297 | 0.043318 | 0.98575 | -0.46813 | 0.98588 | -0.46912 | 19.6899
56 | 1.0494 | 0.45165 | -1.0493 | -0.45392 | 0.00014931 | -0.0022644 | 0.033483 | 0.03351 | 0.03351 | 0.98499 | -0.47464 | 0.98485 | -0.47371 | 15.2318
57 | 0.091588 | 0.044217 | -0.091586 | -0.044357 | 1.9365e-06 | -0.0001404 | 0.0029806 | 0.0029824 | 0.0029824 | 0.98499 | -0.47464 | 0.98497 | -0.47478 | 1.4202
58 | 0.14813 | 0.071414 | -0.14813 | -0.071744 | 4.4056e-07 | -0.00033014 | 0.0048143 | 0.0048185 | 0.0048185 | 0.98608 | -0.4724 | 0.98608 | -0.47237 | 2.1902
59 | -0.3558 | -0.16929 | 0.35585 | 0.16348 | 4.4477e-05 | -0.0058056 | 0.011551 | 0.011479 | 0.011551 | 0.98474 | -0.47271 | 0.98485 | -0.47371 | 5.2503
60 | 0.3558 | 0.16929 | -0.35579 | -0.17159 | 1.7767e-05 | -0.0022983 | 0.011551 | 0.01158 | 0.01158 | 0.98474 | -0.47271 | 0.98469 | -0.47228 | 5.2636
61 | 0.69342 | 0.29043 | -0.69327 | -0.29541 | 0.00014081 | -0.0049746 | 0.022036 | 0.022093 | 0.022093 | 0.98485 | -0.47371 | 0.98466 | -0.47247 | 10.0423
62 | 0.21558 | 0.10368 | -0.21558 | -0.10433 | 1.8602e-06 | -0.00065459 | 0.0070128 | 0.0070212 | 0.0070212 | 0.98469 | -0.47228 | 0.98469 | -0.47221 | 3.1915
63 | 0.69327 | 0.29541 | -0.69324 | -0.29663 | 3.4739e-05 | -0.001223 | 0.022093 | 0.022107 | 0.022107 | 0.98466 | -0.47247 | 0.98462 | -0.47215 | 10.0488
64 | 0.53848 | 0.22168 | -0.53846 | -0.22315 | 2.4913e-05 | -0.001473 | 0.017073 | 0.017089 | 0.017089 | 0.98462 | -0.47215 | 0.98457 | -0.47189 | 7.768
65 | 0.12953 | 0.062662 | -0.12953 | -0.062734 | 2.0112e-06 | -7.215e-05 | 0.0042184 | 0.0042194 | 0.0042194 | 0.98469 | -0.47221 | 0.98467 | -0.47231 | 2.0092
66 | -0.14614 | -0.070777 | 0.14614 | 0.069985 | 1.0381e-06 | -0.00079269 | 0.0047649 | 0.0047548 | 0.0047649 | 0.98372 | -0.46552 | 0.98372 | -0.46559 | 2.1659
67 | -0.14614 | -0.069985 | 0.14614 | 0.065415 | 5.9003e-06 | -0.00457 | 0.0047548 | 0.0046984 | 0.0047548 | 0.98372 | -0.46559 | 0.98376 | -0.4659 | 2.1613
68 | 0.28769 | 0.13878 | -0.28769 | -0.13933 | 2.8075e-06 | -0.00055188 | 0.0093729 | 0.00938 | 0.00938 | 0.98376 | -0.4659 | 0.98375 | -0.46582 | 4.2636
69 | -0.53799 | -0.25031 | 0.53846 | 0.22315 | 0.0004687 | -0.027157 | 0.017412 | 0.017089 | 0.017412 | 0.98376 | -0.4659 | 0.98457 | -0.47189 | 7.9144
70 | 0.10415 | 0.046111 | -0.10415 | -0.049869 | 2.4596e-06 | -0.0037587 | 0.0033424 | 0.0033886 | 0.0033886 | 0.98376 | -0.4659 | 0.98374 | -0.46572 | 1.5403
71 | 0.10415 | 0.049869 | -0.10415 | -0.050442 | 3.8082e-07 | -0.00057268 | 0.0033886 | 0.0033958 | 0.0033958 | 0.98374 | -0.46572 | 0.98374 | -0.46569 | 1.5436
72 | 0.27715 | 0.11496 | -0.27713 | -0.12111 | 2.6636e-05 | -0.00615 | 0.0087108 | 0.0087808 | 0.0087808 | 0.99436 | -0.19776 | 0.99427 | -0.19716 | 3.9913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.2036 | 2.3115

## res_load
| p_mw | q_mvar
0 | 0.18898 | 0.091525
1 | 0.19569 | 0.094777
2 | 0.35708 | 0.17294
3 | 0.15003 | 0.072664
4 | 0.13019 | 0.063052
5 | 0.29968 | 0.14514
6 | 0.12247 | 0.059315
7 | 0.057001 | 0.027607
8 | 0.05798 | 0.028081
9 | 0.11926 | 0.05776
10 | 0.099833 | 0.048351
11 | 0.2984 | 0.14452
12 | 0.10526 | 0.050981
13 | 0.1612 | 0.078075
14 | 0.069969 | 0.033887
15 | 0.10483 | 0.050771
16 | 0.093439 | 0.045255
17 | 0.13679 | 0.066251
18 | 0.12677 | 0.061397
19 | 0.14436 | 0.069917
20 | 0.091369 | 0.044252
21 | 0.074152 | 0.035913
22 | 0.078915 | 0.03822
23 | 0.080504 | 0.03899
24 | 0.079727 | 0.038614
25 | 0.14619 | 0.070805
26 | 0.064735 | 0.031353
27 | 0.14813 | 0.071744
28 | 0.14021 | 0.067906
29 | 0.15476 | 0.074953
30 | 0.091586 | 0.044357
31 | 0.086043 | 0.041673
32 | 0.12953 | 0.062734
33 | 0.14614 | 0.070777
34 | 0.28769 | 0.13933
35 | 0.12193 | 0.059051
36 | 0.099885 | 0.048376
37 | 0.10415 | 0.050442

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1