## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_312_2_node_131 | 20 | n |  | TRUE
1 | bus_MV_312_2_node_60 | 20 | n |  | TRUE
2 | bus_MV_312_2_node_112 | 20 | n |  | TRUE
3 | bus_MV_312_2_node_132 | 20 | n |  | TRUE
4 | bus_MV_312_2_node_133 | 20 | n |  | TRUE
5 | bus_MV_312_2_node_134 | 20 | n |  | TRUE
6 | bus_MV_312_2_node_66 | 20 | n |  | TRUE
7 | bus_MV_312_2_node_135 | 20 | n |  | TRUE
8 | bus_MV_312_2_node_125 | 20 | n |  | TRUE
9 | bus_MV_312_2_node_47 | 20 | n |  | TRUE
10 | bus_MV_312_2_node_74 | 20 | n |  | TRUE
11 | bus_MV_312_2_node_52 | 20 | n |  | TRUE
12 | bus_MV_312_2_node_48 | 20 | n |  | TRUE
13 | bus_MV_312_2_node_49 | 20 | n |  | TRUE
14 | bus_MV_312_2_node_59 | 20 | n |  | TRUE
15 | bus_MV_312_2_node_50 | 20 | n |  | TRUE
16 | bus_MV_312_2_node_103 | 20 | n |  | TRUE
17 | bus_MV_312_2_node_51 | 20 | n |  | TRUE
18 | bus_MV_312_2_node_64 | 20 | n |  | TRUE
19 | bus_MV_312_2_node_53 | 20 | n |  | TRUE
20 | bus_MV_312_2_node_54 | 20 | n |  | TRUE
21 | bus_MV_312_2_node_118 | 20 | n |  | TRUE
22 | bus_MV_312_2_node_61 | 20 | n |  | TRUE
23 | bus_MV_312_2_node_62 | 20 | n |  | TRUE
24 | bus_MV_312_2_node_117 | 20 | n |  | TRUE
25 | bus_MV_312_2_node_63 | 20 | n |  | TRUE
26 | bus_MV_312_2_node_65 | 20 | n |  | TRUE
27 | bus_MV_312_2_node_101 | 20 | n |  | TRUE
28 | bus_MV_312_2_node_72 | 20 | n |  | TRUE
29 | bus_MV_312_2_node_73 | 20 | n |  | TRUE
30 | bus_MV_312_2_node_75 | 20 | n |  | TRUE
31 | bus_MV_312_2_node_122 | 20 | n |  | TRUE
32 | bus_MV_312_2_node_113 | 20 | n |  | TRUE
33 | bus_MV_312_2_node_99 | 20 | n |  | TRUE
34 | bus_MV_312_2_node_108 | 20 | n |  | TRUE
35 | bus_MV_312_2_node_109 | 20 | n |  | TRUE
36 | bus_MV_312_2_node_110 | 20 | n |  | TRUE
37 | bus_MV_312_2_node_111 | 20 | n |  | TRUE
38 | bus_MV_312_2_node_114 | 20 | n |  | TRUE
39 | bus_MV_312_2_node_115 | 20 | n |  | TRUE
40 | bus_MV_312_2_node_126 | 20 | n |  | TRUE
41 | bus_MV_312_2_node_123 | 20 | n |  | TRUE
42 | bus_MV_312_2_node_124 | 20 | n |  | TRUE
43 | bus_HV_312_2_node_47 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_312_2_load_131 | 0 | 0.39075 | 0.18925 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_312_2_load_133 | 4 | 0.10926 | 0.052919 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_312_2_load_135 | 7 | 0.094567 | 0.045801 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_312_2_load_47 | 9 | 0.11721 | 0.056768 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_312_2_load_52 | 11 | 0.19516 | 0.094522 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_312_2_load_48 | 12 | 0.34491 | 0.16705 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_312_2_load_59 | 14 | 0.25221 | 0.12215 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_312_2_load_103 | 16 | 0.33848 | 0.16393 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_312_2_load_51 | 17 | 0.097844 | 0.047388 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_312_2_load_118 | 21 | 0.29702 | 0.14385 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_312_2_load_61 | 22 | 0.31205 | 0.15113 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_312_2_load_63 | 25 | 0.22916 | 0.11099 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_312_2_load_65 | 26 | 0.11896 | 0.057615 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_312_2_load_72 | 28 | 0.24126 | 0.11685 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_312_2_load_122 | 31 | 0.090728 | 0.043942 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_312_2_load_99 | 33 | 0.33112 | 0.16037 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_312_2_load_109 | 35 | 0.14258 | 0.069056 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_312_2_load_111 | 37 | 0.28033 | 0.13577 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_312_2_load_115 | 39 | 0.1767 | 0.085578 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_312_2_load_126 | 40 | 0.37131 | 0.17984 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_312_2_load_123 | 41 | 0.26574 | 0.12871 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_312_2_line_0 |  | 0 | 1 | 0.063925 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_312_2_line_1 |  | 0 | 2 | 0.11077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_312_2_line_2 |  | 1 | 14 | 0.15098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_312_2_line_3 |  | 2 | 36 | 1.1533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_312_2_line_4 |  | 3 | 4 | 0.19826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_312_2_line_5 |  | 3 | 5 | 0.38431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_312_2_line_6 |  | 5 | 6 | 0.67476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_312_2_line_7 |  | 5 | 7 | 0.040256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_312_2_line_8 |  | 6 | 26 | 0.082044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_312_2_line_9 |  | 7 | 8 | 0.071869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_312_2_line_10 |  | 8 | 42 | 0.1717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_312_2_line_11 |  | 9 | 10 | 1.0529 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
12 | MV_312_2_line_12 |  | 9 | 11 | 1.8196 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_312_2_line_13 |  | 10 | 25 | 1.275 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
14 | MV_312_2_line_14 |  | 10 | 28 | 0.041487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_312_2_line_15 |  | 11 | 19 | 0.10056 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_312_2_line_16 |  | 12 | 13 | 0.03124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_312_2_line_17 |  | 12 | 14 | 1.2408 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_312_2_line_18 |  | 13 | 15 | 1.1069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_312_2_line_19 |  | 13 | 16 | 1.4519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_312_2_line_20 |  | 15 | 17 | 0.034206 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_312_2_line_21 |  | 17 | 18 | 1.5822 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_312_2_line_22 |  | 18 | 25 | 0.044043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_312_2_line_23 |  | 19 | 20 | 0.16321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_312_2_line_24 |  | 20 | 21 | 0.017263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_312_2_line_25 |  | 21 | 24 | 0.019394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_312_2_line_26 |  | 22 | 23 | 0.015586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_312_2_line_27 |  | 23 | 24 | 2.098 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_312_2_line_28 |  | 26 | 27 | 1.7354 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_312_2_line_29 |  | 27 | 33 | 0.092597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_312_2_line_30 |  | 28 | 29 | 0.038032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_312_2_line_31 |  | 29 | 30 | 0.88157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_312_2_line_32 |  | 30 | 31 | 0.031036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_312_2_line_33 |  | 30 | 32 | 0.90847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_312_2_line_34 |  | 32 | 38 | 0.51814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_312_2_line_35 |  | 32 | 39 | 0.042075 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_312_2_line_36 |  | 32 | 40 | 0.1051 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_312_2_line_37 |  | 34 | 35 | 0.079139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_312_2_line_38 |  | 34 | 36 | 1.3399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_312_2_line_39 |  | 36 | 37 | 0.048263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_312_2_line_40 |  | 38 | 41 | 0.024844 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_312_2_line_41 |  | 41 | 42 | 0.17279 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_312_2_trafo_47 | 25 MVA 110/20 kV | 43 | 9 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2525745.4656 | 1153324.5231
1 | 2525686.7888 | 1153299.1559
2 | 2525842.0679 | 1153270.6782
3 | 2522928.7601 | 1157149.7783
4 | 2522932.8444 | 1157347.9395
5 | 2522919.2898 | 1156765.5906
6 | 2523593.1485 | 1156800.5386
7 | 2522918.2673 | 1156725.3585
8 | 2522909.2958 | 1156654.3551
9 | 2524172.6978 | 1155551.4858
10 | 2523330.1179 | 1154920.0802
11 | 2525725.6244 | 1156499.7661
12 | 2524734.6799 | 1152404.5466
13 | 2524713.0313 | 1152381.9714
14 | 2525582.7764 | 1153310.2819
15 | 2524117.5037 | 1152102.4642
16 | 2525232.4416 | 1151026.1464
17 | 2524101.1749 | 1152132.5207
18 | 2523615.1384 | 1153638.2097
19 | 2525794.578 | 1156572.9557
20 | 2525939.3134 | 1156571.9697
21 | 2525956.1015 | 1156568.8833
22 | 2526745.354 | 1158529.2415
23 | 2526734.1969 | 1158518.3825
24 | 2525974.5625 | 1156562.7747
25 | 2523585.5606 | 1153670.9152
26 | 2523664.1419 | 1156759.0682
27 | 2524560.2975 | 1158245.2319
28 | 2523295.7179 | 1154943.3768
29 | 2523261.8185 | 1154960.8083
30 | 2522804.5122 | 1155450.5661
31 | 2522831.3495 | 1155434.8458
32 | 2522531.725 | 1156080.2588
33 | 2524519.008 | 1158327.9866
34 | 2525474.7431 | 1154158.4113
35 | 2525407.175 | 1154199.9283
36 | 2526462.066 | 1153446.7627
37 | 2526466.9715 | 1153399.2982
38 | 2522759.8554 | 1156340.7053
39 | 2522502.9524 | 1156110.9584
40 | 2522526.9432 | 1156185.2473
41 | 2522740.8485 | 1156356.6698
42 | 2522839.6508 | 1156498.4262
43 | 2524172.6978 | 1155551.4858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98101 | -0.26734 | 0.39075 | 0.18925
1 | 0.98111 | -0.26633 | 0 | 0
2 | 0.98095 | -0.26721 | 0 | 0
3 | 0.99051 | -0.095888 | 0 | 0
4 | 0.99048 | -0.095654 | 0.10926 | 0.052919
5 | 0.99056 | -0.096171 | 0 | 0
6 | 0.98997 | -0.1003 | 0 | 0
7 | 0.99059 | -0.096392 | 0.094567 | 0.045801
8 | 0.99065 | -0.096861 | 0 | 0
9 | 1 | 0 | -4.7427 | -2.1174
10 | 0.99525 | -0.12795 | 0 | 0
11 | 0.99717 | -0.019104 | 0.19516 | 0.094522
12 | 0.98379 | -0.24332 | 0.34491 | 0.16705
13 | 0.98385 | -0.24373 | 0 | 0
14 | 0.98126 | -0.26721 | 0.25221 | 0.12215
15 | 0.98633 | -0.26165 | 0 | 0
16 | 0.98288 | -0.24998 | 0.33848 | 0.16393
17 | 0.98644 | -0.26061 | 0.097844 | 0.047388
18 | 0.99206 | -0.21099 | 0 | 0
19 | 0.99705 | -0.019914 | 0 | 0
20 | 0.99693 | -0.018776 | 0 | 0
21 | 0.99691 | -0.018653 | 0.29702 | 0.14385
22 | 0.99563 | -0.026785 | 0.31205 | 0.15113
23 | 0.99564 | -0.026843 | 0 | 0
24 | 0.99691 | -0.018584 | 0 | 0
25 | 0.99216 | -0.21171 | 0.22916 | 0.11099
26 | 0.98992 | -0.099871 | 0.11896 | 0.057615
27 | 0.9888 | -0.10744 | 0 | 0
28 | 0.99516 | -0.12728 | 0.24126 | 0.11685
29 | 0.99508 | -0.12677 | 0 | 0
30 | 0.99334 | -0.11426 | 0 | 0
31 | 0.99334 | -0.11423 | 0.090728 | 0.043942
32 | 0.99164 | -0.10105 | 0 | 0
33 | 0.98876 | -0.10708 | 0.33112 | 0.16037
34 | 0.9801 | -0.26387 | 0 | 0
35 | 0.98008 | -0.26374 | 0.14258 | 0.069056
36 | 0.98034 | -0.26472 | 0 | 0
37 | 0.98032 | -0.26456 | 0.28033 | 0.13577
38 | 0.99104 | -0.096385 | 0 | 0
39 | 0.99163 | -0.10114 | 0.1767 | 0.085578
40 | 0.99157 | -0.10153 | 0.37131 | 0.17984
41 | 0.99101 | -0.096151 | 0.26574 | 0.12871
42 | 0.99079 | -0.097951 | 0 | 0
43 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.814 | -0.33149 | 0.81408 | 0.33146 | 7.6183e-05 | -2.5732e-05 | 0.025863 | 0.025862 | 0.025863 | 0.98101 | -0.26734 | 0.98111 | -0.26633 | 12.3158
1 | 0.42325 | 0.14224 | -0.42323 | -0.14478 | 2.5578e-05 | -0.0025376 | 0.013139 | 0.013163 | 0.013163 | 0.98101 | -0.26734 | 0.98095 | -0.26721 | 5.9834
2 | -0.81408 | -0.33146 | 0.81421 | 0.32803 | 0.00013462 | -0.0034305 | 0.025862 | 0.025824 | 0.025862 | 0.98111 | -0.26633 | 0.98126 | -0.26721 | 11.7556
3 | 0.42323 | 0.14478 | -0.42296 | -0.17118 | 0.00027214 | -0.0264 | 0.013163 | 0.013436 | 0.013436 | 0.98095 | -0.26721 | 0.98034 | -0.26472 | 6.1073
4 | 0.10927 | 0.048276 | -0.10926 | -0.052919 | 3.2596e-06 | -0.004643 | 0.0034815 | 0.0035383 | 0.0035383 | 0.99051 | -0.095888 | 0.99048 | -0.095654 | 1.6083
5 | -0.10927 | -0.048276 | 0.10927 | 0.039275 | 6.0379e-06 | -0.0090011 | 0.0034815 | 0.0033839 | 0.0034815 | 0.99051 | -0.095888 | 0.99056 | -0.096171 | 1.5825
6 | 0.45073 | 0.21148 | -0.45047 | -0.21211 | 0.00025327 | -0.00063129 | 0.014509 | 0.014519 | 0.014519 | 0.99056 | -0.096171 | 0.98997 | -0.1003 | 6.9139
7 | -0.56 | -0.25075 | 0.56002 | 0.24981 | 1.7173e-05 | -0.00093803 | 0.017881 | 0.01787 | 0.017881 | 0.99056 | -0.096171 | 0.99059 | -0.096392 | 8.1279
8 | 0.45047 | 0.21211 | -0.45045 | -0.21402 | 2.3127e-05 | -0.0019128 | 0.014519 | 0.014543 | 0.014543 | 0.98997 | -0.1003 | 0.98992 | -0.099871 | 6.6105
9 | -0.65459 | -0.29562 | 0.65463 | 0.29394 | 4.1993e-05 | -0.0016714 | 0.020931 | 0.020911 | 0.020931 | 0.99059 | -0.096392 | 0.99065 | -0.096861 | 9.514
10 | -0.65463 | -0.29394 | 0.65473 | 0.28995 | 9.9997e-05 | -0.0039941 | 0.020911 | 0.020863 | 0.020911 | 0.99065 | -0.096861 | 0.99079 | -0.097951 | 9.5049
11 | 3.9218 | 1.7256 | -3.907 | -1.71 | 0.014789 | 0.015599 | 0.12369 | 0.1237 | 0.1237 | 1 | 0 | 0.99525 | -0.12795 | 35.3436
12 | 0.80693 | 0.38128 | -0.80477 | -0.3821 | 0.0021541 | -0.00081683 | 0.025763 | 0.02579 | 0.02579 | 1 | 0 | 0.99717 | -0.019104 | 12.281
13 | 2.0999 | 0.92105 | -2.0947 | -0.91671 | 0.0051788 | 0.0043414 | 0.066509 | 0.066527 | 0.066527 | 0.99525 | -0.12795 | 0.99216 | -0.21171 | 19.0077
14 | 1.8071 | 0.78899 | -1.8069 | -0.78992 | 0.00018121 | -0.00092732 | 0.057194 | 0.057205 | 0.057205 | 0.99525 | -0.12795 | 0.99516 | -0.12728 | 26.0024
15 | 0.60961 | 0.28757 | -0.60954 | -0.28765 | 6.822e-05 | -7.662e-05 | 0.019513 | 0.019514 | 0.019514 | 0.99717 | -0.019104 | 0.99705 | -0.019914 | 9.2925
16 | -1.4139 | -0.6174 | 1.414 | 0.61671 | 8.5457e-05 | -0.0006966 | 0.045271 | 0.045262 | 0.045271 | 0.98379 | -0.24332 | 0.98385 | -0.24373 | 20.5777
17 | 1.069 | 0.45036 | -1.0664 | -0.45018 | 0.0025625 | 0.00017507 | 0.034037 | 0.034054 | 0.034054 | 0.98379 | -0.24332 | 0.98126 | -0.26721 | 16.216
18 | -1.7528 | -0.77916 | 1.7574 | 0.7549 | 0.0046556 | -0.024265 | 0.056281 | 0.05598 | 0.056281 | 0.98385 | -0.24373 | 0.98633 | -0.26165 | 25.5823
19 | 0.33879 | 0.16245 | -0.33848 | -0.16393 | 0.00031501 | -0.0014788 | 0.011024 | 0.011046 | 0.011046 | 0.98385 | -0.24373 | 0.98288 | -0.24998 | 5.2599
20 | -1.7574 | -0.7549 | 1.7576 | 0.75498 | 0.00019098 | 7.9895e-05 | 0.05598 | 0.05598 | 0.05598 | 0.98633 | -0.26165 | 0.98644 | -0.26061 | 26.6572
21 | -1.8555 | -0.80236 | 1.8653 | 0.80669 | 0.009862 | 0.0043288 | 0.059158 | 0.059137 | 0.059158 | 0.98644 | -0.26061 | 0.99206 | -0.21099 | 28.1705
22 | -1.8653 | -0.80669 | 1.8655 | 0.80572 | 0.00020558 | -0.00097407 | 0.059137 | 0.059125 | 0.059137 | 0.99206 | -0.21099 | 0.99216 | -0.21171 | 26.8803
23 | 0.60954 | 0.28765 | -0.60946 | -0.2915 | 8.3177e-05 | -0.0038488 | 0.019514 | 0.019562 | 0.019562 | 0.99705 | -0.019914 | 0.99693 | -0.018776 | 8.892
24 | 0.60946 | 0.2915 | -0.60945 | -0.29191 | 8.8218e-06 | -0.00040702 | 0.019562 | 0.019568 | 0.019568 | 0.99693 | -0.018776 | 0.99691 | -0.018653 | 8.8943
25 | 0.31243 | 0.14805 | -0.31243 | -0.14851 | 2.5965e-06 | -0.00045943 | 0.010011 | 0.010017 | 0.010017 | 0.99691 | -0.018653 | 0.99691 | -0.018584 | 4.5532
26 | -0.31205 | -0.15113 | 0.31205 | 0.15076 | 2.1018e-06 | -0.00036827 | 0.010053 | 0.010048 | 0.010053 | 0.99563 | -0.026785 | 0.99564 | -0.026843 | 4.5695
27 | -0.31205 | -0.15076 | 0.31243 | 0.14851 | 0.00037624 | -0.0022503 | 0.010048 | 0.010017 | 0.010048 | 0.99564 | -0.026843 | 0.99691 | -0.018584 | 4.7849
28 | 0.33149 | 0.15641 | -0.33114 | -0.15821 | 0.0003541 | -0.0018061 | 0.010689 | 0.010714 | 0.010714 | 0.98992 | -0.099871 | 0.9888 | -0.10744 | 5.102
29 | 0.33114 | 0.15821 | -0.33112 | -0.16037 | 1.4226e-05 | -0.0021573 | 0.010714 | 0.010741 | 0.010741 | 0.9888 | -0.10744 | 0.98876 | -0.10708 | 4.8825
30 | 1.5657 | 0.67307 | -1.5656 | -0.67393 | 0.00012411 | -0.0008624 | 0.049436 | 0.049446 | 0.049446 | 0.99516 | -0.12728 | 0.99508 | -0.12677 | 22.4756
31 | 1.5656 | 0.67393 | -1.5627 | -0.69388 | 0.0028915 | -0.019948 | 0.049446 | 0.049688 | 0.049688 | 0.99508 | -0.12677 | 0.99334 | -0.11426 | 22.5856
32 | 0.090729 | 0.043211 | -0.090728 | -0.043942 | 3.5449e-07 | -0.00073107 | 0.0029204 | 0.0029296 | 0.0029296 | 0.99334 | -0.11426 | 0.99334 | -0.11423 | 1.3317
33 | 1.4719 | 0.65067 | -1.4693 | -0.67124 | 0.0026672 | -0.020575 | 0.046769 | 0.047024 | 0.047024 | 0.99334 | -0.11426 | 0.99164 | -0.10105 | 21.3745
34 | 0.92123 | 0.40598 | -0.92063 | -0.41796 | 0.00059701 | -0.011981 | 0.029306 | 0.029451 | 0.029451 | 0.99164 | -0.10105 | 0.99104 | -0.096385 | 13.3868
35 | 0.1767 | 0.08553 | -0.1767 | -0.085578 | 2.4485e-06 | -4.7859e-05 | 0.0057148 | 0.0057154 | 0.0057154 | 0.99164 | -0.10105 | 0.99163 | -0.10114 | 2.7216
36 | 0.37134 | 0.17973 | -0.37131 | -0.17984 | 2.7011e-05 | -0.00010645 | 0.01201 | 0.012011 | 0.012011 | 0.99164 | -0.10105 | 0.99157 | -0.10153 | 5.7196
37 | 0.14259 | 0.067242 | -0.14258 | -0.069056 | 2.2891e-06 | -0.0018144 | 0.0046432 | 0.0046663 | 0.0046663 | 0.9801 | -0.26387 | 0.98008 | -0.26374 | 2.121
38 | -0.14259 | -0.067242 | 0.14262 | 0.036514 | 3.5726e-05 | -0.030728 | 0.0046432 | 0.0043352 | 0.0046432 | 0.9801 | -0.26387 | 0.98034 | -0.26472 | 2.1106
39 | 0.28034 | 0.13466 | -0.28033 | -0.13577 | 5.4121e-06 | -0.0011058 | 0.009158 | 0.0091721 | 0.0091721 | 0.98034 | -0.26472 | 0.98032 | -0.26456 | 4.1692
40 | 0.92063 | 0.41796 | -0.92061 | -0.41854 | 2.8774e-05 | -0.00057404 | 0.029451 | 0.029458 | 0.029458 | 0.99104 | -0.096385 | 0.99101 | -0.096151 | 13.39
41 | 0.65486 | 0.28983 | -0.65473 | -0.28995 | 0.00013399 | -0.00011862 | 0.020861 | 0.020863 | 0.020863 | 0.99101 | -0.096151 | 0.99079 | -0.097951 | 9.9347

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.8599 | 2.1742

## res_load
| p_mw | q_mvar
0 | 0.39075 | 0.18925
1 | 0.10926 | 0.052919
2 | 0.094567 | 0.045801
3 | 0.11721 | 0.056768
4 | 0.19516 | 0.094522
5 | 0.34491 | 0.16705
6 | 0.25221 | 0.12215
7 | 0.33848 | 0.16393
8 | 0.097844 | 0.047388
9 | 0.29702 | 0.14385
10 | 0.31205 | 0.15113
11 | 0.22916 | 0.11099
12 | 0.11896 | 0.057615
13 | 0.24126 | 0.11685
14 | 0.090728 | 0.043942
15 | 0.33112 | 0.16037
16 | 0.14258 | 0.069056
17 | 0.28033 | 0.13577
18 | 0.1767 | 0.085578
19 | 0.37131 | 0.17984
20 | 0.26574 | 0.12871

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1