## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_321_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_321_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_321_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_321_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_321_0_node_7 | 20 | n |  | TRUE
5 | bus_MV_321_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_321_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_321_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_321_0_node_97 | 20 | n |  | TRUE
9 | bus_MV_321_0_node_98 | 20 | n |  | TRUE
10 | bus_MV_321_0_node_12 | 20 | n |  | TRUE
11 | bus_MV_321_0_node_11 | 20 | n |  | TRUE
12 | bus_MV_321_0_node_43 | 20 | n |  | TRUE
13 | bus_MV_321_0_node_38 | 20 | n |  | TRUE
14 | bus_MV_321_0_node_110 | 20 | n |  | TRUE
15 | bus_MV_321_0_node_46 | 20 | n |  | TRUE
16 | bus_MV_321_0_node_8 | 20 | n |  | TRUE
17 | bus_MV_321_0_node_72 | 20 | n |  | TRUE
18 | bus_MV_321_0_node_9 | 20 | n |  | TRUE
19 | bus_MV_321_0_node_71 | 20 | n |  | TRUE
20 | bus_MV_321_0_node_92 | 20 | n |  | TRUE
21 | bus_MV_321_0_node_89 | 20 | n |  | TRUE
22 | bus_MV_321_0_node_106 | 20 | n |  | TRUE
23 | bus_MV_321_0_node_44 | 20 | n |  | TRUE
24 | bus_MV_321_0_node_45 | 20 | n |  | TRUE
25 | bus_MV_321_0_node_48 | 20 | n |  | TRUE
26 | bus_MV_321_0_node_16 | 20 | n |  | TRUE
27 | bus_MV_321_0_node_95 | 20 | n |  | TRUE
28 | bus_MV_321_0_node_90 | 20 | n |  | TRUE
29 | bus_MV_321_0_node_10 | 20 | n |  | TRUE
30 | bus_MV_321_0_node_22 | 20 | n |  | TRUE
31 | bus_MV_321_0_node_54 | 20 | n |  | TRUE
32 | bus_MV_321_0_node_24 | 20 | n |  | TRUE
33 | bus_MV_321_0_node_53 | 20 | n |  | TRUE
34 | bus_MV_321_0_node_13 | 20 | n |  | TRUE
35 | bus_MV_321_0_node_14 | 20 | n |  | TRUE
36 | bus_MV_321_0_node_18 | 20 | n |  | TRUE
37 | bus_MV_321_0_node_15 | 20 | n |  | TRUE
38 | bus_MV_321_0_node_17 | 20 | n |  | TRUE
39 | bus_MV_321_0_node_94 | 20 | n |  | TRUE
40 | bus_MV_321_0_node_70 | 20 | n |  | TRUE
41 | bus_MV_321_0_node_57 | 20 | n |  | TRUE
42 | bus_MV_321_0_node_19 | 20 | n |  | TRUE
43 | bus_MV_321_0_node_20 | 20 | n |  | TRUE
44 | bus_MV_321_0_node_115 | 20 | n |  | TRUE
45 | bus_MV_321_0_node_21 | 20 | n |  | TRUE
46 | bus_MV_321_0_node_114 | 20 | n |  | TRUE
47 | bus_MV_321_0_node_23 | 20 | n |  | TRUE
48 | bus_MV_321_0_node_99 | 20 | n |  | TRUE
49 | bus_MV_321_0_node_52 | 20 | n |  | TRUE
50 | bus_MV_321_0_node_49 | 20 | n |  | TRUE
51 | bus_MV_321_0_node_56 | 20 | n |  | TRUE
52 | bus_MV_321_0_node_40 | 20 | n |  | TRUE
53 | bus_MV_321_0_node_50 | 20 | n |  | TRUE
54 | bus_MV_321_0_node_25 | 20 | n |  | TRUE
55 | bus_MV_321_0_node_26 | 20 | n |  | TRUE
56 | bus_MV_321_0_node_27 | 20 | n |  | TRUE
57 | bus_MV_321_0_node_66 | 20 | n |  | TRUE
58 | bus_MV_321_0_node_87 | 20 | n |  | TRUE
59 | bus_MV_321_0_node_67 | 20 | n |  | TRUE
60 | bus_MV_321_0_node_109 | 20 | n |  | TRUE
61 | bus_MV_321_0_node_64 | 20 | n |  | TRUE
62 | bus_MV_321_0_node_100 | 20 | n |  | TRUE
63 | bus_MV_321_0_node_116 | 20 | n |  | TRUE
64 | bus_MV_321_0_node_65 | 20 | n |  | TRUE
65 | bus_MV_321_0_node_61 | 20 | n |  | TRUE
66 | bus_MV_321_0_node_108 | 20 | n |  | TRUE
67 | bus_MV_321_0_node_36 | 20 | n |  | TRUE
68 | bus_MV_321_0_node_59 | 20 | n |  | TRUE
69 | bus_MV_321_0_node_35 | 20 | n |  | TRUE
70 | bus_MV_321_0_node_62 | 20 | n |  | TRUE
71 | bus_MV_321_0_node_119 | 20 | n |  | TRUE
72 | bus_MV_321_0_node_63 | 20 | n |  | TRUE
73 | bus_MV_321_0_node_103 | 20 | n |  | TRUE
74 | bus_MV_321_0_node_101 | 20 | n |  | TRUE
75 | bus_MV_321_0_node_28 | 20 | n |  | TRUE
76 | bus_MV_321_0_node_30 | 20 | n |  | TRUE
77 | bus_MV_321_0_node_33 | 20 | n |  | TRUE
78 | bus_MV_321_0_node_32 | 20 | n |  | TRUE
79 | bus_MV_321_0_node_88 | 20 | n |  | TRUE
80 | bus_MV_321_0_node_74 | 20 | n |  | TRUE
81 | bus_MV_321_0_node_73 | 20 | n |  | TRUE
82 | bus_MV_321_0_node_34 | 20 | n |  | TRUE
83 | bus_MV_321_0_node_77 | 20 | n |  | TRUE
84 | bus_MV_321_0_node_117 | 20 | n |  | TRUE
85 | bus_MV_321_0_node_79 | 20 | n |  | TRUE
86 | bus_MV_321_0_node_76 | 20 | n |  | TRUE
87 | bus_MV_321_0_node_41 | 20 | n |  | TRUE
88 | bus_MV_321_0_node_60 | 20 | n |  | TRUE
89 | bus_MV_321_0_node_58 | 20 | n |  | TRUE
90 | bus_MV_321_0_node_37 | 20 | n |  | TRUE
91 | bus_MV_321_0_node_39 | 20 | n |  | TRUE
92 | bus_MV_321_0_node_42 | 20 | n |  | TRUE
93 | bus_MV_321_0_node_112 | 20 | n |  | TRUE
94 | bus_MV_321_0_node_113 | 20 | n |  | TRUE
95 | bus_MV_321_0_node_47 | 20 | n |  | TRUE
96 | bus_MV_321_0_node_96 | 20 | n |  | TRUE
97 | bus_MV_321_0_node_105 | 20 | n |  | TRUE
98 | bus_MV_321_0_node_91 | 20 | n |  | TRUE
99 | bus_MV_321_0_node_51 | 20 | n |  | TRUE
100 | bus_MV_321_0_node_69 | 20 | n |  | TRUE
101 | bus_MV_321_0_node_55 | 20 | n |  | TRUE
102 | bus_MV_321_0_node_68 | 20 | n |  | TRUE
103 | bus_MV_321_0_node_102 | 20 | n |  | TRUE
104 | bus_MV_321_0_node_104 | 20 | n |  | TRUE
105 | bus_MV_321_0_node_75 | 20 | n |  | TRUE
106 | bus_MV_321_0_node_80 | 20 | n |  | TRUE
107 | bus_MV_321_0_node_118 | 20 | n |  | TRUE
108 | bus_MV_321_0_node_78 | 20 | n |  | TRUE
109 | bus_MV_321_0_node_82 | 20 | n |  | TRUE
110 | bus_MV_321_0_node_107 | 20 | n |  | TRUE
111 | bus_MV_321_0_node_84 | 20 | n |  | TRUE
112 | bus_MV_321_0_node_81 | 20 | n |  | TRUE
113 | bus_MV_321_0_node_85 | 20 | n |  | TRUE
114 | bus_MV_321_0_node_83 | 20 | n |  | TRUE
115 | bus_MV_321_0_node_86 | 20 | n |  | TRUE
116 | bus_MV_321_0_node_93 | 20 | n |  | TRUE
117 | bus_HV_321_0_node_32 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_321_0_load_0 | 0 | 0.23361 | 0.11314 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_321_0_load_4 | 6 | 0.10874 | 0.052665 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_321_0_load_98 | 9 | 0.069171 | 0.033501 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_321_0_load_43 | 12 | 0.07538 | 0.036508 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_321_0_load_110 | 14 | 0.11397 | 0.0552 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_321_0_load_72 | 17 | 0.37999 | 0.18404 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_321_0_load_71 | 19 | 0.49851 | 0.24144 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_321_0_load_89 | 21 | 0.18922 | 0.091643 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_321_0_load_106 | 22 | 0.089628 | 0.043409 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_321_0_load_44 | 23 | 0.36556 | 0.17705 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_321_0_load_95 | 27 | 0.49323 | 0.23888 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_321_0_load_10 | 29 | 0.37717 | 0.18267 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_321_0_load_53 | 33 | 0.15474 | 0.074946 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_321_0_load_13 | 34 | 0.32528 | 0.15754 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_321_0_load_94 | 39 | 0.25914 | 0.12551 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_321_0_load_70 | 40 | 0.58504 | 0.28335 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_321_0_load_57 | 41 | 0.28031 | 0.13576 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_321_0_load_19 | 42 | 0.37349 | 0.18089 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_321_0_load_115 | 44 | 0.072095 | 0.034917 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_321_0_load_114 | 46 | 0.33767 | 0.16354 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_321_0_load_99 | 48 | 0.082151 | 0.039788 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_321_0_load_52 | 49 | 0.099339 | 0.048112 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_321_0_load_49 | 50 | 0.40549 | 0.19639 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_321_0_load_56 | 51 | 0.077268 | 0.037423 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_321_0_load_40 | 52 | 0.12368 | 0.059901 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_321_0_load_25 | 54 | 0.3505 | 0.16976 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_321_0_load_66 | 57 | 0.14569 | 0.070563 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_321_0_load_87 | 58 | 0.069197 | 0.033514 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_321_0_load_109 | 60 | 0.40334 | 0.19535 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_321_0_load_100 | 62 | 0.23133 | 0.11204 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_321_0_load_116 | 63 | 0.47498 | 0.23004 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_321_0_load_108 | 66 | 0.32424 | 0.15704 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_321_0_load_119 | 71 | 1.6664 | 0.80707 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_321_0_load_103 | 73 | 0.56602 | 0.27414 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_321_0_load_28 | 75 | 0.24212 | 0.11726 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_321_0_load_88 | 79 | 0.13147 | 0.063675 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_321_0_load_74 | 80 | 0.12423 | 0.060166 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_321_0_load_73 | 81 | 0.39012 | 0.18895 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_321_0_load_34 | 82 | 0.079432 | 0.038471 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_321_0_load_117 | 84 | 0.14663 | 0.071014 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_321_0_load_60 | 88 | 0.11488 | 0.055639 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_321_0_load_58 | 89 | 0.090187 | 0.04368 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_321_0_load_37 | 90 | 0.18347 | 0.088858 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_321_0_load_112 | 93 | 0.094563 | 0.045799 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_321_0_load_113 | 94 | 0.24302 | 0.1177 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_321_0_load_47 | 95 | 0.073576 | 0.035634 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_321_0_load_96 | 96 | 0.12342 | 0.059776 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_321_0_load_105 | 97 | 0.18527 | 0.089728 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_321_0_load_69 | 100 | 0.28931 | 0.14012 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_321_0_load_55 | 101 | 0.27079 | 0.13115 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_321_0_load_68 | 102 | 0.31593 | 0.15301 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_321_0_load_104 | 104 | 0.075251 | 0.036446 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_321_0_load_75 | 105 | 0.14252 | 0.069027 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_321_0_load_80 | 106 | 0.15339 | 0.07429 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_321_0_load_118 | 107 | 0.19788 | 0.095839 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_321_0_load_82 | 109 | 0.3415 | 0.1654 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_321_0_load_84 | 111 | 0.1059 | 0.051291 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_321_0_load_81 | 112 | 0.25011 | 0.12113 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_321_0_load_85 | 113 | 0.23479 | 0.11371 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_321_0_load_83 | 114 | 0.13671 | 0.066211 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_321_0_load_86 | 115 | 0.25833 | 0.12512 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_321_0_load_93 | 116 | 0.24451 | 0.11842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_321_0_line_0 |  | 0 | 1 | 0.069765 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
1 | MV_321_0_line_1 |  | 0 | 2 | 0.067253 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
2 | MV_321_0_line_2 |  | 1 | 3 | 0.12169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_321_0_line_3 |  | 1 | 4 | 0.26989 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
4 | MV_321_0_line_4 |  | 2 | 5 | 0.009414 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
5 | MV_321_0_line_5 |  | 3 | 14 | 0.046963 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_321_0_line_6 |  | 4 | 15 | 0.15448 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
7 | MV_321_0_line_7 |  | 5 | 6 | 0.035533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_321_0_line_8 |  | 5 | 7 | 0.030161 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
9 | MV_321_0_line_9 |  | 7 | 8 | 0.015038 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
10 | MV_321_0_line_10 |  | 7 | 9 | 0.017038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_321_0_line_11 |  | 8 | 12 | 0.032982 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
12 | MV_321_0_line_12 |  | 9 | 10 | 0.025519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_321_0_line_13 |  | 10 | 11 | 0.39021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_321_0_line_14 |  | 11 | 29 | 0.021585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_321_0_line_15 |  | 12 | 13 | 0.024614 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
16 | MV_321_0_line_16 |  | 13 | 90 | 0.040077 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
17 | MV_321_0_line_17 |  | 15 | 22 | 0.25539 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
18 | MV_321_0_line_18 |  | 15 | 23 | 0.13999 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
19 | MV_321_0_line_19 |  | 16 | 17 | 0.049523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_321_0_line_20 |  | 16 | 18 | 0.20821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_321_0_line_21 |  | 16 | 19 | 0.054192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_321_0_line_22 |  | 18 | 20 | 0.023684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_321_0_line_23 |  | 18 | 21 | 0.052391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_321_0_line_24 |  | 19 | 26 | 0.06998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_321_0_line_25 |  | 20 | 27 | 0.04747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_321_0_line_26 |  | 21 | 28 | 0.0025553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_321_0_line_27 |  | 22 | 97 | 0.082375 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
28 | MV_321_0_line_28 |  | 23 | 24 | 0.015912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_321_0_line_29 |  | 24 | 25 | 0.14372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_321_0_line_30 |  | 25 | 96 | 0.093851 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_321_0_line_31 |  | 25 | 28 | 0.069753 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_321_0_line_32 |  | 26 | 37 | 0.10171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_321_0_line_33 |  | 28 | 98 | 0.028065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_321_0_line_34 |  | 28 | 95 | 0.30242 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_321_0_line_35 |  | 29 | 30 | 0.19418 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_321_0_line_36 |  | 30 | 31 | 0.052198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_321_0_line_37 |  | 30 | 32 | 0.34353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_321_0_line_38 |  | 30 | 33 | 0.066313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_321_0_line_39 |  | 31 | 51 | 0.059281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_321_0_line_40 |  | 32 | 49 | 0.023274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_321_0_line_41 |  | 32 | 50 | 0.042211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_321_0_line_42 |  | 34 | 35 | 0.031697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_321_0_line_43 |  | 35 | 36 | 0.32605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_321_0_line_44 |  | 36 | 41 | 0.066581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_321_0_line_45 |  | 36 | 38 | 0.46876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_321_0_line_46 |  | 37 | 38 | 0.21472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_321_0_line_47 |  | 37 | 39 | 0.036683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_321_0_line_48 |  | 38 | 40 | 0.032081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_321_0_line_49 |  | 42 | 43 | 0.019803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_321_0_line_50 |  | 42 | 44 | 3.0157 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_321_0_line_51 |  | 43 | 45 | 0.28709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_321_0_line_52 |  | 45 | 46 | 0.038288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_321_0_line_53 |  | 45 | 47 | 0.23336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_321_0_line_54 |  | 47 | 48 | 0.024024 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_321_0_line_55 |  | 48 | 52 | 0.022662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_321_0_line_56 |  | 50 | 53 | 0.050975 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_321_0_line_57 |  | 51 | 101 | 0.045347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_321_0_line_58 |  | 52 | 91 | 0.011534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_321_0_line_59 |  | 53 | 99 | 0.1556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_321_0_line_60 |  | 54 | 55 | 0.016958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_321_0_line_61 |  | 55 | 56 | 0.15709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_321_0_line_62 |  | 56 | 61 | 0.078106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_321_0_line_63 |  | 56 | 62 | 0.14678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_321_0_line_64 |  | 57 | 58 | 0.13761 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
65 | MV_321_0_line_65 |  | 57 | 59 | 0.1809 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_321_0_line_66 |  | 57 | 60 | 0.31633 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_321_0_line_67 |  | 58 | 85 | 0.059267 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
68 | MV_321_0_line_68 |  | 59 | 102 | 0.060051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_321_0_line_69 |  | 59 | 72 | 0.095517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_321_0_line_70 |  | 60 | 67 | 0.015342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_321_0_line_71 |  | 61 | 63 | 0.02639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_321_0_line_72 |  | 61 | 64 | 0.038955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_321_0_line_73 |  | 61 | 65 | 0.12715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_321_0_line_74 |  | 62 | 74 | 0.023922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_321_0_line_75 |  | 64 | 66 | 0.091998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_321_0_line_76 |  | 65 | 73 | 0.063035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_321_0_line_77 |  | 65 | 68 | 0.45011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_321_0_line_78 |  | 67 | 68 | 0.18648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_321_0_line_79 |  | 67 | 69 | 0.059911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_321_0_line_80 |  | 69 | 88 | 0.24935 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_321_0_line_81 |  | 69 | 82 | 0.16074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_321_0_line_82 |  | 70 | 71 | 0.018978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_321_0_line_83 |  | 70 | 72 | 0.21517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_321_0_line_84 |  | 74 | 103 | 0.057725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_321_0_line_85 |  | 75 | 76 | 0.007812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_321_0_line_86 |  | 76 | 77 | 0.22613 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_321_0_line_87 |  | 77 | 80 | 0.072224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_321_0_line_88 |  | 77 | 81 | 0.013938 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
89 | MV_321_0_line_89 |  | 77 | 78 | 0.16935 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
90 | MV_321_0_line_90 |  | 78 | 79 | 0.023358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_321_0_line_91 |  | 81 | 87 | 0.066294 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
92 | MV_321_0_line_92 |  | 83 | 84 | 0.034185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_321_0_line_93 |  | 83 | 85 | 0.13328 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
94 | MV_321_0_line_94 |  | 83 | 86 | 0.69368 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
95 | MV_321_0_line_95 |  | 85 | 111 | 0.068743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_321_0_line_96 |  | 86 | 106 | 0.16928 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
97 | MV_321_0_line_97 |  | 86 | 105 | 0.16072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_321_0_line_98 |  | 87 | 91 | 0.59909 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
99 | MV_321_0_line_99 |  | 88 | 89 | 0.028037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_321_0_line_100 |  | 90 | 91 | 0.12049 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
101 | MV_321_0_line_101 |  | 91 | 92 | 0.43646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_321_0_line_102 |  | 92 | 93 | 0.009447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_321_0_line_103 |  | 92 | 94 | 0.093656 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_321_0_line_104 |  | 97 | 110 | 0.084979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_321_0_line_105 |  | 97 | 112 | 0.20315 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
106 | MV_321_0_line_106 |  | 98 | 116 | 0.0016562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_321_0_line_107 |  | 99 | 100 | 0.029347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_321_0_line_108 |  | 103 | 104 | 0.049137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_321_0_line_109 |  | 106 | 112 | 0.19641 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
110 | MV_321_0_line_110 |  | 106 | 107 | 0.27723 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_321_0_line_111 |  | 108 | 109 | 0.016585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_321_0_line_112 |  | 108 | 110 | 0.10995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_321_0_line_113 |  | 111 | 113 | 0.0053773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_321_0_line_114 |  | 112 | 114 | 0.052939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_321_0_line_115 |  | 113 | 115 | 0.048183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_321_0_trafo_32 | 25 MVA 110/20 kV | 117 | 78 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2552135.0729 | 1215478.8444
1 | 2552184.2124 | 1215429.1863
2 | 2552089.9527 | 1215528.7152
3 | 2552280.5921 | 1215434.4264
4 | 2552248.5542 | 1215265.0605
5 | 2552083.7531 | 1215535.8139
6 | 2552054.9134 | 1215515.0561
7 | 2552063.8979 | 1215558.5652
8 | 2552053.9967 | 1215569.9073
9 | 2552077.9923 | 1215567.7646
10 | 2552096.7838 | 1215584.8937
11 | 2552276.3496 | 1215834.7435
12 | 2552032.4572 | 1215594.885
13 | 2552016.3826 | 1215613.5256
14 | 2552313.2997 | 1215468.1265
15 | 2552101.5794 | 1215222.617
16 | 2552398.5993 | 1215382.0496
17 | 2552433.6536 | 1215417.0313
18 | 2552408.9886 | 1215259.8826
19 | 2552436.5622 | 1215343.3771
20 | 2552422.5708 | 1215263.3316
21 | 2552370.4097 | 1215224.4355
22 | 2551881.5656 | 1215102.0937
23 | 2552202.4478 | 1215125.5478
24 | 2552213.0978 | 1215113.6996
25 | 2552316.4656 | 1215176.285
26 | 2552480.9069 | 1215394.6434
27 | 2552457.2943 | 1215295.7001
28 | 2552368.5281 | 1215222.7066
29 | 2552294.4625 | 1215831.4407
30 | 2552486.6265 | 1215859.3634
31 | 2552521.4015 | 1215820.3513
32 | 2552482.0439 | 1216088.6702
33 | 2552537.2573 | 1215902.3514
34 | 2552766.6394 | 1215498.6514
35 | 2552762.8617 | 1215523.0071
36 | 2552619.0008 | 1215702.2582
37 | 2552561.2215 | 1215392.5788
38 | 2552439.235 | 1215518.1389
39 | 2552534.3891 | 1215367.5662
40 | 2552453.8394 | 1215546.7031
41 | 2552669.2618 | 1215745.9261
42 | 2552007.5267 | 1216026.9993
43 | 2552020.0214 | 1216011.6116
44 | 2549540.2584 | 1217761.0544
45 | 2551890.5129 | 1215808.959
46 | 2551859.2024 | 1215786.7992
47 | 2551976.681 | 1215774.6199
48 | 2551958.1523 | 1215759.3323
49 | 2552499.4329 | 1216104.14
50 | 2552454.3866 | 1216109.8483
51 | 2552559.1614 | 1215774.6571
52 | 2551940.501 | 1215745.1191
53 | 2552416.8901 | 1216144.3799
54 | 2550117.1462 | 1214402.2715
55 | 2550132.6374 | 1214409.268
56 | 2550243.1881 | 1214377.6791
57 | 2550925.1494 | 1214390.8999
58 | 2551046.0228 | 1214456.6676
59 | 2550794.7125 | 1214265.5583
60 | 2550673.2004 | 1214582.1755
61 | 2550304.457 | 1214350.6286
62 | 2550200.0806 | 1214517.9841
63 | 2550282.6563 | 1214335.6685
64 | 2550273.3755 | 1214336.5911
65 | 2550352.2143 | 1214405.318
66 | 2550199.5107 | 1214281.9074
67 | 2550663.6245 | 1214594.162
68 | 2550519.0843 | 1214516.4162
69 | 2550684.3135 | 1214634.6368
70 | 2550671.7217 | 1214193.4005
71 | 2550681.5477 | 1214209.651
72 | 2550714.7563 | 1214318.1626
73 | 2550343.7792 | 1214466.5694
74 | 2550193.0548 | 1214540.8515
75 | 2551436.7456 | 1215132.5432
76 | 2551441.4101 | 1215126.2681
77 | 2551532.1953 | 1215269.8465
78 | 2551614.5586 | 1215152.6394
79 | 2551633.8701 | 1215165.7791
80 | 2551472.531 | 1215229.1463
81 | 2551524.5694 | 1215281.5134
82 | 2550816.3014 | 1214726.8991
83 | 2551126.4999 | 1214544.9674
84 | 2551158.891 | 1214540.3764
85 | 2551098.6719 | 1214483.8375
86 | 2551607.217 | 1214783.4236
87 | 2551490.927 | 1215338.1459
88 | 2550542.8129 | 1214839.9508
89 | 2550516.9853 | 1214829.0424
90 | 2551985.903 | 1215630.3705
91 | 2551931.5171 | 1215737.8851
92 | 2551736.7724 | 1215444.3982
93 | 2551730.8793 | 1215451.7949
94 | 2551800.1497 | 1215375.4431
95 | 2552465.4791 | 1214936.2495
96 | 2552313.6787 | 1215113.1422
97 | 2551816.5106 | 1215051.5687
98 | 2552349.9406 | 1215243.7791
99 | 2552286.0922 | 1216080.7677
100 | 2552264.0094 | 1216100.1676
101 | 2552587.9318 | 1215739.6058
102 | 2550785.503 | 1214221.8863
103 | 2550176.9369 | 1214595.8749
104 | 2550131.966 | 1214576.0733
105 | 2551601.7021 | 1214668.8563
106 | 2551776.4289 | 1214778.7183
107 | 2551974.8776 | 1214585.1371
108 | 2551663.6706 | 1214930.7412
109 | 2551663.0801 | 1214915.0923
110 | 2551750.29 | 1214998.3116
111 | 2551145.0377 | 1214434.0434
112 | 2551936.2949 | 1214887.4918
113 | 2551148.9757 | 1214430.3818
114 | 2551986.7597 | 1214903.4861
115 | 2551184.2614 | 1214397.572
116 | 2552351.1857 | 1215244.8712
117 | 2551614.5586 | 1215152.6394

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99683 | -0.057589 | 0.23361 | 0.11314
1 | 0.99671 | -0.058219 | 0 | 0
2 | 0.99709 | -0.042947 | 0 | 0
3 | 0.99669 | -0.058072 | 0 | 0
4 | 0.99623 | -0.060589 | 0 | 0
5 | 0.99711 | -0.042861 | 0 | 0
6 | 0.9971 | -0.042815 | 0.10874 | 0.052665
7 | 0.99716 | -0.042582 | 0 | 0
8 | 0.99719 | -0.042423 | 0 | 0
9 | 0.99712 | -0.042257 | 0.069171 | 0.033501
10 | 0.99707 | -0.041791 | 0 | 0
11 | 0.99624 | -0.034538 | 0 | 0
12 | 0.99726 | -0.042075 | 0.07538 | 0.036508
13 | 0.99732 | -0.041814 | 0 | 0
14 | 0.99668 | -0.058009 | 0.11397 | 0.0552
15 | 0.99595 | -0.061916 | 0 | 0
16 | 0.99335 | -0.067649 | 0 | 0
17 | 0.99332 | -0.067423 | 0.37999 | 0.18404
18 | 0.99397 | -0.073031 | 0 | 0
19 | 0.99321 | -0.066482 | 0.49851 | 0.24144
20 | 0.99395 | -0.072892 | 0 | 0
21 | 0.99415 | -0.074681 | 0.18922 | 0.091643
22 | 0.99565 | -0.063396 | 0.089628 | 0.043409
23 | 0.99532 | -0.077842 | 0.36556 | 0.17705
24 | 0.99525 | -0.077229 | 0 | 0
25 | 0.99461 | -0.071664 | 0 | 0
26 | 0.99308 | -0.065391 | 0 | 0
27 | 0.99392 | -0.07261 | 0.49323 | 0.23888
28 | 0.99416 | -0.074767 | 0 | 0
29 | 0.99619 | -0.03413 | 0.37717 | 0.18267
30 | 0.99571 | -0.037525 | 0 | 0
31 | 0.99568 | -0.037316 | 0 | 0
32 | 0.99536 | -0.034454 | 0 | 0
33 | 0.99569 | -0.037404 | 0.15474 | 0.074946
34 | 0.99206 | -0.05673 | 0.32528 | 0.15754
35 | 0.99207 | -0.056854 | 0 | 0
36 | 0.99221 | -0.058047 | 0 | 0
37 | 0.99289 | -0.063792 | 0 | 0
38 | 0.99257 | -0.061025 | 0 | 0
39 | 0.99288 | -0.063678 | 0.25914 | 0.12551
40 | 0.99254 | -0.060798 | 0.58504 | 0.28335
41 | 0.99218 | -0.057823 | 0.28031 | 0.13576
42 | 0.99747 | -0.006311 | 0.37349 | 0.18089
43 | 0.99749 | -0.0064122 | 0 | 0
44 | 0.99706 | -0.0094142 | 0.072095 | 0.034917
45 | 0.99765 | -0.0078132 | 0 | 0
46 | 0.99763 | -0.0076589 | 0.33767 | 0.16354
47 | 0.99788 | -0.0097924 | 0 | 0
48 | 0.9979 | -0.0099914 | 0.082151 | 0.039788
49 | 0.99536 | -0.034426 | 0.099339 | 0.048112
50 | 0.99532 | -0.034113 | 0.40549 | 0.19639
51 | 0.99566 | -0.037074 | 0.077268 | 0.037423
52 | 0.99793 | -0.010201 | 0.12368 | 0.059901
53 | 0.99529 | -0.034312 | 0 | 0
54 | 0.98913 | -0.12769 | 0.3505 | 0.16976
55 | 0.98914 | -0.12776 | 0 | 0
56 | 0.98921 | -0.12841 | 0 | 0
57 | 0.99287 | -0.13432 | 0.14569 | 0.070563
58 | 0.99367 | -0.11446 | 0.069197 | 0.033514
59 | 0.99218 | -0.13887 | 0 | 0
60 | 0.99121 | -0.14604 | 0.40334 | 0.19535
61 | 0.98928 | -0.12898 | 0 | 0
62 | 0.98916 | -0.12791 | 0.23133 | 0.11204
63 | 0.98926 | -0.12883 | 0.47498 | 0.23004
64 | 0.98926 | -0.12884 | 0 | 0
65 | 0.98952 | -0.1311 | 0 | 0
66 | 0.98922 | -0.12848 | 0.32424 | 0.15704
67 | 0.99117 | -0.14565 | 0 | 0
68 | 0.99068 | -0.14146 | 0 | 0
69 | 0.99114 | -0.14546 | 0 | 0
70 | 0.99151 | -0.13266 | 0 | 0
71 | 0.99147 | -0.13228 | 1.6664 | 0.80707
72 | 0.99197 | -0.13698 | 0 | 0
73 | 0.98947 | -0.13067 | 0.56602 | 0.27414
74 | 0.98915 | -0.12789 | 0 | 0
75 | 0.9995 | -0.0015397 | 0.24212 | 0.11726
76 | 0.9995 | -0.0015623 | 0 | 0
77 | 0.99957 | -0.0021764 | 0 | 0
78 | 1 | 0 | -15.742 | -7.1041
79 | 1 | 3.6325e-05 | 0.13147 | 0.063675
80 | 0.99956 | -0.0020729 | 0.12423 | 0.060166
81 | 0.99954 | -0.0023507 | 0.39012 | 0.18895
82 | 0.99113 | -0.14533 | 0.079432 | 0.038471
83 | 0.99395 | -0.11224 | 0 | 0
84 | 0.99394 | -0.11218 | 0.14663 | 0.071014
85 | 0.99383 | -0.11273 | 0 | 0
86 | 0.99459 | -0.10933 | 0 | 0
87 | 0.99938 | -0.0031623 | 0 | 0
88 | 0.99104 | -0.14611 | 0.11488 | 0.055639
89 | 0.99104 | -0.14608 | 0.090187 | 0.04368
90 | 0.9974 | -0.041387 | 0.18347 | 0.088858
91 | 0.99794 | -0.010324 | 0 | 0
92 | 0.99776 | -0.0087079 | 0 | 0
93 | 0.99775 | -0.0086972 | 0.094563 | 0.045799
94 | 0.99771 | -0.0089846 | 0.24302 | 0.1177
95 | 0.99412 | -0.075044 | 0.073576 | 0.035634
96 | 0.9946 | -0.07153 | 0.12342 | 0.059776
97 | 0.99556 | -0.063857 | 0.18527 | 0.089728
98 | 0.99415 | -0.074685 | 0 | 0
99 | 0.99523 | -0.033794 | 0 | 0
100 | 0.99522 | -0.033692 | 0.28931 | 0.14012
101 | 0.99564 | -0.036927 | 0.27079 | 0.13115
102 | 0.99215 | -0.13865 | 0.31593 | 0.15301
103 | 0.98915 | -0.12785 | 0 | 0
104 | 0.98914 | -0.1278 | 0.075251 | 0.036446
105 | 0.99456 | -0.10907 | 0.14252 | 0.069027
106 | 0.99492 | -0.090403 | 0.15339 | 0.07429
107 | 0.99481 | -0.091076 | 0.19788 | 0.095839
108 | 0.99547 | -0.063087 | 0 | 0
109 | 0.99547 | -0.063019 | 0.3415 | 0.1654
110 | 0.99552 | -0.063528 | 0 | 0
111 | 0.99377 | -0.11224 | 0.1059 | 0.051291
112 | 0.99511 | -0.089439 | 0.25011 | 0.12113
113 | 0.99377 | -0.11221 | 0.23479 | 0.11371
114 | 0.99511 | -0.089354 | 0.13671 | 0.066211
115 | 0.99375 | -0.11206 | 0.25833 | 0.12512
116 | 0.99415 | -0.07468 | 0.24451 | 0.11842
117 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 11.1266 | 5.0452 | -11.1253 | -5.0531 | 0.0013496 | -0.0079505 | 0.3538 | 0.3539 | 0.3539 | 0.99683 | -0.057589 | 0.99671 | -0.058219 | 27.7351
1 | -11.3603 | -5.1583 | 11.3618 | 5.1623 | 0.0015671 | 0.0040293 | 0.36131 | 0.36131 | 0.36131 | 0.99683 | -0.057589 | 0.99709 | -0.042947 | 28.0085
2 | 0.11398 | 0.051201 | -0.11398 | -0.054087 | 2.148e-06 | -0.0028858 | 0.0036189 | 0.0036539 | 0.0036539 | 0.99671 | -0.058219 | 0.99669 | -0.058072 | 1.6609
3 | 11.0113 | 5.0019 | -11.0062 | -5.0327 | 0.005122 | -0.030791 | 0.35028 | 0.35068 | 0.35068 | 0.99671 | -0.058219 | 0.99623 | -0.060589 | 27.4832
4 | -11.3618 | -5.1623 | 11.362 | 5.1613 | 0.00018986 | -0.0010692 | 0.36131 | 0.36129 | 0.36131 | 0.99709 | -0.042947 | 0.99711 | -0.042861 | 28.3156
5 | 0.11398 | 0.054087 | -0.11397 | -0.0552 | 8.4024e-07 | -0.0011136 | 0.0036539 | 0.0036679 | 0.0036679 | 0.99669 | -0.058072 | 0.99668 | -0.058009 | 1.6672
6 | 11.0062 | 5.0327 | -11.0033 | -5.0503 | 0.0029372 | -0.017607 | 0.35068 | 0.35092 | 0.35092 | 0.99623 | -0.060589 | 0.99595 | -0.061916 | 27.5014
7 | 0.10874 | 0.051822 | -0.10874 | -0.052665 | 5.7867e-07 | -0.00084332 | 0.0034874 | 0.003498 | 0.003498 | 0.99711 | -0.042861 | 0.9971 | -0.042815 | 1.59
8 | -11.4707 | -5.2131 | 11.4714 | 5.2097 | 0.00061999 | -0.0034193 | 0.36478 | 0.36473 | 0.36478 | 0.99711 | -0.042861 | 0.99716 | -0.042582 | 28.5878
9 | -13.2174 | -6.0246 | 13.2178 | 6.0229 | 0.00041082 | -0.0016477 | 0.42051 | 0.42049 | 0.42051 | 0.99716 | -0.042582 | 0.99719 | -0.042423 | 32.9556
10 | 1.746 | 0.81492 | -1.7459 | -0.81531 | 7.0781e-05 | -0.00038349 | 0.055781 | 0.055786 | 0.055786 | 0.99716 | -0.042582 | 0.99712 | -0.042257 | 25.3573
11 | -13.2178 | -6.0229 | 13.2187 | 6.0193 | 0.00090089 | -0.0036145 | 0.42049 | 0.42044 | 0.42049 | 0.99719 | -0.042423 | 0.99726 | -0.042075 | 32.9538
12 | 1.6768 | 0.7818 | -1.6767 | -0.78238 | 9.7747e-05 | -0.00057677 | 0.053561 | 0.053569 | 0.053569 | 0.99712 | -0.042257 | 0.99707 | -0.041791 | 24.3494
13 | 1.6767 | 0.78238 | -1.6752 | -0.79119 | 0.001498 | -0.00881 | 0.053569 | 0.053683 | 0.053683 | 0.99707 | -0.041791 | 0.99624 | -0.034538 | 24.4012
14 | 1.6752 | 0.79119 | -1.6751 | -0.79168 | 8.3052e-05 | -0.00048684 | 0.053683 | 0.053689 | 0.053689 | 0.99624 | -0.034538 | 0.99619 | -0.03413 | 24.404
15 | -13.2941 | -6.0558 | 13.2948 | 6.0531 | 0.00067996 | -0.0026935 | 0.42287 | 0.42283 | 0.42287 | 0.99726 | -0.042075 | 0.99732 | -0.041814 | 33.1399
16 | -13.2948 | -6.0531 | 13.2959 | 6.0487 | 0.0011069 | -0.0043864 | 0.42283 | 0.42277 | 0.42283 | 0.99732 | -0.041814 | 0.9974 | -0.041387 | 33.137
17 | 7.1758 | 3.2456 | -7.1737 | -3.2763 | 0.0020595 | -0.030664 | 0.22828 | 0.22866 | 0.22866 | 0.99595 | -0.061916 | 0.99565 | -0.063396 | 17.9198
18 | 3.8275 | 1.8047 | -3.8255 | -1.8026 | 0.0019333 | 0.0020369 | 0.12265 | 0.12265 | 0.12265 | 0.99595 | -0.061916 | 0.99532 | -0.077842 | 35.044
19 | 0.37999 | 0.18287 | -0.37999 | -0.18404 | 9.9415e-06 | -0.0011638 | 0.012255 | 0.01227 | 0.01227 | 0.99335 | -0.067649 | 0.99332 | -0.067423 | 5.5773
20 | -2.3298 | -1.0939 | 2.3313 | 1.0895 | 0.0015538 | -0.0044474 | 0.074798 | 0.074737 | 0.074798 | 0.99335 | -0.067649 | 0.99397 | -0.073031 | 33.9989
21 | 1.9498 | 0.91106 | -1.9495 | -0.91225 | 0.00028306 | -0.0011926 | 0.062543 | 0.062559 | 0.062559 | 0.99335 | -0.067649 | 0.99321 | -0.066482 | 28.4358
22 | 0.49325 | 0.23721 | -0.49324 | -0.23777 | 7.9927e-06 | -0.0005563 | 0.015896 | 0.015903 | 0.015903 | 0.99397 | -0.073031 | 0.99395 | -0.072892 | 7.2286
23 | -2.8246 | -1.3267 | 2.8252 | 1.3256 | 0.00057442 | -0.0010657 | 0.090632 | 0.090617 | 0.090632 | 0.99397 | -0.073031 | 0.99415 | -0.074681 | 41.1964
24 | 1.451 | 0.67081 | -1.4508 | -0.6724 | 0.00020176 | -0.0015882 | 0.046462 | 0.046482 | 0.046482 | 0.99321 | -0.066482 | 0.99308 | -0.065391 | 21.1281
25 | 0.49324 | 0.23777 | -0.49323 | -0.23888 | 1.6041e-05 | -0.0011149 | 0.015903 | 0.015917 | 0.015917 | 0.99395 | -0.072892 | 0.99392 | -0.07261 | 7.235
26 | -3.0144 | -1.4173 | 3.0144 | 1.4172 | 3.1912e-05 | -5.0833e-05 | 0.096721 | 0.096721 | 0.096721 | 0.99415 | -0.074681 | 0.99416 | -0.074767 | 43.9643
27 | 7.0841 | 3.2329 | -7.0835 | -3.2428 | 0.00064908 | -0.0098952 | 0.22577 | 0.22589 | 0.22589 | 0.99565 | -0.063396 | 0.99556 | -0.063857 | 17.7033
28 | 3.46 | 1.6256 | -3.4597 | -1.6259 | 0.00026115 | -0.00029888 | 0.11087 | 0.11088 | 0.11088 | 0.99532 | -0.077842 | 0.99525 | -0.077229 | 50.3996
29 | 3.4597 | 1.6259 | -3.4573 | -1.6286 | 0.0023597 | -0.0026968 | 0.11088 | 0.11092 | 0.11092 | 0.99525 | -0.077229 | 0.99461 | -0.071664 | 50.4187
30 | 0.12342 | 0.05756 | -0.12342 | -0.059776 | 1.9711e-06 | -0.0022161 | 0.0039527 | 0.0039803 | 0.0039803 | 0.99461 | -0.071664 | 0.9946 | -0.07153 | 1.8092
31 | 3.3339 | 1.571 | -3.3325 | -1.5702 | 0.001422 | 0.00080838 | 0.10697 | 0.10697 | 0.10697 | 0.99461 | -0.071664 | 0.99416 | -0.074767 | 50.9378
32 | 1.4508 | 0.6724 | -1.4505 | -0.67471 | 0.00029356 | -0.0023075 | 0.046482 | 0.046511 | 0.046511 | 0.99308 | -0.065391 | 0.99289 | -0.063792 | 21.1414
33 | 0.24451 | 0.11772 | -0.24451 | -0.11838 | 2.3288e-06 | -0.00066159 | 0.0078798 | 0.0078881 | 0.0078881 | 0.99416 | -0.074767 | 0.99415 | -0.074685 | 3.5855
34 | 0.073579 | 0.03528 | -0.073576 | -0.035634 | 3.0307e-06 | -0.00035491 | 0.0023694 | 0.0023739 | 0.0023739 | 0.99416 | -0.074767 | 0.99412 | -0.075044 | 1.1304
35 | 1.2979 | 0.60901 | -1.2973 | -0.60886 | 0.0005972 | 0.00014413 | 0.041546 | 0.041548 | 0.041548 | 0.99619 | -0.03413 | 0.99571 | -0.037525 | 19.7849
36 | 0.34808 | 0.16487 | -0.34807 | -0.1661 | 8.7007e-06 | -0.001233 | 0.011166 | 0.011182 | 0.011182 | 0.99571 | -0.037525 | 0.99568 | -0.037316 | 5.0826
37 | 0.7945 | 0.37062 | -0.7942 | -0.37866 | 0.00029745 | -0.0080409 | 0.025417 | 0.025518 | 0.025518 | 0.99571 | -0.037525 | 0.99536 | -0.034454 | 11.5989
38 | 0.15475 | 0.073377 | -0.15474 | -0.074946 | 2.1911e-06 | -0.0015691 | 0.0049652 | 0.0049849 | 0.0049849 | 0.99571 | -0.037525 | 0.99569 | -0.037404 | 2.2659
39 | 0.34807 | 0.1661 | -0.34806 | -0.1675 | 9.9106e-06 | -0.0014002 | 0.011182 | 0.011199 | 0.011199 | 0.99568 | -0.037316 | 0.99566 | -0.037074 | 5.0906
40 | 0.099339 | 0.047562 | -0.099339 | -0.048112 | 3.1772e-07 | -0.00055046 | 0.0031942 | 0.0032012 | 0.0032012 | 0.99536 | -0.034454 | 0.99536 | -0.034426 | 1.4551
41 | 0.69486 | 0.3311 | -0.69483 | -0.33209 | 2.8097e-05 | -0.00099013 | 0.022323 | 0.022336 | 0.022336 | 0.99536 | -0.034454 | 0.99532 | -0.034113 | 10.1526
42 | -0.32528 | -0.15754 | 0.32528 | 0.1568 | 4.6761e-06 | -0.00074345 | 0.010517 | 0.010507 | 0.010517 | 0.99206 | -0.05673 | 0.99207 | -0.056854 | 4.7804
43 | -0.32528 | -0.1568 | 0.32533 | 0.14915 | 4.7619e-05 | -0.0076486 | 0.010507 | 0.010413 | 0.010507 | 0.99207 | -0.056854 | 0.99221 | -0.058047 | 4.7761
44 | 0.28032 | 0.1342 | -0.28031 | -0.13576 | 7.2832e-06 | -0.0015628 | 0.0090422 | 0.0090619 | 0.0090619 | 0.99221 | -0.058047 | 0.99218 | -0.057823 | 4.1191
45 | -0.60565 | -0.28335 | 0.60589 | 0.27239 | 0.0002352 | -0.010953 | 0.019454 | 0.01932 | 0.019454 | 0.99221 | -0.058047 | 0.99257 | -0.061025 | 8.8427
46 | 1.1914 | 0.55006 | -1.1909 | -0.55499 | 0.00041791 | -0.0049285 | 0.038151 | 0.038213 | 0.038213 | 0.99289 | -0.063792 | 0.99257 | -0.061025 | 17.3696
47 | 0.25914 | 0.12465 | -0.25914 | -0.12551 | 3.4275e-06 | -0.00086241 | 0.0083606 | 0.0083715 | 0.0083715 | 0.99289 | -0.063792 | 0.99288 | -0.063678 | 3.8052
48 | 0.58505 | 0.2826 | -0.58504 | -0.28335 | 1.5301e-05 | -0.00075007 | 0.018896 | 0.018906 | 0.018906 | 0.99257 | -0.061025 | 0.99254 | -0.060798 | 8.5936
49 | -0.44562 | -0.21225 | 0.44562 | 0.21178 | 5.3922e-06 | -0.00046884 | 0.014285 | 0.014279 | 0.014285 | 0.99747 | -0.006311 | 0.99749 | -0.0064122 | 6.493
50 | 0.072124 | 0.031355 | -0.072095 | -0.034917 | 2.8354e-05 | -0.0035627 | 0.002276 | 0.0023193 | 0.0023193 | 0.99747 | -0.006311 | 0.99706 | -0.0094142 | 1.1044
51 | -0.44562 | -0.21178 | 0.4457 | 0.20498 | 7.7681e-05 | -0.0067982 | 0.014279 | 0.014195 | 0.014279 | 0.99749 | -0.0064122 | 0.99765 | -0.0078132 | 6.4903
52 | 0.33767 | 0.16263 | -0.33767 | -0.16354 | 6.0181e-06 | -0.00090807 | 0.010845 | 0.010856 | 0.010856 | 0.99765 | -0.0078132 | 0.99763 | -0.0076589 | 4.9347
53 | -0.78337 | -0.36761 | 0.78357 | 0.36212 | 0.00019479 | -0.005489 | 0.025039 | 0.024971 | 0.025039 | 0.99765 | -0.0078132 | 0.99788 | -0.0097924 | 11.3814
54 | -0.78357 | -0.36212 | 0.78359 | 0.36156 | 1.9993e-05 | -0.00056524 | 0.024971 | 0.024964 | 0.024971 | 0.99788 | -0.0097924 | 0.9979 | -0.0099914 | 11.3506
55 | -0.86574 | -0.40134 | 0.86576 | 0.40081 | 2.3049e-05 | -0.000532 | 0.027605 | 0.027598 | 0.027605 | 0.9979 | -0.0099914 | 0.99793 | -0.010201 | 12.5475
56 | 0.28934 | 0.1357 | -0.28933 | -0.13575 | 7.8033e-06 | -5.5396e-05 | 0.0092689 | 0.0092696 | 0.0092696 | 0.99532 | -0.034113 | 0.99529 | -0.034312 | 4.4141
57 | 0.2708 | 0.13008 | -0.27079 | -0.13115 | 4.5999e-06 | -0.0010719 | 0.0087101 | 0.0087236 | 0.0087236 | 0.99566 | -0.037074 | 0.99564 | -0.036927 | 3.9653
58 | -0.98944 | -0.46071 | 0.98946 | 0.46044 | 1.5348e-05 | -0.00026971 | 0.031573 | 0.031569 | 0.031573 | 0.99793 | -0.010201 | 0.99794 | -0.010324 | 14.3512
59 | 0.28933 | 0.13575 | -0.28932 | -0.13943 | 1.7937e-05 | -0.0036746 | 0.0092696 | 0.0093155 | 0.0093155 | 0.99529 | -0.034312 | 0.99523 | -0.033794 | 4.2343
60 | -0.3505 | -0.16976 | 0.35051 | 0.16936 | 2.9233e-06 | -0.00039528 | 0.011366 | 0.011361 | 0.011366 | 0.98913 | -0.12769 | 0.98914 | -0.12776 | 5.1663
61 | -0.35051 | -0.16936 | 0.35053 | 0.1657 | 2.6958e-05 | -0.003662 | 0.011361 | 0.011315 | 0.011361 | 0.98914 | -0.12776 | 0.98921 | -0.12841 | 5.164
62 | -0.65714 | -0.30771 | 0.65718 | 0.30589 | 4.6704e-05 | -0.0018111 | 0.021175 | 0.021152 | 0.021175 | 0.98921 | -0.12841 | 0.98928 | -0.12898 | 9.625
63 | 0.3066 | 0.14201 | -0.30658 | -0.14543 | 1.9134e-05 | -0.0034234 | 0.0098605 | 0.009903 | 0.009903 | 0.98921 | -0.12841 | 0.98916 | -0.12791 | 4.5014
64 | -4.8494 | -2.2968 | 4.8524 | 2.3001 | 0.0030745 | 0.003346 | 0.15601 | 0.15601 | 0.15601 | 0.99287 | -0.13432 | 0.99367 | -0.11446 | 44.5738
65 | 1.9849 | 0.95192 | -1.9836 | -0.95131 | 0.0013204 | 0.00061432 | 0.064004 | 0.064007 | 0.064007 | 0.99287 | -0.13432 | 0.99218 | -0.13887 | 30.4795
66 | 2.7188 | 1.2743 | -2.7145 | -1.272 | 0.0042955 | 0.0023189 | 0.087299 | 0.087304 | 0.087304 | 0.99287 | -0.13432 | 0.99121 | -0.14604 | 41.5732
67 | -4.9216 | -2.3336 | 4.9224 | 2.3322 | 0.00071668 | -0.0014871 | 0.15824 | 0.15821 | 0.15824 | 0.99367 | -0.11446 | 0.99383 | -0.11273 | 43.7127
68 | 0.31593 | 0.1516 | -0.31593 | -0.15301 | 8.3481e-06 | -0.0014089 | 0.010196 | 0.010213 | 0.010213 | 0.99218 | -0.13887 | 0.99215 | -0.13865 | 4.6425
69 | 1.6677 | 0.79971 | -1.6673 | -0.80184 | 0.00036944 | -0.002135 | 0.053811 | 0.05384 | 0.05384 | 0.99218 | -0.13887 | 0.99197 | -0.13698 | 24.4726
70 | 2.3111 | 1.0766 | -2.311 | -1.077 | 0.00011293 | -0.00032638 | 0.074253 | 0.074257 | 0.074257 | 0.99121 | -0.14604 | 0.99117 | -0.14565 | 33.7533
71 | 0.47499 | 0.22943 | -0.47498 | -0.23004 | 8.3515e-06 | -0.00061416 | 0.015393 | 0.0154 | 0.0154 | 0.98928 | -0.12898 | 0.98926 | -0.12883 | 7.0002
72 | 0.32426 | 0.15398 | -0.32426 | -0.15489 | 5.7123e-06 | -0.00090855 | 0.010475 | 0.010486 | 0.010486 | 0.98928 | -0.12898 | 0.98926 | -0.12884 | 4.7665
73 | -1.4564 | -0.68931 | 1.4568 | 0.68645 | 0.00037496 | -0.0028605 | 0.047019 | 0.046982 | 0.047019 | 0.98928 | -0.12898 | 0.98952 | -0.1311 | 21.3722
74 | 0.075252 | 0.033391 | -0.075252 | -0.03395 | 1.8487e-07 | -0.0005588 | 0.0024027 | 0.0024093 | 0.0024093 | 0.98916 | -0.12791 | 0.98915 | -0.12789 | 1.0951
75 | 0.32426 | 0.15489 | -0.32424 | -0.15704 | 1.354e-05 | -0.0021455 | 0.010486 | 0.010513 | 0.010513 | 0.98926 | -0.12884 | 0.98922 | -0.12848 | 4.7788
76 | 0.56605 | 0.27267 | -0.56602 | -0.27414 | 2.8302e-05 | -0.0014652 | 0.01833 | 0.018348 | 0.018348 | 0.98952 | -0.1311 | 0.98947 | -0.13067 | 8.3402
77 | -2.0229 | -0.95912 | 2.0254 | 0.94934 | 0.002558 | -0.0097763 | 0.065311 | 0.06518 | 0.065311 | 0.98952 | -0.1311 | 0.99068 | -0.14146 | 29.6869
78 | 2.0265 | 0.94529 | -2.0254 | -0.94934 | 0.0010568 | -0.0040585 | 0.065126 | 0.06518 | 0.06518 | 0.99117 | -0.14565 | 0.99068 | -0.14146 | 29.6273
79 | 0.28453 | 0.13168 | -0.28452 | -0.13308 | 6.6814e-06 | -0.0014033 | 0.0091312 | 0.0091485 | 0.0091485 | 0.99117 | -0.14565 | 0.99114 | -0.14546 | 4.1584
80 | 0.20509 | 0.098381 | -0.20507 | -0.098661 | 1.951e-05 | -0.00028018 | 0.006625 | 0.0066286 | 0.0066286 | 0.99114 | -0.14546 | 0.99104 | -0.14611 | 3.1565
81 | 0.079434 | 0.034701 | -0.079432 | -0.038471 | 1.3923e-06 | -0.0037698 | 0.0025247 | 0.0025706 | 0.0025706 | 0.99114 | -0.14546 | 0.99113 | -0.14533 | 1.1685
82 | 1.6665 | 0.80665 | -1.6664 | -0.80707 | 7.3623e-05 | -0.0004236 | 0.053904 | 0.053909 | 0.053909 | 0.99151 | -0.13266 | 0.99147 | -0.13228 | 24.5042
83 | -1.6665 | -0.80665 | 1.6673 | 0.80184 | 0.00083365 | -0.0048056 | 0.053904 | 0.05384 | 0.053904 | 0.99151 | -0.13266 | 0.99197 | -0.13698 | 24.5016
84 | 0.075252 | 0.03395 | -0.075252 | -0.035298 | 4.5037e-07 | -0.0013484 | 0.0024093 | 0.0024258 | 0.0024258 | 0.98915 | -0.12789 | 0.98915 | -0.12785 | 1.1026
85 | -0.24212 | -0.11726 | 0.24212 | 0.11708 | 6.2942e-07 | -0.00018615 | 0.0077699 | 0.0077675 | 0.0077699 | 0.9995 | -0.0015397 | 0.9995 | -0.0015623 | 3.5318
86 | -0.24212 | -0.11708 | 0.24214 | 0.11169 | 1.8057e-05 | -0.0053888 | 0.0077675 | 0.007701 | 0.0077675 | 0.9995 | -0.0015623 | 0.99957 | -0.0021764 | 3.5307
87 | 0.12423 | 0.058443 | -0.12423 | -0.060166 | 1.5239e-06 | -0.0017225 | 0.0039649 | 0.0039863 | 0.0039863 | 0.99957 | -0.0021764 | 0.99956 | -0.0020729 | 1.812
88 | 15.2238 | 6.878 | -15.2233 | -6.8795 | 0.00050125 | -0.0014677 | 0.48245 | 0.48247 | 0.48247 | 0.99957 | -0.0021764 | 0.99954 | -0.0023507 | 37.8111
89 | -15.5901 | -7.0482 | 15.5965 | 7.0305 | 0.0063848 | -0.017677 | 0.49411 | 0.49386 | 0.49411 | 0.99957 | -0.0021764 | 1 | 0 | 38.7237
90 | 0.13147 | 0.063117 | -0.13147 | -0.063675 | 5.536e-07 | -0.00055753 | 0.00421 | 0.004217 | 0.004217 | 1 | 0 | 1 | 3.6325e-05 | 1.9168
91 | 14.8332 | 6.6906 | -14.8309 | -6.6976 | 0.0022626 | -0.0070477 | 0.46996 | 0.47005 | 0.47005 | 0.99954 | -0.0023507 | 0.99938 | -0.0031623 | 36.8381
92 | 0.14663 | 0.070208 | -0.14663 | -0.071014 | 1.0196e-06 | -0.00080605 | 0.0047215 | 0.0047317 | 0.0047317 | 0.99395 | -0.11224 | 0.99394 | -0.11218 | 2.1508
93 | 5.5221 | 2.6032 | -5.5214 | -2.6194 | 0.00064812 | -0.01618 | 0.17731 | 0.17751 | 0.17751 | 0.99395 | -0.11224 | 0.99383 | -0.11273 | 13.9117
94 | -5.6687 | -2.6734 | 5.6722 | 2.5893 | 0.0035305 | -0.084186 | 0.18203 | 0.18098 | 0.18203 | 0.99395 | -0.11224 | 0.99459 | -0.10933 | 14.2656
95 | 0.59907 | 0.28725 | -0.59903 | -0.28886 | 3.4213e-05 | -0.0016109 | 0.019298 | 0.019318 | 0.019318 | 0.99383 | -0.11273 | 0.99377 | -0.11224 | 8.7811
96 | -5.8148 | -2.6545 | 5.8158 | 2.6568 | 0.00104 | 0.0023335 | 0.18553 | 0.18552 | 0.18553 | 0.99459 | -0.10933 | 0.99492 | -0.090403 | 14.3818
97 | 0.14253 | 0.065233 | -0.14252 | -0.069027 | 4.4863e-06 | -0.0037945 | 0.0045495 | 0.0045964 | 0.0045964 | 0.99459 | -0.10933 | 0.99456 | -0.10907 | 2.0893
98 | 14.8309 | 6.6976 | -14.8104 | -6.7612 | 0.02049 | -0.063545 | 0.47005 | 0.47095 | 0.47095 | 0.99938 | -0.0031623 | 0.99794 | -0.010324 | 36.9085
99 | 0.090187 | 0.043022 | -0.090187 | -0.04368 | 3.1799e-07 | -0.00065737 | 0.0029106 | 0.0029189 | 0.0029189 | 0.99104 | -0.14611 | 0.99104 | -0.14608 | 1.3268
100 | -13.4793 | -6.1376 | 13.4833 | 6.1479 | 0.003952 | 0.010296 | 0.42867 | 0.42866 | 0.42867 | 0.9974 | -0.041387 | 0.99794 | -0.010324 | 33.23
101 | 0.33766 | 0.15281 | -0.33759 | -0.16317 | 6.7759e-05 | -0.010356 | 0.010721 | 0.010848 | 0.010848 | 0.99794 | -0.010324 | 0.99776 | -0.0087079 | 4.931
102 | 0.094563 | 0.045574 | -0.094563 | -0.045799 | 1.1642e-07 | -0.00022451 | 0.0030371 | 0.0030399 | 0.0030399 | 0.99776 | -0.0087079 | 0.99775 | -0.0086972 | 1.3818
103 | 0.24303 | 0.11759 | -0.24302 | -0.1177 | 1.0183e-05 | -0.00010492 | 0.0078112 | 0.0078126 | 0.0078126 | 0.99776 | -0.0087079 | 0.99771 | -0.0089846 | 3.7203
104 | 0.34153 | 0.1604 | -0.34152 | -0.16241 | 1.3611e-05 | -0.0020069 | 0.010941 | 0.010966 | 0.010966 | 0.99556 | -0.063857 | 0.99552 | -0.063528 | 4.9845
105 | 6.5567 | 2.9927 | -6.5551 | -2.9889 | 0.0015838 | 0.0037026 | 0.20899 | 0.20899 | 0.20899 | 0.99556 | -0.063857 | 0.99511 | -0.089439 | 16.201
106 | 0.24451 | 0.11838 | -0.24451 | -0.11842 | 1.3762e-07 | -3.9041e-05 | 0.0078881 | 0.0078886 | 0.0078886 | 0.99415 | -0.074685 | 0.99415 | -0.07468 | 3.5857
107 | 0.28932 | 0.13943 | -0.28931 | -0.14012 | 3.403e-06 | -0.00069301 | 0.0093155 | 0.0093242 | 0.0093242 | 0.99523 | -0.033794 | 0.99522 | -0.033692 | 4.2383
108 | 0.075252 | 0.035298 | -0.075251 | -0.036446 | 3.8828e-07 | -0.0011478 | 0.0024258 | 0.0024402 | 0.0024402 | 0.98915 | -0.12785 | 0.98914 | -0.1278 | 1.1092
109 | -6.1671 | -2.8266 | 6.1683 | 2.8029 | 0.001174 | -0.023775 | 0.19684 | 0.19654 | 0.19684 | 0.99492 | -0.090403 | 0.99511 | -0.089439 | 15.4262
110 | 0.1979 | 0.095524 | -0.19788 | -0.095839 | 2.0093e-05 | -0.00031498 | 0.006376 | 0.0063802 | 0.0063802 | 0.99492 | -0.090403 | 0.99481 | -0.091076 | 3.0382
111 | 0.3415 | 0.165 | -0.3415 | -0.1654 | 2.6795e-06 | -0.00039161 | 0.010998 | 0.011003 | 0.011003 | 0.99547 | -0.063087 | 0.99547 | -0.063019 | 5.0016
112 | -0.3415 | -0.165 | 0.34152 | 0.16241 | 1.7703e-05 | -0.0025962 | 0.010998 | 0.010966 | 0.010998 | 0.99547 | -0.063087 | 0.99552 | -0.063528 | 4.9993
113 | 0.49313 | 0.23757 | -0.49313 | -0.2377 | 1.8151e-06 | -0.00012626 | 0.0159 | 0.015902 | 0.015902 | 0.99377 | -0.11224 | 0.99377 | -0.11221 | 7.2281
114 | 0.13671 | 0.06496 | -0.13671 | -0.066211 | 1.3674e-06 | -0.0012512 | 0.0043908 | 0.0044065 | 0.0044065 | 0.99511 | -0.089439 | 0.99511 | -0.089354 | 2.0029
115 | 0.25834 | 0.12398 | -0.25833 | -0.12512 | 4.4643e-06 | -0.0011348 | 0.0083237 | 0.0083381 | 0.0083381 | 0.99377 | -0.11221 | 0.99375 | -0.11206 | 3.79

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.742 | 7.1041

## res_load
| p_mw | q_mvar
0 | 0.23361 | 0.11314
1 | 0.10874 | 0.052665
2 | 0.069171 | 0.033501
3 | 0.07538 | 0.036508
4 | 0.11397 | 0.0552
5 | 0.37999 | 0.18404
6 | 0.49851 | 0.24144
7 | 0.18922 | 0.091643
8 | 0.089628 | 0.043409
9 | 0.36556 | 0.17705
10 | 0.49323 | 0.23888
11 | 0.37717 | 0.18267
12 | 0.15474 | 0.074946
13 | 0.32528 | 0.15754
14 | 0.25914 | 0.12551
15 | 0.58504 | 0.28335
16 | 0.28031 | 0.13576
17 | 0.37349 | 0.18089
18 | 0.072095 | 0.034917
19 | 0.33767 | 0.16354
20 | 0.082151 | 0.039788
21 | 0.099339 | 0.048112
22 | 0.40549 | 0.19639
23 | 0.077268 | 0.037423
24 | 0.12368 | 0.059901
25 | 0.3505 | 0.16976
26 | 0.14569 | 0.070563
27 | 0.069197 | 0.033514
28 | 0.40334 | 0.19535
29 | 0.23133 | 0.11204
30 | 0.47498 | 0.23004
31 | 0.32424 | 0.15704
32 | 1.6664 | 0.80707
33 | 0.56602 | 0.27414
34 | 0.24212 | 0.11726
35 | 0.13147 | 0.063675
36 | 0.12423 | 0.060166
37 | 0.39012 | 0.18895
38 | 0.079432 | 0.038471
39 | 0.14663 | 0.071014
40 | 0.11488 | 0.055639
41 | 0.090187 | 0.04368
42 | 0.18347 | 0.088858
43 | 0.094563 | 0.045799
44 | 0.24302 | 0.1177
45 | 0.073576 | 0.035634
46 | 0.12342 | 0.059776
47 | 0.18527 | 0.089728
48 | 0.28931 | 0.14012
49 | 0.27079 | 0.13115
50 | 0.31593 | 0.15301
51 | 0.075251 | 0.036446
52 | 0.14252 | 0.069027
53 | 0.15339 | 0.07429
54 | 0.19788 | 0.095839
55 | 0.3415 | 0.1654
56 | 0.1059 | 0.051291
57 | 0.25011 | 0.12113
58 | 0.23479 | 0.11371
59 | 0.13671 | 0.066211
60 | 0.25833 | 0.12512
61 | 0.24451 | 0.11842

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1