## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_325_1_node_8 | 20 | n |  | TRUE
1 | bus_MV_325_1_node_9 | 20 | n |  | TRUE
2 | bus_MV_325_1_node_17 | 20 | n |  | TRUE
3 | bus_MV_325_1_node_92 | 20 | n |  | TRUE
4 | bus_MV_325_1_node_16 | 20 | n |  | TRUE
5 | bus_MV_325_1_node_18 | 20 | n |  | TRUE
6 | bus_MV_325_1_node_200 | 20 | n |  | TRUE
7 | bus_MV_325_1_node_20 | 20 | n |  | TRUE
8 | bus_MV_325_1_node_22 | 20 | n |  | TRUE
9 | bus_MV_325_1_node_23 | 20 | n |  | TRUE
10 | bus_MV_325_1_node_24 | 20 | n |  | TRUE
11 | bus_MV_325_1_node_26 | 20 | n |  | TRUE
12 | bus_MV_325_1_node_91 | 20 | n |  | TRUE
13 | bus_MV_325_1_node_25 | 20 | n |  | TRUE
14 | bus_MV_325_1_node_199 | 20 | n |  | TRUE
15 | bus_MV_325_1_node_196 | 20 | n |  | TRUE
16 | bus_MV_325_1_node_28 | 20 | n |  | TRUE
17 | bus_MV_325_1_node_29 | 20 | n |  | TRUE
18 | bus_MV_325_1_node_37 | 20 | n |  | TRUE
19 | bus_MV_325_1_node_38 | 20 | n |  | TRUE
20 | bus_MV_325_1_node_84 | 20 | n |  | TRUE
21 | bus_MV_325_1_node_39 | 20 | n |  | TRUE
22 | bus_MV_325_1_node_209 | 20 | n |  | TRUE
23 | bus_MV_325_1_node_81 | 20 | n |  | TRUE
24 | bus_MV_325_1_node_82 | 20 | n |  | TRUE
25 | bus_MV_325_1_node_83 | 20 | n |  | TRUE
26 | bus_MV_325_1_node_122 | 20 | n |  | TRUE
27 | bus_MV_325_1_node_121 | 20 | n |  | TRUE
28 | bus_MV_325_1_node_85 | 20 | n |  | TRUE
29 | bus_MV_325_1_node_173 | 20 | n |  | TRUE
30 | bus_MV_325_1_node_88 | 20 | n |  | TRUE
31 | bus_MV_325_1_node_93 | 20 | n |  | TRUE
32 | bus_MV_325_1_node_94 | 20 | n |  | TRUE
33 | bus_MV_325_1_node_95 | 20 | n |  | TRUE
34 | bus_MV_325_1_node_96 | 20 | n |  | TRUE
35 | bus_MV_325_1_node_205 | 20 | n |  | TRUE
36 | bus_MV_325_1_node_113 | 20 | n |  | TRUE
37 | bus_MV_325_1_node_116 | 20 | n |  | TRUE
38 | bus_MV_325_1_node_97 | 20 | n |  | TRUE
39 | bus_MV_325_1_node_98 | 20 | n |  | TRUE
40 | bus_MV_325_1_node_99 | 20 | n |  | TRUE
41 | bus_MV_325_1_node_101 | 20 | n |  | TRUE
42 | bus_MV_325_1_node_100 | 20 | n |  | TRUE
43 | bus_MV_325_1_node_102 | 20 | n |  | TRUE
44 | bus_MV_325_1_node_103 | 20 | n |  | TRUE
45 | bus_MV_325_1_node_104 | 20 | n |  | TRUE
46 | bus_MV_325_1_node_105 | 20 | n |  | TRUE
47 | bus_MV_325_1_node_106 | 20 | n |  | TRUE
48 | bus_MV_325_1_node_107 | 20 | n |  | TRUE
49 | bus_MV_325_1_node_110 | 20 | n |  | TRUE
50 | bus_MV_325_1_node_109 | 20 | n |  | TRUE
51 | bus_MV_325_1_node_108 | 20 | n |  | TRUE
52 | bus_MV_325_1_node_120 | 20 | n |  | TRUE
53 | bus_MV_325_1_node_181 | 20 | n |  | TRUE
54 | bus_MV_325_1_node_117 | 20 | n |  | TRUE
55 | bus_MV_325_1_node_111 | 20 | n |  | TRUE
56 | bus_MV_325_1_node_174 | 20 | n |  | TRUE
57 | bus_MV_325_1_node_112 | 20 | n |  | TRUE
58 | bus_MV_325_1_node_114 | 20 | n |  | TRUE
59 | bus_MV_325_1_node_115 | 20 | n |  | TRUE
60 | bus_MV_325_1_node_180 | 20 | n |  | TRUE
61 | bus_MV_325_1_node_178 | 20 | n |  | TRUE
62 | bus_MV_325_1_node_118 | 20 | n |  | TRUE
63 | bus_MV_325_1_node_119 | 20 | n |  | TRUE
64 | bus_MV_325_1_node_179 | 20 | n |  | TRUE
65 | bus_MV_325_1_node_207 | 20 | n |  | TRUE
66 | bus_MV_325_1_node_186 | 20 | n |  | TRUE
67 | bus_MV_325_1_node_141 | 20 | n |  | TRUE
68 | bus_MV_325_1_node_142 | 20 | n |  | TRUE
69 | bus_MV_325_1_node_144 | 20 | n |  | TRUE
70 | bus_MV_325_1_node_188 | 20 | n |  | TRUE
71 | bus_MV_325_1_node_175 | 20 | n |  | TRUE
72 | bus_MV_325_1_node_176 | 20 | n |  | TRUE
73 | bus_MV_325_1_node_177 | 20 | n |  | TRUE
74 | bus_MV_325_1_node_190 | 20 | n |  | TRUE
75 | bus_MV_325_1_node_182 | 20 | n |  | TRUE
76 | bus_MV_325_1_node_183 | 20 | n |  | TRUE
77 | bus_MV_325_1_node_184 | 20 | n |  | TRUE
78 | bus_MV_325_1_node_185 | 20 | n |  | TRUE
79 | bus_MV_325_1_node_187 | 20 | n |  | TRUE
80 | bus_HV_325_1_node_120 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_325_1_load_9 | 1 | 0.36673 | 0.17761 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_325_1_load_16 | 4 | 0.20604 | 0.099788 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_325_1_load_200 | 6 | 0.23451 | 0.11358 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_325_1_load_20 | 7 | 0.17418 | 0.084358 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_325_1_load_26 | 11 | 0.41045 | 0.19879 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_325_1_load_91 | 12 | 0.26983 | 0.13069 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_325_1_load_25 | 13 | 0.065869 | 0.031902 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_325_1_load_199 | 14 | 0.106 | 0.051338 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_325_1_load_196 | 15 | 0.062625 | 0.030331 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_325_1_load_37 | 18 | 0.3959 | 0.19174 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_325_1_load_84 | 20 | 0.27383 | 0.13262 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_325_1_load_209 | 22 | 0.22697 | 0.10993 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_325_1_load_81 | 23 | 0.20397 | 0.098788 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_325_1_load_121 | 27 | 0.087254 | 0.042259 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_325_1_load_173 | 29 | 0.1249 | 0.060493 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_325_1_load_88 | 30 | 0.26973 | 0.13064 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_325_1_load_93 | 31 | 0.25784 | 0.12488 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_325_1_load_205 | 35 | 0.39336 | 0.19051 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_325_1_load_116 | 37 | 0.16456 | 0.0797 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_325_1_load_97 | 38 | 0.24141 | 0.11692 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_325_1_load_100 | 42 | 0.1297 | 0.062816 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_325_1_load_102 | 43 | 0.19165 | 0.09282 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_325_1_load_103 | 44 | 0.39263 | 0.19016 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_325_1_load_109 | 50 | 0.27304 | 0.13224 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_325_1_load_108 | 51 | 0.18955 | 0.091804 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_325_1_load_181 | 53 | 0.070725 | 0.034254 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_325_1_load_117 | 54 | 0.29202 | 0.14143 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_325_1_load_174 | 56 | 0.11378 | 0.055104 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_325_1_load_112 | 57 | 0.17119 | 0.082913 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_325_1_load_180 | 60 | 0.087065 | 0.042167 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_325_1_load_178 | 61 | 0.14372 | 0.069605 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_325_1_load_207 | 65 | 0.34917 | 0.16911 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_325_1_load_186 | 66 | 0.11764 | 0.056976 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_325_1_load_141 | 67 | 0.14399 | 0.069735 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_325_1_load_144 | 69 | 0.12573 | 0.060892 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_325_1_load_188 | 70 | 0.13962 | 0.067623 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_325_1_load_176 | 72 | 0.1071 | 0.05187 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_325_1_load_177 | 73 | 0.17893 | 0.08666 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_325_1_load_190 | 74 | 0.38255 | 0.18528 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_325_1_load_182 | 75 | 0.1048 | 0.050759 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_325_1_load_185 | 78 | 0.079125 | 0.038322 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_325_1_load_187 | 79 | 0.33614 | 0.1628 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_325_1_line_0 |  | 0 | 1 | 0.041666 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_325_1_line_1 |  | 0 | 2 | 1.8272 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
2 | MV_325_1_line_2 |  | 0 | 3 | 1.2458 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_325_1_line_3 |  | 2 | 5 | 0.79255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_325_1_line_4 |  | 2 | 4 | 0.051218 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_325_1_line_5 |  | 3 | 12 | 0.096623 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_325_1_line_6 |  | 3 | 30 | 0.82975 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_325_1_line_7 |  | 5 | 6 | 0.10468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_325_1_line_8 |  | 7 | 8 | 0.092533 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_325_1_line_9 |  | 7 | 9 | 0.39997 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
10 | MV_325_1_line_10 |  | 8 | 10 | 1.1498 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
11 | MV_325_1_line_11 |  | 9 | 11 | 0.029979 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_325_1_line_12 |  | 10 | 12 | 0.16951 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
13 | MV_325_1_line_13 |  | 11 | 16 | 0.23973 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
14 | MV_325_1_line_14 |  | 13 | 14 | 0.8652 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
15 | MV_325_1_line_15 |  | 13 | 15 | 1.0352 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
16 | MV_325_1_line_16 |  | 14 | 17 | 0.081027 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
17 | MV_325_1_line_17 |  | 15 | 41 | 2.7345 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
18 | MV_325_1_line_18 |  | 16 | 17 | 0.64456 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
19 | MV_325_1_line_19 |  | 18 | 19 | 0.043238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_325_1_line_20 |  | 18 | 20 | 3.0817 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_325_1_line_21 |  | 19 | 21 | 0.73031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_325_1_line_22 |  | 20 | 28 | 0.005042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_325_1_line_23 |  | 21 | 22 | 0.040464 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_325_1_line_24 |  | 23 | 24 | 0.13369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_325_1_line_25 |  | 24 | 25 | 1.2054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_325_1_line_26 |  | 25 | 26 | 0.091675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_325_1_line_27 |  | 25 | 27 | 0.022625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_325_1_line_28 |  | 26 | 66 | 0.054406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_325_1_line_29 |  | 28 | 29 | 0.38301 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_325_1_line_30 |  | 29 | 49 | 0.06527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_325_1_line_31 |  | 29 | 68 | 2.9268 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_325_1_line_32 |  | 31 | 32 | 0.024167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_325_1_line_33 |  | 32 | 33 | 0.52077 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
34 | MV_325_1_line_34 |  | 32 | 34 | 0.97399 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_325_1_line_35 |  | 33 | 35 | 0.10221 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
36 | MV_325_1_line_36 |  | 34 | 36 | 0.43616 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
37 | MV_325_1_line_37 |  | 34 | 37 | 0.068657 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_325_1_line_38 |  | 35 | 41 | 1.0333 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
39 | MV_325_1_line_39 |  | 36 | 58 | 0.38979 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_325_1_line_40 |  | 36 | 57 | 0.12586 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_325_1_line_41 |  | 38 | 39 | 0.084323 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_325_1_line_42 |  | 39 | 40 | 0.44313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_325_1_line_43 |  | 40 | 41 | 0.4134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_325_1_line_44 |  | 40 | 42 | 0.096295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_325_1_line_45 |  | 41 | 43 | 0.079319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_325_1_line_46 |  | 44 | 45 | 0.027986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_325_1_line_47 |  | 45 | 46 | 0.5406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_325_1_line_48 |  | 45 | 47 | 0.52189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_325_1_line_49 |  | 45 | 48 | 0.12146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_325_1_line_50 |  | 46 | 49 | 0.25522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_325_1_line_51 |  | 46 | 50 | 0.08049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_325_1_line_52 |  | 47 | 51 | 0.004243 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_325_1_line_53 |  | 47 | 52 | 0.35978 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
54 | MV_325_1_line_54 |  | 48 | 53 | 0.025627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_325_1_line_55 |  | 49 | 55 | 0.068754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_325_1_line_56 |  | 51 | 54 | 0.28691 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
57 | MV_325_1_line_57 |  | 52 | 65 | 0.015017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_325_1_line_58 |  | 53 | 75 | 0.050275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_325_1_line_59 |  | 54 | 62 | 0.077753 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_325_1_line_60 |  | 55 | 56 | 0.0047967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_325_1_line_61 |  | 56 | 71 | 0.047997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_325_1_line_62 |  | 58 | 59 | 0.068684 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
63 | MV_325_1_line_63 |  | 58 | 60 | 0.0072139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_325_1_line_64 |  | 59 | 61 | 0.057887 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_325_1_line_65 |  | 61 | 63 | 0.048622 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_325_1_line_66 |  | 62 | 63 | 0.36152 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_325_1_line_67 |  | 63 | 64 | 0.12908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_325_1_line_68 |  | 64 | 74 | 0.042395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_325_1_line_69 |  | 66 | 78 | 0.001364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_325_1_line_70 |  | 67 | 68 | 0.13906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_325_1_line_71 |  | 68 | 69 | 0.11142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_325_1_line_72 |  | 69 | 70 | 0.10966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_325_1_line_73 |  | 71 | 72 | 0.060212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_325_1_line_74 |  | 72 | 73 | 0.024351 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_325_1_line_75 |  | 75 | 76 | 0.014808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_325_1_line_76 |  | 76 | 77 | 0.014654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_325_1_line_77 |  | 77 | 78 | 0.018786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_325_1_line_78 |  | 77 | 79 | 0.10446 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_325_1_trafo_120 | 25 MVA 110/20 kV | 80 | 52 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2576705.2948 | 1216554.5188
1 | 2576667.2473 | 1216537.5362
2 | 2576736.0928 | 1218381.4715
3 | 2577493.7284 | 1215589.97
4 | 2576783.9088 | 1218399.8282
5 | 2577042.8197 | 1218391.0048
6 | 2577143.4579 | 1218419.8107
7 | 2578451.2199 | 1215911.6454
8 | 2578378.8506 | 1215853.7311
9 | 2578833.3193 | 1216029.8492
10 | 2577742.0611 | 1215655.2489
11 | 2578823.6036 | 1216058.1667
12 | 2577590.1199 | 1215580.0886
13 | 2579334.602 | 1217580.1924
14 | 2578967.5515 | 1216796.7106
15 | 2579998.6597 | 1216785.995
16 | 2579054.3468 | 1216122.8627
17 | 2578902.0064 | 1216749.1605
18 | 2578293.7818 | 1210575.2533
19 | 2578256.2567 | 1210595.9354
20 | 2581013.846 | 1212023.7712
21 | 2577869.1091 | 1210471.7062
22 | 2577883.9244 | 1210434.0521
23 | 2583134.0385 | 1213040.6065
24 | 2583036.7684 | 1212949.288
25 | 2582116.983 | 1212813.7899
26 | 2582039.0307 | 1212771.5349
27 | 2582115.2279 | 1212836.3413
28 | 2581017.2161 | 1212027.5292
29 | 2581351.1236 | 1212215.1431
30 | 2577032.2632 | 1214900.3769
31 | 2582637.5988 | 1214562.8871
32 | 2582614.2432 | 1214569.3481
33 | 2582904.0478 | 1214919.3819
34 | 2582446.0827 | 1213972.5833
35 | 2582813.4563 | 1214966.7038
36 | 2582249.5689 | 1214148.5897
37 | 2582389.182 | 1213934.1636
38 | 2583021.529 | 1216390.5915
39 | 2582946.0614 | 1216428.2073
40 | 2582893.7673 | 1216132.7563
41 | 2582611.6986 | 1215980.0786
42 | 2582824.85 | 1216200.0107
43 | 2582666.8869 | 1216037.194
44 | 2581758.3814 | 1212734.1475
45 | 2581772.718 | 1212710.1122
46 | 2581603.5286 | 1212315.3564
47 | 2581882.5356 | 1213128.9675
48 | 2581875.7476 | 1212697.3117
49 | 2581354.5268 | 1212280.3246
50 | 2581556.7758 | 1212380.9606
51 | 2581886.7889 | 1213128.8434
52 | 2581708.8465 | 1213444.0447
53 | 2581900.5047 | 1212703.6599
54 | 2581988.1967 | 1213397.2306
55 | 2581377.8097 | 1212323.2868
56 | 2581377.5603 | 1212328.0771
57 | 2582140.0651 | 1214086.5388
58 | 2582091.122 | 1213801.4029
59 | 2582141.0167 | 1213794.7154
60 | 2582087.8078 | 1213794.9954
61 | 2582112.5872 | 1213744.4947
62 | 2581981.3966 | 1213474.039
63 | 2582079.6879 | 1213709.73
64 | 2581970.9317 | 1213774.4405
65 | 2581720.1564 | 1213453.9599
66 | 2581990.6175 | 1212746.7109
67 | 2581271.7287 | 1209172.0898
68 | 2581216.0569 | 1209291.4766
69 | 2581119.8903 | 1209235.4808
70 | 2581037.4728 | 1209164.4955
71 | 2581382.9573 | 1212375.5334
72 | 2581324.5204 | 1212362.2186
73 | 2581301.0235 | 1212355.8243
74 | 2581990.0648 | 1213812.2927
75 | 2581946.2611 | 1212724.4258
76 | 2581959.6385 | 1212730.7749
77 | 2581972.6869 | 1212737.5169
78 | 2581989.4038 | 1212746.0885
79 | 2581927.1745 | 1212831.5416
80 | 2581708.8465 | 1213444.0447

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98727 | -0.44446 | 0 | 0
1 | 0.98724 | -0.44465 | 0.36673 | 0.17761
2 | 0.98675 | -0.47623 | 0 | 0
3 | 0.98795 | -0.40518 | 0 | 0
4 | 0.98673 | -0.47636 | 0.20604 | 0.099788
5 | 0.98651 | -0.47455 | 0 | 0
6 | 0.98648 | -0.47425 | 0.23451 | 0.11358
7 | 0.98846 | -0.39373 | 0.17418 | 0.084358
8 | 0.98843 | -0.39431 | 0 | 0
9 | 0.98875 | -0.38265 | 0 | 0
10 | 0.9881 | -0.40109 | 0 | 0
11 | 0.98875 | -0.38244 | 0.41045 | 0.19879
12 | 0.98798 | -0.40502 | 0.26983 | 0.13069
13 | 0.99033 | -0.3253 | 0.065869 | 0.031902
14 | 0.98948 | -0.35713 | 0.106 | 0.051338
15 | 0.99137 | -0.28611 | 0.062625 | 0.030331
16 | 0.98885 | -0.38035 | 0 | 0
17 | 0.98945 | -0.35784 | 0 | 0
18 | 0.98972 | -0.050121 | 0.3959 | 0.19174
19 | 0.9897 | -0.050051 | 0 | 0
20 | 0.99341 | -0.021209 | 0.27383 | 0.13262
21 | 0.98949 | -0.048434 | 0 | 0
22 | 0.98947 | -0.048547 | 0.22697 | 0.10993
23 | 0.99556 | -0.029898 | 0.20397 | 0.098788
24 | 0.9956 | -0.030213 | 0 | 0
25 | 0.9959 | -0.03183 | 0 | 0
26 | 0.99594 | -0.031955 | 0 | 0
27 | 0.9959 | -0.031806 | 0.087254 | 0.042259
28 | 0.99342 | -0.021257 | 0 | 0
29 | 0.99408 | -0.016324 | 0.1249 | 0.060493
30 | 0.98751 | -0.40799 | 0.26973 | 0.13064
31 | 0.99606 | -0.11697 | 0.25784 | 0.12488
32 | 0.99607 | -0.11704 | 0 | 0
33 | 0.99572 | -0.1242 | 0 | 0
34 | 0.99677 | -0.10222 | 0 | 0
35 | 0.99557 | -0.12982 | 0.39336 | 0.19051
36 | 0.99709 | -0.095111 | 0 | 0
37 | 0.99675 | -0.10236 | 0.16456 | 0.0797
38 | 0.99384 | -0.17765 | 0.24141 | 0.11692
39 | 0.99388 | -0.1774 | 0 | 0
40 | 0.99402 | -0.17854 | 0 | 0
41 | 0.99421 | -0.17992 | 0 | 0
42 | 0.994 | -0.1784 | 0.1297 | 0.062816
43 | 0.99419 | -0.17975 | 0.19165 | 0.09282
44 | 0.99622 | -0.034289 | 0.39263 | 0.19016
45 | 0.99624 | -0.034155 | 0 | 0
46 | 0.9948 | -0.022276 | 0 | 0
47 | 0.99856 | -0.052504 | 0 | 0
48 | 0.99609 | -0.033005 | 0 | 0
49 | 0.9942 | -0.017313 | 0 | 0
50 | 0.99477 | -0.022015 | 0.27304 | 0.13224
51 | 0.99856 | -0.052597 | 0.18955 | 0.091804
52 | 1 | 0 | -8.7184 | -3.712
53 | 0.99606 | -0.03276 | 0.070725 | 0.034254
54 | 0.99793 | -0.076494 | 0.29202 | 0.14143
55 | 0.99416 | -0.016996 | 0 | 0
56 | 0.99416 | -0.016973 | 0.11378 | 0.055104
57 | 0.99705 | -0.095374 | 0.17119 | 0.082913
58 | 0.99739 | -0.088399 | 0 | 0
59 | 0.99745 | -0.087183 | 0 | 0
60 | 0.99739 | -0.088392 | 0.087065 | 0.042167
61 | 0.99749 | -0.086156 | 0.14372 | 0.069605
62 | 0.99786 | -0.078056 | 0 | 0
63 | 0.99753 | -0.085266 | 0 | 0
64 | 0.99747 | -0.084693 | 0 | 0
65 | 0.99999 | 6.2561e-05 | 0.34917 | 0.16911
66 | 0.99596 | -0.032024 | 0.11764 | 0.056976
67 | 0.99175 | -0.033351 | 0.14399 | 0.069735
68 | 0.99177 | -0.03358 | 0 | 0
69 | 0.99173 | -0.033248 | 0.12573 | 0.060892
70 | 0.99171 | -0.033071 | 0.13962 | 0.067623
71 | 0.99414 | -0.016813 | 0 | 0
72 | 0.99412 | -0.016608 | 0.1071 | 0.05187
73 | 0.99411 | -0.016661 | 0.17893 | 0.08666
74 | 0.99745 | -0.084499 | 0.38255 | 0.18528
75 | 0.996 | -0.032318 | 0.1048 | 0.050759
76 | 0.99598 | -0.032206 | 0 | 0
77 | 0.99597 | -0.032095 | 0 | 0
78 | 0.99596 | -0.032027 | 0.079125 | 0.038322
79 | 0.9959 | -0.032523 | 0.33614 | 0.1628
80 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.36674 | 0.17757 | -0.36673 | -0.17761 | 1.0538e-05 | -4.188e-05 | 0.011914 | 0.011915 | 0.011915 | 0.98727 | -0.44446 | 0.98724 | -0.44465 | 5.6737
1 | 0.44075 | 0.19036 | -0.44062 | -0.19248 | 0.00012881 | -0.0021142 | 0.014038 | 0.014067 | 0.014067 | 0.98727 | -0.44446 | 0.98675 | -0.47623 | 2.1809
2 | -0.80748 | -0.36793 | 0.80778 | 0.36706 | 0.00029917 | -0.00087516 | 0.025946 | 0.025926 | 0.025946 | 0.98727 | -0.44446 | 0.98795 | -0.40518 | 4.0226
3 | 0.23458 | 0.092745 | -0.23452 | -0.11115 | 5.9243e-05 | -0.018403 | 0.0073795 | 0.0075942 | 0.0075942 | 0.98675 | -0.47623 | 0.98651 | -0.47455 | 3.4519
4 | 0.20604 | 0.099731 | -0.20604 | -0.099788 | 4.093e-06 | -5.697e-05 | 0.0066968 | 0.0066975 | 0.0066975 | 0.98675 | -0.47623 | 0.98673 | -0.47636 | 3.1893
5 | -1.0776 | -0.4968 | 1.0777 | 0.49089 | 3.5819e-05 | -0.0059056 | 0.034673 | 0.034601 | 0.034673 | 0.98795 | -0.40518 | 0.98798 | -0.40502 | 5.4346
6 | 0.26984 | 0.12974 | -0.26973 | -0.13064 | 0.00011331 | -0.00089542 | 0.0087487 | 0.008761 | 0.008761 | 0.98795 | -0.40518 | 0.98751 | -0.40799 | 4.1719
7 | 0.23452 | 0.11115 | -0.23451 | -0.11358 | 8.0924e-06 | -0.00243 | 0.0075942 | 0.007625 | 0.007625 | 0.98651 | -0.47455 | 0.98648 | -0.47425 | 3.4659
8 | 1.348 | 0.52899 | -1.348 | -0.53587 | 3.034e-05 | -0.0068795 | 0.042291 | 0.042365 | 0.042365 | 0.98846 | -0.39373 | 0.98843 | -0.39431 | 5.0315
9 | -1.5222 | -0.61335 | 1.5225 | 0.61281 | 0.00032738 | -0.00053793 | 0.047929 | 0.047918 | 0.047929 | 0.98846 | -0.39373 | 0.98875 | -0.38265 | 5.8449
10 | 1.348 | 0.53587 | -1.3476 | -0.62132 | 0.00038623 | -0.085442 | 0.042365 | 0.043354 | 0.043354 | 0.98843 | -0.39431 | 0.9881 | -0.40109 | 5.1489
11 | -1.5225 | -0.61281 | 1.5225 | 0.61059 | 1.259e-05 | -0.0022277 | 0.047918 | 0.047893 | 0.047918 | 0.98875 | -0.38265 | 0.98875 | -0.38244 | 5.6909
12 | 1.3476 | 0.62132 | -1.3475 | -0.62158 | 0.00011357 | -0.00026396 | 0.043354 | 0.043359 | 0.043359 | 0.9881 | -0.40109 | 0.98798 | -0.40502 | 5.2877
13 | -1.933 | -0.80938 | 1.9332 | 0.79162 | 0.00016368 | -0.017758 | 0.061183 | 0.060983 | 0.061183 | 0.98875 | -0.38244 | 0.98885 | -0.38035 | 7.2664
14 | 2.0413 | 0.8362 | -2.0401 | -0.83655 | 0.0012755 | -0.00034804 | 0.064303 | 0.064327 | 0.064327 | 0.99033 | -0.3253 | 0.98948 | -0.35713 | 7.8448
15 | -2.1072 | -0.86811 | 2.1088 | 0.86783 | 0.0016276 | -0.00027462 | 0.066432 | 0.066403 | 0.066432 | 0.99033 | -0.3253 | 0.99137 | -0.28611 | 8.1015
16 | 1.9341 | 0.78521 | -1.934 | -0.79122 | 5.5051e-05 | -0.0060105 | 0.060898 | 0.060965 | 0.060965 | 0.98948 | -0.35713 | 0.98945 | -0.35784 | 7.2405
17 | -2.1715 | -0.89816 | 2.176 | 0.89778 | 0.0045579 | -0.00037809 | 0.068426 | 0.068348 | 0.068426 | 0.99137 | -0.28611 | 0.99421 | -0.17992 | 8.3446
18 | -1.9332 | -0.79162 | 1.934 | 0.79122 | 0.00085406 | -0.00039603 | 0.060983 | 0.060965 | 0.060983 | 0.98885 | -0.38035 | 0.98945 | -0.35784 | 7.4369
19 | 0.22703 | 0.091812 | -0.22703 | -0.092823 | 2.9497e-06 | -0.0010103 | 0.0071429 | 0.007154 | 0.007154 | 0.98972 | -0.050121 | 0.9897 | -0.050051 | 3.2518
20 | -0.62293 | -0.28356 | 0.62512 | 0.28131 | 0.0021834 | -0.0022495 | 0.019963 | 0.01992 | 0.019963 | 0.98972 | -0.050121 | 0.99341 | -0.021209 | 9.5063
21 | 0.22703 | 0.092823 | -0.22698 | -0.10988 | 5.1274e-05 | -0.017061 | 0.007154 | 0.007357 | 0.007357 | 0.9897 | -0.050051 | 0.98949 | -0.048434 | 3.3441
22 | -0.89894 | -0.41393 | 0.89895 | 0.41381 | 5.5667e-06 | -0.00011715 | 0.028759 | 0.028757 | 0.028759 | 0.99341 | -0.021209 | 0.99342 | -0.021257 | 13.0721
23 | 0.22698 | 0.10988 | -0.22697 | -0.10993 | 3.9025e-06 | -4.4851e-05 | 0.007357 | 0.0073576 | 0.0073576 | 0.98949 | -0.048434 | 0.98947 | -0.048547 | 3.5036
24 | -0.20397 | -0.098788 | 0.20398 | 0.095626 | 7.6612e-06 | -0.0031616 | 0.0065716 | 0.0065321 | 0.0065716 | 0.99556 | -0.029898 | 0.9956 | -0.030213 | 2.9871
25 | -0.20398 | -0.095626 | 0.20404 | 0.067108 | 6.5249e-05 | -0.028518 | 0.0065321 | 0.0062262 | 0.0065321 | 0.9956 | -0.030213 | 0.9959 | -0.03183 | 2.9691
26 | -0.2913 | -0.10883 | 0.29131 | 0.10666 | 9.9194e-06 | -0.0021681 | 0.0090137 | 0.0089919 | 0.0090137 | 0.9959 | -0.03183 | 0.99594 | -0.031955 | 4.0971
27 | 0.087254 | 0.041723 | -0.087254 | -0.042259 | 2.3795e-07 | -0.00053571 | 0.0028035 | 0.0028102 | 0.0028102 | 0.9959 | -0.03183 | 0.9959 | -0.031806 | 1.2774
28 | -0.29131 | -0.10666 | 0.29131 | 0.10538 | 5.8643e-06 | -0.0012868 | 0.0089919 | 0.0089791 | 0.0089919 | 0.99594 | -0.031955 | 0.99596 | -0.032024 | 4.0872
29 | -0.89895 | -0.41381 | 0.89951 | 0.41371 | 0.00056422 | -9.8126e-05 | 0.028757 | 0.028752 | 0.028757 | 0.99342 | -0.021257 | 0.99408 | -0.016324 | 13.6939
30 | -1.4347 | -0.66112 | 1.4348 | 0.65963 | 0.00018328 | -0.0014858 | 0.045873 | 0.045854 | 0.045873 | 0.99408 | -0.016324 | 0.9942 | -0.017313 | 20.8512
31 | 0.41025 | 0.18692 | -0.40935 | -0.1898 | 0.0008966 | -0.0028832 | 0.013092 | 0.013134 | 0.013134 | 0.99408 | -0.016324 | 0.99177 | -0.03358 | 6.2541
32 | -0.25784 | -0.12488 | 0.25784 | 0.1243 | 2.2222e-06 | -0.00057183 | 0.0083028 | 0.0082956 | 0.0083028 | 0.99606 | -0.11697 | 0.99607 | -0.11704 | 3.774
33 | 3.1363 | 1.2994 | -3.1354 | -1.338 | 0.00092664 | -0.038612 | 0.098386 | 0.09883 | 0.09883 | 0.99607 | -0.11704 | 0.99572 | -0.1242 | 11.7375
34 | -3.3941 | -1.4237 | 3.3961 | 1.3517 | 0.0020126 | -0.072037 | 0.10667 | 0.10586 | 0.10667 | 0.99607 | -0.11704 | 0.99677 | -0.10222 | 12.6686
35 | 3.1354 | 1.338 | -3.135 | -1.3378 | 0.0003558 | 0.00025285 | 0.09883 | 0.098833 | 0.098833 | 0.99572 | -0.1242 | 0.99557 | -0.12982 | 12.0528
36 | -3.5607 | -1.4313 | 3.5617 | 1.3991 | 0.00098277 | -0.032217 | 0.11114 | 0.11079 | 0.11114 | 0.99677 | -0.10222 | 0.99709 | -0.095111 | 13.1997
37 | 0.16456 | 0.079621 | -0.16456 | -0.0797 | 3.4297e-06 | -7.9284e-05 | 0.0052945 | 0.0052955 | 0.0052955 | 0.99677 | -0.10222 | 0.99675 | -0.10236 | 2.5217
38 | 2.7416 | 1.1472 | -2.7389 | -1.1459 | 0.0027357 | 0.0013133 | 0.086176 | 0.086205 | 0.086205 | 0.99557 | -0.12982 | 0.99421 | -0.17992 | 10.5129
39 | -3.7329 | -1.4818 | 3.7338 | 1.4531 | 0.00096182 | -0.028734 | 0.11628 | 0.11596 | 0.11628 | 0.99709 | -0.095111 | 0.99739 | -0.088399 | 13.8097
40 | 0.1712 | 0.082768 | -0.17119 | -0.082913 | 6.7992e-06 | -0.00014512 | 0.0055054 | 0.0055073 | 0.0055073 | 0.99709 | -0.095111 | 0.99705 | -0.095374 | 2.6225
41 | -0.24141 | -0.11692 | 0.24141 | 0.11682 | 9.118e-06 | -9.3722e-05 | 0.0077911 | 0.0077898 | 0.0077911 | 0.99384 | -0.17765 | 0.99388 | -0.1774 | 3.71
42 | -0.24141 | -0.11682 | 0.24145 | 0.10638 | 3.5302e-05 | -0.010442 | 0.0077898 | 0.0076624 | 0.0077898 | 0.99388 | -0.1774 | 0.99402 | -0.17854 | 3.5408
43 | -0.37115 | -0.16693 | 0.37123 | 0.15719 | 7.6341e-05 | -0.0097319 | 0.011819 | 0.011705 | 0.011819 | 0.99402 | -0.17854 | 0.99421 | -0.17992 | 5.3721
44 | 0.1297 | 0.060545 | -0.1297 | -0.062816 | 2.2364e-06 | -0.002271 | 0.0041568 | 0.0041852 | 0.0041852 | 0.99402 | -0.17854 | 0.994 | -0.1784 | 1.9024
45 | 0.19165 | 0.090949 | -0.19165 | -0.09282 | 4.0328e-06 | -0.0018707 | 0.0061596 | 0.0061831 | 0.0061831 | 0.99421 | -0.17992 | 0.99419 | -0.17975 | 2.8105
46 | -0.39263 | -0.19016 | 0.39264 | 0.19013 | 7.9681e-06 | -2.8168e-05 | 0.012641 | 0.012641 | 0.012641 | 0.99622 | -0.034289 | 0.99624 | -0.034155 | 6.0197
47 | 2.1122 | 0.9618 | -2.1089 | -0.97362 | 0.0032714 | -0.011822 | 0.06725 | 0.067404 | 0.067404 | 0.99624 | -0.034155 | 0.9948 | -0.022276 | 30.6383
48 | -3.5049 | -1.5945 | 3.5135 | 1.5847 | 0.008662 | -0.0098267 | 0.11157 | 0.11143 | 0.11157 | 0.99624 | -0.034155 | 0.99856 | -0.052504 | 50.7158
49 | 1.0001 | 0.44261 | -0.9999 | -0.44544 | 0.00016301 | -0.0028295 | 0.031689 | 0.031723 | 0.031723 | 0.99624 | -0.034155 | 0.99609 | -0.033005 | 14.4197
50 | 1.8359 | 0.84328 | -1.8347 | -0.84896 | 0.0011725 | -0.0056791 | 0.058625 | 0.058699 | 0.058699 | 0.9948 | -0.022276 | 0.9942 | -0.017313 | 26.6812
51 | 0.27305 | 0.13034 | -0.27304 | -0.13224 | 8.3056e-06 | -0.0018993 | 0.0087798 | 0.0088037 | 0.0088037 | 0.9948 | -0.022276 | 0.99477 | -0.022015 | 4.0017
52 | 4.8329 | 1.9362 | -4.8329 | -1.9366 | 1.759e-05 | -0.0003071 | 0.15051 | 0.15051 | 0.15051 | 0.99856 | -0.052504 | 0.99856 | -0.052597 | 17.8757
53 | -8.3464 | -3.521 | 8.3552 | 3.5328 | 0.0087934 | 0.011801 | 0.26188 | 0.26187 | 0.26188 | 0.99856 | -0.052504 | 1 | 0 | 31.9364
54 | 0.9999 | 0.44544 | -0.99986 | -0.44604 | 3.4437e-05 | -0.00059686 | 0.031723 | 0.03173 | 0.03173 | 0.99609 | -0.033005 | 0.99606 | -0.03276 | 14.4229
55 | 0.39984 | 0.18933 | -0.39982 | -0.19094 | 1.5169e-05 | -0.001618 | 0.012845 | 0.012866 | 0.012866 | 0.9942 | -0.017313 | 0.99416 | -0.016996 | 5.848
56 | 4.6433 | 1.8447 | -4.6412 | -1.8424 | 0.0021334 | 0.0023487 | 0.14444 | 0.14445 | 0.14445 | 0.99856 | -0.052597 | 0.99793 | -0.076494 | 17.6156
57 | 0.34917 | 0.16875 | -0.34917 | -0.16911 | 2.5137e-06 | -0.0003578 | 0.011195 | 0.0112 | 0.0112 | 1 | 0 | 0.99999 | 6.2561e-05 | 5.0908
58 | 0.92914 | 0.41179 | -0.92908 | -0.41296 | 5.8254e-05 | -0.0011736 | 0.029454 | 0.029468 | 0.029468 | 0.99606 | -0.03276 | 0.996 | -0.032318 | 13.3946
59 | 4.3491 | 1.701 | -4.3489 | -1.7066 | 0.00025978 | -0.0056772 | 0.13509 | 0.13515 | 0.13515 | 0.99793 | -0.076494 | 0.99786 | -0.078056 | 16.0512
60 | 0.39982 | 0.19094 | -0.39982 | -0.19106 | 1.06e-06 | -0.00011288 | 0.012866 | 0.012867 | 0.012867 | 0.99416 | -0.016996 | 0.99416 | -0.016973 | 5.8486
61 | 0.28604 | 0.13595 | -0.28604 | -0.13708 | 5.4273e-06 | -0.001131 | 0.0091963 | 0.0092104 | 0.0092104 | 0.99416 | -0.016973 | 0.99414 | -0.016813 | 4.1866
62 | -3.8209 | -1.4951 | 3.8211 | 1.49 | 0.00017717 | -0.005058 | 0.11875 | 0.1187 | 0.11875 | 0.99739 | -0.088399 | 0.99745 | -0.087183 | 14.1037
63 | 0.087065 | 0.041996 | -0.087065 | -0.042167 | 7.5438e-08 | -0.00017132 | 0.0027978 | 0.0027999 | 0.0027999 | 0.99739 | -0.088399 | 0.99739 | -0.088392 | 1.2727
64 | -3.8211 | -1.49 | 3.8212 | 1.4858 | 0.00014919 | -0.0042634 | 0.1187 | 0.11865 | 0.1187 | 0.99745 | -0.087183 | 0.99749 | -0.086156 | 14.0972
65 | -3.965 | -1.5554 | 3.9651 | 1.5518 | 0.00013514 | -0.0035724 | 0.12326 | 0.12322 | 0.12326 | 0.99749 | -0.086156 | 0.99753 | -0.085266 | 14.6388
66 | 4.3489 | 1.7066 | -4.3477 | -1.733 | 0.001211 | -0.026382 | 0.13515 | 0.13544 | 0.13544 | 0.99786 | -0.078056 | 0.99753 | -0.085266 | 16.086
67 | 0.38259 | 0.18122 | -0.38256 | -0.18428 | 2.5943e-05 | -0.0030588 | 0.012251 | 0.012289 | 0.012289 | 0.99753 | -0.085266 | 0.99747 | -0.084693 | 5.586
68 | 0.38256 | 0.18428 | -0.38255 | -0.18528 | 8.5563e-06 | -0.0010046 | 0.012289 | 0.012302 | 0.012302 | 0.99747 | -0.084693 | 0.99745 | -0.084499 | 5.5917
69 | -0.40895 | -0.16235 | 0.40895 | 0.16232 | 2.962e-07 | -3.2217e-05 | 0.012753 | 0.012753 | 0.012753 | 0.99596 | -0.032024 | 0.99596 | -0.032027 | 5.797
70 | -0.14399 | -0.069735 | 0.14399 | 0.066471 | 3.9903e-06 | -0.0032645 | 0.0046568 | 0.0046161 | 0.0046568 | 0.99175 | -0.033351 | 0.99177 | -0.03358 | 2.1167
71 | 0.26536 | 0.12333 | -0.26535 | -0.12594 | 1.0831e-05 | -0.0026132 | 0.0085174 | 0.0085498 | 0.0085498 | 0.99177 | -0.03358 | 0.99173 | -0.033248 | 3.8863
72 | 0.13963 | 0.065049 | -0.13962 | -0.067623 | 2.9642e-06 | -0.0025743 | 0.0044837 | 0.0045159 | 0.0045159 | 0.99173 | -0.033248 | 0.99171 | -0.033071 | 2.0527
73 | 0.28604 | 0.13708 | -0.28603 | -0.1385 | 6.8323e-06 | -0.0014188 | 0.0092104 | 0.0092283 | 0.0092283 | 0.99414 | -0.016813 | 0.99412 | -0.016608 | 4.1947
74 | 0.17893 | 0.086633 | -0.17893 | -0.08666 | 1.446e-06 | -2.7824e-05 | 0.0057728 | 0.0057732 | 0.0057732 | 0.99412 | -0.016608 | 0.99411 | -0.016661 | 2.7491
75 | 0.82427 | 0.3622 | -0.82426 | -0.36255 | 1.3463e-05 | -0.00034673 | 0.026095 | 0.026099 | 0.026099 | 0.996 | -0.032318 | 0.99598 | -0.032206 | 11.8633
76 | 0.82426 | 0.36255 | -0.82425 | -0.36289 | 1.3328e-05 | -0.00034312 | 0.026099 | 0.026103 | 0.026103 | 0.99598 | -0.032206 | 0.99597 | -0.032095 | 11.8651
77 | 0.48809 | 0.2002 | -0.48808 | -0.20064 | 5.8656e-06 | -0.00044319 | 0.015291 | 0.015296 | 0.015296 | 0.99597 | -0.032095 | 0.99596 | -0.032027 | 6.9525
78 | 0.33616 | 0.16269 | -0.33614 | -0.1628 | 2.1811e-05 | -0.00011003 | 0.010825 | 0.010826 | 0.010826 | 0.99597 | -0.032095 | 0.9959 | -0.032523 | 5.1553

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.7184 | 3.712

## res_load
| p_mw | q_mvar
0 | 0.36673 | 0.17761
1 | 0.20604 | 0.099788
2 | 0.23451 | 0.11358
3 | 0.17418 | 0.084358
4 | 0.41045 | 0.19879
5 | 0.26983 | 0.13069
6 | 0.065869 | 0.031902
7 | 0.106 | 0.051338
8 | 0.062625 | 0.030331
9 | 0.3959 | 0.19174
10 | 0.27383 | 0.13262
11 | 0.22697 | 0.10993
12 | 0.20397 | 0.098788
13 | 0.087254 | 0.042259
14 | 0.1249 | 0.060493
15 | 0.26973 | 0.13064
16 | 0.25784 | 0.12488
17 | 0.39336 | 0.19051
18 | 0.16456 | 0.0797
19 | 0.24141 | 0.11692
20 | 0.1297 | 0.062816
21 | 0.19165 | 0.09282
22 | 0.39263 | 0.19016
23 | 0.27304 | 0.13224
24 | 0.18955 | 0.091804
25 | 0.070725 | 0.034254
26 | 0.29202 | 0.14143
27 | 0.11378 | 0.055104
28 | 0.17119 | 0.082913
29 | 0.087065 | 0.042167
30 | 0.14372 | 0.069605
31 | 0.34917 | 0.16911
32 | 0.11764 | 0.056976
33 | 0.14399 | 0.069735
34 | 0.12573 | 0.060892
35 | 0.13962 | 0.067623
36 | 0.1071 | 0.05187
37 | 0.17893 | 0.08666
38 | 0.38255 | 0.18528
39 | 0.1048 | 0.050759
40 | 0.079125 | 0.038322
41 | 0.33614 | 0.1628

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1