## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_326_1_node_75 | 20 | n |  | TRUE
1 | bus_MV_326_1_node_77 | 20 | n |  | TRUE
2 | bus_MV_326_1_node_76 | 20 | n |  | TRUE
3 | bus_MV_326_1_node_78 | 20 | n |  | TRUE
4 | bus_MV_326_1_node_79 | 20 | n |  | TRUE
5 | bus_MV_326_1_node_82 | 20 | n |  | TRUE
6 | bus_MV_326_1_node_81 | 20 | n |  | TRUE
7 | bus_MV_326_1_node_86 | 20 | n |  | TRUE
8 | bus_MV_326_1_node_141 | 20 | n |  | TRUE
9 | bus_MV_326_1_node_80 | 20 | n |  | TRUE
10 | bus_MV_326_1_node_136 | 20 | n |  | TRUE
11 | bus_MV_326_1_node_168 | 20 | n |  | TRUE
12 | bus_MV_326_1_node_145 | 20 | n |  | TRUE
13 | bus_MV_326_1_node_83 | 20 | n |  | TRUE
14 | bus_MV_326_1_node_144 | 20 | n |  | TRUE
15 | bus_MV_326_1_node_167 | 20 | n |  | TRUE
16 | bus_MV_326_1_node_84 | 20 | n |  | TRUE
17 | bus_MV_326_1_node_85 | 20 | n |  | TRUE
18 | bus_MV_326_1_node_88 | 20 | n |  | TRUE
19 | bus_MV_326_1_node_87 | 20 | n |  | TRUE
20 | bus_MV_326_1_node_125 | 20 | n |  | TRUE
21 | bus_MV_326_1_node_159 | 20 | n |  | TRUE
22 | bus_MV_326_1_node_89 | 20 | n |  | TRUE
23 | bus_MV_326_1_node_102 | 20 | n |  | TRUE
24 | bus_MV_326_1_node_132 | 20 | n |  | TRUE
25 | bus_MV_326_1_node_154 | 20 | n |  | TRUE
26 | bus_MV_326_1_node_90 | 20 | n |  | TRUE
27 | bus_MV_326_1_node_91 | 20 | n |  | TRUE
28 | bus_MV_326_1_node_92 | 20 | n |  | TRUE
29 | bus_MV_326_1_node_146 | 20 | n |  | TRUE
30 | bus_MV_326_1_node_110 | 20 | n |  | TRUE
31 | bus_MV_326_1_node_93 | 20 | n |  | TRUE
32 | bus_MV_326_1_node_94 | 20 | n |  | TRUE
33 | bus_MV_326_1_node_95 | 20 | n |  | TRUE
34 | bus_MV_326_1_node_96 | 20 | n |  | TRUE
35 | bus_MV_326_1_node_97 | 20 | n |  | TRUE
36 | bus_MV_326_1_node_100 | 20 | n |  | TRUE
37 | bus_MV_326_1_node_101 | 20 | n |  | TRUE
38 | bus_MV_326_1_node_174 | 20 | n |  | TRUE
39 | bus_MV_326_1_node_99 | 20 | n |  | TRUE
40 | bus_MV_326_1_node_153 | 20 | n |  | TRUE
41 | bus_MV_326_1_node_98 | 20 | n |  | TRUE
42 | bus_MV_326_1_node_109 | 20 | n |  | TRUE
43 | bus_MV_326_1_node_108 | 20 | n |  | TRUE
44 | bus_MV_326_1_node_148 | 20 | n |  | TRUE
45 | bus_MV_326_1_node_147 | 20 | n |  | TRUE
46 | bus_MV_326_1_node_107 | 20 | n |  | TRUE
47 | bus_MV_326_1_node_103 | 20 | n |  | TRUE
48 | bus_MV_326_1_node_104 | 20 | n |  | TRUE
49 | bus_MV_326_1_node_105 | 20 | n |  | TRUE
50 | bus_MV_326_1_node_106 | 20 | n |  | TRUE
51 | bus_MV_326_1_node_135 | 20 | n |  | TRUE
52 | bus_MV_326_1_node_134 | 20 | n |  | TRUE
53 | bus_MV_326_1_node_143 | 20 | n |  | TRUE
54 | bus_MV_326_1_node_111 | 20 | n |  | TRUE
55 | bus_MV_326_1_node_112 | 20 | n |  | TRUE
56 | bus_MV_326_1_node_126 | 20 | n |  | TRUE
57 | bus_MV_326_1_node_127 | 20 | n |  | TRUE
58 | bus_MV_326_1_node_128 | 20 | n |  | TRUE
59 | bus_MV_326_1_node_129 | 20 | n |  | TRUE
60 | bus_MV_326_1_node_130 | 20 | n |  | TRUE
61 | bus_MV_326_1_node_131 | 20 | n |  | TRUE
62 | bus_MV_326_1_node_133 | 20 | n |  | TRUE
63 | bus_MV_326_1_node_166 | 20 | n |  | TRUE
64 | bus_MV_326_1_node_155 | 20 | n |  | TRUE
65 | bus_MV_326_1_node_165 | 20 | n |  | TRUE
66 | bus_MV_326_1_node_138 | 20 | n |  | TRUE
67 | bus_MV_326_1_node_137 | 20 | n |  | TRUE
68 | bus_MV_326_1_node_139 | 20 | n |  | TRUE
69 | bus_MV_326_1_node_169 | 20 | n |  | TRUE
70 | bus_MV_326_1_node_140 | 20 | n |  | TRUE
71 | bus_MV_326_1_node_142 | 20 | n |  | TRUE
72 | bus_MV_326_1_node_149 | 20 | n |  | TRUE
73 | bus_MV_326_1_node_150 | 20 | n |  | TRUE
74 | bus_MV_326_1_node_151 | 20 | n |  | TRUE
75 | bus_MV_326_1_node_152 | 20 | n |  | TRUE
76 | bus_MV_326_1_node_180 | 20 | n |  | TRUE
77 | bus_MV_326_1_node_177 | 20 | n |  | TRUE
78 | bus_MV_326_1_node_156 | 20 | n |  | TRUE
79 | bus_MV_326_1_node_157 | 20 | n |  | TRUE
80 | bus_MV_326_1_node_175 | 20 | n |  | TRUE
81 | bus_MV_326_1_node_176 | 20 | n |  | TRUE
82 | bus_MV_326_1_node_178 | 20 | n |  | TRUE
83 | bus_MV_326_1_node_179 | 20 | n |  | TRUE
84 | bus_HV_326_1_node_143 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_326_1_load_75 | 0 | 0.40206 | 0.19473 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_326_1_load_81 | 6 | 0.15244 | 0.07383 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_326_1_load_141 | 8 | 0.080855 | 0.03916 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_326_1_load_136 | 10 | 0.29403 | 0.14241 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_326_1_load_168 | 11 | 0.28616 | 0.13859 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_326_1_load_145 | 12 | 0.11529 | 0.055836 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_326_1_load_144 | 14 | 0.23564 | 0.11413 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_326_1_load_167 | 15 | 0.39899 | 0.19324 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_326_1_load_84 | 16 | 0.36087 | 0.17478 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_326_1_load_125 | 20 | 0.19841 | 0.096095 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_326_1_load_159 | 21 | 0.31824 | 0.15413 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_326_1_load_102 | 23 | 0.2647 | 0.1282 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_326_1_load_154 | 25 | 0.19502 | 0.094454 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_326_1_load_90 | 26 | 0.1447 | 0.070083 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_326_1_load_146 | 29 | 0.16003 | 0.077506 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_326_1_load_110 | 30 | 0.13408 | 0.064937 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_326_1_load_93 | 31 | 0.34988 | 0.16946 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_326_1_load_174 | 38 | 0.12103 | 0.058616 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_326_1_load_153 | 40 | 0.20501 | 0.099292 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_326_1_load_109 | 42 | 0.15052 | 0.072901 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_326_1_load_108 | 43 | 0.29888 | 0.14476 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_326_1_load_148 | 44 | 1.5616 | 0.75634 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_326_1_load_147 | 45 | 0.069562 | 0.03369 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_326_1_load_107 | 46 | 0.41057 | 0.19885 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_326_1_load_103 | 47 | 0.36115 | 0.17491 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_326_1_load_134 | 52 | 0.16874 | 0.081724 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_326_1_load_143 | 53 | 0.076567 | 0.037083 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_326_1_load_126 | 56 | 0.22466 | 0.10881 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_326_1_load_130 | 60 | 0.2931 | 0.14196 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_326_1_load_166 | 63 | 0.14158 | 0.06857 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_326_1_load_155 | 64 | 0.22531 | 0.10912 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_326_1_load_165 | 65 | 0.25111 | 0.12162 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_326_1_load_137 | 67 | 0.10924 | 0.052907 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_326_1_load_169 | 69 | 0.34299 | 0.16612 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_326_1_load_142 | 71 | 0.083151 | 0.040272 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_326_1_load_149 | 72 | 0.11374 | 0.055086 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_326_1_load_180 | 76 | 0.16763 | 0.081187 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_326_1_load_157 | 79 | 0.093638 | 0.045351 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_326_1_load_176 | 81 | 0.30415 | 0.14731 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_326_1_load_178 | 82 | 0.068191 | 0.033027 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_326_1_load_179 | 83 | 0.08057 | 0.039022 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_326_1_line_0 |  | 0 | 1 | 0.025815 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_326_1_line_1 |  | 1 | 5 | 0.090108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_326_1_line_2 |  | 2 | 3 | 0.10641 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_326_1_line_3 |  | 2 | 4 | 0.13721 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_326_1_line_4 |  | 3 | 6 | 0.12217 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
5 | MV_326_1_line_5 |  | 4 | 7 | 0.63891 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_326_1_line_6 |  | 4 | 8 | 0.075454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_326_1_line_7 |  | 5 | 13 | 0.39696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_326_1_line_8 |  | 5 | 14 | 0.044939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_326_1_line_9 |  | 6 | 12 | 0.029116 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_326_1_line_10 |  | 7 | 19 | 0.20744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_326_1_line_11 |  | 7 | 20 | 0.011656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_326_1_line_12 |  | 7 | 17 | 0.53139 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
13 | MV_326_1_line_13 |  | 9 | 10 | 0.132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_326_1_line_14 |  | 9 | 11 | 0.17654 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_326_1_line_15 |  | 11 | 55 | 0.013018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_326_1_line_16 |  | 12 | 29 | 0.037532 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_326_1_line_17 |  | 13 | 15 | 0.078436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_326_1_line_18 |  | 15 | 26 | 0.2384 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
19 | MV_326_1_line_19 |  | 15 | 36 | 0.015188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_326_1_line_20 |  | 16 | 17 | 0.052571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_326_1_line_21 |  | 17 | 18 | 0.77318 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_326_1_line_22 |  | 18 | 22 | 0.16598 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_326_1_line_23 |  | 18 | 23 | 0.02398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_326_1_line_24 |  | 19 | 21 | 0.021631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_326_1_line_25 |  | 22 | 24 | 0.11198 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_326_1_line_26 |  | 22 | 25 | 0.056871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_326_1_line_27 |  | 23 | 46 | 0.05803 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_326_1_line_28 |  | 24 | 62 | 0.11836 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_326_1_line_29 |  | 24 | 64 | 0.012669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_326_1_line_30 |  | 26 | 27 | 0.050466 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_326_1_line_31 |  | 27 | 28 | 0.11416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_326_1_line_32 |  | 27 | 29 | 0.24148 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
33 | MV_326_1_line_33 |  | 28 | 30 | 0.003463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_326_1_line_34 |  | 30 | 54 | 0.006353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_326_1_line_35 |  | 31 | 32 | 0.044676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_326_1_line_36 |  | 31 | 33 | 0.071147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_326_1_line_37 |  | 32 | 34 | 0.050857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_326_1_line_38 |  | 32 | 35 | 0.051869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_326_1_line_39 |  | 33 | 36 | 0.031253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_326_1_line_40 |  | 33 | 37 | 0.26687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_326_1_line_41 |  | 34 | 38 | 0.015507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_326_1_line_42 |  | 35 | 39 | 0.096628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_326_1_line_43 |  | 35 | 40 | 0.031167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_326_1_line_44 |  | 37 | 45 | 0.039894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_326_1_line_45 |  | 39 | 44 | 0.066084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_326_1_line_46 |  | 39 | 41 | 0.17664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_326_1_line_47 |  | 40 | 75 | 0.022379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_326_1_line_48 |  | 41 | 42 | 0.011973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_326_1_line_49 |  | 41 | 43 | 0.046971 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_326_1_line_50 |  | 47 | 48 | 0.007028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_326_1_line_51 |  | 48 | 49 | 0.006587 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_326_1_line_52 |  | 48 | 50 | 0.10455 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_326_1_line_53 |  | 49 | 51 | 0.16735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_326_1_line_54 |  | 49 | 52 | 0.009859 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_326_1_line_55 |  | 50 | 53 | 0.047315 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_326_1_line_56 |  | 51 | 66 | 0.062936 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_326_1_line_57 |  | 52 | 59 | 0.011254 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
58 | MV_326_1_line_58 |  | 54 | 55 | 0.13439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_326_1_line_59 |  | 56 | 57 | 0.015843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_326_1_line_60 |  | 57 | 58 | 0.046851 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_326_1_line_61 |  | 57 | 59 | 0.17462 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
62 | MV_326_1_line_62 |  | 58 | 60 | 0.007605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_326_1_line_63 |  | 58 | 61 | 0.013278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_326_1_line_64 |  | 58 | 62 | 0.16265 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_326_1_line_65 |  | 61 | 63 | 0.016365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_326_1_line_66 |  | 62 | 65 | 0.032763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_326_1_line_67 |  | 64 | 78 | 0.013451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_326_1_line_68 |  | 66 | 69 | 0.06076 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_326_1_line_69 |  | 66 | 67 | 0.027769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_326_1_line_70 |  | 67 | 68 | 0.04061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_326_1_line_71 |  | 68 | 70 | 0.12031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_326_1_line_72 |  | 70 | 71 | 0.058671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_326_1_line_73 |  | 72 | 73 | 0.028244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_326_1_line_74 |  | 73 | 74 | 0.099215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_326_1_line_75 |  | 73 | 75 | 0.14038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_326_1_line_76 |  | 74 | 76 | 0.015719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_326_1_line_77 |  | 74 | 77 | 0.065759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_326_1_line_78 |  | 77 | 82 | 0.006055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_326_1_line_79 |  | 77 | 80 | 0.00891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_326_1_line_80 |  | 78 | 79 | 0.029571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_326_1_line_81 |  | 80 | 81 | 0.005963 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_326_1_line_82 |  | 82 | 83 | 0.032011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_326_1_trafo_143 | 25 MVA 110/20 kV | 84 | 53 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2561967.1546 | 1205169.4206
1 | 2561979.4305 | 1205146.696
2 | 2561929.2806 | 1205210.7193
3 | 2562024.0667 | 1205259.097
4 | 2561814.0624 | 1205171.8127
5 | 2561988.5251 | 1205083.1687
6 | 2562127.4228 | 1205324.2295
7 | 2561753.0454 | 1205186.1568
8 | 2561861.4027 | 1205145.8863
9 | 2562094.5359 | 1205348.3096
10 | 2561977.0058 | 1205288.2659
11 | 2562018.6479 | 1205507.7055
12 | 2562152.3863 | 1205339.2051
13 | 2562263.3148 | 1205314.7075
14 | 2562014.4767 | 1205056.6963
15 | 2562328.4957 | 1205358.6086
16 | 2561514.5343 | 1205239.0455
17 | 2561465.6659 | 1205219.317
18 | 2561729.37 | 1204925.1725
19 | 2561782.7341 | 1205334.439
20 | 2561763.5207 | 1205191.2681
21 | 2561773.2067 | 1205353.8667
22 | 2561803.0886 | 1204802.3298
23 | 2561746.8947 | 1204941.5914
24 | 2561880.3278 | 1204821.3124
25 | 2561753.8681 | 1204773.9489
26 | 2562272.3942 | 1205590.317
27 | 2562224.8031 | 1205585.2491
28 | 2562137.6717 | 1205591.2948
29 | 2562188.5139 | 1205346.5089
30 | 2562135.4266 | 1205588.6854
31 | 2562394.0599 | 1205276.7368
32 | 2562398.7088 | 1205232.4269
33 | 2562368.5631 | 1205342.7574
34 | 2562432.7065 | 1205227.276
35 | 2562404.561 | 1205191.9559
36 | 2562342.2347 | 1205358.9885
37 | 2562560.4176 | 1205350.9861
38 | 2562434.001 | 1205211.8258
39 | 2562349.6337 | 1205209.6352
40 | 2562421.8245 | 1205166.1636
41 | 2562271.8582 | 1205115.7966
42 | 2562276.7635 | 1205104.8705
43 | 2562228.8113 | 1205134.5912
44 | 2562302.1808 | 1205190.8136
45 | 2562559.7466 | 1205311.5492
46 | 2561708.1201 | 1204984.765
47 | 2562096.0457 | 1204973.8661
48 | 2562096.0314 | 1204966.84
49 | 2562096.2329 | 1204960.2573
50 | 2562124.816 | 1205045.946
51 | 2562190.3267 | 1204865.728
52 | 2562086.9037 | 1204957.069
53 | 2562102.019 | 1205087.4064
54 | 2562129.3208 | 1205587.7348
55 | 2562027.4711 | 1205517.2991
56 | 2562052.464 | 1204874.6259
57 | 2562038.6488 | 1204866.8713
58 | 2561999.2206 | 1204841.4417
59 | 2562076.1059 | 1204954.2931
60 | 2562003.6998 | 1204835.2874
61 | 2561991.7982 | 1204852.4397
62 | 2561893.6809 | 1204903.8068
63 | 2561982.9942 | 1204866.2482
64 | 2561887.1218 | 1204810.6192
65 | 2561889.5415 | 1204935.6624
66 | 2562248.1112 | 1204842.3705
67 | 2562259.7891 | 1204817.1758
68 | 2562276.867 | 1204780.331
69 | 2562264.0083 | 1204901.0139
70 | 2562388.1613 | 1204811.4892
71 | 2562442.7808 | 1204832.9127
72 | 2562511.8311 | 1205166.3986
73 | 2562537.1313 | 1205176.3339
74 | 2562583.738 | 1205245.7579
75 | 2562437.8205 | 1205150.5449
76 | 2562567.976 | 1205245.4567
77 | 2562535.8639 | 1205257.7434
78 | 2561894.3352 | 1204799.2658
79 | 2561910.623 | 1204774.5588
80 | 2562526.939 | 1205257.2993
81 | 2562527.0993 | 1205251.3394
82 | 2562536.0844 | 1205251.6941
83 | 2562536.3912 | 1205219.6843
84 | 2562102.019 | 1205087.4064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98906 | -0.10383 | 0.40206 | 0.19473
1 | 0.98907 | -0.10396 | 0 | 0
2 | 0.99303 | -0.032835 | 0 | 0
3 | 0.99283 | -0.033674 | 0 | 0
4 | 0.9933 | -0.031738 | 0 | 0
5 | 0.98912 | -0.10439 | 0 | 0
6 | 0.9926 | -0.034625 | 0.15244 | 0.07383
7 | 0.99453 | -0.02633 | 0 | 0
8 | 0.99329 | -0.031668 | 0.080855 | 0.03916
9 | 0.9906 | -0.072727 | 0 | 0
10 | 0.99055 | -0.072267 | 0.29403 | 0.14241
11 | 0.9907 | -0.072038 | 0.28616 | 0.13859
12 | 0.99254 | -0.034845 | 0.11529 | 0.055836
13 | 0.98944 | -0.10727 | 0 | 0
14 | 0.9891 | -0.10426 | 0.23564 | 0.11413
15 | 0.9895 | -0.10781 | 0.39899 | 0.19324
16 | 0.99563 | -0.02096 | 0.36087 | 0.17478
17 | 0.99565 | -0.021187 | 0 | 0
18 | 0.99736 | -0.012918 | 0 | 0
19 | 0.99445 | -0.025571 | 0 | 0
20 | 0.99453 | -0.026302 | 0.19841 | 0.096095
21 | 0.99444 | -0.025488 | 0.31824 | 0.15413
22 | 0.99777 | -0.010942 | 0 | 0
23 | 0.99734 | -0.012724 | 0.2647 | 0.1282
24 | 0.99805 | -0.0095676 | 0 | 0
25 | 0.99775 | -0.010811 | 0.19502 | 0.094454
26 | 0.99079 | -0.075436 | 0.1447 | 0.070083
27 | 0.99092 | -0.074036 | 0 | 0
28 | 0.99082 | -0.073104 | 0 | 0
29 | 0.99247 | -0.035121 | 0.16003 | 0.077506
30 | 0.99081 | -0.073075 | 0.13408 | 0.064937
31 | 0.98898 | -0.10306 | 0.34988 | 0.16946
32 | 0.98881 | -0.10144 | 0 | 0
33 | 0.9893 | -0.10592 | 0 | 0
34 | 0.9888 | -0.10137 | 0 | 0
35 | 0.98861 | -0.099635 | 0 | 0
36 | 0.98944 | -0.10719 | 0 | 0
37 | 0.98927 | -0.10577 | 0 | 0
38 | 0.9888 | -0.10135 | 0.12103 | 0.058616
39 | 0.98836 | -0.0973 | 0 | 0
40 | 0.98857 | -0.099297 | 0.20501 | 0.099292
41 | 0.98826 | -0.096355 | 0 | 0
42 | 0.98826 | -0.096333 | 0.15052 | 0.072901
43 | 0.98823 | -0.096529 | 0.29888 | 0.14476
44 | 0.98823 | -0.096039 | 1.5616 | 0.75634
45 | 0.98927 | -0.10573 | 0.069562 | 0.03369
46 | 0.9973 | -0.013013 | 0.41057 | 0.19885
47 | 0.9995 | -0.0023587 | 0.36115 | 0.17491
48 | 0.99951 | -0.002389 | 0 | 0
49 | 0.99949 | -0.0024894 | 0 | 0
50 | 0.99985 | -0.00074637 | 0 | 0
51 | 0.99937 | -0.0015173 | 0 | 0
52 | 0.99946 | -0.0026318 | 0.16874 | 0.081724
53 | 1 | 0 | -10.0202 | -4.5745
54 | 0.99081 | -0.073033 | 0 | 0
55 | 0.99071 | -0.072128 | 0 | 0
56 | 0.99892 | -0.0052222 | 0.22466 | 0.10881
57 | 0.99892 | -0.0052647 | 0 | 0
58 | 0.99879 | -0.0059112 | 0 | 0
59 | 0.99943 | -0.0027921 | 0 | 0
60 | 0.99879 | -0.0058845 | 0.2931 | 0.14196
61 | 0.99879 | -0.0058891 | 0 | 0
62 | 0.99835 | -0.0080567 | 0 | 0
63 | 0.99878 | -0.0058616 | 0.14158 | 0.06857
64 | 0.99804 | -0.00952 | 0.22531 | 0.10912
65 | 0.99834 | -0.0079587 | 0.25111 | 0.12162
66 | 0.99933 | -0.0011407 | 0 | 0
67 | 0.99932 | -0.0010865 | 0.10924 | 0.052907
68 | 0.99932 | -0.0010584 | 0 | 0
69 | 0.99929 | -0.001393 | 0.34299 | 0.16612
70 | 0.99931 | -0.0009603 | 0 | 0
71 | 0.9993 | -0.00090448 | 0.083151 | 0.040272
72 | 0.98841 | -0.09788 | 0.11374 | 0.055086
73 | 0.98842 | -0.097919 | 0 | 0
74 | 0.98834 | -0.097193 | 0 | 0
75 | 0.98855 | -0.09911 | 0 | 0
76 | 0.98834 | -0.097161 | 0.16763 | 0.081187
77 | 0.9883 | -0.096836 | 0 | 0
78 | 0.99804 | -0.0095056 | 0 | 0
79 | 0.99804 | -0.009473 | 0.093638 | 0.045351
80 | 0.9883 | -0.096803 | 0 | 0
81 | 0.9883 | -0.096781 | 0.30415 | 0.14731
82 | 0.9883 | -0.096826 | 0.068191 | 0.033027
83 | 0.9883 | -0.096795 | 0.08057 | 0.039022
84 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.40206 | -0.19473 | 0.40206 | 0.19412 | 5.8556e-06 | -0.00060121 | 0.013039 | 0.013031 | 0.013039 | 0.98906 | -0.10383 | 0.98907 | -0.10396 | 5.9267
1 | -0.40206 | -0.19412 | 0.40209 | 0.19203 | 2.0385e-05 | -0.0020987 | 0.013031 | 0.013005 | 0.013031 | 0.98907 | -0.10396 | 0.98912 | -0.10439 | 5.9232
2 | 5.8341 | 2.7549 | -5.8329 | -2.7608 | 0.0011572 | -0.0059404 | 0.18755 | 0.18764 | 0.18764 | 0.99303 | -0.032835 | 0.99283 | -0.033674 | 29.4101
3 | -5.8341 | -2.7549 | 5.8356 | 2.7472 | 0.0014906 | -0.0076645 | 0.18755 | 0.18745 | 0.18755 | 0.99303 | -0.032835 | 0.9933 | -0.031738 | 29.3973
4 | 5.8329 | 2.7608 | -5.8316 | -2.7676 | 0.0013297 | -0.0068157 | 0.18764 | 0.18773 | 0.18773 | 0.99283 | -0.033674 | 0.9926 | -0.034625 | 29.4249
5 | -5.9164 | -2.7846 | 5.9235 | 2.749 | 0.0071115 | -0.035652 | 0.19004 | 0.18955 | 0.19004 | 0.9933 | -0.031738 | 0.99453 | -0.02633 | 29.7865
6 | 0.080856 | 0.037383 | -0.080855 | -0.03916 | 6.8084e-07 | -0.0017773 | 0.0025889 | 0.002611 | 0.002611 | 0.9933 | -0.031738 | 0.99329 | -0.031668 | 1.1868
7 | -0.63773 | -0.30511 | 0.63796 | 0.2959 | 0.00022433 | -0.0092091 | 0.020633 | 0.020517 | 0.020633 | 0.98912 | -0.10439 | 0.98944 | -0.10727 | 9.3785
8 | 0.23565 | 0.11308 | -0.23564 | -0.11413 | 3.4971e-06 | -0.0010487 | 0.0076283 | 0.0076416 | 0.0076416 | 0.98912 | -0.10439 | 0.9891 | -0.10426 | 3.4734
9 | 5.6792 | 2.6938 | -5.6789 | -2.6955 | 0.00030069 | -0.001633 | 0.1828 | 0.18283 | 0.18283 | 0.9926 | -0.034625 | 0.99254 | -0.034845 | 28.6563
10 | 0.31827 | 0.14873 | -0.31825 | -0.15362 | 2.8968e-05 | -0.0048899 | 0.010197 | 0.010258 | 0.010258 | 0.99453 | -0.02633 | 0.99445 | -0.025571 | 4.6628
11 | 0.19841 | 0.09582 | -0.19841 | -0.096095 | 6.3682e-07 | -0.00027507 | 0.0063956 | 0.0063991 | 0.0063991 | 0.99453 | -0.02633 | 0.99453 | -0.026302 | 2.9087
12 | -6.4402 | -2.9935 | 6.4472 | 2.9644 | 0.0069639 | -0.02914 | 0.20614 | 0.20574 | 0.20614 | 0.99453 | -0.02633 | 0.99565 | -0.021187 | 32.3107
13 | 0.29405 | 0.13932 | -0.29403 | -0.14241 | 1.5908e-05 | -0.0030877 | 0.0094821 | 0.009521 | 0.009521 | 0.9906 | -0.072727 | 0.99055 | -0.072267 | 4.3277
14 | -0.29405 | -0.13932 | 0.29408 | 0.13913 | 2.8273e-05 | -0.00018912 | 0.0094821 | 0.0094795 | 0.0094821 | 0.9906 | -0.072727 | 0.9907 | -0.072038 | 4.5153
15 | -0.58023 | -0.27772 | 0.58024 | 0.27742 | 6.1047e-06 | -0.00030326 | 0.018744 | 0.01874 | 0.018744 | 0.9907 | -0.072038 | 0.99071 | -0.072128 | 8.52
16 | 5.5636 | 2.6396 | -5.5632 | -2.6417 | 0.00037208 | -0.0021135 | 0.1791 | 0.17913 | 0.17913 | 0.99254 | -0.034845 | 0.99247 | -0.035121 | 28.0769
17 | -0.63796 | -0.2959 | 0.638 | 0.29408 | 4.4032e-05 | -0.0018205 | 0.020517 | 0.020495 | 0.020517 | 0.98944 | -0.10727 | 0.9895 | -0.10781 | 9.3261
18 | -4.532 | -2.1467 | 4.5367 | 2.1517 | 0.0046841 | 0.0050639 | 0.1463 | 0.14629 | 0.1463 | 0.9895 | -0.10781 | 0.99079 | -0.075436 | 41.7996
19 | 3.4951 | 1.6593 | -3.4948 | -1.6596 | 0.00025833 | -0.00027841 | 0.11287 | 0.11288 | 0.11288 | 0.9895 | -0.10781 | 0.98944 | -0.10719 | 51.3074
20 | -0.36087 | -0.17478 | 0.36088 | 0.17354 | 9.473e-06 | -0.0012415 | 0.011626 | 0.01161 | 0.011626 | 0.99563 | -0.02096 | 0.99565 | -0.021187 | 5.2845
21 | -6.8081 | -3.1379 | 6.8193 | 3.096 | 0.011256 | -0.041903 | 0.21735 | 0.21677 | 0.21735 | 0.99565 | -0.021187 | 0.99736 | -0.012918 | 34.0671
22 | -7.4946 | -3.4224 | 7.4976 | 3.4137 | 0.0029151 | -0.0087363 | 0.23847 | 0.23835 | 0.23847 | 0.99736 | -0.012918 | 0.99777 | -0.010942 | 37.3779
23 | 0.67531 | 0.32643 | -0.6753 | -0.32699 | 1.5093e-05 | -0.00056504 | 0.02171 | 0.021717 | 0.021717 | 0.99736 | -0.012918 | 0.99734 | -0.012724 | 9.8714
24 | 0.31825 | 0.15362 | -0.31824 | -0.15413 | 3.0407e-06 | -0.00050984 | 0.010258 | 0.010265 | 0.010265 | 0.99445 | -0.025571 | 0.99444 | -0.025488 | 4.6658
25 | -7.6926 | -3.5068 | 7.6947 | 3.501 | 0.0020694 | -0.0058409 | 0.2446 | 0.24451 | 0.2446 | 0.99777 | -0.010942 | 0.99805 | -0.0095676 | 38.3383
26 | 0.19503 | 0.093103 | -0.19502 | -0.094454 | 2.9762e-06 | -0.0013509 | 0.0062525 | 0.0062695 | 0.0062695 | 0.99777 | -0.010942 | 0.99775 | -0.010811 | 2.8498
27 | 0.41059 | 0.19879 | -0.41057 | -0.19885 | 1.8027e-05 | -5.7613e-05 | 0.013204 | 0.013205 | 0.013205 | 0.99734 | -0.012724 | 0.9973 | -0.013013 | 6.288
28 | -8.0136 | -3.6541 | 8.016 | 3.648 | 0.0023727 | -0.0060742 | 0.25475 | 0.25466 | 0.25475 | 0.99805 | -0.0095676 | 0.99835 | -0.0080567 | 39.9288
29 | 0.31895 | 0.15315 | -0.31895 | -0.15345 | 1.772e-06 | -0.00030078 | 0.010234 | 0.010238 | 0.010238 | 0.99805 | -0.0095676 | 0.99804 | -0.00952 | 4.6535
30 | -4.6814 | -2.2218 | 4.682 | 2.2205 | 0.00055554 | -0.0012961 | 0.15098 | 0.15096 | 0.15098 | 0.99079 | -0.075436 | 0.99092 | -0.074036 | 41.707
31 | 0.71447 | 0.33634 | -0.71439 | -0.339 | 8.0769e-05 | -0.0026521 | 0.023005 | 0.023038 | 0.023038 | 0.99092 | -0.074036 | 0.99082 | -0.073104 | 10.4719
32 | -5.3965 | -2.5568 | 5.4032 | 2.5642 | 0.0067086 | 0.0073748 | 0.17396 | 0.17396 | 0.17396 | 0.99092 | -0.074036 | 0.99247 | -0.035121 | 49.7036
33 | 0.71439 | 0.339 | -0.71438 | -0.33908 | 2.4539e-06 | -8.0443e-05 | 0.023038 | 0.023039 | 0.023039 | 0.99082 | -0.073104 | 0.99081 | -0.073075 | 10.4724
34 | 0.58031 | 0.27414 | -0.5803 | -0.27429 | 2.9658e-06 | -0.00014803 | 0.018699 | 0.018701 | 0.018701 | 0.99081 | -0.073075 | 0.99081 | -0.073033 | 8.5004
35 | 3.0737 | 1.4655 | -3.0731 | -1.4664 | 0.00058929 | -0.00086833 | 0.099394 | 0.099407 | 0.099407 | 0.98898 | -0.10306 | 0.98881 | -0.10144 | 45.1849
36 | -3.4235 | -1.635 | 3.4247 | 1.6337 | 0.0011646 | -0.0013166 | 0.11074 | 0.11072 | 0.11074 | 0.98898 | -0.10306 | 0.9893 | -0.10592 | 50.3368
37 | 0.12103 | 0.057068 | -0.12103 | -0.058255 | 1.04e-06 | -0.0011869 | 0.0039065 | 0.0039214 | 0.0039214 | 0.98881 | -0.10144 | 0.9888 | -0.10137 | 1.7824
38 | 2.952 | 1.4093 | -2.9514 | -1.4104 | 0.00063164 | -0.0010233 | 0.0955 | 0.095516 | 0.095516 | 0.98881 | -0.10144 | 0.98861 | -0.099635 | 43.4162
39 | -3.4943 | -1.6602 | 3.4948 | 1.6596 | 0.00053164 | -0.00057272 | 0.11289 | 0.11288 | 0.11289 | 0.9893 | -0.10592 | 0.98944 | -0.10719 | 51.3116
40 | 0.069564 | 0.026523 | -0.069562 | -0.032758 | 1.7345e-06 | -0.0062356 | 0.0021724 | 0.0022437 | 0.0022437 | 0.9893 | -0.10592 | 0.98927 | -0.10577 | 1.0199
41 | 0.12103 | 0.058255 | -0.12103 | -0.058616 | 3.1871e-07 | -0.0003619 | 0.0039214 | 0.003926 | 0.003926 | 0.9888 | -0.10137 | 0.9888 | -0.10135 | 1.7845
42 | 2.0119 | 0.96599 | -2.0113 | -0.96809 | 0.00054808 | -0.0020917 | 0.065168 | 0.065196 | 0.065196 | 0.98861 | -0.099635 | 0.98836 | -0.0973 | 29.6348
43 | 0.93953 | 0.44436 | -0.93949 | -0.44507 | 3.8332e-05 | -0.00071588 | 0.030348 | 0.030357 | 0.030357 | 0.98861 | -0.099635 | 0.98857 | -0.099297 | 13.7987
44 | 0.069562 | 0.032758 | -0.069562 | -0.03369 | 2.695e-07 | -0.0009321 | 0.0022437 | 0.0022554 | 0.0022554 | 0.98927 | -0.10577 | 0.98927 | -0.10573 | 1.0252
45 | 1.5619 | 0.75486 | -1.5616 | -0.75634 | 0.00022656 | -0.0014739 | 0.050667 | 0.050686 | 0.050686 | 0.98836 | -0.0973 | 0.98823 | -0.096039 | 23.0392
46 | 0.44946 | 0.21322 | -0.44941 | -0.21733 | 4.9962e-05 | -0.0041045 | 0.01453 | 0.014582 | 0.014582 | 0.98836 | -0.0973 | 0.98826 | -0.096355 | 6.6282
47 | 0.73448 | 0.34578 | -0.73446 | -0.3463 | 1.6794e-05 | -0.00051719 | 0.023706 | 0.023712 | 0.023712 | 0.98857 | -0.099297 | 0.98855 | -0.09911 | 10.7782
48 | 0.15052 | 0.072622 | -0.15052 | -0.072901 | 3.8121e-07 | -0.00027908 | 0.0048818 | 0.0048854 | 0.0048854 | 0.98826 | -0.096355 | 0.98826 | -0.096333 | 2.2206
49 | 0.29889 | 0.14471 | -0.29888 | -0.14476 | 7.8751e-06 | -4.9831e-05 | 0.0097002 | 0.0097009 | 0.0097009 | 0.98826 | -0.096355 | 0.98823 | -0.096529 | 4.6195
50 | -0.36115 | -0.17491 | 0.36115 | 0.17475 | 1.26e-06 | -0.00016726 | 0.01159 | 0.011588 | 0.01159 | 0.9995 | -0.0023587 | 0.99951 | -0.002389 | 5.268
51 | 9.6403 | 4.3961 | -9.6401 | -4.3965 | 0.0001906 | -0.00030613 | 0.30601 | 0.30602 | 0.30602 | 0.99951 | -0.002389 | 0.99949 | -0.0024894 | 47.965
52 | -10.0015 | -4.5709 | 10.0047 | 4.5662 | 0.0032577 | -0.0047302 | 0.3176 | 0.31752 | 0.3176 | 0.99951 | -0.002389 | 0.99985 | -0.00074637 | 49.78
53 | 0.53549 | 0.24787 | -0.53543 | -0.25184 | 6.5077e-05 | -0.0039718 | 0.017043 | 0.017092 | 0.017092 | 0.99949 | -0.0024894 | 0.99937 | -0.0015173 | 7.7689
54 | 9.1046 | 4.1486 | -9.1044 | -4.1491 | 0.0002544 | -0.00047555 | 0.28897 | 0.28898 | 0.28898 | 0.99949 | -0.0024894 | 0.99946 | -0.0026318 | 45.295
55 | -10.0047 | -4.5662 | 10.0062 | 4.564 | 0.0014738 | -0.0021425 | 0.31752 | 0.31748 | 0.31752 | 0.99985 | -0.00074637 | 1 | 0 | 49.7677
56 | 0.53543 | 0.25184 | -0.5354 | -0.25334 | 2.457e-05 | -0.0014934 | 0.017092 | 0.01711 | 0.01711 | 0.99937 | -0.0015173 | 0.99933 | -0.0011407 | 7.7773
57 | 8.9356 | 4.0673 | -8.9353 | -4.0679 | 0.00027964 | -0.00054887 | 0.28357 | 0.28358 | 0.28358 | 0.99946 | -0.0026318 | 0.99943 | -0.0027921 | 44.4477
58 | 0.5803 | 0.27429 | -0.58024 | -0.27742 | 6.2875e-05 | -0.003131 | 0.018701 | 0.01874 | 0.01874 | 0.99081 | -0.073033 | 0.99071 | -0.072128 | 8.5183
59 | -0.22466 | -0.10881 | 0.22466 | 0.10843 | 1.0999e-06 | -0.00037712 | 0.0072137 | 0.007209 | 0.0072137 | 0.99892 | -0.0052222 | 0.99892 | -0.0052647 | 3.279
60 | 8.7063 | 3.968 | -8.7052 | -3.9703 | 0.0011069 | -0.0023137 | 0.2765 | 0.27654 | 0.27654 | 0.99892 | -0.0052647 | 0.99879 | -0.0059112 | 43.3442
61 | -8.931 | -4.0764 | 8.9353 | 4.0679 | 0.004341 | -0.008509 | 0.28371 | 0.28358 | 0.28371 | 0.99892 | -0.0052647 | 0.99943 | -0.0027921 | 44.4683
62 | 0.2931 | 0.14177 | -0.2931 | -0.14196 | 8.993e-07 | -0.00018087 | 0.0094104 | 0.0094127 | 0.0094127 | 0.99879 | -0.0059112 | 0.99879 | -0.0058845 | 4.2785
63 | 0.14158 | 0.067864 | -0.14158 | -0.06818 | 3.6533e-07 | -0.00031615 | 0.0045378 | 0.0045418 | 0.0045418 | 0.99879 | -0.0059112 | 0.99879 | -0.0058891 | 2.0644
64 | 8.2706 | 3.7606 | -8.2671 | -3.7689 | 0.0034673 | -0.0082383 | 0.26259 | 0.26271 | 0.26271 | 0.99879 | -0.0059112 | 0.99835 | -0.0080567 | 41.1776
65 | 0.14158 | 0.06818 | -0.14158 | -0.06857 | 4.5115e-07 | -0.00038965 | 0.0045418 | 0.0045467 | 0.0045467 | 0.99879 | -0.0058891 | 0.99878 | -0.0058616 | 2.0667
66 | 0.25111 | 0.12084 | -0.25111 | -0.12162 | 2.8434e-06 | -0.00077883 | 0.0080579 | 0.0080677 | 0.0080677 | 0.99835 | -0.0080567 | 0.99834 | -0.0079587 | 3.6671
67 | 0.093639 | 0.044328 | -0.093639 | -0.044648 | 1.6146e-07 | -0.00031985 | 0.0029966 | 0.0030006 | 0.0030006 | 0.99804 | -0.00952 | 0.99804 | -0.0095056 | 1.3639
68 | 0.34301 | 0.16606 | -0.34299 | -0.16612 | 1.312e-05 | -6.4218e-05 | 0.011008 | 0.011009 | 0.011009 | 0.99933 | -0.0011407 | 0.99929 | -0.001393 | 5.2426
69 | 0.19239 | 0.087282 | -0.19239 | -0.087944 | 1.3825e-06 | -0.00066173 | 0.0061028 | 0.0061108 | 0.0061108 | 0.99933 | -0.0011407 | 0.99932 | -0.0010865 | 2.7776
70 | 0.083153 | 0.035037 | -0.083153 | -0.036005 | 3.6989e-07 | -0.00096819 | 0.0026066 | 0.0026176 | 0.0026176 | 0.99932 | -0.0010865 | 0.99932 | -0.0010584 | 1.1898
71 | 0.083153 | 0.036005 | -0.083152 | -0.038873 | 1.1146e-06 | -0.0028683 | 0.0026176 | 0.0026516 | 0.0026516 | 0.99932 | -0.0010584 | 0.99931 | -0.0009603 | 1.2053
72 | 0.083152 | 0.038873 | -0.083151 | -0.040272 | 5.5428e-07 | -0.0013987 | 0.0026516 | 0.0026689 | 0.0026689 | 0.99931 | -0.0009603 | 0.9993 | -0.00090448 | 1.2132
73 | -0.11374 | -0.055086 | 0.11374 | 0.054428 | 5.125e-07 | -0.00065866 | 0.0036909 | 0.0036826 | 0.0036909 | 0.98841 | -0.09788 | 0.98842 | -0.097919 | 1.6777
74 | 0.62062 | 0.29512 | -0.62056 | -0.29741 | 5.3432e-05 | -0.0022983 | 0.02007 | 0.0201 | 0.0201 | 0.98842 | -0.097919 | 0.98834 | -0.097193 | 9.1362
75 | -0.73436 | -0.34954 | 0.73446 | 0.3463 | 0.00010555 | -0.0032436 | 0.023753 | 0.023712 | 0.023753 | 0.98842 | -0.097919 | 0.98855 | -0.09911 | 10.7969
76 | 0.16763 | 0.080821 | -0.16763 | -0.081187 | 6.2053e-07 | -0.00036642 | 0.0054356 | 0.0054402 | 0.0054402 | 0.98834 | -0.097193 | 0.98834 | -0.097161 | 2.4728
77 | 0.45293 | 0.21659 | -0.45291 | -0.21812 | 1.8902e-05 | -0.001528 | 0.014664 | 0.014683 | 0.014683 | 0.98834 | -0.097193 | 0.9883 | -0.096836 | 6.6743
78 | 0.14876 | 0.071161 | -0.14876 | -0.071302 | 1.8765e-07 | -0.00014115 | 0.0048168 | 0.0048185 | 0.0048185 | 0.9883 | -0.096836 | 0.9883 | -0.096826 | 2.1902
79 | 0.30415 | 0.14696 | -0.30415 | -0.14717 | 1.1583e-06 | -0.00020744 | 0.0098667 | 0.0098693 | 0.0098693 | 0.9883 | -0.096836 | 0.9883 | -0.096803 | 4.4861
80 | 0.093639 | 0.044648 | -0.093638 | -0.045351 | 3.5647e-07 | -0.00070317 | 0.0030006 | 0.0030094 | 0.0030094 | 0.99804 | -0.0095056 | 0.99804 | -0.009473 | 1.3679
81 | 0.30415 | 0.14717 | -0.30415 | -0.14731 | 7.7552e-07 | -0.00013883 | 0.0098693 | 0.0098711 | 0.0098711 | 0.9883 | -0.096803 | 0.9883 | -0.096781 | 4.4869
82 | 0.08057 | 0.038275 | -0.08057 | -0.039022 | 2.9115e-07 | -0.00074644 | 0.0026054 | 0.0026149 | 0.0026149 | 0.9883 | -0.096826 | 0.9883 | -0.096795 | 1.1886

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.0967 | 4.6116

## res_load
| p_mw | q_mvar
0 | 0.40206 | 0.19473
1 | 0.15244 | 0.07383
2 | 0.080855 | 0.03916
3 | 0.29403 | 0.14241
4 | 0.28616 | 0.13859
5 | 0.11529 | 0.055836
6 | 0.23564 | 0.11413
7 | 0.39899 | 0.19324
8 | 0.36087 | 0.17478
9 | 0.19841 | 0.096095
10 | 0.31824 | 0.15413
11 | 0.2647 | 0.1282
12 | 0.19502 | 0.094454
13 | 0.1447 | 0.070083
14 | 0.16003 | 0.077506
15 | 0.13408 | 0.064937
16 | 0.34988 | 0.16946
17 | 0.12103 | 0.058616
18 | 0.20501 | 0.099292
19 | 0.15052 | 0.072901
20 | 0.29888 | 0.14476
21 | 1.5616 | 0.75634
22 | 0.069562 | 0.03369
23 | 0.41057 | 0.19885
24 | 0.36115 | 0.17491
25 | 0.16874 | 0.081724
26 | 0.076567 | 0.037083
27 | 0.22466 | 0.10881
28 | 0.2931 | 0.14196
29 | 0.14158 | 0.06857
30 | 0.22531 | 0.10912
31 | 0.25111 | 0.12162
32 | 0.10924 | 0.052907
33 | 0.34299 | 0.16612
34 | 0.083151 | 0.040272
35 | 0.11374 | 0.055086
36 | 0.16763 | 0.081187
37 | 0.093638 | 0.045351
38 | 0.30415 | 0.14731
39 | 0.068191 | 0.033027
40 | 0.08057 | 0.039022

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1