## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_327_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_327_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_327_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_327_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_327_0_node_37 | 20 | n |  | TRUE
5 | bus_MV_327_0_node_12 | 20 | n |  | TRUE
6 | bus_MV_327_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_327_0_node_3 | 20 | n |  | TRUE
8 | bus_MV_327_0_node_68 | 20 | n |  | TRUE
9 | bus_MV_327_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_327_0_node_15 | 20 | n |  | TRUE
11 | bus_MV_327_0_node_69 | 20 | n |  | TRUE
12 | bus_MV_327_0_node_72 | 20 | n |  | TRUE
13 | bus_MV_327_0_node_13 | 20 | n |  | TRUE
14 | bus_MV_327_0_node_73 | 20 | n |  | TRUE
15 | bus_MV_327_0_node_38 | 20 | n |  | TRUE
16 | bus_MV_327_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_327_0_node_8 | 20 | n |  | TRUE
18 | bus_MV_327_0_node_9 | 20 | n |  | TRUE
19 | bus_MV_327_0_node_16 | 20 | n |  | TRUE
20 | bus_MV_327_0_node_71 | 20 | n |  | TRUE
21 | bus_MV_327_0_node_10 | 20 | n |  | TRUE
22 | bus_MV_327_0_node_11 | 20 | n |  | TRUE
23 | bus_MV_327_0_node_14 | 20 | n |  | TRUE
24 | bus_MV_327_0_node_70 | 20 | n |  | TRUE
25 | bus_MV_327_0_node_74 | 20 | n |  | TRUE
26 | bus_MV_327_0_node_81 | 20 | n |  | TRUE
27 | bus_MV_327_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_327_0_node_18 | 20 | n |  | TRUE
29 | bus_MV_327_0_node_19 | 20 | n |  | TRUE
30 | bus_MV_327_0_node_51 | 20 | n |  | TRUE
31 | bus_MV_327_0_node_20 | 20 | n |  | TRUE
32 | bus_MV_327_0_node_29 | 20 | n |  | TRUE
33 | bus_MV_327_0_node_33 | 20 | n |  | TRUE
34 | bus_MV_327_0_node_32 | 20 | n |  | TRUE
35 | bus_MV_327_0_node_30 | 20 | n |  | TRUE
36 | bus_MV_327_0_node_61 | 20 | n |  | TRUE
37 | bus_MV_327_0_node_21 | 20 | n |  | TRUE
38 | bus_MV_327_0_node_22 | 20 | n |  | TRUE
39 | bus_MV_327_0_node_24 | 20 | n |  | TRUE
40 | bus_MV_327_0_node_28 | 20 | n |  | TRUE
41 | bus_MV_327_0_node_35 | 20 | n |  | TRUE
42 | bus_MV_327_0_node_23 | 20 | n |  | TRUE
43 | bus_MV_327_0_node_34 | 20 | n |  | TRUE
44 | bus_MV_327_0_node_36 | 20 | n |  | TRUE
45 | bus_MV_327_0_node_79 | 20 | n |  | TRUE
46 | bus_MV_327_0_node_76 | 20 | n |  | TRUE
47 | bus_MV_327_0_node_78 | 20 | n |  | TRUE
48 | bus_MV_327_0_node_50 | 20 | n |  | TRUE
49 | bus_MV_327_0_node_63 | 20 | n |  | TRUE
50 | bus_MV_327_0_node_82 | 20 | n |  | TRUE
51 | bus_MV_327_0_node_62 | 20 | n |  | TRUE
52 | bus_MV_327_0_node_31 | 20 | n |  | TRUE
53 | bus_MV_327_0_node_64 | 20 | n |  | TRUE
54 | bus_MV_327_0_node_65 | 20 | n |  | TRUE
55 | bus_MV_327_0_node_59 | 20 | n |  | TRUE
56 | bus_MV_327_0_node_58 | 20 | n |  | TRUE
57 | bus_MV_327_0_node_75 | 20 | n |  | TRUE
58 | bus_MV_327_0_node_60 | 20 | n |  | TRUE
59 | bus_MV_327_0_node_25 | 20 | n |  | TRUE
60 | bus_MV_327_0_node_26 | 20 | n |  | TRUE
61 | bus_MV_327_0_node_27 | 20 | n |  | TRUE
62 | bus_MV_327_0_node_66 | 20 | n |  | TRUE
63 | bus_MV_327_0_node_40 | 20 | n |  | TRUE
64 | bus_MV_327_0_node_53 | 20 | n |  | TRUE
65 | bus_MV_327_0_node_39 | 20 | n |  | TRUE
66 | bus_MV_327_0_node_41 | 20 | n |  | TRUE
67 | bus_MV_327_0_node_52 | 20 | n |  | TRUE
68 | bus_MV_327_0_node_42 | 20 | n |  | TRUE
69 | bus_MV_327_0_node_43 | 20 | n |  | TRUE
70 | bus_MV_327_0_node_44 | 20 | n |  | TRUE
71 | bus_MV_327_0_node_46 | 20 | n |  | TRUE
72 | bus_MV_327_0_node_77 | 20 | n |  | TRUE
73 | bus_MV_327_0_node_45 | 20 | n |  | TRUE
74 | bus_MV_327_0_node_56 | 20 | n |  | TRUE
75 | bus_MV_327_0_node_49 | 20 | n |  | TRUE
76 | bus_MV_327_0_node_48 | 20 | n |  | TRUE
77 | bus_MV_327_0_node_47 | 20 | n |  | TRUE
78 | bus_MV_327_0_node_55 | 20 | n |  | TRUE
79 | bus_MV_327_0_node_57 | 20 | n |  | TRUE
80 | bus_MV_327_0_node_67 | 20 | n |  | TRUE
81 | bus_MV_327_0_node_80 | 20 | n |  | TRUE
82 | bus_HV_327_0_node_52 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_327_0_load_0 | 0 | 0.35502 | 0.17195 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_327_0_load_6 | 3 | 0.32034 | 0.15515 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_327_0_load_37 | 4 | 0.15457 | 0.074863 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_327_0_load_68 | 8 | 0.088846 | 0.04303 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_327_0_load_15 | 10 | 0.30374 | 0.14711 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_327_0_load_69 | 11 | 0.12457 | 0.06033 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_327_0_load_72 | 12 | 0.19971 | 0.096722 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_327_0_load_7 | 16 | 0.17704 | 0.085745 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_327_0_load_16 | 19 | 0.078096 | 0.037824 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_327_0_load_10 | 21 | 0.31976 | 0.15487 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_327_0_load_14 | 23 | 0.30859 | 0.14946 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_327_0_load_70 | 24 | 0.19508 | 0.094481 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_327_0_load_81 | 26 | 0.15332 | 0.074255 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_327_0_load_17 | 27 | 0.25614 | 0.12406 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_327_0_load_51 | 30 | 0.199 | 0.096381 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_327_0_load_61 | 36 | 0.19926 | 0.096506 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_327_0_load_28 | 40 | 0.21702 | 0.10511 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_327_0_load_34 | 43 | 0.19832 | 0.096051 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_327_0_load_36 | 44 | 0.14935 | 0.072333 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_327_0_load_79 | 45 | 0.31051 | 0.15039 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_327_0_load_76 | 46 | 0.18167 | 0.087986 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_327_0_load_78 | 47 | 0.14029 | 0.067947 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_327_0_load_50 | 48 | 0.16622 | 0.080504 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_327_0_load_63 | 49 | 0.18845 | 0.091272 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_327_0_load_82 | 50 | 0.39546 | 0.19153 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_327_0_load_62 | 51 | 0.18669 | 0.09042 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_327_0_load_64 | 53 | 0.39452 | 0.19108 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_327_0_load_65 | 54 | 0.3672 | 0.17784 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_327_0_load_75 | 57 | 0.30176 | 0.14615 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_327_0_load_60 | 58 | 0.25079 | 0.12146 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_327_0_load_25 | 59 | 0.40619 | 0.19673 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_327_0_load_41 | 66 | 0.18572 | 0.089947 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_327_0_load_52 | 67 | 0.19595 | 0.094903 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_327_0_load_42 | 68 | 0.16403 | 0.079445 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_327_0_load_77 | 72 | 0.14174 | 0.068647 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_327_0_load_47 | 77 | 0.1933 | 0.093619 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_327_0_load_55 | 78 | 0.34488 | 0.16703 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_327_0_load_80 | 81 | 0.082073 | 0.03975 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_327_0_line_0 |  | 0 | 1 | 0.067728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_327_0_line_1 |  | 1 | 2 | 0.12891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_327_0_line_2 |  | 2 | 6 | 0.043664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_327_0_line_3 |  | 2 | 7 | 0.27805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_327_0_line_4 |  | 2 | 8 | 0.037393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_327_0_line_5 |  | 3 | 4 | 1.5313 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
6 | MV_327_0_line_6 |  | 3 | 5 | 1.918 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_327_0_line_7 |  | 4 | 15 | 0.060966 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
8 | MV_327_0_line_8 |  | 5 | 21 | 0.18504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_327_0_line_9 |  | 6 | 12 | 0.076697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_327_0_line_10 |  | 7 | 9 | 0.2255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_327_0_line_11 |  | 7 | 10 | 0.12294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_327_0_line_12 |  | 9 | 11 | 0.06639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_327_0_line_13 |  | 10 | 13 | 0.063277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_327_0_line_14 |  | 12 | 14 | 0.14964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_327_0_line_15 |  | 13 | 19 | 0.077038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_327_0_line_16 |  | 13 | 23 | 0.056783 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_327_0_line_17 |  | 13 | 22 | 0.67381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_327_0_line_18 |  | 14 | 25 | 0.020464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_327_0_line_19 |  | 15 | 63 | 0.44451 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_327_0_line_20 |  | 15 | 64 | 0.30632 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
21 | MV_327_0_line_21 |  | 16 | 17 | 0.004195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_327_0_line_22 |  | 17 | 18 | 0.25837 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_327_0_line_23 |  | 18 | 19 | 0.083619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_327_0_line_24 |  | 18 | 20 | 0.2114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_327_0_line_25 |  | 20 | 24 | 0.067958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_327_0_line_26 |  | 21 | 22 | 0.30654 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_327_0_line_27 |  | 25 | 26 | 0.027526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_327_0_line_28 |  | 27 | 28 | 0.18325 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_327_0_line_29 |  | 28 | 29 | 0.45692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_327_0_line_30 |  | 29 | 30 | 0.039906 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_327_0_line_31 |  | 30 | 46 | 0.19898 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_327_0_line_32 |  | 30 | 47 | 0.31076 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_327_0_line_33 |  | 30 | 48 | 0.18276 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_327_0_line_34 |  | 31 | 32 | 0.38215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_327_0_line_35 |  | 31 | 33 | 0.33814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_327_0_line_36 |  | 31 | 34 | 0.31306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_327_0_line_37 |  | 31 | 35 | 0.46361 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_327_0_line_38 |  | 31 | 36 | 0.039029 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
39 | MV_327_0_line_39 |  | 32 | 49 | 0.06657 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_327_0_line_40 |  | 33 | 50 | 0.043661 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_327_0_line_41 |  | 34 | 51 | 0.038213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_327_0_line_42 |  | 35 | 54 | 0.022997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_327_0_line_43 |  | 35 | 52 | 0.28423 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_327_0_line_44 |  | 36 | 55 | 0.0079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_327_0_line_45 |  | 37 | 38 | 0.41089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_327_0_line_46 |  | 37 | 39 | 0.50006 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_327_0_line_47 |  | 37 | 40 | 0.076003 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_327_0_line_48 |  | 38 | 41 | 0.19512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_327_0_line_49 |  | 38 | 42 | 0.58392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_327_0_line_50 |  | 38 | 43 | 0.020662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_327_0_line_51 |  | 39 | 45 | 0.13349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_327_0_line_52 |  | 41 | 57 | 0.038389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_327_0_line_53 |  | 42 | 44 | 0.019595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_327_0_line_54 |  | 45 | 58 | 0.13718 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_327_0_line_55 |  | 46 | 73 | 0.063997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_327_0_line_56 |  | 47 | 75 | 0.12917 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_327_0_line_57 |  | 48 | 71 | 0.058436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_327_0_line_58 |  | 52 | 53 | 0.10098 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_327_0_line_59 |  | 53 | 63 | 0.032427 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_327_0_line_60 |  | 54 | 62 | 0.028876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_327_0_line_61 |  | 55 | 56 | 0.30271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_327_0_line_62 |  | 56 | 58 | 0.14365 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_327_0_line_63 |  | 57 | 61 | 0.066149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_327_0_line_64 |  | 58 | 79 | 0.22042 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_327_0_line_65 |  | 59 | 60 | 0.020721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_327_0_line_66 |  | 60 | 61 | 0.12598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_327_0_line_67 |  | 62 | 80 | 0.22916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_327_0_line_68 |  | 63 | 65 | 0.52882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_327_0_line_69 |  | 64 | 67 | 0.043438 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_327_0_line_70 |  | 65 | 66 | 0.026403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_327_0_line_71 |  | 68 | 69 | 0.012271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_327_0_line_72 |  | 69 | 70 | 0.18061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_327_0_line_73 |  | 69 | 71 | 0.042508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_327_0_line_74 |  | 70 | 72 | 0.010751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_327_0_line_75 |  | 73 | 74 | 0.10957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_327_0_line_76 |  | 74 | 78 | 0.043342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_327_0_line_77 |  | 75 | 76 | 0.27628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_327_0_line_78 |  | 76 | 77 | 0.06176 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_327_0_line_79 |  | 78 | 79 | 0.048336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_327_0_line_80 |  | 80 | 81 | 0.048637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_327_0_trafo_52 | 25 MVA 110/20 kV | 82 | 67 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2555462.6929 | 1207425.5906
1 | 2555485.4864 | 1207489.368
2 | 2555443.102 | 1207557.0574
3 | 2554941.7218 | 1204885.838
4 | 2556138.3899 | 1203930.3287
5 | 2556061.957 | 1206442.6623
6 | 2555426.1827 | 1207565.9669
7 | 2555364.6181 | 1207305.4
8 | 2555467.5028 | 1207585.0414
9 | 2555231.2133 | 1207428.0166
10 | 2555378.1341 | 1207183.2077
11 | 2555196.0719 | 1207377.1589
12 | 2555412.9417 | 1207641.4416
13 | 2555382.7566 | 1207120.2796
14 | 2555361.9062 | 1207779.1604
15 | 2556194.9105 | 1203953.1815
16 | 2555046.4941 | 1207065.8103
17 | 2555049.127 | 1207069.0812
18 | 2555288.203 | 1206991.9148
19 | 2555333.6685 | 1207060.9095
20 | 2555323.7387 | 1206835.1245
21 | 2556148.0625 | 1206604.2427
22 | 2555910.8766 | 1206798.4388
23 | 2555327.9994 | 1207135.3099
24 | 2555353.3506 | 1206895.8811
25 | 2555349.4119 | 1207787.9591
26 | 2555324.4812 | 1207799.0748
27 | 2557964.1366 | 1203473.1638
28 | 2557787.6094 | 1203522.362
29 | 2558022.2697 | 1203757.5485
30 | 2558010.2432 | 1203795.5993
31 | 2557139.9486 | 1203704.8226
32 | 2556851.7649 | 1203815.3988
33 | 2557254.9795 | 1203940.319
34 | 2557052.8755 | 1203931.056
35 | 2556807.9335 | 1203557.2252
36 | 2557175.6085 | 1203720.6863
37 | 2557398.0668 | 1203357.0852
38 | 2557157.5238 | 1203210.9491
39 | 2557517.9976 | 1203608.049
40 | 2557431.9098 | 1203425.1374
41 | 2557219.8229 | 1203095.1358
42 | 2556862.6547 | 1202797.8977
43 | 2557175.0824 | 1203217.9825
44 | 2556877.9202 | 1202792.7732
45 | 2557646.0858 | 1203645.5807
46 | 2557882.0061 | 1203947.7398
47 | 2558093.0892 | 1204095.1129
48 | 2558119.4767 | 1203942.1247
49 | 2556878.7352 | 1203876.2604
50 | 2557261.7558 | 1203983.4504
51 | 2557014.5519 | 1203930.7544
52 | 2556597.7155 | 1203594.2849
53 | 2556526.3316 | 1203659.7092
54 | 2556818.3148 | 1203536.6938
55 | 2557182.8442 | 1203723.9028
56 | 2557417.6211 | 1203714.5816
57 | 2557230.1404 | 1203058.6483
58 | 2557556.8901 | 1203749.8079
59 | 2557328.523 | 1202962.0541
60 | 2557346.6142 | 1202972.1572
61 | 2557253.4793 | 1202998.8953
62 | 2556831.3591 | 1203510.918
63 | 2556496.8195 | 1203673.3324
64 | 2556477.7965 | 1204070.6753
65 | 2556301.2506 | 1203461.1872
66 | 2556275.5498 | 1203467.546
67 | 2556509.7821 | 1204100.1585
68 | 2558072.3783 | 1204032.1404
69 | 2558083.8667 | 1204036.5398
70 | 2558142.3573 | 1204130.9266
71 | 2558100.1373 | 1203997.2697
72 | 2558150.8675 | 1204137.4958
73 | 2557862.9294 | 1204008.8271
74 | 2557760.8686 | 1203968.9716
75 | 2558199.2744 | 1204168.3149
76 | 2557990.2419 | 1204210.8094
77 | 2557932.2436 | 1204189.5843
78 | 2557720.3889 | 1203953.1831
79 | 2557675.1504 | 1203935.8167
80 | 2556758.7297 | 1203429.3983
81 | 2556710.4515 | 1203431.8495
82 | 2556509.7821 | 1204100.1585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98059 | -0.28066 | 0.35502 | 0.17195
1 | 0.98064 | -0.28036 | 0 | 0
2 | 0.9807 | -0.28092 | 0 | 0
3 | 0.99328 | -0.22902 | 0.32034 | 0.15515
4 | 0.99805 | -0.10616 | 0.15457 | 0.074863
5 | 0.98469 | -0.29494 | 0 | 0
6 | 0.98068 | -0.28075 | 0 | 0
7 | 0.98099 | -0.28341 | 0 | 0
8 | 0.9807 | -0.28088 | 0.088846 | 0.04303
9 | 0.98095 | -0.28312 | 0 | 0
10 | 0.98113 | -0.28461 | 0.30374 | 0.14711
11 | 0.98094 | -0.28302 | 0.12457 | 0.06033
12 | 0.98065 | -0.28044 | 0.19971 | 0.096722
13 | 0.98123 | -0.28545 | 0 | 0
14 | 0.98062 | -0.28018 | 0 | 0
15 | 0.99817 | -0.099623 | 0 | 0
16 | 0.98109 | -0.28426 | 0.17704 | 0.085745
17 | 0.98109 | -0.28427 | 0 | 0
18 | 0.98115 | -0.28479 | 0 | 0
19 | 0.98119 | -0.2851 | 0.078096 | 0.037824
20 | 0.98109 | -0.28433 | 0 | 0
21 | 0.98414 | -0.29043 | 0.31976 | 0.15487
22 | 0.98295 | -0.2997 | 0 | 0
23 | 0.9812 | -0.28567 | 0.30859 | 0.14946
24 | 0.98108 | -0.28417 | 0.19508 | 0.094481
25 | 0.98061 | -0.28014 | 0 | 0
26 | 0.98061 | -0.28009 | 0.15332 | 0.074255
27 | 0.99088 | -0.125 | 0.25614 | 0.12406
28 | 0.99097 | -0.12442 | 0 | 0
29 | 0.99112 | -0.12568 | 0 | 0
30 | 0.99114 | -0.12551 | 0.199 | 0.096381
31 | 0.99551 | -0.12066 | 0 | 0
32 | 0.99542 | -0.1199 | 0 | 0
33 | 0.99534 | -0.11913 | 0 | 0
34 | 0.99544 | -0.12005 | 0 | 0
35 | 0.99666 | -0.10727 | 0 | 0
36 | 0.99534 | -0.12519 | 0.19926 | 0.096506
37 | 0.99146 | -0.11595 | 0 | 0
38 | 0.9909 | -0.11146 | 0 | 0
39 | 0.99227 | -0.12237 | 0 | 0
40 | 0.99142 | -0.11615 | 0.21702 | 0.10511
41 | 0.99073 | -0.10988 | 0 | 0
42 | 0.99079 | -0.11068 | 0 | 0
43 | 0.9909 | -0.11141 | 0.19832 | 0.096051
44 | 0.99079 | -0.11064 | 0.14935 | 0.072333
45 | 0.99248 | -0.12402 | 0.31051 | 0.15039
46 | 0.99163 | -0.12194 | 0.18167 | 0.087986
47 | 0.99094 | -0.12705 | 0.14029 | 0.067947
48 | 0.99098 | -0.12669 | 0.16622 | 0.080504
49 | 0.9954 | -0.12006 | 0.18845 | 0.091272
50 | 0.99531 | -0.11934 | 0.39546 | 0.19153
51 | 0.99543 | -0.11996 | 0.18669 | 0.09042
52 | 0.99713 | -0.10495 | 0 | 0
53 | 0.9973 | -0.10412 | 0.39452 | 0.19108
54 | 0.99665 | -0.10716 | 0.3672 | 0.17784
55 | 0.9953 | -0.12489 | 0 | 0
56 | 0.9939 | -0.11332 | 0 | 0
57 | 0.99069 | -0.10957 | 0.30176 | 0.14615
58 | 0.9929 | -0.12075 | 0.25079 | 0.12146
59 | 0.99058 | -0.10855 | 0.40619 | 0.19673
60 | 0.99059 | -0.10865 | 0 | 0
61 | 0.99066 | -0.10926 | 0 | 0
62 | 0.99665 | -0.10714 | 0 | 0
63 | 0.99735 | -0.10383 | 0 | 0
64 | 0.99988 | -0.00058922 | 0 | 0
65 | 0.99723 | -0.10288 | 0 | 0
66 | 0.99722 | -0.10282 | 0.18572 | 0.089947
67 | 1 | 0 | -8.4876 | -3.8614
68 | 0.99093 | -0.12633 | 0.16403 | 0.079445
69 | 0.99094 | -0.12635 | 0 | 0
70 | 0.9909 | -0.12607 | 0 | 0
71 | 0.99095 | -0.1265 | 0 | 0
72 | 0.9909 | -0.12605 | 0.14174 | 0.068647
73 | 0.99175 | -0.12294 | 0 | 0
74 | 0.99195 | -0.12464 | 0 | 0
75 | 0.99091 | -0.12682 | 0 | 0
76 | 0.99084 | -0.12622 | 0 | 0
77 | 0.99082 | -0.12637 | 0.1933 | 0.093619
78 | 0.99203 | -0.12531 | 0.34488 | 0.16703
79 | 0.99214 | -0.12626 | 0 | 0
80 | 0.99662 | -0.10697 | 0 | 0
81 | 0.99662 | -0.10692 | 0.082073 | 0.03975
82 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.35502 | -0.17195 | 0.35504 | 0.17188 | 1.6272e-05 | -6.7558e-05 | 0.011613 | 0.011612 | 0.011613 | 0.98059 | -0.28066 | 0.98064 | -0.28036 | 5.5299
1 | -0.35504 | -0.17188 | 0.35506 | 0.16892 | 2.3129e-05 | -0.0029533 | 0.011612 | 0.011574 | 0.011612 | 0.98064 | -0.28036 | 0.9807 | -0.28092 | 5.278
2 | 0.35305 | 0.16368 | -0.35304 | -0.16468 | 7.6569e-06 | -0.0010004 | 0.011455 | 0.011467 | 0.011467 | 0.9807 | -0.28092 | 0.98068 | -0.28075 | 5.2124
3 | -0.79696 | -0.37478 | 0.79721 | 0.36847 | 0.00024869 | -0.006313 | 0.025923 | 0.025844 | 0.025923 | 0.9807 | -0.28092 | 0.98099 | -0.28341 | 11.7834
4 | 0.088846 | 0.042171 | -0.088846 | -0.04303 | 4.1993e-07 | -0.00085855 | 0.0028949 | 0.0029058 | 0.0029058 | 0.9807 | -0.28092 | 0.9807 | -0.28088 | 1.3208
5 | -2.6511 | -1.2187 | 2.6612 | 1.2284 | 0.010106 | 0.0096514 | 0.084799 | 0.084776 | 0.084799 | 0.99328 | -0.22902 | 0.99805 | -0.10616 | 24.2283
6 | 2.3307 | 1.0636 | -2.3118 | -1.054 | 0.018952 | 0.0096311 | 0.074457 | 0.074484 | 0.074484 | 0.99328 | -0.22902 | 0.98469 | -0.29494 | 35.4685
7 | -2.8157 | -1.3032 | 2.8159 | 1.3036 | 0.00017529 | 0.0003874 | 0.089743 | 0.089742 | 0.089743 | 0.99805 | -0.10616 | 0.99817 | -0.099623 | 13.9136
8 | 2.3118 | 1.054 | -2.3104 | -1.0578 | 0.0013714 | -0.0038745 | 0.074484 | 0.074536 | 0.074536 | 0.98469 | -0.29494 | 0.98414 | -0.29043 | 33.88
9 | 0.35304 | 0.16468 | -0.35303 | -0.16644 | 1.349e-05 | -0.0017571 | 0.011467 | 0.011489 | 0.011489 | 0.98068 | -0.28075 | 0.98065 | -0.28044 | 5.2224
10 | 0.12457 | 0.053626 | -0.12457 | -0.058805 | 4.8693e-06 | -0.0051796 | 0.003991 | 0.0040537 | 0.0040537 | 0.98099 | -0.28341 | 0.98095 | -0.28312 | 1.8426
11 | -0.92178 | -0.42209 | 0.92193 | 0.41931 | 0.00014591 | -0.0027819 | 0.029834 | 0.029799 | 0.029834 | 0.98099 | -0.28341 | 0.98113 | -0.28461 | 13.5608
12 | 0.12457 | 0.058805 | -0.12457 | -0.06033 | 1.4634e-06 | -0.0015249 | 0.0040537 | 0.0040731 | 0.0040731 | 0.98095 | -0.28312 | 0.98094 | -0.28302 | 1.8514
13 | -1.2257 | -0.56642 | 1.2258 | 0.565 | 0.00013326 | -0.001415 | 0.039727 | 0.039709 | 0.039727 | 0.98113 | -0.28461 | 0.98123 | -0.28545 | 18.0577
14 | 0.15332 | 0.06972 | -0.15332 | -0.073154 | 4.953e-06 | -0.0034343 | 0.0049582 | 0.0050009 | 0.0050009 | 0.98065 | -0.28044 | 0.98062 | -0.28018 | 2.2731
15 | 0.45028 | 0.20192 | -0.45026 | -0.20369 | 2.1709e-05 | -0.0017645 | 0.014518 | 0.014539 | 0.014539 | 0.98123 | -0.28545 | 0.98119 | -0.2851 | 6.6089
16 | 0.3086 | 0.1494 | -0.30859 | -0.14946 | 1.0294e-05 | -5.8817e-05 | 0.010087 | 0.010088 | 0.010088 | 0.98123 | -0.28545 | 0.9812 | -0.28567 | 4.8037
17 | -1.9847 | -0.91632 | 1.9884 | 0.90191 | 0.0037094 | -0.014417 | 0.064311 | 0.064122 | 0.064311 | 0.98123 | -0.28545 | 0.98295 | -0.2997 | 29.2324
18 | 0.15332 | 0.073154 | -0.15332 | -0.073623 | 6.8405e-07 | -0.00046964 | 0.0050009 | 0.0050068 | 0.0050068 | 0.98062 | -0.28018 | 0.98061 | -0.28014 | 2.2758
19 | 5.6488 | 2.5286 | -5.6444 | -2.5539 | 0.0044084 | -0.025322 | 0.17899 | 0.17932 | 0.17932 | 0.99817 | -0.099623 | 0.99735 | -0.10383 | 28.1063
20 | -8.4647 | -3.8323 | 8.4726 | 3.8531 | 0.0078967 | 0.020812 | 0.26872 | 0.26872 | 0.26872 | 0.99817 | -0.099623 | 0.99988 | -0.00058922 | 41.6627
21 | -0.17704 | -0.085745 | 0.17704 | 0.085649 | 1.8757e-07 | -9.6352e-05 | 0.0057881 | 0.0057869 | 0.0057881 | 0.98109 | -0.28426 | 0.98109 | -0.28427 | 2.631
22 | -0.17704 | -0.085649 | 0.17705 | 0.079714 | 1.1401e-05 | -0.0059346 | 0.0057869 | 0.0057129 | 0.0057869 | 0.98109 | -0.28427 | 0.98115 | -0.28479 | 2.6304
23 | -0.37215 | -0.16778 | 0.37216 | 0.16586 | 1.6073e-05 | -0.0019172 | 0.012011 | 0.011988 | 0.012011 | 0.98115 | -0.28479 | 0.98119 | -0.2851 | 5.4594
24 | 0.19509 | 0.088065 | -0.19508 | -0.092921 | 1.13e-05 | -0.0048554 | 0.0062978 | 0.006358 | 0.006358 | 0.98115 | -0.28479 | 0.98109 | -0.28433 | 2.89
25 | 0.19508 | 0.092921 | -0.19508 | -0.094481 | 3.6788e-06 | -0.0015607 | 0.006358 | 0.0063779 | 0.0063779 | 0.98109 | -0.28433 | 0.98108 | -0.28417 | 2.899
26 | 1.9906 | 0.90296 | -1.9884 | -0.90191 | 0.0022455 | 0.0010525 | 0.064117 | 0.064122 | 0.064122 | 0.98414 | -0.29043 | 0.98295 | -0.2997 | 30.5341
27 | 0.15332 | 0.073623 | -0.15332 | -0.074255 | 9.2268e-07 | -0.0006317 | 0.0050068 | 0.0050149 | 0.0050149 | 0.98061 | -0.28014 | 0.98061 | -0.28009 | 2.2795
28 | -0.25614 | -0.12406 | 0.25617 | 0.12386 | 2.2439e-05 | -0.00020076 | 0.0082914 | 0.0082887 | 0.0082914 | 0.99088 | -0.125 | 0.99097 | -0.12442 | 3.9483
29 | -0.25617 | -0.12386 | 0.25621 | 0.11315 | 4.1236e-05 | -0.010703 | 0.0082887 | 0.0081577 | 0.0082887 | 0.99097 | -0.12442 | 0.99112 | -0.12568 | 3.7676
30 | -0.25621 | -0.11315 | 0.25621 | 0.11311 | 4.7313e-06 | -4.3836e-05 | 0.0081577 | 0.0081571 | 0.0081577 | 0.99112 | -0.12568 | 0.99114 | -0.12551 | 3.8846
31 | -1.261 | -0.58246 | 1.2616 | 0.58259 | 0.00058017 | 0.00012994 | 0.040455 | 0.040453 | 0.040455 | 0.99114 | -0.12551 | 0.99163 | -0.12194 | 19.2645
32 | 0.33368 | 0.15167 | -0.33362 | -0.152 | 6.3127e-05 | -0.00032483 | 0.010676 | 0.01068 | 0.01068 | 0.99114 | -0.12551 | 0.99094 | -0.12705 | 5.0857
33 | 0.47209 | 0.22129 | -0.47201 | -0.22146 | 7.5101e-05 | -0.00016726 | 0.015185 | 0.015188 | 0.015188 | 0.99114 | -0.12551 | 0.99098 | -0.12669 | 7.2324
34 | 0.18848 | 0.08216 | -0.18846 | -0.091196 | 1.8462e-05 | -0.0090362 | 0.005962 | 0.0060716 | 0.0060716 | 0.99551 | -0.12066 | 0.99542 | -0.1199 | 2.7598
35 | 0.39555 | 0.18351 | -0.39548 | -0.19149 | 7.2735e-05 | -0.0079783 | 0.012644 | 0.012744 | 0.012744 | 0.99551 | -0.12066 | 0.99534 | -0.11913 | 5.7926
36 | 0.18671 | 0.082114 | -0.1867 | -0.089517 | 1.4839e-05 | -0.0074027 | 0.0059147 | 0.0060043 | 0.0060043 | 0.99551 | -0.12066 | 0.99544 | -0.12005 | 2.7292
37 | -4.6066 | -2.1128 | 4.6115 | 2.1005 | 0.0048299 | -0.01227 | 0.14696 | 0.14677 | 0.14696 | 0.99551 | -0.12066 | 0.99666 | -0.10727 | 40.5969
38 | 3.8359 | 1.765 | -3.8354 | -1.7644 | 0.00053715 | 0.00056579 | 0.12244 | 0.12244 | 0.12244 | 0.99551 | -0.12066 | 0.99534 | -0.12519 | 34.9835
39 | 0.18846 | 0.091196 | -0.18845 | -0.091272 | 4.3731e-06 | -7.6004e-05 | 0.0060716 | 0.0060726 | 0.0060726 | 0.99542 | -0.1199 | 0.9954 | -0.12006 | 2.8917
40 | 0.39548 | 0.19149 | -0.39546 | -0.19153 | 1.2634e-05 | -4.3723e-05 | 0.012744 | 0.012744 | 0.012744 | 0.99534 | -0.11913 | 0.99531 | -0.11934 | 6.0687
41 | 0.1867 | 0.089517 | -0.18669 | -0.09042 | 1.8427e-06 | -0.00090352 | 0.0060043 | 0.0060157 | 0.0060157 | 0.99544 | -0.12005 | 0.99543 | -0.11996 | 2.7344
42 | 0.44928 | 0.20978 | -0.44928 | -0.21032 | 6.3353e-06 | -0.00054354 | 0.014362 | 0.014368 | 0.014368 | 0.99666 | -0.10727 | 0.99665 | -0.10716 | 6.5311
43 | -5.0608 | -2.3103 | 5.063 | 2.2938 | 0.0022773 | -0.016466 | 0.16113 | 0.16092 | 0.16113 | 0.99666 | -0.10727 | 0.99713 | -0.10495 | 25.2558
44 | 3.6361 | 1.6679 | -3.636 | -1.6681 | 0.00014197 | -0.00014475 | 0.11602 | 0.11602 | 0.11602 | 0.99534 | -0.12519 | 0.9953 | -0.12489 | 52.7385
45 | 1.0565 | 0.47678 | -1.0558 | -0.48624 | 0.0006269 | -0.0094523 | 0.033748 | 0.033865 | 0.033865 | 0.99146 | -0.11595 | 0.9909 | -0.11146 | 15.393
46 | -1.2735 | -0.58181 | 1.2746 | 0.57039 | 0.0011056 | -0.011418 | 0.040766 | 0.040625 | 0.040766 | 0.99146 | -0.11595 | 0.99227 | -0.12237 | 18.53
47 | 0.21703 | 0.10502 | -0.21702 | -0.10511 | 6.6743e-06 | -8.5005e-05 | 0.00702 | 0.0070211 | 0.0070211 | 0.99146 | -0.11595 | 0.99142 | -0.11615 | 3.3434
48 | 0.70816 | 0.33248 | -0.70802 | -0.33701 | 0.00013564 | -0.0045333 | 0.022791 | 0.022848 | 0.022848 | 0.9909 | -0.11146 | 0.99073 | -0.10988 | 10.3855
49 | 0.14937 | 0.058192 | -0.14935 | -0.071874 | 1.7559e-05 | -0.013682 | 0.00467 | 0.0048291 | 0.0048291 | 0.9909 | -0.11146 | 0.99079 | -0.11068 | 2.1951
50 | 0.19832 | 0.095567 | -0.19832 | -0.096051 | 1.1357e-06 | -0.00048405 | 0.0064134 | 0.0064196 | 0.0064196 | 0.9909 | -0.11146 | 0.9909 | -0.11141 | 2.918
51 | -1.2746 | -0.57039 | 1.2749 | 0.56734 | 0.00029384 | -0.0030516 | 0.040625 | 0.040588 | 0.040625 | 0.99227 | -0.12237 | 0.99248 | -0.12402 | 18.466
52 | 0.70802 | 0.33701 | -0.708 | -0.3379 | 2.6767e-05 | -0.00089168 | 0.022848 | 0.022859 | 0.022859 | 0.99073 | -0.10988 | 0.99069 | -0.10957 | 10.3906
53 | 0.14935 | 0.071874 | -0.14935 | -0.072333 | 6.1078e-07 | -0.00045909 | 0.0048291 | 0.0048349 | 0.0048349 | 0.99079 | -0.11068 | 0.99079 | -0.11064 | 2.1977
54 | -1.5854 | -0.71772 | 1.586 | 0.71795 | 0.00062624 | 0.00023087 | 0.050619 | 0.050617 | 0.050619 | 0.99248 | -0.12402 | 0.9929 | -0.12075 | 24.1042
55 | -1.4432 | -0.67057 | 1.4434 | 0.66913 | 0.0001833 | -0.0014483 | 0.046328 | 0.046309 | 0.046328 | 0.99163 | -0.12194 | 0.99175 | -0.12294 | 21.0581
56 | 0.19333 | 0.084051 | -0.19332 | -0.087077 | 6.5406e-06 | -0.0030263 | 0.0061411 | 0.0061768 | 0.0061768 | 0.99094 | -0.12705 | 0.99091 | -0.12682 | 2.8076
57 | 0.30579 | 0.14096 | -0.30578 | -0.14232 | 7.5183e-06 | -0.0013679 | 0.0098086 | 0.0098254 | 0.0098254 | 0.99098 | -0.12669 | 0.99095 | -0.1265 | 4.4661
58 | -5.063 | -2.2938 | 5.0638 | 2.2879 | 0.00080758 | -0.0058544 | 0.16092 | 0.16084 | 0.16092 | 0.99713 | -0.10495 | 0.9973 | -0.10412 | 25.2224
59 | -5.4584 | -2.479 | 5.4587 | 2.4772 | 0.00030168 | -0.0018567 | 0.17353 | 0.1735 | 0.17353 | 0.9973 | -0.10412 | 0.99735 | -0.10383 | 27.1988
60 | 0.082076 | 0.032478 | -0.082076 | -0.033162 | 2.527e-07 | -0.00068476 | 0.0025566 | 0.002564 | 0.002564 | 0.99665 | -0.10716 | 0.99665 | -0.10714 | 1.1655
61 | 3.636 | 1.6681 | -3.6305 | -1.6736 | 0.0054442 | -0.0055348 | 0.11602 | 0.11611 | 0.11611 | 0.9953 | -0.12489 | 0.9939 | -0.11332 | 52.7779
62 | 3.6305 | 1.6736 | -3.6271 | -1.6716 | 0.0034507 | 0.0019922 | 0.11611 | 0.11611 | 0.11611 | 0.9939 | -0.11332 | 0.9929 | -0.12075 | 55.2921
63 | 0.40624 | 0.19175 | -0.40622 | -0.1933 | 1.5153e-05 | -0.0015456 | 0.01309 | 0.013109 | 0.013109 | 0.99069 | -0.10957 | 0.99066 | -0.10926 | 5.9586
64 | 1.7902 | 0.83218 | -1.7889 | -0.83162 | 0.0012939 | 0.00055124 | 0.057398 | 0.057401 | 0.057401 | 0.9929 | -0.12075 | 0.99214 | -0.12626 | 27.3338
65 | -0.40619 | -0.19673 | 0.40619 | 0.19624 | 4.783e-06 | -0.00048405 | 0.013152 | 0.013146 | 0.013152 | 0.99058 | -0.10855 | 0.99059 | -0.10865 | 5.9783
66 | -0.40619 | -0.19624 | 0.40622 | 0.1933 | 2.8983e-05 | -0.0029431 | 0.013146 | 0.013109 | 0.013146 | 0.99059 | -0.10865 | 0.99066 | -0.10926 | 5.9755
67 | 0.082076 | 0.033162 | -0.082073 | -0.038596 | 2.0594e-06 | -0.0054341 | 0.002564 | 0.002627 | 0.002627 | 0.99665 | -0.10714 | 0.99662 | -0.10697 | 1.1941
68 | 0.18574 | 0.07677 | -0.18572 | -0.08932 | 2.4484e-05 | -0.012551 | 0.0058172 | 0.0059656 | 0.0059656 | 0.99735 | -0.10383 | 0.99723 | -0.10288 | 2.7116
69 | -8.4726 | -3.8531 | 8.4736 | 3.8509 | 0.00096911 | -0.0021833 | 0.26872 | 0.26869 | 0.26872 | 0.99988 | -0.00058922 | 1 | 0 | 42.119
70 | 0.18572 | 0.08932 | -0.18572 | -0.089947 | 1.2561e-06 | -0.00062654 | 0.0059656 | 0.0059734 | 0.0059734 | 0.99723 | -0.10288 | 0.99722 | -0.10282 | 2.7152
71 | -0.16403 | -0.079445 | 0.16403 | 0.079157 | 4.615e-07 | -0.00028756 | 0.0053095 | 0.0053058 | 0.0053095 | 0.99093 | -0.12633 | 0.99094 | -0.12635 | 2.4134
72 | 0.14174 | 0.064163 | -0.14174 | -0.068395 | 5.0099e-06 | -0.0042327 | 0.0045326 | 0.0045848 | 0.0045848 | 0.99094 | -0.12635 | 0.9909 | -0.12607 | 2.084
73 | -0.30578 | -0.14332 | 0.30578 | 0.14232 | 5.4852e-06 | -0.000995 | 0.0098377 | 0.0098254 | 0.0098377 | 0.99094 | -0.12635 | 0.99095 | -0.1265 | 4.4717
74 | 0.14174 | 0.068395 | -0.14174 | -0.068647 | 3.0191e-07 | -0.00025195 | 0.0045848 | 0.004588 | 0.004588 | 0.9909 | -0.12607 | 0.9909 | -0.12605 | 2.0855
75 | -1.4434 | -0.66913 | 1.4437 | 0.66664 | 0.00031348 | -0.0024806 | 0.046309 | 0.046278 | 0.046309 | 0.99175 | -0.12294 | 0.99195 | -0.12464 | 21.0498
76 | -1.4437 | -0.66664 | 1.4439 | 0.66566 | 0.00012389 | -0.00098157 | 0.046278 | 0.046266 | 0.046278 | 0.99195 | -0.12464 | 0.99203 | -0.12531 | 21.0355
77 | 0.19332 | 0.087077 | -0.1933 | -0.09355 | 1.4252e-05 | -0.0064725 | 0.0061768 | 0.0062566 | 0.0062566 | 0.99091 | -0.12682 | 0.99084 | -0.12622 | 2.8439
78 | 0.1933 | 0.09355 | -0.1933 | -0.093619 | 4.3081e-06 | -6.9685e-05 | 0.0062566 | 0.0062575 | 0.0062575 | 0.99084 | -0.12622 | 0.99082 | -0.12637 | 2.9798
79 | -1.7887 | -0.8327 | 1.7889 | 0.83162 | 0.00021267 | -0.0010728 | 0.057415 | 0.057401 | 0.057415 | 0.99203 | -0.12531 | 0.99214 | -0.12626 | 26.0977
80 | 0.082073 | 0.038596 | -0.082073 | -0.03975 | 4.5055e-07 | -0.0011533 | 0.002627 | 0.0026414 | 0.0026414 | 0.99662 | -0.10697 | 0.99662 | -0.10692 | 1.2006

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.6836 | 3.9563

## res_load
| p_mw | q_mvar
0 | 0.35502 | 0.17195
1 | 0.32034 | 0.15515
2 | 0.15457 | 0.074863
3 | 0.088846 | 0.04303
4 | 0.30374 | 0.14711
5 | 0.12457 | 0.06033
6 | 0.19971 | 0.096722
7 | 0.17704 | 0.085745
8 | 0.078096 | 0.037824
9 | 0.31976 | 0.15487
10 | 0.30859 | 0.14946
11 | 0.19508 | 0.094481
12 | 0.15332 | 0.074255
13 | 0.25614 | 0.12406
14 | 0.199 | 0.096381
15 | 0.19926 | 0.096506
16 | 0.21702 | 0.10511
17 | 0.19832 | 0.096051
18 | 0.14935 | 0.072333
19 | 0.31051 | 0.15039
20 | 0.18167 | 0.087986
21 | 0.14029 | 0.067947
22 | 0.16622 | 0.080504
23 | 0.18845 | 0.091272
24 | 0.39546 | 0.19153
25 | 0.18669 | 0.09042
26 | 0.39452 | 0.19108
27 | 0.3672 | 0.17784
28 | 0.30176 | 0.14615
29 | 0.25079 | 0.12146
30 | 0.40619 | 0.19673
31 | 0.18572 | 0.089947
32 | 0.19595 | 0.094903
33 | 0.16403 | 0.079445
34 | 0.14174 | 0.068647
35 | 0.1933 | 0.093619
36 | 0.34488 | 0.16703
37 | 0.082073 | 0.03975

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1