## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_328_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_328_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_328_0_node_39 | 20 | n |  | TRUE
3 | bus_MV_328_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_328_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_328_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_328_0_node_70 | 20 | n |  | TRUE
7 | bus_MV_328_0_node_45 | 20 | n |  | TRUE
8 | bus_MV_328_0_node_69 | 20 | n |  | TRUE
9 | bus_MV_328_0_node_73 | 20 | n |  | TRUE
10 | bus_MV_328_0_node_37 | 20 | n |  | TRUE
11 | bus_MV_328_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_328_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_328_0_node_34 | 20 | n |  | TRUE
14 | bus_MV_328_0_node_35 | 20 | n |  | TRUE
15 | bus_MV_328_0_node_36 | 20 | n |  | TRUE
16 | bus_MV_328_0_node_38 | 20 | n |  | TRUE
17 | bus_MV_328_0_node_7 | 20 | n |  | TRUE
18 | bus_MV_328_0_node_8 | 20 | n |  | TRUE
19 | bus_MV_328_0_node_9 | 20 | n |  | TRUE
20 | bus_MV_328_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_328_0_node_10 | 20 | n |  | TRUE
22 | bus_MV_328_0_node_50 | 20 | n |  | TRUE
23 | bus_MV_328_0_node_51 | 20 | n |  | TRUE
24 | bus_MV_328_0_node_49 | 20 | n |  | TRUE
25 | bus_MV_328_0_node_52 | 20 | n |  | TRUE
26 | bus_MV_328_0_node_12 | 20 | n |  | TRUE
27 | bus_MV_328_0_node_14 | 20 | n |  | TRUE
28 | bus_MV_328_0_node_54 | 20 | n |  | TRUE
29 | bus_MV_328_0_node_55 | 20 | n |  | TRUE
30 | bus_MV_328_0_node_15 | 20 | n |  | TRUE
31 | bus_MV_328_0_node_16 | 20 | n |  | TRUE
32 | bus_MV_328_0_node_17 | 20 | n |  | TRUE
33 | bus_MV_328_0_node_18 | 20 | n |  | TRUE
34 | bus_MV_328_0_node_19 | 20 | n |  | TRUE
35 | bus_MV_328_0_node_57 | 20 | n |  | TRUE
36 | bus_MV_328_0_node_72 | 20 | n |  | TRUE
37 | bus_MV_328_0_node_77 | 20 | n |  | TRUE
38 | bus_MV_328_0_node_58 | 20 | n |  | TRUE
39 | bus_MV_328_0_node_75 | 20 | n |  | TRUE
40 | bus_MV_328_0_node_20 | 20 | n |  | TRUE
41 | bus_MV_328_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_328_0_node_23 | 20 | n |  | TRUE
43 | bus_MV_328_0_node_25 | 20 | n |  | TRUE
44 | bus_MV_328_0_node_26 | 20 | n |  | TRUE
45 | bus_MV_328_0_node_61 | 20 | n |  | TRUE
46 | bus_MV_328_0_node_79 | 20 | n |  | TRUE
47 | bus_MV_328_0_node_62 | 20 | n |  | TRUE
48 | bus_MV_328_0_node_64 | 20 | n |  | TRUE
49 | bus_MV_328_0_node_27 | 20 | n |  | TRUE
50 | bus_MV_328_0_node_76 | 20 | n |  | TRUE
51 | bus_MV_328_0_node_28 | 20 | n |  | TRUE
52 | bus_MV_328_0_node_63 | 20 | n |  | TRUE
53 | bus_MV_328_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_328_0_node_30 | 20 | n |  | TRUE
55 | bus_MV_328_0_node_31 | 20 | n |  | TRUE
56 | bus_MV_328_0_node_33 | 20 | n |  | TRUE
57 | bus_MV_328_0_node_53 | 20 | n |  | TRUE
58 | bus_MV_328_0_node_78 | 20 | n |  | TRUE
59 | bus_MV_328_0_node_32 | 20 | n |  | TRUE
60 | bus_MV_328_0_node_68 | 20 | n |  | TRUE
61 | bus_MV_328_0_node_74 | 20 | n |  | TRUE
62 | bus_MV_328_0_node_48 | 20 | n |  | TRUE
63 | bus_MV_328_0_node_41 | 20 | n |  | TRUE
64 | bus_MV_328_0_node_42 | 20 | n |  | TRUE
65 | bus_MV_328_0_node_43 | 20 | n |  | TRUE
66 | bus_MV_328_0_node_44 | 20 | n |  | TRUE
67 | bus_MV_328_0_node_65 | 20 | n |  | TRUE
68 | bus_MV_328_0_node_71 | 20 | n |  | TRUE
69 | bus_MV_328_0_node_66 | 20 | n |  | TRUE
70 | bus_MV_328_0_node_46 | 20 | n |  | TRUE
71 | bus_MV_328_0_node_47 | 20 | n |  | TRUE
72 | bus_MV_328_0_node_67 | 20 | n |  | TRUE
73 | bus_MV_328_0_node_56 | 20 | n |  | TRUE
74 | bus_MV_328_0_node_59 | 20 | n |  | TRUE
75 | bus_HV_328_0_node_64 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_328_0_load_0 | 0 | 0.21188 | 0.10262 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_328_0_load_39 | 2 | 0.091666 | 0.044396 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_328_0_load_4 | 3 | 0.30987 | 0.15008 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_328_0_load_2 | 4 | 0.21293 | 0.10313 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_328_0_load_3 | 5 | 0.12101 | 0.058608 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_328_0_load_69 | 8 | 0.070899 | 0.034338 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_328_0_load_73 | 9 | 0.23477 | 0.1137 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_328_0_load_34 | 13 | 0.37943 | 0.18377 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_328_0_load_7 | 17 | 0.19447 | 0.094185 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_328_0_load_10 | 21 | 0.31393 | 0.15204 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_328_0_load_50 | 22 | 0.069277 | 0.033552 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_328_0_load_51 | 23 | 0.21277 | 0.10305 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_328_0_load_49 | 24 | 0.1707 | 0.082672 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_328_0_load_12 | 26 | 0.268 | 0.1298 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_328_0_load_54 | 28 | 0.088068 | 0.042653 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_328_0_load_15 | 30 | 0.39957 | 0.19352 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_328_0_load_57 | 35 | 0.075407 | 0.036521 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_328_0_load_77 | 37 | 0.44833 | 0.21714 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_328_0_load_58 | 38 | 0.087524 | 0.04239 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_328_0_load_75 | 39 | 0.23375 | 0.11321 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_328_0_load_20 | 40 | 0.3982 | 0.19286 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_328_0_load_79 | 46 | 0.1939 | 0.093911 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_328_0_load_64 | 48 | 2.2113 | 1.071 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_328_0_load_76 | 50 | 0.15076 | 0.073017 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_328_0_load_28 | 51 | 0.28201 | 0.13658 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_328_0_load_63 | 52 | 2.3742 | 1.1499 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_328_0_load_53 | 57 | 0.3489 | 0.16898 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_328_0_load_78 | 58 | 0.34426 | 0.16673 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_328_0_load_68 | 60 | 0.16531 | 0.080061 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_328_0_load_74 | 61 | 0.21871 | 0.10593 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_328_0_load_41 | 63 | 0.2463 | 0.11929 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_328_0_load_65 | 67 | 0.55688 | 0.26971 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_328_0_load_71 | 68 | 0.078581 | 0.038058 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_328_0_load_46 | 70 | 0.2296 | 0.1112 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_328_0_load_67 | 72 | 0.1381 | 0.066887 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_328_0_load_59 | 74 | 0.073737 | 0.035712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_328_0_line_0 |  | 0 | 1 | 0.088144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_328_0_line_1 |  | 1 | 2 | 2.5023 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_328_0_line_2 |  | 2 | 3 | 1.932 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_328_0_line_3 |  | 3 | 11 | 0.049418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_328_0_line_4 |  | 4 | 5 | 0.32378 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_328_0_line_5 |  | 5 | 6 | 0.16879 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_328_0_line_6 |  | 6 | 7 | 0.072279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_328_0_line_7 |  | 6 | 8 | 0.099191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_328_0_line_8 |  | 7 | 68 | 0.051722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_328_0_line_9 |  | 7 | 65 | 0.049493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_328_0_line_10 |  | 9 | 10 | 0.051936 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_328_0_line_11 |  | 10 | 14 | 0.1798 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_328_0_line_12 |  | 11 | 12 | 0.3338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_328_0_line_13 |  | 12 | 13 | 0.11698 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_328_0_line_14 |  | 13 | 14 | 0.024779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_328_0_line_15 |  | 13 | 15 | 0.027022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_328_0_line_16 |  | 15 | 16 | 0.23685 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_328_0_line_17 |  | 16 | 50 | 0.008034 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
18 | MV_328_0_line_18 |  | 17 | 18 | 0.053786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_328_0_line_19 |  | 18 | 19 | 0.2458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_328_0_line_20 |  | 19 | 20 | 0.12944 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_328_0_line_21 |  | 19 | 21 | 0.057277 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_328_0_line_22 |  | 20 | 22 | 0.076862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_328_0_line_23 |  | 20 | 23 | 0.10934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_328_0_line_24 |  | 20 | 24 | 0.054047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_328_0_line_25 |  | 22 | 25 | 0.057045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_328_0_line_26 |  | 25 | 36 | 0.087282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_328_0_line_27 |  | 26 | 27 | 0.15171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_328_0_line_28 |  | 27 | 28 | 0.039891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_328_0_line_29 |  | 28 | 29 | 0.053993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_328_0_line_30 |  | 29 | 73 | 0.024439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_328_0_line_31 |  | 30 | 31 | 0.051297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_328_0_line_32 |  | 30 | 32 | 0.055226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_328_0_line_33 |  | 31 | 33 | 0.19882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_328_0_line_34 |  | 32 | 34 | 0.027518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_328_0_line_35 |  | 33 | 35 | 0.033804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_328_0_line_36 |  | 34 | 36 | 0.15749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_328_0_line_37 |  | 34 | 37 | 0.018498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_328_0_line_38 |  | 35 | 38 | 0.0076098 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_328_0_line_39 |  | 36 | 39 | 0.058669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_328_0_line_40 |  | 38 | 74 | 0.030368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_328_0_line_41 |  | 39 | 46 | 0.27548 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_328_0_line_42 |  | 40 | 41 | 0.025396 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
43 | MV_328_0_line_43 |  | 40 | 42 | 0.06653 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
44 | MV_328_0_line_44 |  | 41 | 43 | 0.11388 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
45 | MV_328_0_line_45 |  | 42 | 44 | 0.32809 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
46 | MV_328_0_line_46 |  | 43 | 48 | 0.086542 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
47 | MV_328_0_line_47 |  | 44 | 49 | 0.17401 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
48 | MV_328_0_line_48 |  | 44 | 50 | 0.11058 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
49 | MV_328_0_line_49 |  | 45 | 46 | 0.10595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_328_0_line_50 |  | 45 | 47 | 0.70745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_328_0_line_51 |  | 47 | 58 | 0.011394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_328_0_line_52 |  | 48 | 52 | 0.033616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_328_0_line_53 |  | 49 | 51 | 0.04381 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
54 | MV_328_0_line_54 |  | 51 | 53 | 0.032934 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
55 | MV_328_0_line_55 |  | 53 | 54 | 0.19098 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
56 | MV_328_0_line_56 |  | 54 | 55 | 0.28701 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
57 | MV_328_0_line_57 |  | 54 | 56 | 0.23709 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
58 | MV_328_0_line_58 |  | 54 | 57 | 0.17296 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
59 | MV_328_0_line_59 |  | 55 | 58 | 0.066864 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
60 | MV_328_0_line_60 |  | 56 | 61 | 0.012955 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_328_0_line_61 |  | 56 | 59 | 0.21639 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
62 | MV_328_0_line_62 |  | 59 | 60 | 0.055444 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
63 | MV_328_0_line_63 |  | 60 | 62 | 0.079912 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
64 | MV_328_0_line_64 |  | 62 | 69 | 0.024141 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
65 | MV_328_0_line_65 |  | 62 | 71 | 0.81256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_328_0_line_66 |  | 63 | 64 | 0.003361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_328_0_line_67 |  | 63 | 65 | 0.070669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_328_0_line_68 |  | 64 | 66 | 0.050957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_328_0_line_69 |  | 66 | 67 | 0.026565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_328_0_line_70 |  | 67 | 69 | 0.027673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_328_0_line_71 |  | 69 | 72 | 0.060191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_328_0_line_72 |  | 70 | 71 | 0.073017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_328_0_line_73 |  | 73 | 74 | 0.0055896 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_328_0_trafo_64 | 25 MVA 110/20 kV | 75 | 48 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2560735.7423 | 1208396.149
1 | 2560782.6765 | 1208470.8268
2 | 2563273.3413 | 1208711.341
3 | 2563753.144 | 1206839.8922
4 | 2564163.1251 | 1206902.2787
5 | 2564121.3361 | 1206581.2043
6 | 2564187.0002 | 1206425.7099
7 | 2564128.6722 | 1206382.8035
8 | 2564252.0148 | 1206357.5862
9 | 2563880.2103 | 1206607.0548
10 | 2563836.2697 | 1206579.1724
11 | 2563707.6657 | 1206820.3026
12 | 2563609.5307 | 1206599.7324
13 | 2563672.7158 | 1206501.2797
14 | 2563694.6952 | 1206512.841
15 | 2563663.6174 | 1206475.8319
16 | 2563503.1338 | 1206309.1526
17 | 2562519.2397 | 1205655.5506
18 | 2562566.9558 | 1205680.6313
19 | 2562789.1323 | 1205785.2757
20 | 2562845.0669 | 1205678.655
21 | 2562767.3316 | 1205838.2419
22 | 2562878.4008 | 1205609.4283
23 | 2562947.1385 | 1205717.8572
24 | 2562801.6433 | 1205647.9958
25 | 2562903.7169 | 1205558.3103
26 | 2562814.265 | 1205224.7576
27 | 2562669.0017 | 1205268.5023
28 | 2562662.1907 | 1205307.4353
29 | 2562648.3676 | 1205359.6276
30 | 2562739.6575 | 1205457.133
31 | 2562775.5937 | 1205434.9512
32 | 2562791.821 | 1205475.695
33 | 2562714.6485 | 1205358.6783
34 | 2562806.9723 | 1205495.2225
35 | 2562682.8662 | 1205370.1941
36 | 2562938.1047 | 1205499.9965
37 | 2562800.7607 | 1205512.649
38 | 2562677.5324 | 1205375.6218
39 | 2562991.2867 | 1205521.0666
40 | 2563355.0438 | 1205991.616
41 | 2563372.9058 | 1206009.7163
42 | 2563415.7509 | 1205990.7088
43 | 2563295.3886 | 1206080.4448
44 | 2563551.1844 | 1206204.1655
45 | 2563232.9399 | 1205693.4447
46 | 2563254.6141 | 1205601.9926
47 | 2563639.1178 | 1205916.1873
48 | 2563313.2478 | 1206159.8588
49 | 2563598.7763 | 1206124.596
50 | 2563510.9393 | 1206307.1592
51 | 2563637.2011 | 1206141.4263
52 | 2563318.7963 | 1206193.0139
53 | 2563653.5835 | 1206112.9769
54 | 2563764.8289 | 1206062.726
55 | 2563706.7207 | 1205948.4487
56 | 2563916.311 | 1206208.6662
57 | 2563650.4343 | 1205939.2779
58 | 2563649.9956 | 1205912.7968
59 | 2564000.4022 | 1206124.9654
60 | 2564044.3151 | 1206158.8131
61 | 2563926.8289 | 1206216.2289
62 | 2564107.6073 | 1206207.5982
63 | 2564031.2238 | 1206312.1293
64 | 2564028.5799 | 1206310.0441
65 | 2564088.7373 | 1206353.4165
66 | 2564060.0878 | 1206269.9311
67 | 2564076.5072 | 1206249.0478
68 | 2564158.8691 | 1206340.8119
69 | 2564093.6113 | 1206227.2937
70 | 2564492.4554 | 1206549.519
71 | 2564530.6652 | 1206487.2984
72 | 2564107.3031 | 1206268.3009
73 | 2562645.302 | 1205383.8049
74 | 2562649.5617 | 1205387.4241
75 | 2563313.2478 | 1206159.8588

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99507 | -0.057755 | 0.21188 | 0.10262
1 | 0.9951 | -0.057975 | 0 | 0
2 | 0.99612 | -0.050746 | 0.091666 | 0.044396
3 | 0.99725 | -0.042588 | 0.30987 | 0.15008
4 | 0.99594 | -0.065926 | 0.21293 | 0.10313
5 | 0.99607 | -0.065081 | 0.12101 | 0.058608
6 | 0.99618 | -0.064387 | 0 | 0
7 | 0.99622 | -0.064723 | 0 | 0
8 | 0.99617 | -0.06431 | 0.070899 | 0.034338
9 | 0.99761 | -0.043417 | 0.23477 | 0.1137
10 | 0.99762 | -0.043561 | 0 | 0
11 | 0.99729 | -0.042928 | 0 | 0
12 | 0.99755 | -0.045128 | 0 | 0
13 | 0.99768 | -0.044091 | 0.37943 | 0.18377
14 | 0.99768 | -0.04403 | 0 | 0
15 | 0.99773 | -0.04445 | 0 | 0
16 | 0.99785 | -0.042119 | 0 | 0
17 | 0.99129 | -0.043687 | 0.19447 | 0.094185
18 | 0.9913 | -0.043812 | 0 | 0
19 | 0.99136 | -0.044328 | 0 | 0
20 | 0.99144 | -0.045057 | 0 | 0
21 | 0.99133 | -0.044549 | 0.31393 | 0.15204
22 | 0.99153 | -0.045817 | 0.069277 | 0.033552
23 | 0.99141 | -0.044783 | 0.21277 | 0.10305
24 | 0.99143 | -0.044947 | 0.1707 | 0.082672
25 | 0.9916 | -0.046423 | 0 | 0
26 | 0.99094 | -0.041837 | 0.268 | 0.1298
27 | 0.99102 | -0.041336 | 0 | 0
28 | 0.99103 | -0.041464 | 0.088068 | 0.042653
29 | 0.99106 | -0.041693 | 0 | 0
30 | 0.99131 | -0.04379 | 0.39957 | 0.19352
31 | 0.99128 | -0.043452 | 0 | 0
32 | 0.99138 | -0.044418 | 0 | 0
33 | 0.99112 | -0.042105 | 0 | 0
34 | 0.99142 | -0.044729 | 0 | 0
35 | 0.9911 | -0.04187 | 0.075407 | 0.036521
36 | 0.99171 | -0.047341 | 0 | 0
37 | 0.99141 | -0.044628 | 0.44833 | 0.21714
38 | 0.99109 | -0.041921 | 0.087524 | 0.04239
39 | 0.99189 | -0.048917 | 0.23375 | 0.11321
40 | 0.99925 | -0.013875 | 0.3982 | 0.19286
41 | 0.99933 | -0.012315 | 0 | 0
42 | 0.99904 | -0.017759 | 0 | 0
43 | 0.99971 | -0.005319 | 0 | 0
44 | 0.99801 | -0.036894 | 0 | 0
45 | 0.99368 | -0.042496 | 0 | 0
46 | 0.9933 | -0.039118 | 0.1939 | 0.093911
47 | 0.99624 | -0.064549 | 0 | 0
48 | 1 | 0 | -10.0442 | -4.6701
49 | 0.99757 | -0.045102 | 0 | 0
50 | 0.99786 | -0.04204 | 0.15076 | 0.073017
51 | 0.99745 | -0.047166 | 0.28201 | 0.13658
52 | 0.9999 | 0.00095407 | 2.3742 | 1.1499
53 | 0.99737 | -0.048647 | 0 | 0
54 | 0.99691 | -0.057223 | 0 | 0
55 | 0.99642 | -0.062806 | 0 | 0
56 | 0.9967 | -0.061129 | 0 | 0
57 | 0.99688 | -0.057574 | 0.3489 | 0.16898
58 | 0.9963 | -0.064098 | 0.34426 | 0.16673
59 | 0.99653 | -0.064301 | 0 | 0
60 | 0.99648 | -0.065109 | 0.16531 | 0.080061
61 | 0.99669 | -0.061163 | 0.21871 | 0.10593
62 | 0.99643 | -0.066169 | 0 | 0
63 | 0.99629 | -0.065367 | 0.2463 | 0.11929
64 | 0.99629 | -0.065394 | 0 | 0
65 | 0.99625 | -0.064991 | 0 | 0
66 | 0.99634 | -0.065812 | 0 | 0
67 | 0.99637 | -0.066028 | 0.55688 | 0.26971
68 | 0.99621 | -0.064676 | 0.078581 | 0.038058
69 | 0.99641 | -0.066437 | 0 | 0
70 | 0.99617 | -0.064315 | 0.2296 | 0.1112
71 | 0.99619 | -0.064513 | 0 | 0
72 | 0.9964 | -0.06634 | 0.1381 | 0.066887
73 | 0.99107 | -0.041794 | 0 | 0
74 | 0.99107 | -0.041768 | 0.073737 | 0.035712
75 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.21188 | -0.10262 | 0.21189 | 0.10054 | 5.4678e-06 | -0.0020823 | 0.0068297 | 0.0068036 | 0.0068297 | 0.99507 | -0.057755 | 0.9951 | -0.057975 | 3.1044
1 | -0.21189 | -0.10054 | 0.21209 | 0.097704 | 0.00020526 | -0.0028324 | 0.0068036 | 0.0067672 | 0.0068036 | 0.9951 | -0.057975 | 0.99612 | -0.050746 | 3.2398
2 | -0.30376 | -0.1421 | 0.30408 | 0.14001 | 0.00032418 | -0.0020881 | 0.0097185 | 0.0096905 | 0.0097185 | 0.99612 | -0.050746 | 0.99725 | -0.042588 | 4.6278
3 | -0.61395 | -0.29009 | 0.61398 | 0.28892 | 2.5471e-05 | -0.0011659 | 0.019656 | 0.019642 | 0.019656 | 0.99725 | -0.042588 | 0.99729 | -0.042928 | 8.9346
4 | -0.21293 | -0.10313 | 0.21296 | 0.10276 | 2.711e-05 | -0.00036647 | 0.0068576 | 0.0068528 | 0.0068576 | 0.99594 | -0.065926 | 0.99607 | -0.065081 | 3.2655
5 | -0.33397 | -0.16137 | 0.334 | 0.16119 | 3.4742e-05 | -0.00017818 | 0.01075 | 0.010747 | 0.01075 | 0.99607 | -0.065081 | 0.99618 | -0.064387 | 5.1188
6 | -0.4049 | -0.19318 | 0.40492 | 0.19147 | 1.6281e-05 | -0.0017078 | 0.013 | 0.012979 | 0.013 | 0.99618 | -0.064387 | 0.99622 | -0.064723 | 5.9092
7 | 0.070899 | 0.031988 | -0.070899 | -0.034338 | 6.8125e-07 | -0.00235 | 0.002254 | 0.0022828 | 0.0022828 | 0.99618 | -0.064387 | 0.99617 | -0.06431 | 1.0376
8 | 0.078581 | 0.036833 | -0.078581 | -0.038058 | 4.3931e-07 | -0.0012255 | 0.0025148 | 0.0025301 | 0.0025301 | 0.99622 | -0.064723 | 0.99621 | -0.064676 | 1.15
9 | -0.4835 | -0.2283 | 0.48352 | 0.22714 | 1.5847e-05 | -0.0011681 | 0.015494 | 0.015479 | 0.015494 | 0.99622 | -0.064723 | 0.99625 | -0.064991 | 7.0426
10 | -0.23477 | -0.1137 | 0.23477 | 0.11247 | 3.9422e-06 | -0.001233 | 0.0075482 | 0.0075327 | 0.0075482 | 0.99761 | -0.043417 | 0.99762 | -0.043561 | 3.431
11 | -0.23477 | -0.11247 | 0.23478 | 0.1082 | 1.3524e-05 | -0.0042688 | 0.0075327 | 0.0074801 | 0.0075327 | 0.99762 | -0.043561 | 0.99768 | -0.04403 | 3.4239
12 | -0.61398 | -0.28892 | 0.61415 | 0.28105 | 0.00017107 | -0.0078779 | 0.019642 | 0.019545 | 0.019642 | 0.99729 | -0.042928 | 0.99755 | -0.045128 | 8.928
13 | -0.61415 | -0.28105 | 0.61423 | 0.28096 | 7.9616e-05 | -8.9122e-05 | 0.019545 | 0.019543 | 0.019545 | 0.99755 | -0.045128 | 0.99768 | -0.044091 | 9.3072
14 | 0.23478 | 0.10761 | -0.23478 | -0.1082 | 1.8491e-06 | -0.00058834 | 0.007473 | 0.0074801 | 0.0074801 | 0.99768 | -0.044091 | 0.99768 | -0.04403 | 3.4
15 | -1.2284 | -0.57233 | 1.2285 | 0.57171 | 5.5458e-05 | -0.00062577 | 0.039213 | 0.039205 | 0.039213 | 0.99768 | -0.044091 | 0.99773 | -0.04445 | 17.824
16 | -1.2285 | -0.57171 | 1.2286 | 0.56282 | 0.00013287 | -0.0088862 | 0.039205 | 0.039096 | 0.039205 | 0.99773 | -0.04445 | 0.99785 | -0.042119 | 9.3123
17 | -1.2286 | -0.56282 | 1.2286 | 0.56252 | 4.4939e-06 | -0.00030147 | 0.039096 | 0.039092 | 0.039096 | 0.99785 | -0.042119 | 0.99786 | -0.04204 | 9.2864
18 | -0.19447 | -0.094185 | 0.19447 | 0.092924 | 2.8358e-06 | -0.0012611 | 0.0062924 | 0.0062765 | 0.0062924 | 0.99129 | -0.043687 | 0.9913 | -0.043812 | 2.8602
19 | -0.19447 | -0.092924 | 0.19448 | 0.087161 | 1.278e-05 | -0.0057635 | 0.0062765 | 0.0062059 | 0.0062765 | 0.9913 | -0.043812 | 0.99136 | -0.044328 | 2.8529
20 | -0.50843 | -0.23914 | 0.50847 | 0.23612 | 4.615e-05 | -0.003024 | 0.016361 | 0.016323 | 0.016361 | 0.99136 | -0.044328 | 0.99144 | -0.045057 | 7.4368
21 | 0.31394 | 0.15198 | -0.31393 | -0.15204 | 1.0528e-05 | -6.0605e-05 | 0.010157 | 0.010158 | 0.010158 | 0.99136 | -0.044328 | 0.99133 | -0.044549 | 4.8369
22 | -0.89195 | -0.41801 | 0.89203 | 0.41623 | 8.4342e-05 | -0.001779 | 0.028681 | 0.028659 | 0.028681 | 0.99144 | -0.045057 | 0.99153 | -0.045817 | 13.0368
23 | 0.21278 | 0.10048 | -0.21277 | -0.10305 | 6.8843e-06 | -0.0025641 | 0.0068514 | 0.0068837 | 0.0068837 | 0.99144 | -0.045057 | 0.99141 | -0.044783 | 3.1289
24 | 0.1707 | 0.081404 | -0.1707 | -0.082672 | 2.194e-06 | -0.0012678 | 0.0055064 | 0.0055224 | 0.0055224 | 0.99144 | -0.045057 | 0.99143 | -0.044947 | 2.5102
25 | -0.96131 | -0.44978 | 0.96138 | 0.44846 | 7.2673e-05 | -0.0013176 | 0.0309 | 0.030883 | 0.0309 | 0.99153 | -0.045817 | 0.9916 | -0.046423 | 14.0453
26 | -0.96138 | -0.44846 | 0.96149 | 0.44645 | 0.00011104 | -0.0020164 | 0.030883 | 0.030858 | 0.030883 | 0.9916 | -0.046423 | 0.99171 | -0.047341 | 14.0378
27 | -0.268 | -0.1298 | 0.26802 | 0.12963 | 2.0334e-05 | -0.00016512 | 0.0086747 | 0.0086724 | 0.0086747 | 0.99094 | -0.041837 | 0.99102 | -0.041336 | 4.1308
28 | -0.26802 | -0.12963 | 0.26802 | 0.1287 | 3.9999e-06 | -0.00093424 | 0.0086724 | 0.0086606 | 0.0086724 | 0.99102 | -0.041336 | 0.99103 | -0.041464 | 3.942
29 | -0.35609 | -0.17135 | 0.3561 | 0.17009 | 9.5375e-06 | -0.0012633 | 0.011511 | 0.011495 | 0.011511 | 0.99103 | -0.041464 | 0.99106 | -0.041693 | 5.2322
30 | -0.3561 | -0.17009 | 0.35611 | 0.16952 | 4.3083e-06 | -0.00057185 | 0.011495 | 0.011488 | 0.011495 | 0.99106 | -0.041693 | 0.99107 | -0.041794 | 5.225
31 | 0.59292 | 0.2768 | -0.5929 | -0.278 | 2.4885e-05 | -0.0011962 | 0.019055 | 0.01907 | 0.01907 | 0.99131 | -0.04379 | 0.99128 | -0.043452 | 8.6681
32 | -0.99249 | -0.47032 | 0.99257 | 0.46904 | 7.5376e-05 | -0.0012735 | 0.031983 | 0.031966 | 0.031983 | 0.99131 | -0.04379 | 0.99138 | -0.044418 | 14.5376
33 | 0.5929 | 0.278 | -0.5928 | -0.28263 | 9.6817e-05 | -0.0046351 | 0.01907 | 0.019128 | 0.019128 | 0.99128 | -0.043452 | 0.99112 | -0.042105 | 8.6945
34 | -0.99257 | -0.46904 | 0.9926 | 0.46841 | 3.753e-05 | -0.00063464 | 0.031966 | 0.031958 | 0.031966 | 0.99138 | -0.044418 | 0.99142 | -0.044729 | 14.5302
35 | 0.5928 | 0.28263 | -0.59279 | -0.28342 | 1.652e-05 | -0.00078793 | 0.019128 | 0.019138 | 0.019138 | 0.99112 | -0.042105 | 0.9911 | -0.04187 | 8.699
36 | -1.4409 | -0.68511 | 1.4414 | 0.68155 | 0.00045333 | -0.0035626 | 0.046457 | 0.046411 | 0.046457 | 0.99142 | -0.044729 | 0.99171 | -0.047341 | 21.117
37 | 0.44834 | 0.21671 | -0.44833 | -0.21714 | 5.1937e-06 | -0.00043257 | 0.014499 | 0.014505 | 0.014505 | 0.99142 | -0.044729 | 0.99141 | -0.044628 | 6.5932
38 | 0.51738 | 0.2469 | -0.51738 | -0.2469 | 3.7802e-06 | -6.5557e-06 | 0.016698 | 0.016698 | 0.016698 | 0.9911 | -0.04187 | 0.99109 | -0.041921 | 7.9513
39 | -2.4029 | -1.128 | 2.4034 | 1.1268 | 0.00046752 | -0.0012392 | 0.077269 | 0.077252 | 0.077269 | 0.99171 | -0.047341 | 0.99189 | -0.048917 | 35.1222
40 | 0.42985 | 0.20451 | -0.42984 | -0.20522 | 7.7987e-06 | -0.00070988 | 0.013865 | 0.013874 | 0.013874 | 0.99109 | -0.041921 | 0.99107 | -0.041768 | 6.3064
41 | -2.6371 | -1.24 | 2.6406 | 1.2419 | 0.0035302 | 0.0018872 | 0.08481 | 0.084806 | 0.08481 | 0.99189 | -0.048917 | 0.9933 | -0.039118 | 40.3858
42 | -7.6509 | -3.5146 | 7.6514 | 3.5142 | 0.00054988 | -0.00046399 | 0.24323 | 0.24322 | 0.24323 | 0.99925 | -0.013875 | 0.99933 | -0.012315 | 57.7751
43 | 7.2527 | 3.3218 | -7.2514 | -3.3231 | 0.0012934 | -0.0013499 | 0.23045 | 0.23048 | 0.23048 | 0.99925 | -0.013875 | 0.99904 | -0.017759 | 54.747
44 | -7.6514 | -3.5142 | 7.6539 | 3.5121 | 0.0024651 | -0.0020832 | 0.24322 | 0.24317 | 0.24322 | 0.99933 | -0.012315 | 0.99971 | -0.005319 | 57.7724
45 | 7.2514 | 3.3231 | -7.245 | -3.3298 | 0.0063832 | -0.0066366 | 0.23048 | 0.23064 | 0.23064 | 0.99904 | -0.017759 | 0.99801 | -0.036894 | 54.7828
46 | -7.6539 | -3.5121 | 7.6558 | 3.5105 | 0.0018726 | -0.001586 | 0.24317 | 0.24313 | 0.24317 | 0.99971 | -0.005319 | 1 | 0 | 57.7599
47 | 5.8654 | 2.6942 | -5.8632 | -2.6987 | 0.002221 | -0.0045793 | 0.1867 | 0.18678 | 0.18678 | 0.99801 | -0.036894 | 0.99757 | -0.045102 | 44.3658
48 | 1.3795 | 0.63561 | -1.3794 | -0.63554 | 0.00015215 | 7.7754e-05 | 0.043935 | 0.043937 | 0.043937 | 0.99801 | -0.036894 | 0.99786 | -0.04204 | 10.7163
49 | 2.8357 | 1.3336 | -2.8345 | -1.3358 | 0.0011727 | -0.0021491 | 0.091036 | 0.091067 | 0.091067 | 0.99368 | -0.042496 | 0.9933 | -0.039118 | 41.3941
50 | -2.8357 | -1.3336 | 2.8435 | 1.3192 | 0.0078095 | -0.014405 | 0.091036 | 0.090831 | 0.091036 | 0.99368 | -0.042496 | 0.99624 | -0.064549 | 41.3801
51 | -2.8435 | -1.3192 | 2.8437 | 1.3193 | 0.00016748 | 9.1406e-05 | 0.090831 | 0.090831 | 0.090831 | 0.99624 | -0.064549 | 0.9963 | -0.064098 | 43.2528
52 | 2.3744 | 1.1491 | -2.3742 | -1.1499 | 0.00026026 | -0.00072534 | 0.076149 | 0.076159 | 0.076159 | 1 | 0 | 0.9999 | 0.00095407 | 34.6177
53 | 5.8632 | 2.6987 | -5.8627 | -2.6999 | 0.00055945 | -0.0011517 | 0.18678 | 0.1868 | 0.1868 | 0.99757 | -0.045102 | 0.99745 | -0.047166 | 44.3706
54 | 5.5807 | 2.5633 | -5.5803 | -2.5642 | 0.0003808 | -0.00090205 | 0.17773 | 0.17775 | 0.17775 | 0.99745 | -0.047166 | 0.99737 | -0.048647 | 42.2206
55 | 5.5803 | 2.5642 | -5.5781 | -2.5694 | 0.0022095 | -0.0052257 | 0.17775 | 0.17784 | 0.17784 | 0.99737 | -0.048647 | 0.99691 | -0.057223 | 42.2415
56 | 3.1897 | 1.4753 | -3.1883 | -1.484 | 0.0014373 | -0.0087361 | 0.10177 | 0.10188 | 0.10188 | 0.99691 | -0.057223 | 0.99642 | -0.062806 | 28.1449
57 | 2.0394 | 0.93107 | -2.0391 | -0.93974 | 0.00036632 | -0.0086631 | 0.064919 | 0.065028 | 0.065028 | 0.99691 | -0.057223 | 0.9967 | -0.061129 | 15.4461
58 | 0.34891 | 0.16309 | -0.3489 | -0.16898 | 1.0459e-05 | -0.0058892 | 0.011153 | 0.011226 | 0.011226 | 0.99691 | -0.057223 | 0.99688 | -0.057574 | 3.1011
59 | 3.1883 | 1.484 | -3.1879 | -1.486 | 0.00033533 | -0.0020335 | 0.10188 | 0.10191 | 0.10191 | 0.99642 | -0.062806 | 0.9963 | -0.064098 | 28.1526
60 | 0.21871 | 0.10591 | -0.21871 | -0.10593 | 1.1434e-06 | -1.4647e-05 | 0.0070383 | 0.0070385 | 0.0070385 | 0.9967 | -0.061129 | 0.99669 | -0.061163 | 3.3517
61 | 1.8204 | 0.83382 | -1.8201 | -0.84179 | 0.00026679 | -0.0079655 | 0.057991 | 0.05809 | 0.05809 | 0.9967 | -0.061129 | 0.99653 | -0.064301 | 13.7982
62 | 1.8201 | 0.84179 | -1.82 | -0.84383 | 6.8507e-05 | -0.0020404 | 0.05809 | 0.058116 | 0.058116 | 0.99653 | -0.064301 | 0.99648 | -0.065109 | 13.8043
63 | 1.6547 | 0.76377 | -1.6546 | -0.76672 | 8.1582e-05 | -0.0029563 | 0.052796 | 0.052833 | 0.052833 | 0.99648 | -0.065109 | 0.99643 | -0.066169 | 12.5494
64 | 1.425 | 0.67649 | -1.425 | -0.67739 | 1.8457e-05 | -0.00089869 | 0.045699 | 0.04571 | 0.04571 | 0.99643 | -0.066169 | 0.99641 | -0.066437 | 10.8575
65 | 0.22966 | 0.090232 | -0.22961 | -0.10947 | 5.7103e-05 | -0.019241 | 0.0071487 | 0.0073711 | 0.0073711 | 0.99643 | -0.066169 | 0.99619 | -0.064513 | 3.3505
66 | -0.72984 | -0.34476 | 0.72984 | 0.34468 | 2.4542e-06 | -7.8926e-05 | 0.023388 | 0.023387 | 0.023388 | 0.99629 | -0.065367 | 0.99629 | -0.065394 | 10.6308
67 | 0.48354 | 0.22547 | -0.48352 | -0.22714 | 2.2575e-05 | -0.001668 | 0.015459 | 0.015479 | 0.015479 | 0.99629 | -0.065367 | 0.99625 | -0.064991 | 7.0361
68 | -0.72984 | -0.34468 | 0.72988 | 0.34348 | 3.7183e-05 | -0.0011967 | 0.023387 | 0.023372 | 0.023387 | 0.99629 | -0.065394 | 0.99634 | -0.065812 | 10.6303
69 | -0.72988 | -0.34348 | 0.7299 | 0.34286 | 1.9366e-05 | -0.00062391 | 0.023372 | 0.023364 | 0.023372 | 0.99634 | -0.065812 | 0.99637 | -0.066028 | 10.6235
70 | -1.2868 | -0.61257 | 1.2868 | 0.61193 | 6.2973e-05 | -0.00063728 | 0.041291 | 0.041282 | 0.041291 | 0.99637 | -0.066028 | 0.99641 | -0.066437 | 18.7684
71 | 0.13811 | 0.065461 | -0.1381 | -0.066887 | 1.5818e-06 | -0.0014264 | 0.0044279 | 0.0044457 | 0.0044457 | 0.99641 | -0.066437 | 0.9964 | -0.06634 | 2.0208
72 | -0.2296 | -0.1112 | 0.22961 | 0.10947 | 5.3118e-06 | -0.0017285 | 0.0073928 | 0.0073711 | 0.0073928 | 0.99617 | -0.064315 | 0.99619 | -0.064513 | 3.3604
73 | -0.35611 | -0.16952 | 0.35611 | 0.16951 | 1.3143e-06 | -5.7311e-06 | 0.011488 | 0.011488 | 0.011488 | 0.99107 | -0.041794 | 0.99107 | -0.041768 | 5.4704

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.2555 | 5.7411

## res_load
| p_mw | q_mvar
0 | 0.21188 | 0.10262
1 | 0.091666 | 0.044396
2 | 0.30987 | 0.15008
3 | 0.21293 | 0.10313
4 | 0.12101 | 0.058608
5 | 0.070899 | 0.034338
6 | 0.23477 | 0.1137
7 | 0.37943 | 0.18377
8 | 0.19447 | 0.094185
9 | 0.31393 | 0.15204
10 | 0.069277 | 0.033552
11 | 0.21277 | 0.10305
12 | 0.1707 | 0.082672
13 | 0.268 | 0.1298
14 | 0.088068 | 0.042653
15 | 0.39957 | 0.19352
16 | 0.075407 | 0.036521
17 | 0.44833 | 0.21714
18 | 0.087524 | 0.04239
19 | 0.23375 | 0.11321
20 | 0.3982 | 0.19286
21 | 0.1939 | 0.093911
22 | 2.2113 | 1.071
23 | 0.15076 | 0.073017
24 | 0.28201 | 0.13658
25 | 2.3742 | 1.1499
26 | 0.3489 | 0.16898
27 | 0.34426 | 0.16673
28 | 0.16531 | 0.080061
29 | 0.21871 | 0.10593
30 | 0.2463 | 0.11929
31 | 0.55688 | 0.26971
32 | 0.078581 | 0.038058
33 | 0.2296 | 0.1112
34 | 0.1381 | 0.066887
35 | 0.073737 | 0.035712

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1