## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_329_1_node_111 | 20 | n |  | TRUE
1 | bus_MV_329_1_node_113 | 20 | n |  | TRUE
2 | bus_MV_329_1_node_112 | 20 | n |  | TRUE
3 | bus_MV_329_1_node_114 | 20 | n |  | TRUE
4 | bus_MV_329_1_node_122 | 20 | n |  | TRUE
5 | bus_MV_329_1_node_115 | 20 | n |  | TRUE
6 | bus_MV_329_1_node_215 | 20 | n |  | TRUE
7 | bus_MV_329_1_node_116 | 20 | n |  | TRUE
8 | bus_MV_329_1_node_124 | 20 | n |  | TRUE
9 | bus_MV_329_1_node_134 | 20 | n |  | TRUE
10 | bus_MV_329_1_node_142 | 20 | n |  | TRUE
11 | bus_MV_329_1_node_117 | 20 | n |  | TRUE
12 | bus_MV_329_1_node_143 | 20 | n |  | TRUE
13 | bus_MV_329_1_node_242 | 20 | n |  | TRUE
14 | bus_MV_329_1_node_118 | 20 | n |  | TRUE
15 | bus_MV_329_1_node_119 | 20 | n |  | TRUE
16 | bus_MV_329_1_node_145 | 20 | n |  | TRUE
17 | bus_MV_329_1_node_121 | 20 | n |  | TRUE
18 | bus_MV_329_1_node_139 | 20 | n |  | TRUE
19 | bus_MV_329_1_node_137 | 20 | n |  | TRUE
20 | bus_MV_329_1_node_123 | 20 | n |  | TRUE
21 | bus_MV_329_1_node_125 | 20 | n |  | TRUE
22 | bus_MV_329_1_node_126 | 20 | n |  | TRUE
23 | bus_MV_329_1_node_127 | 20 | n |  | TRUE
24 | bus_MV_329_1_node_128 | 20 | n |  | TRUE
25 | bus_MV_329_1_node_136 | 20 | n |  | TRUE
26 | bus_MV_329_1_node_129 | 20 | n |  | TRUE
27 | bus_MV_329_1_node_130 | 20 | n |  | TRUE
28 | bus_MV_329_1_node_131 | 20 | n |  | TRUE
29 | bus_MV_329_1_node_132 | 20 | n |  | TRUE
30 | bus_MV_329_1_node_133 | 20 | n |  | TRUE
31 | bus_MV_329_1_node_135 | 20 | n |  | TRUE
32 | bus_MV_329_1_node_141 | 20 | n |  | TRUE
33 | bus_MV_329_1_node_138 | 20 | n |  | TRUE
34 | bus_MV_329_1_node_140 | 20 | n |  | TRUE
35 | bus_MV_329_1_node_214 | 20 | n |  | TRUE
36 | bus_MV_329_1_node_144 | 20 | n |  | TRUE
37 | bus_MV_329_1_node_146 | 20 | n |  | TRUE
38 | bus_MV_329_1_node_235 | 20 | n |  | TRUE
39 | bus_MV_329_1_node_236 | 20 | n |  | TRUE
40 | bus_MV_329_1_node_230 | 20 | n |  | TRUE
41 | bus_MV_329_1_node_147 | 20 | n |  | TRUE
42 | bus_MV_329_1_node_149 | 20 | n |  | TRUE
43 | bus_MV_329_1_node_150 | 20 | n |  | TRUE
44 | bus_MV_329_1_node_152 | 20 | n |  | TRUE
45 | bus_MV_329_1_node_154 | 20 | n |  | TRUE
46 | bus_MV_329_1_node_180 | 20 | n |  | TRUE
47 | bus_MV_329_1_node_153 | 20 | n |  | TRUE
48 | bus_MV_329_1_node_155 | 20 | n |  | TRUE
49 | bus_MV_329_1_node_170 | 20 | n |  | TRUE
50 | bus_MV_329_1_node_156 | 20 | n |  | TRUE
51 | bus_MV_329_1_node_226 | 20 | n |  | TRUE
52 | bus_MV_329_1_node_234 | 20 | n |  | TRUE
53 | bus_MV_329_1_node_157 | 20 | n |  | TRUE
54 | bus_MV_329_1_node_158 | 20 | n |  | TRUE
55 | bus_MV_329_1_node_159 | 20 | n |  | TRUE
56 | bus_MV_329_1_node_160 | 20 | n |  | TRUE
57 | bus_MV_329_1_node_161 | 20 | n |  | TRUE
58 | bus_MV_329_1_node_221 | 20 | n |  | TRUE
59 | bus_MV_329_1_node_246 | 20 | n |  | TRUE
60 | bus_MV_329_1_node_224 | 20 | n |  | TRUE
61 | bus_MV_329_1_node_233 | 20 | n |  | TRUE
62 | bus_MV_329_1_node_162 | 20 | n |  | TRUE
63 | bus_MV_329_1_node_163 | 20 | n |  | TRUE
64 | bus_MV_329_1_node_245 | 20 | n |  | TRUE
65 | bus_MV_329_1_node_164 | 20 | n |  | TRUE
66 | bus_MV_329_1_node_179 | 20 | n |  | TRUE
67 | bus_MV_329_1_node_176 | 20 | n |  | TRUE
68 | bus_MV_329_1_node_166 | 20 | n |  | TRUE
69 | bus_MV_329_1_node_244 | 20 | n |  | TRUE
70 | bus_MV_329_1_node_167 | 20 | n |  | TRUE
71 | bus_MV_329_1_node_168 | 20 | n |  | TRUE
72 | bus_MV_329_1_node_169 | 20 | n |  | TRUE
73 | bus_MV_329_1_node_171 | 20 | n |  | TRUE
74 | bus_MV_329_1_node_243 | 20 | n |  | TRUE
75 | bus_MV_329_1_node_172 | 20 | n |  | TRUE
76 | bus_MV_329_1_node_173 | 20 | n |  | TRUE
77 | bus_MV_329_1_node_174 | 20 | n |  | TRUE
78 | bus_MV_329_1_node_183 | 20 | n |  | TRUE
79 | bus_MV_329_1_node_175 | 20 | n |  | TRUE
80 | bus_MV_329_1_node_177 | 20 | n |  | TRUE
81 | bus_MV_329_1_node_185 | 20 | n |  | TRUE
82 | bus_MV_329_1_node_178 | 20 | n |  | TRUE
83 | bus_MV_329_1_node_181 | 20 | n |  | TRUE
84 | bus_MV_329_1_node_182 | 20 | n |  | TRUE
85 | bus_MV_329_1_node_184 | 20 | n |  | TRUE
86 | bus_MV_329_1_node_186 | 20 | n |  | TRUE
87 | bus_MV_329_1_node_187 | 20 | n |  | TRUE
88 | bus_MV_329_1_node_240 | 20 | n |  | TRUE
89 | bus_MV_329_1_node_216 | 20 | n |  | TRUE
90 | bus_MV_329_1_node_217 | 20 | n |  | TRUE
91 | bus_MV_329_1_node_218 | 20 | n |  | TRUE
92 | bus_MV_329_1_node_219 | 20 | n |  | TRUE
93 | bus_MV_329_1_node_220 | 20 | n |  | TRUE
94 | bus_MV_329_1_node_222 | 20 | n |  | TRUE
95 | bus_MV_329_1_node_225 | 20 | n |  | TRUE
96 | bus_MV_329_1_node_229 | 20 | n |  | TRUE
97 | bus_MV_329_1_node_231 | 20 | n |  | TRUE
98 | bus_MV_329_1_node_239 | 20 | n |  | TRUE
99 | bus_MV_329_1_node_247 | 20 | n |  | TRUE
100 | bus_HV_329_1_node_231 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_329_1_load_111 | 0 | 0.09688 | 0.046921 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_329_1_load_122 | 4 | 0.1146 | 0.055502 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_329_1_load_124 | 8 | 0.086536 | 0.041911 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_329_1_load_142 | 10 | 0.15784 | 0.076446 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_329_1_load_143 | 12 | 0.15644 | 0.075768 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_329_1_load_242 | 13 | 0.13664 | 0.066179 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_329_1_load_118 | 14 | 0.16393 | 0.079393 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_329_1_load_137 | 19 | 0.1581 | 0.076572 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_329_1_load_123 | 20 | 0.47242 | 0.2288 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_329_1_load_126 | 22 | 0.11768 | 0.056997 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_329_1_load_129 | 26 | 0.12822 | 0.0621 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_329_1_load_132 | 29 | 0.15857 | 0.0768 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_329_1_load_133 | 30 | 0.14382 | 0.069655 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_329_1_load_141 | 32 | 0.14338 | 0.06944 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_329_1_load_140 | 34 | 0.10683 | 0.051738 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_329_1_load_214 | 35 | 0.17763 | 0.086029 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_329_1_load_144 | 36 | 0.15055 | 0.072917 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_329_1_load_236 | 39 | 0.090835 | 0.043993 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_329_1_load_147 | 41 | 0.11384 | 0.055137 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_329_1_load_149 | 42 | 0.074553 | 0.036108 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_329_1_load_152 | 44 | 0.11118 | 0.053849 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_329_1_load_180 | 46 | 0.15565 | 0.075385 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_329_1_load_153 | 47 | 0.09871 | 0.047807 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_329_1_load_170 | 49 | 0.10174 | 0.049273 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_329_1_load_156 | 50 | 0.11163 | 0.054064 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_329_1_load_226 | 51 | 0.10441 | 0.050567 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_329_1_load_234 | 52 | 0.083692 | 0.040534 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_329_1_load_160 | 56 | 0.159 | 0.077009 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_329_1_load_161 | 57 | 0.28524 | 0.13815 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_329_1_load_221 | 58 | 0.094888 | 0.045957 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_329_1_load_246 | 59 | 0.13101 | 0.063452 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_329_1_load_224 | 60 | 0.099636 | 0.048256 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_329_1_load_233 | 61 | 0.17359 | 0.084073 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_329_1_load_162 | 62 | 0.115 | 0.055696 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_329_1_load_245 | 64 | 0.15477 | 0.074958 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_329_1_load_179 | 66 | 0.071284 | 0.034524 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_329_1_load_244 | 69 | 0.076437 | 0.03702 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_329_1_load_167 | 70 | 0.050476 | 0.024446 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_329_1_load_243 | 74 | 0.11455 | 0.055481 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_329_1_load_172 | 75 | 0.12682 | 0.061424 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_329_1_load_183 | 78 | 0.14644 | 0.070924 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_329_1_load_175 | 79 | 0.12177 | 0.058975 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_329_1_load_177 | 80 | 0.16367 | 0.079268 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_329_1_load_185 | 81 | 0.13038 | 0.063148 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_329_1_load_184 | 85 | 0.12592 | 0.060987 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_329_1_load_240 | 88 | 0.13502 | 0.065396 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_329_1_load_216 | 89 | 0.28612 | 0.13857 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_329_1_load_217 | 90 | 0.16049 | 0.077731 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_329_1_load_218 | 91 | 0.10826 | 0.052434 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_329_1_load_229 | 96 | 0.30649 | 0.14844 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_329_1_load_239 | 98 | 0.096023 | 0.046506 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_329_1_load_247 | 99 | 0.072747 | 0.035233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 97 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_329_1_line_0 |  | 0 | 1 | 0.023765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_329_1_line_1 |  | 1 | 5 | 0.054466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_329_1_line_2 |  | 1 | 6 | 0.14821 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_329_1_line_3 |  | 2 | 3 | 0.045757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_329_1_line_4 |  | 2 | 4 | 0.10935 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_329_1_line_5 |  | 3 | 7 | 0.17174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_329_1_line_6 |  | 3 | 8 | 0.068315 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_329_1_line_7 |  | 4 | 20 | 0.0036704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_329_1_line_8 |  | 5 | 9 | 0.28156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_329_1_line_9 |  | 5 | 10 | 0.040911 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_329_1_line_10 |  | 6 | 89 | 0.044777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_329_1_line_11 |  | 6 | 21 | 0.11042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_329_1_line_12 |  | 7 | 11 | 0.054979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_329_1_line_13 |  | 7 | 12 | 0.082189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_329_1_line_14 |  | 9 | 29 | 0.049802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_329_1_line_15 |  | 11 | 13 | 0.058558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_329_1_line_16 |  | 14 | 15 | 0.064632 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
17 | MV_329_1_line_17 |  | 14 | 16 | 2.713 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
18 | MV_329_1_line_18 |  | 15 | 17 | 0.20618 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_329_1_line_19 |  | 16 | 37 | 1.3838 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
20 | MV_329_1_line_20 |  | 16 | 36 | 0.14293 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_329_1_line_21 |  | 17 | 18 | 0.060862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_329_1_line_22 |  | 17 | 19 | 0.073817 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
23 | MV_329_1_line_23 |  | 18 | 35 | 0.096435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_329_1_line_24 |  | 19 | 33 | 0.11042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_329_1_line_25 |  | 20 | 21 | 0.042044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_329_1_line_26 |  | 22 | 23 | 0.042474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_329_1_line_27 |  | 23 | 24 | 0.36402 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_329_1_line_28 |  | 24 | 25 | 0.1888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_329_1_line_29 |  | 24 | 26 | 0.07152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_329_1_line_30 |  | 25 | 30 | 0.023152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_329_1_line_31 |  | 25 | 31 | 0.17984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_329_1_line_32 |  | 27 | 28 | 0.021341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_329_1_line_33 |  | 27 | 29 | 0.067256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_329_1_line_34 |  | 28 | 30 | 0.047737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_329_1_line_35 |  | 31 | 32 | 0.1391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_329_1_line_36 |  | 32 | 34 | 0.078404 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_329_1_line_37 |  | 33 | 34 | 0.032926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_329_1_line_38 |  | 37 | 38 | 0.10157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_329_1_line_39 |  | 37 | 39 | 0.036432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_329_1_line_40 |  | 37 | 40 | 0.12156 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
41 | MV_329_1_line_41 |  | 38 | 99 | 0.064675 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_329_1_line_42 |  | 38 | 52 | 0.023196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_329_1_line_43 |  | 40 | 96 | 0.01124 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
44 | MV_329_1_line_44 |  | 41 | 42 | 0.024494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_329_1_line_45 |  | 41 | 43 | 0.048163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_329_1_line_46 |  | 42 | 44 | 0.036864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_329_1_line_47 |  | 43 | 45 | 0.05743 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_329_1_line_48 |  | 44 | 46 | 0.049195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_329_1_line_49 |  | 45 | 48 | 0.37079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_329_1_line_50 |  | 45 | 47 | 0.030796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_329_1_line_51 |  | 46 | 83 | 0.051918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_329_1_line_52 |  | 48 | 49 | 0.16505 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_329_1_line_53 |  | 49 | 72 | 0.029126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_329_1_line_54 |  | 50 | 51 | 0.073136 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_329_1_line_55 |  | 50 | 52 | 0.094377 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_329_1_line_56 |  | 51 | 95 | 0.055871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_329_1_line_57 |  | 52 | 98 | 0.096293 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_329_1_line_58 |  | 53 | 54 | 0.019439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_329_1_line_59 |  | 53 | 55 | 0.08637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_329_1_line_60 |  | 54 | 56 | 0.046826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_329_1_line_61 |  | 54 | 57 | 0.046813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_329_1_line_62 |  | 55 | 58 | 0.030809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_329_1_line_63 |  | 55 | 59 | 0.25708 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_329_1_line_64 |  | 56 | 60 | 0.093427 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_329_1_line_65 |  | 57 | 61 | 0.018645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_329_1_line_66 |  | 58 | 92 | 0.043866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_329_1_line_67 |  | 60 | 95 | 0.0036512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_329_1_line_68 |  | 62 | 63 | 0.034934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_329_1_line_69 |  | 63 | 64 | 0.33554 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_329_1_line_70 |  | 64 | 65 | 0.15948 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_329_1_line_71 |  | 64 | 68 | 0.49152 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_329_1_line_72 |  | 64 | 94 | 0.032963 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_329_1_line_73 |  | 65 | 66 | 0.037212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_329_1_line_74 |  | 65 | 67 | 0.034144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_329_1_line_75 |  | 67 | 82 | 0.082577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_329_1_line_76 |  | 68 | 69 | 0.020614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_329_1_line_77 |  | 70 | 71 | 0.13097 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_329_1_line_78 |  | 71 | 72 | 1.4875 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_329_1_line_79 |  | 72 | 73 | 0.4585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_329_1_line_80 |  | 73 | 74 | 0.12188 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_329_1_line_81 |  | 75 | 76 | 0.074687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_329_1_line_82 |  | 76 | 77 | 0.11299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_329_1_line_83 |  | 77 | 78 | 0.028811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_329_1_line_84 |  | 78 | 84 | 0.051155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_329_1_line_85 |  | 79 | 80 | 0.016027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_329_1_line_86 |  | 79 | 81 | 0.045978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_329_1_line_87 |  | 80 | 83 | 0.11929 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_329_1_line_88 |  | 81 | 82 | 0.014657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_329_1_line_89 |  | 81 | 85 | 0.038243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_329_1_line_90 |  | 83 | 84 | 0.36471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_329_1_line_91 |  | 85 | 86 | 0.064143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_329_1_line_92 |  | 86 | 87 | 0.017935 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_329_1_line_93 |  | 87 | 88 | 0.023855 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_329_1_line_94 |  | 90 | 91 | 0.00013203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_329_1_line_95 |  | 90 | 92 | 0.0086245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_329_1_line_96 |  | 91 | 93 | 0.055968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_329_1_line_97 |  | 93 | 94 | 0.10676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_329_1_line_98 |  | 96 | 97 | 0.070472 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_329_1_trafo_231 | 25 MVA 110/20 kV | 100 | 97 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2567119.1918 | 1228763.4199
1 | 2567103.4932 | 1228745.5405
2 | 2567165.9411 | 1228812.1015
3 | 2567184.6353 | 1228852.5003
4 | 2567221.9925 | 1228718.2122
5 | 2567053.5303 | 1228741.7823
6 | 2567165.9642 | 1228611.1349
7 | 2567283.2988 | 1228945.9675
8 | 2567252.8609 | 1228849.01
9 | 2566867.8546 | 1228656.6206
10 | 2567045.6545 | 1228781.9282
11 | 2567253.6396 | 1228977.606
12 | 2567348.299 | 1228896.268
13 | 2567215.9934 | 1229022.4746
14 | 2567114.7956 | 1229326.909
15 | 2567117.787 | 1229262.5866
16 | 2565250.6324 | 1231298.0806
17 | 2567035.6467 | 1229148.3509
18 | 2566991.8493 | 1229190.0644
19 | 2566973.4788 | 1229108.5504
20 | 2567224.276 | 1228715.3386
21 | 2567250.4327 | 1228682.4222
22 | 2566396.7635 | 1228508.7257
23 | 2566422.0579 | 1228542.8921
24 | 2566628.6493 | 1228771.1313
25 | 2566749.5315 | 1228809.8203
26 | 2566668.2478 | 1228711.5169
27 | 2566802.3178 | 1228753.6571
28 | 2566790.9944 | 1228771.7648
29 | 2566838.9888 | 1228697.2177
30 | 2566772.0194 | 1228815.5866
31 | 2566655.2275 | 1228959.8521
32 | 2566773.2661 | 1229033.9013
33 | 2566879.524 | 1229050.1056
34 | 2566851.6588 | 1229032.5646
35 | 2567057.7461 | 1229249.4197
36 | 2565303.6478 | 1231430.8184
37 | 2564220.6309 | 1230591.128
38 | 2564157.6515 | 1230528.0696
39 | 2564197.583 | 1230619.3436
40 | 2564290.7496 | 1230491.8332
41 | 2563479.2198 | 1230467.3164
42 | 2563462.6092 | 1230485.3172
43 | 2563449.1172 | 1230429.9233
44 | 2563437.0651 | 1230511.8813
45 | 2563471.9768 | 1230377.2389
46 | 2563402.7384 | 1230547.2148
47 | 2563497.5023 | 1230394.5591
48 | 2563303.4711 | 1230134.4301
49 | 2563233.0796 | 1229985.1411
50 | 2564042.7631 | 1230535.6699
51 | 2564051.2759 | 1230463.0312
52 | 2564135.9312 | 1230520.6128
53 | 2563916.2234 | 1230505.4756
54 | 2563912.9408 | 1230486.3171
55 | 2563904.8145 | 1230589.6189
56 | 2563904.072 | 1230440.3762
57 | 2563867.3472 | 1230475.7013
58 | 2563874.1545 | 1230586.595
59 | 2563959.4503 | 1230840.8299
60 | 2563997.4585 | 1230437.6119
61 | 2563849.1882 | 1230471.4732
62 | 2563658.5923 | 1231028.7153
63 | 2563642.6641 | 1230997.6049
64 | 2563706.6789 | 1230668.2322
65 | 2563584.3856 | 1230770.5894
66 | 2563552.8364 | 1230790.3222
67 | 2563561.0265 | 1230745.6287
68 | 2563747.8548 | 1231158.0262
69 | 2563743.1687 | 1231178.1006
70 | 2563171.6294 | 1228831.0044
71 | 2563165.6163 | 1228961.8328
72 | 2563244.9056 | 1229958.5849
73 | 2562939.9989 | 1230094.9773
74 | 2562890.6747 | 1230206.432
75 | 2563167.6951 | 1230283.7192
76 | 2563193.5269 | 1230353.813
77 | 2563289.386 | 1230367.3048
78 | 2563309.5624 | 1230387.926
79 | 2563519.3162 | 1230688.6946
80 | 2563505.7742 | 1230680.0615
81 | 2563558.8278 | 1230665.1816
82 | 2563567.2097 | 1230674.6804
83 | 2563445.1111 | 1230577.3497
84 | 2563277.4795 | 1230426.0035
85 | 2563539.1475 | 1230633.8277
86 | 2563565.159 | 1230575.1873
87 | 2563572.0251 | 1230558.6127
88 | 2563578.5567 | 1230535.6696
89 | 2567136.2297 | 1228577.7135
90 | 2563821.9217 | 1230581.4012
91 | 2563821.7904 | 1230581.3876
92 | 2563830.5004 | 1230582.2895
93 | 2563766.1196 | 1230575.6229
94 | 2563717.6466 | 1230637.4462
95 | 2564000.8224 | 1230439.0317
96 | 2564301.4751 | 1230488.4714
97 | 2564368.7207 | 1230467.3936
98 | 2564095.0853 | 1230433.4122
99 | 2564183.051 | 1230468.5907
100 | 2564368.7207 | 1230467.3936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98436 | -0.28393 | 0.09688 | 0.046921
1 | 0.98436 | -0.28396 | 0 | 0
2 | 0.98373 | -0.28535 | 0 | 0
3 | 0.98371 | -0.28516 | 0 | 0
4 | 0.98381 | -0.28474 | 0.1146 | 0.055502
5 | 0.98446 | -0.28481 | 0 | 0
6 | 0.984 | -0.28646 | 0 | 0
7 | 0.98364 | -0.28461 | 0 | 0
8 | 0.98369 | -0.28524 | 0.086536 | 0.041911
9 | 0.98501 | -0.28968 | 0 | 0
10 | 0.98445 | -0.28489 | 0.15784 | 0.076446
11 | 0.98363 | -0.28453 | 0 | 0
12 | 0.98362 | -0.28446 | 0.15644 | 0.075768
13 | 0.98362 | -0.28443 | 0.13664 | 0.066179
14 | 0.98766 | -0.29164 | 0.16393 | 0.079393
15 | 0.98756 | -0.29272 | 0 | 0
16 | 0.99669 | -0.05921 | 0 | 0
17 | 0.98727 | -0.29616 | 0 | 0
18 | 0.98725 | -0.29603 | 0 | 0
19 | 0.98705 | -0.30175 | 0.1581 | 0.076572
20 | 0.98381 | -0.28476 | 0.47242 | 0.2288
21 | 0.98386 | -0.28523 | 0 | 0
22 | 0.98533 | -0.29271 | 0.11768 | 0.056997
23 | 0.98534 | -0.29277 | 0 | 0
24 | 0.98539 | -0.29317 | 0 | 0
25 | 0.98545 | -0.29358 | 0 | 0
26 | 0.98538 | -0.29306 | 0.12822 | 0.0621
27 | 0.98525 | -0.29181 | 0 | 0
28 | 0.98529 | -0.29221 | 0 | 0
29 | 0.9851 | -0.29053 | 0.15857 | 0.0768
30 | 0.9854 | -0.29311 | 0.14382 | 0.069655
31 | 0.98592 | -0.2976 | 0 | 0
32 | 0.98629 | -0.30067 | 0.14338 | 0.06944
33 | 0.98672 | -0.299 | 0 | 0
34 | 0.98663 | -0.29817 | 0.10683 | 0.051738
35 | 0.98723 | -0.29583 | 0.17763 | 0.086029
36 | 0.99665 | -0.059473 | 0.15055 | 0.072917
37 | 0.99891 | -0.033434 | 0 | 0
38 | 0.99841 | -0.029368 | 0 | 0
39 | 0.99891 | -0.033395 | 0.090835 | 0.043993
40 | 0.99974 | -0.0047741 | 0 | 0
41 | 0.99357 | -0.034548 | 0.11384 | 0.055137
42 | 0.99359 | -0.034599 | 0.074553 | 0.036108
43 | 0.99355 | -0.034513 | 0 | 0
44 | 0.99361 | -0.034707 | 0.11118 | 0.053849
45 | 0.99351 | -0.035049 | 0 | 0
46 | 0.99365 | -0.034914 | 0.15565 | 0.075385
47 | 0.99351 | -0.035013 | 0.09871 | 0.047807
48 | 0.99339 | -0.035081 | 0 | 0
49 | 0.99331 | -0.036288 | 0.10174 | 0.049273
50 | 0.99764 | -0.033418 | 0.11163 | 0.054064
51 | 0.99715 | -0.037168 | 0.10441 | 0.050567
52 | 0.9983 | -0.028456 | 0.083692 | 0.040534
53 | 0.99605 | -0.037667 | 0 | 0
54 | 0.99612 | -0.038177 | 0 | 0
55 | 0.99576 | -0.035392 | 0 | 0
56 | 0.9963 | -0.039658 | 0.159 | 0.077009
57 | 0.99609 | -0.037921 | 0.28524 | 0.13815
58 | 0.99566 | -0.034626 | 0.094888 | 0.045957
59 | 0.99569 | -0.035806 | 0.13101 | 0.063452
60 | 0.99689 | -0.035106 | 0.099636 | 0.048256
61 | 0.99609 | -0.037882 | 0.17359 | 0.084073
62 | 0.99487 | -0.029765 | 0.115 | 0.055696
63 | 0.99488 | -0.029812 | 0 | 0
64 | 0.99495 | -0.029312 | 0.15477 | 0.074958
65 | 0.99439 | -0.034054 | 0 | 0
66 | 0.99439 | -0.034023 | 0.071284 | 0.034524
67 | 0.99431 | -0.033504 | 0 | 0
68 | 0.99488 | -0.029803 | 0 | 0
69 | 0.99488 | -0.029785 | 0.076437 | 0.03702
70 | 0.99321 | -0.037187 | 0.050476 | 0.024446
71 | 0.99322 | -0.037105 | 0 | 0
72 | 0.99331 | -0.036317 | 0 | 0
73 | 0.99324 | -0.035844 | 0 | 0
74 | 0.99321 | -0.036016 | 0.11455 | 0.055481
75 | 0.99353 | -0.03382 | 0.12682 | 0.061424
76 | 0.99354 | -0.033931 | 0 | 0
77 | 0.99356 | -0.034082 | 0 | 0
78 | 0.99356 | -0.034117 | 0.14644 | 0.070924
79 | 0.99398 | -0.033008 | 0.12177 | 0.058975
80 | 0.99395 | -0.032843 | 0.16367 | 0.079268
81 | 0.9941 | -0.031927 | 0.13038 | 0.063148
82 | 0.99413 | -0.032166 | 0 | 0
83 | 0.99371 | -0.035226 | 0 | 0
84 | 0.99358 | -0.034268 | 0 | 0
85 | 0.99408 | -0.031812 | 0.12592 | 0.060987
86 | 0.99407 | -0.031712 | 0 | 0
87 | 0.99407 | -0.031683 | 0 | 0
88 | 0.99406 | -0.031723 | 0.13502 | 0.065396
89 | 0.98398 | -0.28631 | 0.28612 | 0.13857
90 | 0.99549 | -0.033377 | 0.16049 | 0.077731
91 | 0.99549 | -0.033374 | 0.10826 | 0.052434
92 | 0.99552 | -0.033582 | 0 | 0
93 | 0.99534 | -0.032219 | 0 | 0
94 | 0.99504 | -0.03 | 0 | 0
95 | 0.99691 | -0.035233 | 0 | 0
96 | 0.99978 | -0.00414 | 0.30649 | 0.14844
97 | 1 | 0 | -7.2912 | -3.3289
98 | 0.99828 | -0.028569 | 0.096023 | 0.046506
99 | 0.9984 | -0.029425 | 0.072747 | 0.035233
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.09688 | -0.046921 | 0.09688 | 0.046371 | 3.1546e-07 | -0.00054972 | 0.0031568 | 0.0031498 | 0.0031568 | 0.98436 | -0.28393 | 0.98436 | -0.28396 | 1.4349
1 | -1.3503 | -0.63891 | 1.3505 | 0.63769 | 0.0001395 | -0.0012188 | 0.043809 | 0.043793 | 0.043809 | 0.98436 | -0.28396 | 0.98446 | -0.28481 | 19.9132
2 | 1.2535 | 0.59253 | -1.253 | -0.59243 | 0.00043658 | 0.00010208 | 0.040659 | 0.040661 | 0.040661 | 0.98436 | -0.28396 | 0.984 | -0.28646 | 19.3626
3 | 0.37966 | 0.17424 | -0.37965 | -0.1753 | 9.1889e-06 | -0.0010545 | 0.012258 | 0.012271 | 0.012271 | 0.98373 | -0.28535 | 0.98371 | -0.28516 | 5.5779
4 | -0.37966 | -0.17424 | 0.37969 | 0.17414 | 2.9272e-05 | -0.000108 | 0.012258 | 0.012257 | 0.012258 | 0.98373 | -0.28535 | 0.98381 | -0.28474 | 5.8373
5 | 0.29311 | 0.13347 | -0.29309 | -0.13743 | 2.0586e-05 | -0.0039616 | 0.0094513 | 0.0095001 | 0.0095001 | 0.98371 | -0.28516 | 0.98364 | -0.28461 | 4.3182
6 | 0.086537 | 0.041833 | -0.086536 | -0.041911 | 9.6874e-07 | -7.8311e-05 | 0.0028207 | 0.0028217 | 0.0028217 | 0.98371 | -0.28516 | 0.98369 | -0.28524 | 1.3437
7 | -0.49428 | -0.22964 | 0.49429 | 0.22955 | 1.2532e-06 | -8.4449e-05 | 0.015992 | 0.015991 | 0.015992 | 0.98381 | -0.28474 | 0.98381 | -0.28476 | 7.2693
8 | -1.5083 | -0.71409 | 1.5092 | 0.70783 | 0.0008986 | -0.0062522 | 0.048935 | 0.048854 | 0.048935 | 0.98446 | -0.28481 | 0.98501 | -0.28968 | 22.2433
9 | 0.15784 | 0.0764 | -0.15784 | -0.076446 | 1.9276e-06 | -4.6126e-05 | 0.0051421 | 0.0051427 | 0.0051427 | 0.98446 | -0.28481 | 0.98445 | -0.28489 | 2.4489
10 | 0.28612 | 0.13754 | -0.28612 | -0.13857 | 5.1924e-06 | -0.0010336 | 0.0093134 | 0.0093266 | 0.0093266 | 0.984 | -0.28646 | 0.98398 | -0.28631 | 4.2394
11 | 0.9669 | 0.45489 | -0.96676 | -0.4574 | 0.00014501 | -0.0025093 | 0.031348 | 0.03138 | 0.03138 | 0.984 | -0.28646 | 0.98386 | -0.28523 | 14.2638
12 | 0.13665 | 0.063557 | -0.13664 | -0.064827 | 1.4408e-06 | -0.0012696 | 0.0044228 | 0.0044386 | 0.0044386 | 0.98364 | -0.28461 | 0.98363 | -0.28453 | 2.0176
13 | 0.15644 | 0.07387 | -0.15644 | -0.075768 | 2.842e-06 | -0.0018978 | 0.0050774 | 0.0051014 | 0.0051014 | 0.98364 | -0.28461 | 0.98362 | -0.28446 | 2.3188
14 | -1.5092 | -0.70783 | 1.5094 | 0.70673 | 0.00015863 | -0.0011067 | 0.048854 | 0.048839 | 0.048854 | 0.98501 | -0.28968 | 0.9851 | -0.29053 | 22.2063
15 | 0.13664 | 0.064827 | -0.13664 | -0.066179 | 1.5461e-06 | -0.0013523 | 0.0044386 | 0.0044558 | 0.0044558 | 0.98363 | -0.28453 | 0.98362 | -0.28443 | 2.0254
16 | 2.6493 | 1.216 | -2.6491 | -1.218 | 0.00022668 | -0.0019979 | 0.085201 | 0.085227 | 0.085227 | 0.98766 | -0.29164 | 0.98756 | -0.29272 | 23.5435
17 | -2.8132 | -1.2954 | 2.8336 | 1.3153 | 0.0204 | 0.019977 | 0.090524 | 0.090483 | 0.090524 | 0.98766 | -0.29164 | 0.99669 | -0.05921 | 25.8639
18 | 2.6491 | 1.218 | -2.6484 | -1.2243 | 0.00072406 | -0.0063701 | 0.085227 | 0.085312 | 0.085312 | 0.98756 | -0.29272 | 0.98727 | -0.29616 | 23.5668
19 | -2.9842 | -1.3881 | 2.9902 | 1.3452 | 0.0060373 | -0.042878 | 0.095325 | 0.094756 | 0.095325 | 0.99669 | -0.05921 | 0.99891 | -0.033434 | 26.333
20 | 0.15056 | 0.072751 | -0.15055 | -0.072917 | 5.9761e-06 | -0.00016576 | 0.0048432 | 0.0048453 | 0.0048453 | 0.99669 | -0.05921 | 0.99665 | -0.059473 | 2.3073
21 | 0.17763 | 0.08237 | -0.17763 | -0.083786 | 2.6714e-06 | -0.0014156 | 0.0057252 | 0.0057428 | 0.0057428 | 0.98727 | -0.29616 | 0.98725 | -0.29603 | 2.6104
22 | 2.4707 | 1.142 | -2.4703 | -1.1416 | 0.00042923 | 0.00040055 | 0.079587 | 0.079588 | 0.079588 | 0.98727 | -0.29616 | 0.98705 | -0.30175 | 22.7394
23 | 0.17763 | 0.083786 | -0.17763 | -0.086029 | 4.2666e-06 | -0.0022429 | 0.0057428 | 0.0057711 | 0.0057711 | 0.98725 | -0.29603 | 0.98723 | -0.29583 | 2.6232
24 | 2.3122 | 1.065 | -2.3114 | -1.0673 | 0.00081745 | -0.0023253 | 0.074451 | 0.074483 | 0.074483 | 0.98705 | -0.30175 | 0.98672 | -0.299 | 33.8557
25 | -0.9667 | -0.45836 | 0.96676 | 0.4574 | 5.5292e-05 | -0.00095525 | 0.031392 | 0.03138 | 0.031392 | 0.98381 | -0.28476 | 0.98386 | -0.28523 | 14.2693
26 | -0.11768 | -0.056997 | 0.11768 | 0.056012 | 8.2944e-07 | -0.00098434 | 0.0038309 | 0.0038184 | 0.0038309 | 0.98533 | -0.29271 | 0.98534 | -0.29277 | 1.7413
27 | -0.11768 | -0.056012 | 0.11769 | 0.047576 | 6.8959e-06 | -0.0084368 | 0.0038184 | 0.0037189 | 0.0038184 | 0.98534 | -0.29277 | 0.98539 | -0.29317 | 1.7356
28 | -0.24591 | -0.10802 | 0.24593 | 0.10365 | 1.5504e-05 | -0.0043727 | 0.0078685 | 0.0078179 | 0.0078685 | 0.98539 | -0.29317 | 0.98545 | -0.29358 | 3.5766
29 | 0.12822 | 0.060443 | -0.12822 | -0.0621 | 1.6549e-06 | -0.0016576 | 0.0041528 | 0.0041737 | 0.0041737 | 0.98539 | -0.29317 | 0.98538 | -0.29306 | 1.8971
30 | 1.8124 | 0.84968 | -1.8123 | -0.85018 | 0.00010628 | -0.00050525 | 0.058637 | 0.058644 | 0.058644 | 0.98545 | -0.29358 | 0.9854 | -0.29311 | 26.6563
31 | -2.0583 | -0.95332 | 2.0594 | 0.94946 | 0.0010593 | -0.0038575 | 0.06645 | 0.066398 | 0.06645 | 0.98545 | -0.29358 | 0.98592 | -0.2976 | 30.2044
32 | -1.6682 | -0.78205 | 1.6683 | 0.78158 | 8.3015e-05 | -0.00047001 | 0.053983 | 0.053977 | 0.053983 | 0.98525 | -0.29181 | 0.98529 | -0.29221 | 24.5376
33 | 1.6682 | 0.78205 | -1.668 | -0.78353 | 0.00026175 | -0.0014809 | 0.053983 | 0.054002 | 0.054002 | 0.98525 | -0.29181 | 0.9851 | -0.29053 | 24.5465
34 | -1.6683 | -0.78158 | 1.6685 | 0.78053 | 0.00018563 | -0.0010515 | 0.053977 | 0.053963 | 0.053977 | 0.98529 | -0.29221 | 0.9854 | -0.29311 | 24.5348
35 | -2.0594 | -0.94946 | 2.0602 | 0.94648 | 0.00081824 | -0.0029869 | 0.066398 | 0.066359 | 0.066398 | 0.98592 | -0.2976 | 0.98629 | -0.30067 | 30.1811
36 | -2.2036 | -1.0159 | 2.2043 | 1.0163 | 0.00070459 | 0.00035025 | 0.071021 | 0.07102 | 0.071021 | 0.98629 | -0.30067 | 0.98663 | -0.29817 | 33.8194
37 | 2.3114 | 1.0673 | -2.3111 | -1.068 | 0.00024389 | -0.000693 | 0.074483 | 0.074492 | 0.074492 | 0.98672 | -0.299 | 0.98663 | -0.29817 | 33.86
38 | 3.8839 | 1.7773 | -3.8818 | -1.7791 | 0.0020664 | -0.0018056 | 0.12343 | 0.12346 | 0.12346 | 0.99891 | -0.033434 | 0.99841 | -0.029368 | 56.1196
39 | 0.090835 | 0.043126 | -0.090835 | -0.043993 | 4.1223e-07 | -0.00086784 | 0.0029059 | 0.0029167 | 0.0029167 | 0.99891 | -0.033434 | 0.99891 | -0.033395 | 1.3258
40 | -6.9649 | -3.1656 | 6.9692 | 3.1716 | 0.0042355 | 0.005975 | 0.22109 | 0.22109 | 0.22109 | 0.99891 | -0.033434 | 0.99974 | -0.0047741 | 53.9256
41 | 0.072748 | 0.035156 | -0.072747 | -0.035233 | 6.2914e-07 | -7.6569e-05 | 0.0023361 | 0.0023371 | 0.0023371 | 0.99841 | -0.029368 | 0.9984 | -0.029425 | 1.1129
42 | 3.8091 | 1.744 | -3.8086 | -1.7444 | 0.00045437 | -0.00041724 | 0.12113 | 0.12113 | 0.12113 | 0.99841 | -0.029368 | 0.9983 | -0.028456 | 55.061
43 | -6.9692 | -3.1716 | 6.9694 | 3.1714 | 0.00020109 | -0.00024458 | 0.22109 | 0.22109 | 0.22109 | 0.99974 | -0.0047741 | 0.99978 | -0.00414 | 52.5161
44 | -0.47941 | -0.1745 | 0.47942 | 0.17392 | 7.1818e-06 | -0.0005752 | 0.014823 | 0.014817 | 0.014823 | 0.99357 | -0.034548 | 0.99359 | -0.034599 | 6.7377
45 | 0.36557 | 0.11936 | -0.36556 | -0.12049 | 8.0342e-06 | -0.0011328 | 0.011173 | 0.011183 | 0.011183 | 0.99357 | -0.034548 | 0.99355 | -0.034513 | 5.0834
46 | -0.55397 | -0.21003 | 0.55398 | 0.20917 | 1.4574e-05 | -0.00086461 | 0.017213 | 0.017204 | 0.017213 | 0.99359 | -0.034599 | 0.99361 | -0.034707 | 7.824
47 | 0.36556 | 0.12049 | -0.36554 | -0.12055 | 1.2798e-05 | -5.966e-05 | 0.011183 | 0.011184 | 0.011184 | 0.99355 | -0.034513 | 0.99351 | -0.035049 | 5.3257
48 | -0.66517 | -0.26302 | 0.6652 | 0.26186 | 2.8345e-05 | -0.0011513 | 0.020781 | 0.020769 | 0.020781 | 0.99361 | -0.034707 | 0.99365 | -0.034914 | 9.446
49 | 0.26683 | 0.073473 | -0.2668 | -0.082201 | 3.2288e-05 | -0.008728 | 0.0080417 | 0.0081128 | 0.0081128 | 0.99351 | -0.035049 | 0.99339 | -0.035081 | 3.6876
50 | 0.09871 | 0.047082 | -0.09871 | -0.047807 | 4.1633e-07 | -0.00072565 | 0.0031777 | 0.0031868 | 0.0031868 | 0.99351 | -0.035049 | 0.99351 | -0.035013 | 1.4485
51 | -0.82085 | -0.33725 | 0.82089 | 0.33604 | 4.6045e-05 | -0.0012103 | 0.025781 | 0.025768 | 0.025781 | 0.99365 | -0.034914 | 0.99371 | -0.035226 | 11.7188
52 | 0.2668 | 0.082201 | -0.26678 | -0.082383 | 1.9359e-05 | -0.0001823 | 0.0081128 | 0.0081145 | 0.0081145 | 0.99339 | -0.035081 | 0.99331 | -0.036288 | 3.864
53 | 0.16505 | 0.03311 | -0.16505 | -0.033796 | 9.3135e-07 | -0.00068587 | 0.0048922 | 0.0048961 | 0.0048961 | 0.99331 | -0.036288 | 0.99331 | -0.036317 | 2.2255
54 | 3.515 | 1.6021 | -3.5134 | -1.6012 | 0.001628 | 0.0009329 | 0.11178 | 0.11178 | 0.11178 | 0.99764 | -0.033418 | 0.99715 | -0.037168 | 53.2272
55 | -3.6267 | -1.6562 | 3.6289 | 1.6574 | 0.0022379 | 0.0012895 | 0.11536 | 0.11536 | 0.11536 | 0.99764 | -0.033418 | 0.9983 | -0.028456 | 54.9353
56 | 3.409 | 1.5506 | -3.4081 | -1.5517 | 0.00087689 | -0.001066 | 0.10842 | 0.10844 | 0.10844 | 0.99715 | -0.037168 | 0.99691 | -0.035233 | 49.2889
57 | 0.096024 | 0.046392 | -0.096023 | -0.046506 | 1.6323e-06 | -0.00011354 | 0.0030838 | 0.0030852 | 0.0030852 | 0.9983 | -0.028456 | 0.99828 | -0.028569 | 1.4692
58 | -2.6879 | -1.2061 | 2.6881 | 1.2057 | 0.00018918 | -0.00040438 | 0.085384 | 0.085378 | 0.085384 | 0.99605 | -0.037667 | 0.99612 | -0.038177 | 38.8108
59 | 2.6879 | 1.2061 | -2.6871 | -1.2079 | 0.00084085 | -0.0017959 | 0.085384 | 0.085408 | 0.085408 | 0.99605 | -0.037667 | 0.99576 | -0.035392 | 38.8218
60 | -3.1469 | -1.4263 | 3.1476 | 1.4254 | 0.00062666 | -0.00092368 | 0.10013 | 0.10012 | 0.10013 | 0.99612 | -0.038177 | 0.9963 | -0.039658 | 45.5132
61 | 0.45884 | 0.22067 | -0.45883 | -0.22178 | 1.3619e-05 | -0.001105 | 0.014755 | 0.014769 | 0.014769 | 0.99612 | -0.038177 | 0.99609 | -0.037921 | 6.7132
62 | 2.5561 | 1.1447 | -2.5558 | -1.1454 | 0.00027117 | -0.00064885 | 0.081193 | 0.081202 | 0.081202 | 0.99576 | -0.035392 | 0.99566 | -0.034626 | 36.9099
63 | 0.13102 | 0.063153 | -0.13101 | -0.063452 | 8.1512e-06 | -0.00029918 | 0.0042166 | 0.0042204 | 0.0042204 | 0.99576 | -0.035392 | 0.99569 | -0.035806 | 2.0097
64 | -3.3066 | -1.5024 | 3.3084 | 1.5035 | 0.0018433 | 0.0010438 | 0.10523 | 0.10523 | 0.10523 | 0.9963 | -0.039658 | 0.99689 | -0.035106 | 50.111
65 | 0.17359 | 0.083632 | -0.17359 | -0.084073 | 7.7695e-07 | -0.00044146 | 0.0055842 | 0.0055898 | 0.0055898 | 0.99609 | -0.037921 | 0.99609 | -0.037882 | 2.5408
66 | 2.4609 | 1.0994 | -2.4605 | -1.1003 | 0.00035768 | -0.00093203 | 0.078146 | 0.078159 | 0.078159 | 0.99566 | -0.034626 | 0.99552 | -0.033582 | 35.5266
67 | -3.4081 | -1.5517 | 3.4081 | 1.5517 | 5.7315e-05 | -6.9637e-05 | 0.10844 | 0.10844 | 0.10844 | 0.99689 | -0.035106 | 0.99691 | -0.035233 | 49.2894
68 | -0.115 | -0.055696 | 0.115 | 0.05487 | 6.3927e-07 | -0.00082537 | 0.0037075 | 0.0036972 | 0.0037075 | 0.99487 | -0.029765 | 0.99488 | -0.029812 | 1.6852
69 | -0.115 | -0.05487 | 0.11501 | 0.054479 | 8.1608e-06 | -0.00039139 | 0.0036972 | 0.0036922 | 0.0036972 | 0.99488 | -0.029812 | 0.99495 | -0.029312 | 1.7606
70 | 1.8442 | 0.80922 | -1.8433 | -0.8088 | 0.0009702 | 0.00041934 | 0.058433 | 0.058435 | 0.058435 | 0.99495 | -0.029312 | 0.99439 | -0.034054 | 27.8262
71 | 0.076442 | 0.035955 | -0.076437 | -0.036533 | 5.2763e-06 | -0.00057752 | 0.002451 | 0.0024582 | 0.0024582 | 0.99495 | -0.029312 | 0.99488 | -0.029803 | 1.1706
72 | -2.1904 | -0.97462 | 2.1907 | 0.9739 | 0.0002129 | -0.00071602 | 0.069561 | 0.069551 | 0.069561 | 0.99495 | -0.029312 | 0.99504 | -0.03 | 31.6184
73 | 0.071284 | 0.033646 | -0.071284 | -0.034524 | 2.6138e-07 | -0.00087846 | 0.0022883 | 0.0022993 | 0.0022993 | 0.99439 | -0.034054 | 0.99439 | -0.034023 | 1.0451
74 | 1.772 | 0.77516 | -1.7718 | -0.77592 | 0.00014372 | -0.00076341 | 0.056148 | 0.056157 | 0.056157 | 0.99439 | -0.034054 | 0.99431 | -0.033504 | 25.5259
75 | 1.7718 | 0.77592 | -1.7715 | -0.77777 | 0.0003478 | -0.0018457 | 0.056157 | 0.05618 | 0.05618 | 0.99431 | -0.033504 | 0.99413 | -0.032166 | 25.5363
76 | 0.076437 | 0.036533 | -0.076437 | -0.03702 | 1.6671e-07 | -0.0004871 | 0.0024582 | 0.0024643 | 0.0024643 | 0.99488 | -0.029803 | 0.99488 | -0.029785 | 1.1202
77 | -0.050476 | -0.024446 | 0.050476 | 0.024293 | 6.1929e-07 | -0.00015385 | 0.0016301 | 0.0016281 | 0.0016301 | 0.99321 | -0.037187 | 0.99322 | -0.037105 | 0.77623
78 | -0.050476 | -0.024293 | 0.050481 | -0.010746 | 4.3511e-06 | -0.035038 | 0.0016281 | 0.0014999 | 0.0016281 | 0.99322 | -0.037105 | 0.99331 | -0.036317 | 0.74006
79 | 0.11457 | 0.044542 | -0.11456 | -0.05534 | 8.0749e-06 | -0.010798 | 0.0035723 | 0.0036976 | 0.0036976 | 0.99331 | -0.036317 | 0.99324 | -0.035844 | 1.6807
80 | 0.11456 | 0.05534 | -0.11455 | -0.055481 | 2.9705e-06 | -0.00014168 | 0.0036976 | 0.0036995 | 0.0036995 | 0.99324 | -0.035844 | 0.99321 | -0.036016 | 1.7616
81 | -0.12682 | -0.061424 | 0.12683 | 0.059664 | 1.6625e-06 | -0.0017597 | 0.0040944 | 0.0040724 | 0.0040944 | 0.99353 | -0.03382 | 0.99354 | -0.033931 | 1.8611
82 | -0.12683 | -0.059664 | 0.12683 | 0.057002 | 2.4816e-06 | -0.0026623 | 0.0040724 | 0.00404 | 0.0040724 | 0.99354 | -0.033931 | 0.99356 | -0.034082 | 1.8511
83 | -0.12683 | -0.057002 | 0.12683 | 0.056323 | 6.2654e-07 | -0.00067888 | 0.00404 | 0.004032 | 0.00404 | 0.99356 | -0.034082 | 0.99356 | -0.034117 | 1.8364
84 | -0.27327 | -0.12725 | 0.27327 | 0.12604 | 5.2297e-06 | -0.0012042 | 0.0087583 | 0.0087436 | 0.0087583 | 0.99356 | -0.034117 | 0.99358 | -0.034268 | 3.9811
85 | 1.2582 | 0.53241 | -1.2581 | -0.53278 | 3.3687e-05 | -0.00036806 | 0.039677 | 0.039681 | 0.039681 | 0.99398 | -0.033008 | 0.99395 | -0.032843 | 18.0369
86 | -1.3799 | -0.59139 | 1.3801 | 0.59143 | 0.00015574 | 4.3312e-05 | 0.043602 | 0.043601 | 0.043602 | 0.99398 | -0.033008 | 0.9941 | -0.031927 | 20.7627
87 | 1.0945 | 0.45351 | -1.0942 | -0.4535 | 0.00025163 | 1.6956e-05 | 0.034407 | 0.034409 | 0.034409 | 0.99395 | -0.032843 | 0.99371 | -0.035226 | 16.3852
88 | -1.7714 | -0.7781 | 1.7715 | 0.77777 | 6.1761e-05 | -0.00032752 | 0.056184 | 0.05618 | 0.056184 | 0.9941 | -0.031927 | 0.99413 | -0.032166 | 25.5381
89 | 0.26095 | 0.12352 | -0.26095 | -0.12442 | 3.5933e-06 | -0.00090127 | 0.0083838 | 0.0083951 | 0.0083951 | 0.9941 | -0.031927 | 0.99408 | -0.031812 | 3.8159
90 | 0.27331 | 0.11746 | -0.27327 | -0.12604 | 3.6785e-05 | -0.0085866 | 0.008642 | 0.0087436 | 0.0087436 | 0.99371 | -0.035226 | 0.99358 | -0.034268 | 3.9744
91 | 0.13503 | 0.063432 | -0.13503 | -0.064945 | 1.6141e-06 | -0.0015129 | 0.0043322 | 0.0043511 | 0.0043511 | 0.99408 | -0.031812 | 0.99407 | -0.031712 | 1.9778
92 | 0.13503 | 0.064945 | -0.13503 | -0.065368 | 4.5384e-07 | -0.00042302 | 0.0043511 | 0.0043564 | 0.0043564 | 0.99407 | -0.031712 | 0.99407 | -0.031683 | 1.9802
93 | 0.13503 | 0.065368 | -0.13502 | -0.065396 | 8.0669e-07 | -2.7636e-05 | 0.0043564 | 0.0043568 | 0.0043568 | 0.99407 | -0.031683 | 0.99406 | -0.031723 | 2.0747
94 | 2.3 | 1.0228 | -2.3 | -1.0228 | 9.3912e-07 | -2.8456e-06 | 0.072992 | 0.072992 | 0.072992 | 0.99549 | -0.033377 | 0.99549 | -0.033374 | 33.1784
95 | -2.4605 | -1.1005 | 2.4605 | 1.1003 | 7.0337e-05 | -0.00018321 | 0.078161 | 0.078159 | 0.078161 | 0.99549 | -0.033377 | 0.99552 | -0.033582 | 35.5277
96 | 2.1917 | 0.97036 | -2.1913 | -0.97158 | 0.00036105 | -0.001217 | 0.069506 | 0.069522 | 0.069522 | 0.99549 | -0.033374 | 0.99534 | -0.032219 | 31.6008
97 | 2.1913 | 0.97158 | -2.1907 | -0.9739 | 0.00068915 | -0.0023201 | 0.069522 | 0.069551 | 0.069551 | 0.99534 | -0.032219 | 0.99504 | -0.03 | 31.6143
98 | -7.2759 | -3.3198 | 7.2772 | 3.3184 | 0.0013752 | -0.0014291 | 0.23092 | 0.23089 | 0.23092 | 0.99978 | -0.00414 | 1 | 0 | 54.8499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.2912 | 3.3289

## res_load
| p_mw | q_mvar
0 | 0.09688 | 0.046921
1 | 0.1146 | 0.055502
2 | 0.086536 | 0.041911
3 | 0.15784 | 0.076446
4 | 0.15644 | 0.075768
5 | 0.13664 | 0.066179
6 | 0.16393 | 0.079393
7 | 0.1581 | 0.076572
8 | 0.47242 | 0.2288
9 | 0.11768 | 0.056997
10 | 0.12822 | 0.0621
11 | 0.15857 | 0.0768
12 | 0.14382 | 0.069655
13 | 0.14338 | 0.06944
14 | 0.10683 | 0.051738
15 | 0.17763 | 0.086029
16 | 0.15055 | 0.072917
17 | 0.090835 | 0.043993
18 | 0.11384 | 0.055137
19 | 0.074553 | 0.036108
20 | 0.11118 | 0.053849
21 | 0.15565 | 0.075385
22 | 0.09871 | 0.047807
23 | 0.10174 | 0.049273
24 | 0.11163 | 0.054064
25 | 0.10441 | 0.050567
26 | 0.083692 | 0.040534
27 | 0.159 | 0.077009
28 | 0.28524 | 0.13815
29 | 0.094888 | 0.045957
30 | 0.13101 | 0.063452
31 | 0.099636 | 0.048256
32 | 0.17359 | 0.084073
33 | 0.115 | 0.055696
34 | 0.15477 | 0.074958
35 | 0.071284 | 0.034524
36 | 0.076437 | 0.03702
37 | 0.050476 | 0.024446
38 | 0.11455 | 0.055481
39 | 0.12682 | 0.061424
40 | 0.14644 | 0.070924
41 | 0.12177 | 0.058975
42 | 0.16367 | 0.079268
43 | 0.13038 | 0.063148
44 | 0.12592 | 0.060987
45 | 0.13502 | 0.065396
46 | 0.28612 | 0.13857
47 | 0.16049 | 0.077731
48 | 0.10826 | 0.052434
49 | 0.30649 | 0.14844
50 | 0.096023 | 0.046506
51 | 0.072747 | 0.035233

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1