## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_32_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_32_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_32_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_32_0_node_28 | 20 | n |  | TRUE
4 | bus_MV_32_0_node_91 | 20 | n |  | TRUE
5 | bus_MV_32_0_node_108 | 20 | n |  | TRUE
6 | bus_MV_32_0_node_25 | 20 | n |  | TRUE
7 | bus_MV_32_0_node_30 | 20 | n |  | TRUE
8 | bus_MV_32_0_node_31 | 20 | n |  | TRUE
9 | bus_MV_32_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_32_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_32_0_node_66 | 20 | n |  | TRUE
12 | bus_MV_32_0_node_92 | 20 | n |  | TRUE
13 | bus_MV_32_0_node_17 | 20 | n |  | TRUE
14 | bus_MV_32_0_node_5 | 20 | n |  | TRUE
15 | bus_MV_32_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_32_0_node_9 | 20 | n |  | TRUE
17 | bus_MV_32_0_node_7 | 20 | n |  | TRUE
18 | bus_MV_32_0_node_8 | 20 | n |  | TRUE
19 | bus_MV_32_0_node_95 | 20 | n |  | TRUE
20 | bus_MV_32_0_node_10 | 20 | n |  | TRUE
21 | bus_MV_32_0_node_53 | 20 | n |  | TRUE
22 | bus_MV_32_0_node_67 | 20 | n |  | TRUE
23 | bus_MV_32_0_node_93 | 20 | n |  | TRUE
24 | bus_MV_32_0_node_68 | 20 | n |  | TRUE
25 | bus_MV_32_0_node_94 | 20 | n |  | TRUE
26 | bus_MV_32_0_node_40 | 20 | n |  | TRUE
27 | bus_MV_32_0_node_12 | 20 | n |  | TRUE
28 | bus_MV_32_0_node_89 | 20 | n |  | TRUE
29 | bus_MV_32_0_node_11 | 20 | n |  | TRUE
30 | bus_MV_32_0_node_90 | 20 | n |  | TRUE
31 | bus_MV_32_0_node_38 | 20 | n |  | TRUE
32 | bus_MV_32_0_node_41 | 20 | n |  | TRUE
33 | bus_MV_32_0_node_36 | 20 | n |  | TRUE
34 | bus_MV_32_0_node_13 | 20 | n |  | TRUE
35 | bus_MV_32_0_node_14 | 20 | n |  | TRUE
36 | bus_MV_32_0_node_15 | 20 | n |  | TRUE
37 | bus_MV_32_0_node_97 | 20 | n |  | TRUE
38 | bus_MV_32_0_node_98 | 20 | n |  | TRUE
39 | bus_MV_32_0_node_56 | 20 | n |  | TRUE
40 | bus_MV_32_0_node_63 | 20 | n |  | TRUE
41 | bus_MV_32_0_node_65 | 20 | n |  | TRUE
42 | bus_MV_32_0_node_100 | 20 | n |  | TRUE
43 | bus_MV_32_0_node_99 | 20 | n |  | TRUE
44 | bus_MV_32_0_node_96 | 20 | n |  | TRUE
45 | bus_MV_32_0_node_55 | 20 | n |  | TRUE
46 | bus_MV_32_0_node_112 | 20 | n |  | TRUE
47 | bus_MV_32_0_node_18 | 20 | n |  | TRUE
48 | bus_MV_32_0_node_19 | 20 | n |  | TRUE
49 | bus_MV_32_0_node_20 | 20 | n |  | TRUE
50 | bus_MV_32_0_node_71 | 20 | n |  | TRUE
51 | bus_MV_32_0_node_48 | 20 | n |  | TRUE
52 | bus_MV_32_0_node_86 | 20 | n |  | TRUE
53 | bus_MV_32_0_node_109 | 20 | n |  | TRUE
54 | bus_MV_32_0_node_70 | 20 | n |  | TRUE
55 | bus_MV_32_0_node_45 | 20 | n |  | TRUE
56 | bus_MV_32_0_node_87 | 20 | n |  | TRUE
57 | bus_MV_32_0_node_21 | 20 | n |  | TRUE
58 | bus_MV_32_0_node_22 | 20 | n |  | TRUE
59 | bus_MV_32_0_node_106 | 20 | n |  | TRUE
60 | bus_MV_32_0_node_88 | 20 | n |  | TRUE
61 | bus_MV_32_0_node_23 | 20 | n |  | TRUE
62 | bus_MV_32_0_node_58 | 20 | n |  | TRUE
63 | bus_MV_32_0_node_59 | 20 | n |  | TRUE
64 | bus_MV_32_0_node_57 | 20 | n |  | TRUE
65 | bus_MV_32_0_node_26 | 20 | n |  | TRUE
66 | bus_MV_32_0_node_111 | 20 | n |  | TRUE
67 | bus_MV_32_0_node_43 | 20 | n |  | TRUE
68 | bus_MV_32_0_node_110 | 20 | n |  | TRUE
69 | bus_MV_32_0_node_42 | 20 | n |  | TRUE
70 | bus_MV_32_0_node_32 | 20 | n |  | TRUE
71 | bus_MV_32_0_node_33 | 20 | n |  | TRUE
72 | bus_MV_32_0_node_34 | 20 | n |  | TRUE
73 | bus_MV_32_0_node_35 | 20 | n |  | TRUE
74 | bus_MV_32_0_node_37 | 20 | n |  | TRUE
75 | bus_MV_32_0_node_50 | 20 | n |  | TRUE
76 | bus_MV_32_0_node_51 | 20 | n |  | TRUE
77 | bus_MV_32_0_node_39 | 20 | n |  | TRUE
78 | bus_MV_32_0_node_54 | 20 | n |  | TRUE
79 | bus_MV_32_0_node_44 | 20 | n |  | TRUE
80 | bus_MV_32_0_node_46 | 20 | n |  | TRUE
81 | bus_MV_32_0_node_81 | 20 | n |  | TRUE
82 | bus_MV_32_0_node_49 | 20 | n |  | TRUE
83 | bus_MV_32_0_node_47 | 20 | n |  | TRUE
84 | bus_MV_32_0_node_69 | 20 | n |  | TRUE
85 | bus_MV_32_0_node_80 | 20 | n |  | TRUE
86 | bus_MV_32_0_node_82 | 20 | n |  | TRUE
87 | bus_MV_32_0_node_105 | 20 | n |  | TRUE
88 | bus_MV_32_0_node_76 | 20 | n |  | TRUE
89 | bus_MV_32_0_node_62 | 20 | n |  | TRUE
90 | bus_MV_32_0_node_77 | 20 | n |  | TRUE
91 | bus_MV_32_0_node_78 | 20 | n |  | TRUE
92 | bus_MV_32_0_node_79 | 20 | n |  | TRUE
93 | bus_MV_32_0_node_107 | 20 | n |  | TRUE
94 | bus_MV_32_0_node_104 | 20 | n |  | TRUE
95 | bus_MV_32_0_node_61 | 20 | n |  | TRUE
96 | bus_MV_32_0_node_52 | 20 | n |  | TRUE
97 | bus_MV_32_0_node_83 | 20 | n |  | TRUE
98 | bus_MV_32_0_node_102 | 20 | n |  | TRUE
99 | bus_MV_32_0_node_113 | 20 | n |  | TRUE
100 | bus_MV_32_0_node_60 | 20 | n |  | TRUE
101 | bus_MV_32_0_node_72 | 20 | n |  | TRUE
102 | bus_MV_32_0_node_73 | 20 | n |  | TRUE
103 | bus_MV_32_0_node_74 | 20 | n |  | TRUE
104 | bus_MV_32_0_node_75 | 20 | n |  | TRUE
105 | bus_MV_32_0_node_101 | 20 | n |  | TRUE
106 | bus_HV_32_0_node_40 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_32_0_load_0 | 0 | 0.18626 | 0.09021 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_32_0_load_91 | 4 | 0.21478 | 0.10402 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_32_0_load_108 | 5 | 0.2196 | 0.10636 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_32_0_load_25 | 6 | 0.25981 | 0.12583 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_32_0_load_30 | 7 | 0.22259 | 0.10781 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_32_0_load_4 | 10 | 0.39552 | 0.19156 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_32_0_load_92 | 12 | 0.18591 | 0.090039 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_32_0_load_5 | 14 | 0.26694 | 0.12928 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_32_0_load_9 | 16 | 0.26335 | 0.12755 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_32_0_load_95 | 19 | 0.06837 | 0.033113 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_32_0_load_53 | 21 | 0.20439 | 0.098991 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_32_0_load_67 | 22 | 0.32186 | 0.15588 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_32_0_load_93 | 23 | 0.18388 | 0.089058 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_32_0_load_94 | 25 | 0.081879 | 0.039656 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_32_0_load_89 | 28 | 0.18806 | 0.091083 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_32_0_load_90 | 30 | 0.068172 | 0.033017 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_32_0_load_41 | 32 | 0.10232 | 0.049556 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_32_0_load_13 | 34 | 0.2392 | 0.11585 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_32_0_load_98 | 38 | 0.2177 | 0.10544 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_32_0_load_63 | 40 | 0.33858 | 0.16398 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_32_0_load_99 | 43 | 0.084647 | 0.040996 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_32_0_load_96 | 44 | 0.14159 | 0.068575 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_32_0_load_112 | 46 | 0.26756 | 0.12959 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_32_0_load_18 | 47 | 0.37092 | 0.17965 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_32_0_load_86 | 52 | 0.072138 | 0.034938 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_32_0_load_109 | 53 | 0.4008 | 0.19412 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_32_0_load_70 | 54 | 0.071956 | 0.03485 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_32_0_load_21 | 57 | 0.38813 | 0.18798 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_32_0_load_106 | 59 | 0.30655 | 0.14847 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_32_0_load_59 | 63 | 0.38788 | 0.18786 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_32_0_load_57 | 64 | 0.13729 | 0.066493 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_32_0_load_111 | 66 | 0.31373 | 0.15194 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_32_0_load_110 | 68 | 0.27749 | 0.13439 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_32_0_load_34 | 72 | 0.30607 | 0.14824 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_32_0_load_35 | 73 | 0.26491 | 0.1283 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_32_0_load_50 | 75 | 0.31332 | 0.15175 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_32_0_load_39 | 77 | 0.2251 | 0.10902 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_32_0_load_54 | 78 | 0.32737 | 0.15855 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_32_0_load_44 | 79 | 0.37181 | 0.18008 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_32_0_load_80 | 85 | 0.068157 | 0.03301 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_32_0_load_82 | 86 | 0.072108 | 0.034924 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_32_0_load_76 | 88 | 0.083338 | 0.040363 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_32_0_load_62 | 89 | 0.1446 | 0.070034 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_32_0_load_78 | 91 | 0.19847 | 0.096123 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_32_0_load_107 | 93 | 0.21808 | 0.10562 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_32_0_load_104 | 94 | 0.41168 | 0.19939 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_32_0_load_102 | 98 | 0.31743 | 0.15374 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_32_0_load_113 | 99 | 0.26277 | 0.12727 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_32_0_load_60 | 100 | 0.37501 | 0.18163 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_32_0_load_72 | 101 | 0.099005 | 0.04795 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_32_0_load_101 | 105 | 0.14779 | 0.07158 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_32_0_line_0 |  | 0 | 1 | 0.044794 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_32_0_line_1 |  | 1 | 2 | 0.72218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_32_0_line_2 |  | 2 | 5 | 0.009781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_32_0_line_3 |  | 2 | 9 | 0.27695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_32_0_line_4 |  | 3 | 4 | 0.12358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_32_0_line_5 |  | 3 | 5 | 1.152 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_32_0_line_6 |  | 3 | 6 | 0.19269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_32_0_line_7 |  | 6 | 65 | 0.07258 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_32_0_line_8 |  | 7 | 8 | 0.054648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_32_0_line_9 |  | 8 | 67 | 0.88587 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_32_0_line_10 |  | 9 | 10 | 0.10062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_32_0_line_11 |  | 11 | 12 | 0.053326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_32_0_line_12 |  | 11 | 13 | 0.71666 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_32_0_line_13 |  | 13 | 40 | 0.024707 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_32_0_line_14 |  | 13 | 41 | 0.21141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_32_0_line_15 |  | 13 | 35 | 0.42719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_32_0_line_16 |  | 14 | 15 | 0.037508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_32_0_line_17 |  | 14 | 16 | 0.22524 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_32_0_line_18 |  | 15 | 17 | 0.23533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_32_0_line_19 |  | 15 | 18 | 0.3492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_32_0_line_20 |  | 16 | 19 | 0.080531 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_32_0_line_21 |  | 16 | 20 | 0.081011 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_32_0_line_22 |  | 17 | 21 | 0.054984 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_32_0_line_23 |  | 18 | 22 | 0.034763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_32_0_line_24 |  | 19 | 25 | 0.020249 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_32_0_line_25 |  | 19 | 26 | 0.10212 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
26 | MV_32_0_line_26 |  | 20 | 27 | 0.12207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_32_0_line_27 |  | 21 | 23 | 0.25224 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_32_0_line_28 |  | 22 | 24 | 0.03476 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_32_0_line_29 |  | 24 | 84 | 0.052071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_32_0_line_30 |  | 25 | 31 | 0.046102 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_32_0_line_31 |  | 26 | 69 | 0.14407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_32_0_line_32 |  | 27 | 28 | 0.011878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_32_0_line_33 |  | 27 | 29 | 0.074516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_32_0_line_34 |  | 29 | 30 | 0.034729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_32_0_line_35 |  | 31 | 32 | 0.019909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_32_0_line_36 |  | 31 | 33 | 0.16067 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_32_0_line_37 |  | 32 | 77 | 0.028242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_32_0_line_38 |  | 33 | 74 | 0.026169 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_32_0_line_39 |  | 33 | 73 | 0.050364 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_32_0_line_40 |  | 34 | 35 | 0.014453 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_32_0_line_41 |  | 35 | 36 | 0.10134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_32_0_line_42 |  | 36 | 37 | 0.024434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_32_0_line_43 |  | 36 | 38 | 0.025263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_32_0_line_44 |  | 36 | 39 | 0.062348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_32_0_line_45 |  | 37 | 42 | 0.076565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_32_0_line_46 |  | 37 | 43 | 0.032401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_32_0_line_47 |  | 39 | 44 | 0.053709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_32_0_line_48 |  | 39 | 45 | 0.14422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_32_0_line_49 |  | 41 | 46 | 0.057416 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_32_0_line_50 |  | 42 | 66 | 0.049641 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_32_0_line_51 |  | 42 | 65 | 0.37671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_32_0_line_52 |  | 45 | 78 | 0.045296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_32_0_line_53 |  | 47 | 48 | 0.062655 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_32_0_line_54 |  | 48 | 49 | 0.50941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_32_0_line_55 |  | 49 | 50 | 0.031934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_32_0_line_56 |  | 49 | 51 | 0.043628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_32_0_line_57 |  | 49 | 52 | 0.025598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_32_0_line_58 |  | 50 | 53 | 0.032513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_32_0_line_59 |  | 51 | 54 | 0.021368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_32_0_line_60 |  | 51 | 55 | 0.035436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_32_0_line_61 |  | 52 | 56 | 0.019288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_32_0_line_62 |  | 53 | 92 | 0.00715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_32_0_line_63 |  | 55 | 83 | 0.075153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_32_0_line_64 |  | 56 | 60 | 0.23601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_32_0_line_65 |  | 57 | 58 | 0.034237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_32_0_line_66 |  | 58 | 59 | 0.14089 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_32_0_line_67 |  | 59 | 60 | 0.039511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_32_0_line_68 |  | 60 | 63 | 0.19519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_32_0_line_69 |  | 61 | 62 | 0.26724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_32_0_line_70 |  | 61 | 63 | 0.046021 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_32_0_line_71 |  | 62 | 64 | 0.057459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_32_0_line_72 |  | 64 | 71 | 0.014872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_32_0_line_73 |  | 67 | 68 | 0.028799 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_32_0_line_74 |  | 67 | 69 | 0.27472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_32_0_line_75 |  | 69 | 78 | 0.069529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_32_0_line_76 |  | 70 | 71 | 0.35689 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_32_0_line_77 |  | 70 | 72 | 0.028348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_32_0_line_78 |  | 74 | 75 | 0.06129 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
79 | MV_32_0_line_79 |  | 75 | 76 | 0.026785 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
80 | MV_32_0_line_80 |  | 76 | 96 | 0.071743 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
81 | MV_32_0_line_81 |  | 76 | 97 | 0.19689 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_32_0_line_82 |  | 79 | 80 | 0.015792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_32_0_line_83 |  | 79 | 81 | 0.30741 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_32_0_line_84 |  | 80 | 82 | 0.030149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_32_0_line_85 |  | 81 | 86 | 0.030217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_32_0_line_86 |  | 82 | 88 | 0.014807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_32_0_line_87 |  | 82 | 89 | 0.056563 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_32_0_line_88 |  | 83 | 87 | 0.048954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_32_0_line_89 |  | 84 | 85 | 0.041708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_32_0_line_90 |  | 87 | 93 | 0.047637 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_32_0_line_91 |  | 87 | 94 | 0.019484 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
92 | MV_32_0_line_92 |  | 89 | 95 | 0.023877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_32_0_line_93 |  | 89 | 90 | 0.040244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_32_0_line_94 |  | 90 | 91 | 0.040709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_32_0_line_95 |  | 90 | 92 | 0.049641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_32_0_line_96 |  | 91 | 104 | 0.029723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_32_0_line_97 |  | 94 | 96 | 0.065895 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
98 | MV_32_0_line_98 |  | 95 | 100 | 0.014534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_32_0_line_99 |  | 96 | 98 | 0.054192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_32_0_line_100 |  | 97 | 99 | 0.008014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_32_0_line_101 |  | 101 | 102 | 0.023794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_32_0_line_102 |  | 102 | 103 | 0.10619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_32_0_line_103 |  | 102 | 104 | 0.02579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_32_0_line_104 |  | 103 | 105 | 0.036322 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_32_0_trafo_40 | 25 MVA 110/20 kV | 106 | 26 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2570244.9379 | 1160406.8446
1 | 2570274.4507 | 1160373.1479
2 | 2570786.5466 | 1160477.2727
3 | 2571047.5037 | 1161606.989
4 | 2570975.8908 | 1161707.7085
5 | 2570782.0984 | 1160485.9876
6 | 2571204.7218 | 1161718.3992
7 | 2570033.6877 | 1161898.5518
8 | 2570085.0829 | 1161917.5047
9 | 2570807.4075 | 1160247.9219
10 | 2570712.0137 | 1160254.457
11 | 2572069.7791 | 1161332.5447
12 | 2572118.7469 | 1161353.6544
13 | 2571630.1422 | 1161898.5174
14 | 2571353.5596 | 1162643.6431
15 | 2571355.3931 | 1162681.031
16 | 2571152.589 | 1162541.9332
17 | 2571475.8494 | 1162717.3972
18 | 2571207.6598 | 1162914.7128
19 | 2571075.5653 | 1162518.4271
20 | 2571164.1287 | 1162622.1183
21 | 2571466.4296 | 1162663.2257
22 | 2571215.9455 | 1162947.6674
23 | 2571548.5751 | 1162424.7367
24 | 2571221.2428 | 1162982.0149
25 | 2571060.7804 | 1162532.1123
26 | 2571066.8983 | 1162416.6717
27 | 2571163.1992 | 1162729.7995
28 | 2571172.6365 | 1162736.124
29 | 2571102.675 | 1162723.4211
30 | 2571108.2613 | 1162757.6976
31 | 2571024.5027 | 1162560.5605
32 | 2571006.9652 | 1162551.2535
33 | 2570909.9196 | 1162638.5105
34 | 2571454.8147 | 1162231.4806
35 | 2571446.5586 | 1162219.6181
36 | 2571374.0769 | 1162148.7947
37 | 2571391.0232 | 1162131.1493
38 | 2571355.8112 | 1162131.3419
39 | 2571330.8389 | 1162193.8241
40 | 2571611.418 | 1161882.3979
41 | 2571788.9796 | 1161759.0084
42 | 2571359.193 | 1162081.7985
43 | 2571368.2538 | 1162108.0977
44 | 2571369.7966 | 1162230.7964
45 | 2571229.2137 | 1162215.7221
46 | 2571842.7661 | 1161779.0989
47 | 2570420.3397 | 1163092.7702
48 | 2570370.8014 | 1163055.1958
49 | 2570704.5335 | 1162915.3289
50 | 2570714.23 | 1162937.0147
51 | 2570746.2192 | 1162927.776
52 | 2570709.1533 | 1162890.1514
53 | 2570722.0519 | 1162968.5703
54 | 2570749.6322 | 1162906.682
55 | 2570777.8311 | 1162943.2297
56 | 2570711.2731 | 1162871.1847
57 | 2570396.9114 | 1162668.6597
58 | 2570430.7484 | 1162664.2015
59 | 2570523.0437 | 1162770.6453
60 | 2570561.1858 | 1162761.62
61 | 2570566.513 | 1162520.605
62 | 2570506.1647 | 1162335.7857
63 | 2570568.7306 | 1162566.5729
64 | 2570457.4438 | 1162305.1101
65 | 2571151.3658 | 1161767.6028
66 | 2571386.168 | 1162040.1264
67 | 2570908.594 | 1162244.0061
68 | 2570923.1823 | 1162219.156
69 | 2571150.4403 | 1162299.343
70 | 2570186.1161 | 1162356.8685
71 | 2570445.1526 | 1162296.6886
72 | 2570157.9956 | 1162360.4536
73 | 2570869.0308 | 1162609.1053
74 | 2570895.4478 | 1162660.314
75 | 2570857.5796 | 1162708.5669
76 | 2570840.6671 | 1162729.3375
77 | 2570983.7636 | 1162535.1558
78 | 2571197.9849 | 1162248.6109
79 | 2570791.3421 | 1162999.5145
80 | 2570785.5692 | 1163014.2168
81 | 2571094.5461 | 1163050.1814
82 | 2570783.8162 | 1163044.285
83 | 2570785.5139 | 1162869.3659
84 | 2571229.4561 | 1163033.4238
85 | 2571188.3444 | 1163040.4496
86 | 2571124.6815 | 1163047.963
87 | 2570787.0068 | 1162820.4894
88 | 2570786.9021 | 1163058.7668
89 | 2570728.8865 | 1163057.7806
90 | 2570720.5261 | 1163018.4141
91 | 2570683.1261 | 1163034.4903
92 | 2570723.771 | 1162975.5098
93 | 2570831.2538 | 1162838.1384
94 | 2570770.6082 | 1162809.8973
95 | 2570733.8467 | 1163081.1364
96 | 2570788.0701 | 1162746.3578
97 | 2570992.8924 | 1162854.2065
98 | 2570734.228 | 1162751.5008
99 | 2571000.9269 | 1162854.012
100 | 2570737.0259 | 1163095.3169
101 | 2570616.9809 | 1163059.6648
102 | 2570638.1267 | 1163050.9781
103 | 2570668.9954 | 1163146.2531
104 | 2570655.0109 | 1163043.5139
105 | 2570633.5973 | 1163154.3942
106 | 2571066.8983 | 1162416.6717

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99422 | -0.010868 | 0.18626 | 0.09021
1 | 0.99423 | -0.010766 | 0 | 0
2 | 0.9944 | -0.011994 | 0 | 0
3 | 0.99618 | 0.0018823 | 0 | 0
4 | 0.99615 | 0.0021906 | 0.21478 | 0.10402
5 | 0.99441 | -0.012047 | 0.2196 | 0.10636
6 | 0.99656 | 0.0047724 | 0.25981 | 0.12583
7 | 0.99872 | 0.0052455 | 0.22259 | 0.10781
8 | 0.99873 | 0.0051019 | 0 | 0
9 | 0.99426 | -0.010769 | 0 | 0
10 | 0.99421 | -0.010295 | 0.39552 | 0.19156
11 | 0.99704 | 0.014489 | 0 | 0
12 | 0.99703 | 0.014607 | 0.18591 | 0.090039
13 | 0.9973 | 0.016212 | 0 | 0
14 | 0.99877 | -0.034975 | 0.26694 | 0.12928
15 | 0.99873 | -0.03467 | 0 | 0
16 | 0.99922 | -0.031755 | 0.26335 | 0.12755
17 | 0.99862 | -0.033621 | 0 | 0
18 | 0.99856 | -0.033216 | 0 | 0
19 | 0.99946 | -0.030057 | 0.06837 | 0.033113
20 | 0.99918 | -0.032047 | 0 | 0
21 | 0.99858 | -0.033882 | 0.20439 | 0.098991
22 | 0.99854 | -0.033061 | 0.32186 | 0.15588
23 | 0.99849 | -0.034447 | 0.18388 | 0.089058
24 | 0.99854 | -0.033038 | 0 | 0
25 | 0.99942 | -0.030226 | 0.081879 | 0.039656
26 | 1 | 0 | -11.6983 | -5.4939
27 | 0.99914 | -0.031706 | 0 | 0
28 | 0.99914 | -0.031679 | 0.18806 | 0.091083
29 | 0.99914 | -0.031653 | 0 | 0
30 | 0.99913 | -0.031626 | 0.068172 | 0.033017
31 | 0.99933 | -0.030606 | 0 | 0
32 | 0.99932 | -0.03053 | 0.10232 | 0.049556
33 | 0.99903 | -0.031853 | 0 | 0
34 | 0.99773 | 0.012391 | 0.2392 | 0.11585
35 | 0.99773 | 0.01235 | 0 | 0
36 | 0.99786 | 0.011185 | 0 | 0
37 | 0.99781 | 0.011625 | 0 | 0
38 | 0.99786 | 0.011251 | 0.2177 | 0.10544
39 | 0.9981 | 0.0091964 | 0 | 0
40 | 0.99728 | 0.016111 | 0.33858 | 0.16398
41 | 0.99719 | 0.015522 | 0 | 0
42 | 0.99766 | 0.012935 | 0 | 0
43 | 0.99781 | 0.011657 | 0.084647 | 0.040996
44 | 0.99809 | 0.0092855 | 0.14159 | 0.068575
45 | 0.99866 | 0.0043884 | 0 | 0
46 | 0.99716 | 0.015335 | 0.26756 | 0.12959
47 | 0.99691 | -0.038034 | 0.37092 | 0.17965
48 | 0.99694 | -0.038311 | 0 | 0
49 | 0.99718 | -0.040339 | 0 | 0
50 | 0.9971 | -0.039638 | 0 | 0
51 | 0.9974 | -0.042216 | 0 | 0
52 | 0.99713 | -0.039889 | 0.072138 | 0.034938
53 | 0.99703 | -0.038924 | 0.4008 | 0.19412
54 | 0.99739 | -0.042198 | 0.071956 | 0.03485
55 | 0.99757 | -0.043767 | 0 | 0
56 | 0.99709 | -0.039565 | 0 | 0
57 | 0.99648 | -0.035754 | 0.38813 | 0.18798
58 | 0.99649 | -0.035913 | 0 | 0
59 | 0.9966 | -0.035237 | 0.30655 | 0.14847
60 | 0.99663 | -0.035564 | 0 | 0
61 | 0.99628 | -0.038146 | 0 | 0
62 | 0.99613 | -0.036958 | 0 | 0
63 | 0.99632 | -0.037829 | 0.38788 | 0.18786
64 | 0.9961 | -0.036688 | 0.13729 | 0.066493
65 | 0.99673 | 0.0060908 | 0 | 0
66 | 0.99763 | 0.012745 | 0.31373 | 0.15194
67 | 0.99911 | 0.007628 | 0 | 0
68 | 0.9991 | 0.0077232 | 0.27749 | 0.13439
69 | 0.99929 | 0.0060921 | 0 | 0
70 | 0.99596 | -0.035437 | 0 | 0
71 | 0.99609 | -0.036642 | 0 | 0
72 | 0.99594 | -0.035333 | 0.30607 | 0.14824
73 | 0.99901 | -0.032015 | 0.26491 | 0.1283
74 | 0.99899 | -0.032046 | 0 | 0
75 | 0.99888 | -0.032495 | 0.31332 | 0.15175
76 | 0.99878 | -0.037723 | 0 | 0
77 | 0.99932 | -0.030454 | 0.2251 | 0.10902
78 | 0.99883 | 0.002886 | 0.32737 | 0.15855
79 | 0.99678 | -0.037582 | 0.37181 | 0.18008
80 | 0.99679 | -0.037665 | 0 | 0
81 | 0.99674 | -0.037876 | 0 | 0
82 | 0.99681 | -0.037823 | 0 | 0
83 | 0.99795 | -0.047049 | 0 | 0
84 | 0.99854 | -0.033001 | 0 | 0
85 | 0.99853 | -0.032968 | 0.068157 | 0.03301
86 | 0.99674 | -0.03785 | 0.072108 | 0.034924
87 | 0.99819 | -0.04918 | 0 | 0
88 | 0.99681 | -0.037808 | 0.083338 | 0.040363
89 | 0.99686 | -0.037448 | 0.1446 | 0.070034
90 | 0.99692 | -0.037945 | 0 | 0
91 | 0.9969 | -0.037742 | 0.19847 | 0.096123
92 | 0.99701 | -0.038801 | 0 | 0
93 | 0.99817 | -0.049307 | 0.21808 | 0.10562
94 | 0.99824 | -0.048699 | 0.41168 | 0.19939
95 | 0.99685 | -0.037341 | 0 | 0
96 | 0.99859 | -0.039791 | 0 | 0
97 | 0.99868 | -0.038355 | 0 | 0
98 | 0.99857 | -0.039587 | 0.31743 | 0.15374
99 | 0.99868 | -0.03833 | 0.26277 | 0.12727
100 | 0.99685 | -0.037276 | 0.37501 | 0.18163
101 | 0.99687 | -0.037565 | 0.099005 | 0.04795
102 | 0.99688 | -0.037593 | 0 | 0
103 | 0.99686 | -0.037419 | 0 | 0
104 | 0.99689 | -0.037663 | 0 | 0
105 | 0.99685 | -0.037355 | 0.14779 | 0.07158
106 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18626 | -0.09021 | 0.18626 | 0.090159 | 2.8815e-06 | -5.1054e-05 | 0.006009 | 0.0060084 | 0.006009 | 0.99422 | -0.010868 | 0.99423 | -0.010766 | 2.8614
1 | -0.18626 | -0.090159 | 0.1863 | 0.073121 | 3.3615e-05 | -0.017038 | 0.0060084 | 0.0058098 | 0.0060084 | 0.99423 | -0.010766 | 0.9944 | -0.011994 | 2.7311
2 | -0.5819 | -0.25579 | 0.5819 | 0.25556 | 4.4454e-06 | -0.00022961 | 0.018453 | 0.01845 | 0.018453 | 0.9944 | -0.011994 | 0.99441 | -0.012047 | 8.3875
3 | 0.3956 | 0.18267 | -0.39554 | -0.18919 | 5.9537e-05 | -0.0065202 | 0.01265 | 0.01273 | 0.01273 | 0.9944 | -0.011994 | 0.99426 | -0.010769 | 5.7865
4 | 0.21479 | 0.1011 | -0.21478 | -0.10402 | 7.849e-06 | -0.0029258 | 0.0068792 | 0.0069158 | 0.0069158 | 0.99618 | 0.0018823 | 0.99615 | 0.0021906 | 3.1435
5 | 0.80284 | 0.3614 | -0.8015 | -0.36192 | 0.0013369 | -0.00052496 | 0.025513 | 0.02553 | 0.02553 | 0.99618 | 0.0018823 | 0.99441 | -0.012047 | 12.1569
6 | -1.0176 | -0.46249 | 1.018 | 0.46249 | 0.00036019 | -2.7569e-06 | 0.032392 | 0.032389 | 0.032392 | 0.99618 | 0.0018823 | 0.99656 | 0.0047724 | 15.4247
7 | -1.2778 | -0.58832 | 1.278 | 0.58837 | 0.00021472 | 4.843e-05 | 0.040749 | 0.040748 | 0.040749 | 0.99656 | 0.0047724 | 0.99673 | 0.0060908 | 19.4044
8 | -0.22259 | -0.10781 | 0.22259 | 0.10651 | 3.7198e-06 | -0.0013004 | 0.0071488 | 0.0071324 | 0.0071488 | 0.99872 | 0.0052455 | 0.99873 | 0.0051019 | 3.2494
9 | -0.22259 | -0.10651 | 0.22267 | 0.1055 | 8.0146e-05 | -0.0010051 | 0.0071324 | 0.0071193 | 0.0071324 | 0.99873 | 0.0051019 | 0.99911 | 0.007628 | 3.3964
10 | 0.39554 | 0.18919 | -0.39552 | -0.19156 | 2.1819e-05 | -0.0023682 | 0.01273 | 0.01276 | 0.01276 | 0.99426 | -0.010769 | 0.99421 | -0.010295 | 5.8001
11 | 0.18591 | 0.088774 | -0.18591 | -0.090039 | 2.5396e-06 | -0.0012649 | 0.0059648 | 0.0059807 | 0.0059807 | 0.99704 | 0.014489 | 0.99703 | 0.014607 | 2.7185
12 | -0.18591 | -0.088774 | 0.18595 | 0.087951 | 4.535e-05 | -0.00082232 | 0.0059648 | 0.0059543 | 0.0059648 | 0.99704 | 0.014489 | 0.9973 | 0.016212 | 2.8404
13 | 0.33858 | 0.16395 | -0.33858 | -0.16398 | 5.2197e-06 | -2.6066e-05 | 0.010889 | 0.010889 | 0.010889 | 0.9973 | 0.016212 | 0.99728 | 0.016111 | 5.1854
14 | 0.2676 | 0.12929 | -0.26757 | -0.12952 | 2.7884e-05 | -0.00023352 | 0.0086024 | 0.0086056 | 0.0086056 | 0.9973 | 0.016212 | 0.99719 | 0.015522 | 4.0979
15 | -0.79213 | -0.38119 | 0.7925 | 0.37115 | 0.00036742 | -0.01004 | 0.025446 | 0.02532 | 0.025446 | 0.9973 | 0.016212 | 0.99773 | 0.01235 | 11.5661
16 | 0.77848 | 0.35794 | -0.77845 | -0.35883 | 3.0724e-05 | -0.0008842 | 0.024765 | 0.024776 | 0.024776 | 0.99877 | -0.034975 | 0.99873 | -0.03467 | 11.2617
17 | -1.0454 | -0.48723 | 1.0459 | 0.48724 | 0.00044594 | 1.0967e-05 | 0.033336 | 0.033333 | 0.033336 | 0.99877 | -0.034975 | 0.99922 | -0.031755 | 15.8744
18 | 0.38835 | 0.18211 | -0.3883 | -0.1877 | 4.856e-05 | -0.0055895 | 0.012398 | 0.012468 | 0.012468 | 0.99873 | -0.03467 | 0.99862 | -0.033621 | 5.6671
19 | 0.3901 | 0.17672 | -0.39003 | -0.18501 | 7.2011e-05 | -0.0082937 | 0.012378 | 0.01248 | 0.01248 | 0.99873 | -0.03467 | 0.99856 | -0.033216 | 5.6725
20 | -1.5655 | -0.73301 | 1.5658 | 0.73313 | 0.00035782 | 0.00012811 | 0.049939 | 0.049938 | 0.049939 | 0.99922 | -0.031755 | 0.99946 | -0.030057 | 23.7804
21 | 0.25626 | 0.11822 | -0.25625 | -0.11831 | 9.5959e-06 | -9.0547e-05 | 0.0081531 | 0.0081542 | 0.0081542 | 0.99922 | -0.031755 | 0.99918 | -0.032047 | 3.883
22 | 0.3883 | 0.1877 | -0.38829 | -0.18776 | 1.5229e-05 | -5.5918e-05 | 0.012468 | 0.012468 | 0.012468 | 0.99862 | -0.033621 | 0.99858 | -0.033882 | 5.9373
23 | 0.39003 | 0.18501 | -0.39002 | -0.18583 | 7.2336e-06 | -0.00082546 | 0.01248 | 0.01249 | 0.01249 | 0.99856 | -0.033216 | 0.99854 | -0.033061 | 5.6772
24 | 6.1437 | 2.8919 | -6.1434 | -2.893 | 0.00024069 | -0.0011353 | 0.19612 | 0.19614 | 0.19614 | 0.99946 | -0.030057 | 0.99942 | -0.030226 | 30.7427
25 | -7.7779 | -3.6581 | 7.7801 | 3.664 | 0.0022469 | 0.005901 | 0.24825 | 0.24825 | 0.24825 | 0.99946 | -0.030057 | 1 | 0 | 38.4891
26 | 0.25625 | 0.11831 | -0.25624 | -0.12121 | 1.0883e-05 | -0.0029065 | 0.0081542 | 0.0081898 | 0.0081898 | 0.99918 | -0.032047 | 0.99914 | -0.031706 | 3.7227
27 | 0.1839 | 0.088768 | -0.18388 | -0.089058 | 1.5671e-05 | -0.00029042 | 0.0059032 | 0.005907 | 0.005907 | 0.99858 | -0.033882 | 0.99849 | -0.034447 | 2.8128
28 | 0.068158 | 0.02995 | -0.068158 | -0.030778 | 2.1592e-07 | -0.00082745 | 0.0021523 | 0.002162 | 0.002162 | 0.99854 | -0.033061 | 0.99854 | -0.033038 | 0.98273
29 | 0.068158 | 0.030778 | -0.068157 | -0.032017 | 3.2716e-07 | -0.0012395 | 0.002162 | 0.002177 | 0.002177 | 0.99854 | -0.033038 | 0.99854 | -0.033001 | 0.98954
30 | 6.0615 | 2.8534 | -6.061 | -2.856 | 0.00053354 | -0.0025926 | 0.19351 | 0.19355 | 0.19355 | 0.99942 | -0.030226 | 0.99933 | -0.030606 | 30.3364
31 | 3.9042 | 1.8193 | -3.9013 | -1.8219 | 0.0029745 | -0.0025549 | 0.12434 | 0.12438 | 0.12438 | 1 | 0 | 0.99929 | 0.0060921 | 56.5379
32 | 0.18806 | 0.0908 | -0.18806 | -0.091083 | 5.7764e-07 | -0.00028294 | 0.0060338 | 0.0060373 | 0.0060373 | 0.99914 | -0.031706 | 0.99914 | -0.031679 | 2.7442
33 | 0.068173 | 0.030414 | -0.068172 | -0.03219 | 4.673e-07 | -0.001776 | 0.0021568 | 0.0021782 | 0.0021782 | 0.99914 | -0.031706 | 0.99914 | -0.031653 | 0.99009
34 | 0.068172 | 0.03219 | -0.068172 | -0.033017 | 2.2101e-07 | -0.00082769 | 0.0021782 | 0.0021885 | 0.0021885 | 0.99914 | -0.031653 | 0.99913 | -0.031626 | 0.99478
35 | 0.32743 | 0.15743 | -0.32743 | -0.15791 | 2.929e-06 | -0.00047384 | 0.010495 | 0.010501 | 0.010501 | 0.99933 | -0.030606 | 0.99932 | -0.03053 | 4.7731
36 | 5.7336 | 2.6985 | -5.7319 | -2.7077 | 0.0016647 | -0.0091413 | 0.18305 | 0.18318 | 0.18318 | 0.99933 | -0.030606 | 0.99903 | -0.031853 | 28.711
37 | 0.22511 | 0.10835 | -0.2251 | -0.10902 | 1.9659e-06 | -0.00067281 | 0.0072167 | 0.0072252 | 0.0072252 | 0.99932 | -0.03053 | 0.99932 | -0.030454 | 3.2842
38 | 5.467 | 2.5794 | -5.4667 | -2.5809 | 0.00024674 | -0.0015021 | 0.17467 | 0.17469 | 0.17469 | 0.99903 | -0.031853 | 0.99899 | -0.032046 | 27.3812
39 | 0.26492 | 0.12825 | -0.26491 | -0.1283 | 6.4912e-06 | -5.5941e-05 | 0.0085048 | 0.0085056 | 0.0085056 | 0.99903 | -0.031853 | 0.99901 | -0.032015 | 4.0503
40 | -0.2392 | -0.11585 | 0.2392 | 0.11551 | 1.1403e-06 | -0.00034317 | 0.0076899 | 0.0076856 | 0.0076899 | 0.99773 | 0.012391 | 0.99773 | 0.01235 | 3.4954
41 | -1.0317 | -0.48666 | 1.0318 | 0.4843 | 0.00014724 | -0.0023653 | 0.033005 | 0.032975 | 0.033005 | 0.99773 | 0.01235 | 0.99786 | 0.011185 | 15.0021
42 | 1.6779 | 0.77844 | -1.6778 | -0.779 | 9.3409e-05 | -0.00055316 | 0.053509 | 0.053516 | 0.053516 | 0.99786 | 0.011185 | 0.99781 | 0.011625 | 24.3256
43 | 0.2177 | 0.10484 | -0.2177 | -0.10544 | 1.6498e-06 | -0.00060012 | 0.0069903 | 0.0069978 | 0.0069978 | 0.99786 | 0.011185 | 0.99786 | 0.011251 | 3.1808
44 | -2.9274 | -1.3676 | 2.9281 | 1.3663 | 0.00072711 | -0.0012669 | 0.093474 | 0.093456 | 0.093474 | 0.99786 | 0.011185 | 0.9981 | 0.0091964 | 42.4881
45 | 1.5931 | 0.73877 | -1.5929 | -0.74051 | 0.00026395 | -0.0017415 | 0.050805 | 0.050827 | 0.050827 | 0.99781 | 0.011625 | 0.99766 | 0.012935 | 23.1033
46 | 0.084647 | 0.040226 | -0.084647 | -0.040996 | 3.1912e-07 | -0.00077013 | 0.0027114 | 0.002721 | 0.002721 | 0.99781 | 0.011625 | 0.99781 | 0.011657 | 1.2368
47 | 0.14159 | 0.067298 | -0.14159 | -0.068575 | 1.4793e-06 | -0.001277 | 0.0045342 | 0.0045502 | 0.0045502 | 0.9981 | 0.0091964 | 0.99809 | 0.0092855 | 2.0683
48 | -3.0697 | -1.4336 | 3.0716 | 1.4307 | 0.0018479 | -0.0028841 | 0.09799 | 0.097948 | 0.09799 | 0.9981 | 0.0091964 | 0.99866 | 0.0043884 | 44.5408
49 | 0.26757 | 0.12952 | -0.26756 | -0.12959 | 7.5765e-06 | -6.3411e-05 | 0.0086056 | 0.0086064 | 0.0086064 | 0.99719 | 0.015522 | 0.99716 | 0.015335 | 4.0983
50 | 0.31373 | 0.15189 | -0.31373 | -0.15194 | 8.9979e-06 | -5.3346e-05 | 0.010086 | 0.010087 | 0.010087 | 0.99766 | 0.012935 | 0.99763 | 0.012745 | 4.8032
51 | 1.2791 | 0.58862 | -1.278 | -0.58837 | 0.0011143 | 0.00025076 | 0.040743 | 0.040748 | 0.040748 | 0.99766 | 0.012935 | 0.99673 | 0.0060908 | 19.4039
52 | -3.0716 | -1.4307 | 3.0722 | 1.4298 | 0.00058006 | -0.00090672 | 0.097948 | 0.097935 | 0.097948 | 0.99866 | 0.0043884 | 0.99883 | 0.002886 | 44.5217
53 | -0.37092 | -0.17965 | 0.37094 | 0.17816 | 1.1894e-05 | -0.0014832 | 0.011934 | 0.011916 | 0.011934 | 0.99691 | -0.038034 | 0.99694 | -0.038311 | 5.4247
54 | -0.37094 | -0.17816 | 0.37103 | 0.1661 | 9.5348e-05 | -0.012063 | 0.011916 | 0.011768 | 0.011916 | 0.99694 | -0.038311 | 0.99718 | -0.040339 | 5.4162
55 | 1.8936 | 0.90343 | -1.8934 | -0.90414 | 0.00015729 | -0.00071145 | 0.060736 | 0.060746 | 0.060746 | 0.99718 | -0.040339 | 0.9971 | -0.039638 | 27.6118
56 | -3.864 | -1.818 | 3.8649 | 1.8172 | 0.00089003 | -0.00077203 | 0.12362 | 0.12361 | 0.12362 | 0.99718 | -0.040339 | 0.9974 | -0.042216 | 56.1922
57 | 1.5995 | 0.74845 | -1.5994 | -0.74903 | 8.9321e-05 | -0.00058121 | 0.051121 | 0.051129 | 0.051129 | 0.99718 | -0.040339 | 0.99713 | -0.039889 | 23.2404
58 | 1.8934 | 0.90414 | -1.8933 | -0.90486 | 0.00016019 | -0.00072422 | 0.060746 | 0.060756 | 0.060756 | 0.9971 | -0.039638 | 0.99703 | -0.038924 | 27.6161
59 | 0.071957 | 0.034343 | -0.071956 | -0.03485 | 1.5233e-07 | -0.00050749 | 0.0023077 | 0.002314 | 0.002314 | 0.9974 | -0.042216 | 0.99739 | -0.042198 | 1.0518
60 | -3.9369 | -1.8516 | 3.9376 | 1.8509 | 0.00075001 | -0.00061935 | 0.12592 | 0.12591 | 0.12592 | 0.9974 | -0.042216 | 0.99757 | -0.043767 | 57.2354
61 | 1.5272 | 0.7141 | -1.5272 | -0.71454 | 6.1348e-05 | -0.00043966 | 0.048809 | 0.048814 | 0.048814 | 0.99713 | -0.039889 | 0.99709 | -0.039565 | 22.1883
62 | 1.4924 | 0.71075 | -1.4924 | -0.71091 | 2.1867e-05 | -0.00016321 | 0.047862 | 0.047864 | 0.047864 | 0.99703 | -0.038924 | 0.99701 | -0.038801 | 21.7563
63 | -3.9376 | -1.8509 | 3.9392 | 1.8496 | 0.0015902 | -0.0013146 | 0.12591 | 0.12589 | 0.12591 | 0.99757 | -0.043767 | 0.99795 | -0.047049 | 57.2306
64 | 1.5272 | 0.71454 | -1.5264 | -0.71991 | 0.00075181 | -0.0053766 | 0.048814 | 0.048883 | 0.048883 | 0.99709 | -0.039565 | 0.99663 | -0.035564 | 22.2196
65 | -0.38813 | -0.18798 | 0.38814 | 0.18717 | 7.1282e-06 | -0.00080959 | 0.012493 | 0.012483 | 0.012493 | 0.99648 | -0.035754 | 0.99649 | -0.035913 | 5.6788
66 | -0.38814 | -0.18717 | 0.38818 | 0.18703 | 3.9109e-05 | -0.00014253 | 0.012483 | 0.012481 | 0.012483 | 0.99649 | -0.035913 | 0.9966 | -0.035237 | 5.9443
67 | -0.69473 | -0.3355 | 0.69476 | 0.33457 | 2.6328e-05 | -0.00092919 | 0.022347 | 0.022336 | 0.022347 | 0.9966 | -0.035237 | 0.99663 | -0.035564 | 10.1579
68 | 0.83165 | 0.38534 | -0.8314 | -0.38542 | 0.00024515 | -7.7827e-05 | 0.026549 | 0.026552 | 0.026552 | 0.99663 | -0.035564 | 0.99632 | -0.037829 | 12.6437
69 | 0.4435 | 0.1976 | -0.44343 | -0.20391 | 7.099e-05 | -0.0063114 | 0.014068 | 0.014144 | 0.014144 | 0.99628 | -0.038146 | 0.99613 | -0.036958 | 6.4291
70 | -0.4435 | -0.1976 | 0.44352 | 0.19756 | 1.6228e-05 | -4.437e-05 | 0.014068 | 0.014068 | 0.014068 | 0.99628 | -0.038146 | 0.99632 | -0.037829 | 6.6992
71 | 0.44343 | 0.20391 | -0.44342 | -0.20527 | 1.5364e-05 | -0.0013567 | 0.014144 | 0.014161 | 0.014161 | 0.99613 | -0.036958 | 0.9961 | -0.036688 | 6.4366
72 | 0.30613 | 0.13878 | -0.30612 | -0.13913 | 1.8846e-06 | -0.00035176 | 0.0097407 | 0.009745 | 0.009745 | 0.9961 | -0.036688 | 0.99609 | -0.036642 | 4.4295
73 | 0.27749 | 0.13371 | -0.27749 | -0.13439 | 3.0482e-06 | -0.00068548 | 0.0088999 | 0.0089085 | 0.0089085 | 0.99911 | 0.007628 | 0.9991 | 0.0077232 | 4.0493
74 | -0.50017 | -0.23921 | 0.50026 | 0.23269 | 9.3638e-05 | -0.0065211 | 0.016019 | 0.015938 | 0.016019 | 0.99911 | 0.007628 | 0.99929 | 0.0060921 | 7.2814
75 | 3.401 | 1.5892 | -3.3995 | -1.5884 | 0.0014569 | 0.00082969 | 0.10845 | 0.10845 | 0.10845 | 0.99929 | 0.0060921 | 0.99883 | 0.002886 | 51.641
76 | -0.30608 | -0.14757 | 0.30612 | 0.13913 | 4.5723e-05 | -0.0084399 | 0.0098489 | 0.009745 | 0.0098489 | 0.99596 | -0.035437 | 0.99609 | -0.036642 | 4.4768
77 | 0.30608 | 0.14757 | -0.30607 | -0.14824 | 3.6741e-06 | -0.00067028 | 0.0098489 | 0.0098573 | 0.0098573 | 0.99596 | -0.035437 | 0.99594 | -0.035333 | 4.4806
78 | 5.4667 | 2.5809 | -5.4662 | -2.5844 | 0.00057811 | -0.0035172 | 0.17469 | 0.17474 | 0.17474 | 0.99899 | -0.032046 | 0.99888 | -0.032495 | 27.3886
79 | 5.1528 | 2.4327 | -5.1526 | -2.432 | 0.00025932 | 0.0006604 | 0.16468 | 0.16468 | 0.16468 | 0.99888 | -0.032495 | 0.99878 | -0.037723 | 25.5316
80 | 4.8898 | 2.3052 | -4.8889 | -2.307 | 0.0008461 | -0.0018399 | 0.15625 | 0.15628 | 0.15628 | 0.99878 | -0.037723 | 0.99859 | -0.039791 | 43.17
81 | 0.2628 | 0.12686 | -0.26277 | -0.12708 | 2.4963e-05 | -0.00021881 | 0.0084343 | 0.0084372 | 0.0084372 | 0.99878 | -0.037723 | 0.99868 | -0.038355 | 4.0177
82 | -0.44393 | -0.21392 | 0.44393 | 0.21355 | 4.2924e-06 | -0.00037336 | 0.014271 | 0.014267 | 0.014271 | 0.99678 | -0.037582 | 0.99679 | -0.037665 | 6.487
83 | 0.072111 | 0.033844 | -0.072108 | -0.034207 | 2.9206e-06 | -0.00036278 | 0.002307 | 0.0023115 | 0.0023115 | 0.99678 | -0.037582 | 0.99674 | -0.037876 | 1.1007
84 | -0.44393 | -0.21355 | 0.44394 | 0.21284 | 8.1869e-06 | -0.00071281 | 0.014267 | 0.014258 | 0.014267 | 0.99679 | -0.037665 | 0.99681 | -0.037823 | 6.4848
85 | 0.072108 | 0.034207 | -0.072108 | -0.034924 | 2.1636e-07 | -0.0007167 | 0.0023115 | 0.0023204 | 0.0023204 | 0.99674 | -0.037876 | 0.99674 | -0.03785 | 1.0547
86 | 0.083338 | 0.040011 | -0.083338 | -0.040363 | 1.4191e-07 | -0.00035123 | 0.0026772 | 0.0026816 | 0.0026816 | 0.99681 | -0.037823 | 0.99681 | -0.037808 | 1.2189
87 | -0.52728 | -0.25285 | 0.52731 | 0.2528 | 2.8901e-05 | -4.8996e-05 | 0.016935 | 0.016934 | 0.016935 | 0.99681 | -0.037823 | 0.99686 | -0.037448 | 8.0642
88 | -3.9392 | -1.8496 | 3.9403 | 1.8488 | 0.0010355 | -0.00085715 | 0.12589 | 0.12587 | 0.12589 | 0.99795 | -0.047049 | 0.99819 | -0.04918 | 57.2207
89 | 0.068157 | 0.032017 | -0.068157 | -0.03301 | 2.6537e-07 | -0.00099282 | 0.002177 | 0.0021893 | 0.0021893 | 0.99854 | -0.033001 | 0.99853 | -0.032968 | 0.99516
90 | 0.21809 | 0.10557 | -0.21808 | -0.10562 | 4.1678e-06 | -5.4052e-05 | 0.0070071 | 0.0070078 | 0.0070078 | 0.99819 | -0.04918 | 0.99817 | -0.049307 | 3.3371
91 | -4.1584 | -1.9543 | 4.1585 | 1.9538 | 0.00016615 | -0.0005453 | 0.13288 | 0.13287 | 0.13288 | 0.99819 | -0.04918 | 0.99824 | -0.048699 | 36.7066
92 | 0.37502 | 0.18072 | -0.37501 | -0.18128 | 4.635e-06 | -0.00056513 | 0.012055 | 0.012062 | 0.012062 | 0.99686 | -0.037448 | 0.99685 | -0.037341 | 5.4828
93 | -1.0469 | -0.50355 | 1.047 | 0.50261 | 6.0784e-05 | -0.00093689 | 0.033642 | 0.03363 | 0.033642 | 0.99686 | -0.037448 | 0.99692 | -0.037945 | 15.2917
94 | 0.44529 | 0.20943 | -0.44528 | -0.21039 | 1.1043e-05 | -0.00096269 | 0.014249 | 0.014261 | 0.014261 | 0.99692 | -0.037945 | 0.9969 | -0.037742 | 6.4823
95 | -1.4923 | -0.71204 | 1.4924 | 0.71091 | 0.00015187 | -0.001133 | 0.047878 | 0.047864 | 0.047878 | 0.99692 | -0.037945 | 0.99701 | -0.038801 | 21.763
96 | 0.24681 | 0.11427 | -0.24681 | -0.11497 | 2.4639e-06 | -0.00070453 | 0.0078758 | 0.0078844 | 0.0078844 | 0.9969 | -0.037742 | 0.99689 | -0.037663 | 3.5838
97 | -4.5702 | -2.1532 | 4.5715 | 2.1546 | 0.0012911 | 0.0013943 | 0.1461 | 0.1461 | 0.1461 | 0.99824 | -0.048699 | 0.99859 | -0.039791 | 41.7419
98 | 0.37501 | 0.18128 | -0.37501 | -0.18163 | 2.8241e-06 | -0.00034399 | 0.012062 | 0.012067 | 0.012067 | 0.99685 | -0.037341 | 0.99685 | -0.037276 | 5.4848
99 | 0.31744 | 0.15245 | -0.31743 | -0.15374 | 7.5094e-06 | -0.001288 | 0.01018 | 0.010196 | 0.010196 | 0.99859 | -0.039791 | 0.99857 | -0.039587 | 4.6346
100 | 0.26277 | 0.12708 | -0.26277 | -0.12727 | 7.6182e-07 | -0.00019061 | 0.0084372 | 0.0084396 | 0.0084396 | 0.99868 | -0.038355 | 0.99868 | -0.03833 | 3.8362
101 | -0.099005 | -0.04795 | 0.099006 | 0.047386 | 3.2162e-07 | -0.00056447 | 0.0031856 | 0.0031785 | 0.0031856 | 0.99687 | -0.037565 | 0.99688 | -0.037593 | 1.448
102 | 0.1478 | 0.0682 | -0.14779 | -0.070718 | 3.1703e-06 | -0.0025186 | 0.0047136 | 0.0047446 | 0.0047446 | 0.99688 | -0.037593 | 0.99686 | -0.037419 | 2.1566
103 | -0.2468 | -0.11559 | 0.24681 | 0.11497 | 2.1423e-06 | -0.00061131 | 0.0078919 | 0.0078844 | 0.0078919 | 0.99688 | -0.037593 | 0.99689 | -0.037663 | 3.5872
104 | 0.14779 | 0.070718 | -0.14779 | -0.07158 | 1.0941e-06 | -0.00086146 | 0.0047446 | 0.0047555 | 0.0047555 | 0.99686 | -0.037419 | 0.99685 | -0.037355 | 2.1616

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.6983 | 5.4939

## res_load
| p_mw | q_mvar
0 | 0.18626 | 0.09021
1 | 0.21478 | 0.10402
2 | 0.2196 | 0.10636
3 | 0.25981 | 0.12583
4 | 0.22259 | 0.10781
5 | 0.39552 | 0.19156
6 | 0.18591 | 0.090039
7 | 0.26694 | 0.12928
8 | 0.26335 | 0.12755
9 | 0.06837 | 0.033113
10 | 0.20439 | 0.098991
11 | 0.32186 | 0.15588
12 | 0.18388 | 0.089058
13 | 0.081879 | 0.039656
14 | 0.18806 | 0.091083
15 | 0.068172 | 0.033017
16 | 0.10232 | 0.049556
17 | 0.2392 | 0.11585
18 | 0.2177 | 0.10544
19 | 0.33858 | 0.16398
20 | 0.084647 | 0.040996
21 | 0.14159 | 0.068575
22 | 0.26756 | 0.12959
23 | 0.37092 | 0.17965
24 | 0.072138 | 0.034938
25 | 0.4008 | 0.19412
26 | 0.071956 | 0.03485
27 | 0.38813 | 0.18798
28 | 0.30655 | 0.14847
29 | 0.38788 | 0.18786
30 | 0.13729 | 0.066493
31 | 0.31373 | 0.15194
32 | 0.27749 | 0.13439
33 | 0.30607 | 0.14824
34 | 0.26491 | 0.1283
35 | 0.31332 | 0.15175
36 | 0.2251 | 0.10902
37 | 0.32737 | 0.15855
38 | 0.37181 | 0.18008
39 | 0.068157 | 0.03301
40 | 0.072108 | 0.034924
41 | 0.083338 | 0.040363
42 | 0.1446 | 0.070034
43 | 0.19847 | 0.096123
44 | 0.21808 | 0.10562
45 | 0.41168 | 0.19939
46 | 0.31743 | 0.15374
47 | 0.26277 | 0.12727
48 | 0.37501 | 0.18163
49 | 0.099005 | 0.04795
50 | 0.14779 | 0.07158

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1