## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_330_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_330_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_330_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_330_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_330_0_node_138 | 20 | n |  | TRUE
5 | bus_MV_330_0_node_169 | 20 | n |  | TRUE
6 | bus_MV_330_0_node_16 | 20 | n |  | TRUE
7 | bus_MV_330_0_node_146 | 20 | n |  | TRUE
8 | bus_MV_330_0_node_4 | 20 | n |  | TRUE
9 | bus_MV_330_0_node_175 | 20 | n |  | TRUE
10 | bus_MV_330_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_330_0_node_6 | 20 | n |  | TRUE
12 | bus_MV_330_0_node_7 | 20 | n |  | TRUE
13 | bus_MV_330_0_node_8 | 20 | n |  | TRUE
14 | bus_MV_330_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_330_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_330_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_330_0_node_173 | 20 | n |  | TRUE
18 | bus_MV_330_0_node_12 | 20 | n |  | TRUE
19 | bus_MV_330_0_node_107 | 20 | n |  | TRUE
20 | bus_MV_330_0_node_108 | 20 | n |  | TRUE
21 | bus_MV_330_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_330_0_node_160 | 20 | n |  | TRUE
23 | bus_MV_330_0_node_30 | 20 | n |  | TRUE
24 | bus_MV_330_0_node_32 | 20 | n |  | TRUE
25 | bus_MV_330_0_node_31 | 20 | n |  | TRUE
26 | bus_MV_330_0_node_33 | 20 | n |  | TRUE
27 | bus_MV_330_0_node_82 | 20 | n |  | TRUE
28 | bus_MV_330_0_node_83 | 20 | n |  | TRUE
29 | bus_MV_330_0_node_84 | 20 | n |  | TRUE
30 | bus_MV_330_0_node_109 | 20 | n |  | TRUE
31 | bus_MV_330_0_node_110 | 20 | n |  | TRUE
32 | bus_MV_330_0_node_164 | 20 | n |  | TRUE
33 | bus_MV_330_0_node_111 | 20 | n |  | TRUE
34 | bus_MV_330_0_node_163 | 20 | n |  | TRUE
35 | bus_MV_330_0_node_114 | 20 | n |  | TRUE
36 | bus_MV_330_0_node_115 | 20 | n |  | TRUE
37 | bus_MV_330_0_node_116 | 20 | n |  | TRUE
38 | bus_MV_330_0_node_117 | 20 | n |  | TRUE
39 | bus_MV_330_0_node_170 | 20 | n |  | TRUE
40 | bus_MV_330_0_node_171 | 20 | n |  | TRUE
41 | bus_MV_330_0_node_123 | 20 | n |  | TRUE
42 | bus_MV_330_0_node_121 | 20 | n |  | TRUE
43 | bus_MV_330_0_node_119 | 20 | n |  | TRUE
44 | bus_MV_330_0_node_122 | 20 | n |  | TRUE
45 | bus_MV_330_0_node_118 | 20 | n |  | TRUE
46 | bus_MV_330_0_node_161 | 20 | n |  | TRUE
47 | bus_MV_330_0_node_120 | 20 | n |  | TRUE
48 | bus_MV_330_0_node_130 | 20 | n |  | TRUE
49 | bus_MV_330_0_node_124 | 20 | n |  | TRUE
50 | bus_MV_330_0_node_125 | 20 | n |  | TRUE
51 | bus_MV_330_0_node_126 | 20 | n |  | TRUE
52 | bus_MV_330_0_node_127 | 20 | n |  | TRUE
53 | bus_MV_330_0_node_128 | 20 | n |  | TRUE
54 | bus_MV_330_0_node_129 | 20 | n |  | TRUE
55 | bus_MV_330_0_node_142 | 20 | n |  | TRUE
56 | bus_MV_330_0_node_131 | 20 | n |  | TRUE
57 | bus_MV_330_0_node_132 | 20 | n |  | TRUE
58 | bus_MV_330_0_node_133 | 20 | n |  | TRUE
59 | bus_MV_330_0_node_134 | 20 | n |  | TRUE
60 | bus_MV_330_0_node_176 | 20 | n |  | TRUE
61 | bus_MV_330_0_node_135 | 20 | n |  | TRUE
62 | bus_MV_330_0_node_136 | 20 | n |  | TRUE
63 | bus_MV_330_0_node_137 | 20 | n |  | TRUE
64 | bus_MV_330_0_node_139 | 20 | n |  | TRUE
65 | bus_MV_330_0_node_140 | 20 | n |  | TRUE
66 | bus_MV_330_0_node_141 | 20 | n |  | TRUE
67 | bus_MV_330_0_node_143 | 20 | n |  | TRUE
68 | bus_MV_330_0_node_144 | 20 | n |  | TRUE
69 | bus_MV_330_0_node_145 | 20 | n |  | TRUE
70 | bus_MV_330_0_node_147 | 20 | n |  | TRUE
71 | bus_MV_330_0_node_148 | 20 | n |  | TRUE
72 | bus_MV_330_0_node_149 | 20 | n |  | TRUE
73 | bus_MV_330_0_node_150 | 20 | n |  | TRUE
74 | bus_MV_330_0_node_151 | 20 | n |  | TRUE
75 | bus_MV_330_0_node_152 | 20 | n |  | TRUE
76 | bus_MV_330_0_node_167 | 20 | n |  | TRUE
77 | bus_MV_330_0_node_172 | 20 | n |  | TRUE
78 | bus_HV_330_0_node_144 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_330_0_load_0 | 0 | 0.26418 | 0.12795 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_330_0_load_138 | 4 | 0.28078 | 0.13599 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_330_0_load_169 | 5 | 0.39468 | 0.19115 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_330_0_load_4 | 8 | 0.16626 | 0.080524 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_330_0_load_5 | 10 | 0.1165 | 0.056421 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_330_0_load_6 | 11 | 0.1565 | 0.075799 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_330_0_load_10 | 15 | 0.09162 | 0.044374 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_330_0_load_173 | 17 | 0.14852 | 0.071933 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_330_0_load_107 | 19 | 0.14566 | 0.070548 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_330_0_load_108 | 20 | 0.088396 | 0.042812 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_330_0_load_14 | 21 | 0.079319 | 0.038416 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_330_0_load_30 | 23 | 0.12708 | 0.061548 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_330_0_load_31 | 25 | 0.10879 | 0.05269 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_330_0_load_82 | 27 | 0.14991 | 0.072604 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_330_0_load_164 | 32 | 0.08474 | 0.041041 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_330_0_load_163 | 34 | 0.10594 | 0.051311 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_330_0_load_114 | 35 | 0.16451 | 0.079674 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_330_0_load_170 | 39 | 0.076859 | 0.037225 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_330_0_load_122 | 44 | 0.15773 | 0.076391 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_330_0_load_161 | 46 | 0.14239 | 0.068962 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_330_0_load_120 | 47 | 0.13375 | 0.064778 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_330_0_load_130 | 48 | 0.10419 | 0.05046 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_330_0_load_124 | 49 | 0.13843 | 0.067043 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_330_0_load_127 | 52 | 0.066091 | 0.032009 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_330_0_load_128 | 53 | 0.053266 | 0.025798 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_330_0_load_142 | 55 | 0.97417 | 0.47181 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_330_0_load_131 | 56 | 0.12502 | 0.060552 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_330_0_load_132 | 57 | 0.16831 | 0.081516 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_330_0_load_176 | 60 | 0.087188 | 0.042227 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_330_0_load_137 | 63 | 0.08607 | 0.041686 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_330_0_load_139 | 64 | 0.1203 | 0.058264 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_330_0_load_140 | 65 | 0.0911 | 0.044122 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_330_0_load_141 | 66 | 0.94251 | 0.45648 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_330_0_load_143 | 67 | 0.12338 | 0.059756 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_330_0_load_144 | 68 | 0.11882 | 0.057546 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_330_0_load_145 | 69 | 0.078198 | 0.037873 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_330_0_load_147 | 70 | 0.093081 | 0.045081 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_330_0_load_148 | 71 | 0.068626 | 0.033237 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_330_0_load_149 | 72 | 0.42699 | 0.2068 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_330_0_load_151 | 74 | 0.20745 | 0.10047 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_330_0_load_167 | 76 | 0.28613 | 0.13858 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_330_0_load_172 | 77 | 0.094671 | 0.045851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_330_0_line_0 |  | 0 | 1 | 0.076212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_330_0_line_1 |  | 1 | 2 | 0.44222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_330_0_line_2 |  | 1 | 3 | 0.56256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_330_0_line_3 |  | 2 | 4 | 0.033834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_330_0_line_4 |  | 3 | 5 | 0.024202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_330_0_line_5 |  | 3 | 6 | 1.3089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_330_0_line_6 |  | 3 | 7 | 0.11444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_330_0_line_7 |  | 4 | 62 | 0.074804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_330_0_line_8 |  | 6 | 22 | 0.11991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_330_0_line_9 |  | 6 | 21 | 0.082222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_330_0_line_10 |  | 7 | 70 | 0.012708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_330_0_line_11 |  | 7 | 68 | 0.040715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_330_0_line_12 |  | 8 | 9 | 2.8837 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_330_0_line_13 |  | 9 | 60 | 0.1392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_330_0_line_14 |  | 10 | 11 | 0.019287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_330_0_line_15 |  | 11 | 12 | 0.078017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_330_0_line_16 |  | 11 | 13 | 0.08758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_330_0_line_17 |  | 12 | 14 | 0.14527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_330_0_line_18 |  | 12 | 15 | 0.001046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_330_0_line_19 |  | 13 | 16 | 0.13986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_330_0_line_20 |  | 14 | 17 | 0.064793 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_330_0_line_21 |  | 16 | 18 | 0.3731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_330_0_line_22 |  | 16 | 19 | 0.027265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_330_0_line_23 |  | 18 | 20 | 0.079994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_330_0_line_24 |  | 19 | 29 | 0.014528 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_330_0_line_25 |  | 20 | 30 | 0.015856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_330_0_line_26 |  | 22 | 76 | 0.04697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_330_0_line_27 |  | 22 | 75 | 0.14297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_330_0_line_28 |  | 23 | 24 | 0.1036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_330_0_line_29 |  | 23 | 25 | 0.10201 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_330_0_line_30 |  | 24 | 26 | 0.16186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_330_0_line_31 |  | 26 | 27 | 0.098427 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_330_0_line_32 |  | 27 | 28 | 0.043766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_330_0_line_33 |  | 28 | 29 | 0.2152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_330_0_line_34 |  | 30 | 31 | 0.62167 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_330_0_line_35 |  | 31 | 32 | 0.059655 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_330_0_line_36 |  | 31 | 33 | 0.18954 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_330_0_line_37 |  | 33 | 34 | 0.08011 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
38 | MV_330_0_line_38 |  | 34 | 54 | 4.1291 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
39 | MV_330_0_line_39 |  | 35 | 36 | 0.014758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_330_0_line_40 |  | 36 | 37 | 0.00725 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
41 | MV_330_0_line_41 |  | 36 | 38 | 0.72335 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
42 | MV_330_0_line_42 |  | 37 | 39 | 0.13889 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
43 | MV_330_0_line_43 |  | 37 | 40 | 0.07814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_330_0_line_44 |  | 38 | 41 | 0.10708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_330_0_line_45 |  | 38 | 42 | 1.2517 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
46 | MV_330_0_line_46 |  | 38 | 43 | 0.13716 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_330_0_line_47 |  | 38 | 44 | 0.044724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_330_0_line_48 |  | 39 | 54 | 0.84313 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
49 | MV_330_0_line_49 |  | 40 | 77 | 0.046622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_330_0_line_50 |  | 41 | 49 | 0.041575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_330_0_line_51 |  | 42 | 48 | 0.0093821 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
52 | MV_330_0_line_52 |  | 43 | 47 | 0.071121 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_330_0_line_53 |  | 43 | 45 | 0.070946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_330_0_line_54 |  | 45 | 46 | 0.041795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_330_0_line_55 |  | 48 | 55 | 3.9113 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
56 | MV_330_0_line_56 |  | 49 | 50 | 0.073487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_330_0_line_57 |  | 50 | 51 | 0.025314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_330_0_line_58 |  | 51 | 52 | 0.035928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_330_0_line_59 |  | 53 | 54 | 0.041054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_330_0_line_60 |  | 55 | 68 | 0.02178 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
61 | MV_330_0_line_61 |  | 55 | 65 | 0.018098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_330_0_line_62 |  | 56 | 57 | 0.011766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_330_0_line_63 |  | 56 | 58 | 0.15085 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_330_0_line_64 |  | 57 | 59 | 0.022352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_330_0_line_65 |  | 58 | 60 | 1.8861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_330_0_line_66 |  | 59 | 61 | 0.28809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_330_0_line_67 |  | 61 | 62 | 0.20156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_330_0_line_68 |  | 61 | 63 | 0.031502 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_330_0_line_69 |  | 63 | 64 | 0.0066973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_330_0_line_70 |  | 65 | 66 | 0.00034975 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_330_0_line_71 |  | 66 | 67 | 0.0019395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_330_0_line_72 |  | 67 | 69 | 0.019984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_330_0_line_73 |  | 70 | 71 | 0.023334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_330_0_line_74 |  | 72 | 73 | 0.053436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_330_0_line_75 |  | 73 | 74 | 0.021847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_330_0_line_76 |  | 74 | 75 | 0.15337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_330_0_trafo_144 | 25 MVA 110/20 kV | 78 | 68 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2583056.6323 | 1244516.6642
1 | 2583013.2972 | 1244578.9172
2 | 2583274.5196 | 1244675.9773
3 | 2582927.7251 | 1244277.7729
4 | 2583287.4418 | 1244707.2459
5 | 2582913.4024 | 1244258.2353
6 | 2582621.8436 | 1243344.1076
7 | 2582853.0267 | 1244309.6541
8 | 2585381.5074 | 1249479.0475
9 | 2584674.6372 | 1246683.3652
10 | 2582450.6616 | 1242896.9426
11 | 2582431.5258 | 1242899.768
12 | 2582376.4832 | 1242953.5882
13 | 2582396.6103 | 1242819.4324
14 | 2582433.4973 | 1243087.2582
15 | 2582375.8513 | 1242954.4218
16 | 2582340.2372 | 1242691.4422
17 | 2582489.6412 | 1243119.6008
18 | 2582110.0174 | 1242739.9547
19 | 2582328.3653 | 1242666.8845
20 | 2582041.8539 | 1242760.9637
21 | 2582589.9411 | 1243268.3293
22 | 2582697.3115 | 1243354.3813
23 | 2582719.8031 | 1242533.9978
24 | 2582698.7018 | 1242635.1566
25 | 2582821.5874 | 1242527.152
26 | 2582605.0621 | 1242740.2202
27 | 2582539.5197 | 1242666.7896
28 | 2582498.4028 | 1242651.4683
29 | 2582318.7865 | 1242655.9618
30 | 2582033.4443 | 1242774.2198
31 | 2581954.9968 | 1242447.3085
32 | 2582012.1996 | 1242464.6115
33 | 2581784.068 | 1242449.6903
34 | 2581755.683 | 1242524.6029
35 | 2578237.3604 | 1245531.7509
36 | 2578252.0225 | 1245533.4202
37 | 2578257.1341 | 1245528.5316
38 | 2578522.0233 | 1246045.8162
39 | 2578155.5421 | 1245437.3814
40 | 2578310.7294 | 1245510.7898
41 | 2578591.0063 | 1246124.9943
42 | 2579396.198 | 1246229.6529
43 | 2578416.9959 | 1245990.8638
44 | 2578556.1753 | 1246016.8513
45 | 2578395.2202 | 1245925.5237
46 | 2578418.6582 | 1245891.7831
47 | 2578403.4955 | 1246060.6913
48 | 2579405.2758 | 1246227.2827
49 | 2578623.2059 | 1246151.4057
50 | 2578680.237 | 1246197.329
51 | 2578703.0067 | 1246208.5207
52 | 2578736.0531 | 1246222.8219
53 | 2578162.4022 | 1244559.206
54 | 2578183.0173 | 1244594.6969
55 | 2582846.0178 | 1244367.3834
56 | 2583648.6836 | 1244897.386
57 | 2583639.8413 | 1244889.6242
58 | 2583773.6966 | 1244949.2239
59 | 2583620.6659 | 1244879.3467
60 | 2584550.3408 | 1246668.0241
61 | 2583474.0062 | 1244655.0019
62 | 2583316.0123 | 1244776.3792
63 | 2583450.4269 | 1244634.1117
64 | 2583445.414 | 1244629.6705
65 | 2582855.1454 | 1244383.0107
66 | 2582855.3217 | 1244383.3127
67 | 2582856.2999 | 1244384.9875
68 | 2582839.6848 | 1244348.1216
69 | 2582866.3788 | 1244402.2436
70 | 2582863.6523 | 1244316.6241
71 | 2582881.4235 | 1244330.7851
72 | 2582671.1784 | 1243183.6594
73 | 2582708.3878 | 1243221.9207
74 | 2582724.1499 | 1243237.0482
75 | 2582827.3081 | 1243347.3973
76 | 2582682.5451 | 1243310.8415
77 | 2578343.8338 | 1245543.7117
78 | 2582839.6848 | 1244348.1216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99852 | 0.011353 | 0.26418 | 0.12795
1 | 0.99854 | 0.011116 | 0 | 0
2 | 0.99796 | 0.015654 | 0 | 0
3 | 0.99946 | 0.004064 | 0 | 0
4 | 0.99792 | 0.016014 | 0.28078 | 0.13599
5 | 0.99945 | 0.004178 | 0.39468 | 0.19115
6 | 0.99781 | 0.017229 | 0 | 0
7 | 0.99985 | 0.0011189 | 0 | 0
8 | 0.99551 | 0.0070972 | 0.16626 | 0.080524
9 | 0.99644 | 0.013359 | 0 | 0
10 | 0.98078 | -0.61912 | 0.1165 | 0.056421
11 | 0.98079 | -0.61915 | 0.1565 | 0.075799
12 | 0.98076 | -0.61894 | 0 | 0
13 | 0.98084 | -0.61967 | 0 | 0
14 | 0.98073 | -0.61868 | 0 | 0
15 | 0.98076 | -0.61893 | 0.09162 | 0.044374
16 | 0.98094 | -0.62047 | 0 | 0
17 | 0.98071 | -0.61881 | 0.14852 | 0.071933
18 | 0.98144 | -0.62462 | 0 | 0
19 | 0.98092 | -0.62032 | 0.14566 | 0.070548
20 | 0.98155 | -0.62548 | 0.088396 | 0.042812
21 | 0.9978 | 0.017302 | 0.079319 | 0.038416
22 | 0.99767 | 0.018468 | 0 | 0
23 | 0.98065 | -0.61894 | 0.12708 | 0.061548
24 | 0.98068 | -0.61924 | 0 | 0
25 | 0.98063 | -0.61908 | 0.10879 | 0.05269
26 | 0.98073 | -0.61966 | 0 | 0
27 | 0.98078 | -0.61932 | 0.14991 | 0.072604
28 | 0.9808 | -0.61951 | 0 | 0
29 | 0.98091 | -0.6204 | 0 | 0
30 | 0.98157 | -0.62567 | 0 | 0
31 | 0.98195 | -0.62091 | 0 | 0
32 | 0.98195 | -0.62085 | 0.08474 | 0.041041
33 | 0.98208 | -0.6193 | 0 | 0
34 | 0.98219 | -0.61615 | 0.10594 | 0.051311
35 | 0.98883 | -0.37875 | 0.16451 | 0.079674
36 | 0.98883 | -0.37878 | 0 | 0
37 | 0.98882 | -0.37887 | 0 | 0
38 | 0.98937 | -0.36802 | 0 | 0
39 | 0.98874 | -0.38061 | 0.076859 | 0.037225
40 | 0.98881 | -0.37879 | 0 | 0
41 | 0.98934 | -0.36779 | 0 | 0
42 | 0.99063 | -0.34213 | 0 | 0
43 | 0.98932 | -0.3676 | 0 | 0
44 | 0.98936 | -0.36793 | 0.15773 | 0.076391
45 | 0.9893 | -0.36748 | 0 | 0
46 | 0.9893 | -0.36741 | 0.14239 | 0.068962
47 | 0.9893 | -0.36771 | 0.13375 | 0.064778
48 | 0.99064 | -0.34194 | 0.10419 | 0.05046
49 | 0.98933 | -0.3677 | 0.13843 | 0.067043
50 | 0.98932 | -0.36765 | 0 | 0
51 | 0.98932 | -0.36763 | 0 | 0
52 | 0.98932 | -0.3676 | 0.066091 | 0.032009
53 | 0.98759 | -0.42166 | 0.053266 | 0.025798
54 | 0.98759 | -0.42168 | 0 | 0
55 | 0.99996 | -0.00083151 | 0.97417 | 0.47181
56 | 0.99743 | 0.019845 | 0.12502 | 0.060552
57 | 0.99744 | 0.019801 | 0.16831 | 0.081516
58 | 0.99739 | 0.020202 | 0 | 0
59 | 0.99746 | 0.019673 | 0 | 0
60 | 0.99647 | 0.013125 | 0.087188 | 0.042227
61 | 0.99766 | 0.018086 | 0 | 0
62 | 0.99785 | 0.016563 | 0 | 0
63 | 0.99765 | 0.018163 | 0.08607 | 0.041686
64 | 0.99765 | 0.018173 | 0.1203 | 0.058264
65 | 0.99993 | -0.0005649 | 0.0911 | 0.044122
66 | 0.99993 | -0.00056012 | 0.94251 | 0.45648
67 | 0.99993 | -0.00055551 | 0.12338 | 0.059756
68 | 1 | 0 | -7.5684 | -3.4136
69 | 0.99992 | -0.00053711 | 0.078198 | 0.037873
70 | 0.99985 | 0.001143 | 0.093081 | 0.045081
71 | 0.99985 | 0.0011617 | 0.068626 | 0.033237
72 | 0.99739 | 0.02101 | 0.42699 | 0.2068
73 | 0.99742 | 0.020738 | 0 | 0
74 | 0.99743 | 0.020628 | 0.20745 | 0.10047
75 | 0.99755 | 0.019493 | 0 | 0
76 | 0.99765 | 0.018628 | 0.28613 | 0.13858
77 | 0.98881 | -0.37874 | 0.094671 | 0.045851
78 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26418 | -0.12795 | 0.26418 | 0.12613 | 7.3072e-06 | -0.0018121 | 0.0084861 | 0.0084633 | 0.0084861 | 0.99852 | 0.011353 | 0.99854 | 0.011116 | 3.8573
1 | 1.0353 | 0.4623 | -1.0347 | -0.47263 | 0.00063677 | -0.010333 | 0.03278 | 0.032905 | 0.032905 | 0.99854 | 0.011116 | 0.99796 | 0.015654 | 14.9568
2 | -1.2995 | -0.58844 | 1.3008 | 0.57541 | 0.0012724 | -0.013028 | 0.041241 | 0.041083 | 0.041241 | 0.99854 | 0.011116 | 0.99946 | 0.004064 | 18.7459
3 | 1.0347 | 0.47263 | -1.0347 | -0.47342 | 4.8919e-05 | -0.00078998 | 0.032905 | 0.032915 | 0.032915 | 0.99796 | 0.015654 | 0.99792 | 0.016014 | 14.9612
4 | 0.39468 | 0.19058 | -0.39468 | -0.19115 | 5.1806e-06 | -0.00057569 | 0.012659 | 0.012666 | 0.012666 | 0.99946 | 0.004064 | 0.99945 | 0.004178 | 5.7574
5 | 1.002 | 0.43898 | -1.0002 | -0.46962 | 0.0017647 | -0.030642 | 0.031596 | 0.031968 | 0.031968 | 0.99946 | 0.004064 | 0.99781 | 0.017229 | 14.531
6 | -2.6975 | -1.205 | 2.6986 | 1.2026 | 0.001112 | -0.0024007 | 0.085331 | 0.085299 | 0.085331 | 0.99946 | 0.004064 | 0.99985 | 0.0011189 | 38.7868
7 | 0.75388 | 0.33744 | -0.75382 | -0.3392 | 5.7059e-05 | -0.0017616 | 0.023893 | 0.023914 | 0.023914 | 0.99792 | 0.016014 | 0.99785 | 0.016563 | 10.87
8 | 0.9209 | 0.43316 | -0.92076 | -0.43596 | 0.00013893 | -0.0028089 | 0.029443 | 0.029478 | 0.029478 | 0.99781 | 0.017229 | 0.99767 | 0.018468 | 13.399
9 | 0.07932 | 0.036462 | -0.079319 | -0.038416 | 7.0682e-07 | -0.0019543 | 0.0025256 | 0.0025498 | 0.0025498 | 0.99781 | 0.017229 | 0.9978 | 0.017302 | 1.159
10 | 0.16171 | 0.077458 | -0.16171 | -0.077761 | 4.5497e-07 | -0.00030318 | 0.0051768 | 0.0051805 | 0.0051805 | 0.99985 | 0.0011189 | 0.99985 | 0.001143 | 2.3548
11 | -2.8603 | -1.28 | 2.8607 | 1.2792 | 0.00044487 | -0.00084002 | 0.090474 | 0.090462 | 0.090474 | 0.99985 | 0.0011189 | 1 | 0 | 41.1244
12 | -0.16626 | -0.080524 | 0.16641 | 0.077201 | 0.00014626 | -0.0033233 | 0.0053568 | 0.0053144 | 0.0053568 | 0.99551 | 0.0070972 | 0.99644 | 0.013359 | 2.5509
13 | -0.16641 | -0.077201 | 0.16641 | 0.073902 | 5.2092e-06 | -0.0032985 | 0.0053144 | 0.0052749 | 0.0053144 | 0.99644 | 0.013359 | 0.99647 | 0.013125 | 2.4157
14 | -0.1165 | -0.056421 | 0.1165 | 0.055979 | 3.7318e-07 | -0.00044286 | 0.0038098 | 0.0038041 | 0.0038098 | 0.98078 | -0.61912 | 0.98079 | -0.61915 | 1.7317
15 | 0.24016 | 0.11109 | -0.24015 | -0.11287 | 6.3354e-06 | -0.0017899 | 0.0077881 | 0.0078104 | 0.0078104 | 0.98079 | -0.61915 | 0.98076 | -0.61894 | 3.5502
16 | -0.51316 | -0.24286 | 0.51319 | 0.24086 | 3.2597e-05 | -0.0020019 | 0.01671 | 0.016685 | 0.01671 | 0.98079 | -0.61915 | 0.98084 | -0.61967 | 7.5954
17 | 0.14853 | 0.068525 | -0.14853 | -0.07186 | 4.5345e-06 | -0.0033349 | 0.0048146 | 0.0048566 | 0.0048566 | 0.98076 | -0.61894 | 0.98073 | -0.61868 | 2.2075
18 | 0.09162 | 0.04435 | -0.09162 | -0.044374 | 1.2432e-08 | -2.402e-05 | 0.0029961 | 0.0029964 | 0.0029964 | 0.98076 | -0.61894 | 0.98076 | -0.61893 | 1.362
19 | -0.51319 | -0.24086 | 0.51324 | 0.23766 | 5.1852e-05 | -0.0031975 | 0.016685 | 0.016645 | 0.016685 | 0.98084 | -0.61967 | 0.98094 | -0.62047 | 7.5839
20 | 0.14853 | 0.07186 | -0.14852 | -0.071933 | 2.7234e-06 | -7.2692e-05 | 0.0048566 | 0.0048576 | 0.0048576 | 0.98073 | -0.61868 | 0.98071 | -0.61881 | 2.3131
21 | -1.0448 | -0.48217 | 1.0454 | 0.47376 | 0.00056938 | -0.0084072 | 0.033863 | 0.033758 | 0.033863 | 0.98094 | -0.62047 | 0.98144 | -0.62462 | 15.3922
22 | 0.53155 | 0.24451 | -0.53154 | -0.24513 | 1.0796e-05 | -0.00062318 | 0.017218 | 0.017226 | 0.017226 | 0.98094 | -0.62047 | 0.98092 | -0.62032 | 7.83
23 | -1.0454 | -0.47376 | 1.0455 | 0.47196 | 0.00012162 | -0.0018038 | 0.033758 | 0.033736 | 0.033758 | 0.98144 | -0.62462 | 0.98155 | -0.62548 | 15.3445
24 | 0.38587 | 0.17458 | -0.38587 | -0.1746 | 4.0213e-06 | -1.4169e-05 | 0.012464 | 0.012464 | 0.012464 | 0.98092 | -0.62032 | 0.98091 | -0.6204 | 5.9354
25 | -1.1339 | -0.51477 | 1.1339 | 0.51442 | 2.8388e-05 | -0.00035632 | 0.036623 | 0.036619 | 0.036623 | 0.98155 | -0.62548 | 0.98157 | -0.62567 | 16.647
26 | 0.28614 | 0.13747 | -0.28613 | -0.13858 | 5.2984e-06 | -0.0011146 | 0.0091853 | 0.0091993 | 0.0091993 | 0.99767 | 0.018468 | 0.99765 | 0.018628 | 4.1815
27 | 0.63462 | 0.2985 | -0.63455 | -0.30187 | 7.8758e-05 | -0.0033738 | 0.020293 | 0.020335 | 0.020335 | 0.99767 | 0.018468 | 0.99755 | 0.019493 | 9.2431
28 | -0.23587 | -0.11412 | 0.23588 | 0.11175 | 8.1963e-06 | -0.0023763 | 0.0077135 | 0.0076832 | 0.0077135 | 0.98065 | -0.61894 | 0.98068 | -0.61924 | 3.5061
29 | 0.10879 | 0.052574 | -0.10879 | -0.05269 | 2.3005e-06 | -0.00011567 | 0.0035569 | 0.0035584 | 0.0035584 | 0.98065 | -0.61894 | 0.98063 | -0.61908 | 1.6945
30 | -0.23588 | -0.11175 | 0.2359 | 0.10803 | 1.2679e-05 | -0.0037132 | 0.0076832 | 0.007637 | 0.0076832 | 0.98068 | -0.61924 | 0.98073 | -0.61966 | 3.4924
31 | -0.2359 | -0.10803 | 0.23591 | 0.10793 | 1.0226e-05 | -0.00010662 | 0.007637 | 0.0076356 | 0.007637 | 0.98073 | -0.61966 | 0.98078 | -0.61932 | 3.6367
32 | -0.38581 | -0.18053 | 0.38582 | 0.17953 | 9.175e-06 | -0.0010025 | 0.012537 | 0.012525 | 0.012537 | 0.98078 | -0.61932 | 0.9808 | -0.61951 | 5.6989
33 | -0.38582 | -0.17953 | 0.38587 | 0.1746 | 4.4849e-05 | -0.0049299 | 0.012525 | 0.012464 | 0.012525 | 0.9808 | -0.61951 | 0.98091 | -0.6204 | 5.6932
34 | -1.1339 | -0.51442 | 1.1343 | 0.49415 | 0.00039992 | -0.020265 | 0.036619 | 0.036373 | 0.036619 | 0.98157 | -0.62567 | 0.98195 | -0.62091 | 10.1157
35 | 0.08474 | 0.039668 | -0.08474 | -0.041041 | 6.0634e-07 | -0.0013732 | 0.0027506 | 0.002768 | 0.002768 | 0.98195 | -0.62091 | 0.98195 | -0.62085 | 1.2582
36 | -1.219 | -0.53382 | 1.2192 | 0.52765 | 0.00013986 | -0.0061688 | 0.039123 | 0.039049 | 0.039123 | 0.98195 | -0.62091 | 0.98208 | -0.6193 | 10.8075
37 | -1.2192 | -0.52765 | 1.2193 | 0.52768 | 0.00011214 | 3.1157e-05 | 0.039049 | 0.039048 | 0.039049 | 0.98208 | -0.6193 | 0.98219 | -0.61615 | 11.157
38 | -1.3252 | -0.57899 | 1.3306 | 0.5815 | 0.0053099 | 0.0025036 | 0.042505 | 0.042444 | 0.042505 | 0.98219 | -0.61615 | 0.98759 | -0.42168 | 10.3671
39 | -0.16451 | -0.079674 | 0.16451 | 0.079329 | 5.6054e-07 | -0.00034437 | 0.0053361 | 0.0053318 | 0.0053361 | 0.98883 | -0.37875 | 0.98883 | -0.37878 | 2.4255
40 | 1.5566 | 0.68178 | -1.5566 | -0.68205 | 6.5315e-06 | -0.00026481 | 0.049612 | 0.049615 | 0.049615 | 0.98883 | -0.37878 | 0.98882 | -0.37887 | 11.785
41 | -1.7211 | -0.76111 | 1.7219 | 0.73481 | 0.00079451 | -0.026305 | 0.05494 | 0.054626 | 0.05494 | 0.98883 | -0.37878 | 0.98937 | -0.36802 | 13.0499
42 | 1.462 | 0.63911 | -1.4618 | -0.64419 | 0.00011044 | -0.0050862 | 0.04658 | 0.046641 | 0.046641 | 0.98882 | -0.37887 | 0.98874 | -0.38061 | 11.0786
43 | 0.094673 | 0.042939 | -0.094672 | -0.044763 | 9.6783e-07 | -0.0018239 | 0.0030349 | 0.0030572 | 0.0030572 | 0.98882 | -0.37887 | 0.98881 | -0.37879 | 1.3897
44 | 0.20453 | 0.092433 | -0.20452 | -0.094933 | 6.1589e-06 | -0.0025006 | 0.0065488 | 0.0065792 | 0.0065792 | 0.98937 | -0.36802 | 0.98934 | -0.36779 | 2.9905
45 | -2.3604 | -1.0304 | 2.3629 | 0.9859 | 0.0025683 | -0.044506 | 0.075146 | 0.07461 | 0.075146 | 0.98937 | -0.36802 | 0.99063 | -0.34213 | 17.8495
46 | 0.27616 | 0.12782 | -0.27614 | -0.13102 | 1.45e-05 | -0.003201 | 0.008879 | 0.0089187 | 0.0089187 | 0.98937 | -0.36802 | 0.98932 | -0.3676 | 4.0539
47 | 0.15773 | 0.075346 | -0.15773 | -0.076391 | 1.5572e-06 | -0.0010448 | 0.0051003 | 0.0051135 | 0.0051135 | 0.98937 | -0.36802 | 0.98936 | -0.36793 | 2.3243
48 | 1.385 | 0.60697 | -1.3838 | -0.60634 | 0.0011718 | 0.00063086 | 0.044149 | 0.044162 | 0.044162 | 0.98874 | -0.38061 | 0.98759 | -0.42168 | 10.7712
49 | 0.094672 | 0.044763 | -0.094671 | -0.045851 | 5.8434e-07 | -0.0010882 | 0.0030572 | 0.0030709 | 0.0030709 | 0.98881 | -0.37879 | 0.98881 | -0.37874 | 1.3959
50 | 0.20452 | 0.094933 | -0.20452 | -0.095904 | 2.4068e-06 | -0.00097087 | 0.0065792 | 0.0065912 | 0.0065912 | 0.98934 | -0.36779 | 0.98933 | -0.3677 | 2.996
51 | -2.3629 | -0.9859 | 2.3629 | 0.98557 | 1.9114e-05 | -0.00033418 | 0.07461 | 0.074606 | 0.07461 | 0.99063 | -0.34213 | 0.99064 | -0.34194 | 17.7221
52 | 0.13375 | 0.064696 | -0.13375 | -0.064778 | 2.3823e-06 | -8.1606e-05 | 0.0043354 | 0.0043364 | 0.0043364 | 0.98932 | -0.3676 | 0.9893 | -0.36771 | 2.065
53 | 0.14239 | 0.066328 | -0.14239 | -0.067986 | 1.9987e-06 | -0.0016573 | 0.0045835 | 0.0046042 | 0.0046042 | 0.98932 | -0.3676 | 0.9893 | -0.36748 | 2.0928
54 | 0.14239 | 0.067986 | -0.14239 | -0.068962 | 1.186e-06 | -0.00097631 | 0.0046042 | 0.0046165 | 0.0046165 | 0.9893 | -0.36748 | 0.9893 | -0.36741 | 2.0984
55 | -2.4671 | -1.036 | 2.4841 | 1.0555 | 0.016938 | 0.019509 | 0.077974 | 0.077918 | 0.077974 | 0.99064 | -0.34194 | 0.99996 | -0.00083151 | 19.0181
56 | 0.066091 | 0.028861 | -0.066091 | -0.030578 | 4.3863e-07 | -0.0017172 | 0.0021043 | 0.0021249 | 0.0021249 | 0.98933 | -0.3677 | 0.98932 | -0.36765 | 0.96585
57 | 0.066091 | 0.030578 | -0.066091 | -0.03117 | 1.5311e-07 | -0.00059151 | 0.0021249 | 0.0021322 | 0.0021322 | 0.98932 | -0.36765 | 0.98932 | -0.36763 | 0.96918
58 | 0.066091 | 0.03117 | -0.066091 | -0.032009 | 2.1913e-07 | -0.00083953 | 0.0021322 | 0.0021428 | 0.0021428 | 0.98932 | -0.36763 | 0.98932 | -0.3676 | 0.97398
59 | -0.053266 | -0.025798 | 0.053266 | 0.024842 | 1.6288e-07 | -0.00095598 | 0.00173 | 0.001718 | 0.00173 | 0.98759 | -0.42166 | 0.98759 | -0.42168 | 0.78635
60 | -4.6935 | -2.1246 | 4.6936 | 2.124 | 0.00017633 | -0.00067014 | 0.14873 | 0.14872 | 0.14873 | 0.99996 | -0.00083151 | 1 | 0 | 35.328
61 | 1.2352 | 0.59728 | -1.2352 | -0.5977 | 3.7911e-05 | -0.00042081 | 0.03961 | 0.039615 | 0.039615 | 0.99996 | -0.00083151 | 0.99993 | -0.0005649 | 18.0069
62 | -0.37886 | -0.171 | 0.37886 | 0.17072 | 2.2725e-06 | -0.00027881 | 0.01203 | 0.012027 | 0.01203 | 0.99743 | 0.019845 | 0.99744 | 0.019801 | 5.4682
63 | 0.25383 | 0.11045 | -0.25382 | -0.11403 | 1.2993e-05 | -0.0035792 | 0.0080117 | 0.0080536 | 0.0080536 | 0.99743 | 0.019845 | 0.99739 | 0.020202 | 3.6607
64 | -0.54717 | -0.25224 | 0.54718 | 0.25171 | 9.0699e-06 | -0.00052826 | 0.017438 | 0.017431 | 0.017438 | 0.99744 | 0.019801 | 0.99746 | 0.019673 | 7.9262
65 | 0.25382 | 0.11403 | -0.2536 | -0.11613 | 0.00021869 | -0.0021009 | 0.0080536 | 0.0080804 | 0.0080804 | 0.99739 | 0.020202 | 0.99647 | 0.013125 | 3.8478
66 | -0.54718 | -0.25171 | 0.54729 | 0.2449 | 0.00011631 | -0.0068104 | 0.017431 | 0.017349 | 0.017431 | 0.99746 | 0.019673 | 0.99766 | 0.018086 | 7.9233
67 | -0.75367 | -0.34394 | 0.75382 | 0.3392 | 0.00015425 | -0.0047451 | 0.023971 | 0.023914 | 0.023971 | 0.99766 | 0.018086 | 0.99785 | 0.016563 | 10.896
68 | 0.20637 | 0.099042 | -0.20637 | -0.09979 | 1.8476e-06 | -0.00074807 | 0.0066235 | 0.0066329 | 0.0066329 | 0.99766 | 0.018086 | 0.99765 | 0.018163 | 3.015
69 | 0.1203 | 0.058105 | -0.1203 | -0.058264 | 1.337e-07 | -0.00015911 | 0.0038657 | 0.0038677 | 0.0038677 | 0.99765 | 0.018163 | 0.99765 | 0.018173 | 1.7581
70 | 1.1441 | 0.55358 | -1.1441 | -0.55359 | 6.2857e-07 | -8.1629e-06 | 0.036693 | 0.036693 | 0.036693 | 0.99993 | -0.0005649 | 0.99993 | -0.00056012 | 16.6786
71 | 0.20158 | 0.097106 | -0.20158 | -0.097152 | 1.0806e-07 | -4.6269e-05 | 0.0064596 | 0.0064602 | 0.0064602 | 0.99993 | -0.00056012 | 0.99993 | -0.00055551 | 2.9364
72 | 0.078198 | 0.037396 | -0.078198 | -0.037873 | 1.6746e-07 | -0.00047702 | 0.0025024 | 0.0025084 | 0.0025084 | 0.99993 | -0.00055551 | 0.99992 | -0.00053711 | 1.1402
73 | 0.068626 | 0.03268 | -0.068626 | -0.033237 | 1.505e-07 | -0.00055692 | 0.0021945 | 0.0022015 | 0.0022015 | 0.99985 | 0.001143 | 0.99985 | 0.0011617 | 1.0007
74 | -0.42699 | -0.2068 | 0.42701 | 0.20554 | 1.3436e-05 | -0.0012652 | 0.013732 | 0.013716 | 0.013732 | 0.99739 | 0.02101 | 0.99742 | 0.020738 | 6.2417
75 | -0.42701 | -0.20554 | 0.42701 | 0.20502 | 5.4841e-06 | -0.0005173 | 0.013716 | 0.013709 | 0.013716 | 0.99742 | 0.020738 | 0.99743 | 0.020628 | 6.2344
76 | -0.63446 | -0.30549 | 0.63455 | 0.30187 | 8.4854e-05 | -0.0036184 | 0.02038 | 0.020335 | 0.02038 | 0.99743 | 0.020628 | 0.99755 | 0.019493 | 9.2638

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.6872 | 3.4712

## res_load
| p_mw | q_mvar
0 | 0.26418 | 0.12795
1 | 0.28078 | 0.13599
2 | 0.39468 | 0.19115
3 | 0.16626 | 0.080524
4 | 0.1165 | 0.056421
5 | 0.1565 | 0.075799
6 | 0.09162 | 0.044374
7 | 0.14852 | 0.071933
8 | 0.14566 | 0.070548
9 | 0.088396 | 0.042812
10 | 0.079319 | 0.038416
11 | 0.12708 | 0.061548
12 | 0.10879 | 0.05269
13 | 0.14991 | 0.072604
14 | 0.08474 | 0.041041
15 | 0.10594 | 0.051311
16 | 0.16451 | 0.079674
17 | 0.076859 | 0.037225
18 | 0.15773 | 0.076391
19 | 0.14239 | 0.068962
20 | 0.13375 | 0.064778
21 | 0.10419 | 0.05046
22 | 0.13843 | 0.067043
23 | 0.066091 | 0.032009
24 | 0.053266 | 0.025798
25 | 0.97417 | 0.47181
26 | 0.12502 | 0.060552
27 | 0.16831 | 0.081516
28 | 0.087188 | 0.042227
29 | 0.08607 | 0.041686
30 | 0.1203 | 0.058264
31 | 0.0911 | 0.044122
32 | 0.94251 | 0.45648
33 | 0.12338 | 0.059756
34 | 0.11882 | 0.057546
35 | 0.078198 | 0.037873
36 | 0.093081 | 0.045081
37 | 0.068626 | 0.033237
38 | 0.42699 | 0.2068
39 | 0.20745 | 0.10047
40 | 0.28613 | 0.13858
41 | 0.094671 | 0.045851

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1