## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_330_1_node_168 | 20 | n |  | TRUE
1 | bus_MV_330_1_node_28 | 20 | n |  | TRUE
2 | bus_MV_330_1_node_85 | 20 | n |  | TRUE
3 | bus_MV_330_1_node_162 | 20 | n |  | TRUE
4 | bus_MV_330_1_node_113 | 20 | n |  | TRUE
5 | bus_MV_330_1_node_165 | 20 | n |  | TRUE
6 | bus_MV_330_1_node_34 | 20 | n |  | TRUE
7 | bus_MV_330_1_node_17 | 20 | n |  | TRUE
8 | bus_MV_330_1_node_18 | 20 | n |  | TRUE
9 | bus_MV_330_1_node_19 | 20 | n |  | TRUE
10 | bus_MV_330_1_node_89 | 20 | n |  | TRUE
11 | bus_MV_330_1_node_20 | 20 | n |  | TRUE
12 | bus_MV_330_1_node_21 | 20 | n |  | TRUE
13 | bus_MV_330_1_node_22 | 20 | n |  | TRUE
14 | bus_MV_330_1_node_23 | 20 | n |  | TRUE
15 | bus_MV_330_1_node_174 | 20 | n |  | TRUE
16 | bus_MV_330_1_node_24 | 20 | n |  | TRUE
17 | bus_MV_330_1_node_156 | 20 | n |  | TRUE
18 | bus_MV_330_1_node_25 | 20 | n |  | TRUE
19 | bus_MV_330_1_node_159 | 20 | n |  | TRUE
20 | bus_MV_330_1_node_50 | 20 | n |  | TRUE
21 | bus_MV_330_1_node_29 | 20 | n |  | TRUE
22 | bus_MV_330_1_node_44 | 20 | n |  | TRUE
23 | bus_MV_330_1_node_155 | 20 | n |  | TRUE
24 | bus_MV_330_1_node_154 | 20 | n |  | TRUE
25 | bus_MV_330_1_node_37 | 20 | n |  | TRUE
26 | bus_MV_330_1_node_35 | 20 | n |  | TRUE
27 | bus_MV_330_1_node_39 | 20 | n |  | TRUE
28 | bus_MV_330_1_node_38 | 20 | n |  | TRUE
29 | bus_MV_330_1_node_36 | 20 | n |  | TRUE
30 | bus_MV_330_1_node_45 | 20 | n |  | TRUE
31 | bus_MV_330_1_node_46 | 20 | n |  | TRUE
32 | bus_MV_330_1_node_40 | 20 | n |  | TRUE
33 | bus_MV_330_1_node_42 | 20 | n |  | TRUE
34 | bus_MV_330_1_node_166 | 20 | n |  | TRUE
35 | bus_MV_330_1_node_43 | 20 | n |  | TRUE
36 | bus_MV_330_1_node_60 | 20 | n |  | TRUE
37 | bus_MV_330_1_node_54 | 20 | n |  | TRUE
38 | bus_MV_330_1_node_47 | 20 | n |  | TRUE
39 | bus_MV_330_1_node_48 | 20 | n |  | TRUE
40 | bus_MV_330_1_node_49 | 20 | n |  | TRUE
41 | bus_MV_330_1_node_72 | 20 | n |  | TRUE
42 | bus_MV_330_1_node_52 | 20 | n |  | TRUE
43 | bus_MV_330_1_node_69 | 20 | n |  | TRUE
44 | bus_MV_330_1_node_158 | 20 | n |  | TRUE
45 | bus_MV_330_1_node_56 | 20 | n |  | TRUE
46 | bus_MV_330_1_node_55 | 20 | n |  | TRUE
47 | bus_MV_330_1_node_53 | 20 | n |  | TRUE
48 | bus_MV_330_1_node_59 | 20 | n |  | TRUE
49 | bus_MV_330_1_node_65 | 20 | n |  | TRUE
50 | bus_MV_330_1_node_157 | 20 | n |  | TRUE
51 | bus_MV_330_1_node_57 | 20 | n |  | TRUE
52 | bus_MV_330_1_node_58 | 20 | n |  | TRUE
53 | bus_MV_330_1_node_71 | 20 | n |  | TRUE
54 | bus_MV_330_1_node_70 | 20 | n |  | TRUE
55 | bus_MV_330_1_node_64 | 20 | n |  | TRUE
56 | bus_MV_330_1_node_61 | 20 | n |  | TRUE
57 | bus_MV_330_1_node_62 | 20 | n |  | TRUE
58 | bus_MV_330_1_node_67 | 20 | n |  | TRUE
59 | bus_MV_330_1_node_68 | 20 | n |  | TRUE
60 | bus_MV_330_1_node_76 | 20 | n |  | TRUE
61 | bus_MV_330_1_node_74 | 20 | n |  | TRUE
62 | bus_MV_330_1_node_73 | 20 | n |  | TRUE
63 | bus_MV_330_1_node_63 | 20 | n |  | TRUE
64 | bus_MV_330_1_node_66 | 20 | n |  | TRUE
65 | bus_MV_330_1_node_112 | 20 | n |  | TRUE
66 | bus_MV_330_1_node_77 | 20 | n |  | TRUE
67 | bus_MV_330_1_node_81 | 20 | n |  | TRUE
68 | bus_MV_330_1_node_79 | 20 | n |  | TRUE
69 | bus_MV_330_1_node_78 | 20 | n |  | TRUE
70 | bus_MV_330_1_node_75 | 20 | n |  | TRUE
71 | bus_MV_330_1_node_80 | 20 | n |  | TRUE
72 | bus_MV_330_1_node_86 | 20 | n |  | TRUE
73 | bus_MV_330_1_node_87 | 20 | n |  | TRUE
74 | bus_MV_330_1_node_88 | 20 | n |  | TRUE
75 | bus_MV_330_1_node_91 | 20 | n |  | TRUE
76 | bus_MV_330_1_node_92 | 20 | n |  | TRUE
77 | bus_MV_330_1_node_90 | 20 | n |  | TRUE
78 | bus_MV_330_1_node_105 | 20 | n |  | TRUE
79 | bus_MV_330_1_node_104 | 20 | n |  | TRUE
80 | bus_MV_330_1_node_93 | 20 | n |  | TRUE
81 | bus_MV_330_1_node_101 | 20 | n |  | TRUE
82 | bus_MV_330_1_node_96 | 20 | n |  | TRUE
83 | bus_MV_330_1_node_98 | 20 | n |  | TRUE
84 | bus_MV_330_1_node_94 | 20 | n |  | TRUE
85 | bus_MV_330_1_node_95 | 20 | n |  | TRUE
86 | bus_MV_330_1_node_106 | 20 | n |  | TRUE
87 | bus_MV_330_1_node_177 | 20 | n |  | TRUE
88 | bus_MV_330_1_node_97 | 20 | n |  | TRUE
89 | bus_MV_330_1_node_99 | 20 | n |  | TRUE
90 | bus_MV_330_1_node_100 | 20 | n |  | TRUE
91 | bus_MV_330_1_node_102 | 20 | n |  | TRUE
92 | bus_MV_330_1_node_103 | 20 | n |  | TRUE
93 | bus_HV_330_1_node_79 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_330_1_load_168 | 0 | 0.10254 | 0.049664 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_330_1_load_85 | 2 | 0.16367 | 0.079268 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_330_1_load_162 | 3 | 0.15721 | 0.076139 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_330_1_load_113 | 4 | 0.10309 | 0.049927 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_330_1_load_165 | 5 | 0.053591 | 0.025955 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_330_1_load_34 | 6 | 0.15667 | 0.075877 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_330_1_load_17 | 7 | 0.10657 | 0.051616 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_330_1_load_89 | 10 | 0.14408 | 0.069783 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_330_1_load_20 | 11 | 0.13778 | 0.066732 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_330_1_load_174 | 15 | 0.11562 | 0.055997 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_330_1_load_156 | 17 | 0.18721 | 0.09067 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_330_1_load_25 | 18 | 0.12095 | 0.058577 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_330_1_load_29 | 21 | 0.14304 | 0.069279 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_330_1_load_44 | 22 | 0.096072 | 0.04653 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_330_1_load_154 | 24 | 0.69135 | 0.33484 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_330_1_load_38 | 28 | 0.11148 | 0.053994 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_330_1_load_36 | 29 | 0.115 | 0.055695 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_330_1_load_46 | 31 | 0.1147 | 0.055551 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_330_1_load_40 | 32 | 0.15184 | 0.073541 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_330_1_load_166 | 34 | 0.11123 | 0.053869 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_330_1_load_47 | 38 | 0.16049 | 0.07773 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_330_1_load_72 | 41 | 0.11125 | 0.053881 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_330_1_load_158 | 44 | 0.087379 | 0.04232 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_330_1_load_56 | 45 | 0.1345 | 0.065143 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_330_1_load_53 | 47 | 0.16396 | 0.079407 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_330_1_load_157 | 50 | 0.075616 | 0.036623 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_330_1_load_58 | 52 | 0.12206 | 0.059119 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_330_1_load_71 | 53 | 0.11032 | 0.053431 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_330_1_load_70 | 54 | 0.11461 | 0.055507 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_330_1_load_61 | 56 | 0.15563 | 0.075376 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_330_1_load_74 | 61 | 0.1229 | 0.059524 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_330_1_load_73 | 62 | 0.076933 | 0.03726 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_330_1_load_63 | 63 | 0.31655 | 0.15331 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_330_1_load_112 | 65 | 0.15659 | 0.075841 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_330_1_load_81 | 67 | 0.10605 | 0.051364 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_330_1_load_78 | 69 | 0.092917 | 0.045002 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_330_1_load_75 | 70 | 0.07941 | 0.03846 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_330_1_load_80 | 71 | 0.08911 | 0.043158 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_330_1_load_86 | 72 | 0.12177 | 0.058974 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_330_1_load_91 | 75 | 0.092281 | 0.044694 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_330_1_load_90 | 77 | 0.15861 | 0.076816 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_330_1_load_105 | 78 | 0.11634 | 0.056346 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_330_1_load_104 | 79 | 0.08841 | 0.042819 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_330_1_load_101 | 81 | 0.15047 | 0.072876 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_330_1_load_106 | 86 | 0.080237 | 0.038861 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_330_1_load_177 | 87 | 0.16093 | 0.07794 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_330_1_load_97 | 88 | 0.14085 | 0.068215 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_330_1_load_102 | 91 | 0.14606 | 0.070738 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_330_1_load_103 | 92 | 0.079664 | 0.038583 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_330_1_line_0 |  | 0 | 1 | 0.018001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_330_1_line_1 |  | 1 | 18 | 0.25576 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_330_1_line_2 |  | 2 | 3 | 0.23847 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_330_1_line_3 |  | 3 | 40 | 0.061126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_330_1_line_4 |  | 4 | 5 | 2.8868 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
5 | MV_330_1_line_5 |  | 4 | 6 | 1.0582 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
6 | MV_330_1_line_6 |  | 5 | 10 | 3.241 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
7 | MV_330_1_line_7 |  | 5 | 9 | 0.024264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_330_1_line_8 |  | 6 | 26 | 0.027237 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_330_1_line_9 |  | 7 | 8 | 0.027334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_330_1_line_10 |  | 8 | 9 | 0.2546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_330_1_line_11 |  | 10 | 78 | 3.3754 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
12 | MV_330_1_line_12 |  | 11 | 12 | 0.074939 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_330_1_line_13 |  | 12 | 13 | 0.086652 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_330_1_line_14 |  | 12 | 14 | 0.1933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_330_1_line_15 |  | 13 | 15 | 0.055791 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_330_1_line_16 |  | 14 | 16 | 0.1191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_330_1_line_17 |  | 14 | 17 | 0.12748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_330_1_line_18 |  | 15 | 19 | 0.013248 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_330_1_line_19 |  | 16 | 18 | 0.074887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_330_1_line_20 |  | 19 | 20 | 0.18906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_330_1_line_21 |  | 20 | 42 | 0.091053 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_330_1_line_22 |  | 20 | 44 | 0.055216 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_330_1_line_23 |  | 21 | 22 | 0.22519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_330_1_line_24 |  | 22 | 25 | 0.12291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_330_1_line_25 |  | 22 | 23 | 0.024035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_330_1_line_26 |  | 23 | 24 | 0.009131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_330_1_line_27 |  | 25 | 30 | 0.19385 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
28 | MV_330_1_line_28 |  | 25 | 29 | 0.093306 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_330_1_line_29 |  | 26 | 27 | 0.052066 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
30 | MV_330_1_line_30 |  | 27 | 28 | 0.069729 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_330_1_line_31 |  | 28 | 29 | 0.041579 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_330_1_line_32 |  | 30 | 31 | 0.068503 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_330_1_line_33 |  | 30 | 32 | 0.10138 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_330_1_line_34 |  | 31 | 35 | 0.1312 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
35 | MV_330_1_line_35 |  | 33 | 34 | 0.005457 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_330_1_line_36 |  | 33 | 35 | 0.21248 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_330_1_line_37 |  | 34 | 36 | 0.04752 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
38 | MV_330_1_line_38 |  | 36 | 37 | 0.079051 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_330_1_line_39 |  | 37 | 48 | 0.10206 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_330_1_line_40 |  | 37 | 47 | 0.005599 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_330_1_line_41 |  | 38 | 39 | 0.10139 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_330_1_line_42 |  | 39 | 40 | 0.21669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_330_1_line_43 |  | 40 | 41 | 0.17706 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_330_1_line_44 |  | 41 | 42 | 0.085573 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
45 | MV_330_1_line_45 |  | 41 | 43 | 0.023448 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_330_1_line_46 |  | 43 | 57 | 0.15285 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_330_1_line_47 |  | 44 | 45 | 0.05901 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
48 | MV_330_1_line_48 |  | 45 | 46 | 0.056483 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_330_1_line_49 |  | 46 | 51 | 0.025523 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_330_1_line_50 |  | 48 | 49 | 0.01455 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
51 | MV_330_1_line_51 |  | 48 | 50 | 0.019405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_330_1_line_52 |  | 49 | 55 | 0.029998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_330_1_line_53 |  | 49 | 53 | 0.048164 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_330_1_line_54 |  | 51 | 52 | 0.021829 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_330_1_line_55 |  | 52 | 53 | 0.012683 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_330_1_line_56 |  | 52 | 54 | 0.042152 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_330_1_line_57 |  | 55 | 64 | 0.27332 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_330_1_line_58 |  | 55 | 63 | 0.055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_330_1_line_59 |  | 56 | 57 | 0.051784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_330_1_line_60 |  | 57 | 58 | 0.16826 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_330_1_line_61 |  | 57 | 59 | 0.13711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_330_1_line_62 |  | 58 | 60 | 0.21551 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_330_1_line_63 |  | 58 | 61 | 0.053057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_330_1_line_64 |  | 59 | 62 | 0.028882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_330_1_line_65 |  | 60 | 66 | 0.26698 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_330_1_line_66 |  | 60 | 67 | 0.089341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_330_1_line_67 |  | 61 | 70 | 0.09288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_330_1_line_68 |  | 64 | 65 | 0.092725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_330_1_line_69 |  | 66 | 68 | 0.37765 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_330_1_line_70 |  | 66 | 69 | 0.031005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_330_1_line_71 |  | 68 | 71 | 0.079276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_330_1_line_72 |  | 72 | 73 | 0.096292 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_330_1_line_73 |  | 73 | 74 | 0.3915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_330_1_line_74 |  | 74 | 77 | 0.078208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_330_1_line_75 |  | 75 | 76 | 0.055986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_330_1_line_76 |  | 75 | 77 | 0.20231 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_330_1_line_77 |  | 76 | 80 | 0.26797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_330_1_line_78 |  | 78 | 79 | 0.31725 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
79 | MV_330_1_line_79 |  | 79 | 85 | 0.066904 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_330_1_line_80 |  | 80 | 81 | 0.058608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_330_1_line_81 |  | 80 | 82 | 0.24141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_330_1_line_82 |  | 80 | 83 | 0.008117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_330_1_line_83 |  | 82 | 87 | 0.016709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_330_1_line_84 |  | 82 | 84 | 0.24743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_330_1_line_85 |  | 83 | 88 | 0.058186 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_330_1_line_86 |  | 84 | 85 | 0.34746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_330_1_line_87 |  | 84 | 86 | 0.12701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_330_1_line_88 |  | 88 | 89 | 0.059871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_330_1_line_89 |  | 89 | 90 | 0.044189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_330_1_line_90 |  | 90 | 91 | 0.031826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_330_1_line_91 |  | 91 | 92 | 0.014444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_330_1_trafo_79 | 25 MVA 110/20 kV | 93 | 68 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2584607.4944 | 1243096.6727
1 | 2584613.3828 | 1243079.6577
2 | 2585658.8324 | 1243695.001
3 | 2585575.1826 | 1243471.6862
4 | 2583779.276 | 1242034.8558
5 | 2584003.3796 | 1239156.7698
6 | 2584751.6162 | 1242452.3484
7 | 2583750.7957 | 1239135.9019
8 | 2583774.3682 | 1239121.9507
9 | 2583998.3396 | 1239133.2578
10 | 2587243.9367 | 1239213.0459
11 | 2585034.6169 | 1243257.5754
12 | 2585054.3854 | 1243185.2908
13 | 2585113.6709 | 1243147.9285
14 | 2584974.2947 | 1243106.9226
15 | 2585167.6039 | 1243133.6503
16 | 2584910.2748 | 1243181.1772
17 | 2584916.1232 | 1243034.7059
18 | 2584865.8024 | 1243120.842
19 | 2585169.632 | 1243146.7424
20 | 2585319.37 | 1243213.1208
21 | 2584842.6949 | 1242804.7688
22 | 2584826.4678 | 1242580.1649
23 | 2584803.3894 | 1242577.4936
24 | 2584795.4197 | 1242573.0372
25 | 2584947.9801 | 1242595.123
26 | 2584776.7073 | 1242462.868
27 | 2584826.4152 | 1242478.8167
28 | 2584889.5437 | 1242508.4066
29 | 2584872.6045 | 1242546.3962
30 | 2585099.1883 | 1242713.3802
31 | 2585155.075 | 1242753.0421
32 | 2585123.0124 | 1242614.8359
33 | 2585299.6313 | 1242919.6962
34 | 2585297.8605 | 1242924.8594
35 | 2585276.319 | 1242803.181
36 | 2585261.6065 | 1242955.5803
37 | 2585328.1459 | 1242998.1302
38 | 2585270.8646 | 1243545.3958
39 | 2585298.2197 | 1243447.766
40 | 2585514.1663 | 1243465.7431
41 | 2585476.959 | 1243292.6365
42 | 2585399.2178 | 1243256.8725
43 | 2585494.7154 | 1243288.1344
44 | 2585321.5855 | 1243163.608
45 | 2585380.0042 | 1243155.2782
46 | 2585402.1781 | 1243103.3573
47 | 2585331.8521 | 1243002.3347
48 | 2585417.1371 | 1243009.5834
49 | 2585431.1517 | 1243013.6402
50 | 2585410.6661 | 1243027.8774
51 | 2585425.2704 | 1243092.5934
52 | 2585434.4123 | 1243073.0363
53 | 2585436.4583 | 1243060.5655
54 | 2585472.0561 | 1243092.0035
55 | 2585440.53 | 1242985.7106
56 | 2585586.6243 | 1243122.4491
57 | 2585594.4733 | 1243173.6289
58 | 2585729.5521 | 1243252.6059
59 | 2585499.8046 | 1243184.9124
60 | 2585804.3541 | 1243182.7703
61 | 2585779.1676 | 1243252.8751
62 | 2585521.2431 | 1243165.4919
63 | 2585480.3928 | 1243023.6048
64 | 2585497.9672 | 1242861.9023
65 | 2585520.3445 | 1242771.9129
66 | 2585688.6817 | 1243016.1781
67 | 2585881.6101 | 1243228.0245
68 | 2585843.1202 | 1242894.6512
69 | 2585719.6009 | 1243019.4497
70 | 2585853.8897 | 1243308.0411
71 | 2585921.84 | 1242905.8031
72 | 2587366.5493 | 1242609.4115
73 | 2587462.5151 | 1242601.4905
74 | 2587786.8828 | 1242716.1705
75 | 2587957.8985 | 1242596.6769
76 | 2588013.311 | 1242605.3916
77 | 2587846.8532 | 1242765.7888
78 | 2588809.6059 | 1242203.3624
79 | 2588562.9038 | 1242402.8278
80 | 2588154.6963 | 1242676.7839
81 | 2588166.1863 | 1242733.9634
82 | 2588265.181 | 1242566.2602
83 | 2588148.6916 | 1242671.3037
84 | 2588401.8263 | 1242622.8807
85 | 2588564.5605 | 1242469.711
86 | 2588527.0789 | 1242644.6825
87 | 2588266.2119 | 1242582.9352
88 | 2588109.8544 | 1242714.6313
89 | 2588108.9707 | 1242767.3662
90 | 2588099.5737 | 1242799.9057
91 | 2588129.6643 | 1242789.5443
92 | 2588134.5043 | 1242803.1531
93 | 2585843.1202 | 1242894.6512

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99653 | -0.029029 | 0.10254 | 0.049664
1 | 0.99653 | -0.029051 | 0 | 0
2 | 0.99723 | -0.01417 | 0.16367 | 0.079268
3 | 0.99731 | -0.013693 | 0.15721 | 0.076139
4 | 0.99398 | -0.14219 | 0.10309 | 0.049927
5 | 0.99082 | -0.32626 | 0.053591 | 0.025955
6 | 0.99522 | -0.070827 | 0.15667 | 0.075877
7 | 0.99077 | -0.32594 | 0.10657 | 0.051616
8 | 0.99078 | -0.32597 | 0 | 0
9 | 0.99081 | -0.32624 | 0 | 0
10 | 0.9876 | -0.51368 | 0.14408 | 0.069783
11 | 0.99672 | -0.030153 | 0.13778 | 0.066732
12 | 0.99674 | -0.030028 | 0 | 0
13 | 0.9968 | -0.030522 | 0 | 0
14 | 0.99663 | -0.029203 | 0 | 0
15 | 0.99685 | -0.030077 | 0.11562 | 0.055997
16 | 0.9966 | -0.028913 | 0 | 0
17 | 0.9966 | -0.028928 | 0.18721 | 0.09067
18 | 0.99658 | -0.028719 | 0.12095 | 0.058577
19 | 0.99687 | -0.029953 | 0 | 0
20 | 0.99703 | -0.031253 | 0 | 0
21 | 0.99519 | -0.068952 | 0.14304 | 0.069279
22 | 0.99525 | -0.068556 | 0.096072 | 0.04653
23 | 0.99523 | -0.068357 | 0 | 0
24 | 0.99523 | -0.06828 | 0.69135 | 0.33484
25 | 0.9954 | -0.069918 | 0 | 0
26 | 0.99523 | -0.070746 | 0 | 0
27 | 0.99527 | -0.070589 | 0 | 0
28 | 0.99531 | -0.070375 | 0.11148 | 0.053994
29 | 0.99534 | -0.07024 | 0.115 | 0.055695
30 | 0.99559 | -0.069 | 0 | 0
31 | 0.99567 | -0.068655 | 0.1147 | 0.055551
32 | 0.99556 | -0.069188 | 0.15184 | 0.073541
33 | 0.99619 | -0.050755 | 0 | 0
34 | 0.99619 | -0.050726 | 0.11123 | 0.053869
35 | 0.99596 | -0.051877 | 0 | 0
36 | 0.9963 | -0.044442 | 0 | 0
37 | 0.99639 | -0.044004 | 0 | 0
38 | 0.99726 | -0.013742 | 0.16049 | 0.07773
39 | 0.99729 | -0.013544 | 0 | 0
40 | 0.99733 | -0.013925 | 0 | 0
41 | 0.9975 | -0.012782 | 0.11125 | 0.053881
42 | 0.99719 | -0.030466 | 0 | 0
43 | 0.99754 | -0.01256 | 0 | 0
44 | 0.99695 | -0.031668 | 0.087379 | 0.04232
45 | 0.99676 | -0.042166 | 0.1345 | 0.065143
46 | 0.99668 | -0.042573 | 0 | 0
47 | 0.99639 | -0.043993 | 0.16396 | 0.079407
48 | 0.99651 | -0.04341 | 0 | 0
49 | 0.99653 | -0.043323 | 0 | 0
50 | 0.99651 | -0.043392 | 0.075616 | 0.036623
51 | 0.99664 | -0.042757 | 0 | 0
52 | 0.99661 | -0.042913 | 0.12206 | 0.059119
53 | 0.99659 | -0.043 | 0.11032 | 0.053431
54 | 0.9966 | -0.042972 | 0.11461 | 0.055507
55 | 0.99651 | -0.043172 | 0 | 0
56 | 0.99783 | -0.011006 | 0.15563 | 0.075376
57 | 0.99784 | -0.011101 | 0 | 0
58 | 0.99818 | -0.0094127 | 0 | 0
59 | 0.99783 | -0.010995 | 0 | 0
60 | 0.99863 | -0.0071518 | 0 | 0
61 | 0.99816 | -0.0092935 | 0.1229 | 0.059524
62 | 0.99782 | -0.010969 | 0.076933 | 0.03726
63 | 0.99649 | -0.042964 | 0.31655 | 0.15331
64 | 0.99646 | -0.042752 | 0 | 0
65 | 0.99644 | -0.042583 | 0.15659 | 0.075841
66 | 0.99919 | -0.0042528 | 0 | 0
67 | 0.99861 | -0.0070442 | 0.10605 | 0.051364
68 | 1 | 0 | -6.7433 | -3.0163
69 | 0.99919 | -0.004219 | 0.092917 | 0.045002
70 | 0.99816 | -0.0092115 | 0.07941 | 0.03846
71 | 0.99999 | 7.9735e-05 | 0.08911 | 0.043158
72 | 0.98272 | -0.69806 | 0.12177 | 0.058974
73 | 0.98274 | -0.69792 | 0 | 0
74 | 0.9828 | -0.69839 | 0 | 0
75 | 0.98292 | -0.69755 | 0.092281 | 0.044694
76 | 0.98295 | -0.69776 | 0 | 0
77 | 0.98281 | -0.69845 | 0.15861 | 0.076816
78 | 0.98459 | -0.69103 | 0.11634 | 0.056346
79 | 0.98433 | -0.70631 | 0.08841 | 0.042819
80 | 0.98308 | -0.69872 | 0 | 0
81 | 0.98306 | -0.69862 | 0.15047 | 0.072876
82 | 0.98335 | -0.70096 | 0 | 0
83 | 0.98307 | -0.69869 | 0 | 0
84 | 0.98369 | -0.70364 | 0 | 0
85 | 0.98419 | -0.70753 | 0 | 0
86 | 0.98367 | -0.70353 | 0.080237 | 0.038861
87 | 0.98335 | -0.70093 | 0.16093 | 0.07794
88 | 0.98303 | -0.69897 | 0.14085 | 0.068215
89 | 0.98301 | -0.69882 | 0 | 0
90 | 0.983 | -0.6987 | 0 | 0
91 | 0.98299 | -0.69861 | 0.14606 | 0.070738
92 | 0.98299 | -0.6986 | 0.079664 | 0.038583
93 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10254 | -0.049664 | 0.10254 | 0.049237 | 2.6137e-07 | -0.00042674 | 0.0033006 | 0.0032952 | 0.0033006 | 0.99653 | -0.029029 | 0.99653 | -0.029051 | 1.5003
1 | -0.10254 | -0.049237 | 0.10255 | 0.048937 | 4.9422e-06 | -0.00030013 | 0.0032952 | 0.0032914 | 0.0032952 | 0.99653 | -0.029051 | 0.99658 | -0.028719 | 1.5691
2 | -0.16367 | -0.079268 | 0.16368 | 0.078992 | 1.1766e-05 | -0.00027576 | 0.0052642 | 0.0052607 | 0.0052642 | 0.99723 | -0.01417 | 0.99731 | -0.013693 | 2.5068
3 | -0.32089 | -0.15513 | 0.3209 | 0.15368 | 8.6701e-06 | -0.0014491 | 0.010317 | 0.010299 | 0.010317 | 0.99731 | -0.013693 | 0.99733 | -0.013925 | 4.6894
4 | 1.6493 | 0.74902 | -1.6464 | -0.74527 | 0.0028547 | 0.0037466 | 0.052607 | 0.052654 | 0.052654 | 0.99398 | -0.14219 | 0.99082 | -0.32626 | 8.1634
5 | -1.7524 | -0.79895 | 1.7535 | 0.80068 | 0.0011815 | 0.0017301 | 0.055933 | 0.055915 | 0.055933 | 0.99398 | -0.14219 | 0.99522 | -0.070827 | 8.6717
6 | 1.4863 | 0.67488 | -1.4836 | -0.67222 | 0.0026198 | 0.0026609 | 0.047557 | 0.04761 | 0.04761 | 0.99082 | -0.32626 | 0.9876 | -0.51368 | 7.3814
7 | 0.10658 | 0.04444 | -0.10658 | -0.045009 | 3.6733e-07 | -0.00056863 | 0.0033643 | 0.0033707 | 0.0033707 | 0.99082 | -0.32626 | 0.99081 | -0.32624 | 1.5321
8 | -1.9102 | -0.87655 | 1.9102 | 0.87488 | 3.1268e-05 | -0.0016774 | 0.060963 | 0.060943 | 0.060963 | 0.99522 | -0.070827 | 0.99523 | -0.070746 | 9.5554
9 | -0.10657 | -0.051616 | 0.10657 | 0.050975 | 4.3335e-07 | -0.00064052 | 0.0034502 | 0.0034421 | 0.0034502 | 0.99077 | -0.32594 | 0.99078 | -0.32597 | 1.5683
10 | -0.10657 | -0.050975 | 0.10658 | 0.045009 | 3.9418e-06 | -0.0059663 | 0.0034421 | 0.0033707 | 0.0034421 | 0.99078 | -0.32597 | 0.99081 | -0.32624 | 1.5646
11 | 1.3395 | 0.60243 | -1.3373 | -0.60099 | 0.0022239 | 0.0014432 | 0.042932 | 0.042987 | 0.042987 | 0.9876 | -0.51368 | 0.98459 | -0.69103 | 6.6646
12 | -0.13778 | -0.066732 | 0.13779 | 0.066644 | 2.6243e-06 | -8.7234e-05 | 0.004434 | 0.0044329 | 0.004434 | 0.99672 | -0.030153 | 0.99674 | -0.030028 | 2.1114
13 | -0.54855 | -0.25264 | 0.54859 | 0.25059 | 3.5341e-05 | -0.0020451 | 0.017491 | 0.017466 | 0.017491 | 0.99674 | -0.030028 | 0.9968 | -0.030522 | 7.9506
14 | 0.41077 | 0.18599 | -0.41072 | -0.19057 | 4.4197e-05 | -0.0045716 | 0.013059 | 0.013115 | 0.013115 | 0.99674 | -0.030028 | 0.99663 | -0.029203 | 5.9613
15 | -0.54859 | -0.25059 | 0.54862 | 0.25055 | 3.0324e-05 | -4.7187e-05 | 0.017466 | 0.017466 | 0.017466 | 0.9968 | -0.030522 | 0.99685 | -0.030077 | 8.3173
16 | 0.22351 | 0.10292 | -0.2235 | -0.10574 | 8.1157e-06 | -0.002822 | 0.0071273 | 0.0071619 | 0.0071619 | 0.99663 | -0.029203 | 0.9966 | -0.028913 | 3.2554
17 | 0.18722 | 0.087649 | -0.18721 | -0.09067 | 6.1395e-06 | -0.0030213 | 0.0059876 | 0.0060252 | 0.0060252 | 0.99663 | -0.029203 | 0.9966 | -0.028928 | 2.7387
18 | -0.66424 | -0.30654 | 0.66425 | 0.30653 | 1.0594e-05 | -9.0812e-06 | 0.021185 | 0.021185 | 0.021185 | 0.99685 | -0.030077 | 0.99687 | -0.029953 | 10.0881
19 | 0.2235 | 0.10574 | -0.22349 | -0.10751 | 5.1437e-06 | -0.0017743 | 0.0071619 | 0.007184 | 0.007184 | 0.9966 | -0.028913 | 0.99658 | -0.028719 | 3.2655
20 | -0.66425 | -0.30653 | 0.66436 | 0.30208 | 0.00011298 | -0.004453 | 0.021185 | 0.021131 | 0.021185 | 0.99687 | -0.029953 | 0.99703 | -0.031253 | 9.6295
21 | -5.3964 | -2.4589 | 5.3972 | 2.4537 | 0.00082912 | -0.0052211 | 0.1717 | 0.17163 | 0.1717 | 0.99703 | -0.031253 | 0.99719 | -0.030466 | 26.9121
22 | 4.732 | 2.1569 | -4.7316 | -2.1601 | 0.00038691 | -0.0032306 | 0.15057 | 0.15061 | 0.15061 | 0.99703 | -0.031253 | 0.99695 | -0.031668 | 23.6066
23 | -0.14304 | -0.069279 | 0.14305 | 0.069018 | 8.5216e-06 | -0.00026093 | 0.0046103 | 0.0046069 | 0.0046103 | 0.99519 | -0.068952 | 0.99525 | -0.068556 | 2.1954
24 | -0.9305 | -0.44961 | 0.93064 | 0.44674 | 0.00014724 | -0.0028635 | 0.029975 | 0.029938 | 0.029975 | 0.99525 | -0.068556 | 0.9954 | -0.069918 | 13.6248
25 | 0.69137 | 0.33406 | -0.69136 | -0.33462 | 1.5921e-05 | -0.0005637 | 0.022272 | 0.022279 | 0.022279 | 0.99525 | -0.068556 | 0.99523 | -0.068357 | 10.1267
26 | 0.69136 | 0.33462 | -0.69135 | -0.33484 | 6.0511e-06 | -0.00021414 | 0.022279 | 0.022281 | 0.022281 | 0.99523 | -0.068357 | 0.99523 | -0.06828 | 10.1279
27 | -3.0677 | -1.4155 | 3.0683 | 1.4038 | 0.00057418 | -0.011747 | 0.09798 | 0.097834 | 0.09798 | 0.9954 | -0.069918 | 0.99559 | -0.069 | 15.3574
28 | 2.137 | 0.96877 | -2.1369 | -0.97451 | 0.00013364 | -0.0057332 | 0.068047 | 0.068117 | 0.068117 | 0.9954 | -0.069918 | 0.99534 | -0.07024 | 10.6766
29 | -1.9102 | -0.87488 | 1.9103 | 0.87167 | 5.9714e-05 | -0.0032068 | 0.060943 | 0.060904 | 0.060943 | 0.99523 | -0.070746 | 0.99527 | -0.070589 | 9.5521
30 | -1.9103 | -0.87167 | 1.9104 | 0.86737 | 7.9852e-05 | -0.004295 | 0.060904 | 0.060851 | 0.060904 | 0.99527 | -0.070589 | 0.99531 | -0.070375 | 9.546
31 | -2.0219 | -0.92137 | 2.0219 | 0.91881 | 5.3331e-05 | -0.0025581 | 0.064443 | 0.064412 | 0.064443 | 0.99531 | -0.070375 | 0.99534 | -0.07024 | 10.1008
32 | -3.2201 | -1.4772 | 3.2203 | 1.4731 | 0.00022325 | -0.0041409 | 0.10272 | 0.10267 | 0.10272 | 0.99559 | -0.069 | 0.99567 | -0.068655 | 16.1009
33 | 0.15185 | 0.073424 | -0.15184 | -0.073541 | 4.3217e-06 | -0.00011726 | 0.0048906 | 0.0048921 | 0.0048921 | 0.99559 | -0.069 | 0.99556 | -0.069188 | 2.3296
34 | -3.335 | -1.5286 | 3.3356 | 1.5298 | 0.00052992 | 0.0012451 | 0.10637 | 0.10636 | 0.10637 | 0.99567 | -0.068655 | 0.99596 | -0.051877 | 16.4909
35 | -3.3363 | -1.517 | 3.3363 | 1.5167 | 1.9019e-05 | -0.00032956 | 0.1062 | 0.1062 | 0.1062 | 0.99619 | -0.050755 | 0.99619 | -0.050726 | 16.6465
36 | 3.3363 | 1.517 | -3.3356 | -1.5298 | 0.00074166 | -0.012828 | 0.1062 | 0.10636 | 0.10636 | 0.99619 | -0.050755 | 0.99596 | -0.051877 | 16.6715
37 | -3.4475 | -1.5706 | 3.4478 | 1.571 | 0.00020445 | 0.00048459 | 0.10978 | 0.10978 | 0.10978 | 0.99619 | -0.050726 | 0.9963 | -0.044442 | 17.0202
38 | -3.4478 | -1.571 | 3.448 | 1.5663 | 0.00029422 | -0.0047651 | 0.10978 | 0.10972 | 0.10978 | 0.9963 | -0.044442 | 0.99639 | -0.044004 | 17.2069
39 | -3.612 | -1.6456 | 3.6124 | 1.6394 | 0.00041677 | -0.0061326 | 0.115 | 0.11492 | 0.115 | 0.99639 | -0.044004 | 0.99651 | -0.04341 | 18.0243
40 | 0.16396 | 0.079274 | -0.16396 | -0.079407 | 2.0814e-07 | -0.00013266 | 0.0052762 | 0.0052779 | 0.0052779 | 0.99639 | -0.044004 | 0.99639 | -0.043993 | 2.3991
41 | -0.16049 | -0.07773 | 0.1605 | 0.077613 | 4.8121e-06 | -0.00011737 | 0.005162 | 0.0051605 | 0.005162 | 0.99726 | -0.013742 | 0.99729 | -0.013544 | 2.4581
42 | -0.1605 | -0.077613 | 0.16051 | 0.072469 | 7.6086e-06 | -0.0051437 | 0.0051605 | 0.0050974 | 0.0051605 | 0.99729 | -0.013544 | 0.99733 | -0.013925 | 2.3457
43 | -0.4814 | -0.22615 | 0.48148 | 0.22599 | 7.4755e-05 | -0.00016346 | 0.015395 | 0.015392 | 0.015395 | 0.99733 | -0.013925 | 0.9975 | -0.012782 | 7.331
44 | 5.3981 | 2.456 | -5.3972 | -2.4537 | 0.0008999 | 0.0023022 | 0.17163 | 0.17163 | 0.17163 | 0.9975 | -0.012782 | 0.99719 | -0.030466 | 26.6095
45 | -5.9908 | -2.7359 | 5.9911 | 2.7346 | 0.00026318 | -0.0013178 | 0.1906 | 0.19058 | 0.1906 | 0.9975 | -0.012782 | 0.99754 | -0.01256 | 29.8742
46 | -5.9911 | -2.7346 | 5.9928 | 2.726 | 0.0017145 | -0.0085944 | 0.19058 | 0.19047 | 0.19058 | 0.99754 | -0.01256 | 0.99784 | -0.011101 | 29.8715
47 | 4.6442 | 2.1178 | -4.6438 | -2.1166 | 0.00046019 | 0.0011564 | 0.1478 | 0.1478 | 0.1478 | 0.99695 | -0.031668 | 0.99676 | -0.042166 | 22.9148
48 | 4.5093 | 2.0515 | -4.5089 | -2.0548 | 0.00035938 | -0.0033233 | 0.14347 | 0.14352 | 0.14352 | 0.99676 | -0.042166 | 0.99668 | -0.042573 | 22.4947
49 | 4.5089 | 2.0548 | -4.5087 | -2.0563 | 0.00016246 | -0.0015015 | 0.14352 | 0.14354 | 0.14354 | 0.99668 | -0.042573 | 0.99664 | -0.042757 | 22.4977
50 | -3.688 | -1.6756 | 3.6881 | 1.6747 | 6.1904e-05 | -0.00087299 | 0.11735 | 0.11734 | 0.11735 | 0.99651 | -0.04341 | 0.99653 | -0.043323 | 18.3929
51 | 0.075616 | 0.036162 | -0.075616 | -0.036623 | 1.531e-07 | -0.00046004 | 0.0024281 | 0.0024339 | 0.0024339 | 0.99651 | -0.04341 | 0.99651 | -0.043392 | 1.1063
52 | 0.47318 | 0.21847 | -0.47317 | -0.21918 | 9.1334e-06 | -0.00070855 | 0.015097 | 0.015106 | 0.015106 | 0.99653 | -0.043323 | 0.99651 | -0.043172 | 6.8664
53 | -4.1613 | -1.8932 | 4.1615 | 1.8903 | 0.00026095 | -0.0028585 | 0.13243 | 0.1324 | 0.13243 | 0.99653 | -0.043323 | 0.99659 | -0.043 | 20.7575
54 | 4.5087 | 2.0563 | -4.5086 | -2.0576 | 0.00013898 | -0.0012841 | 0.14354 | 0.14355 | 0.14355 | 0.99664 | -0.042757 | 0.99661 | -0.042913 | 22.5002
55 | 4.2719 | 1.943 | -4.2719 | -1.9438 | 7.2426e-05 | -0.00075072 | 0.13594 | 0.13595 | 0.13595 | 0.99661 | -0.042913 | 0.99659 | -0.043 | 21.3082
56 | 0.11461 | 0.055457 | -0.11461 | -0.055507 | 1.0216e-06 | -4.9341e-05 | 0.0036879 | 0.0036885 | 0.0036885 | 0.99661 | -0.042913 | 0.9966 | -0.042972 | 1.7564
57 | 0.15661 | 0.067167 | -0.1566 | -0.073644 | 9.0274e-06 | -0.0064772 | 0.0049363 | 0.0050132 | 0.0050132 | 0.99651 | -0.043172 | 0.99646 | -0.042752 | 2.2787
58 | 0.31656 | 0.15201 | -0.31655 | -0.15331 | 7.6108e-06 | -0.0013018 | 0.010173 | 0.010189 | 0.010189 | 0.99651 | -0.043172 | 0.99649 | -0.042964 | 4.6315
59 | -0.15563 | -0.075376 | 0.15563 | 0.074145 | 1.7248e-06 | -0.0012305 | 0.0050027 | 0.0049873 | 0.0050027 | 0.99783 | -0.011006 | 0.99784 | -0.011101 | 2.274
60 | -6.2254 | -2.8334 | 6.2274 | 2.8241 | 0.0020345 | -0.0093845 | 0.19788 | 0.19775 | 0.19788 | 0.99784 | -0.011101 | 0.99818 | -0.0094127 | 31.0152
61 | 0.076934 | 0.033315 | -0.076933 | -0.036574 | 1.0938e-06 | -0.0032591 | 0.0024254 | 0.0024644 | 0.0024644 | 0.99784 | -0.011101 | 0.99783 | -0.010995 | 1.1202
62 | -6.4297 | -2.9186 | 6.4325 | 2.9066 | 0.0027749 | -0.011935 | 0.20421 | 0.20405 | 0.20421 | 0.99818 | -0.0094127 | 0.99863 | -0.0071518 | 32.0076
63 | 0.20232 | 0.094513 | -0.20231 | -0.095775 | 2.9611e-06 | -0.0012613 | 0.006458 | 0.0064735 | 0.0064735 | 0.99818 | -0.0094127 | 0.99816 | -0.0092935 | 2.9425
64 | 0.076933 | 0.036574 | -0.076933 | -0.03726 | 2.3498e-07 | -0.00068652 | 0.0024644 | 0.002473 | 0.002473 | 0.99783 | -0.010995 | 0.99782 | -0.010969 | 1.1241
65 | -6.5385 | -2.9559 | 6.5421 | 2.9411 | 0.0035461 | -0.014741 | 0.20743 | 0.20723 | 0.20743 | 0.99863 | -0.0071518 | 0.99919 | -0.0042528 | 32.5121
66 | 0.10605 | 0.049237 | -0.10605 | -0.051364 | 1.3731e-06 | -0.0021268 | 0.00338 | 0.0034064 | 0.0034064 | 0.99863 | -0.0071518 | 0.99861 | -0.0070442 | 1.5483
67 | 0.079411 | 0.036251 | -0.07941 | -0.03846 | 7.9872e-07 | -0.0022092 | 0.0025246 | 0.0025518 | 0.0025518 | 0.99816 | -0.0092935 | 0.99816 | -0.0092115 | 1.1599
68 | 0.1566 | 0.073644 | -0.15659 | -0.075841 | 3.1281e-06 | -0.0021973 | 0.0050132 | 0.0050407 | 0.0050407 | 0.99646 | -0.042752 | 0.99644 | -0.042583 | 2.2912
69 | -6.635 | -2.9854 | 6.6401 | 2.9646 | 0.0051492 | -0.02081 | 0.2102 | 0.20992 | 0.2102 | 0.99919 | -0.0042528 | 1 | 0 | 32.9469
70 | 0.092917 | 0.044263 | -0.092917 | -0.045002 | 3.671e-07 | -0.00073897 | 0.0029735 | 0.0029827 | 0.0029827 | 0.99919 | -0.0042528 | 0.99919 | -0.004219 | 1.3558
71 | 0.089111 | 0.041266 | -0.08911 | -0.043158 | 8.5749e-07 | -0.0018925 | 0.0028349 | 0.0028582 | 0.0028582 | 1 | 0 | 0.99999 | 7.9735e-05 | 1.2992
72 | -0.12177 | -0.058974 | 0.12177 | 0.058865 | 2.7089e-06 | -0.00010932 | 0.0039743 | 0.0039729 | 0.0039743 | 0.98272 | -0.69806 | 0.98274 | -0.69792 | 1.8925
73 | -0.12177 | -0.058865 | 0.12178 | 0.049839 | 8.0191e-06 | -0.0090258 | 0.0039729 | 0.0038649 | 0.0039729 | 0.98274 | -0.69792 | 0.9828 | -0.69839 | 1.8059
74 | -0.12178 | -0.049839 | 0.12178 | 0.048036 | 1.5515e-06 | -0.0018032 | 0.0038649 | 0.0038451 | 0.0038649 | 0.9828 | -0.69839 | 0.98281 | -0.69845 | 1.7568
75 | -0.37269 | -0.16933 | 0.37271 | 0.16804 | 1.0789e-05 | -0.0012883 | 0.012022 | 0.012007 | 0.012022 | 0.98292 | -0.69755 | 0.98295 | -0.69776 | 5.4648
76 | 0.28041 | 0.12464 | -0.28038 | -0.12485 | 2.9286e-05 | -0.00021497 | 0.0090124 | 0.0090151 | 0.0090151 | 0.98292 | -0.69755 | 0.98281 | -0.69845 | 4.2929
77 | -0.37271 | -0.16804 | 0.37276 | 0.16188 | 5.1255e-05 | -0.0061673 | 0.012007 | 0.011933 | 0.012007 | 0.98295 | -0.69776 | 0.98308 | -0.69872 | 5.4577
78 | 1.221 | 0.54464 | -1.2208 | -0.5446 | 0.00017405 | 4.3009e-05 | 0.039198 | 0.039204 | 0.039204 | 0.98459 | -0.69103 | 0.98433 | -0.70631 | 6.0781
79 | 1.1324 | 0.50178 | -1.1322 | -0.50176 | 0.00015729 | 2.1143e-05 | 0.036324 | 0.036325 | 0.036325 | 0.98433 | -0.70631 | 0.98419 | -0.70753 | 17.2977
80 | 0.15047 | 0.071524 | -0.15047 | -0.072876 | 1.8792e-06 | -0.0013518 | 0.0048923 | 0.0049095 | 0.0049095 | 0.98308 | -0.69872 | 0.98306 | -0.69862 | 2.2316
81 | -0.88982 | -0.40723 | 0.89009 | 0.40173 | 0.00026548 | -0.0054932 | 0.028735 | 0.028668 | 0.028735 | 0.98308 | -0.69872 | 0.98335 | -0.70096 | 13.0615
82 | 0.36659 | 0.17383 | -0.36659 | -0.17401 | 1.5383e-06 | -0.00018684 | 0.011914 | 0.011916 | 0.011916 | 0.98308 | -0.69872 | 0.98307 | -0.69869 | 5.4164
83 | 0.16093 | 0.077555 | -0.16093 | -0.07794 | 6.1404e-07 | -0.00038559 | 0.0052442 | 0.0052491 | 0.0052491 | 0.98335 | -0.70096 | 0.98335 | -0.70093 | 2.386
84 | -1.051 | -0.47929 | 1.0514 | 0.47368 | 0.00037907 | -0.0056021 | 0.033911 | 0.033841 | 0.033911 | 0.98335 | -0.70096 | 0.98369 | -0.70364 | 15.4139
85 | 0.36659 | 0.17401 | -0.36658 | -0.17407 | 1.4721e-05 | -5.7907e-05 | 0.011916 | 0.011917 | 0.011917 | 0.98307 | -0.69869 | 0.98303 | -0.69897 | 5.6747
86 | -1.1316 | -0.50961 | 1.1322 | 0.50176 | 0.00061368 | -0.0078496 | 0.036421 | 0.036325 | 0.036421 | 0.98369 | -0.70364 | 0.98419 | -0.70753 | 16.5551
87 | 0.080238 | 0.035927 | -0.080237 | -0.038861 | 1.1443e-06 | -0.0029339 | 0.00258 | 0.0026163 | 0.0026163 | 0.98369 | -0.70364 | 0.98367 | -0.70353 | 1.1892
88 | 0.22573 | 0.10586 | -0.22572 | -0.10724 | 4.2945e-06 | -0.0013801 | 0.0073214 | 0.0073387 | 0.0073387 | 0.98303 | -0.69897 | 0.98301 | -0.69882 | 3.3358
89 | 0.22572 | 0.10724 | -0.22572 | -0.10825 | 3.1827e-06 | -0.0010186 | 0.0073387 | 0.0073516 | 0.0073516 | 0.98301 | -0.69882 | 0.983 | -0.6987 | 3.3416
90 | 0.22572 | 0.10825 | -0.22572 | -0.10899 | 2.2992e-06 | -0.00073357 | 0.0073516 | 0.007361 | 0.007361 | 0.983 | -0.6987 | 0.98299 | -0.69861 | 3.3459
91 | 0.079664 | 0.03825 | -0.079664 | -0.038583 | 1.3008e-07 | -0.00033319 | 0.0025952 | 0.0025994 | 0.0025994 | 0.98299 | -0.69861 | 0.98299 | -0.6986 | 1.1816

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.7433 | 3.0163

## res_load
| p_mw | q_mvar
0 | 0.10254 | 0.049664
1 | 0.16367 | 0.079268
2 | 0.15721 | 0.076139
3 | 0.10309 | 0.049927
4 | 0.053591 | 0.025955
5 | 0.15667 | 0.075877
6 | 0.10657 | 0.051616
7 | 0.14408 | 0.069783
8 | 0.13778 | 0.066732
9 | 0.11562 | 0.055997
10 | 0.18721 | 0.09067
11 | 0.12095 | 0.058577
12 | 0.14304 | 0.069279
13 | 0.096072 | 0.04653
14 | 0.69135 | 0.33484
15 | 0.11148 | 0.053994
16 | 0.115 | 0.055695
17 | 0.1147 | 0.055551
18 | 0.15184 | 0.073541
19 | 0.11123 | 0.053869
20 | 0.16049 | 0.07773
21 | 0.11125 | 0.053881
22 | 0.087379 | 0.04232
23 | 0.1345 | 0.065143
24 | 0.16396 | 0.079407
25 | 0.075616 | 0.036623
26 | 0.12206 | 0.059119
27 | 0.11032 | 0.053431
28 | 0.11461 | 0.055507
29 | 0.15563 | 0.075376
30 | 0.1229 | 0.059524
31 | 0.076933 | 0.03726
32 | 0.31655 | 0.15331
33 | 0.15659 | 0.075841
34 | 0.10605 | 0.051364
35 | 0.092917 | 0.045002
36 | 0.07941 | 0.03846
37 | 0.08911 | 0.043158
38 | 0.12177 | 0.058974
39 | 0.092281 | 0.044694
40 | 0.15861 | 0.076816
41 | 0.11634 | 0.056346
42 | 0.08841 | 0.042819
43 | 0.15047 | 0.072876
44 | 0.080237 | 0.038861
45 | 0.16093 | 0.07794
46 | 0.14085 | 0.068215
47 | 0.14606 | 0.070738
48 | 0.079664 | 0.038583

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1