## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_331_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_331_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_331_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_331_0_node_33 | 20 | n |  | TRUE
4 | bus_MV_331_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_331_0_node_24 | 20 | n |  | TRUE
6 | bus_MV_331_0_node_85 | 20 | n |  | TRUE
7 | bus_MV_331_0_node_21 | 20 | n |  | TRUE
8 | bus_MV_331_0_node_3 | 20 | n |  | TRUE
9 | bus_MV_331_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_331_0_node_18 | 20 | n |  | TRUE
11 | bus_MV_331_0_node_88 | 20 | n |  | TRUE
12 | bus_MV_331_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_331_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_331_0_node_17 | 20 | n |  | TRUE
15 | bus_MV_331_0_node_19 | 20 | n |  | TRUE
16 | bus_MV_331_0_node_5 | 20 | n |  | TRUE
17 | bus_MV_331_0_node_16 | 20 | n |  | TRUE
18 | bus_MV_331_0_node_14 | 20 | n |  | TRUE
19 | bus_MV_331_0_node_61 | 20 | n |  | TRUE
20 | bus_MV_331_0_node_9 | 20 | n |  | TRUE
21 | bus_MV_331_0_node_10 | 20 | n |  | TRUE
22 | bus_MV_331_0_node_11 | 20 | n |  | TRUE
23 | bus_MV_331_0_node_13 | 20 | n |  | TRUE
24 | bus_MV_331_0_node_26 | 20 | n |  | TRUE
25 | bus_MV_331_0_node_12 | 20 | n |  | TRUE
26 | bus_MV_331_0_node_72 | 20 | n |  | TRUE
27 | bus_MV_331_0_node_71 | 20 | n |  | TRUE
28 | bus_MV_331_0_node_73 | 20 | n |  | TRUE
29 | bus_MV_331_0_node_70 | 20 | n |  | TRUE
30 | bus_MV_331_0_node_20 | 20 | n |  | TRUE
31 | bus_MV_331_0_node_23 | 20 | n |  | TRUE
32 | bus_MV_331_0_node_28 | 20 | n |  | TRUE
33 | bus_MV_331_0_node_22 | 20 | n |  | TRUE
34 | bus_MV_331_0_node_27 | 20 | n |  | TRUE
35 | bus_MV_331_0_node_32 | 20 | n |  | TRUE
36 | bus_MV_331_0_node_31 | 20 | n |  | TRUE
37 | bus_MV_331_0_node_25 | 20 | n |  | TRUE
38 | bus_MV_331_0_node_78 | 20 | n |  | TRUE
39 | bus_MV_331_0_node_79 | 20 | n |  | TRUE
40 | bus_MV_331_0_node_86 | 20 | n |  | TRUE
41 | bus_MV_331_0_node_35 | 20 | n |  | TRUE
42 | bus_MV_331_0_node_37 | 20 | n |  | TRUE
43 | bus_MV_331_0_node_41 | 20 | n |  | TRUE
44 | bus_MV_331_0_node_36 | 20 | n |  | TRUE
45 | bus_MV_331_0_node_39 | 20 | n |  | TRUE
46 | bus_MV_331_0_node_40 | 20 | n |  | TRUE
47 | bus_MV_331_0_node_57 | 20 | n |  | TRUE
48 | bus_MV_331_0_node_87 | 20 | n |  | TRUE
49 | bus_MV_331_0_node_67 | 20 | n |  | TRUE
50 | bus_MV_331_0_node_55 | 20 | n |  | TRUE
51 | bus_MV_331_0_node_42 | 20 | n |  | TRUE
52 | bus_MV_331_0_node_46 | 20 | n |  | TRUE
53 | bus_MV_331_0_node_43 | 20 | n |  | TRUE
54 | bus_MV_331_0_node_53 | 20 | n |  | TRUE
55 | bus_MV_331_0_node_45 | 20 | n |  | TRUE
56 | bus_MV_331_0_node_62 | 20 | n |  | TRUE
57 | bus_MV_331_0_node_44 | 20 | n |  | TRUE
58 | bus_MV_331_0_node_76 | 20 | n |  | TRUE
59 | bus_MV_331_0_node_47 | 20 | n |  | TRUE
60 | bus_MV_331_0_node_48 | 20 | n |  | TRUE
61 | bus_MV_331_0_node_51 | 20 | n |  | TRUE
62 | bus_MV_331_0_node_74 | 20 | n |  | TRUE
63 | bus_MV_331_0_node_84 | 20 | n |  | TRUE
64 | bus_MV_331_0_node_75 | 20 | n |  | TRUE
65 | bus_MV_331_0_node_66 | 20 | n |  | TRUE
66 | bus_MV_331_0_node_68 | 20 | n |  | TRUE
67 | bus_MV_331_0_node_65 | 20 | n |  | TRUE
68 | bus_MV_331_0_node_52 | 20 | n |  | TRUE
69 | bus_MV_331_0_node_50 | 20 | n |  | TRUE
70 | bus_MV_331_0_node_49 | 20 | n |  | TRUE
71 | bus_MV_331_0_node_54 | 20 | n |  | TRUE
72 | bus_MV_331_0_node_56 | 20 | n |  | TRUE
73 | bus_MV_331_0_node_63 | 20 | n |  | TRUE
74 | bus_MV_331_0_node_64 | 20 | n |  | TRUE
75 | bus_MV_331_0_node_58 | 20 | n |  | TRUE
76 | bus_MV_331_0_node_59 | 20 | n |  | TRUE
77 | bus_MV_331_0_node_60 | 20 | n |  | TRUE
78 | bus_MV_331_0_node_89 | 20 | n |  | TRUE
79 | bus_MV_331_0_node_69 | 20 | n |  | TRUE
80 | bus_MV_331_0_node_82 | 20 | n |  | TRUE
81 | bus_MV_331_0_node_81 | 20 | n |  | TRUE
82 | bus_MV_331_0_node_80 | 20 | n |  | TRUE
83 | bus_MV_331_0_node_83 | 20 | n |  | TRUE
84 | bus_HV_331_0_node_10 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_331_0_load_0 | 0 | 0.39209 | 0.1899 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_331_0_load_33 | 3 | 0.093068 | 0.045075 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_331_0_load_85 | 6 | 0.21023 | 0.10182 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_331_0_load_88 | 11 | 0.29771 | 0.14419 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_331_0_load_8 | 12 | 0.47107 | 0.22815 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_331_0_load_17 | 14 | 0.2879 | 0.13944 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_331_0_load_5 | 16 | 0.34258 | 0.16592 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_331_0_load_61 | 19 | 0.10289 | 0.049831 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_331_0_load_9 | 20 | 0.2594 | 0.12563 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_331_0_load_13 | 23 | 0.21462 | 0.10395 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_331_0_load_72 | 26 | 0.10853 | 0.052566 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_331_0_load_71 | 27 | 0.36905 | 0.17874 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_331_0_load_70 | 29 | 0.18901 | 0.091541 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_331_0_load_20 | 30 | 0.23345 | 0.11307 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_331_0_load_28 | 32 | 0.17654 | 0.085502 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_331_0_load_32 | 35 | 0.31535 | 0.15273 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_331_0_load_31 | 36 | 0.2368 | 0.11469 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_331_0_load_25 | 37 | 0.064449 | 0.031214 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_331_0_load_78 | 38 | 0.095692 | 0.046346 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_331_0_load_79 | 39 | 0.10998 | 0.053267 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_331_0_load_86 | 40 | 0.37497 | 0.18161 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_331_0_load_35 | 41 | 0.2723 | 0.13188 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_331_0_load_41 | 43 | 0.11853 | 0.057409 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_331_0_load_57 | 47 | 0.34518 | 0.16718 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_331_0_load_87 | 48 | 0.078747 | 0.038139 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_331_0_load_67 | 49 | 0.12087 | 0.05854 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_331_0_load_43 | 53 | 0.30525 | 0.14784 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_331_0_load_62 | 56 | 0.52426 | 0.25391 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_331_0_load_76 | 58 | 0.10187 | 0.049337 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_331_0_load_47 | 59 | 0.092835 | 0.044962 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_331_0_load_48 | 60 | 0.10899 | 0.052788 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_331_0_load_84 | 63 | 0.16057 | 0.077766 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_331_0_load_75 | 64 | 0.32143 | 0.15568 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_331_0_load_66 | 65 | 0.18684 | 0.090491 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_331_0_load_65 | 67 | 0.13288 | 0.064355 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_331_0_load_52 | 68 | 0.15664 | 0.075863 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_331_0_load_49 | 70 | 0.38684 | 0.18736 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_331_0_load_54 | 71 | 0.085209 | 0.041269 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_331_0_load_63 | 73 | 0.083389 | 0.040387 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_331_0_load_64 | 74 | 0.11651 | 0.056426 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_331_0_load_58 | 75 | 0.36599 | 0.17726 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_331_0_load_89 | 78 | 0.12532 | 0.060697 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_331_0_load_82 | 80 | 0.085553 | 0.041435 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_331_0_load_81 | 81 | 0.073632 | 0.035662 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_331_0_load_83 | 83 | 0.12919 | 0.062572 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_331_0_line_0 |  | 0 | 1 | 0.069983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_331_0_line_1 |  | 0 | 2 | 0.12077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_331_0_line_2 |  | 1 | 3 | 1.6069 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_331_0_line_3 |  | 2 | 4 | 0.77145 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
4 | MV_331_0_line_4 |  | 4 | 11 | 0.075303 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_331_0_line_5 |  | 4 | 8 | 0.35527 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
6 | MV_331_0_line_6 |  | 5 | 6 | 0.020988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_331_0_line_7 |  | 5 | 7 | 0.60036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_331_0_line_8 |  | 7 | 31 | 0.6912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_331_0_line_9 |  | 7 | 32 | 0.28847 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_331_0_line_10 |  | 7 | 30 | 0.036855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_331_0_line_11 |  | 8 | 9 | 0.37105 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
12 | MV_331_0_line_12 |  | 8 | 10 | 0.13023 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_331_0_line_13 |  | 9 | 12 | 0.097928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_331_0_line_14 |  | 9 | 13 | 0.075084 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_331_0_line_15 |  | 10 | 14 | 0.028893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_331_0_line_16 |  | 11 | 15 | 0.25885 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_331_0_line_17 |  | 12 | 19 | 0.14636 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_331_0_line_18 |  | 13 | 16 | 0.079028 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
19 | MV_331_0_line_19 |  | 15 | 40 | 0.085633 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_331_0_line_20 |  | 16 | 17 | 0.12457 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
21 | MV_331_0_line_21 |  | 17 | 18 | 1.2408 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_331_0_line_22 |  | 18 | 20 | 0.72242 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
23 | MV_331_0_line_23 |  | 18 | 23 | 0.085427 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
24 | MV_331_0_line_24 |  | 20 | 21 | 0.19971 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_331_0_line_25 |  | 21 | 22 | 0.67387 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_331_0_line_26 |  | 22 | 25 | 0.053692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_331_0_line_27 |  | 22 | 26 | 0.053435 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
28 | MV_331_0_line_28 |  | 23 | 24 | 1.0987 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
29 | MV_331_0_line_29 |  | 24 | 37 | 0.025491 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_331_0_line_30 |  | 25 | 27 | 0.055449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_331_0_line_31 |  | 26 | 28 | 0.086474 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_331_0_line_32 |  | 27 | 29 | 0.046268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_331_0_line_33 |  | 28 | 52 | 0.095918 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_331_0_line_34 |  | 28 | 62 | 0.141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_331_0_line_35 |  | 29 | 38 | 0.6289 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_331_0_line_36 |  | 31 | 36 | 0.033154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_331_0_line_37 |  | 31 | 33 | 0.48762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_331_0_line_38 |  | 33 | 34 | 0.42585 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
39 | MV_331_0_line_39 |  | 33 | 35 | 0.068379 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_331_0_line_40 |  | 34 | 37 | 0.21792 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_331_0_line_41 |  | 38 | 39 | 0.21712 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_331_0_line_42 |  | 39 | 82 | 0.12082 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_331_0_line_43 |  | 41 | 42 | 0.05907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_331_0_line_44 |  | 42 | 43 | 0.030801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_331_0_line_45 |  | 43 | 50 | 0.017498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_331_0_line_46 |  | 44 | 45 | 0.028487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_331_0_line_47 |  | 44 | 46 | 0.031848 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_331_0_line_48 |  | 44 | 47 | 0.084539 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_331_0_line_49 |  | 45 | 48 | 0.10337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_331_0_line_50 |  | 46 | 49 | 0.039545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_331_0_line_51 |  | 47 | 50 | 0.054102 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_331_0_line_52 |  | 50 | 54 | 0.11326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_331_0_line_53 |  | 51 | 52 | 0.31228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_331_0_line_54 |  | 51 | 53 | 0.15931 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_331_0_line_55 |  | 52 | 58 | 0.026787 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_331_0_line_56 |  | 53 | 57 | 0.048464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_331_0_line_57 |  | 54 | 71 | 0.054279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_331_0_line_58 |  | 54 | 68 | 0.034189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_331_0_line_59 |  | 55 | 56 | 0.057211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_331_0_line_60 |  | 55 | 57 | 0.16322 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_331_0_line_61 |  | 57 | 59 | 0.071008 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_331_0_line_62 |  | 57 | 60 | 0.12337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_331_0_line_63 |  | 58 | 64 | 0.081163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_331_0_line_64 |  | 60 | 61 | 0.08967 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_331_0_line_65 |  | 61 | 68 | 0.026664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_331_0_line_66 |  | 61 | 69 | 0.089562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_331_0_line_67 |  | 62 | 63 | 0.017526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_331_0_line_68 |  | 63 | 80 | 0.031213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_331_0_line_69 |  | 65 | 66 | 0.20986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_331_0_line_70 |  | 65 | 67 | 0.0030832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_331_0_line_71 |  | 66 | 79 | 0.13069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_331_0_line_72 |  | 67 | 74 | 0.028247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_331_0_line_73 |  | 69 | 70 | 0.14846 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_331_0_line_74 |  | 71 | 72 | 0.037281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_331_0_line_75 |  | 72 | 73 | 0.026328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_331_0_line_76 |  | 73 | 74 | 0.0009433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_331_0_line_77 |  | 75 | 76 | 0.056961 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_331_0_line_78 |  | 76 | 77 | 0.51501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_331_0_line_79 |  | 77 | 78 | 0.029151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_331_0_line_80 |  | 78 | 79 | 0.025245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_331_0_line_81 |  | 80 | 83 | 0.020502 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_331_0_line_82 |  | 81 | 82 | 0.63173 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_331_0_trafo_10 | 25 MVA 110/20 kV | 84 | 21 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2590448.1686 | 1243356.1444
1 | 2590379.4636 | 1243346.0277
2 | 2590543.4397 | 1243428.814
3 | 2588986.8336 | 1242544.2886
4 | 2590803.4649 | 1243218.6696
5 | 2588768.5431 | 1244831.5964
6 | 2588776.0904 | 1244851.0832
7 | 2589019.1475 | 1245182.6685
8 | 2590849.2423 | 1243457.6151
9 | 2591006.9954 | 1243682.7135
10 | 2590978.0014 | 1243477.1396
11 | 2590806.2342 | 1243143.4179
12 | 2591075.1874 | 1243752.7323
13 | 2590976.1853 | 1243751.215
14 | 2590970.5929 | 1243505.0685
15 | 2591001.7235 | 1242973.7535
16 | 2590903.9692 | 1243783.3131
17 | 2590843.7983 | 1243892.3863
18 | 2591157.294 | 1244741.7762
19 | 2591031.7394 | 1243892.4968
20 | 2591450.7049 | 1244081.6252
21 | 2591619.9066 | 1244186.8479
22 | 2592144.955 | 1244414.266
23 | 2591084.0265 | 1244785.7036
24 | 2590340.7696 | 1245594.7903
25 | 2592104.7 | 1244422.3028
26 | 2592183.0691 | 1244451.6738
27 | 2592065.8471 | 1244461.8638
28 | 2592240.5217 | 1244516.3034
29 | 2592042.7798 | 1244494.8734
30 | 2589051.5837 | 1245200.3415
31 | 2589450.7045 | 1245515.8241
32 | 2588739.0877 | 1245251.8302
33 | 2589810.0811 | 1245497.4014
34 | 2590100.7723 | 1245550.1832
35 | 2589799.8259 | 1245565.0066
36 | 2589474.3254 | 1245539.088
37 | 2590315.6658 | 1245589.9618
38 | 2591858.3728 | 1245096.1324
39 | 2591856.5744 | 1245313.2498
40 | 2591034.207 | 1242894.5208
41 | 2593024.0602 | 1244820.2008
42 | 2592969.9646 | 1244796.1168
43 | 2592944.2002 | 1244779.2375
44 | 2593046.7896 | 1244714.1067
45 | 2593071.9743 | 1244715.7224
46 | 2593050.294 | 1244693.7786
47 | 2592963.2937 | 1244727.3484
48 | 2593109.5191 | 1244665.2796
49 | 2593047.1647 | 1244654.68
50 | 2592929.5638 | 1244769.6486
51 | 2592511.8695 | 1244814.4617
52 | 2592303.0194 | 1244582.2962
53 | 2592620.007 | 1244697.473
54 | 2592842.5488 | 1244696.8526
55 | 2592524.4137 | 1244561.1968
56 | 2592560.4214 | 1244516.7386
57 | 2592652.9274 | 1244661.8203
58 | 2592319.7908 | 1244561.4089
59 | 2592700.7647 | 1244609.3441
60 | 2592743.8946 | 1244672.2752
61 | 2592801.0553 | 1244741.3648
62 | 2592376.2592 | 1244484.9614
63 | 2592386.5842 | 1244498.6149
64 | 2592376.618 | 1244556.1507
65 | 2592857.1146 | 1244592.64
66 | 2592928.9388 | 1244395.4574
67 | 2592859.746 | 1244594.2469
68 | 2592819.2365 | 1244721.8609
69 | 2592739.9139 | 1244806.9705
70 | 2592848.6771 | 1244908.0231
71 | 2592878.5163 | 1244656.2013
72 | 2592903.2204 | 1244628.28
73 | 2592884.1532 | 1244610.1368
74 | 2592883.4532 | 1244609.5045
75 | 2592985.2616 | 1243808.5309
76 | 2592950.85 | 1243853.9229
77 | 2593008.1383 | 1244228.7907
78 | 2592997.4787 | 1244255.9316
79 | 2592986.9124 | 1244278.8698
80 | 2592410.6418 | 1244518.5016
81 | 2592517.7822 | 1245161.2492
82 | 2591935.082 | 1245405.2664
83 | 2592426.4438 | 1244531.564
84 | 2591619.9066 | 1244186.8479

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99341 | -0.13269 | 0.39209 | 0.1899
1 | 0.9934 | -0.13262 | 0 | 0
2 | 0.99348 | -0.13336 | 0 | 0
3 | 0.99311 | -0.13458 | 0.093068 | 0.045075
4 | 0.99368 | -0.13089 | 0 | 0
5 | 0.99302 | -0.13394 | 0 | 0
6 | 0.99302 | -0.13389 | 0.21023 | 0.10182
7 | 0.99318 | -0.13518 | 0 | 0
8 | 0.9939 | -0.12824 | 0 | 0
9 | 0.99419 | -0.12475 | 0 | 0
10 | 0.99383 | -0.1287 | 0 | 0
11 | 0.99358 | -0.13151 | 0.29771 | 0.14419
12 | 0.99412 | -0.12408 | 0.47107 | 0.22815
13 | 0.99427 | -0.12378 | 0 | 0
14 | 0.99382 | -0.1286 | 0.2879 | 0.13944
15 | 0.99339 | -0.1327 | 0 | 0
16 | 0.99446 | -0.11889 | 0.34258 | 0.16592
17 | 0.9948 | -0.10994 | 0 | 0
18 | 0.99638 | -0.090971 | 0 | 0
19 | 0.99409 | -0.12426 | 0.10289 | 0.049831
20 | 0.99957 | -0.0053518 | 0.2594 | 0.12563
21 | 1 | 0 | -9.4837 | -4.3286
22 | 0.99804 | -0.021599 | 0 | 0
23 | 0.99624 | -0.094844 | 0.21462 | 0.10395
24 | 0.99468 | -0.13783 | 0 | 0
25 | 0.99799 | -0.021085 | 0 | 0
26 | 0.99791 | -0.023038 | 0.10853 | 0.052566
27 | 0.99793 | -0.02055 | 0.36905 | 0.17874
28 | 0.99771 | -0.025311 | 0 | 0
29 | 0.9979 | -0.020305 | 0.18901 | 0.091541
30 | 0.99317 | -0.13507 | 0.23345 | 0.11307
31 | 0.99373 | -0.1393 | 0 | 0
32 | 0.99308 | -0.13581 | 0.17654 | 0.085502
33 | 0.99426 | -0.14315 | 0 | 0
34 | 0.99452 | -0.13981 | 0 | 0
35 | 0.99421 | -0.14341 | 0.31535 | 0.15273
36 | 0.99372 | -0.13921 | 0.2368 | 0.11469
37 | 0.99466 | -0.13804 | 0.064449 | 0.031214
38 | 0.99756 | -0.022666 | 0.095692 | 0.046346
39 | 0.99749 | -0.023219 | 0.10998 | 0.053267
40 | 0.99333 | -0.1331 | 0.37497 | 0.18161
41 | 0.99354 | -0.017137 | 0.2723 | 0.13188
42 | 0.99356 | -0.01733 | 0 | 0
43 | 0.99357 | -0.017428 | 0.11853 | 0.057409
44 | 0.99351 | -0.017412 | 0 | 0
45 | 0.9935 | -0.01739 | 0 | 0
46 | 0.9935 | -0.017368 | 0 | 0
47 | 0.99354 | -0.01717 | 0.34518 | 0.16718
48 | 0.99349 | -0.017299 | 0.078747 | 0.038139
49 | 0.99349 | -0.017311 | 0.12087 | 0.05854
50 | 0.99358 | -0.017508 | 0 | 0
51 | 0.99606 | -0.014953 | 0 | 0
52 | 0.9975 | -0.027613 | 0 | 0
53 | 0.99495 | -0.022558 | 0.30525 | 0.14784
54 | 0.99371 | -0.018719 | 0 | 0
55 | 0.99458 | -0.02182 | 0 | 0
56 | 0.99454 | -0.02146 | 0.52426 | 0.25391
57 | 0.99474 | -0.020755 | 0 | 0
58 | 0.99748 | -0.02748 | 0.10187 | 0.049337
59 | 0.99474 | -0.020679 | 0.092835 | 0.044962
60 | 0.99432 | -0.01704 | 0.10899 | 0.052788
61 | 0.99387 | -0.02014 | 0 | 0
62 | 0.99764 | -0.024705 | 0 | 0
63 | 0.99763 | -0.024628 | 0.16057 | 0.077766
64 | 0.99745 | -0.027172 | 0.32143 | 0.15568
65 | 0.99352 | -0.017085 | 0.18684 | 0.090491
66 | 0.99332 | -0.01865 | 0 | 0
67 | 0.99352 | -0.017107 | 0.13288 | 0.064355
68 | 0.9938 | -0.01949 | 0.15664 | 0.075863
69 | 0.99383 | -0.019727 | 0 | 0
70 | 0.99372 | -0.020431 | 0.38684 | 0.18736
71 | 0.99364 | -0.018067 | 0.085209 | 0.041269
72 | 0.99359 | -0.017655 | 0 | 0
73 | 0.99355 | -0.017363 | 0.083389 | 0.040387
74 | 0.99355 | -0.017353 | 0.11651 | 0.056426
75 | 0.99293 | -0.015936 | 0.36599 | 0.17726
76 | 0.99297 | -0.015681 | 0 | 0
77 | 0.99321 | -0.017763 | 0 | 0
78 | 0.99323 | -0.017869 | 0.12532 | 0.060697
79 | 0.99324 | -0.017998 | 0 | 0
80 | 0.99762 | -0.024549 | 0.085553 | 0.041435
81 | 0.99738 | -0.023715 | 0.073632 | 0.035662
82 | 0.99748 | -0.023129 | 0 | 0
83 | 0.99762 | -0.024517 | 0.12919 | 0.062572
84 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.093095 | 0.04155 | -0.093094 | -0.043198 | 8.2539e-07 | -0.0016487 | 0.0029625 | 0.0029823 | 0.0029823 | 0.99341 | -0.13269 | 0.9934 | -0.13262 | 1.3556
1 | -0.48519 | -0.23145 | 0.48523 | 0.22861 | 3.9253e-05 | -0.0028341 | 0.015621 | 0.015586 | 0.015621 | 0.99341 | -0.13269 | 0.99348 | -0.13336 | 7.1005
2 | 0.093094 | 0.043198 | -0.093068 | -0.045075 | 2.5664e-05 | -0.0018765 | 0.0029823 | 0.0030059 | 0.0030059 | 0.9934 | -0.13262 | 0.99311 | -0.13458 | 1.4314
3 | -0.48523 | -0.22861 | 0.48531 | 0.20255 | 8.8687e-05 | -0.026063 | 0.015586 | 0.015278 | 0.015586 | 0.99348 | -0.13336 | 0.99368 | -0.13089 | 4.3054
4 | 0.67284 | 0.3254 | -0.67278 | -0.32545 | 6.3254e-05 | -4.9135e-05 | 0.021713 | 0.021714 | 0.021714 | 0.99368 | -0.13089 | 0.99358 | -0.13151 | 10.3398
5 | -1.1582 | -0.52795 | 1.1584 | 0.51608 | 0.0002337 | -0.011867 | 0.036977 | 0.036833 | 0.036977 | 0.99368 | -0.13089 | 0.9939 | -0.12824 | 10.2145
6 | 0.21023 | 0.10132 | -0.21023 | -0.10182 | 1.2908e-06 | -0.00049376 | 0.0067842 | 0.0067904 | 0.0067904 | 0.99302 | -0.13394 | 0.99302 | -0.13389 | 3.0866
7 | -0.21023 | -0.10132 | 0.21026 | 0.087197 | 3.5952e-05 | -0.014126 | 0.0067842 | 0.0066161 | 0.0067842 | 0.99302 | -0.13394 | 0.99318 | -0.13518 | 3.0837
8 | -0.62027 | -0.28457 | 0.62063 | 0.26839 | 0.0003595 | -0.016181 | 0.019835 | 0.019643 | 0.019835 | 0.99318 | -0.13518 | 0.99373 | -0.1393 | 9.0161
9 | 0.17656 | 0.085172 | -0.17654 | -0.085502 | 1.6698e-05 | -0.00032921 | 0.0056976 | 0.0057019 | 0.0057019 | 0.99318 | -0.13518 | 0.99308 | -0.13581 | 2.7152
10 | 0.23346 | 0.1122 | -0.23345 | -0.11307 | 2.7927e-06 | -0.00086716 | 0.0075285 | 0.0075395 | 0.0075395 | 0.99318 | -0.13518 | 0.99317 | -0.13507 | 3.427
11 | -1.4463 | -0.6547 | 1.4467 | 0.6424 | 0.00037982 | -0.012302 | 0.046111 | 0.045961 | 0.046111 | 0.9939 | -0.12824 | 0.99419 | -0.12475 | 12.7378
12 | 0.28792 | 0.13862 | -0.2879 | -0.13876 | 1.9992e-05 | -0.00014105 | 0.0092813 | 0.0092832 | 0.0092832 | 0.9939 | -0.12824 | 0.99383 | -0.1287 | 4.4206
13 | 0.574 | 0.27551 | -0.57396 | -0.27781 | 4.4752e-05 | -0.0022976 | 0.018487 | 0.018516 | 0.018516 | 0.99419 | -0.12475 | 0.99412 | -0.12408 | 8.4165
14 | -2.0207 | -0.91791 | 2.0208 | 0.91547 | 0.00015054 | -0.0024368 | 0.064443 | 0.064412 | 0.064443 | 0.99419 | -0.12475 | 0.99427 | -0.12378 | 17.8019
15 | 0.2879 | 0.13876 | -0.2879 | -0.13944 | 3.3272e-06 | -0.00068037 | 0.0092832 | 0.0092919 | 0.0092919 | 0.99383 | -0.1287 | 0.99382 | -0.1286 | 4.2236
16 | 0.37506 | 0.18126 | -0.37499 | -0.18152 | 6.7576e-05 | -0.00026268 | 0.012103 | 0.012107 | 0.012107 | 0.99358 | -0.13151 | 0.99339 | -0.1327 | 5.7651
17 | 0.10289 | 0.04966 | -0.10289 | -0.049831 | 2.872e-06 | -0.00017087 | 0.0033176 | 0.0033198 | 0.0033198 | 0.99412 | -0.12408 | 0.99409 | -0.12426 | 1.5808
18 | -2.0208 | -0.91547 | 2.0211 | 0.91571 | 0.00030099 | 0.00024608 | 0.064412 | 0.064411 | 0.064412 | 0.99427 | -0.12378 | 0.99446 | -0.11889 | 18.4035
19 | 0.37499 | 0.18152 | -0.37497 | -0.18161 | 2.2365e-05 | -8.6868e-05 | 0.012107 | 0.012108 | 0.012108 | 0.99339 | -0.1327 | 0.99333 | -0.1331 | 5.7657
20 | -2.3637 | -1.0816 | 2.3644 | 1.0822 | 0.0006511 | 0.00058986 | 0.075458 | 0.075456 | 0.075458 | 0.99446 | -0.11889 | 0.9948 | -0.10994 | 21.5593
21 | -2.3644 | -1.0822 | 2.3678 | 1.0425 | 0.0033894 | -0.039729 | 0.075456 | 0.074955 | 0.075456 | 0.9948 | -0.10994 | 0.99638 | -0.090971 | 20.8441
22 | -3.8223 | -1.6793 | 3.832 | 1.6895 | 0.009702 | 0.010193 | 0.12096 | 0.12095 | 0.12096 | 0.99638 | -0.090971 | 0.99957 | -0.0053518 | 34.5594
23 | 1.4545 | 0.63685 | -1.4543 | -0.63677 | 0.00016597 | 8.3274e-05 | 0.046003 | 0.046004 | 0.046004 | 0.99638 | -0.090971 | 0.99624 | -0.094844 | 13.1441
24 | -4.0914 | -1.8152 | 4.093 | 1.8095 | 0.0016108 | -0.0056778 | 0.12927 | 0.12919 | 0.12927 | 0.99957 | -0.0053518 | 1 | 0 | 35.7088
25 | 5.3767 | 2.5086 | -5.3671 | -2.5247 | 0.0095637 | -0.016123 | 0.17127 | 0.17156 | 0.17156 | 1 | 0 | 0.99804 | -0.021599 | 47.3916
26 | 0.8376 | 0.39734 | -0.83755 | -0.3986 | 5.1569e-05 | -0.0012616 | 0.026814 | 0.02683 | 0.02683 | 0.99804 | -0.021599 | 0.99799 | -0.021085 | 12.1956
27 | 4.5295 | 2.1274 | -4.529 | -2.1288 | 0.0005408 | -0.0014327 | 0.14474 | 0.14477 | 0.14477 | 0.99804 | -0.021599 | 0.99791 | -0.023038 | 39.9906
28 | 1.2397 | 0.53282 | -1.2382 | -0.53243 | 0.0015426 | 0.00039627 | 0.0391 | 0.039116 | 0.039116 | 0.99624 | -0.094844 | 0.99468 | -0.13783 | 11.176
29 | 1.2382 | 0.53243 | -1.2382 | -0.53328 | 1.8843e-05 | -0.0008515 | 0.039116 | 0.039126 | 0.039126 | 0.99468 | -0.13783 | 0.99466 | -0.13804 | 10.8083
30 | 0.83755 | 0.3986 | -0.83749 | -0.3999 | 5.332e-05 | -0.0013027 | 0.02683 | 0.026847 | 0.026847 | 0.99799 | -0.021085 | 0.99793 | -0.02055 | 12.2031
31 | 4.4205 | 2.0763 | -4.4196 | -2.0786 | 0.00083386 | -0.0023477 | 0.14128 | 0.14131 | 0.14131 | 0.99791 | -0.023038 | 0.99771 | -0.025311 | 39.037
32 | 0.46844 | 0.22116 | -0.46842 | -0.22226 | 1.3883e-05 | -0.001096 | 0.014985 | 0.014999 | 0.014999 | 0.99793 | -0.02055 | 0.9979 | -0.020305 | 6.8176
33 | 4.0443 | 1.9018 | -4.0435 | -1.9045 | 0.0007749 | -0.0027117 | 0.12931 | 0.12935 | 0.12935 | 0.99771 | -0.025311 | 0.9975 | -0.027613 | 35.732
34 | 0.37535 | 0.17679 | -0.37532 | -0.18013 | 2.7221e-05 | -0.0033429 | 0.012005 | 0.012046 | 0.012046 | 0.99771 | -0.025311 | 0.99764 | -0.024705 | 5.4755
35 | 0.27942 | 0.13072 | -0.27933 | -0.13141 | 8.9323e-05 | -0.00069144 | 0.0089238 | 0.008933 | 0.008933 | 0.9979 | -0.020305 | 0.99756 | -0.022666 | 4.2538
36 | 0.2368 | 0.11391 | -0.2368 | -0.11469 | 2.5824e-06 | -0.0007809 | 0.0076336 | 0.0076434 | 0.0076434 | 0.99373 | -0.1393 | 0.99372 | -0.13921 | 3.4743
37 | -0.85744 | -0.38229 | 0.85792 | 0.37093 | 0.00048177 | -0.01136 | 0.027272 | 0.027138 | 0.027272 | 0.99373 | -0.1393 | 0.99426 | -0.14315 | 12.3963
38 | -1.1733 | -0.52359 | 1.1736 | 0.50935 | 0.00028492 | -0.014239 | 0.037304 | 0.037135 | 0.037304 | 0.99426 | -0.14315 | 0.99452 | -0.13981 | 10.3049
39 | 0.31536 | 0.15266 | -0.31535 | -0.15273 | 1.2609e-05 | -7.2794e-05 | 0.010173 | 0.010174 | 0.010174 | 0.99426 | -0.14315 | 0.99421 | -0.14341 | 4.8447
40 | -1.1736 | -0.50935 | 1.1737 | 0.50206 | 0.00014481 | -0.0072901 | 0.037135 | 0.03705 | 0.037135 | 0.99452 | -0.13981 | 0.99466 | -0.13804 | 10.2582
41 | 0.18363 | 0.085063 | -0.18362 | -0.085312 | 1.3275e-05 | -0.00024961 | 0.0058565 | 0.0058596 | 0.0058596 | 0.99756 | -0.022666 | 0.99749 | -0.023219 | 2.7903
42 | 0.07364 | 0.032046 | -0.073639 | -0.034915 | 8.8396e-07 | -0.0028698 | 0.0023242 | 0.0023586 | 0.0023586 | 0.99749 | -0.023219 | 0.99748 | -0.023129 | 1.0721
43 | -0.2723 | -0.13188 | 0.2723 | 0.13049 | 6.0818e-06 | -0.0013904 | 0.0087908 | 0.0087732 | 0.0087908 | 0.99354 | -0.017137 | 0.99356 | -0.01733 | 3.9958
44 | -0.2723 | -0.13049 | 0.27231 | 0.12976 | 3.1617e-06 | -0.00072504 | 0.0087732 | 0.0087641 | 0.0087732 | 0.99356 | -0.01733 | 0.99357 | -0.017428 | 3.9878
45 | -0.39084 | -0.18717 | 0.39085 | 0.18676 | 3.7016e-06 | -0.00041133 | 0.012591 | 0.012586 | 0.012591 | 0.99357 | -0.017428 | 0.99358 | -0.017508 | 5.723
46 | 0.078748 | 0.035032 | -0.078748 | -0.035703 | 2.3927e-07 | -0.00067128 | 0.0025043 | 0.0025123 | 0.0025123 | 0.99351 | -0.017412 | 0.9935 | -0.01739 | 1.142
47 | 0.12087 | 0.056858 | -0.12087 | -0.057608 | 6.4201e-07 | -0.00075036 | 0.0038812 | 0.0038906 | 0.0038906 | 0.99351 | -0.017412 | 0.9935 | -0.017368 | 1.7684
48 | -0.19962 | -0.09189 | 0.19963 | 0.091794 | 6.1399e-06 | -9.5774e-05 | 0.0063852 | 0.006384 | 0.0063852 | 0.99351 | -0.017412 | 0.99354 | -0.01717 | 3.0406
49 | 0.078748 | 0.035703 | -0.078747 | -0.038139 | 8.8128e-07 | -0.0024357 | 0.0025123 | 0.0025424 | 0.0025424 | 0.9935 | -0.01739 | 0.99349 | -0.017299 | 1.1556
50 | 0.12087 | 0.057608 | -0.12087 | -0.05854 | 8.015e-07 | -0.00093171 | 0.0038906 | 0.0039023 | 0.0039023 | 0.9935 | -0.017368 | 0.99349 | -0.017311 | 1.7738
51 | -0.5448 | -0.25897 | 0.54483 | 0.2577 | 2.2167e-05 | -0.0012686 | 0.017527 | 0.017511 | 0.017527 | 0.99354 | -0.01717 | 0.99358 | -0.017508 | 7.9667
52 | -0.93567 | -0.44447 | 0.93581 | 0.44184 | 0.00013681 | -0.0026293 | 0.030096 | 0.030063 | 0.030096 | 0.99358 | -0.017508 | 0.99371 | -0.018719 | 13.6802
53 | -3.6146 | -1.7078 | 3.6202 | 1.7021 | 0.005592 | -0.0057494 | 0.11586 | 0.11577 | 0.11586 | 0.99606 | -0.014953 | 0.9975 | -0.027613 | 52.6644
54 | 3.6146 | 1.7078 | -3.6108 | -1.7056 | 0.0038104 | 0.0021982 | 0.11586 | 0.11586 | 0.11586 | 0.99606 | -0.014953 | 0.99495 | -0.022558 | 55.1734
55 | 0.42332 | 0.20245 | -0.42331 | -0.20309 | 6.5985e-06 | -0.00063441 | 0.01358 | 0.013588 | 0.013588 | 0.9975 | -0.027613 | 0.99748 | -0.02748 | 6.1762
56 | 3.3056 | 1.5578 | -3.3048 | -1.5587 | 0.00072739 | -0.00092947 | 0.10602 | 0.10604 | 0.10604 | 0.99495 | -0.022558 | 0.99474 | -0.020755 | 48.1992
57 | 1.0966 | 0.51071 | -1.0965 | -0.51197 | 8.9527e-05 | -0.0012531 | 0.035142 | 0.035158 | 0.035158 | 0.99371 | -0.018719 | 0.99364 | -0.018067 | 15.9807
58 | -2.0324 | -0.95255 | 2.0326 | 0.9518 | 0.00019403 | -0.00074858 | 0.065205 | 0.065195 | 0.065205 | 0.99371 | -0.018719 | 0.9938 | -0.01949 | 29.6386
59 | 0.52428 | 0.25256 | -0.52426 | -0.25391 | 2.1812e-05 | -0.0013447 | 0.016891 | 0.016908 | 0.016908 | 0.99458 | -0.02182 | 0.99454 | -0.02146 | 7.6854
60 | -0.52428 | -0.25256 | 0.52436 | 0.25242 | 8.2956e-05 | -0.00014082 | 0.016891 | 0.016888 | 0.016891 | 0.99458 | -0.02182 | 0.99474 | -0.020755 | 8.0433
61 | 0.092836 | 0.043285 | -0.092835 | -0.044962 | 8.4347e-07 | -0.0016774 | 0.0029726 | 0.0029934 | 0.0029934 | 0.99474 | -0.020755 | 0.99474 | -0.020679 | 1.3607
62 | 2.6876 | 1.263 | -2.6864 | -1.2656 | 0.0012237 | -0.0025505 | 0.086178 | 0.086214 | 0.086214 | 0.99474 | -0.020755 | 0.99432 | -0.01704 | 39.1881
63 | 0.32144 | 0.15375 | -0.32143 | -0.15568 | 1.1549e-05 | -0.0019246 | 0.010312 | 0.010336 | 0.010336 | 0.99748 | -0.02748 | 0.99745 | -0.027172 | 4.6983
64 | 2.5774 | 1.2128 | -2.5763 | -1.2122 | 0.0010926 | 0.00057861 | 0.082698 | 0.082699 | 0.082699 | 0.99432 | -0.01704 | 0.99387 | -0.02014 | 39.3807
65 | 2.1894 | 1.0271 | -2.1892 | -1.0277 | 0.00017565 | -0.0005767 | 0.070242 | 0.07025 | 0.07025 | 0.99387 | -0.02014 | 0.9938 | -0.01949 | 31.9318
66 | 0.3869 | 0.1851 | -0.38688 | -0.18721 | 1.8595e-05 | -0.0021067 | 0.012458 | 0.012484 | 0.012484 | 0.99387 | -0.02014 | 0.99383 | -0.019727 | 5.6746
67 | 0.37532 | 0.18013 | -0.37532 | -0.18054 | 3.3966e-06 | -0.00041547 | 0.012046 | 0.012051 | 0.012051 | 0.99764 | -0.024705 | 0.99763 | -0.024628 | 5.4779
68 | 0.21475 | 0.10278 | -0.21475 | -0.10352 | 1.9802e-06 | -0.00074112 | 0.006889 | 0.0068983 | 0.0068983 | 0.99763 | -0.024628 | 0.99762 | -0.024549 | 3.1356
69 | 0.49157 | 0.22127 | -0.49148 | -0.22146 | 9.175e-05 | -0.00018977 | 0.015663 | 0.015666 | 0.015666 | 0.99352 | -0.017085 | 0.99332 | -0.01865 | 7.4601
70 | -0.67841 | -0.31176 | 0.67842 | 0.31168 | 1.937e-06 | -7.209e-05 | 0.021694 | 0.021693 | 0.021694 | 0.99352 | -0.017085 | 0.99352 | -0.017107 | 9.8607
71 | 0.49148 | 0.22146 | -0.49144 | -0.22452 | 4.2921e-05 | -0.0030658 | 0.015666 | 0.015703 | 0.015703 | 0.99332 | -0.01865 | 0.99324 | -0.017998 | 7.1378
72 | -0.81129 | -0.37604 | 0.81132 | 0.37538 | 2.5448e-05 | -0.00065819 | 0.025982 | 0.025974 | 0.025982 | 0.99352 | -0.017107 | 0.99355 | -0.017353 | 11.8099
73 | 0.38688 | 0.18721 | -0.38684 | -0.18736 | 4.1233e-05 | -0.00014921 | 0.012484 | 0.012486 | 0.012486 | 0.99383 | -0.019727 | 0.99372 | -0.020431 | 5.9459
74 | 1.0113 | 0.4707 | -1.0112 | -0.47156 | 5.2288e-05 | -0.00086328 | 0.032407 | 0.032418 | 0.032418 | 0.99364 | -0.018067 | 0.99359 | -0.017655 | 14.7355
75 | 1.0112 | 0.47156 | -1.0112 | -0.47217 | 3.6947e-05 | -0.0006096 | 0.032418 | 0.032426 | 0.032426 | 0.99359 | -0.017655 | 0.99355 | -0.017363 | 14.739
76 | 0.92782 | 0.43178 | -0.92782 | -0.43181 | 1.1135e-06 | -2.1903e-05 | 0.029734 | 0.029734 | 0.029734 | 0.99355 | -0.017363 | 0.99355 | -0.017353 | 13.5156
77 | -0.36599 | -0.17726 | 0.36601 | 0.1772 | 1.4185e-05 | -5.8161e-05 | 0.011823 | 0.011822 | 0.011823 | 0.99293 | -0.015936 | 0.99297 | -0.015681 | 5.6299
78 | -0.36601 | -0.1772 | 0.3661 | 0.1651 | 9.4862e-05 | -0.012099 | 0.011822 | 0.011673 | 0.011822 | 0.99297 | -0.015681 | 0.99321 | -0.017763 | 5.3736
79 | -0.3661 | -0.1651 | 0.36611 | 0.16442 | 5.2987e-06 | -0.00068503 | 0.011673 | 0.011664 | 0.011673 | 0.99321 | -0.017763 | 0.99323 | -0.017869 | 5.3058
80 | -0.49143 | -0.22511 | 0.49144 | 0.22452 | 8.3144e-06 | -0.00059216 | 0.01571 | 0.015703 | 0.01571 | 0.99323 | -0.017869 | 0.99324 | -0.017998 | 7.1411
81 | 0.12919 | 0.062085 | -0.12919 | -0.062572 | 4.7154e-07 | -0.00048704 | 0.0041477 | 0.0041538 | 0.0041538 | 0.99762 | -0.024549 | 0.99762 | -0.024517 | 1.8881
82 | -0.073632 | -0.035662 | 0.073639 | 0.034915 | 6.2861e-06 | -0.00074635 | 0.002368 | 0.0023586 | 0.002368 | 0.99738 | -0.023715 | 0.99748 | -0.023129 | 1.1276

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.4837 | 4.3286

## res_load
| p_mw | q_mvar
0 | 0.39209 | 0.1899
1 | 0.093068 | 0.045075
2 | 0.21023 | 0.10182
3 | 0.29771 | 0.14419
4 | 0.47107 | 0.22815
5 | 0.2879 | 0.13944
6 | 0.34258 | 0.16592
7 | 0.10289 | 0.049831
8 | 0.2594 | 0.12563
9 | 0.21462 | 0.10395
10 | 0.10853 | 0.052566
11 | 0.36905 | 0.17874
12 | 0.18901 | 0.091541
13 | 0.23345 | 0.11307
14 | 0.17654 | 0.085502
15 | 0.31535 | 0.15273
16 | 0.2368 | 0.11469
17 | 0.064449 | 0.031214
18 | 0.095692 | 0.046346
19 | 0.10998 | 0.053267
20 | 0.37497 | 0.18161
21 | 0.2723 | 0.13188
22 | 0.11853 | 0.057409
23 | 0.34518 | 0.16718
24 | 0.078747 | 0.038139
25 | 0.12087 | 0.05854
26 | 0.30525 | 0.14784
27 | 0.52426 | 0.25391
28 | 0.10187 | 0.049337
29 | 0.092835 | 0.044962
30 | 0.10899 | 0.052788
31 | 0.16057 | 0.077766
32 | 0.32143 | 0.15568
33 | 0.18684 | 0.090491
34 | 0.13288 | 0.064355
35 | 0.15664 | 0.075863
36 | 0.38684 | 0.18736
37 | 0.085209 | 0.041269
38 | 0.083389 | 0.040387
39 | 0.11651 | 0.056426
40 | 0.36599 | 0.17726
41 | 0.12532 | 0.060697
42 | 0.085553 | 0.041435
43 | 0.073632 | 0.035662
44 | 0.12919 | 0.062572

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1