## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_349_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_349_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_349_0_node_189 | 20 | n |  | TRUE
3 | bus_MV_349_0_node_177 | 20 | n |  | TRUE
4 | bus_MV_349_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_349_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_349_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_349_0_node_187 | 20 | n |  | TRUE
8 | bus_MV_349_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_349_0_node_5 | 20 | n |  | TRUE
10 | bus_MV_349_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_349_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_349_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_349_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_349_0_node_12 | 20 | n |  | TRUE
15 | bus_MV_349_0_node_13 | 20 | n |  | TRUE
16 | bus_MV_349_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_349_0_node_194 | 20 | n |  | TRUE
18 | bus_MV_349_0_node_14 | 20 | n |  | TRUE
19 | bus_MV_349_0_node_199 | 20 | n |  | TRUE
20 | bus_MV_349_0_node_196 | 20 | n |  | TRUE
21 | bus_MV_349_0_node_122 | 20 | n |  | TRUE
22 | bus_MV_349_0_node_92 | 20 | n |  | TRUE
23 | bus_MV_349_0_node_142 | 20 | n |  | TRUE
24 | bus_MV_349_0_node_143 | 20 | n |  | TRUE
25 | bus_MV_349_0_node_95 | 20 | n |  | TRUE
26 | bus_MV_349_0_node_134 | 20 | n |  | TRUE
27 | bus_MV_349_0_node_192 | 20 | n |  | TRUE
28 | bus_MV_349_0_node_146 | 20 | n |  | TRUE
29 | bus_MV_349_0_node_191 | 20 | n |  | TRUE
30 | bus_MV_349_0_node_135 | 20 | n |  | TRUE
31 | bus_MV_349_0_node_97 | 20 | n |  | TRUE
32 | bus_MV_349_0_node_98 | 20 | n |  | TRUE
33 | bus_MV_349_0_node_99 | 20 | n |  | TRUE
34 | bus_MV_349_0_node_100 | 20 | n |  | TRUE
35 | bus_MV_349_0_node_101 | 20 | n |  | TRUE
36 | bus_MV_349_0_node_108 | 20 | n |  | TRUE
37 | bus_MV_349_0_node_179 | 20 | n |  | TRUE
38 | bus_MV_349_0_node_160 | 20 | n |  | TRUE
39 | bus_MV_349_0_node_113 | 20 | n |  | TRUE
40 | bus_MV_349_0_node_197 | 20 | n |  | TRUE
41 | bus_MV_349_0_node_107 | 20 | n |  | TRUE
42 | bus_MV_349_0_node_110 | 20 | n |  | TRUE
43 | bus_MV_349_0_node_202 | 20 | n |  | TRUE
44 | bus_MV_349_0_node_111 | 20 | n |  | TRUE
45 | bus_MV_349_0_node_103 | 20 | n |  | TRUE
46 | bus_MV_349_0_node_104 | 20 | n |  | TRUE
47 | bus_MV_349_0_node_105 | 20 | n |  | TRUE
48 | bus_MV_349_0_node_102 | 20 | n |  | TRUE
49 | bus_MV_349_0_node_106 | 20 | n |  | TRUE
50 | bus_MV_349_0_node_123 | 20 | n |  | TRUE
51 | bus_MV_349_0_node_174 | 20 | n |  | TRUE
52 | bus_MV_349_0_node_109 | 20 | n |  | TRUE
53 | bus_MV_349_0_node_148 | 20 | n |  | TRUE
54 | bus_MV_349_0_node_129 | 20 | n |  | TRUE
55 | bus_MV_349_0_node_112 | 20 | n |  | TRUE
56 | bus_MV_349_0_node_147 | 20 | n |  | TRUE
57 | bus_MV_349_0_node_120 | 20 | n |  | TRUE
58 | bus_MV_349_0_node_133 | 20 | n |  | TRUE
59 | bus_MV_349_0_node_140 | 20 | n |  | TRUE
60 | bus_MV_349_0_node_175 | 20 | n |  | TRUE
61 | bus_MV_349_0_node_128 | 20 | n |  | TRUE
62 | bus_MV_349_0_node_161 | 20 | n |  | TRUE
63 | bus_MV_349_0_node_162 | 20 | n |  | TRUE
64 | bus_MV_349_0_node_163 | 20 | n |  | TRUE
65 | bus_MV_349_0_node_165 | 20 | n |  | TRUE
66 | bus_MV_349_0_node_166 | 20 | n |  | TRUE
67 | bus_MV_349_0_node_164 | 20 | n |  | TRUE
68 | bus_MV_349_0_node_168 | 20 | n |  | TRUE
69 | bus_MV_349_0_node_178 | 20 | n |  | TRUE
70 | bus_MV_349_0_node_167 | 20 | n |  | TRUE
71 | bus_MV_349_0_node_114 | 20 | n |  | TRUE
72 | bus_MV_349_0_node_118 | 20 | n |  | TRUE
73 | bus_MV_349_0_node_115 | 20 | n |  | TRUE
74 | bus_MV_349_0_node_200 | 20 | n |  | TRUE
75 | bus_MV_349_0_node_124 | 20 | n |  | TRUE
76 | bus_MV_349_0_node_173 | 20 | n |  | TRUE
77 | bus_MV_349_0_node_127 | 20 | n |  | TRUE
78 | bus_MV_349_0_node_144 | 20 | n |  | TRUE
79 | bus_MV_349_0_node_121 | 20 | n |  | TRUE
80 | bus_MV_349_0_node_132 | 20 | n |  | TRUE
81 | bus_MV_349_0_node_116 | 20 | n |  | TRUE
82 | bus_MV_349_0_node_117 | 20 | n |  | TRUE
83 | bus_MV_349_0_node_119 | 20 | n |  | TRUE
84 | bus_MV_349_0_node_125 | 20 | n |  | TRUE
85 | bus_MV_349_0_node_126 | 20 | n |  | TRUE
86 | bus_MV_349_0_node_172 | 20 | n |  | TRUE
87 | bus_MV_349_0_node_169 | 20 | n |  | TRUE
88 | bus_MV_349_0_node_171 | 20 | n |  | TRUE
89 | bus_MV_349_0_node_130 | 20 | n |  | TRUE
90 | bus_MV_349_0_node_131 | 20 | n |  | TRUE
91 | bus_MV_349_0_node_136 | 20 | n |  | TRUE
92 | bus_MV_349_0_node_139 | 20 | n |  | TRUE
93 | bus_MV_349_0_node_137 | 20 | n |  | TRUE
94 | bus_MV_349_0_node_138 | 20 | n |  | TRUE
95 | bus_MV_349_0_node_141 | 20 | n |  | TRUE
96 | bus_MV_349_0_node_176 | 20 | n |  | TRUE
97 | bus_MV_349_0_node_145 | 20 | n |  | TRUE
98 | bus_MV_349_0_node_193 | 20 | n |  | TRUE
99 | bus_MV_349_0_node_201 | 20 | n |  | TRUE
100 | bus_MV_349_0_node_170 | 20 | n |  | TRUE
101 | bus_HV_349_0_node_130 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_349_0_load_0 | 0 | 0.126 | 0.061024 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_349_0_load_189 | 2 | 0.25884 | 0.12536 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_349_0_load_187 | 7 | 0.24314 | 0.11776 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_349_0_load_6 | 8 | 0.26007 | 0.12596 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_349_0_load_5 | 9 | 0.25108 | 0.1216 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_349_0_load_7 | 10 | 0.21887 | 0.106 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_349_0_load_11 | 16 | 0.22174 | 0.10739 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_349_0_load_194 | 17 | 0.25989 | 0.12587 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_349_0_load_14 | 18 | 0.17955 | 0.086961 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_349_0_load_199 | 19 | 0.10748 | 0.052055 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_349_0_load_196 | 20 | 0.20664 | 0.10008 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_349_0_load_122 | 21 | 0.28214 | 0.13665 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_349_0_load_92 | 22 | 0.36013 | 0.17442 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_349_0_load_142 | 23 | 0.26042 | 0.12613 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_349_0_load_134 | 26 | 0.24673 | 0.1195 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_349_0_load_192 | 27 | 0.21783 | 0.1055 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_349_0_load_191 | 29 | 0.40265 | 0.19501 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_349_0_load_97 | 31 | 0.40214 | 0.19477 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_349_0_load_179 | 37 | 0.076556 | 0.037078 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_349_0_load_160 | 38 | 0.11128 | 0.053893 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_349_0_load_197 | 40 | 0.34852 | 0.16879 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_349_0_load_202 | 43 | 0.076746 | 0.03717 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_349_0_load_102 | 48 | 0.15958 | 0.077288 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_349_0_load_174 | 51 | 0.2508 | 0.12147 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_349_0_load_148 | 53 | 0.25619 | 0.12408 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_349_0_load_147 | 56 | 0.36605 | 0.17728 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_349_0_load_120 | 57 | 0.27607 | 0.13371 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_349_0_load_133 | 58 | 0.27676 | 0.13404 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_349_0_load_140 | 59 | 0.39896 | 0.19322 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_349_0_load_175 | 60 | 0.088917 | 0.043065 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_349_0_load_161 | 62 | 0.305 | 0.14772 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_349_0_load_162 | 63 | 0.17927 | 0.086824 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_349_0_load_166 | 66 | 0.070958 | 0.034366 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_349_0_load_178 | 69 | 0.24414 | 0.11824 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_349_0_load_167 | 70 | 0.10713 | 0.051886 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_349_0_load_114 | 71 | 0.24478 | 0.11855 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_349_0_load_115 | 73 | 0.1933 | 0.093621 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_349_0_load_200 | 74 | 0.19802 | 0.095905 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_349_0_load_173 | 76 | 0.69606 | 0.33712 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_349_0_load_127 | 77 | 0.32454 | 0.15718 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_349_0_load_121 | 79 | 0.12106 | 0.058632 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_349_0_load_119 | 83 | 0.10683 | 0.051743 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_349_0_load_125 | 84 | 0.11502 | 0.055709 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_349_0_load_169 | 87 | 0.083236 | 0.040313 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_349_0_load_130 | 89 | 0.14077 | 0.068177 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_349_0_load_139 | 92 | 0.15582 | 0.075466 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_349_0_load_141 | 95 | 0.32307 | 0.15647 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_349_0_load_176 | 96 | 0.17658 | 0.08552 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_349_0_load_193 | 98 | 0.13738 | 0.066537 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_349_0_load_201 | 99 | 0.24687 | 0.11956 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_349_0_load_170 | 100 | 0.14811 | 0.071735 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_349_0_line_0 |  | 0 | 1 | 0.091951 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_349_0_line_1 |  | 0 | 2 | 1.3669 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_349_0_line_2 |  | 0 | 3 | 1.2624 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_349_0_line_3 |  | 1 | 4 | 0.64329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_349_0_line_4 |  | 3 | 96 | 0.028585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_349_0_line_5 |  | 3 | 94 | 0.4743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_349_0_line_6 |  | 4 | 5 | 0.41479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_349_0_line_7 |  | 4 | 6 | 0.61575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_349_0_line_8 |  | 5 | 7 | 0.052733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_349_0_line_9 |  | 5 | 8 | 0.071038 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_349_0_line_10 |  | 6 | 9 | 0.05755 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_349_0_line_11 |  | 10 | 11 | 0.12887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_349_0_line_12 |  | 11 | 12 | 0.67061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_349_0_line_13 |  | 12 | 17 | 0.075174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_349_0_line_14 |  | 12 | 13 | 0.42262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_349_0_line_15 |  | 13 | 14 | 0.68467 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_349_0_line_16 |  | 13 | 15 | 1.2818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_349_0_line_17 |  | 13 | 16 | 0.03762 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_349_0_line_18 |  | 14 | 18 | 0.049423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_349_0_line_19 |  | 14 | 19 | 1.0205 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_349_0_line_20 |  | 15 | 20 | 0.070678 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_349_0_line_21 |  | 19 | 21 | 1.0041 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_349_0_line_22 |  | 21 | 50 | 0.12572 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_349_0_line_23 |  | 22 | 23 | 0.20092 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_349_0_line_24 |  | 23 | 24 | 0.050433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_349_0_line_25 |  | 23 | 25 | 0.27138 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_349_0_line_26 |  | 24 | 78 | 0.18264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_349_0_line_27 |  | 24 | 28 | 0.23518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_349_0_line_28 |  | 24 | 93 | 0.25133 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_349_0_line_29 |  | 25 | 26 | 0.053451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_349_0_line_30 |  | 26 | 30 | 0.021673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_349_0_line_31 |  | 27 | 28 | 0.21931 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_349_0_line_32 |  | 28 | 29 | 0.060657 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_349_0_line_33 |  | 30 | 91 | 0.30049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_349_0_line_34 |  | 31 | 32 | 0.032825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_349_0_line_35 |  | 31 | 33 | 0.067381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_349_0_line_36 |  | 32 | 34 | 0.038866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_349_0_line_37 |  | 33 | 35 | 0.5054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_349_0_line_38 |  | 34 | 36 | 0.22646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_349_0_line_39 |  | 34 | 37 | 0.028679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_349_0_line_40 |  | 35 | 38 | 0.089192 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_349_0_line_41 |  | 36 | 39 | 0.10523 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
42 | MV_349_0_line_42 |  | 36 | 40 | 0.0153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_349_0_line_43 |  | 36 | 41 | 0.33246 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_349_0_line_44 |  | 38 | 62 | 0.047451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_349_0_line_45 |  | 39 | 59 | 0.081242 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_349_0_line_46 |  | 39 | 42 | 0.67952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_349_0_line_47 |  | 39 | 45 | 0.56625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_349_0_line_48 |  | 41 | 52 | 0.27794 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_349_0_line_49 |  | 41 | 53 | 0.028968 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_349_0_line_50 |  | 42 | 43 | 0.008596 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_349_0_line_51 |  | 42 | 44 | 0.34762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_349_0_line_52 |  | 44 | 57 | 0.076618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_349_0_line_53 |  | 44 | 49 | 0.21182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_349_0_line_54 |  | 45 | 46 | 0.078757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_349_0_line_55 |  | 45 | 47 | 0.16179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_349_0_line_56 |  | 45 | 48 | 0.060886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_349_0_line_57 |  | 46 | 71 | 0.032176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_349_0_line_58 |  | 47 | 72 | 0.070411 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_349_0_line_59 |  | 49 | 50 | 0.14055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_349_0_line_60 |  | 49 | 51 | 0.049899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_349_0_line_61 |  | 50 | 75 | 0.057253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_349_0_line_62 |  | 51 | 76 | 0.010142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_349_0_line_63 |  | 52 | 54 | 0.98771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_349_0_line_64 |  | 52 | 55 | 0.18374 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_349_0_line_65 |  | 52 | 56 | 0.023001 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
66 | MV_349_0_line_66 |  | 54 | 60 | 0.038494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_349_0_line_67 |  | 54 | 61 | 0.4163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_349_0_line_68 |  | 55 | 58 | 0.021592 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
69 | MV_349_0_line_69 |  | 56 | 78 | 0.008519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_349_0_line_70 |  | 57 | 79 | 0.027562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_349_0_line_71 |  | 58 | 80 | 0.028495 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
72 | MV_349_0_line_72 |  | 61 | 77 | 0.030548 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_349_0_line_73 |  | 62 | 63 | 0.052145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_349_0_line_74 |  | 62 | 64 | 0.058566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_349_0_line_75 |  | 63 | 65 | 0.045504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_349_0_line_76 |  | 64 | 66 | 0.024552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_349_0_line_77 |  | 65 | 69 | 0.13889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_349_0_line_78 |  | 65 | 67 | 0.069725 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_349_0_line_79 |  | 67 | 68 | 0.13322 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_349_0_line_80 |  | 68 | 70 | 0.017603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_349_0_line_81 |  | 71 | 73 | 0.1666 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_349_0_line_82 |  | 72 | 74 | 0.019423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_349_0_line_83 |  | 73 | 81 | 0.014171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_349_0_line_84 |  | 75 | 84 | 0.065349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_349_0_line_85 |  | 75 | 85 | 0.093524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_349_0_line_86 |  | 78 | 97 | 0.12972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_349_0_line_87 |  | 80 | 90 | 0.215 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
88 | MV_349_0_line_88 |  | 81 | 82 | 0.036448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_349_0_line_89 |  | 82 | 83 | 0.0054517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_349_0_line_90 |  | 84 | 86 | 0.027166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_349_0_line_91 |  | 85 | 87 | 0.0052363 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_349_0_line_92 |  | 86 | 88 | 0.050265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_349_0_line_93 |  | 88 | 100 | 0.067306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_349_0_line_94 |  | 89 | 90 | 0.10096 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
95 | MV_349_0_line_95 |  | 91 | 92 | 0.028951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_349_0_line_96 |  | 93 | 94 | 0.65258 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_349_0_line_97 |  | 93 | 95 | 0.12313 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_349_0_line_98 |  | 96 | 99 | 0.12034 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
99 | MV_349_0_line_99 |  | 97 | 98 | 0.02194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_349_0_trafo_130 | 25 MVA 110/20 kV | 101 | 89 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2678934.066 | 1236186.1618
1 | 2678994.7852 | 1236117.1094
2 | 2679171.7535 | 1237532.265
3 | 2677821.3198 | 1236782.3875
4 | 2679309.0265 | 1235760.1021
5 | 2679428.077 | 1235762.8941
6 | 2679006.2189 | 1235778.2032
7 | 2679471.4445 | 1235732.853
8 | 2679371.1477 | 1235805.3852
9 | 2679062.6686 | 1235767.0018
10 | 2674902.4877 | 1234868.8924
11 | 2674977.6943 | 1234971.0106
12 | 2674845.848 | 1235465.7769
13 | 2674628.2257 | 1235570.2451
14 | 2675222.7142 | 1235420.6263
15 | 2674939.2191 | 1235946.9619
16 | 2674601.1562 | 1235544.1207
17 | 2674909.4561 | 1235425.4284
18 | 2675184.1616 | 1235389.71
19 | 2676123.2701 | 1234940.5296
20 | 2674870.6637 | 1235964.154
21 | 2676178.8729 | 1235943.0884
22 | 2676821.4136 | 1237152.5207
23 | 2676813.2589 | 1236951.7648
24 | 2676831.5649 | 1236904.8244
25 | 2677024.0682 | 1237122.6572
26 | 2677070.114 | 1237149.7843
27 | 2676496.5945 | 1237051.9376
28 | 2676699.435 | 1236968.5615
29 | 2676638.798 | 1236970.1134
30 | 2677084.7737 | 1237133.7856
31 | 2676213.1782 | 1236845.7746
32 | 2676224.8318 | 1236815.0806
33 | 2676148.4651 | 1236858.865
34 | 2676261.9046 | 1236803.0925
35 | 2675812.2003 | 1236700.244
36 | 2676360.9314 | 1236680.813
37 | 2676268.8456 | 1236830.9192
38 | 2675775.197 | 1236619.0905
39 | 2676305.3724 | 1236605.5694
40 | 2676372.4833 | 1236671.0436
41 | 2676580.0765 | 1236716.3914
42 | 2676242.9355 | 1236388.7178
43 | 2676235.9169 | 1236393.709
44 | 2676315.624 | 1236186.5001
45 | 2675952.2985 | 1236349.8466
46 | 2675882.4603 | 1236316.5313
47 | 2675935.0976 | 1236217.8912
48 | 2675912.6984 | 1236395.2202
49 | 2676172.5599 | 1236146.1365
50 | 2676090.4835 | 1236032.4843
51 | 2676134.0089 | 1236177.8181
52 | 2676762.2167 | 1236748.4418
53 | 2676563.4779 | 1236692.65
54 | 2676396.3798 | 1236125.8403
55 | 2676731.2329 | 1236627.0019
56 | 2676782.2659 | 1236759.8199
57 | 2676281.9052 | 1236118.5725
58 | 2676738.5481 | 1236606.6822
59 | 2676362.7523 | 1236548.0556
60 | 2676385.4538 | 1236088.9296
61 | 2676635.7457 | 1236109.0665
62 | 2675738.7665 | 1236649.4947
63 | 2675699.3533 | 1236683.6374
64 | 2675699.3278 | 1236606.0954
65 | 2675664.9596 | 1236713.4318
66 | 2675717.9502 | 1236590.0953
67 | 2675693.326 | 1236777.126
68 | 2675602.5182 | 1236871.3906
69 | 2675572.9171 | 1236609.4147
70 | 2675586.0631 | 1236865.1381
71 | 2675864.1204 | 1236342.9424
72 | 2675869.5576 | 1236192.1585
73 | 2675699.4608 | 1236368.3218
74 | 2675877.0441 | 1236174.2306
75 | 2676044.1967 | 1236063.9357
76 | 2676126.1737 | 1236184.2572
77 | 2676625.7092 | 1236137.9237
78 | 2676789.6875 | 1236764.0409
79 | 2676308.514 | 1236111.388
80 | 2676753.083 | 1236582.2197
81 | 2675687.4109 | 1236360.8076
82 | 2675657.283 | 1236340.1652
83 | 2675652.4539 | 1236337.6351
84 | 2675995.6467 | 1236107.6787
85 | 2675995.159 | 1235992.8259
86 | 2675974.8727 | 1236125.0578
87 | 2675991.1513 | 1235996.1961
88 | 2675987.0509 | 1236173.4247
89 | 2676703.3623 | 1236368.1405
90 | 2676803.4449 | 1236381.3869
91 | 2677230.8793 | 1237134.0832
92 | 2677256.7434 | 1237121.155
93 | 2677078.6295 | 1236858.7036
94 | 2677546.6488 | 1236899.7778
95 | 2677161.46 | 1236767.5933
96 | 2677801.7497 | 1236784.502
97 | 2676763.1097 | 1236823.939
98 | 2676784.3039 | 1236829.8392
99 | 2677695.3178 | 1236728.3453
100 | 2676042.59 | 1236202.059
101 | 2676703.3623 | 1236368.1405

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99078 | -0.05856 | 0.126 | 0.061024
1 | 0.99065 | -0.05974 | 0 | 0
2 | 0.99009 | -0.063014 | 0.25884 | 0.12536
3 | 0.99354 | -0.03619 | 0 | 0
4 | 0.99003 | -0.055201 | 0 | 0
5 | 0.98977 | -0.052819 | 0 | 0
6 | 0.98984 | -0.053605 | 0 | 0
7 | 0.98975 | -0.052665 | 0.24314 | 0.11776
8 | 0.98973 | -0.053047 | 0.26007 | 0.12596
9 | 0.98981 | -0.053783 | 0.25108 | 0.1216
10 | 0.98475 | -0.058711 | 0.21887 | 0.106
11 | 0.98479 | -0.059046 | 0 | 0
12 | 0.98498 | -0.060383 | 0 | 0
13 | 0.98523 | -0.062179 | 0 | 0
14 | 0.98602 | -0.066782 | 0 | 0
15 | 0.9849 | -0.06017 | 0 | 0
16 | 0.98522 | -0.062283 | 0.22174 | 0.10739
17 | 0.98495 | -0.060146 | 0.25989 | 0.12587
18 | 0.98601 | -0.066675 | 0.17955 | 0.086961
19 | 0.98812 | -0.046093 | 0.10748 | 0.052055
20 | 0.98487 | -0.060352 | 0.20664 | 0.10008
21 | 0.99041 | -0.024391 | 0.28214 | 0.13665
22 | 0.99648 | -0.046315 | 0.36013 | 0.17442
23 | 0.99662 | -0.045433 | 0.26042 | 0.12613
24 | 0.99669 | -0.04602 | 0 | 0
25 | 0.99641 | -0.046989 | 0 | 0
26 | 0.99639 | -0.046761 | 0.24673 | 0.1195
27 | 0.99641 | -0.044893 | 0.21783 | 0.1055
28 | 0.9965 | -0.044309 | 0 | 0
29 | 0.99646 | -0.044606 | 0.40265 | 0.19501
30 | 0.99638 | -0.046731 | 0 | 0
31 | 0.99575 | -0.054283 | 0.40214 | 0.19477
32 | 0.9958 | -0.05479 | 0 | 0
33 | 0.99566 | -0.053565 | 0 | 0
34 | 0.99587 | -0.055388 | 0 | 0
35 | 0.995 | -0.047949 | 0 | 0
36 | 0.99631 | -0.059024 | 0 | 0
37 | 0.99587 | -0.055362 | 0.076556 | 0.037078
38 | 0.99483 | -0.049152 | 0.11128 | 0.053893
39 | 0.99605 | -0.062105 | 0 | 0
40 | 0.9963 | -0.05896 | 0.34852 | 0.16879
41 | 0.997 | -0.055545 | 0 | 0
42 | 0.99324 | -0.040477 | 0 | 0
43 | 0.99324 | -0.040469 | 0.076746 | 0.03717
44 | 0.99183 | -0.029413 | 0 | 0
45 | 0.9954 | -0.056545 | 0 | 0
46 | 0.99534 | -0.056043 | 0 | 0
47 | 0.99536 | -0.056183 | 0 | 0
48 | 0.99538 | -0.05643 | 0.15958 | 0.077288
49 | 0.99109 | -0.023557 | 0 | 0
50 | 0.99076 | -0.021237 | 0 | 0
51 | 0.99103 | -0.022984 | 0.2508 | 0.12147
52 | 0.9976 | -0.052478 | 0 | 0
53 | 0.99698 | -0.055635 | 0.25619 | 0.12408
54 | 0.99709 | -0.049037 | 0 | 0
55 | 0.99826 | -0.049094 | 0 | 0
56 | 0.99755 | -0.053053 | 0.36605 | 0.17728
57 | 0.9918 | -0.029051 | 0.27607 | 0.13371
58 | 0.99834 | -0.048695 | 0.27676 | 0.13404
59 | 0.99598 | -0.062501 | 0.39896 | 0.19322
60 | 0.99708 | -0.048997 | 0.088917 | 0.043065
61 | 0.99691 | -0.047563 | 0 | 0
62 | 0.99477 | -0.048668 | 0.305 | 0.14772
63 | 0.99474 | -0.048363 | 0.17927 | 0.086824
64 | 0.99477 | -0.048623 | 0 | 0
65 | 0.99472 | -0.048191 | 0 | 0
66 | 0.99477 | -0.048602 | 0.070958 | 0.034366
67 | 0.9947 | -0.048304 | 0 | 0
68 | 0.99468 | -0.048149 | 0 | 0
69 | 0.99467 | -0.047796 | 0.24414 | 0.11824
70 | 0.99468 | -0.048126 | 0.10713 | 0.051886
71 | 0.99532 | -0.055835 | 0.24478 | 0.11855
72 | 0.99533 | -0.056356 | 0 | 0
73 | 0.99522 | -0.056465 | 0.1933 | 0.093621
74 | 0.99532 | -0.05631 | 0.19802 | 0.095905
75 | 0.99073 | -0.021025 | 0 | 0
76 | 0.99102 | -0.022898 | 0.69606 | 0.33712
77 | 0.9969 | -0.047444 | 0.32454 | 0.15718
78 | 0.99751 | -0.05273 | 0 | 0
79 | 0.99179 | -0.029011 | 0.12106 | 0.058632
80 | 0.99844 | -0.048158 | 0 | 0
81 | 0.99522 | -0.056448 | 0 | 0
82 | 0.99522 | -0.056402 | 0 | 0
83 | 0.99522 | -0.056395 | 0.10683 | 0.051743
84 | 0.99071 | -0.020833 | 0.11502 | 0.055709
85 | 0.99072 | -0.020938 | 0 | 0
86 | 0.99071 | -0.02079 | 0 | 0
87 | 0.99072 | -0.020932 | 0.083236 | 0.040313
88 | 0.9907 | -0.020706 | 0 | 0
89 | 1 | 0 | -11.4547 | -5.1754
90 | 0.99924 | -0.044087 | 0 | 0
91 | 0.99632 | -0.046249 | 0 | 0
92 | 0.99632 | -0.046195 | 0.15582 | 0.075466
93 | 0.99578 | -0.053361 | 0 | 0
94 | 0.99449 | -0.043662 | 0 | 0
95 | 0.9957 | -0.053847 | 0.32307 | 0.15647
96 | 0.99353 | -0.036045 | 0.17658 | 0.08552
97 | 0.99749 | -0.052533 | 0 | 0
98 | 0.99748 | -0.052497 | 0.13738 | 0.066537
99 | 0.99347 | -0.036409 | 0.24687 | 0.11956
100 | 0.99069 | -0.020588 | 0.14811 | 0.071735
101 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.7551 | 0.32493 | -0.75501 | -0.32498 | 9.3988e-05 | -4.8872e-05 | 0.023951 | 0.023952 | 0.023952 | 0.99078 | -0.05856 | 0.99065 | -0.05974 | 11.4059
1 | 0.25901 | 0.12387 | -0.25884 | -0.12536 | 0.00017083 | -0.0014938 | 0.008365 | 0.0083853 | 0.0083853 | 0.99078 | -0.05856 | 0.99009 | -0.063014 | 3.993
2 | -1.1401 | -0.50982 | 1.1431 | 0.5102 | 0.0029768 | 0.00038102 | 0.036388 | 0.036371 | 0.036388 | 0.99078 | -0.05856 | 0.99354 | -0.03619 | 17.3277
3 | 0.75501 | 0.32498 | -0.75451 | -0.3399 | 0.00049632 | -0.014917 | 0.023952 | 0.024129 | 0.024129 | 0.99065 | -0.05974 | 0.99003 | -0.055201 | 10.9679
4 | 0.42347 | 0.20428 | -0.42346 | -0.20495 | 7.1258e-06 | -0.00067159 | 0.013661 | 0.013669 | 0.013669 | 0.99354 | -0.03619 | 0.99353 | -0.036045 | 6.2133
5 | -1.5666 | -0.71448 | 1.5681 | 0.70376 | 0.0015804 | -0.01072 | 0.050027 | 0.049893 | 0.050027 | 0.99354 | -0.03619 | 0.99449 | -0.043662 | 22.7395
6 | 0.50337 | 0.23275 | -0.50323 | -0.24241 | 0.00014587 | -0.0096613 | 0.01617 | 0.016291 | 0.016291 | 0.99003 | -0.055201 | 0.98977 | -0.052819 | 7.4051
7 | 0.25114 | 0.10715 | -0.25109 | -0.12154 | 5.322e-05 | -0.014392 | 0.0079615 | 0.0081355 | 0.0081355 | 0.99003 | -0.055201 | 0.98984 | -0.053605 | 3.698
8 | 0.24314 | 0.11653 | -0.24314 | -0.11776 | 4.3621e-06 | -0.0012321 | 0.0078638 | 0.0078794 | 0.0078794 | 0.98977 | -0.052819 | 0.98975 | -0.052665 | 3.5816
9 | 0.26008 | 0.12588 | -0.26007 | -0.12596 | 8.9902e-06 | -7.7445e-05 | 0.0084274 | 0.0084285 | 0.0084285 | 0.98977 | -0.052819 | 0.98973 | -0.053047 | 4.0136
10 | 0.25109 | 0.12154 | -0.25108 | -0.1216 | 6.7873e-06 | -6.3061e-05 | 0.0081355 | 0.0081364 | 0.0081364 | 0.98984 | -0.053605 | 0.98981 | -0.053783 | 3.8745
11 | -0.21887 | -0.106 | 0.21888 | 0.10302 | 8.6968e-06 | -0.0029813 | 0.0071289 | 0.0070912 | 0.0071289 | 0.98475 | -0.058711 | 0.98479 | -0.059046 | 3.2404
12 | -0.21888 | -0.10302 | 0.21892 | 0.087504 | 4.3834e-05 | -0.015518 | 0.0070912 | 0.0069097 | 0.0070912 | 0.98479 | -0.059046 | 0.98498 | -0.060383 | 3.2233
13 | 0.2599 | 0.12413 | -0.25989 | -0.12587 | 7.1698e-06 | -0.0017392 | 0.0084414 | 0.0084635 | 0.0084635 | 0.98498 | -0.060383 | 0.98495 | -0.060146 | 3.847
14 | -0.47882 | -0.21164 | 0.47895 | 0.20188 | 0.00013182 | -0.009753 | 0.015343 | 0.015229 | 0.015343 | 0.98498 | -0.060383 | 0.98523 | -0.062179 | 6.974
15 | -0.90741 | -0.37956 | 0.90817 | 0.3639 | 0.00075449 | -0.015657 | 0.02882 | 0.028643 | 0.02882 | 0.98523 | -0.062179 | 0.98602 | -0.066782 | 13.0998
16 | 0.20671 | 0.070325 | -0.20664 | -0.1 | 7.3432e-05 | -0.029675 | 0.0063977 | 0.0067286 | 0.0067286 | 0.98523 | -0.062179 | 0.9849 | -0.06017 | 3.0585
17 | 0.22174 | 0.10735 | -0.22174 | -0.10739 | 3.4928e-06 | -4.1406e-05 | 0.0072184 | 0.007219 | 0.007219 | 0.98523 | -0.062179 | 0.98522 | -0.062283 | 3.4376
18 | 0.17955 | 0.085814 | -0.17955 | -0.086961 | 2.2453e-06 | -0.0011466 | 0.0058263 | 0.0058409 | 0.0058409 | 0.98602 | -0.066782 | 0.98601 | -0.066675 | 2.6549
19 | -1.0877 | -0.44972 | 1.0899 | 0.44988 | 0.0021583 | 0.00016486 | 0.034459 | 0.034446 | 0.034459 | 0.98602 | -0.066782 | 0.98812 | -0.046093 | 16.4093
20 | 0.20664 | 0.1 | -0.20664 | -0.10008 | 5.7022e-06 | -7.8273e-05 | 0.0067286 | 0.0067297 | 0.0067297 | 0.9849 | -0.06017 | 0.98487 | -0.060352 | 3.2046
21 | -1.1974 | -0.50194 | 1.1999 | 0.50238 | 0.0025728 | 0.00043844 | 0.037929 | 0.037916 | 0.037929 | 0.98812 | -0.046093 | 0.99041 | -0.024391 | 18.0616
22 | -1.4821 | -0.63902 | 1.4826 | 0.63919 | 0.00049567 | 0.0001632 | 0.047043 | 0.047041 | 0.047043 | 0.99041 | -0.024391 | 0.99076 | -0.021237 | 22.4012
23 | -0.36013 | -0.17442 | 0.36018 | 0.17421 | 4.8091e-05 | -0.00020809 | 0.011592 | 0.011589 | 0.011592 | 0.99648 | -0.046315 | 0.99662 | -0.045433 | 5.52
24 | -1.0232 | -0.48545 | 1.0233 | 0.48427 | 7.2423e-05 | -0.0011746 | 0.032805 | 0.03279 | 0.032805 | 0.99662 | -0.045433 | 0.99669 | -0.04602 | 14.9113
25 | 0.40265 | 0.18511 | -0.40257 | -0.18538 | 7.9692e-05 | -0.0002718 | 0.012836 | 0.01284 | 0.01284 | 0.99662 | -0.045433 | 0.99641 | -0.046989 | 6.1144
26 | -3.539 | -1.625 | 3.5421 | 1.6215 | 0.0031004 | -0.0034158 | 0.11279 | 0.11274 | 0.11279 | 0.99669 | -0.04602 | 0.99751 | -0.05273 | 51.2678
27 | 0.62064 | 0.29466 | -0.62051 | -0.3002 | 0.00012475 | -0.0055399 | 0.019899 | 0.019969 | 0.019969 | 0.99669 | -0.04602 | 0.9965 | -0.044309 | 9.0767
28 | 1.895 | 0.84603 | -1.8934 | -0.84531 | 0.0016179 | 0.00071564 | 0.060107 | 0.060111 | 0.060111 | 0.99669 | -0.04602 | 0.99578 | -0.053361 | 28.6242
29 | 0.40257 | 0.18538 | -0.40256 | -0.18664 | 1.1779e-05 | -0.0012635 | 0.01284 | 0.012856 | 0.012856 | 0.99641 | -0.046989 | 0.99639 | -0.046761 | 5.8434
30 | 0.15583 | 0.067147 | -0.15583 | -0.067661 | 7.0008e-07 | -0.00051352 | 0.004916 | 0.0049219 | 0.0049219 | 0.99639 | -0.046761 | 0.99638 | -0.046731 | 2.2372
31 | -0.21783 | -0.1055 | 0.21785 | 0.10525 | 1.9203e-05 | -0.00024793 | 0.0070121 | 0.0070088 | 0.0070121 | 0.99641 | -0.044893 | 0.9965 | -0.044309 | 3.3391
32 | 0.40266 | 0.19495 | -0.40265 | -0.19501 | 1.8153e-05 | -6.0533e-05 | 0.01296 | 0.012961 | 0.012961 | 0.9965 | -0.044309 | 0.99646 | -0.044606 | 6.1718
33 | 0.15583 | 0.067661 | -0.15582 | -0.07478 | 9.8846e-06 | -0.0071193 | 0.0049219 | 0.0050077 | 0.0050077 | 0.99638 | -0.046731 | 0.99632 | -0.046249 | 2.2762
34 | -1.421 | -0.6621 | 1.4211 | 0.66135 | 9.0495e-05 | -0.00075028 | 0.045448 | 0.045439 | 0.045448 | 0.99575 | -0.054283 | 0.9958 | -0.05479 | 20.6582
35 | 1.0188 | 0.46733 | -1.0188 | -0.4689 | 9.5048e-05 | -0.0015668 | 0.032496 | 0.032516 | 0.032516 | 0.99575 | -0.054283 | 0.99566 | -0.053565 | 14.7798
36 | -1.4211 | -0.66135 | 1.4212 | 0.66046 | 0.0001071 | -0.00088849 | 0.045439 | 0.045427 | 0.045439 | 0.9958 | -0.05479 | 0.99587 | -0.055388 | 20.6539
37 | 1.0188 | 0.4689 | -1.018 | -0.48064 | 0.00071655 | -0.011742 | 0.032516 | 0.032662 | 0.032662 | 0.99566 | -0.053565 | 0.995 | -0.047949 | 14.8464
38 | -1.4977 | -0.69686 | 1.4984 | 0.6917 | 0.00069227 | -0.0051595 | 0.047884 | 0.047819 | 0.047884 | 0.99587 | -0.055388 | 0.99631 | -0.059024 | 21.7656
39 | 0.076556 | 0.036399 | -0.076556 | -0.037078 | 2.3197e-07 | -0.00067904 | 0.0024572 | 0.0024657 | 0.0024657 | 0.99587 | -0.055388 | 0.99587 | -0.055362 | 1.1208
40 | 1.018 | 0.48064 | -1.0179 | -0.48064 | 0.00016954 | 7.9481e-07 | 0.032662 | 0.032663 | 0.032663 | 0.995 | -0.047949 | 0.99483 | -0.049152 | 15.554
41 | 4.5705 | 2.0594 | -4.5694 | -2.0622 | 0.0010726 | -0.0028029 | 0.14525 | 0.14529 | 0.14529 | 0.99631 | -0.059024 | 0.99605 | -0.062105 | 40.1362
42 | 0.34852 | 0.16843 | -0.34852 | -0.16879 | 2.5704e-06 | -0.00036185 | 0.011216 | 0.01122 | 0.01122 | 0.99631 | -0.059024 | 0.9963 | -0.05896 | 5.1001
43 | -6.4174 | -2.9195 | 6.4217 | 2.9012 | 0.0042818 | -0.018338 | 0.20428 | 0.20403 | 0.20428 | 0.99631 | -0.059024 | 0.997 | -0.055545 | 32.0188
44 | 0.90659 | 0.42675 | -0.90654 | -0.42785 | 5.3579e-05 | -0.0011053 | 0.029076 | 0.02909 | 0.02909 | 0.99483 | -0.049152 | 0.99477 | -0.048668 | 13.2226
45 | 0.39898 | 0.19314 | -0.39896 | -0.19322 | 2.3892e-05 | -8.1251e-05 | 0.012847 | 0.012848 | 0.012848 | 0.99605 | -0.062105 | 0.99598 | -0.062501 | 6.1182
46 | 3.2672 | 1.4551 | -3.2574 | -1.4683 | 0.0097649 | -0.013154 | 0.10366 | 0.10385 | 0.10385 | 0.99605 | -0.062105 | 0.99324 | -0.040477 | 47.203
47 | 0.90324 | 0.41397 | -0.90261 | -0.42719 | 0.0006304 | -0.013218 | 0.028796 | 0.02896 | 0.02896 | 0.99605 | -0.062105 | 0.9954 | -0.056545 | 13.1637
48 | -6.6779 | -3.0252 | 6.6818 | 3.0101 | 0.003866 | -0.015192 | 0.21227 | 0.21206 | 0.21227 | 0.997 | -0.055545 | 0.9976 | -0.052478 | 33.2713
49 | 0.25619 | 0.12405 | -0.25619 | -0.12408 | 3.5061e-06 | -3.2179e-05 | 0.0082418 | 0.0082422 | 0.0082422 | 0.997 | -0.055545 | 0.99698 | -0.055635 | 3.9249
50 | 0.076746 | 0.036967 | -0.076746 | -0.03717 | 7.0408e-08 | -0.00020245 | 0.0024758 | 0.0024784 | 0.0024784 | 0.99324 | -0.040477 | 0.99324 | -0.040469 | 1.1265
51 | 3.1807 | 1.4313 | -3.1759 | -1.438 | 0.0047735 | -0.0067604 | 0.10137 | 0.10147 | 0.10147 | 0.99324 | -0.040477 | 0.99183 | -0.029413 | 46.1225
52 | 0.39715 | 0.1899 | -0.39713 | -0.19169 | 1.6821e-05 | -0.0017945 | 0.012813 | 0.012835 | 0.012835 | 0.99183 | -0.029413 | 0.9918 | -0.029051 | 5.8342
53 | 2.7788 | 1.2481 | -2.7765 | -1.2525 | 0.0022244 | -0.0043117 | 0.08866 | 0.08872 | 0.08872 | 0.99183 | -0.029413 | 0.99109 | -0.023557 | 40.3271
54 | 0.54499 | 0.2598 | -0.54496 | -0.26165 | 3.2276e-05 | -0.0018535 | 0.017509 | 0.017533 | 0.017533 | 0.9954 | -0.056545 | 0.99534 | -0.056043 | 7.9694
55 | 0.19803 | 0.091541 | -0.19802 | -0.095366 | 8.7107e-06 | -0.0038247 | 0.0063271 | 0.0063744 | 0.0063744 | 0.9954 | -0.056545 | 0.99536 | -0.056183 | 2.8975
56 | 0.15958 | 0.075848 | -0.15958 | -0.077288 | 2.1418e-06 | -0.0014397 | 0.0051242 | 0.0051422 | 0.0051422 | 0.9954 | -0.056545 | 0.99538 | -0.05643 | 2.3374
57 | 0.54496 | 0.26165 | -0.54495 | -0.26241 | 1.3211e-05 | -0.00075716 | 0.017533 | 0.017542 | 0.017542 | 0.99534 | -0.056043 | 0.99532 | -0.055835 | 7.9737
58 | 0.19802 | 0.095366 | -0.19802 | -0.095446 | 5.0983e-06 | -8.0082e-05 | 0.0063744 | 0.0063755 | 0.0063755 | 0.99536 | -0.056183 | 0.99533 | -0.056356 | 3.0359
59 | 1.8296 | 0.79526 | -1.829 | -0.79837 | 0.00063396 | -0.0031071 | 0.058108 | 0.058146 | 0.058146 | 0.99109 | -0.023557 | 0.99076 | -0.021237 | 26.4299
60 | 0.94693 | 0.4572 | -0.94687 | -0.45835 | 6.252e-05 | -0.0011516 | 0.030628 | 0.030643 | 0.030643 | 0.99109 | -0.023557 | 0.99103 | -0.022984 | 13.9285
61 | 0.3464 | 0.15918 | -0.34639 | -0.16052 | 9.4439e-06 | -0.001339 | 0.011108 | 0.011124 | 0.011124 | 0.99076 | -0.021237 | 0.99073 | -0.021025 | 5.0563
62 | 0.69607 | 0.33688 | -0.69606 | -0.33712 | 6.8706e-06 | -0.00023578 | 0.022525 | 0.022528 | 0.022528 | 0.99103 | -0.022984 | 0.99102 | -0.022898 | 10.2402
63 | 0.41375 | 0.16536 | -0.41353 | -0.18875 | 0.00022364 | -0.023391 | 0.012893 | 0.013161 | 0.013161 | 0.9976 | -0.052478 | 0.99709 | -0.049037 | 5.9821
64 | -11.1414 | -5.0364 | 11.1485 | 5.0289 | 0.0071044 | -0.0074965 | 0.35381 | 0.35367 | 0.35381 | 0.9976 | -0.052478 | 0.99826 | -0.049094 | 55.4557
65 | 4.0458 | 1.861 | -4.0457 | -1.8616 | 0.0001845 | -0.00065117 | 0.12887 | 0.12887 | 0.12887 | 0.9976 | -0.052478 | 0.99755 | -0.053053 | 35.6008
66 | 0.088918 | 0.042151 | -0.088917 | -0.043065 | 4.1877e-07 | -0.00091361 | 0.0028489 | 0.0028604 | 0.0028604 | 0.99709 | -0.049037 | 0.99708 | -0.048997 | 1.3002
67 | 0.32461 | 0.1466 | -0.32455 | -0.15646 | 5.9784e-05 | -0.0098624 | 0.010312 | 0.010433 | 0.010433 | 0.99709 | -0.049037 | 0.99691 | -0.047563 | 4.7423
68 | -11.1485 | -5.0289 | 11.1493 | 5.028 | 0.0008345 | -0.00088214 | 0.35367 | 0.35365 | 0.35367 | 0.99826 | -0.049094 | 0.99834 | -0.048695 | 55.4342
69 | 3.6796 | 1.6843 | -3.6794 | -1.6845 | 0.00015597 | -0.00015613 | 0.11711 | 0.11711 | 0.11711 | 0.99755 | -0.053053 | 0.99751 | -0.05273 | 53.2318
70 | 0.12106 | 0.057985 | -0.12106 | -0.058632 | 5.6282e-07 | -0.00064714 | 0.003907 | 0.0039152 | 0.0039152 | 0.9918 | -0.029051 | 0.99179 | -0.029011 | 1.7796
71 | -11.4261 | -5.162 | 11.4272 | 5.1609 | 0.0011572 | -0.001133 | 0.36254 | 0.36252 | 0.36254 | 0.99834 | -0.048695 | 0.99844 | -0.048158 | 56.8249
72 | 0.32455 | 0.15646 | -0.32454 | -0.15718 | 4.4428e-06 | -0.00072355 | 0.010433 | 0.010442 | 0.010442 | 0.99691 | -0.047563 | 0.9969 | -0.047444 | 4.7464
73 | 0.53058 | 0.24773 | -0.53056 | -0.24896 | 2.0119e-05 | -0.001226 | 0.016993 | 0.017008 | 0.017008 | 0.99477 | -0.048668 | 0.99474 | -0.048363 | 7.7308
74 | 0.070959 | 0.032403 | -0.070958 | -0.033786 | 4.0363e-07 | -0.0013836 | 0.0022637 | 0.0022807 | 0.0022807 | 0.99477 | -0.048668 | 0.99477 | -0.048623 | 1.0367
75 | 0.35129 | 0.16213 | -0.35128 | -0.16321 | 7.6673e-06 | -0.0010728 | 0.011228 | 0.011241 | 0.011241 | 0.99474 | -0.048363 | 0.99472 | -0.048191 | 5.1096
76 | 0.070958 | 0.033786 | -0.070958 | -0.034366 | 1.7103e-07 | -0.00058003 | 0.0022807 | 0.002288 | 0.002288 | 0.99477 | -0.048623 | 0.99477 | -0.048602 | 1.04
77 | 0.24415 | 0.11496 | -0.24414 | -0.11824 | 1.1432e-05 | -0.0032778 | 0.0078316 | 0.0078727 | 0.0078727 | 0.99472 | -0.048191 | 0.99467 | -0.047796 | 3.5785
78 | 0.10714 | 0.048243 | -0.10713 | -0.048324 | 1.4448e-06 | -8.1455e-05 | 0.0034098 | 0.0034108 | 0.0034108 | 0.99472 | -0.048191 | 0.9947 | -0.048304 | 1.6242
79 | 0.10713 | 0.048324 | -0.10713 | -0.05147 | 2.0921e-06 | -0.0031464 | 0.0034108 | 0.0034494 | 0.0034494 | 0.9947 | -0.048304 | 0.99468 | -0.048149 | 1.5679
80 | 0.10713 | 0.05147 | -0.10713 | -0.051886 | 2.8002e-07 | -0.00041575 | 0.0034494 | 0.0034546 | 0.0034546 | 0.99468 | -0.048149 | 0.99468 | -0.048126 | 1.5703
81 | 0.30017 | 0.14386 | -0.30014 | -0.14404 | 2.7672e-05 | -0.00017968 | 0.009654 | 0.0096564 | 0.0096564 | 0.99532 | -0.055835 | 0.99522 | -0.056465 | 4.5983
82 | 0.19802 | 0.095446 | -0.19802 | -0.095905 | 1.0549e-06 | -0.00045911 | 0.0063755 | 0.0063813 | 0.0063813 | 0.99533 | -0.056356 | 0.99532 | -0.05631 | 2.9006
83 | 0.10684 | 0.050417 | -0.10684 | -0.050752 | 2.224e-07 | -0.00033506 | 0.0034266 | 0.0034308 | 0.0034308 | 0.99522 | -0.056465 | 0.99522 | -0.056448 | 1.5594
84 | 0.26315 | 0.12252 | -0.26314 | -0.12405 | 6.2548e-06 | -0.0015296 | 0.0084579 | 0.0084768 | 0.0084768 | 0.99073 | -0.021025 | 0.99071 | -0.020833 | 3.8531
85 | 0.083237 | 0.037999 | -0.083236 | -0.04019 | 8.9643e-07 | -0.0021915 | 0.0026661 | 0.0026932 | 0.0026932 | 0.99073 | -0.021025 | 0.99072 | -0.020938 | 1.2242
86 | 0.13739 | 0.062935 | -0.13738 | -0.066016 | 3.3404e-06 | -0.0030807 | 0.0043732 | 0.0044111 | 0.0044111 | 0.99751 | -0.05273 | 0.99749 | -0.052533 | 2.005
87 | -11.4272 | -5.1609 | 11.4359 | 5.1523 | 0.008727 | -0.0085631 | 0.36252 | 0.36236 | 0.36252 | 0.99844 | -0.048158 | 0.99924 | -0.044087 | 56.8215
88 | 0.10684 | 0.050752 | -0.10683 | -0.051614 | 5.7451e-07 | -0.00086176 | 0.0034308 | 0.0034416 | 0.0034416 | 0.99522 | -0.056448 | 0.99522 | -0.056402 | 1.5644
89 | 0.10683 | 0.051614 | -0.10683 | -0.051743 | 8.6234e-08 | -0.0001289 | 0.0034416 | 0.0034432 | 0.0034432 | 0.99522 | -0.056402 | 0.99522 | -0.056395 | 1.5651
90 | 0.14812 | 0.068344 | -0.14812 | -0.06898 | 8.2069e-07 | -0.00063638 | 0.0047532 | 0.004761 | 0.004761 | 0.99071 | -0.020833 | 0.99071 | -0.02079 | 2.1641
91 | 0.083236 | 0.04019 | -0.083236 | -0.040313 | 5.0763e-08 | -0.0001227 | 0.0026932 | 0.0026948 | 0.0026948 | 0.99072 | -0.020938 | 0.99072 | -0.020932 | 1.2249
92 | 0.14812 | 0.06898 | -0.14812 | -0.070158 | 1.5257e-06 | -0.0011775 | 0.004761 | 0.0047756 | 0.0047756 | 0.99071 | -0.02079 | 0.9907 | -0.020706 | 2.1707
93 | 0.14812 | 0.070158 | -0.14811 | -0.071735 | 2.0577e-06 | -0.0015766 | 0.0047756 | 0.0047954 | 0.0047954 | 0.9907 | -0.020706 | 0.99069 | -0.020588 | 2.1797
94 | 11.4407 | 5.1649 | -11.4359 | -5.1523 | 0.0047324 | 0.012586 | 0.36236 | 0.36236 | 0.36236 | 1 | 0 | 0.99924 | -0.044087 | 56.18
95 | 0.15582 | 0.07478 | -0.15582 | -0.075466 | 9.7088e-07 | -0.00068587 | 0.0050077 | 0.0050163 | 0.0050163 | 0.99632 | -0.046249 | 0.99632 | -0.046195 | 2.2802
96 | 1.5703 | 0.68897 | -1.5681 | -0.70376 | 0.0021608 | -0.014789 | 0.049711 | 0.049893 | 0.049893 | 0.99578 | -0.053361 | 0.99449 | -0.043662 | 22.6787
97 | 0.32309 | 0.15634 | -0.32307 | -0.15647 | 2.3757e-05 | -0.00013087 | 0.010405 | 0.010407 | 0.010407 | 0.99578 | -0.053361 | 0.9957 | -0.053847 | 4.9558
98 | 0.24688 | 0.11943 | -0.24687 | -0.11956 | 1.3618e-05 | -0.00013327 | 0.0079686 | 0.0079704 | 0.0079704 | 0.99353 | -0.036045 | 0.99347 | -0.036409 | 3.7954
99 | 0.13738 | 0.066016 | -0.13738 | -0.066537 | 5.7076e-07 | -0.00052104 | 0.0044111 | 0.0044176 | 0.0044176 | 0.99749 | -0.052533 | 0.99748 | -0.052497 | 2.008

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.5954 | 5.2436

## res_load
| p_mw | q_mvar
0 | 0.126 | 0.061024
1 | 0.25884 | 0.12536
2 | 0.24314 | 0.11776
3 | 0.26007 | 0.12596
4 | 0.25108 | 0.1216
5 | 0.21887 | 0.106
6 | 0.22174 | 0.10739
7 | 0.25989 | 0.12587
8 | 0.17955 | 0.086961
9 | 0.10748 | 0.052055
10 | 0.20664 | 0.10008
11 | 0.28214 | 0.13665
12 | 0.36013 | 0.17442
13 | 0.26042 | 0.12613
14 | 0.24673 | 0.1195
15 | 0.21783 | 0.1055
16 | 0.40265 | 0.19501
17 | 0.40214 | 0.19477
18 | 0.076556 | 0.037078
19 | 0.11128 | 0.053893
20 | 0.34852 | 0.16879
21 | 0.076746 | 0.03717
22 | 0.15958 | 0.077288
23 | 0.2508 | 0.12147
24 | 0.25619 | 0.12408
25 | 0.36605 | 0.17728
26 | 0.27607 | 0.13371
27 | 0.27676 | 0.13404
28 | 0.39896 | 0.19322
29 | 0.088917 | 0.043065
30 | 0.305 | 0.14772
31 | 0.17927 | 0.086824
32 | 0.070958 | 0.034366
33 | 0.24414 | 0.11824
34 | 0.10713 | 0.051886
35 | 0.24478 | 0.11855
36 | 0.1933 | 0.093621
37 | 0.19802 | 0.095905
38 | 0.69606 | 0.33712
39 | 0.32454 | 0.15718
40 | 0.12106 | 0.058632
41 | 0.10683 | 0.051743
42 | 0.11502 | 0.055709
43 | 0.083236 | 0.040313
44 | 0.14077 | 0.068177
45 | 0.15582 | 0.075466
46 | 0.32307 | 0.15647
47 | 0.17658 | 0.08552
48 | 0.13738 | 0.066537
49 | 0.24687 | 0.11956
50 | 0.14811 | 0.071735

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1