## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_349_1_node_153 | 20 | n |  | TRUE
1 | bus_MV_349_1_node_46 | 20 | n |  | TRUE
2 | bus_MV_349_1_node_155 | 20 | n |  | TRUE
3 | bus_MV_349_1_node_151 | 20 | n |  | TRUE
4 | bus_MV_349_1_node_154 | 20 | n |  | TRUE
5 | bus_MV_349_1_node_152 | 20 | n |  | TRUE
6 | bus_MV_349_1_node_156 | 20 | n |  | TRUE
7 | bus_MV_349_1_node_15 | 20 | n |  | TRUE
8 | bus_MV_349_1_node_16 | 20 | n |  | TRUE
9 | bus_MV_349_1_node_17 | 20 | n |  | TRUE
10 | bus_MV_349_1_node_18 | 20 | n |  | TRUE
11 | bus_MV_349_1_node_38 | 20 | n |  | TRUE
12 | bus_MV_349_1_node_19 | 20 | n |  | TRUE
13 | bus_MV_349_1_node_21 | 20 | n |  | TRUE
14 | bus_MV_349_1_node_22 | 20 | n |  | TRUE
15 | bus_MV_349_1_node_149 | 20 | n |  | TRUE
16 | bus_MV_349_1_node_150 | 20 | n |  | TRUE
17 | bus_MV_349_1_node_36 | 20 | n |  | TRUE
18 | bus_MV_349_1_node_25 | 20 | n |  | TRUE
19 | bus_MV_349_1_node_26 | 20 | n |  | TRUE
20 | bus_MV_349_1_node_27 | 20 | n |  | TRUE
21 | bus_MV_349_1_node_198 | 20 | n |  | TRUE
22 | bus_MV_349_1_node_28 | 20 | n |  | TRUE
23 | bus_MV_349_1_node_30 | 20 | n |  | TRUE
24 | bus_MV_349_1_node_40 | 20 | n |  | TRUE
25 | bus_MV_349_1_node_29 | 20 | n |  | TRUE
26 | bus_MV_349_1_node_32 | 20 | n |  | TRUE
27 | bus_MV_349_1_node_39 | 20 | n |  | TRUE
28 | bus_MV_349_1_node_34 | 20 | n |  | TRUE
29 | bus_MV_349_1_node_37 | 20 | n |  | TRUE
30 | bus_MV_349_1_node_195 | 20 | n |  | TRUE
31 | bus_MV_349_1_node_41 | 20 | n |  | TRUE
32 | bus_MV_349_1_node_42 | 20 | n |  | TRUE
33 | bus_MV_349_1_node_43 | 20 | n |  | TRUE
34 | bus_MV_349_1_node_45 | 20 | n |  | TRUE
35 | bus_MV_349_1_node_44 | 20 | n |  | TRUE
36 | bus_MV_349_1_node_157 | 20 | n |  | TRUE
37 | bus_HV_349_1_node_28 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_349_1_load_155 | 2 | 0.16625 | 0.080518 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_349_1_load_151 | 3 | 0.27457 | 0.13298 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_349_1_load_152 | 5 | 0.11648 | 0.056415 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_349_1_load_156 | 6 | 0.2823 | 0.13672 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_349_1_load_15 | 7 | 0.16837 | 0.081544 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_349_1_load_38 | 11 | 0.059818 | 0.028971 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_349_1_load_19 | 12 | 0.17653 | 0.085497 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_349_1_load_22 | 14 | 0.14363 | 0.069564 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_349_1_load_149 | 15 | 0.10548 | 0.051087 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_349_1_load_150 | 16 | 0.36589 | 0.17721 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_349_1_load_25 | 18 | 0.29805 | 0.14435 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_349_1_load_198 | 21 | 0.32134 | 0.15563 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_349_1_load_40 | 24 | 0.34728 | 0.16819 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_349_1_load_29 | 25 | 0.11664 | 0.056492 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_349_1_load_32 | 26 | 0.26569 | 0.12868 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_349_1_load_39 | 27 | 0.30815 | 0.14924 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_349_1_load_195 | 30 | 0.2646 | 0.12815 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_349_1_load_43 | 33 | 0.32177 | 0.15584 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_349_1_load_45 | 34 | 0.093895 | 0.045475 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_349_1_load_157 | 36 | 0.14051 | 0.068052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_349_1_line_0 |  | 0 | 1 | 0.041196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_349_1_line_1 |  | 0 | 2 | 0.044718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_349_1_line_2 |  | 0 | 3 | 0.026492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_349_1_line_3 |  | 1 | 36 | 0.034414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_349_1_line_4 |  | 1 | 35 | 0.097919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_349_1_line_5 |  | 3 | 5 | 0.0036002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_349_1_line_6 |  | 4 | 5 | 0.03384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_349_1_line_7 |  | 4 | 6 | 0.026535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_349_1_line_8 |  | 6 | 15 | 0.15732 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_349_1_line_9 |  | 7 | 8 | 0.030215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_349_1_line_10 |  | 8 | 9 | 0.99971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_349_1_line_11 |  | 8 | 10 | 1.3457 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_349_1_line_12 |  | 9 | 11 | 0.025794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_349_1_line_13 |  | 10 | 12 | 0.10587 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_349_1_line_14 |  | 10 | 13 | 0.32643 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_349_1_line_15 |  | 11 | 25 | 1.6231 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_349_1_line_16 |  | 13 | 14 | 0.048658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_349_1_line_17 |  | 15 | 16 | 0.14553 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_349_1_line_18 |  | 16 | 17 | 0.20324 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_349_1_line_19 |  | 17 | 29 | 0.61752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_349_1_line_20 |  | 18 | 19 | 0.15524 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_349_1_line_21 |  | 19 | 20 | 0.97579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_349_1_line_22 |  | 20 | 21 | 0.032786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_349_1_line_23 |  | 20 | 22 | 0.43471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_349_1_line_24 |  | 20 | 23 | 0.37591 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_349_1_line_25 |  | 22 | 24 | 0.060155 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_349_1_line_26 |  | 23 | 25 | 0.079725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_349_1_line_27 |  | 24 | 31 | 0.016743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_349_1_line_28 |  | 26 | 27 | 0.10771 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_349_1_line_29 |  | 27 | 28 | 0.007098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_349_1_line_30 |  | 28 | 29 | 0.59927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_349_1_line_31 |  | 29 | 30 | 0.041925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_349_1_line_32 |  | 31 | 32 | 0.30428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_349_1_line_33 |  | 32 | 33 | 0.034086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_349_1_line_34 |  | 32 | 34 | 0.062593 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_349_1_line_35 |  | 33 | 35 | 0.067982 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_349_1_trafo_28 | 25 MVA 110/20 kV | 37 | 22 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2677151.9655 | 1233267.2991
1 | 2677190.469 | 1233282.2425
2 | 2677164.2246 | 1233224.6734
3 | 2677127.2828 | 1233257.6765
4 | 2677092.3994 | 1233244.0771
5 | 2677123.9285 | 1233256.3688
6 | 2677099.6036 | 1233218.5388
7 | 2679839.4584 | 1233501.0906
8 | 2679809.9891 | 1233498.4264
9 | 2679566.0954 | 1234157.58
10 | 2679945.363 | 1233030.8663
11 | 2679545.4356 | 1234172.8586
12 | 2680022.2287 | 1232958.0613
13 | 2680176.3504 | 1232800.2064
14 | 2680214.5403 | 1232770.106
15 | 2676957.4508 | 1233151.1366
16 | 2676897.8493 | 1233018.3695
17 | 2677100.9368 | 1233010.3721
18 | 2678026.2555 | 1233205.1558
19 | 2678178.9205 | 1233176.9865
20 | 2677743.4275 | 1233547.6971
21 | 2677713.5228 | 1233560.9151
22 | 2677643.6618 | 1233275.5173
23 | 2677886.0191 | 1233895.5141
24 | 2677587.4354 | 1233254.1352
25 | 2677942.7687 | 1233916.2945
26 | 2677730.7886 | 1233003.3689
27 | 2677637.3416 | 1233056.9402
28 | 2677630.9308 | 1233053.8544
29 | 2677410.21 | 1232891.5095
30 | 2677450.3685 | 1232903.941
31 | 2677571.6947 | 1233248.3035
32 | 2677361.1187 | 1233271.4088
33 | 2677346.6264 | 1233302.2747
34 | 2677305.1934 | 1233243.2972
35 | 2677280.857 | 1233319.4757
36 | 2677170.9114 | 1233308.7442
37 | 2677643.6618 | 1233275.5173

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99773 | 0.0093874 | 0 | 0
1 | 0.99784 | 0.0084131 | 0 | 0
2 | 0.99772 | 0.0094752 | 0.16625 | 0.080518
3 | 0.99766 | 0.0099643 | 0.27457 | 0.13298
4 | 0.99759 | 0.010611 | 0 | 0
5 | 0.99766 | 0.010031 | 0.11648 | 0.056415
6 | 0.99754 | 0.011066 | 0.2823 | 0.13672
7 | 0.9965 | -0.01662 | 0.16837 | 0.081544
8 | 0.99651 | -0.01668 | 0 | 0
9 | 0.99712 | -0.019603 | 0 | 0
10 | 0.99597 | -0.013007 | 0 | 0
11 | 0.99713 | -0.019659 | 0.059818 | 0.028971
12 | 0.99593 | -0.013236 | 0.17653 | 0.085497
13 | 0.99588 | -0.013616 | 0 | 0
14 | 0.99587 | -0.013534 | 0.14363 | 0.069564
15 | 0.99714 | 0.0081474 | 0.10548 | 0.051087
16 | 0.9968 | 0.005634 | 0.36589 | 0.17721
17 | 0.99648 | 0.0030298 | 0 | 0
18 | 0.99885 | 0.006325 | 0.29805 | 0.14435
19 | 0.99893 | 0.0068866 | 0 | 0
20 | 0.9993 | 0.0041363 | 0 | 0
21 | 0.99929 | 0.0042617 | 0.32134 | 0.15563
22 | 1 | 0 | -4.3626 | -1.9716
23 | 0.99884 | -0.00090305 | 0 | 0
24 | 0.99965 | -0.0024686 | 0.34728 | 0.16819
25 | 0.99877 | -0.00057899 | 0.11664 | 0.056492
26 | 0.99532 | 0.011935 | 0.26569 | 0.12868
27 | 0.99538 | 0.012284 | 0.30815 | 0.14924
28 | 0.99538 | 0.012235 | 0 | 0
29 | 0.99582 | 0.0083688 | 0 | 0
30 | 0.99581 | 0.0085013 | 0.2646 | 0.12815
31 | 0.99959 | -0.0019752 | 0 | 0
32 | 0.99854 | 0.0070755 | 0 | 0
33 | 0.99843 | 0.0080612 | 0.32177 | 0.15584
34 | 0.99853 | 0.0070041 | 0.093895 | 0.045475
35 | 0.99813 | 0.0059484 | 0 | 0
36 | 0.99784 | 0.0084703 | 0.14051 | 0.068052
37 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -2.1518 | -1.0082 | 2.1521 | 1.0073 | 0.00025992 | -0.00090215 | 0.068753 | 0.068741 | 0.068753 | 0.99773 | 0.0093874 | 0.99784 | 0.0084131 | 31.2513
1 | 0.16625 | 0.079455 | -0.16625 | -0.080518 | 1.701e-06 | -0.0010623 | 0.0053313 | 0.0053446 | 0.0053446 | 0.99773 | 0.0093874 | 0.99772 | 0.0094752 | 2.4294
2 | 1.9855 | 0.92872 | -1.9854 | -0.92931 | 0.00014227 | -0.00058742 | 0.063422 | 0.063429 | 0.063429 | 0.99773 | 0.0093874 | 0.99766 | 0.0099643 | 28.8315
3 | 0.14051 | 0.067235 | -0.14051 | -0.068052 | 9.351e-07 | -0.00081785 | 0.0045064 | 0.0045166 | 0.0045166 | 0.99784 | 0.0084131 | 0.99784 | 0.0084703 | 2.053
4 | -2.2926 | -1.0745 | 2.2933 | 1.0724 | 0.00070106 | -0.0021206 | 0.073247 | 0.073218 | 0.073247 | 0.99784 | 0.0084131 | 0.99813 | 0.0059484 | 33.2941
5 | 1.7108 | 0.79633 | -1.7108 | -0.79641 | 1.433e-05 | -8.1305e-05 | 0.054603 | 0.054604 | 0.054604 | 0.99766 | 0.0099643 | 0.99766 | 0.010031 | 24.82
6 | -1.5942 | -0.74077 | 1.5943 | 0.74 | 0.00011688 | -0.00076947 | 0.050869 | 0.050859 | 0.050869 | 0.99759 | 0.010611 | 0.99766 | 0.010031 | 23.1224
7 | 1.5942 | 0.74077 | -1.5941 | -0.74137 | 9.168e-05 | -0.00060327 | 0.050869 | 0.050877 | 0.050877 | 0.99759 | 0.010611 | 0.99754 | 0.011066 | 23.1259
8 | 1.3118 | 0.60465 | -1.3113 | -0.60453 | 0.00048981 | 0.00011999 | 0.041801 | 0.041804 | 0.041804 | 0.99754 | 0.011066 | 0.99714 | 0.0081474 | 19.9065
9 | -0.16837 | -0.081544 | 0.16837 | 0.080828 | 1.1827e-06 | -0.00071603 | 0.0054194 | 0.0054103 | 0.0054194 | 0.9965 | -0.01662 | 0.99651 | -0.01668 | 2.4633
10 | -0.48873 | -0.2024 | 0.48904 | 0.17878 | 0.00030818 | -0.023626 | 0.015324 | 0.015075 | 0.015324 | 0.99651 | -0.01668 | 0.99712 | -0.019603 | 6.9655
11 | 0.32036 | 0.12157 | -0.32018 | -0.15341 | 0.00018324 | -0.031834 | 0.0099263 | 0.01029 | 0.01029 | 0.99651 | -0.01668 | 0.99597 | -0.013007 | 4.6775
12 | -0.48904 | -0.17878 | 0.48905 | 0.17817 | 7.8219e-06 | -0.00061 | 0.015075 | 0.015068 | 0.015075 | 0.99712 | -0.019603 | 0.99713 | -0.019659 | 6.8521
13 | 0.17654 | 0.085375 | -0.17653 | -0.085497 | 6.0954e-06 | -0.00012155 | 0.0056837 | 0.0056853 | 0.0056853 | 0.99597 | -0.013007 | 0.99593 | -0.013236 | 2.7073
14 | 0.14364 | 0.068033 | -0.14363 | -0.068412 | 1.2356e-05 | -0.00037879 | 0.0046068 | 0.0046116 | 0.0046116 | 0.99597 | -0.013007 | 0.99588 | -0.013616 | 2.196
15 | -0.54887 | -0.20714 | 0.5497 | 0.20573 | 0.00083319 | -0.0014078 | 0.016984 | 0.016964 | 0.016984 | 0.99713 | -0.019659 | 0.99877 | -0.00057899 | 8.0875
16 | 0.14363 | 0.068412 | -0.14363 | -0.069564 | 1.3858e-06 | -0.0011518 | 0.0046116 | 0.0046261 | 0.0046261 | 0.99588 | -0.013616 | 0.99587 | -0.013534 | 2.1028
17 | 1.2059 | 0.55344 | -1.2055 | -0.55337 | 0.00038259 | 6.6956e-05 | 0.038411 | 0.038413 | 0.038413 | 0.99714 | 0.0081474 | 0.9968 | 0.005634 | 18.2921
18 | 0.83959 | 0.37616 | -0.83933 | -0.37624 | 0.00025709 | -7.9976e-05 | 0.026643 | 0.026646 | 0.026646 | 0.9968 | 0.005634 | 0.99648 | 0.0030298 | 12.6887
19 | 0.83933 | 0.37624 | -0.83874 | -0.3907 | 0.00058919 | -0.014456 | 0.026646 | 0.026822 | 0.026822 | 0.99648 | 0.0030298 | 0.99582 | 0.0083688 | 12.192
20 | -0.29805 | -0.14435 | 0.29808 | 0.14418 | 2.5331e-05 | -0.00016905 | 0.0095711 | 0.0095687 | 0.0095711 | 0.99885 | 0.006325 | 0.99893 | 0.0068866 | 4.5576
21 | -0.29808 | -0.14418 | 0.29819 | 0.12096 | 0.00011577 | -0.023223 | 0.0095687 | 0.0092959 | 0.0095687 | 0.99893 | 0.0068866 | 0.9993 | 0.0041363 | 4.3494
22 | 0.32135 | 0.15485 | -0.32134 | -0.15563 | 4.652e-06 | -0.00078032 | 0.010305 | 0.010314 | 0.010314 | 0.9993 | 0.0041363 | 0.99929 | 0.0042617 | 4.6883
23 | -1.2862 | -0.53588 | 1.2871 | 0.52579 | 0.00093757 | -0.010094 | 0.040252 | 0.040137 | 0.040252 | 0.9993 | 0.0041363 | 1 | 0 | 18.2962
24 | 0.66667 | 0.26007 | -0.66639 | -0.26034 | 0.00028628 | -0.00026861 | 0.020672 | 0.020677 | 0.020677 | 0.9993 | 0.0041363 | 0.99884 | -0.00090305 | 9.8461
25 | 3.0614 | 1.4353 | -3.0604 | -1.4347 | 0.0010211 | 0.00056779 | 0.097606 | 0.097607 | 0.097607 | 1 | 0 | 0.99965 | -0.0024686 | 46.4794
26 | 0.66639 | 0.26034 | -0.66634 | -0.26222 | 4.5547e-05 | -0.0018855 | 0.020677 | 0.020697 | 0.020697 | 0.99884 | -0.00090305 | 0.99877 | -0.00057899 | 9.4077
27 | 2.7131 | 1.2665 | -2.7129 | -1.2669 | 0.00016712 | -0.00034988 | 0.086465 | 0.08647 | 0.08647 | 0.99965 | -0.0024686 | 0.99959 | -0.0019752 | 39.3045
28 | -0.26569 | -0.12868 | 0.26571 | 0.12856 | 1.4067e-05 | -0.00011858 | 0.0085622 | 0.0085606 | 0.0085622 | 0.99532 | 0.011935 | 0.99538 | 0.012284 | 4.0772
29 | -0.57386 | -0.27781 | 0.57386 | 0.27764 | 3.2394e-06 | -0.00016695 | 0.01849 | 0.018488 | 0.01849 | 0.99538 | 0.012284 | 0.99538 | 0.012235 | 8.4047
30 | -0.57386 | -0.27764 | 0.57413 | 0.26354 | 0.00027085 | -0.014102 | 0.018488 | 0.018313 | 0.018488 | 0.99538 | 0.012235 | 0.99582 | 0.0083688 | 8.4038
31 | 0.26461 | 0.12716 | -0.2646 | -0.12815 | 4.0597e-06 | -0.00099144 | 0.0085104 | 0.0085229 | 0.0085229 | 0.99582 | 0.0083688 | 0.99581 | 0.0085013 | 3.8741
32 | 2.7129 | 1.2669 | -2.7099 | -1.2732 | 0.0030404 | -0.0063495 | 0.08647 | 0.086559 | 0.086559 | 0.99959 | -0.0019752 | 0.99854 | 0.0070755 | 39.3449
33 | 2.616 | 1.2278 | -2.6157 | -1.2286 | 0.00031764 | -0.00071716 | 0.083544 | 0.083554 | 0.083554 | 0.99854 | 0.0070755 | 0.99843 | 0.0080612 | 37.979
34 | 0.093896 | 0.045401 | -0.093895 | -0.045475 | 1.0142e-06 | -7.387e-05 | 0.0030152 | 0.0030161 | 0.0030161 | 0.99854 | 0.0070755 | 0.99853 | 0.0070041 | 1.4362
35 | 2.2939 | 1.0727 | -2.2933 | -1.0724 | 0.00064932 | 0.00032584 | 0.073217 | 0.073218 | 0.073218 | 0.99843 | 0.0080612 | 0.99813 | 0.0059484 | 34.8659

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.3626 | 1.9716

## res_load
| p_mw | q_mvar
0 | 0.16625 | 0.080518
1 | 0.27457 | 0.13298
2 | 0.11648 | 0.056415
3 | 0.2823 | 0.13672
4 | 0.16837 | 0.081544
5 | 0.059818 | 0.028971
6 | 0.17653 | 0.085497
7 | 0.14363 | 0.069564
8 | 0.10548 | 0.051087
9 | 0.36589 | 0.17721
10 | 0.29805 | 0.14435
11 | 0.32134 | 0.15563
12 | 0.34728 | 0.16819
13 | 0.11664 | 0.056492
14 | 0.26569 | 0.12868
15 | 0.30815 | 0.14924
16 | 0.2646 | 0.12815
17 | 0.32177 | 0.15584
18 | 0.093895 | 0.045475
19 | 0.14051 | 0.068052

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1