## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_34_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_34_0_node_142 | 20 | n |  | TRUE
2 | bus_MV_34_0_node_133 | 20 | n |  | TRUE
3 | bus_MV_34_0_node_96 | 20 | n |  | TRUE
4 | bus_MV_34_0_node_134 | 20 | n |  | TRUE
5 | bus_MV_34_0_node_111 | 20 | n |  | TRUE
6 | bus_MV_34_0_node_135 | 20 | n |  | TRUE
7 | bus_MV_34_0_node_102 | 20 | n |  | TRUE
8 | bus_MV_34_0_node_112 | 20 | n |  | TRUE
9 | bus_MV_34_0_node_136 | 20 | n |  | TRUE
10 | bus_MV_34_0_node_100 | 20 | n |  | TRUE
11 | bus_MV_34_0_node_137 | 20 | n |  | TRUE
12 | bus_MV_34_0_node_97 | 20 | n |  | TRUE
13 | bus_MV_34_0_node_140 | 20 | n |  | TRUE
14 | bus_MV_34_0_node_105 | 20 | n |  | TRUE
15 | bus_MV_34_0_node_143 | 20 | n |  | TRUE
16 | bus_MV_34_0_node_107 | 20 | n |  | TRUE
17 | bus_MV_34_0_node_146 | 20 | n |  | TRUE
18 | bus_MV_34_0_node_106 | 20 | n |  | TRUE
19 | bus_MV_34_0_node_153 | 20 | n |  | TRUE
20 | bus_MV_34_0_node_101 | 20 | n |  | TRUE
21 | bus_MV_34_0_node_154 | 20 | n |  | TRUE
22 | bus_MV_34_0_node_90 | 20 | n |  | TRUE
23 | bus_MV_34_0_node_91 | 20 | n |  | TRUE
24 | bus_MV_34_0_node_103 | 20 | n |  | TRUE
25 | bus_MV_34_0_node_93 | 20 | n |  | TRUE
26 | bus_MV_34_0_node_94 | 20 | n |  | TRUE
27 | bus_MV_34_0_node_98 | 20 | n |  | TRUE
28 | bus_MV_34_0_node_99 | 20 | n |  | TRUE
29 | bus_MV_34_0_node_95 | 20 | n |  | TRUE
30 | bus_MV_34_0_node_115 | 20 | n |  | TRUE
31 | bus_MV_34_0_node_116 | 20 | n |  | TRUE
32 | bus_MV_34_0_node_104 | 20 | n |  | TRUE
33 | bus_MV_34_0_node_108 | 20 | n |  | TRUE
34 | bus_MV_34_0_node_113 | 20 | n |  | TRUE
35 | bus_MV_34_0_node_109 | 20 | n |  | TRUE
36 | bus_MV_34_0_node_110 | 20 | n |  | TRUE
37 | bus_MV_34_0_node_114 | 20 | n |  | TRUE
38 | bus_HV_34_0_node_146 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_34_0_load_0 | 0 | 0.10741 | 0.052021 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_34_0_load_133 | 2 | 0.28857 | 0.13976 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_34_0_load_134 | 4 | 0.081372 | 0.03941 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_34_0_load_135 | 6 | 0.3309 | 0.16026 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_34_0_load_112 | 8 | 0.11507 | 0.055731 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_34_0_load_136 | 9 | 0.30925 | 0.14978 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_34_0_load_137 | 11 | 0.24368 | 0.11802 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_34_0_load_140 | 13 | 0.23001 | 0.1114 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_34_0_load_143 | 15 | 0.16072 | 0.077841 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_34_0_load_146 | 17 | 0.29342 | 0.14211 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_34_0_load_101 | 20 | 0.12575 | 0.060904 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_34_0_load_154 | 21 | 0.20626 | 0.099895 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_34_0_load_90 | 22 | 0.081473 | 0.039459 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_34_0_load_103 | 24 | 0.17537 | 0.084934 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_34_0_load_98 | 27 | 0.22291 | 0.10796 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_34_0_load_99 | 28 | 0.090067 | 0.043621 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_34_0_load_115 | 30 | 0.20218 | 0.09792 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_34_0_load_116 | 31 | 0.18352 | 0.088883 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_34_0_load_113 | 34 | 0.057843 | 0.028015 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_34_0_load_109 | 35 | 0.39717 | 0.19236 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_34_0_line_0 |  | 0 | 1 | 1.8867 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_34_0_line_1 |  | 1 | 15 | 0.055259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_34_0_line_2 |  | 1 | 16 | 1.2476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_34_0_line_3 |  | 2 | 3 | 0.018827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_34_0_line_4 |  | 3 | 26 | 0.10239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_34_0_line_5 |  | 4 | 5 | 0.035292 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_34_0_line_6 |  | 5 | 37 | 0.35763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_34_0_line_7 |  | 5 | 36 | 0.40241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_34_0_line_8 |  | 6 | 7 | 1.1535 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_34_0_line_9 |  | 6 | 8 | 0.75678 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_34_0_line_10 |  | 7 | 20 | 0.054516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_34_0_line_11 |  | 8 | 16 | 0.021797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_34_0_line_12 |  | 9 | 10 | 0.05937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_34_0_line_13 |  | 10 | 29 | 0.37257 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_34_0_line_14 |  | 11 | 12 | 0.041559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_34_0_line_15 |  | 12 | 29 | 0.25029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_34_0_line_16 |  | 13 | 14 | 0.050947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_34_0_line_17 |  | 14 | 18 | 0.80636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_34_0_line_18 |  | 14 | 16 | 0.93064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_34_0_line_19 |  | 14 | 33 | 0.50216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_34_0_line_20 |  | 17 | 18 | 0.013862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_34_0_line_21 |  | 18 | 32 | 0.36149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_34_0_line_22 |  | 19 | 20 | 1.2193 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_34_0_line_23 |  | 19 | 21 | 0.017184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_34_0_line_24 |  | 22 | 23 | 0.047197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_34_0_line_25 |  | 23 | 24 | 0.27217 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_34_0_line_26 |  | 24 | 32 | 0.027348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_34_0_line_27 |  | 24 | 28 | 0.41681 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_34_0_line_28 |  | 25 | 26 | 0.55786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_34_0_line_29 |  | 25 | 27 | 0.025817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_34_0_line_30 |  | 25 | 28 | 0.053338 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_34_0_line_31 |  | 26 | 29 | 0.80985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_34_0_line_32 |  | 26 | 30 | 0.031581 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_34_0_line_33 |  | 29 | 31 | 0.04113 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_34_0_line_34 |  | 33 | 34 | 0.083037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_34_0_line_35 |  | 34 | 37 | 0.015997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_34_0_line_36 |  | 35 | 36 | 0.059051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_34_0_trafo_146 | 25 MVA 110/20 kV | 38 | 17 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2704125.0405 | 1259630.9752
1 | 2702423.5593 | 1260446.1094
2 | 2701109.8971 | 1262339.8056
3 | 2701103.1933 | 1262323.871
4 | 2702615.3766 | 1262158.9298
5 | 2702650.3195 | 1262163.8835
6 | 2703494.6248 | 1261921.9824
7 | 2704343.7742 | 1262702.7633
8 | 2702791.8858 | 1261641.13
9 | 2701011.3586 | 1262510.0338
10 | 2701062.1639 | 1262489.985
11 | 2700865.4152 | 1262230.7792
12 | 2700878.1453 | 1262270.3512
13 | 2702424.9206 | 1261742.1712
14 | 2702375.2403 | 1261749.6952
15 | 2702369.7648 | 1260458.5887
16 | 2702770.2884 | 1261644.5131
17 | 2702144.5106 | 1261937.4735
18 | 2702132.0821 | 1261943.6863
19 | 2704926.4244 | 1261595.7434
20 | 2704397.6907 | 1262694.4521
21 | 2704942.5501 | 1261601.8123
22 | 2701602.6747 | 1262187.5395
23 | 2701637.81 | 1262156.027
24 | 2701902.9462 | 1262094.5486
25 | 2701461.6066 | 1262032.2109
26 | 2701175.1518 | 1262310.4458
27 | 2701486.2274 | 1262024.2155
28 | 2701486.4097 | 1262079.4309
29 | 2700793.5674 | 1262384.8485
30 | 2701202.5919 | 1262294.8133
31 | 2700752.5817 | 1262381.403
32 | 2701925.7148 | 1262109.6423
33 | 2702525.133 | 1261862.2511
34 | 2702548.9086 | 1261927.4283
35 | 2702728.0791 | 1262411.4503
36 | 2702698.7571 | 1262462.7505
37 | 2702550.1768 | 1261943.3747
38 | 2702144.5106 | 1261937.4735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99582 | 0.017206 | 0.10741 | 0.052021
1 | 0.99621 | 0.019855 | 0 | 0
2 | 0.99677 | 0.0034803 | 0.28857 | 0.13976
3 | 0.99678 | 0.0034151 | 0 | 0
4 | 0.99747 | 0.018495 | 0.081372 | 0.03941
5 | 0.99747 | 0.018462 | 0 | 0
6 | 0.99586 | 0.018152 | 0.3309 | 0.16026
7 | 0.99512 | 0.013104 | 0 | 0
8 | 0.99683 | 0.02458 | 0.11507 | 0.055731
9 | 0.99589 | 0.010333 | 0.30925 | 0.14978
10 | 0.99591 | 0.010115 | 0 | 0
11 | 0.99597 | 0.0096572 | 0.24368 | 0.11802
12 | 0.99598 | 0.0095363 | 0 | 0
13 | 0.99808 | 0.014103 | 0.23001 | 0.1114
14 | 0.99809 | 0.013965 | 0 | 0
15 | 0.9962 | 0.01996 | 0.16072 | 0.077841
16 | 0.99685 | 0.024383 | 0 | 0
17 | 1 | 0 | -3.6358 | -1.6105
18 | 0.99994 | 0.00046466 | 0 | 0
19 | 0.99461 | 0.010125 | 0 | 0
20 | 0.9951 | 0.013314 | 0.12575 | 0.060904
21 | 0.9946 | 0.010168 | 0.20626 | 0.099895
22 | 0.99901 | 0.0071114 | 0.081473 | 0.039459
23 | 0.99901 | 0.007067 | 0 | 0
24 | 0.99905 | 0.0073653 | 0.17537 | 0.084934
25 | 0.99768 | -0.0035237 | 0 | 0
26 | 0.99681 | 0.0030703 | 0 | 0
27 | 0.99767 | -0.0034551 | 0.22291 | 0.10796
28 | 0.99783 | -0.0023397 | 0.090067 | 0.043621
29 | 0.99606 | 0.0088643 | 0 | 0
30 | 0.9968 | 0.0029926 | 0.20218 | 0.09792
31 | 0.99604 | 0.0087723 | 0.18352 | 0.088883
32 | 0.99911 | 0.006872 | 0 | 0
33 | 0.99775 | 0.016281 | 0 | 0
34 | 0.9977 | 0.016701 | 0.057843 | 0.028015
35 | 0.99724 | 0.020504 | 0.39717 | 0.19236
36 | 0.99727 | 0.020225 | 0 | 0
37 | 0.99769 | 0.016772 | 0 | 0
38 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10741 | -0.052021 | 0.10745 | 0.049812 | 3.9909e-05 | -0.0022094 | 0.0034596 | 0.0034319 | 0.0034596 | 0.99582 | 0.017206 | 0.99621 | 0.019855 | 1.6474
1 | 0.16072 | 0.076532 | -0.16072 | -0.077841 | 1.9692e-06 | -0.0013088 | 0.0051584 | 0.0051748 | 0.0051748 | 0.99621 | 0.019855 | 0.9962 | 0.01996 | 2.3522
2 | -0.26817 | -0.12634 | 0.26834 | 0.12497 | 0.00016367 | -0.0013765 | 0.0085902 | 0.008572 | 0.0085902 | 0.99621 | 0.019855 | 0.99685 | 0.024383 | 4.0906
3 | -0.28857 | -0.13976 | 0.28857 | 0.13932 | 2.166e-06 | -0.00044597 | 0.009286 | 0.0092803 | 0.009286 | 0.99677 | 0.0034803 | 0.99678 | 0.0034151 | 4.2209
4 | -0.28857 | -0.13932 | 0.28859 | 0.13689 | 1.1733e-05 | -0.0024255 | 0.0092803 | 0.00925 | 0.0092803 | 0.99678 | 0.0034151 | 0.99681 | 0.0030703 | 4.2183
5 | -0.081372 | -0.03941 | 0.081372 | 0.038572 | 3.2129e-07 | -0.00083829 | 0.0026166 | 0.0026062 | 0.0026166 | 0.99747 | 0.018495 | 0.99747 | 0.018462 | 1.1894
6 | -0.47864 | -0.22 | 0.47875 | 0.21153 | 0.00011022 | -0.0084648 | 0.015245 | 0.015144 | 0.015245 | 0.99747 | 0.018462 | 0.99769 | 0.016772 | 6.9297
7 | 0.39727 | 0.18143 | -0.39718 | -0.19096 | 8.6612e-05 | -0.0095318 | 0.012639 | 0.012757 | 0.012757 | 0.99747 | 0.018462 | 0.99727 | 0.020225 | 5.7985
8 | 0.33235 | 0.15651 | -0.33211 | -0.15773 | 0.00023343 | -0.0012185 | 0.010649 | 0.010666 | 0.010666 | 0.99586 | 0.018152 | 0.99512 | 0.013104 | 5.0789
9 | -0.66325 | -0.31677 | 0.66386 | 0.31626 | 0.00061177 | -0.00051367 | 0.021306 | 0.021295 | 0.021306 | 0.99586 | 0.018152 | 0.99683 | 0.02458 | 10.1458
10 | 0.33211 | 0.15773 | -0.33211 | -0.15901 | 8.2915e-06 | -0.0012865 | 0.010666 | 0.010682 | 0.010682 | 0.99512 | 0.013104 | 0.9951 | 0.013314 | 4.8553
11 | -0.77893 | -0.37199 | 0.77895 | 0.37148 | 1.8179e-05 | -0.00051175 | 0.024997 | 0.024991 | 0.024997 | 0.99683 | 0.02458 | 0.99685 | 0.024383 | 11.3625
12 | -0.30925 | -0.14978 | 0.30926 | 0.14837 | 7.8488e-06 | -0.0014036 | 0.0099601 | 0.0099424 | 0.0099601 | 0.99589 | 0.010333 | 0.99591 | 0.010115 | 4.5273
13 | -0.30926 | -0.14837 | 0.30931 | 0.13956 | 4.8628e-05 | -0.0088098 | 0.0099424 | 0.0098345 | 0.0099424 | 0.99591 | 0.010115 | 0.99606 | 0.0088643 | 4.5193
14 | -0.24368 | -0.11802 | 0.24368 | 0.11704 | 3.4115e-06 | -0.00098328 | 0.0078477 | 0.0078353 | 0.0078477 | 0.99597 | 0.0096572 | 0.99598 | 0.0095363 | 3.5671
15 | -0.24368 | -0.11704 | 0.24371 | 0.11111 | 2.0321e-05 | -0.0059224 | 0.0078353 | 0.0077625 | 0.0078353 | 0.99598 | 0.0095363 | 0.99606 | 0.0088643 | 3.5615
16 | -0.23001 | -0.1114 | 0.23001 | 0.11019 | 3.7085e-06 | -0.0012107 | 0.0073918 | 0.0073766 | 0.0073918 | 0.99808 | 0.014103 | 0.99809 | 0.013965 | 3.3599
17 | -1.8155 | -0.81026 | 1.819 | 0.79209 | 0.0035454 | -0.018163 | 0.057501 | 0.057277 | 0.057501 | 0.99809 | 0.013965 | 0.99994 | 0.00046466 | 26.137
18 | 1.0487 | 0.47475 | -1.0473 | -0.49644 | 0.0013882 | -0.021696 | 0.033294 | 0.033563 | 0.033563 | 0.99809 | 0.013965 | 0.99685 | 0.024383 | 15.2558
19 | 0.53682 | 0.22532 | -0.53663 | -0.23721 | 0.00019161 | -0.011883 | 0.016839 | 0.016975 | 0.016975 | 0.99809 | 0.013965 | 0.99775 | 0.016281 | 7.716
20 | 3.6218 | 1.6 | -3.6216 | -1.6003 | 0.00024178 | -0.00025923 | 0.1143 | 0.1143 | 0.1143 | 1 | 0 | 0.99994 | 0.00046466 | 51.9565
21 | 1.8025 | 0.80817 | -1.8009 | -0.81633 | 0.0015723 | -0.0081564 | 0.057028 | 0.057131 | 0.057131 | 0.99994 | 0.00046466 | 0.99911 | 0.006872 | 25.9685
22 | -0.20626 | -0.09949 | 0.20635 | 0.098109 | 9.5708e-05 | -0.0013807 | 0.0066465 | 0.0066284 | 0.0066465 | 0.99461 | 0.010125 | 0.9951 | 0.013314 | 3.165
23 | 0.20626 | 0.09949 | -0.20626 | -0.099895 | 1.0142e-06 | -0.00040557 | 0.0066465 | 0.0066516 | 0.0066516 | 0.99461 | 0.010125 | 0.9946 | 0.010168 | 3.0235
24 | -0.081473 | -0.039459 | 0.081473 | 0.038334 | 4.2882e-07 | -0.0011245 | 0.0026158 | 0.0026018 | 0.0026158 | 0.99901 | 0.0071114 | 0.99901 | 0.007067 | 1.189
25 | -0.081473 | -0.038334 | 0.081476 | 0.038012 | 3.2777e-06 | -0.00032224 | 0.0026018 | 0.0025979 | 0.0026018 | 0.99901 | 0.007067 | 0.99905 | 0.0073653 | 1.239
26 | -1.8008 | -0.81695 | 1.8009 | 0.81633 | 0.00011918 | -0.00061642 | 0.057139 | 0.057131 | 0.057139 | 0.99905 | 0.0073653 | 0.99911 | 0.006872 | 25.9721
27 | 1.544 | 0.694 | -1.5422 | -0.69338 | 0.0017769 | 0.00061697 | 0.048913 | 0.048919 | 0.048919 | 0.99905 | 0.0073653 | 0.99783 | -0.0023397 | 23.2946
28 | 1.229 | 0.54235 | -1.2279 | -0.55526 | 0.0011297 | -0.012911 | 0.03887 | 0.039026 | 0.039026 | 0.99768 | -0.0035237 | 0.99681 | 0.0030703 | 17.7393
29 | 0.22291 | 0.10735 | -0.22291 | -0.10796 | 1.7682e-06 | -0.00061302 | 0.0071588 | 0.0071665 | 0.0071665 | 0.99768 | -0.0035237 | 0.99767 | -0.0034551 | 3.2575
30 | -1.4519 | -0.6497 | 1.4521 | 0.64976 | 0.00020131 | 6.2703e-05 | 0.046025 | 0.046025 | 0.046025 | 0.99768 | -0.0035237 | 0.99783 | -0.0023397 | 21.9169
31 | 0.73712 | 0.32049 | -0.73653 | -0.33951 | 0.00059147 | -0.019023 | 0.023277 | 0.023505 | 0.023505 | 0.99681 | 0.0030703 | 0.99606 | 0.0088643 | 10.684
32 | 0.20218 | 0.097884 | -0.20218 | -0.09792 | 2.3813e-06 | -3.5969e-05 | 0.0065052 | 0.0065057 | 0.0065057 | 0.99681 | 0.0030703 | 0.9968 | 0.0029926 | 3.098
33 | 0.18352 | 0.088835 | -0.18352 | -0.088883 | 2.5591e-06 | -4.7112e-05 | 0.0059092 | 0.0059098 | 0.0059098 | 0.99606 | 0.0088643 | 0.99604 | 0.0087723 | 2.8142
34 | 0.53663 | 0.23721 | -0.5366 | -0.23917 | 3.1987e-05 | -0.0019641 | 0.016975 | 0.016998 | 0.016998 | 0.99775 | 0.016281 | 0.9977 | 0.016701 | 7.7265
35 | 0.47875 | 0.21115 | -0.47875 | -0.21153 | 4.8965e-06 | -0.00037873 | 0.01514 | 0.015144 | 0.015144 | 0.9977 | 0.016701 | 0.99769 | 0.016772 | 6.8837
36 | -0.39717 | -0.19236 | 0.39718 | 0.19096 | 1.2847e-05 | -0.0013984 | 0.012774 | 0.012757 | 0.012774 | 0.99724 | 0.020504 | 0.99727 | 0.020225 | 5.8065

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.9292 | 1.7526

## res_load
| p_mw | q_mvar
0 | 0.10741 | 0.052021
1 | 0.28857 | 0.13976
2 | 0.081372 | 0.03941
3 | 0.3309 | 0.16026
4 | 0.11507 | 0.055731
5 | 0.30925 | 0.14978
6 | 0.24368 | 0.11802
7 | 0.23001 | 0.1114
8 | 0.16072 | 0.077841
9 | 0.29342 | 0.14211
10 | 0.12575 | 0.060904
11 | 0.20626 | 0.099895
12 | 0.081473 | 0.039459
13 | 0.17537 | 0.084934
14 | 0.22291 | 0.10796
15 | 0.090067 | 0.043621
16 | 0.20218 | 0.09792
17 | 0.18352 | 0.088883
18 | 0.057843 | 0.028015
19 | 0.39717 | 0.19236

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1