## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_355_1_node_107 | 20 | n |  | TRUE
1 | bus_MV_355_1_node_109 | 20 | n |  | TRUE
2 | bus_MV_355_1_node_105 | 20 | n |  | TRUE
3 | bus_MV_355_1_node_23 | 20 | n |  | TRUE
4 | bus_MV_355_1_node_24 | 20 | n |  | TRUE
5 | bus_MV_355_1_node_25 | 20 | n |  | TRUE
6 | bus_MV_355_1_node_26 | 20 | n |  | TRUE
7 | bus_MV_355_1_node_31 | 20 | n |  | TRUE
8 | bus_MV_355_1_node_27 | 20 | n |  | TRUE
9 | bus_MV_355_1_node_83 | 20 | n |  | TRUE
10 | bus_MV_355_1_node_104 | 20 | n |  | TRUE
11 | bus_MV_355_1_node_33 | 20 | n |  | TRUE
12 | bus_MV_355_1_node_81 | 20 | n |  | TRUE
13 | bus_MV_355_1_node_28 | 20 | n |  | TRUE
14 | bus_MV_355_1_node_32 | 20 | n |  | TRUE
15 | bus_MV_355_1_node_35 | 20 | n |  | TRUE
16 | bus_MV_355_1_node_36 | 20 | n |  | TRUE
17 | bus_MV_355_1_node_29 | 20 | n |  | TRUE
18 | bus_MV_355_1_node_34 | 20 | n |  | TRUE
19 | bus_MV_355_1_node_30 | 20 | n |  | TRUE
20 | bus_MV_355_1_node_96 | 20 | n |  | TRUE
21 | bus_MV_355_1_node_72 | 20 | n |  | TRUE
22 | bus_MV_355_1_node_97 | 20 | n |  | TRUE
23 | bus_MV_355_1_node_93 | 20 | n |  | TRUE
24 | bus_MV_355_1_node_43 | 20 | n |  | TRUE
25 | bus_MV_355_1_node_59 | 20 | n |  | TRUE
26 | bus_MV_355_1_node_80 | 20 | n |  | TRUE
27 | bus_MV_355_1_node_45 | 20 | n |  | TRUE
28 | bus_MV_355_1_node_37 | 20 | n |  | TRUE
29 | bus_MV_355_1_node_73 | 20 | n |  | TRUE
30 | bus_MV_355_1_node_74 | 20 | n |  | TRUE
31 | bus_MV_355_1_node_88 | 20 | n |  | TRUE
32 | bus_MV_355_1_node_87 | 20 | n |  | TRUE
33 | bus_MV_355_1_node_89 | 20 | n |  | TRUE
34 | bus_MV_355_1_node_106 | 20 | n |  | TRUE
35 | bus_MV_355_1_node_92 | 20 | n |  | TRUE
36 | bus_MV_355_1_node_65 | 20 | n |  | TRUE
37 | bus_MV_355_1_node_38 | 20 | n |  | TRUE
38 | bus_MV_355_1_node_39 | 20 | n |  | TRUE
39 | bus_MV_355_1_node_46 | 20 | n |  | TRUE
40 | bus_MV_355_1_node_76 | 20 | n |  | TRUE
41 | bus_MV_355_1_node_75 | 20 | n |  | TRUE
42 | bus_MV_355_1_node_85 | 20 | n |  | TRUE
43 | bus_MV_355_1_node_52 | 20 | n |  | TRUE
44 | bus_MV_355_1_node_40 | 20 | n |  | TRUE
45 | bus_MV_355_1_node_41 | 20 | n |  | TRUE
46 | bus_MV_355_1_node_91 | 20 | n |  | TRUE
47 | bus_MV_355_1_node_42 | 20 | n |  | TRUE
48 | bus_MV_355_1_node_90 | 20 | n |  | TRUE
49 | bus_MV_355_1_node_94 | 20 | n |  | TRUE
50 | bus_MV_355_1_node_60 | 20 | n |  | TRUE
51 | bus_MV_355_1_node_61 | 20 | n |  | TRUE
52 | bus_MV_355_1_node_63 | 20 | n |  | TRUE
53 | bus_MV_355_1_node_62 | 20 | n |  | TRUE
54 | bus_MV_355_1_node_64 | 20 | n |  | TRUE
55 | bus_MV_355_1_node_66 | 20 | n |  | TRUE
56 | bus_MV_355_1_node_86 | 20 | n |  | TRUE
57 | bus_MV_355_1_node_47 | 20 | n |  | TRUE
58 | bus_MV_355_1_node_49 | 20 | n |  | TRUE
59 | bus_MV_355_1_node_50 | 20 | n |  | TRUE
60 | bus_MV_355_1_node_48 | 20 | n |  | TRUE
61 | bus_MV_355_1_node_51 | 20 | n |  | TRUE
62 | bus_MV_355_1_node_53 | 20 | n |  | TRUE
63 | bus_MV_355_1_node_54 | 20 | n |  | TRUE
64 | bus_MV_355_1_node_55 | 20 | n |  | TRUE
65 | bus_MV_355_1_node_56 | 20 | n |  | TRUE
66 | bus_MV_355_1_node_57 | 20 | n |  | TRUE
67 | bus_MV_355_1_node_58 | 20 | n |  | TRUE
68 | bus_MV_355_1_node_95 | 20 | n |  | TRUE
69 | bus_MV_355_1_node_77 | 20 | n |  | TRUE
70 | bus_MV_355_1_node_78 | 20 | n |  | TRUE
71 | bus_MV_355_1_node_79 | 20 | n |  | TRUE
72 | bus_MV_355_1_node_82 | 20 | n |  | TRUE
73 | bus_MV_355_1_node_84 | 20 | n |  | TRUE
74 | bus_MV_355_1_node_98 | 20 | n |  | TRUE
75 | bus_HV_355_1_node_97 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_355_1_load_109 | 1 | 0.22197 | 0.1075 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_355_1_load_23 | 3 | 0.27333 | 0.13238 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_355_1_load_83 | 9 | 0.0955 | 0.046253 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_355_1_load_104 | 10 | 0.40959 | 0.19838 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_355_1_load_81 | 12 | 0.09048 | 0.043821 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_355_1_load_36 | 16 | 0.4032 | 0.19528 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_355_1_load_34 | 18 | 0.075582 | 0.036606 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_355_1_load_96 | 20 | 0.35354 | 0.17123 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_355_1_load_72 | 21 | 0.077264 | 0.037421 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_355_1_load_97 | 22 | 0.39813 | 0.19282 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_355_1_load_93 | 23 | 0.34632 | 0.16773 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_355_1_load_43 | 24 | 0.15415 | 0.07466 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_355_1_load_45 | 27 | 0.18152 | 0.087914 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_355_1_load_88 | 31 | 0.39157 | 0.18965 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_355_1_load_106 | 34 | 0.19593 | 0.094893 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_355_1_load_65 | 36 | 0.32195 | 0.15593 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_355_1_load_46 | 39 | 0.41382 | 0.20042 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_355_1_load_75 | 41 | 0.097705 | 0.047321 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_355_1_load_85 | 42 | 0.16853 | 0.081623 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_355_1_load_40 | 44 | 0.38463 | 0.18628 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_355_1_load_90 | 48 | 0.22253 | 0.10778 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_355_1_load_94 | 49 | 0.29008 | 0.14049 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_355_1_load_60 | 50 | 0.17827 | 0.086338 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_355_1_load_66 | 55 | 0.14531 | 0.070378 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_355_1_load_86 | 56 | 0.26843 | 0.13001 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_355_1_load_47 | 57 | 0.35923 | 0.17398 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_355_1_load_49 | 58 | 0.13649 | 0.066104 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_355_1_load_51 | 61 | 0.14383 | 0.069658 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_355_1_load_53 | 62 | 0.18198 | 0.088137 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_355_1_load_58 | 67 | 0.20243 | 0.098043 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_355_1_load_95 | 68 | 0.074453 | 0.036059 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_355_1_load_77 | 69 | 0.17368 | 0.084116 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_355_1_load_78 | 70 | 0.13885 | 0.067249 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_355_1_load_84 | 73 | 0.07434 | 0.036004 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_355_1_load_98 | 74 | 0.29989 | 0.14524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_355_1_line_0 |  | 0 | 1 | 0.010446 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_355_1_line_1 |  | 0 | 2 | 0.25619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_355_1_line_2 |  | 2 | 34 | 0.011298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_355_1_line_3 |  | 3 | 4 | 0.027719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_355_1_line_4 |  | 4 | 5 | 0.51859 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_355_1_line_5 |  | 4 | 6 | 0.63051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_355_1_line_6 |  | 4 | 7 | 0.72931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_355_1_line_7 |  | 5 | 8 | 0.39332 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_355_1_line_8 |  | 5 | 9 | 0.006624 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_355_1_line_9 |  | 6 | 10 | 0.023431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_355_1_line_10 |  | 6 | 11 | 0.34902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_355_1_line_11 |  | 7 | 22 | 0.014548 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
12 | MV_355_1_line_12 |  | 7 | 17 | 0.38306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_355_1_line_13 |  | 7 | 19 | 0.75164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_355_1_line_14 |  | 8 | 12 | 0.024113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_355_1_line_15 |  | 10 | 25 | 0.033753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_355_1_line_16 |  | 11 | 24 | 0.11227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_355_1_line_17 |  | 12 | 26 | 0.019826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_355_1_line_18 |  | 13 | 14 | 0.33464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_355_1_line_19 |  | 13 | 15 | 0.72094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_355_1_line_20 |  | 13 | 16 | 0.085555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_355_1_line_21 |  | 14 | 23 | 0.053839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_355_1_line_22 |  | 14 | 17 | 0.50664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_355_1_line_23 |  | 15 | 27 | 0.18712 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_355_1_line_24 |  | 16 | 28 | 0.006618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_355_1_line_25 |  | 17 | 18 | 0.030396 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_355_1_line_26 |  | 19 | 20 | 0.036422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_355_1_line_27 |  | 19 | 21 | 2.3362 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_355_1_line_28 |  | 21 | 29 | 0.025028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_355_1_line_29 |  | 22 | 35 | 0.10894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_355_1_line_30 |  | 25 | 64 | 0.30306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_355_1_line_31 |  | 26 | 72 | 0.051993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_355_1_line_32 |  | 26 | 71 | 0.051767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_355_1_line_33 |  | 27 | 36 | 0.8375 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_355_1_line_34 |  | 28 | 37 | 0.28315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_355_1_line_35 |  | 29 | 30 | 0.17317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_355_1_line_36 |  | 30 | 31 | 0.036865 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_355_1_line_37 |  | 31 | 32 | 0.041696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_355_1_line_38 |  | 32 | 33 | 0.23374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_355_1_line_39 |  | 33 | 34 | 0.065993 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_355_1_line_40 |  | 35 | 74 | 0.009027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_355_1_line_41 |  | 35 | 46 | 0.64078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_355_1_line_42 |  | 36 | 54 | 0.040325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_355_1_line_43 |  | 37 | 38 | 0.55636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_355_1_line_44 |  | 37 | 39 | 0.083728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_355_1_line_45 |  | 38 | 40 | 1.4774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_355_1_line_46 |  | 38 | 41 | 0.070838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_355_1_line_47 |  | 40 | 42 | 0.13 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_355_1_line_48 |  | 41 | 43 | 0.017204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_355_1_line_49 |  | 43 | 59 | 0.087976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_355_1_line_50 |  | 44 | 45 | 0.045662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_355_1_line_51 |  | 44 | 46 | 0.33216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_355_1_line_52 |  | 45 | 47 | 1.0559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_355_1_line_53 |  | 46 | 48 | 0.049592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_355_1_line_54 |  | 47 | 49 | 0.087017 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_355_1_line_55 |  | 50 | 51 | 0.028165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_355_1_line_56 |  | 51 | 52 | 0.2964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_355_1_line_57 |  | 52 | 56 | 0.041574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_355_1_line_58 |  | 52 | 54 | 0.65083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_355_1_line_59 |  | 53 | 54 | 0.57628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_355_1_line_60 |  | 53 | 55 | 0.035098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_355_1_line_61 |  | 57 | 58 | 0.046803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_355_1_line_62 |  | 57 | 59 | 0.10335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_355_1_line_63 |  | 57 | 60 | 0.097523 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_355_1_line_64 |  | 60 | 61 | 0.045389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_355_1_line_65 |  | 62 | 63 | 0.11252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_355_1_line_66 |  | 63 | 64 | 0.11321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_355_1_line_67 |  | 64 | 65 | 0.35295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_355_1_line_68 |  | 64 | 66 | 0.56777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_355_1_line_69 |  | 64 | 67 | 0.050579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_355_1_line_70 |  | 65 | 68 | 0.0334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_355_1_line_71 |  | 66 | 69 | 0.059658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_355_1_line_72 |  | 70 | 71 | 0.04314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_355_1_line_73 |  | 72 | 73 | 0.011557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_355_1_trafo_97 | 25 MVA 110/20 kV | 75 | 22 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2699989.7896 | 1237329.557
1 | 2699997.6893 | 1237336.3173
2 | 2699913.0088 | 1237169.7893
3 | 2701128.7025 | 1234476.2023
4 | 2701155.8043 | 1234470.526
5 | 2701211.2245 | 1234314.0635
6 | 2701540.5135 | 1234638.5127
7 | 2700706.5244 | 1234431.0662
8 | 2701303.0751 | 1234101.9697
9 | 2701217.8432 | 1234313.8009
10 | 2701562.4378 | 1234630.5591
11 | 2701368.0012 | 1234808.3838
12 | 2701306.6806 | 1234078.469
13 | 2701034.3868 | 1233873.5364
14 | 2700877.4099 | 1233996.2839
15 | 2700924.8465 | 1233322.0084
16 | 2701119.6289 | 1233879.6907
17 | 2700954.7027 | 1234323.4297
18 | 2700976.2955 | 1234302.0361
19 | 2700662.6101 | 1234718.8818
20 | 2700639.2468 | 1234701.5064
21 | 2699610.4563 | 1236804.6897
22 | 2700703.7458 | 1234416.7862
23 | 2700900.1736 | 1234045.0734
24 | 2701333.4327 | 1234914.5295
25 | 2701592.6173 | 1234619.3221
26 | 2701307.3574 | 1234058.6548
27 | 2700745.3164 | 1233269.2569
28 | 2701125.8118 | 1233882.0977
29 | 2699590.0821 | 1236819.2257
30 | 2699721.8573 | 1236891.9019
31 | 2699717.4208 | 1236928.4994
32 | 2699712.4498 | 1236969.8915
33 | 2699878.0115 | 1237100.8823
34 | 2699908.3009 | 1237159.5135
35 | 2700600.1569 | 1234383.0622
36 | 2700027.2124 | 1232838.2984
37 | 2701334.7639 | 1233798.7276
38 | 2701517.0376 | 1233667.1508
39 | 2701416.4492 | 1233815.9115
40 | 2701934.8615 | 1232940.447
41 | 2701534.5149 | 1233731.1497
42 | 2701821.4184 | 1232876.9665
43 | 2701526.9401 | 1233746.0789
44 | 2700499.0145 | 1234208.2872
45 | 2700527.2126 | 1234172.315
46 | 2700255.4987 | 1234434.1872
47 | 2699662.7977 | 1234039.2021
48 | 2700266.09 | 1234482.6354
49 | 2699655.3086 | 1234125.8965
50 | 2699829.4854 | 1232478.2191
51 | 2699822.7125 | 1232505.4032
52 | 2699689.9521 | 1232650.7608
53 | 2700125.8018 | 1232580.0556
54 | 2699988.5058 | 1232848.7439
55 | 2700156.0839 | 1232563.6202
56 | 2699696.8975 | 1232680.9441
57 | 2701577.4241 | 1233724.6588
58 | 2701582.2086 | 1233762.3354
59 | 2701567.87 | 1233820.6451
60 | 2701622.0293 | 1233637.9342
61 | 2701662.2831 | 1233618.0354
62 | 2701646.1427 | 1234135.8193
63 | 2701650.5498 | 1234248.1344
64 | 2701651.4946 | 1234351.7282
65 | 2701492.5166 | 1234444.8809
66 | 2701580.0543 | 1233984.3537
67 | 2701701.9177 | 1234355.6938
68 | 2701468.5152 | 1234438.7776
69 | 2701589.2371 | 1233925.4251
70 | 2701233.7817 | 1234108.849
71 | 2701262.8659 | 1234076.988
72 | 2701309.2674 | 1234017.7011
73 | 2701319.885 | 1234013.8153
74 | 2700601.2928 | 1234374.108
75 | 2700703.7458 | 1234416.7862

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99424 | -0.017085 | 0 | 0
1 | 0.99424 | -0.017057 | 0.22197 | 0.1075
2 | 0.99431 | -0.017719 | 0 | 0
3 | 0.99823 | 0.011149 | 0.27333 | 0.13238
4 | 0.99824 | 0.011059 | 0 | 0
5 | 0.99798 | 0.012865 | 0 | 0
6 | 0.99729 | 0.017844 | 0 | 0
7 | 0.99995 | -0.00062186 | 0 | 0
8 | 0.99782 | 0.014061 | 0 | 0
9 | 0.99798 | 0.012872 | 0.0955 | 0.046253
10 | 0.99725 | 0.018081 | 0.40959 | 0.19838
11 | 0.99722 | 0.018339 | 0 | 0
12 | 0.99782 | 0.014142 | 0.09048 | 0.043821
13 | 0.99516 | 0.033991 | 0 | 0
14 | 0.99635 | 0.02538 | 0 | 0
15 | 0.99416 | 0.041294 | 0 | 0
16 | 0.99497 | 0.035404 | 0.4032 | 0.19528
17 | 0.99838 | 0.0106 | 0 | 0
18 | 0.99838 | 0.010572 | 0.075582 | 0.036606
19 | 0.99877 | 0.0091385 | 0 | 0
20 | 0.99875 | 0.0092919 | 0.35354 | 0.17123
21 | 0.99478 | -0.019923 | 0.077264 | 0.037421
22 | 1 | 0 | -7.5931 | -3.3305
23 | 0.99632 | 0.025153 | 0.34632 | 0.16773
24 | 0.9972 | 0.018537 | 0.15415 | 0.07466
25 | 0.99723 | 0.018257 | 0 | 0
26 | 0.99781 | 0.014188 | 0 | 0
27 | 0.99376 | 0.038136 | 0.18152 | 0.087914
28 | 0.99496 | 0.035481 | 0 | 0
29 | 0.99475 | -0.019707 | 0 | 0
30 | 0.99457 | -0.018181 | 0 | 0
31 | 0.99452 | -0.018588 | 0.39157 | 0.18965
32 | 0.99449 | -0.018411 | 0 | 0
33 | 0.99437 | -0.017371 | 0 | 0
34 | 0.99432 | -0.017745 | 0.19593 | 0.094893
35 | 0.99975 | -0.0019817 | 0 | 0
36 | 0.9923 | 0.025883 | 0.32195 | 0.15593
37 | 0.99449 | 0.038863 | 0 | 0
38 | 0.99385 | 0.043154 | 0 | 0
39 | 0.99444 | 0.039276 | 0.41382 | 0.20042
40 | 0.99354 | 0.044496 | 0 | 0
41 | 0.99378 | 0.04375 | 0.097705 | 0.047321
42 | 0.9935 | 0.044227 | 0.16853 | 0.081623
43 | 0.99377 | 0.043875 | 0 | 0
44 | 0.9986 | -1.0898e-05 | 0.38463 | 0.18628
45 | 0.99858 | 7.2796e-05 | 0 | 0
46 | 0.99903 | 0.0034559 | 0 | 0
47 | 0.9982 | 0.0028943 | 0 | 0
48 | 0.99901 | 0.0035863 | 0.22253 | 0.10778
49 | 0.99815 | 0.0025878 | 0.29008 | 0.14049
50 | 0.99183 | 0.029544 | 0.17827 | 0.086338
51 | 0.99184 | 0.029484 | 0 | 0
52 | 0.9919 | 0.028921 | 0 | 0
53 | 0.99217 | 0.026806 | 0 | 0
54 | 0.99227 | 0.026071 | 0 | 0
55 | 0.99216 | 0.026867 | 0.14531 | 0.070378
56 | 0.99189 | 0.029055 | 0.26843 | 0.13001
57 | 0.99361 | 0.045301 | 0.35923 | 0.17398
58 | 0.99361 | 0.045377 | 0.13649 | 0.066104
59 | 0.9937 | 0.044524 | 0 | 0
60 | 0.99359 | 0.04512 | 0 | 0
61 | 0.99358 | 0.045198 | 0.14383 | 0.069658
62 | 0.99693 | 0.020377 | 0.18198 | 0.088137
63 | 0.99696 | 0.02014 | 0 | 0
64 | 0.99699 | 0.019922 | 0 | 0
65 | 0.99695 | 0.020125 | 0 | 0
66 | 0.99686 | 0.020812 | 0 | 0
67 | 0.99697 | 0.019797 | 0.20243 | 0.098043
68 | 0.99695 | 0.020154 | 0.074453 | 0.036059
69 | 0.99685 | 0.020934 | 0.17368 | 0.084116
70 | 0.99779 | 0.014339 | 0.13885 | 0.067249
71 | 0.9978 | 0.014269 | 0 | 0
72 | 0.99781 | 0.014231 | 0 | 0
73 | 0.9978 | 0.014241 | 0.07434 | 0.036004
74 | 0.99975 | -0.0019493 | 0.29989 | 0.14524
75 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.22197 | 0.10726 | -0.22197 | -0.1075 | 7.1477e-07 | -0.00024633 | 0.0071577 | 0.0071608 | 0.0071608 | 0.99424 | -0.017085 | 0.99424 | -0.017057 | 3.2549
1 | -0.22197 | -0.10726 | 0.22198 | 0.10121 | 1.7338e-05 | -0.0060419 | 0.0071577 | 0.0070831 | 0.0071577 | 0.99424 | -0.017085 | 0.99431 | -0.017719 | 3.2535
2 | -0.22198 | -0.10121 | 0.22198 | 0.10095 | 7.5636e-07 | -0.00026647 | 0.0070831 | 0.0070799 | 0.0070831 | 0.99431 | -0.017719 | 0.99432 | -0.017745 | 3.2196
3 | -0.27333 | -0.13238 | 0.27333 | 0.13172 | 2.8516e-06 | -0.00065864 | 0.0087826 | 0.0087743 | 0.0087826 | 0.99823 | 0.011149 | 0.99824 | 0.011059 | 3.9921
4 | 0.39934 | 0.16672 | -0.39923 | -0.17902 | 0.00010963 | -0.012302 | 0.012514 | 0.012656 | 0.012656 | 0.99824 | 0.011059 | 0.99798 | 0.012865 | 5.7527
5 | 1.1978 | 0.51586 | -1.1966 | -0.53049 | 0.0012027 | -0.01463 | 0.037713 | 0.037887 | 0.037887 | 0.99824 | 0.011059 | 0.99729 | 0.017844 | 17.2214
6 | -1.8704 | -0.8143 | 1.8738 | 0.79793 | 0.0033771 | -0.01638 | 0.058994 | 0.058795 | 0.058994 | 0.99824 | 0.011059 | 0.99995 | -0.00062186 | 26.8154
7 | 0.30373 | 0.13293 | -0.30368 | -0.14227 | 4.885e-05 | -0.0093372 | 0.0095903 | 0.0097019 | 0.0097019 | 0.99798 | 0.012865 | 0.99782 | 0.014061 | 4.4099
8 | 0.0955 | 0.046095 | -0.0955 | -0.046253 | 8.3257e-08 | -0.00015749 | 0.0030674 | 0.0030694 | 0.0030694 | 0.99798 | 0.012865 | 0.99798 | 0.012872 | 1.3952
9 | 1.0424 | 0.46678 | -1.0424 | -0.46733 | 3.4196e-05 | -0.00054625 | 0.03306 | 0.033067 | 0.033067 | 0.99729 | 0.017844 | 0.99725 | 0.018081 | 15.0304
10 | 0.15417 | 0.063711 | -0.15416 | -0.071995 | 1.1076e-05 | -0.0082841 | 0.0048286 | 0.0049252 | 0.0049252 | 0.99729 | 0.017844 | 0.99722 | 0.018339 | 2.2387
11 | -6.3803 | -2.7834 | 6.3806 | 2.7831 | 0.00028375 | -0.00029286 | 0.20096 | 0.20095 | 0.20096 | 0.99995 | -0.00062186 | 1 | 0 | 55.5128
12 | 3.2609 | 1.4215 | -3.2556 | -1.4291 | 0.0053989 | -0.0075294 | 0.1027 | 0.1028 | 0.1028 | 0.99995 | -0.00062186 | 0.99838 | 0.0106 | 46.7282
13 | 1.2455 | 0.56394 | -1.2439 | -0.5814 | 0.0015718 | -0.017457 | 0.039471 | 0.039687 | 0.039687 | 0.99995 | -0.00062186 | 0.99877 | 0.0091385 | 18.0396
14 | 0.30368 | 0.14227 | -0.30368 | -0.14284 | 3.0322e-06 | -0.00057231 | 0.0097019 | 0.0097089 | 0.0097089 | 0.99782 | 0.014061 | 0.99782 | 0.014142 | 4.4132
15 | 0.63277 | 0.26895 | -0.63275 | -0.26975 | 1.7857e-05 | -0.00079615 | 0.019903 | 0.019912 | 0.019912 | 0.99725 | 0.018081 | 0.99723 | 0.018257 | 9.0508
16 | 0.15416 | 0.071995 | -0.15415 | -0.07466 | 3.66e-06 | -0.0026645 | 0.0049252 | 0.0049584 | 0.0049584 | 0.99722 | 0.018339 | 0.9972 | 0.018537 | 2.2538
17 | 0.2132 | 0.099017 | -0.2132 | -0.099488 | 1.2251e-06 | -0.00047093 | 0.0068007 | 0.0068065 | 0.0068065 | 0.99782 | 0.014142 | 0.99781 | 0.014188 | 3.0938
18 | -2.8232 | -1.2417 | 2.8268 | 1.2348 | 0.0035722 | -0.0068625 | 0.089467 | 0.089375 | 0.089467 | 0.99516 | 0.033991 | 0.99635 | 0.02538 | 40.667
19 | 1.0985 | 0.47457 | -1.0974 | -0.49126 | 0.0011664 | -0.016684 | 0.034713 | 0.034912 | 0.034912 | 0.99516 | 0.033991 | 0.99416 | 0.041294 | 15.869
20 | 1.7247 | 0.76712 | -1.7244 | -0.76904 | 0.00034259 | -0.001921 | 0.054756 | 0.05478 | 0.05478 | 0.99516 | 0.033991 | 0.99497 | 0.035404 | 24.8998
21 | 0.34633 | 0.16767 | -0.34632 | -0.16773 | 1.1923e-05 | -5.6334e-05 | 0.011149 | 0.011149 | 0.011149 | 0.99635 | 0.02538 | 0.99632 | 0.025153 | 5.3092
22 | -3.1731 | -1.4025 | 3.18 | 1.3925 | 0.0068241 | -0.010009 | 0.10052 | 0.10038 | 0.10052 | 0.99635 | 0.02538 | 0.99838 | 0.0106 | 45.6891
23 | 1.0974 | 0.49126 | -1.097 | -0.49122 | 0.00040638 | 3.385e-05 | 0.034912 | 0.034915 | 0.034915 | 0.99416 | 0.041294 | 0.99376 | 0.038136 | 16.626
24 | 1.3212 | 0.57376 | -1.3211 | -0.57392 | 1.543e-05 | -0.00015185 | 0.04179 | 0.041792 | 0.041792 | 0.99497 | 0.035404 | 0.99496 | 0.035481 | 18.9962
25 | 0.075582 | 0.03657 | -0.075582 | -0.036606 | 3.1927e-07 | -3.597e-05 | 0.0024278 | 0.0024282 | 0.0024282 | 0.99838 | 0.0106 | 0.99838 | 0.010572 | 1.1563
26 | 0.35354 | 0.17036 | -0.35354 | -0.17123 | 6.262e-06 | -0.0008656 | 0.011343 | 0.011354 | 0.011354 | 0.99877 | 0.0091385 | 0.99875 | 0.0092919 | 5.1608
27 | 0.8904 | 0.41104 | -0.88706 | -0.41171 | 0.0033482 | -0.00067373 | 0.028345 | 0.028379 | 0.028379 | 0.99877 | 0.0091385 | 0.99478 | -0.019923 | 13.5138
28 | 0.80979 | 0.37429 | -0.80977 | -0.37488 | 2.2399e-05 | -0.00058469 | 0.025888 | 0.025895 | 0.025895 | 0.99478 | -0.019923 | 0.99475 | -0.019707 | 11.7706
29 | 1.1985 | 0.53687 | -1.1982 | -0.53682 | 0.00027897 | 4.4718e-05 | 0.037911 | 0.037912 | 0.037912 | 1 | 0 | 0.99975 | -0.0019817 | 18.0534
30 | 0.63275 | 0.26975 | -0.63259 | -0.2769 | 0.00016107 | -0.0071463 | 0.019912 | 0.019994 | 0.019994 | 0.99723 | 0.018257 | 0.99699 | 0.019922 | 9.0883
31 | 0.07434 | 0.034494 | -0.07434 | -0.03573 | 3.9269e-07 | -0.0012358 | 0.002371 | 0.0023862 | 0.0023862 | 0.99781 | 0.014188 | 0.99781 | 0.014231 | 1.0847
32 | 0.13886 | 0.064994 | -0.13885 | -0.066224 | 1.3643e-06 | -0.0012302 | 0.0044355 | 0.0044507 | 0.0044507 | 0.99781 | 0.014188 | 0.9978 | 0.014269 | 2.023
33 | 0.91545 | 0.40331 | -0.91419 | -0.40351 | 0.0012605 | -0.00019638 | 0.029059 | 0.02907 | 0.02907 | 0.99376 | 0.038136 | 0.9923 | 0.025883 | 13.8431
34 | 1.3211 | 0.57392 | -1.3205 | -0.58041 | 0.00066143 | -0.0064932 | 0.041792 | 0.041869 | 0.041869 | 0.99496 | 0.035481 | 0.99449 | 0.038863 | 19.0315
35 | 0.80977 | 0.37488 | -0.80961 | -0.37892 | 0.00015532 | -0.0040446 | 0.025895 | 0.025945 | 0.025945 | 0.99475 | -0.019707 | 0.99457 | -0.018181 | 11.7934
36 | 0.80961 | 0.37892 | -0.80957 | -0.37894 | 4.4217e-05 | -1.5835e-05 | 0.025945 | 0.025946 | 0.025946 | 0.99457 | -0.018181 | 0.99452 | -0.018588 | 12.3552
37 | 0.418 | 0.18929 | -0.41799 | -0.19027 | 9.8838e-06 | -0.0009817 | 0.013319 | 0.013331 | 0.013331 | 0.99452 | -0.018588 | 0.99449 | -0.018411 | 6.0596
38 | 0.41799 | 0.19027 | -0.41794 | -0.19578 | 5.5735e-05 | -0.0055024 | 0.013331 | 0.013398 | 0.013398 | 0.99449 | -0.018411 | 0.99437 | -0.017371 | 6.0901
39 | 0.41794 | 0.19578 | -0.41791 | -0.19584 | 2.1109e-05 | -6.4672e-05 | 0.013398 | 0.013399 | 0.013399 | 0.99437 | -0.017371 | 0.99432 | -0.017745 | 6.3806
40 | 0.29989 | 0.14503 | -0.29989 | -0.14524 | 1.1153e-06 | -0.00021509 | 0.0096188 | 0.0096215 | 0.0096215 | 0.99975 | -0.0019817 | 0.99975 | -0.0019493 | 4.3734
41 | 0.89834 | 0.39179 | -0.89765 | -0.40687 | 0.00068938 | -0.015076 | 0.028299 | 0.028478 | 0.028478 | 0.99975 | -0.0019817 | 0.99903 | 0.0034559 | 12.9446
42 | 0.59224 | 0.24758 | -0.59222 | -0.24852 | 1.8784e-05 | -0.00094244 | 0.018674 | 0.018685 | 0.018685 | 0.9923 | 0.025883 | 0.99227 | 0.026071 | 8.493
43 | 0.90663 | 0.38196 | -0.90602 | -0.3949 | 0.00060889 | -0.012949 | 0.028557 | 0.028708 | 0.028708 | 0.99449 | 0.038863 | 0.99385 | 0.043154 | 13.0489
44 | 0.41384 | 0.19845 | -0.41382 | -0.20042 | 1.9877e-05 | -0.0019711 | 0.013323 | 0.013348 | 0.013348 | 0.99449 | 0.038863 | 0.99444 | 0.039276 | 6.0671
45 | 0.16859 | 0.046658 | -0.16854 | -0.081474 | 5.413e-05 | -0.034816 | 0.005081 | 0.005439 | 0.005439 | 0.99385 | 0.043154 | 0.99354 | 0.044496 | 2.4723
46 | 0.73743 | 0.34825 | -0.73738 | -0.3499 | 5.311e-05 | -0.0016547 | 0.023688 | 0.023709 | 0.023709 | 0.99385 | 0.043154 | 0.99378 | 0.04375 | 10.7766
47 | 0.16854 | 0.081474 | -0.16853 | -0.081623 | 6.8544e-06 | -0.00014889 | 0.005439 | 0.005441 | 0.005441 | 0.99354 | 0.044496 | 0.9935 | 0.044227 | 2.5909
48 | 0.63967 | 0.30258 | -0.63966 | -0.30298 | 9.7066e-06 | -0.0004028 | 0.020555 | 0.02056 | 0.02056 | 0.99378 | 0.04375 | 0.99377 | 0.043875 | 9.3455
49 | 0.63966 | 0.30298 | -0.63961 | -0.30504 | 4.971e-05 | -0.0020595 | 0.02056 | 0.020586 | 0.020586 | 0.99377 | 0.043875 | 0.9937 | 0.044524 | 9.3573
50 | 0.29022 | 0.11422 | -0.29021 | -0.1153 | 4.9616e-06 | -0.0010857 | 0.009016 | 0.0090275 | 0.0090275 | 0.9986 | -1.0898e-05 | 0.99858 | 7.2796e-05 | 4.1034
51 | -0.67484 | -0.3005 | 0.67511 | 0.30027 | 0.00026983 | -0.00022658 | 0.021355 | 0.02135 | 0.021355 | 0.9986 | -1.0898e-05 | 0.99903 | 0.0034559 | 10.1691
52 | 0.29021 | 0.1153 | -0.2901 | -0.1404 | 0.00011848 | -0.025094 | 0.0090275 | 0.0093203 | 0.0093203 | 0.99858 | 7.2796e-05 | 0.9982 | 0.0028943 | 4.2365
53 | 0.22253 | 0.1066 | -0.22253 | -0.10778 | 3.3726e-06 | -0.0011807 | 0.0071299 | 0.0071447 | 0.0071447 | 0.99903 | 0.0034559 | 0.99901 | 0.0035863 | 3.2476
54 | 0.2901 | 0.1404 | -0.29008 | -0.14049 | 1.347e-05 | -9.5065e-05 | 0.0093203 | 0.0093216 | 0.0093216 | 0.9982 | 0.0028943 | 0.99815 | 0.0025878 | 4.4389
55 | -0.17827 | -0.086338 | 0.17827 | 0.085677 | 1.2478e-06 | -0.00066116 | 0.005765 | 0.0057566 | 0.005765 | 0.99183 | 0.029544 | 0.99184 | 0.029484 | 2.6205
56 | -0.17827 | -0.085677 | 0.17828 | 0.078719 | 1.2917e-05 | -0.0069583 | 0.0057566 | 0.0056718 | 0.0057566 | 0.99184 | 0.029484 | 0.9919 | 0.028921 | 2.6166
57 | 0.26844 | 0.12903 | -0.26843 | -0.13001 | 4.176e-06 | -0.00097536 | 0.0086681 | 0.0086804 | 0.0086804 | 0.9919 | 0.028921 | 0.99189 | 0.029055 | 3.9456
58 | -0.44672 | -0.20775 | 0.44689 | 0.19251 | 0.00017633 | -0.015242 | 0.014338 | 0.014156 | 0.014338 | 0.9919 | 0.028921 | 0.99227 | 0.026071 | 6.5173
59 | -0.14531 | -0.069553 | 0.14533 | 0.056012 | 1.6319e-05 | -0.013541 | 0.0046873 | 0.0045311 | 0.0046873 | 0.99217 | 0.026806 | 0.99227 | 0.026071 | 2.1306
60 | 0.14531 | 0.069553 | -0.14531 | -0.070378 | 1.0317e-06 | -0.00082461 | 0.0046873 | 0.0046977 | 0.0046977 | 0.99217 | 0.026806 | 0.99216 | 0.026867 | 2.1353
61 | 0.13649 | 0.065001 | -0.13649 | -0.066104 | 1.2091e-06 | -0.0011029 | 0.0043922 | 0.004406 | 0.004406 | 0.99361 | 0.045301 | 0.99361 | 0.045377 | 2.0027
62 | -0.63955 | -0.30746 | 0.63961 | 0.30504 | 5.8555e-05 | -0.0024189 | 0.020617 | 0.020586 | 0.020617 | 0.99361 | 0.045301 | 0.9937 | 0.044524 | 9.3712
63 | 0.14383 | 0.068476 | -0.14383 | -0.068589 | 3.723e-06 | -0.00011261 | 0.0046282 | 0.0046296 | 0.0046296 | 0.99361 | 0.045301 | 0.99359 | 0.04512 | 2.2046
64 | 0.14383 | 0.068589 | -0.14383 | -0.069658 | 1.3025e-06 | -0.0010695 | 0.0046296 | 0.0046431 | 0.0046431 | 0.99359 | 0.04512 | 0.99358 | 0.045198 | 2.1105
65 | -0.18198 | -0.088137 | 0.18199 | 0.085468 | 5.1199e-06 | -0.0026686 | 0.005855 | 0.0058217 | 0.005855 | 0.99693 | 0.020377 | 0.99696 | 0.02014 | 2.6613
66 | -0.18199 | -0.085468 | 0.18199 | 0.082783 | 5.0935e-06 | -0.0026852 | 0.0058217 | 0.005789 | 0.0058217 | 0.99696 | 0.02014 | 0.99699 | 0.019922 | 2.6462
67 | 0.074456 | 0.026891 | -0.074453 | -0.035267 | 2.5715e-06 | -0.0083753 | 0.0022922 | 0.0023855 | 0.0023855 | 0.99699 | 0.019922 | 0.99695 | 0.020125 | 1.0843
68 | 0.1737 | 0.069235 | -0.17368 | -0.082701 | 2.2842e-05 | -0.013466 | 0.0054143 | 0.0055706 | 0.0055706 | 0.99699 | 0.019922 | 0.99686 | 0.020812 | 2.5321
69 | 0.20244 | 0.097985 | -0.20243 | -0.098043 | 3.822e-06 | -5.7623e-05 | 0.0065121 | 0.0065128 | 0.0065128 | 0.99699 | 0.019922 | 0.99697 | 0.019797 | 3.1013
70 | 0.074453 | 0.035267 | -0.074453 | -0.036059 | 2.5478e-07 | -0.00079253 | 0.0023855 | 0.0023954 | 0.0023954 | 0.99695 | 0.020125 | 0.99695 | 0.020154 | 1.0888
71 | 0.17368 | 0.082701 | -0.17368 | -0.084116 | 2.4793e-06 | -0.0014147 | 0.0055706 | 0.0055883 | 0.0055883 | 0.99686 | 0.020812 | 0.99685 | 0.020934 | 2.5402
72 | -0.13885 | -0.067249 | 0.13885 | 0.066224 | 1.1441e-06 | -0.0010251 | 0.0044636 | 0.0044507 | 0.0044636 | 0.99779 | 0.014339 | 0.9978 | 0.014269 | 2.0289
73 | 0.07434 | 0.03573 | -0.07434 | -0.036004 | 8.7972e-08 | -0.00027471 | 0.0023862 | 0.0023897 | 0.0023897 | 0.99781 | 0.014231 | 0.9978 | 0.014241 | 1.0862

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.9912 | 3.5233

## res_load
| p_mw | q_mvar
0 | 0.22197 | 0.1075
1 | 0.27333 | 0.13238
2 | 0.0955 | 0.046253
3 | 0.40959 | 0.19838
4 | 0.09048 | 0.043821
5 | 0.4032 | 0.19528
6 | 0.075582 | 0.036606
7 | 0.35354 | 0.17123
8 | 0.077264 | 0.037421
9 | 0.39813 | 0.19282
10 | 0.34632 | 0.16773
11 | 0.15415 | 0.07466
12 | 0.18152 | 0.087914
13 | 0.39157 | 0.18965
14 | 0.19593 | 0.094893
15 | 0.32195 | 0.15593
16 | 0.41382 | 0.20042
17 | 0.097705 | 0.047321
18 | 0.16853 | 0.081623
19 | 0.38463 | 0.18628
20 | 0.22253 | 0.10778
21 | 0.29008 | 0.14049
22 | 0.17827 | 0.086338
23 | 0.14531 | 0.070378
24 | 0.26843 | 0.13001
25 | 0.35923 | 0.17398
26 | 0.13649 | 0.066104
27 | 0.14383 | 0.069658
28 | 0.18198 | 0.088137
29 | 0.20243 | 0.098043
30 | 0.074453 | 0.036059
31 | 0.17368 | 0.084116
32 | 0.13885 | 0.067249
33 | 0.07434 | 0.036004
34 | 0.29989 | 0.14524

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1