## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_35_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_35_0_node_35 | 20 | n |  | TRUE
2 | bus_MV_35_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_35_0_node_75 | 20 | n |  | TRUE
4 | bus_MV_35_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_35_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_35_0_node_47 | 20 | n |  | TRUE
7 | bus_MV_35_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_35_0_node_36 | 20 | n |  | TRUE
9 | bus_MV_35_0_node_5 | 20 | n |  | TRUE
10 | bus_MV_35_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_35_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_35_0_node_184 | 20 | n |  | TRUE
13 | bus_MV_35_0_node_8 | 20 | n |  | TRUE
14 | bus_MV_35_0_node_21 | 20 | n |  | TRUE
15 | bus_MV_35_0_node_13 | 20 | n |  | TRUE
16 | bus_MV_35_0_node_15 | 20 | n |  | TRUE
17 | bus_MV_35_0_node_14 | 20 | n |  | TRUE
18 | bus_MV_35_0_node_16 | 20 | n |  | TRUE
19 | bus_MV_35_0_node_19 | 20 | n |  | TRUE
20 | bus_MV_35_0_node_20 | 20 | n |  | TRUE
21 | bus_MV_35_0_node_18 | 20 | n |  | TRUE
22 | bus_MV_35_0_node_149 | 20 | n |  | TRUE
23 | bus_MV_35_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_35_0_node_23 | 20 | n |  | TRUE
25 | bus_MV_35_0_node_192 | 20 | n |  | TRUE
26 | bus_MV_35_0_node_34 | 20 | n |  | TRUE
27 | bus_MV_35_0_node_22 | 20 | n |  | TRUE
28 | bus_MV_35_0_node_24 | 20 | n |  | TRUE
29 | bus_MV_35_0_node_25 | 20 | n |  | TRUE
30 | bus_MV_35_0_node_29 | 20 | n |  | TRUE
31 | bus_MV_35_0_node_28 | 20 | n |  | TRUE
32 | bus_MV_35_0_node_26 | 20 | n |  | TRUE
33 | bus_MV_35_0_node_27 | 20 | n |  | TRUE
34 | bus_MV_35_0_node_30 | 20 | n |  | TRUE
35 | bus_MV_35_0_node_31 | 20 | n |  | TRUE
36 | bus_MV_35_0_node_143 | 20 | n |  | TRUE
37 | bus_MV_35_0_node_145 | 20 | n |  | TRUE
38 | bus_MV_35_0_node_32 | 20 | n |  | TRUE
39 | bus_MV_35_0_node_33 | 20 | n |  | TRUE
40 | bus_MV_35_0_node_142 | 20 | n |  | TRUE
41 | bus_MV_35_0_node_37 | 20 | n |  | TRUE
42 | bus_MV_35_0_node_38 | 20 | n |  | TRUE
43 | bus_MV_35_0_node_39 | 20 | n |  | TRUE
44 | bus_MV_35_0_node_41 | 20 | n |  | TRUE
45 | bus_MV_35_0_node_40 | 20 | n |  | TRUE
46 | bus_MV_35_0_node_42 | 20 | n |  | TRUE
47 | bus_MV_35_0_node_43 | 20 | n |  | TRUE
48 | bus_MV_35_0_node_44 | 20 | n |  | TRUE
49 | bus_MV_35_0_node_183 | 20 | n |  | TRUE
50 | bus_MV_35_0_node_45 | 20 | n |  | TRUE
51 | bus_MV_35_0_node_46 | 20 | n |  | TRUE
52 | bus_MV_35_0_node_80 | 20 | n |  | TRUE
53 | bus_MV_35_0_node_73 | 20 | n |  | TRUE
54 | bus_MV_35_0_node_74 | 20 | n |  | TRUE
55 | bus_MV_35_0_node_76 | 20 | n |  | TRUE
56 | bus_MV_35_0_node_188 | 20 | n |  | TRUE
57 | bus_MV_35_0_node_77 | 20 | n |  | TRUE
58 | bus_MV_35_0_node_78 | 20 | n |  | TRUE
59 | bus_MV_35_0_node_191 | 20 | n |  | TRUE
60 | bus_MV_35_0_node_79 | 20 | n |  | TRUE
61 | bus_MV_35_0_node_139 | 20 | n |  | TRUE
62 | bus_MV_35_0_node_81 | 20 | n |  | TRUE
63 | bus_MV_35_0_node_82 | 20 | n |  | TRUE
64 | bus_MV_35_0_node_186 | 20 | n |  | TRUE
65 | bus_MV_35_0_node_133 | 20 | n |  | TRUE
66 | bus_MV_35_0_node_135 | 20 | n |  | TRUE
67 | bus_MV_35_0_node_136 | 20 | n |  | TRUE
68 | bus_MV_35_0_node_137 | 20 | n |  | TRUE
69 | bus_MV_35_0_node_138 | 20 | n |  | TRUE
70 | bus_MV_35_0_node_140 | 20 | n |  | TRUE
71 | bus_MV_35_0_node_141 | 20 | n |  | TRUE
72 | bus_MV_35_0_node_144 | 20 | n |  | TRUE
73 | bus_MV_35_0_node_146 | 20 | n |  | TRUE
74 | bus_MV_35_0_node_147 | 20 | n |  | TRUE
75 | bus_MV_35_0_node_148 | 20 | n |  | TRUE
76 | bus_MV_35_0_node_185 | 20 | n |  | TRUE
77 | bus_MV_35_0_node_187 | 20 | n |  | TRUE
78 | bus_HV_35_0_node_45 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_35_0_load_0 | 0 | 0.06539 | 0.03167 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_35_0_load_1 | 2 | 0.069465 | 0.033643 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_35_0_load_2 | 4 | 0.13562 | 0.065684 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_35_0_load_47 | 6 | 0.051528 | 0.024956 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_35_0_load_36 | 8 | 0.16148 | 0.07821 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_35_0_load_5 | 9 | 0.12017 | 0.058199 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_35_0_load_184 | 12 | 0.14132 | 0.068444 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_35_0_load_8 | 13 | 0.12955 | 0.062744 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_35_0_load_13 | 15 | 0.072863 | 0.035289 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_35_0_load_149 | 22 | 0.076294 | 0.036951 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_35_0_load_23 | 24 | 0.1189 | 0.057584 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_35_0_load_192 | 25 | 0.16103 | 0.07799 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_35_0_load_34 | 26 | 0.13727 | 0.066482 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_35_0_load_22 | 27 | 0.11261 | 0.054538 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_35_0_load_24 | 28 | 0.14214 | 0.068841 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_35_0_load_29 | 30 | 0.13967 | 0.067647 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_35_0_load_26 | 32 | 0.1194 | 0.05783 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_35_0_load_30 | 34 | 0.088583 | 0.042903 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_35_0_load_31 | 35 | 0.094284 | 0.045664 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_35_0_load_32 | 38 | 0.11786 | 0.057081 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_35_0_load_39 | 43 | 0.15389 | 0.07453 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_35_0_load_44 | 48 | 0.087353 | 0.042307 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_35_0_load_183 | 49 | 0.15284 | 0.074025 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_35_0_load_45 | 50 | 0.15869 | 0.076858 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_35_0_load_80 | 52 | 0.11717 | 0.056749 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_35_0_load_73 | 53 | 0.10153 | 0.049173 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_35_0_load_188 | 56 | 0.088466 | 0.042846 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_35_0_load_77 | 57 | 0.099533 | 0.048206 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_35_0_load_191 | 59 | 0.14001 | 0.067811 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_35_0_load_81 | 62 | 0.13759 | 0.066638 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_35_0_load_82 | 63 | 0.15689 | 0.075985 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_35_0_load_133 | 65 | 0.33406 | 0.16179 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_35_0_load_136 | 67 | 0.11561 | 0.055991 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_35_0_load_138 | 69 | 0.15901 | 0.07701 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_35_0_load_140 | 70 | 0.24433 | 0.11833 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_35_0_load_144 | 72 | 0.44918 | 0.21755 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_35_0_load_146 | 73 | 0.078823 | 0.038176 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_35_0_load_147 | 74 | 0.32829 | 0.159 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_35_0_load_148 | 75 | 0.24313 | 0.11775 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_35_0_line_0 |  | 0 | 1 | 4.6943 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_35_0_line_1 |  | 1 | 26 | 0.032153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_35_0_line_2 |  | 2 | 3 | 2.5605 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_35_0_line_3 |  | 3 | 53 | 0.2039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_35_0_line_4 |  | 4 | 5 | 0.007778 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_35_0_line_5 |  | 4 | 6 | 0.9994 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
6 | MV_35_0_line_6 |  | 5 | 7 | 0.38809 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
7 | MV_35_0_line_7 |  | 6 | 52 | 2.1771 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_35_0_line_8 |  | 7 | 8 | 0.091474 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
9 | MV_35_0_line_9 |  | 8 | 41 | 0.041242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_35_0_line_10 |  | 8 | 23 | 0.13477 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_35_0_line_11 |  | 9 | 10 | 0.14838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_35_0_line_12 |  | 10 | 11 | 0.68723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_35_0_line_13 |  | 10 | 12 | 0.2001 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_35_0_line_14 |  | 11 | 13 | 0.14371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_35_0_line_15 |  | 11 | 14 | 0.58312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_35_0_line_16 |  | 12 | 42 | 0.05032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_35_0_line_17 |  | 14 | 27 | 0.076473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_35_0_line_18 |  | 14 | 16 | 0.61991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_35_0_line_19 |  | 15 | 16 | 0.036113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_35_0_line_20 |  | 16 | 20 | 0.11784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_35_0_line_21 |  | 17 | 18 | 0.19289 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_35_0_line_22 |  | 17 | 19 | 0.30203 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
23 | MV_35_0_line_23 |  | 18 | 21 | 0.12974 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_35_0_line_24 |  | 18 | 22 | 0.01411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_35_0_line_25 |  | 19 | 25 | 0.16298 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
26 | MV_35_0_line_26 |  | 20 | 26 | 0.035673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_35_0_line_27 |  | 21 | 24 | 0.0212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_35_0_line_28 |  | 21 | 23 | 0.3011 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
29 | MV_35_0_line_29 |  | 25 | 31 | 0.10297 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_35_0_line_30 |  | 28 | 29 | 0.069027 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_35_0_line_31 |  | 28 | 30 | 0.061601 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
32 | MV_35_0_line_32 |  | 29 | 31 | 0.016043 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
33 | MV_35_0_line_33 |  | 30 | 34 | 0.013882 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_35_0_line_34 |  | 30 | 35 | 0.026115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_35_0_line_35 |  | 31 | 33 | 0.061564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_35_0_line_36 |  | 32 | 33 | 0.074573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_35_0_line_37 |  | 34 | 36 | 0.022704 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
38 | MV_35_0_line_38 |  | 35 | 37 | 0.02973 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_35_0_line_39 |  | 36 | 73 | 0.032032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_35_0_line_40 |  | 36 | 71 | 0.013357 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_35_0_line_41 |  | 37 | 75 | 0.034136 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_35_0_line_42 |  | 38 | 39 | 0.018546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_35_0_line_43 |  | 39 | 40 | 0.055668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_35_0_line_44 |  | 40 | 51 | 0.39382 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
45 | MV_35_0_line_45 |  | 40 | 70 | 0.07954 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
46 | MV_35_0_line_46 |  | 41 | 42 | 0.27611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_35_0_line_47 |  | 43 | 44 | 0.02362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_35_0_line_48 |  | 43 | 45 | 0.26615 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_35_0_line_49 |  | 44 | 47 | 0.033839 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_35_0_line_50 |  | 45 | 46 | 0.22366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_35_0_line_51 |  | 46 | 48 | 0.073717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_35_0_line_52 |  | 47 | 49 | 0.094801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_35_0_line_53 |  | 48 | 50 | 0.12394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_35_0_line_54 |  | 50 | 51 | 0.12683 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_35_0_line_55 |  | 52 | 60 | 0.034574 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_35_0_line_56 |  | 53 | 54 | 0.005442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_35_0_line_57 |  | 54 | 55 | 0.42254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_35_0_line_58 |  | 55 | 56 | 0.078509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_35_0_line_59 |  | 56 | 64 | 0.14114 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_35_0_line_60 |  | 56 | 76 | 0.11567 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_35_0_line_61 |  | 57 | 58 | 0.072455 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
62 | MV_35_0_line_62 |  | 57 | 59 | 2.7085 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
63 | MV_35_0_line_63 |  | 58 | 60 | 0.13996 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
64 | MV_35_0_line_64 |  | 59 | 77 | 0.081806 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_35_0_line_65 |  | 60 | 61 | 1.9659 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_35_0_line_66 |  | 61 | 66 | 0.31918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_35_0_line_67 |  | 61 | 69 | 0.020025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_35_0_line_68 |  | 62 | 63 | 0.093499 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_35_0_line_69 |  | 63 | 64 | 0.10282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_35_0_line_70 |  | 65 | 66 | 0.065611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_35_0_line_71 |  | 67 | 68 | 0.0088849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_35_0_line_72 |  | 68 | 69 | 0.030607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_35_0_line_73 |  | 70 | 71 | 0.03209 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
74 | MV_35_0_line_74 |  | 71 | 72 | 0.021436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_35_0_line_75 |  | 72 | 74 | 0.050858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_35_0_line_76 |  | 76 | 77 | 0.26814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_35_0_trafo_45 | 25 MVA 110/20 kV | 78 | 50 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2710416.6264 | 1252387.2583
1 | 2714641.7026 | 1254433.0671
2 | 2716806.1974 | 1247900.5938
3 | 2717500.2994 | 1250365.2509
4 | 2715941.0054 | 1254336.254
5 | 2715935.0919 | 1254331.4898
6 | 2716752.2524 | 1253752.5712
7 | 2715555.1805 | 1254294.3009
8 | 2715464.0011 | 1254303.4972
9 | 2715759.8985 | 1254940.6243
10 | 2715662.4455 | 1254828.4918
11 | 2715322.8926 | 1255278.5298
12 | 2715558.8834 | 1254657.2806
13 | 2715276.0016 | 1255406.2808
14 | 2714819.4925 | 1254984.2214
15 | 2714830.5511 | 1254412.3523
16 | 2714801.7753 | 1254434.2797
17 | 2714856.5038 | 1254394.3737
18 | 2715020.9537 | 1254365.3404
19 | 2714999.4002 | 1254163.4958
20 | 2714706.957 | 1254451.1569
21 | 2715089.5176 | 1254385.9119
22 | 2715034.388 | 1254361.7375
23 | 2715330.9339 | 1254309.1651
24 | 2715091.1911 | 1254404.6269
25 | 2715091.0306 | 1254028.7173
26 | 2714673.4025 | 1254438.9524
27 | 2714784.9467 | 1255045.0699
28 | 2715168.5175 | 1253857.7457
29 | 2715145.3368 | 1253922.7611
30 | 2715214.0474 | 1253816.2516
31 | 2715138.4813 | 1253937.2734
32 | 2715265.731 | 1253976.915
33 | 2715191.9173 | 1253967.6157
34 | 2715223.8796 | 1253806.4518
35 | 2715227.9526 | 1253838.3565
36 | 2715245.7869 | 1253800.4891
37 | 2715257.2018 | 1253843.681
38 | 2715201.803 | 1253704.7639
39 | 2715208.1347 | 1253687.3279
40 | 2715243.1116 | 1253685.9515
41 | 2715478.3849 | 1254342.1326
42 | 2715543.3456 | 1254609.4147
43 | 2715558.3039 | 1252733.3885
44 | 2715534.6155 | 1252733.1041
45 | 2715587.0136 | 1252997.9826
46 | 2715656.4445 | 1253171.1503
47 | 2715500.6945 | 1252732.2976
48 | 2715675.8563 | 1253242.256
49 | 2715475.3706 | 1252642.1169
50 | 2715631.7674 | 1253354.0896
51 | 2715547.1387 | 1253435.6294
52 | 2718928.4393 | 1253691.0547
53 | 2717680.6332 | 1250456.8169
54 | 2717685.8415 | 1250458.4439
55 | 2717956.2913 | 1250638.0161
56 | 2718024.8277 | 1250676.4908
57 | 2718994.916 | 1253513.0596
58 | 2719004.6685 | 1253582.4371
59 | 2717881.5041 | 1251043.9597
60 | 2718960.2375 | 1253704.8495
61 | 2718419.8875 | 1255595.0204
62 | 2718158.8633 | 1250886.2165
63 | 2718169.6492 | 1250793.342
64 | 2718068.0434 | 1250810.854
65 | 2718382.5843 | 1255692.0358
66 | 2718336.2801 | 1255645.4146
67 | 2718458.7357 | 1255629.2936
68 | 2718463.0334 | 1255621.5173
69 | 2718436.9519 | 1255605.5001
70 | 2715254.7832 | 1253764.3452
71 | 2715258.4808 | 1253796.2214
72 | 2715278.7964 | 1253789.3806
73 | 2715239.0679 | 1253769.1724
74 | 2715290.2211 | 1253747.3797
75 | 2715288.9258 | 1253831.076
76 | 2717953.9533 | 1250767.9014
77 | 2717929.7685 | 1250977.9086
78 | 2715631.7674 | 1253354.0896

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99194 | -0.12241 | 0.06539 | 0.03167
1 | 0.99253 | -0.11752 | 0 | 0
2 | 0.98489 | -0.33738 | 0.069465 | 0.033643
3 | 0.98524 | -0.33483 | 0 | 0
4 | 0.99381 | -0.12272 | 0.13562 | 0.065684
5 | 0.99382 | -0.12263 | 0 | 0
6 | 0.99197 | -0.17128 | 0.051528 | 0.024956
7 | 0.99418 | -0.11834 | 0 | 0
8 | 0.99426 | -0.11731 | 0.16148 | 0.07821
9 | 0.99364 | -0.1174 | 0.12017 | 0.058199
10 | 0.99366 | -0.1176 | 0 | 0
11 | 0.99321 | -0.11503 | 0 | 0
12 | 0.9939 | -0.11516 | 0.14132 | 0.068444
13 | 0.99319 | -0.11482 | 0.12955 | 0.062744
14 | 0.99279 | -0.11918 | 0 | 0
15 | 0.99257 | -0.1178 | 0.072863 | 0.035289
16 | 0.99257 | -0.11783 | 0 | 0
17 | 0.99536 | -0.10314 | 0 | 0
18 | 0.99507 | -0.10692 | 0 | 0
19 | 0.99582 | -0.097164 | 0 | 0
20 | 0.99254 | -0.11761 | 0 | 0
21 | 0.99488 | -0.1094 | 0 | 0
22 | 0.99507 | -0.10691 | 0.076294 | 0.036951
23 | 0.99445 | -0.11488 | 0 | 0
24 | 0.99487 | -0.10937 | 0.1189 | 0.057584
25 | 0.99635 | -0.08242 | 0.16103 | 0.07799
26 | 0.99253 | -0.11754 | 0.13727 | 0.066482
27 | 0.99278 | -0.11908 | 0.11261 | 0.054538
28 | 0.99666 | -0.078436 | 0.14214 | 0.068841
29 | 0.99654 | -0.079929 | 0 | 0
30 | 0.99689 | -0.072085 | 0.13967 | 0.067647
31 | 0.99652 | -0.080276 | 0 | 0
32 | 0.9965 | -0.080094 | 0.1194 | 0.05783
33 | 0.99651 | -0.080197 | 0 | 0
34 | 0.99692 | -0.071736 | 0.088583 | 0.042903
35 | 0.99688 | -0.071981 | 0.094284 | 0.045664
36 | 0.99702 | -0.069021 | 0 | 0
37 | 0.99687 | -0.072071 | 0 | 0
38 | 0.99733 | -0.065048 | 0.11786 | 0.057081
39 | 0.99733 | -0.065074 | 0 | 0
40 | 0.99734 | -0.065149 | 0 | 0
41 | 0.99422 | -0.11708 | 0 | 0
42 | 0.99395 | -0.11547 | 0 | 0
43 | 0.99967 | 0.00036226 | 0.15389 | 0.07453
44 | 0.99966 | 0.00040043 | 0 | 0
45 | 0.99982 | 0.0014352 | 0 | 0
46 | 0.99991 | 0.00070837 | 0 | 0
47 | 0.99965 | 0.0004566 | 0 | 0
48 | 0.99994 | 0.00048553 | 0.087353 | 0.042307
49 | 0.99964 | 0.00062323 | 0.15284 | 0.074025
50 | 1 | 0 | -5.4884 | -2.4681
51 | 0.99966 | -0.0041224 | 0 | 0
52 | 0.98808 | -0.27419 | 0.11717 | 0.056749
53 | 0.98526 | -0.33493 | 0.10153 | 0.049173
54 | 0.98526 | -0.33494 | 0 | 0
55 | 0.98535 | -0.33548 | 0 | 0
56 | 0.98537 | -0.33555 | 0.088466 | 0.042846
57 | 0.98796 | -0.27565 | 0.099533 | 0.048206
58 | 0.98799 | -0.27527 | 0 | 0
59 | 0.98577 | -0.33514 | 0.14001 | 0.067811
60 | 0.98805 | -0.27451 | 0 | 0
61 | 0.98572 | -0.29133 | 0 | 0
62 | 0.98522 | -0.33589 | 0.13759 | 0.066638
63 | 0.98525 | -0.33573 | 0.15689 | 0.075985
64 | 0.98528 | -0.3361 | 0 | 0
65 | 0.98556 | -0.28986 | 0.33406 | 0.16179
66 | 0.98559 | -0.29012 | 0 | 0
67 | 0.98571 | -0.2912 | 0.11561 | 0.055991
68 | 0.98571 | -0.29122 | 0 | 0
69 | 0.98572 | -0.29126 | 0.15901 | 0.07701
70 | 0.99713 | -0.067691 | 0.24433 | 0.11833
71 | 0.99705 | -0.068672 | 0 | 0
72 | 0.99703 | -0.068473 | 0.44918 | 0.21755
73 | 0.99702 | -0.068991 | 0.078823 | 0.038176
74 | 0.997 | -0.068274 | 0.32829 | 0.159
75 | 0.99685 | -0.071972 | 0.24313 | 0.11775
76 | 0.98549 | -0.33453 | 0 | 0
77 | 0.98568 | -0.33591 | 0 | 0
78 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.06539 | -0.03167 | 0.065426 | 0.026175 | 3.6209e-05 | -0.0054947 | 0.0021144 | 0.0020495 | 0.0021144 | 0.99194 | -0.12241 | 0.99253 | -0.11752 | 1.0069
1 | -0.065426 | -0.026175 | 0.065426 | 0.025419 | 1.7959e-07 | -0.00075621 | 0.0020495 | 0.0020415 | 0.0020495 | 0.99253 | -0.11752 | 0.99253 | -0.11754 | 0.9316
2 | -0.069465 | -0.033643 | 0.069488 | 0.030692 | 2.2966e-05 | -0.0029518 | 0.0022623 | 0.0022258 | 0.0022623 | 0.98489 | -0.33738 | 0.98524 | -0.33483 | 1.0773
3 | -0.069488 | -0.030692 | 0.069489 | 0.025966 | 1.3159e-06 | -0.0047254 | 0.0022258 | 0.0021735 | 0.0022258 | 0.98524 | -0.33483 | 0.98526 | -0.33493 | 1.0117
4 | -1.7166 | -0.78044 | 1.7166 | 0.78018 | 1.127e-05 | -0.00025535 | 0.054774 | 0.054771 | 0.054774 | 0.99381 | -0.12272 | 0.99382 | -0.12263 | 15.131
5 | 1.581 | 0.71476 | -1.5787 | -0.71333 | 0.002331 | 0.0014281 | 0.050399 | 0.050413 | 0.050413 | 0.99381 | -0.12272 | 0.99197 | -0.17128 | 14.4038
6 | -1.7166 | -0.78018 | 1.7172 | 0.76744 | 0.0005607 | -0.012747 | 0.054771 | 0.054614 | 0.054771 | 0.99382 | -0.12263 | 0.99418 | -0.11834 | 15.1301
7 | 1.5271 | 0.68837 | -1.5224 | -0.68562 | 0.0047524 | 0.0027543 | 0.048748 | 0.04878 | 0.04878 | 0.99197 | -0.17128 | 0.98808 | -0.27419 | 13.9371
8 | -1.7172 | -0.76744 | 1.7173 | 0.76443 | 0.00013169 | -0.0030062 | 0.054614 | 0.054577 | 0.054614 | 0.99418 | -0.11834 | 0.99426 | -0.11731 | 15.0868
9 | 0.78011 | 0.31797 | -0.78008 | -0.31893 | 3.2953e-05 | -0.00096361 | 0.024459 | 0.02447 | 0.02447 | 0.99426 | -0.11731 | 0.99422 | -0.11708 | 11.1226
10 | -2.6589 | -1.1606 | 2.6594 | 1.1564 | 0.00046155 | -0.0042359 | 0.084233 | 0.08418 | 0.084233 | 0.99426 | -0.11731 | 0.99445 | -0.11488 | 23.2688
11 | -0.12017 | -0.058199 | 0.12017 | 0.054702 | 2.947e-06 | -0.003497 | 0.003879 | 0.0038358 | 0.003879 | 0.99364 | -0.1174 | 0.99366 | -0.1176 | 1.7632
12 | 0.51819 | 0.20355 | -0.51794 | -0.21967 | 0.00024261 | -0.016122 | 0.016174 | 0.016352 | 0.016352 | 0.99366 | -0.1176 | 0.99321 | -0.11503 | 7.4327
13 | -0.63836 | -0.25825 | 0.6385 | 0.25811 | 0.00014266 | -0.00014655 | 0.020005 | 0.020003 | 0.020005 | 0.99366 | -0.1176 | 0.9939 | -0.11516 | 9.5264
14 | 0.12955 | 0.05936 | -0.12955 | -0.062744 | 3.3243e-06 | -0.0033838 | 0.0041419 | 0.0041838 | 0.0041838 | 0.99321 | -0.11503 | 0.99319 | -0.11482 | 1.9017
15 | 0.38839 | 0.16031 | -0.38824 | -0.1609 | 0.00015505 | -0.00058931 | 0.012212 | 0.01222 | 0.01222 | 0.99321 | -0.11503 | 0.99279 | -0.11918 | 5.819
16 | -0.77982 | -0.32655 | 0.77986 | 0.32538 | 4.0483e-05 | -0.0011749 | 0.024555 | 0.024542 | 0.024555 | 0.9939 | -0.11516 | 0.99395 | -0.11547 | 11.1615
17 | 0.11261 | 0.052739 | -0.11261 | -0.054538 | 1.3429e-06 | -0.0017992 | 0.0036156 | 0.0036381 | 0.0036381 | 0.99279 | -0.11918 | 0.99278 | -0.11908 | 1.6537
18 | 0.27563 | 0.10817 | -0.27557 | -0.12273 | 6.2485e-05 | -0.014567 | 0.0086095 | 0.0087734 | 0.0087734 | 0.99279 | -0.11918 | 0.99257 | -0.11783 | 3.9879
19 | -0.072863 | -0.035289 | 0.072863 | 0.03444 | 2.6607e-07 | -0.00084939 | 0.0023546 | 0.0023439 | 0.0023546 | 0.99257 | -0.1178 | 0.99257 | -0.11783 | 1.0703
20 | 0.2027 | 0.088292 | -0.2027 | -0.091062 | 6.5378e-06 | -0.00277 | 0.0064303 | 0.0064629 | 0.0064629 | 0.99257 | -0.11783 | 0.99254 | -0.11761 | 2.9377
21 | 2.8568 | 1.2305 | -2.8561 | -1.2365 | 0.00075886 | -0.0060027 | 0.090213 | 0.090289 | 0.090289 | 0.99536 | -0.10314 | 0.99507 | -0.10692 | 24.9416
22 | -2.8568 | -1.2305 | 2.858 | 1.2211 | 0.0011857 | -0.0094087 | 0.090213 | 0.090096 | 0.090213 | 0.99536 | -0.10314 | 0.99582 | -0.097164 | 24.9208
23 | 2.7798 | 1.1999 | -2.7793 | -1.204 | 0.00048375 | -0.0040548 | 0.087835 | 0.087886 | 0.087886 | 0.99507 | -0.10692 | 0.99488 | -0.1094 | 24.278
24 | 0.076294 | 0.036617 | -0.076294 | -0.036951 | 1.1373e-07 | -0.00033354 | 0.0024551 | 0.0024593 | 0.0024593 | 0.99507 | -0.10692 | 0.99507 | -0.10691 | 1.1178
25 | -2.858 | -1.2211 | 2.8592 | 1.2223 | 0.0012144 | 0.0011858 | 0.090096 | 0.090094 | 0.090096 | 0.99582 | -0.097164 | 0.99635 | -0.08242 | 25.7417
26 | 0.2027 | 0.091062 | -0.20269 | -0.0919 | 1.9923e-06 | -0.00083848 | 0.0064629 | 0.0064729 | 0.0064729 | 0.99254 | -0.11761 | 0.99253 | -0.11754 | 2.9422
27 | 0.1189 | 0.057083 | -0.1189 | -0.057584 | 4.1517e-07 | -0.00050088 | 0.0038269 | 0.0038332 | 0.0038332 | 0.99488 | -0.1094 | 0.99487 | -0.10937 | 1.7424
28 | 2.6604 | 1.1469 | -2.6594 | -1.1564 | 0.0010291 | -0.0094719 | 0.084062 | 0.08418 | 0.08418 | 0.99488 | -0.1094 | 0.99445 | -0.11488 | 23.2542
29 | -3.0203 | -1.3003 | 3.0207 | 1.2971 | 0.00045124 | -0.0031794 | 0.095272 | 0.095232 | 0.095272 | 0.99635 | -0.08242 | 0.99652 | -0.080276 | 26.3182
30 | 3.1405 | 1.3491 | -3.1402 | -1.3512 | 0.00032686 | -0.0021145 | 0.099001 | 0.099028 | 0.099028 | 0.99666 | -0.078436 | 0.99654 | -0.079929 | 27.3558
31 | -3.2827 | -1.418 | 3.2833 | 1.4186 | 0.00060661 | 0.00061692 | 0.10357 | 0.10357 | 0.10357 | 0.99666 | -0.078436 | 0.99689 | -0.072085 | 29.5918
32 | 3.1402 | 1.3512 | -3.1401 | -1.3517 | 7.5994e-05 | -0.00049134 | 0.099028 | 0.099034 | 0.099034 | 0.99654 | -0.079929 | 0.99652 | -0.080276 | 27.3576
33 | -3.7604 | -1.6482 | 3.7605 | 1.6478 | 9.4772e-05 | -0.00040442 | 0.11889 | 0.11889 | 0.11889 | 0.99689 | -0.072085 | 0.99692 | -0.071736 | 32.8429
34 | 0.33742 | 0.16196 | -0.33742 | -0.16257 | 4.0981e-06 | -0.00061842 | 0.010838 | 0.010846 | 0.010846 | 0.99689 | -0.072085 | 0.99688 | -0.071981 | 4.93
35 | 0.11941 | 0.054603 | -0.1194 | -0.056062 | 1.1945e-06 | -0.0014593 | 0.0038035 | 0.0038213 | 0.0038213 | 0.99652 | -0.080276 | 0.99651 | -0.080197 | 1.7369
36 | -0.1194 | -0.05783 | 0.1194 | 0.056062 | 1.4621e-06 | -0.0017676 | 0.0038433 | 0.0038213 | 0.0038433 | 0.9965 | -0.080094 | 0.99651 | -0.080197 | 1.747
37 | -3.849 | -1.6907 | 3.8494 | 1.691 | 0.00030887 | 0.00032492 | 0.12173 | 0.12173 | 0.12173 | 0.99692 | -0.071736 | 0.99702 | -0.069021 | 34.7811
38 | 0.24313 | 0.11691 | -0.24313 | -0.11694 | 3.233e-06 | -3.3245e-05 | 0.0078123 | 0.0078128 | 0.0078128 | 0.99688 | -0.071981 | 0.99687 | -0.072071 | 3.7204
39 | 0.078823 | 0.037416 | -0.078823 | -0.038176 | 2.7394e-07 | -0.00076016 | 0.0025263 | 0.0025358 | 0.0025358 | 0.99702 | -0.069021 | 0.99702 | -0.068991 | 1.1526
40 | -3.9282 | -1.7284 | 3.9283 | 1.728 | 9.9607e-05 | -0.00038313 | 0.12426 | 0.12425 | 0.12426 | 0.99702 | -0.069021 | 0.99705 | -0.068672 | 34.3256
41 | 0.24313 | 0.11694 | -0.24313 | -0.11775 | 2.7853e-06 | -0.00080911 | 0.0078128 | 0.0078229 | 0.0078229 | 0.99687 | -0.072071 | 0.99685 | -0.071972 | 3.5559
42 | -0.11786 | -0.057081 | 0.11786 | 0.056641 | 3.5519e-07 | -0.00044034 | 0.0037904 | 0.0037849 | 0.0037904 | 0.99733 | -0.065048 | 0.99733 | -0.065074 | 1.7229
43 | -0.11786 | -0.056641 | 0.11786 | 0.055319 | 1.06e-06 | -0.0013217 | 0.0037849 | 0.0037685 | 0.0037849 | 0.99733 | -0.065074 | 0.99734 | -0.065149 | 1.7204
44 | -5.0693 | -2.2737 | 5.0786 | 2.2839 | 0.0093487 | 0.0102 | 0.16081 | 0.1608 | 0.16081 | 0.99734 | -0.065149 | 0.99966 | -0.0041224 | 45.9457
45 | 4.9514 | 2.2183 | -4.9504 | -2.2204 | 0.00094766 | -0.002025 | 0.15704 | 0.15707 | 0.15707 | 0.99734 | -0.065149 | 0.99713 | -0.067691 | 43.3907
46 | 0.78008 | 0.31893 | -0.77986 | -0.32538 | 0.00022136 | -0.0064489 | 0.02447 | 0.024542 | 0.024542 | 0.99422 | -0.11708 | 0.99395 | -0.11547 | 11.1555
47 | 0.15285 | 0.070394 | -0.15285 | -0.070957 | 7.4566e-07 | -0.00056335 | 0.0048594 | 0.0048662 | 0.0048662 | 0.99967 | 0.00036226 | 0.99966 | 0.00040043 | 2.2119
48 | -0.30673 | -0.14492 | 0.30678 | 0.14463 | 4.5491e-05 | -0.00028907 | 0.0097965 | 0.0097926 | 0.0097965 | 0.99967 | 0.00036226 | 0.99982 | 0.0014352 | 4.665
49 | 0.15285 | 0.070957 | -0.15285 | -0.071764 | 1.0719e-06 | -0.00080707 | 0.0048662 | 0.0048761 | 0.0048761 | 0.99966 | 0.00040043 | 0.99965 | 0.0004566 | 2.2164
50 | -0.30678 | -0.14463 | 0.30681 | 0.1393 | 2.8442e-05 | -0.0053302 | 0.0097926 | 0.0097278 | 0.0097926 | 0.99982 | 0.0014352 | 0.99991 | 0.00070837 | 4.4512
51 | -0.30681 | -0.1393 | 0.30682 | 0.13755 | 9.2928e-06 | -0.0017571 | 0.0097278 | 0.0097069 | 0.0097278 | 0.99991 | 0.00070837 | 0.99994 | 0.00048553 | 4.4217
52 | 0.15285 | 0.071764 | -0.15284 | -0.074025 | 3.0264e-06 | -0.002261 | 0.0048761 | 0.0049042 | 0.0049042 | 0.99965 | 0.0004566 | 0.99964 | 0.00062323 | 2.2292
53 | -0.39417 | -0.17985 | 0.39419 | 0.1769 | 2.5814e-05 | -0.0029515 | 0.012508 | 0.012473 | 0.012508 | 0.99994 | 0.00048553 | 1 | 0 | 5.6854
54 | 5.0802 | 2.2807 | -5.0786 | -2.2839 | 0.0015835 | -0.0031987 | 0.16075 | 0.1608 | 0.1608 | 1 | 0 | 0.99966 | -0.0041224 | 44.421
55 | 1.4052 | 0.62887 | -1.4052 | -0.63 | 3.3793e-05 | -0.0011334 | 0.044978 | 0.044992 | 0.044992 | 0.98808 | -0.27419 | 0.98805 | -0.27451 | 12.4287
56 | -0.17102 | -0.07514 | 0.17102 | 0.075014 | 2.1758e-07 | -0.00012607 | 0.0054731 | 0.0054716 | 0.0054731 | 0.98526 | -0.33493 | 0.98526 | -0.33494 | 2.4878
57 | -0.17102 | -0.075014 | 0.17104 | 0.065224 | 1.6544e-05 | -0.0097894 | 0.0054716 | 0.0053628 | 0.0054716 | 0.98526 | -0.33494 | 0.98535 | -0.33548 | 2.4871
58 | -0.17104 | -0.065224 | 0.17104 | 0.063405 | 3.0037e-06 | -0.0018191 | 0.0053628 | 0.005344 | 0.0053628 | 0.98535 | -0.33548 | 0.98537 | -0.33555 | 2.4376
59 | 0.29452 | 0.13999 | -0.2945 | -0.14014 | 2.2956e-05 | -0.00014921 | 0.0095533 | 0.0095554 | 0.0095554 | 0.98537 | -0.33555 | 0.98528 | -0.3361 | 4.5502
60 | -0.55402 | -0.24624 | 0.55409 | 0.24615 | 6.501e-05 | -9.337e-05 | 0.017762 | 0.01776 | 0.017762 | 0.98537 | -0.33555 | 0.98549 | -0.33453 | 8.458
61 | -0.79502 | -0.354 | 0.79504 | 0.35159 | 2.2603e-05 | -0.0024098 | 0.025429 | 0.0254 | 0.025429 | 0.98796 | -0.27565 | 0.98799 | -0.27527 | 7.0245
62 | 0.69549 | 0.30579 | -0.69426 | -0.3077 | 0.0012275 | -0.0019108 | 0.022199 | 0.022238 | 0.022238 | 0.98796 | -0.27565 | 0.98577 | -0.33514 | 6.3538
63 | -0.79504 | -0.35159 | 0.79509 | 0.34693 | 4.3518e-05 | -0.0046555 | 0.0254 | 0.025345 | 0.0254 | 0.98799 | -0.27527 | 0.98805 | -0.27451 | 7.0166
64 | 0.55425 | 0.23989 | -0.5542 | -0.23996 | 4.5593e-05 | -6.6333e-05 | 0.017686 | 0.017687 | 0.017687 | 0.98577 | -0.33514 | 0.98568 | -0.33591 | 8.4224
65 | 0.61009 | 0.28307 | -0.60873 | -0.2845 | 0.0013544 | -0.0014374 | 0.01965 | 0.019678 | 0.019678 | 0.98805 | -0.27451 | 0.98572 | -0.29133 | 9.3705
66 | 0.33412 | 0.15288 | -0.33407 | -0.16027 | 4.9757e-05 | -0.0073889 | 0.010761 | 0.010853 | 0.010853 | 0.98572 | -0.29133 | 0.98559 | -0.29012 | 4.933
67 | 0.27462 | 0.13162 | -0.27461 | -0.13208 | 2.1277e-06 | -0.00046394 | 0.0089183 | 0.0089242 | 0.0089242 | 0.98572 | -0.29133 | 0.98572 | -0.29126 | 4.0565
68 | -0.13759 | -0.066638 | 0.13759 | 0.066532 | 3.3416e-06 | -0.00010625 | 0.0044794 | 0.0044781 | 0.0044794 | 0.98522 | -0.33589 | 0.98525 | -0.33573 | 2.1331
69 | -0.29448 | -0.14252 | 0.2945 | 0.14014 | 1.2573e-05 | -0.0023795 | 0.0095856 | 0.0095554 | 0.0095856 | 0.98525 | -0.33573 | 0.98528 | -0.3361 | 4.3571
70 | -0.33406 | -0.16179 | 0.33407 | 0.16027 | 1.0335e-05 | -0.0015186 | 0.010872 | 0.010853 | 0.010872 | 0.98556 | -0.28986 | 0.98559 | -0.29012 | 4.9418
71 | -0.11561 | -0.055991 | 0.11561 | 0.055785 | 1.6775e-07 | -0.00020607 | 0.0037619 | 0.0037592 | 0.0037619 | 0.98571 | -0.2912 | 0.98571 | -0.29122 | 1.7099
72 | -0.11561 | -0.055785 | 0.11561 | 0.055075 | 5.7605e-07 | -0.00070988 | 0.0037592 | 0.0037502 | 0.0037592 | 0.98571 | -0.29122 | 0.98572 | -0.29126 | 1.7087
73 | 4.7061 | 2.102 | -4.7058 | -2.1029 | 0.00034514 | -0.00084366 | 0.14922 | 0.14923 | 0.14923 | 0.99713 | -0.067691 | 0.99705 | -0.068672 | 41.2241
74 | 0.7775 | 0.37484 | -0.77748 | -0.37534 | 1.7877e-05 | -0.00050349 | 0.02499 | 0.024997 | 0.024997 | 0.99705 | -0.068672 | 0.99703 | -0.068473 | 11.3622
75 | 0.3283 | 0.15779 | -0.32829 | -0.159 | 7.5625e-06 | -0.0012048 | 0.010546 | 0.010562 | 0.010562 | 0.99703 | -0.068473 | 0.997 | -0.068274 | 4.8007
76 | -0.55409 | -0.24615 | 0.5542 | 0.23996 | 0.00011244 | -0.0061856 | 0.01776 | 0.017687 | 0.01776 | 0.98549 | -0.33453 | 0.98568 | -0.33591 | 8.0728

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.6471 | 2.5449

## res_load
| p_mw | q_mvar
0 | 0.06539 | 0.03167
1 | 0.069465 | 0.033643
2 | 0.13562 | 0.065684
3 | 0.051528 | 0.024956
4 | 0.16148 | 0.07821
5 | 0.12017 | 0.058199
6 | 0.14132 | 0.068444
7 | 0.12955 | 0.062744
8 | 0.072863 | 0.035289
9 | 0.076294 | 0.036951
10 | 0.1189 | 0.057584
11 | 0.16103 | 0.07799
12 | 0.13727 | 0.066482
13 | 0.11261 | 0.054538
14 | 0.14214 | 0.068841
15 | 0.13967 | 0.067647
16 | 0.1194 | 0.05783
17 | 0.088583 | 0.042903
18 | 0.094284 | 0.045664
19 | 0.11786 | 0.057081
20 | 0.15389 | 0.07453
21 | 0.087353 | 0.042307
22 | 0.15284 | 0.074025
23 | 0.15869 | 0.076858
24 | 0.11717 | 0.056749
25 | 0.10153 | 0.049173
26 | 0.088466 | 0.042846
27 | 0.099533 | 0.048206
28 | 0.14001 | 0.067811
29 | 0.13759 | 0.066638
30 | 0.15689 | 0.075985
31 | 0.33406 | 0.16179
32 | 0.11561 | 0.055991
33 | 0.15901 | 0.07701
34 | 0.24433 | 0.11833
35 | 0.44918 | 0.21755
36 | 0.078823 | 0.038176
37 | 0.32829 | 0.159
38 | 0.24313 | 0.11775

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1